## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1323-18_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1323-18_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1323-18_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1323-18_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_1323-18_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1323-18_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1323-18_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1323-18_0_4_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_1323-18_0_4_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_1323-18_0_4_node_52 | 0.4 | n |  | TRUE
10 | bus_LV_1323-18_0_4_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_1323-18_0_4_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_1323-18_0_4_node_41 | 0.4 | n |  | TRUE
13 | bus_LV_1323-18_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1323-18_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1323-18_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1323-18_0_4_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_1323-18_0_4_node_81 | 0.4 | n |  | TRUE
18 | bus_LV_1323-18_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1323-18_0_4_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_1323-18_0_4_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_1323-18_0_4_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_1323-18_0_4_node_80 | 0.4 | n |  | TRUE
23 | bus_LV_1323-18_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_1323-18_0_4_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_1323-18_0_4_node_66 | 0.4 | n |  | TRUE
26 | bus_LV_1323-18_0_4_node_65 | 0.4 | n |  | TRUE
27 | bus_LV_1323-18_0_4_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_1323-18_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_1323-18_0_4_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_1323-18_0_4_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_1323-18_0_4_node_62 | 0.4 | n |  | TRUE
32 | bus_LV_1323-18_0_4_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_1323-18_0_4_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_1323-18_0_4_node_63 | 0.4 | n |  | TRUE
35 | bus_LV_1323-18_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_1323-18_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_1323-18_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_1323-18_0_4_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_1323-18_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_1323-18_0_4_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_1323-18_0_4_node_55 | 0.4 | n |  | TRUE
42 | bus_LV_1323-18_0_4_node_67 | 0.4 | n |  | TRUE
43 | bus_LV_1323-18_0_4_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_1323-18_0_4_node_82 | 0.4 | n |  | TRUE
45 | bus_LV_1323-18_0_4_node_77 | 0.4 | n |  | TRUE
46 | bus_LV_1323-18_0_4_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_1323-18_0_4_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_1323-18_0_4_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_1323-18_0_4_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_1323-18_0_4_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_1323-18_0_4_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_1323-18_0_4_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_1323-18_0_4_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_1323-18_0_4_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_1323-18_0_4_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_1323-18_0_4_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_1323-18_0_4_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_1323-18_0_4_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_1323-18_0_4_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_1323-18_0_4_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_1323-18_0_4_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_1323-18_0_4_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_1323-18_0_4_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_1323-18_0_4_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_1323-18_0_4_node_85 | 0.4 | n |  | TRUE
66 | bus_LV_1323-18_0_4_node_68 | 0.4 | n |  | TRUE
67 | bus_LV_1323-18_0_4_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_1323-18_0_4_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_1323-18_0_4_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_1323-18_0_4_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_1323-18_0_4_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_1323-18_0_4_node_83 | 0.4 | n |  | TRUE
73 | bus_LV_1323-18_0_4_node_79 | 0.4 | n |  | TRUE
74 | bus_LV_1323-18_0_4_node_86 | 0.4 | n |  | TRUE
75 | bus_LV_1323-18_0_4_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_1323-18_0_4_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_1323-18_0_4_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_1323-18_0_4_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_1323-18_0_4_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_1323-18_0_4_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_1323-18_0_4_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_1323-18_0_4_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_1323-18_0_4_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_1323-18_0_4_node_84 | 0.4 | n |  | TRUE
85 | bus_MV_15_0_node_105 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1323-18_0_4_load_0 | 0 | 0.014857 | 0.0037236 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1323-18_0_4_load_1 | 1 | 0.0051712 | 0.001296 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1323-18_0_4_load_3 | 2 | 0.0064366 | 0.0016132 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1323-18_0_4_load_4 | 4 | 0.0041649 | 0.0010438 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1323-18_0_4_load_5 | 5 | 0.0090003 | 0.0022557 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1323-18_0_4_load_6 | 6 | 0.0057719 | 0.0014466 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1323-18_0_4_load_14 | 7 | 0.016134 | 0.0040435 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1323-18_0_4_load_11 | 8 | 0.016149 | 0.0040472 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1323-18_0_4_load_52 | 9 | 0.0078939 | 0.0019784 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1323-18_0_4_load_15 | 10 | 0.0025508 | 0.00063929 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1323-18_0_4_load_7 | 13 | 0.0074088 | 0.0018568 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1323-18_0_4_load_8 | 14 | 0.0055362 | 0.0013875 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1323-18_0_4_load_10 | 15 | 0.015948 | 0.0039969 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1323-18_0_4_load_17 | 16 | 0.004838 | 0.0012125 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1323-18_0_4_load_81 | 17 | 0.0046393 | 0.0011627 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1323-18_0_4_load_13 | 18 | 0.0041282 | 0.0010346 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1323-18_0_4_load_16 | 19 | 0.0024646 | 0.0006177 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1323-18_0_4_load_20 | 20 | 0.0025861 | 0.00064813 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1323-18_0_4_load_18 | 21 | 0.015117 | 0.0037886 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1323-18_0_4_load_19 | 23 | 0.0028025 | 0.00070238 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1323-18_0_4_load_21 | 24 | 0.0025356 | 0.00063549 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1323-18_0_4_load_66 | 25 | 0.0018132 | 0.00045444 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1323-18_0_4_load_65 | 26 | 0.013769 | 0.0034507 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1323-18_0_4_load_22 | 27 | 0.0083791 | 0.0021 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1323-18_0_4_load_62 | 31 | 0.0042535 | 0.001066 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1323-18_0_4_load_32 | 32 | 0.0052428 | 0.001314 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1323-18_0_4_load_39 | 33 | 0.0035605 | 0.00089236 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1323-18_0_4_load_63 | 34 | 0.003453 | 0.0008654 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1323-18_0_4_load_31 | 35 | 0.0063335 | 0.0015873 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1323-18_0_4_load_26 | 36 | 0.0071137 | 0.0017829 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1323-18_0_4_load_27 | 37 | 0.0045399 | 0.0011378 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1323-18_0_4_load_28 | 38 | 0.0048813 | 0.0012234 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1323-18_0_4_load_29 | 39 | 0.0066567 | 0.0016683 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1323-18_0_4_load_30 | 40 | 0.005021 | 0.0012584 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1323-18_0_4_load_54 | 43 | 0.0023912 | 0.00059929 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1323-18_0_4_load_82 | 44 | 0.0041124 | 0.0010307 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1323-18_0_4_load_33 | 46 | 0.004016 | 0.0010065 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1323-18_0_4_load_34 | 47 | 0.0050081 | 0.0012552 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1323-18_0_4_load_35 | 48 | 0.0040341 | 0.001011 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1323-18_0_4_load_36 | 49 | 0.0080232 | 0.0020108 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1323-18_0_4_load_37 | 50 | 0.0032509 | 0.00081476 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1323-18_0_4_load_44 | 51 | 0.0026873 | 0.0006735 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1323-18_0_4_load_53 | 52 | 0.011179 | 0.0028018 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1323-18_0_4_load_38 | 53 | 0.0044842 | 0.0011239 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1323-18_0_4_load_42 | 55 | 0.0031653 | 0.00079329 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1323-18_0_4_load_43 | 56 | 0.0048632 | 0.0012188 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1323-18_0_4_load_56 | 57 | 0.0058863 | 0.0014752 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1323-18_0_4_load_48 | 58 | 0.0068783 | 0.0017239 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1323-18_0_4_load_45 | 59 | 0.003406 | 0.00085362 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1323-18_0_4_load_46 | 60 | 0.0053548 | 0.001342 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1323-18_0_4_load_47 | 61 | 0.0052889 | 0.0013255 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1323-18_0_4_load_51 | 62 | 0.0023549 | 0.0005902 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1323-18_0_4_load_50 | 63 | 0.0023549 | 0.0005902 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1323-18_0_4_load_49 | 64 | 0.005674 | 0.001422 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1323-18_0_4_load_85 | 65 | 0.0023549 | 0.0005902 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1323-18_0_4_load_68 | 66 | 0.0033138 | 0.00083052 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1323-18_0_4_load_57 | 67 | 0.0039204 | 0.00098255 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1323-18_0_4_load_58 | 68 | 0.0054608 | 0.0013686 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1323-18_0_4_load_61 | 71 | 0.0036501 | 0.00091481 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1323-18_0_4_load_83 | 72 | 0.0042555 | 0.0010665 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1323-18_0_4_load_79 | 73 | 0.0046165 | 0.001157 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1323-18_0_4_load_86 | 74 | 0.0021231 | 0.00053209 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1323-18_0_4_load_64 | 75 | 0.0028997 | 0.00072673 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1323-18_0_4_load_74 | 76 | 0.0054807 | 0.0013736 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1323-18_0_4_load_69 | 77 | 0.0030678 | 0.00076885 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_1323-18_0_4_load_70 | 78 | 0.020417 | 0.005117 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_1323-18_0_4_load_71 | 79 | 0.0041121 | 0.0010306 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_1323-18_0_4_load_72 | 80 | 0.007495 | 0.0018784 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_1323-18_0_4_load_73 | 81 | 0.022878 | 0.0057339 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_1323-18_0_4_load_75 | 82 | 0.009769 | 0.0024484 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_1323-18_0_4_load_76 | 83 | 0.0082587 | 0.0020698 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_1323-18_0_4_load_84 | 84 | 0.0021823 | 0.00054693 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1323-18_0_4_line_0 |  | 0 | 1 | 0.0010812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1323-18_0_4_line_1 |  | 1 | 2 | 0.021502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1323-18_0_4_line_2 |  | 2 | 7 | 0.018924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1323-18_0_4_line_3 |  | 3 | 4 | 0.016725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1323-18_0_4_line_4 |  | 3 | 5 | 0.015744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1323-18_0_4_line_5 |  | 3 | 6 | 0.036481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1323-18_0_4_line_6 |  | 4 | 8 | 0.00048539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1323-18_0_4_line_7 |  | 5 | 9 | 0.016453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1323-18_0_4_line_8 |  | 7 | 10 | 0.015352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1323-18_0_4_line_9 |  | 8 | 11 | 0.017172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1323-18_0_4_line_10 |  | 9 | 12 | 0.026703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1323-18_0_4_line_11 |  | 10 | 19 | 0.007117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1323-18_0_4_line_12 |  | 11 | 18 | 0.028083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1323-18_0_4_line_13 |  | 12 | 33 | 0.044045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1323-18_0_4_line_14 |  | 12 | 30 | 0.006584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1323-18_0_4_line_15 |  | 13 | 14 | 0.0025314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1323-18_0_4_line_16 |  | 14 | 15 | 0.02929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1323-18_0_4_line_17 |  | 15 | 16 | 0.026655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1323-18_0_4_line_18 |  | 16 | 17 | 0.00087914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1323-18_0_4_line_19 |  | 17 | 22 | 0.025971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1323-18_0_4_line_20 |  | 19 | 20 | 0.0067147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1323-18_0_4_line_21 |  | 20 | 21 | 0.0029638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1323-18_0_4_line_22 |  | 21 | 23 | 0.011901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1323-18_0_4_line_23 |  | 22 | 44 | 0.062488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1323-18_0_4_line_24 |  | 22 | 45 | 0.017604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1323-18_0_4_line_25 |  | 22 | 40 | 0.011272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_1323-18_0_4_line_26 |  | 23 | 24 | 0.0072806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1323-18_0_4_line_27 |  | 24 | 25 | 0.006673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1323-18_0_4_line_28 |  | 25 | 26 | 0.010915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1323-18_0_4_line_29 |  | 26 | 42 | 0.034658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_1323-18_0_4_line_30 |  | 27 | 28 | 0.033817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1323-18_0_4_line_31 |  | 28 | 29 | 0.015004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1323-18_0_4_line_32 |  | 28 | 30 | 0.017658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1323-18_0_4_line_33 |  | 29 | 31 | 0.018869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1323-18_0_4_line_34 |  | 30 | 32 | 0.011689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1323-18_0_4_line_35 |  | 31 | 34 | 0.012155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1323-18_0_4_line_36 |  | 32 | 35 | 0.033592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1323-18_0_4_line_37 |  | 33 | 53 | 0.0063453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1323-18_0_4_line_38 |  | 34 | 75 | 0.0022714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1323-18_0_4_line_39 |  | 36 | 37 | 0.021186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_1323-18_0_4_line_40 |  | 36 | 38 | 0.0063174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_1323-18_0_4_line_41 |  | 37 | 39 | 0.0068413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_1323-18_0_4_line_42 |  | 38 | 40 | 0.022655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_1323-18_0_4_line_43 |  | 39 | 41 | 0.019049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_1323-18_0_4_line_44 |  | 41 | 42 | 0.021425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_1323-18_0_4_line_45 |  | 41 | 43 | 0.041381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1323-18_0_4_line_46 |  | 42 | 66 | 0.037081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_1323-18_0_4_line_47 |  | 43 | 52 | 0.0076224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1323-18_0_4_line_48 |  | 44 | 81 | 0.0024744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1323-18_0_4_line_49 |  | 45 | 73 | 0.028952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1323-18_0_4_line_50 |  | 45 | 82 | 0.0128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1323-18_0_4_line_51 |  | 46 | 47 | 0.012029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1323-18_0_4_line_52 |  | 46 | 48 | 0.019737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1323-18_0_4_line_53 |  | 47 | 49 | 0.013872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1323-18_0_4_line_54 |  | 48 | 50 | 0.00049551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1323-18_0_4_line_55 |  | 50 | 51 | 0.020967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1323-18_0_4_line_56 |  | 51 | 52 | 0.0016648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1323-18_0_4_line_57 |  | 53 | 54 | 0.01227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1323-18_0_4_line_58 |  | 54 | 55 | 0.022785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1323-18_0_4_line_59 |  | 54 | 56 | 0.034801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1323-18_0_4_line_60 |  | 56 | 57 | 0.03717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1323-18_0_4_line_61 |  | 57 | 58 | 0.032541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1323-18_0_4_line_62 |  | 58 | 60 | 0.002966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1323-18_0_4_line_63 |  | 59 | 60 | 0.027135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1323-18_0_4_line_64 |  | 59 | 61 | 0.012827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1323-18_0_4_line_65 |  | 59 | 62 | 0.03829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1323-18_0_4_line_66 |  | 62 | 65 | 0.0069475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1323-18_0_4_line_67 |  | 62 | 63 | 0.0038587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1323-18_0_4_line_68 |  | 63 | 64 | 0.015457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1323-18_0_4_line_69 |  | 66 | 76 | 0.025605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_1323-18_0_4_line_70 |  | 67 | 68 | 0.015857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1323-18_0_4_line_71 |  | 67 | 69 | 0.034132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1323-18_0_4_line_72 |  | 68 | 70 | 0.014642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1323-18_0_4_line_73 |  | 69 | 71 | 0.028062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1323-18_0_4_line_74 |  | 70 | 72 | 0.015345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1323-18_0_4_line_75 |  | 70 | 73 | 0.014992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1323-18_0_4_line_76 |  | 72 | 74 | 0.014179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1323-18_0_4_line_77 |  | 74 | 84 | 0.0027249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1323-18_0_4_line_78 |  | 75 | 76 | 0.038332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1323-18_0_4_line_79 |  | 77 | 78 | 0.0055897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1323-18_0_4_line_80 |  | 77 | 79 | 0.019175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1323-18_0_4_line_81 |  | 78 | 80 | 0.0036796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1323-18_0_4_line_82 |  | 79 | 81 | 0.0092863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1323-18_0_4_line_83 |  | 82 | 83 | 0.0064116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1323-18_0_4_trafo_65 | 0.63 MVA 20/0.4 kV | 85 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2697207.3461 | 1228189.3406 | 2697208.4134 | 1228189.5136
1 | 2697229.6383 | 1228192.9545 | 2697208.4134 | 1228189.5136
2 | 2697248.3184 | 1228195.9828 | 2697229.6383 | 1228192.9545
3 | 2697167.8577 | 1228182.9389 | 2697163.279 | 1228172.8124 | 2697161.5477 | 1228167.4749
4 | 2697167.8577 | 1228182.9389 | 2697171.8749 | 1228194.0348 | 2697173.815 | 1228197.4675
5 | 2697167.8577 | 1228182.9389 | 2697140.5 | 1228187.9625 | 2697132.3931 | 1228191.0244
6 | 2697161.3979 | 1228167.0132 | 2697161.5477 | 1228167.4749
7 | 2697173.815 | 1228197.4675 | 2697181.4208 | 1228210.9251 | 2697181.938 | 1228211.775
8 | 2697248.3184 | 1228195.9828 | 2697263.4721 | 1228198.4394
9 | 2697156.0999 | 1228150.6792 | 2697161.3979 | 1228167.0132
10 | 2697200.6193 | 1228229.3521 | 2697189.1849 | 1228223.6834 | 2697181.938 | 1228211.775
11 | 2697270.4975 | 1228199.5783 | 2697263.4721 | 1228198.4394
12 | 2697156.0999 | 1228150.6792 | 2697138.0889 | 1228159.736 | 2697131.6772 | 1228164.3911
13 | 2697200.6193 | 1228229.3521 | 2697207.2285 | 1228239.5119 | 2697215.9507 | 1228254.8544 | 2697220.0828 | 1228268.5197
14 | 2697196.0252 | 1228234.0805 | 2697200.6193 | 1228229.3521
15 | 2697312.3016 | 1228111.7834 | 2697314.5695 | 1228112.908
16 | 2697314.5695 | 1228112.908 | 2697323.2433 | 1228117.2091 | 2697340.8691 | 1228125.801
17 | 2697364.7913 | 1228137.5566 | 2697342.7394 | 1228126.7127 | 2697340.8691 | 1228125.801
18 | 2697364.7913 | 1228137.5566 | 2697365.5802 | 1228137.9446
19 | 2697388.1529 | 1228150.6733 | 2697381.8821 | 1228146.2452 | 2697371.1357 | 1228140.6764 | 2697365.5802 | 1228137.9446
20 | 2697277.1256 | 1228200.6529 | 2697270.4975 | 1228199.5783
21 | 2697277.1256 | 1228200.6529 | 2697280.0512 | 1228201.1271
22 | 2697280.0512 | 1228201.1271 | 2697291.7992 | 1228203.0317
23 | 2697388.1529 | 1228150.6733 | 2697403.1023 | 1228151.8077 | 2697419.5722 | 1228158.2043 | 2697438.0017 | 1228172.194 | 2697443.7739 | 1228175.5746
24 | 2697388.1529 | 1228150.6733 | 2697394.9189 | 1228143.8458 | 2697402.4012 | 1228140.944
25 | 2697388.1529 | 1228150.6733 | 2697391.0208 | 1228154.6453 | 2697393.0746 | 1228159.2712 | 2697393.4409 | 1228160.5303
26 | 2697298.986 | 1228204.1967 | 2697291.7992 | 1228203.0317
27 | 2697305.573 | 1228205.2646 | 2697298.986 | 1228204.1967
28 | 2697315.482 | 1228209.1129 | 2697311.4262 | 1228206.2135 | 2697305.573 | 1228205.2646
29 | 2697339.1056 | 1228233.853 | 2697327.4719 | 1228217.6843 | 2697315.482 | 1228209.1129
30 | 2697205.7957 | 1228248.8063 | 2697202.2585 | 1228252.3955 | 2697199.4018 | 1228256.5408 | 2697197.311 | 1228261.121 | 2697190.022 | 1228278.3511
31 | 2697205.7957 | 1228248.8063 | 2697209.8826 | 1228245.9043 | 2697214.4044 | 1228243.7433 | 2697219.2387 | 1228242.4102
32 | 2697196.0252 | 1228234.0805 | 2697205.7957 | 1228248.8063
33 | 2697219.2387 | 1228242.4102 | 2697223.0987 | 1228241.7951 | 2697227.0111 | 1228241.6812 | 2697230.9 | 1228242.0783 | 2697234.6822 | 1228242.9741 | 2697237.7266 | 1228244.1125
34 | 2697196.0252 | 1228234.0805 | 2697188.0183 | 1228242.5959
35 | 2697237.7266 | 1228244.1125 | 2697238.3204 | 1228244.3346 | 2697241.754 | 1228246.1587 | 2697247.8226 | 1228250.7877
36 | 2697188.0183 | 1228242.5959 | 2697184.0705 | 1228246.7944 | 2697179.4923 | 1228250.5445 | 2697175.3261 | 1228252.2777 | 2697169.0509 | 1228253.6762 | 2697158.1352 | 1228254.7638
37 | 2697221.9193 | 1228274.5934 | 2697220.0828 | 1228268.5197
38 | 2697249.6286 | 1228252.1653 | 2697247.8226 | 1228250.7877
39 | 2697376.3711 | 1228204.9666 | 2697378.8869 | 1228202.3256 | 2697383.1223 | 1228196.8354 | 2697389.2474 | 1228188.1792
40 | 2697392.194 | 1228182.593 | 2697389.36 | 1228188.0201 | 2697389.2474 | 1228188.1792
41 | 2697376.3711 | 1228204.9666 | 2697371.6525 | 1228209.9201
42 | 2697393.4409 | 1228160.5303 | 2697394.2154 | 1228163.1927 | 2697394.7925 | 1228167.7499 | 2697394.9396 | 1228170.7989 | 2697394.1899 | 1228177.7028 | 2697392.9122 | 1228181.2177 | 2697392.194 | 1228182.593
43 | 2697357.2547 | 1228222.3861 | 2697371.0754 | 1228210.5259 | 2697371.6525 | 1228209.9201
44 | 2697339.1056 | 1228233.853 | 2697357.2547 | 1228222.3861
45 | 2697357.2547 | 1228222.3861 | 2697383.0679 | 1228235.3179 | 2697394.4051 | 1228240.6062
46 | 2697339.1056 | 1228233.853 | 2697307.5333 | 1228253.3001
47 | 2697401.313 | 1228243.8285 | 2697394.4051 | 1228240.6062
48 | 2697445.909 | 1228176.825 | 2697443.7739 | 1228175.5746
49 | 2697402.4012 | 1228140.944 | 2697421.3077 | 1228137.3954 | 2697431.0223 | 1228137.2573
50 | 2697402.4012 | 1228140.944 | 2697401.849 | 1228128.1563
51 | 2697452.946 | 1228262.3353 | 2697441.5536 | 1228258.4732
52 | 2697422.8614 | 1228252.1364 | 2697441.5536 | 1228258.4732
53 | 2697466.0835 | 1228266.7891 | 2697452.946 | 1228262.3353
54 | 2697422.3921 | 1228251.9773 | 2697422.8614 | 1228252.1364
55 | 2697422.3921 | 1228251.9773 | 2697409.1813 | 1228247.4987 | 2697402.8217 | 1228244.5322
56 | 2697401.313 | 1228243.8285 | 2697402.8217 | 1228244.5322
57 | 2697223.774 | 1228286.6941 | 2697222.5868 | 1228276.8009 | 2697221.9193 | 1228274.5934
58 | 2697223.774 | 1228286.6941 | 2697224.7062 | 1228291.3238 | 2697225.5402 | 1228309.3671
59 | 2697223.774 | 1228286.6941 | 2697229.1777 | 1228278.3431 | 2697235.4979 | 1228278.3575 | 2697250.0779 | 1228289.8002
60 | 2697283.7037 | 1228302.9549 | 2697279.7199 | 1228303.2985 | 2697267.6556 | 1228300.944 | 2697256.4639 | 1228294.8121 | 2697250.0779 | 1228289.8002
61 | 2697313.6904 | 1228292.3778 | 2697297.2739 | 1228301.7845 | 2697283.7037 | 1228302.9549
62 | 2697313.6904 | 1228292.3778 | 2697314.2346 | 1228292.066 | 2697316.1133 | 1228290.673
63 | 2697338.339 | 1228275.1497 | 2697331.3424 | 1228279.3811 | 2697316.1133 | 1228290.673
64 | 2697349.3149 | 1228268.5118 | 2697338.339 | 1228275.1497
65 | 2697338.339 | 1228275.1497 | 2697357.3273 | 1228308.3993
66 | 2697351.1999 | 1228311.6738 | 2697351.1999 | 1228311.6738 | 2697357.3273 | 1228308.3993
67 | 2697357.3273 | 1228308.3993 | 2697357.882 | 1228308.1028 | 2697361.0561 | 1228307.5054
68 | 2697376.2685 | 1228308.6122 | 2697372.0508 | 1228307.3675 | 2697364.0776 | 1228306.9367 | 2697361.0561 | 1228307.5054
69 | 2697284.6027 | 1228264.0575 | 2697287.4688 | 1228263.7188 | 2697295.0388 | 1228260.9962 | 2697307.5333 | 1228253.3001
70 | 2697476.4047 | 1228139.5902 | 2697460.6032 | 1228138.2665
71 | 2697510.2417 | 1228144.0239 | 2697480.668 | 1228139.9474 | 2697476.4047 | 1228139.5902
72 | 2697446.0126 | 1228137.0442 | 2697460.6032 | 1228138.2665
73 | 2697510.2417 | 1228144.0239 | 2697508.6054 | 1228158.7633 | 2697505.4984 | 1228167.0628 | 2697508.0549 | 1228170.6072
74 | 2697446.0126 | 1228137.0442 | 2697443.5172 | 1228121.9035
75 | 2697446.0126 | 1228137.0442 | 2697431.0223 | 1228137.2573
76 | 2697433.7043 | 1228111.6689 | 2697443.5172 | 1228121.9035
77 | 2697433.7043 | 1228111.6689 | 2697432.1985 | 1228110.0985 | 2697431.6825 | 1228109.9104
78 | 2697249.6286 | 1228252.1653 | 2697256.8442 | 1228257.6693 | 2697264.8269 | 1228262.1474 | 2697269.638 | 1228263.6161 | 2697274.5959 | 1228264.4533 | 2697279.6173 | 1228264.6466 | 2697284.6027 | 1228264.0575
79 | 2697472.751 | 1228185.9468 | 2697478.1091 | 1228187.5391
80 | 2697472.751 | 1228185.9468 | 2697454.3706 | 1228180.4844
81 | 2697481.6363 | 1228188.5873 | 2697478.1091 | 1228187.5391
82 | 2697445.909 | 1228176.825 | 2697449.8772 | 1228179.1491 | 2697454.3706 | 1228180.4844
83 | 2697401.849 | 1228128.1563 | 2697401.5725 | 1228121.7507

## bus_geodata
| x | y | coords
0 | 2697207.3461 | 1228189.3406
1 | 2697208.4134 | 1228189.5136
2 | 2697229.6383 | 1228192.9545
3 | 2697167.8577 | 1228182.9389
4 | 2697161.5477 | 1228167.4749
5 | 2697173.815 | 1228197.4675
6 | 2697132.3931 | 1228191.0244
7 | 2697248.3184 | 1228195.9828
8 | 2697161.3979 | 1228167.0132
9 | 2697181.938 | 1228211.775
10 | 2697263.4721 | 1228198.4394
11 | 2697156.0999 | 1228150.6792
12 | 2697200.6193 | 1228229.3521
13 | 2697312.3016 | 1228111.7834
14 | 2697314.5695 | 1228112.908
15 | 2697340.8691 | 1228125.801
16 | 2697364.7913 | 1228137.5566
17 | 2697365.5802 | 1228137.9446
18 | 2697131.6772 | 1228164.3911
19 | 2697270.4975 | 1228199.5783
20 | 2697277.1256 | 1228200.6529
21 | 2697280.0512 | 1228201.1271
22 | 2697388.1529 | 1228150.6733
23 | 2697291.7992 | 1228203.0317
24 | 2697298.986 | 1228204.1967
25 | 2697305.573 | 1228205.2646
26 | 2697315.482 | 1228209.1129
27 | 2697190.022 | 1228278.3511
28 | 2697205.7957 | 1228248.8063
29 | 2697219.2387 | 1228242.4102
30 | 2697196.0252 | 1228234.0805
31 | 2697237.7266 | 1228244.1125
32 | 2697188.0183 | 1228242.5959
33 | 2697220.0827 | 1228268.5197
34 | 2697247.8226 | 1228250.7877
35 | 2697158.1352 | 1228254.7638
36 | 2697389.2474 | 1228188.1792
37 | 2697376.3711 | 1228204.9666
38 | 2697392.194 | 1228182.593
39 | 2697371.6525 | 1228209.9201
40 | 2697393.4409 | 1228160.5303
41 | 2697357.2547 | 1228222.3861
42 | 2697339.1056 | 1228233.853
43 | 2697394.4051 | 1228240.6062
44 | 2697443.7739 | 1228175.5746
45 | 2697402.4012 | 1228140.944
46 | 2697441.5536 | 1228258.4732
47 | 2697452.946 | 1228262.3353
48 | 2697422.8614 | 1228252.1364
49 | 2697466.0835 | 1228266.7891
50 | 2697422.3921 | 1228251.9773
51 | 2697402.8217 | 1228244.5322
52 | 2697401.313 | 1228243.8285
53 | 2697221.9193 | 1228274.5934
54 | 2697223.774 | 1228286.6941
55 | 2697225.5402 | 1228309.3671
56 | 2697250.0779 | 1228289.8002
57 | 2697283.7037 | 1228302.9549
58 | 2697313.6904 | 1228292.3778
59 | 2697338.339 | 1228275.1497
60 | 2697316.1133 | 1228290.673
61 | 2697349.3149 | 1228268.5117
62 | 2697357.3273 | 1228308.3993
63 | 2697361.0561 | 1228307.5054
64 | 2697376.2685 | 1228308.6122
65 | 2697351.1999 | 1228311.6738
66 | 2697307.5333 | 1228253.3001
67 | 2697476.4047 | 1228139.5902
68 | 2697460.6032 | 1228138.2665
69 | 2697510.2417 | 1228144.0239
70 | 2697446.0126 | 1228137.0442
71 | 2697508.0549 | 1228170.6072
72 | 2697443.5172 | 1228121.9035
73 | 2697431.0223 | 1228137.2573
74 | 2697433.7043 | 1228111.6689
75 | 2697249.6286 | 1228252.1653
76 | 2697284.6027 | 1228264.0575
77 | 2697472.751 | 1228185.9468
78 | 2697478.1091 | 1228187.5391
79 | 2697454.3706 | 1228180.4844
80 | 2697481.6363 | 1228188.5873
81 | 2697445.909 | 1228176.825
82 | 2697401.849 | 1228128.1563
83 | 2697401.5725 | 1228121.7507
84 | 2697431.6825 | 1228109.9104
85 | 2697339.1056 | 1228233.853

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99552 | -0.086267 | 0.014857 | 0.0037236
1 | 0.99553 | -0.085985 | 0.0051712 | 0.001296
2 | 0.99592 | -0.078414 | 0.0064366 | 0.0016132
3 | 0.97708 | -0.44061 | 0 | 0
4 | 0.9767 | -0.44808 | 0.0041649 | 0.0010438
5 | 0.97752 | -0.43193 | 0.0090003 | 0.0022557
6 | 0.97688 | -0.44445 | 0.0057719 | 0.0014466
7 | 0.99638 | -0.069617 | 0.016134 | 0.0040435
8 | 0.97669 | -0.44826 | 0.016149 | 0.0040472
9 | 0.97812 | -0.42017 | 0.0078939 | 0.0019784
10 | 0.99697 | -0.058143 | 0.0025508 | 0.00063929
11 | 0.97662 | -0.44955 | 0 | 0
12 | 0.97928 | -0.39727 | 0 | 0
13 | 0.98831 | -0.2243 | 0.0074088 | 0.0018568
14 | 0.98833 | -0.22397 | 0.0055362 | 0.0013875
15 | 0.98868 | -0.2172 | 0.015948 | 0.0039969
16 | 0.98938 | -0.20348 | 0.004838 | 0.0012125
17 | 0.98941 | -0.20295 | 0.0046393 | 0.0011627
18 | 0.97651 | -0.45167 | 0.0041282 | 0.0010346
19 | 0.99727 | -0.052509 | 0.0024646 | 0.0006177
20 | 0.99756 | -0.046908 | 0.0025861 | 0.00064813
21 | 0.99769 | -0.044302 | 0.015117 | 0.0037886
22 | 0.99032 | -0.18523 | 0 | 0
23 | 0.9984 | -0.030699 | 0.0028025 | 0.00070238
24 | 0.99885 | -0.022031 | 0.0025356 | 0.00063549
25 | 0.99928 | -0.013797 | 0.0018132 | 0.00045444
26 | 1 | 0 | -0.43502 | -0.11066
27 | 0.98153 | -0.35354 | 0.0083791 | 0.0021
28 | 0.98179 | -0.34841 | 0 | 0
29 | 0.9835 | -0.31518 | 0 | 0
30 | 0.97991 | -0.38499 | 0 | 0
31 | 0.98565 | -0.27355 | 0.0042535 | 0.001066
32 | 0.97979 | -0.38744 | 0.0052428 | 0.001314
33 | 0.977 | -0.44191 | 0.0035605 | 0.00089236
34 | 0.98709 | -0.24591 | 0.003453 | 0.0008654
35 | 0.97959 | -0.39131 | 0.0063335 | 0.0015873
36 | 0.99241 | -0.14494 | 0.0071137 | 0.0017829
37 | 0.99346 | -0.12475 | 0.0045399 | 0.0011378
38 | 0.99211 | -0.1507 | 0.0048813 | 0.0012234
39 | 0.99381 | -0.11806 | 0.0066567 | 0.0016683
40 | 0.99107 | -0.17074 | 0.005021 | 0.0012584
41 | 0.99481 | -0.098699 | 0 | 0
42 | 0.99621 | -0.071881 | 0 | 0
43 | 0.99328 | -0.12833 | 0.0023912 | 0.00059929
44 | 0.98676 | -0.25442 | 0.0041124 | 0.0010307
45 | 0.98961 | -0.19908 | 0 | 0
46 | 0.99219 | -0.14943 | 0.004016 | 0.0010065
47 | 0.99205 | -0.15221 | 0.0050081 | 0.0012552
48 | 0.9925 | -0.14348 | 0.0040341 | 0.001011
49 | 0.99194 | -0.15418 | 0.0080232 | 0.0020108
50 | 0.99251 | -0.14329 | 0.0032509 | 0.00081476
51 | 0.99297 | -0.13427 | 0.0026873 | 0.0006735
52 | 0.99301 | -0.13347 | 0.011179 | 0.0028018
53 | 0.97669 | -0.44795 | 0.0044842 | 0.0011239
54 | 0.97615 | -0.45862 | 0 | 0
55 | 0.97608 | -0.45994 | 0.0031653 | 0.00079329
56 | 0.97471 | -0.48694 | 0.0048632 | 0.0012188
57 | 0.97333 | -0.51396 | 0.0058863 | 0.0014752
58 | 0.97231 | -0.53414 | 0.0068783 | 0.0017239
59 | 0.97169 | -0.54633 | 0.003406 | 0.00085362
60 | 0.97224 | -0.5356 | 0.0053548 | 0.001342
61 | 0.97163 | -0.54759 | 0.0052889 | 0.0013255
62 | 0.97124 | -0.55534 | 0.0023549 | 0.0005902
63 | 0.97121 | -0.55592 | 0.0023549 | 0.0005902
64 | 0.97113 | -0.55754 | 0.005674 | 0.001422
65 | 0.97122 | -0.55564 | 0.0023549 | 0.0005902
66 | 0.99376 | -0.11827 | 0.0033138 | 0.00083052
67 | 0.98833 | -0.22391 | 0.0039204 | 0.00098255
68 | 0.98844 | -0.22177 | 0.0054608 | 0.0013686
69 | 0.98822 | -0.22614 | 0 | 0
70 | 0.98862 | -0.21837 | 0 | 0
71 | 0.98812 | -0.22797 | 0.0036501 | 0.00091481
72 | 0.9885 | -0.22071 | 0.0042555 | 0.0010665
73 | 0.98891 | -0.2126 | 0.0046165 | 0.001157
74 | 0.98844 | -0.2218 | 0.0021231 | 0.00053209
75 | 0.98736 | -0.24061 | 0.0028997 | 0.00072673
76 | 0.99211 | -0.14968 | 0.0054807 | 0.0013736
77 | 0.98578 | -0.27348 | 0.0030678 | 0.00076885
78 | 0.98564 | -0.27628 | 0.020417 | 0.005117
79 | 0.98633 | -0.26283 | 0.0041121 | 0.0010306
80 | 0.98561 | -0.27677 | 0.007495 | 0.0018784
81 | 0.98663 | -0.25699 | 0.022878 | 0.0057339
82 | 0.9894 | -0.20319 | 0.009769 | 0.0024484
83 | 0.98935 | -0.20413 | 0.0082587 | 0.0020698
84 | 0.98844 | -0.22191 | 0.0021823 | 0.00054693
85 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.014857 | -0.0037236 | 0.014857 | 0.0037237 | 1.9996e-07 | 1.1391e-07 | 0.022207 | 0.022207 | 0.022207 | 0.99552 | -0.086267 | 0.99553 | -0.085985 | 6.1009
1 | -0.020029 | -0.0050197 | 0.020036 | 0.005024 | 7.2263e-06 | 4.3451e-06 | 0.029937 | 0.029937 | 0.029937 | 0.99553 | -0.085985 | 0.99592 | -0.078414 | 8.2244
2 | -0.026472 | -0.0066372 | 0.026484 | 0.0066441 | 1.1102e-05 | 6.8591e-06 | 0.039554 | 0.039554 | 0.039554 | 0.99592 | -0.078414 | 0.99638 | -0.069617 | 10.8664
3 | 0.024451 | 0.006131 | -0.024443 | -0.0061257 | 8.6972e-06 | 5.3568e-06 | 0.037239 | 0.037239 | 0.037239 | 0.97708 | -0.44061 | 0.9767 | -0.44808 | 10.2304
4 | -0.030224 | -0.0075778 | 0.030237 | 0.0075856 | 1.2509e-05 | 7.8086e-06 | 0.04603 | 0.04603 | 0.04603 | 0.97708 | -0.44061 | 0.97752 | -0.43193 | 12.6457
5 | 0.0057729 | 0.0014468 | -0.0057719 | -0.0014466 | 1.0574e-06 | 2.1994e-07 | 0.0087918 | 0.0087919 | 0.0087919 | 0.97708 | -0.44061 | 0.97688 | -0.44445 | 2.4154
6 | 0.020278 | 0.0050818 | -0.020278 | -0.0050817 | 1.7372e-07 | 1.0511e-07 | 0.030893 | 0.030893 | 0.030893 | 0.9767 | -0.44808 | 0.97669 | -0.44826 | 8.4872
7 | -0.039237 | -0.0098413 | 0.039259 | 0.0098552 | 2.2013e-05 | 1.3882e-05 | 0.059731 | 0.059731 | 0.059731 | 0.97752 | -0.43193 | 0.97812 | -0.42017 | 16.4096
8 | -0.042617 | -0.010688 | 0.042641 | 0.010702 | 2.3322e-05 | 1.4726e-05 | 0.063648 | 0.063648 | 0.063648 | 0.99638 | -0.069617 | 0.99697 | -0.058143 | 17.4858
9 | 0.0041288 | 0.0010345 | -0.0041286 | -0.0010345 | 2.548e-07 | -5.1814e-08 | 0.0062903 | 0.0062904 | 0.0062904 | 0.97669 | -0.44826 | 0.97662 | -0.44955 | 1.7281
10 | -0.047153 | -0.011834 | 0.047205 | 0.011866 | 5.1535e-05 | 3.2647e-05 | 0.07174 | 0.07174 | 0.07174 | 0.97812 | -0.42017 | 0.97928 | -0.39727 | 19.7088
11 | -0.045192 | -0.011342 | 0.045204 | 0.011349 | 1.2144e-05 | 7.6794e-06 | 0.067455 | 0.067455 | 0.067455 | 0.99697 | -0.058143 | 0.99727 | -0.052509 | 18.5317
12 | 0.0041286 | 0.0010345 | -0.0041282 | -0.0010346 | 4.1672e-07 | -8.4667e-08 | 0.0062904 | 0.0062905 | 0.0062905 | 0.97662 | -0.44955 | 0.97651 | -0.45167 | 1.7282
13 | 0.055949 | 0.014144 | -0.055829 | -0.014068 | 0.0001195 | 7.5925e-05 | 0.085057 | 0.085058 | 0.085058 | 0.97928 | -0.39727 | 0.977 | -0.44191 | 23.3675
14 | -0.10315 | -0.02601 | 0.10321 | 0.026049 | 6.0701e-05 | 3.8766e-05 | 0.1568 | 0.1568 | 0.1568 | 0.97928 | -0.39727 | 0.97991 | -0.38499 | 43.0762
15 | -0.0074088 | -0.0018568 | 0.0074089 | 0.0018569 | 1.1812e-07 | 4.3157e-08 | 0.011155 | 0.011155 | 0.011155 | 0.98831 | -0.2243 | 0.98833 | -0.22397 | 3.0645
16 | -0.012945 | -0.0032444 | 0.012949 | 0.0032467 | 4.1723e-06 | 2.2948e-06 | 0.01949 | 0.01949 | 0.01949 | 0.98833 | -0.22397 | 0.98868 | -0.2172 | 5.3544
17 | -0.028897 | -0.0072435 | 0.028916 | 0.0072553 | 1.8907e-05 | 1.1758e-05 | 0.043492 | 0.043492 | 0.043492 | 0.98868 | -0.2172 | 0.98938 | -0.20348 | 11.9484
18 | -0.033754 | -0.0084678 | 0.033755 | 0.0084683 | 8.4971e-07 | 5.3253e-07 | 0.050768 | 0.050768 | 0.050768 | 0.98938 | -0.20348 | 0.98941 | -0.20295 | 13.9473
19 | -0.038394 | -0.0096311 | 0.038426 | 0.0096515 | 3.2475e-05 | 2.045e-05 | 0.057745 | 0.057745 | 0.057745 | 0.98941 | -0.20295 | 0.99032 | -0.18523 | 15.8641
20 | -0.047668 | -0.011967 | 0.047681 | 0.011975 | 1.2741e-05 | 8.0665e-06 | 0.071133 | 0.071133 | 0.071133 | 0.99727 | -0.052509 | 0.99756 | -0.046908 | 19.542
21 | -0.050267 | -0.012623 | 0.050273 | 0.012627 | 6.2502e-06 | 3.9614e-06 | 0.07499 | 0.07499 | 0.07499 | 0.99756 | -0.046908 | 0.99769 | -0.044302 | 20.6017
22 | -0.06539 | -0.016416 | 0.065433 | 0.016443 | 4.2458e-05 | 2.7018e-05 | 0.097536 | 0.097536 | 0.097536 | 0.99769 | -0.044302 | 0.9984 | -0.030699 | 26.7957
23 | 0.062325 | 0.015713 | -0.062119 | -0.015582 | 0.00020565 | 0.00013081 | 0.09368 | 0.09368 | 0.09368 | 0.99032 | -0.18523 | 0.98676 | -0.25442 | 25.7362
24 | 0.044297 | 0.011123 | -0.044268 | -0.011104 | 2.9252e-05 | 1.8495e-05 | 0.066567 | 0.066567 | 0.066567 | 0.99032 | -0.18523 | 0.98961 | -0.19908 | 18.2876
25 | -0.14505 | -0.036488 | 0.14515 | 0.036552 | 0.00010043 | 6.3986e-05 | 0.21799 | 0.21799 | 0.21799 | 0.99032 | -0.18523 | 0.99107 | -0.17074 | 29.9439
26 | -0.068235 | -0.017145 | 0.068263 | 0.017163 | 2.8246e-05 | 1.7982e-05 | 0.10171 | 0.10171 | 0.10171 | 0.9984 | -0.030699 | 0.99885 | -0.022031 | 27.9432
27 | -0.070799 | -0.017799 | 0.070827 | 0.017816 | 2.7847e-05 | 1.7735e-05 | 0.10549 | 0.10549 | 0.10549 | 0.99885 | -0.022031 | 0.99928 | -0.013797 | 28.9809
28 | -0.07264 | -0.018271 | 0.072688 | 0.018301 | 4.7912e-05 | 3.0521e-05 | 0.10819 | 0.10819 | 0.10819 | 0.99928 | -0.013797 | 1 | 0 | 29.7227
29 | 0.36068 | 0.092359 | -0.35943 | -0.091559 | 0.0012511 | 0.00079935 | 0.5374 | 0.5374 | 0.5374 | 1 | 0 | 0.99621 | -0.071881 | 49.2121
30 | -0.0083791 | -0.0021 | 0.0083811 | 0.0021009 | 2.0463e-06 | 8.8209e-07 | 0.012703 | 0.012703 | 0.012703 | 0.98153 | -0.35354 | 0.98179 | -0.34841 | 3.4898
31 | -0.12338 | -0.031181 | 0.12357 | 0.031307 | 0.00019693 | 0.00012584 | 0.18708 | 0.18708 | 0.18708 | 0.98179 | -0.34841 | 0.9835 | -0.31518 | 51.3963
32 | 0.11499 | 0.02908 | -0.11479 | -0.028951 | 0.00020136 | 0.00012865 | 0.17438 | 0.17438 | 0.17438 | 0.98179 | -0.34841 | 0.97991 | -0.38499 | 47.9066
33 | -0.12357 | -0.031307 | 0.12382 | 0.031465 | 0.00024766 | 0.00015826 | 0.18708 | 0.18708 | 0.18708 | 0.9835 | -0.31518 | 0.98565 | -0.27355 | 51.3963
34 | 0.011579 | 0.0029023 | -0.011577 | -0.0029016 | 1.3551e-06 | 7.2003e-07 | 0.017583 | 0.017583 | 0.017583 | 0.97991 | -0.38499 | 0.97979 | -0.38744 | 4.8304
35 | -0.12807 | -0.032531 | 0.12824 | 0.03264 | 0.00017067 | 0.00010907 | 0.1935 | 0.1935 | 0.1935 | 0.98565 | -0.27355 | 0.98709 | -0.24591 | 53.1604
36 | 0.0063346 | 0.0015876 | -0.0063335 | -0.0015873 | 1.1659e-06 | 3.2321e-07 | 0.0096205 | 0.0096206 | 0.0096206 | 0.97979 | -0.38744 | 0.97959 | -0.39131 | 2.643
37 | 0.052269 | 0.013176 | -0.052253 | -0.013166 | 1.509e-05 | 9.5782e-06 | 0.079635 | 0.079635 | 0.079635 | 0.977 | -0.44191 | 0.97669 | -0.44795 | 21.8777
38 | -0.1317 | -0.033505 | 0.13173 | 0.033527 | 3.3632e-05 | 2.1496e-05 | 0.19871 | 0.19871 | 0.19871 | 0.98709 | -0.24591 | 0.98736 | -0.24061 | 54.5904
39 | -0.16235 | -0.040935 | 0.16251 | 0.041034 | 0.00015704 | 9.9683e-05 | 0.24352 | 0.24352 | 0.24352 | 0.99241 | -0.14494 | 0.99346 | -0.12475 | 22.3001
40 | 0.15524 | 0.039152 | -0.1552 | -0.039125 | 4.2816e-05 | 2.7157e-05 | 0.23285 | 0.23285 | 0.23285 | 0.99241 | -0.14494 | 0.99211 | -0.1507 | 21.3233
41 | -0.16705 | -0.042172 | 0.1671 | 0.042206 | 5.3583e-05 | 3.4027e-05 | 0.25032 | 0.25032 | 0.25032 | 0.99346 | -0.12475 | 0.99381 | -0.11806 | 22.9228
42 | 0.15031 | 0.037901 | -0.15017 | -0.03781 | 0.00014404 | 9.1308e-05 | 0.22553 | 0.22553 | 0.22553 | 0.99211 | -0.1507 | 0.99107 | -0.17074 | 20.6529
43 | -0.17376 | -0.043874 | 0.17392 | 0.043977 | 0.00016131 | 0.0001025 | 0.26028 | 0.26028 | 0.26028 | 0.99381 | -0.11806 | 0.99481 | -0.098699 | 23.8355
44 | -0.2146 | -0.054203 | 0.21487 | 0.054379 | 0.00027619 | 0.00017593 | 0.32114 | 0.32114 | 0.32114 | 0.99481 | -0.098699 | 0.99621 | -0.071881 | 29.4081
45 | 0.040676 | 0.010226 | -0.040619 | -0.01019 | 5.7466e-05 | 3.6242e-05 | 0.060854 | 0.060854 | 0.060854 | 0.99481 | -0.098699 | 0.99328 | -0.12833 | 16.7181
46 | 0.14456 | 0.03718 | -0.14423 | -0.036973 | 0.00032517 | 0.00020714 | 0.21626 | 0.21626 | 0.21626 | 0.99621 | -0.071881 | 0.99376 | -0.11827 | 29.7061
47 | 0.038228 | 0.0095908 | -0.038218 | -0.0095849 | 9.3757e-06 | 5.9018e-06 | 0.057272 | 0.057272 | 0.057272 | 0.99328 | -0.12833 | 0.99301 | -0.13347 | 15.734
48 | 0.058007 | 0.014552 | -0.058 | -0.014547 | 7.1006e-06 | 4.5128e-06 | 0.087478 | 0.087479 | 0.087479 | 0.98676 | -0.25442 | 0.98663 | -0.25699 | 24.0326
49 | 0.026236 | 0.0065841 | -0.02622 | -0.0065736 | 1.69e-05 | 1.0444e-05 | 0.039453 | 0.039453 | 0.039453 | 0.98961 | -0.19908 | 0.98891 | -0.2126 | 10.8388
50 | 0.018032 | 0.0045204 | -0.018028 | -0.0045183 | 3.5286e-06 | 2.0939e-06 | 0.027114 | 0.027114 | 0.027114 | 0.98961 | -0.19908 | 0.9894 | -0.20319 | 7.4488
51 | 0.013034 | 0.0032672 | -0.013032 | -0.0032663 | 1.7237e-06 | 9.4781e-07 | 0.019547 | 0.019548 | 0.019548 | 0.99219 | -0.14943 | 0.99205 | -0.15221 | 5.3702
52 | -0.01705 | -0.0042737 | 0.017055 | 0.0042766 | 4.8394e-06 | 2.8422e-06 | 0.02557 | 0.02557 | 0.02557 | 0.99219 | -0.14943 | 0.9925 | -0.14348 | 7.0248
53 | 0.008024 | 0.0020111 | -0.0080232 | -0.0020108 | 7.5354e-07 | 3.0318e-07 | 0.012036 | 0.012036 | 0.012036 | 0.99205 | -0.15221 | 0.99194 | -0.15418 | 3.3065
54 | -0.021089 | -0.0052876 | 0.021089 | 0.0052877 | 1.8577e-07 | 1.1249e-07 | 0.031619 | 0.031619 | 0.031619 | 0.9925 | -0.14348 | 0.99251 | -0.14329 | 8.6864
55 | -0.02434 | -0.0061025 | 0.02435 | 0.0061089 | 1.0471e-05 | 6.43e-06 | 0.036492 | 0.036492 | 0.036492 | 0.99251 | -0.14329 | 0.99297 | -0.13427 | 10.0254
56 | -0.027038 | -0.0067824 | 0.027039 | 0.006783 | 1.025e-06 | 6.3445e-07 | 0.040519 | 0.040519 | 0.040519 | 0.99297 | -0.13427 | 0.99301 | -0.13347 | 11.1317
57 | 0.047769 | 0.012042 | -0.047745 | -0.012027 | 2.4389e-05 | 1.5455e-05 | 0.072803 | 0.072803 | 0.072803 | 0.97669 | -0.44795 | 0.97615 | -0.45862 | 20.0008
58 | 0.0031655 | 0.00079313 | -0.0031653 | -0.00079329 | 1.9895e-07 | -1.5749e-07 | 0.0048253 | 0.0048254 | 0.0048254 | 0.97615 | -0.45862 | 0.97608 | -0.45994 | 1.3257
59 | 0.044579 | 0.011234 | -0.044519 | -0.011195 | 6.0306e-05 | 3.8161e-05 | 0.067978 | 0.067978 | 0.067978 | 0.97615 | -0.45862 | 0.97471 | -0.48694 | 18.6753
60 | 0.039656 | 0.0099766 | -0.039605 | -0.0099443 | 5.111e-05 | 3.2248e-05 | 0.060554 | 0.060554 | 0.060554 | 0.97471 | -0.48694 | 0.97333 | -0.51396 | 16.6357
61 | 0.033719 | 0.0084691 | -0.033686 | -0.0084487 | 3.2434e-05 | 2.0354e-05 | 0.051555 | 0.051555 | 0.051555 | 0.97333 | -0.51396 | 0.97231 | -0.53414 | 14.1635
62 | 0.026808 | 0.0067249 | -0.026806 | -0.0067237 | 1.8723e-06 | 1.1615e-06 | 0.041029 | 0.041029 | 0.041029 | 0.97231 | -0.53414 | 0.97224 | -0.5356 | 11.2716
63 | -0.02144 | -0.005375 | 0.021451 | 0.0053817 | 1.097e-05 | 6.6843e-06 | 0.032833 | 0.032833 | 0.032833 | 0.97169 | -0.54633 | 0.97224 | -0.5356 | 9.0201
64 | 0.0052892 | 0.0013256 | -0.0052889 | -0.0013255 | 3.1557e-07 | 4.3085e-08 | 0.0080997 | 0.0080997 | 0.0080997 | 0.97169 | -0.54633 | 0.97163 | -0.54759 | 2.2252
65 | 0.012745 | 0.0031958 | -0.01274 | -0.0031928 | 5.4698e-06 | 3.0266e-06 | 0.019518 | 0.019518 | 0.019518 | 0.97169 | -0.54633 | 0.97124 | -0.55534 | 5.3621
66 | 0.002355 | 0.00059014 | -0.0023549 | -0.0005902 | 3.3915e-08 | -6.4272e-08 | 0.003608 | 0.003608 | 0.003608 | 0.97124 | -0.55534 | 0.97122 | -0.55564 | 0.99121
67 | 0.0080296 | 0.0020124 | -0.0080294 | -0.0020123 | 2.1899e-07 | 9.2403e-08 | 0.012302 | 0.012302 | 0.012302 | 0.97124 | -0.55534 | 0.97121 | -0.55592 | 3.3797
68 | 0.0056745 | 0.0014221 | -0.005674 | -0.001422 | 4.3812e-07 | 8.9138e-08 | 0.008694 | 0.008694 | 0.008694 | 0.97121 | -0.55592 | 0.97113 | -0.55754 | 2.3885
69 | 0.14092 | 0.036143 | -0.1407 | -0.036006 | 0.00021435 | 0.00013652 | 0.2113 | 0.2113 | 0.2113 | 0.99376 | -0.11827 | 0.99211 | -0.14968 | 29.0246
70 | -0.0075713 | -0.001897 | 0.007572 | 0.0018973 | 7.7263e-07 | 2.9126e-07 | 0.011399 | 0.011399 | 0.011399 | 0.98833 | -0.22391 | 0.98844 | -0.22177 | 3.1316
71 | 0.0036508 | 0.00091446 | -0.0036504 | -0.00091465 | 3.8669e-07 | -1.8986e-07 | 0.0054964 | 0.0054966 | 0.0054966 | 0.98833 | -0.22391 | 0.98822 | -0.22614 | 1.5101
72 | -0.013033 | -0.0032659 | 0.013035 | 0.0032671 | 2.1135e-06 | 1.165e-06 | 0.01962 | 0.01962 | 0.01962 | 0.98844 | -0.22177 | 0.98862 | -0.21837 | 5.39
73 | 0.0036504 | 0.00091465 | -0.0036501 | -0.00091481 | 3.1794e-07 | -1.5601e-07 | 0.0054966 | 0.0054967 | 0.0054967 | 0.98822 | -0.22614 | 0.98812 | -0.22797 | 1.5101
74 | 0.0085621 | 0.0021459 | -0.0085611 | -0.0021455 | 9.5569e-07 | 4.1491e-07 | 0.012887 | 0.012887 | 0.012887 | 0.98862 | -0.21837 | 0.9885 | -0.22071 | 3.5405
75 | -0.021597 | -0.005413 | 0.021603 | 0.0054166 | 5.9406e-06 | 3.6097e-06 | 0.032507 | 0.032507 | 0.032507 | 0.98862 | -0.21837 | 0.98891 | -0.2126 | 8.9305
76 | 0.0043056 | 0.001079 | -0.0043053 | -0.001079 | 2.2336e-07 | -3.8804e-08 | 0.0064813 | 0.0064813 | 0.0064813 | 0.9885 | -0.22071 | 0.98844 | -0.2218 | 1.7806
77 | 0.0021823 | 0.0005469 | -0.0021823 | -0.00054693 | 1.1028e-08 | -2.7869e-08 | 0.0032852 | 0.0032852 | 0.0032852 | 0.98844 | -0.2218 | 0.98844 | -0.22191 | 0.90254
78 | -0.13463 | -0.034254 | 0.13522 | 0.034632 | 0.00059282 | 0.00037891 | 0.20308 | 0.20308 | 0.20308 | 0.98736 | -0.24061 | 0.99211 | -0.14968 | 55.7909
79 | 0.027916 | 0.0069978 | -0.027912 | -0.0069955 | 3.7222e-06 | 2.3109e-06 | 0.042139 | 0.042139 | 0.042139 | 0.98578 | -0.27348 | 0.98564 | -0.27628 | 11.5767
80 | -0.030984 | -0.0077667 | 0.030999 | 0.0077765 | 1.5729e-05 | 9.8218e-06 | 0.04677 | 0.04677 | 0.04677 | 0.98578 | -0.27348 | 0.98633 | -0.26283 | 12.8489
81 | 0.0074951 | 0.0018785 | -0.007495 | -0.0018784 | 1.7668e-07 | 6.6177e-08 | 0.011315 | 0.011315 | 0.011315 | 0.98564 | -0.27628 | 0.98561 | -0.27677 | 3.1086
82 | -0.035112 | -0.0088071 | 0.035121 | 0.0088132 | 9.7722e-06 | 6.1356e-06 | 0.052973 | 0.052973 | 0.052973 | 0.98633 | -0.26283 | 0.98663 | -0.25699 | 14.5532
83 | 0.0082591 | 0.00207 | -0.0082587 | -0.0020698 | 3.7097e-07 | 1.5508e-07 | 0.012421 | 0.012421 | 0.012421 | 0.9894 | -0.20319 | 0.98935 | -0.20413 | 3.4125

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.44879 | 0.11411

## res_load
| p_mw | q_mvar
0 | 0.014857 | 0.0037236
1 | 0.0051712 | 0.001296
2 | 0.0064366 | 0.0016132
3 | 0.0041649 | 0.0010438
4 | 0.0090003 | 0.0022557
5 | 0.0057719 | 0.0014466
6 | 0.016134 | 0.0040435
7 | 0.016149 | 0.0040472
8 | 0.0078939 | 0.0019784
9 | 0.0025508 | 0.00063929
10 | 0.0074088 | 0.0018568
11 | 0.0055362 | 0.0013875
12 | 0.015948 | 0.0039969
13 | 0.004838 | 0.0012125
14 | 0.0046393 | 0.0011627
15 | 0.0041282 | 0.0010346
16 | 0.0024646 | 0.0006177
17 | 0.0025861 | 0.00064813
18 | 0.015117 | 0.0037886
19 | 0.0028025 | 0.00070238
20 | 0.0025356 | 0.00063549
21 | 0.0018132 | 0.00045444
22 | 0.013769 | 0.0034507
23 | 0.0083791 | 0.0021
24 | 0.0042535 | 0.001066
25 | 0.0052428 | 0.001314
26 | 0.0035605 | 0.00089236
27 | 0.003453 | 0.0008654
28 | 0.0063335 | 0.0015873
29 | 0.0071137 | 0.0017829
30 | 0.0045399 | 0.0011378
31 | 0.0048813 | 0.0012234
32 | 0.0066567 | 0.0016683
33 | 0.005021 | 0.0012584
34 | 0.0023912 | 0.00059929
35 | 0.0041124 | 0.0010307
36 | 0.004016 | 0.0010065
37 | 0.0050081 | 0.0012552
38 | 0.0040341 | 0.001011
39 | 0.0080232 | 0.0020108
40 | 0.0032509 | 0.00081476
41 | 0.0026873 | 0.0006735
42 | 0.011179 | 0.0028018
43 | 0.0044842 | 0.0011239
44 | 0.0031653 | 0.00079329
45 | 0.0048632 | 0.0012188
46 | 0.0058863 | 0.0014752
47 | 0.0068783 | 0.0017239
48 | 0.003406 | 0.00085362
49 | 0.0053548 | 0.001342
50 | 0.0052889 | 0.0013255
51 | 0.0023549 | 0.0005902
52 | 0.0023549 | 0.0005902
53 | 0.005674 | 0.001422
54 | 0.0023549 | 0.0005902
55 | 0.0033138 | 0.00083052
56 | 0.0039204 | 0.00098255
57 | 0.0054608 | 0.0013686
58 | 0.0036501 | 0.00091481
59 | 0.0042555 | 0.0010665
60 | 0.0046165 | 0.001157
61 | 0.0021231 | 0.00053209
62 | 0.0028997 | 0.00072673
63 | 0.0054807 | 0.0013736
64 | 0.0030678 | 0.00076885
65 | 0.020417 | 0.005117
66 | 0.0041121 | 0.0010306
67 | 0.007495 | 0.0018784
68 | 0.022878 | 0.0057339
69 | 0.009769 | 0.0024484
70 | 0.0082587 | 0.0020698
71 | 0.0021823 | 0.00054693

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1