## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1323-22_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1323-22_0_7_node_44 | 0.4 | n |  | TRUE
2 | bus_LV_1323-22_0_7_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_1323-22_0_7_node_69 | 0.4 | n |  | TRUE
4 | bus_LV_1323-22_0_7_node_60 | 0.4 | n |  | TRUE
5 | bus_LV_1323-22_0_7_node_64 | 0.4 | n |  | TRUE
6 | bus_LV_1323-22_0_7_node_40 | 0.4 | n |  | TRUE
7 | bus_LV_1323-22_0_7_node_1 | 0.4 | n |  | TRUE
8 | bus_LV_1323-22_0_7_node_78 | 0.4 | n |  | TRUE
9 | bus_LV_1323-22_0_7_node_82 | 0.4 | n |  | TRUE
10 | bus_LV_1323-22_0_7_node_68 | 0.4 | n |  | TRUE
11 | bus_LV_1323-22_0_7_node_41 | 0.4 | n |  | TRUE
12 | bus_LV_1323-22_0_7_node_79 | 0.4 | n |  | TRUE
13 | bus_LV_1323-22_0_7_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_1323-22_0_7_node_2 | 0.4 | n |  | TRUE
15 | bus_LV_1323-22_0_7_node_49 | 0.4 | n |  | TRUE
16 | bus_LV_1323-22_0_7_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_1323-22_0_7_node_5 | 0.4 | n |  | TRUE
18 | bus_LV_1323-22_0_7_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_1323-22_0_7_node_3 | 0.4 | n |  | TRUE
20 | bus_LV_1323-22_0_7_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_1323-22_0_7_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_1323-22_0_7_node_62 | 0.4 | n |  | TRUE
23 | bus_LV_1323-22_0_7_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_1323-22_0_7_node_6 | 0.4 | n |  | TRUE
25 | bus_LV_1323-22_0_7_node_65 | 0.4 | n |  | TRUE
26 | bus_LV_1323-22_0_7_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_1323-22_0_7_node_10 | 0.4 | n |  | TRUE
28 | bus_LV_1323-22_0_7_node_57 | 0.4 | n |  | TRUE
29 | bus_LV_1323-22_0_7_node_4 | 0.4 | n |  | TRUE
30 | bus_LV_1323-22_0_7_node_73 | 0.4 | n |  | TRUE
31 | bus_LV_1323-22_0_7_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_1323-22_0_7_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_1323-22_0_7_node_89 | 0.4 | n |  | TRUE
34 | bus_LV_1323-22_0_7_node_83 | 0.4 | n |  | TRUE
35 | bus_LV_1323-22_0_7_node_9 | 0.4 | n |  | TRUE
36 | bus_LV_1323-22_0_7_node_58 | 0.4 | n |  | TRUE
37 | bus_LV_1323-22_0_7_node_56 | 0.4 | n |  | TRUE
38 | bus_LV_1323-22_0_7_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_1323-22_0_7_node_72 | 0.4 | n |  | TRUE
40 | bus_LV_1323-22_0_7_node_52 | 0.4 | n |  | TRUE
41 | bus_LV_1323-22_0_7_node_8 | 0.4 | n |  | TRUE
42 | bus_LV_1323-22_0_7_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_1323-22_0_7_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_1323-22_0_7_node_18 | 0.4 | n |  | TRUE
45 | bus_LV_1323-22_0_7_node_70 | 0.4 | n |  | TRUE
46 | bus_LV_1323-22_0_7_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_1323-22_0_7_node_15 | 0.4 | n |  | TRUE
48 | bus_LV_1323-22_0_7_node_88 | 0.4 | n |  | TRUE
49 | bus_LV_1323-22_0_7_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_1323-22_0_7_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_1323-22_0_7_node_11 | 0.4 | n |  | TRUE
52 | bus_LV_1323-22_0_7_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_1323-22_0_7_node_76 | 0.4 | n |  | TRUE
54 | bus_LV_1323-22_0_7_node_74 | 0.4 | n |  | TRUE
55 | bus_LV_1323-22_0_7_node_71 | 0.4 | n |  | TRUE
56 | bus_LV_1323-22_0_7_node_67 | 0.4 | n |  | TRUE
57 | bus_LV_1323-22_0_7_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_1323-22_0_7_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_1323-22_0_7_node_21 | 0.4 | n |  | TRUE
60 | bus_LV_1323-22_0_7_node_80 | 0.4 | n |  | TRUE
61 | bus_LV_1323-22_0_7_node_84 | 0.4 | n |  | TRUE
62 | bus_LV_1323-22_0_7_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_1323-22_0_7_node_16 | 0.4 | n |  | TRUE
64 | bus_LV_1323-22_0_7_node_17 | 0.4 | n |  | TRUE
65 | bus_LV_1323-22_0_7_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_1323-22_0_7_node_28 | 0.4 | n |  | TRUE
67 | bus_LV_1323-22_0_7_node_19 | 0.4 | n |  | TRUE
68 | bus_LV_1323-22_0_7_node_77 | 0.4 | n |  | TRUE
69 | bus_LV_1323-22_0_7_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_1323-22_0_7_node_24 | 0.4 | n |  | TRUE
71 | bus_LV_1323-22_0_7_node_34 | 0.4 | n |  | TRUE
72 | bus_LV_1323-22_0_7_node_50 | 0.4 | n |  | TRUE
73 | bus_LV_1323-22_0_7_node_20 | 0.4 | n |  | TRUE
74 | bus_LV_1323-22_0_7_node_23 | 0.4 | n |  | TRUE
75 | bus_LV_1323-22_0_7_node_27 | 0.4 | n |  | TRUE
76 | bus_LV_1323-22_0_7_node_87 | 0.4 | n |  | TRUE
77 | bus_LV_1323-22_0_7_node_35 | 0.4 | n |  | TRUE
78 | bus_LV_1323-22_0_7_node_31 | 0.4 | n |  | TRUE
79 | bus_LV_1323-22_0_7_node_81 | 0.4 | n |  | TRUE
80 | bus_LV_1323-22_0_7_node_37 | 0.4 | n |  | TRUE
81 | bus_LV_1323-22_0_7_node_29 | 0.4 | n |  | TRUE
82 | bus_LV_1323-22_0_7_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_1323-22_0_7_node_63 | 0.4 | n |  | TRUE
84 | bus_LV_1323-22_0_7_node_30 | 0.4 | n |  | TRUE
85 | bus_LV_1323-22_0_7_node_53 | 0.4 | n |  | TRUE
86 | bus_LV_1323-22_0_7_node_66 | 0.4 | n |  | TRUE
87 | bus_LV_1323-22_0_7_node_32 | 0.4 | n |  | TRUE
88 | bus_LV_1323-22_0_7_node_85 | 0.4 | n |  | TRUE
89 | bus_LV_1323-22_0_7_node_86 | 0.4 | n |  | TRUE
90 | bus_MV_15_0_node_120 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1323-22_0_7_load_0 | 0 | 0.0092486 | 0.0023179 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1323-22_0_7_load_44 | 1 | 0.010808 | 0.0027087 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1323-22_0_7_load_7 | 2 | 0.0023681 | 0.00059351 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1323-22_0_7_load_69 | 3 | 0.011756 | 0.0029464 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1323-22_0_7_load_60 | 4 | 0.0033767 | 0.00084628 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1323-22_0_7_load_64 | 5 | 0.011574 | 0.0029008 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1323-22_0_7_load_40 | 6 | 0.0020732 | 0.0005196 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1323-22_0_7_load_1 | 7 | 0.0045917 | 0.0011508 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1323-22_0_7_load_78 | 8 | 0.0091414 | 0.002291 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1323-22_0_7_load_82 | 9 | 0.012098 | 0.0030322 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1323-22_0_7_load_68 | 10 | 0.004183 | 0.0010484 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1323-22_0_7_load_41 | 11 | 0.0030753 | 0.00077075 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1323-22_0_7_load_79 | 12 | 0.0025349 | 0.0006353 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1323-22_0_7_load_13 | 13 | 0.012071 | 0.0030252 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1323-22_0_7_load_2 | 14 | 0.0037233 | 0.00093314 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1323-22_0_7_load_49 | 15 | 0.0085831 | 0.0021511 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1323-22_0_7_load_14 | 16 | 0.0037196 | 0.00093223 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1323-22_0_7_load_25 | 18 | 0.0037233 | 0.00093314 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1323-22_0_7_load_3 | 19 | 0.0017044 | 0.00042716 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1323-22_0_7_load_22 | 20 | 0.001654 | 0.00041453 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1323-22_0_7_load_12 | 21 | 0.0017037 | 0.00042698 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1323-22_0_7_load_62 | 22 | 0.003815 | 0.00095613 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1323-22_0_7_load_45 | 23 | 0.0017044 | 0.00042716 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1323-22_0_7_load_6 | 24 | 0.0030555 | 0.00076579 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1323-22_0_7_load_54 | 26 | 0.001974 | 0.00049473 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1323-22_0_7_load_10 | 27 | 0.0051968 | 0.0013025 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1323-22_0_7_load_57 | 28 | 0.0057774 | 0.001448 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1323-22_0_7_load_4 | 29 | 0.0066183 | 0.0016587 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1323-22_0_7_load_73 | 30 | 0.0071816 | 0.0017999 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1323-22_0_7_load_47 | 31 | 0.0042405 | 0.0010628 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1323-22_0_7_load_48 | 32 | 0.0052889 | 0.0013255 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1323-22_0_7_load_89 | 33 | 0.0039891 | 0.00099977 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1323-22_0_7_load_83 | 34 | 0.013761 | 0.0034489 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1323-22_0_7_load_9 | 35 | 0.0032263 | 0.0008086 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1323-22_0_7_load_58 | 36 | 0.0020559 | 0.00051527 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1323-22_0_7_load_56 | 37 | 0.004576 | 0.0011469 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1323-22_0_7_load_61 | 38 | 0.0026758 | 0.00067062 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1323-22_0_7_load_72 | 39 | 0.0020746 | 0.00051994 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1323-22_0_7_load_52 | 40 | 0.0040603 | 0.0010176 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1323-22_0_7_load_8 | 41 | 0.0029552 | 0.00074063 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1323-22_0_7_load_51 | 42 | 0.0017593 | 0.00044093 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1323-22_0_7_load_26 | 43 | 0.0018846 | 0.00047233 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1323-22_0_7_load_18 | 44 | 0.00176 | 0.00044111 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1323-22_0_7_load_70 | 45 | 0.0018841 | 0.00047221 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1323-22_0_7_load_42 | 46 | 0.0061858 | 0.0015503 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1323-22_0_7_load_15 | 47 | 0.0038024 | 0.00095296 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1323-22_0_7_load_88 | 48 | 0.0021676 | 0.00054326 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1323-22_0_7_load_39 | 49 | 0.0038803 | 0.00097248 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1323-22_0_7_load_36 | 50 | 0.0052343 | 0.0013118 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1323-22_0_7_load_11 | 51 | 0.0044515 | 0.0011157 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1323-22_0_7_load_33 | 52 | 0.010372 | 0.0025995 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1323-22_0_7_load_76 | 53 | 0.014229 | 0.0035662 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1323-22_0_7_load_74 | 54 | 0.0030775 | 0.00077129 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1323-22_0_7_load_71 | 55 | 0.0070534 | 0.0017677 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1323-22_0_7_load_67 | 56 | 0.0044916 | 0.0011257 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1323-22_0_7_load_38 | 57 | 0.0096467 | 0.0024177 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1323-22_0_7_load_59 | 58 | 0.0043863 | 0.0010993 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1323-22_0_7_load_21 | 59 | 0.0037313 | 0.00093514 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1323-22_0_7_load_80 | 60 | 0.012025 | 0.0030137 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1323-22_0_7_load_84 | 61 | 0.011705 | 0.0029335 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1323-22_0_7_load_55 | 62 | 0.0095601 | 0.002396 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1323-22_0_7_load_16 | 63 | 0.0026201 | 0.00065665 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1323-22_0_7_load_17 | 64 | 0.0024956 | 0.00062546 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1323-22_0_7_load_43 | 65 | 0.0026199 | 0.0006566 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1323-22_0_7_load_28 | 66 | 0.0041483 | 0.0010397 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_1323-22_0_7_load_19 | 67 | 0.0035365 | 0.00088634 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_1323-22_0_7_load_77 | 68 | 0.0042616 | 0.0010681 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_1323-22_0_7_load_46 | 69 | 0.0036372 | 0.00091157 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_1323-22_0_7_load_24 | 70 | 0.0032464 | 0.00081362 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_1323-22_0_7_load_34 | 71 | 0.0041149 | 0.0010313 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_1323-22_0_7_load_50 | 72 | 0.0027284 | 0.00068379 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_1323-22_0_7_load_20 | 73 | 0.0024961 | 0.00062558 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_1323-22_0_7_load_23 | 74 | 0.0098997 | 0.0024811 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_1323-22_0_7_load_27 | 75 | 0.010265 | 0.0025727 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_1323-22_0_7_load_87 | 76 | 0.0036513 | 0.0009151 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_1323-22_0_7_load_35 | 77 | 0.0099522 | 0.0024942 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_1323-22_0_7_load_31 | 78 | 0.011552 | 0.0028953 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_1323-22_0_7_load_81 | 79 | 0.010467 | 0.0026232 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_1323-22_0_7_load_37 | 80 | 0.0037196 | 0.00093223 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_1323-22_0_7_load_29 | 81 | 0.0045103 | 0.0011304 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_1323-22_0_7_load_75 | 82 | 0.0075481 | 0.0018917 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_1323-22_0_7_load_63 | 83 | 0.016075 | 0.0040287 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_1323-22_0_7_load_30 | 84 | 0.0027094 | 0.00067905 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_1323-22_0_7_load_53 | 85 | 0.0058822 | 0.0014742 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_1323-22_0_7_load_66 | 86 | 0.0036041 | 0.00090328 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_1323-22_0_7_load_32 | 87 | 0.030677 | 0.0076884 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_1323-22_0_7_load_85 | 88 | 0.017131 | 0.0042935 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_1323-22_0_7_load_86 | 89 | 0.0049994 | 0.001253 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1323-22_0_7_line_0 |  | 0 | 1 | 0.0053185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1323-22_0_7_line_1 |  | 0 | 2 | 0.028893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1323-22_0_7_line_2 |  | 0 | 3 | 0.043378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1323-22_0_7_line_3 |  | 1 | 4 | 0.020278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1323-22_0_7_line_4 |  | 2 | 5 | 0.0027137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1323-22_0_7_line_5 |  | 3 | 6 | 0.008386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1323-22_0_7_line_6 |  | 4 | 84 | 0.0082949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1323-22_0_7_line_7 |  | 5 | 37 | 0.018912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1323-22_0_7_line_8 |  | 6 | 39 | 0.0079069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1323-22_0_7_line_9 |  | 7 | 8 | 0.02153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1323-22_0_7_line_10 |  | 7 | 9 | 0.0085396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1323-22_0_7_line_11 |  | 9 | 10 | 0.0071098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1323-22_0_7_line_12 |  | 10 | 57 | 0.011169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1323-22_0_7_line_13 |  | 11 | 12 | 0.027835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1323-22_0_7_line_14 |  | 11 | 13 | 0.015551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1323-22_0_7_line_15 |  | 12 | 68 | 0.016516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1323-22_0_7_line_16 |  | 13 | 57 | 0.051528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1323-22_0_7_line_17 |  | 14 | 15 | 0.0080444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1323-22_0_7_line_18 |  | 14 | 16 | 0.0076249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1323-22_0_7_line_19 |  | 15 | 17 | 0.037127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1323-22_0_7_line_20 |  | 16 | 18 | 0.0076249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1323-22_0_7_line_21 |  | 17 | 34 | 0.029821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1323-22_0_7_line_22 |  | 18 | 60 | 0.0042941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1323-22_0_7_line_23 |  | 19 | 20 | 0.022708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_1323-22_0_7_line_24 |  | 19 | 21 | 0.0047705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_1323-22_0_7_line_25 |  | 20 | 22 | 0.0014099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1323-22_0_7_line_26 |  | 21 | 23 | 0.0047705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_1323-22_0_7_line_27 |  | 22 | 33 | 0.0071239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1323-22_0_7_line_28 |  | 23 | 56 | 0.027983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1323-22_0_7_line_29 |  | 23 | 50 | 0.041758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_1323-22_0_7_line_30 |  | 24 | 25 | 0.013859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_1323-22_0_7_line_31 |  | 24 | 26 | 0.034216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_1323-22_0_7_line_32 |  | 25 | 35 | 0.013057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1323-22_0_7_line_33 |  | 25 | 27 | 0.016799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_1323-22_0_7_line_34 |  | 26 | 36 | 0.011185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_1323-22_0_7_line_35 |  | 27 | 28 | 0.0085687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_1323-22_0_7_line_36 |  | 28 | 50 | 0.0087807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_1323-22_0_7_line_37 |  | 29 | 30 | 0.01516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1323-22_0_7_line_38 |  | 29 | 31 | 0.0045701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1323-22_0_7_line_39 |  | 30 | 32 | 0.014848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1323-22_0_7_line_40 |  | 31 | 33 | 0.022065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1323-22_0_7_line_41 |  | 32 | 58 | 0.017371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1323-22_0_7_line_42 |  | 35 | 48 | 0.014142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1323-22_0_7_line_43 |  | 36 | 76 | 0.0045623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_1323-22_0_7_line_44 |  | 37 | 46 | 0.024846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1323-22_0_7_line_45 |  | 38 | 39 | 0.0029398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1323-22_0_7_line_46 |  | 38 | 40 | 0.024259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1323-22_0_7_line_47 |  | 40 | 45 | 0.0027084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1323-22_0_7_line_48 |  | 41 | 42 | 0.010655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1323-22_0_7_line_49 |  | 41 | 43 | 0.011836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1323-22_0_7_line_50 |  | 42 | 44 | 0.0077917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1323-22_0_7_line_51 |  | 43 | 45 | 0.0080273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1323-22_0_7_line_52 |  | 46 | 47 | 0.0013497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1323-22_0_7_line_53 |  | 47 | 61 | 0.022949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1323-22_0_7_line_54 |  | 48 | 49 | 0.025135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1323-22_0_7_line_55 |  | 49 | 78 | 0.021932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1323-22_0_7_line_56 |  | 50 | 81 | 0.018079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1323-22_0_7_line_57 |  | 51 | 52 | 0.0019066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1323-22_0_7_line_58 |  | 51 | 53 | 0.017532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1323-22_0_7_line_59 |  | 52 | 54 | 0.0054736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1323-22_0_7_line_60 |  | 53 | 55 | 0.01177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_1323-22_0_7_line_61 |  | 54 | 86 | 0.0017463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1323-22_0_7_line_62 |  | 55 | 87 | 0.0046912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_1323-22_0_7_line_63 |  | 56 | 82 | 0.00075595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1323-22_0_7_line_64 |  | 56 | 83 | 0.068357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1323-22_0_7_line_65 |  | 58 | 59 | 0.0067968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1323-22_0_7_line_66 |  | 59 | 72 | 0.0027723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1323-22_0_7_line_67 |  | 60 | 79 | 0.054621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_1323-22_0_7_line_68 |  | 60 | 80 | 0.0033308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_1323-22_0_7_line_69 |  | 61 | 62 | 0.0056369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1323-22_0_7_line_70 |  | 63 | 64 | 0.0045426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1323-22_0_7_line_71 |  | 63 | 65 | 0.019214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1323-22_0_7_line_72 |  | 64 | 66 | 0.0025392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1323-22_0_7_line_73 |  | 65 | 67 | 0.0057752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1323-22_0_7_line_74 |  | 66 | 72 | 0.02621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1323-22_0_7_line_75 |  | 67 | 73 | 0.00029831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1323-22_0_7_line_76 |  | 68 | 69 | 0.022668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1323-22_0_7_line_77 |  | 69 | 73 | 0.038489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1323-22_0_7_line_78 |  | 70 | 71 | 0.033322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1323-22_0_7_line_79 |  | 71 | 78 | 0.00078822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1323-22_0_7_line_80 |  | 74 | 75 | 0.00035971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_1323-22_0_7_line_81 |  | 74 | 76 | 0.024974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_1323-22_0_7_line_82 |  | 75 | 77 | 0.027559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_1323-22_0_7_line_83 |  | 77 | 79 | 0.00066934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_1323-22_0_7_line_84 |  | 80 | 87 | 0.012346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_1323-22_0_7_line_85 |  | 82 | 89 | 0.036763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_1323-22_0_7_line_86 |  | 83 | 88 | 0.017312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_1323-22_0_7_line_87 |  | 84 | 85 | 0.0010369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_1323-22_0_7_line_88 |  | 85 | 86 | 0.017207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1323-22_0_7_trafo_65 | 0.63 MVA 20/0.4 kV | 90 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2696948.2631 | 1228470.9177 | 2696943.0116 | 1228471.7592
1 | 2696943.0116 | 1228471.7592 | 2696914.4827 | 1228476.3307
2 | 2696943.0116 | 1228471.7592 | 2696941.3559 | 1228515.106
3 | 2696948.2631 | 1228470.9177 | 2696968.2852 | 1228467.7093
4 | 2696911.8031 | 1228476.7601 | 2696914.4827 | 1228476.3307
5 | 2696941.3559 | 1228515.106 | 2696933.1415 | 1228516.7941
6 | 2696976.4756 | 1228466.3969 | 2696968.2852 | 1228467.7093
7 | 2696911.8031 | 1228476.7601 | 2696893.1292 | 1228479.7524
8 | 2696925.3965 | 1228518.3857 | 2696933.1415 | 1228516.7941
9 | 2696758.0541 | 1228293.4284 | 2696749.0629 | 1228295.4837 | 2696738.3259 | 1228289.468
10 | 2696758.0541 | 1228293.4284 | 2696758.0541 | 1228293.4284 | 2696765.2103 | 1228288.7686
11 | 2696771.1684 | 1228284.889 | 2696765.2103 | 1228288.7686
12 | 2696780.5277 | 1228278.7945 | 2696771.1684 | 1228284.889
13 | 2696781.27 | 1228344.6426 | 2696802.8312 | 1228327.0385
14 | 2696814.8772 | 1228317.2034 | 2696802.8312 | 1228327.0385
15 | 2696768.477 | 1228355.0877 | 2696781.27 | 1228344.6426
16 | 2696814.8772 | 1228317.2034 | 2696780.5277 | 1228278.7945
17 | 2697079.7077 | 1228449.4374 | 2697073.6988 | 1228450.8176 | 2697071.8435 | 1228451.1149
18 | 2697071.8435 | 1228451.1149 | 2697064.3146 | 1228452.3214
19 | 2697115.2435 | 1228448.4829 | 2697106.2964 | 1228444.5896 | 2697099.417 | 1228444.0213 | 2697092.9774 | 1228446.2178 | 2697091.4608 | 1228446.7379 | 2697079.7077 | 1228449.4374
20 | 2697064.3146 | 1228452.3214 | 2697056.7857 | 1228453.5278
21 | 2697115.2435 | 1228448.4829 | 2697115.247 | 1228452.4414 | 2697117.3623 | 1228456.5566 | 2697122.2477 | 1228457.6483 | 2697128.9479 | 1228455.7341 | 2697138.1095 | 1228454.3779
22 | 2697052.5457 | 1228454.2072 | 2697056.7857 | 1228453.5278
23 | 2696908.232 | 1228361.08 | 2696915.5231 | 1228361.1516 | 2696920.6539 | 1228359.7453 | 2696929.5524 | 1228356.866 | 2696930.2451 | 1228356.5962
24 | 2696934.6903 | 1228354.8649 | 2696930.2451 | 1228356.5962
25 | 2696906.8221 | 1228361.0662 | 2696908.232 | 1228361.08
26 | 2696939.1355 | 1228353.1335 | 2696934.6903 | 1228354.8649
27 | 2696906.8221 | 1228361.0662 | 2696903.5132 | 1228361.0337 | 2696899.7807 | 1228360.2456
28 | 2696963.9807 | 1228340.39 | 2696946.7053 | 1228350.1851 | 2696939.1355 | 1228353.1335
29 | 2696939.1355 | 1228353.1335 | 2696957.9552 | 1228390.4101
30 | 2696927.529 | 1228405.6683 | 2696935.4872 | 1228407.477 | 2696941.1681 | 1228407.9214
31 | 2696941.1681 | 1228407.9214 | 2696942.1325 | 1228407.9968 | 2696973.1194 | 1228399.24 | 2696974.1507 | 1228399.0542
32 | 2696927.529 | 1228405.6683 | 2696918.8914 | 1228406.0278 | 2696914.5821 | 1228405.0836
33 | 2696927.529 | 1228405.6683 | 2696940.5624 | 1228400.6437 | 2696943.0021 | 1228399.2082
34 | 2696974.1507 | 1228399.0542 | 2696981.9514 | 1228397.6495 | 2696985.2094 | 1228397.5714
35 | 2696950.3873 | 1228394.8629 | 2696943.0021 | 1228399.2082
36 | 2696957.9552 | 1228390.4101 | 2696950.3873 | 1228394.8629
37 | 2696874.6865 | 1228351.4507 | 2696866.6002 | 1228348.379 | 2696860.3712 | 1228346.4873
38 | 2696874.6865 | 1228351.4507 | 2696878.9587 | 1228353.0736
39 | 2696845.656 | 1228346.7638 | 2696847.5001 | 1228346.1998 | 2696853.9785 | 1228345.8049 | 2696860.3712 | 1228346.4873 | 2696860.3712 | 1228346.4873
40 | 2696899.7807 | 1228360.2456 | 2696895.4094 | 1228359.3227 | 2696878.9587 | 1228353.0736
41 | 2696830.4764 | 1228354.8494 | 2696831.0349 | 1228354.4043 | 2696839.9065 | 1228348.5223 | 2696845.656 | 1228346.7638
42 | 2696914.5821 | 1228405.0836 | 2696907.9267 | 1228403.6253 | 2696900.7057 | 1228402.3747
43 | 2696989.7703 | 1228397.4622 | 2696985.2094 | 1228397.5714
44 | 2696868.5958 | 1228483.6837 | 2696893.1292 | 1228479.7524
45 | 2696922.5169 | 1228518.9774 | 2696925.3965 | 1228518.3857
46 | 2696922.5169 | 1228518.9774 | 2696898.7547 | 1228523.8606
47 | 2696898.7547 | 1228523.8606 | 2696896.1017 | 1228524.4058
48 | 2696876.6452 | 1228528.4042 | 2696866.2086 | 1228530.5489
49 | 2696876.6452 | 1228528.4042 | 2696888.2387 | 1228526.0217
50 | 2696858.5764 | 1228532.1173 | 2696866.2086 | 1228530.5489
51 | 2696888.2387 | 1228526.0217 | 2696896.1017 | 1228524.4058
52 | 2696868.5958 | 1228483.6837 | 2696867.2631 | 1228483.8973
53 | 2696844.6031 | 1228487.5284 | 2696867.2631 | 1228483.8973
54 | 2696875.7463 | 1228401.3814 | 2696883.6596 | 1228400.4388 | 2696896.5156 | 1228401.6491 | 2696900.7057 | 1228402.3747
55 | 2696855.2744 | 1228408.5413 | 2696860.9394 | 1228405.1055 | 2696866.9128 | 1228403.1458 | 2696873.0672 | 1228401.7006 | 2696875.7463 | 1228401.3814
56 | 2696973.5375 | 1228381.2417 | 2696957.9552 | 1228390.4101
57 | 2697003.5013 | 1228462.0662 | 2697001.6187 | 1228462.3679
58 | 2697003.5013 | 1228462.0662 | 2697020.8126 | 1228459.2922
59 | 2697001.6187 | 1228462.3679 | 2696996.214 | 1228463.2339
60 | 2697020.8126 | 1228459.2922 | 2697032.4347 | 1228457.4299
61 | 2696994.4897 | 1228463.5102 | 2696996.214 | 1228463.2339
62 | 2697032.4347 | 1228457.4299 | 2697037.0668 | 1228456.6876
63 | 2696963.9807 | 1228340.39 | 2696964.6383 | 1228340.0172
64 | 2696963.9807 | 1228340.39 | 2696923.3096 | 1228285.4486
65 | 2696830.4764 | 1228354.8494 | 2696825.1613 | 1228359.0856
66 | 2696825.1613 | 1228359.0856 | 2696822.9933 | 1228360.8135
67 | 2697052.5457 | 1228454.2072 | 2697043.2492 | 1228400.3833
68 | 2697052.5457 | 1228454.2072 | 2697049.2569 | 1228454.7342
69 | 2696839.0372 | 1228488.4203 | 2696844.6031 | 1228487.5284
70 | 2696796.9591 | 1228381.5629 | 2696800.5115 | 1228378.7316
71 | 2696796.9591 | 1228381.5629 | 2696781.9334 | 1228393.5384
72 | 2696802.4972 | 1228377.149 | 2696800.5115 | 1228378.7316
73 | 2696777.4171 | 1228397.1379 | 2696781.9334 | 1228393.5384
74 | 2696802.4972 | 1228377.149 | 2696822.9933 | 1228360.8135
75 | 2696777.1839 | 1228397.3238 | 2696777.4171 | 1228397.1379
76 | 2696768.477 | 1228355.0877 | 2696753.5633 | 1228367.2642 | 2696750.8129 | 1228369.2881
77 | 2696777.1839 | 1228397.3238 | 2696750.8129 | 1228369.2881
78 | 2696854.6004 | 1228408.9501 | 2696852.4051 | 1228410.2814 | 2696844.5291 | 1228415.9907 | 2696827.9994 | 1228428.9861
79 | 2696854.6004 | 1228408.9501 | 2696855.2744 | 1228408.5413
80 | 2697015.0656 | 1228398.789 | 2697014.7065 | 1228398.7686
81 | 2697014.7065 | 1228398.7686 | 2696991.0642 | 1228397.4312 | 2696989.7703 | 1228397.4622
82 | 2697015.0656 | 1228398.789 | 2697042.5809 | 1228400.3455
83 | 2697043.2492 | 1228400.3833 | 2697042.5809 | 1228400.3455
84 | 2697037.0668 | 1228456.6876 | 2697049.2569 | 1228454.7342
85 | 2696964.6383 | 1228340.0172 | 2696999.6076 | 1228328.6748
86 | 2696906.0253 | 1228286.4207 | 2696923.3096 | 1228285.4486
87 | 2696976.4756 | 1228466.3969 | 2696977.4995 | 1228466.2328
88 | 2696977.4995 | 1228466.2328 | 2696994.4897 | 1228463.5102

## bus_geodata
| x | y | coords
0 | 2696943.0116 | 1228471.7592
1 | 2696948.2631 | 1228470.9177
2 | 2696914.4827 | 1228476.3307
3 | 2696941.3559 | 1228515.106
4 | 2696968.2852 | 1228467.7093
5 | 2696911.8031 | 1228476.7601
6 | 2696933.1415 | 1228516.7941
7 | 2696758.0541 | 1228293.4284
8 | 2696738.3259 | 1228289.468
9 | 2696765.2103 | 1228288.7686
10 | 2696771.1684 | 1228284.889
11 | 2696802.8312 | 1228327.0385
12 | 2696781.27 | 1228344.6426
13 | 2696814.8772 | 1228317.2034
14 | 2697071.8435 | 1228451.1149
15 | 2697079.7077 | 1228449.4374
16 | 2697064.3146 | 1228452.3214
17 | 2697115.2435 | 1228448.4829
18 | 2697056.7857 | 1228453.5278
19 | 2696930.2451 | 1228356.5962
20 | 2696908.232 | 1228361.08
21 | 2696934.6903 | 1228354.8649
22 | 2696906.8221 | 1228361.0662
23 | 2696939.1355 | 1228353.1335
24 | 2696941.1681 | 1228407.9214
25 | 2696927.529 | 1228405.6683
26 | 2696974.1507 | 1228399.0542
27 | 2696943.0021 | 1228399.2082
28 | 2696950.3873 | 1228394.8629
29 | 2696874.6865 | 1228351.4507
30 | 2696860.3712 | 1228346.4873
31 | 2696878.9587 | 1228353.0736
32 | 2696845.656 | 1228346.7638
33 | 2696899.7807 | 1228360.2456
34 | 2697138.1095 | 1228454.3779
35 | 2696914.5821 | 1228405.0836
36 | 2696985.2094 | 1228397.5714
37 | 2696893.1292 | 1228479.7524
38 | 2696922.5169 | 1228518.9774
39 | 2696925.3965 | 1228518.3857
40 | 2696898.7547 | 1228523.8606
41 | 2696876.6452 | 1228528.4042
42 | 2696866.2086 | 1228530.5489
43 | 2696888.2387 | 1228526.0217
44 | 2696858.5764 | 1228532.1173
45 | 2696896.1017 | 1228524.4058
46 | 2696868.5958 | 1228483.6837
47 | 2696867.2631 | 1228483.8973
48 | 2696900.7057 | 1228402.3747
49 | 2696875.7463 | 1228401.3814
50 | 2696957.9552 | 1228390.4101
51 | 2697003.5013 | 1228462.0662
52 | 2697001.6187 | 1228462.3679
53 | 2697020.8126 | 1228459.2922
54 | 2696996.214 | 1228463.2339
55 | 2697032.4347 | 1228457.4299
56 | 2696963.9807 | 1228340.39
57 | 2696780.5277 | 1228278.7945
58 | 2696830.4764 | 1228354.8494
59 | 2696825.1613 | 1228359.0856
60 | 2697052.5457 | 1228454.2072
61 | 2696844.6031 | 1228487.5284
62 | 2696839.0372 | 1228488.4203
63 | 2696796.9591 | 1228381.5629
64 | 2696800.5115 | 1228378.7316
65 | 2696781.9334 | 1228393.5384
66 | 2696802.4972 | 1228377.149
67 | 2696777.4171 | 1228397.1379
68 | 2696768.477 | 1228355.0877
69 | 2696750.8129 | 1228369.2881
70 | 2696827.9994 | 1228428.9861
71 | 2696854.6004 | 1228408.9501
72 | 2696822.9933 | 1228360.8135
73 | 2696777.1839 | 1228397.3238
74 | 2697014.7065 | 1228398.7686
75 | 2697015.0656 | 1228398.789
76 | 2696989.7703 | 1228397.4622
77 | 2697042.5809 | 1228400.3455
78 | 2696855.2744 | 1228408.5413
79 | 2697043.2492 | 1228400.3833
80 | 2697049.2569 | 1228454.7342
81 | 2696973.5375 | 1228381.2417
82 | 2696964.6383 | 1228340.0172
83 | 2696923.3096 | 1228285.4486
84 | 2696976.4756 | 1228466.3969
85 | 2696977.4995 | 1228466.2328
86 | 2696994.4897 | 1228463.5102
87 | 2697037.0668 | 1228456.6876
88 | 2696906.0253 | 1228286.4207
89 | 2696999.6076 | 1228328.6748
90 | 2697052.9453 | 1228400.9318

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97557 | -0.47054 | 0.0092486 | 0.0023179
1 | 0.97602 | -0.4616 | 0.010808 | 0.0027087
2 | 0.97423 | -0.49692 | 0.0023681 | 0.00059351
3 | 0.97424 | -0.4967 | 0.011756 | 0.0029464
4 | 0.97796 | -0.42356 | 0.0033767 | 0.00084628
5 | 0.97411 | -0.49928 | 0.011574 | 0.0029008
6 | 0.97408 | -0.49996 | 0.0020732 | 0.0005196
7 | 0.97137 | -0.5528 | 0.0045917 | 0.0011508
8 | 0.97119 | -0.55644 | 0.0091414 | 0.002291
9 | 0.97148 | -0.55063 | 0.012098 | 0.0030322
10 | 0.97165 | -0.54724 | 0.004183 | 0.0010484
11 | 0.97462 | -0.48865 | 0.0030753 | 0.00077075
12 | 0.97605 | -0.4607 | 0.0025349 | 0.0006353
13 | 0.97387 | -0.50342 | 0.012071 | 0.0030252
14 | 0.98543 | -0.27842 | 0.0037233 | 0.00093314
15 | 0.98527 | -0.28165 | 0.0085831 | 0.0021511
16 | 0.98562 | -0.27485 | 0.0037196 | 0.00093223
17 | 0.9848 | -0.29083 | 0 | 0
18 | 0.98582 | -0.27078 | 0.0037233 | 0.00093314
19 | 0.99519 | -0.091239 | 0.0017044 | 0.00042716
20 | 0.99386 | -0.11661 | 0.001654 | 0.00041453
21 | 0.99538 | -0.087643 | 0.0017037 | 0.00042698
22 | 0.9937 | -0.11972 | 0.003815 | 0.00095613
23 | 0.99557 | -0.084002 | 0.0017044 | 0.00042716
24 | 0.99877 | -0.023279 | 0.0030555 | 0.00076579
25 | 1 | 0 | -0.52917 | -0.1352
26 | 0.99575 | -0.080384 | 0.001974 | 0.00049473
27 | 0.99895 | -0.019823 | 0.0051968 | 0.0013025
28 | 0.99843 | -0.029691 | 0.0057774 | 0.001448
29 | 0.99001 | -0.19007 | 0.0066183 | 0.0016587
30 | 0.98851 | -0.21882 | 0.0071816 | 0.0017999
31 | 0.99049 | -0.18088 | 0.0042405 | 0.0010628
32 | 0.98714 | -0.24515 | 0.0052889 | 0.0013255
33 | 0.99289 | -0.13499 | 0.0039891 | 0.00099977
34 | 0.98442 | -0.2982 | 0.013761 | 0.0034489
35 | 0.99967 | -0.0064176 | 0.0032263 | 0.0008086
36 | 0.99477 | -0.098997 | 0.0020559 | 0.00051527
37 | 0.97348 | -0.51174 | 0.004576 | 0.0011469
38 | 0.97389 | -0.50364 | 0.0026758 | 0.00067062
39 | 0.97393 | -0.50273 | 0.0020746 | 0.00051994
40 | 0.97357 | -0.51002 | 0.0040603 | 0.0010176
41 | 0.97341 | -0.51318 | 0.0029552 | 0.00074063
42 | 0.97337 | -0.51387 | 0.0017593 | 0.00044093
43 | 0.97348 | -0.51177 | 0.0018846 | 0.00047233
44 | 0.97336 | -0.51412 | 0.00176 | 0.00044111
45 | 0.97354 | -0.51053 | 0.0018841 | 0.00047221
46 | 0.97275 | -0.52603 | 0.0061858 | 0.0015503
47 | 0.97272 | -0.52665 | 0.0038024 | 0.00095296
48 | 0.99935 | -0.012577 | 0.0021676 | 0.00054326
49 | 0.99883 | -0.022582 | 0.0038803 | 0.00097248
50 | 0.99791 | -0.039517 | 0.0052343 | 0.0013118
51 | 0.98177 | -0.34934 | 0.0044515 | 0.0011157
52 | 0.98154 | -0.35389 | 0.010372 | 0.0025995
53 | 0.98399 | -0.30626 | 0.014229 | 0.0035662
54 | 0.98092 | -0.36591 | 0.0030775 | 0.00077129
55 | 0.98481 | -0.29034 | 0.0070534 | 0.0017677
56 | 0.99429 | -0.10876 | 0.0044916 | 0.0011257
57 | 0.97196 | -0.54106 | 0.0096467 | 0.0024177
58 | 0.98562 | -0.27441 | 0.0043863 | 0.0010993
59 | 0.98506 | -0.28534 | 0.0037313 | 0.00093514
60 | 0.98596 | -0.2682 | 0.012025 | 0.0030137
61 | 0.97227 | -0.53565 | 0.011705 | 0.0029335
62 | 0.97222 | -0.53664 | 0.0095601 | 0.002396
63 | 0.9823 | -0.33877 | 0.0026201 | 0.00065665
64 | 0.98262 | -0.3325 | 0.0024956 | 0.00062546
65 | 0.98097 | -0.36446 | 0.0026199 | 0.0006566
66 | 0.98281 | -0.32887 | 0.0041483 | 0.0010397
67 | 0.98059 | -0.37191 | 0.0035365 | 0.00088634
68 | 0.97693 | -0.44338 | 0.0042616 | 0.0010681
69 | 0.97823 | -0.41791 | 0.0036372 | 0.00091157
70 | 0.99835 | -0.031826 | 0.0032464 | 0.00081362
71 | 0.99844 | -0.029934 | 0.0041149 | 0.0010313
72 | 0.98484 | -0.28962 | 0.0027284 | 0.00068379
73 | 0.98057 | -0.37228 | 0.0024961 | 0.00062558
74 | 0.99224 | -0.14743 | 0.0098997 | 0.0024811
75 | 0.99221 | -0.148 | 0.010265 | 0.0025727
76 | 0.99438 | -0.10654 | 0.0036513 | 0.0009151
77 | 0.99001 | -0.19003 | 0.0099522 | 0.0024942
78 | 0.99845 | -0.029832 | 0.011552 | 0.0028953
79 | 0.98996 | -0.19101 | 0.010467 | 0.0026232
80 | 0.98576 | -0.27202 | 0.0037196 | 0.00093223
81 | 0.99784 | -0.040944 | 0.0045103 | 0.0011304
82 | 0.99428 | -0.10893 | 0.0075481 | 0.0018917
83 | 0.99222 | -0.14886 | 0.016075 | 0.0040287
84 | 0.97878 | -0.40754 | 0.0027094 | 0.00067905
85 | 0.97889 | -0.40549 | 0.0058822 | 0.0014742
86 | 0.98072 | -0.36966 | 0.0036041 | 0.00090328
87 | 0.98504 | -0.28592 | 0.030677 | 0.0076884
88 | 0.99194 | -0.15412 | 0.017131 | 0.0042935
89 | 0.99411 | -0.11217 | 0.0049994 | 0.001253
90 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.092078 | -0.023142 | 0.092118 | 0.023167 | 3.9353e-05 | 2.5119e-05 | 0.14047 | 0.14047 | 0.14047 | 0.97557 | -0.47054 | 0.97602 | -0.4616 | 38.5903
1 | 0.049893 | 0.01255 | -0.04983 | -0.01251 | 6.2775e-05 | 3.9816e-05 | 0.076117 | 0.076117 | 0.076117 | 0.97557 | -0.47054 | 0.97423 | -0.49692 | 20.9113
2 | 0.032937 | 0.0082739 | -0.032896 | -0.0082482 | 4.1067e-05 | 2.5742e-05 | 0.050245 | 0.050245 | 0.050245 | 0.97557 | -0.47054 | 0.97424 | -0.4967 | 13.8036
3 | -0.10293 | -0.025876 | 0.10311 | 0.025995 | 0.0001873 | 0.00011962 | 0.15695 | 0.15695 | 0.15695 | 0.97602 | -0.4616 | 0.97796 | -0.42356 | 43.1171
4 | 0.047462 | 0.011917 | -0.047457 | -0.011913 | 5.3491e-06 | 3.3896e-06 | 0.0725 | 0.0725 | 0.0725 | 0.97423 | -0.49692 | 0.97411 | -0.49928 | 19.9177
5 | 0.021139 | 0.0053017 | -0.021136 | -0.0052997 | 3.2786e-06 | 1.9939e-06 | 0.032289 | 0.032289 | 0.032289 | 0.97424 | -0.4967 | 0.97408 | -0.49996 | 8.8706
6 | -0.10649 | -0.026842 | 0.10657 | 0.026894 | 8.1718e-05 | 5.2196e-05 | 0.16208 | 0.16208 | 0.16208 | 0.97796 | -0.42356 | 0.97878 | -0.40754 | 44.5285
7 | 0.035882 | 0.0090126 | -0.035861 | -0.0089992 | 2.1313e-05 | 1.3405e-05 | 0.05482 | 0.05482 | 0.05482 | 0.97411 | -0.49928 | 0.97348 | -0.51174 | 15.0603
8 | 0.019063 | 0.0047801 | -0.01906 | -0.0047786 | 2.5146e-06 | 1.5109e-06 | 0.029122 | 0.029122 | 0.029122 | 0.97408 | -0.49996 | 0.97393 | -0.50273 | 8.0005
9 | 0.0091429 | 0.0022918 | -0.0091414 | -0.002291 | 1.5838e-06 | 7.4719e-07 | 0.014006 | 0.014006 | 0.014006 | 0.97137 | -0.5528 | 0.97119 | -0.55644 | 3.8478
10 | -0.013735 | -0.0034426 | 0.013736 | 0.0034434 | 1.4176e-06 | 8.0154e-07 | 0.02104 | 0.02104 | 0.02104 | 0.97137 | -0.5528 | 0.97148 | -0.55063 | 5.7802
11 | -0.025834 | -0.0064755 | 0.025839 | 0.0064781 | 4.1749e-06 | 2.5839e-06 | 0.039571 | 0.039571 | 0.039571 | 0.97148 | -0.55063 | 0.97165 | -0.54724 | 10.8711
12 | -0.030022 | -0.0075265 | 0.030031 | 0.007532 | 8.8535e-06 | 5.5278e-06 | 0.045977 | 0.045977 | 0.045977 | 0.97165 | -0.54724 | 0.97196 | -0.54106 | 12.631
13 | -0.054931 | -0.013814 | 0.055005 | 0.013861 | 7.3448e-05 | 4.6659e-05 | 0.083884 | 0.083884 | 0.083884 | 0.97462 | -0.48865 | 0.97605 | -0.4607 | 23.045
14 | 0.051856 | 0.013043 | -0.051819 | -0.01302 | 3.6569e-05 | 2.3211e-05 | 0.079188 | 0.079188 | 0.079188 | 0.97462 | -0.48865 | 0.97387 | -0.50342 | 21.7551
15 | -0.057539 | -0.014496 | 0.057587 | 0.014526 | 4.7687e-05 | 3.0313e-05 | 0.087748 | 0.087748 | 0.087748 | 0.97605 | -0.4607 | 0.97693 | -0.44338 | 24.1066
16 | 0.039748 | 0.0099947 | -0.039677 | -0.0099497 | 7.1301e-05 | 4.4993e-05 | 0.060745 | 0.060745 | 0.060745 | 0.97387 | -0.50342 | 0.97196 | -0.54106 | 16.6883
17 | 0.022359 | 0.0056083 | -0.022355 | -0.0056062 | 3.439e-06 | 2.0985e-06 | 0.033764 | 0.033764 | 0.033764 | 0.98543 | -0.27842 | 0.98527 | -0.28165 | 9.2758
18 | -0.026082 | -0.0065414 | 0.026086 | 0.0065441 | 4.4355e-06 | 2.7416e-06 | 0.039386 | 0.039386 | 0.039386 | 0.98543 | -0.27842 | 0.98562 | -0.27485 | 10.8203
19 | 0.013772 | 0.003455 | -0.013766 | -0.0034516 | 6.024e-06 | 3.3828e-06 | 0.020801 | 0.020801 | 0.020801 | 0.98527 | -0.28165 | 0.9848 | -0.29083 | 5.7146
20 | -0.029806 | -0.0074764 | 0.029812 | 0.00748 | 5.7905e-06 | 3.6087e-06 | 0.045001 | 0.045001 | 0.045001 | 0.98562 | -0.27485 | 0.98582 | -0.27078 | 12.363
21 | 0.013766 | 0.0034516 | -0.013761 | -0.0034489 | 4.8387e-06 | 2.7175e-06 | 0.020801 | 0.020801 | 0.020801 | 0.9848 | -0.29083 | 0.98442 | -0.2982 | 5.7146
22 | -0.033535 | -0.0084131 | 0.033539 | 0.0084157 | 4.1264e-06 | 2.5861e-06 | 0.050621 | 0.050621 | 0.050621 | 0.98582 | -0.27078 | 0.98596 | -0.2682 | 13.907
23 | 0.12863 | 0.032947 | -0.12847 | -0.032846 | 0.0001579 | 0.00010047 | 0.19258 | 0.19258 | 0.19258 | 0.99519 | -0.091239 | 0.99386 | -0.11661 | 26.4529
24 | -0.13033 | -0.033374 | 0.13035 | 0.033388 | 2.2704e-05 | 1.4344e-05 | 0.19512 | 0.19512 | 0.19512 | 0.99519 | -0.091239 | 0.99538 | -0.087643 | 17.8686
25 | 0.12682 | 0.032432 | -0.1268 | -0.03242 | 1.9107e-05 | 1.221e-05 | 0.1901 | 0.1901 | 0.1901 | 0.99386 | -0.11661 | 0.9937 | -0.11972 | 52.2254
26 | -0.13206 | -0.033815 | 0.13208 | 0.03383 | 2.33e-05 | 1.4726e-05 | 0.19767 | 0.19767 | 0.19767 | 0.99538 | -0.087643 | 0.99557 | -0.084002 | 18.1018
27 | 0.12298 | 0.031463 | -0.12289 | -0.031405 | 9.0826e-05 | 5.8036e-05 | 0.18439 | 0.18439 | 0.18439 | 0.9937 | -0.11972 | 0.99289 | -0.13499 | 50.656
28 | 0.050373 | 0.012673 | -0.050314 | -0.012635 | 5.951e-05 | 3.7723e-05 | 0.075307 | 0.075307 | 0.075307 | 0.99557 | -0.084002 | 0.99429 | -0.10876 | 20.6886
29 | -0.18416 | -0.04693 | 0.18456 | 0.047182 | 0.00039625 | 0.00025197 | 0.27553 | 0.27552 | 0.27553 | 0.99557 | -0.084002 | 0.99791 | -0.039517 | 25.2312
30 | -0.29331 | -0.075286 | 0.29364 | 0.075498 | 0.00033178 | 0.00021179 | 0.43762 | 0.43762 | 0.43762 | 0.99877 | -0.023279 | 1 | 0 | 40.0753
31 | 0.29026 | 0.07452 | -0.28945 | -0.074008 | 0.00080214 | 0.00051203 | 0.43307 | 0.43307 | 0.43307 | 0.99877 | -0.023279 | 0.99575 | -0.080384 | 39.6584
32 | 0.028222 | 0.0070847 | -0.028213 | -0.0070794 | 8.6363e-06 | 5.356e-06 | 0.041998 | 0.041998 | 0.041998 | 1 | 0 | 0.99967 | -0.0064176 | 11.538
33 | 0.20566 | 0.05262 | -0.20546 | -0.052494 | 0.00019715 | 0.00012551 | 0.30641 | 0.30641 | 0.30641 | 1 | 0 | 0.99895 | -0.019823 | 28.0592
34 | 0.28748 | 0.073513 | -0.28722 | -0.073348 | 0.00025866 | 0.00016511 | 0.43012 | 0.43012 | 0.43012 | 0.99575 | -0.080384 | 0.99477 | -0.098997 | 39.3883
35 | 0.20027 | 0.051192 | -0.20017 | -0.051131 | 9.5542e-05 | 6.081e-05 | 0.29867 | 0.29867 | 0.29867 | 0.99895 | -0.019823 | 0.99843 | -0.029691 | 27.3503
36 | 0.19439 | 0.049683 | -0.1943 | -0.049624 | 9.2342e-05 | 5.8755e-05 | 0.29006 | 0.29006 | 0.29006 | 0.99843 | -0.029691 | 0.99791 | -0.039517 | 26.5618
37 | 0.10773 | 0.027484 | -0.10758 | -0.027388 | 0.00014937 | 9.5399e-05 | 0.16209 | 0.16209 | 0.16209 | 0.99001 | -0.19007 | 0.98851 | -0.21882 | 44.5307
38 | -0.11435 | -0.029142 | 0.1144 | 0.029175 | 5.0724e-05 | 3.2404e-05 | 0.17204 | 0.17204 | 0.17204 | 0.99001 | -0.19007 | 0.99049 | -0.18088 | 47.2635
39 | 0.1004 | 0.025588 | -0.10027 | -0.025507 | 0.00012743 | 8.1364e-05 | 0.15128 | 0.15128 | 0.15128 | 0.98851 | -0.21882 | 0.98714 | -0.24515 | 41.5608
40 | -0.11864 | -0.030237 | 0.1189 | 0.030406 | 0.00026338 | 0.00016828 | 0.17841 | 0.17841 | 0.17841 | 0.99049 | -0.18088 | 0.99289 | -0.13499 | 49.0136
41 | 0.094981 | 0.024181 | -0.094847 | -0.024096 | 0.00013378 | 8.54e-05 | 0.14331 | 0.14331 | 0.14331 | 0.98714 | -0.24515 | 0.98562 | -0.27441 | 39.3706
42 | 0.024987 | 0.0062708 | -0.024979 | -0.0062663 | 7.3372e-06 | 4.5105e-06 | 0.037196 | 0.037196 | 0.037196 | 0.99967 | -0.0064176 | 0.99935 | -0.012577 | 10.2187
43 | 0.28516 | 0.072833 | -0.28506 | -0.072767 | 0.000104 | 6.6383e-05 | 0.42705 | 0.42705 | 0.42705 | 0.99477 | -0.098997 | 0.99438 | -0.10654 | 39.1067
44 | 0.031285 | 0.0078523 | -0.031264 | -0.007839 | 2.1311e-05 | 1.333e-05 | 0.047825 | 0.047825 | 0.047825 | 0.97348 | -0.51174 | 0.97275 | -0.52603 | 13.1387
45 | -0.016985 | -0.0042582 | 0.016986 | 0.0042587 | 7.4249e-07 | 4.3861e-07 | 0.025952 | 0.025952 | 0.025952 | 0.97389 | -0.50364 | 0.97393 | -0.50273 | 7.1297
46 | 0.014309 | 0.0035876 | -0.014305 | -0.0035852 | 4.3487e-06 | 2.4814e-06 | 0.021864 | 0.021864 | 0.021864 | 0.97389 | -0.50364 | 0.97357 | -0.51002 | 6.0066
47 | 0.010245 | 0.0025675 | -0.010244 | -0.0025674 | 2.4902e-07 | 1.2569e-07 | 0.015658 | 0.015658 | 0.015658 | 0.97357 | -0.51002 | 0.97354 | -0.51053 | 4.3017
48 | 0.0035195 | 0.0008819 | -0.0035194 | -0.00088196 | 1.1565e-07 | -5.8423e-08 | 0.0053801 | 0.0053802 | 0.0053802 | 0.97341 | -0.51318 | 0.97337 | -0.51387 | 1.4781
49 | -0.0064747 | -0.0016225 | 0.0064751 | 0.0016227 | 4.3479e-07 | 1.3113e-07 | 0.0098976 | 0.0098975 | 0.0098976 | 0.97341 | -0.51318 | 0.97348 | -0.51177 | 2.7191
50 | 0.0017601 | 0.00044102 | -0.00176 | -0.00044111 | 2.1153e-08 | -8.331e-08 | 0.0026906 | 0.0026907 | 0.0026907 | 0.97337 | -0.51387 | 0.97336 | -0.51412 | 0.73919
51 | -0.0083597 | -0.002095 | 0.0083602 | 0.0020952 | 4.9152e-07 | 2.1477e-07 | 0.012778 | 0.012778 | 0.012778 | 0.97348 | -0.51177 | 0.97354 | -0.51053 | 3.5105
52 | 0.025078 | 0.0062887 | -0.025077 | -0.0062883 | 7.4487e-07 | 4.5997e-07 | 0.038363 | 0.038363 | 0.038363 | 0.97275 | -0.52603 | 0.97272 | -0.52665 | 10.5392
53 | 0.021275 | 0.0053353 | -0.021266 | -0.0053297 | 9.1157e-06 | 5.5493e-06 | 0.032546 | 0.032546 | 0.032546 | 0.97272 | -0.52665 | 0.97227 | -0.53565 | 8.9412
54 | 0.022812 | 0.005723 | -0.022801 | -0.0057164 | 1.0876e-05 | 6.6313e-06 | 0.033969 | 0.033969 | 0.033969 | 0.99935 | -0.012577 | 0.99883 | -0.022582 | 9.332
55 | 0.018921 | 0.0047439 | -0.018914 | -0.00474 | 6.5349e-06 | 3.8954e-06 | 0.028188 | 0.028188 | 0.028188 | 0.99883 | -0.022582 | 0.99845 | -0.029832 | 7.744
56 | 0.0045106 | 0.0011304 | -0.0045103 | -0.0011304 | 3.067e-07 | -3.9893e-08 | 0.0067259 | 0.006726 | 0.006726 | 0.99791 | -0.039517 | 0.99784 | -0.040944 | 1.8478
57 | 0.13255 | 0.033532 | -0.13252 | -0.033513 | 2.8887e-05 | 1.8464e-05 | 0.20101 | 0.20101 | 0.20101 | 0.98177 | -0.34934 | 0.98154 | -0.35389 | 55.2212
58 | -0.137 | -0.034647 | 0.13728 | 0.034829 | 0.00028376 | 0.00018139 | 0.20775 | 0.20775 | 0.20775 | 0.98177 | -0.34934 | 0.98399 | -0.30626 | 57.0747
59 | 0.12215 | 0.030914 | -0.12207 | -0.030869 | 7.0464e-05 | 4.5028e-05 | 0.18528 | 0.18528 | 0.18528 | 0.98154 | -0.35389 | 0.98092 | -0.36591 | 50.9014
60 | -0.15151 | -0.038395 | 0.15163 | 0.038469 | 0.00011601 | 7.3945e-05 | 0.22927 | 0.22927 | 0.22927 | 0.98399 | -0.30626 | 0.98481 | -0.29034 | 31.4931
61 | 0.119 | 0.030097 | -0.11898 | -0.030084 | 2.1362e-05 | 1.365e-05 | 0.18061 | 0.18061 | 0.18061 | 0.98092 | -0.36591 | 0.98072 | -0.36966 | 49.6189
62 | -0.15868 | -0.040237 | 0.15871 | 0.040258 | 3.3756e-05 | 2.1425e-05 | 0.23993 | 0.23993 | 0.23993 | 0.98481 | -0.29034 | 0.98504 | -0.28592 | 21.9713
63 | 0.012548 | 0.0031448 | -0.012548 | -0.0031447 | 9.9973e-08 | 5.4178e-08 | 0.018779 | 0.018779 | 0.018779 | 0.99429 | -0.10876 | 0.99428 | -0.10893 | 5.1592
64 | 0.033274 | 0.0083645 | -0.03321 | -0.0083247 | 6.3587e-05 | 3.9811e-05 | 0.049805 | 0.049806 | 0.049806 | 0.99429 | -0.10876 | 0.99222 | -0.14886 | 13.6829
65 | 0.090461 | 0.022997 | -0.090413 | -0.022966 | 4.762e-05 | 3.039e-05 | 0.13669 | 0.13669 | 0.13669 | 0.98562 | -0.27441 | 0.98506 | -0.28534 | 37.5514
66 | 0.086682 | 0.022031 | -0.086664 | -0.02202 | 1.7855e-05 | 1.1392e-05 | 0.13105 | 0.13105 | 0.13105 | 0.98506 | -0.28534 | 0.98484 | -0.28962 | 36.003
67 | -0.23884 | -0.060411 | 0.23972 | 0.060977 | 0.00088806 | 0.00056626 | 0.36065 | 0.36065 | 0.36065 | 0.98596 | -0.2682 | 0.98996 | -0.19101 | 33.0267
68 | 0.19327 | 0.048982 | -0.19324 | -0.048959 | 3.5471e-05 | 2.2574e-05 | 0.29188 | 0.29188 | 0.29188 | 0.98596 | -0.2682 | 0.98576 | -0.27202 | 26.7292
69 | 0.0095606 | 0.0023962 | -0.0095601 | -0.002396 | 4.5257e-07 | 2.1974e-07 | 0.014632 | 0.014632 | 0.014632 | 0.97227 | -0.53565 | 0.97222 | -0.53664 | 4.0198
70 | -0.077096 | -0.019546 | 0.07712 | 0.019561 | 2.3267e-05 | 1.4833e-05 | 0.11687 | 0.11687 | 0.11687 | 0.9823 | -0.33877 | 0.98262 | -0.3325 | 32.1068
71 | 0.074476 | 0.018889 | -0.074385 | -0.018831 | 9.1842e-05 | 5.8536e-05 | 0.1129 | 0.1129 | 0.1129 | 0.9823 | -0.33877 | 0.98097 | -0.36446 | 31.0164
72 | -0.079615 | -0.020186 | 0.079629 | 0.020195 | 1.386e-05 | 8.8384e-06 | 0.12065 | 0.12065 | 0.12065 | 0.98262 | -0.3325 | 0.98281 | -0.32887 | 33.145
73 | 0.071765 | 0.018174 | -0.071739 | -0.018158 | 2.5696e-05 | 1.6372e-05 | 0.10893 | 0.10893 | 0.10893 | 0.98097 | -0.36446 | 0.98059 | -0.37191 | 29.9247
74 | -0.083778 | -0.021235 | 0.083936 | 0.021336 | 0.00015835 | 0.00010101 | 0.12693 | 0.12693 | 0.12693 | 0.98281 | -0.32887 | 0.98484 | -0.28962 | 34.8705
75 | 0.068202 | 0.017272 | -0.068201 | -0.017271 | 1.1997e-06 | 7.6405e-07 | 0.10356 | 0.10356 | 0.10356 | 0.98059 | -0.37191 | 0.98057 | -0.37228 | 28.4503
76 | -0.061849 | -0.015594 | 0.061924 | 0.015642 | 7.5493e-05 | 4.8031e-05 | 0.094239 | 0.094239 | 0.094239 | 0.97693 | -0.44338 | 0.97823 | -0.41791 | 25.8899
77 | -0.065561 | -0.016554 | 0.065705 | 0.016645 | 0.00014368 | 9.1468e-05 | 0.099772 | 0.099771 | 0.099772 | 0.97823 | -0.41791 | 0.98057 | -0.37228 | 27.4098
78 | -0.0032464 | -0.00081362 | 0.0032467 | 0.00081337 | 2.9254e-07 | -2.4852e-07 | 0.0048387 | 0.0048385 | 0.0048387 | 0.99835 | -0.031826 | 0.99844 | -0.029934 | 1.3293
79 | -0.0073616 | -0.0018447 | 0.0073616 | 0.0018447 | 3.5578e-08 | 1.2461e-08 | 0.010971 | 0.010971 | 0.010971 | 0.99844 | -0.029934 | 0.99845 | -0.029832 | 3.014
80 | 0.27096 | 0.069016 | -0.27095 | -0.069012 | 7.4386e-06 | 4.7468e-06 | 0.40674 | 0.40674 | 0.40674 | 0.99224 | -0.14743 | 0.99221 | -0.148 | 37.2469
81 | -0.28085 | -0.071497 | 0.28141 | 0.071852 | 0.00055484 | 0.00035413 | 0.42158 | 0.42158 | 0.42158 | 0.99224 | -0.14743 | 0.99438 | -0.10654 | 38.6064
82 | 0.26068 | 0.066439 | -0.26016 | -0.066102 | 0.00052758 | 0.00033659 | 0.39134 | 0.39134 | 0.39134 | 0.99221 | -0.148 | 0.99001 | -0.19003 | 35.8371
83 | 0.2502 | 0.063608 | -0.25019 | -0.063601 | 1.1853e-05 | 7.5599e-06 | 0.37638 | 0.37638 | 0.37638 | 0.99001 | -0.19003 | 0.98996 | -0.19101 | 34.4673
84 | 0.18952 | 0.048027 | -0.18939 | -0.047946 | 0.00012646 | 8.0465e-05 | 0.28627 | 0.28627 | 0.28627 | 0.98576 | -0.27202 | 0.98504 | -0.28592 | 26.215
85 | 0.0050001 | 0.001253 | -0.0049994 | -0.001253 | 7.7198e-07 | 1.7343e-08 | 0.007483 | 0.0074832 | 0.0074832 | 0.99428 | -0.10893 | 0.99411 | -0.11217 | 2.0558
86 | 0.017136 | 0.0042961 | -0.017131 | -0.0042935 | 4.2874e-06 | 2.5204e-06 | 0.025699 | 0.025699 | 0.025699 | 0.99222 | -0.14886 | 0.99194 | -0.15412 | 7.0601
87 | -0.10928 | -0.027573 | 0.10929 | 0.02758 | 1.0741e-05 | 6.8614e-06 | 0.1662 | 0.1662 | 0.1662 | 0.97878 | -0.40754 | 0.97889 | -0.40549 | 45.6601
88 | -0.11517 | -0.029054 | 0.11537 | 0.02918 | 0.00019794 | 0.00012646 | 0.17514 | 0.17514 | 0.17514 | 0.97889 | -0.40549 | 0.98072 | -0.36966 | 48.1166

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.52917 | 0.1352

## res_load
| p_mw | q_mvar
0 | 0.0092486 | 0.0023179
1 | 0.010808 | 0.0027087
2 | 0.0023681 | 0.00059351
3 | 0.011756 | 0.0029464
4 | 0.0033767 | 0.00084628
5 | 0.011574 | 0.0029008
6 | 0.0020732 | 0.0005196
7 | 0.0045917 | 0.0011508
8 | 0.0091414 | 0.002291
9 | 0.012098 | 0.0030322
10 | 0.004183 | 0.0010484
11 | 0.0030753 | 0.00077075
12 | 0.0025349 | 0.0006353
13 | 0.012071 | 0.0030252
14 | 0.0037233 | 0.00093314
15 | 0.0085831 | 0.0021511
16 | 0.0037196 | 0.00093223
17 | 0.0037233 | 0.00093314
18 | 0.0017044 | 0.00042716
19 | 0.001654 | 0.00041453
20 | 0.0017037 | 0.00042698
21 | 0.003815 | 0.00095613
22 | 0.0017044 | 0.00042716
23 | 0.0030555 | 0.00076579
24 | 0.001974 | 0.00049473
25 | 0.0051968 | 0.0013025
26 | 0.0057774 | 0.001448
27 | 0.0066183 | 0.0016587
28 | 0.0071816 | 0.0017999
29 | 0.0042405 | 0.0010628
30 | 0.0052889 | 0.0013255
31 | 0.0039891 | 0.00099977
32 | 0.013761 | 0.0034489
33 | 0.0032263 | 0.0008086
34 | 0.0020559 | 0.00051527
35 | 0.004576 | 0.0011469
36 | 0.0026758 | 0.00067062
37 | 0.0020746 | 0.00051994
38 | 0.0040603 | 0.0010176
39 | 0.0029552 | 0.00074063
40 | 0.0017593 | 0.00044093
41 | 0.0018846 | 0.00047233
42 | 0.00176 | 0.00044111
43 | 0.0018841 | 0.00047221
44 | 0.0061858 | 0.0015503
45 | 0.0038024 | 0.00095296
46 | 0.0021676 | 0.00054326
47 | 0.0038803 | 0.00097248
48 | 0.0052343 | 0.0013118
49 | 0.0044515 | 0.0011157
50 | 0.010372 | 0.0025995
51 | 0.014229 | 0.0035662
52 | 0.0030775 | 0.00077129
53 | 0.0070534 | 0.0017677
54 | 0.0044916 | 0.0011257
55 | 0.0096467 | 0.0024177
56 | 0.0043863 | 0.0010993
57 | 0.0037313 | 0.00093514
58 | 0.012025 | 0.0030137
59 | 0.011705 | 0.0029335
60 | 0.0095601 | 0.002396
61 | 0.0026201 | 0.00065665
62 | 0.0024956 | 0.00062546
63 | 0.0026199 | 0.0006566
64 | 0.0041483 | 0.0010397
65 | 0.0035365 | 0.00088634
66 | 0.0042616 | 0.0010681
67 | 0.0036372 | 0.00091157
68 | 0.0032464 | 0.00081362
69 | 0.0041149 | 0.0010313
70 | 0.0027284 | 0.00068379
71 | 0.0024961 | 0.00062558
72 | 0.0098997 | 0.0024811
73 | 0.010265 | 0.0025727
74 | 0.0036513 | 0.0009151
75 | 0.0099522 | 0.0024942
76 | 0.011552 | 0.0028953
77 | 0.010467 | 0.0026232
78 | 0.0037196 | 0.00093223
79 | 0.0045103 | 0.0011304
80 | 0.0075481 | 0.0018917
81 | 0.016075 | 0.0040287
82 | 0.0027094 | 0.00067905
83 | 0.0058822 | 0.0014742
84 | 0.0036041 | 0.00090328
85 | 0.030677 | 0.0076884
86 | 0.017131 | 0.0042935
87 | 0.0049994 | 0.001253

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1