## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1323-23_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1323-23_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1323-23_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1323-23_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1323-23_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1323-23_0_6_node_40 | 0.4 | n |  | TRUE
6 | bus_LV_1323-23_0_6_node_45 | 0.4 | n |  | TRUE
7 | bus_LV_1323-23_0_6_node_38 | 0.4 | n |  | TRUE
8 | bus_LV_1323-23_0_6_node_68 | 0.4 | n |  | TRUE
9 | bus_LV_1323-23_0_6_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_1323-23_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_1323-23_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1323-23_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1323-23_0_6_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1323-23_0_6_node_48 | 0.4 | n |  | TRUE
15 | bus_LV_1323-23_0_6_node_46 | 0.4 | n |  | TRUE
16 | bus_LV_1323-23_0_6_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1323-23_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1323-23_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1323-23_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1323-23_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1323-23_0_6_node_69 | 0.4 | n |  | TRUE
22 | bus_LV_1323-23_0_6_node_41 | 0.4 | n |  | TRUE
23 | bus_LV_1323-23_0_6_node_52 | 0.4 | n |  | TRUE
24 | bus_LV_1323-23_0_6_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_1323-23_0_6_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_1323-23_0_6_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_1323-23_0_6_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_1323-23_0_6_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1323-23_0_6_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_1323-23_0_6_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_1323-23_0_6_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_1323-23_0_6_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_1323-23_0_6_node_70 | 0.4 | n |  | TRUE
34 | bus_LV_1323-23_0_6_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_1323-23_0_6_node_71 | 0.4 | n |  | TRUE
36 | bus_LV_1323-23_0_6_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_1323-23_0_6_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_1323-23_0_6_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_1323-23_0_6_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_1323-23_0_6_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_1323-23_0_6_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_1323-23_0_6_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_1323-23_0_6_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_1323-23_0_6_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_1323-23_0_6_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_1323-23_0_6_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_1323-23_0_6_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_1323-23_0_6_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_1323-23_0_6_node_67 | 0.4 | n |  | TRUE
50 | bus_LV_1323-23_0_6_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_1323-23_0_6_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_1323-23_0_6_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_1323-23_0_6_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_1323-23_0_6_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_1323-23_0_6_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_1323-23_0_6_node_75 | 0.4 | n |  | TRUE
57 | bus_LV_1323-23_0_6_node_72 | 0.4 | n |  | TRUE
58 | bus_LV_1323-23_0_6_node_66 | 0.4 | n |  | TRUE
59 | bus_LV_1323-23_0_6_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_1323-23_0_6_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_1323-23_0_6_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_1323-23_0_6_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_1323-23_0_6_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_1323-23_0_6_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_1323-23_0_6_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_1323-23_0_6_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_1323-23_0_6_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_1323-23_0_6_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_1323-23_0_6_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_1323-23_0_6_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_1323-23_0_6_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_1323-23_0_6_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_1323-23_0_6_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_1323-23_0_6_node_76 | 0.4 | n |  | TRUE
75 | bus_LV_1323-23_0_6_node_77 | 0.4 | n |  | TRUE
76 | bus_LV_1323-23_0_6_node_78 | 0.4 | n |  | TRUE
77 | bus_LV_1323-23_0_6_node_79 | 0.4 | n |  | TRUE
78 | bus_LV_1323-23_0_6_node_80 | 0.4 | n |  | TRUE
79 | bus_LV_1323-23_0_6_node_81 | 0.4 | n |  | TRUE
80 | bus_MV_15_0_node_152 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1323-23_0_6_load_0 | 0 | 0.0037787 | 0.00094704 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1323-23_0_6_load_1 | 1 | 0.0029648 | 0.00074305 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1323-23_0_6_load_2 | 2 | 0.0042245 | 0.0010588 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1323-23_0_6_load_3 | 3 | 0.0035358 | 0.00088616 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1323-23_0_6_load_4 | 4 | 0.0025168 | 0.00063077 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1323-23_0_6_load_40 | 5 | 0.0025609 | 0.00064183 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1323-23_0_6_load_38 | 7 | 0.0030675 | 0.00076878 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1323-23_0_6_load_68 | 8 | 0.0024674 | 0.00061839 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1323-23_0_6_load_5 | 10 | 0.0062966 | 0.0015781 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1323-23_0_6_load_6 | 11 | 0.0062477 | 0.0015658 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1323-23_0_6_load_7 | 12 | 0.014298 | 0.0035835 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1323-23_0_6_load_8 | 13 | 0.016253 | 0.0040733 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1323-23_0_6_load_48 | 14 | 0.0091956 | 0.0023046 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1323-23_0_6_load_10 | 16 | 0.011391 | 0.0028549 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1323-23_0_6_load_11 | 17 | 0.010539 | 0.0026414 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1323-23_0_6_load_12 | 18 | 0.0035793 | 0.00089705 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1323-23_0_6_load_13 | 19 | 0.013602 | 0.0034091 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1323-23_0_6_load_14 | 20 | 0.0035767 | 0.0008964 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1323-23_0_6_load_69 | 21 | 0.015138 | 0.0037939 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1323-23_0_6_load_39 | 24 | 0.00401 | 0.001005 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1323-23_0_6_load_15 | 25 | 0.0060608 | 0.001519 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1323-23_0_6_load_16 | 26 | 0.0090987 | 0.0022803 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1323-23_0_6_load_42 | 29 | 0.0058855 | 0.001475 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1323-23_0_6_load_35 | 31 | 0.0044324 | 0.0011109 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1323-23_0_6_load_47 | 32 | 0.0093114 | 0.0023336 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1323-23_0_6_load_27 | 34 | 0.0039426 | 0.0009881 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1323-23_0_6_load_71 | 35 | 0.0053729 | 0.0013466 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1323-23_0_6_load_33 | 36 | 0.0049267 | 0.0012348 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1323-23_0_6_load_21 | 37 | 0.0047706 | 0.0011956 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1323-23_0_6_load_22 | 38 | 0.003201 | 0.00080225 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1323-23_0_6_load_23 | 39 | 0.0027805 | 0.00069685 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1323-23_0_6_load_32 | 40 | 0.0032701 | 0.00081957 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1323-23_0_6_load_30 | 41 | 0.0027691 | 0.00069399 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1323-23_0_6_load_24 | 42 | 0.0040332 | 0.0010108 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1323-23_0_6_load_25 | 43 | 0.0038085 | 0.00095451 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1323-23_0_6_load_26 | 44 | 0.0062442 | 0.0015649 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1323-23_0_6_load_28 | 45 | 0.0042128 | 0.0010558 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1323-23_0_6_load_29 | 46 | 0.0021596 | 0.00054123 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1323-23_0_6_load_31 | 47 | 0.0031477 | 0.0007889 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1323-23_0_6_load_49 | 48 | 0.0031458 | 0.0007884 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1323-23_0_6_load_34 | 50 | 0.0024535 | 0.0006149 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1323-23_0_6_load_36 | 51 | 0.0037798 | 0.0009473 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1323-23_0_6_load_44 | 52 | 0.027968 | 0.0070094 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1323-23_0_6_load_37 | 53 | 0.0040963 | 0.0010266 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1323-23_0_6_load_54 | 54 | 0.014113 | 0.0035371 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1323-23_0_6_load_50 | 55 | 0.0067176 | 0.0016836 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1323-23_0_6_load_75 | 56 | 0.0042242 | 0.0010587 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1323-23_0_6_load_72 | 57 | 0.005803 | 0.0014544 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1323-23_0_6_load_51 | 59 | 0.0094236 | 0.0023618 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1323-23_0_6_load_53 | 60 | 0.005161 | 0.0012935 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1323-23_0_6_load_62 | 61 | 0.0016366 | 0.00041018 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1323-23_0_6_load_56 | 62 | 0.015784 | 0.0039558 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1323-23_0_6_load_63 | 63 | 0.0014418 | 0.00036136 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1323-23_0_6_load_55 | 64 | 0.010861 | 0.002722 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1323-23_0_6_load_57 | 65 | 0.0044988 | 0.0011275 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1323-23_0_6_load_58 | 66 | 0.0037203 | 0.00093241 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1323-23_0_6_load_59 | 67 | 0.0027968 | 0.00070094 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1323-23_0_6_load_60 | 68 | 0.0047555 | 0.0011919 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1323-23_0_6_load_61 | 69 | 0.0064081 | 0.001606 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1323-23_0_6_load_64 | 70 | 0.0072357 | 0.0018134 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1323-23_0_6_load_65 | 71 | 0.0033872 | 0.00084891 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1323-23_0_6_load_73 | 72 | 0.0050252 | 0.0012594 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1323-23_0_6_load_74 | 73 | 0.016669 | 0.0041778 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1323-23_0_6_load_76 | 74 | 0.0030176 | 0.00075628 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1323-23_0_6_load_77 | 75 | 0.0069795 | 0.0017492 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_1323-23_0_6_load_78 | 76 | 0.0021836 | 0.00054727 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_1323-23_0_6_load_79 | 77 | 0.0031918 | 0.00079993 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_1323-23_0_6_load_80 | 78 | 0.0043989 | 0.0011025 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_1323-23_0_6_load_81 | 79 | 0.0064642 | 0.0016201 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1323-23_0_6_line_0 |  | 0 | 1 | 0.011378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_1323-23_0_6_line_1 |  | 0 | 2 | 0.016379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_1323-23_0_6_line_2 |  | 1 | 3 | 0.015833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_1323-23_0_6_line_3 |  | 2 | 4 | 0.013729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_1323-23_0_6_line_4 |  | 3 | 5 | 0.031766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_1323-23_0_6_line_5 |  | 4 | 6 | 0.0086428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_1323-23_0_6_line_6 |  | 5 | 7 | 0.0225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_1323-23_0_6_line_7 |  | 6 | 8 | 0.01883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1323-23_0_6_line_8 |  | 6 | 9 | 0.042389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_1323-23_0_6_line_9 |  | 7 | 53 | 0.029135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_1323-23_0_6_line_10 |  | 8 | 35 | 0.0077281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1323-23_0_6_line_11 |  | 9 | 31 | 0.014109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_1323-23_0_6_line_12 |  | 9 | 27 | 0.012131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1323-23_0_6_line_13 |  | 10 | 11 | 0.029104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1323-23_0_6_line_14 |  | 10 | 12 | 0.031694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1323-23_0_6_line_15 |  | 11 | 13 | 0.034875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1323-23_0_6_line_16 |  | 13 | 14 | 0.0013549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1323-23_0_6_line_17 |  | 14 | 15 | 0.056253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1323-23_0_6_line_18 |  | 15 | 32 | 0.0078368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1323-23_0_6_line_19 |  | 15 | 52 | 0.025729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_1323-23_0_6_line_20 |  | 16 | 17 | 0.0054513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1323-23_0_6_line_21 |  | 16 | 18 | 0.051901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1323-23_0_6_line_22 |  | 17 | 19 | 0.040072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1323-23_0_6_line_23 |  | 18 | 20 | 0.0089257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1323-23_0_6_line_24 |  | 19 | 21 | 0.048994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1323-23_0_6_line_25 |  | 20 | 22 | 0.014299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1323-23_0_6_line_26 |  | 22 | 23 | 0.010781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_1323-23_0_6_line_27 |  | 22 | 24 | 0.053572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_1323-23_0_6_line_28 |  | 23 | 54 | 0.066882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1323-23_0_6_line_29 |  | 23 | 55 | 0.012329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_1323-23_0_6_line_30 |  | 24 | 53 | 0.0075031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_1323-23_0_6_line_31 |  | 25 | 26 | 0.034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1323-23_0_6_line_32 |  | 25 | 27 | 0.031728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1323-23_0_6_line_33 |  | 28 | 29 | 0.016792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1323-23_0_6_line_34 |  | 28 | 30 | 0.020083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1323-23_0_6_line_35 |  | 29 | 32 | 0.019959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1323-23_0_6_line_36 |  | 30 | 33 | 0.034571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1323-23_0_6_line_37 |  | 30 | 34 | 0.069264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1323-23_0_6_line_38 |  | 31 | 36 | 0.029135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_1323-23_0_6_line_39 |  | 33 | 56 | 0.02007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1323-23_0_6_line_40 |  | 33 | 57 | 0.018465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1323-23_0_6_line_41 |  | 34 | 43 | 0.014164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1323-23_0_6_line_42 |  | 36 | 50 | 0.017352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_1323-23_0_6_line_43 |  | 37 | 38 | 0.010656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1323-23_0_6_line_44 |  | 38 | 39 | 0.017586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1323-23_0_6_line_45 |  | 39 | 40 | 0.0072495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1323-23_0_6_line_46 |  | 40 | 41 | 0.0049464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1323-23_0_6_line_47 |  | 41 | 45 | 0.022978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1323-23_0_6_line_48 |  | 42 | 43 | 0.0075683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1323-23_0_6_line_49 |  | 42 | 44 | 0.014444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1323-23_0_6_line_50 |  | 45 | 46 | 0.01008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1323-23_0_6_line_51 |  | 46 | 47 | 0.072047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1323-23_0_6_line_52 |  | 47 | 48 | 0.012654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1323-23_0_6_line_53 |  | 48 | 49 | 0.050162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1323-23_0_6_line_54 |  | 49 | 58 | 0.035689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_1323-23_0_6_line_55 |  | 50 | 51 | 0.016852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_1323-23_0_6_line_56 |  | 51 | 52 | 0.037228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_1323-23_0_6_line_57 |  | 54 | 62 | 0.027837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1323-23_0_6_line_58 |  | 55 | 59 | 0.024462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_1323-23_0_6_line_59 |  | 57 | 72 | 0.027065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1323-23_0_6_line_60 |  | 58 | 71 | 0.036638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_1323-23_0_6_line_61 |  | 58 | 68 | 0.054567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1323-23_0_6_line_62 |  | 59 | 60 | 0.018942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_1323-23_0_6_line_63 |  | 60 | 61 | 0.010458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_1323-23_0_6_line_64 |  | 61 | 63 | 0.005373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_1323-23_0_6_line_65 |  | 62 | 64 | 0.025324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1323-23_0_6_line_66 |  | 63 | 71 | 0.048734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_1323-23_0_6_line_67 |  | 65 | 66 | 0.0019681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1323-23_0_6_line_68 |  | 65 | 67 | 0.013575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1323-23_0_6_line_69 |  | 66 | 68 | 0.016998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1323-23_0_6_line_70 |  | 67 | 69 | 0.017847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1323-23_0_6_line_71 |  | 69 | 70 | 0.069938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1323-23_0_6_line_72 |  | 72 | 73 | 0.024407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1323-23_0_6_line_73 |  | 73 | 74 | 0.0037181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1323-23_0_6_line_74 |  | 74 | 75 | 0.016587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1323-23_0_6_line_75 |  | 75 | 76 | 0.00063071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1323-23_0_6_line_76 |  | 76 | 77 | 0.00048117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1323-23_0_6_line_77 |  | 77 | 78 | 9.3102e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1323-23_0_6_line_78 |  | 78 | 79 | 0.019436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1323-23_0_6_trafo_46 | 0.63 MVA 20/0.4 kV | 80 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2697462.2926 | 1228431.8701 | 2697460.6173 | 1228420.6165
1 | 2697462.2926 | 1228431.8701 | 2697464.7044 | 1228448.0706
2 | 2697454.1823 | 1228406.2568 | 2697460.2862 | 1228418.3927 | 2697460.6173 | 1228420.6165
3 | 2697466.7261 | 1228461.6501 | 2697464.7044 | 1228448.0706
4 | 2697431.1223 | 1228386.7036 | 2697435.0642 | 1228387.0235 | 2697449.9893 | 1228397.9203 | 2697454.1823 | 1228406.2568
5 | 2697471.1267 | 1228469.0292 | 2697466.8192 | 1228462.276 | 2697466.7261 | 1228461.6501
6 | 2697431.1223 | 1228386.7036 | 2697413.2597 | 1228385.254 | 2697408.7442 | 1228386.0123
7 | 2697471.1267 | 1228469.0292 | 2697473.5622 | 1228487.7012
8 | 2697471.1267 | 1228469.0292 | 2697442.1845 | 1228485.2446 | 2697433.1948 | 1228487.6658
9 | 2697408.7442 | 1228386.0123 | 2697380.0113 | 1228390.837
10 | 2697473.5622 | 1228487.7012 | 2697474.5618 | 1228495.3645
11 | 2697433.1948 | 1228487.6658 | 2697432.4551 | 1228481.0155 | 2697429.2759 | 1228474.3141
12 | 2697427.9008 | 1228498.1088 | 2697431.9602 | 1228493.6388 | 2697433.1948 | 1228487.6658
13 | 2697198.7451 | 1228448.3607 | 2697227.8489 | 1228448.1747
14 | 2697198.7451 | 1228448.3607 | 2697177.8555 | 1228448.4942 | 2697167.1682 | 1228450.0763
15 | 2697227.8489 | 1228448.1747 | 2697256.0722 | 1228447.9943 | 2697262.6964 | 1228447.3953
16 | 2697264.0457 | 1228447.2733 | 2697262.6964 | 1228447.3953
17 | 2697319.5089 | 1228438.8362 | 2697297.3064 | 1228444.2658 | 2697264.0457 | 1228447.2733
18 | 2697319.5089 | 1228438.8362 | 2697321.3003 | 1228444.2138 | 2697319.9864 | 1228445.9392
19 | 2697319.5089 | 1228438.8362 | 2697342.4381 | 1228433.9189 | 2697344.7154 | 1228433.8569
20 | 2697385.7563 | 1228360.9229 | 2697390.5148 | 1228358.2635
21 | 2697385.7563 | 1228360.9229 | 2697340.4504 | 1228386.2427
22 | 2697390.5148 | 1228358.2635 | 2697417.7329 | 1228343.0523 | 2697423.5557 | 1228341.0462 | 2697426.2185 | 1228340.428
23 | 2697340.4504 | 1228386.2427 | 2697332.6589 | 1228390.5971
24 | 2697426.2185 | 1228340.428 | 2697429.5504 | 1228339.6545 | 2697435.6564 | 1228338.865 | 2697442.7596 | 1228338.7368 | 2697449.8413 | 1228339.4534 | 2697456.7809 | 1228340.9793 | 2697474.1072 | 1228346.1766
25 | 2697320.1768 | 1228397.5728 | 2697332.6589 | 1228390.5971
26 | 2697320.1768 | 1228397.5728 | 2697310.5992 | 1228402.5753
27 | 2697320.1768 | 1228397.5728 | 2697325.7763 | 1228399.9439 | 2697372.6118 | 1228392.0795
28 | 2697310.5992 | 1228402.5753 | 2697270.7691 | 1228416.812 | 2697246.4258 | 1228420.2444
29 | 2697310.5992 | 1228402.5753 | 2697305.3796 | 1228400.1437 | 2697298.9889 | 1228398.6157
30 | 2697372.6118 | 1228392.0795 | 2697380.0113 | 1228390.837
31 | 2697364.3282 | 1228486.2282 | 2697397.1477 | 1228495.1111
32 | 2697427.9008 | 1228498.1088 | 2697420.5117 | 1228500.434 | 2697408.5293 | 1228498.1917 | 2697397.1477 | 1228495.1111
33 | 2697315.0188 | 1228477.0237 | 2697307.894 | 1228461.8184
34 | 2697315.0188 | 1228477.0237 | 2697306.0496 | 1228482.8256 | 2697300.2742 | 1228490.281
35 | 2697319.9864 | 1228445.9392 | 2697307.894 | 1228461.8184 | 2697307.894 | 1228461.8184
36 | 2697328.4772 | 1228510.3903 | 2697300.2742 | 1228490.281
37 | 2697300.2742 | 1228490.281 | 2697292.3914 | 1228486.1936 | 2697279.966 | 1228482.3098 | 2697260.3413 | 1228478.8753 | 2697249.0829 | 1228478.6911 | 2697237.432 | 1228479.3456 | 2697232.9822 | 1228480.1068
38 | 2697429.2759 | 1228474.3141 | 2697410.7537 | 1228451.8244
39 | 2697328.4772 | 1228510.3903 | 2697320.8776 | 1228515.8588 | 2697310.2633 | 1228514.4487
40 | 2697328.4772 | 1228510.3903 | 2697343.2569 | 1228521.4584
41 | 2697232.9822 | 1228480.1068 | 2697219.0213 | 1228482.495
42 | 2697397.3198 | 1228440.9111 | 2697397.3198 | 1228440.9111 | 2697409.5034 | 1228450.3063 | 2697410.7537 | 1228451.8244
43 | 2697208.8319 | 1228356.4281 | 2697219.2872 | 1228354.3698
44 | 2697208.8319 | 1228356.4281 | 2697197.8545 | 1228358.5893 | 2697191.7503 | 1228360.5064
45 | 2697184.8339 | 1228362.6786 | 2697191.7503 | 1228360.5064
46 | 2697184.8339 | 1228362.6786 | 2697180.1148 | 1228364.1607
47 | 2697180.1148 | 1228364.1607 | 2697176.1826 | 1228365.3957 | 2697159.0683 | 1228373.3128
48 | 2697211.6323 | 1228484.1251 | 2697217.7947 | 1228482.7049 | 2697219.0213 | 1228482.495
49 | 2697197.5572 | 1228487.3688 | 2697211.6323 | 1228484.1251
50 | 2697149.9367 | 1228377.5797 | 2697150.7846 | 1228377.1449 | 2697159.0683 | 1228373.3128
51 | 2697149.9367 | 1228377.5797 | 2697141.2851 | 1228382.0155 | 2697139.434 | 1228383.0639 | 2697137.3639 | 1228383.5971 | 2697135.2349 | 1228383.5623 | 2697133.191 | 1228382.9618 | 2697131.0613 | 1228381.5816 | 2697129.4795 | 1228379.5988 | 2697128.5938 | 1228377.216 | 2697128.8995 | 1228375.2084 | 2697129.9527 | 1228370.5778 | 2697132.9989 | 1228363.6447 | 2697135.5942 | 1228358.3277 | 2697141.2304 | 1228352.8936 | 2697151.1369 | 1228345.8503 | 2697156.6229 | 1228343.5988
52 | 2697168.3296 | 1228338.7943 | 2697156.6229 | 1228343.5988
53 | 2697193.1531 | 1228304.0619 | 2697196.3499 | 1228311.097 | 2697196.9516 | 1228313.6976 | 2697196.7111 | 1228316.3512 | 2697195.8114 | 1228318.538 | 2697194.3412 | 1228320.3931 | 2697184.5149 | 1228330.4065 | 2697178.5732 | 1228334.5902 | 2697168.3296 | 1228338.7943
54 | 2697193.1531 | 1228304.0619 | 2697211.8101 | 1228290.7015 | 2697219.2509 | 1228287.0761 | 2697223.774 | 1228286.6941
55 | 2697397.3198 | 1228440.9111 | 2697381.5798 | 1228434.8922
56 | 2697381.5798 | 1228434.8922 | 2697376.6015 | 1228432.9884 | 2697344.7154 | 1228433.8569
57 | 2697246.4258 | 1228420.2444 | 2697218.861 | 1228424.131
58 | 2697298.9889 | 1228398.6157 | 2697286.4093 | 1228395.608 | 2697277.2771 | 1228388.572
59 | 2697343.2569 | 1228521.4584 | 2697344.4159 | 1228522.3264 | 2697360.135 | 1228532.8579 | 2697365.6393 | 1228536.6704
60 | 2697223.774 | 1228286.6941 | 2697224.7062 | 1228291.3238 | 2697225.7138 | 1228313.1227 | 2697227.865 | 1228322.9843
61 | 2697223.774 | 1228286.6941 | 2697229.6065 | 1228289.1913 | 2697235.3179 | 1228293.5322 | 2697247.9985 | 1228305.9373 | 2697255.9551 | 1228314.329 | 2697263.7153 | 1228320.8273 | 2697265.1941 | 1228321.4962
62 | 2697263.2446 | 1228375.9464 | 2697269.0986 | 1228382.2708 | 2697277.2771 | 1228388.572
63 | 2697263.2446 | 1228375.9464 | 2697256.1403 | 1228368.2714
64 | 2697252.5188 | 1228364.3038 | 2697252.8795 | 1228364.7485 | 2697256.1403 | 1228368.2714
65 | 2697193.956 | 1228428.5059 | 2697200.7425 | 1228426.6857 | 2697218.861 | 1228424.131
66 | 2697227.865 | 1228322.9843 | 2697229.3163 | 1228329.638 | 2697238.1485 | 1228346.5835 | 2697252.5188 | 1228364.3038
67 | 2697283.0962 | 1228326.9833 | 2697281.1372 | 1228326.7937
68 | 2697283.0962 | 1228326.9833 | 2697286.9502 | 1228327.3563 | 2697296.6476 | 1228327.6743
69 | 2697265.1941 | 1228321.4962 | 2697275.7518 | 1228326.2724 | 2697281.1372 | 1228326.7937
70 | 2697314.4815 | 1228328.3631 | 2697300.4933 | 1228327.8004 | 2697296.6476 | 1228327.6743
71 | 2697314.4815 | 1228328.3631 | 2697319.6013 | 1228328.569 | 2697329.1178 | 1228326.8457 | 2697335.7154 | 1228323.807 | 2697351.1999 | 1228311.6738 | 2697357.882 | 1228308.1028 | 2697364.0776 | 1228306.9367 | 2697372.0508 | 1228307.3675 | 2697378.1332 | 1228309.1624
72 | 2697365.6393 | 1228536.6704 | 2697375.6235 | 1228543.5858 | 2697386.2341 | 1228549.7321
73 | 2697389.4513 | 1228551.5958 | 2697389.4513 | 1228551.5958 | 2697386.2341 | 1228549.7321
74 | 2697389.4513 | 1228551.5958 | 2697400.3729 | 1228557.5233 | 2697404.1578 | 1228559.2499
75 | 2697404.1578 | 1228559.2499 | 2697404.7316 | 1228559.5116
76 | 2697404.7316 | 1228559.5116 | 2697405.1694 | 1228559.7113
77 | 2697405.1694 | 1228559.7113 | 2697405.2541 | 1228559.75
78 | 2697405.2541 | 1228559.75 | 2697419.1328 | 1228566.0811 | 2697423.0899 | 1228567.4336

## bus_geodata
| x | y | coords
0 | 2697462.2926 | 1228431.8701
1 | 2697460.6173 | 1228420.6165
2 | 2697464.7044 | 1228448.0706
3 | 2697454.1823 | 1228406.2568
4 | 2697466.7261 | 1228461.6501
5 | 2697431.1223 | 1228386.7036
6 | 2697471.1267 | 1228469.0292
7 | 2697408.7442 | 1228386.0123
8 | 2697473.5622 | 1228487.7012
9 | 2697433.1948 | 1228487.6658
10 | 2697198.7451 | 1228448.3607
11 | 2697227.8489 | 1228448.1747
12 | 2697167.1682 | 1228450.0763
13 | 2697262.6964 | 1228447.3953
14 | 2697264.0457 | 1228447.2733
15 | 2697319.5089 | 1228438.8362
16 | 2697385.7563 | 1228360.9229
17 | 2697390.5148 | 1228358.2635
18 | 2697340.4504 | 1228386.2427
19 | 2697426.2185 | 1228340.428
20 | 2697332.6589 | 1228390.5971
21 | 2697474.1072 | 1228346.1766
22 | 2697320.1768 | 1228397.5728
23 | 2697310.5992 | 1228402.5753
24 | 2697372.6118 | 1228392.0795
25 | 2697397.1477 | 1228495.1111
26 | 2697364.3282 | 1228486.2282
27 | 2697427.9008 | 1228498.1088
28 | 2697315.0188 | 1228477.0237
29 | 2697307.894 | 1228461.8184
30 | 2697300.2742 | 1228490.281
31 | 2697429.2759 | 1228474.3141
32 | 2697319.9864 | 1228445.9392
33 | 2697328.4772 | 1228510.3903
34 | 2697232.9822 | 1228480.1068
35 | 2697474.5618 | 1228495.3645
36 | 2697410.7537 | 1228451.8244
37 | 2697219.2872 | 1228354.3698
38 | 2697208.8319 | 1228356.4281
39 | 2697191.7503 | 1228360.5064
40 | 2697184.8339 | 1228362.6786
41 | 2697180.1148 | 1228364.1607
42 | 2697211.6323 | 1228484.1251
43 | 2697219.0213 | 1228482.495
44 | 2697197.5572 | 1228487.3688
45 | 2697159.0683 | 1228373.3128
46 | 2697149.9367 | 1228377.5797
47 | 2697156.6229 | 1228343.5988
48 | 2697168.3296 | 1228338.7943
49 | 2697193.1531 | 1228304.0619
50 | 2697397.3198 | 1228440.9111
51 | 2697381.5798 | 1228434.8922
52 | 2697344.7154 | 1228433.8569
53 | 2697380.0113 | 1228390.837
54 | 2697246.4258 | 1228420.2444
55 | 2697298.9889 | 1228398.6157
56 | 2697310.2633 | 1228514.4487
57 | 2697343.2569 | 1228521.4584
58 | 2697223.774 | 1228286.6941
59 | 2697277.2771 | 1228388.572
60 | 2697263.2446 | 1228375.9464
61 | 2697256.1403 | 1228368.2714
62 | 2697218.861 | 1228424.131
63 | 2697252.5188 | 1228364.3038
64 | 2697193.956 | 1228428.5059
65 | 2697283.0962 | 1228326.9833
66 | 2697281.1372 | 1228326.7937
67 | 2697296.6476 | 1228327.6743
68 | 2697265.1941 | 1228321.4962
69 | 2697314.4815 | 1228328.3631
70 | 2697378.1332 | 1228309.1624
71 | 2697227.865 | 1228322.9843
72 | 2697365.6393 | 1228536.6704
73 | 2697386.2341 | 1228549.7321
74 | 2697389.4513 | 1228551.5958
75 | 2697404.1578 | 1228559.2499
76 | 2697404.7316 | 1228559.5116
77 | 2697405.1694 | 1228559.7113
78 | 2697405.2541 | 1228559.75
79 | 2697423.0899 | 1228567.4336
80 | 2697315.0188 | 1228477.0237

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9876 | -0.23594 | 0.0037787 | 0.00094704
1 | 0.98706 | -0.24639 | 0.0029648 | 0.00074305
2 | 0.9884 | -0.22064 | 0.0042245 | 0.0010588
3 | 0.98631 | -0.26075 | 0.0035358 | 0.00088616
4 | 0.98908 | -0.20757 | 0.0025168 | 0.00063077
5 | 0.98484 | -0.28911 | 0.0025609 | 0.00064183
6 | 0.98951 | -0.19926 | 0 | 0
7 | 0.98382 | -0.30898 | 0.0030675 | 0.00076878
8 | 0.98938 | -0.20188 | 0.0024674 | 0.00061839
9 | 0.99171 | -0.15711 | 0 | 0
10 | 0.99587 | -0.079385 | 0.0062966 | 0.0015781
11 | 0.99642 | -0.068856 | 0.0062477 | 0.0015658
12 | 0.99546 | -0.087352 | 0.014298 | 0.0035835
13 | 0.99727 | -0.052434 | 0.016253 | 0.0040733
14 | 0.99732 | -0.051411 | 0.0091956 | 0.0023046
15 | 1 | 0 | -0.43339 | -0.11039
16 | 0.97621 | -0.45755 | 0.011391 | 0.0028549
17 | 0.97601 | -0.46146 | 0.010539 | 0.0026414
18 | 0.97865 | -0.40957 | 0.0035793 | 0.00089705
19 | 0.97494 | -0.48256 | 0.013602 | 0.0034091
20 | 0.9791 | -0.40076 | 0.0035767 | 0.0008964
21 | 0.97425 | -0.49617 | 0.015138 | 0.0037939
22 | 0.97987 | -0.38573 | 0 | 0
23 | 0.97955 | -0.39197 | 0 | 0
24 | 0.98218 | -0.3408 | 0.00401 | 0.001005
25 | 0.99111 | -0.1689 | 0.0060608 | 0.001519
26 | 0.99082 | -0.1744 | 0.0090987 | 0.0022803
27 | 0.99155 | -0.16037 | 0 | 0
28 | 0.99668 | -0.063393 | 0 | 0
29 | 0.99785 | -0.041029 | 0.0058855 | 0.001475
30 | 0.99529 | -0.090209 | 0 | 0
31 | 0.9925 | -0.14218 | 0.0044324 | 0.0011109
32 | 0.99935 | -0.012464 | 0.0093114 | 0.0023336
33 | 0.99345 | -0.12553 | 0 | 0
34 | 0.99415 | -0.11221 | 0.0039426 | 0.0009881
35 | 0.98934 | -0.20262 | 0.0053729 | 0.0013466
36 | 0.99414 | -0.11085 | 0.0049267 | 0.0012348
37 | 0.97249 | -0.53078 | 0.0047706 | 0.0011956
38 | 0.97254 | -0.52984 | 0.003201 | 0.00080225
39 | 0.97267 | -0.52726 | 0.0027805 | 0.00069685
40 | 0.97274 | -0.52582 | 0.0032701 | 0.00081957
41 | 0.97281 | -0.52455 | 0.0027691 | 0.00069399
42 | 0.9939 | -0.1171 | 0.0040332 | 0.0010108
43 | 0.99397 | -0.11573 | 0.0038085 | 0.00095451
44 | 0.99381 | -0.11869 | 0.0062442 | 0.0015649
45 | 0.97316 | -0.51744 | 0.0042128 | 0.0010558
46 | 0.97336 | -0.51355 | 0.0021596 | 0.00054123
47 | 0.97492 | -0.48289 | 0.0031477 | 0.0007889
48 | 0.97523 | -0.47678 | 0.0031458 | 0.0007884
49 | 0.9766 | -0.44974 | 0 | 0
50 | 0.99514 | -0.091865 | 0.0024535 | 0.0006149
51 | 0.99612 | -0.073281 | 0.0037798 | 0.0009473
52 | 0.99832 | -0.03174 | 0.027968 | 0.0070094
53 | 0.98251 | -0.33438 | 0.0040963 | 0.0010266
54 | 0.97702 | -0.44162 | 0.014113 | 0.0035371
55 | 0.97931 | -0.39682 | 0.0067176 | 0.0016836
56 | 0.99338 | -0.12703 | 0.0042242 | 0.0010587
57 | 0.99255 | -0.14307 | 0.005803 | 0.0014544
58 | 0.97709 | -0.44013 | 0 | 0
59 | 0.97885 | -0.40572 | 0.0094236 | 0.0023618
60 | 0.97854 | -0.41179 | 0.005161 | 0.0012935
61 | 0.97838 | -0.4149 | 0.0016366 | 0.00041018
62 | 0.97633 | -0.45517 | 0.015784 | 0.0039558
63 | 0.9783 | -0.41646 | 0.0014418 | 0.00036136
64 | 0.97608 | -0.4602 | 0.010861 | 0.002722
65 | 0.97517 | -0.47792 | 0.0044988 | 0.0011275
66 | 0.97521 | -0.47717 | 0.0037203 | 0.00093241
67 | 0.97497 | -0.48201 | 0.0027968 | 0.00070094
68 | 0.9756 | -0.46949 | 0.0047555 | 0.0011919
69 | 0.97474 | -0.48648 | 0.0064081 | 0.001606
70 | 0.97427 | -0.49577 | 0.0072357 | 0.0018134
71 | 0.9776 | -0.43029 | 0.0033872 | 0.00084891
72 | 0.99136 | -0.16605 | 0.0050252 | 0.0012594
73 | 0.9904 | -0.18464 | 0.016669 | 0.0041778
74 | 0.99031 | -0.18637 | 0.0030176 | 0.00075628
75 | 0.98996 | -0.19322 | 0.0069795 | 0.0017492
76 | 0.98995 | -0.1934 | 0.0021836 | 0.00054727
77 | 0.98994 | -0.19352 | 0.0031918 | 0.00079993
78 | 0.98994 | -0.19354 | 0.0043989 | 0.0011025
79 | 0.98983 | -0.19578 | 0.0064642 | 0.0016201
80 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.20757 | 0.052818 | -0.20747 | -0.052752 | 0.00010452 | 6.6311e-05 | 0.31303 | 0.31303 | 0.31303 | 0.9876 | -0.23594 | 0.98706 | -0.24639 | 21.4995
1 | -0.21135 | -0.053765 | 0.21151 | 0.053864 | 0.00015599 | 9.8993e-05 | 0.31873 | 0.31873 | 0.31873 | 0.9876 | -0.23594 | 0.9884 | -0.22064 | 21.8905
2 | 0.2045 | 0.052009 | -0.20436 | -0.051919 | 0.00014132 | 8.9639e-05 | 0.30856 | 0.30856 | 0.30856 | 0.98706 | -0.24639 | 0.98631 | -0.26075 | 21.1925
3 | -0.21573 | -0.054923 | 0.21587 | 0.055009 | 0.00013602 | 8.635e-05 | 0.32509 | 0.32508 | 0.32509 | 0.9884 | -0.22064 | 0.98908 | -0.20757 | 22.3273
4 | 0.20083 | 0.051033 | -0.20055 | -0.050859 | 0.00027383 | 0.00017363 | 0.30323 | 0.30323 | 0.30323 | 0.98631 | -0.26075 | 0.98484 | -0.28911 | 20.8262
5 | -0.21838 | -0.05564 | 0.21847 | 0.055696 | 8.7635e-05 | 5.5642e-05 | 0.32887 | 0.32887 | 0.32887 | 0.98908 | -0.20757 | 0.98951 | -0.19926 | 22.5873
6 | 0.19799 | 0.050217 | -0.1978 | -0.050098 | 0.00018904 | 0.00011984 | 0.29936 | 0.29936 | 0.29936 | 0.98484 | -0.28911 | 0.98382 | -0.30898 | 20.5605
7 | 0.0078415 | 0.0019654 | -0.0078405 | -0.001965 | 9.8189e-07 | 3.8656e-07 | 0.011792 | 0.011792 | 0.011792 | 0.98951 | -0.19926 | 0.98938 | -0.20188 | 3.2396
8 | -0.22631 | -0.057661 | 0.22677 | 0.057954 | 0.00046118 | 0.00029297 | 0.34066 | 0.34066 | 0.34066 | 0.98951 | -0.19926 | 0.99171 | -0.15711 | 23.3972
9 | 0.19473 | 0.049329 | -0.1945 | -0.049178 | 0.00023725 | 0.00015036 | 0.29472 | 0.29472 | 0.29472 | 0.98382 | -0.30898 | 0.98251 | -0.33438 | 20.2419
10 | 0.0053731 | 0.0013466 | -0.0053729 | -0.0013466 | 1.8926e-07 | 2.1883e-08 | 0.0080811 | 0.0080812 | 0.0080812 | 0.98938 | -0.20188 | 0.98934 | -0.20262 | 2.2201
11 | -0.24194 | -0.061759 | 0.24212 | 0.06187 | 0.0001747 | 0.00011108 | 0.36343 | 0.36343 | 0.36343 | 0.99171 | -0.15711 | 0.9925 | -0.14218 | 24.9605
12 | 0.01517 | 0.0038053 | -0.015168 | -0.0038039 | 2.3573e-06 | 1.3521e-06 | 0.022763 | 0.022764 | 0.022764 | 0.99171 | -0.15711 | 0.99155 | -0.16037 | 6.2537
13 | -0.0206 | -0.0051646 | 0.020611 | 0.0051709 | 1.0341e-05 | 6.2394e-06 | 0.030781 | 0.030781 | 0.030781 | 0.99587 | -0.079385 | 0.99642 | -0.068856 | 8.4564
14 | 0.014304 | 0.0035866 | -0.014298 | -0.0035835 | 5.4293e-06 | 3.0625e-06 | 0.021373 | 0.021373 | 0.021373 | 0.99587 | -0.079385 | 0.99546 | -0.087352 | 5.8717
15 | -0.026858 | -0.0067367 | 0.026879 | 0.0067497 | 2.1042e-05 | 1.3012e-05 | 0.040111 | 0.040111 | 0.040111 | 0.99642 | -0.068856 | 0.99727 | -0.052434 | 11.0196
16 | -0.043132 | -0.010823 | 0.043134 | 0.010824 | 2.1047e-06 | 1.3293e-06 | 0.064362 | 0.064362 | 0.064362 | 0.99727 | -0.052434 | 0.99732 | -0.051411 | 17.6818
17 | -0.05233 | -0.013129 | 0.052459 | 0.013211 | 0.00012861 | 8.1575e-05 | 0.078082 | 0.078082 | 0.078082 | 0.99732 | -0.051411 | 1 | 0 | 21.451
18 | 0.091798 | 0.023242 | -0.091743 | -0.023207 | 5.4901e-05 | 3.5034e-05 | 0.13668 | 0.13668 | 0.13668 | 1 | 0 | 0.99935 | -0.012464 | 37.5494
19 | 0.28748 | 0.073933 | -0.28704 | -0.073651 | 0.00044277 | 0.00028202 | 0.42844 | 0.42844 | 0.42844 | 1 | 0 | 0.99832 | -0.03174 | 29.4261
20 | 0.039326 | 0.0098727 | -0.039318 | -0.0098681 | 7.3468e-06 | 4.6338e-06 | 0.059949 | 0.059949 | 0.059949 | 0.97621 | -0.45755 | 0.97601 | -0.46146 | 16.4696
21 | -0.050717 | -0.012728 | 0.050833 | 0.012801 | 0.00011633 | 7.3803e-05 | 0.077312 | 0.077312 | 0.077312 | 0.97621 | -0.45755 | 0.97865 | -0.40957 | 21.2397
22 | 0.028779 | 0.0072267 | -0.02875 | -0.0072087 | 2.8936e-05 | 1.8019e-05 | 0.043881 | 0.043881 | 0.043881 | 0.97601 | -0.46146 | 0.97494 | -0.48256 | 12.0553
23 | -0.054412 | -0.013698 | 0.054435 | 0.013713 | 2.2922e-05 | 1.4558e-05 | 0.082754 | 0.082754 | 0.082754 | 0.97865 | -0.40957 | 0.9791 | -0.40076 | 22.7347
24 | 0.015148 | 0.0037996 | -0.015138 | -0.0037939 | 9.8215e-06 | 5.6753e-06 | 0.023121 | 0.023121 | 0.023121 | 0.97494 | -0.48256 | 0.97425 | -0.49617 | 6.3519
25 | -0.058012 | -0.014609 | 0.058054 | 0.014636 | 4.1704e-05 | 2.6511e-05 | 0.08819 | 0.08819 | 0.08819 | 0.9791 | -0.40076 | 0.97987 | -0.38573 | 24.2281
26 | 0.12788 | 0.03222 | -0.12784 | -0.032196 | 3.8139e-05 | 2.3866e-05 | 0.19425 | 0.19425 | 0.19425 | 0.97987 | -0.38573 | 0.97955 | -0.39197 | 13.3416
27 | -0.18593 | -0.046856 | 0.18633 | 0.04711 | 0.00040066 | 0.00025371 | 0.28244 | 0.28244 | 0.28244 | 0.97987 | -0.38573 | 0.98218 | -0.3408 | 19.3986
28 | 0.040875 | 0.010288 | -0.040778 | -0.010227 | 9.6745e-05 | 6.1077e-05 | 0.062107 | 0.062108 | 0.062108 | 0.97955 | -0.39197 | 0.97702 | -0.44162 | 17.0625
29 | 0.086965 | 0.021908 | -0.086945 | -0.021896 | 2.0184e-05 | 1.2297e-05 | 0.13215 | 0.13215 | 0.13215 | 0.97955 | -0.39197 | 0.97931 | -0.39682 | 9.076
30 | -0.19034 | -0.048115 | 0.1904 | 0.048152 | 5.8554e-05 | 3.7095e-05 | 0.28852 | 0.28852 | 0.28852 | 0.98218 | -0.3408 | 0.98251 | -0.33438 | 19.8158
31 | 0.0091011 | 0.0022814 | -0.0090987 | -0.0022803 | 2.3806e-06 | 1.0856e-06 | 0.013664 | 0.013664 | 0.013664 | 0.99111 | -0.1689 | 0.99082 | -0.1744 | 3.754
32 | -0.015162 | -0.0038004 | 0.015168 | 0.0038039 | 6.1653e-06 | 3.5367e-06 | 0.022764 | 0.022764 | 0.022764 | 0.99111 | -0.1689 | 0.99155 | -0.16037 | 6.2538
33 | -0.076351 | -0.019274 | 0.076433 | 0.019326 | 8.1891e-05 | 5.2191e-05 | 0.11404 | 0.11404 | 0.11404 | 0.99668 | -0.063393 | 0.99785 | -0.041029 | 31.3294
34 | 0.076351 | 0.019274 | -0.076254 | -0.019212 | 9.7942e-05 | 6.2421e-05 | 0.11404 | 0.11404 | 0.11404 | 0.99668 | -0.063393 | 0.99529 | -0.090209 | 31.3294
35 | -0.082319 | -0.020801 | 0.082432 | 0.020873 | 0.0001129 | 7.1993e-05 | 0.12282 | 0.12282 | 0.12282 | 0.99785 | -0.041029 | 0.99935 | -0.012464 | 33.7405
36 | 0.058203 | 0.01468 | -0.058104 | -0.014618 | 9.8237e-05 | 6.2423e-05 | 0.087049 | 0.087049 | 0.087049 | 0.99529 | -0.090209 | 0.99345 | -0.12553 | 23.9147
37 | 0.018051 | 0.0045314 | -0.018032 | -0.0045201 | 1.8921e-05 | 1.121e-05 | 0.02699 | 0.02699 | 0.02699 | 0.99529 | -0.090209 | 0.99415 | -0.11221 | 7.4149
38 | -0.24655 | -0.062981 | 0.24693 | 0.063219 | 0.00037408 | 0.0002379 | 0.37007 | 0.37007 | 0.37007 | 0.9925 | -0.14218 | 0.99414 | -0.11085 | 25.4169
39 | 0.0042245 | 0.0010586 | -0.0042242 | -0.0010587 | 3.0133e-07 | -6.6997e-08 | 0.0063275 | 0.0063276 | 0.0063276 | 0.99345 | -0.12553 | 0.99338 | -0.12703 | 1.7383
40 | 0.05388 | 0.013559 | -0.053835 | -0.013531 | 4.5119e-05 | 2.8637e-05 | 0.080722 | 0.080722 | 0.080722 | 0.99345 | -0.12553 | 0.99255 | -0.14307 | 22.1764
41 | 0.014089 | 0.003532 | -0.014087 | -0.0035307 | 2.3622e-06 | 1.3282e-06 | 0.021089 | 0.021089 | 0.021089 | 0.99415 | -0.11221 | 0.99397 | -0.11573 | 5.7937
42 | -0.25185 | -0.064454 | 0.25208 | 0.064601 | 0.00023175 | 0.00014742 | 0.37744 | 0.37744 | 0.37744 | 0.99414 | -0.11085 | 0.99514 | -0.091865 | 25.9234
43 | -0.0047706 | -0.0011956 | 0.0047708 | 0.0011956 | 2.1292e-07 | 4.0483e-09 | 0.0072995 | 0.0072995 | 0.0072995 | 0.97249 | -0.53078 | 0.97254 | -0.52984 | 2.0054
44 | -0.0079718 | -0.0019979 | 0.0079728 | 0.0019983 | 9.8111e-07 | 4.0966e-07 | 0.012197 | 0.012197 | 0.012197 | 0.97254 | -0.52984 | 0.97267 | -0.52726 | 3.3509
45 | -0.010753 | -0.0026951 | 0.010754 | 0.0026955 | 7.3571e-07 | 3.8087e-07 | 0.016451 | 0.016451 | 0.016451 | 0.97267 | -0.52726 | 0.97274 | -0.52582 | 4.5194
46 | -0.014024 | -0.0035151 | 0.014025 | 0.0035156 | 8.5369e-07 | 4.8495e-07 | 0.021453 | 0.021453 | 0.021453 | 0.97274 | -0.52582 | 0.97281 | -0.52455 | 5.8937
47 | -0.016794 | -0.0042096 | 0.0168 | 0.0042129 | 5.6863e-06 | 3.3538e-06 | 0.025689 | 0.025689 | 0.025689 | 0.97281 | -0.52455 | 0.97316 | -0.51744 | 7.0573
48 | -0.010278 | -0.0025759 | 0.010279 | 0.0025762 | 6.72e-07 | 3.3199e-07 | 0.015388 | 0.015388 | 0.015388 | 0.9939 | -0.1171 | 0.99397 | -0.11573 | 4.2273
49 | 0.0062447 | 0.0015651 | -0.0062442 | -0.0015649 | 4.7345e-07 | 1.1584e-07 | 0.0093492 | 0.0093493 | 0.0093493 | 0.9939 | -0.1171 | 0.99381 | -0.11869 | 2.5685
50 | -0.021013 | -0.0052688 | 0.021016 | 0.0052711 | 3.9023e-06 | 2.3722e-06 | 0.03213 | 0.03213 | 0.03213 | 0.97316 | -0.51744 | 0.97336 | -0.51355 | 8.827
51 | -0.023176 | -0.0058124 | 0.02321 | 0.0058332 | 3.3917e-05 | 2.081e-05 | 0.035431 | 0.035431 | 0.035431 | 0.97336 | -0.51355 | 0.97492 | -0.48289 | 9.7339
52 | -0.026358 | -0.0066221 | 0.026365 | 0.0066268 | 7.6822e-06 | 4.7588e-06 | 0.040236 | 0.040235 | 0.040236 | 0.97492 | -0.48289 | 0.97523 | -0.47678 | 11.0537
53 | -0.029511 | -0.0074152 | 0.029549 | 0.007439 | 3.8151e-05 | 2.379e-05 | 0.045035 | 0.045035 | 0.045035 | 0.97523 | -0.47678 | 0.9766 | -0.44974 | 12.3723
54 | -0.029549 | -0.007439 | 0.029563 | 0.0074468 | 1.3572e-05 | 7.7923e-06 | 0.045035 | 0.045035 | 0.045035 | 0.9766 | -0.44974 | 0.97709 | -0.44013 | 6.1861
55 | -0.25454 | -0.065216 | 0.25477 | 0.065362 | 0.00022946 | 0.00014598 | 0.38111 | 0.38111 | 0.38111 | 0.99514 | -0.091865 | 0.99612 | -0.073281 | 26.1753
56 | -0.25855 | -0.066309 | 0.25907 | 0.066642 | 0.00052206 | 0.00033217 | 0.38676 | 0.38676 | 0.38676 | 0.99612 | -0.073281 | 0.99832 | -0.03174 | 26.5631
57 | 0.026664 | 0.0066898 | -0.026647 | -0.0066791 | 1.7218e-05 | 1.0671e-05 | 0.040613 | 0.040613 | 0.040613 | 0.97702 | -0.44162 | 0.97633 | -0.45517 | 11.1574
58 | 0.080227 | 0.020212 | -0.080193 | -0.020192 | 3.4101e-05 | 2.0594e-05 | 0.12194 | 0.12194 | 0.12194 | 0.97931 | -0.39682 | 0.97885 | -0.40572 | 8.375
59 | 0.048032 | 0.012076 | -0.047979 | -0.012043 | 5.2646e-05 | 3.3344e-05 | 0.072022 | 0.072022 | 0.072022 | 0.99255 | -0.14307 | 0.99136 | -0.16605 | 19.7864
60 | -0.059038 | -0.014855 | 0.059066 | 0.014871 | 2.7779e-05 | 1.5942e-05 | 0.089931 | 0.08993 | 0.089931 | 0.97709 | -0.44013 | 0.9776 | -0.43029 | 6.1766
61 | 0.029476 | 0.0074086 | -0.029434 | -0.0073829 | 4.1246e-05 | 2.5715e-05 | 0.044896 | 0.044896 | 0.044896 | 0.97709 | -0.44013 | 0.9756 | -0.46949 | 12.3342
62 | 0.070769 | 0.01783 | -0.070749 | -0.017818 | 2.0566e-05 | 1.221e-05 | 0.10761 | 0.10761 | 0.10761 | 0.97885 | -0.40572 | 0.97854 | -0.41179 | 7.3911
63 | 0.065588 | 0.016524 | -0.065578 | -0.016519 | 9.759e-06 | 5.7203e-06 | 0.099767 | 0.099767 | 0.099767 | 0.97854 | -0.41179 | 0.97838 | -0.4149 | 6.8521
64 | 0.063941 | 0.016108 | -0.063937 | -0.016106 | 4.7667e-06 | 2.7808e-06 | 0.097278 | 0.097278 | 0.097278 | 0.97838 | -0.4149 | 0.9783 | -0.41646 | 6.6812
65 | 0.010863 | 0.0027233 | -0.010861 | -0.002722 | 2.6033e-06 | 1.3495e-06 | 0.016557 | 0.016557 | 0.016557 | 0.97633 | -0.45517 | 0.97608 | -0.4602 | 4.5487
66 | 0.062495 | 0.015744 | -0.062453 | -0.01572 | 4.1308e-05 | 2.3991e-05 | 0.095085 | 0.095086 | 0.095086 | 0.9783 | -0.41646 | 0.9776 | -0.43029 | 6.5306
67 | -0.020949 | -0.0052526 | 0.020949 | 0.0052531 | 7.5417e-07 | 4.5812e-07 | 0.031966 | 0.031966 | 0.031966 | 0.97517 | -0.47792 | 0.97521 | -0.47717 | 8.782
68 | 0.01645 | 0.0041251 | -0.016447 | -0.0041232 | 3.2075e-06 | 1.8835e-06 | 0.025102 | 0.025102 | 0.025102 | 0.97517 | -0.47792 | 0.97497 | -0.48201 | 6.8961
69 | -0.02467 | -0.0061855 | 0.024679 | 0.006191 | 9.0325e-06 | 5.5687e-06 | 0.037643 | 0.037643 | 0.037643 | 0.97521 | -0.47717 | 0.9756 | -0.46949 | 10.3415
70 | 0.01365 | 0.0034223 | -0.013647 | -0.0034206 | 2.9048e-06 | 1.6366e-06 | 0.020833 | 0.020833 | 0.020833 | 0.97497 | -0.48201 | 0.97474 | -0.48648 | 5.7235
71 | 0.0072389 | 0.0018146 | -0.0072357 | -0.0018134 | 3.203e-06 | 1.1786e-06 | 0.011051 | 0.011051 | 0.011051 | 0.97474 | -0.48648 | 0.97427 | -0.49577 | 3.0361
72 | 0.042954 | 0.010783 | -0.042916 | -0.010759 | 3.8054e-05 | 2.404e-05 | 0.06448 | 0.06448 | 0.06448 | 0.99136 | -0.16605 | 0.9904 | -0.18464 | 17.7142
73 | 0.026246 | 0.0065816 | -0.026244 | -0.0065802 | 2.1682e-06 | 1.3398e-06 | 0.039435 | 0.039435 | 0.039435 | 0.9904 | -0.18464 | 0.99031 | -0.18637 | 10.8338
74 | 0.023227 | 0.005824 | -0.023219 | -0.0058193 | 7.5763e-06 | 4.6355e-06 | 0.034901 | 0.034901 | 0.034901 | 0.99031 | -0.18637 | 0.98996 | -0.19322 | 9.5881
75 | 0.016239 | 0.0040701 | -0.016239 | -0.00407 | 1.4092e-07 | 8.2083e-08 | 0.02441 | 0.02441 | 0.02441 | 0.98996 | -0.19322 | 0.98995 | -0.1934 | 6.706
76 | 0.014056 | 0.0035227 | -0.014056 | -0.0035227 | 8.0543e-08 | 4.5361e-08 | 0.021127 | 0.021127 | 0.021127 | 0.98995 | -0.1934 | 0.98994 | -0.19352 | 5.8043
77 | 0.010864 | 0.0027228 | -0.010864 | -0.0027228 | 9.3097e-09 | 4.7628e-09 | 0.01633 | 0.01633 | 0.01633 | 0.98994 | -0.19352 | 0.98994 | -0.19354 | 4.4862
78 | 0.0064649 | 0.0016203 | -0.0064642 | -0.0016201 | 6.883e-07 | 1.9065e-07 | 0.0097177 | 0.0097178 | 0.0097178 | 0.98994 | -0.19354 | 0.98983 | -0.19578 | 2.6697

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.43339 | 0.11039

## res_load
| p_mw | q_mvar
0 | 0.0037787 | 0.00094704
1 | 0.0029648 | 0.00074305
2 | 0.0042245 | 0.0010588
3 | 0.0035358 | 0.00088616
4 | 0.0025168 | 0.00063077
5 | 0.0025609 | 0.00064183
6 | 0.0030675 | 0.00076878
7 | 0.0024674 | 0.00061839
8 | 0.0062966 | 0.0015781
9 | 0.0062477 | 0.0015658
10 | 0.014298 | 0.0035835
11 | 0.016253 | 0.0040733
12 | 0.0091956 | 0.0023046
13 | 0.011391 | 0.0028549
14 | 0.010539 | 0.0026414
15 | 0.0035793 | 0.00089705
16 | 0.013602 | 0.0034091
17 | 0.0035767 | 0.0008964
18 | 0.015138 | 0.0037939
19 | 0.00401 | 0.001005
20 | 0.0060608 | 0.001519
21 | 0.0090987 | 0.0022803
22 | 0.0058855 | 0.001475
23 | 0.0044324 | 0.0011109
24 | 0.0093114 | 0.0023336
25 | 0.0039426 | 0.0009881
26 | 0.0053729 | 0.0013466
27 | 0.0049267 | 0.0012348
28 | 0.0047706 | 0.0011956
29 | 0.003201 | 0.00080225
30 | 0.0027805 | 0.00069685
31 | 0.0032701 | 0.00081957
32 | 0.0027691 | 0.00069399
33 | 0.0040332 | 0.0010108
34 | 0.0038085 | 0.00095451
35 | 0.0062442 | 0.0015649
36 | 0.0042128 | 0.0010558
37 | 0.0021596 | 0.00054123
38 | 0.0031477 | 0.0007889
39 | 0.0031458 | 0.0007884
40 | 0.0024535 | 0.0006149
41 | 0.0037798 | 0.0009473
42 | 0.027968 | 0.0070094
43 | 0.0040963 | 0.0010266
44 | 0.014113 | 0.0035371
45 | 0.0067176 | 0.0016836
46 | 0.0042242 | 0.0010587
47 | 0.005803 | 0.0014544
48 | 0.0094236 | 0.0023618
49 | 0.005161 | 0.0012935
50 | 0.0016366 | 0.00041018
51 | 0.015784 | 0.0039558
52 | 0.0014418 | 0.00036136
53 | 0.010861 | 0.002722
54 | 0.0044988 | 0.0011275
55 | 0.0037203 | 0.00093241
56 | 0.0027968 | 0.00070094
57 | 0.0047555 | 0.0011919
58 | 0.0064081 | 0.001606
59 | 0.0072357 | 0.0018134
60 | 0.0033872 | 0.00084891
61 | 0.0050252 | 0.0012594
62 | 0.016669 | 0.0041778
63 | 0.0030176 | 0.00075628
64 | 0.0069795 | 0.0017492
65 | 0.0021836 | 0.00054727
66 | 0.0031918 | 0.00079993
67 | 0.0043989 | 0.0011025
68 | 0.0064642 | 0.0016201

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1