## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1323-25_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1323-25_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1323-25_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1323-25_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1323-25_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1323-25_0_3_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_1323-25_0_3_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_1323-25_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1323-25_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1323-25_0_3_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_1323-25_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_1323-25_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1323-25_0_3_node_55 | 0.4 | n |  | TRUE
13 | bus_LV_1323-25_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1323-25_0_3_node_38 | 0.4 | n |  | TRUE
15 | bus_LV_1323-25_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1323-25_0_3_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_1323-25_0_3_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_1323-25_0_3_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_1323-25_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1323-25_0_3_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_1323-25_0_3_node_52 | 0.4 | n |  | TRUE
22 | bus_LV_1323-25_0_3_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_1323-25_0_3_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_1323-25_0_3_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_1323-25_0_3_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_1323-25_0_3_node_56 | 0.4 | n |  | TRUE
27 | bus_LV_1323-25_0_3_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_1323-25_0_3_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_1323-25_0_3_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_1323-25_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_1323-25_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_1323-25_0_3_node_40 | 0.4 | n |  | TRUE
33 | bus_LV_1323-25_0_3_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_1323-25_0_3_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_1323-25_0_3_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_1323-25_0_3_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_1323-25_0_3_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_1323-25_0_3_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_1323-25_0_3_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_1323-25_0_3_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_1323-25_0_3_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_1323-25_0_3_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_1323-25_0_3_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_1323-25_0_3_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_1323-25_0_3_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_1323-25_0_3_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_1323-25_0_3_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_1323-25_0_3_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_1323-25_0_3_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_1323-25_0_3_node_53 | 0.4 | n |  | TRUE
51 | bus_LV_1323-25_0_3_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_1323-25_0_3_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_1323-25_0_3_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_1323-25_0_3_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_1323-25_0_3_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_1323-25_0_3_node_51 | 0.4 | n |  | TRUE
57 | bus_MV_15_0_node_122 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1323-25_0_3_load_0 | 0 | 0.0044248 | 0.001109 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1323-25_0_3_load_2 | 2 | 0.0044876 | 0.0011247 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1323-25_0_3_load_13 | 6 | 0.017547 | 0.0043978 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1323-25_0_3_load_6 | 7 | 0.0063926 | 0.0016021 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1323-25_0_3_load_7 | 8 | 0.015142 | 0.0037948 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1323-25_0_3_load_14 | 9 | 0.00794 | 0.00199 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1323-25_0_3_load_5 | 10 | 0.0063896 | 0.0016014 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1323-25_0_3_load_20 | 16 | 0.0060567 | 0.0015179 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1323-25_0_3_load_18 | 17 | 0.0078743 | 0.0019735 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1323-25_0_3_load_25 | 18 | 0.012588 | 0.0031548 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1323-25_0_3_load_32 | 20 | 0.00041417 | 0.0001038 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1323-25_0_3_load_52 | 21 | 0.0060576 | 0.0015182 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1323-25_0_3_load_21 | 23 | 0.016351 | 0.0040978 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1323-25_0_3_load_23 | 24 | 0.012588 | 0.0031548 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1323-25_0_3_load_56 | 26 | 0.0021384 | 0.00053593 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1323-25_0_3_load_15 | 28 | 0.010539 | 0.0026414 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1323-25_0_3_load_16 | 29 | 0.0039934 | 0.0010008 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1323-25_0_3_load_17 | 30 | 0.0051416 | 0.0012886 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1323-25_0_3_load_22 | 31 | 0.0017776 | 0.00044551 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1323-25_0_3_load_40 | 32 | 0.0057226 | 0.0014342 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1323-25_0_3_load_50 | 33 | 0.0073931 | 0.0018529 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1323-25_0_3_load_41 | 34 | 0.010371 | 0.0025992 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1323-25_0_3_load_26 | 35 | 0.0028197 | 0.00070668 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1323-25_0_3_load_27 | 36 | 0.008049 | 0.0020173 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1323-25_0_3_load_34 | 37 | 0.0082714 | 0.002073 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1323-25_0_3_load_39 | 38 | 0.00067315 | 0.00016871 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1323-25_0_3_load_35 | 39 | 0.0026859 | 0.00067315 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1323-25_0_3_load_33 | 40 | 0.0087673 | 0.0021973 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1323-25_0_3_load_28 | 41 | 0.00077138 | 0.00019333 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1323-25_0_3_load_29 | 42 | 0.00045416 | 0.00011382 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1323-25_0_3_load_45 | 45 | 0.0064234 | 0.0016099 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1323-25_0_3_load_36 | 46 | 0.0053928 | 0.0013516 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1323-25_0_3_load_46 | 47 | 0.0027249 | 0.00068293 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1323-25_0_3_load_47 | 48 | 0.002869 | 0.00071904 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1323-25_0_3_load_54 | 49 | 0.0061339 | 0.0015373 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1323-25_0_3_load_53 | 50 | 0.00099786 | 0.00025009 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1323-25_0_3_load_42 | 51 | 0.0029309 | 0.00073456 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1323-25_0_3_load_43 | 52 | 0.0052482 | 0.0013153 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1323-25_0_3_load_44 | 53 | 0.0081708 | 0.0020478 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1323-25_0_3_load_48 | 54 | 0.0080836 | 0.0020259 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1323-25_0_3_load_49 | 55 | 0.010371 | 0.0025993 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1323-25_0_3_load_51 | 56 | 0.0045042 | 0.0011289 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1323-25_0_3_line_0 |  | 0 | 1 | 0.017949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1323-25_0_3_line_1 |  | 1 | 2 | 0.01764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1323-25_0_3_line_2 |  | 1 | 3 | 0.025704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1323-25_0_3_line_3 |  | 2 | 4 | 0.020528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1323-25_0_3_line_4 |  | 3 | 5 | 0.005364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1323-25_0_3_line_5 |  | 3 | 6 | 0.031115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1323-25_0_3_line_6 |  | 4 | 7 | 0.0083325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1323-25_0_3_line_7 |  | 5 | 8 | 0.017276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1323-25_0_3_line_8 |  | 6 | 9 | 0.030113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1323-25_0_3_line_9 |  | 7 | 12 | 0.017474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1323-25_0_3_line_10 |  | 8 | 11 | 0.025783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1323-25_0_3_line_11 |  | 9 | 28 | 0.012338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1323-25_0_3_line_12 |  | 10 | 11 | 0.02502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1323-25_0_3_line_13 |  | 11 | 13 | 0.019298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1323-25_0_3_line_14 |  | 12 | 14 | 0.038794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1323-25_0_3_line_15 |  | 13 | 18 | 0.018396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_1323-25_0_3_line_16 |  | 13 | 19 | 0.042273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1323-25_0_3_line_17 |  | 14 | 26 | 0.014737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1323-25_0_3_line_18 |  | 15 | 16 | 0.023627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1323-25_0_3_line_19 |  | 15 | 17 | 0.038996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1323-25_0_3_line_20 |  | 16 | 21 | 0.011205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1323-25_0_3_line_21 |  | 17 | 22 | 0.0086808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1323-25_0_3_line_22 |  | 18 | 23 | 0.016443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1323-25_0_3_line_23 |  | 19 | 20 | 0.026406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1323-25_0_3_line_24 |  | 20 | 27 | 0.0058645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1323-25_0_3_line_25 |  | 21 | 33 | 0.025247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1323-25_0_3_line_26 |  | 22 | 23 | 0.019924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1323-25_0_3_line_27 |  | 22 | 31 | 0.0065578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1323-25_0_3_line_28 |  | 24 | 25 | 0.024367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1323-25_0_3_line_29 |  | 25 | 35 | 0.0069407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1323-25_0_3_line_30 |  | 25 | 36 | 0.010508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1323-25_0_3_line_31 |  | 27 | 40 | 0.019024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1323-25_0_3_line_32 |  | 27 | 41 | 0.0053875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1323-25_0_3_line_33 |  | 28 | 29 | 0.030363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1323-25_0_3_line_34 |  | 29 | 30 | 0.033445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1323-25_0_3_line_35 |  | 31 | 32 | 0.0017763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1323-25_0_3_line_36 |  | 32 | 34 | 0.012197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1323-25_0_3_line_37 |  | 33 | 56 | 0.024222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1323-25_0_3_line_38 |  | 34 | 51 | 0.0087466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1323-25_0_3_line_39 |  | 35 | 37 | 0.0085522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1323-25_0_3_line_40 |  | 36 | 38 | 0.0207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1323-25_0_3_line_41 |  | 37 | 39 | 0.015718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1323-25_0_3_line_42 |  | 38 | 40 | 0.0039938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1323-25_0_3_line_43 |  | 39 | 46 | 0.012677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1323-25_0_3_line_44 |  | 41 | 42 | 0.0034816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1323-25_0_3_line_45 |  | 42 | 43 | 0.010608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1323-25_0_3_line_46 |  | 43 | 44 | 0.007515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1323-25_0_3_line_47 |  | 44 | 45 | 0.026642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1323-25_0_3_line_48 |  | 46 | 47 | 0.19797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1323-25_0_3_line_49 |  | 47 | 48 | 0.053039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1323-25_0_3_line_50 |  | 48 | 49 | 0.21205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1323-25_0_3_line_51 |  | 49 | 50 | 0.012654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1323-25_0_3_line_52 |  | 51 | 52 | 0.0048986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1323-25_0_3_line_53 |  | 52 | 53 | 0.026215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1323-25_0_3_line_54 |  | 53 | 54 | 0.00039542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1323-25_0_3_line_55 |  | 54 | 55 | 0.0023602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1323-25_0_3_trafo_25 | 0.63 MVA 20/0.4 kV | 57 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2697156.1049 | 1227225.9899 | 2697160.1246 | 1227243.4826
1 | 2697156.1049 | 1227225.9899 | 2697138.9412 | 1227230.0593
2 | 2697150.1007 | 1227200.9961 | 2697156.1049 | 1227225.9899
3 | 2697118.9356 | 1227234.656 | 2697127.8057 | 1227232.6994 | 2697138.9412 | 1227230.0593
4 | 2697148.6387 | 1227195.8352 | 2697150.1007 | 1227200.9961
5 | 2697150.1007 | 1227200.9961 | 2697180.8205 | 1227196.0548
6 | 2697118.9356 | 1227234.656 | 2697120.8516 | 1227242.7652
7 | 2697148.6387 | 1227195.8352 | 2697131.9676 | 1227191.3023
8 | 2697180.8205 | 1227196.0548 | 2697210.5514 | 1227191.2725
9 | 2697124.8697 | 1227259.771 | 2697120.8516 | 1227242.7652
10 | 2697107.0881 | 1227184.5377 | 2697131.9676 | 1227191.3023
11 | 2697222.7329 | 1227189.3131 | 2697210.5514 | 1227191.2725
12 | 2697107.0881 | 1227184.5377 | 2697112.8425 | 1227208.8873
13 | 2697091.1137 | 1227180.1071 | 2697092.0927 | 1227184.215 | 2697104.9525 | 1227183.958 | 2697107.0881 | 1227184.5377
14 | 2697096.0923 | 1227250.7504 | 2697096.9352 | 1227255.3007 | 2697097.7848 | 1227262.2196 | 2697124.8697 | 1227259.771
15 | 2697091.1137 | 1227180.1071 | 2697099.6662 | 1227172.0742 | 2697100.9548 | 1227165.5377
16 | 2697091.1137 | 1227180.1071 | 2697092.0927 | 1227184.215 | 2697067.2397 | 1227188.2902 | 2697057.7071 | 1227196.9298
17 | 2697096.0923 | 1227250.7504 | 2697083.2108 | 1227243.5239
18 | 2697152.863 | 1227144.6673 | 2697161.8292 | 1227139.6212 | 2697174.7126 | 1227136.1688
19 | 2697152.863 | 1227144.6673 | 2697150.0573 | 1227141.9529 | 2697116.3315 | 1227132.2561
20 | 2697174.7126 | 1227136.1688 | 2697185.5362 | 1227133.2684
21 | 2697107.9887 | 1227129.8574 | 2697116.3315 | 1227132.2561
22 | 2697104.1352 | 1227149.4048 | 2697100.9548 | 1227165.5377
23 | 2697057.7071 | 1227196.9298 | 2697038.1406 | 1227214.6617
24 | 2697033.7951 | 1227218.5998 | 2697038.1406 | 1227214.6617
25 | 2697209.9224 | 1227126.7336 | 2697185.5362 | 1227133.2684
26 | 2697107.9887 | 1227129.8574 | 2697104.1352 | 1227149.4048
27 | 2697107.9887 | 1227129.8574 | 2697101.5165 | 1227128.8014
28 | 2697015.378 | 1227168.7637 | 2697039.2782 | 1227173.5103
29 | 2697015.378 | 1227168.7637 | 2697008.9042 | 1227166.261
30 | 2697015.378 | 1227168.7637 | 2697014.1707 | 1227173.5363 | 2697016.0267 | 1227178.8035
31 | 2697033.7951 | 1227218.5998 | 2697024.746 | 1227201.8664
32 | 2697033.7951 | 1227218.5998 | 2697032.2912 | 1227223.7732
33 | 2697222.7329 | 1227189.3131 | 2697252.7105 | 1227184.4912
34 | 2697283.793 | 1227191.857 | 2697265.0572 | 1227182.5052 | 2697252.7105 | 1227184.4912
35 | 2697099.7633 | 1227128.5154 | 2697101.5165 | 1227128.8014
36 | 2697099.7633 | 1227128.5154 | 2697087.7251 | 1227126.5513
37 | 2697209.9224 | 1227126.7336 | 2697233.3188 | 1227120.464
38 | 2697087.7251 | 1227126.5513 | 2697079.0926 | 1227125.1428
39 | 2697008.9042 | 1227166.261 | 2697000.9274 | 1227163.1773
40 | 2697022.9062 | 1227198.3267 | 2697016.0267 | 1227178.8035
41 | 2696986.6035 | 1227156.7415 | 2696995.0178 | 1227160.8927 | 2697000.9274 | 1227163.1773
42 | 2697022.9062 | 1227198.3267 | 2697023.0452 | 1227198.7213 | 2697024.746 | 1227201.8664
43 | 2696975.3195 | 1227158.9036 | 2696979.066 | 1227155.5289 | 2696986.6035 | 1227156.7415 | 2696986.6035 | 1227156.7415
44 | 2697031.3193 | 1227227.1164 | 2697032.2912 | 1227223.7732
45 | 2697028.3583 | 1227237.3024 | 2697031.3193 | 1227227.1164
46 | 2697026.2546 | 1227244.5178 | 2697028.3583 | 1227237.3024
47 | 2697026.2546 | 1227244.5178 | 2697010.1402 | 1227241.7086 | 2697004.7718 | 1227245.5349 | 2697003.8761 | 1227249.1165
48 | 2696975.3195 | 1227158.9036 | 2696781.9148 | 1227201.1538
49 | 2696781.9148 | 1227201.1538 | 2696743.6117 | 1227185.1951 | 2696734.1208 | 1227178.623
50 | 2696734.1208 | 1227178.623 | 2696669.0704 | 1226976.8005
51 | 2696669.0704 | 1226976.8005 | 2696656.6925 | 1226979.4299
52 | 2697079.0926 | 1227125.1428 | 2697074.258 | 1227124.354
53 | 2697074.258 | 1227124.354 | 2697048.3846 | 1227120.1326
54 | 2697047.9944 | 1227120.0689 | 2697048.3846 | 1227120.1326
55 | 2697045.665 | 1227119.6889 | 2697047.9944 | 1227120.0689

## bus_geodata
| x | y | coords
0 | 2697160.1246 | 1227243.4826
1 | 2697156.1049 | 1227225.9899
2 | 2697138.9412 | 1227230.0593
3 | 2697150.1007 | 1227200.9961
4 | 2697118.9356 | 1227234.656
5 | 2697148.6387 | 1227195.8352
6 | 2697180.8205 | 1227196.0548
7 | 2697120.8516 | 1227242.7652
8 | 2697131.9676 | 1227191.3023
9 | 2697210.5514 | 1227191.2725
10 | 2697112.8425 | 1227208.8873
11 | 2697107.0881 | 1227184.5377
12 | 2697124.8697 | 1227259.771
13 | 2697091.1137 | 1227180.1071
14 | 2697096.0923 | 1227250.7504
15 | 2697152.863 | 1227144.6673
16 | 2697174.7126 | 1227136.1688
17 | 2697116.3315 | 1227132.2561
18 | 2697100.9548 | 1227165.5377
19 | 2697057.7071 | 1227196.9298
20 | 2697038.1406 | 1227214.6617
21 | 2697185.5362 | 1227133.2684
22 | 2697107.9887 | 1227129.8574
23 | 2697104.1352 | 1227149.4048
24 | 2697039.2782 | 1227173.5103
25 | 2697015.378 | 1227168.7637
26 | 2697083.2108 | 1227243.5239
27 | 2697033.7951 | 1227218.5998
28 | 2697222.7329 | 1227189.3131
29 | 2697252.7105 | 1227184.4912
30 | 2697283.793 | 1227191.857
31 | 2697101.5165 | 1227128.8014
32 | 2697099.7633 | 1227128.5154
33 | 2697209.9224 | 1227126.7336
34 | 2697087.7251 | 1227126.5513
35 | 2697008.9042 | 1227166.261
36 | 2697016.0267 | 1227178.8035
37 | 2697000.9274 | 1227163.1773
38 | 2697022.9062 | 1227198.3267
39 | 2696986.6035 | 1227156.7415
40 | 2697024.746 | 1227201.8664
41 | 2697032.2912 | 1227223.7732
42 | 2697031.3193 | 1227227.1164
43 | 2697028.3583 | 1227237.3024
44 | 2697026.2546 | 1227244.5178
45 | 2697003.8761 | 1227249.1165
46 | 2696975.3195 | 1227158.9036
47 | 2696781.9148 | 1227201.1538
48 | 2696734.1208 | 1227178.623
49 | 2696669.0704 | 1226976.8005
50 | 2696656.6925 | 1226979.4299
51 | 2697079.0926 | 1227125.1428
52 | 2697074.258 | 1227124.354
53 | 2697048.3846 | 1227120.1326
54 | 2697047.9944 | 1227120.0689
55 | 2697045.665 | 1227119.6889
56 | 2697233.3188 | 1227120.464
57 | 2697091.1137 | 1227180.1071

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99361 | -0.12266 | 0.0044248 | 0.001109
1 | 0.99369 | -0.12126 | 0 | 0
2 | 0.99348 | -0.12531 | 0.0044876 | 0.0011247
3 | 0.9941 | -0.11335 | 0 | 0
4 | 0.99332 | -0.12841 | 0 | 0
5 | 0.9944 | -0.10742 | 0 | 0
6 | 0.99281 | -0.13816 | 0.017547 | 0.0043978
7 | 0.99325 | -0.12967 | 0.0063926 | 0.0016021
8 | 0.99539 | -0.088376 | 0.015142 | 0.0037948
9 | 0.99205 | -0.15288 | 0.00794 | 0.00199
10 | 0.99708 | -0.055976 | 0.0063896 | 0.0016014
11 | 0.99722 | -0.053174 | 0 | 0
12 | 0.99322 | -0.13033 | 0 | 0
13 | 0.9987 | -0.024754 | 0 | 0
14 | 0.99314 | -0.13179 | 0 | 0
15 | 0.99585 | -0.079769 | 0 | 0
16 | 0.99533 | -0.089745 | 0.0060567 | 0.0015179
17 | 0.9967 | -0.063324 | 0.0078743 | 0.0019735
18 | 1 | 0 | -0.25822 | -0.064862
19 | 0.99599 | -0.076648 | 0 | 0
20 | 0.9943 | -0.10921 | 0.00041417 | 0.0001038
21 | 0.99515 | -0.093286 | 0.0060576 | 0.0015182
22 | 0.99695 | -0.058468 | 0 | 0
23 | 0.99849 | -0.028967 | 0.016351 | 0.0040978
24 | 0.99095 | -0.17399 | 0.012588 | 0.0031548
25 | 0.99123 | -0.16855 | 0 | 0
26 | 0.99311 | -0.13235 | 0.0021384 | 0.00053593
27 | 0.99393 | -0.11641 | 0 | 0
28 | 0.99183 | -0.15718 | 0.010539 | 0.0026414
29 | 0.99158 | -0.1621 | 0.0039934 | 0.0010008
30 | 0.99142 | -0.16515 | 0.0051416 | 0.0012886
31 | 0.99664 | -0.064528 | 0.0017776 | 0.00044551
32 | 0.99656 | -0.066115 | 0.0057226 | 0.0014342
33 | 0.99488 | -0.098574 | 0.0073931 | 0.0018529
34 | 0.99606 | -0.07579 | 0.010371 | 0.0025992
35 | 0.99102 | -0.17248 | 0.0028197 | 0.00070668
36 | 0.99166 | -0.16026 | 0.008049 | 0.0020173
37 | 0.9908 | -0.1769 | 0.0082714 | 0.002073
38 | 0.99265 | -0.141 | 0.00067315 | 0.00016871
39 | 0.9905 | -0.18271 | 0.0026859 | 0.00067315
40 | 0.99285 | -0.13724 | 0.0087673 | 0.0021973
41 | 0.99389 | -0.11714 | 0.00077138 | 0.00019333
42 | 0.99387 | -0.11756 | 0.00045416 | 0.00011382
43 | 0.9938 | -0.11876 | 0 | 0
44 | 0.99376 | -0.11961 | 0 | 0
45 | 0.9936 | -0.12264 | 0.0064234 | 0.0016099
46 | 0.99029 | -0.18679 | 0.0053928 | 0.0013516
47 | 0.98797 | -0.23172 | 0.0027249 | 0.00068293
48 | 0.98748 | -0.2412 | 0.002869 | 0.00071904
49 | 0.98609 | -0.26828 | 0.0061339 | 0.0015373
50 | 0.98608 | -0.26851 | 0.00099786 | 0.00025009
51 | 0.99578 | -0.08114 | 0.0029309 | 0.00073456
52 | 0.99564 | -0.083885 | 0.0052482 | 0.0013153
53 | 0.995 | -0.096166 | 0.0081708 | 0.0020478
54 | 0.99499 | -0.096294 | 0.0080836 | 0.0020259
55 | 0.99497 | -0.096725 | 0.010371 | 0.0025993
56 | 0.99478 | -0.1005 | 0.0045042 | 0.0011289
57 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0044248 | -0.001109 | 0.0044251 | 0.0011089 | 2.9555e-07 | -4.3341e-08 | 0.0066265 | 0.0066264 | 0.0066265 | 0.99361 | -0.12266 | 0.99369 | -0.12126 | 1.8205
1 | 0.013023 | 0.0032642 | -0.013021 | -0.0032628 | 2.5158e-06 | 1.3816e-06 | 0.019502 | 0.019502 | 0.019502 | 0.99369 | -0.12126 | 0.99348 | -0.12531 | 5.3577
2 | -0.017448 | -0.0043731 | 0.017455 | 0.004377 | 6.5804e-06 | 3.8784e-06 | 0.026128 | 0.026128 | 0.026128 | 0.99369 | -0.12126 | 0.9941 | -0.11335 | 7.1781
3 | 0.008533 | 0.0021381 | -0.0085318 | -0.0021375 | 1.2574e-06 | 5.3896e-07 | 0.01278 | 0.012781 | 0.012781 | 0.99348 | -0.12531 | 0.99332 | -0.12841 | 3.5111
4 | -0.062696 | -0.015745 | 0.062714 | 0.015756 | 1.772e-05 | 1.1271e-05 | 0.093858 | 0.093858 | 0.093858 | 0.9941 | -0.11335 | 0.9944 | -0.10742 | 25.7853
5 | 0.045241 | 0.011368 | -0.045188 | -0.011334 | 5.3525e-05 | 3.3853e-05 | 0.06773 | 0.06773 | 0.06773 | 0.9941 | -0.11335 | 0.99281 | -0.13816 | 18.6072
6 | 0.0085318 | 0.0021375 | -0.0085313 | -0.0021373 | 5.104e-07 | 2.188e-07 | 0.012781 | 0.012781 | 0.012781 | 0.99332 | -0.12841 | 0.99325 | -0.12967 | 3.5112
7 | -0.062714 | -0.015756 | 0.062771 | 0.015792 | 5.7073e-05 | 3.6302e-05 | 0.093858 | 0.093858 | 0.093858 | 0.9944 | -0.10742 | 0.99539 | -0.088376 | 25.7852
8 | 0.027641 | 0.0069362 | -0.027621 | -0.0069242 | 1.9383e-05 | 1.2016e-05 | 0.041431 | 0.041431 | 0.041431 | 0.99281 | -0.13816 | 0.99205 | -0.15288 | 11.3821
9 | 0.0021387 | 0.00053519 | -0.0021386 | -0.00053537 | 6.7258e-08 | -1.8311e-07 | 0.0032037 | 0.0032038 | 0.0032038 | 0.99325 | -0.12967 | 0.99322 | -0.13033 | 0.88016
10 | -0.077913 | -0.019587 | 0.078044 | 0.019671 | 0.00013121 | 8.3638e-05 | 0.11649 | 0.11649 | 0.11649 | 0.99539 | -0.088376 | 0.99722 | -0.053174 | 32.0037
11 | 0.019681 | 0.0049343 | -0.019677 | -0.0049319 | 4.0322e-06 | 2.4214e-06 | 0.029521 | 0.029521 | 0.029521 | 0.99205 | -0.15288 | 0.99183 | -0.15718 | 8.1102
12 | -0.0063896 | -0.0016014 | 0.0063904 | 0.0016016 | 8.5315e-07 | 2.1963e-07 | 0.0095357 | 0.0095356 | 0.0095357 | 0.99708 | -0.055976 | 0.99722 | -0.053174 | 2.6197
13 | -0.084434 | -0.021272 | 0.084549 | 0.021346 | 0.00011494 | 7.3312e-05 | 0.12603 | 0.12603 | 0.12603 | 0.99722 | -0.053174 | 0.9987 | -0.024754 | 34.6233
14 | 0.0021386 | 0.00053537 | -0.0021385 | -0.00053578 | 1.4933e-07 | -4.0646e-07 | 0.0032038 | 0.003204 | 0.003204 | 0.99322 | -0.13033 | 0.99314 | -0.13179 | 0.88021
15 | -0.1551 | -0.039218 | 0.15528 | 0.039336 | 0.00018439 | 0.00011753 | 0.23121 | 0.23121 | 0.23121 | 0.9987 | -0.024754 | 1 | 0 | 31.7599
16 | 0.07055 | 0.017872 | -0.070375 | -0.017761 | 0.00017538 | 0.00011169 | 0.10518 | 0.10518 | 0.10518 | 0.9987 | -0.024754 | 0.99599 | -0.076648 | 28.8965
17 | 0.0021385 | 0.00053578 | -0.0021384 | -0.00053593 | 5.6732e-08 | -1.5438e-07 | 0.003204 | 0.003204 | 0.003204 | 0.99314 | -0.13179 | 0.99311 | -0.13235 | 0.88023
18 | 0.024029 | 0.0060282 | -0.024018 | -0.0060212 | 1.1423e-05 | 7.0038e-06 | 0.035907 | 0.035907 | 0.035907 | 0.99585 | -0.079769 | 0.99533 | -0.089745 | 9.8647
19 | -0.024029 | -0.0060282 | 0.024048 | 0.0060398 | 1.8854e-05 | 1.1559e-05 | 0.035907 | 0.035907 | 0.035907 | 0.99585 | -0.079769 | 0.9967 | -0.063324 | 9.8646
20 | 0.017961 | 0.0045033 | -0.017958 | -0.0045015 | 3.03e-06 | 1.7936e-06 | 0.026853 | 0.026853 | 0.026853 | 0.99533 | -0.089745 | 0.99515 | -0.093286 | 7.3771
21 | -0.031923 | -0.0080132 | 0.03193 | 0.0080179 | 7.3952e-06 | 4.6198e-06 | 0.047663 | 0.047663 | 0.047663 | 0.9967 | -0.063324 | 0.99695 | -0.058468 | 13.0942
22 | 0.10128 | 0.025526 | -0.10114 | -0.025437 | 0.00014016 | 8.9485e-05 | 0.15076 | 0.15076 | 0.15076 | 1 | 0 | 0.99849 | -0.028967 | 41.4185
23 | 0.070375 | 0.017761 | -0.070265 | -0.017691 | 0.00010955 | 6.9771e-05 | 0.10518 | 0.10518 | 0.10518 | 0.99599 | -0.076648 | 0.9943 | -0.10921 | 28.8966
24 | 0.069851 | 0.017587 | -0.069827 | -0.017572 | 2.4045e-05 | 1.5313e-05 | 0.10456 | 0.10456 | 0.10456 | 0.9943 | -0.10921 | 0.99393 | -0.11641 | 28.7263
25 | 0.011901 | 0.0029833 | -0.011898 | -0.0029817 | 2.998e-06 | 1.5908e-06 | 0.017795 | 0.017795 | 0.017795 | 0.99515 | -0.093286 | 0.99488 | -0.098574 | 4.8888
26 | -0.084675 | -0.021263 | 0.084794 | 0.021339 | 0.00011936 | 7.6132e-05 | 0.1264 | 0.1264 | 0.1264 | 0.99695 | -0.058468 | 0.99849 | -0.028967 | 34.7243
27 | 0.052745 | 0.013245 | -0.052729 | -0.013235 | 1.5245e-05 | 9.671e-06 | 0.078734 | 0.078734 | 0.078734 | 0.99695 | -0.058468 | 0.99664 | -0.064528 | 21.6302
28 | -0.012588 | -0.0031548 | 0.012591 | 0.0031566 | 3.2647e-06 | 1.7754e-06 | 0.018902 | 0.018902 | 0.018902 | 0.99095 | -0.17399 | 0.99123 | -0.16855 | 5.1928
29 | 0.031958 | 0.0080271 | -0.031952 | -0.0080234 | 5.992e-06 | 3.7454e-06 | 0.047981 | 0.047981 | 0.047981 | 0.99123 | -0.16855 | 0.99102 | -0.17248 | 13.1816
30 | -0.044549 | -0.011184 | 0.044567 | 0.011195 | 1.7626e-05 | 1.1145e-05 | 0.066883 | 0.066883 | 0.066883 | 0.99123 | -0.16855 | 0.99166 | -0.16026 | 18.3744
31 | 0.062176 | 0.015654 | -0.062114 | -0.015615 | 6.1846e-05 | 3.9335e-05 | 0.093109 | 0.093109 | 0.093109 | 0.99393 | -0.11641 | 0.99285 | -0.13724 | 25.5795
32 | 0.0076509 | 0.0019176 | -0.0076507 | -0.0019175 | 2.6507e-07 | 9.9823e-08 | 0.011454 | 0.011454 | 0.011454 | 0.99393 | -0.11641 | 0.99389 | -0.11714 | 3.1468
33 | 0.0091378 | 0.0022905 | -0.0091357 | -0.0022895 | 2.14e-06 | 9.7785e-07 | 0.013709 | 0.013709 | 0.013709 | 0.99183 | -0.15718 | 0.99158 | -0.1621 | 3.7663
34 | 0.0051423 | 0.0012886 | -0.0051416 | -0.0012886 | 7.4688e-07 | 4.6653e-08 | 0.0077168 | 0.0077169 | 0.0077169 | 0.99158 | -0.1621 | 0.99142 | -0.16515 | 2.12
35 | 0.050952 | 0.01279 | -0.050948 | -0.012787 | 3.8556e-06 | 2.4444e-06 | 0.07608 | 0.07608 | 0.07608 | 0.99664 | -0.064528 | 0.99656 | -0.066115 | 20.901
36 | 0.045225 | 0.011353 | -0.045204 | -0.01134 | 2.0862e-05 | 1.3193e-05 | 0.067535 | 0.067535 | 0.067535 | 0.99656 | -0.066115 | 0.99606 | -0.07579 | 18.5536
37 | 0.0045046 | 0.0011288 | -0.0045042 | -0.0011289 | 4.1231e-07 | -5.0614e-08 | 0.0067374 | 0.0067375 | 0.0067375 | 0.99488 | -0.098574 | 0.99478 | -0.1005 | 1.851
38 | 0.034834 | 0.0087409 | -0.034825 | -0.0087353 | 8.8834e-06 | 5.5716e-06 | 0.052042 | 0.052042 | 0.052042 | 0.99606 | -0.07579 | 0.99578 | -0.08114 | 14.2973
39 | 0.029132 | 0.0073167 | -0.029126 | -0.0073129 | 6.1378e-06 | 3.818e-06 | 0.043747 | 0.043747 | 0.043747 | 0.99102 | -0.17248 | 0.9908 | -0.1769 | 12.0185
40 | -0.052616 | -0.013212 | 0.052664 | 0.013243 | 4.8397e-05 | 3.0707e-05 | 0.078961 | 0.078961 | 0.078961 | 0.99166 | -0.16026 | 0.99265 | -0.141 | 21.6925
41 | 0.020855 | 0.0052399 | -0.020849 | -0.0052364 | 5.784e-06 | 3.4994e-06 | 0.031325 | 0.031325 | 0.031325 | 0.9908 | -0.1769 | 0.9905 | -0.18271 | 8.6058
42 | -0.053337 | -0.013412 | 0.053347 | 0.013418 | 9.5779e-06 | 6.0782e-06 | 0.07997 | 0.07997 | 0.07997 | 0.99265 | -0.141 | 0.99285 | -0.13724 | 21.9697
43 | 0.018163 | 0.0045632 | -0.01816 | -0.0045611 | 3.5404e-06 | 2.1027e-06 | 0.02729 | 0.02729 | 0.02729 | 0.9905 | -0.18271 | 0.99029 | -0.18679 | 7.4973
44 | 0.0068793 | 0.0017241 | -0.0068792 | -0.0017241 | 1.385e-07 | 4.352e-08 | 0.010299 | 0.010299 | 0.010299 | 0.99389 | -0.11714 | 0.99387 | -0.11756 | 2.8295
45 | 0.006425 | 0.0016103 | -0.0064246 | -0.0016102 | 3.6809e-07 | 9.8126e-08 | 0.0096195 | 0.0096196 | 0.0096196 | 0.99387 | -0.11756 | 0.9938 | -0.11876 | 2.6427
46 | 0.0064246 | 0.0016102 | -0.0064244 | -0.0016101 | 2.6078e-07 | 6.9529e-08 | 0.0096196 | 0.0096196 | 0.0096196 | 0.9938 | -0.11876 | 0.99376 | -0.11961 | 2.6427
47 | 0.0064244 | 0.0016101 | -0.0064234 | -0.0016099 | 9.2451e-07 | 2.4657e-07 | 0.0096196 | 0.0096197 | 0.0096197 | 0.99376 | -0.11961 | 0.9936 | -0.12264 | 2.6428
48 | 0.012767 | 0.0032096 | -0.012739 | -0.0031946 | 2.7331e-05 | 1.4951e-05 | 0.019187 | 0.019188 | 0.019188 | 0.99029 | -0.18679 | 0.98797 | -0.23172 | 5.2714
49 | 0.010014 | 0.0025117 | -0.01001 | -0.0025095 | 4.5254e-06 | 2.2174e-06 | 0.015084 | 0.015084 | 0.015084 | 0.98797 | -0.23172 | 0.98748 | -0.2412 | 4.144
50 | 0.007141 | 0.0017904 | -0.0071318 | -0.0017872 | 9.2086e-06 | 3.1846e-06 | 0.010761 | 0.010762 | 0.010762 | 0.98748 | -0.2412 | 0.98609 | -0.26828 | 2.9565
51 | 0.00099787 | 0.00024993 | -0.00099786 | -0.00025009 | 1.0759e-08 | -1.5454e-07 | 0.0015057 | 0.0015058 | 0.0015058 | 0.98609 | -0.26828 | 0.98608 | -0.26851 | 0.41368
52 | 0.031894 | 0.0080007 | -0.03189 | -0.0079981 | 4.173e-06 | 2.607e-06 | 0.047662 | 0.047662 | 0.047662 | 0.99578 | -0.08114 | 0.99564 | -0.083885 | 13.0941
53 | 0.026641 | 0.0066828 | -0.026626 | -0.0066732 | 1.5587e-05 | 9.635e-06 | 0.039819 | 0.039819 | 0.039819 | 0.99564 | -0.083885 | 0.995 | -0.096166 | 10.9393
54 | 0.018455 | 0.0046254 | -0.018455 | -0.0046253 | 1.1295e-07 | 6.7153e-08 | 0.0276 | 0.0276 | 0.0276 | 0.995 | -0.096166 | 0.99499 | -0.096294 | 7.5823
55 | 0.010371 | 0.0025994 | -0.010371 | -0.0025993 | 2.1292e-07 | 1.0562e-07 | 0.01551 | 0.01551 | 0.01551 | 0.99499 | -0.096294 | 0.99497 | -0.096725 | 4.2611

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.27081 | 0.068017

## res_load
| p_mw | q_mvar
0 | 0.0044248 | 0.001109
1 | 0.0044876 | 0.0011247
2 | 0.017547 | 0.0043978
3 | 0.0063926 | 0.0016021
4 | 0.015142 | 0.0037948
5 | 0.00794 | 0.00199
6 | 0.0063896 | 0.0016014
7 | 0.0060567 | 0.0015179
8 | 0.0078743 | 0.0019735
9 | 0.012588 | 0.0031548
10 | 0.00041417 | 0.0001038
11 | 0.0060576 | 0.0015182
12 | 0.016351 | 0.0040978
13 | 0.012588 | 0.0031548
14 | 0.0021384 | 0.00053593
15 | 0.010539 | 0.0026414
16 | 0.0039934 | 0.0010008
17 | 0.0051416 | 0.0012886
18 | 0.0017776 | 0.00044551
19 | 0.0057226 | 0.0014342
20 | 0.0073931 | 0.0018529
21 | 0.010371 | 0.0025992
22 | 0.0028197 | 0.00070668
23 | 0.008049 | 0.0020173
24 | 0.0082714 | 0.002073
25 | 0.00067315 | 0.00016871
26 | 0.0026859 | 0.00067315
27 | 0.0087673 | 0.0021973
28 | 0.00077138 | 0.00019333
29 | 0.00045416 | 0.00011382
30 | 0.0064234 | 0.0016099
31 | 0.0053928 | 0.0013516
32 | 0.0027249 | 0.00068293
33 | 0.002869 | 0.00071904
34 | 0.0061339 | 0.0015373
35 | 0.00099786 | 0.00025009
36 | 0.0029309 | 0.00073456
37 | 0.0052482 | 0.0013153
38 | 0.0081708 | 0.0020478
39 | 0.0080836 | 0.0020259
40 | 0.010371 | 0.0025993
41 | 0.0045042 | 0.0011289

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1