## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1323-6_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1323-6_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1323-6_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1323-6_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1323-6_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1323-6_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1323-6_0_5_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_1323-6_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_1323-6_0_5_node_64 | 0.4 | n |  | TRUE
9 | bus_LV_1323-6_0_5_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_1323-6_0_5_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_1323-6_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1323-6_0_5_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_1323-6_0_5_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_1323-6_0_5_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_1323-6_0_5_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1323-6_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1323-6_0_5_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1323-6_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1323-6_0_5_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1323-6_0_5_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_1323-6_0_5_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1323-6_0_5_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_1323-6_0_5_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_1323-6_0_5_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_1323-6_0_5_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_1323-6_0_5_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_1323-6_0_5_node_41 | 0.4 | n |  | TRUE
28 | bus_LV_1323-6_0_5_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_1323-6_0_5_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_1323-6_0_5_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_1323-6_0_5_node_59 | 0.4 | n |  | TRUE
32 | bus_LV_1323-6_0_5_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_1323-6_0_5_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_1323-6_0_5_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_1323-6_0_5_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_1323-6_0_5_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_1323-6_0_5_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_1323-6_0_5_node_54 | 0.4 | n |  | TRUE
39 | bus_LV_1323-6_0_5_node_56 | 0.4 | n |  | TRUE
40 | bus_LV_1323-6_0_5_node_58 | 0.4 | n |  | TRUE
41 | bus_LV_1323-6_0_5_node_52 | 0.4 | n |  | TRUE
42 | bus_LV_1323-6_0_5_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_1323-6_0_5_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_1323-6_0_5_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_1323-6_0_5_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_1323-6_0_5_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_1323-6_0_5_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_1323-6_0_5_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_1323-6_0_5_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_1323-6_0_5_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_1323-6_0_5_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_1323-6_0_5_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_1323-6_0_5_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_1323-6_0_5_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_1323-6_0_5_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_1323-6_0_5_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_1323-6_0_5_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_1323-6_0_5_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_1323-6_0_5_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_1323-6_0_5_node_50 | 0.4 | n |  | TRUE
61 | bus_MV_15_0_node_159 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1323-6_0_5_load_0 | 0 | 0.065795 | 0.01649 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1323-6_0_5_load_5 | 4 | 0.0088878 | 0.0022275 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1323-6_0_5_load_6 | 5 | 0.0048794 | 0.0012229 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1323-6_0_5_load_64 | 8 | 0.038408 | 0.0096259 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1323-6_0_5_load_9 | 11 | 0.011417 | 0.0028614 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1323-6_0_5_load_27 | 12 | 0.0059037 | 0.0014796 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1323-6_0_5_load_24 | 13 | 0.0065596 | 0.001644 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1323-6_0_5_load_7 | 14 | 0.017764 | 0.0044522 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1323-6_0_5_load_8 | 15 | 0.0079242 | 0.001986 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1323-6_0_5_load_12 | 17 | 0.032264 | 0.0080862 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1323-6_0_5_load_14 | 19 | 0.0082545 | 0.0020688 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1323-6_0_5_load_19 | 20 | 0.013682 | 0.0034291 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1323-6_0_5_load_17 | 21 | 0.014916 | 0.0037382 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1323-6_0_5_load_28 | 22 | 0.0080499 | 0.0020175 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1323-6_0_5_load_15 | 23 | 0.007816 | 0.0019589 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1323-6_0_5_load_16 | 24 | 0.038734 | 0.0097078 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1323-6_0_5_load_21 | 25 | 0.067491 | 0.016915 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1323-6_0_5_load_40 | 26 | 0.0015201 | 0.00038097 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1323-6_0_5_load_41 | 27 | 0.0015201 | 0.00038097 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1323-6_0_5_load_22 | 28 | 0.00093488 | 0.0002343 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1323-6_0_5_load_25 | 30 | 0.0037586 | 0.00094198 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1323-6_0_5_load_59 | 31 | 0.00070902 | 0.0001777 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1323-6_0_5_load_60 | 32 | 0.0015773 | 0.0003953 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1323-6_0_5_load_34 | 34 | 0.0079089 | 0.0019822 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1323-6_0_5_load_32 | 36 | 0.018603 | 0.0046623 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1323-6_0_5_load_33 | 37 | 0.0042501 | 0.0010652 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1323-6_0_5_load_56 | 39 | 0.0035492 | 0.00088951 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1323-6_0_5_load_58 | 40 | 0.001961 | 0.00049148 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1323-6_0_5_load_57 | 42 | 0.0035586 | 0.00089187 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1323-6_0_5_load_35 | 43 | 0.0043867 | 0.0010994 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1323-6_0_5_load_36 | 44 | 0.0063656 | 0.0015954 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1323-6_0_5_load_37 | 45 | 0.011142 | 0.0027923 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1323-6_0_5_load_38 | 46 | 0.0055193 | 0.0013833 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1323-6_0_5_load_39 | 47 | 0.011346 | 0.0028435 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1323-6_0_5_load_61 | 49 | 0.0016168 | 0.00040521 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1323-6_0_5_load_51 | 51 | 0.0039992 | 0.0010023 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1323-6_0_5_load_42 | 52 | 0.0026992 | 0.00067648 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1323-6_0_5_load_43 | 53 | 0.004599 | 0.0011526 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1323-6_0_5_load_48 | 57 | 0.0059136 | 0.0014821 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1323-6_0_5_load_62 | 58 | 0.02436 | 0.0061052 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1323-6_0_5_load_49 | 59 | 0.0043235 | 0.0010836 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1323-6_0_5_load_50 | 60 | 0.0046608 | 0.0011681 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1323-6_0_5_line_0 |  | 0 | 1 | 0.049654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1323-6_0_5_line_1 |  | 0 | 2 | 0.053992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1323-6_0_5_line_2 |  | 1 | 3 | 0.00613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1323-6_0_5_line_3 |  | 2 | 4 | 0.014359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1323-6_0_5_line_4 |  | 2 | 5 | 0.059706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1323-6_0_5_line_5 |  | 3 | 6 | 0.003586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1323-6_0_5_line_6 |  | 6 | 10 | 0.013894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_1323-6_0_5_line_7 |  | 6 | 11 | 0.036116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1323-6_0_5_line_8 |  | 7 | 8 | 0.031924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1323-6_0_5_line_9 |  | 7 | 9 | 0.0161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1323-6_0_5_line_10 |  | 9 | 12 | 0.016897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1323-6_0_5_line_11 |  | 9 | 13 | 0.023197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1323-6_0_5_line_12 |  | 10 | 22 | 0.0055094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_1323-6_0_5_line_13 |  | 11 | 14 | 0.021667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1323-6_0_5_line_14 |  | 12 | 33 | 0.0098883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_1323-6_0_5_line_15 |  | 13 | 29 | 0.027205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1323-6_0_5_line_16 |  | 14 | 15 | 0.029752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1323-6_0_5_line_17 |  | 15 | 16 | 0.032997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1323-6_0_5_line_18 |  | 16 | 17 | 0.032976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1323-6_0_5_line_19 |  | 16 | 18 | 0.034041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1323-6_0_5_line_20 |  | 17 | 19 | 0.019353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1323-6_0_5_line_21 |  | 18 | 20 | 0.025103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1323-6_0_5_line_22 |  | 18 | 21 | 0.014995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1323-6_0_5_line_23 |  | 19 | 23 | 0.01439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1323-6_0_5_line_24 |  | 21 | 24 | 0.019241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1323-6_0_5_line_25 |  | 22 | 35 | 0.012164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_1323-6_0_5_line_26 |  | 25 | 26 | 0.055156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1323-6_0_5_line_27 |  | 26 | 27 | 0.0068105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1323-6_0_5_line_28 |  | 27 | 41 | 0.0051666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1323-6_0_5_line_29 |  | 28 | 29 | 0.0093935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1323-6_0_5_line_30 |  | 29 | 30 | 0.0078528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1323-6_0_5_line_31 |  | 30 | 31 | 0.015731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1323-6_0_5_line_32 |  | 31 | 32 | 0.01476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1323-6_0_5_line_33 |  | 32 | 49 | 0.019603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1323-6_0_5_line_34 |  | 33 | 34 | 0.017743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_1323-6_0_5_line_35 |  | 34 | 39 | 0.0047376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_1323-6_0_5_line_36 |  | 35 | 36 | 0.03906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1323-6_0_5_line_37 |  | 35 | 37 | 0.011156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_1323-6_0_5_line_38 |  | 37 | 38 | 0.017648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_1323-6_0_5_line_39 |  | 38 | 40 | 0.018229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_1323-6_0_5_line_40 |  | 38 | 41 | 0.007462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1323-6_0_5_line_41 |  | 39 | 42 | 0.0048351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_1323-6_0_5_line_42 |  | 40 | 42 | 0.010109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_1323-6_0_5_line_43 |  | 41 | 51 | 0.012513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1323-6_0_5_line_44 |  | 43 | 44 | 0.023612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1323-6_0_5_line_45 |  | 43 | 45 | 0.0061125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1323-6_0_5_line_46 |  | 44 | 46 | 0.013934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1323-6_0_5_line_47 |  | 45 | 47 | 0.023849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1323-6_0_5_line_48 |  | 47 | 48 | 0.038237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1323-6_0_5_line_49 |  | 48 | 49 | 0.030036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1323-6_0_5_line_50 |  | 48 | 50 | 0.016001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1323-6_0_5_line_51 |  | 50 | 53 | 0.014091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1323-6_0_5_line_52 |  | 52 | 53 | 0.016435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1323-6_0_5_line_53 |  | 52 | 54 | 0.0048598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1323-6_0_5_line_54 |  | 54 | 55 | 0.009056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1323-6_0_5_line_55 |  | 54 | 56 | 0.01247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1323-6_0_5_line_56 |  | 55 | 57 | 0.013681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1323-6_0_5_line_57 |  | 56 | 58 | 0.057704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1323-6_0_5_line_58 |  | 57 | 59 | 0.076281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1323-6_0_5_line_59 |  | 59 | 60 | 0.015311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1323-6_0_5_trafo_30 | 0.63 MVA 20/0.4 kV | 61 | 35 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2697235.9576 | 1227845.2632 | 2697247.3682 | 1227856.1353 | 2697245.8896 | 1227858.0348 | 2697232.3813 | 1227853.0771 | 2697230.4601 | 1227852.3785 | 2697227.3125 | 1227855.2958 | 2697228.3842 | 1227856.5031 | 2697234.4544 | 1227863.3445
1 | 2697233.2065 | 1227903.6493 | 2697246.5117 | 1227889.968 | 2697250.777 | 1227885.9014 | 2697251.1407 | 1227881.7377 | 2697238.2149 | 1227867.5829 | 2697234.4544 | 1227863.3445
2 | 2697230.7199 | 1227842.0531 | 2697235.9576 | 1227845.2632
3 | 2697233.2065 | 1227903.6493 | 2697222.4182 | 1227894.1729
4 | 2697233.2065 | 1227903.6493 | 2697240.4166 | 1227909.9828 | 2697260.784 | 1227918.6331 | 2697279.6329 | 1227920.0312 | 2697287.7282 | 1227924.1443
5 | 2697232.6115 | 1227839.004 | 2697230.7199 | 1227842.0531
6 | 2697232.6115 | 1227839.004 | 2697236.0047 | 1227838.2144 | 2697240.2079 | 1227828.6763
7 | 2697232.6115 | 1227839.004 | 2697221.4763 | 1227833.5292 | 2697202.3086 | 1227819.5765
8 | 2697266.2283 | 1227860.1021 | 2697281.1795 | 1227872.7556 | 2697282.9169 | 1227878.6661 | 2697278.4875 | 1227883.0302
9 | 2697280.3103 | 1227852.2266 | 2697266.2283 | 1227860.1021
10 | 2697280.3103 | 1227852.2266 | 2697272.8847 | 1227847.0125 | 2697266.0815 | 1227843.1488
11 | 2697280.3103 | 1227852.2266 | 2697296.7501 | 1227863.7593 | 2697299.8621 | 1227863.9133
12 | 2697240.2079 | 1227828.6763 | 2697239.5508 | 1227823.2062
13 | 2697202.3086 | 1227819.5765 | 2697201.553 | 1227819.0265 | 2697185.281 | 1227831.8733
14 | 2697257.4831 | 1227838.2655 | 2697266.0815 | 1227843.1488
15 | 2697327.0344 | 1227865.2557 | 2697315.5614 | 1227864.6899 | 2697299.8621 | 1227863.9133
16 | 2697185.281 | 1227831.8733 | 2697182.0426 | 1227834.43 | 2697165.9735 | 1227843.7854 | 2697159.3343 | 1227846.1009 | 2697159.3343 | 1227846.1009
17 | 2697137.0574 | 1227831.838 | 2697150.3936 | 1227829.2427 | 2697153.1364 | 1227833.0014 | 2697156.3715 | 1227842.8168 | 2697159.3343 | 1227846.1009
18 | 2697137.0574 | 1227831.838 | 2697139.4195 | 1227844.519 | 2697140.8785 | 1227860.0541 | 2697140.9094 | 1227864.5274
19 | 2697126.711 | 1227799.4123 | 2697134.177 | 1227821.6503 | 2697136.62 | 1227830.3075 | 2697137.0574 | 1227831.838
20 | 2697140.9094 | 1227864.5274 | 2697140.9595 | 1227871.7972 | 2697139.9016 | 1227883.1993 | 2697139.7841 | 1227883.8204
21 | 2697126.711 | 1227799.4123 | 2697122.6061 | 1227785.3129 | 2697120.7809 | 1227775.0563
22 | 2697126.711 | 1227799.4123 | 2697118.1856 | 1227801.6637 | 2697112.4348 | 1227803.9187
23 | 2697136.7912 | 1227897.885 | 2697137.8028 | 1227894.2952 | 2697139.7841 | 1227883.8204
24 | 2697094.4987 | 1227810.882 | 2697096.9797 | 1227809.9791 | 2697112.4348 | 1227803.9187
25 | 2697238.0999 | 1227811.1291 | 2697239.5508 | 1227823.2062
26 | 2697184.6674 | 1227764.9181 | 2697223.5879 | 1227773.4648 | 2697238.751 | 1227775.5655
27 | 2697238.751 | 1227775.5655 | 2697245.497 | 1227776.5002
28 | 2697250.6147 | 1227777.2092 | 2697245.497 | 1227776.5002
29 | 2697327.0344 | 1227865.2557 | 2697332.0263 | 1227873.213
30 | 2697327.0344 | 1227865.2557 | 2697324.9581 | 1227857.6824
31 | 2697320.7989 | 1227842.5116 | 2697324.9581 | 1227857.6824
32 | 2697320.7989 | 1227842.5116 | 2697319.7036 | 1227838.5165 | 2697317.3239 | 1227828.1695
33 | 2697317.3239 | 1227828.1695 | 2697313.3992 | 1227811.1047 | 2697313.2142 | 1227809.02
34 | 2697257.4831 | 1227838.2655 | 2697257.5214 | 1227820.5229
35 | 2697257.5214 | 1227820.5229 | 2697257.5316 | 1227815.7853
36 | 2697238.0999 | 1227811.1291 | 2697234.2451 | 1227811.4108 | 2697211.2546 | 1227793.5111 | 2697206.1249 | 1227793.4272 | 2697205.4112 | 1227794.0194
37 | 2697238.0999 | 1227811.1291 | 2697239.2576 | 1227805.2216 | 2697241.2842 | 1227800.5026
38 | 2697248.2479 | 1227784.2867 | 2697241.2842 | 1227800.5026
39 | 2697248.2479 | 1227784.2867 | 2697252.613 | 1227800.5365 | 2697253.2088 | 1227801.807
40 | 2697248.2479 | 1227784.2867 | 2697250.6147 | 1227777.2092
41 | 2697257.5316 | 1227815.7853 | 2697257.5418 | 1227811.0469 | 2697257.5008 | 1227810.9593
42 | 2697257.5008 | 1227810.9593 | 2697253.2088 | 1227801.807
43 | 2697250.6147 | 1227777.2092 | 2697263.0528 | 1227778.5769
44 | 2697378.5937 | 1227776.9731 | 2697402.0864 | 1227779.3482
45 | 2697378.5937 | 1227776.9731 | 2697372.5122 | 1227776.3582
46 | 2697415.95 | 1227780.7499 | 2697415.95 | 1227780.7499 | 2697402.0864 | 1227779.3482
47 | 2697348.7261 | 1227776.812 | 2697366.4715 | 1227775.7475 | 2697372.5122 | 1227776.3582
48 | 2697310.5579 | 1227779.1018 | 2697348.7261 | 1227776.812
49 | 2697310.5579 | 1227779.1018 | 2697313.2142 | 1227809.02
50 | 2697297.382 | 1227770.5023 | 2697305.0925 | 1227777.3 | 2697310.5579 | 1227779.1018
51 | 2697297.382 | 1227770.5023 | 2697303.051 | 1227761.255 | 2697303.4794 | 1227758.0392
52 | 2697301.7764 | 1227742.2209 | 2697304.6236 | 1227749.45 | 2697303.4794 | 1227758.0392
53 | 2697299.9955 | 1227737.6991 | 2697301.7764 | 1227742.2209
54 | 2697299.9955 | 1227737.6991 | 2697305.7417 | 1227730.6881
55 | 2697291.8511 | 1227728.2369 | 2697299.9955 | 1227737.6991
56 | 2697305.7417 | 1227730.6881 | 2697318.3275 | 1227725.3233
57 | 2697291.8511 | 1227728.2369 | 2697275.3092 | 1227716.4357 | 2697258.5205 | 1227700.7165 | 2697250.451 | 1227695.9367 | 2697245.7051 | 1227694.3453
58 | 2697318.3275 | 1227725.3233 | 2697325.0596 | 1227722.4536 | 2697348.7756 | 1227716.4039 | 2697368.6262 | 1227718.2301 | 2697392.3092 | 1227724.7063
59 | 2697407.0779 | 1227728.7448 | 2697392.3092 | 1227724.7063

## bus_geodata
| x | y | coords
0 | 2697234.4544 | 1227863.3445
1 | 2697235.9576 | 1227845.2632
2 | 2697233.2065 | 1227903.6493
3 | 2697230.7199 | 1227842.0531
4 | 2697222.4182 | 1227894.1729
5 | 2697287.7282 | 1227924.1443
6 | 2697232.6115 | 1227839.004
7 | 2697266.2283 | 1227860.1021
8 | 2697278.4875 | 1227883.0302
9 | 2697280.3103 | 1227852.2266
10 | 2697240.2079 | 1227828.6763
11 | 2697202.3086 | 1227819.5765
12 | 2697266.0815 | 1227843.1488
13 | 2697299.8621 | 1227863.9133
14 | 2697185.281 | 1227831.8733
15 | 2697159.3343 | 1227846.1009
16 | 2697137.0574 | 1227831.838
17 | 2697140.9094 | 1227864.5274
18 | 2697126.711 | 1227799.4123
19 | 2697139.7841 | 1227883.8204
20 | 2697120.7809 | 1227775.0563
21 | 2697112.4348 | 1227803.9187
22 | 2697239.5508 | 1227823.2062
23 | 2697136.7912 | 1227897.885
24 | 2697094.4987 | 1227810.882
25 | 2697184.6674 | 1227764.9181
26 | 2697238.751 | 1227775.5655
27 | 2697245.497 | 1227776.5002
28 | 2697332.0263 | 1227873.213
29 | 2697327.0344 | 1227865.2557
30 | 2697324.9581 | 1227857.6824
31 | 2697320.7989 | 1227842.5116
32 | 2697317.3239 | 1227828.1695
33 | 2697257.4831 | 1227838.2655
34 | 2697257.5214 | 1227820.5229
35 | 2697238.0999 | 1227811.1291
36 | 2697205.4112 | 1227794.0194
37 | 2697241.2842 | 1227800.5026
38 | 2697248.2479 | 1227784.2867
39 | 2697257.5316 | 1227815.7853
40 | 2697253.2088 | 1227801.807
41 | 2697250.6147 | 1227777.2092
42 | 2697257.5008 | 1227810.9593
43 | 2697378.5937 | 1227776.9731
44 | 2697402.0864 | 1227779.3482
45 | 2697372.5122 | 1227776.3582
46 | 2697415.95 | 1227780.7499
47 | 2697348.7261 | 1227776.812
48 | 2697310.5579 | 1227779.1018
49 | 2697313.2142 | 1227809.02
50 | 2697297.382 | 1227770.5023
51 | 2697263.0528 | 1227778.5769
52 | 2697301.7764 | 1227742.2209
53 | 2697303.4794 | 1227758.0392
54 | 2697299.9955 | 1227737.6991
55 | 2697305.7417 | 1227730.6881
56 | 2697291.8511 | 1227728.2369
57 | 2697318.3275 | 1227725.3233
58 | 2697245.7051 | 1227694.3453
59 | 2697392.3092 | 1227724.7063
60 | 2697407.0779 | 1227728.7448
61 | 2697240.2079 | 1227828.6763

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99227 | -0.14826 | 0.065795 | 0.01649
1 | 0.99588 | -0.078572 | 0 | 0
2 | 0.99159 | -0.16143 | 0 | 0
3 | 0.99632 | -0.070004 | 0 | 0
4 | 0.99147 | -0.16369 | 0.0088878 | 0.0022275
5 | 0.99132 | -0.16659 | 0.0048794 | 0.0012229
6 | 0.99659 | -0.064995 | 0 | 0
7 | 0.98946 | -0.20107 | 0 | 0
8 | 0.98833 | -0.22292 | 0.038408 | 0.0096259
9 | 0.99003 | -0.19007 | 0 | 0
10 | 0.99807 | -0.036711 | 0 | 0
11 | 0.99404 | -0.11354 | 0.011417 | 0.0028614
12 | 0.9922 | -0.14843 | 0.0059037 | 0.0014796
13 | 0.98786 | -0.23161 | 0.0065596 | 0.001644
14 | 0.99263 | -0.14059 | 0.017764 | 0.0044522
15 | 0.98924 | -0.20586 | 0.0079242 | 0.001986
16 | 0.98572 | -0.27408 | 0 | 0
17 | 0.98425 | -0.30272 | 0.032264 | 0.0080862
18 | 0.98361 | -0.31529 | 0 | 0
19 | 0.98397 | -0.30831 | 0.0082545 | 0.0020688
20 | 0.98329 | -0.32148 | 0.013682 | 0.0034291
21 | 0.98286 | -0.32979 | 0.014916 | 0.0037382
22 | 0.99866 | -0.025518 | 0.0080499 | 0.0020175
23 | 0.98386 | -0.31034 | 0.007816 | 0.0019589
24 | 0.98218 | -0.34325 | 0.038734 | 0.0097078
25 | 0.99217 | -0.15003 | 0.067491 | 0.016915
26 | 0.99557 | -0.084343 | 0.0015201 | 0.00038097
27 | 0.996 | -0.076082 | 0.0015201 | 0.00038097
28 | 0.98548 | -0.27752 | 0.00093488 | 0.0002343
29 | 0.98549 | -0.27736 | 0 | 0
30 | 0.98481 | -0.29047 | 0.0037586 | 0.00094198
31 | 0.9835 | -0.31573 | 0.00070902 | 0.0001777
32 | 0.98229 | -0.3393 | 0.0015773 | 0.0003953
33 | 0.99286 | -0.13576 | 0 | 0
34 | 0.99405 | -0.11307 | 0.0079089 | 0.0019822
35 | 1 | 0 | -0.50705 | -0.12894
36 | 0.99934 | -0.012673 | 0.018603 | 0.0046623
37 | 0.99876 | -0.023416 | 0.0042501 | 0.0010652
38 | 0.99684 | -0.059921 | 0 | 0
39 | 0.99438 | -0.10669 | 0.0035492 | 0.00088951
40 | 0.99548 | -0.08582 | 0.001961 | 0.00049148
41 | 0.99634 | -0.069681 | 0 | 0
42 | 0.99473 | -0.10004 | 0.0035586 | 0.00089187
43 | 0.97625 | -0.45749 | 0.0043867 | 0.0010994
44 | 0.97599 | -0.46263 | 0.0063656 | 0.0015954
45 | 0.97634 | -0.45567 | 0.011142 | 0.0027923
46 | 0.97591 | -0.46403 | 0.0055193 | 0.0013833
47 | 0.97695 | -0.44373 | 0.011346 | 0.0028435
48 | 0.97832 | -0.4167 | 0 | 0
49 | 0.9807 | -0.37014 | 0.0016168 | 0.00040521
50 | 0.97763 | -0.43028 | 0 | 0
51 | 0.99629 | -0.07056 | 0.0039992 | 0.0010023
52 | 0.97638 | -0.45485 | 0.0026992 | 0.00067648
53 | 0.97702 | -0.44225 | 0.004599 | 0.0011526
54 | 0.9762 | -0.45834 | 0 | 0
55 | 0.97608 | -0.46081 | 0 | 0
56 | 0.97592 | -0.4639 | 0 | 0
57 | 0.97589 | -0.46454 | 0.0059136 | 0.0014821
58 | 0.97461 | -0.48966 | 0.02436 | 0.0061052
59 | 0.97525 | -0.47709 | 0.0043235 | 0.0010836
60 | 0.97518 | -0.4784 | 0.0046608 | 0.0011681
61 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.079573 | -0.019945 | 0.079838 | 0.020115 | 0.00026514 | 0.00016905 | 0.11933 | 0.11933 | 0.11933 | 0.99227 | -0.14826 | 0.99588 | -0.078572 | 32.7829
1 | 0.013778 | 0.0034557 | -0.013769 | -0.0034508 | 8.6444e-06 | 4.8355e-06 | 0.020663 | 0.020663 | 0.020663 | 0.99227 | -0.14826 | 0.99159 | -0.16143 | 5.6766
2 | -0.079838 | -0.020115 | 0.079871 | 0.020135 | 3.2733e-05 | 2.0869e-05 | 0.11933 | 0.11933 | 0.11933 | 0.99588 | -0.078572 | 0.99632 | -0.070004 | 32.7829
3 | 0.0088888 | 0.0022279 | -0.0088878 | -0.0022275 | 9.581e-07 | 4.2798e-07 | 0.013339 | 0.013339 | 0.013339 | 0.99159 | -0.16143 | 0.99147 | -0.16369 | 3.6646
4 | 0.0048806 | 0.0012229 | -0.0048794 | -0.0012229 | 1.201e-06 | -1.3187e-09 | 0.0073239 | 0.0073242 | 0.0073242 | 0.99159 | -0.16143 | 0.99132 | -0.16659 | 2.0121
5 | -0.079871 | -0.020135 | 0.07989 | 0.020148 | 1.9149e-05 | 1.2208e-05 | 0.11933 | 0.11933 | 0.11933 | 0.99632 | -0.070004 | 0.99659 | -0.064995 | 32.7829
6 | -0.23425 | -0.059446 | 0.23457 | 0.05965 | 0.00031916 | 0.0002039 | 0.35002 | 0.35002 | 0.35002 | 0.99659 | -0.064995 | 0.99807 | -0.036711 | 48.0796
7 | 0.15436 | 0.039298 | -0.154 | -0.039069 | 0.00036038 | 0.00022971 | 0.23069 | 0.23069 | 0.23069 | 0.99659 | -0.064995 | 0.99404 | -0.11354 | 31.6883
8 | 0.038448 | 0.0096511 | -0.038408 | -0.0096259 | 4.0031e-05 | 2.521e-05 | 0.057826 | 0.057826 | 0.057826 | 0.98946 | -0.20107 | 0.98833 | -0.22292 | 15.8862
9 | -0.038448 | -0.0096511 | 0.038468 | 0.0096638 | 2.0188e-05 | 1.2714e-05 | 0.057826 | 0.057826 | 0.057826 | 0.98946 | -0.20107 | 0.99003 | -0.19007 | 15.8862
10 | -0.14015 | -0.035611 | 0.14043 | 0.035791 | 0.00028161 | 0.00018001 | 0.21081 | 0.21081 | 0.21081 | 0.99003 | -0.19007 | 0.9922 | -0.14843 | 57.9159
11 | 0.10168 | 0.025947 | -0.10147 | -0.025817 | 0.00020361 | 0.00013001 | 0.15299 | 0.15299 | 0.15299 | 0.99003 | -0.19007 | 0.98786 | -0.23161 | 42.0299
12 | -0.23457 | -0.05965 | 0.23469 | 0.059731 | 0.00012656 | 8.0853e-05 | 0.35002 | 0.35002 | 0.35002 | 0.99807 | -0.036711 | 0.99866 | -0.025518 | 48.0796
13 | 0.14258 | 0.036207 | -0.14239 | -0.036089 | 0.00018535 | 0.00011806 | 0.2136 | 0.2136 | 0.2136 | 0.99404 | -0.11354 | 0.99263 | -0.14059 | 29.3407
14 | -0.14633 | -0.03727 | 0.14642 | 0.037327 | 8.9466e-05 | 5.7003e-05 | 0.21967 | 0.21967 | 0.21967 | 0.9922 | -0.14843 | 0.99286 | -0.13576 | 30.1741
15 | 0.094915 | 0.024173 | -0.094706 | -0.024039 | 0.00020894 | 0.00013337 | 0.14311 | 0.14311 | 0.14311 | 0.98786 | -0.23161 | 0.98549 | -0.27736 | 39.3154
16 | 0.12463 | 0.031637 | -0.12424 | -0.031388 | 0.00039002 | 0.00024923 | 0.18697 | 0.18697 | 0.18697 | 0.99263 | -0.14059 | 0.98924 | -0.20586 | 51.3656
17 | 0.11632 | 0.029402 | -0.11594 | -0.02916 | 0.00037918 | 0.00024225 | 0.17505 | 0.17505 | 0.17505 | 0.98924 | -0.20586 | 0.98572 | -0.27408 | 48.091
18 | 0.048406 | 0.012158 | -0.04834 | -0.012117 | 6.6046e-05 | 4.1849e-05 | 0.073081 | 0.073082 | 0.073082 | 0.98572 | -0.27408 | 0.98425 | -0.30272 | 20.0774
19 | 0.067531 | 0.017001 | -0.067398 | -0.016917 | 0.00013273 | 8.4516e-05 | 0.10197 | 0.10197 | 0.10197 | 0.98572 | -0.27408 | 0.98361 | -0.31529 | 28.0138
20 | 0.016076 | 0.0040304 | -0.016071 | -0.0040279 | 4.2868e-06 | 2.4977e-06 | 0.024304 | 0.024304 | 0.024304 | 0.98425 | -0.30272 | 0.98397 | -0.30831 | 6.6769
21 | 0.013686 | 0.0034314 | -0.013682 | -0.0034291 | 4.0357e-06 | 2.2643e-06 | 0.020705 | 0.020705 | 0.020705 | 0.98361 | -0.31529 | 0.98329 | -0.32148 | 5.6883
22 | 0.053712 | 0.013485 | -0.053675 | -0.013462 | 3.7135e-05 | 2.3576e-05 | 0.081265 | 0.081265 | 0.081265 | 0.98361 | -0.31529 | 0.98286 | -0.32979 | 22.3255
23 | 0.0078167 | 0.0019592 | -0.007816 | -0.0019589 | 7.5406e-07 | 2.9983e-07 | 0.011821 | 0.011821 | 0.011821 | 0.98397 | -0.30831 | 0.98386 | -0.31034 | 3.2475
24 | 0.038759 | 0.0097234 | -0.038734 | -0.0097078 | 2.4848e-05 | 1.5659e-05 | 0.058683 | 0.058683 | 0.058683 | 0.98286 | -0.32979 | 0.98218 | -0.34325 | 16.1218
25 | -0.24274 | -0.061748 | 0.24304 | 0.061939 | 0.0002989 | 0.00019098 | 0.36201 | 0.36201 | 0.36201 | 0.99866 | -0.025518 | 1 | 0 | 49.7272
26 | -0.067491 | -0.016915 | 0.067703 | 0.01705 | 0.00021191 | 0.00013491 | 0.10122 | 0.10122 | 0.10122 | 0.99217 | -0.15003 | 0.99557 | -0.084343 | 27.8076
27 | -0.069223 | -0.017431 | 0.06925 | 0.017448 | 2.7354e-05 | 1.7418e-05 | 0.10349 | 0.10349 | 0.10349 | 0.99557 | -0.084343 | 0.996 | -0.076082 | 28.4317
28 | -0.07077 | -0.017829 | 0.070792 | 0.017843 | 2.1672e-05 | 1.3803e-05 | 0.10576 | 0.10576 | 0.10576 | 0.996 | -0.076082 | 0.99634 | -0.069681 | 29.0556
29 | -0.00093488 | -0.0002343 | 0.00093488 | 0.00023419 | 7.019e-09 | -1.1519e-07 | 0.0014116 | 0.0014116 | 0.0014116 | 0.98548 | -0.27752 | 0.98549 | -0.27736 | 0.38781
30 | 0.093771 | 0.023805 | -0.093712 | -0.023767 | 5.9125e-05 | 3.774e-05 | 0.1417 | 0.1417 | 0.1417 | 0.98549 | -0.27736 | 0.98481 | -0.29047 | 38.9276
31 | 0.089953 | 0.022825 | -0.089844 | -0.022756 | 0.00010914 | 6.9647e-05 | 0.13602 | 0.13602 | 0.13602 | 0.98481 | -0.29047 | 0.9835 | -0.31573 | 37.3675
32 | 0.089135 | 0.022578 | -0.089034 | -0.022514 | 0.00010079 | 6.4319e-05 | 0.13494 | 0.13494 | 0.13494 | 0.9835 | -0.31573 | 0.98229 | -0.3393 | 37.0728
33 | 0.087457 | 0.022118 | -0.087328 | -0.022036 | 0.00012917 | 8.242e-05 | 0.13256 | 0.13256 | 0.13256 | 0.98229 | -0.3393 | 0.9807 | -0.37014 | 36.4164
34 | -0.14642 | -0.037327 | 0.14658 | 0.037429 | 0.00016053 | 0.00010228 | 0.21967 | 0.21967 | 0.21967 | 0.99286 | -0.13576 | 0.99405 | -0.11307 | 30.1741
35 | -0.15449 | -0.039412 | 0.15454 | 0.039442 | 4.7609e-05 | 3.0347e-05 | 0.23151 | 0.23151 | 0.23151 | 0.99405 | -0.11307 | 0.99438 | -0.10669 | 31.8003
36 | 0.018614 | 0.004669 | -0.018603 | -0.0046623 | 1.1238e-05 | 6.6804e-06 | 0.027699 | 0.027699 | 0.027699 | 1 | 0 | 0.99934 | -0.012673 | 7.6097
37 | 0.24375 | 0.062327 | -0.24347 | -0.062151 | 0.00027583 | 0.00017624 | 0.36314 | 0.36314 | 0.36314 | 1 | 0 | 0.99876 | -0.023416 | 49.8816
38 | 0.23922 | 0.061085 | -0.2388 | -0.060816 | 0.00042127 | 0.00026915 | 0.35681 | 0.35681 | 0.35681 | 0.99876 | -0.023416 | 0.99684 | -0.059921 | 49.0119
39 | 0.16397 | 0.041949 | -0.16377 | -0.041818 | 0.00020528 | 0.00013091 | 0.24507 | 0.24507 | 0.24507 | 0.99684 | -0.059921 | 0.99548 | -0.08582 | 33.6637
40 | 0.074826 | 0.018867 | -0.074791 | -0.018845 | 3.4936e-05 | 2.2262e-05 | 0.11174 | 0.11174 | 0.11174 | 0.99684 | -0.059921 | 0.99634 | -0.069681 | 30.6965
41 | -0.15809 | -0.040331 | 0.15814 | 0.040364 | 5.0843e-05 | 3.2414e-05 | 0.23682 | 0.23682 | 0.23682 | 0.99438 | -0.10669 | 0.99473 | -0.10004 | 32.5299
42 | 0.16181 | 0.041327 | -0.1617 | -0.041256 | 0.00011113 | 7.0861e-05 | 0.24214 | 0.24214 | 0.24214 | 0.99548 | -0.08582 | 0.99473 | -0.10004 | 33.2611
43 | 0.0039994 | 0.0010022 | -0.0039992 | -0.0010023 | 1.6741e-07 | -5.5811e-08 | 0.005973 | 0.0059731 | 0.0059731 | 0.99634 | -0.069681 | 0.99629 | -0.07056 | 1.641
44 | 0.011888 | 0.0029802 | -0.011885 | -0.0029787 | 2.9074e-06 | 1.5656e-06 | 0.01812 | 0.018121 | 0.018121 | 0.97625 | -0.45749 | 0.97599 | -0.46263 | 4.9782
45 | -0.016275 | -0.0040796 | 0.016276 | 0.0040805 | 1.4105e-06 | 8.2631e-07 | 0.024807 | 0.024807 | 0.024807 | 0.97625 | -0.45749 | 0.97634 | -0.45567 | 6.815
46 | 0.0055196 | 0.0013833 | -0.0055193 | -0.0013833 | 3.7006e-07 | 6.2715e-08 | 0.0084154 | 0.0084154 | 0.0084154 | 0.97599 | -0.46263 | 0.97591 | -0.46403 | 2.3119
47 | -0.027418 | -0.0068728 | 0.027433 | 0.0068825 | 1.5617e-05 | 9.6961e-06 | 0.041787 | 0.041787 | 0.041787 | 0.97634 | -0.45567 | 0.97695 | -0.44373 | 11.48
48 | -0.038779 | -0.009726 | 0.038829 | 0.0097576 | 5.0029e-05 | 3.1539e-05 | 0.059068 | 0.059068 | 0.059068 | 0.97695 | -0.44373 | 0.97832 | -0.4167 | 16.2275
49 | -0.08552 | -0.021509 | 0.085711 | 0.021631 | 0.00019065 | 0.00012164 | 0.1301 | 0.1301 | 0.1301 | 0.97832 | -0.4167 | 0.9807 | -0.37014 | 35.7425
50 | 0.046691 | 0.011752 | -0.046661 | -0.011732 | 3.0277e-05 | 1.9177e-05 | 0.071035 | 0.071035 | 0.071035 | 0.97832 | -0.4167 | 0.97763 | -0.43028 | 19.515
51 | 0.046661 | 0.011732 | -0.046634 | -0.011716 | 2.6663e-05 | 1.6888e-05 | 0.071035 | 0.071035 | 0.071035 | 0.97763 | -0.43028 | 0.97702 | -0.44225 | 19.5151
52 | -0.04201 | -0.010547 | 0.042035 | 0.010563 | 2.5268e-05 | 1.5966e-05 | 0.064031 | 0.06403 | 0.064031 | 0.97638 | -0.45485 | 0.97702 | -0.44225 | 17.5908
53 | 0.039311 | 0.0098705 | -0.039304 | -0.0098664 | 6.5426e-06 | 4.1265e-06 | 0.059917 | 0.059917 | 0.059917 | 0.97638 | -0.45485 | 0.9762 | -0.45834 | 16.4607
54 | 0.014908 | 0.0037388 | -0.014906 | -0.0037378 | 1.7538e-06 | 1.0092e-06 | 0.022725 | 0.022725 | 0.022725 | 0.9762 | -0.45834 | 0.97608 | -0.46081 | 6.2431
55 | 0.024396 | 0.0061276 | -0.02439 | -0.0061236 | 6.4684e-06 | 3.9839e-06 | 0.037192 | 0.037192 | 0.037192 | 0.9762 | -0.45834 | 0.97592 | -0.4639 | 10.2176
56 | 0.014906 | 0.0037378 | -0.014904 | -0.0037362 | 2.6496e-06 | 1.5247e-06 | 0.022725 | 0.022725 | 0.022725 | 0.97608 | -0.46081 | 0.97589 | -0.46454 | 6.2432
57 | 0.02439 | 0.0061236 | -0.02436 | -0.0061052 | 2.9932e-05 | 1.8437e-05 | 0.037192 | 0.037192 | 0.037192 | 0.97592 | -0.4639 | 0.97461 | -0.48966 | 10.2177
58 | 0.0089899 | 0.0022542 | -0.0089846 | -0.0022517 | 5.3754e-06 | 2.4878e-06 | 0.013708 | 0.013708 | 0.013708 | 0.97589 | -0.46454 | 0.97525 | -0.47709 | 3.7661
59 | 0.0046611 | 0.0011681 | -0.0046608 | -0.0011681 | 2.904e-07 | -5.1796e-09 | 0.0071118 | 0.0071119 | 0.0071119 | 0.97525 | -0.47709 | 0.97518 | -0.4784 | 1.9538

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.50705 | 0.12894

## res_load
| p_mw | q_mvar
0 | 0.065795 | 0.01649
1 | 0.0088878 | 0.0022275
2 | 0.0048794 | 0.0012229
3 | 0.038408 | 0.0096259
4 | 0.011417 | 0.0028614
5 | 0.0059037 | 0.0014796
6 | 0.0065596 | 0.001644
7 | 0.017764 | 0.0044522
8 | 0.0079242 | 0.001986
9 | 0.032264 | 0.0080862
10 | 0.0082545 | 0.0020688
11 | 0.013682 | 0.0034291
12 | 0.014916 | 0.0037382
13 | 0.0080499 | 0.0020175
14 | 0.007816 | 0.0019589
15 | 0.038734 | 0.0097078
16 | 0.067491 | 0.016915
17 | 0.0015201 | 0.00038097
18 | 0.0015201 | 0.00038097
19 | 0.00093488 | 0.0002343
20 | 0.0037586 | 0.00094198
21 | 0.00070902 | 0.0001777
22 | 0.0015773 | 0.0003953
23 | 0.0079089 | 0.0019822
24 | 0.018603 | 0.0046623
25 | 0.0042501 | 0.0010652
26 | 0.0035492 | 0.00088951
27 | 0.001961 | 0.00049148
28 | 0.0035586 | 0.00089187
29 | 0.0043867 | 0.0010994
30 | 0.0063656 | 0.0015954
31 | 0.011142 | 0.0027923
32 | 0.0055193 | 0.0013833
33 | 0.011346 | 0.0028435
34 | 0.0016168 | 0.00040521
35 | 0.0039992 | 0.0010023
36 | 0.0026992 | 0.00067648
37 | 0.004599 | 0.0011526
38 | 0.0059136 | 0.0014821
39 | 0.02436 | 0.0061052
40 | 0.0043235 | 0.0010836
41 | 0.0046608 | 0.0011681

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1