## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1323-9_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1323-9_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1323-9_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1323-9_0_6_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_1323-9_0_6_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_1323-9_0_6_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1323-9_0_6_node_46 | 0.4 | n |  | TRUE
7 | bus_LV_1323-9_0_6_node_47 | 0.4 | n |  | TRUE
8 | bus_LV_1323-9_0_6_node_40 | 0.4 | n |  | TRUE
9 | bus_LV_1323-9_0_6_node_43 | 0.4 | n |  | TRUE
10 | bus_LV_1323-9_0_6_node_49 | 0.4 | n |  | TRUE
11 | bus_LV_1323-9_0_6_node_53 | 0.4 | n |  | TRUE
12 | bus_LV_1323-9_0_6_node_76 | 0.4 | n |  | TRUE
13 | bus_LV_1323-9_0_6_node_39 | 0.4 | n |  | TRUE
14 | bus_LV_1323-9_0_6_node_44 | 0.4 | n |  | TRUE
15 | bus_LV_1323-9_0_6_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_1323-9_0_6_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_1323-9_0_6_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_1323-9_0_6_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_1323-9_0_6_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_1323-9_0_6_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_1323-9_0_6_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_1323-9_0_6_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_1323-9_0_6_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_1323-9_0_6_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_1323-9_0_6_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_1323-9_0_6_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_1323-9_0_6_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_1323-9_0_6_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_1323-9_0_6_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_1323-9_0_6_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_1323-9_0_6_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_1323-9_0_6_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_1323-9_0_6_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_1323-9_0_6_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_1323-9_0_6_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_1323-9_0_6_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_1323-9_0_6_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_1323-9_0_6_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_1323-9_0_6_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_1323-9_0_6_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_1323-9_0_6_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_1323-9_0_6_node_80 | 0.4 | n |  | TRUE
43 | bus_LV_1323-9_0_6_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_1323-9_0_6_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_1323-9_0_6_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_1323-9_0_6_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_1323-9_0_6_node_78 | 0.4 | n |  | TRUE
48 | bus_LV_1323-9_0_6_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_1323-9_0_6_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_1323-9_0_6_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_1323-9_0_6_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_1323-9_0_6_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_1323-9_0_6_node_85 | 0.4 | n |  | TRUE
54 | bus_LV_1323-9_0_6_node_86 | 0.4 | n |  | TRUE
55 | bus_LV_1323-9_0_6_node_81 | 0.4 | n |  | TRUE
56 | bus_LV_1323-9_0_6_node_82 | 0.4 | n |  | TRUE
57 | bus_LV_1323-9_0_6_node_83 | 0.4 | n |  | TRUE
58 | bus_LV_1323-9_0_6_node_84 | 0.4 | n |  | TRUE
59 | bus_LV_1323-9_0_6_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_1323-9_0_6_node_75 | 0.4 | n |  | TRUE
61 | bus_LV_1323-9_0_6_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_1323-9_0_6_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_1323-9_0_6_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_1323-9_0_6_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_1323-9_0_6_node_70 | 0.4 | n |  | TRUE
66 | bus_LV_1323-9_0_6_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_1323-9_0_6_node_72 | 0.4 | n |  | TRUE
68 | bus_LV_1323-9_0_6_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_1323-9_0_6_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_1323-9_0_6_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_1323-9_0_6_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_1323-9_0_6_node_87 | 0.4 | n |  | TRUE
73 | bus_LV_1323-9_0_6_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_1323-9_0_6_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_1323-9_0_6_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_1323-9_0_6_node_60 | 0.4 | n |  | TRUE
77 | bus_LV_1323-9_0_6_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_1323-9_0_6_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_1323-9_0_6_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_1323-9_0_6_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_1323-9_0_6_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_1323-9_0_6_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_1323-9_0_6_node_74 | 0.4 | n |  | TRUE
84 | bus_LV_1323-9_0_6_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_1323-9_0_6_node_79 | 0.4 | n |  | TRUE
86 | bus_MV_15_0_node_102 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1323-9_0_6_load_0 | 0 | 0.0020875 | 0.00052318 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1323-9_0_6_load_1 | 1 | 0.0012633 | 0.00031661 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1323-9_0_6_load_6 | 4 | 0.0049948 | 0.0012518 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1323-9_0_6_load_46 | 6 | 0.0036364 | 0.00091138 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1323-9_0_6_load_47 | 7 | 0.0079683 | 0.001997 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1323-9_0_6_load_40 | 8 | 0.010323 | 0.0025872 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1323-9_0_6_load_43 | 9 | 0.0046108 | 0.0011556 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1323-9_0_6_load_49 | 10 | 0.0067356 | 0.0016881 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1323-9_0_6_load_53 | 11 | 0.0051047 | 0.0012794 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1323-9_0_6_load_76 | 12 | 0.0086164 | 0.0021595 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1323-9_0_6_load_48 | 15 | 0.004442 | 0.0011133 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1323-9_0_6_load_7 | 16 | 0.0053187 | 0.001333 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1323-9_0_6_load_8 | 17 | 0.0029282 | 0.00073389 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1323-9_0_6_load_10 | 19 | 0.0043492 | 0.00109 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1323-9_0_6_load_22 | 23 | 0.0048224 | 0.0012086 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1323-9_0_6_load_32 | 24 | 0.0041245 | 0.0010337 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1323-9_0_6_load_14 | 25 | 0.0059857 | 0.0015002 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1323-9_0_6_load_15 | 26 | 0.0043202 | 0.0010827 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1323-9_0_6_load_20 | 28 | 0.0055626 | 0.0013941 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1323-9_0_6_load_35 | 31 | 0.0030415 | 0.00076227 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1323-9_0_6_load_31 | 32 | 0.0042098 | 0.0010551 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1323-9_0_6_load_18 | 33 | 0.004621 | 0.0011581 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1323-9_0_6_load_17 | 34 | 0.0072513 | 0.0018173 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1323-9_0_6_load_19 | 35 | 0.001961 | 0.00049147 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1323-9_0_6_load_21 | 36 | 0.0028843 | 0.00072287 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1323-9_0_6_load_24 | 38 | 0.0072089 | 0.0018067 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1323-9_0_6_load_27 | 40 | 0.0040915 | 0.0010254 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1323-9_0_6_load_28 | 41 | 0.0043948 | 0.0011014 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1323-9_0_6_load_80 | 42 | 0.011569 | 0.0028993 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1323-9_0_6_load_36 | 43 | 0.0036464 | 0.00091387 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1323-9_0_6_load_29 | 44 | 0.0041709 | 0.0010453 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1323-9_0_6_load_30 | 45 | 0.0055865 | 0.0014001 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1323-9_0_6_load_54 | 46 | 0.01035 | 0.0025939 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1323-9_0_6_load_78 | 47 | 0.011566 | 0.0028988 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1323-9_0_6_load_41 | 49 | 0.0045972 | 0.0011522 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1323-9_0_6_load_42 | 50 | 0.010098 | 0.0025309 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1323-9_0_6_load_38 | 51 | 0.0066027 | 0.0016548 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1323-9_0_6_load_45 | 52 | 0.01636 | 0.0041002 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1323-9_0_6_load_85 | 53 | 0.015872 | 0.0039779 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1323-9_0_6_load_86 | 54 | 0.0050268 | 0.0012598 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1323-9_0_6_load_81 | 55 | 0.0017076 | 0.00042798 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1323-9_0_6_load_83 | 57 | 0.0018872 | 0.00047299 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1323-9_0_6_load_84 | 58 | 0.0017245 | 0.0004322 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1323-9_0_6_load_67 | 59 | 0.010122 | 0.0025368 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1323-9_0_6_load_75 | 60 | 0.0095844 | 0.0024021 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1323-9_0_6_load_51 | 62 | 0.0037556 | 0.00094123 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1323-9_0_6_load_52 | 63 | 0.010974 | 0.0027503 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1323-9_0_6_load_64 | 64 | 0.00301 | 0.00075437 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1323-9_0_6_load_65 | 66 | 0.002131 | 0.00053407 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1323-9_0_6_load_72 | 67 | 0.0066253 | 0.0016605 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1323-9_0_6_load_68 | 68 | 0.0025079 | 0.00062854 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1323-9_0_6_load_55 | 69 | 0.0042113 | 0.0010554 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1323-9_0_6_load_56 | 70 | 0.017299 | 0.0043356 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1323-9_0_6_load_87 | 72 | 0.001408 | 0.00035289 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1323-9_0_6_load_58 | 73 | 0.0027547 | 0.0006904 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1323-9_0_6_load_59 | 74 | 0.0038951 | 0.0009762 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1323-9_0_6_load_66 | 75 | 0.011034 | 0.0027653 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1323-9_0_6_load_60 | 76 | 0.00598 | 0.0014987 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1323-9_0_6_load_61 | 77 | 0.00471 | 0.0011804 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1323-9_0_6_load_62 | 78 | 0.0066989 | 0.0016789 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1323-9_0_6_load_63 | 79 | 0.002131 | 0.00053407 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1323-9_0_6_load_69 | 80 | 0.017322 | 0.0043413 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1323-9_0_6_load_71 | 81 | 0.0047568 | 0.0011922 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1323-9_0_6_load_73 | 82 | 0.022212 | 0.0055668 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1323-9_0_6_load_74 | 83 | 0.012561 | 0.003148 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_1323-9_0_6_load_77 | 84 | 0.016037 | 0.0040192 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_1323-9_0_6_load_79 | 85 | 0.016636 | 0.0041694 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 83 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1323-9_0_6_line_0 |  | 0 | 1 | 0.011768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1323-9_0_6_line_1 |  | 1 | 2 | 0.0091426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1323-9_0_6_line_2 |  | 2 | 3 | 0.032933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_1323-9_0_6_line_3 |  | 2 | 4 | 0.058139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_1323-9_0_6_line_4 |  | 3 | 9 | 0.055869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1323-9_0_6_line_5 |  | 4 | 10 | 0.0093795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_1323-9_0_6_line_6 |  | 5 | 6 | 0.032364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1323-9_0_6_line_7 |  | 5 | 7 | 0.032389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_1323-9_0_6_line_8 |  | 5 | 8 | 0.031837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_1323-9_0_6_line_9 |  | 6 | 11 | 0.016213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1323-9_0_6_line_10 |  | 7 | 12 | 0.049414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_1323-9_0_6_line_11 |  | 8 | 13 | 0.018125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_1323-9_0_6_line_12 |  | 9 | 14 | 0.034116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1323-9_0_6_line_13 |  | 10 | 15 | 0.015045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_1323-9_0_6_line_14 |  | 11 | 46 | 0.023209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1323-9_0_6_line_15 |  | 12 | 60 | 0.043666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_1323-9_0_6_line_16 |  | 13 | 49 | 0.030815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_1323-9_0_6_line_17 |  | 13 | 51 | 0.018531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1323-9_0_6_line_18 |  | 14 | 52 | 0.036162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1323-9_0_6_line_19 |  | 15 | 61 | 0.014273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_1323-9_0_6_line_20 |  | 16 | 17 | 0.022552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1323-9_0_6_line_21 |  | 16 | 18 | 0.026187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1323-9_0_6_line_22 |  | 17 | 19 | 0.022001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1323-9_0_6_line_23 |  | 18 | 20 | 0.006901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1323-9_0_6_line_24 |  | 19 | 21 | 0.01259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1323-9_0_6_line_25 |  | 20 | 22 | 0.018008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1323-9_0_6_line_26 |  | 20 | 23 | 0.01675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1323-9_0_6_line_27 |  | 21 | 25 | 0.02573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1323-9_0_6_line_28 |  | 22 | 24 | 0.0084633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1323-9_0_6_line_29 |  | 25 | 26 | 0.018927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1323-9_0_6_line_30 |  | 26 | 27 | 0.026343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1323-9_0_6_line_31 |  | 27 | 28 | 0.015583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1323-9_0_6_line_32 |  | 28 | 33 | 0.011759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1323-9_0_6_line_33 |  | 29 | 30 | 0.010441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1323-9_0_6_line_34 |  | 29 | 31 | 0.016529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_1323-9_0_6_line_35 |  | 29 | 32 | 0.017906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1323-9_0_6_line_36 |  | 30 | 42 | 0.038548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1323-9_0_6_line_37 |  | 31 | 43 | 0.051451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_1323-9_0_6_line_38 |  | 32 | 41 | 0.0052766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1323-9_0_6_line_39 |  | 33 | 34 | 0.00030652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1323-9_0_6_line_40 |  | 34 | 35 | 0.012728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1323-9_0_6_line_41 |  | 35 | 36 | 0.0091995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1323-9_0_6_line_42 |  | 36 | 37 | 0.0099258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1323-9_0_6_line_43 |  | 37 | 38 | 0.006833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1323-9_0_6_line_44 |  | 38 | 39 | 0.036935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1323-9_0_6_line_45 |  | 39 | 40 | 0.0099368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1323-9_0_6_line_46 |  | 39 | 41 | 0.007607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1323-9_0_6_line_47 |  | 40 | 44 | 0.030923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1323-9_0_6_line_48 |  | 42 | 47 | 0.022166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1323-9_0_6_line_49 |  | 43 | 48 | 0.009626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_1323-9_0_6_line_50 |  | 44 | 45 | 0.001884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1323-9_0_6_line_51 |  | 47 | 84 | 0.036786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1323-9_0_6_line_52 |  | 48 | 49 | 0.037814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_1323-9_0_6_line_53 |  | 48 | 50 | 0.03703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1323-9_0_6_line_54 |  | 52 | 53 | 0.02522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1323-9_0_6_line_55 |  | 53 | 54 | 0.0041188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1323-9_0_6_line_56 |  | 54 | 59 | 0.034985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1323-9_0_6_line_57 |  | 55 | 56 | 0.0074152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1323-9_0_6_line_58 |  | 56 | 57 | 0.0088143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1323-9_0_6_line_59 |  | 57 | 58 | 0.0079158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1323-9_0_6_line_60 |  | 58 | 59 | 0.029308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1323-9_0_6_line_61 |  | 59 | 75 | 0.029075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1323-9_0_6_line_62 |  | 60 | 83 | 0.014033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_1323-9_0_6_line_63 |  | 61 | 62 | 0.0076378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1323-9_0_6_line_64 |  | 61 | 63 | 0.033763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_1323-9_0_6_line_65 |  | 62 | 64 | 0.023482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1323-9_0_6_line_66 |  | 63 | 65 | 0.035351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_1323-9_0_6_line_67 |  | 64 | 66 | 0.0028761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1323-9_0_6_line_68 |  | 65 | 67 | 0.023469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_1323-9_0_6_line_69 |  | 65 | 68 | 0.0093173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1323-9_0_6_line_70 |  | 66 | 79 | 0.0064904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1323-9_0_6_line_71 |  | 67 | 83 | 0.014991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_1323-9_0_6_line_72 |  | 68 | 80 | 0.0062054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1323-9_0_6_line_73 |  | 69 | 70 | 0.02809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1323-9_0_6_line_74 |  | 69 | 71 | 0.024298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1323-9_0_6_line_75 |  | 69 | 72 | 0.050325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1323-9_0_6_line_76 |  | 70 | 73 | 0.021843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1323-9_0_6_line_77 |  | 71 | 74 | 0.006253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1323-9_0_6_line_78 |  | 73 | 75 | 0.0065718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1323-9_0_6_line_79 |  | 76 | 77 | 0.018789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1323-9_0_6_line_80 |  | 76 | 78 | 0.023601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1323-9_0_6_line_81 |  | 77 | 79 | 0.018656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1323-9_0_6_line_82 |  | 80 | 81 | 0.013637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1323-9_0_6_line_83 |  | 81 | 82 | 0.010707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1323-9_0_6_line_84 |  | 84 | 85 | 0.024113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1323-9_0_6_trafo_74 | 0.63 MVA 20/0.4 kV | 86 | 83 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2696891.5534 | 1227682.6437 | 2696879.787 | 1227682.8246
1 | 2696871.1146 | 1227685.7189 | 2696879.787 | 1227682.8246
2 | 2696871.1146 | 1227685.7189 | 2696855.6875 | 1227656.6023
3 | 2696871.1146 | 1227685.7189 | 2696876.4074 | 1227698.5921 | 2696881.7611 | 1227717.4929 | 2696887.3911 | 1227734.7859 | 2696889.119 | 1227740.9374
4 | 2696855.6875 | 1227656.6023 | 2696829.7881 | 1227678.5298 | 2696830.6952 | 1227700.4448
5 | 2696891.6554 | 1227749.9675 | 2696889.119 | 1227740.9374
6 | 2696972.0543 | 1227691.8454 | 2696988.1942 | 1227701.849 | 2696996.7355 | 1227712.1422
7 | 2696972.0543 | 1227691.8454 | 2696965.457 | 1227706.4595 | 2696963.918 | 1227714.3846 | 2696960.7012 | 1227722.0154
8 | 2696972.0543 | 1227691.8454 | 2696973.028 | 1227690.2378 | 2696983.6919 | 1227673.0548 | 2696993.1318 | 1227670.6797
9 | 2696996.7355 | 1227712.1422 | 2697002.2428 | 1227718.7791 | 2697004.4367 | 1227726.0439
10 | 2696960.7012 | 1227722.0154 | 2696960.7012 | 1227722.0154 | 2696947.2663 | 1227739.4869 | 2696943.945 | 1227747.483 | 2696943.7124 | 1227766.1975
11 | 2697010.7094 | 1227666.2571 | 2696993.1318 | 1227670.6797
12 | 2696805.9537 | 1227709.0974 | 2696814.3084 | 1227713.6032 | 2696827.0808 | 1227710.7312 | 2696830.9031 | 1227705.4674 | 2696830.6952 | 1227700.4448
13 | 2696895.7238 | 1227764.4521 | 2696891.6554 | 1227749.9675
14 | 2697004.4367 | 1227726.0439 | 2697009.3257 | 1227742.2337 | 2697004.4182 | 1227746.1788
15 | 2696943.7124 | 1227766.1975 | 2696943.5077 | 1227782.6679 | 2696943.7777 | 1227802.3642 | 2696939.2315 | 1227808.3244
16 | 2697010.7094 | 1227666.2571 | 2697013.0645 | 1227672.4221 | 2697023.6423 | 1227694.2051
17 | 2697010.7094 | 1227666.2571 | 2697008.9475 | 1227662.2921 | 2697004.6558 | 1227648.7639
18 | 2696805.9537 | 1227709.0974 | 2696803.9388 | 1227716.0029 | 2696809.9504 | 1227744.3409
19 | 2696899.5835 | 1227778.1935 | 2696895.7238 | 1227764.4521
20 | 2697030.6813 | 1227921.1889 | 2697024.1987 | 1227922.7398 | 2697018.0386 | 1227922.6393 | 2697008.3547 | 1227921.7381
21 | 2697056.7026 | 1227918.2445 | 2697030.6813 | 1227921.1889
22 | 2697008.3547 | 1227921.7381 | 2696996.3047 | 1227920.6168 | 2696986.6599 | 1227918.3892
23 | 2697055.0841 | 1227911.5355 | 2697056.7026 | 1227918.2445
24 | 2696974.393 | 1227915.5559 | 2696986.6599 | 1227918.3892
25 | 2697055.0841 | 1227911.5355 | 2697072.7093 | 1227915.4703
26 | 2697055.0841 | 1227911.5355 | 2697057.301 | 1227900.1634 | 2697059.1223 | 1227895.3316
27 | 2696974.393 | 1227915.5559 | 2696976.9196 | 1227904.2334 | 2696980.9302 | 1227894.8587 | 2696982.6877 | 1227891.3404
28 | 2697072.7093 | 1227915.4703 | 2697074.4618 | 1227907.1904
29 | 2696982.6877 | 1227891.3404 | 2696985.6077 | 1227885.4948 | 2696992.6385 | 1227875.2899
30 | 2697007.5844 | 1227853.5968 | 2696992.6385 | 1227875.2899
31 | 2697007.5844 | 1227853.5968 | 2697022.0582 | 1227859.3706
32 | 2697032.98 | 1227863.7274 | 2697022.0582 | 1227859.3706
33 | 2697027.2388 | 1227795.8979 | 2697028.7752 | 1227799.2809 | 2697034.4845 | 1227802.8655
34 | 2697034.4845 | 1227802.8655 | 2697037.5981 | 1227791.3413 | 2697038.5771 | 1227786.8556
35 | 2697034.4845 | 1227802.8655 | 2697040.3805 | 1227805.2189 | 2697045.7291 | 1227815.4647
36 | 2697027.2388 | 1227795.8979 | 2697015.7642 | 1227802.8491 | 2697010.227 | 1227827.3637
37 | 2697038.5771 | 1227786.8556 | 2697044.8643 | 1227758.0469 | 2697045.7132 | 1227751.545 | 2697045.8155 | 1227745.2754 | 2697045.8892 | 1227740.7623 | 2697045.1129 | 1227736.7801 | 2697044.9721 | 1227736.2324
38 | 2697048.1709 | 1227820.1423 | 2697045.7291 | 1227815.4647
39 | 2697033.2647 | 1227863.841 | 2697032.98 | 1227863.7274
40 | 2697045.17 | 1227868.1585 | 2697043.9998 | 1227868.1233 | 2697033.2647 | 1227863.841
41 | 2697045.17 | 1227868.1585 | 2697054.3653 | 1227868.4346
42 | 2697064.2866 | 1227868.7325 | 2697054.3653 | 1227868.4346
43 | 2697064.2866 | 1227868.7325 | 2697062.6419 | 1227862.1004
44 | 2697051.6912 | 1227826.8857 | 2697058.4058 | 1227845.0194 | 2697062.6419 | 1227862.1004
45 | 2697051.6912 | 1227826.8857 | 2697060.9679 | 1227823.3245
46 | 2697051.6912 | 1227826.8857 | 2697048.1709 | 1227820.1423
47 | 2697060.9679 | 1227823.3245 | 2697073.0008 | 1227818.7052 | 2697089.9472 | 1227812.5383
48 | 2696999.9236 | 1227846.7614 | 2697009.2206 | 1227831.8189 | 2697010.227 | 1227827.3637
49 | 2697042.5758 | 1227726.9094 | 2697044.9721 | 1227736.2324
50 | 2697091.7177 | 1227811.894 | 2697089.9472 | 1227812.5383
51 | 2696980.4904 | 1227877.9951 | 2696999.9236 | 1227846.7614
52 | 2697042.5758 | 1227726.9094 | 2697040.9227 | 1227723.2464 | 2697023.8952 | 1227694.7259 | 2697023.6423 | 1227694.2051
53 | 2697042.5758 | 1227726.9094 | 2697046.3486 | 1227725.1585 | 2697048.4316 | 1227721.5232 | 2697050.7371 | 1227709.3632 | 2697052.9685 | 1227704.9964 | 2697060.2051 | 1227696.1875
54 | 2696809.9504 | 1227744.3409 | 2696815.184 | 1227769.0117
55 | 2696816.0388 | 1227773.0409 | 2696815.184 | 1227769.0117
56 | 2696816.0388 | 1227773.0409 | 2696783.0705 | 1227784.746
57 | 2696759.8503 | 1227750.9331 | 2696757.8193 | 1227743.8014
58 | 2696759.8503 | 1227750.9331 | 2696768.1826 | 1227753.8077
59 | 2696768.1826 | 1227753.8077 | 2696775.6655 | 1227756.3894
60 | 2696783.0705 | 1227784.746 | 2696775.6655 | 1227756.3894
61 | 2696783.0705 | 1227784.746 | 2696787.3814 | 1227788.8971 | 2696796.8136 | 1227808.6871 | 2696796.8564 | 1227809.8541
62 | 2696933.5998 | 1227820.9006 | 2696935.7775 | 1227812.8526 | 2696939.2315 | 1227808.3244
63 | 2696899.5835 | 1227778.1935 | 2696894.113 | 1227783.5236
64 | 2696899.5835 | 1227778.1935 | 2696905.2343 | 1227809.0856 | 2696905.5053 | 1227811.4279
65 | 2696894.113 | 1227783.5236 | 2696892.8601 | 1227784.7443 | 2696882.4673 | 1227801.5983 | 2696881.7367 | 1227803.3865
66 | 2696907.5243 | 1227846.6834 | 2696907.0878 | 1227825.1051 | 2696905.5053 | 1227811.4279
67 | 2696880.6489 | 1227806.049 | 2696881.7367 | 1227803.3865
68 | 2696907.5243 | 1227846.6834 | 2696916.6174 | 1227843.5403 | 2696925.9695 | 1227833.3277
69 | 2696907.5243 | 1227846.6834 | 2696906.653 | 1227855.9598
70 | 2696880.6489 | 1227806.049 | 2696878.1942 | 1227812.0572
71 | 2696933.5998 | 1227820.9006 | 2696932.0272 | 1227826.7126 | 2696925.9695 | 1227833.3277
72 | 2696906.653 | 1227855.9598 | 2696906.0727 | 1227862.138
73 | 2696765.0515 | 1227843.9514 | 2696778.2158 | 1227843.9878 | 2696791.3005 | 1227836.8065
74 | 2696740.8669 | 1227841.6008 | 2696765.0515 | 1227843.9514
75 | 2696765.0515 | 1227843.9514 | 2696762.2328 | 1227894.1973
76 | 2696797.0972 | 1227816.4215 | 2696797.4014 | 1227824.7193 | 2696791.3005 | 1227836.8065
77 | 2696740.8669 | 1227841.6008 | 2696734.6433 | 1227840.9963
78 | 2696797.0972 | 1227816.4215 | 2696796.8564 | 1227809.8541
79 | 2696864.9749 | 1227847.0451 | 2696867.3267 | 1227838.6563 | 2696871.138 | 1227829.3278
80 | 2696858.6041 | 1227869.7701 | 2696864.9749 | 1227847.0451
81 | 2696871.138 | 1227829.3278 | 2696878.1942 | 1227812.0572
82 | 2696906.0727 | 1227862.138 | 2696905.8736 | 1227864.258 | 2696904.1326 | 1227875.6333
83 | 2696902.245 | 1227886.1661 | 2696903.0574 | 1227882.6588 | 2696904.1326 | 1227875.6333
84 | 2696967.752 | 1227898.4687 | 2696980.4904 | 1227877.9951

## bus_geodata
| x | y | coords
0 | 2696891.5534 | 1227682.6437
1 | 2696879.787 | 1227682.8246
2 | 2696871.1146 | 1227685.7189
3 | 2696855.6875 | 1227656.6023
4 | 2696889.119 | 1227740.9374
5 | 2696972.0543 | 1227691.8454
6 | 2696996.7355 | 1227712.1422
7 | 2696960.7012 | 1227722.0154
8 | 2696993.1318 | 1227670.6797
9 | 2696830.6952 | 1227700.4448
10 | 2696891.6554 | 1227749.9675
11 | 2697004.4367 | 1227726.0439
12 | 2696943.7124 | 1227766.1975
13 | 2697010.7094 | 1227666.2571
14 | 2696805.9537 | 1227709.0974
15 | 2696895.7238 | 1227764.4521
16 | 2697030.6813 | 1227921.1889
17 | 2697008.3547 | 1227921.7381
18 | 2697056.7026 | 1227918.2445
19 | 2696986.6599 | 1227918.3892
20 | 2697055.0841 | 1227911.5355
21 | 2696974.393 | 1227915.5559
22 | 2697072.7093 | 1227915.4703
23 | 2697059.1223 | 1227895.3316
24 | 2697074.4618 | 1227907.1904
25 | 2696982.6877 | 1227891.3404
26 | 2696992.6385 | 1227875.2899
27 | 2697007.5844 | 1227853.5968
28 | 2697022.0582 | 1227859.3706
29 | 2697034.4845 | 1227802.8655
30 | 2697027.2388 | 1227795.8979
31 | 2697038.5771 | 1227786.8556
32 | 2697045.7291 | 1227815.4647
33 | 2697032.98 | 1227863.7274
34 | 2697033.2647 | 1227863.841
35 | 2697045.17 | 1227868.1585
36 | 2697054.3653 | 1227868.4346
37 | 2697064.2866 | 1227868.7325
38 | 2697062.6419 | 1227862.1004
39 | 2697051.6912 | 1227826.8857
40 | 2697060.9679 | 1227823.3245
41 | 2697048.1709 | 1227820.1423
42 | 2697010.227 | 1227827.3637
43 | 2697044.9721 | 1227736.2324
44 | 2697089.9472 | 1227812.5383
45 | 2697091.7177 | 1227811.894
46 | 2697004.4182 | 1227746.1788
47 | 2696999.9236 | 1227846.7614
48 | 2697042.5758 | 1227726.9094
49 | 2697023.6423 | 1227694.2051
50 | 2697060.2051 | 1227696.1875
51 | 2697004.6558 | 1227648.7639
52 | 2696809.9504 | 1227744.3409
53 | 2696815.184 | 1227769.0117
54 | 2696816.0388 | 1227773.0409
55 | 2696757.8193 | 1227743.8014
56 | 2696759.8503 | 1227750.9331
57 | 2696768.1826 | 1227753.8077
58 | 2696775.6655 | 1227756.3894
59 | 2696783.0705 | 1227784.746
60 | 2696939.2315 | 1227808.3244
61 | 2696899.5835 | 1227778.1935
62 | 2696894.113 | 1227783.5236
63 | 2696905.5053 | 1227811.4279
64 | 2696881.7367 | 1227803.3865
65 | 2696907.5243 | 1227846.6834
66 | 2696880.6489 | 1227806.049
67 | 2696925.9695 | 1227833.3277
68 | 2696906.653 | 1227855.9598
69 | 2696765.0515 | 1227843.9514
70 | 2696791.3005 | 1227836.8065
71 | 2696740.8669 | 1227841.6008
72 | 2696762.2328 | 1227894.1973
73 | 2696797.0972 | 1227816.4215
74 | 2696734.6433 | 1227840.9963
75 | 2696796.8564 | 1227809.8541
76 | 2696864.9749 | 1227847.0451
77 | 2696871.138 | 1227829.3278
78 | 2696858.6041 | 1227869.7701
79 | 2696878.1942 | 1227812.0572
80 | 2696906.0727 | 1227862.138
81 | 2696904.1326 | 1227875.6333
82 | 2696902.245 | 1227886.1661
83 | 2696933.5998 | 1227820.9006
84 | 2696980.4904 | 1227877.9951
85 | 2696967.752 | 1227898.4687
86 | 2696907.5243 | 1227846.6834

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99019 | -0.18643 | 0.0020875 | 0.00052318
1 | 0.99021 | -0.18599 | 0.0012633 | 0.00031661
2 | 0.99024 | -0.18545 | 0 | 0
3 | 0.98873 | -0.21415 | 0 | 0
4 | 0.99298 | -0.13326 | 0.0049948 | 0.0012518
5 | 0.99105 | -0.16985 | 0 | 0
6 | 0.99049 | -0.18082 | 0.0036364 | 0.00091138
7 | 0.99303 | -0.13217 | 0.0079683 | 0.001997
8 | 0.9893 | -0.20342 | 0.010323 | 0.0025872
9 | 0.98364 | -0.3122 | 0.0046108 | 0.0011556
10 | 0.99329 | -0.12739 | 0.0067356 | 0.0016881
11 | 0.99026 | -0.18527 | 0.0051047 | 0.0012794
12 | 0.99615 | -0.072675 | 0.0086164 | 0.0021595
13 | 0.98836 | -0.22147 | 0 | 0
14 | 0.98067 | -0.36972 | 0 | 0
15 | 0.99382 | -0.11738 | 0.004442 | 0.0011133
16 | 0.97133 | -0.55362 | 0.0053187 | 0.001333
17 | 0.97163 | -0.54768 | 0.0029282 | 0.00073389
18 | 0.97112 | -0.55795 | 0 | 0
19 | 0.97199 | -0.54069 | 0.0043492 | 0.00109
20 | 0.97106 | -0.55909 | 0 | 0
21 | 0.97224 | -0.53569 | 0 | 0
22 | 0.97099 | -0.56046 | 0 | 0
23 | 0.97098 | -0.56058 | 0.0048224 | 0.0012086
24 | 0.97096 | -0.56111 | 0.0041245 | 0.0010337
25 | 0.97276 | -0.52547 | 0.0059857 | 0.0015002
26 | 0.97324 | -0.51588 | 0.0043202 | 0.0010827
27 | 0.97403 | -0.50045 | 0 | 0
28 | 0.97449 | -0.49133 | 0.0055626 | 0.0013941
29 | 0.98121 | -0.35977 | 0 | 0
30 | 0.98067 | -0.37033 | 0 | 0
31 | 0.98228 | -0.33891 | 0.0030415 | 0.00076227
32 | 0.97982 | -0.38698 | 0.0042098 | 0.0010551
33 | 0.9749 | -0.48326 | 0.004621 | 0.0011581
34 | 0.97491 | -0.48303 | 0.0072513 | 0.0018173
35 | 0.9755 | -0.47153 | 0.001961 | 0.00049147
36 | 0.97594 | -0.4629 | 0.0028843 | 0.00072287
37 | 0.97644 | -0.45307 | 0 | 0
38 | 0.97678 | -0.44631 | 0.0072089 | 0.0018067
39 | 0.97889 | -0.405 | 0 | 0
40 | 0.97876 | -0.40751 | 0.0040915 | 0.0010254
41 | 0.97942 | -0.3946 | 0.0043948 | 0.0011014
42 | 0.97867 | -0.4094 | 0.011569 | 0.0028993
43 | 0.98456 | -0.29481 | 0.0036464 | 0.00091387
44 | 0.97849 | -0.413 | 0.0041709 | 0.0010453
45 | 0.97848 | -0.41319 | 0.0055865 | 0.0014001
46 | 0.99004 | -0.18954 | 0.01035 | 0.0025939
47 | 0.97776 | -0.42726 | 0.011566 | 0.0028988
48 | 0.98499 | -0.28638 | 0 | 0
49 | 0.98683 | -0.25102 | 0.0045972 | 0.0011522
50 | 0.98465 | -0.2931 | 0.010098 | 0.0025309
51 | 0.98825 | -0.22365 | 0.0066027 | 0.0016548
52 | 0.97753 | -0.43107 | 0.01636 | 0.0041002
53 | 0.97572 | -0.46654 | 0.015872 | 0.0039779
54 | 0.97549 | -0.47114 | 0.0050268 | 0.0012598
55 | 0.97346 | -0.51103 | 0.0017076 | 0.00042798
56 | 0.97348 | -0.51079 | 0 | 0
57 | 0.97349 | -0.51052 | 0.0018872 | 0.00047299
58 | 0.97352 | -0.50999 | 0.0017245 | 0.0004322
59 | 0.97366 | -0.50713 | 0.010122 | 0.0025368
60 | 0.99903 | -0.018216 | 0.0095844 | 0.0024021
61 | 0.99433 | -0.10752 | 0 | 0
62 | 0.99414 | -0.11135 | 0.0037556 | 0.00094123
63 | 0.99585 | -0.078626 | 0.010974 | 0.0027503
64 | 0.99361 | -0.12157 | 0.00301 | 0.00075437
65 | 0.99756 | -0.046196 | 0 | 0
66 | 0.99355 | -0.12267 | 0.002131 | 0.00053407
67 | 0.99903 | -0.018332 | 0.0066253 | 0.0016605
68 | 0.99717 | -0.053836 | 0.0025079 | 0.00062854
69 | 0.97158 | -0.54818 | 0.0042113 | 0.0010554
70 | 0.97183 | -0.54324 | 0.017299 | 0.0043356
71 | 0.97149 | -0.54993 | 0 | 0
72 | 0.97152 | -0.54949 | 0.001408 | 0.00035289
73 | 0.97238 | -0.53244 | 0.0027547 | 0.0006904
74 | 0.97147 | -0.55038 | 0.0038951 | 0.0009762
75 | 0.97256 | -0.52886 | 0.011034 | 0.0027653
76 | 0.99292 | -0.13485 | 0.00598 | 0.0014987
77 | 0.99314 | -0.13064 | 0.00471 | 0.0011804
78 | 0.99278 | -0.13764 | 0.0066989 | 0.0016789
79 | 0.99343 | -0.12491 | 0.002131 | 0.00053407
80 | 0.99692 | -0.058655 | 0.017322 | 0.0043413
81 | 0.99658 | -0.065107 | 0.0047568 | 0.0011922
82 | 0.99637 | -0.069282 | 0.022212 | 0.0055668
83 | 1 | 0 | -0.44181 | -0.1129
84 | 0.97665 | -0.4492 | 0.016037 | 0.0040192
85 | 0.97628 | -0.45653 | 0.016636 | 0.0041694
86 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0020875 | -0.00052318 | 0.0020875 | 0.00052305 | 4.3426e-08 | -1.2358e-07 | 0.003137 | 0.003137 | 0.003137 | 0.99019 | -0.18643 | 0.99021 | -0.18599 | 0.86182
1 | -0.0033508 | -0.00083966 | 0.0033509 | 0.0008396 | 8.6927e-08 | -6.1977e-08 | 0.0050354 | 0.0050353 | 0.0050354 | 0.99021 | -0.18599 | 0.99024 | -0.18545 | 1.3833
2 | 0.099361 | 0.02546 | -0.099223 | -0.025372 | 0.00013803 | 8.749e-05 | 0.14951 | 0.14951 | 0.14951 | 0.99024 | -0.18545 | 0.98873 | -0.21415 | 20.5368
3 | -0.10271 | -0.026299 | 0.10297 | 0.026464 | 0.00026036 | 0.00016513 | 0.15454 | 0.15454 | 0.15454 | 0.99024 | -0.18545 | 0.99298 | -0.13326 | 21.2284
4 | 0.099223 | 0.025372 | -0.098754 | -0.025073 | 0.00046831 | 0.000299 | 0.14951 | 0.14951 | 0.14951 | 0.98873 | -0.21415 | 0.98364 | -0.3122 | 41.0737
5 | -0.10797 | -0.027716 | 0.108 | 0.027736 | 3.078e-05 | 1.9335e-05 | 0.16203 | 0.16203 | 0.16203 | 0.99298 | -0.13326 | 0.99329 | -0.12739 | 14.8377
6 | 0.019106 | 0.0047935 | -0.019096 | -0.0047875 | 9.9889e-06 | 5.9761e-06 | 0.028689 | 0.028689 | 0.028689 | 0.99105 | -0.16985 | 0.99049 | -0.18082 | 7.8815
7 | -0.19916 | -0.05074 | 0.19952 | 0.050971 | 0.00036272 | 0.00023089 | 0.29932 | 0.29932 | 0.29932 | 0.99105 | -0.16985 | 0.99303 | -0.13217 | 27.4104
8 | 0.18005 | 0.045946 | -0.17976 | -0.045761 | 0.00029147 | 0.00018531 | 0.27063 | 0.27063 | 0.27063 | 0.99105 | -0.16985 | 0.9893 | -0.20342 | 24.7833
9 | 0.01546 | 0.0038762 | -0.015456 | -0.0038743 | 3.2797e-06 | 1.8904e-06 | 0.023226 | 0.023226 | 0.023226 | 0.99049 | -0.18082 | 0.99026 | -0.18527 | 6.3807
10 | -0.20749 | -0.052968 | 0.20809 | 0.053349 | 0.00059843 | 0.00038107 | 0.31126 | 0.31126 | 0.31126 | 0.99303 | -0.13217 | 0.99615 | -0.072675 | 28.5038
11 | 0.16944 | 0.043174 | -0.16929 | -0.04308 | 0.00014745 | 9.367e-05 | 0.25511 | 0.25511 | 0.25511 | 0.9893 | -0.20342 | 0.98836 | -0.22147 | 23.3615
12 | 0.094144 | 0.023918 | -0.093884 | -0.023752 | 0.00025991 | 0.00016591 | 0.14253 | 0.14253 | 0.14253 | 0.98364 | -0.3122 | 0.98067 | -0.36972 | 39.1575
13 | -0.11473 | -0.029424 | 0.11479 | 0.029459 | 5.5713e-05 | 3.5072e-05 | 0.17212 | 0.17212 | 0.17212 | 0.99329 | -0.12739 | 0.99382 | -0.11738 | 15.7617
14 | 0.010352 | 0.0025949 | -0.01035 | -0.0025939 | 2.1059e-06 | 1.0493e-06 | 0.015555 | 0.015555 | 0.015555 | 0.99026 | -0.18527 | 0.99004 | -0.18954 | 4.2734
15 | -0.2167 | -0.055508 | 0.21728 | 0.055874 | 0.00057345 | 0.0003653 | 0.32413 | 0.32413 | 0.32413 | 0.99615 | -0.072675 | 0.99903 | -0.018216 | 29.6824
16 | 0.16269 | 0.041425 | -0.16246 | -0.041278 | 0.00023152 | 0.00014699 | 0.24517 | 0.24517 | 0.24517 | 0.98836 | -0.22147 | 0.98683 | -0.25102 | 22.4511
17 | 0.0066033 | 0.001655 | -0.0066027 | -0.0016548 | 6.8684e-07 | 2.0211e-07 | 0.0099416 | 0.0099417 | 0.0099417 | 0.98836 | -0.22147 | 0.98825 | -0.22365 | 2.7312
18 | 0.093884 | 0.023752 | -0.093608 | -0.023576 | 0.0002755 | 0.00017586 | 0.14253 | 0.14253 | 0.14253 | 0.98067 | -0.36972 | 0.97753 | -0.43107 | 39.1575
19 | -0.11923 | -0.030572 | 0.11929 | 0.030608 | 5.7018e-05 | 3.5936e-05 | 0.17877 | 0.17877 | 0.17877 | 0.99382 | -0.11738 | 0.99433 | -0.10752 | 16.3707
20 | -0.014269 | -0.0035763 | 0.014273 | 0.0035786 | 4.0408e-06 | 2.3069e-06 | 0.021859 | 0.021859 | 0.021859 | 0.97133 | -0.55362 | 0.97163 | -0.54768 | 6.0051
21 | 0.00895 | 0.0022433 | -0.0089481 | -0.0022425 | 1.8461e-06 | 8.5743e-07 | 0.013711 | 0.013711 | 0.013711 | 0.97133 | -0.55362 | 0.97112 | -0.55795 | 3.7667
22 | -0.017201 | -0.0043125 | 0.017207 | 0.0043159 | 5.7253e-06 | 3.3916e-06 | 0.026343 | 0.026343 | 0.026343 | 0.97163 | -0.54768 | 0.97199 | -0.54069 | 7.2371
23 | 0.0089481 | 0.0022425 | -0.0089477 | -0.0022422 | 4.865e-07 | 2.2598e-07 | 0.013711 | 0.013711 | 0.013711 | 0.97112 | -0.55795 | 0.97106 | -0.55909 | 3.7668
24 | -0.021556 | -0.0054059 | 0.021561 | 0.0054091 | 5.1418e-06 | 3.1347e-06 | 0.033001 | 0.033001 | 0.033001 | 0.97199 | -0.54069 | 0.97224 | -0.53569 | 9.0663
25 | 0.0041249 | 0.0010336 | -0.0041246 | -0.0010337 | 2.698e-07 | -5.0087e-08 | 0.0063208 | 0.0063209 | 0.0063209 | 0.97106 | -0.55909 | 0.97099 | -0.56046 | 1.7365
26 | 0.0048228 | 0.0012086 | -0.0048224 | -0.0012086 | 3.4305e-07 | 1.236e-08 | 0.0073902 | 0.0073903 | 0.0073903 | 0.97106 | -0.55909 | 0.97098 | -0.56058 | 2.0303
27 | -0.021561 | -0.0054091 | 0.021572 | 0.0054155 | 1.0508e-05 | 6.4061e-06 | 0.033001 | 0.033001 | 0.033001 | 0.97224 | -0.53569 | 0.97276 | -0.52547 | 9.0663
28 | 0.0041246 | 0.0010337 | -0.0041245 | -0.0010337 | 1.268e-07 | -2.3527e-08 | 0.0063209 | 0.0063209 | 0.0063209 | 0.97099 | -0.56046 | 0.97096 | -0.56111 | 1.7365
29 | -0.027557 | -0.0069156 | 0.02757 | 0.0069235 | 1.2614e-05 | 7.8379e-06 | 0.042157 | 0.042157 | 0.042157 | 0.97276 | -0.52547 | 0.97324 | -0.51588 | 11.5817
30 | -0.03189 | -0.0080062 | 0.031914 | 0.0080209 | 2.3489e-05 | 1.4706e-05 | 0.048762 | 0.048762 | 0.048762 | 0.97324 | -0.51588 | 0.97403 | -0.50045 | 13.3963
31 | -0.031914 | -0.0080209 | 0.031927 | 0.0080296 | 1.3895e-05 | 8.6985e-06 | 0.048762 | 0.048762 | 0.048762 | 0.97403 | -0.50045 | 0.97449 | -0.49133 | 13.3962
32 | -0.03749 | -0.0094237 | 0.037505 | 0.0094328 | 1.4456e-05 | 9.105e-06 | 0.057256 | 0.057256 | 0.057256 | 0.97449 | -0.49133 | 0.9749 | -0.48326 | 15.7297
33 | 0.056018 | 0.01412 | -0.05599 | -0.014102 | 2.8276e-05 | 1.7965e-05 | 0.084981 | 0.084981 | 0.084981 | 0.98121 | -0.35977 | 0.98067 | -0.37033 | 23.3463
34 | -0.1403 | -0.035427 | 0.14044 | 0.035516 | 0.00014042 | 8.9448e-05 | 0.21286 | 0.21286 | 0.21286 | 0.98121 | -0.35977 | 0.98228 | -0.33891 | 29.2386
35 | 0.084279 | 0.021307 | -0.084169 | -0.021237 | 0.0001098 | 7.0048e-05 | 0.12788 | 0.12788 | 0.12788 | 0.98121 | -0.35977 | 0.97982 | -0.38698 | 35.1308
36 | 0.05599 | 0.014102 | -0.055885 | -0.014035 | 0.00010439 | 6.6327e-05 | 0.084981 | 0.084981 | 0.084981 | 0.98067 | -0.37033 | 0.97867 | -0.4094 | 23.3464
37 | -0.14348 | -0.036279 | 0.14378 | 0.036471 | 0.00030414 | 0.00019269 | 0.21746 | 0.21746 | 0.21746 | 0.98228 | -0.33891 | 0.98456 | -0.29481 | 19.9143
38 | 0.079959 | 0.020182 | -0.07993 | -0.020164 | 2.9202e-05 | 1.8623e-05 | 0.12148 | 0.12148 | 0.12148 | 0.97982 | -0.38698 | 0.97942 | -0.3946 | 33.3744
39 | -0.042126 | -0.010591 | 0.042126 | 0.010591 | 4.7537e-07 | 3.0041e-07 | 0.064309 | 0.064309 | 0.064309 | 0.9749 | -0.48326 | 0.97491 | -0.48303 | 17.6674
40 | -0.049377 | -0.012409 | 0.049404 | 0.012426 | 2.712e-05 | 1.7198e-05 | 0.075377 | 0.075377 | 0.075377 | 0.97491 | -0.48303 | 0.9755 | -0.47153 | 20.708
41 | -0.051365 | -0.012917 | 0.051387 | 0.012931 | 2.1187e-05 | 1.3445e-05 | 0.078368 | 0.078368 | 0.078368 | 0.9755 | -0.47153 | 0.97594 | -0.4629 | 21.5297
42 | -0.054271 | -0.013654 | 0.054296 | 0.01367 | 2.5497e-05 | 1.6194e-05 | 0.082766 | 0.082766 | 0.082766 | 0.97594 | -0.4629 | 0.97644 | -0.45307 | 22.7379
43 | -0.054296 | -0.01367 | 0.054314 | 0.013681 | 1.7553e-05 | 1.1148e-05 | 0.082766 | 0.082766 | 0.082766 | 0.97644 | -0.45307 | 0.97678 | -0.44631 | 22.7379
44 | -0.061523 | -0.015488 | 0.061645 | 0.015565 | 0.00012173 | 7.7443e-05 | 0.093748 | 0.093748 | 0.093748 | 0.97678 | -0.44631 | 0.97889 | -0.405 | 25.7549
45 | 0.013853 | 0.003473 | -0.013851 | -0.0034721 | 1.6525e-06 | 9.3268e-07 | 0.021059 | 0.021059 | 0.021059 | 0.97889 | -0.405 | 0.97876 | -0.40751 | 5.7853
46 | -0.075498 | -0.019038 | 0.075535 | 0.019062 | 3.7599e-05 | 2.3967e-05 | 0.11481 | 0.11481 | 0.11481 | 0.97889 | -0.405 | 0.97942 | -0.3946 | 31.5401
47 | 0.00976 | 0.0024467 | -0.0097574 | -0.0024454 | 2.5532e-06 | 1.2455e-06 | 0.014838 | 0.014838 | 0.014838 | 0.97876 | -0.40751 | 0.97849 | -0.413 | 4.0765
48 | 0.044317 | 0.011136 | -0.044279 | -0.011112 | 3.7751e-05 | 2.3883e-05 | 0.067392 | 0.067392 | 0.067392 | 0.97867 | -0.4094 | 0.97776 | -0.42726 | 18.5142
49 | -0.14743 | -0.037385 | 0.14749 | 0.037423 | 5.9823e-05 | 3.7919e-05 | 0.22297 | 0.22297 | 0.22297 | 0.98456 | -0.29481 | 0.98499 | -0.28638 | 20.4189
50 | 0.0055865 | 0.0014001 | -0.0055865 | -0.0014001 | 5.0993e-08 | 8.9706e-09 | 0.0084956 | 0.0084956 | 0.0084956 | 0.97849 | -0.413 | 0.97848 | -0.41319 | 2.334
51 | 0.032713 | 0.0082134 | -0.032679 | -0.008192 | 3.4197e-05 | 2.1425e-05 | 0.04979 | 0.04979 | 0.04979 | 0.97776 | -0.42726 | 0.97665 | -0.4492 | 13.6785
52 | -0.15759 | -0.039956 | 0.15786 | 0.040126 | 0.00026827 | 0.00017025 | 0.23823 | 0.23823 | 0.23823 | 0.98499 | -0.28638 | 0.98683 | -0.25102 | 21.8164
53 | 0.010102 | 0.0025325 | -0.010098 | -0.0025309 | 3.2339e-06 | 1.5985e-06 | 0.015261 | 0.015261 | 0.015261 | 0.98499 | -0.28638 | 0.98465 | -0.2931 | 4.1925
54 | 0.077248 | 0.019476 | -0.077117 | -0.019392 | 0.00013086 | 8.3435e-05 | 0.11763 | 0.11763 | 0.11763 | 0.97753 | -0.43107 | 0.97572 | -0.46654 | 32.3159
55 | 0.061245 | 0.015414 | -0.061231 | -0.015406 | 1.3481e-05 | 8.5765e-06 | 0.093424 | 0.093424 | 0.093424 | 0.97572 | -0.46654 | 0.97549 | -0.47114 | 25.666
56 | 0.056205 | 0.014146 | -0.056108 | -0.014084 | 9.6481e-05 | 6.1312e-05 | 0.085756 | 0.085756 | 0.085756 | 0.97549 | -0.47114 | 0.97366 | -0.50713 | 23.5595
57 | -0.0017076 | -0.00042798 | 0.0017077 | 0.0004279 | 1.8946e-08 | -8.0063e-08 | 0.0026103 | 0.0026102 | 0.0026103 | 0.97346 | -0.51103 | 0.97348 | -0.51079 | 0.71711
58 | -0.0017077 | -0.0004279 | 0.0017077 | 0.0004278 | 2.252e-08 | -9.5173e-08 | 0.0026102 | 0.0026102 | 0.0026102 | 0.97348 | -0.51079 | 0.97349 | -0.51052 | 0.7171
59 | -0.0035949 | -0.00090079 | 0.003595 | 0.00090075 | 8.9629e-08 | -4.1056e-08 | 0.0054949 | 0.0054949 | 0.0054949 | 0.97349 | -0.51052 | 0.97352 | -0.50999 | 1.5096
60 | -0.0053195 | -0.0013329 | 0.0053202 | 0.001333 | 7.2655e-07 | 1.0054e-07 | 0.0081308 | 0.0081306 | 0.0081308 | 0.97352 | -0.50999 | 0.97366 | -0.50713 | 2.2337
61 | 0.040666 | 0.010215 | -0.040624 | -0.010188 | 4.2124e-05 | 2.6598e-05 | 0.062157 | 0.062157 | 0.062157 | 0.97366 | -0.50713 | 0.97256 | -0.52886 | 17.0761
62 | -0.22686 | -0.058276 | 0.22706 | 0.058404 | 0.00020087 | 0.00012801 | 0.33841 | 0.33841 | 0.33841 | 0.99903 | -0.018216 | 1 | 0 | 30.9896
63 | 0.028445 | 0.0071388 | -0.02844 | -0.0071356 | 5.1908e-06 | 3.223e-06 | 0.042571 | 0.042571 | 0.042571 | 0.99433 | -0.10752 | 0.99414 | -0.11135 | 11.6954
64 | -0.14773 | -0.037747 | 0.14794 | 0.037878 | 0.00020676 | 0.00013101 | 0.22134 | 0.22134 | 0.22134 | 0.99433 | -0.10752 | 0.99585 | -0.078626 | 20.2691
65 | 0.024684 | 0.0061944 | -0.024672 | -0.006187 | 1.2022e-05 | 7.39e-06 | 0.03695 | 0.03695 | 0.03695 | 0.99414 | -0.11135 | 0.99361 | -0.12157 | 10.1511
66 | -0.15891 | -0.040628 | 0.15916 | 0.040786 | 0.00024975 | 0.00015845 | 0.23773 | 0.23773 | 0.23773 | 0.99585 | -0.078626 | 0.99756 | -0.046196 | 21.7706
67 | 0.021662 | 0.0054326 | -0.021661 | -0.0054319 | 1.1352e-06 | 6.8927e-07 | 0.032442 | 0.032442 | 0.032442 | 0.99361 | -0.12157 | 0.99355 | -0.12267 | 8.9127
68 | -0.206 | -0.05254 | 0.20628 | 0.052717 | 0.00027758 | 0.00017673 | 0.30761 | 0.30761 | 0.30761 | 0.99756 | -0.046196 | 0.99903 | -0.018332 | 28.169
69 | 0.046839 | 0.011754 | -0.046822 | -0.011743 | 1.7058e-05 | 1.0796e-05 | 0.069872 | 0.069872 | 0.069872 | 0.99756 | -0.046196 | 0.99717 | -0.053836 | 19.1957
70 | 0.01953 | 0.0048978 | -0.019528 | -0.0048966 | 2.0825e-06 | 1.2487e-06 | 0.029251 | 0.029251 | 0.029251 | 0.99355 | -0.12267 | 0.99343 | -0.12491 | 8.036
71 | -0.2129 | -0.054378 | 0.21309 | 0.054498 | 0.00018886 | 0.00012028 | 0.31747 | 0.31747 | 0.31747 | 0.99903 | -0.018332 | 1 | 0 | 29.0727
72 | 0.044314 | 0.011115 | -0.044304 | -0.011108 | 1.0176e-05 | 6.432e-06 | 0.06613 | 0.06613 | 0.06613 | 0.99717 | -0.053836 | 0.99692 | -0.058655 | 18.1676
73 | -0.0095149 | -0.0023838 | 0.0095171 | 0.0023849 | 2.2368e-06 | 1.0836e-06 | 0.014572 | 0.014572 | 0.014572 | 0.97158 | -0.54818 | 0.97183 | -0.54324 | 4.0033
74 | 0.0038955 | 0.00097609 | -0.0038952 | -0.00097618 | 3.2433e-07 | -9.3319e-08 | 0.005966 | 0.0059661 | 0.0059661 | 0.97158 | -0.54818 | 0.97149 | -0.54993 | 1.639
75 | 0.0014081 | 0.00035232 | -0.001408 | -0.00035289 | 8.7764e-08 | -5.6703e-07 | 0.0021564 | 0.0021566 | 0.0021566 | 0.97158 | -0.54818 | 0.97152 | -0.54949 | 0.59248
76 | -0.026817 | -0.0067206 | 0.02683 | 0.0067291 | 1.381e-05 | 8.5673e-06 | 0.04106 | 0.04106 | 0.04106 | 0.97183 | -0.54324 | 0.97238 | -0.53244 | 11.2802
77 | 0.0038952 | 0.00097618 | -0.0038951 | -0.0009762 | 8.3465e-08 | -2.4005e-08 | 0.0059661 | 0.0059662 | 0.0059662 | 0.97149 | -0.54993 | 0.97147 | -0.55038 | 1.6391
78 | -0.029585 | -0.0074195 | 0.02959 | 0.0074227 | 5.0517e-06 | 3.1515e-06 | 0.045275 | 0.045275 | 0.045275 | 0.97238 | -0.53244 | 0.97256 | -0.52886 | 12.4383
79 | -0.01268 | -0.0031779 | 0.012682 | 0.0031793 | 2.5442e-06 | 1.3852e-06 | 0.019002 | 0.019002 | 0.019002 | 0.99292 | -0.13485 | 0.99314 | -0.13064 | 5.2204
80 | 0.0066998 | 0.0016792 | -0.0066989 | -0.0016789 | 8.9222e-07 | 2.658e-07 | 0.01004 | 0.010041 | 0.010041 | 0.99292 | -0.13485 | 0.99278 | -0.13764 | 2.7584
81 | -0.017392 | -0.0043597 | 0.017397 | 0.0043625 | 4.7509e-06 | 2.7991e-06 | 0.026059 | 0.026059 | 0.026059 | 0.99314 | -0.13064 | 0.99343 | -0.12491 | 7.1591
82 | 0.026981 | 0.0067668 | -0.026973 | -0.0067617 | 8.295e-06 | 5.131e-06 | 0.040275 | 0.040275 | 0.040275 | 0.99692 | -0.058655 | 0.99658 | -0.065107 | 11.0645
83 | 0.022216 | 0.0055695 | -0.022212 | -0.0055668 | 4.4184e-06 | 2.6883e-06 | 0.033172 | 0.033172 | 0.033172 | 0.99658 | -0.065107 | 0.99637 | -0.069282 | 9.1133
84 | 0.016642 | 0.0041728 | -0.016636 | -0.0041694 | 5.8137e-06 | 3.4191e-06 | 0.025356 | 0.025356 | 0.025356 | 0.97665 | -0.4492 | 0.97628 | -0.45653 | 6.966

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.45437 | 0.11605

## res_load
| p_mw | q_mvar
0 | 0.0020875 | 0.00052318
1 | 0.0012633 | 0.00031661
2 | 0.0049948 | 0.0012518
3 | 0.0036364 | 0.00091138
4 | 0.0079683 | 0.001997
5 | 0.010323 | 0.0025872
6 | 0.0046108 | 0.0011556
7 | 0.0067356 | 0.0016881
8 | 0.0051047 | 0.0012794
9 | 0.0086164 | 0.0021595
10 | 0.004442 | 0.0011133
11 | 0.0053187 | 0.001333
12 | 0.0029282 | 0.00073389
13 | 0.0043492 | 0.00109
14 | 0.0048224 | 0.0012086
15 | 0.0041245 | 0.0010337
16 | 0.0059857 | 0.0015002
17 | 0.0043202 | 0.0010827
18 | 0.0055626 | 0.0013941
19 | 0.0030415 | 0.00076227
20 | 0.0042098 | 0.0010551
21 | 0.004621 | 0.0011581
22 | 0.0072513 | 0.0018173
23 | 0.001961 | 0.00049147
24 | 0.0028843 | 0.00072287
25 | 0.0072089 | 0.0018067
26 | 0.0040915 | 0.0010254
27 | 0.0043948 | 0.0011014
28 | 0.011569 | 0.0028993
29 | 0.0036464 | 0.00091387
30 | 0.0041709 | 0.0010453
31 | 0.0055865 | 0.0014001
32 | 0.01035 | 0.0025939
33 | 0.011566 | 0.0028988
34 | 0.0045972 | 0.0011522
35 | 0.010098 | 0.0025309
36 | 0.0066027 | 0.0016548
37 | 0.01636 | 0.0041002
38 | 0.015872 | 0.0039779
39 | 0.0050268 | 0.0012598
40 | 0.0017076 | 0.00042798
41 | 0.0018872 | 0.00047299
42 | 0.0017245 | 0.0004322
43 | 0.010122 | 0.0025368
44 | 0.0095844 | 0.0024021
45 | 0.0037556 | 0.00094123
46 | 0.010974 | 0.0027503
47 | 0.00301 | 0.00075437
48 | 0.002131 | 0.00053407
49 | 0.0066253 | 0.0016605
50 | 0.0025079 | 0.00062854
51 | 0.0042113 | 0.0010554
52 | 0.017299 | 0.0043356
53 | 0.001408 | 0.00035289
54 | 0.0027547 | 0.0006904
55 | 0.0038951 | 0.0009762
56 | 0.011034 | 0.0027653
57 | 0.00598 | 0.0014987
58 | 0.00471 | 0.0011804
59 | 0.0066989 | 0.0016789
60 | 0.002131 | 0.00053407
61 | 0.017322 | 0.0043413
62 | 0.0047568 | 0.0011922
63 | 0.022212 | 0.0055668
64 | 0.012561 | 0.003148
65 | 0.016037 | 0.0040192
66 | 0.016636 | 0.0041694

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1