## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1341-22_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1341-22_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1341-22_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1341-22_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1341-22_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1341-22_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1341-22_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1341-22_0_4_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_1341-22_0_4_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_1341-22_0_4_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_1341-22_0_4_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_1341-22_0_4_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_1341-22_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1341-22_0_4_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_1341-22_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_1341-22_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1341-22_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_1341-22_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1341-22_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1341-22_0_4_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_1341-22_0_4_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_1341-22_0_4_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_1341-22_0_4_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_1341-22_0_4_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_1341-22_0_4_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_1341-22_0_4_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_1341-22_0_4_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_1341-22_0_4_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_1341-22_0_4_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_1341-22_0_4_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_1341-22_0_4_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_1341-22_0_4_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_1341-22_0_4_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_1341-22_0_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_1341-22_0_4_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_1341-22_0_4_node_36 | 0.4 | n |  | TRUE
36 | bus_MV_223_0_node_42 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1341-22_0_4_load_0 | 0 | 0.0036444 | 0.00091338 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1341-22_0_4_load_1 | 1 | 0.043296 | 0.010851 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1341-22_0_4_load_3 | 3 | 0.0024797 | 0.00062147 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1341-22_0_4_load_5 | 5 | 0.011874 | 0.002976 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1341-22_0_4_load_6 | 6 | 0.051742 | 0.012968 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1341-22_0_4_load_10 | 8 | 0.024183 | 0.0060608 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1341-22_0_4_load_25 | 9 | 0.022971 | 0.005757 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1341-22_0_4_load_18 | 10 | 0.024169 | 0.0060574 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1341-22_0_4_load_9 | 12 | 0.021602 | 0.0054141 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1341-22_0_4_load_26 | 13 | 0.0042635 | 0.0010685 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1341-22_0_4_load_7 | 14 | 0.004481 | 0.0011231 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1341-22_0_4_load_15 | 16 | 0.024169 | 0.0060574 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1341-22_0_4_load_11 | 17 | 0.017734 | 0.0044445 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1341-22_0_4_load_12 | 18 | 0.017734 | 0.0044445 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1341-22_0_4_load_17 | 19 | 0.010238 | 0.0025658 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1341-22_0_4_load_19 | 20 | 0.013355 | 0.0033471 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1341-22_0_4_load_20 | 21 | 0.013354 | 0.0033468 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1341-22_0_4_load_21 | 22 | 0.0022221 | 0.00055691 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1341-22_0_4_load_22 | 23 | 0.0022809 | 0.00057165 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1341-22_0_4_load_23 | 24 | 0.0034787 | 0.00087184 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1341-22_0_4_load_24 | 25 | 0.00461 | 0.0011554 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1341-22_0_4_load_28 | 27 | 0.011815 | 0.0029612 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1341-22_0_4_load_29 | 28 | 0.071594 | 0.017943 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1341-22_0_4_load_30 | 29 | 0.010216 | 0.0025604 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1341-22_0_4_load_31 | 30 | 0.0010179 | 0.0002551 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1341-22_0_4_load_32 | 32 | 0.0010179 | 0.0002551 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1341-22_0_4_load_36 | 35 | 0.0013873 | 0.00034769 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1341-22_0_4_line_0 |  | 0 | 1 | 0.039056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_1341-22_0_4_line_1 |  | 0 | 2 | 0.016198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_1341-22_0_4_line_2 |  | 1 | 3 | 0.019625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_1341-22_0_4_line_3 |  | 2 | 4 | 0.013908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_1341-22_0_4_line_4 |  | 3 | 5 | 0.023331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_1341-22_0_4_line_5 |  | 4 | 6 | 0.037785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_1341-22_0_4_line_6 |  | 5 | 7 | 0.041169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_1341-22_0_4_line_7 |  | 5 | 8 | 0.092936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1341-22_0_4_line_8 |  | 6 | 9 | 0.02763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_1341-22_0_4_line_9 |  | 7 | 10 | 0.0085657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1341-22_0_4_line_10 |  | 7 | 11 | 0.017653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_1341-22_0_4_line_11 |  | 8 | 12 | 0.043285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1341-22_0_4_line_12 |  | 9 | 13 | 0.0023718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_1341-22_0_4_line_13 |  | 10 | 16 | 0.035528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1341-22_0_4_line_14 |  | 11 | 19 | 0.016948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_1341-22_0_4_line_15 |  | 11 | 18 | 0.046421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1341-22_0_4_line_16 |  | 12 | 15 | 0.033573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1341-22_0_4_line_17 |  | 13 | 26 | 0.11225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_1341-22_0_4_line_18 |  | 14 | 15 | 0.10268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1341-22_0_4_line_19 |  | 17 | 18 | 0.020158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1341-22_0_4_line_20 |  | 19 | 20 | 0.0020822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_1341-22_0_4_line_21 |  | 20 | 21 | 0.015835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_1341-22_0_4_line_22 |  | 21 | 22 | 0.015835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_1341-22_0_4_line_23 |  | 22 | 23 | 0.0069243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_1341-22_0_4_line_24 |  | 23 | 24 | 0.00050078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_1341-22_0_4_line_25 |  | 24 | 25 | 0.0080196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1341-22_0_4_line_26 |  | 26 | 27 | 0.10839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_1341-22_0_4_line_27 |  | 27 | 28 | 0.0074228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_1341-22_0_4_line_28 |  | 28 | 29 | 0.080281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_1341-22_0_4_line_29 |  | 29 | 30 | 0.0093109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_1341-22_0_4_line_30 |  | 30 | 31 | 0.022164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_1341-22_0_4_line_31 |  | 31 | 32 | 0.016581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_1341-22_0_4_line_32 |  | 32 | 33 | 0.076726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_1341-22_0_4_line_33 |  | 33 | 34 | 0.098879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1341-22_0_4_line_34 |  | 34 | 35 | 0.012638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1341-22_0_4_trafo_23 | 0.63 MVA 20/0.4 kV | 36 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2706055.7951 | 1227511.1326 | 2706050.2148 | 1227512.5676 | 2706032.5366 | 1227519.0463 | 2706020.9332 | 1227524.0655 | 2706019.2621 | 1227524.7967
1 | 2706071.4831 | 1227507.0982 | 2706055.7951 | 1227511.1326
2 | 2706019.2621 | 1227524.7967 | 2706001.2833 | 1227532.6642
3 | 2706071.4831 | 1227507.0982 | 2706070.1138 | 1227497.1775 | 2706071.1962 | 1227493.4385
4 | 2705979.9094 | 1227542.0174 | 2706001.2833 | 1227532.6642
5 | 2706071.1962 | 1227493.4385 | 2706063.2619 | 1227484.8351 | 2706058.7883 | 1227476.8382 | 2706050.826 | 1227463.4308 | 2706050.2307 | 1227462.2473
6 | 2705942.1931 | 1227558.5219 | 2705979.9094 | 1227542.0174
7 | 2705979.9094 | 1227542.0174 | 2706002.6491 | 1227632.128
8 | 2706037.815 | 1227437.5634 | 2706050.2307 | 1227462.2473
9 | 2705942.1931 | 1227558.5219 | 2705934.3553 | 1227561.9774
10 | 2705935.717 | 1227542.0944 | 2705942.1931 | 1227558.5219
11 | 2705967.4563 | 1227657.3282 | 2706002.6491 | 1227632.128
12 | 2706036.7493 | 1227435.4446 | 2706037.815 | 1227437.5634
13 | 2705901.8344 | 1227576.2811 | 2705905.0787 | 1227574.8845 | 2705934.3553 | 1227561.9774
14 | 2705935.717 | 1227542.0944 | 2705936.1409 | 1227531.9165 | 2705933.648 | 1227525.6318
15 | 2705935.717 | 1227542.0944 | 2705893.047 | 1227560.3739
16 | 2705940.1599 | 1227676.874 | 2705967.4563 | 1227657.3282
17 | 2705986.3024 | 1227335.1742 | 2706019.4428 | 1227401.0583 | 2706032.2248 | 1227426.4494 | 2706036.7493 | 1227435.4446
18 | 2705940.1599 | 1227676.874 | 2705939.4621 | 1227684.1337 | 2705941.3856 | 1227691.4623 | 2705980.7289 | 1227760.5035 | 2705980.7318 | 1227765.018 | 2705978.5013 | 1227768.1387
19 | 2705874.5175 | 1227568.3118 | 2705893.047 | 1227560.3739
20 | 2705933.648 | 1227525.6318 | 2705932.8803 | 1227523.6963
21 | 2705932.8803 | 1227523.6963 | 2705927.0418 | 1227508.977
22 | 2705927.0418 | 1227508.977 | 2705921.2034 | 1227494.2579
23 | 2705921.2034 | 1227494.2579 | 2705918.6504 | 1227487.8215
24 | 2705918.6504 | 1227487.8215 | 2705918.4657 | 1227487.356
25 | 2705915.5088 | 1227479.9014 | 2705918.4657 | 1227487.356
26 | 2705986.3024 | 1227335.1742 | 2705936.5919 | 1227238.8588
27 | 2705936.5919 | 1227238.8588 | 2705933.1875 | 1227232.2627 | 2705933.1875 | 1227232.2627
28 | 2705859.4059 | 1227263.9062 | 2705933.1875 | 1227232.2627
29 | 2705850.8487 | 1227267.5762 | 2705859.4059 | 1227263.9062
30 | 2705830.4791 | 1227276.3123 | 2705850.8487 | 1227267.5762
31 | 2705830.4791 | 1227276.3123 | 2705824.2626 | 1227268.2624 | 2705821.8811 | 1227262.3114
32 | 2705793.3746 | 1227191.0778 | 2705821.8811 | 1227262.3114
33 | 2705793.3746 | 1227191.0778 | 2705811.2754 | 1227144.0166 | 2705822.7204 | 1227121.092 | 2705833.4362 | 1227100.8119
34 | 2705833.4362 | 1227100.8119 | 2705840.1513 | 1227090.1053

## bus_geodata
| x | y | coords
0 | 2706055.7951 | 1227511.1326
1 | 2706019.2621 | 1227524.7968
2 | 2706071.4831 | 1227507.0982
3 | 2706001.2833 | 1227532.6642
4 | 2706071.1962 | 1227493.4385
5 | 2705979.9094 | 1227542.0174
6 | 2706050.2307 | 1227462.2473
7 | 2705942.1931 | 1227558.5219
8 | 2706002.6491 | 1227632.128
9 | 2706037.815 | 1227437.5634
10 | 2705934.3553 | 1227561.9774
11 | 2705935.717 | 1227542.0944
12 | 2705967.4563 | 1227657.3282
13 | 2706036.7493 | 1227435.4446
14 | 2705978.5013 | 1227768.1387
15 | 2705940.1599 | 1227676.874
16 | 2705901.8344 | 1227576.2811
17 | 2705874.5175 | 1227568.3118
18 | 2705893.047 | 1227560.3739
19 | 2705933.648 | 1227525.6318
20 | 2705932.8803 | 1227523.6963
21 | 2705927.0418 | 1227508.977
22 | 2705921.2034 | 1227494.2579
23 | 2705918.6504 | 1227487.8215
24 | 2705918.4657 | 1227487.356
25 | 2705915.5088 | 1227479.9014
26 | 2705986.3024 | 1227335.1742
27 | 2705936.5919 | 1227238.8588
28 | 2705933.1875 | 1227232.2627
29 | 2705859.4059 | 1227263.9062
30 | 2705850.8487 | 1227267.5762
31 | 2705830.4791 | 1227276.3123
32 | 2705821.8811 | 1227262.3114
33 | 2705793.3746 | 1227191.0778
34 | 2705833.4362 | 1227100.8119
35 | 2705840.1513 | 1227090.1053
36 | 2705913.0294 | 1227473.6505

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98229 | -0.33887 | 0.0036444 | 0.00091338
1 | 0.98447 | -0.2967 | 0.043296 | 0.010851
2 | 0.9814 | -0.35606 | 0 | 0
3 | 0.98583 | -0.2705 | 0.0024797 | 0.00062147
4 | 0.98064 | -0.37084 | 0 | 0
5 | 0.98746 | -0.2391 | 0.011874 | 0.002976
6 | 0.97858 | -0.41112 | 0.051742 | 0.012968
7 | 0.99112 | -0.16879 | 0 | 0
8 | 0.98314 | -0.32298 | 0.024183 | 0.0060608
9 | 0.97751 | -0.43198 | 0.022971 | 0.005757
10 | 0.99074 | -0.17614 | 0.024169 | 0.0060574
11 | 0.99295 | -0.13378 | 0 | 0
12 | 0.9821 | -0.34336 | 0.021602 | 0.0054141
13 | 0.97744 | -0.43345 | 0.0042635 | 0.0010685
14 | 0.98154 | -0.35441 | 0.004481 | 0.0011231
15 | 0.98196 | -0.34608 | 0 | 0
16 | 0.98995 | -0.1914 | 0.024169 | 0.0060574
17 | 0.99112 | -0.16927 | 0.017734 | 0.0044445
18 | 0.99144 | -0.16293 | 0.017734 | 0.0044445
19 | 0.99489 | -0.096752 | 0.010238 | 0.0025658
20 | 0.99514 | -0.092088 | 0.013355 | 0.0033471
21 | 0.99707 | -0.055458 | 0.013354 | 0.0033468
22 | 0.99906 | -0.017738 | 0.0022221 | 0.00055691
23 | 0.99994 | -0.0012015 | 0.0022809 | 0.00057165
24 | 1 | 0 | -0.42594 | -0.10897
25 | 0.99997 | -0.00064441 | 0.00461 | 0.0011554
26 | 0.97404 | -0.49995 | 0 | 0
27 | 0.97077 | -0.5646 | 0.011815 | 0.0029612
28 | 0.97057 | -0.5685 | 0.071594 | 0.017943
29 | 0.97023 | -0.57527 | 0.010216 | 0.0025604
30 | 0.97022 | -0.57546 | 0.0010179 | 0.0002551
31 | 0.9702 | -0.57579 | 0 | 0
32 | 0.97019 | -0.57604 | 0.0010179 | 0.0002551
33 | 0.97016 | -0.5767 | 0 | 0
34 | 0.97003 | -0.57925 | 0 | 0
35 | 0.97001 | -0.57957 | 0.0013873 | 0.00034769
36 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.18105 | -0.04589 | 0.18141 | 0.046124 | 0.00036771 | 0.00023385 | 0.27444 | 0.27444 | 0.27444 | 0.98229 | -0.33887 | 0.98447 | -0.2967 | 25.1322
1 | 0.1774 | 0.044976 | -0.17726 | -0.044883 | 0.00014643 | 9.3102e-05 | 0.26892 | 0.26892 | 0.26892 | 0.98229 | -0.33887 | 0.9814 | -0.35606 | 24.6266
2 | -0.22471 | -0.056975 | 0.22499 | 0.057155 | 0.00028339 | 0.00018062 | 0.33988 | 0.33988 | 0.33988 | 0.98447 | -0.2967 | 0.98583 | -0.2705 | 31.1249
3 | 0.17726 | 0.044883 | -0.17713 | -0.044803 | 0.00012573 | 7.9939e-05 | 0.26892 | 0.26892 | 0.26892 | 0.9814 | -0.35606 | 0.98064 | -0.37084 | 24.6266
4 | -0.22747 | -0.057777 | 0.22782 | 0.057996 | 0.00034436 | 0.0002195 | 0.34363 | 0.34363 | 0.34363 | 0.98583 | -0.2705 | 0.98746 | -0.2391 | 31.4676
5 | 0.17713 | 0.044803 | -0.17679 | -0.044586 | 0.00034157 | 0.00021718 | 0.26892 | 0.26892 | 0.26892 | 0.98064 | -0.37084 | 0.97858 | -0.41112 | 24.6267
6 | -0.29019 | -0.073714 | 0.29117 | 0.074343 | 0.00098566 | 0.00062923 | 0.43764 | 0.43764 | 0.43764 | 0.98746 | -0.2391 | 0.99112 | -0.16879 | 40.0773
7 | 0.050496 | 0.012742 | -0.050294 | -0.012613 | 0.00020196 | 0.00012807 | 0.076124 | 0.076125 | 0.076125 | 0.98746 | -0.2391 | 0.98314 | -0.32298 | 20.9134
8 | 0.12505 | 0.031618 | -0.12492 | -0.031539 | 0.000125 | 7.8962e-05 | 0.19024 | 0.19025 | 0.19025 | 0.97858 | -0.41112 | 0.97751 | -0.43198 | 17.4217
9 | 0.048373 | 0.012136 | -0.048356 | -0.012126 | 1.6944e-05 | 1.0734e-05 | 0.072629 | 0.072629 | 0.072629 | 0.99112 | -0.16879 | 0.99074 | -0.17614 | 19.9531
10 | -0.33955 | -0.086479 | 0.34012 | 0.086846 | 0.00057456 | 0.00036703 | 0.51027 | 0.51027 | 0.51027 | 0.99112 | -0.16879 | 0.99295 | -0.13378 | 46.7282
11 | 0.026111 | 0.0065526 | -0.026086 | -0.0065369 | 2.5356e-05 | 1.5679e-05 | 0.039523 | 0.039523 | 0.039523 | 0.98314 | -0.32298 | 0.9821 | -0.34336 | 10.8581
12 | 0.10195 | 0.025782 | -0.10194 | -0.025778 | 7.1482e-06 | 4.4857e-06 | 0.15528 | 0.15528 | 0.15528 | 0.97751 | -0.43198 | 0.97744 | -0.43345 | 14.2196
13 | 0.024187 | 0.0060682 | -0.024169 | -0.0060574 | 1.7583e-05 | 1.0796e-05 | 0.036329 | 0.036329 | 0.036329 | 0.99074 | -0.17614 | 0.98995 | -0.1914 | 9.9805
14 | -0.37564 | -0.095769 | 0.37632 | 0.096199 | 0.00067271 | 0.00042988 | 0.56351 | 0.56351 | 0.56351 | 0.99295 | -0.13378 | 0.99489 | -0.096752 | 51.6036
15 | 0.035522 | 0.0089232 | -0.035473 | -0.0088922 | 4.9343e-05 | 3.098e-05 | 0.05324 | 0.053241 | 0.053241 | 0.99295 | -0.13378 | 0.99144 | -0.16293 | 14.6265
16 | 0.0044834 | 0.0011228 | -0.0044828 | -0.0011229 | 5.8091e-07 | -5.2983e-08 | 0.0067927 | 0.0067928 | 0.0067928 | 0.9821 | -0.34336 | 0.98196 | -0.34608 | 1.8662
17 | 0.09768 | 0.024709 | -0.09737 | -0.024515 | 0.00031061 | 0.00019458 | 0.14879 | 0.14879 | 0.14879 | 0.97744 | -0.43345 | 0.97404 | -0.49995 | 13.6254
18 | -0.004481 | -0.0011231 | 0.0044828 | 0.0011229 | 1.7769e-06 | -1.612e-07 | 0.0067933 | 0.0067928 | 0.0067933 | 0.98154 | -0.35441 | 0.98196 | -0.34608 | 1.8663
19 | -0.017734 | -0.0044445 | 0.017739 | 0.0044477 | 5.3586e-06 | 3.1696e-06 | 0.026625 | 0.026625 | 0.026625 | 0.99112 | -0.16927 | 0.99144 | -0.16293 | 7.3145
20 | -0.38655 | -0.098765 | 0.38664 | 0.098821 | 8.7201e-05 | 5.5728e-05 | 0.57882 | 0.57882 | 0.57882 | 0.99489 | -0.096752 | 0.99514 | -0.092088 | 53.0058
21 | -0.4 | -0.10217 | 0.40071 | 0.10262 | 0.00070971 | 0.00045359 | 0.59879 | 0.59879 | 0.59879 | 0.99514 | -0.092088 | 0.99707 | -0.055458 | 54.8345
22 | -0.41406 | -0.10597 | 0.41482 | 0.10645 | 0.00075773 | 0.00048432 | 0.61872 | 0.61872 | 0.61872 | 0.99707 | -0.055458 | 0.99906 | -0.017738 | 56.6595
23 | -0.41704 | -0.10701 | 0.41738 | 0.10722 | 0.0003349 | 0.00021406 | 0.62203 | 0.62203 | 0.62203 | 0.99906 | -0.017738 | 0.99994 | -0.0012015 | 56.9626
24 | -0.41966 | -0.1078 | 0.41968 | 0.10781 | 2.4485e-05 | 1.5651e-05 | 0.62543 | 0.62543 | 0.62543 | 0.99994 | -0.0012015 | 1 | 0 | 57.2734
25 | 0.0046102 | 0.0011554 | -0.00461 | -0.0011554 | 1.4153e-07 | -1.4631e-08 | 0.00686 | 0.00686 | 0.00686 | 1 | 0 | 0.99997 | -0.00064441 | 1.8846
26 | 0.09737 | 0.024515 | -0.09707 | -0.024327 | 0.00029994 | 0.00018793 | 0.14879 | 0.14879 | 0.14879 | 0.97404 | -0.49995 | 0.97077 | -0.5646 | 13.6255
27 | 0.085254 | 0.021365 | -0.085238 | -0.021356 | 1.5845e-05 | 9.8655e-06 | 0.13068 | 0.13068 | 0.13068 | 0.97077 | -0.5646 | 0.97057 | -0.5685 | 11.967
28 | 0.013644 | 0.0034124 | -0.01364 | -0.0034126 | 4.3902e-06 | -1.6566e-07 | 0.020916 | 0.020917 | 0.020917 | 0.97057 | -0.5685 | 0.97023 | -0.57527 | 1.9154
29 | 0.0034234 | 0.00085211 | -0.0034233 | -0.00085243 | 3.2058e-08 | -3.2444e-07 | 0.0052482 | 0.0052484 | 0.0052484 | 0.97023 | -0.57527 | 0.97022 | -0.57546 | 0.48062
30 | 0.0024055 | 0.00059733 | -0.0024054 | -0.00059813 | 3.767e-08 | -7.9702e-07 | 0.0036873 | 0.0036875 | 0.0036875 | 0.97022 | -0.57546 | 0.9702 | -0.57579 | 0.33769
31 | 0.0024054 | 0.00059813 | -0.0024054 | -0.00059872 | 2.8185e-08 | -5.9622e-07 | 0.0036875 | 0.0036878 | 0.0036878 | 0.9702 | -0.57579 | 0.97019 | -0.57604 | 0.33771
32 | 0.0013875 | 0.00034362 | -0.0013875 | -0.00034643 | 4.3395e-08 | -2.8145e-06 | 0.0021266 | 0.0021276 | 0.0021276 | 0.97019 | -0.57604 | 0.97016 | -0.5767 | 0.19484
33 | 0.0013875 | 0.00034643 | -0.0013873 | -0.00034755 | 1.6789e-07 | -1.1133e-06 | 0.0021276 | 0.0021281 | 0.0021281 | 0.97016 | -0.5767 | 0.97003 | -0.57925 | 0.58464
34 | 0.0013873 | 0.00034755 | -0.0013873 | -0.00034769 | 2.1464e-08 | -1.4227e-07 | 0.0021281 | 0.0021281 | 0.0021281 | 0.97003 | -0.57925 | 0.97001 | -0.57957 | 0.58465

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.42942 | 0.10984

## res_load
| p_mw | q_mvar
0 | 0.0036444 | 0.00091338
1 | 0.043296 | 0.010851
2 | 0.0024797 | 0.00062147
3 | 0.011874 | 0.002976
4 | 0.051742 | 0.012968
5 | 0.024183 | 0.0060608
6 | 0.022971 | 0.005757
7 | 0.024169 | 0.0060574
8 | 0.021602 | 0.0054141
9 | 0.0042635 | 0.0010685
10 | 0.004481 | 0.0011231
11 | 0.024169 | 0.0060574
12 | 0.017734 | 0.0044445
13 | 0.017734 | 0.0044445
14 | 0.010238 | 0.0025658
15 | 0.013355 | 0.0033471
16 | 0.013354 | 0.0033468
17 | 0.0022221 | 0.00055691
18 | 0.0022809 | 0.00057165
19 | 0.0034787 | 0.00087184
20 | 0.00461 | 0.0011554
21 | 0.011815 | 0.0029612
22 | 0.071594 | 0.017943
23 | 0.010216 | 0.0025604
24 | 0.0010179 | 0.0002551
25 | 0.0010179 | 0.0002551
26 | 0.0013873 | 0.00034769

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1