## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1341-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1341-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1341-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1341-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1341-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1341-3_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1341-3_0_3_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_1341-3_0_3_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_1341-3_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1341-3_0_3_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_1341-3_0_3_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_1341-3_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1341-3_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1341-3_0_3_node_32 | 0.4 | n |  | TRUE
14 | bus_LV_1341-3_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1341-3_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1341-3_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1341-3_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1341-3_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1341-3_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1341-3_0_3_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_1341-3_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1341-3_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_1341-3_0_3_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_1341-3_0_3_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_1341-3_0_3_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_1341-3_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_1341-3_0_3_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_1341-3_0_3_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_1341-3_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_1341-3_0_3_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_1341-3_0_3_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_1341-3_0_3_node_29 | 0.4 | n |  | TRUE
33 | bus_MV_223_0_node_43 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1341-3_0_3_load_0 | 0 | 0.0041661 | 0.0010441 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1341-3_0_3_load_4 | 4 | 0.0064546 | 0.0016177 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1341-3_0_3_load_25 | 7 | 0.0093974 | 0.0023552 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1341-3_0_3_load_6 | 8 | 0.010853 | 0.0027201 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1341-3_0_3_load_27 | 9 | 0.0046813 | 0.0011732 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1341-3_0_3_load_19 | 10 | 0.011172 | 0.0028 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1341-3_0_3_load_7 | 11 | 0.0020976 | 0.00052572 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1341-3_0_3_load_8 | 12 | 0.001853 | 0.0004644 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1341-3_0_3_load_32 | 13 | 0.0028879 | 0.00072376 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1341-3_0_3_load_9 | 14 | 0.0088526 | 0.0022187 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1341-3_0_3_load_10 | 15 | 0.0097765 | 0.0024502 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1341-3_0_3_load_12 | 17 | 0.018892 | 0.0047349 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1341-3_0_3_load_14 | 19 | 0.012419 | 0.0031126 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1341-3_0_3_load_18 | 20 | 0.014048 | 0.0035207 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1341-3_0_3_load_17 | 21 | 0.014101 | 0.0035341 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1341-3_0_3_load_15 | 22 | 0.01242 | 0.0031128 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1341-3_0_3_load_24 | 24 | 0.015704 | 0.0039358 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1341-3_0_3_load_16 | 26 | 0.021627 | 0.0054204 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1341-3_0_3_load_21 | 27 | 0.078235 | 0.019608 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1341-3_0_3_load_23 | 29 | 0.010634 | 0.002665 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1341-3_0_3_load_22 | 30 | 0.0064853 | 0.0016254 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1341-3_0_3_load_28 | 31 | 0.0081238 | 0.002036 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1341-3_0_3_load_29 | 32 | 0.0060472 | 0.0015156 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1341-3_0_3_line_0 |  | 0 | 1 | 0.029216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1341-3_0_3_line_1 |  | 0 | 2 | 0.021852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1341-3_0_3_line_2 |  | 1 | 3 | 0.023106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1341-3_0_3_line_3 |  | 1 | 4 | 0.0086118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1341-3_0_3_line_4 |  | 2 | 5 | 0.052892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1341-3_0_3_line_5 |  | 3 | 6 | 0.021094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1341-3_0_3_line_6 |  | 3 | 7 | 0.007714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1341-3_0_3_line_7 |  | 5 | 8 | 0.033547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1341-3_0_3_line_8 |  | 6 | 9 | 0.01083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1341-3_0_3_line_9 |  | 7 | 10 | 0.01261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1341-3_0_3_line_10 |  | 8 | 11 | 0.057062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1341-3_0_3_line_11 |  | 10 | 17 | 0.01652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1341-3_0_3_line_12 |  | 11 | 12 | 0.011399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1341-3_0_3_line_13 |  | 12 | 13 | 0.017101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1341-3_0_3_line_14 |  | 14 | 15 | 0.021645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_1341-3_0_3_line_15 |  | 14 | 16 | 0.015471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_1341-3_0_3_line_16 |  | 15 | 17 | 0.033628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1341-3_0_3_line_17 |  | 16 | 18 | 0.023681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1341-3_0_3_line_18 |  | 16 | 19 | 0.018043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1341-3_0_3_line_19 |  | 17 | 20 | 0.012621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1341-3_0_3_line_20 |  | 18 | 21 | 0.018053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1341-3_0_3_line_21 |  | 18 | 22 | 0.019772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1341-3_0_3_line_22 |  | 19 | 23 | 0.011031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1341-3_0_3_line_23 |  | 20 | 24 | 0.015513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1341-3_0_3_line_24 |  | 21 | 25 | 0.037306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1341-3_0_3_line_25 |  | 22 | 26 | 0.070364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1341-3_0_3_line_26 |  | 23 | 27 | 0.005571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1341-3_0_3_line_27 |  | 24 | 29 | 0.014969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1341-3_0_3_line_28 |  | 25 | 28 | 0.030796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1341-3_0_3_line_29 |  | 28 | 32 | 0.046294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1341-3_0_3_line_30 |  | 29 | 30 | 0.0027564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1341-3_0_3_line_31 |  | 31 | 32 | 0.016603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1341-3_0_3_trafo_10 | 0.63 MVA 20/0.4 kV | 33 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2704889.3061 | 1227912.2411 | 2704889.2258 | 1227917.2212 | 2704881.8917 | 1227917.0695 | 2704876.5037 | 1227917.8751 | 2704874.6984 | 1227918.3881 | 2704872.9564 | 1227919.6028 | 2704872.0998 | 1227921.3334 | 2704871.9243 | 1227923.5431 | 2704872.2916 | 1227926.8259
1 | 2704875.4947 | 1227948.4356 | 2704875.0801 | 1227946.16 | 2704873.0111 | 1227933.2583 | 2704872.2916 | 1227926.8259
2 | 2704889.3061 | 1227912.2411 | 2704866.133 | 1227912.4105
3 | 2704889.3061 | 1227912.2411 | 2704897.9125 | 1227912.5491
4 | 2704830.3316 | 1227962.072 | 2704845.452 | 1227959.5144 | 2704844.753 | 1227955.31 | 2704844.4594 | 1227953.4813 | 2704875.4947 | 1227948.4356
5 | 2704866.133 | 1227912.4105 | 2704865.8899 | 1227933.4997
6 | 2704866.133 | 1227912.4105 | 2704866.8382 | 1227904.7288
7 | 2704830.3316 | 1227962.072 | 2704831.0665 | 1227995.611
8 | 2704865.8899 | 1227933.4997 | 2704855.1929 | 1227935.1896
9 | 2704867.991 | 1227892.1714 | 2704866.8382 | 1227904.7288
10 | 2704860.1223 | 1228039.8612 | 2704834.1243 | 1228018.2028 | 2704831.9098 | 1228014.4166 | 2704831.3689 | 1228009.4144 | 2704831.0665 | 1227995.611
11 | 2704869.5012 | 1227875.7204 | 2704867.991 | 1227892.1714
12 | 2704869.8559 | 1228044.6634 | 2704866.6857 | 1228044.7854 | 2704864.3009 | 1228043.3423 | 2704860.1223 | 1228039.8612
13 | 2704884.139 | 1228035.4194 | 2704872.7093 | 1228043.6018 | 2704869.8559 | 1228044.6634
14 | 2704872.1248 | 1227820.6928 | 2704873.1703 | 1227827.994 | 2704873.2354 | 1227835.0448 | 2704872.5755 | 1227842.2327
15 | 2704869.8095 | 1227805.3957 | 2704871.6587 | 1227817.4373 | 2704872.1248 | 1227820.6928
16 | 2704869.5012 | 1227875.7204 | 2704872.5755 | 1227842.2327
17 | 2704893.3332 | 1227802.1302 | 2704869.8095 | 1227805.3957
18 | 2704869.8095 | 1227805.3957 | 2704858.011 | 1227807.3892 | 2704852.0188 | 1227808.4013
19 | 2704869.5012 | 1227875.7204 | 2704882.107 | 1227876.3344
20 | 2704893.3332 | 1227802.1302 | 2704911.3656 | 1227801.265
21 | 2704893.3332 | 1227802.1302 | 2704892.1774 | 1227790.7458 | 2704893.3007 | 1227782.4928 | 2704893.3007 | 1227782.4928
22 | 2704841.1418 | 1227810.2385 | 2704852.0188 | 1227808.4013
23 | 2704897.6017 | 1227877.0891 | 2704882.107 | 1227876.3344
24 | 2704948.6376 | 1227799.7371 | 2704939.926 | 1227799.8946 | 2704911.3656 | 1227801.265
25 | 2704893.3007 | 1227782.4928 | 2704896.2047 | 1227712.1884
26 | 2704841.1418 | 1227810.2385 | 2704841.7491 | 1227815.7755
27 | 2704897.6017 | 1227877.0891 | 2704912.5527 | 1227877.8173
28 | 2704948.6376 | 1227799.7371 | 2704950.3451 | 1227818.937 | 2704951.3629 | 1227830.408
29 | 2704951.3629 | 1227830.408 | 2704953.7464 | 1227857.2589 | 2704956.6619 | 1227876.375
30 | 2704912.5527 | 1227877.8173 | 2704915.3058 | 1227877.9514
31 | 2704959.4697 | 1227892.7013 | 2704958.977 | 1227891.5544 | 2704956.6619 | 1227876.375

## bus_geodata
| x | y | coords
0 | 2704872.2916 | 1227926.8259
1 | 2704889.3061 | 1227912.2411
2 | 2704875.4947 | 1227948.4356
3 | 2704866.133 | 1227912.4105
4 | 2704897.9125 | 1227912.5491
5 | 2704830.3316 | 1227962.072
6 | 2704865.8899 | 1227933.4997
7 | 2704866.8382 | 1227904.7288
8 | 2704831.0665 | 1227995.611
9 | 2704855.1929 | 1227935.1896
10 | 2704867.991 | 1227892.1714
11 | 2704860.1223 | 1228039.8612
12 | 2704869.8559 | 1228044.6634
13 | 2704884.139 | 1228035.4194
14 | 2704872.1249 | 1227820.6928
15 | 2704872.5755 | 1227842.2327
16 | 2704869.8095 | 1227805.3957
17 | 2704869.5012 | 1227875.7204
18 | 2704893.3332 | 1227802.1302
19 | 2704852.0188 | 1227808.4013
20 | 2704882.107 | 1227876.3344
21 | 2704911.3656 | 1227801.265
22 | 2704893.3007 | 1227782.4928
23 | 2704841.1418 | 1227810.2385
24 | 2704897.6017 | 1227877.0891
25 | 2704948.6376 | 1227799.7371
26 | 2704896.2047 | 1227712.1884
27 | 2704841.7491 | 1227815.7755
28 | 2704951.3629 | 1227830.408
29 | 2704912.5527 | 1227877.8173
30 | 2704915.3058 | 1227877.9514
31 | 2704959.4697 | 1227892.7013
32 | 2704956.6619 | 1227876.375
33 | 2704869.5012 | 1227875.7204

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99363 | -0.12245 | 0.0041661 | 0.0010441
1 | 0.99422 | -0.11118 | 0 | 0
2 | 0.99328 | -0.12928 | 0 | 0
3 | 0.99481 | -0.099647 | 0 | 0
4 | 0.99417 | -0.11216 | 0.0064546 | 0.0016177
5 | 0.99242 | -0.14583 | 0 | 0
6 | 0.99472 | -0.10139 | 0 | 0
7 | 0.99505 | -0.095164 | 0.0093974 | 0.0023552
8 | 0.99188 | -0.15634 | 0.010853 | 0.0027201
9 | 0.99468 | -0.10228 | 0.0046813 | 0.0011732
10 | 0.99553 | -0.085756 | 0.011172 | 0.0028
11 | 0.99152 | -0.16326 | 0.0020976 | 0.00052572
12 | 0.99148 | -0.16421 | 0.001853 | 0.0004644
13 | 0.99143 | -0.16509 | 0.0028879 | 0.00072376
14 | 0.9984 | -0.030576 | 0.0088526 | 0.0022187
15 | 1 | 0 | -0.28413 | -0.071301
16 | 0.99732 | -0.051291 | 0 | 0
17 | 0.99634 | -0.070204 | 0.018892 | 0.0047349
18 | 0.99598 | -0.07719 | 0 | 0
19 | 0.99583 | -0.079997 | 0.012419 | 0.0031126
20 | 0.9958 | -0.080596 | 0.014048 | 0.0035207
21 | 0.99551 | -0.086164 | 0.014101 | 0.0035341
22 | 0.99537 | -0.089027 | 0.01242 | 0.0031128
23 | 0.99505 | -0.095177 | 0 | 0
24 | 0.99534 | -0.089551 | 0.015704 | 0.0039358
25 | 0.99503 | -0.095468 | 0 | 0
26 | 0.99398 | -0.11584 | 0.021627 | 0.0054204
27 | 0.99465 | -0.10285 | 0.078235 | 0.019608
28 | 0.99463 | -0.10316 | 0 | 0
29 | 0.99511 | -0.09406 | 0.010634 | 0.002665
30 | 0.99509 | -0.094375 | 0.0064853 | 0.0016254
31 | 0.99391 | -0.1171 | 0.0081238 | 0.002036
32 | 0.99404 | -0.11472 | 0.0060472 | 0.0015156
33 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.021889 | -0.0054956 | 0.021901 | 0.0055027 | 1.1775e-05 | 7.1573e-06 | 0.032784 | 0.032783 | 0.032784 | 0.99363 | -0.12245 | 0.99422 | -0.11118 | 9.0065
1 | 0.017723 | 0.0044515 | -0.017717 | -0.0044481 | 5.774e-06 | 3.4124e-06 | 0.026545 | 0.026545 | 0.026545 | 0.99363 | -0.12245 | 0.99328 | -0.12928 | 7.2925
2 | -0.028356 | -0.0071205 | 0.028371 | 0.0071302 | 1.561e-05 | 9.6903e-06 | 0.042444 | 0.042444 | 0.042444 | 0.99422 | -0.11118 | 0.99481 | -0.099647 | 11.6605
3 | 0.0064549 | 0.0016177 | -0.0064546 | -0.0016177 | 3.0141e-07 | 8.1229e-08 | 0.0096608 | 0.0096608 | 0.0096608 | 0.99422 | -0.11118 | 0.99417 | -0.11216 | 2.6541
4 | 0.017717 | 0.0044481 | -0.017703 | -0.0044398 | 1.3976e-05 | 8.2606e-06 | 0.026545 | 0.026545 | 0.026545 | 0.99328 | -0.12928 | 0.99242 | -0.14583 | 7.2926
5 | 0.0046819 | 0.0011732 | -0.0046815 | -0.0011732 | 3.8794e-07 | -2.5569e-08 | 0.007003 | 0.0070031 | 0.0070031 | 0.99481 | -0.099647 | 0.99472 | -0.10139 | 1.9239
6 | -0.033053 | -0.0083034 | 0.03306 | 0.0083078 | 7.0728e-06 | 4.4264e-06 | 0.049447 | 0.049447 | 0.049447 | 0.99481 | -0.099647 | 0.99505 | -0.095164 | 13.5844
7 | 0.017703 | 0.0044398 | -0.017694 | -0.0044346 | 8.8644e-06 | 5.24e-06 | 0.026545 | 0.026545 | 0.026545 | 0.99242 | -0.14583 | 0.99188 | -0.15634 | 7.2926
8 | 0.0046815 | 0.0011732 | -0.0046813 | -0.0011732 | 1.9917e-07 | -1.3105e-08 | 0.0070031 | 0.0070032 | 0.0070032 | 0.99472 | -0.10139 | 0.99468 | -0.10228 | 1.9239
9 | -0.042458 | -0.010663 | 0.042477 | 0.010675 | 1.9068e-05 | 1.204e-05 | 0.0635 | 0.0635 | 0.0635 | 0.99505 | -0.095164 | 0.99553 | -0.085756 | 17.4451
10 | 0.006841 | 0.0017144 | -0.0068388 | -0.0017137 | 2.2539e-06 | 7.0623e-07 | 0.010263 | 0.010263 | 0.010263 | 0.99188 | -0.15634 | 0.99152 | -0.16326 | 2.8195
11 | -0.053649 | -0.013475 | 0.053689 | 0.0135 | 3.9846e-05 | 2.5286e-05 | 0.080199 | 0.080199 | 0.080199 | 0.99553 | -0.085756 | 0.99634 | -0.070204 | 22.0327
12 | 0.0047412 | 0.001188 | -0.0047409 | -0.001188 | 2.164e-07 | -8.5159e-09 | 0.0071151 | 0.0071152 | 0.0071152 | 0.99152 | -0.16326 | 0.99148 | -0.16421 | 1.9547
13 | 0.002888 | 0.00072362 | -0.0028879 | -0.00072376 | 1.2047e-07 | -1.4343e-07 | 0.0043342 | 0.0043343 | 0.0043343 | 0.99148 | -0.16421 | 0.99143 | -0.16509 | 1.1907
14 | -0.16235 | -0.040885 | 0.16258 | 0.041037 | 0.00023773 | 0.00015158 | 0.24203 | 0.24203 | 0.24203 | 0.9984 | -0.030576 | 1 | 0 | 33.2456
15 | 0.15349 | 0.038666 | -0.15334 | -0.038569 | 0.00015191 | 9.6815e-05 | 0.22883 | 0.22883 | 0.22883 | 0.9984 | -0.030576 | 0.99732 | -0.051291 | 31.4333
16 | 0.11989 | 0.030264 | -0.11949 | -0.030008 | 0.00040172 | 0.00025666 | 0.17848 | 0.17848 | 0.17848 | 1 | 0 | 0.99634 | -0.070204 | 49.0333
17 | 0.062476 | 0.015716 | -0.062399 | -0.015666 | 7.7196e-05 | 4.9097e-05 | 0.093235 | 0.093235 | 0.093235 | 0.99732 | -0.051291 | 0.99598 | -0.07719 | 25.6141
18 | 0.090864 | 0.022854 | -0.09074 | -0.022775 | 0.00012441 | 7.9386e-05 | 0.1356 | 0.1356 | 0.1356 | 0.99732 | -0.051291 | 0.99583 | -0.079997 | 37.2525
19 | 0.046912 | 0.011773 | -0.046888 | -0.011758 | 2.3235e-05 | 1.4706e-05 | 0.070067 | 0.070067 | 0.070067 | 0.99634 | -0.070204 | 0.9958 | -0.080596 | 19.2492
20 | 0.028304 | 0.0071044 | -0.028292 | -0.0070969 | 1.2108e-05 | 7.5145e-06 | 0.042291 | 0.042291 | 0.042291 | 0.99598 | -0.07719 | 0.99551 | -0.086164 | 11.6185
21 | 0.034095 | 0.008562 | -0.034075 | -0.00855 | 1.9243e-05 | 1.2058e-05 | 0.050944 | 0.050944 | 0.050944 | 0.99598 | -0.07719 | 0.99537 | -0.089027 | 13.9957
22 | 0.078321 | 0.019662 | -0.078264 | -0.019626 | 5.6667e-05 | 3.6123e-05 | 0.11704 | 0.11704 | 0.11704 | 0.99583 | -0.079997 | 0.99505 | -0.095177 | 32.1543
23 | 0.032841 | 0.0082372 | -0.032827 | -0.0082284 | 1.4011e-05 | 8.7653e-06 | 0.049076 | 0.049076 | 0.049076 | 0.9958 | -0.080596 | 0.99534 | -0.089551 | 13.4824
24 | 0.014191 | 0.0035628 | -0.014185 | -0.0035593 | 6.296e-06 | 3.5446e-06 | 0.021214 | 0.021214 | 0.021214 | 0.99551 | -0.086164 | 0.99503 | -0.095468 | 5.8281
25 | 0.021655 | 0.0054371 | -0.021627 | -0.0054204 | 2.766e-05 | 1.6789e-05 | 0.032377 | 0.032377 | 0.032377 | 0.99537 | -0.089027 | 0.99398 | -0.11584 | 8.8948
26 | 0.078264 | 0.019626 | -0.078235 | -0.019608 | 2.8618e-05 | 1.8243e-05 | 0.11704 | 0.11704 | 0.11704 | 0.99505 | -0.095177 | 0.99465 | -0.10285 | 32.1543
27 | 0.017123 | 0.0042926 | -0.017119 | -0.0042904 | 3.6783e-06 | 2.1596e-06 | 0.025599 | 0.025599 | 0.025599 | 0.99534 | -0.089551 | 0.99511 | -0.09406 | 7.0326
28 | 0.014185 | 0.0035593 | -0.01418 | -0.0035563 | 5.1973e-06 | 2.9264e-06 | 0.021214 | 0.021214 | 0.021214 | 0.99503 | -0.095468 | 0.99463 | -0.10316 | 5.8281
29 | 0.01418 | 0.0035563 | -0.014172 | -0.0035519 | 7.813e-06 | 4.3998e-06 | 0.021214 | 0.021215 | 0.021215 | 0.99463 | -0.10316 | 0.99404 | -0.11472 | 5.8282
30 | 0.0064854 | 0.0016254 | -0.0064853 | -0.0016254 | 9.7212e-08 | 2.6408e-08 | 0.0096979 | 0.0096979 | 0.0096979 | 0.99511 | -0.09406 | 0.99509 | -0.094375 | 2.6642
31 | -0.0081238 | -0.002036 | 0.0081247 | 0.0020364 | 9.2099e-07 | 3.7423e-07 | 0.012162 | 0.012162 | 0.012162 | 0.99391 | -0.1171 | 0.99404 | -0.11472 | 3.3413

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.2939 | 0.073751

## res_load
| p_mw | q_mvar
0 | 0.0041661 | 0.0010441
1 | 0.0064546 | 0.0016177
2 | 0.0093974 | 0.0023552
3 | 0.010853 | 0.0027201
4 | 0.0046813 | 0.0011732
5 | 0.011172 | 0.0028
6 | 0.0020976 | 0.00052572
7 | 0.001853 | 0.0004644
8 | 0.0028879 | 0.00072376
9 | 0.0088526 | 0.0022187
10 | 0.0097765 | 0.0024502
11 | 0.018892 | 0.0047349
12 | 0.012419 | 0.0031126
13 | 0.014048 | 0.0035207
14 | 0.014101 | 0.0035341
15 | 0.01242 | 0.0031128
16 | 0.015704 | 0.0039358
17 | 0.021627 | 0.0054204
18 | 0.078235 | 0.019608
19 | 0.010634 | 0.002665
20 | 0.0064853 | 0.0016254
21 | 0.0081238 | 0.002036
22 | 0.0060472 | 0.0015156

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1