## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1341-6_1_3_node_7 | 0.4 | n |  | TRUE
1 | bus_LV_1341-6_1_3_node_12 | 0.4 | n |  | TRUE
2 | bus_LV_1341-6_1_3_node_10 | 0.4 | n |  | TRUE
3 | bus_LV_1341-6_1_3_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_1341-6_1_3_node_210 | 0.4 | n |  | TRUE
5 | bus_LV_1341-6_1_3_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_1341-6_1_3_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_1341-6_1_3_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_1341-6_1_3_node_208 | 0.4 | n |  | TRUE
9 | bus_LV_1341-6_1_3_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_1341-6_1_3_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_1341-6_1_3_node_30 | 0.4 | n |  | TRUE
12 | bus_LV_1341-6_1_3_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_1341-6_1_3_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_1341-6_1_3_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_1341-6_1_3_node_219 | 0.4 | n |  | TRUE
16 | bus_LV_1341-6_1_3_node_207 | 0.4 | n |  | TRUE
17 | bus_LV_1341-6_1_3_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_1341-6_1_3_node_35 | 0.4 | n |  | TRUE
19 | bus_LV_1341-6_1_3_node_31 | 0.4 | n |  | TRUE
20 | bus_LV_1341-6_1_3_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_1341-6_1_3_node_62 | 0.4 | n |  | TRUE
22 | bus_LV_1341-6_1_3_node_63 | 0.4 | n |  | TRUE
23 | bus_LV_1341-6_1_3_node_66 | 0.4 | n |  | TRUE
24 | bus_LV_1341-6_1_3_node_64 | 0.4 | n |  | TRUE
25 | bus_LV_1341-6_1_3_node_67 | 0.4 | n |  | TRUE
26 | bus_LV_1341-6_1_3_node_68 | 0.4 | n |  | TRUE
27 | bus_LV_1341-6_1_3_node_65 | 0.4 | n |  | TRUE
28 | bus_LV_1341-6_1_3_node_69 | 0.4 | n |  | TRUE
29 | bus_LV_1341-6_1_3_node_71 | 0.4 | n |  | TRUE
30 | bus_LV_1341-6_1_3_node_206 | 0.4 | n |  | TRUE
31 | bus_LV_1341-6_1_3_node_201 | 0.4 | n |  | TRUE
32 | bus_LV_1341-6_1_3_node_209 | 0.4 | n |  | TRUE
33 | bus_LV_1341-6_1_3_node_211 | 0.4 | n |  | TRUE
34 | bus_LV_1341-6_1_3_node_212 | 0.4 | n |  | TRUE
35 | bus_LV_1341-6_1_3_node_213 | 0.4 | n |  | TRUE
36 | bus_LV_1341-6_1_3_node_214 | 0.4 | n |  | TRUE
37 | bus_LV_1341-6_1_3_node_215 | 0.4 | n |  | TRUE
38 | bus_LV_1341-6_1_3_node_218 | 0.4 | n |  | TRUE
39 | bus_LV_1341-6_1_3_node_216 | 0.4 | n |  | TRUE
40 | bus_MV_223_0_node_47 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1341-6_1_3_load_12 | 1 | 0.0023969 | 0.00060071 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1341-6_1_3_load_11 | 3 | 0.0015154 | 0.00037979 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1341-6_1_3_load_210 | 4 | 0.0009173 | 0.0002299 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1341-6_1_3_load_16 | 6 | 0.0013402 | 0.00033589 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1341-6_1_3_load_17 | 7 | 0.0022198 | 0.00055634 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1341-6_1_3_load_25 | 10 | 0.00064993 | 0.00016289 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1341-6_1_3_load_30 | 11 | 0.00091962 | 0.00023048 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1341-6_1_3_load_26 | 12 | 0.0026242 | 0.00065768 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1341-6_1_3_load_27 | 13 | 0.0040379 | 0.001012 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1341-6_1_3_load_28 | 14 | 0.0013143 | 0.0003294 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1341-6_1_3_load_219 | 15 | 0.0016404 | 0.00041113 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1341-6_1_3_load_207 | 16 | 0.001081 | 0.00027092 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1341-6_1_3_load_29 | 17 | 0.0022972 | 0.00057574 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1341-6_1_3_load_35 | 18 | 0.00082648 | 0.00020714 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1341-6_1_3_load_31 | 19 | 0.00082604 | 0.00020703 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1341-6_1_3_load_33 | 20 | 0.00082708 | 0.00020729 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1341-6_1_3_load_62 | 21 | 0.0069836 | 0.0017503 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1341-6_1_3_load_63 | 22 | 0.011583 | 0.0029029 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1341-6_1_3_load_66 | 23 | 0.0035311 | 0.00088497 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1341-6_1_3_load_67 | 25 | 0.0017577 | 0.00044053 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1341-6_1_3_load_65 | 27 | 0.0075286 | 0.0018868 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1341-6_1_3_load_69 | 28 | 0.0023091 | 0.00057872 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1341-6_1_3_load_71 | 29 | 0.0019366 | 0.00048536 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1341-6_1_3_load_206 | 30 | 0.0033953 | 0.00085095 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1341-6_1_3_load_201 | 31 | 0.0083816 | 0.0021006 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1341-6_1_3_load_209 | 32 | 0.00059476 | 0.00014906 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1341-6_1_3_load_211 | 33 | 0.001129 | 0.00028296 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1341-6_1_3_load_212 | 34 | 0.0004238 | 0.00010621 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1341-6_1_3_load_213 | 35 | 0.0013882 | 0.00034793 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1341-6_1_3_load_214 | 36 | 0.00096406 | 0.00024162 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1341-6_1_3_load_215 | 37 | 0.001227 | 0.00030752 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1341-6_1_3_load_218 | 38 | 0.00087155 | 0.00021843 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1341-6_1_3_load_216 | 39 | 0.0028494 | 0.00071414 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1341-6_1_3_line_0 |  | 0 | 1 | 0.050939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1341-6_1_3_line_1 |  | 0 | 2 | 0.14761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1341-6_1_3_line_2 |  | 1 | 5 | 0.017992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1341-6_1_3_line_3 |  | 2 | 3 | 0.049467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1341-6_1_3_line_4 |  | 3 | 4 | 0.17804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1341-6_1_3_line_5 |  | 4 | 33 | 0.1099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1341-6_1_3_line_6 |  | 4 | 8 | 0.10554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1341-6_1_3_line_7 |  | 5 | 9 | 0.072785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1341-6_1_3_line_8 |  | 6 | 7 | 0.088365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1341-6_1_3_line_9 |  | 6 | 8 | 0.14193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1341-6_1_3_line_10 |  | 8 | 32 | 0.090019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1341-6_1_3_line_11 |  | 9 | 10 | 0.032279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1341-6_1_3_line_12 |  | 10 | 11 | 0.053346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1341-6_1_3_line_13 |  | 11 | 18 | 0.13385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1341-6_1_3_line_14 |  | 11 | 17 | 0.036995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1341-6_1_3_line_15 |  | 12 | 13 | 0.038269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1341-6_1_3_line_16 |  | 12 | 14 | 0.11643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_1341-6_1_3_line_17 |  | 13 | 15 | 0.26842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1341-6_1_3_line_18 |  | 13 | 16 | 0.1538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1341-6_1_3_line_19 |  | 14 | 17 | 0.22283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_1341-6_1_3_line_20 |  | 16 | 30 | 0.042904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1341-6_1_3_line_21 |  | 18 | 20 | 0.0071729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1341-6_1_3_line_22 |  | 19 | 20 | 0.0086315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1341-6_1_3_line_23 |  | 21 | 22 | 0.0016435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1341-6_1_3_line_24 |  | 21 | 23 | 0.18364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1341-6_1_3_line_25 |  | 22 | 24 | 0.10465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1341-6_1_3_line_26 |  | 23 | 27 | 0.067126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1341-6_1_3_line_27 |  | 24 | 25 | 0.054068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1341-6_1_3_line_28 |  | 24 | 26 | 0.098879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1341-6_1_3_line_29 |  | 25 | 28 | 0.026662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1341-6_1_3_line_30 |  | 26 | 29 | 0.034521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1341-6_1_3_line_31 |  | 28 | 30 | 0.018467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1341-6_1_3_line_32 |  | 29 | 31 | 0.029197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1341-6_1_3_line_33 |  | 33 | 34 | 0.0020588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1341-6_1_3_line_34 |  | 34 | 35 | 0.024176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1341-6_1_3_line_35 |  | 35 | 36 | 0.031291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1341-6_1_3_line_36 |  | 36 | 37 | 0.08561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1341-6_1_3_line_37 |  | 36 | 38 | 0.14156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1341-6_1_3_line_38 |  | 37 | 39 | 0.030445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1341-6_1_3_trafo_29 | 0.63 MVA 20/0.4 kV | 40 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2705408.5801 | 1226637.0479 | 2705415.1171 | 1226639.0652 | 2705453.5262 | 1226660.7293
1 | 2705408.5801 | 1226637.0479 | 2705365.1314 | 1226495.9737
2 | 2705469.1972 | 1226669.5684 | 2705453.5262 | 1226660.7293
3 | 2705365.1314 | 1226495.9737 | 2705363.8252 | 1226486.6882 | 2705360.4226 | 1226478.911 | 2705353.4014 | 1226469.9801 | 2705343.7055 | 1226467.3843 | 2705335.0847 | 1226467.0092 | 2705333.5429 | 1226467.3272
4 | 2705497.8179 | 1226398.6947 | 2705333.5429 | 1226467.3272
5 | 2705497.8179 | 1226398.6947 | 2705529.6507 | 1226293.5092
6 | 2705600.5361 | 1226405.8352 | 2705591.1945 | 1226400.3653 | 2705577.759 | 1226405.1416 | 2705559.1406 | 1226406.3455 | 2705497.8179 | 1226398.6947
7 | 2705469.1972 | 1226669.5684 | 2705532.9924 | 1226704.948
8 | 2705623.7383 | 1226545.8557 | 2705625.3798 | 1226545.8356 | 2705648.2513 | 1226539.4813 | 2705662.0564 | 1226538.6369 | 2705675.9653 | 1226543.8989 | 2705678.8566 | 1226553.5463 | 2705687.1045 | 1226557.4068 | 2705702.209 | 1226557.2416 | 2705702.209 | 1226557.2416
9 | 2705600.5361 | 1226405.8352 | 2705623.7383 | 1226545.8557
10 | 2705600.5361 | 1226405.8352 | 2705607.3133 | 1226396.4707 | 2705611.7393 | 1226381.616 | 2705615.5446 | 1226367.9845 | 2705626.8667 | 1226363.1152 | 2705639.7525 | 1226365.3901 | 2705652.4952 | 1226362.4919 | 2705662.2649 | 1226359.1401
11 | 2705532.9924 | 1226704.948 | 2705539.029 | 1226712.0825 | 2705543.3789 | 1226734.5992
12 | 2705578.1233 | 1226768.3402 | 2705568.306 | 1226766.7647 | 2705552.8929 | 1226758.2961 | 2705545.2152 | 1226744.1049 | 2705543.3789 | 1226734.5992
13 | 2705489.0834 | 1226868.2789 | 2705578.1233 | 1226768.3402
14 | 2705614.8081 | 1226772.7015 | 2705601.1059 | 1226772.0284 | 2705578.1233 | 1226768.3402
15 | 2705944.0642 | 1226841.6063 | 2705972.5086 | 1226856.583 | 2705978.4412 | 1226858.0968
16 | 2705944.0642 | 1226841.6063 | 2705902.7377 | 1226819.8468 | 2705835.9997 | 1226799.6448
17 | 2705978.4412 | 1226858.0968 | 2706083.1204 | 1226610.9266
18 | 2705935.7587 | 1227005.8567 | 2705978.4412 | 1226858.0968
19 | 2705614.8081 | 1226772.7015 | 2705835.9997 | 1226799.6448
20 | 2705900.5522 | 1227030.303 | 2705904.3225 | 1227028.3748 | 2705935.7587 | 1227005.8567
21 | 2705487.4378 | 1226875.2605 | 2705489.0834 | 1226868.2789
22 | 2705485.4576 | 1226883.6618 | 2705487.4378 | 1226875.2605
23 | 2705728.6455 | 1227104.1641 | 2705730.2836 | 1227104.0307
24 | 2705570.1983 | 1227011.3266 | 2705728.6455 | 1227104.1641
25 | 2705833.4362 | 1227100.8119 | 2705825.3602 | 1227096.2871 | 2705730.2836 | 1227104.0307
26 | 2705570.1983 | 1227011.3266 | 2705569.7128 | 1227003.4879 | 2705549.3215 | 1226988.9487 | 2705543.2155 | 1226974.6297 | 2705549.7183 | 1226966.5947 | 2705551.5013 | 1226958.4628
27 | 2705833.4362 | 1227100.8119 | 2705852.8786 | 1227069.8124 | 2705861.8043 | 1227059.3968 | 2705864.5605 | 1227056.841
28 | 2705793.3746 | 1227191.0778 | 2705811.2754 | 1227144.0166 | 2705822.7204 | 1227121.092 | 2705833.4362 | 1227100.8119
29 | 2705864.5605 | 1227056.841 | 2705884.1106 | 1227038.7116 | 2705884.1106 | 1227038.7116
30 | 2705793.3746 | 1227191.0778 | 2705761.7965 | 1227187.5805 | 2705759.2592 | 1227188.642
31 | 2705900.5522 | 1227030.303 | 2705884.1106 | 1227038.7116
32 | 2705732.324 | 1227199.9106 | 2705759.2592 | 1227188.642
33 | 2705529.6507 | 1226293.5092 | 2705531.2673 | 1226292.2344
34 | 2705531.2673 | 1226292.2344 | 2705544.052 | 1226282.1524 | 2705549.0543 | 1226276.0447
35 | 2705549.0543 | 1226276.0447 | 2705568.8812 | 1226251.837
36 | 2705568.8812 | 1226251.837 | 2705568.8812 | 1226251.837 | 2705574.729 | 1226230.7695 | 2705571.3281 | 1226225.0383 | 2705530.3547 | 1226215.371 | 2705516.4714 | 1226221.0068
37 | 2705568.8812 | 1226251.837 | 2705693.7217 | 1226185.1034
38 | 2705504.3759 | 1226248.9464 | 2705516.4714 | 1226221.0068

## bus_geodata
| x | y | coords
0 | 2705408.5801 | 1226637.0479
1 | 2705453.5262 | 1226660.7293
2 | 2705365.1314 | 1226495.9737
3 | 2705333.5429 | 1226467.3272
4 | 2705497.8179 | 1226398.6947
5 | 2705469.1972 | 1226669.5684
6 | 2705623.7383 | 1226545.8557
7 | 2705702.209 | 1226557.2416
8 | 2705600.5361 | 1226405.8352
9 | 2705532.9924 | 1226704.948
10 | 2705543.3789 | 1226734.5992
11 | 2705578.1233 | 1226768.3402
12 | 2705944.0642 | 1226841.6063
13 | 2705978.4412 | 1226858.0968
14 | 2705835.9997 | 1226799.6448
15 | 2706083.1204 | 1226610.9266
16 | 2705935.7587 | 1227005.8567
17 | 2705614.8081 | 1226772.7015
18 | 2705489.0834 | 1226868.2789
19 | 2705485.4576 | 1226883.6618
20 | 2705487.4378 | 1226875.2605
21 | 2705728.6455 | 1227104.1641
22 | 2705730.2836 | 1227104.0307
23 | 2705570.1983 | 1227011.3266
24 | 2705833.4362 | 1227100.8119
25 | 2705864.5605 | 1227056.841
26 | 2705793.3746 | 1227191.0778
27 | 2705551.5013 | 1226958.4628
28 | 2705884.1106 | 1227038.7116
29 | 2705759.2592 | 1227188.642
30 | 2705900.5522 | 1227030.303
31 | 2705732.324 | 1227199.9106
32 | 2705662.2649 | 1226359.1401
33 | 2705529.6507 | 1226293.5092
34 | 2705531.2673 | 1226292.2344
35 | 2705549.0543 | 1226276.0447
36 | 2705568.8812 | 1226251.837
37 | 2705516.4714 | 1226221.0068
38 | 2705693.7217 | 1226185.1034
39 | 2705504.3759 | 1226248.9464
40 | 2705532.9924 | 1226704.948

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99563 | -0.083845 | 0 | 0
1 | 0.99635 | -0.069989 | 0.0023969 | 0.00060071
2 | 0.99354 | -0.1241 | 0 | 0
3 | 0.99284 | -0.13763 | 0.0015154 | 0.00037979
4 | 0.99057 | -0.18166 | 0.0009173 | 0.0002299
5 | 0.99664 | -0.064342 | 0 | 0
6 | 0.98971 | -0.19848 | 0.0013402 | 0.00033589
7 | 0.98953 | -0.20197 | 0.0022198 | 0.00055634
8 | 0.99017 | -0.18948 | 0 | 0
9 | 0.99783 | -0.041532 | 0 | 0
10 | 0.99836 | -0.031432 | 0.00064993 | 0.00016289
11 | 0.99926 | -0.014158 | 0.00091962 | 0.00023048
12 | 0.99091 | -0.17216 | 0.0026242 | 0.00065768
13 | 0.98898 | -0.20905 | 0.0040379 | 0.001012
14 | 0.99398 | -0.11361 | 0.0013143 | 0.0003294
15 | 0.98857 | -0.21692 | 0.0016404 | 0.00041113
16 | 0.98203 | -0.34295 | 0.001081 | 0.00027092
17 | 1 | 0 | -0.083054 | -0.020908
18 | 0.99896 | -0.019959 | 0.00082648 | 0.00020714
19 | 0.99894 | -0.020291 | 0.00082604 | 0.00020703
20 | 0.99895 | -0.020167 | 0.00082708 | 0.00020729
21 | 0.97341 | -0.51164 | 0.0069836 | 0.0017503
22 | 0.97344 | -0.51109 | 0.011583 | 0.0029029
23 | 0.97152 | -0.54909 | 0.0035311 | 0.00088497
24 | 0.97633 | -0.45422 | 0 | 0
25 | 0.97834 | -0.41479 | 0.0017577 | 0.00044053
26 | 0.97538 | -0.4729 | 0 | 0
27 | 0.97105 | -0.55843 | 0.0075286 | 0.0018868
28 | 0.97938 | -0.39456 | 0.0023091 | 0.00057872
29 | 0.97505 | -0.47943 | 0.0019366 | 0.00048536
30 | 0.98014 | -0.37979 | 0.0033953 | 0.00085095
31 | 0.97482 | -0.48391 | 0.0083816 | 0.0021006
32 | 0.99012 | -0.19043 | 0.00059476 | 0.00014906
33 | 0.98968 | -0.19899 | 0.001129 | 0.00028296
34 | 0.98966 | -0.19927 | 0.0004238 | 0.00010621
35 | 0.9895 | -0.20241 | 0.0013882 | 0.00034793
36 | 0.98933 | -0.20571 | 0.00096406 | 0.00024162
37 | 0.98901 | -0.21193 | 0.001227 | 0.00030752
38 | 0.98922 | -0.20792 | 0.00087155 | 0.00021843
39 | 0.98893 | -0.21348 | 0.0028494 | 0.00071414
40 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.015524 | -0.0039074 | 0.015534 | 0.0039133 | 1.0288e-05 | 5.9214e-06 | 0.023207 | 0.023207 | 0.023207 | 0.99563 | -0.083845 | 0.99635 | -0.069989 | 6.3757
1 | 0.015524 | 0.0039074 | -0.015494 | -0.0038903 | 2.9814e-05 | 1.7165e-05 | 0.023207 | 0.023208 | 0.023208 | 0.99563 | -0.083845 | 0.99354 | -0.1241 | 6.3759
2 | -0.017931 | -0.0045141 | 0.017936 | 0.0045169 | 4.8412e-06 | 2.864e-06 | 0.026787 | 0.026787 | 0.026787 | 0.99635 | -0.069989 | 0.99664 | -0.064342 | 7.359
3 | 0.015494 | 0.0038903 | -0.015484 | -0.0038845 | 9.9915e-06 | 5.7544e-06 | 0.023208 | 0.023208 | 0.023208 | 0.99354 | -0.1241 | 0.99284 | -0.13763 | 6.3759
4 | 0.013969 | 0.0035047 | -0.01394 | -0.0034883 | 2.9268e-05 | 1.6434e-05 | 0.020937 | 0.020938 | 0.020938 | 0.99284 | -0.13763 | 0.99057 | -0.18166 | 5.7522
5 | 0.0088641 | 0.0022203 | -0.0088568 | -0.0022171 | 7.3066e-06 | 3.2628e-06 | 0.013315 | 0.013316 | 0.013316 | 0.99057 | -0.18166 | 0.98968 | -0.19899 | 3.6581
6 | 0.0041583 | 0.001038 | -0.0041567 | -0.0010384 | 1.5436e-06 | -3.7014e-07 | 0.006245 | 0.0062455 | 0.0062455 | 0.99057 | -0.18166 | 0.99017 | -0.18948 | 1.7158
7 | -0.017936 | -0.0045169 | 0.017956 | 0.0045285 | 1.9584e-05 | 1.1584e-05 | 0.026787 | 0.026786 | 0.026787 | 0.99664 | -0.064342 | 0.99783 | -0.041532 | 7.359
8 | 0.0022202 | 0.00055544 | -0.0022198 | -0.00055634 | 3.692e-07 | -8.9904e-07 | 0.0033377 | 0.0033381 | 0.0033381 | 0.98971 | -0.19848 | 0.98953 | -0.20197 | 0.91706
9 | -0.0035604 | -0.00089133 | 0.0035619 | 0.00089048 | 1.5247e-06 | -8.4889e-07 | 0.0053527 | 0.005352 | 0.0053527 | 0.98971 | -0.19848 | 0.99017 | -0.18948 | 1.4705
10 | 0.00059479 | 0.00014792 | -0.00059476 | -0.00014906 | 2.6958e-08 | -1.1406e-06 | 0.00089343 | 0.00089384 | 0.00089384 | 0.99017 | -0.18948 | 0.99012 | -0.19043 | 0.24556
11 | -0.017956 | -0.0045285 | 0.017964 | 0.0045336 | 8.6851e-06 | 5.1366e-06 | 0.026786 | 0.026786 | 0.026786 | 0.99783 | -0.041532 | 0.99836 | -0.031432 | 7.3589
12 | -0.018614 | -0.0046965 | 0.01863 | 0.0047057 | 1.541e-05 | 9.1644e-06 | 0.027755 | 0.027755 | 0.027755 | 0.99836 | -0.031432 | 0.99926 | -0.014158 | 7.625
13 | 0.0024803 | 0.00061994 | -0.0024796 | -0.00062125 | 6.8463e-07 | -1.3147e-06 | 0.0036929 | 0.0036935 | 0.0036935 | 0.99926 | -0.014158 | 0.99896 | -0.019959 | 1.0147
14 | -0.02203 | -0.0055561 | 0.022045 | 0.0055652 | 1.4941e-05 | 9.0772e-06 | 0.032817 | 0.032817 | 0.032817 | 0.99926 | -0.014158 | 1 | 0 | 9.0157
15 | 0.054931 | 0.014051 | -0.054833 | -0.013989 | 9.7888e-05 | 6.2156e-05 | 0.082589 | 0.08259 | 0.08259 | 0.99091 | -0.17216 | 0.98898 | -0.20905 | 22.6895
16 | -0.057555 | -0.014708 | 0.057718 | 0.01481 | 0.00016346 | 0.0001016 | 0.08653 | 0.086529 | 0.08653 | 0.99091 | -0.17216 | 0.99398 | -0.11361 | 11.886
17 | 0.001641 | 0.00040808 | -0.0016404 | -0.00041113 | 6.1339e-07 | -3.0503e-06 | 0.002468 | 0.0024692 | 0.0024692 | 0.98898 | -0.20905 | 0.98857 | -0.21692 | 0.67834
18 | 0.049154 | 0.012568 | -0.048838 | -0.012368 | 0.00031623 | 0.00020043 | 0.074046 | 0.074047 | 0.074047 | 0.98898 | -0.20905 | 0.98203 | -0.34295 | 20.3426
19 | -0.059033 | -0.015139 | 0.05936 | 0.015343 | 0.0003272 | 0.0002036 | 0.088497 | 0.088494 | 0.088497 | 0.99398 | -0.11361 | 1 | 0 | 12.1561
20 | 0.047757 | 0.012097 | -0.047672 | -0.012044 | 8.4356e-05 | 5.3446e-05 | 0.072409 | 0.072409 | 0.072409 | 0.98203 | -0.34295 | 0.98014 | -0.37979 | 19.8927
21 | 0.0016531 | 0.00041412 | -0.0016531 | -0.0004142 | 1.631e-08 | -8.3469e-08 | 0.0024624 | 0.0024624 | 0.0024624 | 0.99896 | -0.019959 | 0.99895 | -0.020167 | 0.67649
22 | -0.00082604 | -0.00020703 | 0.00082605 | 0.00020692 | 4.9005e-09 | -1.0986e-07 | 0.0012305 | 0.0012304 | 0.0012305 | 0.99894 | -0.020291 | 0.99895 | -0.020167 | 0.33804
23 | -0.018066 | -0.0045338 | 0.018067 | 0.004534 | 4.7014e-07 | 2.8046e-07 | 0.027619 | 0.027619 | 0.027619 | 0.97341 | -0.51164 | 0.97344 | -0.51109 | 7.5878
24 | 0.011083 | 0.0027835 | -0.011063 | -0.0027731 | 1.9772e-05 | 1.0376e-05 | 0.016944 | 0.016945 | 0.016945 | 0.97341 | -0.51164 | 0.97152 | -0.54909 | 4.6552
25 | -0.02965 | -0.0074369 | 0.02973 | 0.0074872 | 8.0619e-05 | 5.0291e-05 | 0.045325 | 0.045325 | 0.045325 | 0.97344 | -0.51109 | 0.97633 | -0.45422 | 12.4519
26 | 0.007532 | 0.0018882 | -0.0075286 | -0.0018868 | 3.3502e-06 | 1.3134e-06 | 0.011536 | 0.011537 | 0.011537 | 0.97152 | -0.54909 | 0.97105 | -0.55843 | 3.1694
27 | -0.040063 | -0.01008 | 0.040138 | 0.010128 | 7.5626e-05 | 4.7723e-05 | 0.061073 | 0.061073 | 0.061073 | 0.97633 | -0.45422 | 0.97834 | -0.41479 | 16.7784
28 | 0.010332 | 0.0025931 | -0.010323 | -0.0025884 | 9.1969e-06 | 4.6507e-06 | 0.015749 | 0.015749 | 0.015749 | 0.97633 | -0.45422 | 0.97538 | -0.4729 | 4.3267
29 | -0.041896 | -0.010569 | 0.041937 | 0.010594 | 4.063e-05 | 2.5668e-05 | 0.063747 | 0.063746 | 0.063747 | 0.97834 | -0.41479 | 0.97938 | -0.39456 | 17.5128
30 | 0.010323 | 0.0025884 | -0.01032 | -0.0025868 | 3.211e-06 | 1.6243e-06 | 0.015749 | 0.015749 | 0.015749 | 0.97538 | -0.4729 | 0.97505 | -0.47943 | 4.3268
31 | -0.044246 | -0.011173 | 0.044277 | 0.011193 | 3.1324e-05 | 1.9815e-05 | 0.067255 | 0.067255 | 0.067255 | 0.97938 | -0.39456 | 0.98014 | -0.37979 | 18.4766
32 | 0.0083834 | 0.0021014 | -0.0083816 | -0.0021006 | 1.7922e-06 | 7.8293e-07 | 0.012794 | 0.012794 | 0.012794 | 0.97505 | -0.47943 | 0.97482 | -0.48391 | 3.5149
33 | 0.0077277 | 0.0019341 | -0.0077276 | -0.0019341 | 1.0421e-07 | 4.0239e-08 | 0.011618 | 0.011618 | 0.011618 | 0.98968 | -0.19899 | 0.98966 | -0.19927 | 3.1918
34 | 0.0073038 | 0.0018279 | -0.0073027 | -0.0018275 | 1.0932e-06 | 3.8904e-07 | 0.010981 | 0.010981 | 0.010981 | 0.98966 | -0.19927 | 0.9895 | -0.20241 | 3.0167
35 | 0.0059145 | 0.0014796 | -0.0059136 | -0.0014794 | 9.2806e-07 | 1.9209e-07 | 0.0088933 | 0.0088934 | 0.0088934 | 0.9895 | -0.20241 | 0.98933 | -0.20571 | 2.4432
36 | 0.0040779 | 0.0010211 | -0.0040767 | -0.0010214 | 1.2076e-06 | -3.2607e-07 | 0.006133 | 0.0061334 | 0.0061334 | 0.98933 | -0.20571 | 0.98901 | -0.21193 | 1.685
37 | 0.00087164 | 0.00021667 | -0.00087155 | -0.00021843 | 9.1194e-08 | -1.7592e-06 | 0.0013104 | 0.001311 | 0.001311 | 0.98933 | -0.20571 | 0.98922 | -0.20792 | 0.36017
38 | 0.0028497 | 0.00071388 | -0.0028494 | -0.00071414 | 2.0987e-07 | -2.5635e-07 | 0.0042873 | 0.0042875 | 0.0042875 | 0.98901 | -0.21193 | 0.98893 | -0.21348 | 1.1779

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.085352 | 0.021484

## res_load
| p_mw | q_mvar
0 | 0.0023969 | 0.00060071
1 | 0.0015154 | 0.00037979
2 | 0.0009173 | 0.0002299
3 | 0.0013402 | 0.00033589
4 | 0.0022198 | 0.00055634
5 | 0.00064993 | 0.00016289
6 | 0.00091962 | 0.00023048
7 | 0.0026242 | 0.00065768
8 | 0.0040379 | 0.001012
9 | 0.0013143 | 0.0003294
10 | 0.0016404 | 0.00041113
11 | 0.001081 | 0.00027092
12 | 0.0022972 | 0.00057574
13 | 0.00082648 | 0.00020714
14 | 0.00082604 | 0.00020703
15 | 0.00082708 | 0.00020729
16 | 0.0069836 | 0.0017503
17 | 0.011583 | 0.0029029
18 | 0.0035311 | 0.00088497
19 | 0.0017577 | 0.00044053
20 | 0.0075286 | 0.0018868
21 | 0.0023091 | 0.00057872
22 | 0.0019366 | 0.00048536
23 | 0.0033953 | 0.00085095
24 | 0.0083816 | 0.0021006
25 | 0.00059476 | 0.00014906
26 | 0.001129 | 0.00028296
27 | 0.0004238 | 0.00010621
28 | 0.0013882 | 0.00034793
29 | 0.00096406 | 0.00024162
30 | 0.001227 | 0.00030752
31 | 0.00087155 | 0.00021843
32 | 0.0028494 | 0.00071414

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1