## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1344-4_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1344-4_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1344-4_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1344-4_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1344-4_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1344-4_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1344-4_0_5_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_1344-4_0_5_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_1344-4_0_5_node_33 | 0.4 | n |  | TRUE
9 | bus_LV_1344-4_0_5_node_46 | 0.4 | n |  | TRUE
10 | bus_LV_1344-4_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1344-4_0_5_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_1344-4_0_5_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_1344-4_0_5_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1344-4_0_5_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_1344-4_0_5_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_1344-4_0_5_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_1344-4_0_5_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_1344-4_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1344-4_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1344-4_0_5_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_1344-4_0_5_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_1344-4_0_5_node_44 | 0.4 | n |  | TRUE
23 | bus_LV_1344-4_0_5_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1344-4_0_5_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_1344-4_0_5_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_1344-4_0_5_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_1344-4_0_5_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_1344-4_0_5_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_1344-4_0_5_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_1344-4_0_5_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1344-4_0_5_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_1344-4_0_5_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_1344-4_0_5_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_1344-4_0_5_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_1344-4_0_5_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_1344-4_0_5_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_1344-4_0_5_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_1344-4_0_5_node_41 | 0.4 | n |  | TRUE
39 | bus_MV_18_0_node_131 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1344-4_0_5_load_0 | 0 | 0.093029 | 0.023315 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1344-4_0_5_load_29 | 7 | 0.057722 | 0.014467 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1344-4_0_5_load_33 | 8 | 0.034987 | 0.0087686 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1344-4_0_5_load_46 | 9 | 0.0017364 | 0.00043519 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1344-4_0_5_load_31 | 11 | 0.0079246 | 0.0019861 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1344-4_0_5_load_26 | 12 | 0.012435 | 0.0031164 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1344-4_0_5_load_36 | 16 | 0.0057926 | 0.0014518 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1344-4_0_5_load_39 | 17 | 0.080245 | 0.020111 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1344-4_0_5_load_38 | 20 | 0.0037509 | 0.00094006 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1344-4_0_5_load_37 | 21 | 0.010097 | 0.0025305 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1344-4_0_5_load_44 | 22 | 0.05697 | 0.014278 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1344-4_0_5_load_19 | 25 | 0.0025234 | 0.00063242 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1344-4_0_5_load_30 | 27 | 0.046858 | 0.011744 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1344-4_0_5_load_28 | 28 | 0.0091238 | 0.0022866 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1344-4_0_5_load_23 | 29 | 0.011138 | 0.0027915 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1344-4_0_5_load_21 | 30 | 0.0047147 | 0.0011816 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1344-4_0_5_load_20 | 31 | 0.0049658 | 0.0012445 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1344-4_0_5_load_24 | 32 | 0.0073242 | 0.0018356 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1344-4_0_5_load_45 | 33 | 0.014941 | 0.0037446 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1344-4_0_5_load_35 | 34 | 0.0056541 | 0.0014171 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1344-4_0_5_load_40 | 35 | 0.001748 | 0.00043808 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1344-4_0_5_load_32 | 36 | 0.072984 | 0.018292 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1344-4_0_5_load_34 | 37 | 0.0058525 | 0.0014668 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1344-4_0_5_load_41 | 38 | 0.0018379 | 0.00046063 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1344-4_0_5_line_0 |  | 0 | 1 | 0.03195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1344-4_0_5_line_1 |  | 0 | 2 | 0.017888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1344-4_0_5_line_2 |  | 1 | 3 | 0.017494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_1344-4_0_5_line_3 |  | 1 | 4 | 0.041167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_1344-4_0_5_line_4 |  | 2 | 5 | 0.026415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1344-4_0_5_line_5 |  | 3 | 6 | 0.015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1344-4_0_5_line_6 |  | 3 | 7 | 0.0045156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1344-4_0_5_line_7 |  | 4 | 8 | 0.013651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1344-4_0_5_line_8 |  | 5 | 9 | 0.030172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1344-4_0_5_line_9 |  | 6 | 29 | 0.012554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1344-4_0_5_line_10 |  | 7 | 28 | 0.014204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1344-4_0_5_line_11 |  | 8 | 15 | 0.0019354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1344-4_0_5_line_12 |  | 9 | 18 | 0.024432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1344-4_0_5_line_13 |  | 10 | 11 | 0.0096903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1344-4_0_5_line_14 |  | 10 | 12 | 0.01414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1344-4_0_5_line_15 |  | 11 | 24 | 0.010792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1344-4_0_5_line_16 |  | 12 | 32 | 0.025449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1344-4_0_5_line_17 |  | 13 | 14 | 0.040252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1344-4_0_5_line_18 |  | 13 | 15 | 0.041211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_1344-4_0_5_line_19 |  | 13 | 16 | 0.0091922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1344-4_0_5_line_20 |  | 13 | 17 | 0.026377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1344-4_0_5_line_21 |  | 14 | 22 | 0.041919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1344-4_0_5_line_22 |  | 16 | 34 | 0.015763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1344-4_0_5_line_23 |  | 18 | 19 | 0.063179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1344-4_0_5_line_24 |  | 19 | 20 | 0.028526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1344-4_0_5_line_25 |  | 19 | 21 | 0.022451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1344-4_0_5_line_26 |  | 20 | 35 | 0.01925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1344-4_0_5_line_27 |  | 22 | 33 | 0.039527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1344-4_0_5_line_28 |  | 23 | 24 | 0.012353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1344-4_0_5_line_29 |  | 23 | 25 | 0.014953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1344-4_0_5_line_30 |  | 24 | 36 | 0.0095932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1344-4_0_5_line_31 |  | 25 | 31 | 0.014828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1344-4_0_5_line_32 |  | 26 | 27 | 0.027405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1344-4_0_5_line_33 |  | 26 | 28 | 0.013918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1344-4_0_5_line_34 |  | 29 | 32 | 0.02528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1344-4_0_5_line_35 |  | 30 | 31 | 0.0046605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1344-4_0_5_line_36 |  | 34 | 37 | 0.01398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1344-4_0_5_line_37 |  | 35 | 38 | 0.024551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1344-4_0_5_trafo_1 | 0.63 MVA 20/0.4 kV | 39 | 1 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2706992.4156 | 1227549.275 | 2707008.8558 | 1227545.1009 | 2707012.9065 | 1227530.6701
1 | 2707017.7407 | 1227513.4481 | 2707012.9065 | 1227530.6701
2 | 2706995.8514 | 1227566.4275 | 2706992.4156 | 1227549.275
3 | 2706974.07 | 1227516.1203 | 2706976.6767 | 1227518.2688 | 2706979.8231 | 1227519.493 | 2706983.2003 | 1227519.6872 | 2706987.393 | 1227530.5818 | 2706992.4156 | 1227549.275
4 | 2707007.6972 | 1227495.7653 | 2707009.7478 | 1227501.4398 | 2707007.3288 | 1227510.7588 | 2707017.7407 | 1227513.4481
5 | 2706995.8514 | 1227566.4275 | 2707010.2052 | 1227561.9378
6 | 2706995.8514 | 1227566.4275 | 2706997.0957 | 1227570.7683
7 | 2706974.07 | 1227516.1203 | 2706970.0633 | 1227519.7399 | 2706961.8518 | 1227520.5559
8 | 2707007.6972 | 1227495.7653 | 2707005.4895 | 1227489.5543 | 2706995.0179 | 1227493.1242 | 2706989.2735 | 1227493.8993 | 2706982.6906 | 1227492.545
9 | 2707010.2052 | 1227561.9378 | 2707019.9403 | 1227569.864
10 | 2706997.0957 | 1227570.7683 | 2707001.0097 | 1227584.4221
11 | 2706959.9259 | 1227520.7473 | 2706961.8518 | 1227520.5559
12 | 2706961.31 | 1227481.7318 | 2706968.9782 | 1227487.7853 | 2706974.9397 | 1227490.9504 | 2706982.6906 | 1227492.545
13 | 2707078.6657 | 1227595.25 | 2707080.7761 | 1227585.7924
14 | 2707078.6657 | 1227595.25 | 2707065.025 | 1227591.5272
15 | 2707083.1264 | 1227575.2598 | 2707080.7761 | 1227585.7924
16 | 2707065.025 | 1227591.5272 | 2707045.0776 | 1227586.0832 | 2707040.8686 | 1227583.8339
17 | 2706911.7772 | 1227535.126 | 2706933.2588 | 1227535.1231 | 2706938.9722 | 1227535.2259 | 2706938.4268 | 1227548.2703
18 | 2706959.9259 | 1227520.7473 | 2706951.9606 | 1227519.8367 | 2706938.9722 | 1227535.2259 | 2706938.4268 | 1227548.2703
19 | 2706938.4268 | 1227548.2703 | 2706938.2589 | 1227557.461
20 | 2706938.4268 | 1227548.2703 | 2706912.097 | 1227546.6941
21 | 2706911.7772 | 1227535.126 | 2706911.8408 | 1227530.3235 | 2706912.054 | 1227524.3673 | 2706919.5276 | 1227524.802 | 2706920.7054 | 1227501.1613
22 | 2706937.9709 | 1227573.2219 | 2706938.2589 | 1227557.461
23 | 2706961.31 | 1227481.7318 | 2706966.1166 | 1227474.1014 | 2706972.2901 | 1227463.3822 | 2706977.3965 | 1227449.6192 | 2706979.6663 | 1227440.5866 | 2706984.8974 | 1227441.3812 | 2706982.3349 | 1227453.6221
24 | 2706982.3349 | 1227453.6221 | 2706966.7972 | 1227450.1735 | 2706954.4047 | 1227447.8414
25 | 2706982.3349 | 1227453.6221 | 2707004.3028 | 1227458.2546
26 | 2706954.4047 | 1227447.8414 | 2706935.4869 | 1227444.2813
27 | 2706920.7054 | 1227501.1613 | 2706921.0104 | 1227495.0397 | 2706887.6539 | 1227493.3796
28 | 2707095.0822 | 1227578.4996 | 2707083.1264 | 1227575.2598
29 | 2707095.0822 | 1227578.4996 | 2707103.3223 | 1227580.9832 | 2707109.5193 | 1227582.3536
30 | 2707083.1264 | 1227575.2598 | 2707073.8567 | 1227572.7895
31 | 2707109.5193 | 1227582.3536 | 2707123.9976 | 1227585.5555
32 | 2707004.845 | 1227597.8016 | 2707031.692 | 1227592.2979
33 | 2707004.845 | 1227597.8016 | 2707001.0097 | 1227584.4221
34 | 2707019.9403 | 1227569.864 | 2707029.8971 | 1227577.9707 | 2707040.8686 | 1227583.8339
35 | 2707128.5481 | 1227586.5619 | 2707123.9976 | 1227585.5555
36 | 2706937.7156 | 1227587.1994 | 2706937.9709 | 1227573.2219
37 | 2706935.4869 | 1227444.2813 | 2706911.3595 | 1227439.7409

## bus_geodata
| x | y | coords
0 | 2707012.9065 | 1227530.6701
1 | 2706992.4156 | 1227549.275
2 | 2707017.7407 | 1227513.4481
3 | 2706995.8514 | 1227566.4275
4 | 2706974.07 | 1227516.1203
5 | 2707007.6972 | 1227495.7653
6 | 2707010.2052 | 1227561.9378
7 | 2706997.0957 | 1227570.7683
8 | 2706961.8518 | 1227520.5559
9 | 2706982.6906 | 1227492.545
10 | 2707078.6657 | 1227595.25
11 | 2707080.7761 | 1227585.7924
12 | 2707065.025 | 1227591.5272
13 | 2706938.4268 | 1227548.2703
14 | 2706911.7772 | 1227535.126
15 | 2706959.9259 | 1227520.7473
16 | 2706938.2589 | 1227557.461
17 | 2706912.097 | 1227546.6941
18 | 2706961.31 | 1227481.7318
19 | 2706982.3349 | 1227453.6221
20 | 2706954.4047 | 1227447.8414
21 | 2707004.3028 | 1227458.2546
22 | 2706920.7054 | 1227501.1613
23 | 2707095.0822 | 1227578.4996
24 | 2707083.1264 | 1227575.2598
25 | 2707109.5193 | 1227582.3536
26 | 2707004.845 | 1227597.8016
27 | 2707031.692 | 1227592.2979
28 | 2707001.0097 | 1227584.4221
29 | 2707019.9403 | 1227569.864
30 | 2707128.5481 | 1227586.5619
31 | 2707123.9976 | 1227585.5555
32 | 2707040.8686 | 1227583.8339
33 | 2706887.6539 | 1227493.3796
34 | 2706937.9709 | 1227573.2219
35 | 2706935.4869 | 1227444.2813
36 | 2707073.8567 | 1227572.7895
37 | 2706937.7156 | 1227587.1994
38 | 2706911.3595 | 1227439.7409
39 | 2706995.8514 | 1227566.4275

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99674 | -0.062691 | 0.093029 | 0.023315
1 | 1 | 0 | -0.56016 | -0.14158
2 | 0.99642 | -0.068711 | 0 | 0
3 | 0.9981 | -0.036311 | 0 | 0
4 | 0.99614 | -0.073633 | 0 | 0
5 | 0.99596 | -0.077608 | 0 | 0
6 | 0.99639 | -0.068913 | 0 | 0
7 | 0.99763 | -0.045298 | 0.057722 | 0.014467
8 | 0.99486 | -0.098177 | 0.034987 | 0.0087686
9 | 0.99543 | -0.08778 | 0.0017364 | 0.00043519
10 | 0.98866 | -0.21777 | 0 | 0
11 | 0.98783 | -0.23387 | 0.0079246 | 0.0019861
12 | 0.98987 | -0.19432 | 0.012435 | 0.0031164
13 | 0.99151 | -0.16277 | 0 | 0
14 | 0.98884 | -0.21423 | 0 | 0
15 | 0.99471 | -0.10106 | 0 | 0
16 | 0.99136 | -0.16559 | 0.0057926 | 0.0014518
17 | 0.98957 | -0.20037 | 0.080245 | 0.020111
18 | 0.99505 | -0.095277 | 0 | 0
19 | 0.99404 | -0.11469 | 0 | 0
20 | 0.99385 | -0.11838 | 0.0037509 | 0.00094006
21 | 0.99383 | -0.11869 | 0.010097 | 0.0025305
22 | 0.98607 | -0.26812 | 0.05697 | 0.014278
23 | 0.98685 | -0.253 | 0 | 0
24 | 0.98698 | -0.25031 | 0 | 0
25 | 0.98668 | -0.25627 | 0.0025234 | 0.00063242
26 | 0.99631 | -0.070679 | 0 | 0
27 | 0.99514 | -0.093253 | 0.046858 | 0.011744
28 | 0.99691 | -0.059234 | 0.0091238 | 0.0022866
29 | 0.99496 | -0.096285 | 0.011138 | 0.0027915
30 | 0.98653 | -0.25923 | 0.0047147 | 0.0011816
31 | 0.98655 | -0.25884 | 0.0049658 | 0.0012445
32 | 0.99234 | -0.14666 | 0.0073242 | 0.0018356
33 | 0.98553 | -0.27871 | 0.014941 | 0.0037446
34 | 0.99119 | -0.16881 | 0.0056541 | 0.0014171
35 | 0.99379 | -0.1196 | 0.001748 | 0.00043808
36 | 0.98634 | -0.26284 | 0.072984 | 0.018292
37 | 0.99112 | -0.17026 | 0.0058525 | 0.0014668
38 | 0.99375 | -0.1204 | 0.0018379 | 0.00046063
39 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.11225 | -0.028148 | 0.11258 | 0.028363 | 0.00033647 | 0.00021492 | 0.16758 | 0.16758 | 0.16758 | 0.99674 | -0.062691 | 1 | 0 | 46.0382
1 | 0.019219 | 0.0048324 | -0.019213 | -0.0048291 | 5.5241e-06 | 3.3024e-06 | 0.028697 | 0.028697 | 0.028697 | 0.99674 | -0.062691 | 0.99642 | -0.068711 | 7.8839
2 | 0.23946 | 0.060691 | -0.23904 | -0.060425 | 0.00041702 | 0.00026643 | 0.35656 | 0.35656 | 0.35656 | 1 | 0 | 0.9981 | -0.036311 | 48.9781
3 | 0.20646 | 0.052524 | -0.20573 | -0.052058 | 0.00072982 | 0.00046601 | 0.30749 | 0.30749 | 0.30749 | 1 | 0 | 0.99614 | -0.073633 | 42.2378
4 | 0.019213 | 0.0048291 | -0.019205 | -0.0048242 | 8.1577e-06 | 4.877e-06 | 0.028697 | 0.028697 | 0.028697 | 0.99642 | -0.068711 | 0.99596 | -0.077608 | 7.8839
5 | 0.12518 | 0.031825 | -0.12498 | -0.0317 | 0.00019624 | 0.0001254 | 0.18678 | 0.18678 | 0.18678 | 0.9981 | -0.036311 | 0.99639 | -0.068913 | 51.3138
6 | 0.11387 | 0.0286 | -0.11382 | -0.028569 | 4.8811e-05 | 3.118e-05 | 0.16978 | 0.16978 | 0.16978 | 0.9981 | -0.036311 | 0.99763 | -0.045298 | 46.6426
7 | 0.20573 | 0.052058 | -0.20549 | -0.051904 | 0.00024202 | 0.00015454 | 0.30749 | 0.30749 | 0.30749 | 0.99614 | -0.073633 | 0.99486 | -0.098177 | 42.2379
8 | 0.019205 | 0.0048242 | -0.019196 | -0.0048186 | 9.3181e-06 | 5.5711e-06 | 0.028697 | 0.028697 | 0.028697 | 0.99596 | -0.077608 | 0.99543 | -0.08778 | 7.8839
9 | 0.12498 | 0.0317 | -0.12482 | -0.031595 | 0.00016424 | 0.00010495 | 0.18678 | 0.18678 | 0.18678 | 0.99639 | -0.068913 | 0.99496 | -0.096285 | 51.3138
10 | 0.056095 | 0.014102 | -0.056057 | -0.014078 | 3.73e-05 | 2.3687e-05 | 0.083683 | 0.083683 | 0.083683 | 0.99763 | -0.045298 | 0.99691 | -0.059234 | 22.99
11 | 0.1705 | 0.043135 | -0.17048 | -0.04312 | 2.3626e-05 | 1.5071e-05 | 0.25516 | 0.25516 | 0.25516 | 0.99486 | -0.098177 | 0.99471 | -0.10106 | 35.0496
12 | 0.017459 | 0.0043835 | -0.017453 | -0.0043798 | 6.2423e-06 | 3.6775e-06 | 0.026102 | 0.026102 | 0.026102 | 0.99543 | -0.08778 | 0.99505 | -0.095277 | 7.1709
13 | 0.0933 | 0.023455 | -0.093228 | -0.023409 | 7.1682e-05 | 4.5752e-05 | 0.14045 | 0.14045 | 0.14045 | 0.98866 | -0.21777 | 0.98783 | -0.23387 | 38.5851
14 | -0.0933 | -0.023455 | 0.093404 | 0.023522 | 0.00010459 | 6.6759e-05 | 0.14045 | 0.14045 | 0.14045 | 0.98866 | -0.21777 | 0.98987 | -0.19432 | 38.5851
15 | 0.085304 | 0.021423 | -0.085237 | -0.02138 | 6.6836e-05 | 4.2637e-05 | 0.12851 | 0.12851 | 0.12851 | 0.98783 | -0.23387 | 0.98698 | -0.25031 | 35.3057
16 | -0.10584 | -0.026638 | 0.10608 | 0.026792 | 0.0002417 | 0.00015436 | 0.15914 | 0.15914 | 0.15914 | 0.98987 | -0.19432 | 0.99234 | -0.14666 | 43.7204
17 | 0.072281 | 0.018258 | -0.072104 | -0.018145 | 0.00017779 | 0.00011327 | 0.10853 | 0.10853 | 0.10853 | 0.99151 | -0.16277 | 0.98884 | -0.21423 | 29.8154
18 | -0.16997 | -0.042799 | 0.17048 | 0.04312 | 0.00050309 | 0.00032091 | 0.25516 | 0.25516 | 0.25516 | 0.99151 | -0.16277 | 0.99471 | -0.10106 | 35.0497
19 | 0.017304 | 0.004338 | -0.017301 | -0.0043366 | 2.3247e-06 | 1.3693e-06 | 0.025969 | 0.025969 | 0.025969 | 0.99151 | -0.16277 | 0.99136 | -0.16559 | 7.1345
20 | 0.080389 | 0.020203 | -0.080245 | -0.020111 | 0.00014402 | 9.1832e-05 | 0.12066 | 0.12066 | 0.12066 | 0.99151 | -0.16277 | 0.98957 | -0.20037 | 33.1496
21 | 0.072104 | 0.018145 | -0.071918 | -0.018027 | 0.00018515 | 0.00011796 | 0.10853 | 0.10853 | 0.10853 | 0.98884 | -0.21423 | 0.98607 | -0.26812 | 29.8155
22 | 0.011509 | 0.0028849 | -0.011507 | -0.0028839 | 1.7641e-06 | 9.2578e-07 | 0.017275 | 0.017275 | 0.017275 | 0.99136 | -0.16559 | 0.99119 | -0.16881 | 4.7458
23 | 0.017453 | 0.0043798 | -0.017437 | -0.0043703 | 1.6142e-05 | 9.5109e-06 | 0.026102 | 0.026102 | 0.026102 | 0.99505 | -0.095277 | 0.99404 | -0.11469 | 7.1709
24 | 0.0073384 | 0.0018388 | -0.0073371 | -0.0018384 | 1.2908e-06 | 4.5642e-07 | 0.010985 | 0.010985 | 0.010985 | 0.99404 | -0.11469 | 0.99385 | -0.11838 | 3.0179
25 | 0.010099 | 0.0025314 | -0.010097 | -0.0025305 | 1.924e-06 | 9.4041e-07 | 0.015117 | 0.015117 | 0.015117 | 0.99404 | -0.11469 | 0.99383 | -0.11869 | 4.1531
26 | 0.0035862 | 0.00089833 | -0.003586 | -0.00089844 | 2.081e-07 | -1.1625e-07 | 0.0053692 | 0.0053693 | 0.0053693 | 0.99385 | -0.11838 | 0.99379 | -0.1196 | 1.4751
27 | 0.014949 | 0.0037489 | -0.014941 | -0.0037446 | 7.5434e-06 | 4.3238e-06 | 0.022559 | 0.022559 | 0.022559 | 0.98607 | -0.26812 | 0.98553 | -0.27871 | 6.1976
28 | -0.012207 | -0.0030602 | 0.012209 | 0.003061 | 1.5695e-06 | 8.4662e-07 | 0.018407 | 0.018407 | 0.018407 | 0.98685 | -0.253 | 0.98698 | -0.25031 | 5.0568
29 | 0.012207 | 0.0030602 | -0.012205 | -0.0030592 | 1.8998e-06 | 1.0249e-06 | 0.018407 | 0.018407 | 0.018407 | 0.98685 | -0.253 | 0.98668 | -0.25627 | 5.0568
30 | 0.073028 | 0.018319 | -0.072984 | -0.018292 | 4.3613e-05 | 2.779e-05 | 0.11011 | 0.11011 | 0.11011 | 0.98698 | -0.25031 | 0.98634 | -0.26284 | 30.2489
31 | 0.0096818 | 0.0024267 | -0.0096806 | -0.0024262 | 1.1855e-06 | 5.6936e-07 | 0.014601 | 0.014601 | 0.014601 | 0.98668 | -0.25627 | 0.98655 | -0.25884 | 4.0114
32 | 0.046908 | 0.011776 | -0.046858 | -0.011744 | 5.0451e-05 | 3.1932e-05 | 0.070065 | 0.070065 | 0.070065 | 0.99631 | -0.070679 | 0.99514 | -0.093253 | 19.2487
33 | -0.046908 | -0.011776 | 0.046934 | 0.011792 | 2.5622e-05 | 1.6217e-05 | 0.070065 | 0.070065 | 0.070065 | 0.99631 | -0.070679 | 0.99691 | -0.059234 | 19.2486
34 | 0.11368 | 0.028803 | -0.11341 | -0.028628 | 0.00027437 | 0.00017527 | 0.17012 | 0.17012 | 0.17012 | 0.99496 | -0.096285 | 0.99234 | -0.14666 | 46.7375
35 | -0.0047147 | -0.0011816 | 0.0047148 | 0.0011816 | 8.8384e-08 | -2.9416e-09 | 0.0071114 | 0.0071114 | 0.0071114 | 0.98653 | -0.25923 | 0.98655 | -0.25884 | 1.9537
36 | 0.005853 | 0.0014669 | -0.0058525 | -0.0014668 | 4.0475e-07 | 7.8862e-08 | 0.0087867 | 0.0087867 | 0.0087867 | 0.99119 | -0.16881 | 0.99112 | -0.17026 | 2.4139
37 | 0.001838 | 0.00046036 | -0.0018379 | -0.00046063 | 6.9729e-08 | -2.7346e-07 | 0.002752 | 0.0027521 | 0.0027521 | 0.99379 | -0.1196 | 0.99375 | -0.1204 | 0.75607

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.56016 | 0.14158

## res_load
| p_mw | q_mvar
0 | 0.093029 | 0.023315
1 | 0.057722 | 0.014467
2 | 0.034987 | 0.0087686
3 | 0.0017364 | 0.00043519
4 | 0.0079246 | 0.0019861
5 | 0.012435 | 0.0031164
6 | 0.0057926 | 0.0014518
7 | 0.080245 | 0.020111
8 | 0.0037509 | 0.00094006
9 | 0.010097 | 0.0025305
10 | 0.05697 | 0.014278
11 | 0.0025234 | 0.00063242
12 | 0.046858 | 0.011744
13 | 0.0091238 | 0.0022866
14 | 0.011138 | 0.0027915
15 | 0.0047147 | 0.0011816
16 | 0.0049658 | 0.0012445
17 | 0.0073242 | 0.0018356
18 | 0.014941 | 0.0037446
19 | 0.0056541 | 0.0014171
20 | 0.001748 | 0.00043808
21 | 0.072984 | 0.018292
22 | 0.0058525 | 0.0014668
23 | 0.0018379 | 0.00046063

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1