## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1344-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1344-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1344-5_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1344-5_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1344-5_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1344-5_0_4_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_1344-5_0_4_node_33 | 0.4 | n |  | TRUE
7 | bus_LV_1344-5_0_4_node_30 | 0.4 | n |  | TRUE
8 | bus_LV_1344-5_0_4_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_1344-5_0_4_node_29 | 0.4 | n |  | TRUE
10 | bus_LV_1344-5_0_4_node_31 | 0.4 | n |  | TRUE
11 | bus_LV_1344-5_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_1344-5_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1344-5_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1344-5_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1344-5_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1344-5_0_4_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_1344-5_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_1344-5_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1344-5_0_4_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_1344-5_0_4_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_1344-5_0_4_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_1344-5_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_1344-5_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_1344-5_0_4_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_1344-5_0_4_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_1344-5_0_4_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_1344-5_0_4_node_46 | 0.4 | n |  | TRUE
28 | bus_LV_1344-5_0_4_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_1344-5_0_4_node_53 | 0.4 | n |  | TRUE
30 | bus_LV_1344-5_0_4_node_45 | 0.4 | n |  | TRUE
31 | bus_LV_1344-5_0_4_node_52 | 0.4 | n |  | TRUE
32 | bus_LV_1344-5_0_4_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_1344-5_0_4_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_1344-5_0_4_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_1344-5_0_4_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_1344-5_0_4_node_41 | 0.4 | n |  | TRUE
37 | bus_LV_1344-5_0_4_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_1344-5_0_4_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_1344-5_0_4_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_1344-5_0_4_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_1344-5_0_4_node_19 | 0.4 | n |  | TRUE
42 | bus_LV_1344-5_0_4_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_1344-5_0_4_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_1344-5_0_4_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_1344-5_0_4_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_1344-5_0_4_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_1344-5_0_4_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_1344-5_0_4_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_1344-5_0_4_node_42 | 0.4 | n |  | TRUE
50 | bus_MV_18_0_node_124 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1344-5_0_4_load_0 | 0 | 0.01147 | 0.0028746 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1344-5_0_4_load_1 | 1 | 0.0021768 | 0.00054555 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1344-5_0_4_load_3 | 3 | 0.0037978 | 0.00095183 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1344-5_0_4_load_15 | 5 | 0.0047868 | 0.0011997 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1344-5_0_4_load_33 | 6 | 0.004012 | 0.0010055 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1344-5_0_4_load_30 | 7 | 0.0045354 | 0.0011367 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1344-5_0_4_load_31 | 10 | 0.0050032 | 0.0012539 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1344-5_0_4_load_5 | 11 | 0.013418 | 0.0033627 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1344-5_0_4_load_7 | 13 | 0.029052 | 0.007281 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1344-5_0_4_load_28 | 16 | 0.019489 | 0.0048844 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1344-5_0_4_load_25 | 19 | 0.019712 | 0.0049404 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1344-5_0_4_load_35 | 20 | 0.061307 | 0.015365 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1344-5_0_4_load_34 | 21 | 0.014134 | 0.0035422 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1344-5_0_4_load_17 | 22 | 0.02778 | 0.0069624 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1344-5_0_4_load_18 | 23 | 0.0159 | 0.003985 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1344-5_0_4_load_37 | 24 | 0.0068027 | 0.0017049 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1344-5_0_4_load_36 | 25 | 0.042003 | 0.010527 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1344-5_0_4_load_54 | 28 | 0.0032938 | 0.00082551 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1344-5_0_4_load_53 | 29 | 0.0018134 | 0.00045448 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1344-5_0_4_load_52 | 31 | 0.0035536 | 0.00089062 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1344-5_0_4_load_50 | 33 | 0.0033278 | 0.00083401 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1344-5_0_4_load_51 | 35 | 0.0018269 | 0.00045787 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1344-5_0_4_load_24 | 37 | 0.05612 | 0.014065 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1344-5_0_4_load_23 | 38 | 0.0074192 | 0.0018594 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1344-5_0_4_load_49 | 40 | 0.015035 | 0.0037682 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1344-5_0_4_load_19 | 41 | 0.024183 | 0.0060608 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1344-5_0_4_load_20 | 42 | 0.035087 | 0.0087937 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1344-5_0_4_load_21 | 43 | 0.039822 | 0.0099803 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1344-5_0_4_load_22 | 44 | 0.0094458 | 0.0023673 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1344-5_0_4_load_26 | 45 | 0.022722 | 0.0056947 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1344-5_0_4_load_27 | 46 | 0.010003 | 0.0025071 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1344-5_0_4_load_38 | 47 | 0.008157 | 0.0020443 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1344-5_0_4_load_39 | 48 | 0.00229 | 0.00057393 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1344-5_0_4_load_42 | 49 | 0.0018575 | 0.00046554 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1344-5_0_4_line_0 |  | 0 | 1 | 0.013606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1344-5_0_4_line_1 |  | 0 | 2 | 0.01753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1344-5_0_4_line_2 |  | 2 | 3 | 0.02902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1344-5_0_4_line_3 |  | 2 | 4 | 0.018581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1344-5_0_4_line_4 |  | 3 | 5 | 0.028964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1344-5_0_4_line_5 |  | 4 | 6 | 0.0030651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_1344-5_0_4_line_6 |  | 4 | 7 | 0.020847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_1344-5_0_4_line_7 |  | 5 | 8 | 0.010379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1344-5_0_4_line_8 |  | 6 | 9 | 0.026685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_1344-5_0_4_line_9 |  | 7 | 10 | 0.016524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_1344-5_0_4_line_10 |  | 8 | 22 | 0.042097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1344-5_0_4_line_11 |  | 8 | 23 | 0.010944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1344-5_0_4_line_12 |  | 9 | 21 | 0.002788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_1344-5_0_4_line_13 |  | 9 | 14 | 0.058126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1344-5_0_4_line_14 |  | 10 | 34 | 0.0099457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_1344-5_0_4_line_15 |  | 11 | 12 | 0.028125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1344-5_0_4_line_16 |  | 11 | 13 | 0.002751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1344-5_0_4_line_17 |  | 12 | 14 | 0.042624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1344-5_0_4_line_18 |  | 14 | 15 | 0.018555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1344-5_0_4_line_19 |  | 15 | 16 | 0.022787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1344-5_0_4_line_20 |  | 17 | 18 | 0.025184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1344-5_0_4_line_21 |  | 17 | 19 | 0.017062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1344-5_0_4_line_22 |  | 18 | 20 | 0.025317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1344-5_0_4_line_23 |  | 19 | 37 | 0.021405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1344-5_0_4_line_24 |  | 24 | 25 | 0.00298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1344-5_0_4_line_25 |  | 25 | 44 | 0.016175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1344-5_0_4_line_26 |  | 26 | 27 | 0.007323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_1344-5_0_4_line_27 |  | 26 | 28 | 0.019233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_1344-5_0_4_line_28 |  | 27 | 29 | 0.021134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_1344-5_0_4_line_29 |  | 28 | 31 | 0.0079613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_1344-5_0_4_line_30 |  | 29 | 35 | 0.0029669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_1344-5_0_4_line_31 |  | 30 | 31 | 0.0091425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_1344-5_0_4_line_32 |  | 30 | 32 | 0.075667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1344-5_0_4_line_33 |  | 30 | 33 | 0.011794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_1344-5_0_4_line_34 |  | 32 | 40 | 0.00051481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1344-5_0_4_line_35 |  | 33 | 46 | 0.0071883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_1344-5_0_4_line_36 |  | 34 | 35 | 0.0080547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_1344-5_0_4_line_37 |  | 34 | 36 | 0.10551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_1344-5_0_4_line_38 |  | 36 | 38 | 0.015511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_1344-5_0_4_line_39 |  | 36 | 39 | 0.019792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1344-5_0_4_line_40 |  | 37 | 45 | 0.003923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1344-5_0_4_line_41 |  | 38 | 43 | 0.009789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_1344-5_0_4_line_42 |  | 39 | 49 | 0.019256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1344-5_0_4_line_43 |  | 39 | 47 | 0.01858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1344-5_0_4_line_44 |  | 41 | 42 | 0.019325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1344-5_0_4_line_45 |  | 41 | 43 | 0.02427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1344-5_0_4_line_46 |  | 42 | 44 | 0.021637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1344-5_0_4_line_47 |  | 45 | 46 | 0.020159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_1344-5_0_4_line_48 |  | 47 | 48 | 0.03727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1344-5_0_4_trafo_34 | 0.63 MVA 20/0.4 kV | 50 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2707058.4952 | 1227733.9428 | 2707064.1939 | 1227746.2983
1 | 2707051.1533 | 1227718.0248 | 2707058.4952 | 1227733.9428
2 | 2707051.1533 | 1227718.0248 | 2707060.5338 | 1227713.9905 | 2707070.5797 | 1227702.4738 | 2707073.7514 | 1227700.9321
3 | 2707032.7298 | 1227720.8176 | 2707051.1533 | 1227718.0248
4 | 2707073.7514 | 1227700.9321 | 2707099.801 | 1227688.2705
5 | 2707032.7298 | 1227720.8176 | 2707032.6397 | 1227717.7539
6 | 2707032.7298 | 1227720.8176 | 2707030.4435 | 1227741.5393
7 | 2707107.1006 | 1227682.1826 | 2707106.5803 | 1227684.9753 | 2707099.801 | 1227688.2705
8 | 2707031.0663 | 1227691.121 | 2707032.3818 | 1227708.9914 | 2707032.6397 | 1227717.7539
9 | 2707030.4435 | 1227741.5393 | 2707028.8079 | 1227756.3626 | 2707028.8285 | 1227757.9735
10 | 2707107.1006 | 1227682.1826 | 2707106.3636 | 1227640.0923
11 | 2707107.1006 | 1227682.1826 | 2707116.5119 | 1227687.7689
12 | 2707031.0663 | 1227691.121 | 2707033.8122 | 1227690.5922
13 | 2707015.3605 | 1227635.1521 | 2707016.6013 | 1227639.4887 | 2707020.0104 | 1227651.3812 | 2707026.6637 | 1227675.4745 | 2707031.0663 | 1227691.121
14 | 2707028.9561 | 1227767.9184 | 2707028.8285 | 1227757.9735
15 | 2707056.6637 | 1227624.1647 | 2707061.7747 | 1227651.8218
16 | 2707059.1522 | 1227652.653 | 2707061.7747 | 1227651.8218
17 | 2707015.3605 | 1227635.1521 | 2707056.6637 | 1227624.1647
18 | 2707010.2469 | 1227617.3134 | 2707015.3605 | 1227635.1521
19 | 2707010.2469 | 1227617.3134 | 2707004.7013 | 1227618.837 | 2706988.3542 | 1227623.6314
20 | 2707133.2873 | 1227728.9447 | 2707134.8106 | 1227732.7417 | 2707145.0423 | 1227739.5199 | 2707150.9424 | 1227746.0755
21 | 2707150.9424 | 1227746.0755 | 2707138.1466 | 1227754.14 | 2707136.5075 | 1227755.1725
22 | 2707133.2873 | 1227728.9447 | 2707110.1638 | 1227739.2531
23 | 2707136.5075 | 1227755.1725 | 2707118.3963 | 1227766.5805
24 | 2706937.2453 | 1227612.9408 | 2706937.1909 | 1227615.9204
25 | 2706936.8954 | 1227632.0925 | 2706937.1909 | 1227615.9204
26 | 2707044.9886 | 1227795.6165 | 2707047.9452 | 1227802.3191
27 | 2707047.9452 | 1227802.3191 | 2707065.9479 | 1227795.5514
28 | 2707044.9886 | 1227795.6165 | 2707041.1232 | 1227786.34 | 2707035.3929 | 1227776.8522
29 | 2707065.9479 | 1227795.5514 | 2707073.4 | 1227792.7499
30 | 2707033.8161 | 1227774.3417 | 2707034.1163 | 1227774.7385 | 2707035.3929 | 1227776.8522
31 | 2707081.9578 | 1227789.5328 | 2707073.4 | 1227792.7499
32 | 2707081.9578 | 1227789.5328 | 2707085.2308 | 1227798.4428 | 2707085.0151 | 1227808.313 | 2707085.7607 | 1227814.0529 | 2707091.5801 | 1227825.0882 | 2707097.6441 | 1227838.9522 | 2707119.8899 | 1227833.493
33 | 2707081.9578 | 1227789.5328 | 2707091.9374 | 1227783.2467
34 | 2707119.8899 | 1227833.493 | 2707120.3899 | 1227833.3704
35 | 2707098.0196 | 1227779.4156 | 2707091.9374 | 1227783.2467
36 | 2707028.9561 | 1227767.9184 | 2707033.8161 | 1227774.3417
37 | 2706934.5184 | 1227722.5751 | 2706942.9723 | 1227724.1171 | 2706954.2577 | 1227726.6886 | 2706969.7785 | 1227734.4067 | 2706988.8432 | 1227745.2577 | 2707011.8324 | 1227758.3031 | 2707028.9561 | 1227767.9184
38 | 2706934.5184 | 1227722.5751 | 2706935.4823 | 1227709.4382 | 2706935.525 | 1227707.1001
39 | 2706914.7899 | 1227720.3856 | 2706934.5184 | 1227722.5751
40 | 2707115.0769 | 1227768.6714 | 2707118.3963 | 1227766.5805
41 | 2706935.525 | 1227707.1001 | 2706935.7039 | 1227697.3127
42 | 2706914.7899 | 1227720.3856 | 2706895.7739 | 1227717.3527
43 | 2706914.7899 | 1227720.3856 | 2706911.4484 | 1227738.6623
44 | 2706936.5002 | 1227653.7254 | 2706936.1472 | 1227673.0472
45 | 2706935.7039 | 1227697.3127 | 2706936.1472 | 1227673.0472
46 | 2706936.8954 | 1227632.0925 | 2706936.5002 | 1227653.7254
47 | 2707098.0196 | 1227779.4156 | 2707115.0769 | 1227768.6714
48 | 2706911.4484 | 1227738.6623 | 2706906.8205 | 1227763.975 | 2706895.5567 | 1227761.4779

## bus_geodata
| x | y | coords
0 | 2707058.4952 | 1227733.9428
1 | 2707064.1939 | 1227746.2983
2 | 2707051.1533 | 1227718.0248
3 | 2707073.7514 | 1227700.9321
4 | 2707032.7298 | 1227720.8176
5 | 2707099.801 | 1227688.2705
6 | 2707032.6397 | 1227717.7539
7 | 2707030.4435 | 1227741.5393
8 | 2707107.1006 | 1227682.1826
9 | 2707031.0663 | 1227691.121
10 | 2707028.8285 | 1227757.9735
11 | 2707061.7747 | 1227651.8218
12 | 2707056.6637 | 1227624.1647
13 | 2707059.1522 | 1227652.653
14 | 2707015.3605 | 1227635.1521
15 | 2707010.2469 | 1227617.3134
16 | 2706988.3542 | 1227623.6314
17 | 2707150.9424 | 1227746.0755
18 | 2707133.2873 | 1227728.9447
19 | 2707136.5075 | 1227755.1725
20 | 2707110.1638 | 1227739.2531
21 | 2707033.8122 | 1227690.5922
22 | 2707106.3636 | 1227640.0923
23 | 2707116.5119 | 1227687.7689
24 | 2706937.2453 | 1227612.9408
25 | 2706937.1909 | 1227615.9204
26 | 2707047.9452 | 1227802.3191
27 | 2707044.9886 | 1227795.6165
28 | 2707065.9479 | 1227795.5514
29 | 2707035.3929 | 1227776.8522
30 | 2707081.9578 | 1227789.5328
31 | 2707073.4 | 1227792.7499
32 | 2707119.8899 | 1227833.493
33 | 2707091.9374 | 1227783.2467
34 | 2707028.9561 | 1227767.9184
35 | 2707033.8161 | 1227774.3417
36 | 2706934.5184 | 1227722.5751
37 | 2707118.3963 | 1227766.5805
38 | 2706935.525 | 1227707.1001
39 | 2706914.7899 | 1227720.3856
40 | 2707120.3899 | 1227833.3704
41 | 2706936.1472 | 1227673.0472
42 | 2706936.5002 | 1227653.7254
43 | 2706935.7039 | 1227697.3127
44 | 2706936.8954 | 1227632.0925
45 | 2707115.0769 | 1227768.6714
46 | 2707098.0196 | 1227779.4156
47 | 2706911.4484 | 1227738.6623
48 | 2706895.5567 | 1227761.4779
49 | 2706895.7739 | 1227717.3527
50 | 2707031.0663 | 1227691.121

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99522 | -0.091206 | 0.01147 | 0.0028746
1 | 0.99519 | -0.091727 | 0.0021768 | 0.00054555
2 | 0.99543 | -0.086997 | 0 | 0
3 | 0.99405 | -0.11372 | 0.0037978 | 0.00095183
4 | 0.99655 | -0.065477 | 0 | 0
5 | 0.99276 | -0.13851 | 0.0047868 | 0.0011997
6 | 0.99687 | -0.05941 | 0.004012 | 0.0010055
7 | 0.9947 | -0.10079 | 0.0045354 | 0.0011367
8 | 0.99235 | -0.14653 | 0 | 0
9 | 0.99967 | -0.006286 | 0 | 0
10 | 0.99325 | -0.12855 | 0.0050032 | 0.0012539
11 | 0.99364 | -0.12221 | 0.013418 | 0.0033627
12 | 0.99473 | -0.10114 | 0 | 0
13 | 0.99357 | -0.12362 | 0.029052 | 0.007281
14 | 0.99638 | -0.06931 | 0 | 0
15 | 0.99605 | -0.075661 | 0 | 0
16 | 0.99565 | -0.083466 | 0.019489 | 0.0048844
17 | 0.9837 | -0.31343 | 0 | 0
18 | 0.98227 | -0.34128 | 0 | 0
19 | 0.98466 | -0.29461 | 0.019712 | 0.0049404
20 | 0.98083 | -0.36936 | 0.061307 | 0.015365
21 | 1 | 0 | -0.52517 | -0.13364
22 | 0.99128 | -0.16725 | 0.02778 | 0.0069624
23 | 0.99219 | -0.14961 | 0.0159 | 0.003985
24 | 0.98057 | -0.37444 | 0.0068027 | 0.0017049
25 | 0.98059 | -0.37407 | 0.042003 | 0.010527
26 | 0.99061 | -0.17936 | 0 | 0
27 | 0.99094 | -0.17302 | 0 | 0
28 | 0.98975 | -0.19604 | 0.0032938 | 0.00082551
29 | 0.99189 | -0.15474 | 0.0018134 | 0.00045448
30 | 0.989 | -0.21049 | 0 | 0
31 | 0.98939 | -0.20283 | 0.0035536 | 0.00089062
32 | 0.98795 | -0.23079 | 0 | 0
33 | 0.98853 | -0.2196 | 0.0033278 | 0.00083401
34 | 0.99239 | -0.14507 | 0 | 0
35 | 0.99202 | -0.15215 | 0.0018269 | 0.00045787
36 | 0.98808 | -0.2281 | 0 | 0
37 | 0.98626 | -0.26348 | 0.05612 | 0.014065
38 | 0.98749 | -0.23951 | 0.0074192 | 0.0018594
39 | 0.98786 | -0.23245 | 0 | 0
40 | 0.98795 | -0.23093 | 0.015035 | 0.0037682
41 | 0.98415 | -0.30447 | 0.024183 | 0.0060608
42 | 0.98248 | -0.33699 | 0.035087 | 0.0087937
43 | 0.98678 | -0.25328 | 0.039822 | 0.0099803
44 | 0.98132 | -0.35977 | 0.0094458 | 0.0023673
45 | 0.98676 | -0.25385 | 0.022722 | 0.0056947
46 | 0.98825 | -0.22505 | 0.010003 | 0.0025071
47 | 0.98768 | -0.23591 | 0.008157 | 0.0020443
48 | 0.9876 | -0.23744 | 0.00229 | 0.00057393
49 | 0.98783 | -0.23308 | 0.0018575 | 0.00046554
50 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0021768 | 0.00054541 | -0.0021768 | -0.00054555 | 5.4051e-08 | -1.422e-07 | 0.0032547 | 0.0032548 | 0.0032548 | 0.99522 | -0.091206 | 0.99519 | -0.091727 | 0.89416
1 | -0.013647 | -0.00342 | 0.013649 | 0.0034215 | 2.7367e-06 | 1.5236e-06 | 0.020404 | 0.020404 | 0.020404 | 0.99522 | -0.091206 | 0.99543 | -0.086997 | 5.6054
2 | 0.052436 | 0.013207 | -0.052369 | -0.013164 | 6.6902e-05 | 4.2441e-05 | 0.078407 | 0.078407 | 0.078407 | 0.99543 | -0.086997 | 0.99405 | -0.11372 | 21.5403
3 | -0.066085 | -0.016628 | 0.066153 | 0.016672 | 6.8031e-05 | 4.3298e-05 | 0.09881 | 0.09881 | 0.09881 | 0.99543 | -0.086997 | 0.99655 | -0.065477 | 27.1457
4 | 0.048571 | 0.012212 | -0.048514 | -0.012176 | 5.744e-05 | 3.6387e-05 | 0.072722 | 0.072722 | 0.072722 | 0.99405 | -0.11372 | 0.99276 | -0.13851 | 19.9785
5 | -0.45576 | -0.11597 | 0.4559 | 0.11605 | 0.00013332 | 8.5165e-05 | 0.68115 | 0.68115 | 0.68115 | 0.99655 | -0.065477 | 0.99687 | -0.05941 | 46.7821
6 | 0.38961 | 0.099297 | -0.38895 | -0.098874 | 0.00066279 | 0.0004231 | 0.58234 | 0.58234 | 0.58234 | 0.99655 | -0.065477 | 0.9947 | -0.10079 | 39.9957
7 | 0.043727 | 0.010976 | -0.04371 | -0.010966 | 1.6721e-05 | 1.0568e-05 | 0.065547 | 0.065547 | 0.065547 | 0.99276 | -0.13851 | 0.99235 | -0.14653 | 18.0075
8 | -0.45991 | -0.11706 | 0.46109 | 0.11781 | 0.0011812 | 0.00075457 | 0.68714 | 0.68714 | 0.68714 | 0.99687 | -0.05941 | 0.99967 | -0.006286 | 47.1934
9 | 0.38441 | 0.097737 | -0.3839 | -0.097409 | 0.00051317 | 0.00032757 | 0.57555 | 0.57555 | 0.57555 | 0.9947 | -0.10079 | 0.99325 | -0.12855 | 39.5298
10 | 0.027808 | 0.0069794 | -0.02778 | -0.0069624 | 2.7452e-05 | 1.7026e-05 | 0.041701 | 0.041701 | 0.041701 | 0.99235 | -0.14653 | 0.99128 | -0.16725 | 11.4563
11 | 0.015903 | 0.0039864 | -0.0159 | -0.003985 | 2.3338e-06 | 1.3523e-06 | 0.023846 | 0.023846 | 0.023846 | 0.99235 | -0.14653 | 0.99219 | -0.14961 | 6.5512
12 | -0.52336 | -0.13354 | 0.52352 | 0.13364 | 0.00015897 | 0.00010159 | 0.77986 | 0.77986 | 0.77986 | 0.99967 | -0.006286 | 1 | 0 | 53.5621
13 | 0.062268 | 0.015724 | -0.062081 | -0.015605 | 0.00018743 | 0.00011919 | 0.092728 | 0.092729 | 0.092729 | 0.99967 | -0.006286 | 0.99638 | -0.06931 | 25.4749
14 | 0.3789 | 0.096155 | -0.37859 | -0.095963 | 0.00030088 | 0.00019205 | 0.56806 | 0.56806 | 0.56806 | 0.99325 | -0.12855 | 0.99239 | -0.14507 | 39.015
15 | -0.042471 | -0.010645 | 0.042514 | 0.010672 | 4.2666e-05 | 2.6941e-05 | 0.063602 | 0.063602 | 0.063602 | 0.99364 | -0.12221 | 0.99473 | -0.10114 | 17.4732
16 | 0.029054 | 0.0072822 | -0.029052 | -0.007281 | 1.9529e-06 | 1.2142e-06 | 0.043509 | 0.043509 | 0.043509 | 0.99364 | -0.12221 | 0.99357 | -0.12362 | 11.9531
17 | -0.042514 | -0.010672 | 0.042578 | 0.010713 | 6.4659e-05 | 4.0828e-05 | 0.063602 | 0.063602 | 0.063602 | 0.99473 | -0.10114 | 0.99638 | -0.06931 | 17.4732
18 | 0.019502 | 0.0048923 | -0.019496 | -0.0048888 | 5.903e-06 | 3.5363e-06 | 0.029127 | 0.029127 | 0.029127 | 0.99638 | -0.06931 | 0.99605 | -0.075661 | 8.0019
19 | 0.019496 | 0.0048888 | -0.019489 | -0.0048844 | 7.2494e-06 | 4.3431e-06 | 0.029127 | 0.029127 | 0.029127 | 0.99605 | -0.075661 | 0.99565 | -0.083466 | 8.0019
20 | 0.061471 | 0.015469 | -0.061389 | -0.015417 | 8.1696e-05 | 5.1966e-05 | 0.093008 | 0.093008 | 0.093008 | 0.9837 | -0.31343 | 0.98227 | -0.34128 | 25.5517
21 | -0.061471 | -0.015469 | 0.061526 | 0.015504 | 5.5349e-05 | 3.5207e-05 | 0.093008 | 0.093008 | 0.093008 | 0.9837 | -0.31343 | 0.98466 | -0.29461 | 25.5517
22 | 0.061389 | 0.015417 | -0.061307 | -0.015365 | 8.2128e-05 | 5.2242e-05 | 0.093008 | 0.093008 | 0.093008 | 0.98227 | -0.34128 | 0.98083 | -0.36936 | 25.5518
23 | -0.081238 | -0.020445 | 0.081359 | 0.020522 | 0.00012104 | 7.7191e-05 | 0.1228 | 0.1228 | 0.1228 | 0.98466 | -0.29461 | 0.98626 | -0.26348 | 33.7355
24 | -0.0068027 | -0.0017049 | 0.0068028 | 0.001705 | 1.1909e-07 | 3.8625e-08 | 0.010323 | 0.010323 | 0.010323 | 0.98057 | -0.37444 | 0.98059 | -0.37407 | 2.836
25 | -0.048806 | -0.012232 | 0.048839 | 0.012253 | 3.3271e-05 | 2.1089e-05 | 0.074062 | 0.074062 | 0.074062 | 0.98059 | -0.37407 | 0.98132 | -0.35977 | 20.3467
26 | -0.19612 | -0.049556 | 0.19618 | 0.049594 | 5.9642e-05 | 3.7794e-05 | 0.29474 | 0.29474 | 0.29474 | 0.99061 | -0.17936 | 0.99094 | -0.17302 | 20.2435
27 | 0.19612 | 0.049556 | -0.19597 | -0.049456 | 0.00015664 | 9.9261e-05 | 0.29474 | 0.29475 | 0.29475 | 0.99061 | -0.17936 | 0.98975 | -0.19604 | 20.2435
28 | -0.19618 | -0.049594 | 0.19636 | 0.049703 | 0.00017212 | 0.00010907 | 0.29474 | 0.29474 | 0.29474 | 0.99094 | -0.17302 | 0.99189 | -0.15474 | 20.2435
29 | 0.19267 | 0.048631 | -0.19261 | -0.048591 | 6.268e-05 | 3.9706e-05 | 0.28979 | 0.28979 | 0.28979 | 0.98975 | -0.19604 | 0.98939 | -0.20283 | 19.9034
30 | -0.19817 | -0.050157 | 0.19819 | 0.050173 | 2.4612e-05 | 1.5598e-05 | 0.29746 | 0.29746 | 0.29746 | 0.99189 | -0.15474 | 0.99202 | -0.15215 | 20.4303
31 | -0.18899 | -0.047657 | 0.18906 | 0.047701 | 6.935e-05 | 4.3914e-05 | 0.28445 | 0.28445 | 0.28445 | 0.989 | -0.21049 | 0.98939 | -0.20283 | 19.5363
32 | 0.01505 | 0.0037766 | -0.015035 | -0.0037682 | 1.4551e-05 | 8.3427e-06 | 0.022645 | 0.022646 | 0.022646 | 0.989 | -0.21049 | 0.98795 | -0.23079 | 6.2213
33 | 0.17394 | 0.04388 | -0.17386 | -0.043832 | 7.5787e-05 | 4.7899e-05 | 0.2618 | 0.2618 | 0.2618 | 0.989 | -0.21049 | 0.98853 | -0.2196 | 17.981
34 | 0.015035 | 0.0037682 | -0.015035 | -0.0037682 | 9.9003e-08 | 5.677e-08 | 0.022646 | 0.022646 | 0.022646 | 0.98795 | -0.23079 | 0.98795 | -0.23093 | 6.2213
35 | 0.17053 | 0.042998 | -0.17049 | -0.04297 | 4.4439e-05 | 2.8073e-05 | 0.25679 | 0.25679 | 0.25679 | 0.98853 | -0.2196 | 0.98825 | -0.22505 | 17.637
36 | 0.20009 | 0.050674 | -0.20002 | -0.050631 | 6.8055e-05 | 4.3139e-05 | 0.3002 | 0.30021 | 0.30021 | 0.99239 | -0.14507 | 0.99202 | -0.15215 | 20.6185
37 | 0.17851 | 0.04529 | -0.1778 | -0.044841 | 0.00070968 | 0.00044876 | 0.26785 | 0.26786 | 0.26786 | 0.99239 | -0.14507 | 0.98808 | -0.2281 | 18.3967
38 | 0.16549 | 0.041755 | -0.1654 | -0.041698 | 9.0388e-05 | 5.7054e-05 | 0.24932 | 0.24932 | 0.24932 | 0.98808 | -0.2281 | 0.98749 | -0.23951 | 17.1235
39 | 0.012309 | 0.0030855 | -0.012306 | -0.0030841 | 2.5504e-06 | 1.3788e-06 | 0.018537 | 0.018537 | 0.018537 | 0.98808 | -0.2281 | 0.98786 | -0.23245 | 5.0926
40 | -0.13748 | -0.034587 | 0.13754 | 0.034628 | 6.3322e-05 | 4.0476e-05 | 0.20747 | 0.20747 | 0.20747 | 0.98626 | -0.26348 | 0.98676 | -0.25385 | 56.9967
41 | 0.15798 | 0.039839 | -0.15787 | -0.039773 | 0.00010409 | 6.6366e-05 | 0.23814 | 0.23814 | 0.23814 | 0.98749 | -0.23951 | 0.98678 | -0.25328 | 32.7114
42 | 0.0018576 | 0.00046533 | -0.0018575 | -0.00046554 | 5.6534e-08 | -2.1034e-07 | 0.002798 | 0.0027981 | 0.0027981 | 0.98786 | -0.23245 | 0.98783 | -0.23308 | 0.7687
43 | 0.010449 | 0.0026188 | -0.010447 | -0.0026179 | 1.726e-06 | 8.668e-07 | 0.015739 | 0.015739 | 0.015739 | 0.98786 | -0.23245 | 0.98768 | -0.23591 | 4.324
44 | 0.093581 | 0.023547 | -0.093436 | -0.023454 | 0.00014515 | 9.2652e-05 | 0.14153 | 0.14153 | 0.14153 | 0.98415 | -0.30447 | 0.98248 | -0.33699 | 38.8808
45 | -0.11776 | -0.029608 | 0.11805 | 0.029792 | 0.00028865 | 0.00018443 | 0.17809 | 0.17809 | 0.17809 | 0.98415 | -0.30447 | 0.98678 | -0.25328 | 48.9259
46 | 0.058348 | 0.014661 | -0.058285 | -0.01462 | 6.3383e-05 | 4.0292e-05 | 0.088385 | 0.088385 | 0.088385 | 0.98248 | -0.33699 | 0.98132 | -0.35977 | 24.2816
47 | -0.16027 | -0.040322 | 0.16049 | 0.040463 | 0.00022087 | 0.00014084 | 0.24173 | 0.24173 | 0.24173 | 0.98676 | -0.25385 | 0.98825 | -0.22505 | 33.205
48 | 0.0022902 | 0.00057356 | -0.00229 | -0.00057393 | 1.6638e-07 | -3.7046e-07 | 0.0034502 | 0.0034503 | 0.0034503 | 0.98768 | -0.23591 | 0.9876 | -0.23744 | 0.9479

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.5393 | 0.13718

## res_load
| p_mw | q_mvar
0 | 0.01147 | 0.0028746
1 | 0.0021768 | 0.00054555
2 | 0.0037978 | 0.00095183
3 | 0.0047868 | 0.0011997
4 | 0.004012 | 0.0010055
5 | 0.0045354 | 0.0011367
6 | 0.0050032 | 0.0012539
7 | 0.013418 | 0.0033627
8 | 0.029052 | 0.007281
9 | 0.019489 | 0.0048844
10 | 0.019712 | 0.0049404
11 | 0.061307 | 0.015365
12 | 0.014134 | 0.0035422
13 | 0.02778 | 0.0069624
14 | 0.0159 | 0.003985
15 | 0.0068027 | 0.0017049
16 | 0.042003 | 0.010527
17 | 0.0032938 | 0.00082551
18 | 0.0018134 | 0.00045448
19 | 0.0035536 | 0.00089062
20 | 0.0033278 | 0.00083401
21 | 0.0018269 | 0.00045787
22 | 0.05612 | 0.014065
23 | 0.0074192 | 0.0018594
24 | 0.015035 | 0.0037682
25 | 0.024183 | 0.0060608
26 | 0.035087 | 0.0087937
27 | 0.039822 | 0.0099803
28 | 0.0094458 | 0.0023673
29 | 0.022722 | 0.0056947
30 | 0.010003 | 0.0025071
31 | 0.008157 | 0.0020443
32 | 0.00229 | 0.00057393
33 | 0.0018575 | 0.00046554

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1