## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1344-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1344-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1344-6_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1344-6_0_4_node_10 | 0.4 | n |  | TRUE
4 | bus_LV_1344-6_0_4_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_1344-6_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1344-6_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1344-6_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1344-6_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1344-6_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1344-6_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_1344-6_0_4_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_1344-6_0_4_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_1344-6_0_4_node_54 | 0.4 | n |  | TRUE
14 | bus_LV_1344-6_0_4_node_55 | 0.4 | n |  | TRUE
15 | bus_LV_1344-6_0_4_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_1344-6_0_4_node_53 | 0.4 | n |  | TRUE
17 | bus_LV_1344-6_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_1344-6_0_4_node_57 | 0.4 | n |  | TRUE
19 | bus_LV_1344-6_0_4_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_1344-6_0_4_node_56 | 0.4 | n |  | TRUE
21 | bus_LV_1344-6_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1344-6_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_1344-6_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_1344-6_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_1344-6_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_1344-6_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_1344-6_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_1344-6_0_4_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_1344-6_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_1344-6_0_4_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_1344-6_0_4_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_1344-6_0_4_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_1344-6_0_4_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_1344-6_0_4_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_1344-6_0_4_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_1344-6_0_4_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_1344-6_0_4_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_1344-6_0_4_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_1344-6_0_4_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_1344-6_0_4_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_1344-6_0_4_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_1344-6_0_4_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_1344-6_0_4_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_1344-6_0_4_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_1344-6_0_4_node_48 | 0.4 | n |  | TRUE
46 | bus_LV_1344-6_0_4_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_1344-6_0_4_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_1344-6_0_4_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_1344-6_0_4_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_1344-6_0_4_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_1344-6_0_4_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_1344-6_0_4_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_1344-6_0_4_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_1344-6_0_4_node_50 | 0.4 | n |  | TRUE
55 | bus_MV_18_0_node_78 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1344-6_0_4_load_0 | 0 | 0.0042243 | 0.0010587 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1344-6_0_4_load_1 | 1 | 0.0026003 | 0.00065169 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1344-6_0_4_load_10 | 3 | 0.0027445 | 0.00068783 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1344-6_0_4_load_4 | 5 | 0.0089765 | 0.0022497 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1344-6_0_4_load_5 | 6 | 0.014569 | 0.0036514 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1344-6_0_4_load_8 | 9 | 0.0044242 | 0.0011088 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1344-6_0_4_load_9 | 10 | 0.0065659 | 0.0016456 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1344-6_0_4_load_54 | 13 | 0.0056249 | 0.0014097 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1344-6_0_4_load_55 | 14 | 0.014488 | 0.003631 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1344-6_0_4_load_15 | 15 | 0.0031142 | 0.0007805 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1344-6_0_4_load_53 | 16 | 0.0060139 | 0.0015072 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1344-6_0_4_load_14 | 17 | 0.0017174 | 0.00043041 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1344-6_0_4_load_57 | 18 | 0.0031226 | 0.0007826 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1344-6_0_4_load_56 | 20 | 0.0055091 | 0.0013807 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1344-6_0_4_load_17 | 21 | 0.023907 | 0.0059916 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1344-6_0_4_load_18 | 22 | 0.022356 | 0.0056031 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1344-6_0_4_load_19 | 23 | 0.011481 | 0.0028773 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1344-6_0_4_load_23 | 27 | 0.010374 | 0.0026 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1344-6_0_4_load_25 | 29 | 0.010359 | 0.0025962 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1344-6_0_4_load_44 | 30 | 0.061191 | 0.015336 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1344-6_0_4_load_30 | 32 | 0.02343 | 0.0058722 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1344-6_0_4_load_31 | 33 | 0.019519 | 0.0048919 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1344-6_0_4_load_42 | 34 | 0.011809 | 0.0029596 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1344-6_0_4_load_33 | 37 | 0.01318 | 0.0033033 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1344-6_0_4_load_32 | 38 | 0.025023 | 0.0062713 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1344-6_0_4_load_38 | 39 | 0.02464 | 0.0061755 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1344-6_0_4_load_34 | 40 | 0.021917 | 0.0054929 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1344-6_0_4_load_35 | 41 | 0.034117 | 0.0085506 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1344-6_0_4_load_39 | 43 | 0.010207 | 0.0025581 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1344-6_0_4_load_41 | 44 | 0.0024943 | 0.00062513 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1344-6_0_4_load_48 | 45 | 0.0053697 | 0.0013458 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1344-6_0_4_load_51 | 47 | 0.010305 | 0.0025826 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1344-6_0_4_load_47 | 48 | 0.020483 | 0.0051335 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1344-6_0_4_load_52 | 49 | 0.0073443 | 0.0018406 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1344-6_0_4_load_49 | 50 | 0.015521 | 0.0038899 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1344-6_0_4_load_43 | 52 | 0.012213 | 0.0030608 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1344-6_0_4_load_46 | 53 | 0.0094816 | 0.0023763 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1344-6_0_4_load_50 | 54 | 0.013133 | 0.0032914 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1344-6_0_4_line_0 |  | 0 | 1 | 0.0089975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1344-6_0_4_line_1 |  | 1 | 2 | 0.007567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1344-6_0_4_line_2 |  | 2 | 3 | 0.0088903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1344-6_0_4_line_3 |  | 3 | 4 | 0.038427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1344-6_0_4_line_4 |  | 4 | 17 | 0.01994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_1344-6_0_4_line_5 |  | 4 | 12 | 0.019595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_1344-6_0_4_line_6 |  | 5 | 6 | 0.019023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1344-6_0_4_line_7 |  | 5 | 7 | 0.010374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1344-6_0_4_line_8 |  | 6 | 8 | 0.030041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1344-6_0_4_line_9 |  | 7 | 9 | 0.010673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_1344-6_0_4_line_10 |  | 7 | 10 | 0.021128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_1344-6_0_4_line_11 |  | 8 | 11 | 0.019792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1344-6_0_4_line_12 |  | 9 | 12 | 0.015759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_1344-6_0_4_line_13 |  | 10 | 13 | 0.011747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_1344-6_0_4_line_14 |  | 11 | 14 | 0.045744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1344-6_0_4_line_15 |  | 12 | 15 | 0.004571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1344-6_0_4_line_16 |  | 13 | 16 | 0.013555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_1344-6_0_4_line_17 |  | 14 | 20 | 0.044251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1344-6_0_4_line_18 |  | 16 | 49 | 0.020018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_1344-6_0_4_line_19 |  | 17 | 18 | 0.0065986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_1344-6_0_4_line_20 |  | 18 | 19 | 0.0056166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_1344-6_0_4_line_21 |  | 19 | 35 | 0.007323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_1344-6_0_4_line_22 |  | 21 | 22 | 0.0067856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1344-6_0_4_line_23 |  | 21 | 23 | 0.0080235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1344-6_0_4_line_24 |  | 22 | 24 | 0.0046399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1344-6_0_4_line_25 |  | 23 | 25 | 0.0081588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1344-6_0_4_line_26 |  | 24 | 26 | 0.025153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1344-6_0_4_line_27 |  | 24 | 27 | 0.0081499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1344-6_0_4_line_28 |  | 25 | 28 | 0.019194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1344-6_0_4_line_29 |  | 26 | 29 | 0.0091337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1344-6_0_4_line_30 |  | 28 | 30 | 0.01771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1344-6_0_4_line_31 |  | 30 | 34 | 0.0076576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1344-6_0_4_line_32 |  | 31 | 32 | 0.0028525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1344-6_0_4_line_33 |  | 31 | 33 | 0.0029784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1344-6_0_4_line_34 |  | 32 | 38 | 0.014804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1344-6_0_4_line_35 |  | 34 | 52 | 0.012228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_1344-6_0_4_line_36 |  | 35 | 36 | 0.008755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_1344-6_0_4_line_37 |  | 36 | 37 | 0.009931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_1344-6_0_4_line_38 |  | 36 | 38 | 0.0032253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1344-6_0_4_line_39 |  | 37 | 39 | 0.0042723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_1344-6_0_4_line_40 |  | 40 | 41 | 0.0083694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1344-6_0_4_line_41 |  | 41 | 42 | 0.017621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1344-6_0_4_line_42 |  | 42 | 43 | 0.022639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_1344-6_0_4_line_43 |  | 42 | 44 | 0.015883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_1344-6_0_4_line_44 |  | 43 | 45 | 0.010586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_1344-6_0_4_line_45 |  | 44 | 49 | 0.0015997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_1344-6_0_4_line_46 |  | 45 | 50 | 0.0037583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_1344-6_0_4_line_47 |  | 46 | 47 | 0.014987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1344-6_0_4_line_48 |  | 46 | 48 | 0.014316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1344-6_0_4_line_49 |  | 48 | 51 | 0.028795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1344-6_0_4_line_50 |  | 50 | 54 | 0.00053273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_1344-6_0_4_line_51 |  | 51 | 53 | 0.014904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_1344-6_0_4_line_52 |  | 51 | 52 | 0.018459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_1344-6_0_4_line_53 |  | 53 | 54 | 0.018851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1344-6_0_4_trafo_38 | 0.63 MVA 20/0.4 kV | 55 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2707049.1072 | 1227718.3349 | 2707040.2114 | 1227719.6835
1 | 2707032.7298 | 1227720.8176 | 2707040.2114 | 1227719.6835
2 | 2707032.7298 | 1227720.8176 | 2707031.7548 | 1227729.6543
3 | 2707028.9561 | 1227767.9184 | 2707028.8079 | 1227756.3626 | 2707031.7548 | 1227729.6543
4 | 2707028.9561 | 1227767.9184 | 2707034.1163 | 1227774.7385 | 2707040.0036 | 1227784.4863
5 | 2707011.8324 | 1227758.3031 | 2707028.9561 | 1227767.9184
6 | 2706979.8274 | 1227740.1262 | 2706969.7785 | 1227734.4067 | 2706963.0982 | 1227731.0848
7 | 2706988.8432 | 1227745.2577 | 2706979.8274 | 1227740.1262
8 | 2706934.5184 | 1227722.5751 | 2706942.9723 | 1227724.1171 | 2706954.2577 | 1227726.6886 | 2706963.0982 | 1227731.0848
9 | 2706988.8432 | 1227745.2577 | 2706998.1261 | 1227750.5253
10 | 2706988.8432 | 1227745.2577 | 2706985.2602 | 1227754.4001 | 2706982.5666 | 1227765.3831
11 | 2706914.7899 | 1227720.3856 | 2706934.5184 | 1227722.5751
12 | 2707011.8324 | 1227758.3031 | 2706998.1261 | 1227750.5253
13 | 2706979.7685 | 1227776.7923 | 2706982.5666 | 1227765.3831
14 | 2706914.7899 | 1227720.3856 | 2706906.8205 | 1227763.975 | 2706905.4229 | 1227763.6652
15 | 2707011.8324 | 1227758.3031 | 2707014.057 | 1227754.3068
16 | 2706977.1452 | 1227790.0476 | 2706977.2012 | 1227787.7802 | 2706977.5712 | 1227785.752 | 2706979.7685 | 1227776.7923
17 | 2706905.4229 | 1227763.6652 | 2706892.3556 | 1227760.7683 | 2706888.1405 | 1227780.2071 | 2706888.6866 | 1227781.0287 | 2706886.5837 | 1227790.794
18 | 2706981.7525 | 1227809.4233 | 2706981.1216 | 1227808.3217 | 2706980.1267 | 1227805.902 | 2706977.1452 | 1227790.0476 | 2706977.1452 | 1227790.0476
19 | 2707040.0036 | 1227784.4863 | 2707041.1232 | 1227786.34 | 2707042.8283 | 1227790.432
20 | 2707044.9886 | 1227795.6165 | 2707042.8283 | 1227790.432
21 | 2707044.9886 | 1227795.6165 | 2707047.9452 | 1227802.3191
22 | 2707091.0902 | 1227824.1593 | 2707087.925 | 1227818.1572
23 | 2707091.0902 | 1227824.1593 | 2707091.5801 | 1227825.0882 | 2707094.3745 | 1227831.4771
24 | 2707085.7607 | 1227814.0529 | 2707087.925 | 1227818.1572
25 | 2707097.6441 | 1227838.9522 | 2707094.3745 | 1227831.4771
26 | 2707085.7607 | 1227814.0529 | 2707085.0151 | 1227808.313 | 2707085.2308 | 1227798.4428 | 2707081.9578 | 1227789.5328
27 | 2707085.7607 | 1227814.0529 | 2707078.7285 | 1227818.1722
28 | 2707080.4823 | 1227847.4608 | 2707088.7391 | 1227842.6836 | 2707097.6441 | 1227838.9522
29 | 2707081.9578 | 1227789.5328 | 2707073.4082 | 1227792.7468
30 | 2707080.4823 | 1227847.4608 | 2707065.9088 | 1227857.5229
31 | 2707059.6073 | 1227861.8737 | 2707065.9088 | 1227857.5229
32 | 2707058.6888 | 1227829.9109 | 2707057.5797 | 1227827.283
33 | 2707058.6888 | 1227829.9109 | 2707061.0086 | 1227831.779
34 | 2707051.8231 | 1227813.6441 | 2707057.5797 | 1227827.283
35 | 2707059.6073 | 1227861.8737 | 2707059.215 | 1227862.1446 | 2707049.5452 | 1227868.8217
36 | 2707047.9452 | 1227802.3191 | 2707050.5689 | 1227810.6726
37 | 2707050.5689 | 1227810.6726 | 2707041.3334 | 1227814.3236
38 | 2707050.5689 | 1227810.6726 | 2707051.8231 | 1227813.6441
39 | 2707037.3603 | 1227815.8943 | 2707041.3334 | 1227814.3236
40 | 2707016.6748 | 1227809.7288 | 2707009.2631 | 1227813.6164
41 | 2706993.6581 | 1227821.8017 | 2707009.2631 | 1227813.6164
42 | 2706993.6581 | 1227821.8017 | 2707008.6121 | 1227838.7989
43 | 2706993.6581 | 1227821.8017 | 2706990.434 | 1227820.2759 | 2706982.5849 | 1227810.7855
44 | 2707015.4962 | 1227846.8405 | 2707011.113 | 1227841.6416 | 2707008.6121 | 1227838.7989
45 | 2706981.7525 | 1227809.4233 | 2706982.4149 | 1227810.5799 | 2706982.5849 | 1227810.7855
46 | 2707015.4962 | 1227846.8405 | 2707017.9187 | 1227849.7138
47 | 2706997.6433 | 1227901.9112 | 2706984.9571 | 1227909.89
48 | 2706997.6433 | 1227901.9112 | 2707009.8346 | 1227894.406
49 | 2707034.3558 | 1227879.3102 | 2707009.8346 | 1227894.406
50 | 2707017.9187 | 1227849.7138 | 2707018.2621 | 1227850.1211
51 | 2707034.3558 | 1227879.3102 | 2707032.3679 | 1227872.6917 | 2707028.8965 | 1227865.4909
52 | 2707034.3558 | 1227879.3102 | 2707049.5452 | 1227868.8217
53 | 2707028.8965 | 1227865.4909 | 2707027.4578 | 1227862.5068 | 2707026.163 | 1227859.4924 | 2707018.2621 | 1227850.1211

## bus_geodata
| x | y | coords
0 | 2707049.1072 | 1227718.3349
1 | 2707040.2114 | 1227719.6835
2 | 2707032.7298 | 1227720.8176
3 | 2707031.7548 | 1227729.6543
4 | 2707028.9561 | 1227767.9184
5 | 2706979.8274 | 1227740.1262
6 | 2706963.0982 | 1227731.0848
7 | 2706988.8432 | 1227745.2577
8 | 2706934.5184 | 1227722.5751
9 | 2706998.1261 | 1227750.5253
10 | 2706982.5666 | 1227765.3831
11 | 2706914.7899 | 1227720.3856
12 | 2707011.8324 | 1227758.3031
13 | 2706979.7685 | 1227776.7923
14 | 2706905.4229 | 1227763.6652
15 | 2707014.057 | 1227754.3068
16 | 2706977.1452 | 1227790.0476
17 | 2707040.0037 | 1227784.4863
18 | 2707042.8283 | 1227790.432
19 | 2707044.9886 | 1227795.6165
20 | 2706886.5837 | 1227790.794
21 | 2707091.0902 | 1227824.1593
22 | 2707087.925 | 1227818.1572
23 | 2707094.3745 | 1227831.4771
24 | 2707085.7607 | 1227814.0529
25 | 2707097.6441 | 1227838.9522
26 | 2707081.9578 | 1227789.5328
27 | 2707078.7285 | 1227818.1722
28 | 2707080.4823 | 1227847.4608
29 | 2707073.4082 | 1227792.7468
30 | 2707065.9088 | 1227857.5229
31 | 2707058.6888 | 1227829.9109
32 | 2707057.5796 | 1227827.283
33 | 2707061.0086 | 1227831.779
34 | 2707059.6073 | 1227861.8737
35 | 2707047.9452 | 1227802.3191
36 | 2707050.5689 | 1227810.6726
37 | 2707041.3334 | 1227814.3236
38 | 2707051.8231 | 1227813.6441
39 | 2707037.3603 | 1227815.8943
40 | 2707016.6748 | 1227809.7288
41 | 2707009.2631 | 1227813.6164
42 | 2706993.6581 | 1227821.8017
43 | 2707008.6121 | 1227838.7989
44 | 2706982.5849 | 1227810.7855
45 | 2707015.4962 | 1227846.8405
46 | 2706997.6433 | 1227901.9112
47 | 2706984.9571 | 1227909.89
48 | 2707009.8346 | 1227894.406
49 | 2706981.7525 | 1227809.4233
50 | 2707017.9187 | 1227849.7138
51 | 2707034.3559 | 1227879.3102
52 | 2707049.5452 | 1227868.8217
53 | 2707028.8965 | 1227865.4909
54 | 2707018.2621 | 1227850.1211
55 | 2707050.5689 | 1227810.6726

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99357 | -0.12198 | 0.0042243 | 0.0010587
1 | 0.99361 | -0.12131 | 0.0026003 | 0.00065169
2 | 0.99366 | -0.1204 | 0 | 0
3 | 0.99371 | -0.11933 | 0.0027445 | 0.00068783
4 | 0.99405 | -0.11284 | 0 | 0
5 | 0.98958 | -0.19844 | 0.0089765 | 0.0022497
6 | 0.98897 | -0.21015 | 0.014569 | 0.0036514
7 | 0.98999 | -0.1904 | 0 | 0
8 | 0.98842 | -0.22086 | 0 | 0
9 | 0.99092 | -0.17258 | 0.0044242 | 0.0011088
10 | 0.98837 | -0.22166 | 0.0065659 | 0.0016456
11 | 0.98806 | -0.22793 | 0 | 0
12 | 0.99231 | -0.14602 | 0 | 0
13 | 0.98748 | -0.23875 | 0.0056249 | 0.0014097
14 | 0.98722 | -0.24427 | 0.014488 | 0.003631
15 | 0.99229 | -0.14628 | 0.0031142 | 0.0007805
16 | 0.98647 | -0.25816 | 0.0060139 | 0.0015072
17 | 0.99586 | -0.078349 | 0.0017174 | 0.00043041
18 | 0.99646 | -0.066913 | 0.0031226 | 0.0007826
19 | 0.99698 | -0.057114 | 0 | 0
20 | 0.987 | -0.24863 | 0.0055091 | 0.0013807
21 | 0.97375 | -0.50666 | 0.023907 | 0.0059916
22 | 0.97347 | -0.51204 | 0.022356 | 0.0056031
23 | 0.97425 | -0.49678 | 0.011481 | 0.0028773
24 | 0.97339 | -0.51381 | 0 | 0
25 | 0.97484 | -0.48503 | 0 | 0
26 | 0.97314 | -0.5186 | 0 | 0
27 | 0.97331 | -0.51536 | 0.010374 | 0.0026
28 | 0.97625 | -0.45744 | 0 | 0
29 | 0.97305 | -0.52034 | 0.010359 | 0.0025962
30 | 0.97754 | -0.43206 | 0.061191 | 0.015336
31 | 0.99763 | -0.045053 | 0 | 0
32 | 0.99768 | -0.044078 | 0.02343 | 0.0058722
33 | 0.99758 | -0.046071 | 0.019519 | 0.0048919
34 | 0.97854 | -0.41257 | 0.011809 | 0.0029596
35 | 0.99765 | -0.044352 | 0 | 0
36 | 0.99846 | -0.029117 | 0 | 0
37 | 0.99953 | -0.0089205 | 0.01318 | 0.0033033
38 | 0.99826 | -0.03295 | 0.025023 | 0.0062713
39 | 1 | 0 | -0.48777 | -0.12462
40 | 0.9827 | -0.33139 | 0.021917 | 0.0054929
41 | 0.98287 | -0.32808 | 0.034117 | 0.0085506
42 | 0.98378 | -0.31028 | 0 | 0
43 | 0.98248 | -0.33562 | 0.010207 | 0.0025581
44 | 0.9849 | -0.28855 | 0.0024943 | 0.00062513
45 | 0.98189 | -0.347 | 0.0053697 | 0.0013458
46 | 0.97914 | -0.4008 | 0 | 0
47 | 0.979 | -0.4036 | 0.010305 | 0.0025826
48 | 0.97928 | -0.39811 | 0.020483 | 0.0051335
49 | 0.98502 | -0.28635 | 0.0073443 | 0.0018406
50 | 0.98169 | -0.35095 | 0.015521 | 0.0038899
51 | 0.9801 | -0.38201 | 0 | 0
52 | 0.9794 | -0.39573 | 0.012213 | 0.0030608
53 | 0.98077 | -0.36887 | 0.0094816 | 0.0023763
54 | 0.98166 | -0.35147 | 0.013133 | 0.0032914
55 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0042243 | -0.0010587 | 0.0042244 | 0.0010587 | 1.3504e-07 | -3.0104e-08 | 0.0063265 | 0.0063265 | 0.0063265 | 0.99357 | -0.12198 | 0.99361 | -0.12131 | 1.738
1 | -0.0068247 | -0.0017104 | 0.006825 | 0.0017105 | 2.9642e-07 | 9.1694e-08 | 0.010221 | 0.010221 | 0.010221 | 0.99361 | -0.12131 | 0.99366 | -0.1204 | 2.8078
2 | -0.006825 | -0.0017105 | 0.0068253 | 0.0017106 | 3.4825e-07 | 1.0772e-07 | 0.010221 | 0.01022 | 0.010221 | 0.99366 | -0.1204 | 0.99371 | -0.11933 | 2.8078
3 | -0.0095698 | -0.0023984 | 0.0095728 | 0.0023998 | 2.9592e-06 | 1.3959e-06 | 0.01433 | 0.01433 | 0.01433 | 0.99371 | -0.11933 | 0.99405 | -0.11284 | 3.9369
4 | -0.39779 | -0.10158 | 0.39845 | 0.102 | 0.00066433 | 0.00042413 | 0.59613 | 0.59613 | 0.59613 | 0.99405 | -0.11284 | 0.99586 | -0.078349 | 40.9432
5 | 0.38822 | 0.099177 | -0.3876 | -0.09878 | 0.00062183 | 0.00039695 | 0.5818 | 0.5818 | 0.5818 | 0.99405 | -0.11284 | 0.99231 | -0.14602 | 39.9591
6 | 0.034619 | 0.008695 | -0.0346 | -0.0086829 | 1.9336e-05 | 1.2131e-05 | 0.052063 | 0.052063 | 0.052063 | 0.98958 | -0.19844 | 0.98897 | -0.21015 | 14.3031
7 | -0.043596 | -0.010945 | 0.043612 | 0.010955 | 1.6721e-05 | 1.0568e-05 | 0.065561 | 0.065561 | 0.065561 | 0.98958 | -0.19844 | 0.98999 | -0.1904 | 18.0112
8 | 0.020031 | 0.0050315 | -0.02002 | -0.0050253 | 1.0235e-05 | 6.1653e-06 | 0.030142 | 0.030142 | 0.030142 | 0.98897 | -0.21015 | 0.98842 | -0.22086 | 8.2808
9 | -0.37924 | -0.096368 | 0.37957 | 0.096576 | 0.00032566 | 0.00020788 | 0.57049 | 0.57049 | 0.57049 | 0.98999 | -0.1904 | 0.99092 | -0.17258 | 39.1821
10 | 0.33563 | 0.085413 | -0.33512 | -0.085091 | 0.000505 | 0.00032211 | 0.50493 | 0.50493 | 0.50493 | 0.98999 | -0.1904 | 0.98837 | -0.22166 | 34.6793
11 | 0.02002 | 0.0050253 | -0.020014 | -0.0050212 | 6.7433e-06 | 4.0621e-06 | 0.030142 | 0.030142 | 0.030142 | 0.98842 | -0.22086 | 0.98806 | -0.22793 | 8.2808
12 | -0.38399 | -0.097685 | 0.38448 | 0.097999 | 0.00049211 | 0.00031414 | 0.57713 | 0.57713 | 0.57713 | 0.99092 | -0.17258 | 0.99231 | -0.14602 | 39.6383
13 | 0.32856 | 0.083445 | -0.32829 | -0.083273 | 0.0002699 | 0.00017213 | 0.49505 | 0.49505 | 0.49505 | 0.98837 | -0.22166 | 0.98748 | -0.23875 | 34.0004
14 | 0.020014 | 0.0050212 | -0.019998 | -0.0050118 | 1.5585e-05 | 9.3892e-06 | 0.030142 | 0.030142 | 0.030142 | 0.98806 | -0.22793 | 0.98722 | -0.24427 | 8.2809
15 | 0.0031143 | 0.00078047 | -0.0031142 | -0.0007805 | 3.7383e-08 | -3.5123e-08 | 0.00467 | 0.00467 | 0.00467 | 0.99231 | -0.14602 | 0.99229 | -0.14628 | 1.283
16 | 0.32266 | 0.081864 | -0.32236 | -0.081672 | 0.00030086 | 0.00019186 | 0.48657 | 0.48657 | 0.48657 | 0.98748 | -0.23875 | 0.98647 | -0.25816 | 33.4183
17 | 0.0055102 | 0.0013809 | -0.0055091 | -0.0013807 | 1.1447e-06 | 1.6694e-07 | 0.0083054 | 0.0083056 | 0.0083056 | 0.98722 | -0.24427 | 0.987 | -0.24863 | 2.2818
18 | 0.31635 | 0.080164 | -0.31592 | -0.079892 | 0.00042789 | 0.00027283 | 0.4775 | 0.4775 | 0.4775 | 0.98647 | -0.25816 | 0.98502 | -0.28635 | 32.7953
19 | -0.40017 | -0.10243 | 0.40039 | 0.10257 | 0.00022174 | 0.00014157 | 0.5987 | 0.5987 | 0.5987 | 0.99586 | -0.078349 | 0.99646 | -0.066913 | 41.1194
20 | -0.40352 | -0.10336 | 0.40371 | 0.10348 | 0.00019169 | 0.00012239 | 0.60336 | 0.60336 | 0.60336 | 0.99646 | -0.066913 | 0.99698 | -0.057114 | 41.4397
21 | -0.40371 | -0.10348 | 0.40396 | 0.10364 | 0.00024993 | 0.00015957 | 0.60336 | 0.60336 | 0.60336 | 0.99698 | -0.057114 | 0.99765 | -0.044352 | 41.4397
22 | 0.043106 | 0.010809 | -0.043095 | -0.010802 | 1.1042e-05 | 6.9826e-06 | 0.065874 | 0.065874 | 0.065874 | 0.97375 | -0.50666 | 0.97347 | -0.51204 | 18.0974
23 | -0.067013 | -0.016801 | 0.067045 | 0.016821 | 3.1554e-05 | 2.0095e-05 | 0.10241 | 0.10241 | 0.10241 | 0.97375 | -0.50666 | 0.97425 | -0.49678 | 28.1338
24 | 0.020739 | 0.0051993 | -0.020737 | -0.0051982 | 1.7486e-06 | 1.0614e-06 | 0.031701 | 0.031701 | 0.031701 | 0.97347 | -0.51204 | 0.97339 | -0.51381 | 8.7091
25 | -0.078525 | -0.019698 | 0.078569 | 0.019726 | 4.4015e-05 | 2.8068e-05 | 0.11994 | 0.11994 | 0.11994 | 0.97425 | -0.49678 | 0.97484 | -0.48503 | 32.9511
26 | 0.010362 | 0.0025978 | -0.01036 | -0.0025966 | 2.3669e-06 | 1.2022e-06 | 0.015841 | 0.015841 | 0.015841 | 0.97339 | -0.51381 | 0.97314 | -0.5186 | 4.3519
27 | 0.010375 | 0.0026004 | -0.010374 | -0.0026 | 7.6881e-07 | 3.9074e-07 | 0.01586 | 0.015861 | 0.015861 | 0.97339 | -0.51381 | 0.97331 | -0.51536 | 4.3573
28 | -0.078569 | -0.019726 | 0.078673 | 0.019792 | 0.00010355 | 6.6032e-05 | 0.11994 | 0.11994 | 0.11994 | 0.97484 | -0.48503 | 0.97625 | -0.45744 | 32.9511
29 | 0.01036 | 0.0025966 | -0.010359 | -0.0025962 | 8.5948e-07 | 4.366e-07 | 0.015841 | 0.015841 | 0.015841 | 0.97314 | -0.5186 | 0.97305 | -0.52034 | 4.3519
30 | -0.078673 | -0.019792 | 0.078768 | 0.019853 | 9.554e-05 | 6.0924e-05 | 0.11994 | 0.11994 | 0.11994 | 0.97625 | -0.45744 | 0.97754 | -0.43206 | 32.9511
31 | -0.13996 | -0.035189 | 0.14009 | 0.035273 | 0.00013039 | 8.3352e-05 | 0.21309 | 0.21309 | 0.21309 | 0.97754 | -0.43206 | 0.97854 | -0.41257 | 58.5404
32 | -0.01952 | -0.0048925 | 0.019521 | 0.0048931 | 9.0675e-07 | 5.4307e-07 | 0.029115 | 0.029115 | 0.029115 | 0.99763 | -0.045053 | 0.99768 | -0.044078 | 7.9987
33 | 0.01952 | 0.0048925 | -0.019519 | -0.0048919 | 9.4679e-07 | 5.6706e-07 | 0.029115 | 0.029115 | 0.029115 | 0.99763 | -0.045053 | 0.99758 | -0.046071 | 7.9987
34 | -0.042951 | -0.010765 | 0.042974 | 0.01078 | 2.2782e-05 | 1.4387e-05 | 0.064061 | 0.064061 | 0.064061 | 0.99768 | -0.044078 | 0.99826 | -0.03295 | 17.5991
35 | -0.1519 | -0.038232 | 0.15202 | 0.03831 | 0.00012239 | 7.8022e-05 | 0.23104 | 0.23104 | 0.23104 | 0.97854 | -0.41257 | 0.9794 | -0.39573 | 31.7368
36 | -0.40396 | -0.10364 | 0.40426 | 0.10383 | 0.0002988 | 0.00019078 | 0.60336 | 0.60336 | 0.60336 | 0.99765 | -0.044352 | 0.99846 | -0.029117 | 41.4397
37 | -0.47227 | -0.12089 | 0.47273 | 0.12118 | 0.00046238 | 0.0002954 | 0.70472 | 0.70472 | 0.70472 | 0.99846 | -0.029117 | 0.99953 | -0.0089205 | 48.4011
38 | 0.068009 | 0.017059 | -0.067997 | -0.017051 | 1.2426e-05 | 7.9105e-06 | 0.10136 | 0.10136 | 0.10136 | 0.99846 | -0.029117 | 0.99826 | -0.03295 | 27.8462
39 | -0.48591 | -0.12449 | 0.48612 | 0.12462 | 0.00021015 | 0.00013427 | 0.72434 | 0.72434 | 0.72434 | 0.99953 | -0.0089205 | 1 | 0 | 49.7487
40 | -0.021917 | -0.0054929 | 0.02192 | 0.005495 | 3.4566e-06 | 2.1062e-06 | 0.033187 | 0.033187 | 0.033187 | 0.9827 | -0.33139 | 0.98287 | -0.32808 | 9.1172
41 | -0.056038 | -0.014046 | 0.056085 | 0.014076 | 4.7562e-05 | 3.0216e-05 | 0.084839 | 0.084839 | 0.084839 | 0.98287 | -0.32808 | 0.98378 | -0.31028 | 23.3073
42 | 0.24964 | 0.063126 | -0.24934 | -0.062933 | 0.00030294 | 0.00019273 | 0.3778 | 0.3778 | 0.3778 | 0.98378 | -0.31028 | 0.98248 | -0.33562 | 25.9477
43 | -0.30573 | -0.077202 | 0.30605 | 0.077405 | 0.00031869 | 0.00020316 | 0.46264 | 0.46264 | 0.46264 | 0.98378 | -0.31028 | 0.9849 | -0.28855 | 31.7745
44 | 0.23913 | 0.060375 | -0.239 | -0.060292 | 0.0001303 | 8.2856e-05 | 0.36234 | 0.36234 | 0.36234 | 0.98248 | -0.33562 | 0.98189 | -0.347 | 24.8859
45 | -0.30854 | -0.07803 | 0.30857 | 0.078051 | 3.2624e-05 | 2.0798e-05 | 0.4664 | 0.4664 | 0.4664 | 0.9849 | -0.28855 | 0.98502 | -0.28635 | 32.0333
46 | 0.23363 | 0.058947 | -0.23359 | -0.058918 | 4.4204e-05 | 2.8101e-05 | 0.3542 | 0.3542 | 0.3542 | 0.98189 | -0.347 | 0.98169 | -0.35095 | 24.327
47 | 0.010306 | 0.0025833 | -0.010305 | -0.0025826 | 1.3787e-06 | 6.939e-07 | 0.015663 | 0.015663 | 0.015663 | 0.97914 | -0.4008 | 0.979 | -0.4036 | 4.303
48 | -0.010306 | -0.0025833 | 0.010308 | 0.002584 | 1.317e-06 | 6.628e-07 | 0.015663 | 0.015663 | 0.015663 | 0.97914 | -0.4008 | 0.97928 | -0.39811 | 4.3029
49 | -0.03079 | -0.0077175 | 0.030814 | 0.0077322 | 2.3637e-05 | 1.4765e-05 | 0.046786 | 0.046786 | 0.046786 | 0.97928 | -0.39811 | 0.9801 | -0.38201 | 12.8534
50 | 0.21807 | 0.055029 | -0.21806 | -0.055025 | 5.4611e-06 | 3.4682e-06 | 0.33068 | 0.33068 | 0.33068 | 0.98169 | -0.35095 | 0.98166 | -0.35147 | 22.7113
51 | -0.19516 | -0.049171 | 0.19528 | 0.049249 | 0.00012274 | 7.7804e-05 | 0.29638 | 0.29638 | 0.29638 | 0.9801 | -0.38201 | 0.98077 | -0.36887 | 20.3561
52 | 0.16434 | 0.041439 | -0.16423 | -0.041371 | 0.00010781 | 6.8068e-05 | 0.2496 | 0.2496 | 0.2496 | 0.9801 | -0.38201 | 0.9794 | -0.39573 | 17.1428
53 | -0.20476 | -0.051625 | 0.20493 | 0.051734 | 0.00017068 | 0.00010828 | 0.31077 | 0.31077 | 0.31077 | 0.98077 | -0.36887 | 0.98166 | -0.35147 | 21.3441

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.51241 | 0.1308

## res_load
| p_mw | q_mvar
0 | 0.0042243 | 0.0010587
1 | 0.0026003 | 0.00065169
2 | 0.0027445 | 0.00068783
3 | 0.0089765 | 0.0022497
4 | 0.014569 | 0.0036514
5 | 0.0044242 | 0.0011088
6 | 0.0065659 | 0.0016456
7 | 0.0056249 | 0.0014097
8 | 0.014488 | 0.003631
9 | 0.0031142 | 0.0007805
10 | 0.0060139 | 0.0015072
11 | 0.0017174 | 0.00043041
12 | 0.0031226 | 0.0007826
13 | 0.0055091 | 0.0013807
14 | 0.023907 | 0.0059916
15 | 0.022356 | 0.0056031
16 | 0.011481 | 0.0028773
17 | 0.010374 | 0.0026
18 | 0.010359 | 0.0025962
19 | 0.061191 | 0.015336
20 | 0.02343 | 0.0058722
21 | 0.019519 | 0.0048919
22 | 0.011809 | 0.0029596
23 | 0.01318 | 0.0033033
24 | 0.025023 | 0.0062713
25 | 0.02464 | 0.0061755
26 | 0.021917 | 0.0054929
27 | 0.034117 | 0.0085506
28 | 0.010207 | 0.0025581
29 | 0.0024943 | 0.00062513
30 | 0.0053697 | 0.0013458
31 | 0.010305 | 0.0025826
32 | 0.020483 | 0.0051335
33 | 0.0073443 | 0.0018406
34 | 0.015521 | 0.0038899
35 | 0.012213 | 0.0030608
36 | 0.0094816 | 0.0023763
37 | 0.013133 | 0.0032914

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1