## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1346-12_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1346-12_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1346-12_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1346-12_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1346-12_0_4_node_27 | 0.4 | n |  | TRUE
5 | bus_LV_1346-12_0_4_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_1346-12_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1346-12_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1346-12_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1346-12_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1346-12_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_1346-12_0_4_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_1346-12_0_4_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_1346-12_0_4_node_51 | 0.4 | n |  | TRUE
14 | bus_LV_1346-12_0_4_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_1346-12_0_4_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_1346-12_0_4_node_53 | 0.4 | n |  | TRUE
17 | bus_LV_1346-12_0_4_node_49 | 0.4 | n |  | TRUE
18 | bus_LV_1346-12_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1346-12_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1346-12_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1346-12_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_1346-12_0_4_node_63 | 0.4 | n |  | TRUE
23 | bus_LV_1346-12_0_4_node_62 | 0.4 | n |  | TRUE
24 | bus_LV_1346-12_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_1346-12_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_1346-12_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1346-12_0_4_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_1346-12_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1346-12_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_1346-12_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_1346-12_0_4_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_1346-12_0_4_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_1346-12_0_4_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_1346-12_0_4_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_1346-12_0_4_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_1346-12_0_4_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_1346-12_0_4_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_1346-12_0_4_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_1346-12_0_4_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_1346-12_0_4_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_1346-12_0_4_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_1346-12_0_4_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_1346-12_0_4_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_1346-12_0_4_node_66 | 0.4 | n |  | TRUE
45 | bus_LV_1346-12_0_4_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_1346-12_0_4_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_1346-12_0_4_node_68 | 0.4 | n |  | TRUE
48 | bus_LV_1346-12_0_4_node_69 | 0.4 | n |  | TRUE
49 | bus_LV_1346-12_0_4_node_67 | 0.4 | n |  | TRUE
50 | bus_LV_1346-12_0_4_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_1346-12_0_4_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_1346-12_0_4_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_1346-12_0_4_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_1346-12_0_4_node_70 | 0.4 | n |  | TRUE
55 | bus_LV_1346-12_0_4_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_1346-12_0_4_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_1346-12_0_4_node_71 | 0.4 | n |  | TRUE
58 | bus_LV_1346-12_0_4_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_1346-12_0_4_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_1346-12_0_4_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_1346-12_0_4_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_1346-12_0_4_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_1346-12_0_4_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_1346-12_0_4_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_1346-12_0_4_node_72 | 0.4 | n |  | TRUE
66 | bus_LV_1346-12_0_4_node_73 | 0.4 | n |  | TRUE
67 | bus_MV_19_0_node_28 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1346-12_0_4_load_0 | 0 | 0.012012 | 0.0030105 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1346-12_0_4_load_1 | 1 | 0.0079238 | 0.0019859 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1346-12_0_4_load_2 | 2 | 0.020783 | 0.0052087 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1346-12_0_4_load_3 | 3 | 0.0098248 | 0.0024623 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1346-12_0_4_load_27 | 4 | 0.0043815 | 0.0010981 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1346-12_0_4_load_9 | 5 | 0.019527 | 0.0048938 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1346-12_0_4_load_5 | 6 | 0.01711 | 0.0042882 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1346-12_0_4_load_6 | 7 | 0.017315 | 0.0043396 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1346-12_0_4_load_8 | 9 | 0.014259 | 0.0035737 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1346-12_0_4_load_25 | 11 | 0.034187 | 0.0085682 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1346-12_0_4_load_23 | 12 | 0.0071006 | 0.0017796 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1346-12_0_4_load_26 | 14 | 0.0063139 | 0.0015824 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1346-12_0_4_load_22 | 15 | 0.014409 | 0.0036113 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1346-12_0_4_load_53 | 16 | 0.0086978 | 0.0021799 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1346-12_0_4_load_49 | 17 | 0.01043 | 0.002614 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1346-12_0_4_load_11 | 18 | 0.01772 | 0.0044411 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1346-12_0_4_load_13 | 20 | 0.056019 | 0.01404 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1346-12_0_4_load_63 | 22 | 0.0074242 | 0.0018607 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1346-12_0_4_load_62 | 23 | 0.012085 | 0.0030288 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1346-12_0_4_load_21 | 25 | 0.0096361 | 0.002415 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1346-12_0_4_load_17 | 26 | 0.0038051 | 0.00095365 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1346-12_0_4_load_34 | 27 | 0.0044927 | 0.001126 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1346-12_0_4_load_18 | 28 | 0.02039 | 0.0051103 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1346-12_0_4_load_24 | 30 | 0.015882 | 0.0039805 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1346-12_0_4_load_37 | 33 | 0.0017657 | 0.00044253 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1346-12_0_4_load_32 | 34 | 0.0035846 | 0.00089839 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1346-12_0_4_load_30 | 35 | 0.010093 | 0.0025297 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1346-12_0_4_load_31 | 36 | 0.0026076 | 0.00065353 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1346-12_0_4_load_33 | 37 | 0.0026164 | 0.00065572 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1346-12_0_4_load_41 | 38 | 0.01749 | 0.0043833 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1346-12_0_4_load_38 | 39 | 0.004525 | 0.0011341 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1346-12_0_4_load_47 | 42 | 0.0061637 | 0.0015448 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1346-12_0_4_load_44 | 43 | 0.0021348 | 0.00053504 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1346-12_0_4_load_66 | 44 | 0.0014251 | 0.00035717 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1346-12_0_4_load_45 | 45 | 0.0023495 | 0.00058883 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1346-12_0_4_load_68 | 47 | 0.034225 | 0.0085775 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1346-12_0_4_load_69 | 48 | 0.014362 | 0.0035995 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1346-12_0_4_load_67 | 49 | 0.017643 | 0.0044218 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1346-12_0_4_load_46 | 50 | 0.0031091 | 0.00077922 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1346-12_0_4_load_50 | 51 | 0.0090279 | 0.0022626 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1346-12_0_4_load_70 | 54 | 0.0083696 | 0.0020976 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1346-12_0_4_load_54 | 56 | 0.020253 | 0.0050759 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1346-12_0_4_load_55 | 58 | 0.012567 | 0.0031496 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1346-12_0_4_load_57 | 59 | 0.01339 | 0.0033559 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1346-12_0_4_load_59 | 60 | 0.0026196 | 0.00065652 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1346-12_0_4_load_60 | 61 | 0.0022881 | 0.00057346 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1346-12_0_4_load_61 | 62 | 0.0029491 | 0.00073912 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1346-12_0_4_load_65 | 64 | 0.0021633 | 0.00054218 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1346-12_0_4_load_73 | 66 | 0.0056094 | 0.0014058 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1346-12_0_4_line_0 |  | 0 | 1 | 0.014043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1346-12_0_4_line_1 |  | 0 | 2 | 0.0044109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1346-12_0_4_line_2 |  | 1 | 3 | 0.0015157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1346-12_0_4_line_3 |  | 3 | 4 | 0.0064708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1346-12_0_4_line_4 |  | 4 | 5 | 0.018175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1346-12_0_4_line_5 |  | 5 | 8 | 0.010704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1346-12_0_4_line_6 |  | 6 | 7 | 0.0035724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1346-12_0_4_line_7 |  | 6 | 8 | 0.015363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_1346-12_0_4_line_8 |  | 7 | 9 | 0.033538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1346-12_0_4_line_9 |  | 8 | 10 | 0.014579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_1346-12_0_4_line_10 |  | 9 | 11 | 0.03212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1346-12_0_4_line_11 |  | 10 | 12 | 0.013442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_1346-12_0_4_line_12 |  | 10 | 13 | 0.020786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_1346-12_0_4_line_13 |  | 11 | 14 | 0.0054134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1346-12_0_4_line_14 |  | 12 | 15 | 0.0085956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_1346-12_0_4_line_15 |  | 13 | 16 | 0.0356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1346-12_0_4_line_16 |  | 13 | 17 | 0.00041655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1346-12_0_4_line_17 |  | 14 | 31 | 0.015962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1346-12_0_4_line_18 |  | 15 | 30 | 0.0098984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_1346-12_0_4_line_19 |  | 16 | 49 | 0.022832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1346-12_0_4_line_20 |  | 17 | 51 | 0.020031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1346-12_0_4_line_21 |  | 18 | 19 | 0.025009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1346-12_0_4_line_22 |  | 19 | 20 | 0.0051547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1346-12_0_4_line_23 |  | 19 | 21 | 0.039898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1346-12_0_4_line_24 |  | 21 | 22 | 0.012471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1346-12_0_4_line_25 |  | 21 | 23 | 0.0055233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1346-12_0_4_line_26 |  | 22 | 27 | 0.012318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1346-12_0_4_line_27 |  | 24 | 25 | 0.013059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1346-12_0_4_line_28 |  | 24 | 26 | 0.004147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1346-12_0_4_line_29 |  | 26 | 28 | 0.027849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1346-12_0_4_line_30 |  | 27 | 29 | 0.0098947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1346-12_0_4_line_31 |  | 28 | 29 | 0.017587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1346-12_0_4_line_32 |  | 29 | 30 | 0.0075512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1346-12_0_4_line_33 |  | 31 | 32 | 0.008924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1346-12_0_4_line_34 |  | 31 | 33 | 0.01017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1346-12_0_4_line_35 |  | 32 | 38 | 0.03176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1346-12_0_4_line_36 |  | 32 | 39 | 0.01728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1346-12_0_4_line_37 |  | 33 | 37 | 0.017041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1346-12_0_4_line_38 |  | 34 | 35 | 0.011374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1346-12_0_4_line_39 |  | 35 | 36 | 0.0029206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1346-12_0_4_line_40 |  | 36 | 37 | 0.023004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1346-12_0_4_line_41 |  | 39 | 40 | 0.014157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1346-12_0_4_line_42 |  | 40 | 41 | 0.020176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1346-12_0_4_line_43 |  | 41 | 42 | 0.034673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1346-12_0_4_line_44 |  | 41 | 43 | 0.015743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1346-12_0_4_line_45 |  | 42 | 44 | 0.0060989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1346-12_0_4_line_46 |  | 43 | 45 | 0.0241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1346-12_0_4_line_47 |  | 45 | 50 | 0.017434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1346-12_0_4_line_48 |  | 46 | 47 | 0.011541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1346-12_0_4_line_49 |  | 46 | 48 | 0.008857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1346-12_0_4_line_50 |  | 46 | 49 | 0.0094315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1346-12_0_4_line_51 |  | 51 | 52 | 0.015193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1346-12_0_4_line_52 |  | 52 | 53 | 0.02599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1346-12_0_4_line_53 |  | 52 | 54 | 0.0037383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1346-12_0_4_line_54 |  | 53 | 55 | 0.015333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1346-12_0_4_line_55 |  | 53 | 56 | 0.017953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1346-12_0_4_line_56 |  | 54 | 57 | 0.014432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1346-12_0_4_line_57 |  | 55 | 60 | 0.031118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1346-12_0_4_line_58 |  | 56 | 58 | 0.0089323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1346-12_0_4_line_59 |  | 57 | 65 | 0.0282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1346-12_0_4_line_60 |  | 58 | 59 | 0.0061312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1346-12_0_4_line_61 |  | 60 | 61 | 0.0039792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1346-12_0_4_line_62 |  | 61 | 62 | 0.01156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1346-12_0_4_line_63 |  | 62 | 63 | 0.014179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1346-12_0_4_line_64 |  | 63 | 64 | 0.021904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1346-12_0_4_line_65 |  | 65 | 66 | 0.003233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1346-12_0_4_trafo_5 | 0.63 MVA 20/0.4 kV | 67 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2710583.7186 | 1225867.5464 | 2710597.5153 | 1225870.1646
1 | 2710583.7186 | 1225867.5464 | 2710579.3851 | 1225866.7241
2 | 2710597.5153 | 1225870.1646 | 2710599.0044 | 1225870.4471
3 | 2710605.3617 | 1225871.6535 | 2710599.0044 | 1225870.4471
4 | 2710605.3617 | 1225871.6535 | 2710618.459 | 1225874.139 | 2710623.2159 | 1225875.0519
5 | 2710633.7281 | 1225877.0695 | 2710623.2159 | 1225875.0519
6 | 2710630.9635 | 1225892.1817 | 2710630.3206 | 1225895.6958
7 | 2710633.7281 | 1225877.0695 | 2710630.9635 | 1225892.1817
8 | 2710630.3206 | 1225895.6958 | 2710629.3897 | 1225900.7845 | 2710617.1874 | 1225926.3901
9 | 2710647.9172 | 1225880.5915 | 2710633.7281 | 1225877.0695
10 | 2710601.0938 | 1225954.0287 | 2710609.4986 | 1225942.5242 | 2710617.1874 | 1225926.3901
11 | 2710647.9172 | 1225880.5915 | 2710651.7447 | 1225867.7056
12 | 2710647.9172 | 1225880.5915 | 2710665.0526 | 1225892.4301
13 | 2710597.9004 | 1225958.3999 | 2710601.0938 | 1225954.0287
14 | 2710651.7447 | 1225867.7056 | 2710654.1922 | 1225859.4658
15 | 2710665.0526 | 1225892.4301 | 2710662.4574 | 1225901.9113 | 2710658.4382 | 1225916.6143 | 2710655.0537 | 1225926.5828
16 | 2710665.4017 | 1225892.6573 | 2710665.0526 | 1225892.4301
17 | 2710588.4844 | 1225971.2887 | 2710597.9004 | 1225958.3999
18 | 2710657.0107 | 1225849.9772 | 2710654.1922 | 1225859.4658
19 | 2710647.7131 | 1225948.2029 | 2710655.0537 | 1225926.5828
20 | 2710665.4017 | 1225892.6573 | 2710682.1931 | 1225903.5796
21 | 2710639.1002 | 1225795.352 | 2710654.7171 | 1225775.8186
22 | 2710639.1002 | 1225795.352 | 2710635.9307 | 1225799.4171
23 | 2710675.3397 | 1225812.2719 | 2710666.0412 | 1225807.929 | 2710639.1002 | 1225795.352
24 | 2710675.3397 | 1225812.2719 | 2710668.4448 | 1225822.6633
25 | 2710675.3397 | 1225812.2719 | 2710678.2908 | 1225807.6031
26 | 2710662.8056 | 1225833.5395 | 2710665.1437 | 1225827.6384 | 2710668.4448 | 1225822.6633
27 | 2710610.8649 | 1225831.5656 | 2710598.037 | 1225829.1188
28 | 2710610.8649 | 1225831.5656 | 2710614.8937 | 1225832.549
29 | 2710641.948 | 1225839.1528 | 2710614.8937 | 1225832.549
30 | 2710659.1608 | 1225842.7386 | 2710662.8056 | 1225833.5395
31 | 2710659.1608 | 1225842.7386 | 2710647.2085 | 1225840.4368 | 2710641.948 | 1225839.1528
32 | 2710659.1608 | 1225842.7386 | 2710657.0107 | 1225849.9772
33 | 2710595.6486 | 1225976.637 | 2710588.4844 | 1225971.2887
34 | 2710588.4844 | 1225971.2887 | 2710580.3157 | 1225965.2312
35 | 2710595.6486 | 1225976.637 | 2710620.4546 | 1225996.4699
36 | 2710595.6486 | 1225976.637 | 2710586.6925 | 1225991.4145
37 | 2710566.6276 | 1225955.0807 | 2710580.3157 | 1225965.2312
38 | 2710536.6678 | 1225932.8638 | 2710545.8042 | 1225939.639
39 | 2710548.1501 | 1225941.3786 | 2710545.8042 | 1225939.639
40 | 2710566.6276 | 1225955.0807 | 2710548.1501 | 1225941.3786
41 | 2710579.3551 | 1226003.5212 | 2710586.6925 | 1225991.4145
42 | 2710579.3551 | 1226003.5212 | 2710560.4822 | 1225996.2429
43 | 2710560.4822 | 1225996.2429 | 2710549.336 | 1226029.0756
44 | 2710560.4822 | 1225996.2429 | 2710545.9116 | 1225990.2816
45 | 2710547.3754 | 1226034.8508 | 2710549.336 | 1226029.0756
46 | 2710545.9116 | 1225990.2816 | 2710544.6801 | 1225989.7778 | 2710523.232 | 1225982.1339
47 | 2710508.2387 | 1225973.3118 | 2710521.4735 | 1225981.5071 | 2710523.232 | 1225982.1339
48 | 2710644.6809 | 1225957.1337 | 2710643.5601 | 1225945.6486
49 | 2710644.6809 | 1225957.1337 | 2710646.0268 | 1225965.8875
50 | 2710644.6809 | 1225957.1337 | 2710647.7131 | 1225948.2029
51 | 2710695.6255 | 1225910.6792 | 2710682.1931 | 1225903.5796
52 | 2710695.6255 | 1225910.6792 | 2710711.9928 | 1225890.4573
53 | 2710695.6255 | 1225910.6792 | 2710698.836 | 1225912.5943
54 | 2710725.3366 | 1225884.8012 | 2710716.1936 | 1225885.9653 | 2710711.9928 | 1225890.4573
55 | 2710711.9928 | 1225890.4573 | 2710699.1069 | 1225877.9569
56 | 2710711.2307 | 1225919.9877 | 2710698.836 | 1225912.5943
57 | 2710725.3366 | 1225884.8012 | 2710738.9433 | 1225856.8154
58 | 2710699.1069 | 1225877.9569 | 2710698.7284 | 1225877.5897 | 2710698.0199 | 1225869.2146
59 | 2710696.6704 | 1225944.1573 | 2710711.2307 | 1225919.9877
60 | 2710694.3275 | 1225864.32 | 2710698.0199 | 1225869.2146
61 | 2710738.9433 | 1225856.8154 | 2710740.6832 | 1225853.2368
62 | 2710745.738 | 1225842.8401 | 2710740.6832 | 1225853.2368
63 | 2710751.938 | 1225830.0881 | 2710745.738 | 1225842.8401
64 | 2710751.938 | 1225830.0881 | 2710732.8427 | 1225819.258
65 | 2710696.6704 | 1225944.1573 | 2710695.5143 | 1225947.1765

## bus_geodata
| x | y | coords
0 | 2710583.7186 | 1225867.5464
1 | 2710597.5153 | 1225870.1646
2 | 2710579.3851 | 1225866.7241
3 | 2710599.0044 | 1225870.4471
4 | 2710605.3617 | 1225871.6535
5 | 2710623.2159 | 1225875.0519
6 | 2710630.9635 | 1225892.1817
7 | 2710630.3206 | 1225895.6958
8 | 2710633.7281 | 1225877.0695
9 | 2710617.1874 | 1225926.3901
10 | 2710647.9172 | 1225880.5915
11 | 2710601.0938 | 1225954.0287
12 | 2710651.7447 | 1225867.7056
13 | 2710665.0526 | 1225892.4301
14 | 2710597.9004 | 1225958.3999
15 | 2710654.1922 | 1225859.4658
16 | 2710655.0537 | 1225926.5828
17 | 2710665.4017 | 1225892.6573
18 | 2710654.7171 | 1225775.8186
19 | 2710639.1002 | 1225795.352
20 | 2710635.9307 | 1225799.4171
21 | 2710675.3397 | 1225812.2719
22 | 2710668.4448 | 1225822.6633
23 | 2710678.2908 | 1225807.6031
24 | 2710610.8649 | 1225831.5656
25 | 2710598.037 | 1225829.1188
26 | 2710614.8937 | 1225832.549
27 | 2710662.8056 | 1225833.5395
28 | 2710641.948 | 1225839.1528
29 | 2710659.1608 | 1225842.7386
30 | 2710657.0107 | 1225849.9772
31 | 2710588.4844 | 1225971.2887
32 | 2710595.6486 | 1225976.637
33 | 2710580.3157 | 1225965.2312
34 | 2710536.6678 | 1225932.8638
35 | 2710545.8042 | 1225939.639
36 | 2710548.1501 | 1225941.3786
37 | 2710566.6276 | 1225955.0807
38 | 2710620.4546 | 1225996.4699
39 | 2710586.6925 | 1225991.4145
40 | 2710579.3551 | 1226003.5212
41 | 2710560.4822 | 1225996.2429
42 | 2710549.336 | 1226029.0756
43 | 2710545.9116 | 1225990.2816
44 | 2710547.3754 | 1226034.8508
45 | 2710523.232 | 1225982.1339
46 | 2710644.6809 | 1225957.1337
47 | 2710643.5601 | 1225945.6486
48 | 2710646.0268 | 1225965.8875
49 | 2710647.7131 | 1225948.2029
50 | 2710508.2387 | 1225973.3118
51 | 2710682.1931 | 1225903.5796
52 | 2710695.6255 | 1225910.6792
53 | 2710711.9928 | 1225890.4573
54 | 2710698.836 | 1225912.5943
55 | 2710725.3366 | 1225884.8012
56 | 2710699.1069 | 1225877.9569
57 | 2710711.2307 | 1225919.9877
58 | 2710698.0199 | 1225869.2146
59 | 2710694.3275 | 1225864.32
60 | 2710738.9433 | 1225856.8154
61 | 2710740.6832 | 1225853.2368
62 | 2710745.738 | 1225842.8401
63 | 2710751.938 | 1225830.0881
64 | 2710732.8427 | 1225819.258
65 | 2710696.6704 | 1225944.1573
66 | 2710695.5143 | 1225947.1765
67 | 2710633.7281 | 1225877.0695

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99568 | -0.082871 | 0.012012 | 0.0030105
1 | 0.9961 | -0.074778 | 0.0079238 | 0.0019859
2 | 0.9956 | -0.084483 | 0.020783 | 0.0052087
3 | 0.99616 | -0.073694 | 0.0098248 | 0.0024623
4 | 0.99646 | -0.067951 | 0.0043815 | 0.0010981
5 | 0.99736 | -0.050443 | 0.019527 | 0.0048938
6 | 1 | 0 | -0.54335 | -0.13721
7 | 0.99958 | -0.0080949 | 0.017315 | 0.0043396
8 | 0.99809 | -0.03649 | 0 | 0
9 | 0.99612 | -0.074219 | 0.014259 | 0.0035737
10 | 0.99661 | -0.064895 | 0 | 0
11 | 0.99324 | -0.12988 | 0.034187 | 0.0085682
12 | 0.99591 | -0.07819 | 0.0071006 | 0.0017796
13 | 0.99504 | -0.094963 | 0 | 0
14 | 0.99292 | -0.13603 | 0.0063139 | 0.0015824
15 | 0.99549 | -0.086344 | 0.014409 | 0.0036113
16 | 0.9926 | -0.14204 | 0.0086978 | 0.0021799
17 | 0.99501 | -0.09562 | 0.01043 | 0.002614
18 | 0.98788 | -0.23335 | 0.01772 | 0.0044411
19 | 0.98829 | -0.22544 | 0 | 0
20 | 0.98802 | -0.2306 | 0.056019 | 0.01404
21 | 0.99099 | -0.17308 | 0 | 0
22 | 0.99197 | -0.15411 | 0.0074242 | 0.0018607
23 | 0.99093 | -0.17427 | 0.012085 | 0.0030288
24 | 0.99299 | -0.13453 | 0 | 0
25 | 0.99287 | -0.13675 | 0.0096361 | 0.002415
26 | 0.99302 | -0.13382 | 0.0038051 | 0.00095365
27 | 0.99302 | -0.13378 | 0.0044927 | 0.001126
28 | 0.99337 | -0.12721 | 0.02039 | 0.0051103
29 | 0.99391 | -0.1167 | 0 | 0
30 | 0.99482 | -0.099188 | 0.015882 | 0.0039805
31 | 0.99207 | -0.15237 | 0 | 0
32 | 0.99177 | -0.15825 | 0 | 0
33 | 0.99188 | -0.15609 | 0.0017657 | 0.00044253
34 | 0.99117 | -0.16988 | 0.0035846 | 0.00089839
35 | 0.99121 | -0.16915 | 0.010093 | 0.0025297
36 | 0.99124 | -0.16845 | 0.0026076 | 0.00065353
37 | 0.99159 | -0.1618 | 0.0026164 | 0.00065572
38 | 0.99126 | -0.1681 | 0.01749 | 0.0043833
39 | 0.99146 | -0.16429 | 0.004525 | 0.0011341
40 | 0.99126 | -0.1681 | 0 | 0
41 | 0.99098 | -0.17354 | 0 | 0
42 | 0.99074 | -0.17821 | 0.0061637 | 0.0015448
43 | 0.99087 | -0.17566 | 0.0021348 | 0.00053504
44 | 0.99073 | -0.17836 | 0.0014251 | 0.00035717
45 | 0.99075 | -0.178 | 0.0023495 | 0.00058883
46 | 0.9908 | -0.17696 | 0 | 0
47 | 0.99043 | -0.18397 | 0.034225 | 0.0085775
48 | 0.99068 | -0.17922 | 0.014362 | 0.0035995
49 | 0.99122 | -0.16882 | 0.017643 | 0.0044218
50 | 0.9907 | -0.17896 | 0.0031091 | 0.00077922
51 | 0.99355 | -0.12361 | 0.0090279 | 0.0022626
52 | 0.99258 | -0.14246 | 0 | 0
53 | 0.99124 | -0.16835 | 0 | 0
54 | 0.99253 | -0.14339 | 0.0083696 | 0.0020976
55 | 0.9911 | -0.17108 | 0 | 0
56 | 0.99048 | -0.18308 | 0.020253 | 0.0050759
57 | 0.99246 | -0.14482 | 0 | 0
58 | 0.99027 | -0.1872 | 0.012567 | 0.0031496
59 | 0.99019 | -0.18866 | 0.01339 | 0.0033559
60 | 0.99081 | -0.17661 | 0.0026196 | 0.00065652
61 | 0.99079 | -0.17714 | 0.0022881 | 0.00057346
62 | 0.99073 | -0.17819 | 0.0029491 | 0.00073912
63 | 0.9907 | -0.17873 | 0 | 0
64 | 0.99066 | -0.17957 | 0.0021633 | 0.00054218
65 | 0.99231 | -0.14762 | 0 | 0
66 | 0.9923 | -0.14794 | 0.0056094 | 0.0014058
67 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.032797 | -0.0082202 | 0.032809 | 0.0082281 | 1.2651e-05 | 7.9138e-06 | 0.049014 | 0.049014 | 0.049014 | 0.99568 | -0.082871 | 0.9961 | -0.074778 | 13.4653
1 | 0.020784 | 0.0052096 | -0.020783 | -0.0052087 | 1.5959e-06 | 9.6402e-07 | 0.031062 | 0.031062 | 0.031062 | 0.99568 | -0.082871 | 0.9956 | -0.084483 | 8.5335
2 | -0.040733 | -0.010214 | 0.040735 | 0.010215 | 2.1046e-06 | 1.3272e-06 | 0.060851 | 0.060851 | 0.060851 | 0.9961 | -0.074778 | 0.99616 | -0.073694 | 16.7172
3 | -0.05056 | -0.012678 | 0.050574 | 0.012686 | 1.3842e-05 | 8.7743e-06 | 0.075526 | 0.075526 | 0.075526 | 0.99616 | -0.073694 | 0.99646 | -0.067951 | 20.749
4 | -0.054955 | -0.013785 | 0.055001 | 0.013814 | 4.5905e-05 | 2.9142e-05 | 0.082069 | 0.082069 | 0.082069 | 0.99646 | -0.067951 | 0.99736 | -0.050443 | 22.5465
5 | -0.074528 | -0.018708 | 0.074578 | 0.018739 | 4.9637e-05 | 3.1628e-05 | 0.1112 | 0.1112 | 0.1112 | 0.99736 | -0.050443 | 0.99809 | -0.03649 | 30.55
6 | 0.13072 | 0.033064 | -0.13067 | -0.033031 | 5.0746e-05 | 3.243e-05 | 0.19463 | 0.19463 | 0.19463 | 1 | 0 | 0.99958 | -0.0080949 | 53.4689
7 | 0.41097 | 0.10414 | -0.41026 | -0.10368 | 0.00071913 | 0.00045964 | 0.61194 | 0.61194 | 0.61194 | 1 | 0 | 0.99809 | -0.03649 | 56.0385
8 | 0.11336 | 0.028692 | -0.113 | -0.028463 | 0.00035857 | 0.00022904 | 0.16885 | 0.16885 | 0.16885 | 0.99958 | -0.0080949 | 0.99612 | -0.074219 | 46.3875
9 | 0.33568 | 0.084945 | -0.33522 | -0.084653 | 0.00045694 | 0.00029187 | 0.50074 | 0.50074 | 0.50074 | 0.99809 | -0.03649 | 0.99661 | -0.064895 | 45.8552
10 | 0.098741 | 0.024889 | -0.098479 | -0.024721 | 0.00026223 | 0.00016741 | 0.14755 | 0.14755 | 0.14755 | 0.99612 | -0.074219 | 0.99324 | -0.12988 | 40.5357
11 | 0.16982 | 0.042888 | -0.16971 | -0.042819 | 0.00010812 | 6.8671e-05 | 0.25367 | 0.25367 | 0.25367 | 0.99661 | -0.064895 | 0.99591 | -0.07819 | 23.2294
12 | 0.16541 | 0.041765 | -0.16517 | -0.041613 | 0.00023792 | 0.00015173 | 0.24707 | 0.24707 | 0.24707 | 0.99661 | -0.064895 | 0.99504 | -0.094963 | 33.9388
13 | 0.064291 | 0.016153 | -0.064272 | -0.016141 | 1.8839e-05 | 1.1987e-05 | 0.096332 | 0.096332 | 0.096332 | 0.99324 | -0.12988 | 0.99292 | -0.13603 | 26.4649
14 | 0.16261 | 0.041039 | -0.16254 | -0.040999 | 6.3475e-05 | 4.0289e-05 | 0.24306 | 0.24306 | 0.24306 | 0.99591 | -0.07819 | 0.99549 | -0.086344 | 22.2579
15 | 0.075213 | 0.01896 | -0.075044 | -0.018853 | 0.00016901 | 0.0001077 | 0.11252 | 0.11252 | 0.11252 | 0.99504 | -0.094963 | 0.9926 | -0.14204 | 30.9108
16 | 0.089954 | 0.022653 | -0.089951 | -0.022651 | 2.8283e-06 | 1.8047e-06 | 0.13456 | 0.13456 | 0.13456 | 0.99504 | -0.094963 | 0.99501 | -0.09562 | 36.9667
17 | 0.057959 | 0.014559 | -0.057913 | -0.01453 | 4.5171e-05 | 2.8703e-05 | 0.08687 | 0.08687 | 0.08687 | 0.99292 | -0.13603 | 0.99207 | -0.15237 | 23.8654
18 | 0.14813 | 0.037388 | -0.14804 | -0.03733 | 9.1072e-05 | 5.8029e-05 | 0.22152 | 0.22152 | 0.22152 | 0.99549 | -0.086344 | 0.99482 | -0.099188 | 30.4283
19 | 0.066346 | 0.016673 | -0.066262 | -0.016619 | 8.4727e-05 | 5.393e-05 | 0.099476 | 0.099476 | 0.099476 | 0.9926 | -0.14204 | 0.99122 | -0.16882 | 27.3287
20 | 0.079521 | 0.020037 | -0.079415 | -0.01997 | 0.0001063 | 6.7774e-05 | 0.11896 | 0.11896 | 0.11896 | 0.99501 | -0.09562 | 0.99355 | -0.12361 | 32.6816
21 | -0.01772 | -0.0044411 | 0.017727 | 0.004445 | 6.6813e-06 | 3.9557e-06 | 0.026691 | 0.026691 | 0.026691 | 0.98788 | -0.23335 | 0.98829 | -0.22544 | 7.3328
22 | 0.056032 | 0.014048 | -0.056019 | -0.01404 | 1.3759e-05 | 8.7397e-06 | 0.084367 | 0.084367 | 0.084367 | 0.98829 | -0.22544 | 0.98802 | -0.2306 | 23.1778
23 | -0.073759 | -0.018493 | 0.073944 | 0.018611 | 0.00018454 | 0.00011759 | 0.11106 | 0.11106 | 0.11106 | 0.98829 | -0.22544 | 0.99099 | -0.17308 | 30.5105
24 | -0.08603 | -0.02164 | 0.086108 | 0.02169 | 7.8071e-05 | 4.9805e-05 | 0.12921 | 0.12921 | 0.12921 | 0.99099 | -0.17308 | 0.99197 | -0.15411 | 35.4961
25 | 0.012086 | 0.0030292 | -0.012085 | -0.0030288 | 6.8213e-07 | 3.6541e-07 | 0.018148 | 0.018148 | 0.018148 | 0.99099 | -0.17308 | 0.99093 | -0.17427 | 4.9856
26 | -0.093532 | -0.023551 | 0.093623 | 0.023609 | 9.0981e-05 | 5.8069e-05 | 0.14034 | 0.14034 | 0.14034 | 0.99197 | -0.15411 | 0.99302 | -0.13378 | 38.5556
27 | 0.0096372 | 0.0024155 | -0.0096361 | -0.002415 | 1.0214e-06 | 4.8475e-07 | 0.014442 | 0.014442 | 0.014442 | 0.99299 | -0.13453 | 0.99287 | -0.13675 | 3.9675
28 | -0.0096372 | -0.0024155 | 0.0096375 | 0.0024157 | 3.2434e-07 | 1.5393e-07 | 0.014442 | 0.014442 | 0.014442 | 0.99299 | -0.13453 | 0.99302 | -0.13382 | 3.9675
29 | -0.013443 | -0.0033693 | 0.013447 | 0.0033717 | 4.2374e-06 | 2.3515e-06 | 0.020143 | 0.020143 | 0.020143 | 0.99302 | -0.13382 | 0.99337 | -0.12721 | 5.5339
30 | -0.098116 | -0.024735 | 0.098196 | 0.024786 | 8.0262e-05 | 5.124e-05 | 0.14707 | 0.14707 | 0.14707 | 0.99302 | -0.13378 | 0.99391 | -0.1167 | 40.4051
31 | -0.033837 | -0.008482 | 0.033854 | 0.0084926 | 1.6944e-05 | 1.0616e-05 | 0.050687 | 0.050687 | 0.050687 | 0.99337 | -0.12721 | 0.99391 | -0.1167 | 13.925
32 | -0.13205 | -0.033279 | 0.13216 | 0.033349 | 0.00011075 | 7.078e-05 | 0.19776 | 0.19776 | 0.19776 | 0.99391 | -0.1167 | 0.99482 | -0.099188 | 54.3301
33 | 0.037231 | 0.0093419 | -0.037221 | -0.0093353 | 1.0437e-05 | 6.5647e-06 | 0.055847 | 0.055847 | 0.055847 | 0.99207 | -0.15237 | 0.99177 | -0.15825 | 15.3426
34 | 0.020682 | 0.0051883 | -0.020679 | -0.0051861 | 3.6703e-06 | 2.2177e-06 | 0.031023 | 0.031023 | 0.031023 | 0.99207 | -0.15237 | 0.99188 | -0.15609 | 8.5229
35 | 0.017498 | 0.0043882 | -0.01749 | -0.0043833 | 8.2094e-06 | 4.8444e-06 | 0.026254 | 0.026254 | 0.026254 | 0.99177 | -0.15825 | 0.99126 | -0.1681 | 7.2128
36 | 0.019723 | 0.0049471 | -0.019717 | -0.0049437 | 5.6747e-06 | 3.4089e-06 | 0.029593 | 0.029593 | 0.029593 | 0.99177 | -0.15825 | 0.99146 | -0.16429 | 8.1299
37 | 0.018913 | 0.0047436 | -0.018908 | -0.0047405 | 5.1449e-06 | 3.0729e-06 | 0.028374 | 0.028374 | 0.028374 | 0.99188 | -0.15609 | 0.99159 | -0.1618 | 7.7952
38 | -0.0035846 | -0.00089839 | 0.0035847 | 0.00089832 | 1.2352e-07 | -6.7549e-08 | 0.0053815 | 0.0053814 | 0.0053815 | 0.99117 | -0.16988 | 0.99121 | -0.16915 | 1.4784
39 | -0.013678 | -0.003428 | 0.013679 | 0.0034282 | 4.6179e-07 | 2.579e-07 | 0.020534 | 0.020534 | 0.020534 | 0.99121 | -0.16915 | 0.99124 | -0.16845 | 5.6412
40 | -0.016286 | -0.0040818 | 0.016291 | 0.0040848 | 5.1561e-06 | 3.0033e-06 | 0.024448 | 0.024448 | 0.024448 | 0.99124 | -0.16845 | 0.99159 | -0.1618 | 6.7166
41 | 0.015192 | 0.0038097 | -0.015189 | -0.0038081 | 2.7601e-06 | 1.5839e-06 | 0.022802 | 0.022802 | 0.022802 | 0.99146 | -0.16429 | 0.99126 | -0.1681 | 6.2642
42 | 0.015189 | 0.0038081 | -0.015185 | -0.0038058 | 3.9337e-06 | 2.2576e-06 | 0.022802 | 0.022802 | 0.022802 | 0.99126 | -0.1681 | 0.99098 | -0.17354 | 6.2642
43 | 0.0075905 | 0.0019025 | -0.0075888 | -0.0019019 | 1.6891e-06 | 6.3442e-07 | 0.011398 | 0.011398 | 0.011398 | 0.99098 | -0.17354 | 0.99074 | -0.17821 | 3.1313
44 | 0.007595 | 0.0019033 | -0.0075942 | -0.001903 | 7.6781e-07 | 2.8859e-07 | 0.011404 | 0.011404 | 0.011404 | 0.99098 | -0.17354 | 0.99087 | -0.17566 | 3.133
45 | 0.0014251 | 0.0003571 | -0.0014251 | -0.00035717 | 1.0478e-08 | -7.1832e-08 | 0.0021404 | 0.0021405 | 0.0021405 | 0.99074 | -0.17821 | 0.99073 | -0.17836 | 0.58804
46 | 0.0054593 | 0.001368 | -0.0054587 | -0.0013679 | 6.0744e-07 | 7.8373e-08 | 0.0081983 | 0.0081984 | 0.0081984 | 0.99087 | -0.17566 | 0.99075 | -0.178 | 2.2523
47 | 0.0031093 | 0.00077908 | -0.0031091 | -0.00077922 | 1.4256e-07 | -1.3325e-07 | 0.0046698 | 0.0046698 | 0.0046698 | 0.99075 | -0.178 | 0.9907 | -0.17896 | 1.2829
48 | 0.034236 | 0.0085846 | -0.034225 | -0.0085775 | 1.1442e-05 | 7.1745e-06 | 0.051418 | 0.051418 | 0.051418 | 0.9908 | -0.17696 | 0.99043 | -0.18397 | 14.126
49 | 0.014364 | 0.0036004 | -0.014362 | -0.0035995 | 1.5456e-06 | 8.7514e-07 | 0.021572 | 0.021572 | 0.021572 | 0.9908 | -0.17696 | 0.99068 | -0.17922 | 5.9264
50 | -0.0486 | -0.012185 | 0.048618 | 0.012197 | 1.8843e-05 | 1.1938e-05 | 0.07299 | 0.07299 | 0.07299 | 0.9908 | -0.17696 | 0.99122 | -0.16882 | 20.0523
51 | 0.070387 | 0.017707 | -0.070324 | -0.017667 | 6.3343e-05 | 4.0343e-05 | 0.10544 | 0.10544 | 0.10544 | 0.99355 | -0.12361 | 0.99258 | -0.14246 | 28.9672
52 | 0.056343 | 0.014163 | -0.056274 | -0.014119 | 6.956e-05 | 4.4183e-05 | 0.084481 | 0.084481 | 0.084481 | 0.99258 | -0.14246 | 0.99124 | -0.16835 | 23.2092
53 | 0.013981 | 0.003504 | -0.01398 | -0.0035036 | 6.1583e-07 | 3.4581e-07 | 0.020959 | 0.020959 | 0.020959 | 0.99258 | -0.14246 | 0.99253 | -0.14339 | 5.758
54 | 0.010025 | 0.0025129 | -0.010023 | -0.0025123 | 1.3022e-06 | 6.3577e-07 | 0.015049 | 0.015049 | 0.015049 | 0.99124 | -0.16835 | 0.9911 | -0.17108 | 4.1343
55 | 0.046249 | 0.011606 | -0.046216 | -0.011585 | 3.2456e-05 | 2.054e-05 | 0.069432 | 0.069433 | 0.069433 | 0.99124 | -0.16835 | 0.99048 | -0.18308 | 19.0749
56 | 0.0056106 | 0.001406 | -0.0056102 | -0.001406 | 3.8292e-07 | 5.8561e-08 | 0.0084114 | 0.0084115 | 0.0084115 | 0.99253 | -0.14339 | 0.99246 | -0.14482 | 2.3109
57 | 0.010023 | 0.0025123 | -0.010021 | -0.002511 | 2.6428e-06 | 1.2905e-06 | 0.015049 | 0.015049 | 0.015049 | 0.9911 | -0.17108 | 0.99081 | -0.17661 | 4.1344
58 | 0.025963 | 0.0065092 | -0.025958 | -0.0065061 | 5.0964e-06 | 3.1467e-06 | 0.039006 | 0.039006 | 0.039006 | 0.99048 | -0.18308 | 0.99027 | -0.1872 | 10.716
59 | 0.0056102 | 0.001406 | -0.0056095 | -0.0014059 | 7.4823e-07 | 1.1452e-07 | 0.0084115 | 0.0084116 | 0.0084116 | 0.99246 | -0.14482 | 0.99231 | -0.14762 | 2.3109
60 | 0.013391 | 0.0033565 | -0.01339 | -0.0033559 | 9.3096e-07 | 5.1694e-07 | 0.020122 | 0.020122 | 0.020122 | 0.99027 | -0.1872 | 0.99019 | -0.18866 | 5.5281
61 | 0.0074012 | 0.0018545 | -0.007401 | -0.0018544 | 1.8435e-07 | 6.6737e-08 | 0.011115 | 0.011115 | 0.011115 | 0.99081 | -0.17661 | 0.99079 | -0.17714 | 3.0536
62 | 0.0051129 | 0.0012809 | -0.0051126 | -0.0012809 | 2.5561e-07 | 1.4714e-08 | 0.0076786 | 0.0076787 | 0.0076787 | 0.99079 | -0.17714 | 0.99073 | -0.17819 | 2.1095
63 | 0.0021635 | 0.00054181 | -0.0021634 | -0.00054195 | 5.6138e-08 | -1.4666e-07 | 0.0032492 | 0.0032493 | 0.0032493 | 0.99073 | -0.17819 | 0.9907 | -0.17873 | 0.89267
64 | 0.0021634 | 0.00054195 | -0.0021633 | -0.00054218 | 8.6726e-08 | -2.2653e-07 | 0.0032493 | 0.0032494 | 0.0032494 | 0.9907 | -0.17873 | 0.99066 | -0.17957 | 0.8927
65 | 0.0056095 | 0.0014059 | -0.0056094 | -0.0014058 | 8.5782e-08 | 1.3136e-08 | 0.0084116 | 0.0084117 | 0.0084117 | 0.99231 | -0.14762 | 0.9923 | -0.14794 | 2.3109

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.56046 | 0.1415

## res_load
| p_mw | q_mvar
0 | 0.012012 | 0.0030105
1 | 0.0079238 | 0.0019859
2 | 0.020783 | 0.0052087
3 | 0.0098248 | 0.0024623
4 | 0.0043815 | 0.0010981
5 | 0.019527 | 0.0048938
6 | 0.01711 | 0.0042882
7 | 0.017315 | 0.0043396
8 | 0.014259 | 0.0035737
9 | 0.034187 | 0.0085682
10 | 0.0071006 | 0.0017796
11 | 0.0063139 | 0.0015824
12 | 0.014409 | 0.0036113
13 | 0.0086978 | 0.0021799
14 | 0.01043 | 0.002614
15 | 0.01772 | 0.0044411
16 | 0.056019 | 0.01404
17 | 0.0074242 | 0.0018607
18 | 0.012085 | 0.0030288
19 | 0.0096361 | 0.002415
20 | 0.0038051 | 0.00095365
21 | 0.0044927 | 0.001126
22 | 0.02039 | 0.0051103
23 | 0.015882 | 0.0039805
24 | 0.0017657 | 0.00044253
25 | 0.0035846 | 0.00089839
26 | 0.010093 | 0.0025297
27 | 0.0026076 | 0.00065353
28 | 0.0026164 | 0.00065572
29 | 0.01749 | 0.0043833
30 | 0.004525 | 0.0011341
31 | 0.0061637 | 0.0015448
32 | 0.0021348 | 0.00053504
33 | 0.0014251 | 0.00035717
34 | 0.0023495 | 0.00058883
35 | 0.034225 | 0.0085775
36 | 0.014362 | 0.0035995
37 | 0.017643 | 0.0044218
38 | 0.0031091 | 0.00077922
39 | 0.0090279 | 0.0022626
40 | 0.0083696 | 0.0020976
41 | 0.020253 | 0.0050759
42 | 0.012567 | 0.0031496
43 | 0.01339 | 0.0033559
44 | 0.0026196 | 0.00065652
45 | 0.0022881 | 0.00057346
46 | 0.0029491 | 0.00073912
47 | 0.0021633 | 0.00054218
48 | 0.0056094 | 0.0014058

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1