## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1346-17_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1346-17_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1346-17_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1346-17_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1346-17_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1346-17_0_6_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_1346-17_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1346-17_0_6_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_1346-17_0_6_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_1346-17_0_6_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_1346-17_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_1346-17_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1346-17_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1346-17_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1346-17_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1346-17_0_6_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1346-17_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1346-17_0_6_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_1346-17_0_6_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_1346-17_0_6_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_1346-17_0_6_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_1346-17_0_6_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_1346-17_0_6_node_45 | 0.4 | n |  | TRUE
23 | bus_LV_1346-17_0_6_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_1346-17_0_6_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_1346-17_0_6_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_1346-17_0_6_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_1346-17_0_6_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_1346-17_0_6_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_1346-17_0_6_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_1346-17_0_6_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_1346-17_0_6_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_1346-17_0_6_node_40 | 0.4 | n |  | TRUE
33 | bus_LV_1346-17_0_6_node_42 | 0.4 | n |  | TRUE
34 | bus_LV_1346-17_0_6_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_1346-17_0_6_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_1346-17_0_6_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_1346-17_0_6_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_1346-17_0_6_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_1346-17_0_6_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_1346-17_0_6_node_53 | 0.4 | n |  | TRUE
41 | bus_LV_1346-17_0_6_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_1346-17_0_6_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_1346-17_0_6_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_1346-17_0_6_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_1346-17_0_6_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_1346-17_0_6_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_1346-17_0_6_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_1346-17_0_6_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_1346-17_0_6_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_1346-17_0_6_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_1346-17_0_6_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_1346-17_0_6_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_1346-17_0_6_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_1346-17_0_6_node_55 | 0.4 | n |  | TRUE
55 | bus_MV_19_0_node_114 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1346-17_0_6_load_0 | 0 | 0.00273 | 0.00068421 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1346-17_0_6_load_1 | 1 | 0.010617 | 0.0026609 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1346-17_0_6_load_2 | 2 | 0.0021775 | 0.00054573 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1346-17_0_6_load_3 | 3 | 0.0095314 | 0.0023888 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1346-17_0_6_load_6 | 6 | 0.0026596 | 0.00066656 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1346-17_0_6_load_17 | 7 | 0.0032236 | 0.00080791 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1346-17_0_6_load_5 | 10 | 0.0024127 | 0.00060467 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1346-17_0_6_load_7 | 11 | 0.0019215 | 0.00048158 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1346-17_0_6_load_8 | 12 | 0.0036661 | 0.00091881 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1346-17_0_6_load_10 | 14 | 0.015012 | 0.0037623 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1346-17_0_6_load_11 | 15 | 0.011418 | 0.0028617 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1346-17_0_6_load_12 | 16 | 0.022683 | 0.0056849 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1346-17_0_6_load_13 | 17 | 0.011978 | 0.0030019 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1346-17_0_6_load_22 | 18 | 0.0020331 | 0.00050953 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1346-17_0_6_load_20 | 19 | 0.0021087 | 0.00052849 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1346-17_0_6_load_18 | 20 | 0.01886 | 0.0047268 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1346-17_0_6_load_28 | 21 | 0.021114 | 0.0052917 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1346-17_0_6_load_45 | 22 | 0.025689 | 0.0064382 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1346-17_0_6_load_27 | 23 | 0.016851 | 0.0042234 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1346-17_0_6_load_46 | 24 | 0.024653 | 0.0061787 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1346-17_0_6_load_21 | 26 | 0.0052421 | 0.0013138 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1346-17_0_6_load_23 | 29 | 0.023756 | 0.0059539 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1346-17_0_6_load_41 | 31 | 0.015733 | 0.0039431 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1346-17_0_6_load_40 | 32 | 0.011875 | 0.0029762 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1346-17_0_6_load_30 | 35 | 0.012728 | 0.0031899 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1346-17_0_6_load_31 | 36 | 0.0038075 | 0.00095424 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1346-17_0_6_load_32 | 37 | 0.0084357 | 0.0021142 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1346-17_0_6_load_47 | 38 | 0.0053729 | 0.0013466 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1346-17_0_6_load_51 | 39 | 0.002797 | 0.000701 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1346-17_0_6_load_53 | 40 | 0.0046797 | 0.0011728 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1346-17_0_6_load_50 | 41 | 0.0025839 | 0.0006476 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1346-17_0_6_load_33 | 42 | 0.019853 | 0.0049757 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1346-17_0_6_load_54 | 43 | 0.0043904 | 0.0011003 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1346-17_0_6_load_34 | 45 | 0.026206 | 0.0065678 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1346-17_0_6_load_43 | 46 | 0.020342 | 0.0050982 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1346-17_0_6_load_35 | 47 | 0.0048045 | 0.0012041 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1346-17_0_6_load_36 | 48 | 0.001939 | 0.00048595 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1346-17_0_6_load_37 | 49 | 0.0031942 | 0.00080054 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1346-17_0_6_load_38 | 50 | 0.0034556 | 0.00086606 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1346-17_0_6_load_39 | 51 | 0.0079035 | 0.0019808 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1346-17_0_6_load_48 | 52 | 0.0089258 | 0.002237 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1346-17_0_6_load_44 | 53 | 0.0037433 | 0.00093816 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1346-17_0_6_load_55 | 54 | 0.0044834 | 0.0011236 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1346-17_0_6_line_0 |  | 0 | 1 | 0.043348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_1346-17_0_6_line_1 |  | 0 | 2 | 0.0099131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_1346-17_0_6_line_2 |  | 1 | 3 | 0.020788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_1346-17_0_6_line_3 |  | 2 | 4 | 0.016766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_1346-17_0_6_line_4 |  | 3 | 5 | 0.02149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_1346-17_0_6_line_5 |  | 4 | 6 | 0.015368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_1346-17_0_6_line_6 |  | 4 | 7 | 0.013122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1346-17_0_6_line_7 |  | 5 | 8 | 0.013917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1346-17_0_6_line_8 |  | 5 | 9 | 0.041378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_1346-17_0_6_line_9 |  | 6 | 10 | 0.017559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_1346-17_0_6_line_10 |  | 8 | 20 | 0.029447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1346-17_0_6_line_11 |  | 9 | 21 | 0.012554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_1346-17_0_6_line_12 |  | 9 | 22 | 0.030061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1346-17_0_6_line_13 |  | 10 | 11 | 0.0030443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_1346-17_0_6_line_14 |  | 11 | 12 | 0.00040064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_1346-17_0_6_line_15 |  | 12 | 13 | 0.039646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_1346-17_0_6_line_16 |  | 13 | 14 | 0.01672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_1346-17_0_6_line_17 |  | 14 | 15 | 0.001473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_1346-17_0_6_line_18 |  | 15 | 16 | 0.034368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_1346-17_0_6_line_19 |  | 16 | 17 | 0.0025775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_1346-17_0_6_line_20 |  | 17 | 18 | 0.033235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_1346-17_0_6_line_21 |  | 18 | 19 | 0.0030286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_1346-17_0_6_line_22 |  | 19 | 25 | 0.017881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_1346-17_0_6_line_23 |  | 21 | 23 | 0.029253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_1346-17_0_6_line_24 |  | 22 | 24 | 0.028591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1346-17_0_6_line_25 |  | 23 | 34 | 0.047408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_1346-17_0_6_line_26 |  | 25 | 26 | 0.045178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1346-17_0_6_line_27 |  | 26 | 27 | 0.0010031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1346-17_0_6_line_28 |  | 27 | 28 | 0.021361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1346-17_0_6_line_29 |  | 28 | 29 | 0.064097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1346-17_0_6_line_30 |  | 30 | 31 | 0.024193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1346-17_0_6_line_31 |  | 30 | 32 | 0.026308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1346-17_0_6_line_32 |  | 31 | 33 | 0.02723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1346-17_0_6_line_33 |  | 33 | 53 | 0.040025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1346-17_0_6_line_34 |  | 33 | 46 | 0.024229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_1346-17_0_6_line_35 |  | 33 | 50 | 0.029083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_1346-17_0_6_line_36 |  | 34 | 35 | 0.020879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_1346-17_0_6_line_37 |  | 34 | 36 | 0.018105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1346-17_0_6_line_38 |  | 35 | 37 | 0.038565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_1346-17_0_6_line_39 |  | 36 | 38 | 0.024811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1346-17_0_6_line_40 |  | 37 | 42 | 0.03273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_1346-17_0_6_line_41 |  | 38 | 43 | 0.026186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1346-17_0_6_line_42 |  | 39 | 40 | 0.00045422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1346-17_0_6_line_43 |  | 39 | 41 | 0.023607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1346-17_0_6_line_44 |  | 41 | 44 | 0.016186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1346-17_0_6_line_45 |  | 42 | 45 | 0.0019242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_1346-17_0_6_line_46 |  | 43 | 44 | 0.017092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1346-17_0_6_line_47 |  | 44 | 54 | 0.03696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1346-17_0_6_line_48 |  | 45 | 46 | 0.033051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_1346-17_0_6_line_49 |  | 47 | 48 | 0.022053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1346-17_0_6_line_50 |  | 47 | 49 | 0.018183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1346-17_0_6_line_51 |  | 48 | 50 | 0.00012875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1346-17_0_6_line_52 |  | 49 | 51 | 0.025126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1346-17_0_6_line_53 |  | 51 | 52 | 0.0043682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1346-17_0_6_trafo_19 | 0.63 MVA 20/0.4 kV | 55 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2711151.6377 | 1225943.8956 | 2711148.0478 | 1225948.3736 | 2711146.1607 | 1225985.9349
1 | 2711151.6377 | 1225943.8956 | 2711157.8384 | 1225936.1612
2 | 2711146.1607 | 1225985.9349 | 2711145.1176 | 1226006.6967
3 | 2711161.667 | 1225920.2955 | 2711160.1506 | 1225933.2771 | 2711157.8384 | 1225936.1612
4 | 2711144.0393 | 1226028.1592 | 2711145.1176 | 1226006.6967
5 | 2711161.667 | 1225920.2955 | 2711177.0166 | 1225921.0503
6 | 2711161.667 | 1225920.2955 | 2711162.4071 | 1225907.1947
7 | 2711157.9758 | 1226028.9312 | 2711144.0393 | 1226028.1592
8 | 2711121.3103 | 1226045.9038 | 2711121.4728 | 1226037.2113 | 2711121.5383 | 1226030.8633 | 2711121.5799 | 1226027.0167 | 2711124.6784 | 1226027.1524 | 2711132.8592 | 1226027.5722 | 2711144.0393 | 1226028.1592
9 | 2711194.5546 | 1225921.9127 | 2711177.0166 | 1225921.0503
10 | 2711157.9758 | 1226028.9312 | 2711187.3751 | 1226030.6099
11 | 2711121.3103 | 1226045.9038 | 2711121.9584 | 1226055.045 | 2711122.2624 | 1226058.4215
12 | 2711121.3103 | 1226045.9038 | 2711151.3664 | 1226046.4656
13 | 2711194.5546 | 1225921.9127 | 2711197.5952 | 1225922.0622
14 | 2711197.5952 | 1225922.0622 | 2711197.9953 | 1225922.0818
15 | 2711237.5935 | 1225924.0282 | 2711215.6708 | 1225922.951 | 2711197.9953 | 1225922.0818
16 | 2711237.5935 | 1225924.0282 | 2711236.8866 | 1225940.7333
17 | 2711236.8866 | 1225940.7333 | 2711236.8243 | 1225942.205
18 | 2711235.3713 | 1225976.5426 | 2711236.8243 | 1225942.205
19 | 2711235.3713 | 1225976.5426 | 2711235.2623 | 1225979.1178
20 | 2711235.2623 | 1225979.1178 | 2711233.8572 | 1226012.3228
21 | 2711233.7292 | 1226015.3487 | 2711233.8572 | 1226012.3228
22 | 2711232.9732 | 1226033.2135 | 2711233.7292 | 1226015.3487
23 | 2711125.6125 | 1226087.4632 | 2711124.0116 | 1226077.8451 | 2711122.2624 | 1226058.4215
24 | 2711179.952 | 1226046.9999 | 2711151.3664 | 1226046.4656
25 | 2711136.6405 | 1226133.5677 | 2711135.4654 | 1226128.6976 | 2711131.8349 | 1226113.6183 | 2711125.7976 | 1226088.5755 | 2711125.6125 | 1226087.4632
26 | 2711232.9732 | 1226033.2135 | 2711278.0731 | 1226035.8631
27 | 2711279.0745 | 1226035.9219 | 2711278.0731 | 1226035.8631
28 | 2711300.475 | 1226036.9229 | 2711279.0745 | 1226035.9219
29 | 2711300.475 | 1226036.9229 | 2711300.8247 | 1226032.8263 | 2711301.614 | 1226023.4673 | 2711305.6611 | 1225973.0357
30 | 2711282.6299 | 1226083.758 | 2711284.3096 | 1226092.863 | 2711285.621 | 1226107.7396
31 | 2711282.6299 | 1226083.758 | 2711269.5505 | 1226080.5444 | 2711268.5578 | 1226067.7433
32 | 2711288.012 | 1226134.8641 | 2711285.621 | 1226107.7396
33 | 2711288.012 | 1226134.8641 | 2711292.7086 | 1226167.499 | 2711293.419 | 1226174.5173
34 | 2711288.012 | 1226134.8641 | 2711263.7841 | 1226134.6566
35 | 2711288.012 | 1226134.8641 | 2711317.0811 | 1226135.7657
36 | 2711136.6405 | 1226133.5677 | 2711157.5183 | 1226133.7465
37 | 2711136.6405 | 1226133.5677 | 2711140.4371 | 1226151.2702
38 | 2711196.0815 | 1226134.0768 | 2711157.5183 | 1226133.7465
39 | 2711145.6398 | 1226175.5298 | 2711140.4371 | 1226151.2702
40 | 2711196.0815 | 1226134.0768 | 2711228.8103 | 1226134.3571
41 | 2711145.6398 | 1226175.5298 | 2711121.9692 | 1226186.728
42 | 2711107.367 | 1226144.9185 | 2711107.3398 | 1226145.3719
43 | 2711105.9255 | 1226168.9364 | 2711107.3398 | 1226145.3719
44 | 2711104.9559 | 1226185.0929 | 2711105.9255 | 1226168.9364
45 | 2711230.7344 | 1226134.3736 | 2711228.8103 | 1226134.3571
46 | 2711104.9559 | 1226185.0929 | 2711121.9692 | 1226186.728
47 | 2711104.9559 | 1226185.0929 | 2711068.1237 | 1226182.021
48 | 2711230.7344 | 1226134.3736 | 2711263.7841 | 1226134.6566
49 | 2711339.2294 | 1226136.9521 | 2711321.4668 | 1226135.9017 | 2711317.2098 | 1226135.7697
50 | 2711339.2294 | 1226136.9521 | 2711357.3803 | 1226138.0254
51 | 2711317.2098 | 1226135.7697 | 2711317.0811 | 1226135.7657
52 | 2711382.4623 | 1226139.5086 | 2711357.3803 | 1226138.0254
53 | 2711382.4623 | 1226139.5086 | 2711386.8228 | 1226139.7665

## bus_geodata
| x | y | coords
0 | 2711151.6377 | 1225943.8956
1 | 2711146.1607 | 1225985.9349
2 | 2711157.8384 | 1225936.1612
3 | 2711145.1176 | 1226006.6967
4 | 2711161.667 | 1225920.2955
5 | 2711144.0393 | 1226028.1592
6 | 2711177.0166 | 1225921.0503
7 | 2711162.4071 | 1225907.1947
8 | 2711157.9758 | 1226028.9312
9 | 2711121.3103 | 1226045.9038
10 | 2711194.5546 | 1225921.9127
11 | 2711197.5952 | 1225922.0622
12 | 2711197.9953 | 1225922.0818
13 | 2711237.5935 | 1225924.0282
14 | 2711236.8866 | 1225940.7333
15 | 2711236.8243 | 1225942.205
16 | 2711235.3713 | 1225976.5426
17 | 2711235.2623 | 1225979.1178
18 | 2711233.8572 | 1226012.3228
19 | 2711233.7292 | 1226015.3488
20 | 2711187.3751 | 1226030.6099
21 | 2711122.2624 | 1226058.4215
22 | 2711151.3664 | 1226046.4656
23 | 2711125.6125 | 1226087.4632
24 | 2711179.952 | 1226046.9999
25 | 2711232.9732 | 1226033.2135
26 | 2711278.0731 | 1226035.8631
27 | 2711279.0745 | 1226035.9219
28 | 2711300.475 | 1226036.9229
29 | 2711305.6611 | 1225973.0357
30 | 2711282.6299 | 1226083.758
31 | 2711285.621 | 1226107.7396
32 | 2711268.5578 | 1226067.7433
33 | 2711288.012 | 1226134.8641
34 | 2711136.6405 | 1226133.5677
35 | 2711157.5183 | 1226133.7465
36 | 2711140.4371 | 1226151.2702
37 | 2711196.0815 | 1226134.0768
38 | 2711145.6398 | 1226175.5298
39 | 2711107.3398 | 1226145.3719
40 | 2711107.367 | 1226144.9185
41 | 2711105.9255 | 1226168.9364
42 | 2711228.8103 | 1226134.3571
43 | 2711121.9692 | 1226186.728
44 | 2711104.9559 | 1226185.0929
45 | 2711230.7344 | 1226134.3736
46 | 2711263.7841 | 1226134.6566
47 | 2711339.2294 | 1226136.9521
48 | 2711317.2098 | 1226135.7697
49 | 2711357.3803 | 1226138.0254
50 | 2711317.0811 | 1226135.7657
51 | 2711382.4623 | 1226139.5086
52 | 2711386.8228 | 1226139.7665
53 | 2711293.419 | 1226174.5173
54 | 2711068.1237 | 1226182.021
55 | 2711279.0745 | 1226035.9219

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98658 | -0.25544 | 0.00273 | 0.00068421
1 | 0.98412 | -0.30285 | 0.010617 | 0.0026609
2 | 0.98714 | -0.24454 | 0.0021775 | 0.00054573
3 | 0.98299 | -0.32488 | 0.0095314 | 0.0023888
4 | 0.98811 | -0.22599 | 0 | 0
5 | 0.98185 | -0.34696 | 0 | 0
6 | 0.989 | -0.20884 | 0.0026596 | 0.00066656
7 | 0.98807 | -0.22674 | 0.0032236 | 0.00080791
8 | 0.98161 | -0.3517 | 0 | 0
9 | 0.97981 | -0.38678 | 0 | 0
10 | 0.99003 | -0.18912 | 0.0024127 | 0.00060467
11 | 0.99021 | -0.18568 | 0.0019215 | 0.00048158
12 | 0.99023 | -0.18522 | 0.0036661 | 0.00091881
13 | 0.99262 | -0.13975 | 0 | 0
14 | 0.99362 | -0.12063 | 0.015012 | 0.0037623
15 | 0.99372 | -0.11887 | 0.011418 | 0.0028617
16 | 0.99595 | -0.076518 | 0.022683 | 0.0056849
17 | 0.99613 | -0.073144 | 0.011978 | 0.0030019
18 | 0.99849 | -0.028352 | 0.0020331 | 0.00050953
19 | 0.99871 | -0.024259 | 0.0021087 | 0.00052849
20 | 0.98109 | -0.36176 | 0.01886 | 0.0047268
21 | 0.9793 | -0.3966 | 0.021114 | 0.0052917
22 | 0.9784 | -0.4143 | 0.025689 | 0.0064382
23 | 0.97824 | -0.41727 | 0.016851 | 0.0042234
24 | 0.97775 | -0.42714 | 0.024653 | 0.0061787
25 | 1 | 0 | -0.42659 | -0.10932
26 | 0.99881 | -0.022864 | 0.0052421 | 0.0013138
27 | 0.99879 | -0.023281 | 0 | 0
28 | 0.99833 | -0.032152 | 0 | 0
29 | 0.99694 | -0.058819 | 0.023756 | 0.0059539
30 | 0.97213 | -0.53754 | 0 | 0
31 | 0.9724 | -0.53224 | 0.015733 | 0.0039431
32 | 0.97184 | -0.5433 | 0.011875 | 0.0029762
33 | 0.9731 | -0.51839 | 0 | 0
34 | 0.97668 | -0.44793 | 0 | 0
35 | 0.9761 | -0.45932 | 0.012728 | 0.0031899
36 | 0.97621 | -0.45724 | 0.0038075 | 0.00095424
37 | 0.97512 | -0.47859 | 0.0084357 | 0.0021142
38 | 0.97565 | -0.46828 | 0.0053729 | 0.0013466
39 | 0.97464 | -0.48814 | 0.002797 | 0.000701
40 | 0.97464 | -0.48818 | 0.0046797 | 0.0011728
41 | 0.9748 | -0.48491 | 0.0025839 | 0.0006476
42 | 0.97434 | -0.49396 | 0.019853 | 0.0049757
43 | 0.97518 | -0.47736 | 0.0043904 | 0.0011003
44 | 0.97495 | -0.48192 | 0 | 0
45 | 0.9743 | -0.49472 | 0.026206 | 0.0065678
46 | 0.9738 | -0.50467 | 0.020342 | 0.0050982
47 | 0.97218 | -0.53664 | 0.0048045 | 0.0012041
48 | 0.97269 | -0.52655 | 0.001939 | 0.00048595
49 | 0.97184 | -0.54336 | 0.0031942 | 0.00080054
50 | 0.97269 | -0.52649 | 0.0034556 | 0.00086606
51 | 0.97144 | -0.55117 | 0.0079035 | 0.0019808
52 | 0.9714 | -0.55189 | 0.0089258 | 0.002237
53 | 0.97296 | -0.52115 | 0.0037433 | 0.00093816
54 | 0.9748 | -0.48496 | 0.0044834 | 0.0011236
55 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.30753 | 0.0782 | -0.30683 | -0.077754 | 0.00070068 | 0.00044568 | 0.46424 | 0.46424 | 0.46424 | 0.98658 | -0.25544 | 0.98412 | -0.30285 | 25.5079
1 | -0.31026 | -0.078884 | 0.31043 | 0.078988 | 0.00016309 | 0.00010375 | 0.46836 | 0.46836 | 0.46836 | 0.98658 | -0.25544 | 0.98714 | -0.24454 | 25.7341
2 | 0.29621 | 0.075093 | -0.2959 | -0.074894 | 0.00031318 | 0.00019912 | 0.44819 | 0.44819 | 0.44819 | 0.98412 | -0.30285 | 0.98299 | -0.32488 | 24.6259
3 | -0.3126 | -0.079534 | 0.31288 | 0.079712 | 0.00027972 | 0.00017795 | 0.47164 | 0.47164 | 0.47164 | 0.98714 | -0.24454 | 0.98811 | -0.22599 | 25.9144
4 | 0.28637 | 0.072505 | -0.28607 | -0.072313 | 0.00030325 | 0.00019272 | 0.43376 | 0.43376 | 0.43376 | 0.98299 | -0.32488 | 0.98185 | -0.34696 | 23.8331
5 | -0.31611 | -0.080519 | 0.31637 | 0.080686 | 0.0002617 | 0.0001665 | 0.4765 | 0.4765 | 0.4765 | 0.98811 | -0.22599 | 0.989 | -0.20884 | 26.1811
6 | 0.0032237 | 0.00080781 | -0.0032236 | -0.00080791 | 1.1597e-07 | -9.3852e-08 | 0.0048546 | 0.0048547 | 0.0048547 | 0.98811 | -0.22599 | 0.98807 | -0.22674 | 1.3337
7 | 0.018873 | 0.0047347 | -0.018869 | -0.0047322 | 4.2702e-06 | 2.557e-06 | 0.028605 | 0.028605 | 0.028605 | 0.98185 | -0.34696 | 0.98161 | -0.3517 | 7.8584
8 | 0.26719 | 0.067578 | -0.26668 | -0.067255 | 0.00050942 | 0.00032342 | 0.40516 | 0.40516 | 0.40516 | 0.98185 | -0.34696 | 0.97981 | -0.38678 | 22.2615
9 | -0.31903 | -0.081352 | 0.31933 | 0.081546 | 0.00030405 | 0.00019347 | 0.4805 | 0.4805 | 0.4805 | 0.989 | -0.20884 | 0.99003 | -0.18912 | 26.401
10 | 0.018869 | 0.0047322 | -0.01886 | -0.0047268 | 9.0354e-06 | 5.4106e-06 | 0.028605 | 0.028605 | 0.028605 | 0.98161 | -0.3517 | 0.98109 | -0.36176 | 7.8584
11 | 0.21626 | 0.054586 | -0.21616 | -0.054522 | 0.00010165 | 6.4267e-05 | 0.32857 | 0.32857 | 0.32857 | 0.97981 | -0.38678 | 0.9793 | -0.3966 | 18.0534
12 | 0.050423 | 0.012668 | -0.050357 | -0.012626 | 6.6125e-05 | 4.1942e-05 | 0.076588 | 0.076589 | 0.076589 | 0.97981 | -0.38678 | 0.9784 | -0.4143 | 21.0408
13 | -0.32174 | -0.082151 | 0.3218 | 0.082185 | 5.3513e-05 | 3.4053e-05 | 0.48412 | 0.48412 | 0.48412 | 0.99003 | -0.18912 | 0.99021 | -0.18568 | 26.6002
14 | -0.32372 | -0.082666 | 0.32373 | 0.082671 | 7.1267e-06 | 4.5353e-06 | 0.48701 | 0.48701 | 0.48701 | 0.99021 | -0.18568 | 0.99023 | -0.18522 | 26.7588
15 | -0.32739 | -0.083589 | 0.32811 | 0.084049 | 0.00072129 | 0.00045907 | 0.49252 | 0.49252 | 0.49252 | 0.99023 | -0.18522 | 0.99262 | -0.13975 | 27.0615
16 | -0.32811 | -0.084049 | 0.32842 | 0.084242 | 0.00030419 | 0.0001936 | 0.49252 | 0.49252 | 0.49252 | 0.99262 | -0.13975 | 0.99362 | -0.12063 | 27.0615
17 | -0.34343 | -0.088004 | 0.34346 | 0.088023 | 2.9301e-05 | 1.8657e-05 | 0.515 | 0.515 | 0.515 | 0.99362 | -0.12063 | 0.99372 | -0.11887 | 28.2967
18 | -0.35488 | -0.090885 | 0.35561 | 0.09135 | 0.0007298 | 0.00046484 | 0.5321 | 0.5321 | 0.5321 | 0.99372 | -0.11887 | 0.99595 | -0.076518 | 29.2361
19 | -0.37829 | -0.097035 | 0.37835 | 0.097074 | 6.1925e-05 | 3.9464e-05 | 0.56599 | 0.56599 | 0.56599 | 0.99595 | -0.076518 | 0.99613 | -0.073144 | 31.0981
20 | -0.39033 | -0.10008 | 0.39118 | 0.10062 | 0.00084976 | 0.00054168 | 0.58388 | 0.58388 | 0.58388 | 0.99613 | -0.073144 | 0.99849 | -0.028352 | 32.0812
21 | -0.39321 | -0.10113 | 0.39329 | 0.10118 | 7.8243e-05 | 4.9877e-05 | 0.58691 | 0.58691 | 0.58691 | 0.99849 | -0.028352 | 0.99871 | -0.024259 | 32.2476
22 | -0.3954 | -0.10171 | 0.39587 | 0.102 | 0.0004669 | 0.00029764 | 0.59005 | 0.59005 | 0.59005 | 0.99871 | -0.024259 | 1 | 0 | 32.4202
23 | 0.19505 | 0.04923 | -0.19485 | -0.049109 | 0.00019286 | 0.00012159 | 0.29649 | 0.29649 | 0.29649 | 0.9793 | -0.3966 | 0.97824 | -0.41727 | 16.2907
24 | 0.024669 | 0.006188 | -0.024653 | -0.0061787 | 1.5093e-05 | 9.3005e-06 | 0.037519 | 0.03752 | 0.03752 | 0.9784 | -0.4143 | 0.97775 | -0.42714 | 10.3076
25 | 0.178 | 0.044885 | -0.17774 | -0.044721 | 0.00026085 | 0.00016397 | 0.27086 | 0.27086 | 0.27086 | 0.97824 | -0.41727 | 0.97668 | -0.44793 | 14.8823
26 | 0.029071 | 0.0073124 | -0.029039 | -0.0072927 | 3.1716e-05 | 1.9706e-05 | 0.043267 | 0.043268 | 0.043268 | 1 | 0 | 0.99881 | -0.022864 | 11.8867
27 | 0.023797 | 0.0059789 | -0.023797 | -0.0059786 | 4.7292e-07 | 2.8954e-07 | 0.035458 | 0.035458 | 0.035458 | 0.99881 | -0.022864 | 0.99879 | -0.023281 | 9.7412
28 | 0.023797 | 0.0059786 | -0.023787 | -0.0059724 | 1.0071e-05 | 6.1662e-06 | 0.035458 | 0.035458 | 0.035458 | 0.99879 | -0.023281 | 0.99833 | -0.032152 | 9.7413
29 | 0.023787 | 0.0059724 | -0.023756 | -0.0059539 | 3.0221e-05 | 1.8504e-05 | 0.035458 | 0.035458 | 0.035458 | 0.99833 | -0.032152 | 0.99694 | -0.058819 | 9.7413
30 | -0.011879 | -0.002978 | 0.011882 | 0.0029796 | 2.9993e-06 | 1.6195e-06 | 0.018183 | 0.018182 | 0.018183 | 0.97213 | -0.53754 | 0.9724 | -0.53224 | 4.9952
31 | 0.011879 | 0.002978 | -0.011875 | -0.0029762 | 3.2616e-06 | 1.7613e-06 | 0.018183 | 0.018183 | 0.018183 | 0.97213 | -0.53754 | 0.97184 | -0.5433 | 4.9952
32 | -0.027615 | -0.0069227 | 0.027633 | 0.0069341 | 1.8235e-05 | 1.1332e-05 | 0.042258 | 0.042258 | 0.042258 | 0.9724 | -0.53224 | 0.9731 | -0.51839 | 11.6094
33 | 0.0037438 | 0.00093797 | -0.0037433 | -0.00093816 | 4.9191e-07 | -1.8234e-07 | 0.0057247 | 0.0057249 | 0.0057249 | 0.9731 | -0.51839 | 0.97296 | -0.52115 | 1.5728
34 | -0.061636 | -0.015468 | 0.061677 | 0.015494 | 4.0362e-05 | 2.5229e-05 | 0.094259 | 0.094258 | 0.094259 | 0.9731 | -0.51839 | 0.9738 | -0.50467 | 12.9476
35 | 0.030259 | 0.0075964 | -0.030248 | -0.0075896 | 1.1677e-05 | 6.7513e-06 | 0.046276 | 0.046276 | 0.046276 | 0.9731 | -0.51839 | 0.97269 | -0.52649 | 6.3566
36 | 0.14959 | 0.037652 | -0.1495 | -0.037601 | 8.1372e-05 | 5.0772e-05 | 0.22796 | 0.22796 | 0.22796 | 0.97668 | -0.44793 | 0.9761 | -0.45932 | 12.5252
37 | 0.028155 | 0.0070697 | -0.028142 | -0.007062 | 1.2495e-05 | 7.7705e-06 | 0.0429 | 0.0429 | 0.0429 | 0.97668 | -0.44793 | 0.97621 | -0.45724 | 11.7857
38 | 0.13678 | 0.034411 | -0.13665 | -0.034333 | 0.0001258 | 7.8107e-05 | 0.20856 | 0.20856 | 0.20856 | 0.9761 | -0.45932 | 0.97512 | -0.47859 | 11.4591
39 | 0.024335 | 0.0061077 | -0.024322 | -0.0060998 | 1.2804e-05 | 7.8845e-06 | 0.037096 | 0.037096 | 0.037096 | 0.97621 | -0.45724 | 0.97565 | -0.46828 | 10.1913
40 | 0.12821 | 0.032219 | -0.12812 | -0.032161 | 9.3998e-05 | 5.8119e-05 | 0.19568 | 0.19568 | 0.19568 | 0.97512 | -0.47859 | 0.97434 | -0.49396 | 10.7519
41 | 0.018949 | 0.0047533 | -0.018941 | -0.0047483 | 8.2026e-06 | 4.9228e-06 | 0.028902 | 0.028902 | 0.028902 | 0.97565 | -0.46828 | 0.97518 | -0.47736 | 7.9401
42 | 0.0046797 | 0.0011728 | -0.0046797 | -0.0011728 | 8.6947e-09 | -9.6214e-11 | 0.0071447 | 0.0071447 | 0.0071447 | 0.97464 | -0.48814 | 0.97464 | -0.48818 | 1.9628
43 | -0.0074767 | -0.0018738 | 0.0074779 | 0.0018743 | 1.1535e-06 | 4.44e-07 | 0.011415 | 0.011415 | 0.011415 | 0.97464 | -0.48814 | 0.9748 | -0.48491 | 3.136
44 | -0.010062 | -0.0025219 | 0.010063 | 0.0025226 | 1.4318e-06 | 7.1457e-07 | 0.015359 | 0.015359 | 0.015359 | 0.9748 | -0.48491 | 0.97495 | -0.48192 | 4.2196
45 | 0.10827 | 0.027185 | -0.10826 | -0.027183 | 3.9464e-06 | 2.4058e-06 | 0.16536 | 0.16536 | 0.16536 | 0.97434 | -0.49396 | 0.9743 | -0.49472 | 9.086
46 | 0.01455 | 0.003648 | -0.014547 | -0.0036462 | 3.1596e-06 | 1.809e-06 | 0.022203 | 0.022203 | 0.022203 | 0.97518 | -0.47736 | 0.97495 | -0.48192 | 6.0997
47 | 0.004484 | 0.0011236 | -0.0044834 | -0.0011236 | 6.4916e-07 | -4.5369e-08 | 0.0068437 | 0.0068438 | 0.0068438 | 0.97495 | -0.48192 | 0.9748 | -0.48496 | 1.8802
48 | 0.082057 | 0.020615 | -0.082019 | -0.020592 | 3.8944e-05 | 2.2867e-05 | 0.12534 | 0.12534 | 0.12534 | 0.9743 | -0.49472 | 0.9738 | -0.50467 | 6.8869
49 | -0.024841 | -0.0062302 | 0.024853 | 0.0062376 | 1.1956e-05 | 7.3784e-06 | 0.038023 | 0.038023 | 0.038023 | 0.97218 | -0.53664 | 0.97269 | -0.52655 | 10.446
50 | 0.020036 | 0.0050261 | -0.02003 | -0.0050222 | 6.4136e-06 | 3.8793e-06 | 0.030669 | 0.03067 | 0.03067 | 0.97218 | -0.53664 | 0.97184 | -0.54336 | 8.4257
51 | -0.026792 | -0.0067235 | 0.026792 | 0.0067236 | 8.112e-08 | 5.0318e-08 | 0.040989 | 0.040989 | 0.040989 | 0.97269 | -0.52655 | 0.97269 | -0.52649 | 11.2608
52 | 0.016836 | 0.0042216 | -0.01683 | -0.004218 | 6.2615e-06 | 3.6962e-06 | 0.025779 | 0.025779 | 0.025779 | 0.97184 | -0.54336 | 0.97144 | -0.55117 | 7.0821
53 | 0.0089261 | 0.0022372 | -0.0089258 | -0.002237 | 3.0622e-07 | 1.419e-07 | 0.013673 | 0.013673 | 0.013673 | 0.97144 | -0.55117 | 0.9714 | -0.55189 | 3.7562

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.42659 | 0.10932

## res_load
| p_mw | q_mvar
0 | 0.00273 | 0.00068421
1 | 0.010617 | 0.0026609
2 | 0.0021775 | 0.00054573
3 | 0.0095314 | 0.0023888
4 | 0.0026596 | 0.00066656
5 | 0.0032236 | 0.00080791
6 | 0.0024127 | 0.00060467
7 | 0.0019215 | 0.00048158
8 | 0.0036661 | 0.00091881
9 | 0.015012 | 0.0037623
10 | 0.011418 | 0.0028617
11 | 0.022683 | 0.0056849
12 | 0.011978 | 0.0030019
13 | 0.0020331 | 0.00050953
14 | 0.0021087 | 0.00052849
15 | 0.01886 | 0.0047268
16 | 0.021114 | 0.0052917
17 | 0.025689 | 0.0064382
18 | 0.016851 | 0.0042234
19 | 0.024653 | 0.0061787
20 | 0.0052421 | 0.0013138
21 | 0.023756 | 0.0059539
22 | 0.015733 | 0.0039431
23 | 0.011875 | 0.0029762
24 | 0.012728 | 0.0031899
25 | 0.0038075 | 0.00095424
26 | 0.0084357 | 0.0021142
27 | 0.0053729 | 0.0013466
28 | 0.002797 | 0.000701
29 | 0.0046797 | 0.0011728
30 | 0.0025839 | 0.0006476
31 | 0.019853 | 0.0049757
32 | 0.0043904 | 0.0011003
33 | 0.026206 | 0.0065678
34 | 0.020342 | 0.0050982
35 | 0.0048045 | 0.0012041
36 | 0.001939 | 0.00048595
37 | 0.0031942 | 0.00080054
38 | 0.0034556 | 0.00086606
39 | 0.0079035 | 0.0019808
40 | 0.0089258 | 0.002237
41 | 0.0037433 | 0.00093816
42 | 0.0044834 | 0.0011236

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1