## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1346-20_1_3_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_1346-20_1_3_node_88 | 0.4 | n |  | TRUE
2 | bus_LV_1346-20_1_3_node_25 | 0.4 | n |  | TRUE
3 | bus_LV_1346-20_1_3_node_26 | 0.4 | n |  | TRUE
4 | bus_LV_1346-20_1_3_node_27 | 0.4 | n |  | TRUE
5 | bus_LV_1346-20_1_3_node_28 | 0.4 | n |  | TRUE
6 | bus_LV_1346-20_1_3_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_1346-20_1_3_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_1346-20_1_3_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_1346-20_1_3_node_73 | 0.4 | n |  | TRUE
10 | bus_LV_1346-20_1_3_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_1346-20_1_3_node_48 | 0.4 | n |  | TRUE
12 | bus_LV_1346-20_1_3_node_47 | 0.4 | n |  | TRUE
13 | bus_LV_1346-20_1_3_node_76 | 0.4 | n |  | TRUE
14 | bus_LV_1346-20_1_3_node_58 | 0.4 | n |  | TRUE
15 | bus_LV_1346-20_1_3_node_78 | 0.4 | n |  | TRUE
16 | bus_LV_1346-20_1_3_node_60 | 0.4 | n |  | TRUE
17 | bus_LV_1346-20_1_3_node_61 | 0.4 | n |  | TRUE
18 | bus_LV_1346-20_1_3_node_62 | 0.4 | n |  | TRUE
19 | bus_LV_1346-20_1_3_node_63 | 0.4 | n |  | TRUE
20 | bus_LV_1346-20_1_3_node_64 | 0.4 | n |  | TRUE
21 | bus_LV_1346-20_1_3_node_84 | 0.4 | n |  | TRUE
22 | bus_LV_1346-20_1_3_node_74 | 0.4 | n |  | TRUE
23 | bus_LV_1346-20_1_3_node_75 | 0.4 | n |  | TRUE
24 | bus_LV_1346-20_1_3_node_79 | 0.4 | n |  | TRUE
25 | bus_LV_1346-20_1_3_node_80 | 0.4 | n |  | TRUE
26 | bus_LV_1346-20_1_3_node_81 | 0.4 | n |  | TRUE
27 | bus_LV_1346-20_1_3_node_82 | 0.4 | n |  | TRUE
28 | bus_LV_1346-20_1_3_node_83 | 0.4 | n |  | TRUE
29 | bus_LV_1346-20_1_3_node_91 | 0.4 | n |  | TRUE
30 | bus_LV_1346-20_1_3_node_118 | 0.4 | n |  | TRUE
31 | bus_LV_1346-20_1_3_node_105 | 0.4 | n |  | TRUE
32 | bus_LV_1346-20_1_3_node_85 | 0.4 | n |  | TRUE
33 | bus_LV_1346-20_1_3_node_86 | 0.4 | n |  | TRUE
34 | bus_LV_1346-20_1_3_node_106 | 0.4 | n |  | TRUE
35 | bus_LV_1346-20_1_3_node_87 | 0.4 | n |  | TRUE
36 | bus_LV_1346-20_1_3_node_89 | 0.4 | n |  | TRUE
37 | bus_LV_1346-20_1_3_node_90 | 0.4 | n |  | TRUE
38 | bus_LV_1346-20_1_3_node_101 | 0.4 | n |  | TRUE
39 | bus_LV_1346-20_1_3_node_104 | 0.4 | n |  | TRUE
40 | bus_LV_1346-20_1_3_node_92 | 0.4 | n |  | TRUE
41 | bus_LV_1346-20_1_3_node_96 | 0.4 | n |  | TRUE
42 | bus_LV_1346-20_1_3_node_97 | 0.4 | n |  | TRUE
43 | bus_LV_1346-20_1_3_node_98 | 0.4 | n |  | TRUE
44 | bus_LV_1346-20_1_3_node_99 | 0.4 | n |  | TRUE
45 | bus_LV_1346-20_1_3_node_100 | 0.4 | n |  | TRUE
46 | bus_LV_1346-20_1_3_node_102 | 0.4 | n |  | TRUE
47 | bus_LV_1346-20_1_3_node_111 | 0.4 | n |  | TRUE
48 | bus_LV_1346-20_1_3_node_121 | 0.4 | n |  | TRUE
49 | bus_LV_1346-20_1_3_node_103 | 0.4 | n |  | TRUE
50 | bus_LV_1346-20_1_3_node_107 | 0.4 | n |  | TRUE
51 | bus_LV_1346-20_1_3_node_108 | 0.4 | n |  | TRUE
52 | bus_LV_1346-20_1_3_node_109 | 0.4 | n |  | TRUE
53 | bus_LV_1346-20_1_3_node_122 | 0.4 | n |  | TRUE
54 | bus_LV_1346-20_1_3_node_123 | 0.4 | n |  | TRUE
55 | bus_LV_1346-20_1_3_node_124 | 0.4 | n |  | TRUE
56 | bus_LV_1346-20_1_3_node_125 | 0.4 | n |  | TRUE
57 | bus_LV_1346-20_1_3_node_126 | 0.4 | n |  | TRUE
58 | bus_LV_1346-20_1_3_node_127 | 0.4 | n |  | TRUE
59 | bus_MV_19_0_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1346-20_1_3_load_128 | 0 | 0.011444 | 0.0028681 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1346-20_1_3_load_88 | 1 | 0.0016408 | 0.00041122 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1346-20_1_3_load_25 | 2 | 0.0044567 | 0.0011169 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1346-20_1_3_load_26 | 3 | 0.0076815 | 0.0019252 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1346-20_1_3_load_27 | 4 | 0.0040977 | 0.001027 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1346-20_1_3_load_28 | 5 | 0.0037372 | 0.00093662 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1346-20_1_3_load_34 | 6 | 0.0066843 | 0.0016753 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1346-20_1_3_load_29 | 7 | 0.0034554 | 0.000866 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1346-20_1_3_load_30 | 8 | 0.004334 | 0.0010862 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1346-20_1_3_load_73 | 9 | 0.0046893 | 0.0011752 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1346-20_1_3_load_35 | 10 | 0.0066082 | 0.0016562 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1346-20_1_3_load_48 | 11 | 0.0034657 | 0.00086858 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1346-20_1_3_load_47 | 12 | 0.0064753 | 0.0016229 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1346-20_1_3_load_76 | 13 | 0.0045462 | 0.0011394 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1346-20_1_3_load_58 | 14 | 0.0046247 | 0.0011591 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1346-20_1_3_load_78 | 15 | 0.004503 | 0.0011286 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1346-20_1_3_load_60 | 16 | 0.0069694 | 0.0017467 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1346-20_1_3_load_61 | 17 | 0.0041931 | 0.0010509 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1346-20_1_3_load_62 | 18 | 0.0044387 | 0.0011125 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1346-20_1_3_load_63 | 19 | 0.009862 | 0.0024716 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1346-20_1_3_load_64 | 20 | 0.0046663 | 0.0011695 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1346-20_1_3_load_84 | 21 | 0.0073541 | 0.0018431 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1346-20_1_3_load_74 | 22 | 0.0047473 | 0.0011898 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1346-20_1_3_load_75 | 23 | 0.0092258 | 0.0023122 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1346-20_1_3_load_79 | 24 | 0.006456 | 0.001618 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1346-20_1_3_load_80 | 25 | 0.0086526 | 0.0021685 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1346-20_1_3_load_81 | 26 | 0.0051783 | 0.0012978 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1346-20_1_3_load_82 | 27 | 0.0057381 | 0.0014381 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1346-20_1_3_load_83 | 28 | 0.0066194 | 0.001659 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1346-20_1_3_load_91 | 29 | 0.0057399 | 0.0014385 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1346-20_1_3_load_118 | 30 | 0.0032834 | 0.00082289 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1346-20_1_3_load_105 | 31 | 0.0058449 | 0.0014649 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1346-20_1_3_load_85 | 32 | 0.0082685 | 0.0020723 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1346-20_1_3_load_86 | 33 | 0.0043895 | 0.0011001 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1346-20_1_3_load_106 | 34 | 0.0070099 | 0.0017568 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1346-20_1_3_load_87 | 35 | 0.0048158 | 0.001207 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1346-20_1_3_load_89 | 36 | 0.001619 | 0.00040576 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1346-20_1_3_load_101 | 38 | 0.010568 | 0.0026485 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1346-20_1_3_load_104 | 39 | 0.0089089 | 0.0022328 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1346-20_1_3_load_92 | 40 | 0.0034356 | 0.00086104 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1346-20_1_3_load_96 | 41 | 0.0040677 | 0.0010195 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1346-20_1_3_load_99 | 44 | 0.0011965 | 0.00029986 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1346-20_1_3_load_102 | 46 | 0.0034376 | 0.00086155 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1346-20_1_3_load_111 | 47 | 0.0018682 | 0.00046821 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1346-20_1_3_load_121 | 48 | 0.0053197 | 0.0013333 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1346-20_1_3_load_103 | 49 | 0.0093847 | 0.002352 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1346-20_1_3_load_107 | 50 | 0.0023722 | 0.00059452 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1346-20_1_3_load_108 | 51 | 0.0020371 | 0.00051056 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1346-20_1_3_load_109 | 52 | 0.005572 | 0.0013965 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1346-20_1_3_load_123 | 54 | 0.0043151 | 0.0010815 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1346-20_1_3_load_125 | 56 | 0.0043428 | 0.0010884 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1346-20_1_3_load_127 | 58 | 0.0066503 | 0.0016667 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1346-20_1_3_line_0 |  | 0 | 1 | 0.097674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1346-20_1_3_line_1 |  | 1 | 35 | 0.039566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1346-20_1_3_line_2 |  | 2 | 3 | 0.0076342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1346-20_1_3_line_3 |  | 2 | 4 | 0.044209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1346-20_1_3_line_4 |  | 3 | 5 | 0.016745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1346-20_1_3_line_5 |  | 5 | 6 | 0.022551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1346-20_1_3_line_6 |  | 6 | 10 | 0.0056896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1346-20_1_3_line_7 |  | 7 | 8 | 0.024068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1346-20_1_3_line_8 |  | 7 | 9 | 0.10926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1346-20_1_3_line_9 |  | 9 | 22 | 0.022894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1346-20_1_3_line_10 |  | 9 | 19 | 0.012211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1346-20_1_3_line_11 |  | 10 | 11 | 0.02761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1346-20_1_3_line_12 |  | 11 | 12 | 0.012856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1346-20_1_3_line_13 |  | 12 | 13 | 0.052118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1346-20_1_3_line_14 |  | 13 | 15 | 0.012481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1346-20_1_3_line_15 |  | 13 | 23 | 0.01139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1346-20_1_3_line_16 |  | 14 | 15 | 0.0092747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1346-20_1_3_line_17 |  | 16 | 17 | 0.010231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1346-20_1_3_line_18 |  | 16 | 18 | 0.009096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1346-20_1_3_line_19 |  | 17 | 19 | 0.0085831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1346-20_1_3_line_20 |  | 18 | 20 | 0.018938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1346-20_1_3_line_21 |  | 20 | 21 | 0.023692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1346-20_1_3_line_22 |  | 21 | 32 | 0.0051796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1346-20_1_3_line_23 |  | 22 | 23 | 0.0093782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1346-20_1_3_line_24 |  | 24 | 25 | 0.017468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1346-20_1_3_line_25 |  | 24 | 26 | 0.0071401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1346-20_1_3_line_26 |  | 25 | 27 | 0.011938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1346-20_1_3_line_27 |  | 26 | 28 | 0.013592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1346-20_1_3_line_28 |  | 27 | 29 | 0.025205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1346-20_1_3_line_29 |  | 27 | 30 | 0.046009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1346-20_1_3_line_30 |  | 28 | 31 | 0.0075953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1346-20_1_3_line_31 |  | 29 | 40 | 0.0075513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1346-20_1_3_line_32 |  | 30 | 46 | 0.0090505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1346-20_1_3_line_33 |  | 31 | 34 | 0.017925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_1346-20_1_3_line_34 |  | 32 | 33 | 0.0090666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1346-20_1_3_line_35 |  | 33 | 34 | 0.0073336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1346-20_1_3_line_36 |  | 35 | 36 | 0.020832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1346-20_1_3_line_37 |  | 36 | 37 | 0.03076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1346-20_1_3_line_38 |  | 37 | 38 | 0.017364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1346-20_1_3_line_39 |  | 37 | 39 | 0.02736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1346-20_1_3_line_40 |  | 38 | 43 | 0.020988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1346-20_1_3_line_41 |  | 39 | 49 | 0.037159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1346-20_1_3_line_42 |  | 41 | 42 | 0.012694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1346-20_1_3_line_43 |  | 41 | 43 | 0.017527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1346-20_1_3_line_44 |  | 42 | 44 | 0.026067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1346-20_1_3_line_45 |  | 42 | 45 | 0.021375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1346-20_1_3_line_46 |  | 43 | 46 | 0.014395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1346-20_1_3_line_47 |  | 44 | 47 | 0.0096633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1346-20_1_3_line_48 |  | 45 | 48 | 0.0065695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1346-20_1_3_line_49 |  | 47 | 52 | 0.0048462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1346-20_1_3_line_50 |  | 48 | 53 | 0.016323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1346-20_1_3_line_51 |  | 50 | 51 | 0.019634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1346-20_1_3_line_52 |  | 50 | 52 | 0.01858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1346-20_1_3_line_53 |  | 53 | 54 | 0.0094928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1346-20_1_3_line_54 |  | 54 | 55 | 0.0074112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1346-20_1_3_line_55 |  | 55 | 56 | 0.017445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1346-20_1_3_line_56 |  | 56 | 57 | 0.027557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1346-20_1_3_line_57 |  | 57 | 58 | 0.011597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1346-20_1_3_trafo_105 | 0.63 MVA 20/0.4 kV | 59 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2711118.4971 | 1226438.2346 | 2711180.3905 | 1226513.7958
1 | 2711081.9555 | 1226442.1355 | 2711091.4464 | 1226447.5843 | 2711102.9869 | 1226443.4522 | 2711118.4971 | 1226438.2346
2 | 2711116.3318 | 1226243.5267 | 2711108.7267 | 1226242.861
3 | 2711116.3318 | 1226243.5267 | 2711137.7871 | 1226204.8735
4 | 2711092.046 | 1226241.4008 | 2711108.7267 | 1226242.861
5 | 2711092.046 | 1226241.4008 | 2711069.581 | 1226239.4342
6 | 2711063.9131 | 1226238.9381 | 2711069.581 | 1226239.4342
7 | 2711070.7 | 1226182.2359 | 2711094.6844 | 1226184.2362
8 | 2711059.8395 | 1226290.95 | 2711070.7 | 1226182.2359
9 | 2711059.8395 | 1226290.95 | 2711037.0387 | 1226288.89
10 | 2711059.8395 | 1226290.95 | 2711072.0006 | 1226292.0487
11 | 2711063.9131 | 1226238.9381 | 2711036.4078 | 1226236.5303
12 | 2711036.4078 | 1226236.5303 | 2711023.6005 | 1226235.4092
13 | 2711016.3544 | 1226287.0213 | 2711023.6005 | 1226235.4092
14 | 2711016.3544 | 1226287.0213 | 2711003.924 | 1226285.8982
15 | 2711016.3544 | 1226287.0213 | 2711027.6985 | 1226288.0462
16 | 2710994.6869 | 1226285.0637 | 2711003.924 | 1226285.8982
17 | 2711090.1968 | 1226295.315 | 2711089.8114 | 1226294.8601 | 2711086.8819 | 1226293.3932 | 2711080.5489 | 1226292.821
18 | 2711090.1968 | 1226295.315 | 2711092.0517 | 1226297.5039 | 2711092.8386 | 1226301.644 | 2711092.6448 | 1226303.6474
19 | 2711080.5489 | 1226292.821 | 2711072.0006 | 1226292.0487
20 | 2711092.6448 | 1226303.6474 | 2711090.821 | 1226322.4972
21 | 2711088.5392 | 1226346.0793 | 2711090.821 | 1226322.4972
22 | 2711088.5392 | 1226346.0793 | 2711088.3474 | 1226348.062 | 2711086.6592 | 1226350.7659 | 2711086.6592 | 1226350.7659
23 | 2711037.0387 | 1226288.89 | 2711027.6985 | 1226288.0462
24 | 2711024.8065 | 1226348.4346 | 2711007.4058 | 1226346.9061
25 | 2711024.8065 | 1226348.4346 | 2711031.9192 | 1226349.0594
26 | 2710995.5131 | 1226345.8614 | 2711007.4058 | 1226346.9061
27 | 2711045.4595 | 1226350.2487 | 2711031.9192 | 1226349.0594
28 | 2710995.5131 | 1226345.8614 | 2710970.4047 | 1226343.6559
29 | 2710995.5131 | 1226345.8614 | 2710984.3617 | 1226390.4984
30 | 2711045.4595 | 1226350.2487 | 2711053.0256 | 1226350.9134
31 | 2710970.4047 | 1226343.6559 | 2710962.8825 | 1226342.9952 | 2710962.8825 | 1226342.9952
32 | 2710984.3617 | 1226390.4984 | 2710992.0788 | 1226395.2267
33 | 2711053.0256 | 1226350.9134 | 2711070.8817 | 1226352.4818
34 | 2711078.1872 | 1226353.1236 | 2711080.2357 | 1226353.3035 | 2711083.569 | 1226352.6319 | 2711086.6592 | 1226350.7659
35 | 2711078.1872 | 1226353.1236 | 2711070.8817 | 1226352.4818
36 | 2711063.8894 | 1226431.7635 | 2711081.9555 | 1226442.1355
37 | 2711037.2135 | 1226416.4485 | 2711063.8894 | 1226431.7635
38 | 2711037.2135 | 1226416.4485 | 2711022.5047 | 1226407.2196
39 | 2711037.2135 | 1226416.4485 | 2711046.9126 | 1226411.8593 | 2711063.502 | 1226413.0284
40 | 2711004.3531 | 1226402.7473 | 2711005.1578 | 1226401.4724 | 2711011.3675 | 1226400.2318 | 2711022.5047 | 1226407.2196
41 | 2711099.9436 | 1226409.8669 | 2711094.1632 | 1226410.518 | 2711081.7622 | 1226410.3864 | 2711073.5343 | 1226413.7354 | 2711063.502 | 1226413.0284
42 | 2710988.2352 | 1226428.3105 | 2710995.0053 | 1226417.573
43 | 2711004.3531 | 1226402.7473 | 2710995.0053 | 1226417.573
44 | 2710988.2352 | 1226428.3105 | 2710965.888 | 1226414.8902
45 | 2710988.2352 | 1226428.3105 | 2710997.0396 | 1226433.4675 | 2710999.9761 | 1226435.3681 | 2711006.5825 | 1226439.2721
46 | 2711004.3531 | 1226402.7473 | 2710992.0788 | 1226395.2267
47 | 2710965.888 | 1226414.8902 | 2710957.6038 | 1226409.9152
48 | 2711006.5825 | 1226439.2721 | 2711012.2333 | 1226442.6229
49 | 2710957.6038 | 1226409.9152 | 2710953.4492 | 1226407.4203
50 | 2711026.2736 | 1226450.9483 | 2711012.2333 | 1226442.6229
51 | 2710937.521 | 1226397.8548 | 2710920.6886 | 1226387.7463
52 | 2710937.521 | 1226397.8548 | 2710953.4492 | 1226407.4203
53 | 2711026.2736 | 1226450.9483 | 2711034.2235 | 1226456.136
54 | 2711040.4301 | 1226460.1862 | 2711034.2235 | 1226456.136
55 | 2711040.4301 | 1226460.1862 | 2711048.894 | 1226465.715 | 2711054.6066 | 1226470.3171
56 | 2711076.0665 | 1226487.6054 | 2711054.6066 | 1226470.3171
57 | 2711076.0665 | 1226487.6054 | 2711086.9094 | 1226483.4911

## bus_geodata
| x | y | coords
0 | 2711180.3905 | 1226513.7958
1 | 2711118.4971 | 1226438.2346
2 | 2711116.3318 | 1226243.5267
3 | 2711108.7267 | 1226242.861
4 | 2711137.7871 | 1226204.8735
5 | 2711092.046 | 1226241.4008
6 | 2711069.581 | 1226239.4342
7 | 2711070.7 | 1226182.2359
8 | 2711094.6844 | 1226184.2362
9 | 2711059.8395 | 1226290.95
10 | 2711063.9131 | 1226238.9381
11 | 2711036.4078 | 1226236.5303
12 | 2711023.6005 | 1226235.4092
13 | 2711016.3544 | 1226287.0213
14 | 2710994.6869 | 1226285.0637
15 | 2711003.924 | 1226285.8982
16 | 2711090.1968 | 1226295.315
17 | 2711080.5489 | 1226292.821
18 | 2711092.6448 | 1226303.6474
19 | 2711072.0006 | 1226292.0487
20 | 2711090.821 | 1226322.4972
21 | 2711088.5392 | 1226346.0793
22 | 2711037.0387 | 1226288.89
23 | 2711027.6985 | 1226288.0462
24 | 2711024.8064 | 1226348.4346
25 | 2711007.4058 | 1226346.9061
26 | 2711031.9192 | 1226349.0594
27 | 2710995.5131 | 1226345.8614
28 | 2711045.4595 | 1226350.2487
29 | 2710970.4047 | 1226343.6559
30 | 2710984.3617 | 1226390.4984
31 | 2711053.0256 | 1226350.9134
32 | 2711086.6592 | 1226350.7659
33 | 2711078.1872 | 1226353.1236
34 | 2711070.8817 | 1226352.4818
35 | 2711081.9555 | 1226442.1355
36 | 2711063.8894 | 1226431.7635
37 | 2711037.2135 | 1226416.4485
38 | 2711022.5047 | 1226407.2196
39 | 2711063.502 | 1226413.0284
40 | 2710962.8825 | 1226342.9952
41 | 2710995.0053 | 1226417.573
42 | 2710988.2352 | 1226428.3105
43 | 2711004.3531 | 1226402.7473
44 | 2710965.888 | 1226414.8902
45 | 2711006.5825 | 1226439.2721
46 | 2710992.0788 | 1226395.2267
47 | 2710957.6038 | 1226409.9152
48 | 2711012.2333 | 1226442.6229
49 | 2711099.9436 | 1226409.8669
50 | 2710937.521 | 1226397.8548
51 | 2710920.6886 | 1226387.7463
52 | 2710953.4492 | 1226407.4203
53 | 2711026.2736 | 1226450.9483
54 | 2711034.2235 | 1226456.136
55 | 2711040.4301 | 1226460.1862
56 | 2711054.6066 | 1226470.3171
57 | 2711076.0665 | 1226487.6054
58 | 2711086.9094 | 1226483.4911
59 | 2710933.9887 | 1226321.4623

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98385 | -0.3112 | 0.011444 | 0.0028681
1 | 0.98488 | -0.29109 | 0.0016408 | 0.00041122
2 | 0.98156 | -0.35548 | 0.0044567 | 0.0011169
3 | 0.98162 | -0.3543 | 0.0076815 | 0.0019252
4 | 0.9814 | -0.35876 | 0.0040977 | 0.001027
5 | 0.98187 | -0.34938 | 0.0037372 | 0.00093662
6 | 0.98229 | -0.34124 | 0.0066843 | 0.0016753
7 | 0.98768 | -0.23644 | 0.0034554 | 0.000866
8 | 0.98758 | -0.23831 | 0.004334 | 0.0010862
9 | 0.98846 | -0.22124 | 0.0046893 | 0.0011752
10 | 0.98243 | -0.3385 | 0.0066082 | 0.0016562
11 | 0.98328 | -0.32193 | 0.0034657 | 0.00086858
12 | 0.98371 | -0.31342 | 0.0064753 | 0.0016229
13 | 0.98579 | -0.27294 | 0.0045462 | 0.0011394
14 | 0.98565 | -0.27576 | 0.0046247 | 0.0011591
15 | 0.98569 | -0.27499 | 0.004503 | 0.0011286
16 | 0.99105 | -0.17117 | 0.0069694 | 0.0017467
17 | 0.99013 | -0.18887 | 0.0041931 | 0.0010509
18 | 0.99192 | -0.15434 | 0.0044387 | 0.0011125
19 | 0.9894 | -0.20311 | 0.009862 | 0.0024716
20 | 0.99382 | -0.11791 | 0.0046663 | 0.0011695
21 | 0.99629 | -0.070581 | 0.0073541 | 0.0018431
22 | 0.98696 | -0.25023 | 0.0047473 | 0.0011898
23 | 0.98639 | -0.26133 | 0.0092258 | 0.0023122
24 | 0.99666 | -0.063675 | 0.006456 | 0.001618
25 | 0.99479 | -0.099428 | 0.0086526 | 0.0021685
26 | 0.99746 | -0.048292 | 0.0051783 | 0.0012978
27 | 0.99361 | -0.12212 | 0.0057381 | 0.0014381
28 | 0.99906 | -0.017847 | 0.0066194 | 0.001659
29 | 0.9934 | -0.1262 | 0.0057399 | 0.0014385
30 | 0.98968 | -0.19784 | 0.0032834 | 0.00082289
31 | 1 | 0 | -0.2797 | -0.0708
32 | 0.99687 | -0.059598 | 0.0082685 | 0.0020723
33 | 0.99794 | -0.039091 | 0.0043895 | 0.0011001
34 | 0.99884 | -0.021973 | 0.0070099 | 0.0017568
35 | 0.98536 | -0.28179 | 0.0048158 | 0.001207
36 | 0.9857 | -0.27509 | 0.001619 | 0.00040576
37 | 0.98625 | -0.26433 | 0 | 0
38 | 0.98686 | -0.25256 | 0.010568 | 0.0026485
39 | 0.98579 | -0.2733 | 0.0089089 | 0.0022328
40 | 0.99337 | -0.12666 | 0.0034356 | 0.00086104
41 | 0.98718 | -0.24623 | 0.0040677 | 0.0010195
42 | 0.98679 | -0.25388 | 0 | 0
43 | 0.98779 | -0.23441 | 0 | 0
44 | 0.98648 | -0.25997 | 0.0011965 | 0.00029986
45 | 0.98638 | -0.26178 | 0 | 0
46 | 0.98893 | -0.21228 | 0.0034376 | 0.00086155
47 | 0.98637 | -0.26202 | 0.0018682 | 0.00046821
48 | 0.98626 | -0.26421 | 0.0053197 | 0.0013333
49 | 0.98547 | -0.27956 | 0.0093847 | 0.002352
50 | 0.98625 | -0.26436 | 0.0023722 | 0.00059452
51 | 0.98622 | -0.26507 | 0.0020371 | 0.00051056
52 | 0.98633 | -0.26289 | 0.005572 | 0.0013965
53 | 0.98603 | -0.26869 | 0 | 0
54 | 0.9859 | -0.27129 | 0.0043151 | 0.0010815
55 | 0.98582 | -0.27275 | 0 | 0
56 | 0.98564 | -0.27619 | 0.0043428 | 0.0010884
57 | 0.98548 | -0.27948 | 0 | 0
58 | 0.98541 | -0.28087 | 0.0066503 | 0.0016667
59 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.011444 | -0.0028681 | 0.011455 | 0.0028739 | 1.0973e-05 | 5.781e-06 | 0.017308 | 0.017308 | 0.017308 | 0.98385 | -0.3112 | 0.98488 | -0.29109 | 4.7551
1 | -0.013096 | -0.0032852 | 0.013102 | 0.0032884 | 5.8092e-06 | 3.2141e-06 | 0.019787 | 0.019787 | 0.019787 | 0.98488 | -0.29109 | 0.98536 | -0.28179 | 5.436
2 | -0.008555 | -0.0021438 | 0.0085555 | 0.002144 | 4.8151e-07 | 2.1166e-07 | 0.012969 | 0.012969 | 0.012969 | 0.98156 | -0.35548 | 0.98162 | -0.3543 | 3.5629
3 | 0.0040983 | 0.0010268 | -0.0040977 | -0.001027 | 6.3993e-07 | -1.4915e-07 | 0.0062128 | 0.006213 | 0.006213 | 0.98156 | -0.35548 | 0.9814 | -0.35876 | 1.7069
4 | -0.016237 | -0.0040692 | 0.016241 | 0.0040714 | 3.804e-06 | 2.2228e-06 | 0.024613 | 0.024613 | 0.024613 | 0.98162 | -0.3543 | 0.98187 | -0.34938 | 6.7619
5 | -0.019978 | -0.005008 | 0.019986 | 0.0050127 | 7.752e-06 | 4.6759e-06 | 0.030277 | 0.030277 | 0.030277 | 0.98187 | -0.34938 | 0.98229 | -0.34124 | 8.3178
6 | -0.02667 | -0.0066879 | 0.026674 | 0.0066901 | 3.4828e-06 | 2.1569e-06 | 0.040402 | 0.040402 | 0.040402 | 0.98229 | -0.34124 | 0.98243 | -0.3385 | 11.0996
7 | 0.0043344 | 0.0010861 | -0.004334 | -0.0010862 | 3.8487e-07 | -6.1671e-08 | 0.0065301 | 0.0065302 | 0.0065302 | 0.98768 | -0.23644 | 0.98758 | -0.23831 | 1.794
8 | -0.0077898 | -0.0019521 | 0.0077954 | 0.0019544 | 5.6427e-06 | 2.212e-06 | 0.011736 | 0.011735 | 0.011736 | 0.98768 | -0.23644 | 0.98846 | -0.22124 | 3.2242
9 | 0.071161 | 0.017951 | -0.071063 | -0.017888 | 9.8598e-05 | 6.281e-05 | 0.10717 | 0.10717 | 0.10717 | 0.98846 | -0.22124 | 0.98696 | -0.25023 | 29.4415
10 | -0.083646 | -0.021081 | 0.083719 | 0.021127 | 7.2652e-05 | 4.6341e-05 | 0.12596 | 0.12596 | 0.12596 | 0.98846 | -0.22124 | 0.9894 | -0.20311 | 34.6049
11 | -0.033282 | -0.0083463 | 0.033308 | 0.0083628 | 2.6312e-05 | 1.649e-05 | 0.050411 | 0.050411 | 0.050411 | 0.98243 | -0.3385 | 0.98328 | -0.32193 | 13.8493
12 | -0.036774 | -0.0092313 | 0.036789 | 0.0092407 | 1.4934e-05 | 9.3945e-06 | 0.055656 | 0.055656 | 0.055656 | 0.98328 | -0.32193 | 0.98371 | -0.31342 | 15.2901
13 | -0.043264 | -0.010864 | 0.043348 | 0.010917 | 8.3724e-05 | 5.292e-05 | 0.065451 | 0.065451 | 0.065451 | 0.98371 | -0.31342 | 0.98579 | -0.27294 | 17.981
14 | 0.0091288 | 0.002288 | -0.0091279 | -0.0022876 | 8.887e-07 | 4.0966e-07 | 0.01378 | 0.01378 | 0.01378 | 0.98579 | -0.27294 | 0.98569 | -0.27499 | 3.7856
15 | -0.057023 | -0.014344 | 0.057054 | 0.014364 | 3.1659e-05 | 2.0116e-05 | 0.086092 | 0.086092 | 0.086092 | 0.98579 | -0.27294 | 0.98639 | -0.26133 | 23.6518
16 | -0.0046247 | -0.0011591 | 0.0046249 | 0.0011591 | 1.6954e-07 | -9.7102e-09 | 0.0069818 | 0.0069818 | 0.0069818 | 0.98565 | -0.27576 | 0.98569 | -0.27499 | 1.9181
17 | 0.097921 | 0.024743 | -0.097838 | -0.02469 | 8.3015e-05 | 5.2998e-05 | 0.1471 | 0.1471 | 0.1471 | 0.99105 | -0.17117 | 0.99013 | -0.18887 | 40.4108
18 | -0.10489 | -0.02649 | 0.10497 | 0.026544 | 8.4678e-05 | 5.4077e-05 | 0.15756 | 0.15756 | 0.15756 | 0.99105 | -0.17117 | 0.99192 | -0.15434 | 43.2856
19 | 0.093644 | 0.02364 | -0.093581 | -0.023599 | 6.3803e-05 | 4.0724e-05 | 0.14079 | 0.14079 | 0.14079 | 0.99013 | -0.18887 | 0.9894 | -0.20311 | 38.6796
20 | -0.10941 | -0.027657 | 0.1096 | 0.027779 | 0.00019152 | 0.00012232 | 0.16422 | 0.16422 | 0.16422 | 0.99192 | -0.15434 | 0.99382 | -0.11791 | 45.1149
21 | -0.11427 | -0.028948 | 0.11453 | 0.029115 | 0.00026042 | 0.00016636 | 0.1712 | 0.1712 | 0.1712 | 0.99382 | -0.11791 | 0.99629 | -0.070581 | 47.0343
22 | -0.12189 | -0.030958 | 0.12195 | 0.030999 | 6.4472e-05 | 4.1195e-05 | 0.18219 | 0.18219 | 0.18219 | 0.99629 | -0.070581 | 0.99687 | -0.059598 | 50.0517
23 | 0.066315 | 0.016699 | -0.06628 | -0.016676 | 3.5175e-05 | 2.2392e-05 | 0.10001 | 0.10001 | 0.10001 | 0.98696 | -0.25023 | 0.98639 | -0.26133 | 27.4752
24 | 0.11739 | 0.029793 | -0.11719 | -0.029664 | 0.00020151 | 0.00012874 | 0.17539 | 0.17539 | 0.17539 | 0.99666 | -0.063675 | 0.99479 | -0.099428 | 48.185
25 | -0.12384 | -0.031411 | 0.12394 | 0.03147 | 9.1671e-05 | 5.8576e-05 | 0.18503 | 0.18503 | 0.18503 | 0.99666 | -0.063675 | 0.99746 | -0.048292 | 50.833
26 | 0.10853 | 0.027496 | -0.10842 | -0.02742 | 0.00011815 | 7.5459e-05 | 0.16245 | 0.16245 | 0.16245 | 0.99479 | -0.099428 | 0.99361 | -0.12212 | 44.6293
27 | -0.12911 | -0.032767 | 0.1293 | 0.032888 | 0.00018939 | 0.00012103 | 0.19276 | 0.19276 | 0.19276 | 0.99746 | -0.048292 | 0.99906 | -0.017847 | 52.9552
28 | 0.0091773 | 0.0023004 | -0.0091755 | -0.0022995 | 1.7854e-06 | 8.163e-07 | 0.013744 | 0.013744 | 0.013744 | 0.99361 | -0.12212 | 0.9934 | -0.1262 | 3.7758
29 | 0.093501 | 0.023682 | -0.093162 | -0.023466 | 0.00033871 | 0.00021618 | 0.14011 | 0.14011 | 0.14011 | 0.99361 | -0.12212 | 0.98968 | -0.19784 | 38.4928
30 | -0.13592 | -0.034547 | 0.13604 | 0.034622 | 0.00011693 | 7.4735e-05 | 0.20262 | 0.20262 | 0.20262 | 0.99906 | -0.017847 | 1 | 0 | 55.6637
31 | 0.0034356 | 0.00086099 | -0.0034356 | -0.00086104 | 7.4996e-08 | -4.9763e-08 | 0.0051463 | 0.0051463 | 0.0051463 | 0.9934 | -0.1262 | 0.99337 | -0.12666 | 1.4138
32 | 0.089878 | 0.022643 | -0.089816 | -0.022603 | 6.2017e-05 | 3.9575e-05 | 0.13518 | 0.13518 | 0.13518 | 0.98968 | -0.19784 | 0.98893 | -0.21228 | 37.1366
33 | 0.14201 | 0.036177 | -0.14186 | -0.036082 | 0.00015037 | 9.5765e-05 | 0.21152 | 0.21152 | 0.21152 | 1 | 0 | 0.99884 | -0.021973 | 29.0547
34 | -0.13022 | -0.033071 | 0.13035 | 0.033154 | 0.00012866 | 8.2225e-05 | 0.19453 | 0.19453 | 0.19453 | 0.99687 | -0.059598 | 0.99794 | -0.039091 | 53.4425
35 | -0.13474 | -0.034254 | 0.13485 | 0.034325 | 0.00011119 | 7.1066e-05 | 0.20108 | 0.20108 | 0.20108 | 0.99794 | -0.039091 | 0.99884 | -0.021973 | 55.2406
36 | -0.017917 | -0.0044953 | 0.017923 | 0.0044987 | 5.7199e-06 | 3.3953e-06 | 0.027059 | 0.027059 | 0.027059 | 0.98536 | -0.28179 | 0.9857 | -0.27509 | 7.4339
37 | -0.019542 | -0.0049045 | 0.019552 | 0.0049105 | 1.004e-05 | 6.0336e-06 | 0.029503 | 0.029503 | 0.029503 | 0.9857 | -0.27509 | 0.98625 | -0.26433 | 8.1053
38 | -0.037856 | -0.0095013 | 0.037878 | 0.0095147 | 2.1246e-05 | 1.3376e-05 | 0.057121 | 0.057121 | 0.057121 | 0.98625 | -0.26433 | 0.98686 | -0.25256 | 15.6926
39 | 0.018304 | 0.0045908 | -0.018296 | -0.0045861 | 7.826e-06 | 4.6596e-06 | 0.027618 | 0.027618 | 0.027618 | 0.98625 | -0.26433 | 0.98579 | -0.2733 | 7.5874
40 | -0.048445 | -0.012163 | 0.048487 | 0.01219 | 4.2005e-05 | 2.6615e-05 | 0.073055 | 0.073055 | 0.073055 | 0.98686 | -0.25256 | 0.98779 | -0.23441 | 20.0701
41 | 0.0093875 | 0.0023533 | -0.0093847 | -0.002352 | 2.7981e-06 | 1.3172e-06 | 0.01417 | 0.01417 | 0.01417 | 0.98579 | -0.2733 | 0.98547 | -0.27956 | 3.893
42 | 0.033711 | 0.0084607 | -0.033699 | -0.008453 | 1.2293e-05 | 7.7053e-06 | 0.050818 | 0.050818 | 0.050818 | 0.98718 | -0.24623 | 0.98679 | -0.25388 | 13.9611
43 | -0.037779 | -0.0094802 | 0.0378 | 0.0094936 | 2.1316e-05 | 1.3418e-05 | 0.05695 | 0.05695 | 0.05695 | 0.98718 | -0.24623 | 0.98779 | -0.23441 | 15.6455
44 | 0.013052 | 0.0032723 | -0.013048 | -0.0032702 | 3.7865e-06 | 2.0905e-06 | 0.019681 | 0.019682 | 0.019682 | 0.98679 | -0.25388 | 0.98648 | -0.25997 | 5.407
45 | 0.020647 | 0.0051807 | -0.02064 | -0.005176 | 7.7713e-06 | 4.7007e-06 | 0.031137 | 0.031137 | 0.031137 | 0.98679 | -0.25388 | 0.98638 | -0.26178 | 8.5541
46 | -0.086288 | -0.021683 | 0.086379 | 0.021742 | 9.1235e-05 | 5.8206e-05 | 0.13 | 0.13 | 0.13 | 0.98779 | -0.23441 | 0.98893 | -0.21228 | 35.7156
47 | 0.011851 | 0.0029703 | -0.01185 | -0.0029697 | 1.1581e-06 | 6.1781e-07 | 0.017877 | 0.017877 | 0.017877 | 0.98648 | -0.25997 | 0.98637 | -0.26202 | 4.9112
48 | 0.02064 | 0.005176 | -0.020637 | -0.0051746 | 2.3885e-06 | 1.4448e-06 | 0.031137 | 0.031137 | 0.031137 | 0.98638 | -0.26178 | 0.98626 | -0.26421 | 8.5541
49 | 0.0099821 | 0.0025015 | -0.0099816 | -0.0025013 | 4.121e-07 | 2.0189e-07 | 0.015059 | 0.015059 | 0.015059 | 0.98637 | -0.26202 | 0.98633 | -0.26289 | 4.137
50 | 0.015317 | 0.0038413 | -0.015314 | -0.0038395 | 3.2694e-06 | 1.8842e-06 | 0.023111 | 0.023111 | 0.023111 | 0.98626 | -0.26421 | 0.98603 | -0.26869 | 6.3492
51 | 0.0020372 | 0.00051035 | -0.0020371 | -0.00051056 | 6.9559e-08 | -2.0603e-07 | 0.0030736 | 0.0030737 | 0.0030737 | 0.98625 | -0.26436 | 0.98622 | -0.26507 | 0.84442
52 | -0.0044094 | -0.0011049 | 0.0044097 | 0.0011048 | 3.0835e-07 | -3.9769e-08 | 0.0066526 | 0.0066525 | 0.0066526 | 0.98625 | -0.26436 | 0.98633 | -0.26289 | 1.8276
53 | 0.015314 | 0.0038395 | -0.015312 | -0.0038384 | 1.9014e-06 | 1.0958e-06 | 0.023111 | 0.023111 | 0.023111 | 0.98603 | -0.26869 | 0.9859 | -0.27129 | 6.3492
54 | 0.010997 | 0.0027569 | -0.010996 | -0.0027565 | 7.6568e-07 | 3.9554e-07 | 0.016598 | 0.016598 | 0.016598 | 0.9859 | -0.27129 | 0.98582 | -0.27275 | 4.56
55 | 0.010996 | 0.0027565 | -0.010995 | -0.0027556 | 1.8024e-06 | 9.3113e-07 | 0.016598 | 0.016598 | 0.016598 | 0.98582 | -0.27275 | 0.98564 | -0.27619 | 4.56
56 | 0.0066518 | 0.0016672 | -0.0066507 | -0.0016668 | 1.0421e-06 | 3.158e-07 | 0.010042 | 0.010042 | 0.010042 | 0.98564 | -0.27619 | 0.98548 | -0.27948 | 2.7589
57 | 0.0066507 | 0.0016668 | -0.0066503 | -0.0016667 | 4.3858e-07 | 1.3294e-07 | 0.010042 | 0.010042 | 0.010042 | 0.98548 | -0.27948 | 0.98541 | -0.28087 | 2.7589

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.28554 | 0.072265

## res_load
| p_mw | q_mvar
0 | 0.011444 | 0.0028681
1 | 0.0016408 | 0.00041122
2 | 0.0044567 | 0.0011169
3 | 0.0076815 | 0.0019252
4 | 0.0040977 | 0.001027
5 | 0.0037372 | 0.00093662
6 | 0.0066843 | 0.0016753
7 | 0.0034554 | 0.000866
8 | 0.004334 | 0.0010862
9 | 0.0046893 | 0.0011752
10 | 0.0066082 | 0.0016562
11 | 0.0034657 | 0.00086858
12 | 0.0064753 | 0.0016229
13 | 0.0045462 | 0.0011394
14 | 0.0046247 | 0.0011591
15 | 0.004503 | 0.0011286
16 | 0.0069694 | 0.0017467
17 | 0.0041931 | 0.0010509
18 | 0.0044387 | 0.0011125
19 | 0.009862 | 0.0024716
20 | 0.0046663 | 0.0011695
21 | 0.0073541 | 0.0018431
22 | 0.0047473 | 0.0011898
23 | 0.0092258 | 0.0023122
24 | 0.006456 | 0.001618
25 | 0.0086526 | 0.0021685
26 | 0.0051783 | 0.0012978
27 | 0.0057381 | 0.0014381
28 | 0.0066194 | 0.001659
29 | 0.0057399 | 0.0014385
30 | 0.0032834 | 0.00082289
31 | 0.0058449 | 0.0014649
32 | 0.0082685 | 0.0020723
33 | 0.0043895 | 0.0011001
34 | 0.0070099 | 0.0017568
35 | 0.0048158 | 0.001207
36 | 0.001619 | 0.00040576
37 | 0.010568 | 0.0026485
38 | 0.0089089 | 0.0022328
39 | 0.0034356 | 0.00086104
40 | 0.0040677 | 0.0010195
41 | 0.0011965 | 0.00029986
42 | 0.0034376 | 0.00086155
43 | 0.0018682 | 0.00046821
44 | 0.0053197 | 0.0013333
45 | 0.0093847 | 0.002352
46 | 0.0023722 | 0.00059452
47 | 0.0020371 | 0.00051056
48 | 0.005572 | 0.0013965
49 | 0.0043151 | 0.0010815
50 | 0.0043428 | 0.0010884
51 | 0.0066503 | 0.0016667

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1