## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1349-13_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1349-13_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1349-13_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1349-13_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1349-13_0_2_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_1349-13_0_2_node_45 | 0.4 | n |  | TRUE
6 | bus_LV_1349-13_0_2_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1349-13_0_2_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_1349-13_0_2_node_41 | 0.4 | n |  | TRUE
9 | bus_LV_1349-13_0_2_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_1349-13_0_2_node_39 | 0.4 | n |  | TRUE
11 | bus_LV_1349-13_0_2_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_1349-13_0_2_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_1349-13_0_2_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_1349-13_0_2_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_1349-13_0_2_node_43 | 0.4 | n |  | TRUE
16 | bus_LV_1349-13_0_2_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1349-13_0_2_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_1349-13_0_2_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_1349-13_0_2_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_1349-13_0_2_node_6 | 0.4 | n |  | TRUE
21 | bus_LV_1349-13_0_2_node_7 | 0.4 | n |  | TRUE
22 | bus_LV_1349-13_0_2_node_8 | 0.4 | n |  | TRUE
23 | bus_LV_1349-13_0_2_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_1349-13_0_2_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_1349-13_0_2_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_1349-13_0_2_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_1349-13_0_2_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_1349-13_0_2_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_1349-13_0_2_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_1349-13_0_2_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_1349-13_0_2_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_1349-13_0_2_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_1349-13_0_2_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_1349-13_0_2_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_1349-13_0_2_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_1349-13_0_2_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_1349-13_0_2_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_1349-13_0_2_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_1349-13_0_2_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_1349-13_0_2_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_1349-13_0_2_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_1349-13_0_2_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_1349-13_0_2_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_1349-13_0_2_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_1349-13_0_2_node_38 | 0.4 | n |  | TRUE
46 | bus_MV_19_0_node_133 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1349-13_0_2_load_0 | 0 | 0.0065985 | 0.0016537 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1349-13_0_2_load_1 | 1 | 0.020101 | 0.0050378 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1349-13_0_2_load_45 | 5 | 0.00075915 | 0.00019026 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1349-13_0_2_load_41 | 8 | 0.0015659 | 0.00039246 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1349-13_0_2_load_39 | 10 | 0.00084703 | 0.00021229 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1349-13_0_2_load_16 | 11 | 0.0059207 | 0.0014839 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1349-13_0_2_load_40 | 13 | 0.007071 | 0.0017722 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1349-13_0_2_load_42 | 14 | 0.0022825 | 0.00057206 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1349-13_0_2_load_43 | 15 | 0.0011367 | 0.00028488 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1349-13_0_2_load_9 | 16 | 0.00159 | 0.0003985 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1349-13_0_2_load_37 | 19 | 0.0027701 | 0.00069426 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1349-13_0_2_load_6 | 20 | 0.001137 | 0.00028496 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1349-13_0_2_load_7 | 21 | 0.001137 | 0.00028496 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1349-13_0_2_load_10 | 23 | 0.0016854 | 0.00042241 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1349-13_0_2_load_12 | 25 | 0.00064203 | 0.00016091 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1349-13_0_2_load_44 | 26 | 0.0019642 | 0.00049228 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1349-13_0_2_load_13 | 27 | 0.0038903 | 0.00097501 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1349-13_0_2_load_15 | 29 | 0.0015614 | 0.00039131 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1349-13_0_2_load_19 | 30 | 0.0018922 | 0.00047422 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1349-13_0_2_load_20 | 31 | 0.0054116 | 0.0013563 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1349-13_0_2_load_22 | 32 | 0.0075229 | 0.0018854 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1349-13_0_2_load_32 | 33 | 0.0010652 | 0.00026696 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1349-13_0_2_load_35 | 35 | 0.0011505 | 0.00028833 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1349-13_0_2_load_33 | 36 | 0.0012053 | 0.00030207 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1349-13_0_2_load_25 | 38 | 0.0022706 | 0.00056907 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1349-13_0_2_load_26 | 39 | 0.0042678 | 0.0010696 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1349-13_0_2_load_28 | 41 | 0.0043391 | 0.0010875 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1349-13_0_2_load_29 | 42 | 0.0027551 | 0.00069049 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1349-13_0_2_load_31 | 43 | 0.005256 | 0.0013173 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1349-13_0_2_load_36 | 44 | 0.00079413 | 0.00019903 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1349-13_0_2_load_38 | 45 | 0.0019786 | 0.00049588 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1349-13_0_2_line_0 |  | 0 | 1 | 0.031716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1349-13_0_2_line_1 |  | 0 | 2 | 0.077286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1349-13_0_2_line_2 |  | 2 | 3 | 0.1929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1349-13_0_2_line_3 |  | 3 | 8 | 0.054125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1349-13_0_2_line_4 |  | 3 | 4 | 0.26175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1349-13_0_2_line_5 |  | 4 | 5 | 0.005598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1349-13_0_2_line_6 |  | 4 | 6 | 0.10597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1349-13_0_2_line_7 |  | 4 | 7 | 0.1788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1349-13_0_2_line_8 |  | 6 | 9 | 0.038686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1349-13_0_2_line_9 |  | 6 | 10 | 0.026489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1349-13_0_2_line_10 |  | 7 | 11 | 0.05252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1349-13_0_2_line_11 |  | 8 | 16 | 0.0199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1349-13_0_2_line_12 |  | 9 | 17 | 0.12861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1349-13_0_2_line_13 |  | 9 | 13 | 0.043774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1349-13_0_2_line_14 |  | 9 | 18 | 0.13536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1349-13_0_2_line_15 |  | 10 | 19 | 0.026307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1349-13_0_2_line_16 |  | 12 | 13 | 0.018306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_1349-13_0_2_line_17 |  | 14 | 15 | 0.04392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1349-13_0_2_line_18 |  | 15 | 29 | 0.055543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1349-13_0_2_line_19 |  | 16 | 21 | 0.050703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1349-13_0_2_line_20 |  | 17 | 33 | 0.020131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1349-13_0_2_line_21 |  | 17 | 34 | 0.2396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1349-13_0_2_line_22 |  | 18 | 30 | 0.039305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1349-13_0_2_line_23 |  | 19 | 44 | 0.097868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1349-13_0_2_line_24 |  | 20 | 21 | 0.022832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1349-13_0_2_line_25 |  | 20 | 22 | 0.018552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1349-13_0_2_line_26 |  | 22 | 23 | 0.071605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1349-13_0_2_line_27 |  | 22 | 24 | 0.019195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1349-13_0_2_line_28 |  | 23 | 25 | 0.060883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1349-13_0_2_line_29 |  | 24 | 26 | 0.13455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1349-13_0_2_line_30 |  | 25 | 27 | 0.050956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1349-13_0_2_line_31 |  | 27 | 28 | 0.013478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1349-13_0_2_line_32 |  | 28 | 29 | 0.072648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1349-13_0_2_line_33 |  | 30 | 31 | 0.045864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1349-13_0_2_line_34 |  | 31 | 32 | 0.019133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1349-13_0_2_line_35 |  | 33 | 37 | 0.031455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1349-13_0_2_line_36 |  | 34 | 35 | 0.04216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1349-13_0_2_line_37 |  | 34 | 36 | 0.10739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1349-13_0_2_line_38 |  | 37 | 43 | 0.13545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1349-13_0_2_line_39 |  | 37 | 42 | 0.27361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1349-13_0_2_line_40 |  | 38 | 39 | 0.032977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1349-13_0_2_line_41 |  | 38 | 40 | 0.027356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1349-13_0_2_line_42 |  | 39 | 41 | 0.11524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1349-13_0_2_line_43 |  | 40 | 42 | 0.058743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1349-13_0_2_line_44 |  | 44 | 45 | 0.016048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1349-13_0_2_trafo_18 | 0.63 MVA 20/0.4 kV | 46 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2710509.4369 | 1228472.5669 | 2710512.0913 | 1228471.023 | 2710540.5848 | 1228468.0782
1 | 2710445.5287 | 1228450.4711 | 2710490.249 | 1228482.0256 | 2710496.1007 | 1228482.3902 | 2710501.2729 | 1228477.3157 | 2710509.4369 | 1228472.5669
2 | 2710314.6333 | 1228384.7034 | 2710313.4836 | 1228405.4089 | 2710312.6407 | 1228430.0009 | 2710313.096 | 1228436.9146 | 2710316.4639 | 1228444.5162 | 2710326.5308 | 1228452.1643 | 2710342.2336 | 1228454.246 | 2710373.3561 | 1228457.3257 | 2710394.0627 | 1228456.4537 | 2710429.3532 | 1228453.0283 | 2710445.5287 | 1228450.4711
3 | 2710314.6333 | 1228384.7034 | 2710317.4383 | 1228360.1589 | 2710322.6906 | 1228345.4563 | 2710330.4764 | 1228334.052
4 | 2710314.6333 | 1228384.7034 | 2710313.4836 | 1228405.4089 | 2710312.6407 | 1228430.0009 | 2710313.096 | 1228436.9146 | 2710316.4639 | 1228444.5162 | 2710326.5308 | 1228452.1643 | 2710337.4729 | 1228473.906 | 2710351.76 | 1228503.2489 | 2710394.664 | 1228584.8627 | 2710406.1399 | 1228605.9918 | 2710390.8909 | 1228607.2431
5 | 2710390.8909 | 1228607.2431 | 2710392.1691 | 1228612.6932
6 | 2710390.8909 | 1228607.2431 | 2710406.1399 | 1228605.9918 | 2710434.5429 | 1228658.3145 | 2710443.7739 | 1228678.2899 | 2710447.4306 | 1228686.6531
7 | 2710390.8909 | 1228607.2431 | 2710406.1399 | 1228605.9918 | 2710412.0223 | 1228605.5117 | 2710431.2168 | 1228602.3767 | 2710444.3587 | 1228600.3192 | 2710460.4641 | 1228589.2764 | 2710474.2695 | 1228571.9085 | 2710488.5464 | 1228555.2721 | 2710500.3941 | 1228543.75 | 2710514.0411 | 1228534.0962 | 2710523.4723 | 1228531.4805 | 2710532.1522 | 1228528.1059 | 2710536.772 | 1228520.5415
8 | 2710447.4306 | 1228686.6531 | 2710463.4641 | 1228721.8777
9 | 2710447.4306 | 1228686.6531 | 2710435.3108 | 1228701.8285 | 2710428.6687 | 1228704.2434
10 | 2710536.772 | 1228520.5415 | 2710523.6059 | 1228507.1756 | 2710507.087 | 1228493.9697 | 2710494.5895 | 1228495.6477
11 | 2710330.4764 | 1228334.052 | 2710341.6969 | 1228317.6169
12 | 2710462.3433 | 1228846.6187 | 2710467.2973 | 1228825.1276 | 2710472.7894 | 1228800.3774 | 2710475.5528 | 1228771.5734 | 2710475.7917 | 1228750.1615 | 2710469.2889 | 1228734.6845 | 2710463.4641 | 1228721.8777
13 | 2710463.4641 | 1228721.8777 | 2710498.8753 | 1228696.1441
14 | 2710463.4641 | 1228721.8777 | 2710469.2889 | 1228734.6845 | 2710475.7917 | 1228750.1615 | 2710481.8404 | 1228748.4726 | 2710496.0147 | 1228739.3734 | 2710510.1958 | 1228723.3913 | 2710518.888 | 1228719.3386 | 2710525.4394 | 1228721.5953 | 2710540.8735 | 1228725.4517 | 2710552.7113 | 1228728.7076 | 2710567.0968 | 1228733.9345
15 | 2710403.9448 | 1228713.2325 | 2710428.6687 | 1228704.2434
16 | 2710513.6838 | 1228685.3827 | 2710498.8753 | 1228696.1441
17 | 2710430.9268 | 1228316.4713 | 2710412.2193 | 1228322.7555 | 2710390.6658 | 1228333.7259
18 | 2710430.9268 | 1228316.4713 | 2710442.8023 | 1228312.4821 | 2710485.2282 | 1228305.3836
19 | 2710370.285 | 1228275.7425 | 2710341.6969 | 1228317.6169
20 | 2710462.3433 | 1228846.6187 | 2710462.0515 | 1228854.9752 | 2710467.0848 | 1228865.6143
21 | 2710259.3584 | 1228831.7413 | 2710266.2874 | 1228832.437 | 2710305.1983 | 1228844.512 | 2710344.5481 | 1228855.3946 | 2710372.0329 | 1228857.9509 | 2710398.2249 | 1228851.7767 | 2710418.2125 | 1228843.4413 | 2710437.8288 | 1228834.2874 | 2710462.1089 | 1228824.9756 | 2710467.2973 | 1228825.1276 | 2710462.3433 | 1228846.6187
22 | 2710567.0968 | 1228733.9345 | 2710599.0105 | 1228756.8779
23 | 2710348.5711 | 1228789.4711 | 2710350.5 | 1228787.4755 | 2710370.1431 | 1228740.5597 | 2710385.4834 | 1228722.942 | 2710402.8675 | 1228713.6242 | 2710403.9448 | 1228713.2325
24 | 2710379.2233 | 1228254.9574 | 2710378.3768 | 1228259.1791 | 2710373.659 | 1228270.8004 | 2710370.285 | 1228275.7425
25 | 2710382.8706 | 1228236.7676 | 2710379.2233 | 1228254.9574
26 | 2710382.8706 | 1228236.7676 | 2710425.8216 | 1228240.4565 | 2710433.4435 | 1228243.0555 | 2710451.8809 | 1228251.8851
27 | 2710382.8706 | 1228236.7676 | 2710383.5527 | 1228217.5879
28 | 2710451.8809 | 1228251.8851 | 2710460.7884 | 1228256.1509 | 2710486.9317 | 1228260.0838 | 2710511.4453 | 1228258.4316
29 | 2710383.5527 | 1228217.5879 | 2710332.8434 | 1228230.0678 | 2710323.1957 | 1228237.3834 | 2710302.9764 | 1228263.8286 | 2710282.446 | 1228294.7937
30 | 2710511.4453 | 1228258.4316 | 2710542.792 | 1228256.3187 | 2710546.8301 | 1228258.8512 | 2710550.3957 | 1228273.1856
31 | 2710553.6493 | 1228286.2655 | 2710550.3957 | 1228273.1856
32 | 2710553.6493 | 1228286.2655 | 2710545.9125 | 1228293.9276 | 2710497.8919 | 1228303.2647 | 2710485.2282 | 1228305.3836
33 | 2710599.0105 | 1228756.8779 | 2710606.5535 | 1228762.3008 | 2710621.752 | 1228795.5676
34 | 2710629.7026 | 1228812.9699 | 2710621.752 | 1228795.5676
35 | 2710480.5365 | 1228894.0483 | 2710467.0848 | 1228865.6143
36 | 2710259.3584 | 1228831.7413 | 2710230.4175 | 1228826.3675 | 2710218.6526 | 1228821.2234
37 | 2710259.3584 | 1228831.7413 | 2710222.9716 | 1228848.6465 | 2710204.3862 | 1228852.0825 | 2710156.0184 | 1228852.6434
38 | 2710524.7742 | 1228989.265 | 2710524.0875 | 1228978.9221 | 2710529.8082 | 1228961.037 | 2710532.273 | 1228942.1906 | 2710528.9897 | 1228923.1373 | 2710522.3651 | 1228900.786 | 2710518.1595 | 1228896.2822 | 2710513.7324 | 1228893.9093 | 2710505.4336 | 1228891.898 | 2710495.0124 | 1228891.9489 | 2710480.5365 | 1228894.0483
39 | 2710480.5365 | 1228894.0483 | 2710483.0857 | 1228911.0197 | 2710479.5071 | 1228923.3404 | 2710472.4088 | 1228932.9826 | 2710424.6605 | 1228968.7344 | 2710389.1215 | 1228988.5676 | 2710374.6664 | 1228996.094 | 2710361.9153 | 1229010.6241 | 2710347.3895 | 1229043.1905 | 2710336.0875 | 1229078.4522 | 2710331.2844 | 1229100.9282
40 | 2710346.172 | 1229156.1222 | 2710378.7389 | 1229150.9346
41 | 2710319.0083 | 1229158.3742 | 2710325.5634 | 1229158.7739 | 2710335.3639 | 1229157.8438 | 2710346.172 | 1229156.1222
42 | 2710378.7389 | 1229150.9346 | 2710386.0669 | 1229149.7673 | 2710403.9367 | 1229147.6863 | 2710419.4333 | 1229148.5301 | 2710492.9308 | 1229159.4547
43 | 2710319.0083 | 1229158.3742 | 2710331.2844 | 1229100.9282
44 | 2710337.4184 | 1228801.0098 | 2710348.5711 | 1228789.4711

## bus_geodata
| x | y | coords
0 | 2710509.4369 | 1228472.5669
1 | 2710540.5848 | 1228468.0782
2 | 2710445.5287 | 1228450.4711
3 | 2710314.6333 | 1228384.7034
4 | 2710390.8909 | 1228607.2431
5 | 2710392.1691 | 1228612.6932
6 | 2710447.4306 | 1228686.6531
7 | 2710536.772 | 1228520.5415
8 | 2710330.4764 | 1228334.052
9 | 2710463.4641 | 1228721.8777
10 | 2710428.6687 | 1228704.2434
11 | 2710494.5895 | 1228495.6477
12 | 2710513.6838 | 1228685.3827
13 | 2710498.8753 | 1228696.1441
14 | 2710390.6658 | 1228333.7259
15 | 2710430.9268 | 1228316.4713
16 | 2710341.6969 | 1228317.6169
17 | 2710462.3433 | 1228846.6187
18 | 2710567.0968 | 1228733.9345
19 | 2710403.9448 | 1228713.2325
20 | 2710379.2233 | 1228254.9574
21 | 2710370.285 | 1228275.7425
22 | 2710382.8706 | 1228236.7676
23 | 2710451.8809 | 1228251.8851
24 | 2710383.5527 | 1228217.5879
25 | 2710511.4453 | 1228258.4316
26 | 2710282.446 | 1228294.7937
27 | 2710550.3957 | 1228273.1856
28 | 2710553.6493 | 1228286.2655
29 | 2710485.2282 | 1228305.3836
30 | 2710599.0105 | 1228756.8779
31 | 2710621.752 | 1228795.5676
32 | 2710629.7026 | 1228812.9699
33 | 2710467.0848 | 1228865.6143
34 | 2710259.3584 | 1228831.7413
35 | 2710218.6526 | 1228821.2234
36 | 2710156.0184 | 1228852.6434
37 | 2710480.5365 | 1228894.0483
38 | 2710346.172 | 1229156.1222
39 | 2710378.7389 | 1229150.9346
40 | 2710319.0083 | 1229158.3742
41 | 2710492.9308 | 1229159.4547
42 | 2710331.2844 | 1229100.9282
43 | 2710524.7742 | 1228989.265
44 | 2710348.5711 | 1228789.4711
45 | 2710337.4184 | 1228801.0098
46 | 2710463.4641 | 1228721.8777

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97219 | -0.53576 | 0.0065985 | 0.0016537
1 | 0.9716 | -0.54752 | 0.020101 | 0.0050378
2 | 0.97412 | -0.49778 | 0 | 0
3 | 0.97892 | -0.40362 | 0 | 0
4 | 0.98998 | -0.19023 | 0 | 0
5 | 0.98997 | -0.1903 | 0.00075915 | 0.00019026
6 | 0.99511 | -0.092696 | 0 | 0
7 | 0.98901 | -0.20909 | 0 | 0
8 | 0.97799 | -0.42196 | 0.0015659 | 0.00039246
9 | 0.9972 | -0.053 | 0 | 0
10 | 0.99495 | -0.095678 | 0.00084703 | 0.00021229
11 | 0.98872 | -0.21463 | 0.0059207 | 0.0014839
12 | 1 | 0 | -0.10573 | -0.026628
13 | 0.99913 | -0.016395 | 0.007071 | 0.0017722
14 | 0.97404 | -0.49969 | 0.0022825 | 0.00057206
15 | 0.97413 | -0.49785 | 0.0011367 | 0.00028488
16 | 0.97767 | -0.42814 | 0.00159 | 0.0003985
17 | 0.99458 | -0.10351 | 0 | 0
18 | 0.99537 | -0.088254 | 0 | 0
19 | 0.99482 | -0.098248 | 0.0027701 | 0.00069426
20 | 0.97664 | -0.44841 | 0.001137 | 0.00028496
21 | 0.97695 | -0.44244 | 0.001137 | 0.00028496
22 | 0.97641 | -0.45288 | 0 | 0
23 | 0.97567 | -0.46757 | 0.0016854 | 0.00042241
24 | 0.97638 | -0.45357 | 0 | 0
25 | 0.97513 | -0.47819 | 0.00064203 | 0.00016091
26 | 0.97613 | -0.45841 | 0.0019642 | 0.00049228
27 | 0.97471 | -0.48648 | 0.0038903 | 0.00097501
28 | 0.97465 | -0.48771 | 0 | 0
29 | 0.97431 | -0.49436 | 0.0015614 | 0.00039131
30 | 0.99484 | -0.098514 | 0.0018922 | 0.00047422
31 | 0.9943 | -0.10897 | 0.0054116 | 0.0013563
32 | 0.99417 | -0.11151 | 0.0075229 | 0.0018854
33 | 0.99421 | -0.1106 | 0.0010652 | 0.00026696
34 | 0.99406 | -0.1135 | 0 | 0
35 | 0.99402 | -0.11435 | 0.0011505 | 0.00028833
36 | 0.99395 | -0.11579 | 0.0012053 | 0.00030207
37 | 0.99367 | -0.12109 | 0 | 0
38 | 0.98939 | -0.20389 | 0.0022706 | 0.00056907
39 | 0.98913 | -0.20895 | 0.0042678 | 0.0010696
40 | 0.98966 | -0.1986 | 0 | 0
41 | 0.98867 | -0.21787 | 0.0043391 | 0.0010875
42 | 0.99025 | -0.18722 | 0.0027551 | 0.00069049
43 | 0.99302 | -0.13367 | 0.005256 | 0.0013173
44 | 0.99457 | -0.10303 | 0.00079413 | 0.00019903
45 | 0.99454 | -0.10359 | 0.0019786 | 0.00049588
46 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.020112 | 0.0050446 | -0.020101 | -0.0050378 | 1.1272e-05 | 6.8209e-06 | 0.030785 | 0.030785 | 0.030785 | 0.97219 | -0.53576 | 0.9716 | -0.54752 | 8.4575
1 | -0.026711 | -0.0066984 | 0.026759 | 0.0067284 | 4.8445e-05 | 3.0044e-05 | 0.040885 | 0.040884 | 0.040885 | 0.97219 | -0.53576 | 0.97412 | -0.49778 | 11.232
2 | -0.026759 | -0.0067284 | 0.02688 | 0.0068034 | 0.00012091 | 7.4971e-05 | 0.040884 | 0.040883 | 0.040884 | 0.97412 | -0.49778 | 0.97892 | -0.40362 | 11.2319
3 | 0.018651 | 0.0046883 | -0.018634 | -0.0046786 | 1.6319e-05 | 9.7644e-06 | 0.028355 | 0.028355 | 0.028355 | 0.97892 | -0.40362 | 0.97799 | -0.42196 | 7.7899
4 | -0.045531 | -0.011492 | 0.046001 | 0.01179 | 0.00047056 | 0.00029783 | 0.069238 | 0.069237 | 0.069238 | 0.97892 | -0.40362 | 0.98998 | -0.19023 | 19.0215
5 | 0.00075916 | 0.00019019 | -0.00075915 | -0.00019026 | 2.7333e-09 | -7.0227e-08 | 0.001141 | 0.0011411 | 0.0011411 | 0.98998 | -0.19023 | 0.98997 | -0.1903 | 0.31348
6 | -0.052688 | -0.013465 | 0.052938 | 0.013624 | 0.00024981 | 0.00015851 | 0.079288 | 0.079287 | 0.079288 | 0.98998 | -0.19023 | 0.99511 | -0.092696 | 21.7823
7 | 0.0059276 | 0.0014853 | -0.0059223 | -0.0014842 | 5.3228e-06 | 1.11e-06 | 0.0089096 | 0.0089104 | 0.0089104 | 0.98998 | -0.19023 | 0.98901 | -0.20909 | 2.4479
8 | -0.05933 | -0.015224 | 0.059445 | 0.015297 | 0.00011451 | 7.2784e-05 | 0.088845 | 0.088845 | 0.088845 | 0.99511 | -0.092696 | 0.9972 | -0.053 | 24.408
9 | 0.0063921 | 0.0016007 | -0.0063912 | -0.0016005 | 9.0745e-07 | 2.367e-07 | 0.0095579 | 0.0095581 | 0.0095581 | 0.99511 | -0.092696 | 0.99495 | -0.095678 | 2.6258
10 | 0.0059223 | 0.0014842 | -0.0059207 | -0.0014839 | 1.5637e-06 | 3.2702e-07 | 0.0089104 | 0.0089106 | 0.0089106 | 0.98901 | -0.20909 | 0.98872 | -0.21463 | 2.448
11 | 0.017068 | 0.0042861 | -0.017063 | -0.0042831 | 5.0341e-06 | 2.9722e-06 | 0.025973 | 0.025973 | 0.025973 | 0.97799 | -0.42196 | 0.97767 | -0.42814 | 7.1354
12 | 0.02244 | 0.0056592 | -0.022386 | -0.0056262 | 5.4118e-05 | 3.2962e-05 | 0.033497 | 0.033498 | 0.033498 | 0.9972 | -0.053 | 0.99458 | -0.10351 | 9.2027
13 | -0.096751 | -0.024694 | 0.096923 | 0.024803 | 0.00017145 | 0.00010858 | 0.14453 | 0.14453 | 0.14453 | 0.9972 | -0.053 | 0.99913 | -0.016395 | 19.8529
14 | 0.014866 | 0.0037381 | -0.014841 | -0.0037239 | 2.4989e-05 | 1.423e-05 | 0.022188 | 0.022188 | 0.022188 | 0.9972 | -0.053 | 0.99537 | -0.088254 | 6.0957
15 | 0.0055442 | 0.0013882 | -0.0055435 | -0.0013881 | 6.782e-07 | 9.2435e-08 | 0.0082913 | 0.0082914 | 0.0082914 | 0.99495 | -0.095678 | 0.99482 | -0.098248 | 2.2779
16 | 0.10408 | 0.026627 | -0.10399 | -0.026575 | 8.2525e-05 | 5.2336e-05 | 0.15506 | 0.15506 | 0.15506 | 1 | 0 | 0.99913 | -0.016395 | 21.2994
17 | -0.0022825 | -0.00057206 | 0.0022827 | 0.00057164 | 2.0024e-07 | -4.1856e-07 | 0.003487 | 0.0034868 | 0.003487 | 0.97404 | -0.49969 | 0.97413 | -0.49785 | 0.95796
18 | -0.0034194 | -0.00085652 | 0.00342 | 0.00085619 | 5.682e-07 | -3.2796e-07 | 0.0052231 | 0.0052228 | 0.0052231 | 0.97413 | -0.49785 | 0.97431 | -0.49436 | 1.4349
19 | 0.015473 | 0.0038846 | -0.015463 | -0.0038785 | 1.0548e-05 | 6.1151e-06 | 0.023553 | 0.023553 | 0.023553 | 0.97767 | -0.42814 | 0.97695 | -0.44244 | 6.4706
20 | 0.020029 | 0.00504 | -0.020022 | -0.0050359 | 6.7821e-06 | 4.0794e-06 | 0.029973 | 0.029973 | 0.029973 | 0.99458 | -0.10351 | 0.99421 | -0.1106 | 8.2344
21 | 0.002357 | 0.00058619 | -0.0023559 | -0.00058858 | 1.1167e-06 | -2.3931e-06 | 0.0035248 | 0.0035259 | 0.0035259 | 0.99458 | -0.10351 | 0.99406 | -0.1135 | 0.96866
22 | 0.014841 | 0.0037239 | -0.014834 | -0.0037198 | 7.2565e-06 | 4.1336e-06 | 0.022188 | 0.022188 | 0.022188 | 0.99537 | -0.088254 | 0.99484 | -0.098514 | 6.0957
23 | 0.0027734 | 0.00069387 | -0.0027728 | -0.00069473 | 6.3151e-07 | -8.662e-07 | 0.0041479 | 0.0041484 | 0.0041484 | 0.99482 | -0.098248 | 0.99457 | -0.10303 | 1.1397
24 | -0.014322 | -0.0035912 | 0.014326 | 0.0035936 | 4.077e-06 | 2.3235e-06 | 0.021821 | 0.021821 | 0.021821 | 0.97664 | -0.44841 | 0.97695 | -0.44244 | 5.9949
25 | 0.013185 | 0.0033063 | -0.013182 | -0.0033047 | 2.8076e-06 | 1.5648e-06 | 0.020089 | 0.020089 | 0.020089 | 0.97664 | -0.44841 | 0.97641 | -0.45288 | 5.519
26 | 0.011217 | 0.002814 | -0.011209 | -0.0028099 | 7.8477e-06 | 4.1276e-06 | 0.017095 | 0.017096 | 0.017096 | 0.97641 | -0.45288 | 0.97567 | -0.46757 | 4.6967
27 | 0.0019648 | 0.00049069 | -0.0019647 | -0.00049089 | 6.4508e-08 | -1.9879e-07 | 0.0029936 | 0.0029937 | 0.0029937 | 0.97641 | -0.45288 | 0.97638 | -0.45357 | 0.82244
28 | 0.0095239 | 0.0023875 | -0.0095191 | -0.0023852 | 4.8171e-06 | 2.323e-06 | 0.014525 | 0.014526 | 0.014526 | 0.97567 | -0.46757 | 0.97513 | -0.47819 | 3.9906
29 | 0.0019647 | 0.00049089 | -0.0019642 | -0.00049228 | 4.5229e-07 | -1.3929e-06 | 0.0029937 | 0.0029943 | 0.0029943 | 0.97638 | -0.45357 | 0.97613 | -0.45841 | 0.8226
30 | 0.0088771 | 0.0022242 | -0.0088735 | -0.0022226 | 3.5063e-06 | 1.6086e-06 | 0.013546 | 0.013546 | 0.013546 | 0.97513 | -0.47819 | 0.97471 | -0.48648 | 3.7215
31 | 0.0049832 | 0.0012476 | -0.0049829 | -0.0012476 | 2.9249e-07 | 1.9206e-08 | 0.007607 | 0.0076071 | 0.0076071 | 0.97471 | -0.48648 | 0.97465 | -0.48771 | 2.0899
32 | 0.0049829 | 0.0012476 | -0.0049813 | -0.0012475 | 1.5766e-06 | 1.0394e-07 | 0.0076071 | 0.0076074 | 0.0076074 | 0.97465 | -0.48771 | 0.97431 | -0.49436 | 2.09
33 | 0.012942 | 0.0032456 | -0.012935 | -0.003242 | 6.4453e-06 | 3.5298e-06 | 0.019358 | 0.019358 | 0.019358 | 0.99484 | -0.098514 | 0.9943 | -0.10897 | 5.3183
34 | 0.0075238 | 0.0018857 | -0.0075229 | -0.0018854 | 9.0963e-07 | 3.3404e-07 | 0.01126 | 0.01126 | 0.01126 | 0.9943 | -0.10897 | 0.99417 | -0.11151 | 3.0934
35 | 0.018957 | 0.004769 | -0.018947 | -0.0047633 | 9.4999e-06 | 5.6723e-06 | 0.028379 | 0.028379 | 0.028379 | 0.99421 | -0.1106 | 0.99367 | -0.12109 | 7.7964
36 | 0.0011505 | 0.00028782 | -0.0011505 | -0.00028833 | 4.6887e-08 | -5.1653e-07 | 0.001722 | 0.0017222 | 0.0017222 | 0.99406 | -0.1135 | 0.99402 | -0.11435 | 0.47313
37 | 0.0012054 | 0.00030077 | -0.0012053 | -0.00030207 | 1.3109e-07 | -1.3082e-06 | 0.0018039 | 0.0018044 | 0.0018044 | 0.99406 | -0.1135 | 0.99395 | -0.11579 | 0.49572
38 | 0.0052591 | 0.0013175 | -0.005256 | -0.0013173 | 3.1506e-06 | 2.6294e-07 | 0.0078754 | 0.007876 | 0.007876 | 0.99367 | -0.12109 | 0.99302 | -0.13367 | 2.1637
39 | 0.013688 | 0.0034458 | -0.013645 | -0.0034217 | 4.3138e-05 | 2.4076e-05 | 0.020504 | 0.020505 | 0.020505 | 0.99367 | -0.12109 | 0.99025 | -0.18722 | 5.6332
40 | 0.0086108 | 0.0021577 | -0.0086088 | -0.0021568 | 2.074e-06 | 9.0399e-07 | 0.01295 | 0.012951 | 0.012951 | 0.98939 | -0.20389 | 0.98913 | -0.20895 | 3.5578
41 | -0.010881 | -0.0027268 | 0.010884 | 0.0027282 | 2.7475e-06 | 1.407e-06 | 0.016365 | 0.016365 | 0.016365 | 0.98939 | -0.20389 | 0.98966 | -0.1986 | 4.496
42 | 0.004341 | 0.0010872 | -0.0043391 | -0.0010875 | 1.8429e-06 | -2.9897e-07 | 0.0065302 | 0.0065307 | 0.0065307 | 0.98913 | -0.20895 | 0.98867 | -0.21787 | 1.7941
43 | -0.010884 | -0.0027282 | 0.01089 | 0.0027312 | 5.8996e-06 | 3.0205e-06 | 0.016365 | 0.016365 | 0.016365 | 0.98966 | -0.1986 | 0.99025 | -0.18722 | 4.4959
44 | 0.0019786 | 0.0004957 | -0.0019786 | -0.00049588 | 5.2736e-08 | -1.745e-07 | 0.0029602 | 0.0029603 | 0.0029603 | 0.99457 | -0.10303 | 0.99454 | -0.10359 | 0.81327

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.10573 | 0.026628

## res_load
| p_mw | q_mvar
0 | 0.0065985 | 0.0016537
1 | 0.020101 | 0.0050378
2 | 0.00075915 | 0.00019026
3 | 0.0015659 | 0.00039246
4 | 0.00084703 | 0.00021229
5 | 0.0059207 | 0.0014839
6 | 0.007071 | 0.0017722
7 | 0.0022825 | 0.00057206
8 | 0.0011367 | 0.00028488
9 | 0.00159 | 0.0003985
10 | 0.0027701 | 0.00069426
11 | 0.001137 | 0.00028496
12 | 0.001137 | 0.00028496
13 | 0.0016854 | 0.00042241
14 | 0.00064203 | 0.00016091
15 | 0.0019642 | 0.00049228
16 | 0.0038903 | 0.00097501
17 | 0.0015614 | 0.00039131
18 | 0.0018922 | 0.00047422
19 | 0.0054116 | 0.0013563
20 | 0.0075229 | 0.0018854
21 | 0.0010652 | 0.00026696
22 | 0.0011505 | 0.00028833
23 | 0.0012053 | 0.00030207
24 | 0.0022706 | 0.00056907
25 | 0.0042678 | 0.0010696
26 | 0.0043391 | 0.0010875
27 | 0.0027551 | 0.00069049
28 | 0.005256 | 0.0013173
29 | 0.00079413 | 0.00019903
30 | 0.0019786 | 0.00049588

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1