## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1362-16_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1362-16_0_2_node_15 | 0.4 | n |  | TRUE
2 | bus_LV_1362-16_0_2_node_40 | 0.4 | n |  | TRUE
3 | bus_LV_1362-16_0_2_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_1362-16_0_2_node_24 | 0.4 | n |  | TRUE
5 | bus_LV_1362-16_0_2_node_1 | 0.4 | n |  | TRUE
6 | bus_LV_1362-16_0_2_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_1362-16_0_2_node_35 | 0.4 | n |  | TRUE
8 | bus_LV_1362-16_0_2_node_39 | 0.4 | n |  | TRUE
9 | bus_LV_1362-16_0_2_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1362-16_0_2_node_2 | 0.4 | n |  | TRUE
11 | bus_LV_1362-16_0_2_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_1362-16_0_2_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_1362-16_0_2_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_1362-16_0_2_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1362-16_0_2_node_3 | 0.4 | n |  | TRUE
16 | bus_LV_1362-16_0_2_node_38 | 0.4 | n |  | TRUE
17 | bus_LV_1362-16_0_2_node_4 | 0.4 | n |  | TRUE
18 | bus_LV_1362-16_0_2_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_1362-16_0_2_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_1362-16_0_2_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1362-16_0_2_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_1362-16_0_2_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1362-16_0_2_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_1362-16_0_2_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1362-16_0_2_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_1362-16_0_2_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_1362-16_0_2_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_1362-16_0_2_node_8 | 0.4 | n |  | TRUE
29 | bus_LV_1362-16_0_2_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_1362-16_0_2_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_1362-16_0_2_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_1362-16_0_2_node_7 | 0.4 | n |  | TRUE
33 | bus_LV_1362-16_0_2_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_1362-16_0_2_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_1362-16_0_2_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_1362-16_0_2_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_1362-16_0_2_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_1362-16_0_2_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_1362-16_0_2_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_1362-16_0_2_node_11 | 0.4 | n |  | TRUE
41 | bus_MV_1_0_node_85 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1362-16_0_2_load_0 | 0 | 0.013852 | 0.0034717 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1362-16_0_2_load_15 | 1 | 0.018319 | 0.0045913 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1362-16_0_2_load_40 | 2 | 0.018285 | 0.0045826 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1362-16_0_2_load_14 | 3 | 0.013723 | 0.0034394 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1362-16_0_2_load_24 | 4 | 0.011641 | 0.0029176 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1362-16_0_2_load_1 | 5 | 0.0097386 | 0.0024407 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1362-16_0_2_load_31 | 6 | 0.0038645 | 0.00096853 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1362-16_0_2_load_35 | 7 | 0.01392 | 0.0034886 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1362-16_0_2_load_5 | 9 | 0.010537 | 0.0026408 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1362-16_0_2_load_2 | 10 | 0.0021193 | 0.00053115 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1362-16_0_2_load_6 | 13 | 0.0027895 | 0.00069912 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1362-16_0_2_load_10 | 14 | 0.0035804 | 0.00089733 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1362-16_0_2_load_3 | 15 | 0.0036888 | 0.00092451 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1362-16_0_2_load_38 | 16 | 0.0021302 | 0.00053388 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1362-16_0_2_load_4 | 17 | 0.00099623 | 0.00024968 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1362-16_0_2_load_33 | 19 | 0.0015354 | 0.0003848 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1362-16_0_2_load_12 | 20 | 0.00083576 | 0.00020946 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1362-16_0_2_load_13 | 22 | 0.00082685 | 0.00020723 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1362-16_0_2_load_22 | 23 | 0.017435 | 0.0043695 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1362-16_0_2_load_17 | 24 | 0.011075 | 0.0027757 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1362-16_0_2_load_37 | 25 | 0.0024557 | 0.00061545 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1362-16_0_2_load_23 | 26 | 0.0043468 | 0.0010894 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1362-16_0_2_load_32 | 27 | 0.0020337 | 0.0005097 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1362-16_0_2_load_18 | 29 | 0.0020368 | 0.00051046 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1362-16_0_2_load_20 | 30 | 0.0011793 | 0.00029555 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1362-16_0_2_load_30 | 31 | 0.0013211 | 0.00033111 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1362-16_0_2_load_7 | 32 | 0.00084121 | 0.00021083 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1362-16_0_2_load_36 | 34 | 0.017901 | 0.0044865 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1362-16_0_2_load_34 | 36 | 0.00082774 | 0.00020745 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1362-16_0_2_load_26 | 37 | 0.025556 | 0.0064049 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1362-16_0_2_load_28 | 38 | 0.011222 | 0.0028126 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1362-16_0_2_load_27 | 39 | 0.0030393 | 0.00076171 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1362-16_0_2_load_11 | 40 | 0.0028524 | 0.00071488 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1362-16_0_2_line_0 |  | 0 | 1 | 0.0036833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1362-16_0_2_line_1 |  | 0 | 2 | 0.037708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1362-16_0_2_line_2 |  | 1 | 3 | 0.014806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1362-16_0_2_line_3 |  | 2 | 4 | 0.0056678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1362-16_0_2_line_4 |  | 3 | 38 | 0.0074202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1362-16_0_2_line_5 |  | 4 | 9 | 0.011363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1362-16_0_2_line_6 |  | 5 | 6 | 0.0044888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1362-16_0_2_line_7 |  | 5 | 7 | 0.011274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1362-16_0_2_line_8 |  | 7 | 8 | 0.0724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1362-16_0_2_line_9 |  | 7 | 9 | 0.028969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1362-16_0_2_line_10 |  | 8 | 16 | 0.042321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1362-16_0_2_line_11 |  | 8 | 23 | 0.057053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1362-16_0_2_line_12 |  | 10 | 11 | 0.017734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1362-16_0_2_line_13 |  | 10 | 12 | 0.1362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1362-16_0_2_line_14 |  | 11 | 13 | 0.011861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1362-16_0_2_line_15 |  | 12 | 14 | 0.054301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1362-16_0_2_line_16 |  | 13 | 31 | 0.061625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1362-16_0_2_line_17 |  | 14 | 21 | 0.041874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1362-16_0_2_line_18 |  | 15 | 16 | 0.040821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1362-16_0_2_line_19 |  | 17 | 18 | 0.013914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1362-16_0_2_line_20 |  | 18 | 19 | 0.043359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1362-16_0_2_line_21 |  | 18 | 20 | 0.029407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1362-16_0_2_line_22 |  | 19 | 21 | 0.2295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1362-16_0_2_line_23 |  | 20 | 32 | 0.022614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1362-16_0_2_line_24 |  | 21 | 22 | 0.059707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1362-16_0_2_line_25 |  | 22 | 36 | 0.0057373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1362-16_0_2_line_26 |  | 23 | 24 | 0.016602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1362-16_0_2_line_27 |  | 25 | 26 | 0.00065902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1362-16_0_2_line_28 |  | 26 | 27 | 0.024406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1362-16_0_2_line_29 |  | 27 | 28 | 0.011296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1362-16_0_2_line_30 |  | 28 | 29 | 0.031107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1362-16_0_2_line_31 |  | 28 | 30 | 0.013268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1362-16_0_2_line_32 |  | 29 | 31 | 0.00071983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1362-16_0_2_line_33 |  | 32 | 33 | 0.012384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1362-16_0_2_line_34 |  | 33 | 34 | 0.05331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1362-16_0_2_line_35 |  | 33 | 35 | 0.025899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1362-16_0_2_line_36 |  | 35 | 40 | 0.012455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1362-16_0_2_line_37 |  | 36 | 39 | 0.0057403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1362-16_0_2_line_38 |  | 37 | 38 | 0.02081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1362-16_0_2_line_39 |  | 37 | 39 | 0.05647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1362-16_0_2_trafo_14 | 0.63 MVA 20/0.4 kV | 41 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2682790.5882 | 1213259.1082 | 2682787.7455 | 1213261.4502
1 | 2682756.9498 | 1213283.1247 | 2682778.5917 | 1213268.9918 | 2682787.7455 | 1213261.4502
2 | 2682790.5882 | 1213259.1082 | 2682802.0158 | 1213249.6932 | 2682802.0158 | 1213249.6932
3 | 2682752.2042 | 1213286.2237 | 2682756.9498 | 1213283.1247
4 | 2682802.0158 | 1213249.6932 | 2682806.4695 | 1213243.7582
5 | 2682752.2042 | 1213286.2237 | 2682742.6902 | 1213292.4367
6 | 2682705.2376 | 1213316.8945 | 2682708.996 | 1213314.4401
7 | 2682718.4351 | 1213308.276 | 2682708.996 | 1213314.4401
8 | 2682718.4351 | 1213308.276 | 2682765.33 | 1213363.4363
9 | 2682718.4351 | 1213308.276 | 2682742.6902 | 1213292.4367
10 | 2682765.33 | 1213363.4363 | 2682735.0206 | 1213384.5852 | 2682731.8841 | 1213388.935
11 | 2682765.33 | 1213363.4363 | 2682782.054 | 1213358.2984 | 2682794.4971 | 1213357.2593 | 2682797.4961 | 1213361.7705 | 2682790.8889 | 1213382.3923 | 2682790.8889 | 1213382.3923
12 | 2682720.1254 | 1213090.4305 | 2682735.1795 | 1213099.8039
13 | 2682870.6887 | 1213113.48 | 2682735.1795 | 1213099.8039
14 | 2682720.1254 | 1213090.4305 | 2682709.9009 | 1213096.442
15 | 2682870.6887 | 1213113.48 | 2682899.7621 | 1213139.8123 | 2682906.4251 | 1213150.1784 | 2682908.1849 | 1213152.2946
16 | 2682709.9009 | 1213096.442 | 2682656.7772 | 1213127.6762
17 | 2682934.2936 | 1213185.0109 | 2682930.7323 | 1213181.0588 | 2682924.1651 | 1213172.5508 | 2682914.3757 | 1213159.7396 | 2682908.1849 | 1213152.2946
18 | 2682731.8841 | 1213388.935 | 2682725.7175 | 1213397.4868 | 2682721.4854 | 1213406.2895 | 2682716.4119 | 1213419.3388 | 2682714.6424 | 1213425.6037
19 | 2683146.0057 | 1213303.7807 | 2683147.8753 | 1213309.7218 | 2683151.5287 | 1213316.4834
20 | 2683113.2103 | 1213328.7511 | 2683127.1137 | 1213311.2667 | 2683131.8549 | 1213306.8632 | 2683135.7541 | 1213305.0942 | 2683140.817 | 1213304.3198 | 2683146.0057 | 1213303.7807
21 | 2683146.0057 | 1213303.7807 | 2683155.8828 | 1213293.3782 | 2683162.2227 | 1213286.0173 | 2683165.7295 | 1213281.9806
22 | 2682934.2936 | 1213185.0109 | 2683113.2103 | 1213328.7511
23 | 2683165.7295 | 1213281.9806 | 2683172.9397 | 1213273.6809 | 2683177.5693 | 1213269.6539 | 2683180.5301 | 1213267.0824 | 2683181.7465 | 1213266.1017
24 | 2682934.2936 | 1213185.0109 | 2682883.2817 | 1213210.9744 | 2682881.8565 | 1213212.9895
25 | 2682881.8565 | 1213212.9895 | 2682878.5436 | 1213217.6737
26 | 2682803.3706 | 1213393.3394 | 2682790.8889 | 1213382.3923
27 | 2682610.4723 | 1213112.7252 | 2682610.8142 | 1213113.2885
28 | 2682610.8142 | 1213113.2885 | 2682623.4794 | 1213134.1508
29 | 2682629.3415 | 1213143.8071 | 2682623.4794 | 1213134.1508
30 | 2682629.3415 | 1213143.8071 | 2682656.1567 | 1213128.041
31 | 2682629.3415 | 1213143.8071 | 2682617.5561 | 1213149.9006
32 | 2682656.1567 | 1213128.041 | 2682656.7772 | 1213127.6762
33 | 2683191.3871 | 1213258.3281 | 2683181.7465 | 1213266.1017
34 | 2683162.6311 | 1213213.7312 | 2683173.859 | 1213230.6655 | 2683181.4192 | 1213243.6573 | 2683185.2018 | 1213251.8821 | 2683188.0346 | 1213255.2126 | 2683191.3871 | 1213258.3281
35 | 2683191.3871 | 1213258.3281 | 2683194.8098 | 1213255.8631 | 2683207.2128 | 1213246.2965 | 2683212.9679 | 1213244.3756
36 | 2683212.9679 | 1213244.3756 | 2683217.7461 | 1213252.025 | 2683220.0351 | 1213254.5876
37 | 2682878.5436 | 1213217.6737 | 2682875.229 | 1213222.3603
38 | 2682818.9598 | 1213227.1137 | 2682806.4695 | 1213243.7582
39 | 2682818.9598 | 1213227.1137 | 2682875.229 | 1213222.3603

## bus_geodata
| x | y | coords
0 | 2682787.7455 | 1213261.4502
1 | 2682790.5882 | 1213259.1082
2 | 2682756.9498 | 1213283.1247
3 | 2682802.0158 | 1213249.6932
4 | 2682752.2042 | 1213286.2237
5 | 2682708.996 | 1213314.4401
6 | 2682705.2376 | 1213316.8945
7 | 2682718.4351 | 1213308.276
8 | 2682765.33 | 1213363.4363
9 | 2682742.6902 | 1213292.4367
10 | 2682735.1795 | 1213099.8039
11 | 2682720.1254 | 1213090.4305
12 | 2682870.6887 | 1213113.48
13 | 2682709.9009 | 1213096.442
14 | 2682908.1849 | 1213152.2946
15 | 2682714.6424 | 1213425.6037
16 | 2682731.8841 | 1213388.935
17 | 2683151.5287 | 1213316.4834
18 | 2683146.0057 | 1213303.7807
19 | 2683113.2103 | 1213328.7511
20 | 2683165.7295 | 1213281.9806
21 | 2682934.2936 | 1213185.0109
22 | 2682881.8565 | 1213212.9895
23 | 2682790.8889 | 1213382.3923
24 | 2682803.3706 | 1213393.3394
25 | 2682610.4723 | 1213112.7252
26 | 2682610.8142 | 1213113.2885
27 | 2682623.4794 | 1213134.1508
28 | 2682629.3415 | 1213143.8071
29 | 2682656.1567 | 1213128.041
30 | 2682617.5561 | 1213149.9006
31 | 2682656.7772 | 1213127.6762
32 | 2683181.7465 | 1213266.1017
33 | 2683191.3871 | 1213258.3281
34 | 2683162.6311 | 1213213.7312
35 | 2683212.9679 | 1213244.3756
36 | 2682878.5436 | 1213217.6737
37 | 2682818.9598 | 1213227.1137
38 | 2682806.4695 | 1213243.7582
39 | 2682875.229 | 1213222.3603
40 | 2683220.0351 | 1213254.5876
41 | 2682818.9598 | 1213227.1137

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99779 | -0.042261 | 0.013852 | 0.0034717
1 | 0.99818 | -0.034773 | 0.018319 | 0.0045913
2 | 0.99426 | -0.11005 | 0.018285 | 0.0045826
3 | 1 | 0 | -0.22602 | -0.056834
4 | 0.99382 | -0.11845 | 0.011641 | 0.0029176
5 | 0.99129 | -0.16742 | 0.0097386 | 0.0024407
6 | 0.99127 | -0.16773 | 0.0038645 | 0.00096853
7 | 0.99143 | -0.1647 | 0.01392 | 0.0034886
8 | 0.98914 | -0.20889 | 0 | 0
9 | 0.99307 | -0.13298 | 0.010537 | 0.0026408
10 | 0.98813 | -0.22791 | 0.0021193 | 0.00053115
11 | 0.98787 | -0.23303 | 0 | 0
12 | 0.99042 | -0.18354 | 0 | 0
13 | 0.98769 | -0.23645 | 0.0027895 | 0.00069912
14 | 0.99133 | -0.16591 | 0.0035804 | 0.00089733
15 | 0.98878 | -0.21596 | 0.0036888 | 0.00092451
16 | 0.98892 | -0.21328 | 0.0021302 | 0.00053388
17 | 0.98595 | -0.27015 | 0.00099623 | 0.00024968
18 | 0.98596 | -0.2699 | 0 | 0
19 | 0.9869 | -0.2517 | 0.0015354 | 0.0003848
20 | 0.98535 | -0.28173 | 0.00083576 | 0.00020946
21 | 0.99217 | -0.14968 | 0 | 0
22 | 0.99475 | -0.10028 | 0.00082685 | 0.00020723
23 | 0.98765 | -0.23791 | 0.017435 | 0.0043695
24 | 0.98748 | -0.24119 | 0.011075 | 0.0027757
25 | 0.9864 | -0.26172 | 0.0024557 | 0.00061545
26 | 0.9864 | -0.26169 | 0.0043468 | 0.0010894
27 | 0.98655 | -0.25871 | 0.0020337 | 0.0005097
28 | 0.98664 | -0.25693 | 0 | 0
29 | 0.98693 | -0.25135 | 0.0020368 | 0.00051046
30 | 0.98663 | -0.25721 | 0.0011793 | 0.00029555
31 | 0.98694 | -0.25119 | 0.0013211 | 0.00033111
32 | 0.9849 | -0.29051 | 0.00084121 | 0.00021083
33 | 0.98466 | -0.29513 | 0 | 0
34 | 0.98379 | -0.3123 | 0.017901 | 0.0044865
35 | 0.9846 | -0.29645 | 0 | 0
36 | 0.995 | -0.095458 | 0.00082774 | 0.00020745
37 | 0.99793 | -0.039472 | 0.025556 | 0.0064049
38 | 0.9994 | -0.011431 | 0.011222 | 0.0028126
39 | 0.99526 | -0.090557 | 0.0030393 | 0.00076171
40 | 0.98456 | -0.29709 | 0.0028524 | 0.00071488
41 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.1168 | -0.029513 | 0.11684 | 0.02954 | 4.1946e-05 | 2.6797e-05 | 0.17426 | 0.17426 | 0.17426 | 0.99779 | -0.042261 | 0.99818 | -0.034773 | 47.875
1 | 0.10294 | 0.026041 | -0.10261 | -0.025828 | 0.00033365 | 0.00021304 | 0.15361 | 0.15361 | 0.15361 | 0.99779 | -0.042261 | 0.99426 | -0.11005 | 42.1998
2 | -0.13516 | -0.034131 | 0.13538 | 0.034275 | 0.00022561 | 0.00014419 | 0.20157 | 0.20157 | 0.20157 | 0.99818 | -0.034773 | 1 | 0 | 55.3775
3 | 0.084326 | 0.021245 | -0.084292 | -0.021224 | 3.3873e-05 | 2.1605e-05 | 0.12624 | 0.12624 | 0.12624 | 0.99426 | -0.11005 | 0.99382 | -0.11845 | 34.6819
4 | 0.088989 | 0.022559 | -0.08894 | -0.022528 | 4.8857e-05 | 3.1171e-05 | 0.13251 | 0.13251 | 0.13251 | 1 | 0 | 0.9994 | -0.011431 | 36.4032
5 | 0.072651 | 0.018306 | -0.0726 | -0.018274 | 5.0452e-05 | 3.2142e-05 | 0.10881 | 0.10881 | 0.10881 | 0.99382 | -0.11845 | 0.99307 | -0.13298 | 29.8934
6 | 0.0038646 | 0.00096851 | -0.0038645 | -0.00096853 | 5.6647e-08 | -2.1613e-08 | 0.0058011 | 0.0058011 | 0.0058011 | 0.99129 | -0.16742 | 0.99127 | -0.16773 | 1.5937
7 | -0.013603 | -0.0034092 | 0.013605 | 0.0034102 | 1.7628e-06 | 9.828e-07 | 0.02042 | 0.02042 | 0.02042 | 0.99129 | -0.16742 | 0.99143 | -0.1647 | 5.6098
8 | 0.034444 | 0.0086746 | -0.034372 | -0.008629 | 7.2603e-05 | 4.5534e-05 | 0.051712 | 0.051712 | 0.051712 | 0.99143 | -0.1647 | 0.98914 | -0.20889 | 14.2066
9 | -0.061969 | -0.015573 | 0.062063 | 0.015633 | 9.4004e-05 | 5.9788e-05 | 0.093023 | 0.093023 | 0.093023 | 0.99143 | -0.1647 | 0.99307 | -0.13298 | 25.5559
10 | 0.0058208 | 0.0014584 | -0.0058195 | -0.0014582 | 1.2169e-06 | 2.3567e-07 | 0.0087563 | 0.0087565 | 0.0087565 | 0.98914 | -0.20889 | 0.98892 | -0.21328 | 2.4056
11 | 0.028551 | 0.0071706 | -0.028511 | -0.0071461 | 3.9478e-05 | 2.4535e-05 | 0.042956 | 0.042956 | 0.042956 | 0.98914 | -0.20889 | 0.98765 | -0.23791 | 11.8011
12 | 0.016183 | 0.0040617 | -0.016179 | -0.0040594 | 3.9503e-06 | 2.3011e-06 | 0.024372 | 0.024372 | 0.024372 | 0.98813 | -0.22791 | 0.98787 | -0.23303 | 6.6957
13 | -0.018303 | -0.0045929 | 0.018342 | 0.0046159 | 3.8803e-05 | 2.3085e-05 | 0.027564 | 0.027563 | 0.027564 | 0.98813 | -0.22791 | 0.99042 | -0.18354 | 7.5725
14 | 0.016179 | 0.0040594 | -0.016177 | -0.0040579 | 2.6421e-06 | 1.5391e-06 | 0.024372 | 0.024372 | 0.024372 | 0.98787 | -0.23303 | 0.98769 | -0.23645 | 6.6957
15 | -0.018342 | -0.0046159 | 0.018357 | 0.0046251 | 1.547e-05 | 9.2014e-06 | 0.027563 | 0.027563 | 0.027563 | 0.99042 | -0.18354 | 0.99133 | -0.16591 | 7.5723
16 | 0.013387 | 0.0033588 | -0.013378 | -0.0033535 | 9.4017e-06 | 5.229e-06 | 0.02017 | 0.02017 | 0.02017 | 0.98769 | -0.23645 | 0.98694 | -0.25119 | 5.5413
17 | -0.021937 | -0.0055225 | 0.021954 | 0.0055328 | 1.7035e-05 | 1.0362e-05 | 0.032937 | 0.032937 | 0.032937 | 0.99133 | -0.16591 | 0.99217 | -0.14968 | 9.0487
18 | -0.0036888 | -0.00092451 | 0.0036893 | 0.00092429 | 4.7174e-07 | -2.2176e-07 | 0.0055513 | 0.0055512 | 0.0055513 | 0.98878 | -0.21596 | 0.98892 | -0.21328 | 1.5251
19 | -0.00099623 | -0.00024968 | 0.00099624 | 0.00024951 | 1.1795e-08 | -1.699e-07 | 0.0015035 | 0.0015035 | 0.0015035 | 0.98595 | -0.27015 | 0.98596 | -0.2699 | 0.41306
20 | -0.023468 | -0.0058955 | 0.023488 | 0.005908 | 2.0402e-05 | 1.2504e-05 | 0.035423 | 0.035423 | 0.035423 | 0.98596 | -0.2699 | 0.9869 | -0.2517 | 9.7316
21 | 0.022472 | 0.005646 | -0.022459 | -0.0056383 | 1.2688e-05 | 7.7452e-06 | 0.03392 | 0.03392 | 0.03392 | 0.98596 | -0.2699 | 0.98535 | -0.28173 | 9.3186
22 | -0.025024 | -0.0062928 | 0.025146 | 0.0063683 | 0.00012256 | 7.5493e-05 | 0.037738 | 0.037737 | 0.037738 | 0.9869 | -0.2517 | 0.99217 | -0.14968 | 10.3675
23 | 0.021623 | 0.0054288 | -0.021614 | -0.0054233 | 9.0445e-06 | 5.5005e-06 | 0.032658 | 0.032658 | 0.032658 | 0.98535 | -0.28173 | 0.9849 | -0.29051 | 8.9719
24 | -0.047101 | -0.011901 | 0.047213 | 0.011972 | 0.00011183 | 7.0801e-05 | 0.070674 | 0.070673 | 0.070674 | 0.99217 | -0.14968 | 0.99475 | -0.10028 | 19.4159
25 | -0.048039 | -0.012179 | 0.048051 | 0.012186 | 1.1125e-05 | 7.0458e-06 | 0.07191 | 0.07191 | 0.07191 | 0.99475 | -0.10028 | 0.995 | -0.095458 | 19.7556
26 | 0.011077 | 0.0027766 | -0.011075 | -0.0027757 | 1.734e-06 | 8.9733e-07 | 0.016689 | 0.016689 | 0.016689 | 0.98765 | -0.23791 | 0.98748 | -0.24119 | 4.5848
27 | -0.0024557 | -0.00061545 | 0.0024557 | 0.00061544 | 3.3916e-09 | -6.2417e-09 | 0.0037045 | 0.0037045 | 0.0037045 | 0.9864 | -0.26172 | 0.9864 | -0.26169 | 1.0177
28 | -0.0068025 | -0.0017049 | 0.0068035 | 0.0017052 | 9.6375e-07 | 3.0522e-07 | 0.010262 | 0.010262 | 0.010262 | 0.9864 | -0.26169 | 0.98655 | -0.25871 | 2.8192
29 | -0.0088372 | -0.0022149 | 0.0088379 | 0.0022152 | 7.5262e-07 | 3.3742e-07 | 0.013329 | 0.013329 | 0.013329 | 0.98655 | -0.25871 | 0.98664 | -0.25693 | 3.6619
30 | -0.010017 | -0.0025106 | 0.01002 | 0.0025119 | 2.6624e-06 | 1.3065e-06 | 0.015108 | 0.015107 | 0.015108 | 0.98664 | -0.25693 | 0.98693 | -0.25135 | 4.1504
31 | 0.0011793 | 0.00029539 | -0.0011793 | -0.00029555 | 1.5738e-08 | -1.5937e-07 | 0.0017785 | 0.0017786 | 0.0017786 | 0.98664 | -0.25693 | 0.98663 | -0.25721 | 0.48861
32 | -0.012057 | -0.0030224 | 0.012057 | 0.0030224 | 8.9201e-08 | 4.789e-08 | 0.018178 | 0.018178 | 0.018178 | 0.98693 | -0.25135 | 0.98694 | -0.25119 | 4.994
33 | 0.020773 | 0.0052125 | -0.020769 | -0.0052097 | 4.575e-06 | 2.7705e-06 | 0.031387 | 0.031387 | 0.031387 | 0.9849 | -0.29051 | 0.98466 | -0.29513 | 8.6228
34 | 0.017916 | 0.0044952 | -0.017901 | -0.0044865 | 1.4656e-05 | 8.7023e-06 | 0.027076 | 0.027076 | 0.027076 | 0.98466 | -0.29513 | 0.98379 | -0.3123 | 7.4385
35 | 0.0028527 | 0.00071456 | -0.0028525 | -0.00071478 | 1.8048e-07 | -2.139e-07 | 0.0043108 | 0.0043109 | 0.0043109 | 0.98466 | -0.29513 | 0.9846 | -0.29645 | 1.1843
36 | 0.0028525 | 0.00071478 | -0.0028524 | -0.00071488 | 8.6802e-08 | -1.0285e-07 | 0.0043109 | 0.004311 | 0.004311 | 0.9846 | -0.29645 | 0.98456 | -0.29709 | 1.1843
37 | -0.048878 | -0.012394 | 0.04889 | 0.012401 | 1.1518e-05 | 7.2969e-06 | 0.073148 | 0.073148 | 0.073148 | 0.995 | -0.095458 | 0.99526 | -0.090557 | 20.0957
38 | -0.077613 | -0.019649 | 0.077718 | 0.019715 | 0.00010464 | 6.6698e-05 | 0.1158 | 0.1158 | 0.1158 | 0.99793 | -0.039472 | 0.9994 | -0.011431 | 31.8128
39 | 0.052057 | 0.013244 | -0.051929 | -0.013163 | 0.00012782 | 8.1069e-05 | 0.077692 | 0.077692 | 0.077692 | 0.99793 | -0.039472 | 0.99526 | -0.090557 | 21.344

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.23975 | 0.060274

## res_load
| p_mw | q_mvar
0 | 0.013852 | 0.0034717
1 | 0.018319 | 0.0045913
2 | 0.018285 | 0.0045826
3 | 0.013723 | 0.0034394
4 | 0.011641 | 0.0029176
5 | 0.0097386 | 0.0024407
6 | 0.0038645 | 0.00096853
7 | 0.01392 | 0.0034886
8 | 0.010537 | 0.0026408
9 | 0.0021193 | 0.00053115
10 | 0.0027895 | 0.00069912
11 | 0.0035804 | 0.00089733
12 | 0.0036888 | 0.00092451
13 | 0.0021302 | 0.00053388
14 | 0.00099623 | 0.00024968
15 | 0.0015354 | 0.0003848
16 | 0.00083576 | 0.00020946
17 | 0.00082685 | 0.00020723
18 | 0.017435 | 0.0043695
19 | 0.011075 | 0.0027757
20 | 0.0024557 | 0.00061545
21 | 0.0043468 | 0.0010894
22 | 0.0020337 | 0.0005097
23 | 0.0020368 | 0.00051046
24 | 0.0011793 | 0.00029555
25 | 0.0013211 | 0.00033111
26 | 0.00084121 | 0.00021083
27 | 0.017901 | 0.0044865
28 | 0.00082774 | 0.00020745
29 | 0.025556 | 0.0064049
30 | 0.011222 | 0.0028126
31 | 0.0030393 | 0.00076171
32 | 0.0028524 | 0.00071488

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1