## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1362-20_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1362-20_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1362-20_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1362-20_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1362-20_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1362-20_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1362-20_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1362-20_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1362-20_0_4_node_62 | 0.4 | n |  | TRUE
9 | bus_LV_1362-20_0_4_node_65 | 0.4 | n |  | TRUE
10 | bus_LV_1362-20_0_4_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_1362-20_0_4_node_64 | 0.4 | n |  | TRUE
12 | bus_LV_1362-20_0_4_node_60 | 0.4 | n |  | TRUE
13 | bus_LV_1362-20_0_4_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_1362-20_0_4_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_1362-20_0_4_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_1362-20_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1362-20_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1362-20_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_1362-20_0_4_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_1362-20_0_4_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_1362-20_0_4_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_1362-20_0_4_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_1362-20_0_4_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_1362-20_0_4_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_1362-20_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_1362-20_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1362-20_0_4_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_1362-20_0_4_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_1362-20_0_4_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_1362-20_0_4_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_1362-20_0_4_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_1362-20_0_4_node_63 | 0.4 | n |  | TRUE
33 | bus_LV_1362-20_0_4_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_1362-20_0_4_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_1362-20_0_4_node_61 | 0.4 | n |  | TRUE
36 | bus_LV_1362-20_0_4_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_1362-20_0_4_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_1362-20_0_4_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_1362-20_0_4_node_37 | 0.4 | n |  | TRUE
40 | bus_MV_1_0_node_174 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1362-20_0_4_load_0 | 0 | 0.01434 | 0.0035939 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1362-20_0_4_load_4 | 4 | 0.020334 | 0.0050961 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1362-20_0_4_load_5 | 5 | 0.013934 | 0.0034923 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1362-20_0_4_load_6 | 6 | 0.0013752 | 0.00034466 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1362-20_0_4_load_7 | 7 | 0.0050503 | 0.0012657 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1362-20_0_4_load_65 | 9 | 0.01908 | 0.0047819 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1362-20_0_4_load_14 | 10 | 0.0023469 | 0.00058819 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1362-20_0_4_load_64 | 11 | 0.017472 | 0.004379 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1362-20_0_4_load_60 | 12 | 0.0025385 | 0.00063622 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1362-20_0_4_load_30 | 13 | 0.0024863 | 0.00062313 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1362-20_0_4_load_31 | 14 | 0.0023795 | 0.00059635 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1362-20_0_4_load_9 | 16 | 0.0016521 | 0.00041405 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1362-20_0_4_load_11 | 17 | 0.00075746 | 0.00018984 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1362-20_0_4_load_25 | 21 | 0.0036705 | 0.00091991 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1362-20_0_4_load_24 | 22 | 0.0020324 | 0.00050936 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1362-20_0_4_load_27 | 24 | 0.0018225 | 0.00045676 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1362-20_0_4_load_17 | 25 | 0.011077 | 0.0027761 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1362-20_0_4_load_22 | 27 | 0.0028213 | 0.0007071 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1362-20_0_4_load_28 | 28 | 0.010736 | 0.0026906 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1362-20_0_4_load_63 | 32 | 0.002433 | 0.00060977 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1362-20_0_4_load_29 | 33 | 0.0020339 | 0.00050974 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1362-20_0_4_load_36 | 34 | 0.0037131 | 0.00093058 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1362-20_0_4_load_61 | 35 | 0.0019916 | 0.00049914 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1362-20_0_4_load_33 | 36 | 0.010946 | 0.0027434 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1362-20_0_4_load_34 | 37 | 0.010787 | 0.0027034 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1362-20_0_4_load_35 | 38 | 0.0020929 | 0.00052454 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1362-20_0_4_load_37 | 39 | 0.011059 | 0.0027716 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1362-20_0_4_line_0 |  | 0 | 1 | 0.032053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1362-20_0_4_line_1 |  | 0 | 2 | 0.025244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1362-20_0_4_line_2 |  | 1 | 3 | 0.009288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1362-20_0_4_line_3 |  | 1 | 4 | 0.048645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1362-20_0_4_line_4 |  | 1 | 5 | 0.03076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1362-20_0_4_line_5 |  | 2 | 6 | 0.013945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1362-20_0_4_line_6 |  | 2 | 7 | 0.019673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1362-20_0_4_line_7 |  | 3 | 8 | 0.030026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1362-20_0_4_line_8 |  | 3 | 9 | 0.023934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1362-20_0_4_line_9 |  | 6 | 10 | 0.018225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1362-20_0_4_line_10 |  | 8 | 11 | 0.017786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1362-20_0_4_line_11 |  | 8 | 12 | 0.032972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1362-20_0_4_line_12 |  | 10 | 15 | 0.012647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1362-20_0_4_line_13 |  | 12 | 35 | 0.022837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1362-20_0_4_line_14 |  | 13 | 14 | 0.010581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1362-20_0_4_line_15 |  | 14 | 29 | 0.02772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1362-20_0_4_line_16 |  | 15 | 19 | 0.016039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1362-20_0_4_line_17 |  | 15 | 18 | 0.032743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1362-20_0_4_line_18 |  | 16 | 17 | 0.025805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1362-20_0_4_line_19 |  | 17 | 18 | 0.03685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1362-20_0_4_line_20 |  | 19 | 25 | 0.0088635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1362-20_0_4_line_21 |  | 19 | 23 | 0.010998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1362-20_0_4_line_22 |  | 20 | 21 | 0.027521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1362-20_0_4_line_23 |  | 20 | 22 | 0.020607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1362-20_0_4_line_24 |  | 22 | 27 | 0.0047169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1362-20_0_4_line_25 |  | 23 | 24 | 0.01452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1362-20_0_4_line_26 |  | 24 | 28 | 0.035407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1362-20_0_4_line_27 |  | 25 | 26 | 0.023746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1362-20_0_4_line_28 |  | 26 | 27 | 0.029444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1362-20_0_4_line_29 |  | 28 | 33 | 0.035498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1362-20_0_4_line_30 |  | 29 | 30 | 0.044433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1362-20_0_4_line_31 |  | 30 | 31 | 0.039284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1362-20_0_4_line_32 |  | 30 | 32 | 0.022293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1362-20_0_4_line_33 |  | 31 | 34 | 0.036298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1362-20_0_4_line_34 |  | 32 | 35 | 0.039283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1362-20_0_4_line_35 |  | 34 | 37 | 0.033169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1362-20_0_4_line_36 |  | 36 | 37 | 0.026958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1362-20_0_4_line_37 |  | 36 | 38 | 0.019414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1362-20_0_4_line_38 |  | 38 | 39 | 0.0075869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1362-20_0_4_trafo_1 | 0.63 MVA 20/0.4 kV | 40 | 1 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2683284.6103 | 1212364.9772 | 2683266.6826 | 1212338.4065
1 | 2683252.6012 | 1212317.4548 | 2683253.5604 | 1212318.9581 | 2683266.6826 | 1212338.4065
2 | 2683284.6103 | 1212364.9772 | 2683289.883 | 1212372.6336
3 | 2683284.6103 | 1212364.9772 | 2683290.2115 | 1212358.907 | 2683322.4006 | 1212334.5169
4 | 2683284.6103 | 1212364.9772 | 2683260.1778 | 1212383.665
5 | 2683252.6012 | 1212317.4548 | 2683245.086 | 1212305.7079
6 | 2683252.6012 | 1212317.4548 | 2683243.9194 | 1212327.5736 | 2683247.5388 | 1212332.7793
7 | 2683306.9219 | 1212397.3877 | 2683302.074 | 1212390.3376 | 2683289.883 | 1212372.6336
8 | 2683289.883 | 1212372.6336 | 2683309.5545 | 1212358.9995
9 | 2683245.086 | 1212305.7079 | 2683235.2641 | 1212290.3557
10 | 2683306.9219 | 1212397.3877 | 2683317.642 | 1212411.6023
11 | 2683306.9219 | 1212397.3877 | 2683280.7196 | 1212417.4027
12 | 2683227.3266 | 1212280.6225 | 2683231.7727 | 1212284.8985 | 2683235.2641 | 1212290.3557
13 | 2683280.7196 | 1212417.4027 | 2683262.5717 | 1212431.2653
14 | 2683210.5668 | 1212420.3503 | 2683216.3016 | 1212417.2247 | 2683219.5184 | 1212414.7643
15 | 2683186.227 | 1212433.616 | 2683210.5668 | 1212420.3503
16 | 2683216.5605 | 1212292.5357 | 2683227.3266 | 1212280.6225
17 | 2683227.3266 | 1212280.6225 | 2683249.3065 | 1212256.3022
18 | 2683301.3812 | 1212290.4017 | 2683279.1574 | 1212279.9343 | 2683278.1595 | 1212279.1986
19 | 2683249.3065 | 1212256.3022 | 2683266.1837 | 1212270.3692 | 2683278.1595 | 1212279.1986
20 | 2683216.5605 | 1212292.5357 | 2683210.6708 | 1212299.1594
21 | 2683208.1337 | 1212285.4691 | 2683212.8353 | 1212289.415 | 2683216.5605 | 1212292.5357
22 | 2683173.0611 | 1212341.4499 | 2683154.7728 | 1212362.0156
23 | 2683173.0611 | 1212341.4499 | 2683179.6914 | 1212347.1127 | 2683186.2976 | 1212348.5169 | 2683189.6054 | 1212344.5905
24 | 2683192.6445 | 1212340.9832 | 2683189.6054 | 1212344.5905
25 | 2683208.1337 | 1212285.4691 | 2683207.3629 | 1212286.2588 | 2683198.4774 | 1212296.3114
26 | 2683175.0285 | 1212322.8403 | 2683198.4774 | 1212296.3114
27 | 2683194.8917 | 1212316.9049 | 2683210.6708 | 1212299.1594
28 | 2683194.8917 | 1212316.9049 | 2683202.0065 | 1212325.9656 | 2683199.046 | 1212333.3848 | 2683192.6445 | 1212340.9832
29 | 2683175.0285 | 1212322.8403 | 2683160.4547 | 1212339.3283 | 2683151.4692 | 1212349.3932
30 | 2683186.227 | 1212433.616 | 2683213.6387 | 1212468.6434
31 | 2683213.6387 | 1212468.6434 | 2683237.6319 | 1212499.7986
32 | 2683213.6387 | 1212468.6434 | 2683231.3543 | 1212455.1112
33 | 2683237.6319 | 1212499.7986 | 2683256.2317 | 1212492.2087 | 2683270.3652 | 1212484.2723
34 | 2683231.3543 | 1212455.1112 | 2683262.5717 | 1212431.2653
35 | 2683299.2188 | 1212467.9137 | 2683288.1665 | 1212474.2761 | 2683270.3652 | 1212484.2723
36 | 2683321.5796 | 1212452.8893 | 2683320.8798 | 1212453.3971 | 2683304.4206 | 1212464.9192 | 2683299.2188 | 1212467.9137
37 | 2683321.5796 | 1212452.8893 | 2683330.7128 | 1212446.2631 | 2683336.7049 | 1212440.768
38 | 2683336.7049 | 1212440.768 | 2683342.2966 | 1212435.6402 | 2683342.2966 | 1212435.6402

## bus_geodata
| x | y | coords
0 | 2683266.6826 | 1212338.4065
1 | 2683284.6103 | 1212364.9772
2 | 2683252.6012 | 1212317.4548
3 | 2683289.883 | 1212372.6336
4 | 2683322.4006 | 1212334.5169
5 | 2683260.1778 | 1212383.665
6 | 2683245.086 | 1212305.7079
7 | 2683247.5388 | 1212332.7793
8 | 2683306.9219 | 1212397.3877
9 | 2683309.5545 | 1212358.9995
10 | 2683235.2641 | 1212290.3557
11 | 2683317.642 | 1212411.6023
12 | 2683280.7196 | 1212417.4027
13 | 2683219.5184 | 1212414.7643
14 | 2683210.5668 | 1212420.3503
15 | 2683227.3266 | 1212280.6225
16 | 2683301.3812 | 1212290.4017
17 | 2683278.1595 | 1212279.1986
18 | 2683249.3065 | 1212256.3022
19 | 2683216.5605 | 1212292.5357
20 | 2683173.0611 | 1212341.4499
21 | 2683154.7728 | 1212362.0156
22 | 2683189.6054 | 1212344.5905
23 | 2683208.1337 | 1212285.4691
24 | 2683198.4774 | 1212296.3114
25 | 2683210.6708 | 1212299.1594
26 | 2683194.8917 | 1212316.9049
27 | 2683192.6445 | 1212340.9832
28 | 2683175.0285 | 1212322.8403
29 | 2683186.227 | 1212433.616
30 | 2683213.6387 | 1212468.6434
31 | 2683237.6319 | 1212499.7986
32 | 2683231.3543 | 1212455.1112
33 | 2683151.4692 | 1212349.3932
34 | 2683270.3652 | 1212484.2723
35 | 2683262.5717 | 1212431.2653
36 | 2683321.5796 | 1212452.8893
37 | 2683299.2188 | 1212467.9137
38 | 2683336.7049 | 1212440.768
39 | 2683342.2966 | 1212435.6402
40 | 2683289.883 | 1212372.6336

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99826 | -0.033427 | 0.01434 | 0.0035939
1 | 1 | 0 | -0.18342 | -0.045858
2 | 0.99721 | -0.053488 | 0 | 0
3 | 0.99926 | -0.014093 | 0 | 0
4 | 0.9991 | -0.017256 | 0.020334 | 0.0050961
5 | 0.99961 | -0.0074738 | 0.013934 | 0.0034923
6 | 0.9967 | -0.063353 | 0.0013752 | 0.00034466
7 | 0.99712 | -0.05523 | 0.0050503 | 0.0012657
8 | 0.9974 | -0.049753 | 0 | 0
9 | 0.99885 | -0.022068 | 0.01908 | 0.0047819
10 | 0.99605 | -0.075819 | 0.0023469 | 0.00058819
11 | 0.99711 | -0.0552 | 0.017472 | 0.004379
12 | 0.99587 | -0.078936 | 0.0025385 | 0.00063622
13 | 0.99198 | -0.15381 | 0.0024863 | 0.00062313
14 | 0.99201 | -0.15334 | 0.0023795 | 0.00059635
15 | 0.99563 | -0.083957 | 0 | 0
16 | 0.99544 | -0.087659 | 0.0016521 | 0.00041405
17 | 0.99548 | -0.086909 | 0.00075746 | 0.00018984
18 | 0.99556 | -0.085346 | 0 | 0
19 | 0.99513 | -0.093607 | 0 | 0
20 | 0.99447 | -0.10646 | 0 | 0
21 | 0.99437 | -0.10824 | 0.0036705 | 0.00091991
22 | 0.99454 | -0.10513 | 0.0020324 | 0.00050936
23 | 0.99499 | -0.096432 | 0 | 0
24 | 0.99479 | -0.10016 | 0.0018225 | 0.00045676
25 | 0.99497 | -0.096666 | 0.011077 | 0.0027761
26 | 0.99479 | -0.10023 | 0 | 0
27 | 0.99456 | -0.10465 | 0.0028213 | 0.0007071
28 | 0.99438 | -0.10813 | 0.010736 | 0.0026906
29 | 0.99213 | -0.15095 | 0 | 0
30 | 0.99233 | -0.14713 | 0 | 0
31 | 0.99093 | -0.174 | 0 | 0
32 | 0.99322 | -0.12999 | 0.002433 | 0.00060977
33 | 0.99431 | -0.1094 | 0.0020339 | 0.00050974
34 | 0.98965 | -0.19891 | 0.0037131 | 0.00093058
35 | 0.99487 | -0.098178 | 0.0019916 | 0.00049914
36 | 0.98799 | -0.23112 | 0.010946 | 0.0027434
37 | 0.98859 | -0.21952 | 0.010787 | 0.0027034
38 | 0.98776 | -0.23568 | 0.0020929 | 0.00052454
39 | 0.98768 | -0.23717 | 0.011059 | 0.0027716
40 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.059848 | -0.015046 | 0.059943 | 0.015106 | 9.5694e-05 | 6.0825e-05 | 0.089226 | 0.089226 | 0.089226 | 0.99826 | -0.033427 | 1 | 0 | 24.5127
1 | 0.045508 | 0.011452 | -0.045464 | -0.011424 | 4.3583e-05 | 2.7563e-05 | 0.067851 | 0.067851 | 0.067851 | 0.99826 | -0.033427 | 0.99721 | -0.053488 | 18.6405
2 | 0.087537 | 0.02215 | -0.087478 | -0.022113 | 5.9163e-05 | 3.7743e-05 | 0.13033 | 0.13033 | 0.13033 | 1 | 0 | 0.99926 | -0.014093 | 35.8053
3 | 0.02035 | 0.0051062 | -0.020334 | -0.0050961 | 1.673e-05 | 1.007e-05 | 0.030284 | 0.030284 | 0.030284 | 1 | 0 | 0.9991 | -0.017256 | 8.3198
4 | 0.013939 | 0.003495 | -0.013934 | -0.0034923 | 4.963e-06 | 2.7729e-06 | 0.020742 | 0.020743 | 0.020743 | 1 | 0 | 0.99961 | -0.0074738 | 5.6985
5 | 0.040414 | 0.010158 | -0.040395 | -0.010146 | 1.9024e-05 | 1.1994e-05 | 0.060315 | 0.060315 | 0.060315 | 0.99721 | -0.053488 | 0.9967 | -0.063353 | 16.57
6 | 0.0050507 | 0.0012657 | -0.0050503 | -0.0012657 | 4.1904e-07 | 1.1545e-08 | 0.0075365 | 0.0075366 | 0.0075366 | 0.99721 | -0.053488 | 0.99712 | -0.05523 | 2.0705
7 | 0.068391 | 0.017326 | -0.068274 | -0.017252 | 0.00011693 | 7.4445e-05 | 0.10191 | 0.10191 | 0.10191 | 0.99926 | -0.014093 | 0.9974 | -0.049753 | 27.9966
8 | 0.019087 | 0.0047862 | -0.01908 | -0.0047819 | 7.2514e-06 | 4.3275e-06 | 0.028424 | 0.028424 | 0.028424 | 0.99926 | -0.014093 | 0.99885 | -0.022068 | 7.8088
9 | 0.039019 | 0.0098018 | -0.038996 | -0.0097872 | 2.3199e-05 | 1.461e-05 | 0.058262 | 0.058262 | 0.058262 | 0.9967 | -0.063353 | 0.99605 | -0.075819 | 16.006
10 | 0.017477 | 0.0043817 | -0.017472 | -0.004379 | 4.5346e-06 | 2.6701e-06 | 0.026074 | 0.026074 | 0.026074 | 0.9974 | -0.049753 | 0.99711 | -0.0552 | 7.1633
11 | 0.050797 | 0.01287 | -0.050726 | -0.012825 | 7.1105e-05 | 4.5077e-05 | 0.075833 | 0.075833 | 0.075833 | 0.9974 | -0.049753 | 0.99587 | -0.078936 | 20.8333
12 | 0.036649 | 0.009199 | -0.036635 | -0.0091901 | 1.4219e-05 | 8.9359e-06 | 0.054756 | 0.054756 | 0.054756 | 0.99605 | -0.075819 | 0.99563 | -0.083957 | 15.0428
13 | 0.048187 | 0.012189 | -0.048143 | -0.012161 | 4.4444e-05 | 2.8148e-05 | 0.07204 | 0.07204 | 0.07204 | 0.99587 | -0.078936 | 0.99487 | -0.098178 | 19.7913
14 | -0.0024863 | -0.00062313 | 0.0024864 | 0.00062303 | 5.5192e-08 | -1.0128e-07 | 0.0037296 | 0.0037295 | 0.0037296 | 0.99198 | -0.15381 | 0.99201 | -0.15334 | 1.0246
15 | -0.0048658 | -0.0012194 | 0.0048664 | 0.0012194 | 5.5375e-07 | -3.5186e-09 | 0.0072988 | 0.0072986 | 0.0072988 | 0.99201 | -0.15334 | 0.99213 | -0.15095 | 2.0052
16 | 0.034225 | 0.0085872 | -0.034209 | -0.0085773 | 1.5739e-05 | 9.8644e-06 | 0.051154 | 0.051154 | 0.051154 | 0.99563 | -0.083957 | 0.99513 | -0.093607 | 14.0534
17 | 0.0024099 | 0.0006029 | -0.0024098 | -0.00060323 | 1.5926e-07 | -3.2386e-07 | 0.0036014 | 0.0036015 | 0.0036015 | 0.99563 | -0.083957 | 0.99556 | -0.085346 | 0.98943
18 | -0.0016521 | -0.00041405 | 0.0016521 | 0.00041375 | 5.9016e-08 | -2.9771e-07 | 0.0024696 | 0.0024695 | 0.0024696 | 0.99544 | -0.087659 | 0.99548 | -0.086909 | 0.67846
19 | -0.0024096 | -0.00060359 | 0.0024098 | 0.00060323 | 1.7925e-07 | -3.644e-07 | 0.0036017 | 0.0036015 | 0.0036017 | 0.99548 | -0.086909 | 0.99556 | -0.085346 | 0.98948
20 | 0.019608 | 0.0049154 | -0.019605 | -0.0049136 | 2.8574e-06 | 1.7136e-06 | 0.02932 | 0.02932 | 0.02932 | 0.99513 | -0.093607 | 0.99497 | -0.096666 | 8.055
21 | 0.014601 | 0.0036619 | -0.0146 | -0.0036608 | 1.9661e-06 | 1.1155e-06 | 0.021834 | 0.021834 | 0.021834 | 0.99513 | -0.093607 | 0.99499 | -0.096432 | 5.9985
22 | 0.0036708 | 0.00091976 | -0.0036705 | -0.00091991 | 3.1135e-07 | -1.5777e-07 | 0.0054925 | 0.0054927 | 0.0054927 | 0.99447 | -0.10646 | 0.99437 | -0.10824 | 1.509
23 | -0.0036708 | -0.00091976 | 0.003671 | 0.00091964 | 2.3312e-07 | -1.1819e-07 | 0.0054925 | 0.0054924 | 0.0054925 | 0.99447 | -0.10646 | 0.99454 | -0.10513 | 1.5089
24 | -0.0057034 | -0.001429 | 0.0057035 | 0.001429 | 1.288e-07 | 2.1222e-08 | 0.0085332 | 0.0085332 | 0.0085332 | 0.99454 | -0.10513 | 0.99456 | -0.10465 | 2.3443
25 | 0.0146 | 0.0036608 | -0.014597 | -0.0036593 | 2.5959e-06 | 1.4728e-06 | 0.021834 | 0.021835 | 0.021835 | 0.99499 | -0.096432 | 0.99479 | -0.10016 | 5.9985
26 | 0.012774 | 0.0032026 | -0.01277 | -0.0031999 | 4.8481e-06 | 2.6433e-06 | 0.019108 | 0.019109 | 0.019109 | 0.99479 | -0.10016 | 0.99438 | -0.10813 | 5.2496
27 | 0.0085281 | 0.0021375 | -0.0085267 | -0.0021369 | 1.4485e-06 | 6.1872e-07 | 0.012754 | 0.012754 | 0.012754 | 0.99497 | -0.096666 | 0.99479 | -0.10023 | 3.5039
28 | 0.0085267 | 0.0021369 | -0.0085249 | -0.0021361 | 1.7961e-06 | 7.6735e-07 | 0.012754 | 0.012754 | 0.012754 | 0.99479 | -0.10023 | 0.99456 | -0.10465 | 3.504
29 | 0.002034 | 0.00050936 | -0.0020339 | -0.00050974 | 1.2332e-07 | -3.8153e-07 | 0.0030436 | 0.0030438 | 0.0030438 | 0.99438 | -0.10813 | 0.99431 | -0.1094 | 0.8362
30 | -0.0048664 | -0.0012194 | 0.0048673 | 0.0012194 | 8.8758e-07 | -5.8513e-09 | 0.0072986 | 0.0072984 | 0.0072986 | 0.99213 | -0.15095 | 0.99233 | -0.14713 | 2.0051
31 | 0.038745 | 0.0097656 | -0.038695 | -0.0097342 | 4.976e-05 | 3.1339e-05 | 0.058118 | 0.058119 | 0.058119 | 0.99233 | -0.14713 | 0.99093 | -0.174 | 15.9667
32 | -0.043612 | -0.010985 | 0.043648 | 0.011008 | 3.5774e-05 | 2.2607e-05 | 0.065417 | 0.065417 | 0.065417 | 0.99233 | -0.14713 | 0.99322 | -0.12999 | 17.9717
33 | 0.038695 | 0.0097342 | -0.038649 | -0.0097053 | 4.5978e-05 | 2.8959e-05 | 0.058119 | 0.058119 | 0.058119 | 0.99093 | -0.174 | 0.98965 | -0.19891 | 15.9667
34 | -0.046081 | -0.011617 | 0.046151 | 0.011662 | 7.026e-05 | 4.4457e-05 | 0.069062 | 0.069062 | 0.069062 | 0.99322 | -0.12999 | 0.99487 | -0.098178 | 18.973
35 | 0.034936 | 0.0087747 | -0.034902 | -0.0087531 | 3.433e-05 | 2.1545e-05 | 0.052536 | 0.052536 | 0.052536 | 0.98965 | -0.19891 | 0.98859 | -0.21952 | 14.433
36 | -0.024102 | -0.0060416 | 0.024115 | 0.0060498 | 1.3321e-05 | 8.1801e-06 | 0.0363 | 0.0363 | 0.0363 | 0.98799 | -0.23112 | 0.98859 | -0.21952 | 9.9726
37 | 0.013155 | 0.0032981 | -0.013153 | -0.0032966 | 2.8581e-06 | 1.5807e-06 | 0.019814 | 0.019814 | 0.019814 | 0.98799 | -0.23112 | 0.98776 | -0.23568 | 5.4434
38 | 0.01106 | 0.002772 | -0.011059 | -0.0027716 | 7.8977e-07 | 4.0835e-07 | 0.016661 | 0.016661 | 0.016661 | 0.98776 | -0.23568 | 0.98768 | -0.23717 | 4.5772

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.18342 | 0.045858

## res_load
| p_mw | q_mvar
0 | 0.01434 | 0.0035939
1 | 0.020334 | 0.0050961
2 | 0.013934 | 0.0034923
3 | 0.0013752 | 0.00034466
4 | 0.0050503 | 0.0012657
5 | 0.01908 | 0.0047819
6 | 0.0023469 | 0.00058819
7 | 0.017472 | 0.004379
8 | 0.0025385 | 0.00063622
9 | 0.0024863 | 0.00062313
10 | 0.0023795 | 0.00059635
11 | 0.0016521 | 0.00041405
12 | 0.00075746 | 0.00018984
13 | 0.0036705 | 0.00091991
14 | 0.0020324 | 0.00050936
15 | 0.0018225 | 0.00045676
16 | 0.011077 | 0.0027761
17 | 0.0028213 | 0.0007071
18 | 0.010736 | 0.0026906
19 | 0.002433 | 0.00060977
20 | 0.0020339 | 0.00050974
21 | 0.0037131 | 0.00093058
22 | 0.0019916 | 0.00049914
23 | 0.010946 | 0.0027434
24 | 0.010787 | 0.0027034
25 | 0.0020929 | 0.00052454
26 | 0.011059 | 0.0027716

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1