## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1362-30_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1362-30_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1362-30_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1362-30_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1362-30_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1362-30_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1362-30_0_4_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_1362-30_0_4_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_1362-30_0_4_node_38 | 0.4 | n |  | TRUE
9 | bus_LV_1362-30_0_4_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_1362-30_0_4_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_1362-30_0_4_node_39 | 0.4 | n |  | TRUE
12 | bus_LV_1362-30_0_4_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_1362-30_0_4_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_1362-30_0_4_node_36 | 0.4 | n |  | TRUE
15 | bus_LV_1362-30_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_1362-30_0_4_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_1362-30_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_1362-30_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_1362-30_0_4_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_1362-30_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1362-30_0_4_node_41 | 0.4 | n |  | TRUE
22 | bus_LV_1362-30_0_4_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_1362-30_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1362-30_0_4_node_7 | 0.4 | n |  | TRUE
25 | bus_LV_1362-30_0_4_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_1362-30_0_4_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_1362-30_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_1362-30_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_1362-30_0_4_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_1362-30_0_4_node_8 | 0.4 | n |  | TRUE
31 | bus_LV_1362-30_0_4_node_10 | 0.4 | n |  | TRUE
32 | bus_LV_1362-30_0_4_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_1362-30_0_4_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_1362-30_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_1362-30_0_4_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_1362-30_0_4_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_1362-30_0_4_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_1362-30_0_4_node_33 | 0.4 | n |  | TRUE
39 | bus_MV_1_0_node_135 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1362-30_0_4_load_0 | 0 | 0.023086 | 0.0057859 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1362-30_0_4_load_6 | 5 | 0.0035906 | 0.00089989 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1362-30_0_4_load_29 | 7 | 0.017389 | 0.0043581 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1362-30_0_4_load_38 | 8 | 0.0010046 | 0.00025177 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1362-30_0_4_load_39 | 11 | 0.041773 | 0.010469 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1362-30_0_4_load_30 | 13 | 0.010433 | 0.0026147 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1362-30_0_4_load_36 | 14 | 0.012416 | 0.0031117 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1362-30_0_4_load_31 | 16 | 0.00090793 | 0.00022755 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1362-30_0_4_load_41 | 21 | 0.0016922 | 0.0004241 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1362-30_0_4_load_7 | 24 | 0.00035016 | 8.7759e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1362-30_0_4_load_25 | 25 | 0.00062266 | 0.00015605 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1362-30_0_4_load_23 | 26 | 0.039055 | 0.009788 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1362-30_0_4_load_24 | 27 | 0.09164 | 0.022967 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1362-30_0_4_load_22 | 28 | 0.085606 | 0.021455 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1362-30_0_4_load_27 | 29 | 0.018754 | 0.0047003 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1362-30_0_4_load_8 | 30 | 0.00027641 | 6.9274e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1362-30_0_4_load_35 | 33 | 0.016885 | 0.0042319 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1362-30_0_4_load_26 | 34 | 0.0019203 | 0.00048127 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1362-30_0_4_load_40 | 36 | 0.075799 | 0.018997 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1362-30_0_4_load_28 | 37 | 0.026545 | 0.0066528 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1362-30_0_4_load_33 | 38 | 0.0027611 | 0.00069201 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1362-30_0_4_line_0 |  | 0 | 1 | 0.1306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1362-30_0_4_line_1 |  | 0 | 2 | 0.010204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1362-30_0_4_line_2 |  | 1 | 3 | 0.043926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1362-30_0_4_line_3 |  | 2 | 4 | 0.029393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1362-30_0_4_line_4 |  | 2 | 5 | 0.002673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1362-30_0_4_line_5 |  | 3 | 6 | 0.15465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1362-30_0_4_line_6 |  | 3 | 7 | 0.094858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1362-30_0_4_line_7 |  | 4 | 8 | 0.0024124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1362-30_0_4_line_8 |  | 6 | 28 | 0.0077195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1362-30_0_4_line_9 |  | 9 | 10 | 0.022463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1362-30_0_4_line_10 |  | 9 | 11 | 0.016953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1362-30_0_4_line_11 |  | 10 | 26 | 0.012211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1362-30_0_4_line_12 |  | 10 | 27 | 0.016628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_1362-30_0_4_line_13 |  | 10 | 28 | 0.022948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1362-30_0_4_line_14 |  | 11 | 19 | 0.016847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1362-30_0_4_line_15 |  | 12 | 13 | 0.014407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1362-30_0_4_line_16 |  | 12 | 14 | 0.020216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1362-30_0_4_line_17 |  | 13 | 18 | 0.018962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1362-30_0_4_line_18 |  | 14 | 33 | 0.013878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1362-30_0_4_line_19 |  | 15 | 16 | 0.011724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1362-30_0_4_line_20 |  | 15 | 17 | 0.011236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1362-30_0_4_line_21 |  | 16 | 35 | 0.046585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1362-30_0_4_line_22 |  | 17 | 24 | 0.10601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1362-30_0_4_line_23 |  | 17 | 20 | 0.015529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1362-30_0_4_line_24 |  | 18 | 19 | 0.01861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1362-30_0_4_line_25 |  | 19 | 23 | 0.022763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1362-30_0_4_line_26 |  | 20 | 21 | 0.020509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1362-30_0_4_line_27 |  | 20 | 22 | 0.049552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1362-30_0_4_line_28 |  | 21 | 32 | 0.014294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1362-30_0_4_line_29 |  | 22 | 25 | 0.016885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1362-30_0_4_line_30 |  | 23 | 29 | 0.012111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1362-30_0_4_line_31 |  | 24 | 30 | 0.02785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1362-30_0_4_line_32 |  | 25 | 34 | 0.031157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1362-30_0_4_line_33 |  | 27 | 36 | 0.021397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1362-30_0_4_line_34 |  | 29 | 37 | 0.0046572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1362-30_0_4_line_35 |  | 31 | 32 | 0.009736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1362-30_0_4_line_36 |  | 31 | 33 | 0.022445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1362-30_0_4_line_37 |  | 35 | 38 | 0.0172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1362-30_0_4_trafo_24 | 0.63 MVA 20/0.4 kV | 39 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2684618.7313 | 1211679.847 | 2684581.6445 | 1211662.8878 | 2684576.9672 | 1211663.6887 | 2684554.5038 | 1211673.3321 | 2684538.6628 | 1211662.9119 | 2684531.1746 | 1211655.6121 | 2684523.5547 | 1211645.2752 | 2684514.4592 | 1211629.3132
1 | 2684509.4072 | 1211620.4474 | 2684514.4592 | 1211629.3132
2 | 2684598.7754 | 1211718.9675 | 2684603.8197 | 1211709.4327 | 2684613.6902 | 1211689.1483 | 2684617.6756 | 1211681.9445 | 2684618.7313 | 1211679.847
3 | 2684509.4072 | 1211620.4474 | 2684501.6166 | 1211607.1394 | 2684512.1134 | 1211597.8709
4 | 2684511.7732 | 1211619.1912 | 2684509.4072 | 1211620.4474
5 | 2684467.3734 | 1211651.1723 | 2684479.2439 | 1211655.9657 | 2684486.1955 | 1211658.766 | 2684485.6065 | 1211662.2599 | 2684496.2527 | 1211666.5691 | 2684508.875 | 1211672.474 | 2684520.2876 | 1211679.0066 | 2684556.3661 | 1211699.5535 | 2684577.0815 | 1211711.3438 | 2684593.6505 | 1211720.7849 | 2684596.8465 | 1211722.6203 | 2684598.7754 | 1211718.9675
6 | 2684598.7754 | 1211718.9675 | 2684566.4984 | 1211700.4421 | 2684533.3988 | 1211680.9714 | 2684516.1185 | 1211672.5105
7 | 2684512.1134 | 1211597.8709 | 2684514.0972 | 1211596.4982
8 | 2684467.3734 | 1211651.1723 | 2684460.0811 | 1211648.6397
9 | 2684422.6599 | 1211644.6907 | 2684424.1302 | 1211640.6755 | 2684437.0895 | 1211645.3286 | 2684438.4031 | 1211641.1111
10 | 2684422.6599 | 1211644.6907 | 2684415.0662 | 1211642.1482 | 2684406.6212 | 1211639.1982
11 | 2684438.4031 | 1211641.1111 | 2684426.9535 | 1211636.8671
12 | 2684438.4031 | 1211641.1111 | 2684442.0891 | 1211629.2778 | 2684440.2085 | 1211626.3159 | 2684439.8135 | 1211625.7078
13 | 2684438.4031 | 1211641.1111 | 2684460.0811 | 1211648.6397
14 | 2684390.717 | 1211633.6426 | 2684406.6212 | 1211639.1982
15 | 2684371.7526 | 1211615.1401 | 2684384.9889 | 1211620.829
16 | 2684371.7526 | 1211615.1401 | 2684381.3005 | 1211597.3209
17 | 2684402.6008 | 1211627.8403 | 2684393.0455 | 1211624.2917 | 2684384.9889 | 1211620.829
18 | 2684387.8548 | 1211585.0885 | 2684381.3005 | 1211597.3209
19 | 2684439.1834 | 1211555.9664 | 2684449.2476 | 1211549.9518
20 | 2684439.1834 | 1211555.9664 | 2684433.826 | 1211559.1704 | 2684431.1883 | 1211554.9303
21 | 2684458.0126 | 1211518.0191 | 2684468.8961 | 1211539.932 | 2684459.7926 | 1211543.65 | 2684449.2476 | 1211549.9518
22 | 2684431.1883 | 1211554.9303 | 2684459.7229 | 1211537.3004 | 2684480.9567 | 1211530.7968 | 2684525.6043 | 1211522.1457 | 2684530.3883 | 1211521.9714
23 | 2684436.1266 | 1211567.3639 | 2684438.1436 | 1211566.0694 | 2684433.826 | 1211559.1704 | 2684431.1883 | 1211554.9303
24 | 2684390.717 | 1211633.6426 | 2684392.1273 | 1211629.571 | 2684401.0071 | 1211632.5208 | 2684402.6008 | 1211627.8403
25 | 2684369.8384 | 1211624.7526 | 2684375.404 | 1211628.3003 | 2684390.717 | 1211633.6426
26 | 2684436.1266 | 1211567.3639 | 2684433.7565 | 1211562.4716 | 2684421.097 | 1211570.6524
27 | 2684436.1266 | 1211567.3639 | 2684438.1436 | 1211566.0694 | 2684460.7568 | 1211602.1909 | 2684464.6354 | 1211599.8332
28 | 2684409.0912 | 1211578.4108 | 2684421.097 | 1211570.6524
29 | 2684464.6354 | 1211599.8332 | 2684479.0708 | 1211591.0734
30 | 2684369.8384 | 1211624.7526 | 2684363.0911 | 1211634.81
31 | 2684530.3883 | 1211521.9714 | 2684558.22 | 1211520.9573
32 | 2684505.7076 | 1211574.9095 | 2684479.0708 | 1211591.0734
33 | 2684439.8135 | 1211625.7078 | 2684428.1581 | 1211607.7643
34 | 2684363.0911 | 1211634.81 | 2684360.4965 | 1211638.6776
35 | 2684409.0912 | 1211578.4108 | 2684403.781 | 1211570.2414
36 | 2684403.781 | 1211570.2414 | 2684391.6723 | 1211577.9641 | 2684387.8548 | 1211585.0885
37 | 2684458.0126 | 1211518.0191 | 2684470.6202 | 1211512.6496 | 2684473.9067 | 1211511.4555

## bus_geodata
| x | y | coords
0 | 2684514.4592 | 1211629.3131
1 | 2684618.7313 | 1211679.847
2 | 2684509.4072 | 1211620.4474
3 | 2684598.7754 | 1211718.9675
4 | 2684512.1134 | 1211597.8709
5 | 2684511.7732 | 1211619.1912
6 | 2684467.3734 | 1211651.1723
7 | 2684516.1185 | 1211672.5105
8 | 2684514.0972 | 1211596.4982
9 | 2684422.6599 | 1211644.6907
10 | 2684438.4031 | 1211641.1111
11 | 2684406.6212 | 1211639.1982
12 | 2684371.7526 | 1211615.14
13 | 2684384.9889 | 1211620.829
14 | 2684381.3005 | 1211597.3209
15 | 2684439.1834 | 1211555.9664
16 | 2684449.2476 | 1211549.9518
17 | 2684431.1883 | 1211554.9303
18 | 2684402.6008 | 1211627.8403
19 | 2684390.717 | 1211633.6426
20 | 2684436.1266 | 1211567.3639
21 | 2684421.097 | 1211570.6524
22 | 2684464.6354 | 1211599.8332
23 | 2684369.8384 | 1211624.7526
24 | 2684530.3883 | 1211521.9714
25 | 2684479.0708 | 1211591.0734
26 | 2684426.9535 | 1211636.8671
27 | 2684439.8135 | 1211625.7078
28 | 2684460.0811 | 1211648.6397
29 | 2684363.0911 | 1211634.81
30 | 2684558.22 | 1211520.9573
31 | 2684403.781 | 1211570.2414
32 | 2684409.0912 | 1211578.4108
33 | 2684387.8548 | 1211585.0885
34 | 2684505.7076 | 1211574.9096
35 | 2684458.0126 | 1211518.0191
36 | 2684428.1581 | 1211607.7643
37 | 2684360.4965 | 1211638.6776
38 | 2684473.9067 | 1211511.4555
39 | 2684438.4031 | 1211641.1111

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98453 | -0.29816 | 0.023086 | 0.0057859
1 | 0.98786 | -0.23336 | 0 | 0
2 | 0.98448 | -0.299 | 0 | 0
3 | 0.98898 | -0.21166 | 0 | 0
4 | 0.98446 | -0.29953 | 0 | 0
5 | 0.98448 | -0.29918 | 0.0035906 | 0.00089989
6 | 0.99539 | -0.08822 | 0 | 0
7 | 0.98746 | -0.24111 | 0.017389 | 0.0043581
8 | 0.98446 | -0.29958 | 0.0010046 | 0.00025177
9 | 0.99567 | -0.082826 | 0 | 0
10 | 0.99845 | -0.02952 | 0 | 0
11 | 0.99357 | -0.12326 | 0.041773 | 0.010469
12 | 0.98997 | -0.193 | 0 | 0
13 | 0.99047 | -0.18331 | 0.010433 | 0.0026147
14 | 0.98927 | -0.20661 | 0.012416 | 0.0031117
15 | 0.98835 | -0.22441 | 0 | 0
16 | 0.98831 | -0.22518 | 0.00090793 | 0.00022755
17 | 0.98839 | -0.22368 | 0 | 0
18 | 0.9913 | -0.16705 | 0 | 0
19 | 0.99213 | -0.15113 | 0 | 0
20 | 0.98845 | -0.22248 | 0 | 0
21 | 0.98858 | -0.21998 | 0.0016922 | 0.0004241
22 | 0.98833 | -0.22474 | 0 | 0
23 | 0.99118 | -0.16941 | 0 | 0
24 | 0.98833 | -0.22487 | 0.00035016 | 8.7759e-05
25 | 0.98829 | -0.2255 | 0.00062266 | 0.00015605
26 | 0.99802 | -0.037861 | 0.039055 | 0.009788
27 | 1 | 0 | -0.38475 | -0.096868
28 | 0.99571 | -0.0821 | 0.085606 | 0.021455
29 | 0.99068 | -0.17915 | 0.018754 | 0.0047003
30 | 0.98832 | -0.225 | 0.00027641 | 6.9274e-05
31 | 0.98877 | -0.21632 | 0 | 0
32 | 0.98869 | -0.2178 | 0 | 0
33 | 0.98894 | -0.2129 | 0.016885 | 0.0042319
34 | 0.98824 | -0.22657 | 0.0019203 | 0.00048127
35 | 0.98819 | -0.22748 | 0 | 0
36 | 0.99853 | -0.02831 | 0.075799 | 0.018997
37 | 0.99057 | -0.18134 | 0.026545 | 0.0066528
38 | 0.98815 | -0.22833 | 0.0027611 | 0.00069201
39 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.027682 | -0.0069372 | 0.027767 | 0.0069904 | 8.5727e-05 | 5.3199e-05 | 0.041838 | 0.041837 | 0.041838 | 0.98453 | -0.29816 | 0.98786 | -0.23336 | 11.4939
1 | 0.0045954 | 0.0011513 | -0.0045953 | -0.0011513 | 1.8459e-07 | -1.1619e-08 | 0.0069454 | 0.0069454 | 0.0069454 | 0.98453 | -0.29816 | 0.98448 | -0.299 | 1.9081
2 | -0.027767 | -0.0069904 | 0.027796 | 0.0070083 | 2.8832e-05 | 1.789e-05 | 0.041837 | 0.041837 | 0.041837 | 0.98786 | -0.23336 | 0.98898 | -0.21166 | 11.4938
3 | 0.0010046 | 0.00025138 | -0.0010046 | -0.00025174 | 2.5411e-08 | -3.5747e-07 | 0.0015183 | 0.0015184 | 0.0015184 | 0.98448 | -0.299 | 0.98446 | -0.29953 | 0.41715
4 | 0.0035907 | 0.00089988 | -0.0035906 | -0.00089989 | 2.9524e-08 | -1.5092e-08 | 0.0054271 | 0.0054272 | 0.0054272 | 0.98448 | -0.299 | 0.98448 | -0.29918 | 1.491
5 | -0.04521 | -0.011381 | 0.045478 | 0.011551 | 0.00026848 | 0.00016983 | 0.06804 | 0.06804 | 0.06804 | 0.98898 | -0.21166 | 0.99539 | -0.08822 | 18.6924
6 | 0.017413 | 0.0043725 | -0.017389 | -0.0043581 | 2.4424e-05 | 1.4416e-05 | 0.026203 | 0.026204 | 0.026204 | 0.98898 | -0.21166 | 0.98746 | -0.24111 | 7.1988
7 | 0.0010046 | 0.00025174 | -0.0010046 | -0.00025177 | 2.0857e-09 | -2.9338e-08 | 0.0015184 | 0.0015184 | 0.0015184 | 0.98446 | -0.29953 | 0.98446 | -0.29958 | 0.41715
8 | -0.045478 | -0.011551 | 0.045492 | 0.011559 | 1.3401e-05 | 8.4764e-06 | 0.06804 | 0.06804 | 0.06804 | 0.99539 | -0.08822 | 0.99571 | -0.0821 | 18.6922
9 | -0.13592 | -0.034283 | 0.13626 | 0.034505 | 0.00034782 | 0.00022231 | 0.2032 | 0.2032 | 0.2032 | 0.99567 | -0.082826 | 0.99845 | -0.02952 | 55.8249
10 | 0.13592 | 0.034283 | -0.13565 | -0.034115 | 0.00026251 | 0.00016779 | 0.2032 | 0.2032 | 0.2032 | 0.99567 | -0.082826 | 0.99357 | -0.12326 | 55.825
11 | 0.03907 | 0.0097978 | -0.039055 | -0.009788 | 1.5526e-05 | 9.777e-06 | 0.058229 | 0.058229 | 0.058229 | 0.99845 | -0.02952 | 0.99802 | -0.037861 | 15.997
12 | -0.30676 | -0.077528 | 0.3072 | 0.077805 | 0.00043485 | 0.00027765 | 0.4574 | 0.4574 | 0.4574 | 0.99845 | -0.02952 | 1 | 0 | 41.8867
13 | 0.13143 | 0.033225 | -0.1311 | -0.033014 | 0.00033049 | 0.00021122 | 0.19597 | 0.19597 | 0.19597 | 0.99845 | -0.02952 | 0.99571 | -0.0821 | 53.8381
14 | 0.093881 | 0.023645 | -0.093756 | -0.023566 | 0.00012496 | 7.9757e-05 | 0.14064 | 0.14064 | 0.14064 | 0.99357 | -0.12326 | 0.99213 | -0.15113 | 38.638
15 | -0.037869 | -0.0094998 | 0.037887 | 0.0095108 | 1.7506e-05 | 1.1019e-05 | 0.056924 | 0.056924 | 0.056924 | 0.98997 | -0.193 | 0.99047 | -0.18331 | 15.6385
16 | 0.037869 | 0.0094998 | -0.037844 | -0.0094843 | 2.4565e-05 | 1.5462e-05 | 0.056924 | 0.056924 | 0.056924 | 0.98997 | -0.193 | 0.98927 | -0.20661 | 15.6385
17 | -0.048319 | -0.012126 | 0.048357 | 0.012149 | 3.7477e-05 | 2.3741e-05 | 0.072598 | 0.072598 | 0.072598 | 0.99047 | -0.18331 | 0.9913 | -0.16705 | 19.9444
18 | 0.025429 | 0.0063727 | -0.025421 | -0.006368 | 7.6136e-06 | 4.6946e-06 | 0.038249 | 0.038249 | 0.038249 | 0.98927 | -0.20661 | 0.98894 | -0.2129 | 10.508
19 | 0.0036696 | 0.00091894 | -0.0036695 | -0.000919 | 1.3419e-07 | -6.4366e-08 | 0.0055246 | 0.0055246 | 0.0055246 | 0.98835 | -0.22441 | 0.98831 | -0.22518 | 1.5177
20 | -0.0036696 | -0.00091894 | 0.0036698 | 0.00091888 | 1.286e-07 | -6.1697e-08 | 0.0055246 | 0.0055245 | 0.0055246 | 0.98835 | -0.22441 | 0.98839 | -0.22368 | 1.5177
21 | 0.0027616 | 0.00069145 | -0.0027613 | -0.00069186 | 3.0199e-07 | -4.0361e-07 | 0.0041576 | 0.0041578 | 0.0041578 | 0.98831 | -0.22518 | 0.98819 | -0.22748 | 1.1423
22 | 0.00062661 | 0.00015534 | -0.00062657 | -0.00015668 | 3.5352e-08 | -1.336e-06 | 0.00094275 | 0.00094323 | 0.00094323 | 0.98839 | -0.22368 | 0.98833 | -0.22487 | 0.25913
23 | -0.0042964 | -0.0010742 | 0.0042966 | 0.0010742 | 2.4356e-07 | -4.3158e-08 | 0.0064673 | 0.0064672 | 0.0064673 | 0.98839 | -0.22368 | 0.98845 | -0.22248 | 1.7767
24 | -0.048357 | -0.012149 | 0.048394 | 0.012173 | 3.6781e-05 | 2.33e-05 | 0.072598 | 0.072597 | 0.072598 | 0.9913 | -0.16705 | 0.99213 | -0.15113 | 19.9444
25 | 0.045363 | 0.011393 | -0.045323 | -0.011368 | 3.9523e-05 | 2.5001e-05 | 0.068045 | 0.068045 | 0.068045 | 0.99213 | -0.15113 | 0.99118 | -0.16941 | 18.6936
26 | -0.00684 | -0.0017105 | 0.0068408 | 0.0017108 | 8.1523e-07 | 2.5883e-07 | 0.010296 | 0.010296 | 0.010296 | 0.98845 | -0.22248 | 0.98858 | -0.21998 | 2.8285
27 | 0.0025434 | 0.00063637 | -0.0025431 | -0.00063683 | 2.7237e-07 | -4.6076e-07 | 0.0038285 | 0.0038287 | 0.0038287 | 0.98845 | -0.22248 | 0.98833 | -0.22474 | 1.0518
28 | -0.008533 | -0.0021349 | 0.0085339 | 0.0021353 | 8.841e-07 | 3.8253e-07 | 0.012843 | 0.012843 | 0.012843 | 0.98858 | -0.21998 | 0.98869 | -0.2178 | 3.5282
29 | 0.0025431 | 0.00063683 | -0.002543 | -0.00063698 | 9.2822e-08 | -1.5697e-07 | 0.0038287 | 0.0038288 | 0.0038288 | 0.98833 | -0.22474 | 0.98829 | -0.2255 | 1.0519
30 | 0.045323 | 0.011368 | -0.045302 | -0.011355 | 2.1028e-05 | 1.3302e-05 | 0.068045 | 0.068045 | 0.068045 | 0.99118 | -0.16941 | 0.99068 | -0.17915 | 18.6936
31 | 0.00027641 | 6.8919e-05 | -0.00027641 | -6.9274e-05 | 1.8082e-09 | -3.5573e-07 | 0.00041603 | 0.00041616 | 0.00041616 | 0.98833 | -0.22487 | 0.98832 | -0.225 | 0.11433
32 | 0.0019204 | 0.00048093 | -0.0019203 | -0.00048127 | 9.7677e-08 | -3.3671e-07 | 0.0028913 | 0.0028914 | 0.0028914 | 0.98829 | -0.2255 | 0.98824 | -0.22657 | 0.79434
33 | 0.075902 | 0.019062 | -0.075799 | -0.018997 | 0.00010238 | 6.5241e-05 | 0.11296 | 0.11296 | 0.11296 | 1 | 0 | 0.99853 | -0.02831 | 31.0321
34 | 0.026548 | 0.0066546 | -0.026545 | -0.0066528 | 2.777e-06 | 1.7173e-06 | 0.039876 | 0.039876 | 0.039876 | 0.99068 | -0.17915 | 0.99057 | -0.18134 | 10.9549
35 | 0.0085345 | 0.0021355 | -0.0085339 | -0.0021353 | 6.0216e-07 | 2.6052e-07 | 0.012843 | 0.012843 | 0.012843 | 0.98877 | -0.21632 | 0.98869 | -0.2178 | 3.5282
36 | -0.0085345 | -0.0021355 | 0.0085359 | 0.0021361 | 1.3882e-06 | 6.0049e-07 | 0.012843 | 0.012842 | 0.012843 | 0.98877 | -0.21632 | 0.98894 | -0.2129 | 3.5282
37 | 0.0027613 | 0.00069186 | -0.0027611 | -0.00069201 | 1.1151e-07 | -1.4898e-07 | 0.0041578 | 0.0041579 | 0.0041579 | 0.98819 | -0.22748 | 0.98815 | -0.22833 | 1.1423

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.47639 | 0.11983

## res_load
| p_mw | q_mvar
0 | 0.023086 | 0.0057859
1 | 0.0035906 | 0.00089989
2 | 0.017389 | 0.0043581
3 | 0.0010046 | 0.00025177
4 | 0.041773 | 0.010469
5 | 0.010433 | 0.0026147
6 | 0.012416 | 0.0031117
7 | 0.00090793 | 0.00022755
8 | 0.0016922 | 0.0004241
9 | 0.00035016 | 8.7759e-05
10 | 0.00062266 | 0.00015605
11 | 0.039055 | 0.009788
12 | 0.09164 | 0.022967
13 | 0.085606 | 0.021455
14 | 0.018754 | 0.0047003
15 | 0.00027641 | 6.9274e-05
16 | 0.016885 | 0.0042319
17 | 0.0019203 | 0.00048127
18 | 0.075799 | 0.018997
19 | 0.026545 | 0.0066528
20 | 0.0027611 | 0.00069201

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1