## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1362-34_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1362-34_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1362-34_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1362-34_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1362-34_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1362-34_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1362-34_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1362-34_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1362-34_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1362-34_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_1362-34_0_4_node_56 | 0.4 | n |  | TRUE
11 | bus_LV_1362-34_0_4_node_55 | 0.4 | n |  | TRUE
12 | bus_LV_1362-34_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1362-34_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1362-34_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_1362-34_0_4_node_72 | 0.4 | n |  | TRUE
16 | bus_LV_1362-34_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_1362-34_0_4_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_1362-34_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1362-34_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1362-34_0_4_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_1362-34_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1362-34_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_1362-34_0_4_node_69 | 0.4 | n |  | TRUE
24 | bus_LV_1362-34_0_4_node_67 | 0.4 | n |  | TRUE
25 | bus_LV_1362-34_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1362-34_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1362-34_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_1362-34_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_1362-34_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_1362-34_0_4_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_1362-34_0_4_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_1362-34_0_4_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_1362-34_0_4_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_1362-34_0_4_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_1362-34_0_4_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_1362-34_0_4_node_51 | 0.4 | n |  | TRUE
37 | bus_LV_1362-34_0_4_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_1362-34_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_1362-34_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_1362-34_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_1362-34_0_4_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_1362-34_0_4_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_1362-34_0_4_node_59 | 0.4 | n |  | TRUE
44 | bus_LV_1362-34_0_4_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_1362-34_0_4_node_66 | 0.4 | n |  | TRUE
46 | bus_LV_1362-34_0_4_node_63 | 0.4 | n |  | TRUE
47 | bus_LV_1362-34_0_4_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_1362-34_0_4_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_1362-34_0_4_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_1362-34_0_4_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_1362-34_0_4_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_1362-34_0_4_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_1362-34_0_4_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_1362-34_0_4_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_1362-34_0_4_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_1362-34_0_4_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_1362-34_0_4_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_1362-34_0_4_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_1362-34_0_4_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_1362-34_0_4_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_1362-34_0_4_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_1362-34_0_4_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_1362-34_0_4_node_68 | 0.4 | n |  | TRUE
64 | bus_LV_1362-34_0_4_node_70 | 0.4 | n |  | TRUE
65 | bus_LV_1362-34_0_4_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_1362-34_0_4_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_1362-34_0_4_node_62 | 0.4 | n |  | TRUE
68 | bus_MV_0_node_16 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1362-34_0_4_load_0 | 0 | 0.00028717 | 7.1972e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1362-34_0_4_load_1 | 1 | 0.00027685 | 6.9386e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1362-34_0_4_load_3 | 3 | 0.00063448 | 0.00015901 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1362-34_0_4_load_4 | 4 | 0.00043079 | 0.00010797 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1362-34_0_4_load_6 | 5 | 0.00033588 | 8.418e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1362-34_0_4_load_5 | 6 | 0.0016533 | 0.00041435 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1362-34_0_4_load_7 | 7 | 0.00071898 | 0.00018019 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1362-34_0_4_load_56 | 10 | 0.00083627 | 0.00020959 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1362-34_0_4_load_55 | 11 | 0.0017375 | 0.00043545 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1362-34_0_4_load_10 | 12 | 0.0011561 | 0.00028974 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1362-34_0_4_load_11 | 13 | 0.00038275 | 9.5926e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1362-34_0_4_load_72 | 15 | 0.00026036 | 6.5252e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1362-34_0_4_load_14 | 18 | 0.00022874 | 5.7328e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1362-34_0_4_load_15 | 19 | 0.00026681 | 6.6868e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1362-34_0_4_load_20 | 20 | 0.00021982 | 5.5092e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1362-34_0_4_load_17 | 22 | 0.00097601 | 0.00024461 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1362-34_0_4_load_67 | 24 | 0.00013751 | 3.4464e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1362-34_0_4_load_18 | 25 | 0.0023221 | 0.00058198 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1362-34_0_4_load_19 | 26 | 0.0014581 | 0.00036544 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1362-34_0_4_load_21 | 27 | 0.00042969 | 0.00010769 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1362-34_0_4_load_22 | 28 | 0.0004944 | 0.00012391 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1362-34_0_4_load_25 | 30 | 0.00089567 | 0.00022448 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1362-34_0_4_load_27 | 32 | 0.00090608 | 0.00022709 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1362-34_0_4_load_51 | 36 | 0.00037264 | 9.3392e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1362-34_0_4_load_29 | 37 | 0.0011461 | 0.00028724 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1362-34_0_4_load_30 | 38 | 0.001803 | 0.00045187 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1362-34_0_4_load_31 | 39 | 0.0013324 | 0.00033392 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1362-34_0_4_load_33 | 41 | 0.0014993 | 0.00037577 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1362-34_0_4_load_59 | 43 | 0.0008691 | 0.00021782 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1362-34_0_4_load_66 | 45 | 0.00016906 | 4.2371e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1362-34_0_4_load_63 | 46 | 0.00014307 | 3.5856e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1362-34_0_4_load_49 | 49 | 0.00044731 | 0.00011211 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1362-34_0_4_load_43 | 51 | 0.00031534 | 7.9032e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1362-34_0_4_load_58 | 52 | 0.0036146 | 0.0009059 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1362-34_0_4_load_34 | 53 | 0.00051963 | 0.00013023 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1362-34_0_4_load_37 | 55 | 0.00063385 | 0.00015886 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1362-34_0_4_load_47 | 56 | 0.00028064 | 7.0336e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1362-34_0_4_load_42 | 57 | 0.00054249 | 0.00013596 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1362-34_0_4_load_45 | 58 | 0.00041344 | 0.00010362 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1362-34_0_4_load_54 | 59 | 0.00062122 | 0.00015569 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1362-34_0_4_load_48 | 60 | 0.0024874 | 0.00062339 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1362-34_0_4_load_53 | 61 | 0.00052721 | 0.00013213 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1362-34_0_4_load_52 | 62 | 0.0012284 | 0.00030788 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1362-34_0_4_load_68 | 63 | 0.00011545 | 2.8934e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1362-34_0_4_load_70 | 64 | 0.00011418 | 2.8617e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1362-34_0_4_load_62 | 67 | 0.005294 | 0.0013268 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1362-34_0_4_line_0 |  | 0 | 1 | 0.0071926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1362-34_0_4_line_1 |  | 0 | 2 | 0.10902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1362-34_0_4_line_2 |  | 1 | 3 | 0.031586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1362-34_0_4_line_3 |  | 2 | 4 | 0.018958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1362-34_0_4_line_4 |  | 4 | 5 | 0.0062621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1362-34_0_4_line_5 |  | 5 | 6 | 0.02206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1362-34_0_4_line_6 |  | 6 | 7 | 0.047791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1362-34_0_4_line_7 |  | 7 | 8 | 0.12808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1362-34_0_4_line_8 |  | 8 | 9 | 0.11581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1362-34_0_4_line_9 |  | 9 | 10 | 0.036313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1362-34_0_4_line_10 |  | 10 | 11 | 0.00036814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1362-34_0_4_line_11 |  | 11 | 63 | 0.34936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1362-34_0_4_line_12 |  | 12 | 13 | 0.0054202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_1362-34_0_4_line_13 |  | 12 | 14 | 0.11644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_1362-34_0_4_line_14 |  | 13 | 15 | 0.26411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_1362-34_0_4_line_15 |  | 14 | 16 | 0.074423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_1362-34_0_4_line_16 |  | 15 | 17 | 0.10155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_1362-34_0_4_line_17 |  | 16 | 18 | 0.065899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_1362-34_0_4_line_18 |  | 17 | 29 | 0.26237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_1362-34_0_4_line_19 |  | 18 | 19 | 0.17686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_1362-34_0_4_line_20 |  | 19 | 20 | 0.23603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_1362-34_0_4_line_21 |  | 20 | 21 | 0.18998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_1362-34_0_4_line_22 |  | 21 | 22 | 0.13865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1362-34_0_4_line_23 |  | 22 | 23 | 0.39671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1362-34_0_4_line_24 |  | 23 | 24 | 0.24087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1362-34_0_4_line_25 |  | 24 | 63 | 0.09078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1362-34_0_4_line_26 |  | 25 | 26 | 0.027146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1362-34_0_4_line_27 |  | 26 | 27 | 0.018183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1362-34_0_4_line_28 |  | 27 | 28 | 0.0086175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1362-34_0_4_line_29 |  | 28 | 29 | 0.077263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1362-34_0_4_line_30 |  | 29 | 30 | 0.020026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_1362-34_0_4_line_31 |  | 30 | 31 | 0.0092949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_1362-34_0_4_line_32 |  | 31 | 32 | 0.14934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_1362-34_0_4_line_33 |  | 32 | 33 | 0.1369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_1362-34_0_4_line_34 |  | 33 | 34 | 0.004604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1362-34_0_4_line_35 |  | 33 | 35 | 0.020029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1362-34_0_4_line_36 |  | 34 | 60 | 0.14848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1362-34_0_4_line_37 |  | 34 | 36 | 0.18009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1362-34_0_4_line_38 |  | 35 | 57 | 0.082767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1362-34_0_4_line_39 |  | 37 | 38 | 0.10346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1362-34_0_4_line_40 |  | 37 | 39 | 0.040985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1362-34_0_4_line_41 |  | 38 | 40 | 0.061338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1362-34_0_4_line_42 |  | 39 | 41 | 0.13433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1362-34_0_4_line_43 |  | 40 | 42 | 0.20488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1362-34_0_4_line_44 |  | 40 | 43 | 0.07063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1362-34_0_4_line_45 |  | 42 | 51 | 0.027102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1362-34_0_4_line_46 |  | 42 | 44 | 0.075795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1362-34_0_4_line_47 |  | 43 | 52 | 0.010566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1362-34_0_4_line_48 |  | 44 | 45 | 0.011528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1362-34_0_4_line_49 |  | 44 | 46 | 0.0093644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1362-34_0_4_line_50 |  | 47 | 48 | 0.004328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1362-34_0_4_line_51 |  | 47 | 49 | 0.18306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1362-34_0_4_line_52 |  | 47 | 50 | 0.0701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1362-34_0_4_line_53 |  | 48 | 54 | 0.043223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1362-34_0_4_line_54 |  | 48 | 55 | 0.099677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1362-34_0_4_line_55 |  | 49 | 56 | 0.01711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1362-34_0_4_line_56 |  | 50 | 53 | 0.074543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1362-34_0_4_line_57 |  | 51 | 54 | 0.042203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1362-34_0_4_line_58 |  | 52 | 65 | 0.0075109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1362-34_0_4_line_59 |  | 54 | 58 | 0.076949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1362-34_0_4_line_60 |  | 56 | 60 | 0.02817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1362-34_0_4_line_61 |  | 57 | 59 | 0.0095121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1362-34_0_4_line_62 |  | 59 | 61 | 0.015045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1362-34_0_4_line_63 |  | 61 | 62 | 0.010517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1362-34_0_4_line_64 |  | 63 | 64 | 0.015488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1362-34_0_4_line_65 |  | 65 | 66 | 0.027429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1362-34_0_4_line_66 |  | 66 | 67 | 0.0020015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1362-34_0_4_trafo_16 | 0.63 MVA 20/0.4 kV | 68 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2686288.4056 | 1211647.7159 | 2686290.9972 | 1211641.0064
1 | 2686279.4135 | 1211754.3818 | 2686274.4104 | 1211708.3679 | 2686275.2847 | 1211691.0136 | 2686280.4778 | 1211668.2403 | 2686288.4056 | 1211647.7159
2 | 2686290.9972 | 1211641.0064 | 2686302.3781 | 1211611.5423
3 | 2686279.4135 | 1211754.3818 | 2686260.6023 | 1211752.031
4 | 2686254.3886 | 1211751.2545 | 2686260.6023 | 1211752.031
5 | 2686232.6644 | 1211747.6678 | 2686238.8539 | 1211749.3142 | 2686244.4975 | 1211750.0185 | 2686254.3886 | 1211751.2545
6 | 2686232.6644 | 1211747.6678 | 2686230.0575 | 1211746.9744 | 2686222.2587 | 1211743.4371 | 2686190.6618 | 1211725.1051
7 | 2686073.1768 | 1211677.1629 | 2686110.8246 | 1211684.9891 | 2686119.4773 | 1211687.8159 | 2686130.0403 | 1211692.0267 | 2686143.2132 | 1211697.5761 | 2686190.6618 | 1211725.1051
8 | 2686066.6214 | 1211561.681 | 2686067.0606 | 1211616.0121 | 2686073.1768 | 1211677.1629
9 | 2686066.6214 | 1211561.681 | 2686063.2072 | 1211552.3479 | 2686049.9515 | 1211549.8661 | 2686045.2564 | 1211537.8632
10 | 2686045.2564 | 1211537.8632 | 2686045.1223 | 1211537.5204
11 | 2686045.1223 | 1211537.5204 | 2685706.9387 | 1211449.8607
12 | 2686163.0829 | 1210596.1913 | 2686157.6875 | 1210596.7092
13 | 2686277.8419 | 1210604.0564 | 2686266.2502 | 1210607.2576 | 2686255.803 | 1210607.0064 | 2686184.208 | 1210594.1634 | 2686163.0829 | 1210596.1913
14 | 2686134.7822 | 1210333.5896 | 2686157.6875 | 1210596.7092
15 | 2686225.2422 | 1210655.2631 | 2686232.6701 | 1210648.8107 | 2686249.6685 | 1210638.583 | 2686257.3264 | 1210629.899 | 2686269.1263 | 1210611.7799 | 2686277.8419 | 1210604.0564
16 | 2686227.8226 | 1210292.3062 | 2686134.7822 | 1210333.5896
17 | 2686225.2422 | 1210655.2631 | 2686221.0186 | 1210657.7259 | 2686214.5694 | 1210660.6236 | 2686208.2463 | 1210662.1665 | 2686199.9515 | 1210661.8131 | 2686180.1597 | 1210656.546 | 2686173.4521 | 1210656.816 | 2686167.6089 | 1210659.8558 | 2686163.4617 | 1210663.233
18 | 2686074.2862 | 1210109.7474 | 2686143.9613 | 1210135.4141 | 2686167.826 | 1210144.0532 | 2686177.61 | 1210150.2875 | 2686184.3137 | 1210159.7905 | 2686190.1893 | 1210169.2705 | 2686227.8226 | 1210292.3062
19 | 2685999.4613 | 1210716.2337 | 2686015.9674 | 1210711.6464 | 2686045.0276 | 1210706.1396 | 2686060.9682 | 1210704.4017 | 2686077.6936 | 1210705.1656 | 2686089.088 | 1210701.3942 | 2686104.7029 | 1210686.9433 | 2686112.4218 | 1210682.9632 | 2686125.276 | 1210679.691 | 2686140.6937 | 1210675.7443 | 2686155.8569 | 1210669.4258 | 2686163.4617 | 1210663.233
20 | 2685899.7537 | 1210502.3014 | 2685999.4613 | 1210716.2337
21 | 2685899.7537 | 1210502.3014 | 2685776.0896 | 1210646.5172
22 | 2685776.0896 | 1210646.5172 | 2685767.8022 | 1210653.5805 | 2685727.0852 | 1210692.2207 | 2685687.2966 | 1210737.1676 | 2685681.1405 | 1210740.3257 | 2685676.7033 | 1210738.8207
23 | 2685676.7033 | 1210738.8207 | 2685697.3498 | 1211134.9957
24 | 2685697.3498 | 1211134.9957 | 2685690.178 | 1211162.8443 | 2685685.2322 | 1211185.9885 | 2685685.8277 | 1211197.4379 | 2685689.0662 | 1211205.8344 | 2685690.7168 | 1211209.4383 | 2685718.1903 | 1211248.5587 | 2685718.1601 | 1211272.8631 | 2685719.9328 | 1211299.684 | 2685729.2154 | 1211339.0989 | 2685733.6333 | 1211363.2338 | 2685733.6333 | 1211363.2338
25 | 2685733.6333 | 1211363.2338 | 2685727.1397 | 1211382.5087 | 2685717.9471 | 1211406.6147 | 2685713.1502 | 1211427.8709 | 2685706.9387 | 1211449.8607
26 | 2686040.1339 | 1210229.7417 | 2686040.9683 | 1210228.3893 | 2686055.0445 | 1210207.0582
27 | 2686055.0445 | 1210207.0582 | 2686065.0596 | 1210191.8814
28 | 2686069.8059 | 1210184.6888 | 2686065.0596 | 1210191.8814
29 | 2686074.2862 | 1210109.7474 | 2686076.6165 | 1210128.4044 | 2686078.79 | 1210145.2913 | 2686078.0413 | 1210168.1955 | 2686073.7313 | 1210178.7403 | 2686069.8059 | 1210184.6888
30 | 2686074.2862 | 1210109.7474 | 2686054.954 | 1210104.5224
31 | 2686050.2347 | 1210096.6475 | 2686053.5085 | 1210103.1323 | 2686054.7738 | 1210104.4737 | 2686054.954 | 1210104.5224
32 | 2686050.2347 | 1210096.6475 | 2686025.128 | 1210096.6188 | 2686008.3006 | 1210095.9647 | 2685989.3386 | 1210095.2132 | 2685901.0163 | 1210091.2321
33 | 2685764.2504 | 1210085.0674 | 2685901.0163 | 1210091.2321
34 | 2685764.2504 | 1210085.0674 | 2685764.3622 | 1210080.466
35 | 2685764.2504 | 1210085.0674 | 2685744.1793 | 1210084.2673
36 | 2685764.3622 | 1210080.466 | 2685693.4512 | 1210077.1785 | 2685616.0102 | 1210074.4808
37 | 2685764.3622 | 1210080.466 | 2685942.8432 | 1210088.7614 | 2685944.255 | 1210088.8201
38 | 2685744.1793 | 1210084.2673 | 2685720.0926 | 1210135.9663 | 2685699.5413 | 1210151.4517
39 | 2685317.5831 | 1210595.9162 | 2685317.318 | 1210592.8936 | 2685316.8268 | 1210583.1358 | 2685315.9227 | 1210573.5499 | 2685310.6918 | 1210552.9394 | 2685311.4821 | 1210543.3889 | 2685314.3771 | 1210533.357 | 2685314.2836 | 1210525.5506 | 2685310.5956 | 1210515.0354 | 2685303.5635 | 1210502.9158 | 2685299.8971 | 1210497.2183
40 | 2685317.5831 | 1210595.9162 | 2685318.0434 | 1210601.165 | 2685319.471 | 1210610.814 | 2685322.3633 | 1210624.8756 | 2685324.1083 | 1210632.5278 | 2685324.5849 | 1210636.255
41 | 2685264.0369 | 1210447.8148 | 2685271.0988 | 1210461.0577 | 2685280.5989 | 1210474.4022 | 2685296.5444 | 1210492.0083 | 2685299.8971 | 1210497.2183
42 | 2685346.0699 | 1210751.242 | 2685346.0699 | 1210751.242 | 2685340.8166 | 1210737.002 | 2685330.0822 | 1210724.4291 | 2685316.998 | 1210717.2595 | 2685307.6824 | 1210706.4526 | 2685310.1231 | 1210694.1683 | 2685314.771 | 1210685.9182 | 2685319.9666 | 1210675.519 | 2685321.755 | 1210665.7938 | 2685324.0959 | 1210654.6422 | 2685325.336 | 1210647.6553 | 2685325.0311 | 1210639.7458 | 2685324.5849 | 1210636.255
43 | 2685264.0369 | 1210447.8148 | 2685256.4937 | 1210439.5349 | 2685270.6113 | 1210427.1062 | 2685287.8459 | 1210408.2624 | 2685300.03 | 1210391.2699 | 2685302.1939 | 1210388.2433 | 2685311.4111 | 1210371.9644 | 2685325.1057 | 1210343.9641 | 2685353.2292 | 1210283.4266 | 2685356.8745 | 1210276.2184
44 | 2685264.0369 | 1210447.8148 | 2685271.5151 | 1210508.4836 | 2685269.3673 | 1210517.292 | 2685269.177 | 1210517.6837
45 | 2685356.8745 | 1210276.2184 | 2685365.3275 | 1210260.7737 | 2685370.5659 | 1210252.8546
46 | 2685288.5701 | 1210243.3647 | 2685299.018 | 1210248.3951 | 2685307.2543 | 1210252.3488 | 2685352.4734 | 1210274.0985 | 2685356.8745 | 1210276.2184
47 | 2685264.5599 | 1210527.1871 | 2685269.177 | 1210517.6837
48 | 2685288.5701 | 1210243.3647 | 2685286.8109 | 1210254.7582
49 | 2685288.5701 | 1210243.3647 | 2685289.9347 | 1210239.3594 | 2685290.4766 | 1210234.2551
50 | 2685427.8312 | 1210189.666 | 2685425.0204 | 1210186.368
51 | 2685425.0204 | 1210186.368 | 2685433.512 | 1210178.8625 | 2685506.2924 | 1210113.1841 | 2685521.6752 | 1210101.6747 | 2685546.9381 | 1210087.6276 | 2685571.3642 | 1210080.0585
52 | 2685378.7092 | 1210134.1488 | 2685386.9049 | 1210147.3081 | 2685402.1475 | 1210164.6709 | 2685420.2506 | 1210180.7961 | 2685425.0204 | 1210186.368
53 | 2685397.0366 | 1210220.0785 | 2685427.8312 | 1210189.666
54 | 2685427.8312 | 1210189.666 | 2685461.8441 | 1210159.5889 | 2685499.5222 | 1210126.2623 | 2685502.5303 | 1210123.6702
55 | 2685588.0612 | 1210076.4613 | 2685576.4636 | 1210078.4783 | 2685571.3642 | 1210080.0585
56 | 2685378.7092 | 1210134.1488 | 2685383.8658 | 1210120.6694 | 2685391.6898 | 1210107.7617 | 2685412.1422 | 1210083.0049 | 2685419.3344 | 1210072.2897
57 | 2685397.0366 | 1210220.0785 | 2685383.5848 | 1210234.7956 | 2685372.0012 | 1210250.6848 | 2685370.5659 | 1210252.8546
58 | 2685261.2777 | 1210533.9429 | 2685264.5599 | 1210527.1871
59 | 2685397.0366 | 1210220.0785 | 2685406.8963 | 1210233.8064 | 2685415.1347 | 1210251.9362 | 2685421.2107 | 1210287.8244 | 2685422.4225 | 1210291.3571
60 | 2685588.0612 | 1210076.4613 | 2685602.2127 | 1210074.0002 | 2685616.0102 | 1210074.4808
61 | 2685691.9444 | 1210157.1759 | 2685699.5413 | 1210151.4517
62 | 2685688.4486 | 1210171.8088 | 2685691.9444 | 1210157.1759 | 2685691.9444 | 1210157.1759
63 | 2685686.0049 | 1210182.0379 | 2685688.4486 | 1210171.8088
64 | 2685706.9387 | 1211449.8607 | 2685702.7285 | 1211464.7654
65 | 2685236.3693 | 1210522.3016 | 2685261.2777 | 1210533.9429
66 | 2685236.3693 | 1210522.3016 | 2685234.7207 | 1210521.1667

## bus_geodata
| x | y | coords
0 | 2686288.4056 | 1211647.7159
1 | 2686290.9972 | 1211641.0064
2 | 2686279.4135 | 1211754.3818
3 | 2686302.3781 | 1211611.5423
4 | 2686260.6023 | 1211752.031
5 | 2686254.3886 | 1211751.2545
6 | 2686232.6644 | 1211747.6678
7 | 2686190.6618 | 1211725.1051
8 | 2686073.1768 | 1211677.1629
9 | 2686066.6214 | 1211561.681
10 | 2686045.2564 | 1211537.8632
11 | 2686045.1223 | 1211537.5204
12 | 2686163.0829 | 1210596.1913
13 | 2686157.6875 | 1210596.7092
14 | 2686277.8419 | 1210604.0564
15 | 2686134.7822 | 1210333.5896
16 | 2686225.2422 | 1210655.2631
17 | 2686227.8226 | 1210292.3062
18 | 2686163.4617 | 1210663.233
19 | 2685999.4613 | 1210716.2337
20 | 2685899.7537 | 1210502.3014
21 | 2685776.0896 | 1210646.5172
22 | 2685676.7033 | 1210738.8207
23 | 2685697.3498 | 1211134.9957
24 | 2685733.6333 | 1211363.2338
25 | 2686040.1339 | 1210229.7417
26 | 2686055.0445 | 1210207.0582
27 | 2686065.0596 | 1210191.8814
28 | 2686069.8059 | 1210184.6888
29 | 2686074.2862 | 1210109.7474
30 | 2686054.954 | 1210104.5224
31 | 2686050.2347 | 1210096.6475
32 | 2685901.0163 | 1210091.2321
33 | 2685764.2504 | 1210085.0674
34 | 2685764.3622 | 1210080.466
35 | 2685744.1793 | 1210084.2673
36 | 2685944.255 | 1210088.8201
37 | 2685317.5831 | 1210595.9162
38 | 2685299.8971 | 1210497.2183
39 | 2685324.5849 | 1210636.255
40 | 2685264.0369 | 1210447.8148
41 | 2685346.0699 | 1210751.242
42 | 2685356.8745 | 1210276.2184
43 | 2685269.177 | 1210517.6837
44 | 2685288.5701 | 1210243.3647
45 | 2685286.8109 | 1210254.7582
46 | 2685290.4766 | 1210234.2551
47 | 2685425.0204 | 1210186.368
48 | 2685427.8312 | 1210189.666
49 | 2685571.3642 | 1210080.0585
50 | 2685378.7092 | 1210134.1488
51 | 2685370.5659 | 1210252.8546
52 | 2685264.5599 | 1210527.1871
53 | 2685419.3344 | 1210072.2897
54 | 2685397.0366 | 1210220.0785
55 | 2685502.5303 | 1210123.6702
56 | 2685588.0612 | 1210076.4613
57 | 2685699.5413 | 1210151.4517
58 | 2685422.4225 | 1210291.3571
59 | 2685691.9444 | 1210157.1759
60 | 2685616.0102 | 1210074.4808
61 | 2685688.4486 | 1210171.8088
62 | 2685686.0049 | 1210182.0379
63 | 2685706.9387 | 1211449.8607
64 | 2685702.7285 | 1211464.7654
65 | 2685261.2777 | 1210533.9429
66 | 2685236.3693 | 1210522.3016
67 | 2685234.7207 | 1210521.1667
68 | 2685776.0896 | 1210646.5172

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99045 | -0.18469 | 0.00028717 | 7.1972e-05
1 | 0.99045 | -0.18481 | 0.00027685 | 6.9386e-05
2 | 0.99057 | -0.18237 | 0 | 0
3 | 0.99043 | -0.18517 | 0.00063448 | 0.00015901
4 | 0.99059 | -0.18196 | 0.00043079 | 0.00010797
5 | 0.9906 | -0.18178 | 0.00033588 | 8.418e-05
6 | 0.99064 | -0.18101 | 0.0016533 | 0.00041435
7 | 0.9908 | -0.17793 | 0.00071898 | 0.00018019
8 | 0.99131 | -0.16805 | 0 | 0
9 | 0.99177 | -0.15911 | 0 | 0
10 | 0.99191 | -0.15631 | 0.00083627 | 0.00020959
11 | 0.99191 | -0.15628 | 0.0017375 | 0.00043545
12 | 0.99124 | -0.16681 | 0.0011561 | 0.00028974
13 | 0.99119 | -0.16782 | 0.00038275 | 9.5926e-05
14 | 0.99242 | -0.1443 | 0 | 0
15 | 0.98865 | -0.21663 | 0.00026036 | 6.5252e-05
16 | 0.99317 | -0.12994 | 0 | 0
17 | 0.98768 | -0.2353 | 0 | 0
18 | 0.99383 | -0.11724 | 0.00022874 | 5.7328e-05
19 | 0.99563 | -0.082984 | 0.00026681 | 6.6868e-05
20 | 0.99804 | -0.037065 | 0.00021982 | 5.5092e-05
21 | 1 | 0 | -0.043956 | -0.010785
22 | 0.99895 | -0.020105 | 0.00097601 | 0.00024461
23 | 0.99632 | -0.070997 | 0 | 0
24 | 0.99471 | -0.10198 | 0.00013751 | 3.4464e-05
25 | 0.98469 | -0.29322 | 0.0023221 | 0.00058198
26 | 0.98475 | -0.29209 | 0.0014581 | 0.00036544
27 | 0.98482 | -0.29085 | 0.00042969 | 0.00010769
28 | 0.98485 | -0.2902 | 0.0004944 | 0.00012391
29 | 0.98518 | -0.28366 | 0 | 0
30 | 0.98502 | -0.2868 | 0.00089567 | 0.00022448
31 | 0.98495 | -0.28821 | 0 | 0
32 | 0.98378 | -0.31081 | 0.00090608 | 0.00022709
33 | 0.98275 | -0.33083 | 0 | 0
34 | 0.98266 | -0.3326 | 0 | 0
35 | 0.9827 | -0.33188 | 0 | 0
36 | 0.9826 | -0.33383 | 0.00037264 | 9.3392e-05
37 | 0.97047 | -0.57164 | 0.0011461 | 0.00028724
38 | 0.97086 | -0.56402 | 0.001803 | 0.00045187
39 | 0.97036 | -0.5738 | 0.0013324 | 0.00033392
40 | 0.97119 | -0.55745 | 0 | 0
41 | 0.97017 | -0.57753 | 0.0014993 | 0.00037577
42 | 0.97416 | -0.49866 | 0 | 0
43 | 0.97054 | -0.57022 | 0.0008691 | 0.00021782
44 | 0.97414 | -0.4991 | 0 | 0
45 | 0.97414 | -0.49913 | 0.00016906 | 4.2371e-05
46 | 0.97414 | -0.49912 | 0.00014307 | 3.5856e-05
47 | 0.97594 | -0.46367 | 0 | 0
48 | 0.97587 | -0.46504 | 0 | 0
49 | 0.97898 | -0.40425 | 0.00044731 | 0.00011211
50 | 0.97591 | -0.46434 | 0 | 0
51 | 0.97457 | -0.49075 | 0.00031534 | 7.9032e-05
52 | 0.97045 | -0.57197 | 0.0036146 | 0.0009059
53 | 0.97587 | -0.46505 | 0.00051963 | 0.00013023
54 | 0.9752 | -0.4782 | 0 | 0
55 | 0.97582 | -0.4662 | 0.00063385 | 0.00015886
56 | 0.97927 | -0.39858 | 0.00028064 | 7.0336e-05
57 | 0.98247 | -0.33625 | 0.00054249 | 0.00013596
58 | 0.97517 | -0.47879 | 0.00041344 | 0.00010362
59 | 0.98245 | -0.33666 | 0.00062122 | 0.00015569
60 | 0.97976 | -0.38909 | 0.0024874 | 0.00062339
61 | 0.98243 | -0.33714 | 0.00052721 | 0.00013213
62 | 0.98242 | -0.33737 | 0.0012284 | 0.00030788
63 | 0.99412 | -0.11346 | 0.00011545 | 2.8934e-05
64 | 0.99412 | -0.11349 | 0.00011418 | 2.8617e-05
65 | 0.97042 | -0.5727 | 0 | 0
66 | 0.97028 | -0.57539 | 0 | 0
67 | 0.97027 | -0.57559 | 0.005294 | 0.0013268
68 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.00091134 | 0.00022791 | -0.00091134 | -0.000228 | 5.0551e-09 | -8.9333e-08 | 0.001369 | 0.001369 | 0.001369 | 0.99045 | -0.18469 | 0.99045 | -0.18481 | 0.37611
1 | -0.0011985 | -0.00029988 | 0.0011986 | 0.00029857 | 1.3249e-07 | -1.3185e-06 | 0.0018004 | 0.0017999 | 0.0018004 | 0.99045 | -0.18469 | 0.99057 | -0.18237 | 0.49462
2 | 0.00063449 | 0.00015861 | -0.00063448 | -0.00015901 | 1.0761e-08 | -3.9961e-07 | 0.00095309 | 0.00095323 | 0.00095323 | 0.99045 | -0.18481 | 0.99043 | -0.18517 | 0.26188
3 | -0.0011986 | -0.00029857 | 0.0011987 | 0.00029834 | 2.3031e-08 | -2.2931e-07 | 0.0017999 | 0.0017998 | 0.0017999 | 0.99057 | -0.18237 | 0.99059 | -0.18196 | 0.49449
4 | -0.0016295 | -0.0004063 | 0.0016295 | 0.00040623 | 1.406e-08 | -7.1617e-08 | 0.002447 | 0.0024469 | 0.002447 | 0.99059 | -0.18196 | 0.9906 | -0.18178 | 0.67224
5 | -0.0019654 | -0.00049041 | 0.0019654 | 0.00049017 | 7.2061e-08 | -2.3789e-07 | 0.0029515 | 0.0029514 | 0.0029515 | 0.9906 | -0.18178 | 0.99064 | -0.18101 | 0.81084
6 | -0.0036187 | -0.00090452 | 0.0036192 | 0.00090425 | 5.2931e-07 | -2.7664e-07 | 0.0054347 | 0.0054345 | 0.0054347 | 0.99064 | -0.18101 | 0.9908 | -0.17793 | 1.4931
7 | -0.0043382 | -0.0010844 | 0.0043403 | 0.0010841 | 2.038e-06 | -3.4606e-07 | 0.0065143 | 0.0065137 | 0.0065143 | 0.9908 | -0.17793 | 0.99131 | -0.16805 | 1.7896
8 | -0.0043403 | -0.0010841 | 0.0043421 | 0.0010838 | 1.8425e-06 | -3.1457e-07 | 0.0065137 | 0.0065132 | 0.0065137 | 0.99131 | -0.16805 | 0.99177 | -0.15911 | 1.7895
9 | -0.0043421 | -0.0010838 | 0.0043427 | 0.0010837 | 5.7765e-07 | -9.8958e-08 | 0.0065132 | 0.006513 | 0.0065132 | 0.99177 | -0.15911 | 0.99191 | -0.15631 | 1.7893
10 | -0.0051789 | -0.0012933 | 0.005179 | 0.0012933 | 8.3299e-09 | 5.7871e-10 | 0.0077675 | 0.0077675 | 0.0077675 | 0.99191 | -0.15631 | 0.99191 | -0.15628 | 2.1339
11 | -0.0069164 | -0.0017287 | 0.0069305 | 0.0017332 | 1.4097e-05 | 4.5026e-06 | 0.010374 | 0.010372 | 0.010374 | 0.99191 | -0.15628 | 0.99412 | -0.11346 | 2.85
12 | 0.03185 | 0.0080924 | -0.031849 | -0.0080916 | 1.5514e-06 | 7.8329e-07 | 0.047852 | 0.047852 | 0.047852 | 0.99124 | -0.16681 | 0.99119 | -0.16782 | 4.382
13 | -0.033006 | -0.0083822 | 0.033042 | 0.0084005 | 3.5787e-05 | 1.8395e-05 | 0.049587 | 0.049586 | 0.049587 | 0.99124 | -0.16681 | 0.99242 | -0.1443 | 4.541
14 | 0.031466 | 0.0079957 | -0.031392 | -0.0079587 | 7.3797e-05 | 3.7044e-05 | 0.047277 | 0.047281 | 0.047281 | 0.99119 | -0.16782 | 0.98865 | -0.21663 | 4.3298
15 | -0.033042 | -0.0084005 | 0.033065 | 0.0084123 | 2.2873e-05 | 1.1752e-05 | 0.049586 | 0.049585 | 0.049586 | 0.99242 | -0.1443 | 0.99317 | -0.12994 | 4.5408
16 | 0.031132 | 0.0078934 | -0.031104 | -0.0078794 | 2.7908e-05 | 1.3959e-05 | 0.046889 | 0.04689 | 0.04689 | 0.98865 | -0.21663 | 0.98768 | -0.2353 | 4.294
17 | -0.033065 | -0.0084123 | 0.033085 | 0.0084227 | 2.0252e-05 | 1.0401e-05 | 0.049585 | 0.049584 | 0.049585 | 0.99317 | -0.12994 | 0.99383 | -0.11724 | 4.5407
18 | 0.031104 | 0.0078794 | -0.031032 | -0.0078433 | 7.2115e-05 | 3.6105e-05 | 0.04689 | 0.046894 | 0.046894 | 0.98768 | -0.2353 | 0.98518 | -0.28366 | 4.2943
19 | -0.033314 | -0.00848 | 0.033369 | 0.0085084 | 5.5104e-05 | 2.8379e-05 | 0.049926 | 0.049924 | 0.049926 | 0.99383 | -0.11724 | 0.99563 | -0.082984 | 4.572
20 | -0.033636 | -0.0085753 | 0.033711 | 0.0086139 | 7.4708e-05 | 3.8582e-05 | 0.050322 | 0.050319 | 0.050322 | 0.99563 | -0.082984 | 0.99804 | -0.037065 | 4.6083
21 | -0.033931 | -0.0086689 | 0.033991 | 0.0087005 | 6.091e-05 | 3.152e-05 | 0.050647 | 0.050644 | 0.050647 | 0.99804 | -0.037065 | 1 | 0 | 4.638
22 | 0.0083141 | 0.0020842 | -0.0083061 | -0.0020809 | 7.9587e-06 | 3.2764e-06 | 0.012372 | 0.012372 | 0.012372 | 1 | 0 | 0.99895 | -0.020105 | 3.399
23 | 0.0073301 | 0.0018363 | -0.0073124 | -0.0018301 | 1.7738e-05 | 6.1722e-06 | 0.010918 | 0.01092 | 0.01092 | 0.99895 | -0.020105 | 0.99632 | -0.070997 | 3.0001
24 | 0.0073124 | 0.0018301 | -0.0073016 | -0.0018264 | 1.0773e-05 | 3.7627e-06 | 0.01092 | 0.010921 | 0.010921 | 0.99632 | -0.070997 | 0.99471 | -0.10198 | 3.0004
25 | 0.0071641 | 0.0017919 | -0.0071602 | -0.0017906 | 3.9091e-06 | 1.3241e-06 | 0.010716 | 0.010716 | 0.010716 | 0.99471 | -0.10198 | 0.99412 | -0.11346 | 2.944
26 | -0.0023221 | -0.00058198 | 0.0023223 | 0.00058172 | 1.2535e-07 | -2.6512e-07 | 0.0035091 | 0.003509 | 0.0035091 | 0.98469 | -0.29322 | 0.98475 | -0.29209 | 0.96403
27 | -0.0037804 | -0.00094715 | 0.0037806 | 0.00094707 | 2.2249e-07 | -8.8954e-08 | 0.0057122 | 0.0057122 | 0.0057122 | 0.98475 | -0.29209 | 0.98482 | -0.29085 | 1.5693
28 | -0.0042103 | -0.0010548 | 0.0042104 | 0.0010547 | 1.3077e-07 | -2.5958e-08 | 0.0063614 | 0.0063614 | 0.0063614 | 0.98482 | -0.29085 | 0.98485 | -0.2902 | 1.7476
29 | -0.0047048 | -0.0011786 | 0.0047063 | 0.0011786 | 1.4639e-06 | -4.6574e-08 | 0.0071084 | 0.007108 | 0.0071084 | 0.98485 | -0.2902 | 0.98518 | -0.28366 | 1.9528
30 | 0.026326 | 0.0066648 | -0.026322 | -0.006663 | 3.9625e-06 | 1.7711e-06 | 0.039786 | 0.039786 | 0.039786 | 0.98518 | -0.28366 | 0.98502 | -0.2868 | 3.6434
31 | 0.025426 | 0.0064385 | -0.025424 | -0.0064378 | 1.7162e-06 | 7.4345e-07 | 0.038433 | 0.038433 | 0.038433 | 0.98502 | -0.2868 | 0.98495 | -0.28821 | 3.5195
32 | 0.025424 | 0.0064378 | -0.025397 | -0.0064258 | 2.7575e-05 | 1.1953e-05 | 0.038433 | 0.038435 | 0.038435 | 0.98495 | -0.28821 | 0.98378 | -0.31081 | 3.5197
33 | 0.024491 | 0.0061987 | -0.024467 | -0.0061889 | 2.3511e-05 | 9.8378e-06 | 0.037065 | 0.037067 | 0.037067 | 0.98378 | -0.31081 | 0.98275 | -0.33083 | 3.3944
34 | 0.021547 | 0.0054584 | -0.021545 | -0.0054573 | 1.84e-06 | 1.1193e-06 | 0.032646 | 0.032646 | 0.032646 | 0.98275 | -0.33083 | 0.98266 | -0.3326 | 8.9686
35 | 0.0029202 | 0.00073046 | -0.0029201 | -0.00073062 | 1.4681e-07 | -1.5981e-07 | 0.0044211 | 0.0044212 | 0.0044212 | 0.98275 | -0.33083 | 0.9827 | -0.33188 | 1.2146
36 | 0.021172 | 0.0053662 | -0.021115 | -0.0053314 | 5.7309e-05 | 3.4803e-05 | 0.032082 | 0.032083 | 0.032083 | 0.98266 | -0.3326 | 0.97976 | -0.38909 | 8.814
37 | 0.00037266 | 9.1124e-05 | -0.00037264 | -9.3392e-05 | 2.1475e-08 | -2.2675e-06 | 0.00056351 | 0.00056431 | 0.00056431 | 0.98266 | -0.3326 | 0.9826 | -0.33383 | 0.15503
38 | 0.0029201 | 0.00073062 | -0.0029195 | -0.00073128 | 6.0674e-07 | -6.6004e-07 | 0.0044212 | 0.0044216 | 0.0044216 | 0.9827 | -0.33188 | 0.98247 | -0.33625 | 1.2147
39 | -0.0039784 | -0.00099512 | 0.0039798 | 0.00099477 | 1.4432e-06 | -3.5519e-07 | 0.0060993 | 0.0060988 | 0.0060993 | 0.97047 | -0.57164 | 0.97086 | -0.56402 | 1.6756
40 | 0.0028323 | 0.00070788 | -0.002832 | -0.0007082 | 2.8977e-07 | -3.209e-07 | 0.004342 | 0.0043422 | 0.0043422 | 0.97047 | -0.57164 | 0.97036 | -0.5738 | 1.1929
41 | -0.0057828 | -0.0014466 | 0.0057846 | 0.001447 | 1.8065e-06 | 3.9741e-07 | 0.0088623 | 0.008862 | 0.0088623 | 0.97086 | -0.56402 | 0.97119 | -0.55745 | 2.4347
42 | 0.0014996 | 0.00037428 | -0.0014993 | -0.00037577 | 2.6632e-07 | -1.4886e-06 | 0.002299 | 0.0022996 | 0.0022996 | 0.97036 | -0.5738 | 0.97017 | -0.57753 | 0.63176
43 | -0.01557 | -0.003901 | 0.015614 | 0.0039264 | 4.3721e-05 | 2.5438e-05 | 0.023855 | 0.023854 | 0.023855 | 0.97119 | -0.55745 | 0.97416 | -0.49866 | 6.5537
44 | 0.0097854 | 0.0024539 | -0.0097794 | -0.002451 | 5.9542e-06 | 2.9373e-06 | 0.014993 | 0.014994 | 0.014994 | 0.97119 | -0.55745 | 0.97054 | -0.57022 | 4.1191
45 | -0.015926 | -0.0040034 | 0.015932 | 0.004007 | 6.0164e-06 | 3.5129e-06 | 0.024331 | 0.024331 | 0.024331 | 0.97416 | -0.49866 | 0.97457 | -0.49075 | 6.6843
46 | 0.00031214 | 7.7028e-05 | -0.00031213 | -7.7967e-05 | 6.4541e-09 | -9.3951e-07 | 0.00047635 | 0.00047669 | 0.00047669 | 0.97416 | -0.49866 | 0.97414 | -0.4991 | 0.13096
47 | 0.0089103 | 0.0022332 | -0.0089096 | -0.0022328 | 7.3944e-07 | 3.4268e-07 | 0.013661 | 0.013661 | 0.013661 | 0.97054 | -0.57022 | 0.97045 | -0.57197 | 3.7531
48 | 0.00016906 | 4.2228e-05 | -0.00016906 | -4.2371e-05 | 2.8826e-10 | -1.4334e-07 | 0.0002582 | 0.00025825 | 0.00025825 | 0.97414 | -0.4991 | 0.97414 | -0.49913 | 0.070947
49 | 0.00014307 | 3.5739e-05 | -0.00014307 | -3.5856e-05 | 1.6767e-10 | -1.1648e-07 | 0.00021849 | 0.00021854 | 0.00021854 | 0.97414 | -0.4991 | 0.97414 | -0.49912 | 0.060037
50 | 0.017316 | 0.0043588 | -0.017315 | -0.0043582 | 1.1319e-06 | 6.7032e-07 | 0.026408 | 0.026408 | 0.026408 | 0.97594 | -0.46367 | 0.97587 | -0.46504 | 7.255
51 | -0.017836 | -0.0044873 | 0.017886 | 0.0045175 | 5.0786e-05 | 3.0208e-05 | 0.0272 | 0.027199 | 0.0272 | 0.97594 | -0.46367 | 0.97898 | -0.40425 | 7.4725
52 | 0.00051967 | 0.00012845 | -0.00051965 | -0.00012931 | 1.6483e-08 | -8.6537e-07 | 0.00079169 | 0.000792 | 0.000792 | 0.97594 | -0.46367 | 0.97591 | -0.46434 | 0.21758
53 | 0.016681 | 0.0042005 | -0.01667 | -0.0041944 | 1.0492e-05 | 6.1752e-06 | 0.025442 | 0.025442 | 0.025442 | 0.97587 | -0.46504 | 0.9752 | -0.4782 | 6.9897
54 | 0.00063389 | 0.00015764 | -0.00063385 | -0.00015886 | 3.4904e-08 | -1.2229e-06 | 0.00096611 | 0.00096656 | 0.00096656 | 0.97587 | -0.46504 | 0.97582 | -0.4662 | 0.26554
55 | -0.018334 | -0.0046296 | 0.018339 | 0.0046326 | 4.987e-06 | 2.9765e-06 | 0.027879 | 0.027879 | 0.027879 | 0.97898 | -0.40425 | 0.97927 | -0.39858 | 7.6591
56 | 0.00051965 | 0.00012931 | -0.00051963 | -0.00013023 | 1.7542e-08 | -9.2015e-07 | 0.000792 | 0.00079234 | 0.00079234 | 0.97591 | -0.46434 | 0.97587 | -0.46505 | 0.21768
57 | -0.016247 | -0.004086 | 0.016257 | 0.0040917 | 9.7432e-06 | 5.7094e-06 | 0.024812 | 0.024812 | 0.024812 | 0.97457 | -0.49075 | 0.9752 | -0.4782 | 6.8165
58 | 0.005295 | 0.0013269 | -0.0052948 | -0.0013269 | 1.8566e-07 | 2.6024e-08 | 0.0081188 | 0.0081189 | 0.0081189 | 0.97045 | -0.57197 | 0.97042 | -0.5727 | 2.2305
59 | 0.00041345 | 0.00010266 | -0.00041344 | -0.00010362 | 1.1478e-08 | -9.527e-07 | 0.00063052 | 0.00063086 | 0.00063086 | 0.9752 | -0.4782 | 0.97517 | -0.47879 | 0.17331
60 | -0.018619 | -0.0047029 | 0.018628 | 0.004708 | 8.4635e-06 | 5.0621e-06 | 0.028305 | 0.028305 | 0.028305 | 0.97927 | -0.39858 | 0.97976 | -0.38909 | 7.7762
61 | 0.002377 | 0.00059532 | -0.0023769 | -0.00059541 | 4.6227e-08 | -9.0868e-08 | 0.0035999 | 0.0036 | 0.0036 | 0.98247 | -0.33625 | 0.98245 | -0.33666 | 0.989
62 | 0.0017557 | 0.00043972 | -0.0017557 | -0.00043989 | 3.9892e-08 | -1.6497e-07 | 0.0026591 | 0.0026591 | 0.0026591 | 0.98245 | -0.33666 | 0.98243 | -0.33714 | 0.73054
63 | 0.0012285 | 0.00030775 | -0.0012284 | -0.00030788 | 1.3654e-08 | -1.2443e-07 | 0.0018606 | 0.0018607 | 0.0018607 | 0.98243 | -0.33714 | 0.98242 | -0.33737 | 0.51117
64 | 0.00011419 | 2.8417e-05 | -0.00011418 | -2.8617e-05 | 1.6958e-10 | -2.007e-07 | 0.00017084 | 0.00017091 | 0.00017091 | 0.99412 | -0.11346 | 0.99412 | -0.11349 | 0.046954
65 | 0.0052948 | 0.0013269 | -0.0052941 | -0.0013268 | 6.7802e-07 | 9.5105e-08 | 0.0081189 | 0.008119 | 0.008119 | 0.97042 | -0.5727 | 0.97028 | -0.57539 | 2.2305
66 | 0.0052941 | 0.0013268 | -0.005294 | -0.0013268 | 4.9476e-08 | 6.9441e-09 | 0.008119 | 0.008119 | 0.008119 | 0.97028 | -0.57539 | 0.97027 | -0.57559 | 2.2305

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.043956 | 0.010785

## res_load
| p_mw | q_mvar
0 | 0.00028717 | 7.1972e-05
1 | 0.00027685 | 6.9386e-05
2 | 0.00063448 | 0.00015901
3 | 0.00043079 | 0.00010797
4 | 0.00033588 | 8.418e-05
5 | 0.0016533 | 0.00041435
6 | 0.00071898 | 0.00018019
7 | 0.00083627 | 0.00020959
8 | 0.0017375 | 0.00043545
9 | 0.0011561 | 0.00028974
10 | 0.00038275 | 9.5926e-05
11 | 0.00026036 | 6.5252e-05
12 | 0.00022874 | 5.7328e-05
13 | 0.00026681 | 6.6868e-05
14 | 0.00021982 | 5.5092e-05
15 | 0.00097601 | 0.00024461
16 | 0.00013751 | 3.4464e-05
17 | 0.0023221 | 0.00058198
18 | 0.0014581 | 0.00036544
19 | 0.00042969 | 0.00010769
20 | 0.0004944 | 0.00012391
21 | 0.00089567 | 0.00022448
22 | 0.00090608 | 0.00022709
23 | 0.00037264 | 9.3392e-05
24 | 0.0011461 | 0.00028724
25 | 0.001803 | 0.00045187
26 | 0.0013324 | 0.00033392
27 | 0.0014993 | 0.00037577
28 | 0.0008691 | 0.00021782
29 | 0.00016906 | 4.2371e-05
30 | 0.00014307 | 3.5856e-05
31 | 0.00044731 | 0.00011211
32 | 0.00031534 | 7.9032e-05
33 | 0.0036146 | 0.0009059
34 | 0.00051963 | 0.00013023
35 | 0.00063385 | 0.00015886
36 | 0.00028064 | 7.0336e-05
37 | 0.00054249 | 0.00013596
38 | 0.00041344 | 0.00010362
39 | 0.00062122 | 0.00015569
40 | 0.0024874 | 0.00062339
41 | 0.00052721 | 0.00013213
42 | 0.0012284 | 0.00030788
43 | 0.00011545 | 2.8934e-05
44 | 0.00011418 | 2.8617e-05
45 | 0.005294 | 0.0013268

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1