## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1362-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1362-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1362-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1362-3_0_3_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_1362-3_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_1362-3_0_3_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_1362-3_0_3_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_1362-3_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1362-3_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1362-3_0_3_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_1362-3_0_3_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_1362-3_0_3_node_76 | 0.4 | n |  | TRUE
12 | bus_LV_1362-3_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1362-3_0_3_node_68 | 0.4 | n |  | TRUE
14 | bus_LV_1362-3_0_3_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_1362-3_0_3_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_1362-3_0_3_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_1362-3_0_3_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_1362-3_0_3_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_1362-3_0_3_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_1362-3_0_3_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_1362-3_0_3_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_1362-3_0_3_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_1362-3_0_3_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_1362-3_0_3_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_1362-3_0_3_node_66 | 0.4 | n |  | TRUE
26 | bus_LV_1362-3_0_3_node_11 | 0.4 | n |  | TRUE
27 | bus_LV_1362-3_0_3_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_1362-3_0_3_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_1362-3_0_3_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_1362-3_0_3_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_1362-3_0_3_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_1362-3_0_3_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_1362-3_0_3_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_1362-3_0_3_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_1362-3_0_3_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_1362-3_0_3_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_1362-3_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_1362-3_0_3_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_1362-3_0_3_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_1362-3_0_3_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_1362-3_0_3_node_74 | 0.4 | n |  | TRUE
42 | bus_LV_1362-3_0_3_node_73 | 0.4 | n |  | TRUE
43 | bus_LV_1362-3_0_3_node_75 | 0.4 | n |  | TRUE
44 | bus_LV_1362-3_0_3_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_1362-3_0_3_node_52 | 0.4 | n |  | TRUE
46 | bus_LV_1362-3_0_3_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_1362-3_0_3_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_1362-3_0_3_node_54 | 0.4 | n |  | TRUE
49 | bus_LV_1362-3_0_3_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_1362-3_0_3_node_65 | 0.4 | n |  | TRUE
51 | bus_LV_1362-3_0_3_node_61 | 0.4 | n |  | TRUE
52 | bus_LV_1362-3_0_3_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_1362-3_0_3_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_1362-3_0_3_node_60 | 0.4 | n |  | TRUE
55 | bus_LV_1362-3_0_3_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_1362-3_0_3_node_71 | 0.4 | n |  | TRUE
57 | bus_LV_1362-3_0_3_node_63 | 0.4 | n |  | TRUE
58 | bus_LV_1362-3_0_3_node_116 | 0.4 | n |  | TRUE
59 | bus_LV_1362-3_0_3_node_72 | 0.4 | n |  | TRUE
60 | bus_LV_1362-3_0_3_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_1362-3_0_3_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_1362-3_0_3_node_70 | 0.4 | n |  | TRUE
63 | bus_MV_0_node_76 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1362-3_0_3_load_0 | 0 | 0.0073677 | 0.0018465 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1362-3_0_3_load_6 | 3 | 0.017895 | 0.004485 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1362-3_0_3_load_3 | 4 | 0.00052762 | 0.00013224 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1362-3_0_3_load_9 | 5 | 0.00035846 | 8.9838e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1362-3_0_3_load_25 | 9 | 0.0074817 | 0.0018751 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1362-3_0_3_load_19 | 10 | 0.00049098 | 0.00012305 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1362-3_0_3_load_10 | 12 | 0.00029465 | 7.3845e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1362-3_0_3_load_24 | 15 | 0.0021339 | 0.0005348 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1362-3_0_3_load_30 | 17 | 0.00079244 | 0.0001986 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1362-3_0_3_load_31 | 18 | 0.00018796 | 4.7107e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1362-3_0_3_load_37 | 23 | 0.00067454 | 0.00016905 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1362-3_0_3_load_66 | 25 | 0.00069151 | 0.00017331 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1362-3_0_3_load_11 | 26 | 0.0012539 | 0.00031425 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1362-3_0_3_load_12 | 27 | 0.00049332 | 0.00012364 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1362-3_0_3_load_13 | 28 | 0.0005359 | 0.00013431 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1362-3_0_3_load_14 | 29 | 0.00046319 | 0.00011609 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1362-3_0_3_load_16 | 31 | 0.00020964 | 5.254e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1362-3_0_3_load_18 | 32 | 0.0005128 | 0.00012852 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1362-3_0_3_load_34 | 33 | 0.00019036 | 4.7708e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1362-3_0_3_load_29 | 34 | 0.0017877 | 0.00044805 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1362-3_0_3_load_33 | 35 | 0.00044016 | 0.00011031 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1362-3_0_3_load_32 | 37 | 0.0012878 | 0.00032276 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1362-3_0_3_load_23 | 38 | 0.00039086 | 9.7958e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1362-3_0_3_load_38 | 39 | 0.00042652 | 0.0001069 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1362-3_0_3_load_36 | 40 | 0.00022065 | 5.53e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1362-3_0_3_load_73 | 42 | 0.0001809 | 4.5338e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1362-3_0_3_load_75 | 43 | 0.0008327 | 0.00020869 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1362-3_0_3_load_51 | 44 | 0.0018794 | 0.00047101 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1362-3_0_3_load_55 | 47 | 0.00067146 | 0.00016828 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1362-3_0_3_load_54 | 48 | 0.0033619 | 0.00084257 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1362-3_0_3_load_65 | 50 | 0.00046951 | 0.00011767 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1362-3_0_3_load_58 | 52 | 0.00074298 | 0.00018621 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1362-3_0_3_load_60 | 54 | 0.00039977 | 0.00010019 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1362-3_0_3_load_71 | 56 | 0.00081827 | 0.00020508 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1362-3_0_3_load_63 | 57 | 0.0010853 | 0.00027199 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1362-3_0_3_load_116 | 58 | 0.00019955 | 5.0012e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1362-3_0_3_load_72 | 59 | 0.00021974 | 5.5071e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1362-3_0_3_load_67 | 60 | 0.00029492 | 7.3914e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1362-3_0_3_load_69 | 61 | 0.00018285 | 4.5825e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1362-3_0_3_load_70 | 62 | 0.00068543 | 0.00017178 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1362-3_0_3_line_0 |  | 0 | 1 | 0.015186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1362-3_0_3_line_1 |  | 1 | 2 | 0.028763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1362-3_0_3_line_2 |  | 2 | 3 | 0.10243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1362-3_0_3_line_3 |  | 3 | 6 | 0.04925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1362-3_0_3_line_4 |  | 4 | 5 | 0.10755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1362-3_0_3_line_5 |  | 5 | 11 | 0.040045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1362-3_0_3_line_6 |  | 6 | 14 | 0.016192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1362-3_0_3_line_7 |  | 7 | 8 | 0.10698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1362-3_0_3_line_8 |  | 7 | 9 | 0.012845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1362-3_0_3_line_9 |  | 8 | 10 | 0.17346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1362-3_0_3_line_10 |  | 9 | 15 | 0.055868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1362-3_0_3_line_11 |  | 10 | 22 | 0.0089754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1362-3_0_3_line_12 |  | 11 | 23 | 0.10523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_1362-3_0_3_line_13 |  | 12 | 13 | 0.017218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1362-3_0_3_line_14 |  | 13 | 24 | 0.23695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1362-3_0_3_line_15 |  | 13 | 25 | 0.012544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1362-3_0_3_line_16 |  | 14 | 37 | 0.043726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1362-3_0_3_line_17 |  | 14 | 21 | 0.015922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1362-3_0_3_line_18 |  | 15 | 20 | 0.021916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1362-3_0_3_line_19 |  | 16 | 17 | 0.069039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1362-3_0_3_line_20 |  | 16 | 18 | 0.11253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1362-3_0_3_line_21 |  | 16 | 19 | 0.056853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1362-3_0_3_line_22 |  | 18 | 39 | 0.0011558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1362-3_0_3_line_23 |  | 19 | 34 | 0.0081553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1362-3_0_3_line_24 |  | 20 | 21 | 0.02849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1362-3_0_3_line_25 |  | 21 | 34 | 0.011275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1362-3_0_3_line_26 |  | 22 | 38 | 0.078168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1362-3_0_3_line_27 |  | 23 | 36 | 0.01896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1362-3_0_3_line_28 |  | 24 | 47 | 0.19531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1362-3_0_3_line_29 |  | 25 | 60 | 0.061272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1362-3_0_3_line_30 |  | 26 | 27 | 0.023456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1362-3_0_3_line_31 |  | 26 | 28 | 0.010212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1362-3_0_3_line_32 |  | 27 | 29 | 0.019697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1362-3_0_3_line_33 |  | 28 | 30 | 0.0045259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1362-3_0_3_line_34 |  | 29 | 31 | 0.016994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1362-3_0_3_line_35 |  | 30 | 32 | 0.026087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1362-3_0_3_line_36 |  | 31 | 33 | 0.045557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1362-3_0_3_line_37 |  | 32 | 35 | 0.0091021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1362-3_0_3_line_38 |  | 33 | 36 | 0.078017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1362-3_0_3_line_39 |  | 35 | 37 | 0.013551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1362-3_0_3_line_40 |  | 36 | 40 | 0.053727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1362-3_0_3_line_41 |  | 40 | 41 | 0.37577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1362-3_0_3_line_42 |  | 41 | 42 | 0.098053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1362-3_0_3_line_43 |  | 42 | 43 | 0.17448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1362-3_0_3_line_44 |  | 43 | 54 | 0.14348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1362-3_0_3_line_45 |  | 44 | 45 | 0.036924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1362-3_0_3_line_46 |  | 44 | 46 | 0.026737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1362-3_0_3_line_47 |  | 45 | 47 | 0.53957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1362-3_0_3_line_48 |  | 46 | 48 | 0.24596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1362-3_0_3_line_49 |  | 48 | 49 | 0.042317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1362-3_0_3_line_50 |  | 49 | 50 | 0.33555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1362-3_0_3_line_51 |  | 50 | 51 | 0.021989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1362-3_0_3_line_52 |  | 51 | 56 | 0.32358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1362-3_0_3_line_53 |  | 51 | 53 | 0.16526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1362-3_0_3_line_54 |  | 52 | 53 | 0.01646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1362-3_0_3_line_55 |  | 52 | 54 | 0.50643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1362-3_0_3_line_56 |  | 53 | 55 | 0.35123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1362-3_0_3_line_57 |  | 55 | 57 | 0.021646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1362-3_0_3_line_58 |  | 55 | 58 | 0.39387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1362-3_0_3_line_59 |  | 57 | 59 | 0.044045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1362-3_0_3_line_60 |  | 60 | 61 | 0.003626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1362-3_0_3_line_61 |  | 61 | 62 | 0.025232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1362-3_0_3_trafo_76 | 0.63 MVA 20/0.4 kV | 63 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24
0 | 2679416.9497 | 1210934.9574 | 2679422.6381 | 1210943.8166 | 2679426.4306 | 1210946.5204
1 | 2679416.9497 | 1210934.9574 | 2679413.6273 | 1210914.5 | 2679414.7365 | 1210906.543
2 | 2679414.7365 | 1210906.543 | 2679419.8773 | 1210903.4539 | 2679439.4869 | 1210868.5369 | 2679451.7809 | 1210843.6624 | 2679457.0321 | 1210838.5624 | 2679467.018 | 1210836.9054 | 2679478.2175 | 1210837.0547
3 | 2679525.2119 | 1210826.096 | 2679510.472 | 1210833.7489 | 2679495.5986 | 1210837.1641 | 2679480.5894 | 1210837.0863 | 2679478.2175 | 1210837.0547
4 | 2679664.4576 | 1210830.8689 | 2679663.8473 | 1210831.1262 | 2679645.5762 | 1210840.8219 | 2679621.5149 | 1210851.0185 | 2679590.8778 | 1210859.6375 | 2679565.5698 | 1210872.1779
5 | 2679703.0636 | 1210820.9211 | 2679675.2738 | 1210826.309 | 2679664.4576 | 1210830.8689
6 | 2679525.2119 | 1210826.096 | 2679539.8224 | 1210819.0306
7 | 2679444.5181 | 1210813.7798 | 2679439.2772 | 1210812.9651 | 2679430.0013 | 1210814.954 | 2679425.5066 | 1210813.471 | 2679424.742 | 1210807.5348 | 2679434.575 | 1210794.5351 | 2679465.4138 | 1210768.5068 | 2679482.1279 | 1210750.162
8 | 2679444.5181 | 1210813.7798 | 2679457.2722 | 1210812.2572
9 | 2679482.1279 | 1210750.162 | 2679487.0972 | 1210732.0166 | 2679489.5775 | 1210727.8247 | 2679492.8053 | 1210725.7219 | 2679510.1039 | 1210722.2724 | 2679514.8028 | 1210720.4116 | 2679516.6461 | 1210716.6893 | 2679513.709 | 1210712.9589 | 2679508.7674 | 1210711.9257 | 2679492.8119 | 1210712.1132 | 2679475.3163 | 1210708.0998 | 2679450.4275 | 1210706.2227 | 2679442.4762 | 1210704.6158 | 2679437.3782 | 1210702.202 | 2679433.7157 | 1210689.5896 | 2679434.7514 | 1210677.4511 | 2679438.1039 | 1210666.6167
10 | 2679457.2722 | 1210812.2572 | 2679458.9281 | 1210812.0595 | 2679483.6075 | 1210819.9155 | 2679509.4105 | 1210808.2915
11 | 2679440.8617 | 1210658.0756 | 2679438.3969 | 1210665.6699 | 2679438.1039 | 1210666.6167
12 | 2679703.0636 | 1210820.9211 | 2679716.8865 | 1210815.9359 | 2679728.1449 | 1210808.9263 | 2679740.7666 | 1210799.4221 | 2679755.995 | 1210784.2604 | 2679763.6046 | 1210774.4669 | 2679775.0934 | 1210754.2186 | 2679777.5066 | 1210750.6607
13 | 2679517.8006 | 1211166.9942 | 2679522.3847 | 1211164.0312 | 2679527.817 | 1211160.7237 | 2679529.4815 | 1211155.587
14 | 2679657.0547 | 1211266.2044 | 2679654.5078 | 1211266.2816 | 2679642.9814 | 1211272.9431 | 2679631.8419 | 1211277.9532 | 2679624.7359 | 1211285.9524 | 2679623.0379 | 1211292.4562 | 2679622.1112 | 1211294.7008 | 2679616.9102 | 1211297.7667 | 2679613.0267 | 1211292.6561 | 2679608.8265 | 1211290.1984 | 2679600.7518 | 1211288.7898 | 2679596.3017 | 1211278.3015 | 2679578.9807 | 1211252.7984 | 2679574.3369 | 1211215.2457 | 2679570.729 | 1211194.0283 | 2679565.9039 | 1211186.5703 | 2679558.605 | 1211183.3932 | 2679545.306 | 1211183.3603 | 2679535.6721 | 1211178.6177 | 2679526.6349 | 1211173.0047 | 2679517.8006 | 1211166.9942
15 | 2679517.8006 | 1211166.9942 | 2679509.7209 | 1211172.2121 | 2679506.8642 | 1211172.8456
16 | 2679539.8224 | 1210819.0306 | 2679555.6422 | 1210817.5961 | 2679567.1892 | 1210814.0033 | 2679580.5144 | 1210805.6094
17 | 2679547.6758 | 1210805.1708 | 2679539.8224 | 1210819.0306
18 | 2679529.3922 | 1210799.29 | 2679509.4105 | 1210808.2915
19 | 2679656.9141 | 1210718.0387 | 2679656.4707 | 1210721.6462 | 2679595.5355 | 1210745.8487
20 | 2679595.5355 | 1210745.8487 | 2679606.4549 | 1210734.6205 | 2679609.3578 | 1210728.9556 | 2679610.5376 | 1210724.2683 | 2679613.5331 | 1210721.9178 | 2679635.9876 | 1210708.5867 | 2679646.6759 | 1210699.8793 | 2679656.0467 | 1210684.539 | 2679669.4671 | 1210664.6609
21 | 2679558.6666 | 1210789.1515 | 2679587.4156 | 1210754.0345 | 2679595.5355 | 1210745.8487
22 | 2679669.4671 | 1210664.6609 | 2679670.1138 | 1210663.703
23 | 2679558.6666 | 1210789.1515 | 2679555.8874 | 1210792.9502 | 2679553.9641 | 1210795.8125
24 | 2679529.3922 | 1210799.29 | 2679535.1821 | 1210801.1128 | 2679533.334 | 1210808.6152 | 2679547.6758 | 1210805.1708
25 | 2679547.6758 | 1210805.1708 | 2679553.9641 | 1210795.8125
26 | 2679440.8617 | 1210658.0756 | 2679440.8998 | 1210653.5065 | 2679433.3592 | 1210642.7436 | 2679425.835 | 1210635.8835 | 2679420.3159 | 1210630.8401 | 2679417.0219 | 1210623.6472 | 2679416.433 | 1210607.9404 | 2679417.0046 | 1210595.8403 | 2679420.6117 | 1210589.7754
27 | 2679788.1497 | 1210734.9696 | 2679777.5066 | 1210750.6607
28 | 2679657.0547 | 1211266.2044 | 2679675.2659 | 1211243.255 | 2679689.6648 | 1211220.6884 | 2679698.7989 | 1211201.409 | 2679713.2131 | 1211177.7086 | 2679723.7583 | 1211169.4219 | 2679731.2575 | 1211167.2763 | 2679734.588 | 1211168.844 | 2679738.8256 | 1211178.7292 | 2679746.8733 | 1211199.2166 | 2679752.0199 | 1211204.2109 | 2679758.4429 | 1211208.6551 | 2679774.3113 | 1211216.1065
29 | 2679506.8642 | 1211172.8456 | 2679482.7154 | 1211178.2006 | 2679474.9538 | 1211178.9422 | 2679465.539 | 1211176.5708 | 2679446.8402 | 1211173.0335
30 | 2679634.9934 | 1210773.1574 | 2679636.0518 | 1210772.6398 | 2679648.3746 | 1210768.446 | 2679657.5346 | 1210767.0853
31 | 2679625.8195 | 1210777.6432 | 2679634.9934 | 1210773.1574
32 | 2679677.0964 | 1210764.8144 | 2679674.9283 | 1210765.1429 | 2679660.5286 | 1210766.6405 | 2679657.5346 | 1210767.0853
33 | 2679621.7537 | 1210779.6313 | 2679625.8195 | 1210777.6432
34 | 2679677.0964 | 1210764.8144 | 2679693.8985 | 1210762.2691
35 | 2679621.7537 | 1210779.6313 | 2679599.6814 | 1210793.5354
36 | 2679735.0353 | 1210743.227 | 2679723.6458 | 1210748.6496 | 2679698.8033 | 1210761.526 | 2679693.8985 | 1210762.2691
37 | 2679599.6814 | 1210793.5354 | 2679591.98 | 1210798.3868
38 | 2679788.1497 | 1210734.9696 | 2679783.8409 | 1210732.655 | 2679777.0878 | 1210728.9845 | 2679774.9938 | 1210725.8656 | 2679774.6079 | 1210722.903 | 2679774.1206 | 1210717.2818 | 2679772.8873 | 1210714.5969 | 2679770.4973 | 1210713.7199 | 2679767.3876 | 1210714.3788 | 2679764.9507 | 1210717.5816 | 2679756.9014 | 1210728.9925 | 2679748.3366 | 1210736.8942 | 2679735.0353 | 1210743.227
39 | 2679580.5144 | 1210805.6094 | 2679591.98 | 1210798.3868
40 | 2679788.1497 | 1210734.9696 | 2679795.175 | 1210731.3612 | 2679810.4939 | 1210726.4963 | 2679820.886 | 1210720.0645 | 2679836.1876 | 1210711.5013
41 | 2679836.1876 | 1210711.5013 | 2680095.1222 | 1210439.1917
42 | 2680095.1222 | 1210439.1917 | 2680109.4889 | 1210429.4672 | 2680148.9874 | 1210406.4383 | 2680180.0827 | 1210390.4112
43 | 2680345.0771 | 1210344.4353 | 2680331.9818 | 1210348.3282 | 2680303.4843 | 1210345.0981 | 2680271.1796 | 1210351.979 | 2680219.8766 | 1210369.9007 | 2680180.0827 | 1210390.4112
44 | 2680345.0771 | 1210344.4353 | 2680396.8323 | 1210478.258
45 | 2680308.6 | 1211140.8131 | 2680315.1386 | 1211129.8829 | 2680322.3173 | 1211126.7331 | 2680336.2827 | 1211135.2327
46 | 2680360.1414 | 1211147.0332 | 2680348.6021 | 1211142.7306 | 2680336.2827 | 1211135.2327
47 | 2679774.3113 | 1211216.1065 | 2680308.6 | 1211140.8131
48 | 2680360.1414 | 1211147.0332 | 2680365.7652 | 1211144.2183 | 2680381.3777 | 1211137.8245 | 2680388.2949 | 1211134.3376 | 2680395.3422 | 1211130.7858 | 2680406.1097 | 1211130.3195 | 2680411.0903 | 1211129.5528 | 2680416.753 | 1211123.8588 | 2680428.634 | 1211118.0374 | 2680445.7933 | 1211104.0263 | 2680452.6522 | 1211102.0509 | 2680461.1153 | 1211103.4103 | 2680467.9491 | 1211103.2913 | 2680478.5674 | 1211098.6871 | 2680483.3929 | 1211094.2159 | 2680485.3381 | 1211088.0493 | 2680485.9628 | 1211072.1697 | 2680488.972 | 1211063.7493 | 2680499.9535 | 1211048.0095 | 2680510.5997 | 1211041.3488 | 2680515.6089 | 1211037.9031 | 2680520.5181 | 1211027.2402 | 2680526.0092 | 1211019.0646 | 2680533.5302 | 1211014.2186 | 2680539.7968 | 1211009.9671
49 | 2680560.7536 | 1210975.3721 | 2680558.8167 | 1210980.9162 | 2680544.1562 | 1210993.304 | 2680543.0876 | 1210997.5813 | 2680541.2962 | 1211005.8624 | 2680539.7968 | 1211009.9671
50 | 2680828.7862 | 1210773.5076 | 2680560.7536 | 1210975.3721
51 | 2680843.2074 | 1210788.6828 | 2680832.5172 | 1210782.2672 | 2680828.7862 | 1210773.5076
52 | 2680843.2074 | 1210788.6828 | 2680960.1579 | 1211090.3858
53 | 2680890.3033 | 1210651.0544 | 2680889.8698 | 1210666.7587 | 2680887.6054 | 1210685.7736 | 2680883.6127 | 1210700.529 | 2680877.9757 | 1210706.512 | 2680870.4947 | 1210713.404 | 2680868.2709 | 1210729.4286 | 2680867.9223 | 1210747.8469 | 2680869.4199 | 1210751.7475 | 2680870.3203 | 1210768.2926 | 2680863.3904 | 1210765.9416 | 2680860.4675 | 1210768.5036 | 2680861.0657 | 1210775.394 | 2680856.7241 | 1210782.8177 | 2680843.2074 | 1210788.6828
54 | 2680890.3033 | 1210651.0544 | 2680874.442 | 1210646.6556
55 | 2680874.442 | 1210646.6556 | 2680396.8323 | 1210478.258
56 | 2680890.3033 | 1210651.0544 | 2681238.5599 | 1210605.456
57 | 2681238.5599 | 1210605.456 | 2681244.3766 | 1210609.7491 | 2681247.3943 | 1210623.8468
58 | 2681238.5599 | 1210605.456 | 2681047.9259 | 1210260.7885
59 | 2681281.1198 | 1210633.5426 | 2681266.5097 | 1210639.2696 | 2681261.5862 | 1210639.7139 | 2681256.7069 | 1210638.5801 | 2681252.0202 | 1210635.5921 | 2681248.8926 | 1210630.8464 | 2681247.3943 | 1210623.8468
60 | 2679446.8402 | 1211173.0335 | 2679443.2775 | 1211172.3595
61 | 2679420.4143 | 1211166.697 | 2679423.1772 | 1211170.9476 | 2679427.5406 | 1211171.4282 | 2679442.3348 | 1211172.1812 | 2679443.2775 | 1211172.3595

## bus_geodata
| x | y | coords
0 | 2679426.4306 | 1210946.5204
1 | 2679416.9497 | 1210934.9574
2 | 2679414.7365 | 1210906.543
3 | 2679478.2175 | 1210837.0547
4 | 2679565.5698 | 1210872.1779
5 | 2679664.4576 | 1210830.8689
6 | 2679525.2119 | 1210826.096
7 | 2679444.5181 | 1210813.7798
8 | 2679482.1279 | 1210750.162
9 | 2679457.2722 | 1210812.2572
10 | 2679438.1039 | 1210666.6167
11 | 2679703.0636 | 1210820.9211
12 | 2679529.4815 | 1211155.587
13 | 2679517.8006 | 1211166.9942
14 | 2679539.8224 | 1210819.0306
15 | 2679509.4105 | 1210808.2915
16 | 2679595.5355 | 1210745.8487
17 | 2679656.9141 | 1210718.0387
18 | 2679669.4671 | 1210664.6609
19 | 2679558.6666 | 1210789.1515
20 | 2679529.3922 | 1210799.29
21 | 2679547.6758 | 1210805.1708
22 | 2679440.8617 | 1210658.0756
23 | 2679777.5066 | 1210750.6607
24 | 2679657.0547 | 1211266.2044
25 | 2679506.8642 | 1211172.8456
26 | 2679634.9934 | 1210773.1574
27 | 2679657.5346 | 1210767.0852
28 | 2679625.8195 | 1210777.6432
29 | 2679677.0964 | 1210764.8144
30 | 2679621.7537 | 1210779.6313
31 | 2679693.8985 | 1210762.2691
32 | 2679599.6814 | 1210793.5354
33 | 2679735.0353 | 1210743.227
34 | 2679553.9641 | 1210795.8125
35 | 2679591.98 | 1210798.3868
36 | 2679788.1497 | 1210734.9696
37 | 2679580.5144 | 1210805.6094
38 | 2679420.6117 | 1210589.7754
39 | 2679670.1138 | 1210663.703
40 | 2679836.1876 | 1210711.5013
41 | 2680095.1222 | 1210439.1917
42 | 2680180.0827 | 1210390.4112
43 | 2680345.0771 | 1210344.4353
44 | 2680336.2827 | 1211135.2327
45 | 2680308.6 | 1211140.8131
46 | 2680360.1414 | 1211147.0332
47 | 2679774.3113 | 1211216.1065
48 | 2680539.7968 | 1211009.9671
49 | 2680560.7536 | 1210975.3721
50 | 2680828.7862 | 1210773.5076
51 | 2680843.2074 | 1210788.6828
52 | 2680874.442 | 1210646.6556
53 | 2680890.3033 | 1210651.0544
54 | 2680396.8323 | 1210478.258
55 | 2681238.5599 | 1210605.456
56 | 2680960.1579 | 1211090.3858
57 | 2681247.3943 | 1210623.8468
58 | 2681047.9259 | 1210260.7885
59 | 2681281.1198 | 1210633.5426
60 | 2679446.8402 | 1211173.0335
61 | 2679443.2775 | 1211172.3595
62 | 2679420.4143 | 1211166.697
63 | 2679703.0636 | 1210820.9211

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98222 | -0.3425 | 0.0073677 | 0.0018465
1 | 0.98232 | -0.34048 | 0 | 0
2 | 0.98252 | -0.33665 | 0 | 0
3 | 0.98321 | -0.32303 | 0.017895 | 0.004485
4 | 0.99992 | -0.001614 | 0.00052762 | 0.00013224
5 | 0.99997 | -0.00062147 | 0.00035846 | 8.9838e-05
6 | 0.98436 | -0.30062 | 0 | 0
7 | 0.98361 | -0.31535 | 0 | 0
8 | 0.98352 | -0.31707 | 0 | 0
9 | 0.98362 | -0.31515 | 0.0074817 | 0.0018751
10 | 0.98338 | -0.31985 | 0.00049098 | 0.00012305
11 | 1 | 0 | -0.061728 | -0.015347
12 | 0.97249 | -0.53603 | 0.00029465 | 7.3845e-05
13 | 0.97249 | -0.53593 | 0 | 0
14 | 0.98474 | -0.29326 | 0 | 0
15 | 0.98405 | -0.30672 | 0.0021339 | 0.0005348
16 | 0.98442 | -0.29949 | 0 | 0
17 | 0.98437 | -0.30048 | 0.00079244 | 0.0001986
18 | 0.98436 | -0.30074 | 0.00018796 | 4.7107e-05
19 | 0.98449 | -0.29804 | 0 | 0
20 | 0.98426 | -0.30258 | 0 | 0
21 | 0.98454 | -0.29719 | 0 | 0
22 | 0.98338 | -0.31991 | 0 | 0
23 | 0.99717 | -0.053742 | 0.00067454 | 0.00016905
24 | 0.97297 | -0.52652 | 0 | 0
25 | 0.97247 | -0.53636 | 0.00069151 | 0.00017331
26 | 0.98871 | -0.21611 | 0.0012539 | 0.00031425
27 | 0.98964 | -0.19813 | 0.00049332 | 0.00012364
28 | 0.98831 | -0.22372 | 0.0005359 | 0.00013431
29 | 0.99043 | -0.18289 | 0.00046319 | 0.00011609
30 | 0.98814 | -0.22705 | 0 | 0
31 | 0.99112 | -0.16962 | 0.00020964 | 5.254e-05
32 | 0.98715 | -0.24626 | 0.0005128 | 0.00012852
33 | 0.99297 | -0.13397 | 0.00019036 | 4.7708e-05
34 | 0.9845 | -0.29784 | 0.0017877 | 0.00044805
35 | 0.98681 | -0.2529 | 0.00044016 | 0.00011031
36 | 0.99616 | -0.072957 | 0 | 0
37 | 0.98631 | -0.26267 | 0.0012878 | 0.00032276
38 | 0.98335 | -0.32046 | 0.00039086 | 9.7958e-05
39 | 0.98435 | -0.30075 | 0.00042652 | 0.0001069
40 | 0.9955 | -0.085587 | 0.00022065 | 5.53e-05
41 | 0.99097 | -0.17287 | 0 | 0
42 | 0.98979 | -0.19577 | 0.0001809 | 4.5338e-05
43 | 0.98771 | -0.23606 | 0.0008327 | 0.00020869
44 | 0.97487 | -0.48859 | 0.0018794 | 0.00047101
45 | 0.97477 | -0.49052 | 0 | 0
46 | 0.97499 | -0.48627 | 0 | 0
47 | 0.97336 | -0.51874 | 0.00067146 | 0.00016828
48 | 0.97606 | -0.46491 | 0.0033619 | 0.00084257
49 | 0.97638 | -0.45863 | 0 | 0
50 | 0.97889 | -0.40899 | 0.00046951 | 0.00011767
51 | 0.97907 | -0.40555 | 0 | 0
52 | 0.98067 | -0.37402 | 0.00074298 | 0.00018621
53 | 0.9805 | -0.37728 | 0 | 0
54 | 0.98611 | -0.26717 | 0.00039977 | 0.00010019
55 | 0.98001 | -0.387 | 0 | 0
56 | 0.97882 | -0.4104 | 0.00081827 | 0.00020508
57 | 0.97999 | -0.38751 | 0.0010853 | 0.00027199
58 | 0.97994 | -0.38847 | 0.00019955 | 5.0012e-05
59 | 0.97998 | -0.38769 | 0.00021974 | 5.5071e-05
60 | 0.9724 | -0.53768 | 0.00029492 | 7.3914e-05
61 | 0.9724 | -0.53774 | 0.00018285 | 4.5825e-05
62 | 0.97238 | -0.53806 | 0.00068543 | 0.00017178
63 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0073677 | -0.0018465 | 0.0073684 | 0.0018468 | 7.0947e-07 | 2.6184e-07 | 0.011162 | 0.011162 | 0.011162 | 0.98222 | -0.3425 | 0.98232 | -0.34048 | 3.0664
1 | -0.0073684 | -0.0018468 | 0.0073698 | 0.0018473 | 1.3438e-06 | 4.9581e-07 | 0.011162 | 0.011162 | 0.011162 | 0.98232 | -0.34048 | 0.98252 | -0.33665 | 3.0664
2 | -0.0073698 | -0.0018473 | 0.0073746 | 0.001849 | 4.7853e-06 | 1.7644e-06 | 0.011162 | 0.011161 | 0.011162 | 0.98252 | -0.33665 | 0.98321 | -0.32303 | 3.0664
3 | -0.02527 | -0.006334 | 0.025297 | 0.0063507 | 2.7013e-05 | 1.6663e-05 | 0.038244 | 0.038244 | 0.038244 | 0.98321 | -0.32303 | 0.98436 | -0.30062 | 10.5067
4 | -0.00052762 | -0.00013224 | 0.00052765 | 0.00013084 | 2.4849e-08 | -1.3949e-06 | 0.00078518 | 0.00078469 | 0.00078518 | 0.99992 | -0.001614 | 0.99997 | -0.00062147 | 0.21571
5 | -0.00088611 | -0.00022068 | 0.00088613 | 0.00022017 | 2.6086e-08 | -5.0865e-07 | 0.0013181 | 0.0013179 | 0.0013181 | 0.99997 | -0.00062147 | 1 | 0 | 0.36211
6 | -0.025297 | -0.0063507 | 0.025306 | 0.0063562 | 8.881e-06 | 5.4779e-06 | 0.038244 | 0.038244 | 0.038244 | 0.98436 | -0.30062 | 0.98474 | -0.29326 | 10.5066
7 | 0.00088203 | 0.00021647 | -0.00088196 | -0.00021778 | 7.1282e-08 | -1.3121e-06 | 0.0013327 | 0.0013332 | 0.0013332 | 0.98361 | -0.31535 | 0.98352 | -0.31707 | 0.36627
8 | -0.00088203 | -0.00021647 | 0.00088204 | 0.00021631 | 8.5551e-09 | -1.5756e-07 | 0.0013327 | 0.0013327 | 0.0013327 | 0.98361 | -0.31535 | 0.98362 | -0.31515 | 0.36614
9 | 0.00088196 | 0.00021778 | -0.00088185 | -0.00021991 | 1.1568e-07 | -2.1269e-06 | 0.0013332 | 0.001334 | 0.001334 | 0.98352 | -0.31707 | 0.98338 | -0.31985 | 0.36648
10 | -0.0083637 | -0.0020914 | 0.0083671 | 0.0020928 | 3.353e-06 | 1.4365e-06 | 0.012651 | 0.012651 | 0.012651 | 0.98362 | -0.31515 | 0.98405 | -0.30672 | 3.4755
11 | 0.00039087 | 9.6859e-05 | -0.00039087 | -9.6972e-05 | 1.1759e-09 | -1.1312e-07 | 0.00059105 | 0.00059109 | 0.00059109 | 0.98338 | -0.31985 | 0.98338 | -0.31991 | 0.16239
12 | 0.059192 | 0.015127 | -0.059039 | -0.015032 | 0.00015343 | 9.544e-05 | 0.088182 | 0.088183 | 0.088183 | 1 | 0 | 0.99717 | -0.053742 | 12.1131
13 | -0.00029465 | -7.3845e-05 | 0.00029465 | 7.3632e-05 | 1.3122e-09 | -2.1279e-07 | 0.00045084 | 0.00045076 | 0.00045084 | 0.97249 | -0.53603 | 0.97249 | -0.53593 | 0.12386
14 | -0.0021495 | -0.00053727 | 0.0021504 | 0.00053494 | 9.6054e-07 | -2.3266e-06 | 0.0032884 | 0.0032874 | 0.0032884 | 0.97249 | -0.53593 | 0.97297 | -0.52652 | 0.90341
15 | 0.0018548 | 0.00046364 | -0.0018548 | -0.00046377 | 3.7879e-08 | -1.3139e-07 | 0.0028376 | 0.0028377 | 0.0028377 | 0.97249 | -0.53593 | 0.97247 | -0.53636 | 0.77959
16 | -0.039009 | -0.0097852 | 0.039066 | 0.0098211 | 5.698e-05 | 3.591e-05 | 0.058949 | 0.058949 | 0.058949 | 0.98474 | -0.29326 | 0.98631 | -0.26267 | 16.1947
17 | 0.013703 | 0.003429 | -0.013701 | -0.0034276 | 2.5596e-06 | 1.4356e-06 | 0.020705 | 0.020705 | 0.020705 | 0.98474 | -0.29326 | 0.98454 | -0.29719 | 5.6881
18 | -0.010501 | -0.0026276 | 0.010503 | 0.0026287 | 2.0718e-06 | 1.0475e-06 | 0.015877 | 0.015877 | 0.015877 | 0.98405 | -0.30672 | 0.98426 | -0.30258 | 4.3619
19 | 0.00079247 | 0.00019775 | -0.00079244 | -0.0001986 | 3.714e-08 | -8.5392e-07 | 0.0011976 | 0.0011979 | 0.0011979 | 0.98442 | -0.29949 | 0.98437 | -0.30048 | 0.32909
20 | 0.00061452 | 0.00015258 | -0.00061448 | -0.00015399 | 3.639e-08 | -1.4073e-06 | 0.00092838 | 0.00092888 | 0.00092888 | 0.98442 | -0.29949 | 0.98436 | -0.30074 | 0.25519
21 | -0.001407 | -0.00035033 | 0.0014071 | 0.00034967 | 9.6347e-08 | -6.612e-07 | 0.0021259 | 0.0021257 | 0.0021259 | 0.98442 | -0.29949 | 0.98449 | -0.29804 | 0.58405
22 | 0.00042652 | 0.00010688 | -0.00042652 | -0.0001069 | 1.8016e-10 | -1.4577e-08 | 0.00064475 | 0.00064476 | 0.00064476 | 0.98436 | -0.30074 | 0.98435 | -0.30075 | 0.17713
23 | -0.0014071 | -0.00034967 | 0.0014071 | 0.00034958 | 1.3819e-08 | -9.4856e-08 | 0.0021257 | 0.0021257 | 0.0021257 | 0.98449 | -0.29804 | 0.9845 | -0.29784 | 0.58398
24 | -0.010503 | -0.0026287 | 0.010506 | 0.00263 | 2.6932e-06 | 1.3615e-06 | 0.015877 | 0.015877 | 0.015877 | 0.98426 | -0.30258 | 0.98454 | -0.29719 | 4.3619
25 | 0.0031949 | 0.00079754 | -0.0031948 | -0.00079762 | 9.854e-08 | -8.0307e-08 | 0.0048276 | 0.0048277 | 0.0048277 | 0.98454 | -0.29719 | 0.9845 | -0.29784 | 1.3263
26 | 0.00039087 | 9.6972e-05 | -0.00039086 | -9.7958e-05 | 1.0248e-08 | -9.8512e-07 | 0.00059109 | 0.00059145 | 0.00059145 | 0.98338 | -0.31991 | 0.98335 | -0.32046 | 0.16249
27 | 0.058364 | 0.014863 | -0.05831 | -0.014828 | 5.4035e-05 | 3.4335e-05 | 0.087177 | 0.087177 | 0.087177 | 0.99717 | -0.053742 | 0.99616 | -0.072957 | 23.9497
28 | -0.0021504 | -0.00053494 | 0.0021512 | 0.00053302 | 7.913e-07 | -1.9202e-06 | 0.0032874 | 0.0032865 | 0.0032874 | 0.97297 | -0.52652 | 0.97336 | -0.51874 | 0.90312
29 | 0.0011633 | 0.00029046 | -0.0011632 | -0.00029117 | 7.2778e-08 | -7.1356e-07 | 0.0017796 | 0.0017799 | 0.0017799 | 0.97247 | -0.53636 | 0.9724 | -0.53768 | 0.48897
30 | -0.043188 | -0.010889 | 0.043225 | 0.010913 | 3.7187e-05 | 2.3499e-05 | 0.065022 | 0.065022 | 0.065022 | 0.98871 | -0.21611 | 0.98964 | -0.19813 | 17.8632
31 | 0.041934 | 0.010575 | -0.041919 | -0.010565 | 1.5264e-05 | 9.6382e-06 | 0.063135 | 0.063135 | 0.063135 | 0.98871 | -0.21611 | 0.98831 | -0.22372 | 17.3447
32 | -0.043719 | -0.011036 | 0.043751 | 0.011056 | 3.1945e-05 | 2.0192e-05 | 0.065764 | 0.065763 | 0.065764 | 0.98964 | -0.19813 | 0.99043 | -0.18289 | 18.0669
33 | 0.041383 | 0.010431 | -0.041377 | -0.010427 | 6.5933e-06 | 4.1617e-06 | 0.062328 | 0.062328 | 0.062328 | 0.98831 | -0.22372 | 0.98814 | -0.22705 | 17.1231
34 | -0.044214 | -0.011173 | 0.044242 | 0.01119 | 2.8147e-05 | 1.7795e-05 | 0.066459 | 0.066459 | 0.066459 | 0.99043 | -0.18289 | 0.99112 | -0.16962 | 18.2581
35 | 0.041377 | 0.010427 | -0.041339 | -0.010403 | 3.8003e-05 | 2.3988e-05 | 0.062328 | 0.062328 | 0.062328 | 0.98814 | -0.22705 | 0.98715 | -0.24626 | 17.1231
36 | -0.044452 | -0.011243 | 0.044528 | 0.011291 | 7.6172e-05 | 4.8162e-05 | 0.066774 | 0.066774 | 0.066774 | 0.99112 | -0.16962 | 0.99297 | -0.13397 | 18.3445
37 | 0.040826 | 0.010274 | -0.040813 | -0.010266 | 1.2933e-05 | 8.1609e-06 | 0.061555 | 0.061555 | 0.061555 | 0.98715 | -0.24626 | 0.98681 | -0.2529 | 16.9108
38 | -0.044718 | -0.011339 | 0.04485 | 0.011422 | 0.00013156 | 8.3187e-05 | 0.067059 | 0.067059 | 0.067059 | 0.99297 | -0.13397 | 0.99616 | -0.072957 | 18.4228
39 | 0.040373 | 0.010156 | -0.040354 | -0.010144 | 1.8841e-05 | 1.1885e-05 | 0.060891 | 0.060892 | 0.060892 | 0.98681 | -0.2529 | 0.98631 | -0.26267 | 16.7284
40 | 0.01346 | 0.0034064 | -0.013452 | -0.0034019 | 8.1547e-06 | 4.52e-06 | 0.020118 | 0.020118 | 0.020118 | 0.99616 | -0.072957 | 0.9955 | -0.085587 | 5.5271
41 | 0.013232 | 0.0033466 | -0.013177 | -0.0033161 | 5.5185e-05 | 3.0455e-05 | 0.019789 | 0.01979 | 0.01979 | 0.9955 | -0.085587 | 0.99097 | -0.17287 | 5.4369
42 | 0.013177 | 0.0033161 | -0.013162 | -0.0033081 | 1.4402e-05 | 7.9553e-06 | 0.01979 | 0.019791 | 0.019791 | 0.99097 | -0.17287 | 0.98979 | -0.19577 | 5.437
43 | 0.012981 | 0.0032628 | -0.012956 | -0.0032491 | 2.4929e-05 | 1.3717e-05 | 0.019519 | 0.01952 | 0.01952 | 0.98979 | -0.19577 | 0.98771 | -0.23606 | 5.3626
44 | 0.012124 | 0.0030404 | -0.012106 | -0.0030307 | 1.7951e-05 | 9.6553e-06 | 0.018265 | 0.018266 | 0.018266 | 0.98771 | -0.23606 | 0.98611 | -0.26717 | 5.0181
45 | 0.0028267 | 0.0006967 | -0.0028264 | -0.000697 | 2.5728e-07 | -2.9568e-07 | 0.0043104 | 0.0043106 | 0.0043106 | 0.97487 | -0.48859 | 0.97477 | -0.49052 | 1.1842
46 | -0.0047061 | -0.0011677 | 0.0047066 | 0.0011677 | 5.1674e-07 | -2.6907e-09 | 0.007179 | 0.0071789 | 0.007179 | 0.97487 | -0.48859 | 0.97499 | -0.48627 | 1.9723
47 | 0.0028264 | 0.000697 | -0.0028227 | -0.00070131 | 3.7618e-06 | -4.3088e-06 | 0.0043106 | 0.004313 | 0.004313 | 0.97477 | -0.49052 | 0.97336 | -0.51874 | 1.1849
48 | -0.0047066 | -0.0011677 | 0.0047113 | 0.0011677 | 4.7528e-06 | -2.9017e-08 | 0.0071789 | 0.0071778 | 0.0071789 | 0.97499 | -0.48627 | 0.97606 | -0.46491 | 1.9722
49 | -0.0080732 | -0.0020103 | 0.0080756 | 0.0020113 | 2.402e-06 | 1.0082e-06 | 0.012303 | 0.012303 | 0.012303 | 0.97606 | -0.46491 | 0.97638 | -0.45863 | 3.38
50 | -0.0080756 | -0.0020113 | 0.0080947 | 0.0020192 | 1.9043e-05 | 7.9803e-06 | 0.012303 | 0.012301 | 0.012303 | 0.97638 | -0.45863 | 0.97889 | -0.40899 | 3.3799
51 | -0.0085642 | -0.0021369 | 0.0085656 | 0.0021375 | 1.3967e-06 | 6.1744e-07 | 0.013015 | 0.013015 | 0.013015 | 0.97889 | -0.40899 | 0.97907 | -0.40555 | 3.5756
52 | 0.00081846 | 0.00020113 | -0.00081827 | -0.00020508 | 1.8754e-07 | -3.9482e-06 | 0.0012425 | 0.0012439 | 0.0012439 | 0.97907 | -0.40555 | 0.97882 | -0.4104 | 0.34174
53 | -0.009384 | -0.0023387 | 0.0093966 | 0.0023446 | 1.2597e-05 | 5.9808e-06 | 0.014257 | 0.014257 | 0.014257 | 0.97907 | -0.40555 | 0.9805 | -0.37728 | 3.9169
54 | 0.010904 | 0.0027128 | -0.010902 | -0.002712 | 1.6881e-06 | 8.7276e-07 | 0.016538 | 0.016538 | 0.016538 | 0.98067 | -0.37402 | 0.9805 | -0.37728 | 4.5433
55 | -0.011647 | -0.0028991 | 0.011706 | 0.0029305 | 5.9254e-05 | 3.1497e-05 | 0.017665 | 0.017663 | 0.017665 | 0.98067 | -0.37402 | 0.98611 | -0.26717 | 4.853
56 | 0.0015053 | 0.00036733 | -0.0015046 | -0.00037132 | 6.8571e-07 | -3.9889e-06 | 0.0022809 | 0.0022825 | 0.0022825 | 0.9805 | -0.37728 | 0.98001 | -0.387 | 0.62706
57 | 0.001305 | 0.00032626 | -0.001305 | -0.00032651 | 3.1865e-08 | -2.5235e-07 | 0.0019812 | 0.0019813 | 0.0019813 | 0.98001 | -0.387 | 0.97999 | -0.38751 | 0.54432
58 | 0.00019956 | 4.5058e-05 | -0.00019955 | -5.0012e-05 | 1.3484e-08 | -4.9539e-06 | 0.00030132 | 0.00030301 | 0.00030301 | 0.98001 | -0.387 | 0.97994 | -0.38847 | 0.083246
59 | 0.00021974 | 5.4517e-05 | -0.00021974 | -5.5071e-05 | 1.8376e-09 | -5.5376e-07 | 0.00033345 | 0.00033365 | 0.00033365 | 0.97999 | -0.38751 | 0.97998 | -0.38769 | 0.091662
60 | 0.00086829 | 0.00021726 | -0.00086828 | -0.0002173 | 2.4001e-09 | -4.3445e-08 | 0.0013286 | 0.0013286 | 0.0013286 | 0.9724 | -0.53768 | 0.9724 | -0.53774 | 0.36499
61 | 0.00068544 | 0.00017148 | -0.00068543 | -0.00017178 | 1.0409e-08 | -3.0634e-07 | 0.0010488 | 0.0010489 | 0.0010489 | 0.9724 | -0.53774 | 0.97238 | -0.53806 | 0.28816

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.061728 | 0.015347

## res_load
| p_mw | q_mvar
0 | 0.0073677 | 0.0018465
1 | 0.017895 | 0.004485
2 | 0.00052762 | 0.00013224
3 | 0.00035846 | 8.9838e-05
4 | 0.0074817 | 0.0018751
5 | 0.00049098 | 0.00012305
6 | 0.00029465 | 7.3845e-05
7 | 0.0021339 | 0.0005348
8 | 0.00079244 | 0.0001986
9 | 0.00018796 | 4.7107e-05
10 | 0.00067454 | 0.00016905
11 | 0.00069151 | 0.00017331
12 | 0.0012539 | 0.00031425
13 | 0.00049332 | 0.00012364
14 | 0.0005359 | 0.00013431
15 | 0.00046319 | 0.00011609
16 | 0.00020964 | 5.254e-05
17 | 0.0005128 | 0.00012852
18 | 0.00019036 | 4.7708e-05
19 | 0.0017877 | 0.00044805
20 | 0.00044016 | 0.00011031
21 | 0.0012878 | 0.00032276
22 | 0.00039086 | 9.7958e-05
23 | 0.00042652 | 0.0001069
24 | 0.00022065 | 5.53e-05
25 | 0.0001809 | 4.5338e-05
26 | 0.0008327 | 0.00020869
27 | 0.0018794 | 0.00047101
28 | 0.00067146 | 0.00016828
29 | 0.0033619 | 0.00084257
30 | 0.00046951 | 0.00011767
31 | 0.00074298 | 0.00018621
32 | 0.00039977 | 0.00010019
33 | 0.00081827 | 0.00020508
34 | 0.0010853 | 0.00027199
35 | 0.00019955 | 5.0012e-05
36 | 0.00021974 | 5.5071e-05
37 | 0.00029492 | 7.3914e-05
38 | 0.00018285 | 4.5825e-05
39 | 0.00068543 | 0.00017178

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1