## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1362-3_1_2_node_39 | 0.4 | n |  | TRUE
1 | bus_LV_1362-3_1_2_node_40 | 0.4 | n |  | TRUE
2 | bus_LV_1362-3_1_2_node_41 | 0.4 | n |  | TRUE
3 | bus_LV_1362-3_1_2_node_42 | 0.4 | n |  | TRUE
4 | bus_LV_1362-3_1_2_node_43 | 0.4 | n |  | TRUE
5 | bus_LV_1362-3_1_2_node_44 | 0.4 | n |  | TRUE
6 | bus_LV_1362-3_1_2_node_45 | 0.4 | n |  | TRUE
7 | bus_LV_1362-3_1_2_node_82 | 0.4 | n |  | TRUE
8 | bus_LV_1362-3_1_2_node_81 | 0.4 | n |  | TRUE
9 | bus_LV_1362-3_1_2_node_96 | 0.4 | n |  | TRUE
10 | bus_LV_1362-3_1_2_node_46 | 0.4 | n |  | TRUE
11 | bus_LV_1362-3_1_2_node_47 | 0.4 | n |  | TRUE
12 | bus_LV_1362-3_1_2_node_48 | 0.4 | n |  | TRUE
13 | bus_LV_1362-3_1_2_node_79 | 0.4 | n |  | TRUE
14 | bus_LV_1362-3_1_2_node_114 | 0.4 | n |  | TRUE
15 | bus_LV_1362-3_1_2_node_77 | 0.4 | n |  | TRUE
16 | bus_LV_1362-3_1_2_node_78 | 0.4 | n |  | TRUE
17 | bus_LV_1362-3_1_2_node_80 | 0.4 | n |  | TRUE
18 | bus_LV_1362-3_1_2_node_83 | 0.4 | n |  | TRUE
19 | bus_LV_1362-3_1_2_node_84 | 0.4 | n |  | TRUE
20 | bus_LV_1362-3_1_2_node_85 | 0.4 | n |  | TRUE
21 | bus_LV_1362-3_1_2_node_86 | 0.4 | n |  | TRUE
22 | bus_LV_1362-3_1_2_node_87 | 0.4 | n |  | TRUE
23 | bus_LV_1362-3_1_2_node_88 | 0.4 | n |  | TRUE
24 | bus_LV_1362-3_1_2_node_89 | 0.4 | n |  | TRUE
25 | bus_LV_1362-3_1_2_node_90 | 0.4 | n |  | TRUE
26 | bus_LV_1362-3_1_2_node_103 | 0.4 | n |  | TRUE
27 | bus_LV_1362-3_1_2_node_104 | 0.4 | n |  | TRUE
28 | bus_LV_1362-3_1_2_node_105 | 0.4 | n |  | TRUE
29 | bus_LV_1362-3_1_2_node_91 | 0.4 | n |  | TRUE
30 | bus_LV_1362-3_1_2_node_92 | 0.4 | n |  | TRUE
31 | bus_LV_1362-3_1_2_node_93 | 0.4 | n |  | TRUE
32 | bus_LV_1362-3_1_2_node_94 | 0.4 | n |  | TRUE
33 | bus_LV_1362-3_1_2_node_95 | 0.4 | n |  | TRUE
34 | bus_LV_1362-3_1_2_node_97 | 0.4 | n |  | TRUE
35 | bus_LV_1362-3_1_2_node_98 | 0.4 | n |  | TRUE
36 | bus_LV_1362-3_1_2_node_99 | 0.4 | n |  | TRUE
37 | bus_LV_1362-3_1_2_node_100 | 0.4 | n |  | TRUE
38 | bus_LV_1362-3_1_2_node_102 | 0.4 | n |  | TRUE
39 | bus_LV_1362-3_1_2_node_101 | 0.4 | n |  | TRUE
40 | bus_LV_1362-3_1_2_node_106 | 0.4 | n |  | TRUE
41 | bus_LV_1362-3_1_2_node_113 | 0.4 | n |  | TRUE
42 | bus_LV_1362-3_1_2_node_118 | 0.4 | n |  | TRUE
43 | bus_LV_1362-3_1_2_node_111 | 0.4 | n |  | TRUE
44 | bus_LV_1362-3_1_2_node_112 | 0.4 | n |  | TRUE
45 | bus_LV_1362-3_1_2_node_107 | 0.4 | n |  | TRUE
46 | bus_LV_1362-3_1_2_node_108 | 0.4 | n |  | TRUE
47 | bus_LV_1362-3_1_2_node_109 | 0.4 | n |  | TRUE
48 | bus_LV_1362-3_1_2_node_110 | 0.4 | n |  | TRUE
49 | bus_LV_1362-3_1_2_node_115 | 0.4 | n |  | TRUE
50 | bus_LV_1362-3_1_2_node_119 | 0.4 | n |  | TRUE
51 | bus_MV_0_node_104 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1362-3_1_2_load_43 | 4 | 0.0011298 | 0.00028315 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1362-3_1_2_load_44 | 5 | 0.00073349 | 0.00018383 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1362-3_1_2_load_45 | 6 | 0.0016015 | 0.00040137 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1362-3_1_2_load_82 | 7 | 0.00073811 | 0.00018499 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1362-3_1_2_load_46 | 10 | 0.00025872 | 6.4842e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1362-3_1_2_load_48 | 12 | 0.0011277 | 0.00028262 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1362-3_1_2_load_114 | 14 | 0.0044668 | 0.0011195 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1362-3_1_2_load_77 | 15 | 0.00075062 | 0.00018812 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1362-3_1_2_load_80 | 17 | 0.00088348 | 0.00022142 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1362-3_1_2_load_83 | 18 | 0.0012375 | 0.00031016 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1362-3_1_2_load_84 | 19 | 0.00095367 | 0.00023901 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1362-3_1_2_load_85 | 20 | 0.00075334 | 0.0001888 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1362-3_1_2_load_86 | 21 | 0.001165 | 0.00029199 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1362-3_1_2_load_88 | 23 | 0.00054932 | 0.00013767 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1362-3_1_2_load_89 | 24 | 0.00091695 | 0.00022981 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1362-3_1_2_load_90 | 25 | 0.00090926 | 0.00022788 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1362-3_1_2_load_103 | 26 | 0.00076947 | 0.00019285 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1362-3_1_2_load_104 | 27 | 0.00091626 | 0.00022964 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1362-3_1_2_load_105 | 28 | 0.00090435 | 0.00022665 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1362-3_1_2_load_91 | 29 | 0.0007972 | 0.0001998 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1362-3_1_2_load_92 | 30 | 0.00074029 | 0.00018553 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1362-3_1_2_load_93 | 31 | 0.00081241 | 0.00020361 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1362-3_1_2_load_94 | 32 | 0.00073596 | 0.00018445 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1362-3_1_2_load_95 | 33 | 0.0017476 | 0.00043798 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1362-3_1_2_load_98 | 35 | 0.00065161 | 0.00016331 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1362-3_1_2_load_100 | 37 | 0.00065027 | 0.00016297 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1362-3_1_2_load_101 | 39 | 0.0053999 | 0.0013533 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1362-3_1_2_load_113 | 41 | 0.00093725 | 0.0002349 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1362-3_1_2_load_118 | 42 | 0.00090113 | 0.00022584 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1362-3_1_2_load_111 | 43 | 0.000934 | 0.00023408 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1362-3_1_2_load_112 | 44 | 0.002385 | 0.00059773 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1362-3_1_2_load_107 | 45 | 0.00074602 | 0.00018697 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1362-3_1_2_load_108 | 46 | 0.00095986 | 0.00024056 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1362-3_1_2_load_109 | 47 | 0.0013734 | 0.0003442 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1362-3_1_2_load_110 | 48 | 0.0014626 | 0.00036656 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1362-3_1_2_load_115 | 49 | 0.0027617 | 0.00069215 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1362-3_1_2_load_119 | 50 | 0.00092082 | 0.00023078 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1362-3_1_2_line_0 |  | 0 | 1 | 0.082761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1362-3_1_2_line_1 |  | 0 | 2 | 0.074579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1362-3_1_2_line_2 |  | 1 | 3 | 0.014855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1362-3_1_2_line_3 |  | 1 | 4 | 0.017671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1362-3_1_2_line_4 |  | 2 | 5 | 0.11115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1362-3_1_2_line_5 |  | 2 | 6 | 0.023342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1362-3_1_2_line_6 |  | 3 | 7 | 0.062662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1362-3_1_2_line_7 |  | 3 | 8 | 0.004535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1362-3_1_2_line_8 |  | 4 | 9 | 0.0024244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1362-3_1_2_line_9 |  | 8 | 17 | 0.037241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1362-3_1_2_line_10 |  | 9 | 35 | 0.021382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1362-3_1_2_line_11 |  | 9 | 33 | 0.023823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1362-3_1_2_line_12 |  | 10 | 11 | 0.074809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1362-3_1_2_line_13 |  | 11 | 12 | 0.046569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1362-3_1_2_line_14 |  | 12 | 13 | 0.19067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1362-3_1_2_line_15 |  | 12 | 14 | 0.38948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1362-3_1_2_line_16 |  | 13 | 16 | 0.14972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1362-3_1_2_line_17 |  | 14 | 41 | 0.14171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1362-3_1_2_line_18 |  | 15 | 16 | 0.016198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1362-3_1_2_line_19 |  | 18 | 19 | 0.006045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1362-3_1_2_line_20 |  | 18 | 20 | 0.04518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1362-3_1_2_line_21 |  | 19 | 21 | 0.027225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1362-3_1_2_line_22 |  | 20 | 22 | 0.010385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1362-3_1_2_line_23 |  | 21 | 23 | 0.024805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1362-3_1_2_line_24 |  | 22 | 24 | 0.010371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1362-3_1_2_line_25 |  | 22 | 25 | 0.00061474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1362-3_1_2_line_26 |  | 23 | 26 | 0.014712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1362-3_1_2_line_27 |  | 24 | 27 | 0.012985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1362-3_1_2_line_28 |  | 25 | 28 | 0.0018562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1362-3_1_2_line_29 |  | 26 | 32 | 0.0176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1362-3_1_2_line_30 |  | 27 | 41 | 0.027961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1362-3_1_2_line_31 |  | 28 | 42 | 0.021675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1362-3_1_2_line_32 |  | 29 | 30 | 0.022767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1362-3_1_2_line_33 |  | 30 | 31 | 0.019696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1362-3_1_2_line_34 |  | 31 | 32 | 0.026091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1362-3_1_2_line_35 |  | 33 | 34 | 0.016858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1362-3_1_2_line_36 |  | 34 | 36 | 0.026704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1362-3_1_2_line_37 |  | 35 | 37 | 0.0044745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1362-3_1_2_line_38 |  | 36 | 38 | 0.018026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1362-3_1_2_line_39 |  | 36 | 39 | 0.013746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1362-3_1_2_line_40 |  | 38 | 40 | 0.015511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1362-3_1_2_line_41 |  | 40 | 43 | 0.04659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1362-3_1_2_line_42 |  | 40 | 44 | 0.01255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1362-3_1_2_line_43 |  | 42 | 50 | 0.011352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1362-3_1_2_line_44 |  | 43 | 49 | 0.002509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1362-3_1_2_line_45 |  | 44 | 48 | 0.029719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1362-3_1_2_line_46 |  | 45 | 46 | 0.034462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1362-3_1_2_line_47 |  | 46 | 47 | 0.019188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1362-3_1_2_line_48 |  | 47 | 48 | 0.01014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1362-3_1_2_line_49 |  | 49 | 50 | 0.0010482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1362-3_1_2_trafo_104 | 0.63 MVA 20/0.4 kV | 51 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2679172.1308 | 1210460.9776 | 2679159.6507 | 1210455.2417 | 2679135.1991 | 1210449.5471 | 2679127.0776 | 1210445.27 | 2679099.0881 | 1210424.3744
1 | 2679172.1308 | 1210460.9776 | 2679176.9901 | 1210486.5474 | 2679192.2225 | 1210531.1225 | 2679191.8694 | 1210532.5299
2 | 2679099.0881 | 1210424.3744 | 2679094.1359 | 1210410.3664
3 | 2679099.0881 | 1210424.3744 | 2679091.7212 | 1210433.1157 | 2679085.8844 | 1210435.3203
4 | 2679191.8694 | 1210532.5299 | 2679187.9359 | 1210548.2878 | 2679193.019 | 1210559.2845 | 2679191.1122 | 1210580.395 | 2679182.3243 | 1210612.5879 | 2679177.6152 | 1210640.417
5 | 2679191.8694 | 1210532.5299 | 2679201.5346 | 1210539.029 | 2679209.4615 | 1210547.6278
6 | 2679094.1359 | 1210410.3664 | 2679074.867 | 1210414.4693 | 2679048.8448 | 1210420.017 | 2679033.8453 | 1210426.5352
7 | 2679094.1359 | 1210410.3664 | 2679097.5353 | 1210407.354
8 | 2679083.6163 | 1210436.1769 | 2679085.8844 | 1210435.3203
9 | 2679097.5353 | 1210407.354 | 2679101.104 | 1210404.1882 | 2679131.3657 | 1210402.2103 | 2679133.4679 | 1210402.6337
10 | 2679083.6163 | 1210436.1769 | 2679071.7608 | 1210437.7875 | 2679065.951 | 1210440.301 | 2679064.5282 | 1210443.0412
11 | 2679083.6163 | 1210436.1769 | 2679084.3581 | 1210447.872 | 2679084.222 | 1210459.9761
12 | 2678875.1469 | 1211142.9155 | 2678881.6751 | 1211161.8696 | 2678883.3237 | 1211173.3988 | 2678880.0393 | 1211183.8398 | 2678874.6051 | 1211191.9176 | 2678865.0532 | 1211201.6198 | 2678859.6364 | 1211205.5174 | 2678857.8937 | 1211206.7694
13 | 2678875.1469 | 1211142.9155 | 2678906.8531 | 1211125.1011 | 2678912.4131 | 1211116.5482
14 | 2678912.4131 | 1211116.5482 | 2679102.8637 | 1211107.4851
15 | 2678899.9647 | 1210727.2658 | 2678912.4131 | 1211116.5482
16 | 2679090.7545 | 1211233.172 | 2679076.7987 | 1211212.7628 | 2679078.4553 | 1211203.6011 | 2679080.8063 | 1211197.0947 | 2679081.3788 | 1211187.7408 | 2679083.0038 | 1211176.3772 | 2679083.9851 | 1211174.0109 | 2679087.7689 | 1211167.2011 | 2679089.0697 | 1211165.962 | 2679089.6116 | 1211164.068 | 2679087.7414 | 1211160.1073 | 2679083.7091 | 1211157.0074 | 2679076.9598 | 1211154.7721 | 2679074.7537 | 1211150.3512 | 2679075.4733 | 1211147.0919 | 2679078.8156 | 1211142.6222 | 2679089.5507 | 1211120.5281 | 2679099.264 | 1211109.5832 | 2679102.8637 | 1211107.4851
17 | 2678973.4953 | 1210611.0733 | 2678959.5405 | 1210625.2885 | 2678940.6121 | 1210654.2566 | 2678927.78 | 1210674.5554 | 2678923.1496 | 1210681.0094 | 2678911.0529 | 1210688.2541 | 2678907.2207 | 1210692.9731 | 2678899.9647 | 1210727.2658
18 | 2679090.7545 | 1211233.172 | 2679084.0544 | 1211238.6978 | 2679077.1823 | 1211241.7352
19 | 2678936.4554 | 1210592.4627 | 2678933.357 | 1210594.867 | 2678931.5812 | 1210596.0306
20 | 2678936.4554 | 1210592.4627 | 2678966.1247 | 1210569.4398 | 2678973.0941 | 1210566.3443
21 | 2678931.5812 | 1210596.0306 | 2678914.0134 | 1210607.5415 | 2678909.9345 | 1210612.2401
22 | 2678982.8133 | 1210562.7008 | 2678975.3374 | 1210565.348 | 2678973.0941 | 1210566.3443
23 | 2678909.9345 | 1210612.2401 | 2678893.6733 | 1210630.9716
24 | 2678982.8133 | 1210562.7008 | 2678980.3885 | 1210572.7847
25 | 2678982.8133 | 1210562.7008 | 2678983.0218 | 1210562.1225
26 | 2678884.0288 | 1210642.0814 | 2678893.6733 | 1210630.9716
27 | 2678979.4257 | 1210585.513 | 2678979.3706 | 1210585.0584 | 2678978.6525 | 1210580.168 | 2678979.7085 | 1210575.6124 | 2678980.3885 | 1210572.7847
28 | 2678983.0218 | 1210562.1225 | 2678983.6512 | 1210560.3762
29 | 2678884.0288 | 1210642.0814 | 2678883.373 | 1210642.8368 | 2678870.6575 | 1210653.508
30 | 2678973.4953 | 1210611.0733 | 2678978.3313 | 1210606.1471 | 2678980.8299 | 1210597.1077 | 2678979.4257 | 1210585.513
31 | 2678994.2443 | 1210542.3806 | 2678988.6127 | 1210546.6117 | 2678983.6512 | 1210560.3762
32 | 2678817.8252 | 1210697.1691 | 2678824.3474 | 1210692.3775 | 2678835.5869 | 1210682.9434
33 | 2678850.6726 | 1210670.2808 | 2678835.5869 | 1210682.9434
34 | 2678850.6726 | 1210670.2808 | 2678855.9967 | 1210665.8119 | 2678870.6575 | 1210653.508
35 | 2679085.2822 | 1210476.7695 | 2679084.1462 | 1210466.7146 | 2679084.222 | 1210459.9761
36 | 2679085.2822 | 1210476.7695 | 2679081.3491 | 1210479.9082 | 2679077.2208 | 1210486.3021 | 2679074.7453 | 1210490.1384 | 2679074.7778 | 1210493.9969 | 2679073.5479 | 1210495.0368 | 2679069.5009 | 1210495.3056
37 | 2679064.5282 | 1210443.0412 | 2679062.4664 | 1210447.0122
38 | 2679069.5009 | 1210495.3056 | 2679063.3491 | 1210493.2338 | 2679051.93 | 1210495.1838
39 | 2679069.5009 | 1210495.3056 | 2679073.6168 | 1210500.7302 | 2679076.8667 | 1210506.8587
40 | 2679038.9416 | 1210503.7172 | 2679051.93 | 1210495.1838
41 | 2679038.9416 | 1210503.7172 | 2679033.7395 | 1210510.2747 | 2679011.8962 | 1210520.5588 | 2679007.1301 | 1210526.3327 | 2679004.9779 | 1210532.5608
42 | 2679038.9416 | 1210503.7172 | 2679027.1237 | 1210507.9423
43 | 2678994.2443 | 1210542.3806 | 2679003.3204 | 1210535.5618
44 | 2679004.9779 | 1210532.5608 | 2679004.1584 | 1210534.9322 | 2679004.1584 | 1210534.9322
45 | 2678999.1393 | 1210517.9471 | 2679027.1237 | 1210507.9423
46 | 2678941.8184 | 1210545.7037 | 2678943.6867 | 1210544.2823 | 2678972.4541 | 1210530.0082
47 | 2678972.4541 | 1210530.0082 | 2678989.6422 | 1210521.4797
48 | 2678999.1393 | 1210517.9471 | 2678990.6318 | 1210520.9886 | 2678989.6422 | 1210521.4797
49 | 2679004.1584 | 1210534.9322 | 2679003.3204 | 1210535.5618

## bus_geodata
| x | y | coords
0 | 2679172.1308 | 1210460.9776
1 | 2679099.0881 | 1210424.3744
2 | 2679191.8694 | 1210532.5299
3 | 2679094.1359 | 1210410.3664
4 | 2679085.8844 | 1210435.3203
5 | 2679177.6152 | 1210640.417
6 | 2679209.4615 | 1210547.6278
7 | 2679033.8453 | 1210426.5352
8 | 2679097.5353 | 1210407.354
9 | 2679083.6163 | 1210436.1769
10 | 2678857.8937 | 1211206.7694
11 | 2678875.1469 | 1211142.9155
12 | 2678912.4131 | 1211116.5482
13 | 2679102.8637 | 1211107.4851
14 | 2678899.9647 | 1210727.2658
15 | 2679077.1823 | 1211241.7352
16 | 2679090.7545 | 1211233.172
17 | 2679133.4679 | 1210402.6337
18 | 2678936.4554 | 1210592.4627
19 | 2678931.5812 | 1210596.0306
20 | 2678973.0941 | 1210566.3443
21 | 2678909.9345 | 1210612.2401
22 | 2678982.8133 | 1210562.7008
23 | 2678893.6733 | 1210630.9716
24 | 2678980.3885 | 1210572.7847
25 | 2678983.0218 | 1210562.1225
26 | 2678884.0288 | 1210642.0814
27 | 2678979.4257 | 1210585.513
28 | 2678983.6512 | 1210560.3762
29 | 2678817.8252 | 1210697.1691
30 | 2678835.5869 | 1210682.9434
31 | 2678850.6726 | 1210670.2808
32 | 2678870.6575 | 1210653.508
33 | 2679084.222 | 1210459.9761
34 | 2679085.2822 | 1210476.7695
35 | 2679064.5282 | 1210443.0412
36 | 2679069.5009 | 1210495.3056
37 | 2679062.4664 | 1210447.0122
38 | 2679051.93 | 1210495.1838
39 | 2679076.8667 | 1210506.8587
40 | 2679038.9416 | 1210503.7172
41 | 2678973.4953 | 1210611.0733
42 | 2678994.2443 | 1210542.3806
43 | 2679004.9779 | 1210532.5608
44 | 2679027.1237 | 1210507.9423
45 | 2678941.8184 | 1210545.7037
46 | 2678972.4541 | 1210530.0082
47 | 2678989.6422 | 1210521.4797
48 | 2678999.1393 | 1210517.9471
49 | 2679004.1584 | 1210534.9322
50 | 2679003.3204 | 1210535.5618
51 | 2678979.4257 | 1210585.513

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99632 | -0.070827 | 0 | 0
1 | 0.9965 | -0.067422 | 0 | 0
2 | 0.99617 | -0.073892 | 0 | 0
3 | 0.99648 | -0.067846 | 0 | 0
4 | 0.99656 | -0.066191 | 0.0011298 | 0.00028315
5 | 0.99609 | -0.075328 | 0.00073349 | 0.00018383
6 | 0.99613 | -0.074549 | 0.0016015 | 0.00040137
7 | 0.99644 | -0.068659 | 0.00073811 | 0.00018499
8 | 0.99647 | -0.067916 | 0 | 0
9 | 0.99657 | -0.065974 | 0 | 0
10 | 0.99818 | -0.035357 | 0.00025872 | 6.4842e-05
11 | 0.99819 | -0.035017 | 0 | 0
12 | 0.99821 | -0.034804 | 0.0011277 | 0.00028262
13 | 0.99808 | -0.037337 | 0 | 0
14 | 0.99896 | -0.020102 | 0.0044668 | 0.0011195
15 | 0.99796 | -0.039524 | 0.00075062 | 0.00018812
16 | 0.99797 | -0.039311 | 0 | 0
17 | 0.99644 | -0.068494 | 0.00088348 | 0.00022142
18 | 0.99882 | -0.022687 | 0.0012375 | 0.00031016
19 | 0.99878 | -0.023377 | 0.00095367 | 0.00023901
20 | 0.99914 | -0.016559 | 0.00075334 | 0.0001888
21 | 0.99865 | -0.026029 | 0.001165 | 0.00029199
22 | 0.99922 | -0.015014 | 0 | 0
23 | 0.99855 | -0.02794 | 0.00054932 | 0.00013767
24 | 0.99956 | -0.0084363 | 0.00091695 | 0.00022981
25 | 0.9992 | -0.015312 | 0.00090926 | 0.00022788
26 | 0.9985 | -0.028932 | 0.00076947 | 0.00019285
27 | 1 | 0 | -0.046504 | -0.011249
28 | 0.99916 | -0.016184 | 0.00090435 | 0.00022665
29 | 0.99835 | -0.031803 | 0.0007972 | 0.0001998
30 | 0.99836 | -0.031485 | 0.00074029 | 0.00018553
31 | 0.99839 | -0.030956 | 0.00081241 | 0.00020361
32 | 0.99845 | -0.029883 | 0.00073596 | 0.00018445
33 | 0.99671 | -0.063297 | 0.0017476 | 0.00043798
34 | 0.99684 | -0.060886 | 0 | 0
35 | 0.99655 | -0.066463 | 0.00065161 | 0.00016331
36 | 0.99704 | -0.057068 | 0 | 0
37 | 0.99655 | -0.066514 | 0.00065027 | 0.00016297
38 | 0.99726 | -0.052785 | 0 | 0
39 | 0.99697 | -0.05837 | 0.0053999 | 0.0013533
40 | 0.99745 | -0.049101 | 0 | 0
41 | 0.99981 | -0.0036926 | 0.00093725 | 0.0002349
42 | 0.99865 | -0.02603 | 0.00090113 | 0.00022584
43 | 0.99832 | -0.032395 | 0.000934 | 0.00023408
44 | 0.99737 | -0.050625 | 0.002385 | 0.00059773
45 | 0.99716 | -0.054564 | 0.00074602 | 0.00018697
46 | 0.99719 | -0.054114 | 0.00095986 | 0.00024056
47 | 0.99722 | -0.053539 | 0.0013734 | 0.0003442
48 | 0.99725 | -0.052992 | 0.0014626 | 0.00036656
49 | 0.99836 | -0.031455 | 0.0027617 | 0.00069215
50 | 0.99839 | -0.031012 | 0.00092082 | 0.00023078
51 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0023354 | -0.00058276 | 0.0023358 | 0.00058192 | 3.7733e-07 | -8.365e-07 | 0.003487 | 0.0034867 | 0.003487 | 0.99632 | -0.070827 | 0.9965 | -0.067422 | 0.95798
1 | 0.0023354 | 0.00058276 | -0.0023351 | -0.00058351 | 3.401e-07 | -7.5343e-07 | 0.003487 | 0.0034874 | 0.0034874 | 0.99632 | -0.070827 | 0.99617 | -0.073892 | 0.95807
2 | 0.0016217 | 0.00040491 | -0.0016217 | -0.00040509 | 3.2653e-08 | -1.7262e-07 | 0.002421 | 0.0024211 | 0.0024211 | 0.9965 | -0.067422 | 0.99648 | -0.067846 | 0.66514
3 | -0.0039575 | -0.00098683 | 0.0039577 | 0.00098675 | 2.3127e-07 | -8.2211e-08 | 0.0059077 | 0.0059076 | 0.0059077 | 0.9965 | -0.067422 | 0.99656 | -0.066191 | 1.623
4 | 0.00073354 | 0.00018241 | -0.00073349 | -0.00018383 | 5.0019e-08 | -1.4149e-06 | 0.0010952 | 0.0010957 | 0.0010957 | 0.99617 | -0.073892 | 0.99609 | -0.075328 | 0.30102
5 | 0.0016015 | 0.0004011 | -0.0016015 | -0.00040137 | 5.0093e-08 | -2.7182e-07 | 0.0023922 | 0.0023923 | 0.0023923 | 0.99617 | -0.073892 | 0.99613 | -0.074549 | 0.65722
6 | 0.00073814 | 0.00018419 | -0.00073811 | -0.00018499 | 2.8542e-08 | -7.98e-07 | 0.001102 | 0.0011023 | 0.0011023 | 0.99648 | -0.067846 | 0.99644 | -0.068659 | 0.30282
7 | 0.00088351 | 0.0002209 | -0.00088351 | -0.00022095 | 2.9593e-09 | -5.7183e-08 | 0.0013191 | 0.0013192 | 0.0013192 | 0.99648 | -0.067846 | 0.99647 | -0.067916 | 0.36241
8 | -0.0050875 | -0.0012699 | 0.0050875 | 0.0012699 | 5.2438e-08 | 1.9713e-09 | 0.0075946 | 0.0075945 | 0.0075946 | 0.99656 | -0.066191 | 0.99657 | -0.065974 | 2.0864
9 | 0.00088351 | 0.00022095 | -0.00088348 | -0.00022142 | 2.4306e-08 | -4.6957e-07 | 0.0013192 | 0.0013193 | 0.0013193 | 0.99647 | -0.067916 | 0.99644 | -0.068494 | 0.36245
10 | 0.0013019 | 0.00032596 | -0.0013019 | -0.00032622 | 3.0298e-08 | -2.592e-07 | 0.0019438 | 0.0019439 | 0.0019439 | 0.99657 | -0.065974 | 0.99655 | -0.066463 | 0.53404
11 | -0.0063894 | -0.0015959 | 0.0063903 | 0.0015961 | 8.1279e-07 | 2.0973e-07 | 0.0095383 | 0.0095382 | 0.0095383 | 0.99657 | -0.065974 | 0.99671 | -0.063297 | 2.6204
12 | -0.00025872 | -6.4842e-05 | 0.00025873 | 6.3867e-05 | 4.1693e-09 | -9.7521e-07 | 0.00038569 | 0.00038534 | 0.00038569 | 0.99818 | -0.035357 | 0.99819 | -0.035017 | 0.10596
13 | -0.00025873 | -6.3867e-05 | 0.00025873 | 6.3259e-05 | 2.5917e-09 | -6.071e-07 | 0.00038534 | 0.00038513 | 0.00038534 | 0.99819 | -0.035017 | 0.99821 | -0.034804 | 0.10586
14 | 0.00075079 | 0.00018357 | -0.0007507 | -0.00018601 | 8.9374e-08 | -2.4349e-06 | 0.0011176 | 0.0011185 | 0.0011185 | 0.99821 | -0.034804 | 0.99808 | -0.037337 | 0.30727
15 | -0.0021372 | -0.00052945 | 0.0021387 | 0.0005253 | 1.4796e-06 | -4.1483e-06 | 0.0031837 | 0.0031819 | 0.0031837 | 0.99821 | -0.034804 | 0.99896 | -0.020102 | 0.87465
16 | 0.0007507 | 0.00018601 | -0.00075063 | -0.00018792 | 7.0279e-08 | -1.9115e-06 | 0.0011185 | 0.0011191 | 0.0011191 | 0.99808 | -0.037337 | 0.99797 | -0.039311 | 0.30746
17 | -0.0066055 | -0.0016448 | 0.0066106 | 0.0016462 | 5.1406e-06 | 1.4331e-06 | 0.0098356 | 0.0098349 | 0.0098356 | 0.99896 | -0.020102 | 0.99981 | -0.0036926 | 2.7021
18 | -0.00075062 | -0.00018812 | 0.00075063 | 0.00018792 | 7.6085e-09 | -2.0678e-07 | 0.0011192 | 0.0011191 | 0.0011192 | 0.99796 | -0.039524 | 0.99797 | -0.039311 | 0.30748
19 | 0.0065252 | 0.001634 | -0.0065249 | -0.0016339 | 2.1419e-07 | 5.7968e-08 | 0.0097205 | 0.0097206 | 0.0097206 | 0.99882 | -0.022687 | 0.99878 | -0.023377 | 2.6705
20 | -0.0077627 | -0.0019441 | 0.007765 | 0.001945 | 2.2657e-06 | 8.5852e-07 | 0.011564 | 0.011564 | 0.011564 | 0.99882 | -0.022687 | 0.99914 | -0.016559 | 3.177
21 | 0.0055713 | 0.0013949 | -0.0055706 | -0.0013948 | 7.033e-07 | 9.3853e-08 | 0.0082998 | 0.0082999 | 0.0082999 | 0.99878 | -0.023377 | 0.99865 | -0.026029 | 2.2802
22 | -0.0085183 | -0.0021338 | 0.0085189 | 0.0021341 | 6.2676e-07 | 2.651e-07 | 0.012686 | 0.012686 | 0.012686 | 0.99914 | -0.016559 | 0.99922 | -0.015014 | 3.4851
23 | 0.0044055 | 0.0011028 | -0.0044051 | -0.0011029 | 4.0079e-07 | -6.8011e-08 | 0.006564 | 0.0065641 | 0.0065641 | 0.99865 | -0.026029 | 0.99855 | -0.02794 | 1.8033
24 | -0.036361 | -0.009121 | 0.036373 | 0.0091281 | 1.1405e-05 | 7.1631e-06 | 0.054151 | 0.054151 | 0.054151 | 0.99922 | -0.015014 | 0.99956 | -0.0084363 | 14.8767
25 | 0.027842 | 0.0069869 | -0.027842 | -0.0069866 | 3.9636e-07 | 2.4562e-07 | 0.041465 | 0.041465 | 0.041465 | 0.99922 | -0.015014 | 0.9992 | -0.015312 | 11.3916
26 | 0.0038558 | 0.00096523 | -0.0038556 | -0.00096531 | 1.8212e-07 | -7.5883e-08 | 0.0057455 | 0.0057455 | 0.0057455 | 0.99855 | -0.02794 | 0.9985 | -0.028932 | 1.5784
27 | -0.03729 | -0.0093579 | 0.037305 | 0.0093674 | 1.5008e-05 | 9.4349e-06 | 0.055516 | 0.055516 | 0.055516 | 0.99956 | -0.0084363 | 1 | 0 | 15.2517
28 | 0.026933 | 0.0067588 | -0.026932 | -0.0067581 | 1.1199e-06 | 6.9244e-07 | 0.040111 | 0.040111 | 0.040111 | 0.9992 | -0.015312 | 0.99916 | -0.016184 | 11.0196
29 | 0.0030862 | 0.00077246 | -0.003086 | -0.0007726 | 1.3959e-07 | -1.4086e-07 | 0.0045988 | 0.0045989 | 0.0045989 | 0.9985 | -0.028932 | 0.99845 | -0.029883 | 1.2634
30 | 0.0075492 | 0.0018816 | -0.0075479 | -0.0018811 | 1.3223e-06 | 4.7951e-07 | 0.01123 | 0.01123 | 0.01123 | 1 | 0 | 0.99981 | -0.0036926 | 3.0851
31 | 0.026027 | 0.0065314 | -0.026015 | -0.0065239 | 1.2214e-05 | 7.5334e-06 | 0.038764 | 0.038765 | 0.038765 | 0.99916 | -0.016184 | 0.99865 | -0.02603 | 10.6496
32 | -0.0007972 | -0.0001998 | 0.00079721 | 0.00019951 | 1.2053e-08 | -2.8999e-07 | 0.0011882 | 0.0011881 | 0.0011882 | 0.99835 | -0.031803 | 0.99836 | -0.031485 | 0.32643
33 | -0.0015375 | -0.00038504 | 0.0015375 | 0.00038481 | 3.8781e-08 | -2.3274e-07 | 0.0022915 | 0.0022914 | 0.0022915 | 0.99836 | -0.031485 | 0.99839 | -0.030956 | 0.62953
34 | -0.0023499 | -0.00058842 | 0.0023501 | 0.00058815 | 1.2e-07 | -2.6441e-07 | 0.0035022 | 0.0035021 | 0.0035022 | 0.99839 | -0.030956 | 0.99845 | -0.029883 | 0.96215
35 | -0.0081378 | -0.0020341 | 0.0081388 | 0.0020344 | 9.3278e-07 | 3.7724e-07 | 0.012147 | 0.012147 | 0.012147 | 0.99671 | -0.063297 | 0.99684 | -0.060886 | 3.3371
36 | -0.0081388 | -0.0020344 | 0.0081402 | 0.002035 | 1.4776e-06 | 5.9746e-07 | 0.012147 | 0.012147 | 0.012147 | 0.99684 | -0.060886 | 0.99704 | -0.057068 | 3.3371
37 | 0.00065027 | 0.00016291 | -0.00065027 | -0.00016297 | 1.5818e-09 | -5.7285e-08 | 0.00097094 | 0.00097096 | 0.00097096 | 0.99655 | -0.066463 | 0.99655 | -0.066514 | 0.26675
38 | -0.01354 | -0.0033884 | 0.013543 | 0.0033899 | 2.76e-06 | 1.5313e-06 | 0.020207 | 0.020206 | 0.020207 | 0.99704 | -0.057068 | 0.99726 | -0.052785 | 5.5513
39 | 0.0054003 | 0.0013534 | -0.0053999 | -0.0013533 | 3.3484e-07 | 3.5038e-08 | 0.0080595 | 0.0080596 | 0.0080596 | 0.99704 | -0.057068 | 0.99697 | -0.05837 | 2.2142
40 | -0.013543 | -0.0033899 | 0.013546 | 0.0033913 | 2.3749e-06 | 1.3175e-06 | 0.020206 | 0.020206 | 0.020206 | 0.99726 | -0.052785 | 0.99745 | -0.049101 | 5.5512
41 | -0.020474 | -0.0051266 | 0.02049 | 0.0051365 | 1.6297e-05 | 9.8212e-06 | 0.030541 | 0.030541 | 0.030541 | 0.99745 | -0.049101 | 0.99832 | -0.032395 | 8.3905
42 | 0.006928 | 0.0017354 | -0.0069275 | -0.0017352 | 5.027e-07 | 1.5793e-07 | 0.010335 | 0.010335 | 0.010335 | 0.99745 | -0.049101 | 0.99737 | -0.050625 | 2.8393
43 | 0.025114 | 0.006298 | -0.025108 | -0.0062944 | 5.9616e-06 | 3.6669e-06 | 0.037422 | 0.037422 | 0.037422 | 0.99865 | -0.02603 | 0.99839 | -0.031012 | 10.2807
44 | -0.021424 | -0.0053706 | 0.021425 | 0.0053711 | 9.5945e-07 | 5.8124e-07 | 0.031933 | 0.031933 | 0.031933 | 0.99832 | -0.032395 | 0.99836 | -0.031455 | 8.7729
45 | 0.0045425 | 0.0011375 | -0.004542 | -0.0011376 | 5.1183e-07 | -6.0224e-08 | 0.0067768 | 0.006777 | 0.006777 | 0.99737 | -0.050625 | 0.99725 | -0.052992 | 1.8618
46 | -0.00074602 | -0.00018697 | 0.00074603 | 0.00018653 | 1.6013e-08 | -4.3931e-07 | 0.0011132 | 0.0011131 | 0.0011132 | 0.99716 | -0.054564 | 0.99719 | -0.054114 | 0.30584
47 | -0.0017059 | -0.00042709 | 0.0017059 | 0.00042687 | 4.6617e-08 | -2.2049e-07 | 0.0025454 | 0.0025453 | 0.0025454 | 0.99719 | -0.054114 | 0.99722 | -0.053539 | 0.69928
48 | -0.0030793 | -0.00077107 | 0.0030794 | 0.00077099 | 8.0268e-08 | -8.0917e-08 | 0.0045946 | 0.0045946 | 0.0045946 | 0.99722 | -0.053539 | 0.99725 | -0.052992 | 1.2623
49 | -0.024187 | -0.0060633 | 0.024187 | 0.0060636 | 5.1083e-07 | 3.1322e-07 | 0.03605 | 0.03605 | 0.03605 | 0.99836 | -0.031455 | 0.99839 | -0.031012 | 9.9037

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.04742 | 0.011479

## res_load
| p_mw | q_mvar
0 | 0.0011298 | 0.00028315
1 | 0.00073349 | 0.00018383
2 | 0.0016015 | 0.00040137
3 | 0.00073811 | 0.00018499
4 | 0.00025872 | 6.4842e-05
5 | 0.0011277 | 0.00028262
6 | 0.0044668 | 0.0011195
7 | 0.00075062 | 0.00018812
8 | 0.00088348 | 0.00022142
9 | 0.0012375 | 0.00031016
10 | 0.00095367 | 0.00023901
11 | 0.00075334 | 0.0001888
12 | 0.001165 | 0.00029199
13 | 0.00054932 | 0.00013767
14 | 0.00091695 | 0.00022981
15 | 0.00090926 | 0.00022788
16 | 0.00076947 | 0.00019285
17 | 0.00091626 | 0.00022964
18 | 0.00090435 | 0.00022665
19 | 0.0007972 | 0.0001998
20 | 0.00074029 | 0.00018553
21 | 0.00081241 | 0.00020361
22 | 0.00073596 | 0.00018445
23 | 0.0017476 | 0.00043798
24 | 0.00065161 | 0.00016331
25 | 0.00065027 | 0.00016297
26 | 0.0053999 | 0.0013533
27 | 0.00093725 | 0.0002349
28 | 0.00090113 | 0.00022584
29 | 0.000934 | 0.00023408
30 | 0.002385 | 0.00059773
31 | 0.00074602 | 0.00018697
32 | 0.00095986 | 0.00024056
33 | 0.0013734 | 0.0003442
34 | 0.0014626 | 0.00036656
35 | 0.0027617 | 0.00069215
36 | 0.00092082 | 0.00023078

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1