## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1362-4_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1362-4_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1362-4_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1362-4_0_5_node_70 | 0.4 | n |  | TRUE
4 | bus_LV_1362-4_0_5_node_72 | 0.4 | n |  | TRUE
5 | bus_LV_1362-4_0_5_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1362-4_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1362-4_0_5_node_73 | 0.4 | n |  | TRUE
8 | bus_LV_1362-4_0_5_node_69 | 0.4 | n |  | TRUE
9 | bus_LV_1362-4_0_5_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1362-4_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1362-4_0_5_node_32 | 0.4 | n |  | TRUE
12 | bus_LV_1362-4_0_5_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_1362-4_0_5_node_71 | 0.4 | n |  | TRUE
14 | bus_LV_1362-4_0_5_node_77 | 0.4 | n |  | TRUE
15 | bus_LV_1362-4_0_5_node_80 | 0.4 | n |  | TRUE
16 | bus_LV_1362-4_0_5_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_1362-4_0_5_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_1362-4_0_5_node_74 | 0.4 | n |  | TRUE
19 | bus_LV_1362-4_0_5_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_1362-4_0_5_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_1362-4_0_5_node_44 | 0.4 | n |  | TRUE
22 | bus_LV_1362-4_0_5_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_1362-4_0_5_node_81 | 0.4 | n |  | TRUE
24 | bus_LV_1362-4_0_5_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_1362-4_0_5_node_82 | 0.4 | n |  | TRUE
26 | bus_LV_1362-4_0_5_node_10 | 0.4 | n |  | TRUE
27 | bus_LV_1362-4_0_5_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_1362-4_0_5_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_1362-4_0_5_node_8 | 0.4 | n |  | TRUE
30 | bus_LV_1362-4_0_5_node_11 | 0.4 | n |  | TRUE
31 | bus_LV_1362-4_0_5_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_1362-4_0_5_node_9 | 0.4 | n |  | TRUE
33 | bus_LV_1362-4_0_5_node_12 | 0.4 | n |  | TRUE
34 | bus_LV_1362-4_0_5_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_1362-4_0_5_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_1362-4_0_5_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_1362-4_0_5_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_1362-4_0_5_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_1362-4_0_5_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_1362-4_0_5_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_1362-4_0_5_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_1362-4_0_5_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_1362-4_0_5_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_1362-4_0_5_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_1362-4_0_5_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_1362-4_0_5_node_23 | 0.4 | n |  | TRUE
47 | bus_LV_1362-4_0_5_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_1362-4_0_5_node_68 | 0.4 | n |  | TRUE
49 | bus_LV_1362-4_0_5_node_26 | 0.4 | n |  | TRUE
50 | bus_LV_1362-4_0_5_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_1362-4_0_5_node_67 | 0.4 | n |  | TRUE
52 | bus_LV_1362-4_0_5_node_27 | 0.4 | n |  | TRUE
53 | bus_LV_1362-4_0_5_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_1362-4_0_5_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_1362-4_0_5_node_28 | 0.4 | n |  | TRUE
56 | bus_LV_1362-4_0_5_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_1362-4_0_5_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_1362-4_0_5_node_34 | 0.4 | n |  | TRUE
59 | bus_LV_1362-4_0_5_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_1362-4_0_5_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_1362-4_0_5_node_13 | 0.4 | n |  | TRUE
62 | bus_LV_1362-4_0_5_node_7 | 0.4 | n |  | TRUE
63 | bus_LV_1362-4_0_5_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_1362-4_0_5_node_79 | 0.4 | n |  | TRUE
65 | bus_LV_1362-4_0_5_node_75 | 0.4 | n |  | TRUE
66 | bus_LV_1362-4_0_5_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_1362-4_0_5_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_1362-4_0_5_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_1362-4_0_5_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_1362-4_0_5_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_1362-4_0_5_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_1362-4_0_5_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_1362-4_0_5_node_54 | 0.4 | n |  | TRUE
74 | bus_LV_1362-4_0_5_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_1362-4_0_5_node_55 | 0.4 | n |  | TRUE
76 | bus_LV_1362-4_0_5_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_1362-4_0_5_node_65 | 0.4 | n |  | TRUE
78 | bus_MV_1_0_node_137 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1362-4_0_5_load_0 | 0 | 0.0033166 | 0.00083123 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1362-4_0_5_load_70 | 3 | 0.013615 | 0.0034122 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1362-4_0_5_load_73 | 7 | 0.014628 | 0.0036662 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1362-4_0_5_load_69 | 8 | 0.0061989 | 0.0015536 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1362-4_0_5_load_15 | 12 | 0.019888 | 0.0049844 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1362-4_0_5_load_80 | 15 | 0.0075866 | 0.0019014 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1362-4_0_5_load_74 | 18 | 0.007582 | 0.0019002 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1362-4_0_5_load_44 | 21 | 0.019924 | 0.0049935 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1362-4_0_5_load_81 | 23 | 0.0037919 | 0.00095033 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1362-4_0_5_load_82 | 25 | 0.010575 | 0.0026504 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1362-4_0_5_load_8 | 29 | 0.01593 | 0.0039923 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1362-4_0_5_load_38 | 31 | 0.014943 | 0.003745 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1362-4_0_5_load_9 | 32 | 0.024232 | 0.0060732 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1362-4_0_5_load_12 | 33 | 0.017005 | 0.0042619 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1362-4_0_5_load_37 | 35 | 0.0017435 | 0.00043695 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1362-4_0_5_load_36 | 36 | 0.0060679 | 0.0015208 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1362-4_0_5_load_42 | 38 | 0.061939 | 0.015523 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1362-4_0_5_load_39 | 39 | 0.014344 | 0.003595 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1362-4_0_5_load_45 | 40 | 0.038089 | 0.0095459 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1362-4_0_5_load_43 | 41 | 0.011864 | 0.0029734 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1362-4_0_5_load_47 | 45 | 0.0020107 | 0.00050393 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1362-4_0_5_load_49 | 47 | 0.0010681 | 0.00026768 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1362-4_0_5_load_68 | 48 | 0.0042991 | 0.0010774 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1362-4_0_5_load_67 | 51 | 0.0049373 | 0.0012374 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1362-4_0_5_load_46 | 53 | 0.013212 | 0.0033113 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1362-4_0_5_load_48 | 54 | 0.0066223 | 0.0016597 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1362-4_0_5_load_41 | 56 | 0.014821 | 0.0037145 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1362-4_0_5_load_60 | 57 | 0.0042696 | 0.0010701 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1362-4_0_5_load_62 | 59 | 0.004235 | 0.0010614 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1362-4_0_5_load_61 | 60 | 0.0018026 | 0.00045177 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1362-4_0_5_load_13 | 61 | 0.019787 | 0.0049591 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1362-4_0_5_load_7 | 62 | 0.028221 | 0.0070728 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1362-4_0_5_load_58 | 63 | 0.0052697 | 0.0013207 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1362-4_0_5_load_79 | 64 | 0.0075866 | 0.0019014 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1362-4_0_5_load_75 | 65 | 0.0075772 | 0.001899 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1362-4_0_5_load_66 | 67 | 0.0096091 | 0.0024083 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1362-4_0_5_load_57 | 68 | 0.0087446 | 0.0021916 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1362-4_0_5_load_59 | 69 | 0.0014901 | 0.00037346 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1362-4_0_5_load_51 | 70 | 0.0072416 | 0.0018149 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1362-4_0_5_load_52 | 71 | 0.010429 | 0.0026137 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1362-4_0_5_load_56 | 72 | 0.0086799 | 0.0021754 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1362-4_0_5_load_53 | 74 | 0.0088847 | 0.0022267 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1362-4_0_5_load_55 | 75 | 0.0087905 | 0.0022031 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1362-4_0_5_load_64 | 76 | 0.0040652 | 0.0010188 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1362-4_0_5_load_65 | 77 | 0.0040458 | 0.001014 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1362-4_0_5_line_0 |  | 0 | 1 | 0.014566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1362-4_0_5_line_1 |  | 1 | 2 | 0.002608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1362-4_0_5_line_2 |  | 2 | 3 | 0.011429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1362-4_0_5_line_3 |  | 2 | 4 | 0.032473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1362-4_0_5_line_4 |  | 3 | 8 | 0.0020377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1362-4_0_5_line_5 |  | 4 | 15 | 0.019471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1362-4_0_5_line_6 |  | 5 | 6 | 0.01215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1362-4_0_5_line_7 |  | 5 | 7 | 0.015193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1362-4_0_5_line_8 |  | 6 | 8 | 0.004976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1362-4_0_5_line_9 |  | 7 | 9 | 0.02038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1362-4_0_5_line_10 |  | 9 | 10 | 0.026585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1362-4_0_5_line_11 |  | 10 | 11 | 0.23916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1362-4_0_5_line_12 |  | 10 | 12 | 0.014759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1362-4_0_5_line_13 |  | 11 | 22 | 0.019217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1362-4_0_5_line_14 |  | 11 | 24 | 0.020811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1362-4_0_5_line_15 |  | 12 | 61 | 0.022161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1362-4_0_5_line_16 |  | 13 | 14 | 0.011088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1362-4_0_5_line_17 |  | 13 | 15 | 0.020079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1362-4_0_5_line_18 |  | 14 | 64 | 0.019521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1362-4_0_5_line_19 |  | 14 | 16 | 0.023442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1362-4_0_5_line_20 |  | 16 | 17 | 0.045807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1362-4_0_5_line_21 |  | 16 | 18 | 0.016446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1362-4_0_5_line_22 |  | 17 | 35 | 0.008936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1362-4_0_5_line_23 |  | 18 | 65 | 0.0092788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1362-4_0_5_line_24 |  | 19 | 20 | 0.004407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_1362-4_0_5_line_25 |  | 19 | 21 | 0.004937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_1362-4_0_5_line_26 |  | 20 | 56 | 0.029999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1362-4_0_5_line_27 |  | 20 | 39 | 0.0017605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1362-4_0_5_line_28 |  | 21 | 41 | 0.027323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_1362-4_0_5_line_29 |  | 22 | 23 | 0.004629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1362-4_0_5_line_30 |  | 24 | 25 | 0.023173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1362-4_0_5_line_31 |  | 26 | 27 | 0.016546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_1362-4_0_5_line_32 |  | 26 | 28 | 0.033521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_1362-4_0_5_line_33 |  | 26 | 29 | 0.0045915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_1362-4_0_5_line_34 |  | 27 | 33 | 0.015078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_1362-4_0_5_line_35 |  | 28 | 40 | 0.0042471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1362-4_0_5_line_36 |  | 28 | 41 | 0.045469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_1362-4_0_5_line_37 |  | 29 | 62 | 0.018475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1362-4_0_5_line_38 |  | 30 | 31 | 0.014191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1362-4_0_5_line_39 |  | 30 | 32 | 0.015956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1362-4_0_5_line_40 |  | 31 | 63 | 0.01471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1362-4_0_5_line_41 |  | 32 | 62 | 0.021891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1362-4_0_5_line_42 |  | 33 | 61 | 0.02257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1362-4_0_5_line_43 |  | 34 | 35 | 0.0026486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1362-4_0_5_line_44 |  | 34 | 36 | 0.019032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1362-4_0_5_line_45 |  | 37 | 38 | 0.024727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1362-4_0_5_line_46 |  | 37 | 39 | 0.021339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1362-4_0_5_line_47 |  | 38 | 66 | 0.0035498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1362-4_0_5_line_48 |  | 42 | 43 | 0.026981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1362-4_0_5_line_49 |  | 42 | 44 | 0.01749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1362-4_0_5_line_50 |  | 42 | 45 | 0.025499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1362-4_0_5_line_51 |  | 43 | 57 | 0.0075455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1362-4_0_5_line_52 |  | 44 | 48 | 0.021485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1362-4_0_5_line_53 |  | 46 | 47 | 0.06224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1362-4_0_5_line_54 |  | 46 | 48 | 0.045648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1362-4_0_5_line_55 |  | 47 | 55 | 0.0079445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1362-4_0_5_line_56 |  | 49 | 50 | 0.018671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1362-4_0_5_line_57 |  | 49 | 51 | 0.023945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1362-4_0_5_line_58 |  | 50 | 56 | 0.015465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1362-4_0_5_line_59 |  | 50 | 52 | 0.0092396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1362-4_0_5_line_60 |  | 51 | 67 | 0.0083074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1362-4_0_5_line_61 |  | 52 | 53 | 0.0031178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1362-4_0_5_line_62 |  | 52 | 54 | 0.016833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1362-4_0_5_line_63 |  | 54 | 55 | 0.024777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1362-4_0_5_line_64 |  | 58 | 59 | 0.0096865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1362-4_0_5_line_65 |  | 58 | 60 | 0.015244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1362-4_0_5_line_66 |  | 60 | 68 | 0.0055594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1362-4_0_5_line_67 |  | 63 | 69 | 0.0073506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1362-4_0_5_line_68 |  | 66 | 70 | 0.039448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1362-4_0_5_line_69 |  | 66 | 71 | 0.018287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1362-4_0_5_line_70 |  | 67 | 77 | 0.011235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1362-4_0_5_line_71 |  | 68 | 73 | 0.032382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1362-4_0_5_line_72 |  | 70 | 72 | 0.011353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1362-4_0_5_line_73 |  | 72 | 73 | 0.021231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1362-4_0_5_line_74 |  | 73 | 74 | 0.062419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1362-4_0_5_line_75 |  | 74 | 75 | 0.0087184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1362-4_0_5_line_76 |  | 76 | 77 | 0.010684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1362-4_0_5_trafo_8 | 0.63 MVA 20/0.4 kV | 78 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2684382.9211 | 1211520.2803 | 2684379.5479 | 1211506.1098
1 | 2684382.9211 | 1211520.2803 | 2684380.6052 | 1211519.069
2 | 2684380.6052 | 1211519.069 | 2684372.9548 | 1211527.5595
3 | 2684365.4704 | 1211495.206 | 2684368.2955 | 1211495.8797 | 2684370.9024 | 1211498.0068 | 2684373.3213 | 1211501.0653 | 2684374.9583 | 1211504.6018 | 2684375.7251 | 1211508.4152 | 2684375.5942 | 1211512.2937 | 2684374.5096 | 1211515.9029 | 2684380.6052 | 1211519.069
4 | 2684371.5907 | 1211529.0733 | 2684372.9548 | 1211527.5595
5 | 2684365.4704 | 1211495.206 | 2684356.7482 | 1211502.5875 | 2684351.051 | 1211508.2663
6 | 2684360.8793 | 1211541.4713 | 2684364.4843 | 1211540.1882 | 2684368.2598 | 1211532.77
7 | 2684360.8793 | 1211541.4713 | 2684351.8234 | 1211553.6705
8 | 2684368.2598 | 1211532.77 | 2684371.5907 | 1211529.0733
9 | 2684339.6757 | 1211570.0347 | 2684351.8234 | 1211553.6705
10 | 2684333.7289 | 1211589.6635 | 2684336.9036 | 1211585.4946 | 2684345.519 | 1211574.3757 | 2684339.6757 | 1211570.0347
11 | 2684333.7289 | 1211589.6635 | 2684352.657 | 1211604.2963 | 2684365.1051 | 1211612.322 | 2684371.7526 | 1211615.1401 | 2684391.6723 | 1211577.9641 | 2684403.781 | 1211570.2414 | 2684431.1883 | 1211554.9303 | 2684433.826 | 1211559.1704 | 2684439.1834 | 1211555.9664 | 2684459.7926 | 1211543.65 | 2684468.8961 | 1211539.932 | 2684458.0126 | 1211518.0191 | 2684443.2795 | 1211488.3578 | 2684442.7533 | 1211485.8042
12 | 2684333.7289 | 1211589.6635 | 2684321.8558 | 1211580.896
13 | 2684441.6722 | 1211466.6208 | 2684442.7533 | 1211485.8042
14 | 2684428.4172 | 1211488.1918 | 2684429.6768 | 1211492.09 | 2684431.5775 | 1211491.4942 | 2684433.3477 | 1211490.9856 | 2684443.2795 | 1211488.3578 | 2684442.7533 | 1211485.8042
15 | 2684321.8558 | 1211580.896 | 2684304.0286 | 1211567.7319
16 | 2684325.7153 | 1211522.7731 | 2684336.8304 | 1211522.4411
17 | 2684336.8304 | 1211522.4411 | 2684351.051 | 1211508.2663
18 | 2684325.7153 | 1211522.7731 | 2684339.664 | 1211509.1165
19 | 2684302.2795 | 1211523.2533 | 2684314.6079 | 1211523.1052 | 2684325.7153 | 1211522.7731
20 | 2684289.579 | 1211494.8998 | 2684288.822 | 1211499.5254 | 2684287.7737 | 1211505.9482 | 2684285.3277 | 1211515.5532 | 2684285.4917 | 1211519.0022 | 2684285.632 | 1211523.5961 | 2684302.2795 | 1211523.2533
21 | 2684302.2795 | 1211523.2533 | 2684314.0246 | 1211511.7418
22 | 2684289.579 | 1211494.8998 | 2684285.2276 | 1211495.2163 | 2684280.6731 | 1211495.3854 | 2684280.6577 | 1211495.3861
23 | 2684314.0246 | 1211511.7418 | 2684320.6512 | 1211505.2469
24 | 2684173.8462 | 1211535.8593 | 2684174.5066 | 1211540.2159
25 | 2684173.8462 | 1211535.8593 | 2684173.102 | 1211530.9789
26 | 2684174.5066 | 1211540.2159 | 2684144.6897 | 1211543.5146
27 | 2684174.5066 | 1211540.2159 | 2684176.2567 | 1211540.0246
28 | 2684173.102 | 1211530.9789 | 2684200.2657 | 1211528.0349
29 | 2684441.6722 | 1211466.6208 | 2684437.0482 | 1211466.8354
30 | 2684428.4172 | 1211488.1918 | 2684440.1548 | 1211486.3011 | 2684442.6653 | 1211490.9397 | 2684437.387 | 1211493.8122
31 | 2684261.4825 | 1211545.536 | 2684267.5816 | 1211544.6883 | 2684277.813 | 1211542.8872
32 | 2684245.2632 | 1211522.0249 | 2684246.9949 | 1211527.4752 | 2684246.3206 | 1211533.7809 | 2684251.8152 | 1211533.7696 | 2684256.2041 | 1211536.7113 | 2684260.1109 | 1211540.4244 | 2684261.4825 | 1211545.536
33 | 2684261.4825 | 1211545.536 | 2684262.9638 | 1211549.882
34 | 2684277.813 | 1211542.8872 | 2684278.8193 | 1211549.1166 | 2684285.8723 | 1211554.3247
35 | 2684245.2632 | 1211522.0249 | 2684244.0669 | 1211517.9498
36 | 2684245.2632 | 1211522.0249 | 2684238.0852 | 1211523.9359 | 2684200.2657 | 1211528.0349
37 | 2684277.8874 | 1211560.7736 | 2684262.9638 | 1211549.882
38 | 2684309.0398 | 1211581.5204 | 2684300.9306 | 1211593.1665
39 | 2684309.0398 | 1211581.5204 | 2684300.4975 | 1211575.1177 | 2684296.9396 | 1211574.6782 | 2684295.5699 | 1211573.6786
40 | 2684300.9306 | 1211593.1665 | 2684295.9152 | 1211600.3695 | 2684294.096 | 1211606.0171
41 | 2684277.8874 | 1211560.7736 | 2684295.5699 | 1211573.6786
42 | 2684285.8723 | 1211554.3247 | 2684304.0286 | 1211567.7319
43 | 2684278.0117 | 1211495.5034 | 2684280.6577 | 1211495.3861
44 | 2684278.0117 | 1211495.5034 | 2684277.8781 | 1211492.5885 | 2684277.0111 | 1211476.4979
45 | 2684197.4695 | 1211537.705 | 2684201.4643 | 1211562.1067
46 | 2684197.4695 | 1211537.705 | 2684176.2567 | 1211540.0246
47 | 2684202.0378 | 1211565.6099 | 2684201.4643 | 1211562.1067
48 | 2684061.5504 | 1211473.3018 | 2684058.7073 | 1211481.9896 | 2684053.9735 | 1211499.1897
49 | 2684053.9735 | 1211499.1897 | 2684050.1655 | 1211498.1576 | 2684054.1251 | 1211485.2049
50 | 2684053.9735 | 1211499.1897 | 2684078.5937 | 1211505.8265
51 | 2684061.5504 | 1211473.3018 | 2684063.8944 | 1211466.1296
52 | 2684054.1251 | 1211485.2049 | 2684075.5642 | 1211483.8029
53 | 2684121.1153 | 1211480.824 | 2684116.9234 | 1211491.9277 | 2684089.129 | 1211533.9365
54 | 2684121.1153 | 1211480.824 | 2684075.5642 | 1211483.8029
55 | 2684085.7721 | 1211541.043 | 2684086.8885 | 1211537.3229 | 2684089.129 | 1211533.9365
56 | 2684123.8015 | 1211555.9777 | 2684122.4135 | 1211553.0896 | 2684121.1001 | 1211545.9998 | 2684129.3185 | 1211545.2152
57 | 2684123.8015 | 1211555.9777 | 2684134.1857 | 1211577.5541
58 | 2684129.3185 | 1211545.2152 | 2684144.6897 | 1211543.5146
59 | 2684127.1045 | 1211536.2447 | 2684128.3266 | 1211541.1874 | 2684129.3185 | 1211545.2152
60 | 2684134.1857 | 1211577.5541 | 2684137.7884 | 1211585.0396
61 | 2684127.1045 | 1211536.2447 | 2684130.2014 | 1211535.8843
62 | 2684127.1045 | 1211536.2447 | 2684110.3836 | 1211538.1858
63 | 2684085.7721 | 1211541.043 | 2684110.3836 | 1211538.1858
64 | 2684194.1303 | 1211687.5226 | 2684203.126 | 1211691.1151
65 | 2684194.1303 | 1211687.5226 | 2684198.9352 | 1211673.056
66 | 2684200.6876 | 1211667.78 | 2684198.9352 | 1211673.056
67 | 2684294.096 | 1211606.0171 | 2684291.8423 | 1211613.0136
68 | 2684202.0378 | 1211565.6099 | 2684205.983 | 1211587.5911 | 2684207.6738 | 1211604.6234
69 | 2684202.0378 | 1211565.6099 | 2684183.8868 | 1211567.8394
70 | 2684140.9961 | 1211595.6122 | 2684140.6271 | 1211590.9379 | 2684137.7884 | 1211585.0396
71 | 2684210.8927 | 1211637.0484 | 2684208.9087 | 1211643.0132 | 2684207.583 | 1211647.0193 | 2684200.6876 | 1211667.78
72 | 2684208.7954 | 1211615.9213 | 2684207.6738 | 1211604.6234
73 | 2684210.8927 | 1211637.0484 | 2684208.7954 | 1211615.9213
74 | 2684210.8927 | 1211637.0484 | 2684254.3759 | 1211653.7065 | 2684255.4722 | 1211637.8898
75 | 2684256.075 | 1211629.1923 | 2684255.4722 | 1211637.8898
76 | 2684133.6846 | 1211601.5862 | 2684141.1815 | 1211597.9614 | 2684140.9961 | 1211595.6122

## bus_geodata
| x | y | coords
0 | 2684379.5479 | 1211506.1098
1 | 2684382.9211 | 1211520.2803
2 | 2684380.6052 | 1211519.069
3 | 2684372.9548 | 1211527.5595
4 | 2684365.4704 | 1211495.206
5 | 2684360.8793 | 1211541.4713
6 | 2684368.2598 | 1211532.77
7 | 2684351.8234 | 1211553.6705
8 | 2684371.5907 | 1211529.0733
9 | 2684339.6757 | 1211570.0347
10 | 2684333.7289 | 1211589.6635
11 | 2684442.7533 | 1211485.8042
12 | 2684321.8557 | 1211580.896
13 | 2684336.8304 | 1211522.4411
14 | 2684325.7153 | 1211522.7731
15 | 2684351.051 | 1211508.2663
16 | 2684302.2795 | 1211523.2533
17 | 2684289.579 | 1211494.8998
18 | 2684314.0246 | 1211511.7418
19 | 2684173.8462 | 1211535.8593
20 | 2684174.5066 | 1211540.2159
21 | 2684173.102 | 1211530.9789
22 | 2684441.6722 | 1211466.6208
23 | 2684437.0482 | 1211466.8354
24 | 2684428.4172 | 1211488.1918
25 | 2684437.387 | 1211493.8122
26 | 2684261.4825 | 1211545.536
27 | 2684277.813 | 1211542.8872
28 | 2684245.2632 | 1211522.0249
29 | 2684262.9638 | 1211549.882
30 | 2684309.0398 | 1211581.5204
31 | 2684300.9306 | 1211593.1665
32 | 2684295.5699 | 1211573.6786
33 | 2684285.8723 | 1211554.3247
34 | 2684278.0117 | 1211495.5034
35 | 2684280.6577 | 1211495.3861
36 | 2684277.0111 | 1211476.4979
37 | 2684197.4695 | 1211537.705
38 | 2684201.4643 | 1211562.1067
39 | 2684176.2567 | 1211540.0246
40 | 2684244.0669 | 1211517.9498
41 | 2684200.2657 | 1211528.0349
42 | 2684053.9735 | 1211499.1897
43 | 2684061.5504 | 1211473.3018
44 | 2684054.1251 | 1211485.2049
45 | 2684078.5937 | 1211505.8265
46 | 2684121.1153 | 1211480.824
47 | 2684089.129 | 1211533.9365
48 | 2684075.5642 | 1211483.8029
49 | 2684123.8015 | 1211555.9777
50 | 2684129.3185 | 1211545.2152
51 | 2684134.1857 | 1211577.5541
52 | 2684127.1045 | 1211536.2447
53 | 2684130.2014 | 1211535.8843
54 | 2684110.3836 | 1211538.1858
55 | 2684085.7721 | 1211541.043
56 | 2684144.6897 | 1211543.5146
57 | 2684063.8944 | 1211466.1296
58 | 2684194.1303 | 1211687.5226
59 | 2684203.126 | 1211691.1151
60 | 2684198.9352 | 1211673.056
61 | 2684304.0286 | 1211567.7319
62 | 2684277.8874 | 1211560.7736
63 | 2684294.096 | 1211606.0171
64 | 2684339.664 | 1211509.1165
65 | 2684320.6512 | 1211505.2469
66 | 2684202.0378 | 1211565.6099
67 | 2684137.7884 | 1211585.0396
68 | 2684200.6876 | 1211667.78
69 | 2684291.8423 | 1211613.0136
70 | 2684207.6738 | 1211604.6234
71 | 2684183.8868 | 1211567.8394
72 | 2684208.7954 | 1211615.9213
73 | 2684210.8927 | 1211637.0484
74 | 2684255.4722 | 1211637.8898
75 | 2684256.075 | 1211629.1923
76 | 2684133.6846 | 1211601.5862
77 | 2684140.9961 | 1211595.6122
78 | 2684261.4825 | 1211545.536

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98612 | -0.26681 | 0.0033166 | 0.00083123
1 | 0.98617 | -0.26595 | 0 | 0
2 | 0.98617 | -0.26579 | 0 | 0
3 | 0.98661 | -0.2573 | 0.013615 | 0.0034122
4 | 0.98503 | -0.28802 | 0 | 0
5 | 0.98768 | -0.23652 | 0 | 0
6 | 0.98699 | -0.24983 | 0 | 0
7 | 0.98854 | -0.2199 | 0.014628 | 0.0036662
8 | 0.98671 | -0.25529 | 0.0061989 | 0.0015536
9 | 0.98996 | -0.19235 | 0 | 0
10 | 0.99182 | -0.15652 | 0 | 0
11 | 0.98867 | -0.21762 | 0 | 0
12 | 0.99305 | -0.13294 | 0.019888 | 0.0049844
13 | 0.98378 | -0.31242 | 0 | 0
14 | 0.98347 | -0.31852 | 0 | 0
15 | 0.98435 | -0.30137 | 0.0075866 | 0.0019014
16 | 0.98297 | -0.32823 | 0 | 0
17 | 0.98264 | -0.33469 | 0 | 0
18 | 0.98274 | -0.33273 | 0.007582 | 0.0019002
19 | 0.99336 | -0.12707 | 0 | 0
20 | 0.99294 | -0.13502 | 0 | 0
21 | 0.99359 | -0.12262 | 0.019924 | 0.0049935
22 | 0.9886 | -0.21892 | 0 | 0
23 | 0.98859 | -0.21923 | 0.0037919 | 0.00095033
24 | 0.98847 | -0.22155 | 0 | 0
25 | 0.98824 | -0.22592 | 0.010575 | 0.0026504
26 | 0.99956 | -0.0084254 | 0 | 0
27 | 0.999 | -0.019037 | 0 | 0
28 | 0.99745 | -0.048561 | 0 | 0
29 | 1 | 0 | -0.50082 | -0.12669
30 | 0.99753 | -0.047561 | 0 | 0
31 | 0.99725 | -0.052957 | 0.014943 | 0.003745
32 | 0.99784 | -0.041497 | 0.024232 | 0.0060732
33 | 0.99798 | -0.038408 | 0.017005 | 0.0042619
34 | 0.98256 | -0.33624 | 0 | 0
35 | 0.98258 | -0.33595 | 0.0017435 | 0.00043695
36 | 0.98245 | -0.33832 | 0.0060679 | 0.0015208
37 | 0.99036 | -0.1849 | 0 | 0
38 | 0.98761 | -0.23811 | 0.061939 | 0.015523
39 | 0.99273 | -0.13922 | 0.014344 | 0.003595
40 | 0.99731 | -0.051395 | 0.038089 | 0.0095459
41 | 0.99499 | -0.095647 | 0.011864 | 0.0029734
42 | 0.98811 | -0.22869 | 0 | 0
43 | 0.98801 | -0.23075 | 0 | 0
44 | 0.98821 | -0.22673 | 0 | 0
45 | 0.98806 | -0.22961 | 0.0020107 | 0.00050393
46 | 0.98878 | -0.21571 | 0 | 0
47 | 0.98938 | -0.20397 | 0.0010681 | 0.00026768
48 | 0.98834 | -0.22432 | 0.0042991 | 0.0010774
49 | 0.98989 | -0.19406 | 0 | 0
50 | 0.99028 | -0.18654 | 0 | 0
51 | 0.9894 | -0.20371 | 0.0049373 | 0.0012374
52 | 0.99001 | -0.19171 | 0 | 0
53 | 0.98998 | -0.19244 | 0.013212 | 0.0033113
54 | 0.98973 | -0.19718 | 0.0066223 | 0.0016597
55 | 0.98947 | -0.20232 | 0 | 0
56 | 0.99105 | -0.17166 | 0.014821 | 0.0037145
57 | 0.98798 | -0.23133 | 0.0042696 | 0.0010701
58 | 0.98406 | -0.30717 | 0 | 0
59 | 0.98403 | -0.30791 | 0.004235 | 0.0010614
60 | 0.98412 | -0.30601 | 0.0018026 | 0.00045177
61 | 0.99529 | -0.08988 | 0.019787 | 0.0049591
62 | 0.99876 | -0.02391 | 0.028221 | 0.0070728
63 | 0.99716 | -0.0547 | 0.0052697 | 0.0013207
64 | 0.98333 | -0.32119 | 0.0075866 | 0.0019014
65 | 0.98268 | -0.334 | 0.0075772 | 0.001899
66 | 0.98742 | -0.24184 | 0 | 0
67 | 0.98926 | -0.20634 | 0.0096091 | 0.0024083
68 | 0.98415 | -0.3054 | 0.0087446 | 0.0021916
69 | 0.99715 | -0.054892 | 0.0014901 | 0.00037346
70 | 0.98566 | -0.27603 | 0.0072416 | 0.0018149
71 | 0.98724 | -0.24525 | 0.010429 | 0.0026137
72 | 0.98523 | -0.28441 | 0.0086799 | 0.0021754
73 | 0.98459 | -0.29679 | 0 | 0
74 | 0.98358 | -0.31665 | 0.0088847 | 0.0022267
75 | 0.98351 | -0.31803 | 0.0087905 | 0.0022031
76 | 0.98914 | -0.20873 | 0.0040652 | 0.0010188
77 | 0.98918 | -0.20796 | 0.0040458 | 0.001014
78 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0033166 | -0.00083123 | 0.0033168 | 0.00083113 | 1.3681e-07 | -9.8281e-08 | 0.0050047 | 0.0050046 | 0.0050047 | 0.98612 | -0.26681 | 0.98617 | -0.26595 | 1.3749
1 | -0.0033168 | -0.00083113 | 0.0033168 | 0.00083111 | 2.4495e-08 | -1.7598e-08 | 0.0050046 | 0.0050046 | 0.0050046 | 0.98617 | -0.26595 | 0.98617 | -0.26579 | 1.3749
2 | -0.041569 | -0.010458 | 0.041586 | 0.010468 | 1.6869e-05 | 1.065e-05 | 0.062737 | 0.062737 | 0.062737 | 0.98617 | -0.26579 | 0.98661 | -0.2573 | 17.2354
3 | 0.038252 | 0.0096264 | -0.038212 | -0.0096009 | 4.0588e-05 | 2.5562e-05 | 0.057732 | 0.057732 | 0.057732 | 0.98617 | -0.26579 | 0.98503 | -0.28802 | 15.8606
4 | -0.055201 | -0.01388 | 0.055206 | 0.013884 | 5.2986e-06 | 3.3651e-06 | 0.083271 | 0.083271 | 0.083271 | 0.98661 | -0.2573 | 0.98671 | -0.25529 | 22.8765
5 | 0.038212 | 0.0096009 | -0.038187 | -0.0095855 | 2.4336e-05 | 1.5327e-05 | 0.057732 | 0.057733 | 0.057733 | 0.98503 | -0.28802 | 0.98435 | -0.30137 | 15.8606
6 | 0.06146 | 0.015472 | -0.061421 | -0.015447 | 3.9086e-05 | 2.4859e-05 | 0.092619 | 0.092619 | 0.092619 | 0.98768 | -0.23652 | 0.98699 | -0.24983 | 25.4447
7 | -0.06146 | -0.015472 | 0.061509 | 0.015503 | 4.8873e-05 | 3.1084e-05 | 0.092619 | 0.092619 | 0.092619 | 0.98768 | -0.23652 | 0.98854 | -0.2199 | 25.4447
8 | 0.061421 | 0.015447 | -0.061405 | -0.015437 | 1.6007e-05 | 1.0181e-05 | 0.092619 | 0.092619 | 0.092619 | 0.98699 | -0.24983 | 0.98671 | -0.25529 | 25.4448
9 | -0.076137 | -0.01917 | 0.076238 | 0.019234 | 0.00010044 | 6.4019e-05 | 0.11464 | 0.11464 | 0.11464 | 0.98854 | -0.2199 | 0.98996 | -0.19235 | 31.494
10 | -0.076238 | -0.019234 | 0.076369 | 0.019317 | 0.00013102 | 8.3509e-05 | 0.11464 | 0.11464 | 0.11464 | 0.98996 | -0.19235 | 0.99182 | -0.15652 | 31.4939
11 | 0.014414 | 0.0036265 | -0.014372 | -0.0036028 | 4.1961e-05 | 2.3778e-05 | 0.02163 | 0.021631 | 0.021631 | 0.99182 | -0.15652 | 0.98867 | -0.21762 | 5.9425
12 | -0.090782 | -0.022944 | 0.090885 | 0.023009 | 0.00010277 | 6.5585e-05 | 0.13627 | 0.13627 | 0.13627 | 0.99182 | -0.15652 | 0.99305 | -0.13294 | 37.4361
13 | 0.0037922 | 0.00095021 | -0.0037919 | -0.00095031 | 2.3475e-07 | -9.6177e-08 | 0.0057074 | 0.0057075 | 0.0057075 | 0.98867 | -0.21762 | 0.9886 | -0.21892 | 1.568
14 | 0.01058 | 0.0026526 | -0.010578 | -0.0026516 | 1.9788e-06 | 9.996e-07 | 0.015923 | 0.015923 | 0.015923 | 0.98867 | -0.21762 | 0.98847 | -0.22155 | 4.3746
15 | -0.11077 | -0.027994 | 0.111 | 0.02814 | 0.00022919 | 0.00014639 | 0.16607 | 0.16607 | 0.16607 | 0.99305 | -0.13294 | 0.99529 | -0.08988 | 45.6232
16 | 0.030585 | 0.0076741 | -0.030576 | -0.0076686 | 8.8997e-06 | 5.5551e-06 | 0.046264 | 0.046264 | 0.046264 | 0.98378 | -0.31242 | 0.98347 | -0.31852 | 12.71
17 | -0.030585 | -0.0076741 | 0.030601 | 0.0076842 | 1.6116e-05 | 1.0059e-05 | 0.046264 | 0.046264 | 0.046264 | 0.98378 | -0.31242 | 0.98435 | -0.30137 | 12.7099
18 | 0.0075875 | 0.0019017 | -0.0075866 | -0.0019014 | 9.6479e-07 | 3.698e-07 | 0.01148 | 0.01148 | 0.01148 | 0.98347 | -0.31852 | 0.98333 | -0.32119 | 3.1539
19 | 0.022988 | 0.0057668 | -0.022978 | -0.0057603 | 1.0636e-05 | 6.5098e-06 | 0.034784 | 0.034784 | 0.034784 | 0.98347 | -0.31852 | 0.98297 | -0.32823 | 9.5561
20 | 0.0078149 | 0.001959 | -0.0078125 | -0.0019581 | 2.4041e-06 | 9.5818e-07 | 0.01183 | 0.011831 | 0.011831 | 0.98297 | -0.32823 | 0.98264 | -0.33469 | 3.2501
21 | 0.015163 | 0.0038013 | -0.01516 | -0.0037994 | 3.2494e-06 | 1.8712e-06 | 0.022954 | 0.022954 | 0.022954 | 0.98297 | -0.32823 | 0.98274 | -0.33273 | 6.306
22 | 0.0078125 | 0.0019581 | -0.007812 | -0.0019579 | 4.6901e-07 | 1.8697e-07 | 0.011831 | 0.011831 | 0.011831 | 0.98264 | -0.33469 | 0.98258 | -0.33595 | 3.2502
23 | 0.0075776 | 0.0018992 | -0.0075772 | -0.001899 | 4.5807e-07 | 1.7561e-07 | 0.011474 | 0.011474 | 0.011474 | 0.98274 | -0.33273 | 0.98268 | -0.334 | 3.1521
24 | 0.20509 | 0.051797 | -0.20501 | -0.051747 | 7.8062e-05 | 4.9846e-05 | 0.30736 | 0.30736 | 0.30736 | 0.99336 | -0.12707 | 0.99294 | -0.13502 | 42.2198
25 | -0.20509 | -0.051797 | 0.20513 | 0.051825 | 4.3725e-05 | 2.7728e-05 | 0.30736 | 0.30736 | 0.30736 | 0.99336 | -0.12707 | 0.99359 | -0.12262 | 21.1099
26 | 0.06917 | 0.017412 | -0.069049 | -0.017335 | 0.00012094 | 7.7014e-05 | 0.10368 | 0.10368 | 0.10368 | 0.99294 | -0.13502 | 0.99105 | -0.17166 | 28.4849
27 | 0.13584 | 0.034335 | -0.13582 | -0.034317 | 2.7387e-05 | 1.7505e-05 | 0.20368 | 0.20368 | 0.20368 | 0.99294 | -0.13502 | 0.99273 | -0.13922 | 55.9548
28 | -0.22506 | -0.056818 | 0.22535 | 0.057003 | 0.00029125 | 0.00018498 | 0.3372 | 0.3372 | 0.3372 | 0.99359 | -0.12262 | 0.99499 | -0.095647 | 23.1593
29 | 0.0037919 | 0.00095031 | -0.0037919 | -0.00095033 | 5.6547e-08 | -2.3162e-08 | 0.0057075 | 0.0057075 | 0.0057075 | 0.9886 | -0.21892 | 0.98859 | -0.21923 | 1.568
30 | 0.010578 | 0.0026516 | -0.010575 | -0.0026504 | 2.2034e-06 | 1.1132e-06 | 0.015923 | 0.015924 | 0.015924 | 0.98847 | -0.22155 | 0.98824 | -0.22592 | 4.3746
31 | 0.14833 | 0.037704 | -0.14826 | -0.037656 | 7.5767e-05 | 4.7624e-05 | 0.221 | 0.22101 | 0.22101 | 0.99956 | -0.0084254 | 0.999 | -0.019037 | 15.1789
32 | 0.27638 | 0.070206 | -0.27585 | -0.069867 | 0.00053284 | 0.00033926 | 0.41177 | 0.41177 | 0.41177 | 0.99956 | -0.0084254 | 0.99745 | -0.048561 | 28.2809
33 | -0.42471 | -0.10791 | 0.42488 | 0.10802 | 0.00017235 | 0.00011007 | 0.63277 | 0.63277 | 0.63277 | 0.99956 | -0.0084254 | 1 | 0 | 43.4597
34 | 0.14826 | 0.037656 | -0.14812 | -0.037568 | 0.00013808 | 8.7979e-05 | 0.22101 | 0.22101 | 0.22101 | 0.999 | -0.019037 | 0.99798 | -0.038408 | 30.3579
35 | 0.038094 | 0.0095491 | -0.038089 | -0.0095459 | 5.1436e-06 | 3.2365e-06 | 0.05683 | 0.05683 | 0.05683 | 0.99745 | -0.048561 | 0.99731 | -0.051395 | 15.6125
36 | 0.23775 | 0.060318 | -0.23721 | -0.059976 | 0.00053703 | 0.00034133 | 0.35494 | 0.35494 | 0.35494 | 0.99745 | -0.048561 | 0.99499 | -0.095647 | 24.3778
37 | 0.074291 | 0.018671 | -0.074207 | -0.018617 | 8.4695e-05 | 5.3963e-05 | 0.11056 | 0.11056 | 0.11056 | 1 | 0 | 0.99876 | -0.02391 | 30.3749
38 | 0.021709 | 0.0054426 | -0.021703 | -0.0054392 | 5.5808e-06 | 3.3865e-06 | 0.032384 | 0.032384 | 0.032384 | 0.99753 | -0.047561 | 0.99725 | -0.052957 | 8.8966
39 | -0.021709 | -0.0054426 | 0.021715 | 0.0054464 | 6.2748e-06 | 3.8075e-06 | 0.032384 | 0.032383 | 0.032384 | 0.99753 | -0.047561 | 0.99784 | -0.041497 | 8.8966
40 | 0.0067604 | 0.0016942 | -0.0067598 | -0.0016941 | 5.6132e-07 | 1.6733e-07 | 0.010087 | 0.010087 | 0.010087 | 0.99725 | -0.052957 | 0.99716 | -0.0547 | 2.7713
41 | -0.045947 | -0.01152 | 0.045986 | 0.011544 | 3.8541e-05 | 2.438e-05 | 0.068519 | 0.068519 | 0.068519 | 0.99784 | -0.041497 | 0.99876 | -0.02391 | 18.824
42 | 0.13111 | 0.033306 | -0.13079 | -0.033099 | 0.00032399 | 0.00020706 | 0.19565 | 0.19565 | 0.19565 | 0.99798 | -0.038408 | 0.99529 | -0.08988 | 53.7502
43 | -0.0060685 | -0.0015209 | 0.0060686 | 0.0015209 | 8.3888e-08 | 2.0142e-08 | 0.0091903 | 0.0091902 | 0.0091903 | 0.98256 | -0.33624 | 0.98258 | -0.33595 | 2.5248
44 | 0.0060685 | 0.0015209 | -0.0060679 | -0.0015208 | 6.028e-07 | 1.4476e-07 | 0.0091903 | 0.0091903 | 0.0091903 | 0.98256 | -0.33624 | 0.98245 | -0.33832 | 2.5248
45 | 0.12121 | 0.030552 | -0.1209 | -0.030356 | 0.00030773 | 0.00019663 | 0.18217 | 0.18217 | 0.18217 | 0.99036 | -0.1849 | 0.98761 | -0.23811 | 50.048
46 | -0.12121 | -0.030552 | 0.12147 | 0.030722 | 0.00026557 | 0.00016969 | 0.18217 | 0.18217 | 0.18217 | 0.99036 | -0.1849 | 0.99273 | -0.13922 | 50.048
47 | 0.058959 | 0.014832 | -0.058948 | -0.014826 | 1.0509e-05 | 6.6805e-06 | 0.088852 | 0.088852 | 0.088852 | 0.98761 | -0.23811 | 0.98742 | -0.24184 | 24.4098
48 | 0.0042702 | 0.00107 | -0.0042697 | -0.00107 | 4.1839e-07 | -7.7801e-08 | 0.0064304 | 0.0064306 | 0.0064306 | 0.98811 | -0.22869 | 0.98801 | -0.23075 | 1.7666
49 | -0.0062809 | -0.0015736 | 0.0062815 | 0.0015738 | 5.8674e-07 | 1.5146e-07 | 0.0094584 | 0.0094583 | 0.0094584 | 0.98811 | -0.22869 | 0.98821 | -0.22673 | 2.5985
50 | 0.0020108 | 0.00050366 | -0.0020107 | -0.00050393 | 8.7674e-08 | -2.705e-07 | 0.003028 | 0.0030281 | 0.0030281 | 0.98811 | -0.22869 | 0.98806 | -0.22961 | 0.83189
51 | 0.0042697 | 0.00107 | -0.0042696 | -0.0010701 | 1.1701e-07 | -2.1743e-08 | 0.0064306 | 0.0064306 | 0.0064306 | 0.98801 | -0.23075 | 0.98798 | -0.23133 | 1.7666
52 | -0.0062815 | -0.0015738 | 0.0062822 | 0.001574 | 7.2075e-07 | 1.8599e-07 | 0.0094583 | 0.0094582 | 0.0094583 | 0.98821 | -0.22673 | 0.98834 | -0.22432 | 2.5984
53 | -0.010586 | -0.0026536 | 0.010592 | 0.0026566 | 5.9232e-06 | 2.992e-06 | 0.015931 | 0.01593 | 0.015931 | 0.98878 | -0.21571 | 0.98938 | -0.20397 | 4.3765
54 | 0.010586 | 0.0026536 | -0.010581 | -0.0026514 | 4.3444e-06 | 2.1951e-06 | 0.015931 | 0.015931 | 0.015931 | 0.98878 | -0.21571 | 0.98834 | -0.22432 | 4.3766
55 | -0.01166 | -0.0029243 | 0.011661 | 0.0029248 | 9.162e-07 | 4.8433e-07 | 0.017537 | 0.017537 | 0.017537 | 0.98938 | -0.20397 | 0.98947 | -0.20232 | 4.8178
56 | -0.022671 | -0.0056864 | 0.022679 | 0.0056914 | 8.1321e-06 | 4.9644e-06 | 0.034081 | 0.034081 | 0.034081 | 0.98989 | -0.19406 | 0.99028 | -0.18654 | 9.3628
57 | 0.022671 | 0.0056864 | -0.02266 | -0.00568 | 1.043e-05 | 6.3673e-06 | 0.034081 | 0.034081 | 0.034081 | 0.98989 | -0.19406 | 0.9894 | -0.20371 | 9.3629
58 | -0.05419 | -0.013597 | 0.054228 | 0.013621 | 3.8457e-05 | 2.4413e-05 | 0.081432 | 0.081432 | 0.081432 | 0.99028 | -0.18654 | 0.99105 | -0.17166 | 22.3715
59 | 0.031511 | 0.0079052 | -0.031503 | -0.0079003 | 7.7688e-06 | 4.8532e-06 | 0.047352 | 0.047352 | 0.047352 | 0.99028 | -0.18654 | 0.99001 | -0.19171 | 13.0087
60 | 0.017723 | 0.0044426 | -0.017721 | -0.0044413 | 2.2134e-06 | 1.3099e-06 | 0.026655 | 0.026655 | 0.026655 | 0.9894 | -0.20371 | 0.98926 | -0.20634 | 7.3229
61 | 0.013213 | 0.0033115 | -0.013212 | -0.0033113 | 4.611e-07 | 2.5501e-07 | 0.019859 | 0.019859 | 0.019859 | 0.99001 | -0.19171 | 0.98998 | -0.19244 | 5.4557
62 | 0.01829 | 0.0045888 | -0.018286 | -0.004586 | 4.7712e-06 | 2.8372e-06 | 0.027493 | 0.027493 | 0.027493 | 0.99001 | -0.19171 | 0.98973 | -0.19718 | 7.553
63 | 0.011663 | 0.0029263 | -0.011661 | -0.0029248 | 2.8574e-06 | 1.5104e-06 | 0.017537 | 0.017537 | 0.017537 | 0.98973 | -0.19718 | 0.98947 | -0.20232 | 4.8178
64 | 0.0042352 | 0.0010614 | -0.004235 | -0.0010614 | 1.4897e-07 | -2.7715e-08 | 0.006404 | 0.0064041 | 0.0064041 | 0.98406 | -0.30717 | 0.98403 | -0.30791 | 1.7594
65 | -0.0042352 | -0.0010614 | 0.0042354 | 0.0010613 | 2.3443e-07 | -4.3637e-08 | 0.006404 | 0.0064039 | 0.006404 | 0.98406 | -0.30717 | 0.98412 | -0.30601 | 1.7593
66 | -0.006038 | -0.0015131 | 0.0060381 | 0.0015131 | 1.7376e-07 | 4.0567e-08 | 0.0091295 | 0.0091295 | 0.0091295 | 0.98412 | -0.30601 | 0.98415 | -0.3054 | 2.5081
67 | 0.0014901 | 0.00037337 | -0.0014901 | -0.00037346 | 1.363e-08 | -8.7162e-08 | 0.0022236 | 0.0022237 | 0.0022237 | 0.99716 | -0.0547 | 0.99715 | -0.054892 | 0.6109
68 | 0.048518 | 0.012211 | -0.048438 | -0.012161 | 7.9121e-05 | 5.0134e-05 | 0.073133 | 0.073133 | 0.073133 | 0.98742 | -0.24184 | 0.98566 | -0.27603 | 20.0916
69 | 0.010431 | 0.0026146 | -0.010429 | -0.0026137 | 1.6944e-06 | 8.5054e-07 | 0.015719 | 0.015719 | 0.015719 | 0.98742 | -0.24184 | 0.98724 | -0.24525 | 4.3183
70 | 0.0081119 | 0.002033 | -0.0081112 | -0.0020328 | 6.2723e-07 | 2.572e-07 | 0.012202 | 0.012202 | 0.012202 | 0.98926 | -0.20634 | 0.98918 | -0.20796 | 3.3521
71 | -0.014783 | -0.0037047 | 0.014789 | 0.0037082 | 6.0664e-06 | 3.4708e-06 | 0.022351 | 0.022351 | 0.022351 | 0.98415 | -0.3054 | 0.98459 | -0.29679 | 6.1404
72 | 0.041197 | 0.010346 | -0.04118 | -0.010336 | 1.6472e-05 | 1.0398e-05 | 0.062201 | 0.062201 | 0.062201 | 0.98566 | -0.27603 | 0.98523 | -0.28441 | 17.0882
73 | 0.0325 | 0.0081602 | -0.032481 | -0.0081482 | 1.9187e-05 | 1.201e-05 | 0.049092 | 0.049092 | 0.049092 | 0.98523 | -0.28441 | 0.98459 | -0.29679 | 13.4867
74 | 0.017692 | 0.00444 | -0.017676 | -0.0044301 | 1.6738e-05 | 9.9192e-06 | 0.026741 | 0.026741 | 0.026741 | 0.98459 | -0.29679 | 0.98358 | -0.31665 | 7.3464
75 | 0.008791 | 0.0022034 | -0.0087905 | -0.0022031 | 5.783e-07 | 2.5947e-07 | 0.0133 | 0.0133 | 0.0133 | 0.98358 | -0.31665 | 0.98351 | -0.31803 | 3.6538
76 | -0.0040652 | -0.0010188 | 0.0040654 | 0.0010188 | 1.4984e-07 | -4.1243e-08 | 0.0061156 | 0.0061155 | 0.0061156 | 0.98914 | -0.20873 | 0.98918 | -0.20796 | 1.6801

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.51675 | 0.13068

## res_load
| p_mw | q_mvar
0 | 0.0033166 | 0.00083123
1 | 0.013615 | 0.0034122
2 | 0.014628 | 0.0036662
3 | 0.0061989 | 0.0015536
4 | 0.019888 | 0.0049844
5 | 0.0075866 | 0.0019014
6 | 0.007582 | 0.0019002
7 | 0.019924 | 0.0049935
8 | 0.0037919 | 0.00095033
9 | 0.010575 | 0.0026504
10 | 0.01593 | 0.0039923
11 | 0.014943 | 0.003745
12 | 0.024232 | 0.0060732
13 | 0.017005 | 0.0042619
14 | 0.0017435 | 0.00043695
15 | 0.0060679 | 0.0015208
16 | 0.061939 | 0.015523
17 | 0.014344 | 0.003595
18 | 0.038089 | 0.0095459
19 | 0.011864 | 0.0029734
20 | 0.0020107 | 0.00050393
21 | 0.0010681 | 0.00026768
22 | 0.0042991 | 0.0010774
23 | 0.0049373 | 0.0012374
24 | 0.013212 | 0.0033113
25 | 0.0066223 | 0.0016597
26 | 0.014821 | 0.0037145
27 | 0.0042696 | 0.0010701
28 | 0.004235 | 0.0010614
29 | 0.0018026 | 0.00045177
30 | 0.019787 | 0.0049591
31 | 0.028221 | 0.0070728
32 | 0.0052697 | 0.0013207
33 | 0.0075866 | 0.0019014
34 | 0.0075772 | 0.001899
35 | 0.0096091 | 0.0024083
36 | 0.0087446 | 0.0021916
37 | 0.0014901 | 0.00037346
38 | 0.0072416 | 0.0018149
39 | 0.010429 | 0.0026137
40 | 0.0086799 | 0.0021754
41 | 0.0088847 | 0.0022267
42 | 0.0087905 | 0.0022031
43 | 0.0040652 | 0.0010188
44 | 0.0040458 | 0.001014

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1