## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1372-20_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1372-20_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1372-20_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1372-20_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1372-20_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1372-20_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1372-20_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1372-20_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_1372-20_0_4_node_45 | 0.4 | n |  | TRUE
9 | bus_LV_1372-20_0_4_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_1372-20_0_4_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_1372-20_0_4_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_1372-20_0_4_node_52 | 0.4 | n |  | TRUE
13 | bus_LV_1372-20_0_4_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_1372-20_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1372-20_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_1372-20_0_4_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_1372-20_0_4_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_1372-20_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_1372-20_0_4_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_1372-20_0_4_node_39 | 0.4 | n |  | TRUE
21 | bus_LV_1372-20_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1372-20_0_4_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_1372-20_0_4_node_42 | 0.4 | n |  | TRUE
24 | bus_LV_1372-20_0_4_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_1372-20_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1372-20_0_4_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_1372-20_0_4_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_1372-20_0_4_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_1372-20_0_4_node_46 | 0.4 | n |  | TRUE
30 | bus_LV_1372-20_0_4_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_1372-20_0_4_node_44 | 0.4 | n |  | TRUE
32 | bus_LV_1372-20_0_4_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_1372-20_0_4_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_1372-20_0_4_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_1372-20_0_4_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_1372-20_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_1372-20_0_4_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_1372-20_0_4_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_1372-20_0_4_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_1372-20_0_4_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_1372-20_0_4_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_1372-20_0_4_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_1372-20_0_4_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_1372-20_0_4_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_1372-20_0_4_node_34 | 0.4 | n |  | TRUE
46 | bus_MV_133_1_node_187 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1372-20_0_4_load_0 | 0 | 0.0041164 | 0.0010317 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1372-20_0_4_load_4 | 4 | 0.092918 | 0.023287 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1372-20_0_4_load_5 | 5 | 0.014693 | 0.0036823 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1372-20_0_4_load_6 | 6 | 0.0016937 | 0.00042447 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1372-20_0_4_load_45 | 8 | 0.015658 | 0.0039244 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1372-20_0_4_load_23 | 9 | 0.048377 | 0.012124 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1372-20_0_4_load_52 | 12 | 0.0028702 | 0.00071933 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1372-20_0_4_load_7 | 15 | 0.0046401 | 0.0011629 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1372-20_0_4_load_22 | 17 | 0.0025924 | 0.00064972 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1372-20_0_4_load_39 | 20 | 0.010049 | 0.0025186 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1372-20_0_4_load_43 | 22 | 0.0020755 | 0.00052018 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1372-20_0_4_load_42 | 23 | 0.023126 | 0.0057959 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1372-20_0_4_load_31 | 24 | 0.011219 | 0.0028118 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1372-20_0_4_load_32 | 27 | 0.02096 | 0.0052531 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1372-20_0_4_load_24 | 28 | 0.0048823 | 0.0012236 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1372-20_0_4_load_46 | 29 | 0.022765 | 0.0057055 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1372-20_0_4_load_41 | 30 | 0.009036 | 0.0022646 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1372-20_0_4_load_44 | 31 | 0.0030129 | 0.0007551 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1372-20_0_4_load_38 | 32 | 0.00096821 | 0.00024266 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1372-20_0_4_load_35 | 33 | 0.067686 | 0.016964 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1372-20_0_4_load_25 | 34 | 0.0095309 | 0.0023887 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1372-20_0_4_load_50 | 38 | 0.022521 | 0.0056442 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1372-20_0_4_load_37 | 39 | 0.026224 | 0.0065723 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1372-20_0_4_load_47 | 40 | 0.027608 | 0.0069193 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1372-20_0_4_load_51 | 41 | 0.024022 | 0.0060205 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1372-20_0_4_load_36 | 42 | 0.015494 | 0.0038831 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1372-20_0_4_load_49 | 43 | 0.0016057 | 0.00040243 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1372-20_0_4_load_48 | 44 | 0.0017477 | 0.00043803 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1372-20_0_4_load_34 | 45 | 0.058587 | 0.014683 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1372-20_0_4_line_0 |  | 0 | 1 | 0.01559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1372-20_0_4_line_1 |  | 0 | 2 | 0.013099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1372-20_0_4_line_2 |  | 1 | 3 | 0.027947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_1372-20_0_4_line_3 |  | 1 | 4 | 0.017039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_1372-20_0_4_line_4 |  | 2 | 5 | 0.019517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1372-20_0_4_line_5 |  | 2 | 6 | 0.0092725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1372-20_0_4_line_6 |  | 3 | 7 | 0.016346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1372-20_0_4_line_7 |  | 3 | 8 | 0.03731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_1372-20_0_4_line_8 |  | 4 | 9 | 0.011836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1372-20_0_4_line_9 |  | 6 | 10 | 0.033356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1372-20_0_4_line_10 |  | 7 | 14 | 0.009608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1372-20_0_4_line_11 |  | 7 | 15 | 0.018997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1372-20_0_4_line_12 |  | 8 | 29 | 0.0138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_1372-20_0_4_line_13 |  | 10 | 28 | 0.020583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1372-20_0_4_line_14 |  | 11 | 12 | 0.04258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1372-20_0_4_line_15 |  | 11 | 13 | 0.10263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1372-20_0_4_line_16 |  | 13 | 24 | 0.063265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1372-20_0_4_line_17 |  | 14 | 16 | 0.10731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1372-20_0_4_line_18 |  | 14 | 17 | 0.024963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1372-20_0_4_line_19 |  | 16 | 21 | 0.020341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1372-20_0_4_line_20 |  | 16 | 22 | 0.015965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1372-20_0_4_line_21 |  | 18 | 19 | 0.026361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1372-20_0_4_line_22 |  | 18 | 20 | 0.01527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1372-20_0_4_line_23 |  | 19 | 21 | 0.026436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1372-20_0_4_line_24 |  | 19 | 30 | 0.022352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1372-20_0_4_line_25 |  | 21 | 23 | 0.03615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1372-20_0_4_line_26 |  | 22 | 31 | 0.013246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1372-20_0_4_line_27 |  | 24 | 27 | 0.026912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1372-20_0_4_line_28 |  | 25 | 26 | 0.037693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1372-20_0_4_line_29 |  | 25 | 27 | 0.015998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1372-20_0_4_line_30 |  | 26 | 32 | 0.0091377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1372-20_0_4_line_31 |  | 26 | 33 | 0.0057736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1372-20_0_4_line_32 |  | 29 | 40 | 0.02548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_1372-20_0_4_line_33 |  | 32 | 44 | 0.051334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1372-20_0_4_line_34 |  | 33 | 45 | 0.011225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1372-20_0_4_line_35 |  | 34 | 35 | 0.040836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1372-20_0_4_line_36 |  | 35 | 36 | 0.032669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1372-20_0_4_line_37 |  | 36 | 40 | 0.014023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_1372-20_0_4_line_38 |  | 36 | 41 | 0.031175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_1372-20_0_4_line_39 |  | 37 | 38 | 0.015151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_1372-20_0_4_line_40 |  | 37 | 39 | 0.004172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_1372-20_0_4_line_41 |  | 38 | 41 | 0.015028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_1372-20_0_4_line_42 |  | 39 | 42 | 0.016018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_1372-20_0_4_line_43 |  | 42 | 45 | 0.023284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_1372-20_0_4_line_44 |  | 43 | 44 | 0.001814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1372-20_0_4_trafo_4 | 0.63 MVA 20/0.4 kV | 46 | 4 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2690716.2267 | 1209212.0095 | 2690724.7214 | 1209198.937
1 | 2690731.8587 | 1209187.9533 | 2690724.7214 | 1209198.937
2 | 2690716.2267 | 1209212.0095 | 2690710.7466 | 1209219.9204 | 2690705.5369 | 1209224.0439 | 2690699.4493 | 1209225.9082 | 2690694.2518 | 1209227.2301
3 | 2690716.2267 | 1209212.0095 | 2690730.5247 | 1209221.2784
4 | 2690731.8587 | 1209187.9533 | 2690747.9295 | 1209199.0273
5 | 2690731.8587 | 1209187.9533 | 2690736.9556 | 1209180.2072
6 | 2690683.2086 | 1209222.0144 | 2690686.081 | 1209218.6002 | 2690694.2518 | 1209227.2301
7 | 2690694.2518 | 1209227.2301 | 2690693.4993 | 1209234.7237 | 2690691.9533 | 1209247.3975 | 2690692.2097 | 1209262.5337 | 2690692.5951 | 1209264.3662
8 | 2690730.5247 | 1209221.2784 | 2690731.419 | 1209221.8581 | 2690734.5095 | 1209221.6049 | 2690737.108 | 1209220.2102 | 2690739.7257 | 1209216.2818
9 | 2690753.5718 | 1209151.4814 | 2690750.7783 | 1209159.1996 | 2690736.9556 | 1209180.2072
10 | 2690675.6897 | 1209216.0073 | 2690679.4529 | 1209219.0109 | 2690683.2086 | 1209222.0144
11 | 2690683.2086 | 1209222.0144 | 2690671.0987 | 1209236.6507
12 | 2690692.5951 | 1209264.3662 | 2690695.4356 | 1209277.8707
13 | 2690753.5718 | 1209151.4814 | 2690743.0419 | 1209148.9974 | 2690734.0749 | 1209145.1337
14 | 2690866.9016 | 1209114.2809 | 2690855.8031 | 1209127.165 | 2690836.2548 | 1209143.7452
15 | 2690866.9016 | 1209114.2809 | 2690912.3538 | 1209164.9625 | 2690898.944 | 1209196.8017
16 | 2690898.944 | 1209196.8017 | 2690894.7765 | 1209196.3824 | 2690882.3015 | 1209207.8 | 2690874.5666 | 1209200.5107 | 2690869.7686 | 1209197.569 | 2690866.2719 | 1209195.0363 | 2690861.9148 | 1209189.0993 | 2690847.6894 | 1209188.8827
17 | 2690635.6863 | 1209174.383 | 2690637.2589 | 1209179.4658 | 2690654.9642 | 1209190.5532 | 2690667.2806 | 1209198.0453 | 2690677.4306 | 1209204.0146 | 2690680.0077 | 1209205.5214 | 2690692.6493 | 1209190.1255 | 2690693.3313 | 1209193.2713 | 2690679.9232 | 1209210.5791 | 2690678.1316 | 1209212.909 | 2690675.6897 | 1209216.0073
18 | 2690675.6897 | 1209216.0073 | 2690673.5677 | 1209214.5629 | 2690672.205 | 1209214.1864 | 2690670.7519 | 1209214.2533 | 2690669.1102 | 1209214.7176 | 2690667.4191 | 1209215.4368 | 2690665.5064 | 1209216.7308 | 2690664.0204 | 1209218.465 | 2690657.1955 | 1209227.5851
19 | 2690635.6863 | 1209174.383 | 2690626.1415 | 1209191.127 | 2690625.6104 | 1209192.0529
20 | 2690635.6863 | 1209174.383 | 2690637.0679 | 1209171.5243 | 2690635.9471 | 1209166.7263 | 2690634.4506 | 1209162.6453 | 2690633.9534 | 1209159.1641
21 | 2690599.5652 | 1209238.0103 | 2690612.5193 | 1209215.0361
22 | 2690599.5652 | 1209238.0103 | 2690587.2087 | 1209229.0392
23 | 2690612.5193 | 1209215.0361 | 2690625.6104 | 1209192.0529
24 | 2690612.5193 | 1209215.0361 | 2690594.1836 | 1209202.2525
25 | 2690625.6104 | 1209192.0529 | 2690600.1873 | 1209180.0367 | 2690593.1668 | 1209176.1383
26 | 2690633.9534 | 1209159.1641 | 2690633.2618 | 1209154.3217 | 2690633.3142 | 1209145.9676
27 | 2690847.6894 | 1209188.8827 | 2690832.6059 | 1209188.6529 | 2690830.7482 | 1209190.3258 | 2690821.4275 | 1209190.667
28 | 2690799.1958 | 1209226.87 | 2690804.3995 | 1209218.6548 | 2690807.2406 | 1209209.8144 | 2690806.2121 | 1209194.4774 | 2690805.4401 | 1209191.2524
29 | 2690805.4401 | 1209191.2524 | 2690821.4275 | 1209190.667
30 | 2690799.1958 | 1209226.87 | 2690805.6022 | 1209233.3858
31 | 2690799.1958 | 1209226.87 | 2690794.4373 | 1209230.1396
32 | 2690695.4356 | 1209277.8707 | 2690695.4356 | 1209277.8707 | 2690699.7102 | 1209289.7436 | 2690707.149 | 1209298.507 | 2690708.1997 | 1209299.3794
33 | 2690805.6022 | 1209233.3858 | 2690827.1958 | 1209255.3484 | 2690829.2569 | 1209257.2921 | 2690818.1216 | 1209271.0517
34 | 2690784.6361 | 1209235.2499 | 2690788.2092 | 1209234.419 | 2690794.4373 | 1209230.1396
35 | 2690744.2623 | 1209329.1249 | 2690759.0502 | 1209341.0355 | 2690778.6469 | 1209350.6944
36 | 2690718.9886 | 1209308.3379 | 2690737.3751 | 1209323.5831 | 2690744.2623 | 1209329.1249
37 | 2690718.9886 | 1209308.3379 | 2690708.1997 | 1209299.3794
38 | 2690718.9886 | 1209308.3379 | 2690728.6798 | 1209300.4689 | 2690738.2801 | 1209286.5833 | 2690739.0405 | 1209284.9408
39 | 2690750.2253 | 1209257.0008 | 2690747.4695 | 1209266.7321 | 2690745.3534 | 1209271.3034
40 | 2690750.2253 | 1209257.0008 | 2690751.7776 | 1209253.1284
41 | 2690745.3534 | 1209271.3034 | 2690739.0405 | 1209284.9408
42 | 2690762.3487 | 1209241.8496 | 2690760.3586 | 1209242.5675 | 2690753.4416 | 1209248.9777 | 2690751.7776 | 1209253.1284
43 | 2690784.6361 | 1209235.2499 | 2690773.4002 | 1209237.8627 | 2690762.3487 | 1209241.8496
44 | 2690818.1216 | 1209271.0517 | 2690816.9804 | 1209272.4618

## bus_geodata
| x | y | coords
0 | 2690724.7214 | 1209198.937
1 | 2690716.2267 | 1209212.0095
2 | 2690731.8587 | 1209187.9533
3 | 2690694.2518 | 1209227.2301
4 | 2690730.5247 | 1209221.2784
5 | 2690747.9295 | 1209199.0273
6 | 2690736.9556 | 1209180.2072
7 | 2690683.2086 | 1209222.0144
8 | 2690692.5951 | 1209264.3662
9 | 2690739.7257 | 1209216.2818
10 | 2690753.5718 | 1209151.4814
11 | 2690866.9016 | 1209114.2809
12 | 2690836.2548 | 1209143.7452
13 | 2690898.944 | 1209196.8017
14 | 2690675.6897 | 1209216.0073
15 | 2690671.0987 | 1209236.6507
16 | 2690635.6863 | 1209174.383
17 | 2690657.1955 | 1209227.5851
18 | 2690599.5652 | 1209238.0103
19 | 2690612.5193 | 1209215.0361
20 | 2690587.2087 | 1209229.0392
21 | 2690625.6104 | 1209192.0529
22 | 2690633.9534 | 1209159.1641
23 | 2690593.1668 | 1209176.1383
24 | 2690847.6894 | 1209188.8827
25 | 2690805.4401 | 1209191.2524
26 | 2690799.1958 | 1209226.87
27 | 2690821.4275 | 1209190.667
28 | 2690734.0749 | 1209145.1337
29 | 2690695.4356 | 1209277.8707
30 | 2690594.1836 | 1209202.2525
31 | 2690633.3142 | 1209145.9676
32 | 2690805.6022 | 1209233.3858
33 | 2690794.4373 | 1209230.1396
34 | 2690778.6469 | 1209350.6944
35 | 2690744.2623 | 1209329.1249
36 | 2690718.9886 | 1209308.3379
37 | 2690750.2253 | 1209257.0008
38 | 2690745.3534 | 1209271.3034
39 | 2690751.7776 | 1209253.1284
40 | 2690708.1997 | 1209299.3794
41 | 2690739.0405 | 1209284.9408
42 | 2690762.3487 | 1209241.8496
43 | 2690816.9804 | 1209272.4618
44 | 2690818.1216 | 1209271.0517
45 | 2690784.6361 | 1209235.2499
46 | 2690716.2267 | 1209212.0095

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99749 | -0.047551 | 0.0041164 | 0.0010317
1 | 0.99785 | -0.04062 | 0 | 0
2 | 0.99724 | -0.052433 | 0 | 0
3 | 0.99454 | -0.10345 | 0 | 0
4 | 1 | 0 | -0.46591 | -0.11886
5 | 0.99698 | -0.05746 | 0.014693 | 0.0036823
6 | 0.99718 | -0.053502 | 0.0016937 | 0.00042447
7 | 0.99373 | -0.11918 | 0 | 0
8 | 0.99075 | -0.17594 | 0.015658 | 0.0039244
9 | 0.99948 | -0.0099855 | 0.048377 | 0.012124
10 | 0.99704 | -0.056357 | 0 | 0
11 | 0.97468 | -0.48885 | 0 | 0
12 | 0.97457 | -0.49109 | 0.0028702 | 0.00071933
13 | 0.97495 | -0.48344 | 0 | 0
14 | 0.99329 | -0.12764 | 0 | 0
15 | 0.99365 | -0.12073 | 0.0046401 | 0.0011629
16 | 0.98862 | -0.21774 | 0 | 0
17 | 0.99323 | -0.12879 | 0.0025924 | 0.00064972
18 | 0.98713 | -0.24682 | 0 | 0
19 | 0.98737 | -0.24208 | 0 | 0
20 | 0.98699 | -0.24957 | 0.010049 | 0.0025186
21 | 0.98783 | -0.23307 | 0 | 0
22 | 0.98855 | -0.21919 | 0.0020755 | 0.00052018
23 | 0.98707 | -0.24801 | 0.023126 | 0.0057959
24 | 0.97512 | -0.4801 | 0.011219 | 0.0028118
25 | 0.976 | -0.46289 | 0 | 0
26 | 0.97722 | -0.43874 | 0 | 0
27 | 0.97547 | -0.47315 | 0.02096 | 0.0052531
28 | 0.99694 | -0.05812 | 0.0048823 | 0.0012236
29 | 0.98942 | -0.20161 | 0.022765 | 0.0057055
30 | 0.98719 | -0.2457 | 0.009036 | 0.0022646
31 | 0.98851 | -0.2199 | 0.0030129 | 0.0007551
32 | 0.97719 | -0.43946 | 0.00096821 | 0.00024266
33 | 0.97744 | -0.43459 | 0.067686 | 0.016964
34 | 0.98534 | -0.28035 | 0.0095309 | 0.0023887
35 | 0.9857 | -0.27336 | 0 | 0
36 | 0.98599 | -0.26778 | 0 | 0
37 | 0.9815 | -0.3549 | 0 | 0
38 | 0.98248 | -0.33597 | 0.022521 | 0.0056442
39 | 0.98124 | -0.36012 | 0.026224 | 0.0065723
40 | 0.98713 | -0.24572 | 0.027608 | 0.0069193
41 | 0.98354 | -0.3152 | 0.024022 | 0.0060205
42 | 0.98034 | -0.37765 | 0.015494 | 0.0038831
43 | 0.97702 | -0.44266 | 0.0016057 | 0.00040243
44 | 0.97703 | -0.4426 | 0.0017477 | 0.00043803
45 | 0.97855 | -0.41269 | 0.058587 | 0.014683
46 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.025395 | -0.0063672 | 0.025403 | 0.0063724 | 8.3906e-06 | 5.1664e-06 | 0.037884 | 0.037884 | 0.037884 | 0.99749 | -0.047551 | 0.99785 | -0.04062 | 10.4077
1 | 0.021279 | 0.0053355 | -0.021274 | -0.0053325 | 4.9497e-06 | 2.9968e-06 | 0.031743 | 0.031743 | 0.031743 | 0.99749 | -0.047551 | 0.99724 | -0.052433 | 8.7207
2 | 0.38964 | 0.09983 | -0.38846 | -0.099074 | 0.0011825 | 0.00075572 | 0.58181 | 0.58181 | 0.58181 | 0.99785 | -0.04062 | 0.99454 | -0.10345 | 53.2794
3 | -0.41504 | -0.1062 | 0.41586 | 0.10673 | 0.00081794 | 0.00052281 | 0.61969 | 0.61969 | 0.61969 | 0.99785 | -0.04062 | 1 | 0 | 56.7485
4 | 0.014696 | 0.0036843 | -0.014693 | -0.0036823 | 3.5195e-06 | 1.9979e-06 | 0.021929 | 0.021929 | 0.021929 | 0.99724 | -0.052433 | 0.99698 | -0.05746 | 6.0245
5 | 0.0065774 | 0.0016482 | -0.0065771 | -0.0016481 | 3.3493e-07 | 9.3382e-08 | 0.0098143 | 0.0098143 | 0.0098143 | 0.99724 | -0.052433 | 0.99718 | -0.053502 | 2.6962
6 | 0.05486 | 0.013872 | -0.054818 | -0.013846 | 4.1341e-05 | 2.6246e-05 | 0.082124 | 0.082124 | 0.082124 | 0.99454 | -0.10345 | 0.99373 | -0.11918 | 22.5614
7 | 0.3336 | 0.085202 | -0.33243 | -0.084458 | 0.0011645 | 0.00074382 | 0.49969 | 0.49969 | 0.49969 | 0.99454 | -0.10345 | 0.99075 | -0.17594 | 45.7589
8 | 0.0484 | 0.012139 | -0.048377 | -0.012124 | 2.3025e-05 | 1.4581e-05 | 0.072023 | 0.072023 | 0.072023 | 1 | 0 | 0.99948 | -0.0099855 | 19.7866
9 | 0.0048834 | 0.0012236 | -0.0048827 | -0.0012236 | 6.6421e-07 | -9.9788e-09 | 0.007287 | 0.0072872 | 0.0072872 | 0.99718 | -0.053502 | 0.99704 | -0.056357 | 2.002
10 | 0.050178 | 0.012683 | -0.050158 | -0.01267 | 2.0362e-05 | 1.2907e-05 | 0.075175 | 0.075175 | 0.075175 | 0.99373 | -0.11918 | 0.99329 | -0.12764 | 20.6525
11 | 0.0046404 | 0.0011629 | -0.0046401 | -0.0011629 | 3.4396e-07 | -2.5952e-08 | 0.0069486 | 0.0069487 | 0.0069487 | 0.99373 | -0.11918 | 0.99365 | -0.12073 | 1.909
12 | 0.31677 | 0.080534 | -0.31638 | -0.080284 | 0.00039112 | 0.00024979 | 0.47617 | 0.47617 | 0.47617 | 0.99075 | -0.17594 | 0.98942 | -0.20161 | 43.6054
13 | 0.0048827 | 0.0012236 | -0.0048823 | -0.0012236 | 4.0988e-07 | -6.0843e-09 | 0.0072872 | 0.0072873 | 0.0072873 | 0.99704 | -0.056357 | 0.99694 | -0.05812 | 2.002
14 | 0.0028705 | 0.000719 | -0.0028702 | -0.00071933 | 3.0664e-07 | -3.3438e-07 | 0.0043821 | 0.0043823 | 0.0043823 | 0.97468 | -0.48885 | 0.97457 | -0.49109 | 1.2039
15 | -0.0028705 | -0.000719 | 0.0028712 | 0.00071819 | 7.3894e-07 | -8.0649e-07 | 0.0043821 | 0.0043817 | 0.0043821 | 0.97468 | -0.48885 | 0.97495 | -0.48344 | 1.2039
16 | -0.0028712 | -0.00071819 | 0.0028717 | 0.00071769 | 4.5545e-07 | -4.9758e-07 | 0.0043817 | 0.0043814 | 0.0043817 | 0.97495 | -0.48344 | 0.97512 | -0.4801 | 1.2038
17 | 0.047565 | 0.012021 | -0.047361 | -0.011891 | 0.00020452 | 0.00012951 | 0.071291 | 0.071292 | 0.071292 | 0.99329 | -0.12764 | 0.98862 | -0.21774 | 19.5857
18 | 0.0025926 | 0.00064949 | -0.0025924 | -0.00064972 | 1.412e-07 | -2.3273e-07 | 0.0038838 | 0.0038839 | 0.0038839 | 0.99329 | -0.12764 | 0.99323 | -0.12879 | 1.067
19 | 0.042272 | 0.010616 | -0.042241 | -0.010597 | 3.0886e-05 | 1.9506e-05 | 0.063632 | 0.063633 | 0.063633 | 0.98862 | -0.21774 | 0.98783 | -0.23307 | 17.4815
20 | 0.0050889 | 0.0012752 | -0.0050885 | -0.0012752 | 3.5124e-07 | 2.0094e-08 | 0.0076594 | 0.0076595 | 0.0076595 | 0.98862 | -0.21774 | 0.98855 | -0.21919 | 2.1043
21 | -0.010051 | -0.0025192 | 0.010053 | 0.0025203 | 2.269e-06 | 1.1151e-06 | 0.01515 | 0.01515 | 0.01515 | 0.98713 | -0.24682 | 0.98737 | -0.24208 | 4.1622
22 | 0.010051 | 0.0025192 | -0.010049 | -0.0025186 | 1.3144e-06 | 6.4602e-07 | 0.01515 | 0.015151 | 0.015151 | 0.98713 | -0.24682 | 0.98699 | -0.24957 | 4.1622
23 | -0.01909 | -0.0047857 | 0.019099 | 0.0047906 | 8.2057e-06 | 4.9134e-06 | 0.02877 | 0.02877 | 0.02877 | 0.98737 | -0.24208 | 0.98783 | -0.23307 | 7.904
24 | 0.0090375 | 0.0022653 | -0.009036 | -0.0022646 | 1.5549e-06 | 7.0933e-07 | 0.01362 | 0.01362 | 0.01362 | 0.98737 | -0.24208 | 0.98719 | -0.2457 | 3.7418
25 | 0.023142 | 0.0058059 | -0.023126 | -0.0057959 | 1.6476e-05 | 1.0082e-05 | 0.034862 | 0.034862 | 0.034862 | 0.98783 | -0.23307 | 0.98707 | -0.24801 | 9.5776
26 | 0.003013 | 0.000755 | -0.0030129 | -0.0007551 | 1.0217e-07 | -1.0442e-07 | 0.0045353 | 0.0045353 | 0.0045353 | 0.98855 | -0.21919 | 0.98851 | -0.2199 | 1.246
27 | -0.014091 | -0.0035295 | 0.014095 | 0.0035321 | 4.6656e-06 | 2.6502e-06 | 0.021501 | 0.021501 | 0.021501 | 0.97512 | -0.4801 | 0.97547 | -0.47315 | 5.907
28 | -0.035073 | -0.008796 | 0.035113 | 0.0088214 | 4.0418e-05 | 2.5396e-05 | 0.053474 | 0.053474 | 0.053474 | 0.976 | -0.46289 | 0.97722 | -0.43874 | 14.6907
29 | 0.035073 | 0.008796 | -0.035055 | -0.0087852 | 1.7155e-05 | 1.0779e-05 | 0.053474 | 0.053474 | 0.053474 | 0.976 | -0.46289 | 0.97547 | -0.47315 | 14.6907
30 | 0.0043223 | 0.0010828 | -0.0043222 | -0.0010828 | 1.4843e-07 | -1.9485e-08 | 0.0065814 | 0.0065814 | 0.0065814 | 0.97722 | -0.43874 | 0.97719 | -0.43946 | 1.8081
31 | -0.039435 | -0.0099041 | 0.039443 | 0.009909 | 7.8087e-06 | 4.9252e-06 | 0.060055 | 0.060055 | 0.060055 | 0.97722 | -0.43874 | 0.97744 | -0.43459 | 16.4987
32 | 0.29362 | 0.074578 | -0.29299 | -0.074181 | 0.00062204 | 0.00039712 | 0.44193 | 0.44193 | 0.44193 | 0.98942 | -0.20161 | 0.98713 | -0.24572 | 40.4701
33 | 0.003354 | 0.00084012 | -0.0033535 | -0.00084044 | 5.0212e-07 | -3.2163e-07 | 0.0051071 | 0.0051073 | 0.0051073 | 0.97719 | -0.43946 | 0.97703 | -0.4426 | 1.4031
34 | -0.10713 | -0.026873 | 0.10724 | 0.026944 | 0.00011197 | 7.1522e-05 | 0.1631 | 0.1631 | 0.1631 | 0.97744 | -0.43459 | 0.97855 | -0.41269 | 44.8071
35 | -0.0095309 | -0.0023887 | 0.0095341 | 0.0023902 | 3.1723e-06 | 1.5099e-06 | 0.014393 | 0.014393 | 0.014393 | 0.98534 | -0.28035 | 0.9857 | -0.27336 | 3.9541
36 | -0.0095341 | -0.0023902 | 0.0095366 | 0.0023914 | 2.5378e-06 | 1.2076e-06 | 0.014393 | 0.014393 | 0.014393 | 0.9857 | -0.27336 | 0.98599 | -0.26778 | 3.9541
37 | -0.26511 | -0.067083 | 0.26539 | 0.067262 | 0.00028091 | 0.00017925 | 0.40032 | 0.40032 | 0.40032 | 0.98599 | -0.26778 | 0.98713 | -0.24572 | 36.659
38 | 0.25557 | 0.064691 | -0.25499 | -0.064321 | 0.00058039 | 0.00037026 | 0.38592 | 0.38592 | 0.38592 | 0.98599 | -0.26778 | 0.98354 | -0.3152 | 35.341
39 | -0.20803 | -0.05239 | 0.20822 | 0.05251 | 0.00018849 | 0.00012006 | 0.31547 | 0.31547 | 0.31547 | 0.9815 | -0.3549 | 0.98248 | -0.33597 | 28.8894
40 | 0.20803 | 0.05239 | -0.20798 | -0.052357 | 5.1901e-05 | 3.3058e-05 | 0.31547 | 0.31547 | 0.31547 | 0.9815 | -0.3549 | 0.98124 | -0.36012 | 28.8894
41 | -0.23074 | -0.058154 | 0.23097 | 0.058301 | 0.00022956 | 0.00014635 | 0.34958 | 0.34958 | 0.34958 | 0.98248 | -0.33597 | 0.98354 | -0.3152 | 32.0129
42 | 0.18175 | 0.045785 | -0.1816 | -0.045688 | 0.0001522 | 9.68e-05 | 0.2757 | 0.2757 | 0.2757 | 0.98124 | -0.36012 | 0.98034 | -0.37765 | 25.2477
43 | 0.16611 | 0.041805 | -0.16583 | -0.041628 | 0.00027766 | 0.00017712 | 0.25219 | 0.25219 | 0.25219 | 0.98034 | -0.37765 | 0.97855 | -0.41269 | 34.6412
44 | -0.0016057 | -0.00040243 | 0.0016057 | 0.00040241 | 4.0683e-09 | -2.0114e-08 | 0.0024455 | 0.0024455 | 0.0024455 | 0.97702 | -0.44266 | 0.97703 | -0.4426 | 0.67185

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.55883 | 0.14215

## res_load
| p_mw | q_mvar
0 | 0.0041164 | 0.0010317
1 | 0.092918 | 0.023287
2 | 0.014693 | 0.0036823
3 | 0.0016937 | 0.00042447
4 | 0.015658 | 0.0039244
5 | 0.048377 | 0.012124
6 | 0.0028702 | 0.00071933
7 | 0.0046401 | 0.0011629
8 | 0.0025924 | 0.00064972
9 | 0.010049 | 0.0025186
10 | 0.0020755 | 0.00052018
11 | 0.023126 | 0.0057959
12 | 0.011219 | 0.0028118
13 | 0.02096 | 0.0052531
14 | 0.0048823 | 0.0012236
15 | 0.022765 | 0.0057055
16 | 0.009036 | 0.0022646
17 | 0.0030129 | 0.0007551
18 | 0.00096821 | 0.00024266
19 | 0.067686 | 0.016964
20 | 0.0095309 | 0.0023887
21 | 0.022521 | 0.0056442
22 | 0.026224 | 0.0065723
23 | 0.027608 | 0.0069193
24 | 0.024022 | 0.0060205
25 | 0.015494 | 0.0038831
26 | 0.0016057 | 0.00040243
27 | 0.0017477 | 0.00043803
28 | 0.058587 | 0.014683

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1