## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1372-41_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1372-41_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1372-41_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1372-41_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1372-41_0_3_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_1372-41_0_3_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_1372-41_0_3_node_58 | 0.4 | n |  | TRUE
7 | bus_LV_1372-41_0_3_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_1372-41_0_3_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_1372-41_0_3_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_1372-41_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_1372-41_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1372-41_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1372-41_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1372-41_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1372-41_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1372-41_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_1372-41_0_3_node_46 | 0.4 | n |  | TRUE
18 | bus_LV_1372-41_0_3_node_48 | 0.4 | n |  | TRUE
19 | bus_LV_1372-41_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_1372-41_0_3_node_45 | 0.4 | n |  | TRUE
21 | bus_LV_1372-41_0_3_node_35 | 0.4 | n |  | TRUE
22 | bus_LV_1372-41_0_3_node_57 | 0.4 | n |  | TRUE
23 | bus_LV_1372-41_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1372-41_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_1372-41_0_3_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_1372-41_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1372-41_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1372-41_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_1372-41_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_1372-41_0_3_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_1372-41_0_3_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_1372-41_0_3_node_44 | 0.4 | n |  | TRUE
33 | bus_LV_1372-41_0_3_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_1372-41_0_3_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_1372-41_0_3_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_1372-41_0_3_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_1372-41_0_3_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_1372-41_0_3_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_1372-41_0_3_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_1372-41_0_3_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_1372-41_0_3_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_1372-41_0_3_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_1372-41_0_3_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_1372-41_0_3_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_1372-41_0_3_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_1372-41_0_3_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_1372-41_0_3_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_1372-41_0_3_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_1372-41_0_3_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_1372-41_0_3_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_1372-41_0_3_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_1372-41_0_3_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_1372-41_0_3_node_55 | 0.4 | n |  | TRUE
54 | bus_LV_1372-41_0_3_node_56 | 0.4 | n |  | TRUE
55 | bus_MV_133_1_node_202 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1372-41_0_3_load_0 | 0 | 0.0015118 | 0.00037889 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1372-41_0_3_load_2 | 2 | 0.0072701 | 0.0018221 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1372-41_0_3_load_16 | 5 | 0.0028111 | 0.00070452 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1372-41_0_3_load_58 | 6 | 0.0015779 | 0.00039546 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1372-41_0_3_load_12 | 7 | 0.0015717 | 0.00039391 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1372-41_0_3_load_15 | 8 | 0.00040669 | 0.00010193 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1372-41_0_3_load_4 | 9 | 0.00057846 | 0.00014498 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1372-41_0_3_load_5 | 10 | 0.00039844 | 9.9859e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1372-41_0_3_load_7 | 12 | 0.00057712 | 0.00014464 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1372-41_0_3_load_8 | 13 | 0.0061448 | 0.00154 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1372-41_0_3_load_13 | 16 | 0.00047622 | 0.00011935 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1372-41_0_3_load_46 | 17 | 0.0033037 | 0.00082799 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1372-41_0_3_load_48 | 18 | 0.036843 | 0.0092338 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1372-41_0_3_load_11 | 19 | 0.00076096 | 0.00019071 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1372-41_0_3_load_45 | 20 | 0.0010329 | 0.00025887 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1372-41_0_3_load_35 | 21 | 0.0059535 | 0.0014921 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1372-41_0_3_load_57 | 22 | 0.0045962 | 0.0011519 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1372-41_0_3_load_18 | 24 | 0.00075571 | 0.0001894 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1372-41_0_3_load_32 | 25 | 0.0006409 | 0.00016063 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1372-41_0_3_load_19 | 26 | 0.0072656 | 0.0018209 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1372-41_0_3_load_22 | 29 | 0.0016788 | 0.00042076 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1372-41_0_3_load_29 | 30 | 0.027591 | 0.006915 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1372-41_0_3_load_30 | 31 | 0.005924 | 0.0014847 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1372-41_0_3_load_44 | 32 | 0.0057402 | 0.0014386 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1372-41_0_3_load_41 | 34 | 0.0014989 | 0.00037566 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1372-41_0_3_load_40 | 35 | 0.0023203 | 0.00058151 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1372-41_0_3_load_38 | 36 | 0.0029464 | 0.00073844 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1372-41_0_3_load_34 | 37 | 0.0054843 | 0.0013745 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1372-41_0_3_load_23 | 38 | 0.025323 | 0.0063466 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1372-41_0_3_load_26 | 41 | 0.013413 | 0.0033615 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1372-41_0_3_load_27 | 42 | 0.0041235 | 0.0010334 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1372-41_0_3_load_28 | 43 | 0.030738 | 0.0077037 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1372-41_0_3_load_31 | 44 | 0.014264 | 0.0035749 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1372-41_0_3_load_39 | 45 | 0.0012126 | 0.00030391 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1372-41_0_3_load_36 | 46 | 0.02245 | 0.0056264 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1372-41_0_3_load_37 | 47 | 0.0033894 | 0.00084946 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1372-41_0_3_load_49 | 48 | 0.0043236 | 0.0010836 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1372-41_0_3_load_50 | 49 | 0.0035417 | 0.00088763 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1372-41_0_3_load_52 | 50 | 0.0027257 | 0.00068313 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1372-41_0_3_load_53 | 51 | 0.013048 | 0.0032702 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1372-41_0_3_load_54 | 52 | 0.0016818 | 0.00042149 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1372-41_0_3_load_55 | 53 | 0.0012274 | 0.00030763 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1372-41_0_3_load_56 | 54 | 0.002163 | 0.00054209 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1372-41_0_3_line_0 |  | 0 | 1 | 0.055749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1372-41_0_3_line_1 |  | 0 | 2 | 0.01176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1372-41_0_3_line_2 |  | 1 | 3 | 0.12021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1372-41_0_3_line_3 |  | 3 | 4 | 0.010571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1372-41_0_3_line_4 |  | 3 | 5 | 0.071382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1372-41_0_3_line_5 |  | 4 | 6 | 0.016612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1372-41_0_3_line_6 |  | 4 | 7 | 0.019419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1372-41_0_3_line_7 |  | 5 | 8 | 0.066007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1372-41_0_3_line_8 |  | 6 | 22 | 0.022513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1372-41_0_3_line_9 |  | 7 | 19 | 0.008397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1372-41_0_3_line_10 |  | 8 | 23 | 0.12389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1372-41_0_3_line_11 |  | 9 | 10 | 0.0081569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1372-41_0_3_line_12 |  | 9 | 11 | 0.07935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1372-41_0_3_line_13 |  | 11 | 12 | 0.10456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1372-41_0_3_line_14 |  | 11 | 13 | 0.045407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1372-41_0_3_line_15 |  | 11 | 14 | 0.043861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1372-41_0_3_line_16 |  | 11 | 15 | 0.073923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1372-41_0_3_line_17 |  | 14 | 16 | 0.075029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1372-41_0_3_line_18 |  | 15 | 17 | 0.055663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1372-41_0_3_line_19 |  | 15 | 18 | 0.035195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1372-41_0_3_line_20 |  | 16 | 19 | 0.00099344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1372-41_0_3_line_21 |  | 17 | 20 | 0.019425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1372-41_0_3_line_22 |  | 18 | 21 | 0.052605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1372-41_0_3_line_23 |  | 20 | 32 | 0.032924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1372-41_0_3_line_24 |  | 21 | 45 | 0.028095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_1372-41_0_3_line_25 |  | 22 | 54 | 0.0033855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1372-41_0_3_line_26 |  | 23 | 24 | 0.036836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1372-41_0_3_line_27 |  | 24 | 25 | 0.093196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1372-41_0_3_line_28 |  | 26 | 27 | 0.028483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_1372-41_0_3_line_29 |  | 26 | 28 | 0.026346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_1372-41_0_3_line_30 |  | 27 | 29 | 0.033255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_1372-41_0_3_line_31 |  | 28 | 30 | 0.055682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_1372-41_0_3_line_32 |  | 29 | 33 | 0.020307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1372-41_0_3_line_33 |  | 29 | 34 | 0.056912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_1372-41_0_3_line_34 |  | 30 | 31 | 0.017635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_1372-41_0_3_line_35 |  | 31 | 41 | 0.057569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_1372-41_0_3_line_36 |  | 33 | 37 | 0.040685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1372-41_0_3_line_37 |  | 34 | 35 | 0.021076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_1372-41_0_3_line_38 |  | 35 | 36 | 0.021716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_1372-41_0_3_line_39 |  | 36 | 47 | 0.020189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_1372-41_0_3_line_40 |  | 38 | 39 | 0.03579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1372-41_0_3_line_41 |  | 38 | 40 | 0.034704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1372-41_0_3_line_42 |  | 39 | 41 | 0.028785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_1372-41_0_3_line_43 |  | 40 | 42 | 0.062405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1372-41_0_3_line_44 |  | 40 | 43 | 0.047864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1372-41_0_3_line_45 |  | 42 | 44 | 0.016654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1372-41_0_3_line_46 |  | 45 | 47 | 0.026821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_1372-41_0_3_line_47 |  | 46 | 47 | 0.027679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1372-41_0_3_line_48 |  | 48 | 49 | 0.020034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1372-41_0_3_line_49 |  | 49 | 50 | 0.03802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1372-41_0_3_line_50 |  | 50 | 51 | 0.0039565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1372-41_0_3_line_51 |  | 51 | 52 | 0.054816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1372-41_0_3_line_52 |  | 52 | 53 | 0.01666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1372-41_0_3_line_53 |  | 53 | 54 | 0.011239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1372-41_0_3_trafo_35 | 0.63 MVA 20/0.4 kV | 55 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2690854.1187 | 1207155.3508 | 2690861.163 | 1207141.2487 | 2690876.633 | 1207114.7221 | 2690877.3367 | 1207105.4711
1 | 2690883.6858 | 1207095.5723 | 2690877.3367 | 1207105.4711
2 | 2690854.1187 | 1207155.3508 | 2690893.5701 | 1207173.619 | 2690947.6698 | 1207198.3148 | 2690963.6436 | 1207205.6074
3 | 2690963.6436 | 1207205.6074 | 2690973.3987 | 1207209.7477
4 | 2690963.6436 | 1207205.6074 | 2690992.9133 | 1207140.5019
5 | 2690973.3987 | 1207209.7477 | 2690966.1522 | 1207224.6961
6 | 2690973.3987 | 1207209.7477 | 2690989.194 | 1207217.2712 | 2690990.9434 | 1207218.0698
7 | 2690992.9133 | 1207140.5019 | 2691000.6196 | 1207123.3608 | 2691007.0676 | 1207118.4558 | 2691017.8936 | 1207116.2194 | 2691031.4405 | 1207117.5935 | 2691045.1753 | 1207113.1333
8 | 2690955.2671 | 1207244.3998 | 2690965.4053 | 1207226.2369 | 2690966.1522 | 1207224.6961
9 | 2690998.582 | 1207221.557 | 2690990.9434 | 1207218.0698
10 | 2691145.3616 | 1207041.3254 | 2691103.6861 | 1207071.5761 | 2691089.7199 | 1207080.7246 | 2691064.1176 | 1207094.8545 | 2691055.6695 | 1207101.241 | 2691045.1753 | 1207113.1333
11 | 2691050.1206 | 1207200.6123 | 2691053.135 | 1207193.0328
12 | 2691096.5033 | 1207244.6369 | 2691043.8041 | 1207220.9284 | 2691043.6293 | 1207216.9342 | 2691050.1206 | 1207200.6123
13 | 2691096.5033 | 1207244.6369 | 2691043.8041 | 1207220.9284 | 2691043.6293 | 1207216.9342 | 2691059.4381 | 1207177.1839
14 | 2691096.5033 | 1207244.6369 | 2691112.9784 | 1207202.3241
15 | 2691067.7404 | 1207253.1259 | 2691089.7031 | 1207263.1454 | 2691093.6471 | 1207252.8877 | 2691096.5033 | 1207244.6369
16 | 2691139.139 | 1207285.3702 | 2691094.7864 | 1207265.4356 | 2691089.7031 | 1207263.1454 | 2691093.6471 | 1207252.8877 | 2691096.5033 | 1207244.6369
17 | 2691067.7404 | 1207253.1259 | 2691006.9577 | 1207225.3807 | 2690999.4857 | 1207221.9696
18 | 2691139.139 | 1207285.3702 | 2691153.475 | 1207291.8156 | 2691190.7487 | 1207303.1812 | 2691191.7062 | 1207303.3724
19 | 2691139.139 | 1207285.3702 | 2691125.1798 | 1207317.6789
20 | 2690999.4857 | 1207221.9696 | 2690998.582 | 1207221.557
21 | 2691210.7548 | 1207307.1762 | 2691191.7062 | 1207303.3724
22 | 2691125.1798 | 1207317.6789 | 2691142.2635 | 1207367.4325
23 | 2691243.3681 | 1207311.2177 | 2691223.8513 | 1207309.7913 | 2691210.7548 | 1207307.1762
24 | 2691161.0939 | 1207388.2832 | 2691142.2635 | 1207367.4325
25 | 2690953.617 | 1207247.3559 | 2690955.2671 | 1207244.3998
26 | 2691145.3616 | 1207041.3254 | 2691141.4388 | 1207037.2406 | 2691132.1872 | 1207028.0044 | 2691117.7783 | 1207017.0507
27 | 2691028.8188 | 1207003.3 | 2691051.8779 | 1207002.8402 | 2691071.2614 | 1207002.5245 | 2691088.8048 | 1207002.1808 | 2691103.839 | 1207006.2796 | 2691113.9332 | 1207014.1277 | 2691117.7783 | 1207017.0507
28 | 2691226.6776 | 1207443.7569 | 2691223.5982 | 1207472.0731
29 | 2691210.8385 | 1207466.5189 | 2691210.3271 | 1207471.6144 | 2691213.4976 | 1207479.6237 | 2691223.5982 | 1207472.0731
30 | 2691226.6776 | 1207443.7569 | 2691250.1247 | 1207441.1913 | 2691259.7759 | 1207440.6145
31 | 2691177.1101 | 1207510.8233 | 2691210.8385 | 1207466.5189
32 | 2691280.0469 | 1207439.4031 | 2691259.7759 | 1207440.6145
33 | 2691250.8092 | 1207384.4133 | 2691259.7759 | 1207440.6145
34 | 2691177.1101 | 1207510.8233 | 2691174.8939 | 1207510.5768 | 2691172.1527 | 1207511.3021 | 2691159.66 | 1207509.9166
35 | 2691125.5901 | 1207474.2845 | 2691127.3019 | 1207486.7566 | 2691131.0604 | 1207497.5989 | 2691135.3739 | 1207504.9586 | 2691143.6678 | 1207508.1428 | 2691159.66 | 1207509.9166
36 | 2691280.0469 | 1207439.4031 | 2691281.3361 | 1207463.9947 | 2691286.5853 | 1207470.3347 | 2691293.9122 | 1207473.093
37 | 2691229.7473 | 1207385.1753 | 2691250.8092 | 1207384.4133
38 | 2691208.0459 | 1207385.9604 | 2691229.7473 | 1207385.1753
39 | 2691187.8817 | 1207386.9537 | 2691207.484 | 1207385.9808 | 2691208.0459 | 1207385.9604
40 | 2691098.2938 | 1207476.0178 | 2691099.4185 | 1207483.0397 | 2691104.1274 | 1207511.3296
41 | 2691109.8253 | 1207545.5622 | 2691104.1274 | 1207511.3296
42 | 2691098.2938 | 1207476.0178 | 2691125.3858 | 1207472.7958 | 2691125.5901 | 1207474.2845
43 | 2691109.8253 | 1207545.5622 | 2691106.7502 | 1207563.6718 | 2691095.4862 | 1207584.6805 | 2691084.8851 | 1207601.8737
44 | 2691156.2842 | 1207552.4316 | 2691147.1355 | 1207550.4572 | 2691117.8777 | 1207548.6205 | 2691112.7151 | 1207548.5528 | 2691109.8253 | 1207545.5622
45 | 2691073.9521 | 1207614.4161 | 2691084.3276 | 1207602.7778 | 2691084.8851 | 1207601.8737
46 | 2691187.8817 | 1207386.9537 | 2691161.0939 | 1207388.2832
47 | 2691187.8817 | 1207386.9537 | 2691189.8958 | 1207359.3479
48 | 2690899.4536 | 1207379.8323 | 2690901.9822 | 1207371.734 | 2690903.7897 | 1207360.326
49 | 2690903.7897 | 1207360.326 | 2690906.0294 | 1207346.1898 | 2690911.3594 | 1207324.3009 | 2690911.8547 | 1207323.2314
50 | 2690913.5174 | 1207319.6413 | 2690911.8547 | 1207323.2314
51 | 2690913.5174 | 1207319.6413 | 2690919.3412 | 1207307.0666 | 2690936.458 | 1207278.2637 | 2690940.0753 | 1207271.7474
52 | 2690940.0753 | 1207271.7474 | 2690948.161 | 1207257.1816
53 | 2690953.617 | 1207247.3559 | 2690953.3254 | 1207247.8783 | 2690948.161 | 1207257.1816

## bus_geodata
| x | y | coords
0 | 2690877.3367 | 1207105.4711
1 | 2690854.1187 | 1207155.3508
2 | 2690883.6858 | 1207095.5723
3 | 2690963.6436 | 1207205.6074
4 | 2690973.3987 | 1207209.7477
5 | 2690992.9133 | 1207140.5019
6 | 2690966.1522 | 1207224.6961
7 | 2690990.9434 | 1207218.0698
8 | 2691045.1753 | 1207113.1333
9 | 2691050.1206 | 1207200.6123
10 | 2691053.135 | 1207193.0328
11 | 2691096.5033 | 1207244.6369
12 | 2691059.4381 | 1207177.1839
13 | 2691112.9784 | 1207202.3241
14 | 2691067.7404 | 1207253.1259
15 | 2691139.139 | 1207285.3702
16 | 2690999.4857 | 1207221.9696
17 | 2691191.7062 | 1207303.3724
18 | 2691125.1798 | 1207317.6789
19 | 2690998.582 | 1207221.557
20 | 2691210.7548 | 1207307.1762
21 | 2691142.2635 | 1207367.4325
22 | 2690955.2671 | 1207244.3998
23 | 2691145.3616 | 1207041.3254
24 | 2691117.7783 | 1207017.0507
25 | 2691028.8188 | 1207003.3
26 | 2691223.5982 | 1207472.0731
27 | 2691226.6776 | 1207443.7569
28 | 2691210.8385 | 1207466.5189
29 | 2691259.7759 | 1207440.6145
30 | 2691177.1101 | 1207510.8233
31 | 2691159.66 | 1207509.9166
32 | 2691243.368 | 1207311.2177
33 | 2691280.0469 | 1207439.4031
34 | 2691250.8092 | 1207384.4133
35 | 2691229.7473 | 1207385.1753
36 | 2691208.0459 | 1207385.9604
37 | 2691293.9122 | 1207473.093
38 | 2691104.1274 | 1207511.3296
39 | 2691098.2938 | 1207476.0178
40 | 2691109.8253 | 1207545.5622
41 | 2691125.5901 | 1207474.2845
42 | 2691084.8851 | 1207601.8737
43 | 2691156.2842 | 1207552.4316
44 | 2691073.9521 | 1207614.4162
45 | 2691161.0939 | 1207388.2832
46 | 2691189.8958 | 1207359.3479
47 | 2691187.8817 | 1207386.9537
48 | 2690899.4536 | 1207379.8323
49 | 2690903.7897 | 1207360.326
50 | 2690911.8547 | 1207323.2314
51 | 2690913.5174 | 1207319.6413
52 | 2690940.0753 | 1207271.7474
53 | 2690948.161 | 1207257.1816
54 | 2690953.617 | 1207247.3559
55 | 2691130.9451 | 1207368.2335

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98014 | -0.38249 | 0.0015118 | 0.00037889
1 | 0.98059 | -0.37361 | 0 | 0
2 | 0.98006 | -0.38404 | 0.0072701 | 0.0018221
3 | 0.98157 | -0.35448 | 0 | 0
4 | 0.9817 | -0.35192 | 0 | 0
5 | 0.98126 | -0.36046 | 0.0028111 | 0.00070452
6 | 0.98116 | -0.36241 | 0.0015779 | 0.00039546
7 | 0.98257 | -0.33497 | 0.0015717 | 0.00039391
8 | 0.98115 | -0.36263 | 0.00040669 | 0.00010193
9 | 0.98855 | -0.21889 | 0.00057846 | 0.00014498
10 | 0.98855 | -0.21895 | 0.00039844 | 9.9859e-05
11 | 0.98862 | -0.2175 | 0 | 0
12 | 0.98857 | -0.21858 | 0.00057712 | 0.00014464
13 | 0.98837 | -0.22248 | 0.0061448 | 0.00154
14 | 0.98655 | -0.25757 | 0 | 0
15 | 0.99265 | -0.14027 | 0 | 0
16 | 0.983 | -0.3265 | 0.00047622 | 0.00011935
17 | 0.99213 | -0.1502 | 0.0033037 | 0.00082799
18 | 0.99489 | -0.097463 | 0.036843 | 0.0092338
19 | 0.98295 | -0.32741 | 0.00076096 | 0.00019071
20 | 0.99201 | -0.15253 | 0.0010329 | 0.00025887
21 | 1 | 0 | -0.28159 | -0.071923
22 | 0.98047 | -0.376 | 0.0045962 | 0.0011519
23 | 0.98099 | -0.36577 | 0 | 0
24 | 0.98095 | -0.36671 | 0.00075571 | 0.0001894
25 | 0.98089 | -0.36779 | 0.0006409 | 0.00016063
26 | 0.9843 | -0.29894 | 0.0072656 | 0.0018209
27 | 0.98601 | -0.26603 | 0 | 0
28 | 0.98281 | -0.32775 | 0 | 0
29 | 0.988 | -0.22775 | 0.0016788 | 0.00042076
30 | 0.97966 | -0.38893 | 0.027591 | 0.006915
31 | 0.97889 | -0.40396 | 0.005924 | 0.0014847
32 | 0.99184 | -0.15587 | 0.0057402 | 0.0014386
33 | 0.9879 | -0.22974 | 0 | 0
34 | 0.9916 | -0.15899 | 0.0014989 | 0.00037566
35 | 0.99294 | -0.13337 | 0.0023203 | 0.00058151
36 | 0.99435 | -0.1066 | 0.0029464 | 0.00073844
37 | 0.98769 | -0.23373 | 0.0054843 | 0.0013745
38 | 0.97304 | -0.51861 | 0.025323 | 0.0063466
39 | 0.97553 | -0.46968 | 0 | 0
40 | 0.97145 | -0.55005 | 0 | 0
41 | 0.97653 | -0.45008 | 0.013413 | 0.0033615
42 | 0.97037 | -0.57127 | 0.0041235 | 0.0010334
43 | 0.97007 | -0.57726 | 0.030738 | 0.0077037
44 | 0.97015 | -0.57567 | 0.014264 | 0.0035749
45 | 0.99779 | -0.041631 | 0.0012126 | 0.00030391
46 | 0.99513 | -0.092191 | 0.02245 | 0.0056264
47 | 0.99569 | -0.08126 | 0.0033894 | 0.00084946
48 | 0.97811 | -0.42218 | 0.0043236 | 0.0010836
49 | 0.97819 | -0.4206 | 0.0035417 | 0.00088763
50 | 0.97847 | -0.41515 | 0.0027257 | 0.00068313
51 | 0.97851 | -0.41439 | 0.013048 | 0.0032702
52 | 0.97971 | -0.39083 | 0.0016818 | 0.00042149
53 | 0.9801 | -0.38317 | 0.0012274 | 0.00030763
54 | 0.98038 | -0.37776 | 0.002163 | 0.00054209
55 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0087825 | -0.0022012 | 0.0087862 | 0.0022028 | 3.7165e-06 | 1.6756e-06 | 0.013333 | 0.013333 | 0.013333 | 0.98014 | -0.38249 | 0.98059 | -0.37361 | 3.663
1 | 0.0072707 | 0.0018223 | -0.0072701 | -0.0018221 | 5.3732e-07 | 1.9568e-07 | 0.011038 | 0.011038 | 0.011038 | 0.98014 | -0.38249 | 0.98006 | -0.38404 | 3.0325
2 | -0.0087862 | -0.0022028 | 0.0087942 | 0.0022064 | 8.0136e-06 | 3.6107e-06 | 0.013333 | 0.013333 | 0.013333 | 0.98059 | -0.37361 | 0.98157 | -0.35448 | 3.6629
3 | -0.01341 | -0.0033591 | 0.013412 | 0.00336 | 1.6382e-06 | 9.1483e-07 | 0.020329 | 0.020329 | 0.020329 | 0.98157 | -0.35448 | 0.9817 | -0.35192 | 5.5849
4 | 0.0046162 | 0.0011527 | -0.0046149 | -0.0011527 | 1.3104e-06 | -6.3368e-08 | 0.0069964 | 0.0069967 | 0.0069967 | 0.98157 | -0.35448 | 0.98126 | -0.36046 | 1.9222
5 | 0.034972 | 0.0087964 | -0.034955 | -0.0087854 | 1.7513e-05 | 1.0998e-05 | 0.053021 | 0.053021 | 0.053021 | 0.9817 | -0.35192 | 0.98116 | -0.36241 | 14.5662
6 | -0.048384 | -0.012156 | 0.048424 | 0.012181 | 3.9178e-05 | 2.4828e-05 | 0.07335 | 0.07335 | 0.07335 | 0.9817 | -0.35192 | 0.98257 | -0.33497 | 20.1511
7 | 0.0018038 | 0.00044822 | -0.0018036 | -0.00044894 | 1.8503e-07 | -7.153e-07 | 0.002734 | 0.0027343 | 0.0027343 | 0.98126 | -0.36046 | 0.98115 | -0.36263 | 0.75117
8 | 0.033377 | 0.00839 | -0.033355 | -0.0083764 | 2.164e-05 | 1.3565e-05 | 0.050628 | 0.050628 | 0.050628 | 0.98116 | -0.36241 | 0.98047 | -0.376 | 13.9088
9 | -0.049995 | -0.012575 | 0.050013 | 0.012587 | 1.8059e-05 | 1.1451e-05 | 0.07573 | 0.07573 | 0.07573 | 0.98257 | -0.33497 | 0.98295 | -0.32741 | 20.8049
10 | 0.0013969 | 0.00034701 | -0.0013967 | -0.00034844 | 2.0835e-07 | -1.431e-06 | 0.0021175 | 0.002118 | 0.002118 | 0.98115 | -0.36263 | 0.98099 | -0.36577 | 0.58187
11 | 0.00039844 | 9.9756e-05 | -0.00039844 | -9.9859e-05 | 1.1002e-09 | -1.0387e-07 | 0.00059972 | 0.00059976 | 0.00059976 | 0.98855 | -0.21889 | 0.98855 | -0.21895 | 0.16477
12 | -0.0009769 | -0.00024473 | 0.00097697 | 0.00024376 | 6.4323e-08 | -9.7623e-07 | 0.0014704 | 0.0014701 | 0.0014704 | 0.98855 | -0.21889 | 0.98862 | -0.2175 | 0.40397
13 | 0.00057715 | 0.00014332 | -0.00057712 | -0.00014464 | 2.9574e-08 | -1.3218e-06 | 0.00086823 | 0.0008687 | 0.0008687 | 0.98862 | -0.2175 | 0.98857 | -0.21858 | 0.23865
14 | 0.0061463 | 0.0015404 | -0.0061448 | -0.00154 | 1.4573e-06 | 3.5058e-07 | 0.009251 | 0.0092512 | 0.0092512 | 0.98862 | -0.2175 | 0.98837 | -0.22248 | 2.5415
15 | 0.051521 | 0.013068 | -0.051422 | -0.013006 | 9.9052e-05 | 6.2832e-05 | 0.077602 | 0.077602 | 0.077602 | 0.98862 | -0.2175 | 0.98655 | -0.25757 | 21.3194
16 | -0.059222 | -0.014996 | 0.059442 | 0.015136 | 0.00022052 | 0.00014018 | 0.089192 | 0.089191 | 0.089192 | 0.98862 | -0.2175 | 0.99265 | -0.14027 | 24.5032
17 | 0.051422 | 0.013006 | -0.051253 | -0.012898 | 0.00016944 | 0.00010749 | 0.077602 | 0.077603 | 0.077603 | 0.98655 | -0.25757 | 0.983 | -0.3265 | 21.3194
18 | 0.010083 | 0.0025282 | -0.010079 | -0.0025259 | 4.7693e-06 | 2.3332e-06 | 0.015116 | 0.015116 | 0.015116 | 0.99265 | -0.14027 | 0.99213 | -0.1502 | 4.1527
19 | -0.069525 | -0.017664 | 0.069669 | 0.017756 | 0.0001436 | 9.1445e-05 | 0.10431 | 0.10431 | 0.10431 | 0.99265 | -0.14027 | 0.99489 | -0.097463 | 28.6557
20 | 0.050777 | 0.012779 | -0.050774 | -0.012777 | 2.202e-06 | 1.3967e-06 | 0.076882 | 0.076882 | 0.076882 | 0.983 | -0.3265 | 0.98295 | -0.32741 | 21.1214
21 | 0.0067748 | 0.0016979 | -0.006774 | -0.0016977 | 7.5206e-07 | 2.3051e-07 | 0.010161 | 0.010161 | 0.010161 | 0.99213 | -0.1502 | 0.99201 | -0.15253 | 2.7915
22 | -0.10651 | -0.02699 | 0.10701 | 0.02731 | 0.0005013 | 0.00032015 | 0.15941 | 0.15941 | 0.15941 | 0.99489 | -0.097463 | 1 | 0 | 43.7944
23 | 0.0057411 | 0.0014388 | -0.0057402 | -0.0014386 | 9.1564e-07 | 1.6102e-07 | 0.0086117 | 0.0086118 | 0.0086118 | 0.99201 | -0.15253 | 0.99184 | -0.15587 | 2.3659
24 | 0.17293 | 0.044613 | -0.17258 | -0.04439 | 0.00035004 | 0.00022329 | 0.25777 | 0.25777 | 0.25777 | 1 | 0 | 0.99779 | -0.041631 | 35.4086
25 | 0.028759 | 0.0072245 | -0.028757 | -0.007223 | 2.4192e-06 | 1.5056e-06 | 0.043653 | 0.043653 | 0.043653 | 0.98047 | -0.376 | 0.98038 | -0.37776 | 11.9925
26 | 0.0013967 | 0.00034844 | -0.0013966 | -0.00034887 | 6.1972e-08 | -4.2538e-07 | 0.002118 | 0.0021182 | 0.0021182 | 0.98099 | -0.36577 | 0.98095 | -0.36671 | 0.58192
27 | 0.00064094 | 0.00015947 | -0.0006409 | -0.00016063 | 3.3022e-08 | -1.1553e-06 | 0.00097184 | 0.00097226 | 0.00097226 | 0.98095 | -0.36671 | 0.98089 | -0.36779 | 0.2671
28 | -0.12981 | -0.032984 | 0.13002 | 0.033115 | 0.00020602 | 0.00013113 | 0.19641 | 0.19641 | 0.19641 | 0.9843 | -0.29894 | 0.98601 | -0.26603 | 26.9792
29 | 0.12255 | 0.031163 | -0.12238 | -0.031055 | 0.00016985 | 0.00010803 | 0.18543 | 0.18543 | 0.18543 | 0.9843 | -0.29894 | 0.98281 | -0.32775 | 25.4705
30 | -0.13002 | -0.033115 | 0.13026 | 0.033268 | 0.00024054 | 0.00015309 | 0.19641 | 0.19641 | 0.19641 | 0.98601 | -0.26603 | 0.988 | -0.22775 | 26.9792
31 | 0.12238 | 0.031055 | -0.12202 | -0.030827 | 0.00035897 | 0.00022833 | 0.18543 | 0.18543 | 0.18543 | 0.98281 | -0.32775 | 0.97966 | -0.38893 | 25.4706
32 | 0.0054859 | 0.0013747 | -0.0054853 | -0.0013746 | 5.1984e-07 | 7.2668e-08 | 0.0082622 | 0.0082623 | 0.0082623 | 0.988 | -0.22775 | 0.9879 | -0.22974 | 2.2698
33 | -0.13743 | -0.035064 | 0.13788 | 0.035355 | 0.00045812 | 0.00029173 | 0.2072 | 0.2072 | 0.2072 | 0.988 | -0.22775 | 0.9916 | -0.15899 | 28.4614
34 | 0.094429 | 0.023912 | -0.094361 | -0.023869 | 6.8105e-05 | 4.3144e-05 | 0.14352 | 0.14352 | 0.14352 | 0.97966 | -0.38893 | 0.97889 | -0.40396 | 19.714
35 | 0.088437 | 0.022384 | -0.088242 | -0.02226 | 0.00019531 | 0.00012355 | 0.13451 | 0.13451 | 0.13451 | 0.97889 | -0.40396 | 0.97653 | -0.45008 | 18.4771
36 | 0.0054853 | 0.0013746 | -0.0054843 | -0.0013745 | 1.0415e-06 | 1.4577e-07 | 0.0082623 | 0.0082624 | 0.0082624 | 0.9879 | -0.22974 | 0.98769 | -0.23373 | 2.2699
37 | -0.13938 | -0.035731 | 0.13956 | 0.035842 | 0.00017335 | 0.0001104 | 0.20945 | 0.20945 | 0.20945 | 0.9916 | -0.15899 | 0.99294 | -0.13337 | 28.7703
38 | -0.14188 | -0.036423 | 0.14206 | 0.036541 | 0.0001846 | 0.00011758 | 0.21292 | 0.21292 | 0.21292 | 0.99294 | -0.13337 | 0.99435 | -0.1066 | 29.2479
39 | -0.14501 | -0.037279 | 0.14519 | 0.037393 | 0.0001788 | 0.00011391 | 0.21733 | 0.21733 | 0.21733 | 0.99435 | -0.1066 | 0.99569 | -0.08126 | 29.8535
40 | -0.074584 | -0.018743 | 0.074759 | 0.018855 | 0.00017466 | 0.00011133 | 0.11408 | 0.11408 | 0.11408 | 0.97304 | -0.51861 | 0.97553 | -0.46968 | 31.3395
41 | 0.049261 | 0.012397 | -0.049187 | -0.01235 | 7.3889e-05 | 4.6859e-05 | 0.075351 | 0.075351 | 0.075351 | 0.97304 | -0.51861 | 0.97145 | -0.55005 | 20.7007
42 | -0.074759 | -0.018855 | 0.074829 | 0.018899 | 7.0236e-05 | 4.4232e-05 | 0.11408 | 0.11408 | 0.11408 | 0.97553 | -0.46968 | 0.97653 | -0.45008 | 15.6697
43 | 0.018409 | 0.0046212 | -0.018391 | -0.0046101 | 1.8612e-05 | 1.114e-05 | 0.028201 | 0.028201 | 0.028201 | 0.97145 | -0.55005 | 0.97037 | -0.57127 | 7.7476
44 | 0.030778 | 0.0077287 | -0.030738 | -0.0077037 | 3.9903e-05 | 2.4946e-05 | 0.04715 | 0.04715 | 0.04715 | 0.97145 | -0.55005 | 0.97007 | -0.57726 | 12.9533
45 | 0.014267 | 0.0035766 | -0.014264 | -0.0035749 | 2.9893e-06 | 1.7075e-06 | 0.021878 | 0.021878 | 0.021878 | 0.97037 | -0.57127 | 0.97015 | -0.57567 | 6.0105
46 | 0.17137 | 0.044086 | -0.17104 | -0.043876 | 0.00032949 | 0.00021017 | 0.25597 | 0.25597 | 0.25597 | 0.99779 | -0.041631 | 0.99569 | -0.08126 | 35.1602
47 | -0.02245 | -0.0056264 | 0.022461 | 0.0056335 | 1.1697e-05 | 7.126e-06 | 0.033569 | 0.033569 | 0.033569 | 0.99513 | -0.092191 | 0.99569 | -0.08126 | 9.2223
48 | -0.0043236 | -0.0010836 | 0.0043239 | 0.0010836 | 3.2503e-07 | -4.3455e-08 | 0.0065775 | 0.0065775 | 0.0065775 | 0.97811 | -0.42218 | 0.97819 | -0.4206 | 1.807
49 | -0.0078656 | -0.0019712 | 0.0078676 | 0.001972 | 2.0411e-06 | 8.2888e-07 | 0.011965 | 0.011965 | 0.011965 | 0.97819 | -0.4206 | 0.97847 | -0.41515 | 3.2871
50 | -0.010593 | -0.0026551 | 0.010594 | 0.0026553 | 3.8506e-07 | 1.9674e-07 | 0.01611 | 0.01611 | 0.01611 | 0.97847 | -0.41515 | 0.97851 | -0.41439 | 4.4258
51 | -0.023642 | -0.0059255 | 0.023668 | 0.0059418 | 2.657e-05 | 1.6315e-05 | 0.035952 | 0.035952 | 0.035952 | 0.97851 | -0.41439 | 0.97971 | -0.39083 | 9.877
52 | -0.02535 | -0.0063633 | 0.025359 | 0.006369 | 9.2631e-06 | 5.7185e-06 | 0.038506 | 0.038506 | 0.038506 | 0.97971 | -0.39083 | 0.9801 | -0.38317 | 10.5787
53 | -0.026587 | -0.0066766 | 0.026594 | 0.0066809 | 6.8686e-06 | 4.2542e-06 | 0.04037 | 0.04037 | 0.04037 | 0.9801 | -0.38317 | 0.98038 | -0.37776 | 11.0906

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.28755 | 0.073415

## res_load
| p_mw | q_mvar
0 | 0.0015118 | 0.00037889
1 | 0.0072701 | 0.0018221
2 | 0.0028111 | 0.00070452
3 | 0.0015779 | 0.00039546
4 | 0.0015717 | 0.00039391
5 | 0.00040669 | 0.00010193
6 | 0.00057846 | 0.00014498
7 | 0.00039844 | 9.9859e-05
8 | 0.00057712 | 0.00014464
9 | 0.0061448 | 0.00154
10 | 0.00047622 | 0.00011935
11 | 0.0033037 | 0.00082799
12 | 0.036843 | 0.0092338
13 | 0.00076096 | 0.00019071
14 | 0.0010329 | 0.00025887
15 | 0.0059535 | 0.0014921
16 | 0.0045962 | 0.0011519
17 | 0.00075571 | 0.0001894
18 | 0.0006409 | 0.00016063
19 | 0.0072656 | 0.0018209
20 | 0.0016788 | 0.00042076
21 | 0.027591 | 0.006915
22 | 0.005924 | 0.0014847
23 | 0.0057402 | 0.0014386
24 | 0.0014989 | 0.00037566
25 | 0.0023203 | 0.00058151
26 | 0.0029464 | 0.00073844
27 | 0.0054843 | 0.0013745
28 | 0.025323 | 0.0063466
29 | 0.013413 | 0.0033615
30 | 0.0041235 | 0.0010334
31 | 0.030738 | 0.0077037
32 | 0.014264 | 0.0035749
33 | 0.0012126 | 0.00030391
34 | 0.02245 | 0.0056264
35 | 0.0033894 | 0.00084946
36 | 0.0043236 | 0.0010836
37 | 0.0035417 | 0.00088763
38 | 0.0027257 | 0.00068313
39 | 0.013048 | 0.0032702
40 | 0.0016818 | 0.00042149
41 | 0.0012274 | 0.00030763
42 | 0.002163 | 0.00054209

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1