## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1372-43_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1372-43_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1372-43_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1372-43_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1372-43_0_5_node_40 | 0.4 | n |  | TRUE
5 | bus_LV_1372-43_0_5_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_1372-43_0_5_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1372-43_0_5_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_1372-43_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1372-43_0_5_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_1372-43_0_5_node_39 | 0.4 | n |  | TRUE
11 | bus_LV_1372-43_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1372-43_0_5_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_1372-43_0_5_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1372-43_0_5_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1372-43_0_5_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_1372-43_0_5_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_1372-43_0_5_node_52 | 0.4 | n |  | TRUE
18 | bus_LV_1372-43_0_5_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_1372-43_0_5_node_61 | 0.4 | n |  | TRUE
20 | bus_LV_1372-43_0_5_node_76 | 0.4 | n |  | TRUE
21 | bus_LV_1372-43_0_5_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_1372-43_0_5_node_53 | 0.4 | n |  | TRUE
23 | bus_LV_1372-43_0_5_node_5 | 0.4 | n |  | TRUE
24 | bus_LV_1372-43_0_5_node_65 | 0.4 | n |  | TRUE
25 | bus_LV_1372-43_0_5_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_1372-43_0_5_node_72 | 0.4 | n |  | TRUE
27 | bus_LV_1372-43_0_5_node_56 | 0.4 | n |  | TRUE
28 | bus_LV_1372-43_0_5_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_1372-43_0_5_node_62 | 0.4 | n |  | TRUE
30 | bus_LV_1372-43_0_5_node_60 | 0.4 | n |  | TRUE
31 | bus_LV_1372-43_0_5_node_75 | 0.4 | n |  | TRUE
32 | bus_LV_1372-43_0_5_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_1372-43_0_5_node_68 | 0.4 | n |  | TRUE
34 | bus_LV_1372-43_0_5_node_69 | 0.4 | n |  | TRUE
35 | bus_LV_1372-43_0_5_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_1372-43_0_5_node_58 | 0.4 | n |  | TRUE
37 | bus_LV_1372-43_0_5_node_57 | 0.4 | n |  | TRUE
38 | bus_LV_1372-43_0_5_node_63 | 0.4 | n |  | TRUE
39 | bus_LV_1372-43_0_5_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_1372-43_0_5_node_55 | 0.4 | n |  | TRUE
41 | bus_LV_1372-43_0_5_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_1372-43_0_5_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_1372-43_0_5_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_1372-43_0_5_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_1372-43_0_5_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_1372-43_0_5_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_1372-43_0_5_node_79 | 0.4 | n |  | TRUE
48 | bus_LV_1372-43_0_5_node_78 | 0.4 | n |  | TRUE
49 | bus_LV_1372-43_0_5_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_1372-43_0_5_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_1372-43_0_5_node_28 | 0.4 | n |  | TRUE
52 | bus_LV_1372-43_0_5_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_1372-43_0_5_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_1372-43_0_5_node_71 | 0.4 | n |  | TRUE
55 | bus_LV_1372-43_0_5_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_1372-43_0_5_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_1372-43_0_5_node_67 | 0.4 | n |  | TRUE
58 | bus_LV_1372-43_0_5_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_1372-43_0_5_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_1372-43_0_5_node_77 | 0.4 | n |  | TRUE
61 | bus_LV_1372-43_0_5_node_70 | 0.4 | n |  | TRUE
62 | bus_LV_1372-43_0_5_node_34 | 0.4 | n |  | TRUE
63 | bus_LV_1372-43_0_5_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_1372-43_0_5_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_1372-43_0_5_node_42 | 0.4 | n |  | TRUE
66 | bus_LV_1372-43_0_5_node_43 | 0.4 | n |  | TRUE
67 | bus_LV_1372-43_0_5_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_1372-43_0_5_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_1372-43_0_5_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_1372-43_0_5_node_48 | 0.4 | n |  | TRUE
71 | bus_LV_1372-43_0_5_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_1372-43_0_5_node_51 | 0.4 | n |  | TRUE
73 | bus_MV_22_1_node_94 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1372-43_0_5_load_0 | 0 | 0.0096306 | 0.0024137 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1372-43_0_5_load_1 | 1 | 0.011087 | 0.0027787 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1372-43_0_5_load_2 | 2 | 0.0035473 | 0.00088904 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1372-43_0_5_load_40 | 4 | 0.013585 | 0.0034047 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1372-43_0_5_load_6 | 8 | 0.016121 | 0.0040404 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1372-43_0_5_load_39 | 10 | 0.010065 | 0.0025225 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1372-43_0_5_load_7 | 11 | 0.0056522 | 0.0014166 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1372-43_0_5_load_10 | 13 | 0.034186 | 0.0085678 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1372-43_0_5_load_31 | 16 | 0.024999 | 0.0062653 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1372-43_0_5_load_52 | 17 | 0.018867 | 0.0047286 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1372-43_0_5_load_76 | 20 | 0.011133 | 0.0027902 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1372-43_0_5_load_53 | 22 | 0.001478 | 0.00037042 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1372-43_0_5_load_5 | 23 | 0.019778 | 0.0049567 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1372-43_0_5_load_65 | 24 | 0.0066169 | 0.0016583 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1372-43_0_5_load_72 | 26 | 0.0015756 | 0.00039488 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1372-43_0_5_load_32 | 28 | 0.019157 | 0.0048013 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1372-43_0_5_load_62 | 29 | 0.0042455 | 0.001064 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1372-43_0_5_load_60 | 30 | 0.003653 | 0.00091552 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1372-43_0_5_load_75 | 31 | 0.0030265 | 0.00075852 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1372-43_0_5_load_68 | 33 | 0.0080621 | 0.0020205 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1372-43_0_5_load_69 | 34 | 0.012153 | 0.0030459 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1372-43_0_5_load_58 | 36 | 0.0021102 | 0.00052888 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1372-43_0_5_load_57 | 37 | 0.0026426 | 0.0006623 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1372-43_0_5_load_63 | 38 | 0.0061549 | 0.0015426 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1372-43_0_5_load_64 | 39 | 0.0026282 | 0.0006587 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1372-43_0_5_load_55 | 40 | 0.0018942 | 0.00047473 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1372-43_0_5_load_22 | 41 | 0.020031 | 0.0050203 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1372-43_0_5_load_79 | 47 | 0.0038242 | 0.00095844 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1372-43_0_5_load_78 | 48 | 0.0069926 | 0.0017525 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1372-43_0_5_load_46 | 50 | 0.010543 | 0.0026424 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1372-43_0_5_load_54 | 52 | 0.016903 | 0.0042362 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1372-43_0_5_load_59 | 53 | 0.002898 | 0.0007263 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1372-43_0_5_load_71 | 54 | 0.0026848 | 0.00067286 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1372-43_0_5_load_33 | 56 | 0.022138 | 0.0055483 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1372-43_0_5_load_67 | 57 | 0.0088165 | 0.0022096 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1372-43_0_5_load_77 | 60 | 0.030743 | 0.0077049 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1372-43_0_5_load_70 | 61 | 0.0066506 | 0.0016668 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1372-43_0_5_load_34 | 62 | 0.010273 | 0.0025747 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1372-43_0_5_load_66 | 63 | 0.0071142 | 0.001783 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1372-43_0_5_load_41 | 64 | 0.0093881 | 0.0023529 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1372-43_0_5_load_42 | 65 | 0.0041057 | 0.001029 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1372-43_0_5_load_43 | 66 | 0.0051588 | 0.0012929 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1372-43_0_5_load_44 | 67 | 0.0043893 | 0.0011001 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1372-43_0_5_load_73 | 69 | 0.0085992 | 0.0021552 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1372-43_0_5_load_48 | 70 | 0.017135 | 0.0042943 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1372-43_0_5_load_50 | 71 | 0.095838 | 0.024019 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1372-43_0_5_load_51 | 72 | 0.0027928 | 0.00069995 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1372-43_0_5_line_0 |  | 0 | 1 | 0.033948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1372-43_0_5_line_1 |  | 0 | 2 | 0.019756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1372-43_0_5_line_2 |  | 1 | 3 | 0.025489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1372-43_0_5_line_3 |  | 3 | 4 | 0.040045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1372-43_0_5_line_4 |  | 4 | 5 | 0.011077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1372-43_0_5_line_5 |  | 5 | 10 | 0.0075474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1372-43_0_5_line_6 |  | 5 | 12 | 0.040847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1372-43_0_5_line_7 |  | 6 | 7 | 0.003596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1372-43_0_5_line_8 |  | 6 | 8 | 0.0093827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1372-43_0_5_line_9 |  | 7 | 24 | 0.02171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_1372-43_0_5_line_10 |  | 7 | 25 | 0.00159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1372-43_0_5_line_11 |  | 8 | 23 | 0.0093879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1372-43_0_5_line_12 |  | 9 | 10 | 0.014065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1372-43_0_5_line_13 |  | 9 | 11 | 0.016012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1372-43_0_5_line_14 |  | 11 | 23 | 0.0068893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1372-43_0_5_line_15 |  | 12 | 13 | 0.013835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1372-43_0_5_line_16 |  | 14 | 15 | 0.057241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1372-43_0_5_line_17 |  | 14 | 16 | 0.05747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1372-43_0_5_line_18 |  | 15 | 17 | 0.017772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1372-43_0_5_line_19 |  | 16 | 28 | 0.014812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1372-43_0_5_line_20 |  | 17 | 21 | 0.027329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1372-43_0_5_line_21 |  | 18 | 19 | 0.016269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1372-43_0_5_line_22 |  | 18 | 20 | 0.013628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1372-43_0_5_line_23 |  | 19 | 29 | 0.015059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_1372-43_0_5_line_24 |  | 19 | 30 | 0.0061001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1372-43_0_5_line_25 |  | 20 | 31 | 0.0052177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1372-43_0_5_line_26 |  | 21 | 22 | 0.023283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1372-43_0_5_line_27 |  | 22 | 40 | 0.010469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1372-43_0_5_line_28 |  | 24 | 63 | 0.0088245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_1372-43_0_5_line_29 |  | 25 | 32 | 0.007859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1372-43_0_5_line_30 |  | 25 | 62 | 0.012492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1372-43_0_5_line_31 |  | 26 | 27 | 0.0073067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1372-43_0_5_line_32 |  | 27 | 35 | 0.007495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1372-43_0_5_line_33 |  | 29 | 61 | 0.0015155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_1372-43_0_5_line_34 |  | 30 | 51 | 0.02962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1372-43_0_5_line_35 |  | 31 | 67 | 0.0060131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1372-43_0_5_line_36 |  | 32 | 33 | 0.01447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1372-43_0_5_line_37 |  | 33 | 34 | 0.018912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1372-43_0_5_line_38 |  | 35 | 51 | 0.038755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1372-43_0_5_line_39 |  | 35 | 52 | 0.0038317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1372-43_0_5_line_40 |  | 36 | 37 | 0.0024081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1372-43_0_5_line_41 |  | 37 | 53 | 0.01433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1372-43_0_5_line_42 |  | 38 | 39 | 0.0023041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1372-43_0_5_line_43 |  | 39 | 68 | 0.0060097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1372-43_0_5_line_44 |  | 40 | 52 | 0.012932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1372-43_0_5_line_45 |  | 41 | 42 | 0.0087101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_1372-43_0_5_line_46 |  | 41 | 43 | 0.020722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_1372-43_0_5_line_47 |  | 42 | 44 | 0.004673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1372-43_0_5_line_48 |  | 42 | 45 | 0.022984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_1372-43_0_5_line_49 |  | 43 | 46 | 0.0065211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_1372-43_0_5_line_50 |  | 44 | 47 | 0.014139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1372-43_0_5_line_51 |  | 44 | 48 | 0.025925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1372-43_0_5_line_52 |  | 45 | 54 | 0.014531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_1372-43_0_5_line_53 |  | 46 | 49 | 0.023733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_1372-43_0_5_line_54 |  | 46 | 50 | 0.014056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_1372-43_0_5_line_55 |  | 49 | 57 | 0.010245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_1372-43_0_5_line_56 |  | 49 | 55 | 0.002951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1372-43_0_5_line_57 |  | 50 | 58 | 0.013403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_1372-43_0_5_line_58 |  | 51 | 53 | 0.0090449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1372-43_0_5_line_59 |  | 54 | 61 | 0.014095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_1372-43_0_5_line_60 |  | 55 | 56 | 0.017238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1372-43_0_5_line_61 |  | 57 | 63 | 0.01459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_1372-43_0_5_line_62 |  | 58 | 70 | 0.012271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1372-43_0_5_line_63 |  | 58 | 59 | 0.019916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1372-43_0_5_line_64 |  | 59 | 60 | 0.0032148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1372-43_0_5_line_65 |  | 64 | 65 | 0.0017112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1372-43_0_5_line_66 |  | 64 | 66 | 0.021276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1372-43_0_5_line_67 |  | 65 | 67 | 0.0074462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1372-43_0_5_line_68 |  | 66 | 68 | 0.011646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1372-43_0_5_line_69 |  | 68 | 69 | 0.019062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1372-43_0_5_line_70 |  | 70 | 71 | 0.0082689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1372-43_0_5_line_71 |  | 71 | 72 | 0.018278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1372-43_0_5_trafo_46 | 0.63 MVA 20/0.4 kV | 73 | 50 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2692551.7259 | 1208480.0192 | 2692545.2717 | 1208479.8337 | 2692536.0209 | 1208480.6353 | 2692517.9068 | 1208482.4621
1 | 2692551.7259 | 1208480.0192 | 2692568.802 | 1208480.5101 | 2692571.4713 | 1208480.6491
2 | 2692492.9791 | 1208486.8612 | 2692501.3404 | 1208486.5461 | 2692513.4713 | 1208482.9095 | 2692517.9068 | 1208482.4621
3 | 2692492.9791 | 1208486.8612 | 2692483.8276 | 1208494.0131 | 2692473.3637 | 1208498.0203 | 2692456.2056 | 1208499.5433
4 | 2692445.1409 | 1208499.384 | 2692454.4885 | 1208499.6957 | 2692456.2056 | 1208499.5433
5 | 2692445.1409 | 1208499.384 | 2692437.5944 | 1208499.495
6 | 2692445.1409 | 1208499.384 | 2692445.1209 | 1208501.1627 | 2692449.3006 | 1208503.7625 | 2692460.6362 | 1208512.6774 | 2692468.2706 | 1208523.4473 | 2692472.4586 | 1208528.4489
7 | 2692415.1167 | 1208459.9705 | 2692417.9941 | 1208457.8025
8 | 2692415.1167 | 1208459.9705 | 2692418.4864 | 1208468.7273
9 | 2692417.9941 | 1208457.8025 | 2692434.7315 | 1208446.8877 | 2692436.0543 | 1208445.7758
10 | 2692417.9941 | 1208457.8025 | 2692417.2019 | 1208456.4226
11 | 2692421.8579 | 1208477.4889 | 2692418.4864 | 1208468.7273
12 | 2692423.5443 | 1208499.0494 | 2692432.6226 | 1208499.5681 | 2692437.5944 | 1208499.495
13 | 2692423.5443 | 1208499.0494 | 2692426.5485 | 1208489.6785 | 2692424.332 | 1208483.9186
14 | 2692421.8579 | 1208477.4889 | 2692424.332 | 1208483.9186
15 | 2692472.4586 | 1208528.4489 | 2692475.6943 | 1208523.7625 | 2692478.4105 | 1208518.2565 | 2692480.0718 | 1208517.1419
16 | 2692451.1027 | 1208315.3754 | 2692448.908 | 1208320.1002 | 2692442.9582 | 1208323.2768 | 2692420.5162 | 1208335.2595 | 2692402.481 | 1208343.5414
17 | 2692402.481 | 1208343.5414 | 2692419.4174 | 1208377.2261 | 2692422.4354 | 1208378.7405 | 2692437.092 | 1208371.4042
18 | 2692451.1027 | 1208315.3754 | 2692459.3015 | 1208313.2899 | 2692467.6535 | 1208309.1721
19 | 2692450.3371 | 1208364.7744 | 2692437.092 | 1208371.4042
20 | 2692483.0178 | 1208290.2419 | 2692465.8883 | 1208304.3415 | 2692467.6535 | 1208309.1721
21 | 2692550.311 | 1208390.7633 | 2692556.6215 | 1208392.7625 | 2692565.0874 | 1208397.4747
22 | 2692565.0874 | 1208397.4747 | 2692557.1951 | 1208408.5843
23 | 2692550.311 | 1208390.7633 | 2692542.607 | 1208390.3658 | 2692535.2824 | 1208390.9062
24 | 2692550.311 | 1208390.7633 | 2692549.7904 | 1208387.5642 | 2692548.5621 | 1208384.9825
25 | 2692554.1734 | 1208412.838 | 2692557.1951 | 1208408.5843
26 | 2692483.0178 | 1208290.2419 | 2692497.383 | 1208308.5647
27 | 2692497.383 | 1208308.5647 | 2692503.8421 | 1208316.8032
28 | 2692436.0543 | 1208445.7758 | 2692442.8094 | 1208440.0977
29 | 2692413.2698 | 1208449.6127 | 2692417.2019 | 1208456.4226
30 | 2692417.2019 | 1208456.4226 | 2692423.1886 | 1208453.3021 | 2692427.6526 | 1208449.6927
31 | 2692521.0458 | 1208326.9335 | 2692524.2327 | 1208320.3585
32 | 2692514.1853 | 1208329.9959 | 2692521.0458 | 1208326.9335
33 | 2692533.771 | 1208391.0178 | 2692535.2824 | 1208390.9062
34 | 2692532.0529 | 1208360.4711 | 2692534.1823 | 1208363.3949 | 2692546.3958 | 1208380.429 | 2692548.5621 | 1208384.9825
35 | 2692554.1734 | 1208412.838 | 2692554.1734 | 1208412.838 | 2692556.9448 | 1208418.1743
36 | 2692413.2698 | 1208449.6127 | 2692413.7808 | 1208445.5846 | 2692409.3887 | 1208436.1466
37 | 2692409.3887 | 1208436.1466 | 2692401.4092 | 1208419.0001
38 | 2692514.1853 | 1208329.9959 | 2692521.5429 | 1208341.9513 | 2692525.0848 | 1208352.3354 | 2692525.8211 | 1208359.774 | 2692532.0529 | 1208360.4711
39 | 2692514.1853 | 1208329.9959 | 2692511.8212 | 1208326.9805
40 | 2692550.6107 | 1208346.2614 | 2692552.4727 | 1208344.7343
41 | 2692550.6107 | 1208346.2614 | 2692548.4033 | 1208348.0718 | 2692539.2599 | 1208355.0057
42 | 2692564.3395 | 1208454.1222 | 2692562.2136 | 1208455.0108
43 | 2692556.6689 | 1208457.3287 | 2692562.2136 | 1208455.0108
44 | 2692511.8212 | 1208326.9805 | 2692503.8421 | 1208316.8032
45 | 2692502.2617 | 1208385.4594 | 2692496.3716 | 1208391.876
46 | 2692481.0148 | 1208405.6992 | 2692490.9308 | 1208397.8032 | 2692496.3716 | 1208391.876
47 | 2692502.2617 | 1208385.4594 | 2692505.4176 | 1208382.006
48 | 2692502.2617 | 1208385.4594 | 2692504.7992 | 1208386.088 | 2692498.1581 | 1208397.0702 | 2692500.4628 | 1208396.5278 | 2692505.4921 | 1208395.3383
49 | 2692481.0148 | 1208405.6992 | 2692478.7901 | 1208407.4548 | 2692481.1567 | 1208410.2823
50 | 2692514.9927 | 1208371.5807 | 2692505.4176 | 1208382.006
51 | 2692505.4176 | 1208382.006 | 2692504.3135 | 1208380.6324 | 2692499.6872 | 1208374.9569 | 2692499.7125 | 1208366.9519 | 2692497.7932 | 1208358.3275
52 | 2692505.4921 | 1208395.3383 | 2692509.3155 | 1208394.4414 | 2692519.8086 | 1208392.9107
53 | 2692481.1567 | 1208410.2823 | 2692461.8264 | 1208424.1254
54 | 2692481.1567 | 1208410.2823 | 2692483.2846 | 1208412.8058 | 2692489.352 | 1208421.6862
55 | 2692461.8264 | 1208424.1254 | 2692453.9812 | 1208430.7136
56 | 2692461.8264 | 1208424.1254 | 2692461.4002 | 1208421.2058
57 | 2692496.9129 | 1208432.7526 | 2692489.352 | 1208421.6862
58 | 2692532.0529 | 1208360.4711 | 2692539.2599 | 1208355.0057
59 | 2692533.771 | 1208391.0178 | 2692531.7745 | 1208391.1651 | 2692519.8086 | 1208392.9107
60 | 2692461.4002 | 1208421.2058 | 2692460.143 | 1208412.5472 | 2692452.808 | 1208416.8201
61 | 2692453.9812 | 1208430.7136 | 2692445.7714 | 1208437.608 | 2692442.8094 | 1208440.0977
62 | 2692496.9129 | 1208432.7526 | 2692486.9423 | 1208439.9052
63 | 2692514.7826 | 1208423.8569 | 2692496.9129 | 1208432.7526
64 | 2692514.7826 | 1208423.8569 | 2692515.7447 | 1208426.9244
65 | 2692553.4108 | 1208424.4226 | 2692552.4699 | 1208425.8518
66 | 2692552.3047 | 1208446.5316 | 2692552.5549 | 1208446.0907 | 2692551.7604 | 1208442.8985 | 2692550.4927 | 1208438.3535 | 2692551.8818 | 1208426.7451 | 2692552.4699 | 1208425.8518
67 | 2692553.4108 | 1208424.4226 | 2692557.2004 | 1208418.6666 | 2692556.9448 | 1208418.1743
68 | 2692556.6689 | 1208457.3287 | 2692552.3047 | 1208446.5316 | 2692552.3047 | 1208446.5316
69 | 2692556.6689 | 1208457.3287 | 2692538.6206 | 1208463.4612
70 | 2692486.9423 | 1208439.9052 | 2692480.2233 | 1208444.7251
71 | 2692465.3719 | 1208455.379 | 2692480.2233 | 1208444.7251

## bus_geodata
| x | y | coords
0 | 2692551.7259 | 1208480.0192
1 | 2692517.9068 | 1208482.4621
2 | 2692571.4713 | 1208480.6491
3 | 2692492.9791 | 1208486.8612
4 | 2692456.2056 | 1208499.5433
5 | 2692445.1409 | 1208499.384
6 | 2692415.1167 | 1208459.9705
7 | 2692417.9941 | 1208457.8025
8 | 2692418.4864 | 1208468.7273
9 | 2692423.5443 | 1208499.0494
10 | 2692437.5944 | 1208499.495
11 | 2692424.332 | 1208483.9186
12 | 2692472.4586 | 1208528.4489
13 | 2692480.0718 | 1208517.1419
14 | 2692402.481 | 1208343.5414
15 | 2692451.1027 | 1208315.3754
16 | 2692437.092 | 1208371.4042
17 | 2692467.6535 | 1208309.1721
18 | 2692565.0874 | 1208397.4747
19 | 2692550.311 | 1208390.7633
20 | 2692557.1951 | 1208408.5843
21 | 2692483.0178 | 1208290.2419
22 | 2692497.383 | 1208308.5647
23 | 2692421.8579 | 1208477.4889
24 | 2692436.0543 | 1208445.7758
25 | 2692417.2019 | 1208456.4226
26 | 2692524.2327 | 1208320.3585
27 | 2692521.0458 | 1208326.9335
28 | 2692450.3371 | 1208364.7744
29 | 2692535.2824 | 1208390.9062
30 | 2692548.5621 | 1208384.9825
31 | 2692554.1734 | 1208412.838
32 | 2692413.2698 | 1208449.6127
33 | 2692409.3887 | 1208436.1466
34 | 2692401.4092 | 1208419.0001
35 | 2692514.1853 | 1208329.9959
36 | 2692552.4727 | 1208344.7343
37 | 2692550.6107 | 1208346.2614
38 | 2692564.3395 | 1208454.1222
39 | 2692562.2136 | 1208455.0108
40 | 2692503.8421 | 1208316.8032
41 | 2692496.3716 | 1208391.876
42 | 2692502.2617 | 1208385.4594
43 | 2692481.0148 | 1208405.6992
44 | 2692505.4176 | 1208382.006
45 | 2692505.4921 | 1208395.3383
46 | 2692481.1567 | 1208410.2823
47 | 2692514.9927 | 1208371.5807
48 | 2692497.7932 | 1208358.3275
49 | 2692461.8264 | 1208424.1254
50 | 2692489.352 | 1208421.6862
51 | 2692532.0529 | 1208360.4711
52 | 2692511.8212 | 1208326.9805
53 | 2692539.2599 | 1208355.0057
54 | 2692519.8085 | 1208392.9107
55 | 2692461.4002 | 1208421.2058
56 | 2692452.808 | 1208416.8201
57 | 2692453.9812 | 1208430.7136
58 | 2692496.9129 | 1208432.7526
59 | 2692514.7826 | 1208423.8569
60 | 2692515.7447 | 1208426.9244
61 | 2692533.771 | 1208391.0178
62 | 2692427.6526 | 1208449.6927
63 | 2692442.8094 | 1208440.0977
64 | 2692552.4699 | 1208425.8518
65 | 2692553.4108 | 1208424.4226
66 | 2692552.3047 | 1208446.5316
67 | 2692556.9448 | 1208418.1743
68 | 2692556.6689 | 1208457.3287
69 | 2692538.6206 | 1208463.4612
70 | 2692486.9423 | 1208439.9052
71 | 2692480.2233 | 1208444.7251
72 | 2692465.3719 | 1208455.379
73 | 2692496.9129 | 1208432.7526

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98561 | -0.27719 | 0.0096306 | 0.0024137
1 | 0.98602 | -0.26917 | 0.011087 | 0.0027787
2 | 0.98555 | -0.27845 | 0.0035473 | 0.00088904
3 | 0.98659 | -0.25809 | 0 | 0
4 | 0.98749 | -0.2407 | 0.013585 | 0.0034047
5 | 0.98787 | -0.23321 | 0 | 0
6 | 0.99319 | -0.13039 | 0 | 0
7 | 0.9936 | -0.12254 | 0 | 0
8 | 0.99212 | -0.15091 | 0.016121 | 0.0040404
9 | 0.98943 | -0.20292 | 0 | 0
10 | 0.98837 | -0.2235 | 0.010065 | 0.0025225
11 | 0.99064 | -0.17954 | 0.0056522 | 0.0014166
12 | 0.98659 | -0.25818 | 0 | 0
13 | 0.98615 | -0.26665 | 0.034186 | 0.0085678
14 | 0.97862 | -0.41192 | 0 | 0
15 | 0.98096 | -0.36603 | 0 | 0
16 | 0.97626 | -0.45822 | 0.024999 | 0.0062653
17 | 0.98169 | -0.35182 | 0.018867 | 0.0047286
18 | 0.99168 | -0.15896 | 0 | 0
19 | 0.9925 | -0.14323 | 0 | 0
20 | 0.991 | -0.17215 | 0.011133 | 0.0027902
21 | 0.98329 | -0.32072 | 0 | 0
22 | 0.98465 | -0.2943 | 0.001478 | 0.00037042
23 | 0.9912 | -0.16881 | 0.019778 | 0.0049567
24 | 0.99513 | -0.093041 | 0.0066169 | 0.0016583
25 | 0.99355 | -0.12339 | 0 | 0
26 | 0.98635 | -0.26146 | 0.0015756 | 0.00039488
27 | 0.98636 | -0.26126 | 0 | 0
28 | 0.97599 | -0.46341 | 0.019157 | 0.0048013
29 | 0.99354 | -0.12317 | 0.0042455 | 0.001064
30 | 0.99195 | -0.15362 | 0.003653 | 0.00091552
31 | 0.99079 | -0.17618 | 0.0030265 | 0.00075852
32 | 0.99341 | -0.1262 | 0 | 0
33 | 0.99314 | -0.13137 | 0.0080621 | 0.0020205
34 | 0.99293 | -0.13543 | 0.012153 | 0.0030459
35 | 0.98637 | -0.26104 | 0 | 0
36 | 0.98929 | -0.20483 | 0.0021102 | 0.00052888
37 | 0.98929 | -0.20474 | 0.0026426 | 0.0006623
38 | 0.98959 | -0.19955 | 0.0061549 | 0.0015426
39 | 0.9896 | -0.1993 | 0.0026282 | 0.0006587
40 | 0.98528 | -0.28217 | 0.0018942 | 0.00047473
41 | 0.99668 | -0.063288 | 0.020031 | 0.0050203
42 | 0.99621 | -0.072217 | 0 | 0
43 | 0.99792 | -0.039659 | 0 | 0
44 | 0.99616 | -0.073105 | 0 | 0
45 | 0.99505 | -0.094358 | 0 | 0
46 | 0.99831 | -0.032235 | 0 | 0
47 | 0.99611 | -0.074054 | 0.0038242 | 0.00095844
48 | 0.996 | -0.076289 | 0.0069926 | 0.0017525
49 | 0.99687 | -0.059785 | 0 | 0
50 | 1 | 0 | -0.54659 | -0.13828
51 | 0.98942 | -0.20229 | 0 | 0
52 | 0.98608 | -0.26676 | 0.016903 | 0.0042362
53 | 0.98935 | -0.20353 | 0.002898 | 0.0007263
54 | 0.99431 | -0.10838 | 0.0026848 | 0.00067286
55 | 0.99681 | -0.060931 | 0 | 0
56 | 0.99646 | -0.067628 | 0.022138 | 0.0055483
57 | 0.99631 | -0.070375 | 0.0088165 | 0.0022096
58 | 0.99911 | -0.017128 | 0 | 0
59 | 0.99855 | -0.027825 | 0 | 0
60 | 0.99846 | -0.029552 | 0.030743 | 0.0077049
61 | 0.99361 | -0.12178 | 0.0066506 | 0.0016668
62 | 0.99343 | -0.12566 | 0.010273 | 0.0025747
63 | 0.99556 | -0.084722 | 0.0071142 | 0.001783
64 | 0.99028 | -0.18623 | 0.0093881 | 0.0023529
65 | 0.99033 | -0.18526 | 0.0041057 | 0.001029
66 | 0.98984 | -0.19476 | 0.0051588 | 0.0012929
67 | 0.99057 | -0.18049 | 0.0043893 | 0.0011001
68 | 0.98965 | -0.19836 | 0 | 0
69 | 0.9895 | -0.20128 | 0.0085992 | 0.0021552
70 | 0.99782 | -0.041963 | 0.017135 | 0.0042943
71 | 0.99707 | -0.056251 | 0.095838 | 0.024019
72 | 0.99703 | -0.057146 | 0.0027928 | 0.00069995
73 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.013178 | -0.0033026 | 0.013183 | 0.0033054 | 5.0391e-06 | 2.7922e-06 | 0.019896 | 0.019895 | 0.019896 | 0.98561 | -0.27719 | 0.98602 | -0.26917 | 5.4658
1 | 0.0035475 | 0.00088893 | -0.0035473 | -0.00088904 | 2.1251e-07 | -1.1576e-07 | 0.0053558 | 0.0053559 | 0.0053559 | 0.98561 | -0.27719 | 0.98555 | -0.27845 | 1.4714
2 | -0.02427 | -0.0060841 | 0.024283 | 0.006092 | 1.2823e-05 | 7.8815e-06 | 0.036627 | 0.036627 | 0.036627 | 0.98602 | -0.26917 | 0.98659 | -0.25809 | 10.0624
3 | -0.024283 | -0.006092 | 0.024303 | 0.0061043 | 2.0146e-05 | 1.2381e-05 | 0.036627 | 0.036627 | 0.036627 | 0.98659 | -0.25809 | 0.98749 | -0.2407 | 10.0624
4 | -0.037888 | -0.0095091 | 0.037902 | 0.0095176 | 1.3542e-05 | 8.5249e-06 | 0.057098 | 0.057098 | 0.057098 | 0.98749 | -0.2407 | 0.98787 | -0.23321 | 15.6862
5 | -0.072142 | -0.01812 | 0.072176 | 0.018141 | 3.343e-05 | 2.1298e-05 | 0.10868 | 0.10868 | 0.10868 | 0.98787 | -0.23321 | 0.98837 | -0.2235 | 29.8574
6 | 0.034241 | 0.008602 | -0.0342 | -0.0085765 | 4.0758e-05 | 2.5563e-05 | 0.051583 | 0.051584 | 0.051584 | 0.98787 | -0.23321 | 0.98659 | -0.25818 | 14.1713
7 | -0.12422 | -0.031353 | 0.12427 | 0.031383 | 4.675e-05 | 2.9873e-05 | 0.18619 | 0.18619 | 0.18619 | 0.99319 | -0.13039 | 0.9936 | -0.12254 | 51.1521
8 | 0.12422 | 0.031353 | -0.1241 | -0.031275 | 0.00012198 | 7.7946e-05 | 0.18619 | 0.18619 | 0.18619 | 0.99319 | -0.13039 | 0.99212 | -0.15091 | 51.1521
9 | -0.15477 | -0.039031 | 0.15499 | 0.039171 | 0.00021886 | 0.00013951 | 0.23187 | 0.23187 | 0.23187 | 0.9936 | -0.12254 | 0.99513 | -0.093041 | 31.8508
10 | 0.030501 | 0.0076484 | -0.0305 | -0.0076476 | 1.2442e-06 | 7.7567e-07 | 0.04568 | 0.04568 | 0.04568 | 0.9936 | -0.12254 | 0.99355 | -0.12339 | 12.5494
11 | 0.10798 | 0.027235 | -0.10789 | -0.027176 | 9.2408e-05 | 5.902e-05 | 0.16201 | 0.16201 | 0.16201 | 0.99212 | -0.15091 | 0.9912 | -0.16881 | 44.5095
12 | 0.082322 | 0.020715 | -0.082241 | -0.020663 | 8.0884e-05 | 5.1585e-05 | 0.12383 | 0.12383 | 0.12383 | 0.98943 | -0.20292 | 0.98837 | -0.2235 | 34.0203
13 | -0.082322 | -0.020715 | 0.082414 | 0.020774 | 9.2079e-05 | 5.8725e-05 | 0.12383 | 0.12383 | 0.12383 | 0.98943 | -0.20292 | 0.99064 | -0.17954 | 34.0203
14 | -0.088066 | -0.02219 | 0.088111 | 0.022219 | 4.5235e-05 | 2.8862e-05 | 0.13232 | 0.13232 | 0.13232 | 0.99064 | -0.17954 | 0.9912 | -0.16881 | 36.3527
15 | 0.0342 | 0.0085765 | -0.034186 | -0.0085678 | 1.3805e-05 | 8.6586e-06 | 0.051584 | 0.051584 | 0.051584 | 0.98659 | -0.25818 | 0.98615 | -0.26665 | 14.1713
16 | -0.044259 | -0.011131 | 0.044356 | 0.011193 | 9.7254e-05 | 6.1521e-05 | 0.067311 | 0.067311 | 0.067311 | 0.97862 | -0.41192 | 0.98096 | -0.36603 | 18.492
17 | 0.044259 | 0.011131 | -0.044161 | -0.011069 | 9.7643e-05 | 6.1771e-05 | 0.067311 | 0.067311 | 0.067311 | 0.97862 | -0.41192 | 0.97626 | -0.45822 | 18.4921
18 | -0.044356 | -0.011193 | 0.044386 | 0.011212 | 3.0195e-05 | 1.91e-05 | 0.067311 | 0.06731 | 0.067311 | 0.98096 | -0.36603 | 0.98169 | -0.35182 | 18.4919
19 | 0.019162 | 0.0048042 | -0.019157 | -0.0048013 | 4.7384e-06 | 2.8474e-06 | 0.029208 | 0.029208 | 0.029208 | 0.97626 | -0.45822 | 0.97599 | -0.46341 | 8.0241
20 | -0.063254 | -0.01594 | 0.063348 | 0.016 | 9.427e-05 | 5.9987e-05 | 0.095909 | 0.095909 | 0.095909 | 0.98169 | -0.35182 | 0.98329 | -0.32072 | 26.3486
21 | -0.054658 | -0.013726 | 0.054699 | 0.013753 | 4.1047e-05 | 2.606e-05 | 0.082024 | 0.082024 | 0.082024 | 0.99168 | -0.15896 | 0.9925 | -0.14323 | 22.5342
22 | 0.054658 | 0.013726 | -0.054624 | -0.013705 | 3.4382e-05 | 2.1829e-05 | 0.082024 | 0.082024 | 0.082024 | 0.99168 | -0.15896 | 0.991 | -0.17215 | 22.5342
23 | -0.1519 | -0.038508 | 0.15205 | 0.038602 | 0.00014665 | 9.3463e-05 | 0.2279 | 0.2279 | 0.2279 | 0.9925 | -0.14323 | 0.99354 | -0.12317 | 31.3045
24 | 0.097202 | 0.024756 | -0.097154 | -0.024725 | 4.8677e-05 | 3.1074e-05 | 0.14587 | 0.14587 | 0.14587 | 0.9925 | -0.14323 | 0.99195 | -0.15362 | 40.0749
25 | 0.043491 | 0.010914 | -0.043483 | -0.010909 | 8.3453e-06 | 5.2738e-06 | 0.065308 | 0.065308 | 0.065308 | 0.991 | -0.17215 | 0.99079 | -0.17618 | 17.9418
26 | -0.063348 | -0.016 | 0.063428 | 0.016052 | 8.0312e-05 | 5.1104e-05 | 0.095909 | 0.095909 | 0.095909 | 0.98329 | -0.32072 | 0.98465 | -0.2943 | 26.3486
27 | -0.064906 | -0.016422 | 0.064944 | 0.016446 | 3.7812e-05 | 2.4067e-05 | 0.098142 | 0.098142 | 0.098142 | 0.98465 | -0.2943 | 0.98528 | -0.28217 | 26.9621
28 | -0.16161 | -0.040829 | 0.16167 | 0.04087 | 6.4475e-05 | 4.092e-05 | 0.24177 | 0.24177 | 0.24177 | 0.99513 | -0.093041 | 0.99556 | -0.084722 | 22.1399
29 | 0.020225 | 0.0050723 | -0.020223 | -0.0050707 | 2.7043e-06 | 1.629e-06 | 0.030292 | 0.030292 | 0.030292 | 0.99355 | -0.12339 | 0.99341 | -0.1262 | 8.322
30 | 0.010274 | 0.0025753 | -0.010273 | -0.0025747 | 1.1092e-06 | 5.4813e-07 | 0.015388 | 0.015388 | 0.015388 | 0.99355 | -0.12339 | 0.99343 | -0.12566 | 4.2274
31 | -0.0015756 | -0.00039488 | 0.0015756 | 0.0003948 | 1.5481e-08 | -8.3353e-08 | 0.002377 | 0.0023769 | 0.002377 | 0.98635 | -0.26146 | 0.98636 | -0.26126 | 0.65301
32 | -0.0015756 | -0.0003948 | 0.0015756 | 0.00039471 | 1.5879e-08 | -8.5503e-08 | 0.0023769 | 0.0023769 | 0.0023769 | 0.98636 | -0.26126 | 0.98637 | -0.26104 | 0.653
33 | -0.15629 | -0.039666 | 0.1563 | 0.039672 | 1.0395e-05 | 6.5941e-06 | 0.23425 | 0.23425 | 0.23425 | 0.99354 | -0.12317 | 0.99361 | -0.12178 | 21.4519
34 | 0.093501 | 0.023809 | -0.093282 | -0.023669 | 0.00021893 | 0.00013973 | 0.14039 | 0.14039 | 0.14039 | 0.99195 | -0.15362 | 0.98942 | -0.20229 | 38.5696
35 | 0.040456 | 0.010151 | -0.040448 | -0.010145 | 8.3254e-06 | 5.2508e-06 | 0.060763 | 0.060763 | 0.060763 | 0.99079 | -0.17618 | 0.99057 | -0.18049 | 16.6931
36 | 0.020223 | 0.0050707 | -0.020218 | -0.0050677 | 4.9793e-06 | 2.9995e-06 | 0.030292 | 0.030292 | 0.030292 | 0.99341 | -0.1262 | 0.99314 | -0.13137 | 8.322
37 | 0.012156 | 0.0030471 | -0.012153 | -0.0030459 | 2.3525e-06 | 1.2609e-06 | 0.018213 | 0.018213 | 0.018213 | 0.99314 | -0.13137 | 0.99293 | -0.13543 | 5.0035
38 | -0.085389 | -0.021598 | 0.08563 | 0.021752 | 0.00024142 | 0.00015401 | 0.12889 | 0.12889 | 0.12889 | 0.98637 | -0.26104 | 0.98942 | -0.20229 | 35.4082
39 | 0.083813 | 0.021203 | -0.08379 | -0.021188 | 2.2997e-05 | 1.4669e-05 | 0.12651 | 0.12651 | 0.12651 | 0.98637 | -0.26104 | 0.98608 | -0.26676 | 34.7552
40 | -0.0021102 | -0.00052888 | 0.0021102 | 0.00052885 | 9.0978e-09 | -2.5097e-08 | 0.0031741 | 0.0031741 | 0.0031741 | 0.98929 | -0.20483 | 0.98929 | -0.20474 | 0.872
41 | -0.0047529 | -0.0011912 | 0.0047531 | 0.0011911 | 2.7464e-07 | -8.241e-09 | 0.0071489 | 0.0071488 | 0.0071489 | 0.98929 | -0.20474 | 0.98935 | -0.20353 | 1.964
42 | -0.0061549 | -0.0015426 | 0.006155 | 0.0015426 | 7.4008e-08 | 1.7763e-08 | 0.0092549 | 0.0092549 | 0.0092549 | 0.98959 | -0.19955 | 0.9896 | -0.1993 | 2.5426
43 | -0.0087832 | -0.0022013 | 0.0087836 | 0.0022014 | 3.9308e-07 | 1.7435e-07 | 0.013207 | 0.013207 | 0.013207 | 0.9896 | -0.1993 | 0.98965 | -0.19836 | 3.6283
44 | -0.066838 | -0.016921 | 0.066888 | 0.016952 | 4.9474e-05 | 3.1498e-05 | 0.101 | 0.101 | 0.101 | 0.98528 | -0.28217 | 0.98608 | -0.26676 | 27.748
45 | 0.17693 | 0.045022 | -0.17685 | -0.044974 | 7.6107e-05 | 4.8368e-05 | 0.26439 | 0.26439 | 0.26439 | 0.99668 | -0.063288 | 0.99621 | -0.072217 | 24.2117
46 | -0.19696 | -0.050042 | 0.19718 | 0.050185 | 0.00022434 | 0.00014277 | 0.2943 | 0.2943 | 0.2943 | 0.99668 | -0.063288 | 0.99792 | -0.039659 | 26.9503
47 | 0.010819 | 0.0027115 | -0.010818 | -0.0027112 | 4.576e-07 | 2.3202e-07 | 0.016159 | 0.01616 | 0.01616 | 0.99621 | -0.072217 | 0.99616 | -0.073105 | 4.4394
48 | 0.16603 | 0.042262 | -0.16586 | -0.04215 | 0.00017703 | 0.0001124 | 0.24823 | 0.24823 | 0.24823 | 0.99621 | -0.072217 | 0.99505 | -0.094358 | 22.7319
49 | -0.19718 | -0.050185 | 0.19725 | 0.05023 | 7.06e-05 | 4.4928e-05 | 0.2943 | 0.2943 | 0.2943 | 0.99792 | -0.039659 | 0.99831 | -0.032235 | 26.9503
50 | 0.0038244 | 0.00095836 | -0.0038242 | -0.00095844 | 1.7303e-07 | -7.3323e-08 | 0.0057126 | 0.0057127 | 0.0057127 | 0.99616 | -0.073105 | 0.99611 | -0.074054 | 1.5694
51 | 0.0069937 | 0.0017529 | -0.0069926 | -0.0017525 | 1.061e-06 | 3.416e-07 | 0.010447 | 0.010447 | 0.010447 | 0.99616 | -0.073105 | 0.996 | -0.076289 | 2.8701
52 | 0.16586 | 0.04215 | -0.16574 | -0.042079 | 0.00011193 | 7.1067e-05 | 0.24823 | 0.24823 | 0.24823 | 0.99505 | -0.094358 | 0.99431 | -0.10838 | 22.7319
53 | 0.20022 | 0.050716 | -0.19996 | -0.050547 | 0.00026456 | 0.00016839 | 0.29863 | 0.29863 | 0.29863 | 0.99831 | -0.032235 | 0.99687 | -0.059785 | 27.3467
54 | -0.39747 | -0.10095 | 0.39809 | 0.10134 | 0.00061769 | 0.00039477 | 0.59292 | 0.59292 | 0.59292 | 0.99831 | -0.032235 | 1 | 0 | 54.297
55 | 0.17781 | 0.044994 | -0.17772 | -0.044937 | 9.0314e-05 | 5.74e-05 | 0.26557 | 0.26557 | 0.26557 | 0.99687 | -0.059785 | 0.99631 | -0.070375 | 24.3194
56 | 0.022146 | 0.0055533 | -0.022145 | -0.0055526 | 1.2094e-06 | 7.3555e-07 | 0.033059 | 0.033059 | 0.033059 | 0.99687 | -0.059785 | 0.99681 | -0.060931 | 9.0821
57 | 0.14685 | 0.036937 | -0.14673 | -0.03686 | 0.00012005 | 7.6478e-05 | 0.21856 | 0.21856 | 0.21856 | 1 | 0 | 0.99911 | -0.017128 | 30.0225
58 | 0.0076516 | 0.0019176 | -0.0076511 | -0.0019174 | 4.4915e-07 | 1.713e-07 | 0.011507 | 0.011507 | 0.011507 | 0.98942 | -0.20229 | 0.98935 | -0.20353 | 3.1614
59 | 0.16306 | 0.041406 | -0.16295 | -0.041339 | 0.00010508 | 6.6701e-05 | 0.24421 | 0.24421 | 0.24421 | 0.99431 | -0.10838 | 0.99361 | -0.12178 | 22.364
60 | 0.022145 | 0.0055526 | -0.022138 | -0.0055483 | 7.0648e-06 | 4.2968e-06 | 0.033059 | 0.033059 | 0.033059 | 0.99681 | -0.060931 | 0.99646 | -0.067628 | 9.0821
61 | 0.1689 | 0.042727 | -0.16879 | -0.042653 | 0.00011618 | 7.3789e-05 | 0.2524 | 0.2524 | 0.2524 | 0.99631 | -0.070375 | 0.99556 | -0.084722 | 23.1136
62 | 0.11597 | 0.029144 | -0.11583 | -0.029056 | 0.00013732 | 8.7723e-05 | 0.17275 | 0.17275 | 0.17275 | 0.99911 | -0.017128 | 0.99782 | -0.041963 | 47.4581
63 | 0.030761 | 0.0077162 | -0.030745 | -0.0077065 | 1.5677e-05 | 9.7729e-06 | 0.045816 | 0.045816 | 0.045816 | 0.99911 | -0.017128 | 0.99855 | -0.027825 | 12.5869
64 | 0.030745 | 0.0077065 | -0.030743 | -0.0077049 | 2.5306e-06 | 1.5775e-06 | 0.045816 | 0.045816 | 0.045816 | 0.99855 | -0.027825 | 0.99846 | -0.029552 | 12.5869
65 | -0.031943 | -0.0080103 | 0.031945 | 0.0080112 | 1.4785e-06 | 9.2422e-07 | 0.048 | 0.048 | 0.048 | 0.99028 | -0.18623 | 0.99033 | -0.18526 | 13.1869
66 | 0.022555 | 0.0056574 | -0.022546 | -0.0056518 | 9.1653e-06 | 5.5922e-06 | 0.033893 | 0.033894 | 0.033894 | 0.99028 | -0.18623 | 0.98984 | -0.19476 | 9.3114
67 | -0.03605 | -0.0090402 | 0.036058 | 0.0090453 | 8.1935e-06 | 5.148e-06 | 0.054169 | 0.054169 | 0.054169 | 0.99033 | -0.18526 | 0.99057 | -0.18049 | 14.8817
68 | 0.017387 | 0.0043589 | -0.017384 | -0.0043571 | 2.9837e-06 | 1.7599e-06 | 0.026138 | 0.026138 | 0.026138 | 0.98984 | -0.19476 | 0.98965 | -0.19836 | 7.1808
69 | 0.0086004 | 0.0021557 | -0.0085992 | -0.0021552 | 1.1953e-06 | 5.2013e-07 | 0.012931 | 0.012932 | 0.012932 | 0.98965 | -0.19836 | 0.9895 | -0.20128 | 3.5526
70 | 0.098698 | 0.024762 | -0.098631 | -0.024719 | 6.7184e-05 | 4.289e-05 | 0.1472 | 0.1472 | 0.1472 | 0.99782 | -0.041963 | 0.99707 | -0.056251 | 40.4382
71 | 0.0027929 | 0.00069978 | -0.0027928 | -0.00069995 | 1.1908e-07 | -1.6217e-07 | 0.0041681 | 0.0041681 | 0.0041681 | 0.99707 | -0.056251 | 0.99703 | -0.057146 | 1.1451

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.55714 | 0.14092

## res_load
| p_mw | q_mvar
0 | 0.0096306 | 0.0024137
1 | 0.011087 | 0.0027787
2 | 0.0035473 | 0.00088904
3 | 0.013585 | 0.0034047
4 | 0.016121 | 0.0040404
5 | 0.010065 | 0.0025225
6 | 0.0056522 | 0.0014166
7 | 0.034186 | 0.0085678
8 | 0.024999 | 0.0062653
9 | 0.018867 | 0.0047286
10 | 0.011133 | 0.0027902
11 | 0.001478 | 0.00037042
12 | 0.019778 | 0.0049567
13 | 0.0066169 | 0.0016583
14 | 0.0015756 | 0.00039488
15 | 0.019157 | 0.0048013
16 | 0.0042455 | 0.001064
17 | 0.003653 | 0.00091552
18 | 0.0030265 | 0.00075852
19 | 0.0080621 | 0.0020205
20 | 0.012153 | 0.0030459
21 | 0.0021102 | 0.00052888
22 | 0.0026426 | 0.0006623
23 | 0.0061549 | 0.0015426
24 | 0.0026282 | 0.0006587
25 | 0.0018942 | 0.00047473
26 | 0.020031 | 0.0050203
27 | 0.0038242 | 0.00095844
28 | 0.0069926 | 0.0017525
29 | 0.010543 | 0.0026424
30 | 0.016903 | 0.0042362
31 | 0.002898 | 0.0007263
32 | 0.0026848 | 0.00067286
33 | 0.022138 | 0.0055483
34 | 0.0088165 | 0.0022096
35 | 0.030743 | 0.0077049
36 | 0.0066506 | 0.0016668
37 | 0.010273 | 0.0025747
38 | 0.0071142 | 0.001783
39 | 0.0093881 | 0.0023529
40 | 0.0041057 | 0.001029
41 | 0.0051588 | 0.0012929
42 | 0.0043893 | 0.0011001
43 | 0.0085992 | 0.0021552
44 | 0.017135 | 0.0042943
45 | 0.095838 | 0.024019
46 | 0.0027928 | 0.00069995

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1