## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1372-46_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1372-46_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1372-46_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1372-46_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1372-46_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1372-46_0_3_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_1372-46_0_3_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_1372-46_0_3_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_1372-46_0_3_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_1372-46_0_3_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_1372-46_0_3_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_1372-46_0_3_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_1372-46_0_3_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_1372-46_0_3_node_32 | 0.4 | n |  | TRUE
14 | bus_LV_1372-46_0_3_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_1372-46_0_3_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_1372-46_0_3_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_1372-46_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1372-46_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1372-46_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1372-46_0_3_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_1372-46_0_3_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_1372-46_0_3_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_1372-46_0_3_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_1372-46_0_3_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_1372-46_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_1372-46_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1372-46_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_1372-46_0_3_node_20 | 0.4 | n |  | TRUE
29 | bus_MV_22_1_node_114 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1372-46_0_3_load_0 | 0 | 0.0061972 | 0.0015532 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1372-46_0_3_load_1 | 1 | 0.0050366 | 0.0012623 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1372-46_0_3_load_2 | 2 | 0.0035491 | 0.00088949 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1372-46_0_3_load_3 | 3 | 0.0026654 | 0.00066802 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1372-46_0_3_load_26 | 7 | 0.013399 | 0.0033582 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1372-46_0_3_load_13 | 8 | 0.017503 | 0.0043868 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1372-46_0_3_load_33 | 10 | 0.0044281 | 0.0011098 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1372-46_0_3_load_31 | 12 | 0.063599 | 0.015939 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1372-46_0_3_load_32 | 13 | 0.0038104 | 0.00095497 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1372-46_0_3_load_19 | 14 | 0.0045487 | 0.00114 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1372-46_0_3_load_21 | 15 | 0.021056 | 0.0052772 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1372-46_0_3_load_22 | 16 | 0.016289 | 0.0040823 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1372-46_0_3_load_11 | 17 | 0.01443 | 0.0036166 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1372-46_0_3_load_12 | 18 | 0.007964 | 0.001996 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1372-46_0_3_load_28 | 21 | 0.021807 | 0.0054653 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1372-46_0_3_load_30 | 22 | 0.036452 | 0.0091358 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1372-46_0_3_load_23 | 23 | 0.0080896 | 0.0020274 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1372-46_0_3_load_27 | 24 | 0.03603 | 0.0090301 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1372-46_0_3_load_16 | 25 | 0.01239 | 0.0031052 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1372-46_0_3_load_17 | 26 | 0.013483 | 0.0033793 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1372-46_0_3_load_18 | 27 | 0.043181 | 0.010822 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1372-46_0_3_load_20 | 28 | 0.006937 | 0.0017386 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1372-46_0_3_line_0 |  | 0 | 1 | 0.022445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1372-46_0_3_line_1 |  | 0 | 2 | 0.020779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1372-46_0_3_line_2 |  | 1 | 3 | 0.017122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1372-46_0_3_line_3 |  | 3 | 4 | 0.016514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1372-46_0_3_line_4 |  | 4 | 5 | 0.026376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1372-46_0_3_line_5 |  | 5 | 8 | 0.01832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1372-46_0_3_line_6 |  | 5 | 6 | 0.012154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1372-46_0_3_line_7 |  | 6 | 7 | 0.02131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1372-46_0_3_line_8 |  | 8 | 17 | 0.022081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1372-46_0_3_line_9 |  | 9 | 10 | 0.023482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1372-46_0_3_line_10 |  | 9 | 11 | 0.022758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1372-46_0_3_line_11 |  | 11 | 12 | 0.016557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1372-46_0_3_line_12 |  | 12 | 22 | 0.043427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1372-46_0_3_line_13 |  | 13 | 14 | 0.024467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1372-46_0_3_line_14 |  | 14 | 26 | 0.012861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1372-46_0_3_line_15 |  | 15 | 16 | 0.021165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1372-46_0_3_line_16 |  | 16 | 23 | 0.0091318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1372-46_0_3_line_17 |  | 17 | 18 | 0.0011716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1372-46_0_3_line_18 |  | 18 | 19 | 0.010053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1372-46_0_3_line_19 |  | 19 | 20 | 0.015056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_1372-46_0_3_line_20 |  | 19 | 21 | 0.024406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_1372-46_0_3_line_21 |  | 20 | 22 | 0.046264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1372-46_0_3_line_22 |  | 20 | 23 | 0.042029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1372-46_0_3_line_23 |  | 21 | 24 | 0.007063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1372-46_0_3_line_24 |  | 24 | 28 | 0.023475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1372-46_0_3_line_25 |  | 25 | 26 | 0.01486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1372-46_0_3_line_26 |  | 25 | 27 | 0.020526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1372-46_0_3_line_27 |  | 27 | 28 | 0.00035496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1372-46_0_3_trafo_28 | 0.63 MVA 20/0.4 kV | 29 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2692185.2579 | 1208679.2457 | 2692203.9251 | 1208666.7831
1 | 2692185.2579 | 1208679.2457 | 2692167.9766 | 1208690.783
2 | 2692203.9251 | 1208666.7831 | 2692218.1653 | 1208657.2761
3 | 2692232.0728 | 1208648.4209 | 2692230.1742 | 1208649.2588 | 2692218.1653 | 1208657.2761
4 | 2692256.2644 | 1208637.7543 | 2692232.0728 | 1208648.4209
5 | 2692256.2644 | 1208637.7543 | 2692263.6982 | 1208654.4983
6 | 2692256.2644 | 1208637.7543 | 2692252.2066 | 1208626.295
7 | 2692252.2066 | 1208626.295 | 2692259.6911 | 1208624.1537 | 2692266.2946 | 1208621.454 | 2692268.382 | 1208618.7289 | 2692270.9148 | 1208617.2003
8 | 2692263.6982 | 1208654.4983 | 2692272.6579 | 1208674.6793
9 | 2692285.0848 | 1208804.1223 | 2692306.6484 | 1208794.8267
10 | 2692271.3487 | 1208793.614 | 2692275.0667 | 1208794.1052 | 2692273.8346 | 1208801.5022 | 2692285.0848 | 1208804.1223
11 | 2692271.3487 | 1208793.614 | 2692272.338 | 1208789.1374 | 2692276.4831 | 1208777.9052
12 | 2692286.1604 | 1208735.7853 | 2692284.9464 | 1208746.7262 | 2692281.742 | 1208763.6547 | 2692276.4831 | 1208777.9052
13 | 2692168.3329 | 1208748.8903 | 2692186.4233 | 1208732.4162
14 | 2692196.8428 | 1208724.8981 | 2692187.6117 | 1208731.334 | 2692186.4233 | 1208732.4162
15 | 2692341.6909 | 1208638.0978 | 2692335.7256 | 1208643.2867 | 2692326.164 | 1208652.4726
16 | 2692319.5788 | 1208658.7991 | 2692326.164 | 1208652.4726
17 | 2692273.1333 | 1208675.7502 | 2692272.6579 | 1208674.6793
18 | 2692277.8176 | 1208684.6077 | 2692275.4999 | 1208681.0806 | 2692273.1333 | 1208675.7502
19 | 2692277.8176 | 1208684.6077 | 2692284.0232 | 1208687.4723 | 2692291.9158 | 1208689.907
20 | 2692277.8176 | 1208684.6077 | 2692261.9464 | 1208690.6998 | 2692255.2847 | 1208693.9353
21 | 2692291.9158 | 1208689.907 | 2692290.4773 | 1208696.8783 | 2692286.1604 | 1208735.7853
22 | 2692291.9158 | 1208689.907 | 2692293.4234 | 1208685.8387 | 2692297.2132 | 1208680.705 | 2692304.745 | 1208673.0497 | 2692306.1805 | 1208671.671 | 2692319.5788 | 1208658.7991
23 | 2692255.2847 | 1208693.9353 | 2692248.9314 | 1208697.021
24 | 2692227.8157 | 1208707.2767 | 2692248.9314 | 1208697.021
25 | 2692196.8428 | 1208724.8981 | 2692209.0329 | 1208716.3993 | 2692209.0329 | 1208716.3993
26 | 2692227.4964 | 1208707.4318 | 2692209.0329 | 1208716.3993
27 | 2692227.4964 | 1208707.4318 | 2692227.8157 | 1208707.2767

## bus_geodata
| x | y | coords
0 | 2692185.2579 | 1208679.2457
1 | 2692203.9251 | 1208666.7831
2 | 2692167.9766 | 1208690.783
3 | 2692218.1653 | 1208657.2761
4 | 2692232.0728 | 1208648.4209
5 | 2692256.2644 | 1208637.7543
6 | 2692252.2066 | 1208626.295
7 | 2692270.9148 | 1208617.2003
8 | 2692263.6982 | 1208654.4983
9 | 2692285.0848 | 1208804.1223
10 | 2692306.6484 | 1208794.8267
11 | 2692271.3487 | 1208793.614
12 | 2692276.4831 | 1208777.9052
13 | 2692168.3329 | 1208748.8903
14 | 2692186.4233 | 1208732.4162
15 | 2692341.6909 | 1208638.0978
16 | 2692326.1641 | 1208652.4726
17 | 2692272.6579 | 1208674.6793
18 | 2692273.1333 | 1208675.7502
19 | 2692277.8176 | 1208684.6077
20 | 2692291.9158 | 1208689.907
21 | 2692255.2847 | 1208693.9353
22 | 2692286.1604 | 1208735.7853
23 | 2692319.5788 | 1208658.7991
24 | 2692248.9314 | 1208697.021
25 | 2692209.0329 | 1208716.3993
26 | 2692196.8428 | 1208724.8981
27 | 2692227.4964 | 1208707.4318
28 | 2692227.8157 | 1208707.2767
29 | 2692277.8176 | 1208684.6077

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99422 | -0.11099 | 0.0061972 | 0.0015532
1 | 0.99442 | -0.10713 | 0.0050366 | 0.0012623
2 | 0.99416 | -0.11229 | 0.0035491 | 0.00088949
3 | 0.99465 | -0.10267 | 0.0026654 | 0.00066802
4 | 0.99492 | -0.097594 | 0 | 0
5 | 0.99534 | -0.089493 | 0 | 0
6 | 0.99519 | -0.092359 | 0 | 0
7 | 0.99493 | -0.097385 | 0.013399 | 0.0033582
8 | 0.99585 | -0.079554 | 0.017503 | 0.0043868
9 | 0.98921 | -0.20762 | 0 | 0
10 | 0.98912 | -0.20947 | 0.0044281 | 0.0011098
11 | 0.98931 | -0.20583 | 0 | 0
12 | 0.98937 | -0.20452 | 0.063599 | 0.015939
13 | 0.99628 | -0.071482 | 0.0038104 | 0.00095497
14 | 0.99637 | -0.069844 | 0.0045487 | 0.00114
15 | 0.99405 | -0.11428 | 0.021056 | 0.0052772
16 | 0.99445 | -0.10642 | 0.016289 | 0.0040823
17 | 0.99683 | -0.060807 | 0.01443 | 0.0036166
18 | 0.99689 | -0.059517 | 0.007964 | 0.001996
19 | 0.99754 | -0.047051 | 0 | 0
20 | 0.99651 | -0.06684 | 0 | 0
21 | 1 | 0 | -0.3444 | -0.086561
22 | 0.99208 | -0.15206 | 0.036452 | 0.0091358
23 | 0.99477 | -0.10042 | 0.0080896 | 0.0020274
24 | 0.99923 | -0.014831 | 0.03603 | 0.0090301
25 | 0.99676 | -0.062261 | 0.01239 | 0.0031052
26 | 0.99647 | -0.067957 | 0.013483 | 0.0033793
27 | 0.9974 | -0.049941 | 0.043181 | 0.010822
28 | 0.99743 | -0.04946 | 0.006937 | 0.0017386
29 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0097465 | -0.0024425 | 0.0097483 | 0.0024434 | 1.791e-06 | 8.5509e-07 | 0.014587 | 0.014587 | 0.014587 | 0.99422 | -0.11099 | 0.99442 | -0.10713 | 4.0074
1 | 0.0035493 | 0.00088936 | -0.0035491 | -0.00088949 | 2.1988e-07 | -1.2872e-07 | 0.0053121 | 0.0053122 | 0.0053122 | 0.99422 | -0.11099 | 0.99416 | -0.11229 | 1.4594
2 | -0.014785 | -0.0037056 | 0.014788 | 0.0037074 | 3.1426e-06 | 1.7891e-06 | 0.022124 | 0.022123 | 0.022124 | 0.99442 | -0.10713 | 0.99465 | -0.10267 | 6.0779
3 | -0.017453 | -0.0043755 | 0.017458 | 0.0043779 | 4.2222e-06 | 2.4878e-06 | 0.026111 | 0.026111 | 0.026111 | 0.99465 | -0.10267 | 0.99492 | -0.097594 | 7.1733
4 | -0.017458 | -0.0043779 | 0.017464 | 0.0043819 | 6.7434e-06 | 3.9731e-06 | 0.026111 | 0.026111 | 0.026111 | 0.99492 | -0.097594 | 0.99534 | -0.089493 | 7.1733
5 | -0.030869 | -0.0077429 | 0.030883 | 0.007752 | 1.4632e-05 | 9.1263e-06 | 0.04615 | 0.04615 | 0.04615 | 0.99534 | -0.089493 | 0.99585 | -0.079554 | 12.6787
6 | 0.013404 | 0.0033609 | -0.013402 | -0.0033599 | 1.8303e-06 | 1.0135e-06 | 0.02004 | 0.02004 | 0.02004 | 0.99534 | -0.089493 | 0.99519 | -0.092359 | 5.5054
7 | 0.013402 | 0.0033599 | -0.013399 | -0.0033582 | 3.2092e-06 | 1.7771e-06 | 0.02004 | 0.02004 | 0.02004 | 0.99519 | -0.092359 | 0.99493 | -0.097385 | 5.5054
8 | -0.048387 | -0.012139 | 0.04843 | 0.012166 | 4.3288e-05 | 2.7417e-05 | 0.072304 | 0.072304 | 0.072304 | 0.99585 | -0.079554 | 0.99683 | -0.060807 | 19.8638
9 | 0.0044285 | 0.0011097 | -0.0044281 | -0.0011098 | 3.9076e-07 | -5.1342e-08 | 0.0066614 | 0.0066615 | 0.0066615 | 0.98921 | -0.20762 | 0.98912 | -0.20947 | 1.8301
10 | -0.0044285 | -0.0011097 | 0.0044288 | 0.0011097 | 3.787e-07 | -4.9823e-08 | 0.0066614 | 0.0066613 | 0.0066614 | 0.98921 | -0.20762 | 0.98931 | -0.20583 | 1.8301
11 | -0.0044288 | -0.0011097 | 0.0044291 | 0.0011096 | 2.7551e-07 | -3.6287e-08 | 0.0066613 | 0.0066612 | 0.0066613 | 0.98931 | -0.20583 | 0.98937 | -0.20452 | 1.83
12 | -0.068028 | -0.017049 | 0.068198 | 0.017157 | 0.00017047 | 0.00010854 | 0.10231 | 0.10231 | 0.10231 | 0.98937 | -0.20452 | 0.99208 | -0.15206 | 28.1081
13 | -0.0038104 | -0.00095497 | 0.0038107 | 0.00095484 | 2.9716e-07 | -1.2846e-07 | 0.005691 | 0.0056909 | 0.005691 | 0.99628 | -0.071482 | 0.99637 | -0.069844 | 1.5635
14 | -0.0083594 | -0.0020949 | 0.0083601 | 0.0020952 | 7.5163e-07 | 3.1353e-07 | 0.012484 | 0.012484 | 0.012484 | 0.99637 | -0.069844 | 0.99647 | -0.067957 | 3.4297
15 | -0.021056 | -0.0052772 | 0.021064 | 0.0052819 | 7.8853e-06 | 4.7721e-06 | 0.031519 | 0.031519 | 0.031519 | 0.99405 | -0.11428 | 0.99445 | -0.10642 | 8.6592
16 | -0.037353 | -0.0093643 | 0.037363 | 0.009371 | 1.0698e-05 | 6.728e-06 | 0.055892 | 0.055892 | 0.055892 | 0.99445 | -0.10642 | 0.99477 | -0.10042 | 15.3551
17 | -0.06286 | -0.015783 | 0.062864 | 0.015785 | 3.8695e-06 | 2.4612e-06 | 0.093845 | 0.093845 | 0.093845 | 0.99683 | -0.060807 | 0.99689 | -0.059517 | 25.7817
18 | -0.070828 | -0.017781 | 0.07087 | 0.017808 | 4.2143e-05 | 2.6841e-05 | 0.10573 | 0.10573 | 0.10573 | 0.99689 | -0.059517 | 0.99754 | -0.047051 | 29.0474
19 | 0.15075 | 0.038102 | -0.1506 | -0.038011 | 0.00014289 | 9.1056e-05 | 0.22498 | 0.22498 | 0.22498 | 0.99754 | -0.047051 | 0.99651 | -0.06684 | 30.9039
20 | -0.22162 | -0.05591 | 0.22212 | 0.05623 | 0.0005005 | 0.00031968 | 0.33071 | 0.33071 | 0.33071 | 0.99754 | -0.047051 | 1 | 0 | 45.4276
21 | 0.10508 | 0.026566 | -0.10465 | -0.026293 | 0.00042757 | 0.00027304 | 0.15699 | 0.15699 | 0.15699 | 0.99651 | -0.06684 | 0.99208 | -0.15206 | 43.1284
22 | 0.045526 | 0.011445 | -0.045453 | -0.011398 | 7.2863e-05 | 4.6086e-05 | 0.067993 | 0.067993 | 0.067993 | 0.99651 | -0.06684 | 0.99477 | -0.10042 | 18.6794
23 | 0.12063 | 0.030331 | -0.12055 | -0.030277 | 8.5378e-05 | 5.4549e-05 | 0.17954 | 0.17954 | 0.17954 | 1 | 0 | 0.99923 | -0.014831 | 49.3244
24 | 0.084519 | 0.021247 | -0.08438 | -0.021158 | 0.0001395 | 8.8974e-05 | 0.12589 | 0.12589 | 0.12589 | 0.99923 | -0.014831 | 0.99743 | -0.04946 | 34.584
25 | 0.021849 | 0.005478 | -0.021844 | -0.0054744 | 5.9291e-06 | 3.601e-06 | 0.032619 | 0.032619 | 0.032619 | 0.99676 | -0.062261 | 0.99647 | -0.067957 | 8.9612
26 | -0.034239 | -0.0085833 | 0.03426 | 0.0085959 | 2.0111e-05 | 1.2603e-05 | 0.051115 | 0.051115 | 0.051115 | 0.99676 | -0.062261 | 0.9974 | -0.049941 | 14.0426
27 | -0.077441 | -0.019418 | 0.077443 | 0.019419 | 1.7768e-06 | 1.1325e-06 | 0.11554 | 0.11554 | 0.11554 | 0.9974 | -0.049941 | 0.99743 | -0.04946 | 31.7409

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36621 | 0.092026

## res_load
| p_mw | q_mvar
0 | 0.0061972 | 0.0015532
1 | 0.0050366 | 0.0012623
2 | 0.0035491 | 0.00088949
3 | 0.0026654 | 0.00066802
4 | 0.013399 | 0.0033582
5 | 0.017503 | 0.0043868
6 | 0.0044281 | 0.0011098
7 | 0.063599 | 0.015939
8 | 0.0038104 | 0.00095497
9 | 0.0045487 | 0.00114
10 | 0.021056 | 0.0052772
11 | 0.016289 | 0.0040823
12 | 0.01443 | 0.0036166
13 | 0.007964 | 0.001996
14 | 0.021807 | 0.0054653
15 | 0.036452 | 0.0091358
16 | 0.0080896 | 0.0020274
17 | 0.03603 | 0.0090301
18 | 0.01239 | 0.0031052
19 | 0.013483 | 0.0033793
20 | 0.043181 | 0.010822
21 | 0.006937 | 0.0017386

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1