## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1372-52_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1372-52_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1372-52_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1372-52_0_5_node_71 | 0.4 | n |  | TRUE
4 | bus_LV_1372-52_0_5_node_37 | 0.4 | n |  | TRUE
5 | bus_LV_1372-52_0_5_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1372-52_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1372-52_0_5_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1372-52_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1372-52_0_5_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_1372-52_0_5_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_1372-52_0_5_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_1372-52_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1372-52_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1372-52_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1372-52_0_5_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1372-52_0_5_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1372-52_0_5_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_1372-52_0_5_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_1372-52_0_5_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_1372-52_0_5_node_39 | 0.4 | n |  | TRUE
21 | bus_LV_1372-52_0_5_node_53 | 0.4 | n |  | TRUE
22 | bus_LV_1372-52_0_5_node_52 | 0.4 | n |  | TRUE
23 | bus_LV_1372-52_0_5_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1372-52_0_5_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_1372-52_0_5_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_1372-52_0_5_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_1372-52_0_5_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1372-52_0_5_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_1372-52_0_5_node_70 | 0.4 | n |  | TRUE
30 | bus_LV_1372-52_0_5_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1372-52_0_5_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_1372-52_0_5_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_1372-52_0_5_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_1372-52_0_5_node_69 | 0.4 | n |  | TRUE
35 | bus_LV_1372-52_0_5_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_1372-52_0_5_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_1372-52_0_5_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_1372-52_0_5_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_1372-52_0_5_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_1372-52_0_5_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_1372-52_0_5_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_1372-52_0_5_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_1372-52_0_5_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_1372-52_0_5_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_1372-52_0_5_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_1372-52_0_5_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_1372-52_0_5_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_1372-52_0_5_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_1372-52_0_5_node_64 | 0.4 | n |  | TRUE
50 | bus_LV_1372-52_0_5_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_1372-52_0_5_node_66 | 0.4 | n |  | TRUE
52 | bus_LV_1372-52_0_5_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_1372-52_0_5_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_1372-52_0_5_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_1372-52_0_5_node_65 | 0.4 | n |  | TRUE
56 | bus_LV_1372-52_0_5_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_1372-52_0_5_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_1372-52_0_5_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_1372-52_0_5_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_1372-52_0_5_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_1372-52_0_5_node_61 | 0.4 | n |  | TRUE
62 | bus_LV_1372-52_0_5_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_1372-52_0_5_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_1372-52_0_5_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_1372-52_0_5_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_1372-52_0_5_node_67 | 0.4 | n |  | TRUE
67 | bus_MV_22_1_node_120 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1372-52_0_5_load_0 | 0 | 0.032838 | 0.00823 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1372-52_0_5_load_1 | 1 | 0.0024491 | 0.00061381 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1372-52_0_5_load_2 | 2 | 0.0084154 | 0.0021091 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1372-52_0_5_load_71 | 3 | 0.040276 | 0.010094 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1372-52_0_5_load_37 | 4 | 0.0057966 | 0.0014528 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1372-52_0_5_load_3 | 5 | 0.002379 | 0.00059625 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1372-52_0_5_load_4 | 6 | 0.0020649 | 0.00051751 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1372-52_0_5_load_6 | 7 | 0.0022889 | 0.00057366 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1372-52_0_5_load_7 | 8 | 0.055191 | 0.013832 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1372-52_0_5_load_8 | 12 | 0.0066805 | 0.0016743 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1372-52_0_5_load_9 | 13 | 0.0033083 | 0.00082913 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1372-52_0_5_load_12 | 16 | 0.0025802 | 0.00064666 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1372-52_0_5_load_42 | 17 | 0.003759 | 0.00094211 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1372-52_0_5_load_38 | 18 | 0.0037885 | 0.0009495 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1372-52_0_5_load_41 | 19 | 0.0039907 | 0.0010002 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1372-52_0_5_load_39 | 20 | 0.0029952 | 0.00075068 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1372-52_0_5_load_53 | 21 | 0.0028782 | 0.00072135 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1372-52_0_5_load_52 | 22 | 0.0027065 | 0.00067832 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1372-52_0_5_load_14 | 23 | 0.016508 | 0.0041373 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1372-52_0_5_load_18 | 24 | 0.0042865 | 0.0010743 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1372-52_0_5_load_20 | 27 | 0.00092739 | 0.00023243 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1372-52_0_5_load_43 | 28 | 0.010691 | 0.0026794 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1372-52_0_5_load_70 | 29 | 0.0013594 | 0.0003407 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1372-52_0_5_load_21 | 30 | 0.00046252 | 0.00011592 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1372-52_0_5_load_36 | 31 | 0.0005963 | 0.00014945 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1372-52_0_5_load_44 | 33 | 0.0057537 | 0.001442 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1372-52_0_5_load_69 | 34 | 0.0041368 | 0.0010368 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1372-52_0_5_load_24 | 35 | 0.018192 | 0.0045594 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1372-52_0_5_load_25 | 36 | 0.00034939 | 8.7566e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1372-52_0_5_load_26 | 37 | 0.076844 | 0.019259 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1372-52_0_5_load_30 | 38 | 0.025064 | 0.0062816 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1372-52_0_5_load_32 | 39 | 0.026603 | 0.0066674 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1372-52_0_5_load_28 | 40 | 0.013257 | 0.0033225 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1372-52_0_5_load_27 | 41 | 0.0013992 | 0.00035067 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1372-52_0_5_load_29 | 42 | 0.00045959 | 0.00011518 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1372-52_0_5_load_35 | 44 | 0.0010095 | 0.000253 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1372-52_0_5_load_33 | 45 | 0.017627 | 0.0044177 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1372-52_0_5_load_48 | 47 | 0.0013776 | 0.00034525 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1372-52_0_5_load_45 | 48 | 0.0019918 | 0.00049918 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1372-52_0_5_load_46 | 50 | 0.0007831 | 0.00019626 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1372-52_0_5_load_66 | 51 | 0.00085807 | 0.00021505 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1372-52_0_5_load_47 | 52 | 0.0028502 | 0.00071433 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1372-52_0_5_load_49 | 53 | 0.0011651 | 0.000292 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1372-52_0_5_load_50 | 54 | 0.0016225 | 0.00040664 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1372-52_0_5_load_51 | 56 | 0.0025577 | 0.00064103 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1372-52_0_5_load_54 | 57 | 0.019877 | 0.0049817 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1372-52_0_5_load_55 | 58 | 0.0063848 | 0.0016002 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1372-52_0_5_load_56 | 59 | 0.0024308 | 0.00060922 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1372-52_0_5_load_58 | 60 | 0.0022506 | 0.00056406 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1372-52_0_5_load_61 | 61 | 0.0041795 | 0.0010475 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1372-52_0_5_load_59 | 62 | 0.0046217 | 0.0011583 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1372-52_0_5_load_60 | 63 | 0.0017415 | 0.00043646 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1372-52_0_5_load_62 | 64 | 0.020231 | 0.0050704 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1372-52_0_5_load_63 | 65 | 0.0022167 | 0.00055557 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1372-52_0_5_load_67 | 66 | 0.0027486 | 0.00068887 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1372-52_0_5_line_0 |  | 0 | 1 | 0.0052338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1372-52_0_5_line_1 |  | 1 | 2 | 0.01697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1372-52_0_5_line_2 |  | 2 | 3 | 0.021515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1372-52_0_5_line_3 |  | 3 | 4 | 0.0031585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1372-52_0_5_line_4 |  | 4 | 44 | 0.019492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1372-52_0_5_line_5 |  | 5 | 6 | 0.0012485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1372-52_0_5_line_6 |  | 6 | 7 | 0.05409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1372-52_0_5_line_7 |  | 7 | 8 | 0.024833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1372-52_0_5_line_8 |  | 8 | 9 | 0.012672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1372-52_0_5_line_9 |  | 9 | 10 | 0.032995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1372-52_0_5_line_10 |  | 9 | 11 | 0.015303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1372-52_0_5_line_11 |  | 10 | 31 | 0.0030653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_1372-52_0_5_line_12 |  | 10 | 30 | 0.016756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_1372-52_0_5_line_13 |  | 11 | 24 | 0.064845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1372-52_0_5_line_14 |  | 11 | 23 | 0.030961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1372-52_0_5_line_15 |  | 12 | 13 | 0.016679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_1372-52_0_5_line_16 |  | 12 | 14 | 0.01576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1372-52_0_5_line_17 |  | 13 | 15 | 0.011959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_1372-52_0_5_line_18 |  | 14 | 16 | 0.018463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1372-52_0_5_line_19 |  | 15 | 17 | 0.0040385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_1372-52_0_5_line_20 |  | 16 | 18 | 0.0067053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1372-52_0_5_line_21 |  | 17 | 19 | 0.020001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_1372-52_0_5_line_22 |  | 18 | 20 | 0.019537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1372-52_0_5_line_23 |  | 19 | 28 | 0.011852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_1372-52_0_5_line_24 |  | 20 | 46 | 0.011498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1372-52_0_5_line_25 |  | 21 | 22 | 0.0083641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1372-52_0_5_line_26 |  | 22 | 56 | 0.00045828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1372-52_0_5_line_27 |  | 25 | 26 | 0.089417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_1372-52_0_5_line_28 |  | 25 | 27 | 0.062056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_1372-52_0_5_line_29 |  | 26 | 28 | 0.017323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_1372-52_0_5_line_30 |  | 26 | 29 | 0.046523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1372-52_0_5_line_31 |  | 27 | 30 | 0.019649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_1372-52_0_5_line_32 |  | 28 | 33 | 0.037296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1372-52_0_5_line_33 |  | 29 | 34 | 0.021151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1372-52_0_5_line_34 |  | 31 | 32 | 0.015791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_1372-52_0_5_line_35 |  | 32 | 43 | 0.031495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_1372-52_0_5_line_36 |  | 35 | 36 | 0.023316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1372-52_0_5_line_37 |  | 36 | 37 | 0.031594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_1372-52_0_5_line_38 |  | 37 | 38 | 0.0023946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_1372-52_0_5_line_39 |  | 38 | 39 | 0.0071254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1372-52_0_5_line_40 |  | 38 | 40 | 0.025358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_1372-52_0_5_line_41 |  | 39 | 44 | 0.021383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1372-52_0_5_line_42 |  | 40 | 41 | 0.029212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_1372-52_0_5_line_43 |  | 41 | 42 | 0.014966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_1372-52_0_5_line_44 |  | 42 | 43 | 0.011265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_1372-52_0_5_line_45 |  | 44 | 45 | 0.016606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1372-52_0_5_line_46 |  | 46 | 47 | 0.015791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1372-52_0_5_line_47 |  | 46 | 48 | 0.0033266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1372-52_0_5_line_48 |  | 47 | 49 | 0.0072383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1372-52_0_5_line_49 |  | 48 | 50 | 0.0022023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1372-52_0_5_line_50 |  | 49 | 55 | 0.005799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1372-52_0_5_line_51 |  | 49 | 51 | 0.012233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1372-52_0_5_line_52 |  | 50 | 52 | 0.0054912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1372-52_0_5_line_53 |  | 52 | 53 | 0.002956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1372-52_0_5_line_54 |  | 53 | 54 | 0.01059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1372-52_0_5_line_55 |  | 54 | 56 | 0.00083055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1372-52_0_5_line_56 |  | 55 | 66 | 0.026239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1372-52_0_5_line_57 |  | 55 | 65 | 0.012343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1372-52_0_5_line_58 |  | 57 | 58 | 0.0049663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1372-52_0_5_line_59 |  | 57 | 59 | 0.0121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1372-52_0_5_line_60 |  | 59 | 60 | 0.013543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1372-52_0_5_line_61 |  | 60 | 61 | 0.00010355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1372-52_0_5_line_62 |  | 61 | 62 | 0.0054113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1372-52_0_5_line_63 |  | 62 | 63 | 0.017233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1372-52_0_5_line_64 |  | 63 | 64 | 0.0051771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1372-52_0_5_line_65 |  | 64 | 65 | 0.0079431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1372-52_0_5_trafo_25 | 0.63 MVA 20/0.4 kV | 67 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2692693.9522 | 1208102.759 | 2692693.7977 | 1208107.9906
1 | 2692693.4294 | 1208124.9555 | 2692693.4545 | 1208122.8829 | 2692693.5136 | 1208117.6136 | 2692693.7977 | 1208107.9906
2 | 2692693.4294 | 1208124.9555 | 2692693.3735 | 1208129.5639 | 2692693.2246 | 1208146.4691
3 | 2692693.1968 | 1208149.6275 | 2692693.2246 | 1208146.4691
4 | 2692693.025 | 1208169.1183 | 2692693.1968 | 1208149.6275
5 | 2692752.4308 | 1208149.7256 | 2692751.9247 | 1208150.8669
6 | 2692751.9247 | 1208150.8669 | 2692741.0849 | 1208175.3134 | 2692729.5408 | 1208200.1054
7 | 2692719.0584 | 1208222.6173 | 2692729.5408 | 1208200.1054
8 | 2692713.7092 | 1208234.1052 | 2692719.0584 | 1208222.6173
9 | 2692693.5455 | 1208259.4313 | 2692703.4812 | 1208251.2801 | 2692708.5614 | 1208245.355 | 2692713.7092 | 1208234.1052
10 | 2692727.804 | 1208240.1616 | 2692720.7565 | 1208237.139 | 2692713.7092 | 1208234.1052
11 | 2692693.5455 | 1208259.4313 | 2692693.4398 | 1208256.3678
12 | 2692693.5455 | 1208259.4313 | 2692693.4859 | 1208270.1153 | 2692693.7369 | 1208276.1819
13 | 2692727.804 | 1208240.1616 | 2692733.4723 | 1208221.8485 | 2692752.2326 | 1208180.1898
14 | 2692727.804 | 1208240.1616 | 2692726.9458 | 1208271.1102
15 | 2692553.0051 | 1208332.4814 | 2692546.4035 | 1208331.4074 | 2692536.5525 | 1208329.7447
16 | 2692521.0458 | 1208326.9335 | 2692530.227 | 1208328.677 | 2692536.5525 | 1208329.7447
17 | 2692563.5043 | 1208337.788 | 2692556.074 | 1208332.9806 | 2692553.0051 | 1208332.4814
18 | 2692521.0458 | 1208326.9335 | 2692525.6725 | 1208317.3878 | 2692529.1461 | 1208311.1041 | 2692529.374 | 1208310.4685
19 | 2692563.5043 | 1208337.788 | 2692567.2973 | 1208336.4014
20 | 2692530.567 | 1208304.125 | 2692531.0535 | 1208305.7856 | 2692529.374 | 1208310.4685
21 | 2692585.1364 | 1208332.6454 | 2692580.8625 | 1208337.3791 | 2692578.5109 | 1208337.5094 | 2692567.2973 | 1208336.4014
22 | 2692530.567 | 1208304.125 | 2692529.797 | 1208301.4966 | 2692516.3797 | 1208291.3891
23 | 2692593.079 | 1208323.8484 | 2692585.1364 | 1208332.6454
24 | 2692507.7929 | 1208283.7548 | 2692514.7725 | 1208290.1784 | 2692516.3797 | 1208291.3891
25 | 2692477.6765 | 1208267.9903 | 2692485.1871 | 1208271.6712
26 | 2692485.1871 | 1208271.6712 | 2692485.5986 | 1208271.8729
27 | 2692689.7612 | 1208357.6272 | 2692689.3196 | 1208359.6216 | 2692678.303 | 1208358.0718 | 2692665.0608 | 1208356.8654 | 2692659.6017 | 1208356.3469 | 2692654.6919 | 1208355.7147 | 2692648.8897 | 1208354.2793 | 2692640.0915 | 1208351.3852 | 2692633.8618 | 1208349.0759 | 2692628.6773 | 1208346.5493 | 2692619.0379 | 1208340.0398 | 2692607.8952 | 1208332.8955
28 | 2692689.7612 | 1208357.6272 | 2692690.4649 | 1208353.4464 | 2692692.4369 | 1208340.0681 | 2692693.6298 | 1208324.465 | 2692693.8437 | 1208295.821
29 | 2692593.079 | 1208323.8484 | 2692607.8952 | 1208332.8955
30 | 2692607.8952 | 1208332.8955 | 2692621.4851 | 1208308.7791 | 2692621.8188 | 1208306.3826 | 2692619.922 | 1208297.7919 | 2692613.5458 | 1208293.6118
31 | 2692693.7369 | 1208276.1819 | 2692694.0773 | 1208284.4118 | 2692693.8759 | 1208291.5023 | 2692693.8437 | 1208295.821
32 | 2692593.079 | 1208323.8484 | 2692577.8686 | 1208314.7175 | 2692560.2589 | 1208306.2148
33 | 2692595.4897 | 1208282.695 | 2692603.1182 | 1208286.4792 | 2692609.7075 | 1208291.0956 | 2692613.5458 | 1208293.6118
34 | 2692692.8954 | 1208240.5863 | 2692693.4398 | 1208256.3678
35 | 2692692.8954 | 1208240.5863 | 2692688.6602 | 1208241.5545 | 2692667.4119 | 1208252.0205 | 2692664.049 | 1208253.1246
36 | 2692653.3419 | 1208205.0671 | 2692645.4256 | 1208226.9985
37 | 2692664.7415 | 1208175.603 | 2692655.0128 | 1208200.438 | 2692653.3419 | 1208205.0671
38 | 2692665.6149 | 1208173.3733 | 2692664.7415 | 1208175.603
39 | 2692665.6149 | 1208173.3733 | 2692671.6579 | 1208169.5979
40 | 2692665.6149 | 1208173.3733 | 2692668.7298 | 1208181.8718 | 2692668.6535 | 1208186.785 | 2692668.1707 | 1208198.1671
41 | 2692693.025 | 1208169.1183 | 2692677.3827 | 1208169.1754 | 2692671.6579 | 1208169.5979
42 | 2692666.933 | 1208227.3524 | 2692668.1707 | 1208198.1671
43 | 2692666.933 | 1208227.3524 | 2692666.3976 | 1208239.9745 | 2692666.1447 | 1208242.293
44 | 2692664.049 | 1208253.1246 | 2692665.1031 | 1208251.8401 | 2692666.1447 | 1208242.293
45 | 2692693.025 | 1208169.1183 | 2692692.9836 | 1208172.7645 | 2692693.252 | 1208184.8546 | 2692693.2464 | 1208185.7207
46 | 2692507.7929 | 1208283.7548 | 2692518.4427 | 1208274.1579 | 2692519.6426 | 1208273.3355
47 | 2692507.7929 | 1208283.7548 | 2692504.5086 | 1208283.2258 | 2692504.5086 | 1208283.2258
48 | 2692525.6133 | 1208269.2435 | 2692519.6426 | 1208273.3355
49 | 2692504.5086 | 1208283.2258 | 2692502.6372 | 1208282.0648
50 | 2692525.6133 | 1208269.2435 | 2692527.1069 | 1208263.6407
51 | 2692525.6133 | 1208269.2435 | 2692531.3588 | 1208276.304 | 2692533.3095 | 1208278.7519
52 | 2692497.9708 | 1208279.1702 | 2692502.6372 | 1208282.0648
53 | 2692497.9708 | 1208279.1702 | 2692495.4589 | 1208277.612
54 | 2692486.3444 | 1208272.2384 | 2692488.4968 | 1208273.2932 | 2692495.4589 | 1208277.612
55 | 2692485.5986 | 1208271.8729 | 2692486.3444 | 1208272.2384
56 | 2692527.1069 | 1208263.6407 | 2692529.6426 | 1208263.4132 | 2692537.8051 | 1208262.6948 | 2692547.9419 | 1208267.5441 | 2692551.1734 | 1208270.3225
57 | 2692527.1069 | 1208263.6407 | 2692525.5148 | 1208258.4348 | 2692522.5611 | 1208252.1998
58 | 2692490.5642 | 1208199.7872 | 2692490.5642 | 1208199.7872 | 2692486.0599 | 1208197.6954
59 | 2692490.5642 | 1208199.7872 | 2692497.1345 | 1208209.948
60 | 2692503.8822 | 1208221.6856 | 2692498.4802 | 1208212.0291 | 2692497.1345 | 1208209.948
61 | 2692503.8822 | 1208221.6856 | 2692503.9328 | 1208221.776
62 | 2692506.5747 | 1208226.4985 | 2692503.9328 | 1208221.776
63 | 2692506.5747 | 1208226.4985 | 2692509.5859 | 1208231.8812 | 2692516.0053 | 1208240.8938
64 | 2692516.0053 | 1208240.8938 | 2692519.0088 | 1208245.1106
65 | 2692522.5611 | 1208252.1998 | 2692519.5877 | 1208245.9234 | 2692519.0088 | 1208245.1106

## bus_geodata
| x | y | coords
0 | 2692693.9522 | 1208102.759
1 | 2692693.7977 | 1208107.9906
2 | 2692693.4294 | 1208124.9555
3 | 2692693.2246 | 1208146.4691
4 | 2692693.1968 | 1208149.6275
5 | 2692752.4308 | 1208149.7256
6 | 2692751.9247 | 1208150.8669
7 | 2692729.5408 | 1208200.1054
8 | 2692719.0585 | 1208222.6173
9 | 2692713.7092 | 1208234.1052
10 | 2692693.5455 | 1208259.4313
11 | 2692727.804 | 1208240.1616
12 | 2692536.5525 | 1208329.7447
13 | 2692553.0051 | 1208332.4814
14 | 2692521.0458 | 1208326.9335
15 | 2692563.5043 | 1208337.788
16 | 2692529.374 | 1208310.4685
17 | 2692567.2973 | 1208336.4014
18 | 2692530.567 | 1208304.125
19 | 2692585.1364 | 1208332.6454
20 | 2692516.3797 | 1208291.3891
21 | 2692477.6765 | 1208267.9903
22 | 2692485.1871 | 1208271.6712
23 | 2692726.9458 | 1208271.1102
24 | 2692752.2326 | 1208180.1898
25 | 2692689.7612 | 1208357.6272
26 | 2692607.8952 | 1208332.8955
27 | 2692693.8437 | 1208295.821
28 | 2692593.079 | 1208323.8484
29 | 2692613.5458 | 1208293.6118
30 | 2692693.7369 | 1208276.1819
31 | 2692693.4398 | 1208256.3678
32 | 2692692.8954 | 1208240.5863
33 | 2692560.2589 | 1208306.2148
34 | 2692595.4897 | 1208282.695
35 | 2692645.4256 | 1208226.9985
36 | 2692653.3419 | 1208205.0671
37 | 2692664.7415 | 1208175.603
38 | 2692665.6149 | 1208173.3733
39 | 2692671.6579 | 1208169.5979
40 | 2692668.1707 | 1208198.1671
41 | 2692666.933 | 1208227.3524
42 | 2692666.1447 | 1208242.293
43 | 2692664.049 | 1208253.1246
44 | 2692693.025 | 1208169.1183
45 | 2692693.2464 | 1208185.7207
46 | 2692507.7929 | 1208283.7548
47 | 2692519.6426 | 1208273.3355
48 | 2692504.5086 | 1208283.2258
49 | 2692525.6133 | 1208269.2435
50 | 2692502.6372 | 1208282.0648
51 | 2692533.3095 | 1208278.7519
52 | 2692497.9708 | 1208279.1702
53 | 2692495.4589 | 1208277.612
54 | 2692486.3444 | 1208272.2384
55 | 2692527.1069 | 1208263.6407
56 | 2692485.5986 | 1208271.8729
57 | 2692490.5642 | 1208199.7872
58 | 2692486.0599 | 1208197.6954
59 | 2692497.1345 | 1208209.948
60 | 2692503.8822 | 1208221.6856
61 | 2692503.9328 | 1208221.776
62 | 2692506.5747 | 1208226.4985
63 | 2692516.0053 | 1208240.8938
64 | 2692519.0088 | 1208245.1106
65 | 2692522.5611 | 1208252.1998
66 | 2692551.1734 | 1208270.3225
67 | 2692665.6149 | 1208173.3733

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98995 | -0.19306 | 0.032838 | 0.00823
1 | 0.99011 | -0.19001 | 0.0024491 | 0.00061381
2 | 0.99066 | -0.17937 | 0.0084154 | 0.0021091
3 | 0.99152 | -0.16268 | 0.040276 | 0.010094
4 | 0.99176 | -0.15798 | 0.0057966 | 0.0014528
5 | 0.98599 | -0.26842 | 0.002379 | 0.00059625
6 | 0.98599 | -0.26836 | 0.0020649 | 0.00051751
7 | 0.98622 | -0.26405 | 0.0022889 | 0.00057366
8 | 0.98637 | -0.26106 | 0.055191 | 0.013832
9 | 0.98709 | -0.24701 | 0 | 0
10 | 0.9896 | -0.19831 | 0 | 0
11 | 0.9868 | -0.2527 | 0 | 0
12 | 0.98146 | -0.35531 | 0.0066805 | 0.0016743
13 | 0.98199 | -0.34511 | 0.0033083 | 0.00082913
14 | 0.98007 | -0.3824 | 0 | 0
15 | 0.98228 | -0.33944 | 0 | 0
16 | 0.97843 | -0.41423 | 0.0025802 | 0.00064666
17 | 0.98238 | -0.33753 | 0.003759 | 0.00094211
18 | 0.97786 | -0.4255 | 0.0037885 | 0.0009495
19 | 0.98288 | -0.32773 | 0.0039907 | 0.0010002
20 | 0.97624 | -0.45706 | 0.0029952 | 0.00075068
21 | 0.97502 | -0.48113 | 0.0028782 | 0.00072135
22 | 0.97504 | -0.48069 | 0.0027065 | 0.00067832
23 | 0.98633 | -0.26186 | 0.016508 | 0.0041373
24 | 0.98654 | -0.25768 | 0.0042865 | 0.0010743
25 | 0.98651 | -0.25762 | 0 | 0
26 | 0.98371 | -0.31164 | 0 | 0
27 | 0.98845 | -0.22031 | 0.00092739 | 0.00023243
28 | 0.98319 | -0.32171 | 0.010691 | 0.0026794
29 | 0.98348 | -0.31625 | 0.0013594 | 0.0003407
30 | 0.98907 | -0.20845 | 0.00046252 | 0.00011592
31 | 0.98976 | -0.19532 | 0.0005963 | 0.00014945
32 | 0.99056 | -0.17993 | 0 | 0
33 | 0.983 | -0.32558 | 0.0057537 | 0.001442
34 | 0.9834 | -0.31783 | 0.0041368 | 0.0010368
35 | 0.99962 | -0.0073962 | 0.018192 | 0.0045594
36 | 1 | 0 | -0.49663 | -0.12618
37 | 0.99658 | -0.06511 | 0.076844 | 0.019259
38 | 0.99636 | -0.069255 | 0.025064 | 0.0062816
39 | 0.99548 | -0.086161 | 0.026603 | 0.0066674
40 | 0.99499 | -0.095381 | 0.013257 | 0.0033225
41 | 0.99349 | -0.12386 | 0.0013992 | 0.00035067
42 | 0.99273 | -0.13839 | 0.00045959 | 0.00011518
43 | 0.99216 | -0.14931 | 0 | 0
44 | 0.99336 | -0.12702 | 0.0010095 | 0.000253
45 | 0.99309 | -0.13219 | 0.017627 | 0.0044177
46 | 0.97533 | -0.47505 | 0 | 0
47 | 0.97431 | -0.49501 | 0.0013776 | 0.00034525
48 | 0.97528 | -0.47606 | 0.0019918 | 0.00049918
49 | 0.97385 | -0.50399 | 0 | 0
50 | 0.97525 | -0.47665 | 0.0007831 | 0.00019626
51 | 0.97384 | -0.50418 | 0.00085807 | 0.00021505
52 | 0.97518 | -0.47803 | 0.0028502 | 0.00071433
53 | 0.97514 | -0.47863 | 0.0011651 | 0.000292
54 | 0.97505 | -0.48052 | 0.0016225 | 0.00040664
55 | 0.97349 | -0.5111 | 0 | 0
56 | 0.97504 | -0.48064 | 0.0025577 | 0.00064103
57 | 0.97062 | -0.56789 | 0.019877 | 0.0049817
58 | 0.97059 | -0.56848 | 0.0063848 | 0.0016002
59 | 0.97092 | -0.56202 | 0.0024308 | 0.00060922
60 | 0.97128 | -0.55483 | 0.0022506 | 0.00056406
61 | 0.97128 | -0.55477 | 0.0041795 | 0.0010475
62 | 0.97146 | -0.55126 | 0.0046217 | 0.0011583
63 | 0.9721 | -0.53862 | 0.0017415 | 0.00043646
64 | 0.9723 | -0.53466 | 0.020231 | 0.0050704
65 | 0.97276 | -0.52563 | 0.0022167 | 0.00055557
66 | 0.97343 | -0.51243 | 0.0027486 | 0.00068887
67 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.032838 | -0.00823 | 0.032843 | 0.008233 | 4.7819e-06 | 2.9931e-06 | 0.04936 | 0.04936 | 0.04936 | 0.98995 | -0.19306 | 0.99011 | -0.19001 | 13.5604
1 | -0.035292 | -0.0088469 | 0.03531 | 0.0088581 | 1.7903e-05 | 1.1239e-05 | 0.053041 | 0.053041 | 0.053041 | 0.99011 | -0.19001 | 0.99066 | -0.17937 | 14.5716
2 | -0.043726 | -0.010967 | 0.04376 | 0.010989 | 3.4805e-05 | 2.1998e-05 | 0.065681 | 0.065681 | 0.065681 | 0.99066 | -0.17937 | 0.99152 | -0.16268 | 18.0443
3 | -0.084036 | -0.021083 | 0.084055 | 0.021095 | 1.8841e-05 | 1.2018e-05 | 0.12613 | 0.12613 | 0.12613 | 0.99152 | -0.16268 | 0.99176 | -0.15798 | 34.6498
4 | -0.089852 | -0.022548 | 0.089985 | 0.022633 | 0.00013286 | 8.478e-05 | 0.13482 | 0.13482 | 0.13482 | 0.99176 | -0.15798 | 0.99336 | -0.12702 | 37.0391
5 | -0.002379 | -0.00059625 | 0.0023791 | 0.00059623 | 6.0353e-09 | -1.2061e-08 | 0.0035904 | 0.0035903 | 0.0035904 | 0.98599 | -0.26842 | 0.98599 | -0.26836 | 0.98636
6 | -0.0044439 | -0.0011137 | 0.0044448 | 0.0011136 | 9.1229e-07 | -1.0617e-07 | 0.0067066 | 0.0067063 | 0.0067066 | 0.98599 | -0.26836 | 0.98622 | -0.26405 | 1.8425
7 | -0.0067338 | -0.0016873 | 0.0067347 | 0.0016876 | 9.6124e-07 | 2.9827e-07 | 0.01016 | 0.01016 | 0.01016 | 0.98622 | -0.26405 | 0.98637 | -0.26106 | 2.7912
8 | -0.061926 | -0.01552 | 0.061967 | 0.015546 | 4.1473e-05 | 2.6381e-05 | 0.09342 | 0.09342 | 0.09342 | 0.98637 | -0.26106 | 0.98709 | -0.24701 | 25.6649
9 | -0.082776 | -0.020765 | 0.082968 | 0.020888 | 0.00019268 | 0.00012289 | 0.12479 | 0.12479 | 0.12479 | 0.98709 | -0.24701 | 0.9896 | -0.19831 | 34.2828
10 | 0.020808 | 0.005219 | -0.020803 | -0.0052156 | 5.6471e-06 | 3.4186e-06 | 0.031369 | 0.03137 | 0.03137 | 0.98709 | -0.24701 | 0.9868 | -0.2527 | 8.618
11 | -0.22063 | -0.056057 | 0.22066 | 0.056077 | 3.168e-05 | 2.0118e-05 | 0.33203 | 0.33203 | 0.33203 | 0.9896 | -0.19831 | 0.98976 | -0.19532 | 22.8041
12 | 0.13766 | 0.035169 | -0.1376 | -0.035126 | 6.7466e-05 | 4.2317e-05 | 0.20724 | 0.20724 | 0.20724 | 0.9896 | -0.19831 | 0.98907 | -0.20845 | 14.2334
13 | 0.0042875 | 0.0010741 | -0.0042865 | -0.0010743 | 1.0164e-06 | -1.7767e-07 | 0.0064651 | 0.0064654 | 0.0064654 | 0.9868 | -0.2527 | 0.98654 | -0.25768 | 1.7762
14 | 0.016515 | 0.0041415 | -0.016508 | -0.0041373 | 7.201e-06 | 4.2133e-06 | 0.024904 | 0.024905 | 0.024905 | 0.9868 | -0.2527 | 0.98633 | -0.26186 | 6.8419
15 | -0.10229 | -0.025936 | 0.10234 | 0.025968 | 5.0216e-05 | 3.1506e-05 | 0.1552 | 0.1552 | 0.1552 | 0.98146 | -0.35531 | 0.98199 | -0.34511 | 14.2122
16 | 0.095613 | 0.024262 | -0.095489 | -0.024182 | 0.00012438 | 7.9403e-05 | 0.14507 | 0.14507 | 0.14507 | 0.98146 | -0.35531 | 0.98007 | -0.3824 | 39.8542
17 | -0.10565 | -0.026797 | 0.10568 | 0.026815 | 2.8777e-05 | 1.7812e-05 | 0.16021 | 0.16021 | 0.16021 | 0.98199 | -0.34511 | 0.98228 | -0.33944 | 11.0035
18 | 0.095489 | 0.024182 | -0.095343 | -0.024089 | 0.00014571 | 9.3021e-05 | 0.14507 | 0.14507 | 0.14507 | 0.98007 | -0.3824 | 0.97843 | -0.41423 | 39.8542
19 | -0.10568 | -0.026815 | 0.10569 | 0.026821 | 9.7178e-06 | 6.0149e-06 | 0.16021 | 0.16021 | 0.16021 | 0.98228 | -0.33944 | 0.98238 | -0.33753 | 11.0034
20 | 0.092763 | 0.023443 | -0.092713 | -0.023411 | 5.0094e-05 | 3.1976e-05 | 0.14115 | 0.14115 | 0.14115 | 0.97843 | -0.41423 | 0.97786 | -0.4255 | 38.7762
21 | -0.10945 | -0.027763 | 0.1095 | 0.027795 | 5.161e-05 | 3.2017e-05 | 0.1659 | 0.1659 | 0.1659 | 0.98238 | -0.33753 | 0.98288 | -0.32773 | 11.3945
22 | 0.088924 | 0.022461 | -0.08879 | -0.022376 | 0.00013428 | 8.5693e-05 | 0.13538 | 0.13538 | 0.13538 | 0.97786 | -0.4255 | 0.97624 | -0.45706 | 37.1924
23 | -0.11349 | -0.028795 | 0.11352 | 0.028815 | 3.2851e-05 | 2.0423e-05 | 0.17195 | 0.17195 | 0.17195 | 0.98288 | -0.32773 | 0.98319 | -0.32171 | 11.8094
24 | 0.085795 | 0.021625 | -0.085721 | -0.021578 | 7.3784e-05 | 4.7078e-05 | 0.13081 | 0.13081 | 0.13081 | 0.97624 | -0.45706 | 0.97533 | -0.47505 | 35.9382
25 | -0.0028782 | -0.00072135 | 0.0028783 | 0.00072129 | 6.0519e-08 | -6.5587e-08 | 0.0043926 | 0.0043926 | 0.0043926 | 0.97502 | -0.48113 | 0.97504 | -0.48069 | 1.2068
26 | -0.0055848 | -0.0013996 | 0.0055849 | 0.0013996 | 1.2484e-08 | 2.2739e-09 | 0.008523 | 0.008523 | 0.008523 | 0.97504 | -0.48069 | 0.97504 | -0.48064 | 2.3415
27 | 0.13588 | 0.034575 | -0.13553 | -0.034354 | 0.0003528 | 0.00022124 | 0.20515 | 0.20515 | 0.20515 | 0.98651 | -0.25762 | 0.98371 | -0.31164 | 14.09
28 | -0.13588 | -0.034575 | 0.13613 | 0.034729 | 0.00024484 | 0.00015352 | 0.20515 | 0.20515 | 0.20515 | 0.98651 | -0.25762 | 0.98845 | -0.22031 | 14.0899
29 | 0.13003 | 0.032976 | -0.12997 | -0.032937 | 6.2921e-05 | 3.939e-05 | 0.19683 | 0.19683 | 0.19683 | 0.98371 | -0.31164 | 0.98319 | -0.32171 | 13.5189
30 | 0.0054977 | 0.0013776 | -0.0054965 | -0.0013774 | 1.2066e-06 | 1.8171e-07 | 0.0083161 | 0.0083163 | 0.0083163 | 0.98371 | -0.31164 | 0.98348 | -0.31625 | 2.2847
31 | -0.13706 | -0.034961 | 0.13713 | 0.03501 | 7.8585e-05 | 4.9286e-05 | 0.20654 | 0.20654 | 0.20654 | 0.98845 | -0.22031 | 0.98907 | -0.20845 | 14.1857
32 | 0.0057548 | 0.0014422 | -0.0057537 | -0.001442 | 1.0609e-06 | 2.0611e-07 | 0.0087095 | 0.0087097 | 0.0087097 | 0.98319 | -0.32171 | 0.983 | -0.32558 | 2.3928
33 | 0.0041371 | 0.0010367 | -0.0041368 | -0.0010368 | 3.1077e-07 | -6.9472e-08 | 0.0062595 | 0.0062596 | 0.0062596 | 0.98348 | -0.31625 | 0.9834 | -0.31783 | 1.7197
34 | -0.22126 | -0.056226 | 0.22143 | 0.05633 | 0.00016408 | 0.0001042 | 0.33292 | 0.33292 | 0.33292 | 0.98976 | -0.19532 | 0.99056 | -0.17993 | 22.8657
35 | -0.22143 | -0.05633 | 0.22175 | 0.056538 | 0.00032727 | 0.00020783 | 0.33292 | 0.33292 | 0.33292 | 0.99056 | -0.17993 | 0.99216 | -0.14931 | 22.8656
36 | -0.018192 | -0.0045594 | 0.018199 | 0.0045632 | 6.4123e-06 | 3.7981e-06 | 0.027081 | 0.027081 | 0.027081 | 0.99962 | -0.0073962 | 1 | 0 | 7.4398
37 | 0.47678 | 0.12161 | -0.47529 | -0.12066 | 0.001494 | 0.0009545 | 0.71021 | 0.71021 | 0.71021 | 1 | 0 | 0.99658 | -0.06511 | 48.7782
38 | 0.39844 | 0.1014 | -0.39836 | -0.10135 | 7.9604e-05 | 5.0822e-05 | 0.59547 | 0.59547 | 0.59547 | 0.99658 | -0.06511 | 0.99636 | -0.069255 | 40.8979
39 | 0.13555 | 0.034179 | -0.13544 | -0.034109 | 0.00010958 | 7.004e-05 | 0.20251 | 0.20251 | 0.20251 | 0.99636 | -0.069255 | 0.99548 | -0.086161 | 55.6349
40 | 0.23775 | 0.060887 | -0.23745 | -0.060696 | 0.00030049 | 0.000191 | 0.35553 | 0.35553 | 0.35553 | 0.99636 | -0.069255 | 0.99499 | -0.095381 | 24.4184
41 | 0.10884 | 0.027442 | -0.10863 | -0.027306 | 0.00021238 | 0.00013565 | 0.16275 | 0.16275 | 0.16275 | 0.99548 | -0.086161 | 0.99336 | -0.12702 | 44.7103
42 | 0.22419 | 0.057374 | -0.22388 | -0.057178 | 0.00030864 | 0.00019601 | 0.33571 | 0.33571 | 0.33571 | 0.99499 | -0.095381 | 0.99349 | -0.12386 | 23.0568
43 | 0.22249 | 0.056827 | -0.22233 | -0.056728 | 0.00015615 | 9.9163e-05 | 0.33361 | 0.33361 | 0.33361 | 0.99349 | -0.12386 | 0.99273 | -0.13839 | 22.9129
44 | 0.22187 | 0.056613 | -0.22175 | -0.056538 | 0.00011706 | 7.4336e-05 | 0.33292 | 0.33292 | 0.33292 | 0.99273 | -0.13839 | 0.99216 | -0.14931 | 22.8656
45 | 0.017631 | 0.0044203 | -0.017627 | -0.0044177 | 4.3438e-06 | 2.5651e-06 | 0.026411 | 0.026411 | 0.026411 | 0.99336 | -0.12702 | 0.99309 | -0.13219 | 7.2559
46 | 0.069162 | 0.017427 | -0.069096 | -0.017385 | 6.5973e-05 | 4.2026e-05 | 0.10555 | 0.10555 | 0.10555 | 0.97533 | -0.47505 | 0.97431 | -0.49501 | 28.9978
47 | 0.016559 | 0.0041509 | -0.016558 | -0.0041504 | 7.9617e-07 | 4.6804e-07 | 0.025263 | 0.025263 | 0.025263 | 0.97533 | -0.47505 | 0.97528 | -0.47606 | 6.9404
48 | 0.067719 | 0.01704 | -0.06769 | -0.017021 | 2.9048e-05 | 1.85e-05 | 0.10345 | 0.10345 | 0.10345 | 0.97431 | -0.49501 | 0.97385 | -0.50399 | 28.4198
49 | 0.014566 | 0.0036512 | -0.014566 | -0.003651 | 4.0791e-07 | 2.3358e-07 | 0.022224 | 0.022224 | 0.022224 | 0.97528 | -0.47606 | 0.97525 | -0.47665 | 6.1056
50 | 0.066832 | 0.016806 | -0.066809 | -0.016792 | 2.2686e-05 | 1.4447e-05 | 0.10214 | 0.10214 | 0.10214 | 0.97385 | -0.50399 | 0.97349 | -0.5111 | 28.0596
51 | 0.00085808 | 0.0002149 | -0.00085807 | -0.00021505 | 7.8853e-09 | -1.4716e-07 | 0.0013111 | 0.0013111 | 0.0013111 | 0.97385 | -0.50399 | 0.97384 | -0.50418 | 0.3602
52 | 0.013783 | 0.0034547 | -0.013782 | -0.0034542 | 9.1066e-07 | 5.1431e-07 | 0.021029 | 0.021029 | 0.021029 | 0.97525 | -0.47665 | 0.97518 | -0.47803 | 5.7773
53 | 0.010931 | 0.0027399 | -0.010931 | -0.0027397 | 3.0842e-07 | 1.6051e-07 | 0.01668 | 0.01668 | 0.01668 | 0.97518 | -0.47803 | 0.97514 | -0.47863 | 4.5825
54 | 0.009766 | 0.0024477 | -0.0097651 | -0.0024473 | 8.8193e-07 | 4.3234e-07 | 0.014902 | 0.014902 | 0.014902 | 0.97514 | -0.47863 | 0.97505 | -0.48052 | 4.0941
55 | 0.0081426 | 0.0020407 | -0.0081426 | -0.0020406 | 4.8094e-08 | 2.0421e-08 | 0.012426 | 0.012426 | 0.012426 | 0.97505 | -0.48052 | 0.97504 | -0.48064 | 3.4138
56 | 0.0027488 | 0.00068865 | -0.0027486 | -0.00068887 | 1.737e-07 | -2.1504e-07 | 0.0042015 | 0.0042016 | 0.0042016 | 0.97349 | -0.5111 | 0.97343 | -0.51243 | 1.1543
57 | 0.06406 | 0.016103 | -0.064016 | -0.016075 | 4.4395e-05 | 2.826e-05 | 0.097935 | 0.097936 | 0.097936 | 0.97349 | -0.5111 | 0.97276 | -0.52563 | 26.9054
58 | 0.006385 | 0.0016002 | -0.0063848 | -0.0016002 | 1.7844e-07 | 5.2824e-08 | 0.0097885 | 0.0097886 | 0.0097886 | 0.97062 | -0.56789 | 0.97059 | -0.56848 | 2.6892
59 | -0.026262 | -0.0065819 | 0.026269 | 0.0065865 | 7.3552e-06 | 4.5577e-06 | 0.040261 | 0.040261 | 0.040261 | 0.97062 | -0.56789 | 0.97092 | -0.56202 | 11.0608
60 | -0.0287 | -0.0071957 | 0.02871 | 0.0072018 | 9.8263e-06 | 6.1213e-06 | 0.043987 | 0.043987 | 0.043987 | 0.97092 | -0.56202 | 0.97128 | -0.55483 | 12.0842
61 | -0.030961 | -0.0077659 | 0.030961 | 0.0077659 | 8.7378e-08 | 5.4639e-08 | 0.047435 | 0.047435 | 0.047435 | 0.97128 | -0.55483 | 0.97128 | -0.55477 | 13.0315
62 | -0.03514 | -0.0088134 | 0.035146 | 0.0088171 | 5.8817e-06 | 3.6973e-06 | 0.053838 | 0.053838 | 0.053838 | 0.97128 | -0.55477 | 0.97146 | -0.55126 | 14.7906
63 | -0.039768 | -0.0099754 | 0.039792 | 0.0099905 | 2.3981e-05 | 1.5134e-05 | 0.060917 | 0.060917 | 0.060917 | 0.97146 | -0.55126 | 0.9721 | -0.53862 | 16.7354
64 | -0.041533 | -0.010427 | 0.041541 | 0.010432 | 7.8487e-06 | 4.9589e-06 | 0.063582 | 0.063582 | 0.063582 | 0.9721 | -0.53862 | 0.9723 | -0.53466 | 17.4677
65 | -0.061772 | -0.015502 | 0.061799 | 0.015519 | 2.6625e-05 | 1.6942e-05 | 0.094545 | 0.094545 | 0.094545 | 0.9723 | -0.53466 | 0.97276 | -0.52563 | 25.9738

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.49698 | 0.12626

## res_load
| p_mw | q_mvar
0 | 0.032838 | 0.00823
1 | 0.0024491 | 0.00061381
2 | 0.0084154 | 0.0021091
3 | 0.040276 | 0.010094
4 | 0.0057966 | 0.0014528
5 | 0.002379 | 0.00059625
6 | 0.0020649 | 0.00051751
7 | 0.0022889 | 0.00057366
8 | 0.055191 | 0.013832
9 | 0.0066805 | 0.0016743
10 | 0.0033083 | 0.00082913
11 | 0.0025802 | 0.00064666
12 | 0.003759 | 0.00094211
13 | 0.0037885 | 0.0009495
14 | 0.0039907 | 0.0010002
15 | 0.0029952 | 0.00075068
16 | 0.0028782 | 0.00072135
17 | 0.0027065 | 0.00067832
18 | 0.016508 | 0.0041373
19 | 0.0042865 | 0.0010743
20 | 0.00092739 | 0.00023243
21 | 0.010691 | 0.0026794
22 | 0.0013594 | 0.0003407
23 | 0.00046252 | 0.00011592
24 | 0.0005963 | 0.00014945
25 | 0.0057537 | 0.001442
26 | 0.0041368 | 0.0010368
27 | 0.018192 | 0.0045594
28 | 0.00034939 | 8.7566e-05
29 | 0.076844 | 0.019259
30 | 0.025064 | 0.0062816
31 | 0.026603 | 0.0066674
32 | 0.013257 | 0.0033225
33 | 0.0013992 | 0.00035067
34 | 0.00045959 | 0.00011518
35 | 0.0010095 | 0.000253
36 | 0.017627 | 0.0044177
37 | 0.0013776 | 0.00034525
38 | 0.0019918 | 0.00049918
39 | 0.0007831 | 0.00019626
40 | 0.00085807 | 0.00021505
41 | 0.0028502 | 0.00071433
42 | 0.0011651 | 0.000292
43 | 0.0016225 | 0.00040664
44 | 0.0025577 | 0.00064103
45 | 0.019877 | 0.0049817
46 | 0.0063848 | 0.0016002
47 | 0.0024308 | 0.00060922
48 | 0.0022506 | 0.00056406
49 | 0.0041795 | 0.0010475
50 | 0.0046217 | 0.0011583
51 | 0.0017415 | 0.00043646
52 | 0.020231 | 0.0050704
53 | 0.0022167 | 0.00055557
54 | 0.0027486 | 0.00068887

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1