## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1372-53_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1372-53_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1372-53_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1372-53_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1372-53_0_8_node_16 | 0.4 | n |  | TRUE
5 | bus_LV_1372-53_0_8_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_1372-53_0_8_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_1372-53_0_8_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_1372-53_0_8_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_1372-53_0_8_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1372-53_0_8_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1372-53_0_8_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1372-53_0_8_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1372-53_0_8_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_1372-53_0_8_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1372-53_0_8_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1372-53_0_8_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1372-53_0_8_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1372-53_0_8_node_67 | 0.4 | n |  | TRUE
19 | bus_LV_1372-53_0_8_node_68 | 0.4 | n |  | TRUE
20 | bus_LV_1372-53_0_8_node_66 | 0.4 | n |  | TRUE
21 | bus_LV_1372-53_0_8_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_1372-53_0_8_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_1372-53_0_8_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_1372-53_0_8_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_1372-53_0_8_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_1372-53_0_8_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_1372-53_0_8_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_1372-53_0_8_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_1372-53_0_8_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_1372-53_0_8_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_1372-53_0_8_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_1372-53_0_8_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_1372-53_0_8_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_1372-53_0_8_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_1372-53_0_8_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_1372-53_0_8_node_86 | 0.4 | n |  | TRUE
37 | bus_LV_1372-53_0_8_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_1372-53_0_8_node_79 | 0.4 | n |  | TRUE
39 | bus_LV_1372-53_0_8_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_1372-53_0_8_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_1372-53_0_8_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_1372-53_0_8_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_1372-53_0_8_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_1372-53_0_8_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_1372-53_0_8_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_1372-53_0_8_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_1372-53_0_8_node_87 | 0.4 | n |  | TRUE
48 | bus_LV_1372-53_0_8_node_91 | 0.4 | n |  | TRUE
49 | bus_LV_1372-53_0_8_node_85 | 0.4 | n |  | TRUE
50 | bus_LV_1372-53_0_8_node_92 | 0.4 | n |  | TRUE
51 | bus_LV_1372-53_0_8_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_1372-53_0_8_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_1372-53_0_8_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_1372-53_0_8_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_1372-53_0_8_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_1372-53_0_8_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_1372-53_0_8_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_1372-53_0_8_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_1372-53_0_8_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_1372-53_0_8_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_1372-53_0_8_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_1372-53_0_8_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_1372-53_0_8_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_1372-53_0_8_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_1372-53_0_8_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_1372-53_0_8_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_1372-53_0_8_node_90 | 0.4 | n |  | TRUE
68 | bus_LV_1372-53_0_8_node_89 | 0.4 | n |  | TRUE
69 | bus_LV_1372-53_0_8_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_1372-53_0_8_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_1372-53_0_8_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_1372-53_0_8_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_1372-53_0_8_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_1372-53_0_8_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_1372-53_0_8_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_1372-53_0_8_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_1372-53_0_8_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_1372-53_0_8_node_80 | 0.4 | n |  | TRUE
79 | bus_LV_1372-53_0_8_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_1372-53_0_8_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_1372-53_0_8_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_1372-53_0_8_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_1372-53_0_8_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_1372-53_0_8_node_75 | 0.4 | n |  | TRUE
85 | bus_LV_1372-53_0_8_node_88 | 0.4 | n |  | TRUE
86 | bus_LV_1372-53_0_8_node_76 | 0.4 | n |  | TRUE
87 | bus_LV_1372-53_0_8_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_1372-53_0_8_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_1372-53_0_8_node_84 | 0.4 | n |  | TRUE
90 | bus_MV_133_1_node_205 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1372-53_0_8_load_0 | 0 | 0.006164 | 0.0015449 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1372-53_0_8_load_1 | 1 | 0.0062645 | 0.00157 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1372-53_0_8_load_2 | 2 | 0.0024653 | 0.00061785 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1372-53_0_8_load_3 | 3 | 0.0021786 | 0.000546 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1372-53_0_8_load_16 | 4 | 0.0064232 | 0.0016098 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1372-53_0_8_load_13 | 5 | 0.0014818 | 0.00037136 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1372-53_0_8_load_17 | 6 | 0.0024998 | 0.0006265 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1372-53_0_8_load_14 | 7 | 0.0015049 | 0.00037715 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1372-53_0_8_load_4 | 8 | 0.0016929 | 0.00042429 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1372-53_0_8_load_5 | 9 | 0.0018584 | 0.00046577 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1372-53_0_8_load_6 | 10 | 0.0063661 | 0.0015955 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1372-53_0_8_load_7 | 11 | 0.0056768 | 0.0014227 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1372-53_0_8_load_8 | 12 | 0.0015274 | 0.00038279 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1372-53_0_8_load_15 | 13 | 0.0054336 | 0.0013618 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1372-53_0_8_load_10 | 14 | 0.0019065 | 0.00047782 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1372-53_0_8_load_9 | 15 | 0.0018406 | 0.00046129 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1372-53_0_8_load_12 | 17 | 0.02037 | 0.0051051 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1372-53_0_8_load_66 | 20 | 0.0093905 | 0.0023535 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1372-53_0_8_load_18 | 21 | 0.0021219 | 0.00053179 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1372-53_0_8_load_19 | 22 | 0.0016084 | 0.0004031 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1372-53_0_8_load_20 | 23 | 0.00027853 | 6.9807e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1372-53_0_8_load_21 | 24 | 0.0014537 | 0.00036432 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1372-53_0_8_load_25 | 27 | 0.0032257 | 0.00080843 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1372-53_0_8_load_32 | 28 | 0.0031418 | 0.00078741 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1372-53_0_8_load_33 | 29 | 0.0034837 | 0.0008731 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1372-53_0_8_load_24 | 30 | 0.0024565 | 0.00061565 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1372-53_0_8_load_27 | 32 | 0.0031656 | 0.00079337 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1372-53_0_8_load_28 | 33 | 0.0086761 | 0.0021744 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1372-53_0_8_load_29 | 34 | 0.0087531 | 0.0021937 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1372-53_0_8_load_30 | 35 | 0.0045956 | 0.0011518 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1372-53_0_8_load_86 | 36 | 0.003133 | 0.0007852 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1372-53_0_8_load_31 | 37 | 0.0048274 | 0.0012099 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1372-53_0_8_load_79 | 38 | 0.0085807 | 0.0021505 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1372-53_0_8_load_35 | 39 | 0.0033246 | 0.00083322 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1372-53_0_8_load_37 | 42 | 0.0030532 | 0.00076521 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1372-53_0_8_load_40 | 43 | 0.0028534 | 0.00071512 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1372-53_0_8_load_46 | 44 | 0.0040369 | 0.0010118 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1372-53_0_8_load_38 | 45 | 0.0049311 | 0.0012359 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1372-53_0_8_load_39 | 46 | 0.0031288 | 0.00078415 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1372-53_0_8_load_87 | 47 | 0.0082564 | 0.0020693 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1372-53_0_8_load_91 | 48 | 0.0046735 | 0.0011713 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1372-53_0_8_load_85 | 49 | 0.0019599 | 0.0004912 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1372-53_0_8_load_92 | 50 | 0.0058445 | 0.0014648 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1372-53_0_8_load_47 | 51 | 0.0026267 | 0.00065832 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1372-53_0_8_load_41 | 52 | 0.002632 | 0.00065965 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1372-53_0_8_load_42 | 53 | 0.0025433 | 0.00063741 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1372-53_0_8_load_43 | 54 | 0.0032897 | 0.00082447 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1372-53_0_8_load_44 | 55 | 0.0082983 | 0.0020797 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1372-53_0_8_load_45 | 56 | 0.0033958 | 0.00085106 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1372-53_0_8_load_52 | 57 | 0.0020599 | 0.00051627 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1372-53_0_8_load_53 | 58 | 0.0023549 | 0.0005902 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1372-53_0_8_load_49 | 59 | 0.0043196 | 0.0010826 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1372-53_0_8_load_48 | 60 | 0.0039793 | 0.0009973 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1372-53_0_8_load_50 | 61 | 0.0034001 | 0.00085215 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1372-53_0_8_load_51 | 62 | 0.0037654 | 0.0009437 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1372-53_0_8_load_54 | 63 | 0.0014882 | 0.00037297 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1372-53_0_8_load_56 | 65 | 0.0028846 | 0.00072294 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1372-53_0_8_load_57 | 66 | 0.0039588 | 0.00099217 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1372-53_0_8_load_90 | 67 | 0.0026319 | 0.00065963 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1372-53_0_8_load_89 | 68 | 0.0032973 | 0.00082638 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1372-53_0_8_load_59 | 69 | 0.009724 | 0.0024371 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1372-53_0_8_load_60 | 70 | 0.0046936 | 0.0011763 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1372-53_0_8_load_61 | 71 | 0.0024095 | 0.00060388 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1372-53_0_8_load_62 | 72 | 0.020927 | 0.0052449 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1372-53_0_8_load_63 | 73 | 0.01035 | 0.0025941 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_1372-53_0_8_load_64 | 74 | 0.035401 | 0.0088722 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_1372-53_0_8_load_65 | 75 | 0.01136 | 0.0028471 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_1372-53_0_8_load_72 | 76 | 0.048566 | 0.012172 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_1372-53_0_8_load_69 | 77 | 0.017609 | 0.0044132 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_1372-53_0_8_load_80 | 78 | 0.083243 | 0.020863 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_1372-53_0_8_load_70 | 79 | 0.038942 | 0.0097598 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_1372-53_0_8_load_71 | 80 | 0.013259 | 0.003323 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_1372-53_0_8_load_73 | 81 | 0.024445 | 0.0061265 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_1372-53_0_8_load_74 | 82 | 0.0042246 | 0.0010588 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_1372-53_0_8_load_75 | 84 | 0.003444 | 0.00086315 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_1372-53_0_8_load_88 | 85 | 0.0013823 | 0.00034643 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_1372-53_0_8_load_76 | 86 | 0.0040613 | 0.0010179 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_1372-53_0_8_load_77 | 87 | 0.0037131 | 0.00093059 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_1372-53_0_8_load_81 | 88 | 0.0027672 | 0.00069352 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_1372-53_0_8_load_84 | 89 | 0.0024669 | 0.00061827 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 88 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1372-53_0_8_line_0 |  | 0 | 1 | 0.039796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1372-53_0_8_line_1 |  | 0 | 2 | 0.027131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1372-53_0_8_line_2 |  | 2 | 3 | 0.025588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1372-53_0_8_line_3 |  | 3 | 4 | 0.024082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1372-53_0_8_line_4 |  | 3 | 5 | 0.015364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1372-53_0_8_line_5 |  | 4 | 6 | 0.0048484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1372-53_0_8_line_6 |  | 5 | 7 | 0.015262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1372-53_0_8_line_7 |  | 6 | 21 | 0.02088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1372-53_0_8_line_8 |  | 7 | 13 | 0.0063089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1372-53_0_8_line_9 |  | 8 | 9 | 0.022239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1372-53_0_8_line_10 |  | 8 | 10 | 0.00090657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1372-53_0_8_line_11 |  | 9 | 11 | 0.007086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1372-53_0_8_line_12 |  | 10 | 12 | 0.02513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1372-53_0_8_line_13 |  | 11 | 13 | 0.025236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1372-53_0_8_line_14 |  | 12 | 14 | 0.012097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1372-53_0_8_line_15 |  | 14 | 15 | 0.013208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1372-53_0_8_line_16 |  | 15 | 16 | 0.0071629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1372-53_0_8_line_17 |  | 16 | 17 | 0.055038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1372-53_0_8_line_18 |  | 17 | 18 | 0.014131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1372-53_0_8_line_19 |  | 18 | 19 | 0.012988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_1372-53_0_8_line_20 |  | 18 | 20 | 0.0047989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1372-53_0_8_line_21 |  | 19 | 76 | 0.024746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_1372-53_0_8_line_22 |  | 19 | 77 | 0.0077351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1372-53_0_8_line_23 |  | 20 | 75 | 0.010309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1372-53_0_8_line_24 |  | 21 | 22 | 0.015416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1372-53_0_8_line_25 |  | 22 | 23 | 0.025539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1372-53_0_8_line_26 |  | 24 | 25 | 0.054417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1372-53_0_8_line_27 |  | 25 | 26 | 0.05301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1372-53_0_8_line_28 |  | 26 | 27 | 0.021046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1372-53_0_8_line_29 |  | 27 | 30 | 0.019349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1372-53_0_8_line_30 |  | 28 | 29 | 0.023669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1372-53_0_8_line_31 |  | 29 | 41 | 0.044342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1372-53_0_8_line_32 |  | 30 | 31 | 0.014665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1372-53_0_8_line_33 |  | 31 | 32 | 0.0074281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1372-53_0_8_line_34 |  | 31 | 33 | 0.016766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1372-53_0_8_line_35 |  | 31 | 34 | 0.033928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1372-53_0_8_line_36 |  | 32 | 35 | 0.025468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1372-53_0_8_line_37 |  | 33 | 36 | 0.0020662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1372-53_0_8_line_38 |  | 35 | 37 | 0.00037614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1372-53_0_8_line_39 |  | 36 | 38 | 0.016121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1372-53_0_8_line_40 |  | 37 | 39 | 0.019737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1372-53_0_8_line_41 |  | 38 | 87 | 0.00077194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1372-53_0_8_line_42 |  | 39 | 40 | 0.01157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1372-53_0_8_line_43 |  | 40 | 45 | 0.022714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_1372-53_0_8_line_44 |  | 40 | 46 | 0.0095557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1372-53_0_8_line_45 |  | 40 | 42 | 0.033417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1372-53_0_8_line_46 |  | 41 | 42 | 0.024356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1372-53_0_8_line_47 |  | 41 | 43 | 0.0090265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1372-53_0_8_line_48 |  | 43 | 44 | 0.013712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1372-53_0_8_line_49 |  | 44 | 51 | 0.012628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1372-53_0_8_line_50 |  | 45 | 47 | 0.011269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_1372-53_0_8_line_51 |  | 46 | 48 | 0.014333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1372-53_0_8_line_52 |  | 47 | 49 | 0.008586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_1372-53_0_8_line_53 |  | 48 | 50 | 0.0064212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1372-53_0_8_line_54 |  | 49 | 89 | 0.0024731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_1372-53_0_8_line_55 |  | 50 | 56 | 0.0098584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1372-53_0_8_line_56 |  | 51 | 59 | 0.0097679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1372-53_0_8_line_57 |  | 52 | 53 | 0.016785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1372-53_0_8_line_58 |  | 52 | 54 | 0.0026821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1372-53_0_8_line_59 |  | 53 | 55 | 0.00022079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1372-53_0_8_line_60 |  | 54 | 56 | 0.010075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1372-53_0_8_line_61 |  | 55 | 57 | 0.012315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1372-53_0_8_line_62 |  | 57 | 58 | 0.017921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1372-53_0_8_line_63 |  | 58 | 63 | 0.020395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1372-53_0_8_line_64 |  | 59 | 60 | 0.0084293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1372-53_0_8_line_65 |  | 60 | 61 | 0.019293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1372-53_0_8_line_66 |  | 61 | 62 | 0.021859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1372-53_0_8_line_67 |  | 63 | 64 | 0.01522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1372-53_0_8_line_68 |  | 64 | 65 | 0.012114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1372-53_0_8_line_69 |  | 64 | 66 | 0.038923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1372-53_0_8_line_70 |  | 67 | 68 | 0.022284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1372-53_0_8_line_71 |  | 68 | 85 | 0.0011581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1372-53_0_8_line_72 |  | 69 | 70 | 0.0015595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1372-53_0_8_line_73 |  | 69 | 71 | 0.010585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1372-53_0_8_line_74 |  | 70 | 72 | 0.018806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1372-53_0_8_line_75 |  | 71 | 73 | 0.00070735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1372-53_0_8_line_76 |  | 72 | 74 | 0.0060575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1372-53_0_8_line_77 |  | 74 | 75 | 0.01109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1372-53_0_8_line_78 |  | 76 | 78 | 0.010856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_1372-53_0_8_line_79 |  | 77 | 79 | 0.018908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1372-53_0_8_line_80 |  | 78 | 83 | 0.0047706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_1372-53_0_8_line_81 |  | 79 | 80 | 0.015288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1372-53_0_8_line_82 |  | 80 | 81 | 0.0081572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1372-53_0_8_line_83 |  | 81 | 82 | 0.014898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1372-53_0_8_line_84 |  | 82 | 84 | 0.019807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_1372-53_0_8_line_85 |  | 83 | 88 | 0.028478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_1372-53_0_8_line_86 |  | 84 | 85 | 0.017894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_1372-53_0_8_line_87 |  | 86 | 87 | 0.0069268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_1372-53_0_8_line_88 |  | 88 | 89 | 0.015563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1372-53_0_8_trafo_81 | 0.63 MVA 20/0.4 kV | 90 | 88 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2691823.7654 | 1207293.243 | 2691859.432 | 1207310.8961
1 | 2691823.7654 | 1207293.243 | 2691799.4499 | 1207281.208
2 | 2691776.5171 | 1207269.8574 | 2691799.4499 | 1207281.208
3 | 2691776.5171 | 1207269.8574 | 2691786.5565 | 1207247.9679
4 | 2691776.5171 | 1207269.8574 | 2691768.4746 | 1207282.9486
5 | 2691788.5777 | 1207243.5609 | 2691786.5565 | 1207247.9679
6 | 2691768.4746 | 1207282.9486 | 2691760.4859 | 1207295.9525
7 | 2691788.5777 | 1207243.5609 | 2691797.2821 | 1207224.5822
8 | 2691760.4859 | 1207295.9525 | 2691757.1835 | 1207301.3281
9 | 2691728.6238 | 1207347.8167 | 2691740.2646 | 1207328.8682
10 | 2691728.6238 | 1207347.8167 | 2691728.1493 | 1207348.5891
11 | 2691743.9737 | 1207322.8305 | 2691740.2646 | 1207328.8682
12 | 2691714.5489 | 1207369.7108 | 2691720.0973 | 1207361.6959 | 2691728.1493 | 1207348.5891
13 | 2691743.9737 | 1207322.8305 | 2691757.1835 | 1207301.3281
14 | 2691707.6853 | 1207379.671 | 2691708.0185 | 1207379.1442 | 2691714.5489 | 1207369.7108
15 | 2691700.548 | 1207390.7838 | 2691703.1158 | 1207386.8962 | 2691707.6853 | 1207379.671
16 | 2691695.811 | 1207396.0679 | 2691698.7245 | 1207393.5443 | 2691700.548 | 1207390.7838
17 | 2691695.811 | 1207396.0679 | 2691691.4993 | 1207391.0984 | 2691689.0963 | 1207388.6154 | 2691662.4673 | 1207360.1653 | 2691659.1745 | 1207356.6902 | 2691658.3007 | 1207355.7994
18 | 2691647.858 | 1207346.3096 | 2691653.6935 | 1207351.1024 | 2691658.3007 | 1207355.7994
19 | 2691647.858 | 1207346.3096 | 2691653.6964 | 1207338.0382 | 2691655.1867 | 1207335.5816
20 | 2691647.858 | 1207346.3096 | 2691643.6748 | 1207343.958
21 | 2691655.1867 | 1207335.5816 | 2691645.5368 | 1207324.137 | 2691640.9845 | 1207315.4856
22 | 2691655.1867 | 1207335.5816 | 2691656.1956 | 1207334.2629 | 2691659.8849 | 1207329.4368
23 | 2691643.6748 | 1207343.958 | 2691642.0221 | 1207343.0289 | 2691636.6388 | 1207340.9783 | 2691634.0488 | 1207340.4071
24 | 2691803.7089 | 1207210.5695 | 2691797.2821 | 1207224.5822
25 | 2691803.7089 | 1207210.5695 | 2691814.3557 | 1207187.3558
26 | 2691496.0577 | 1207183.4285 | 2691498.267 | 1207179.7043 | 2691501.776 | 1207177.0341 | 2691541.4152 | 1207154.3377
27 | 2691539.0352 | 1207214.6302 | 2691496.0577 | 1207183.4285
28 | 2691539.0352 | 1207214.6302 | 2691556.117 | 1207226.924
29 | 2691571.8214 | 1207238.2264 | 2691556.117 | 1207226.924
30 | 2691578.8962 | 1207191.0879 | 2691599.2763 | 1207179.0513
31 | 2691637.4569 | 1207156.5015 | 2691599.2763 | 1207179.0513
32 | 2691583.7239 | 1207246.7925 | 2691571.8214 | 1207238.2264
33 | 2691583.7239 | 1207246.7925 | 2691590.1391 | 1207243.0481
34 | 2691583.7239 | 1207246.7925 | 2691596.3361 | 1207257.8389
35 | 2691583.7239 | 1207246.7925 | 2691554.3056 | 1207263.6948
36 | 2691590.1391 | 1207243.0481 | 2691612.1347 | 1207230.2095
37 | 2691597.8905 | 1207259.2003 | 2691596.3361 | 1207257.8389
38 | 2691612.4596 | 1207230.0199 | 2691612.1347 | 1207230.2095
39 | 2691597.8905 | 1207259.2003 | 2691606.2065 | 1207266.4839 | 2691609.6756 | 1207270.1764
40 | 2691629.5056 | 1207220.0704 | 2691612.4596 | 1207230.0199
41 | 2691610.2042 | 1207270.739 | 2691609.6756 | 1207270.1764
42 | 2691639.4981 | 1207214.2378 | 2691629.5056 | 1207220.0704
43 | 2691639.4981 | 1207214.2378 | 2691640.8475 | 1207236.9114
44 | 2691639.4981 | 1207214.2378 | 2691647.7932 | 1207209.4941
45 | 2691639.4981 | 1207214.2378 | 2691638.3174 | 1207180.842
46 | 2691637.4569 | 1207156.5015 | 2691638.3174 | 1207180.842
47 | 2691637.4569 | 1207156.5015 | 2691645.2437 | 1207151.936
48 | 2691645.2437 | 1207151.936 | 2691657.0721 | 1207145.0009
49 | 2691667.9658 | 1207138.6138 | 2691657.0721 | 1207145.0009
50 | 2691641.517 | 1207248.1605 | 2691640.8475 | 1207236.9114
51 | 2691647.7932 | 1207209.4941 | 2691660.2357 | 1207202.3786
52 | 2691642.0271 | 1207256.7313 | 2691641.517 | 1207248.1605
53 | 2691665.8097 | 1207199.1909 | 2691660.2357 | 1207202.3786
54 | 2691642.0271 | 1207256.7313 | 2691642.174 | 1207259.2001
55 | 2691665.8097 | 1207199.1909 | 2691674.3675 | 1207194.2969
56 | 2691667.9658 | 1207138.6138 | 2691676.3921 | 1207133.6734
57 | 2691685.4417 | 1207187.9638 | 2691700.0128 | 1207179.631
58 | 2691685.4417 | 1207187.9638 | 2691683.1134 | 1207189.2953
59 | 2691700.2045 | 1207179.5214 | 2691700.0128 | 1207179.631
60 | 2691683.1134 | 1207189.2953 | 2691674.3675 | 1207194.2969
61 | 2691710.8949 | 1207173.4078 | 2691700.2045 | 1207179.5214
62 | 2691710.8949 | 1207173.4078 | 2691726.4519 | 1207164.5111
63 | 2691726.4519 | 1207164.5111 | 2691744.1559 | 1207154.3866
64 | 2691683.6637 | 1207129.4099 | 2691676.3921 | 1207133.6734
65 | 2691683.6637 | 1207129.4099 | 2691700.3072 | 1207119.6517
66 | 2691700.3072 | 1207119.6517 | 2691717.5089 | 1207109.5662 | 2691718.8933 | 1207108.2383
67 | 2691757.8867 | 1207152.026 | 2691751.8107 | 1207150.009 | 2691744.1559 | 1207154.3866
68 | 2691757.8867 | 1207152.026 | 2691762.847 | 1207140.974
69 | 2691757.8867 | 1207152.026 | 2691744.0928 | 1207188.4226
70 | 2691718.6545 | 1207253.3899 | 2691721.0015 | 1207250.4469 | 2691726.6781 | 1207239.36 | 2691728.5681 | 1207233.5974
71 | 2691717.9325 | 1207254.2954 | 2691718.6545 | 1207253.3899
72 | 2691596.6616 | 1207340.7928 | 2691596.9892 | 1207340.7808 | 2691598.2194 | 1207340.7212
73 | 2691596.6616 | 1207340.7928 | 2691586.0841 | 1207341.1804
74 | 2691617.0031 | 1207339.8114 | 2691598.2194 | 1207340.7212
75 | 2691585.3773 | 1207341.2063 | 2691586.0841 | 1207341.1804
76 | 2691623.0535 | 1207339.5183 | 2691617.0031 | 1207339.8114
77 | 2691623.0535 | 1207339.5183 | 2691626.9677 | 1207339.3287 | 2691631.5985 | 1207339.8668 | 2691634.0488 | 1207340.4071
78 | 2691635.6942 | 1207306.0106 | 2691638.3174 | 1207310.417 | 2691640.9845 | 1207315.4856
79 | 2691659.8849 | 1207329.4368 | 2691663.2271 | 1207325.0647 | 2691668.8921 | 1207317.6913 | 2691671.3937 | 1207314.4344
80 | 2691633.2538 | 1207301.9114 | 2691635.6942 | 1207306.0106
81 | 2691671.3937 | 1207314.4344 | 2691680.7063 | 1207302.31
82 | 2691685.6752 | 1207295.8409 | 2691680.7063 | 1207302.31
83 | 2691685.6752 | 1207295.8409 | 2691687.191 | 1207293.8675 | 2691694.7778 | 1207284.0477
84 | 2691694.7778 | 1207284.0477 | 2691706.8878 | 1207268.3736
85 | 2691633.2538 | 1207301.9114 | 2691635.9486 | 1207291.3458 | 2691638.7708 | 1207283.3727 | 2691641.2362 | 1207276.8506 | 2691641.4095 | 1207274.7143
86 | 2691706.8878 | 1207268.3736 | 2691712.5489 | 1207261.0463 | 2691717.9325 | 1207254.2954
87 | 2691614.947 | 1207275.7873 | 2691610.2042 | 1207270.739
88 | 2691641.4095 | 1207274.7143 | 2691641.7991 | 1207269.9102 | 2691642.3997 | 1207262.9926 | 2691642.174 | 1207259.2001

## bus_geodata
| x | y | coords
0 | 2691823.7654 | 1207293.243
1 | 2691859.432 | 1207310.8961
2 | 2691799.4499 | 1207281.208
3 | 2691776.5171 | 1207269.8574
4 | 2691786.5565 | 1207247.9679
5 | 2691768.4746 | 1207282.9486
6 | 2691788.5777 | 1207243.5609
7 | 2691760.4859 | 1207295.9525
8 | 2691728.6238 | 1207347.8167
9 | 2691740.2646 | 1207328.8682
10 | 2691728.1493 | 1207348.5891
11 | 2691743.9737 | 1207322.8305
12 | 2691714.5489 | 1207369.7108
13 | 2691757.1835 | 1207301.3281
14 | 2691707.6853 | 1207379.671
15 | 2691700.548 | 1207390.7838
16 | 2691695.811 | 1207396.0679
17 | 2691658.3007 | 1207355.7994
18 | 2691647.858 | 1207346.3096
19 | 2691655.1867 | 1207335.5816
20 | 2691643.6748 | 1207343.958
21 | 2691797.2821 | 1207224.5822
22 | 2691803.7089 | 1207210.5695
23 | 2691814.3557 | 1207187.3558
24 | 2691541.4152 | 1207154.3377
25 | 2691496.0577 | 1207183.4285
26 | 2691539.0352 | 1207214.6302
27 | 2691556.117 | 1207226.924
28 | 2691578.8962 | 1207191.0879
29 | 2691599.2763 | 1207179.0513
30 | 2691571.8214 | 1207238.2264
31 | 2691583.7239 | 1207246.7925
32 | 2691590.1391 | 1207243.0481
33 | 2691596.3361 | 1207257.8389
34 | 2691554.3056 | 1207263.6948
35 | 2691612.1347 | 1207230.2095
36 | 2691597.8905 | 1207259.2003
37 | 2691612.4596 | 1207230.0199
38 | 2691609.6756 | 1207270.1764
39 | 2691629.5056 | 1207220.0704
40 | 2691639.4981 | 1207214.2379
41 | 2691637.4569 | 1207156.5015
42 | 2691638.3174 | 1207180.842
43 | 2691645.2437 | 1207151.936
44 | 2691657.0721 | 1207145.0009
45 | 2691640.8475 | 1207236.9114
46 | 2691647.7932 | 1207209.4941
47 | 2691641.517 | 1207248.1605
48 | 2691660.2357 | 1207202.3786
49 | 2691642.0271 | 1207256.7313
50 | 2691665.8097 | 1207199.1909
51 | 2691667.9658 | 1207138.6138
52 | 2691685.4417 | 1207187.9638
53 | 2691700.0128 | 1207179.631
54 | 2691683.1134 | 1207189.2953
55 | 2691700.2045 | 1207179.5214
56 | 2691674.3675 | 1207194.2969
57 | 2691710.8949 | 1207173.4078
58 | 2691726.4519 | 1207164.5111
59 | 2691676.3921 | 1207133.6734
60 | 2691683.6637 | 1207129.4099
61 | 2691700.3072 | 1207119.6517
62 | 2691718.8933 | 1207108.2383
63 | 2691744.1559 | 1207154.3866
64 | 2691757.8867 | 1207152.026
65 | 2691762.847 | 1207140.974
66 | 2691744.0928 | 1207188.4226
67 | 2691728.5681 | 1207233.5974
68 | 2691718.6545 | 1207253.3899
69 | 2691596.6616 | 1207340.7928
70 | 2691598.2194 | 1207340.7212
71 | 2691586.0841 | 1207341.1804
72 | 2691617.0031 | 1207339.8114
73 | 2691585.3773 | 1207341.2063
74 | 2691623.0535 | 1207339.5183
75 | 2691634.0488 | 1207340.4071
76 | 2691640.9845 | 1207315.4856
77 | 2691659.8849 | 1207329.4368
78 | 2691635.6942 | 1207306.0106
79 | 2691671.3937 | 1207314.4344
80 | 2691680.7063 | 1207302.31
81 | 2691685.6752 | 1207295.8409
82 | 2691694.7778 | 1207284.0477
83 | 2691633.2538 | 1207301.9114
84 | 2691706.8878 | 1207268.3736
85 | 2691717.9325 | 1207254.2954
86 | 2691614.947 | 1207275.7873
87 | 2691610.2042 | 1207270.739
88 | 2691641.4095 | 1207274.7143
89 | 2691642.174 | 1207259.2001
90 | 2691633.2538 | 1207301.9114

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98227 | -0.34223 | 0.006164 | 0.0015449
1 | 0.98204 | -0.34674 | 0.0062645 | 0.00157
2 | 0.98258 | -0.33614 | 0.0024653 | 0.00061785
3 | 0.98293 | -0.32926 | 0.0021786 | 0.000546
4 | 0.98264 | -0.33489 | 0.0064232 | 0.0016098
5 | 0.98335 | -0.32095 | 0.0014818 | 0.00037136
6 | 0.98261 | -0.33546 | 0.0024998 | 0.0006265
7 | 0.9838 | -0.31229 | 0.0015049 | 0.00037715
8 | 0.98612 | -0.26715 | 0.0016929 | 0.00042429
9 | 0.98517 | -0.28549 | 0.0018584 | 0.00046577
10 | 0.98616 | -0.26637 | 0.0063661 | 0.0015955
11 | 0.98488 | -0.2911 | 0.0056768 | 0.0014227
12 | 0.98741 | -0.24207 | 0.0015274 | 0.00038279
13 | 0.98399 | -0.30854 | 0.0054336 | 0.0013618
14 | 0.98803 | -0.23006 | 0.0019065 | 0.00047782
15 | 0.98873 | -0.21652 | 0.0018406 | 0.00046129
16 | 0.98912 | -0.20895 | 0 | 0
17 | 0.99213 | -0.15098 | 0.02037 | 0.0051051
18 | 0.99316 | -0.13106 | 0 | 0
19 | 0.99426 | -0.10998 | 0 | 0
20 | 0.9927 | -0.13991 | 0.0093905 | 0.0023535
21 | 0.98254 | -0.33697 | 0.0021219 | 0.00053179
22 | 0.98251 | -0.33749 | 0.0016084 | 0.0004031
23 | 0.9825 | -0.33762 | 0.00027853 | 6.9807e-05
24 | 0.9938 | -0.11935 | 0.0014537 | 0.00036432
25 | 0.99387 | -0.11796 | 0 | 0
26 | 0.99394 | -0.11659 | 0 | 0
27 | 0.99397 | -0.11605 | 0.0032257 | 0.00080843
28 | 0.99512 | -0.093844 | 0.0031418 | 0.00078741
29 | 0.99519 | -0.092535 | 0.0034837 | 0.0008731
30 | 0.99405 | -0.11445 | 0.0024565 | 0.00061565
31 | 0.99414 | -0.11261 | 0 | 0
32 | 0.99444 | -0.10684 | 0.0031656 | 0.00079337
33 | 0.99371 | -0.12094 | 0.0086761 | 0.0021744
34 | 0.99387 | -0.11785 | 0.0087531 | 0.0021937
35 | 0.99554 | -0.085662 | 0.0045956 | 0.0011518
36 | 0.99368 | -0.12165 | 0.003133 | 0.0007852
37 | 0.99556 | -0.085319 | 0.0048274 | 0.0012099
38 | 0.99344 | -0.12631 | 0.0085807 | 0.0021505
39 | 0.99658 | -0.065677 | 0.0033246 | 0.00083322
40 | 0.99721 | -0.053506 | 0 | 0
41 | 0.99545 | -0.087365 | 0 | 0
42 | 0.99615 | -0.073832 | 0.0030532 | 0.00076521
43 | 0.99525 | -0.091333 | 0.0028534 | 0.00071512
44 | 0.99497 | -0.096674 | 0.0040369 | 0.0010118
45 | 0.99867 | -0.025441 | 0.0049311 | 0.0012359
46 | 0.9968 | -0.061307 | 0.0031288 | 0.00078415
47 | 0.99905 | -0.018249 | 0.0082564 | 0.0020693
48 | 0.99624 | -0.072233 | 0.0046735 | 0.0011713
49 | 0.99935 | -0.012463 | 0.0019599 | 0.0004912
50 | 0.99601 | -0.076604 | 0.0058445 | 0.0014648
51 | 0.99476 | -0.1007 | 0.0026267 | 0.00065832
52 | 0.99538 | -0.088772 | 0.002632 | 0.00065965
53 | 0.99502 | -0.095741 | 0.0025433 | 0.00063741
54 | 0.99544 | -0.087535 | 0.0032897 | 0.00082447
55 | 0.99502 | -0.095823 | 0.0082983 | 0.0020797
56 | 0.99572 | -0.082306 | 0.0033958 | 0.00085106
57 | 0.99487 | -0.098587 | 0.0020599 | 0.00051627
58 | 0.9947 | -0.10196 | 0.0023549 | 0.0005902
59 | 0.99462 | -0.10336 | 0.0043196 | 0.0010826
60 | 0.99454 | -0.10501 | 0.0039793 | 0.0009973
61 | 0.99441 | -0.10745 | 0.0034001 | 0.00085215
62 | 0.99434 | -0.1089 | 0.0037654 | 0.0009437
63 | 0.99454 | -0.10496 | 0.0014882 | 0.00037297
64 | 0.99445 | -0.10679 | 0 | 0
65 | 0.99442 | -0.10741 | 0.0028846 | 0.00072294
66 | 0.99431 | -0.10951 | 0.0039588 | 0.00099217
67 | 0.99029 | -0.18676 | 0.0026319 | 0.00065963
68 | 0.99034 | -0.18571 | 0.0032973 | 0.00082638
69 | 0.9902 | -0.18852 | 0.009724 | 0.0024371
70 | 0.99023 | -0.1879 | 0.0046936 | 0.0011763
71 | 0.99007 | -0.19092 | 0.0024095 | 0.00060388
72 | 0.9907 | -0.17882 | 0.020927 | 0.0052449
73 | 0.99007 | -0.19105 | 0.01035 | 0.0025941
74 | 0.99096 | -0.17364 | 0.035401 | 0.0088722
75 | 0.99181 | -0.15722 | 0.01136 | 0.0028471
76 | 0.99592 | -0.078054 | 0.048566 | 0.012172
77 | 0.99349 | -0.12489 | 0.017609 | 0.0044132
78 | 0.99677 | -0.06177 | 0.083243 | 0.020863
79 | 0.9919 | -0.15553 | 0.038942 | 0.0097598
80 | 0.99116 | -0.16981 | 0.013259 | 0.003323
81 | 0.99087 | -0.17552 | 0.024445 | 0.0061265
82 | 0.99067 | -0.17948 | 0.0042246 | 0.0010588
83 | 0.99723 | -0.052882 | 0 | 0
84 | 0.99047 | -0.18327 | 0.003444 | 0.00086315
85 | 0.99035 | -0.18559 | 0.0013823 | 0.00034643
86 | 0.9934 | -0.12691 | 0.0040613 | 0.0010179
87 | 0.99343 | -0.12641 | 0.0037131 | 0.00093059
88 | 1 | 0 | -0.58928 | -0.14876
89 | 0.99944 | -0.010776 | 0.0024669 | 0.00061827
90 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0062659 | 0.0015704 | -0.0062645 | -0.00157 | 1.3446e-06 | 3.5693e-07 | 0.009492 | 0.0094922 | 0.0094922 | 0.98227 | -0.34223 | 0.98204 | -0.34674 | 2.6078
1 | -0.01243 | -0.0031152 | 0.012433 | 0.0031172 | 3.6073e-06 | 1.9651e-06 | 0.01883 | 0.01883 | 0.01883 | 0.98227 | -0.34223 | 0.98258 | -0.33614 | 5.173
2 | -0.014899 | -0.0037351 | 0.014904 | 0.0037379 | 4.885e-06 | 2.8022e-06 | 0.022563 | 0.022563 | 0.022563 | 0.98258 | -0.33614 | 0.98293 | -0.32926 | 6.1986
3 | 0.012936 | 0.0032424 | -0.012932 | -0.0032405 | 3.4633e-06 | 1.9113e-06 | 0.019583 | 0.019583 | 0.019583 | 0.98293 | -0.32926 | 0.98264 | -0.33489 | 5.38
4 | -0.030018 | -0.0075263 | 0.03003 | 0.0075337 | 1.1899e-05 | 7.4203e-06 | 0.045444 | 0.045444 | 0.045444 | 0.98293 | -0.32926 | 0.98335 | -0.32095 | 12.4846
5 | 0.0065091 | 0.0016307 | -0.0065089 | -0.0016306 | 1.7663e-07 | 5.1629e-08 | 0.0098565 | 0.0098565 | 0.0098565 | 0.98264 | -0.33489 | 0.98261 | -0.33546 | 2.7078
6 | -0.031512 | -0.0079051 | 0.031525 | 0.0079132 | 1.3014e-05 | 8.1355e-06 | 0.047686 | 0.047686 | 0.047686 | 0.98335 | -0.32095 | 0.9838 | -0.31229 | 13.1006
7 | 0.0040091 | 0.0010041 | -0.0040088 | -0.0010042 | 2.8859e-07 | -7.9766e-08 | 0.006071 | 0.0060711 | 0.0060711 | 0.98261 | -0.33546 | 0.98254 | -0.33697 | 1.6679
8 | -0.03303 | -0.0082903 | 0.033035 | 0.008294 | 5.9057e-06 | 3.6995e-06 | 0.049962 | 0.049962 | 0.049962 | 0.9838 | -0.31229 | 0.98399 | -0.30854 | 13.7259
9 | 0.046088 | 0.011598 | -0.046048 | -0.011572 | 4.0354e-05 | 2.5543e-05 | 0.069563 | 0.069563 | 0.069563 | 0.98612 | -0.26715 | 0.98517 | -0.28549 | 19.1106
10 | -0.047781 | -0.012022 | 0.047783 | 0.012023 | 1.7681e-06 | 1.12e-06 | 0.072117 | 0.072117 | 0.072117 | 0.98612 | -0.26715 | 0.98616 | -0.26637 | 19.8124
11 | 0.04419 | 0.011106 | -0.044178 | -0.011099 | 1.1842e-05 | 7.4884e-06 | 0.066756 | 0.066756 | 0.066756 | 0.98517 | -0.28549 | 0.98488 | -0.2911 | 18.3395
12 | -0.054149 | -0.013618 | 0.054212 | 0.013658 | 6.2939e-05 | 3.996e-05 | 0.081723 | 0.081723 | 0.081723 | 0.98616 | -0.26637 | 0.98741 | -0.24207 | 22.4514
13 | 0.038501 | 0.009676 | -0.038469 | -0.0096558 | 3.2032e-05 | 2.018e-05 | 0.058179 | 0.058179 | 0.058179 | 0.98488 | -0.2911 | 0.98399 | -0.30854 | 15.9833
14 | -0.05574 | -0.014041 | 0.055772 | 0.014062 | 3.2026e-05 | 2.0342e-05 | 0.084025 | 0.084025 | 0.084025 | 0.98741 | -0.24207 | 0.98803 | -0.23006 | 23.0837
15 | -0.057678 | -0.014539 | 0.057716 | 0.014563 | 3.74e-05 | 2.3766e-05 | 0.086896 | 0.086896 | 0.086896 | 0.98803 | -0.23006 | 0.98873 | -0.21652 | 23.8725
16 | -0.059556 | -0.015024 | 0.059578 | 0.015038 | 2.1596e-05 | 1.373e-05 | 0.089666 | 0.089666 | 0.089666 | 0.98873 | -0.21652 | 0.98912 | -0.20895 | 24.6335
17 | -0.059578 | -0.015038 | 0.059744 | 0.015144 | 0.00016594 | 0.00010549 | 0.089666 | 0.089666 | 0.089666 | 0.98912 | -0.20895 | 0.99213 | -0.15098 | 24.6335
18 | -0.080113 | -0.020249 | 0.08019 | 0.020298 | 7.6582e-05 | 4.883e-05 | 0.12022 | 0.12022 | 0.12022 | 0.99213 | -0.15098 | 0.99316 | -0.13106 | 33.0265
19 | -0.18466 | -0.046563 | 0.18485 | 0.046682 | 0.00018654 | 0.00011905 | 0.27677 | 0.27677 | 0.27677 | 0.99316 | -0.13106 | 0.99426 | -0.10998 | 38.0177
20 | 0.10447 | 0.026265 | -0.10443 | -0.026237 | 4.4105e-05 | 2.8165e-05 | 0.15655 | 0.15655 | 0.15655 | 0.99316 | -0.13106 | 0.9927 | -0.13991 | 43.0088
21 | -0.29435 | -0.074226 | 0.2948 | 0.074513 | 0.00045053 | 0.00028706 | 0.44068 | 0.44068 | 0.44068 | 0.99426 | -0.10998 | 0.99592 | -0.078054 | 30.2667
22 | 0.1095 | 0.027545 | -0.10942 | -0.027495 | 7.7935e-05 | 4.9778e-05 | 0.16391 | 0.16391 | 0.16391 | 0.99426 | -0.10998 | 0.99349 | -0.12489 | 45.0314
23 | 0.095035 | 0.023883 | -0.094957 | -0.023833 | 7.8474e-05 | 5.009e-05 | 0.14248 | 0.14248 | 0.14248 | 0.9927 | -0.13991 | 0.99181 | -0.15722 | 39.1418
24 | 0.001887 | 0.00047242 | -0.0018869 | -0.00047258 | 4.7207e-08 | -1.6503e-07 | 0.0028576 | 0.0028576 | 0.0028576 | 0.98254 | -0.33697 | 0.98251 | -0.33749 | 0.78506
25 | 0.00027853 | 6.9484e-05 | -0.00027853 | -6.9807e-05 | 1.7038e-09 | -3.2234e-07 | 0.00042173 | 0.00042184 | 0.00042184 | 0.98251 | -0.33749 | 0.9825 | -0.33762 | 0.11589
26 | -0.0014537 | -0.00036432 | 0.0014538 | 0.00036368 | 9.6665e-08 | -6.4326e-07 | 0.0021766 | 0.0021763 | 0.0021766 | 0.9938 | -0.11935 | 0.99387 | -0.11796 | 0.59796
27 | -0.0014538 | -0.00036368 | 0.0014539 | 0.00036305 | 9.4145e-08 | -6.2675e-07 | 0.0021763 | 0.0021761 | 0.0021763 | 0.99387 | -0.11796 | 0.99394 | -0.11659 | 0.5979
28 | -0.0014539 | -0.00036305 | 0.0014539 | 0.00036281 | 3.7371e-08 | -2.4886e-07 | 0.0021761 | 0.002176 | 0.0021761 | 0.99394 | -0.11659 | 0.99397 | -0.11605 | 0.59783
29 | -0.0046796 | -0.0011712 | 0.0046799 | 0.0011712 | 3.5604e-07 | -2.2943e-08 | 0.007005 | 0.0070049 | 0.007005 | 0.99397 | -0.11605 | 0.99405 | -0.11445 | 1.9245
30 | -0.0031418 | -0.00078741 | 0.003142 | 0.00078723 | 1.959e-07 | -1.8214e-07 | 0.004698 | 0.0046979 | 0.004698 | 0.99512 | -0.093844 | 0.99519 | -0.092535 | 1.2907
31 | -0.0066257 | -0.0016603 | 0.0066274 | 0.0016608 | 1.632e-06 | 4.6814e-07 | 0.0099068 | 0.0099066 | 0.0099068 | 0.99519 | -0.092535 | 0.99545 | -0.087365 | 2.7216
32 | -0.0071364 | -0.0017869 | 0.007137 | 0.0017871 | 6.2749e-07 | 2.1147e-07 | 0.010682 | 0.010682 | 0.010682 | 0.99405 | -0.11445 | 0.99414 | -0.11261 | 2.9346
33 | -0.044072 | -0.01105 | 0.044084 | 0.011057 | 1.2122e-05 | 7.6617e-06 | 0.065968 | 0.065968 | 0.065968 | 0.99414 | -0.11261 | 0.99444 | -0.10684 | 18.123
34 | 0.02818 | 0.0070681 | -0.028169 | -0.0070611 | 1.1186e-05 | 6.942e-06 | 0.042181 | 0.042181 | 0.042181 | 0.99414 | -0.11261 | 0.99371 | -0.12094 | 11.5882
35 | 0.0087552 | 0.0021947 | -0.0087531 | -0.0021937 | 2.185e-06 | 9.5863e-07 | 0.013105 | 0.013105 | 0.013105 | 0.99414 | -0.11261 | 0.99387 | -0.11785 | 3.6003
36 | -0.04725 | -0.011851 | 0.047298 | 0.011881 | 4.7745e-05 | 3.0226e-05 | 0.070705 | 0.070704 | 0.070705 | 0.99444 | -0.10684 | 0.99554 | -0.085662 | 19.4243
37 | 0.019493 | 0.0048867 | -0.019492 | -0.0048863 | 6.6017e-07 | 3.9574e-07 | 0.029189 | 0.029189 | 0.029189 | 0.99371 | -0.12094 | 0.99368 | -0.12165 | 8.019
38 | -0.051893 | -0.013033 | 0.051894 | 0.013033 | 8.4881e-07 | 5.3835e-07 | 0.077573 | 0.077573 | 0.077573 | 0.99554 | -0.085662 | 0.99556 | -0.085319 | 21.3114
39 | 0.016359 | 0.0041011 | -0.016355 | -0.004099 | 3.6281e-06 | 2.1132e-06 | 0.024498 | 0.024498 | 0.024498 | 0.99368 | -0.12165 | 0.99344 | -0.12631 | 6.7302
40 | -0.056721 | -0.014243 | 0.056775 | 0.014277 | 5.321e-05 | 3.3798e-05 | 0.084789 | 0.084789 | 0.084789 | 0.99556 | -0.085319 | 0.99658 | -0.065677 | 23.2936
41 | 0.0077745 | 0.0019484 | -0.0077745 | -0.0019484 | 3.9255e-08 | 1.5129e-08 | 0.011645 | 0.011645 | 0.011645 | 0.99344 | -0.12631 | 0.99343 | -0.12641 | 3.1992
42 | -0.060099 | -0.01511 | 0.060134 | 0.015132 | 3.4951e-05 | 2.2218e-05 | 0.089753 | 0.089753 | 0.089753 | 0.99658 | -0.065677 | 0.99721 | -0.053506 | 24.6573
43 | -0.1415 | -0.035579 | 0.14169 | 0.0357 | 0.00018994 | 0.00012097 | 0.21118 | 0.21118 | 0.21118 | 0.99721 | -0.053506 | 0.99867 | -0.025441 | 29.0088
44 | 0.046632 | 0.011716 | -0.046615 | -0.011705 | 1.7355e-05 | 1.0983e-05 | 0.069593 | 0.069593 | 0.069593 | 0.99721 | -0.053506 | 0.9968 | -0.061307 | 19.119
45 | 0.034734 | 0.008731 | -0.0347 | -0.0087098 | 3.3674e-05 | 2.1116e-05 | 0.051838 | 0.051838 | 0.051838 | 0.99721 | -0.053506 | 0.99615 | -0.073832 | 14.2413
46 | -0.031627 | -0.0079319 | 0.031647 | 0.0079446 | 2.0415e-05 | 1.2749e-05 | 0.047278 | 0.047278 | 0.047278 | 0.99545 | -0.087365 | 0.99615 | -0.073832 | 12.9884
47 | 0.024999 | 0.0062711 | -0.024994 | -0.0062682 | 4.7274e-06 | 2.9082e-06 | 0.037371 | 0.037371 | 0.037371 | 0.99545 | -0.087365 | 0.99525 | -0.091333 | 10.2668
48 | 0.022141 | 0.0055531 | -0.022135 | -0.0055496 | 5.6352e-06 | 3.4284e-06 | 0.033105 | 0.033105 | 0.033105 | 0.99525 | -0.091333 | 0.99497 | -0.096674 | 9.0948
49 | 0.018099 | 0.0045379 | -0.018095 | -0.0045358 | 3.4695e-06 | 2.0565e-06 | 0.027068 | 0.027068 | 0.027068 | 0.99497 | -0.096674 | 0.99476 | -0.1007 | 7.4362
50 | -0.14662 | -0.036936 | 0.14667 | 0.036968 | 5.0452e-05 | 3.17e-05 | 0.21853 | 0.21853 | 0.21853 | 0.99867 | -0.025441 | 0.99905 | -0.018249 | 15.009
51 | 0.043486 | 0.010921 | -0.043463 | -0.010906 | 2.2655e-05 | 1.4313e-05 | 0.064923 | 0.064923 | 0.064923 | 0.9968 | -0.061307 | 0.99624 | -0.072233 | 17.8359
52 | -0.15493 | -0.039037 | 0.15497 | 0.039064 | 4.2888e-05 | 2.6999e-05 | 0.23083 | 0.23083 | 0.23083 | 0.99905 | -0.018249 | 0.99935 | -0.012463 | 15.8536
53 | 0.03879 | 0.0097349 | -0.038782 | -0.0097298 | 8.0842e-06 | 5.0903e-06 | 0.057942 | 0.057942 | 0.057942 | 0.99624 | -0.072233 | 0.99601 | -0.076604 | 15.9182
54 | -0.15693 | -0.039555 | 0.15694 | 0.039563 | 1.2668e-05 | 7.9779e-06 | 0.23375 | 0.23375 | 0.23375 | 0.99935 | -0.012463 | 0.99944 | -0.010776 | 16.054
55 | 0.032937 | 0.008265 | -0.032928 | -0.0082594 | 8.9527e-06 | 5.6015e-06 | 0.049211 | 0.049211 | 0.049211 | 0.99601 | -0.076604 | 0.99572 | -0.082306 | 13.5194
56 | 0.015468 | 0.0038775 | -0.015466 | -0.0038764 | 1.9611e-06 | 1.1283e-06 | 0.023139 | 0.023139 | 0.023139 | 0.99476 | -0.1007 | 0.99462 | -0.10336 | 6.3568
57 | 0.023602 | 0.0059187 | -0.023594 | -0.0059139 | 7.8365e-06 | 4.7972e-06 | 0.035284 | 0.035284 | 0.035284 | 0.99538 | -0.088772 | 0.99502 | -0.095741 | 9.6934
58 | -0.026234 | -0.0065784 | 0.026235 | 0.0065793 | 1.547e-06 | 9.5523e-07 | 0.039219 | 0.039219 | 0.039219 | 0.99538 | -0.088772 | 0.99544 | -0.087535 | 10.7743
59 | 0.021051 | 0.0052765 | -0.02105 | -0.0052765 | 8.2054e-08 | 4.9647e-08 | 0.031481 | 0.031481 | 0.031481 | 0.99502 | -0.095741 | 0.99502 | -0.095823 | 8.6485
60 | -0.029525 | -0.0074038 | 0.029532 | 0.0074084 | 7.3598e-06 | 4.5792e-06 | 0.044136 | 0.044136 | 0.044136 | 0.99544 | -0.087535 | 0.99572 | -0.082306 | 12.1253
61 | 0.012752 | 0.0031967 | -0.01275 | -0.0031958 | 1.6796e-06 | 9.15e-07 | 0.019071 | 0.019071 | 0.019071 | 0.99502 | -0.095823 | 0.99487 | -0.098587 | 5.2392
62 | 0.010691 | 0.0026795 | -0.010689 | -0.0026787 | 1.7182e-06 | 8.6701e-07 | 0.01599 | 0.01599 | 0.01599 | 0.99487 | -0.098587 | 0.9947 | -0.10196 | 4.3928
63 | 0.0083339 | 0.0020885 | -0.0083327 | -0.002088 | 1.1887e-06 | 4.9608e-07 | 0.012467 | 0.012467 | 0.012467 | 0.9947 | -0.10196 | 0.99454 | -0.10496 | 3.425
64 | 0.011147 | 0.0027938 | -0.011146 | -0.0027933 | 8.7907e-07 | 4.5321e-07 | 0.016676 | 0.016676 | 0.016676 | 0.99462 | -0.10336 | 0.99454 | -0.10501 | 4.5814
65 | 0.0071666 | 0.001796 | -0.0071658 | -0.0017957 | 8.3184e-07 | 2.8205e-07 | 0.010723 | 0.010723 | 0.010723 | 0.99454 | -0.10501 | 0.99441 | -0.10745 | 2.9458
66 | 0.0037657 | 0.00094358 | -0.0037654 | -0.0009437 | 2.6027e-07 | -1.1698e-07 | 0.0056348 | 0.0056349 | 0.0056349 | 0.99441 | -0.10745 | 0.99434 | -0.1089 | 1.548
67 | 0.0068445 | 0.001715 | -0.006844 | -0.0017148 | 5.9855e-07 | 1.8559e-07 | 0.010241 | 0.010241 | 0.010241 | 0.99454 | -0.10496 | 0.99445 | -0.10679 | 2.8134
68 | 0.0028846 | 0.00072283 | -0.0028846 | -0.00072294 | 8.4636e-08 | -1.03e-07 | 0.0043163 | 0.0043164 | 0.0043164 | 0.99445 | -0.10679 | 0.99442 | -0.10741 | 1.1858
69 | 0.0039593 | 0.00099199 | -0.0039588 | -0.00099217 | 5.123e-07 | -1.7704e-07 | 0.0059243 | 0.0059245 | 0.0059245 | 0.99445 | -0.10679 | 0.99431 | -0.10951 | 1.6276
70 | -0.0026319 | -0.00065963 | 0.0026321 | 0.00065942 | 1.307e-07 | -2.0308e-07 | 0.0039548 | 0.0039547 | 0.0039548 | 0.99029 | -0.18676 | 0.99034 | -0.18571 | 1.0865
71 | -0.0059294 | -0.0014858 | 0.0059294 | 0.0014858 | 3.447e-08 | 7.1587e-09 | 0.0089089 | 0.0089089 | 0.0089089 | 0.99034 | -0.18571 | 0.99035 | -0.18559 | 2.4475
72 | -0.022485 | -0.0056358 | 0.022486 | 0.0056362 | 6.677e-07 | 4.0727e-07 | 0.03379 | 0.03379 | 0.03379 | 0.9902 | -0.18852 | 0.99023 | -0.1879 | 9.283
73 | 0.012761 | 0.0031988 | -0.01276 | -0.003198 | 1.4598e-06 | 7.9812e-07 | 0.019177 | 0.019177 | 0.019177 | 0.9902 | -0.18852 | 0.99007 | -0.19092 | 5.2685
74 | -0.02718 | -0.0068126 | 0.027192 | 0.0068199 | 1.1764e-05 | 7.287e-06 | 0.040843 | 0.040843 | 0.040843 | 0.99023 | -0.1879 | 0.9907 | -0.17882 | 11.2207
75 | 0.01035 | 0.0025941 | -0.01035 | -0.0025941 | 6.419e-08 | 3.1985e-08 | 0.015556 | 0.015556 | 0.015556 | 0.99007 | -0.19092 | 0.99007 | -0.19105 | 4.2737
76 | -0.048119 | -0.012065 | 0.048131 | 0.012072 | 1.1866e-05 | 7.5163e-06 | 0.072276 | 0.072276 | 0.072276 | 0.9907 | -0.17882 | 0.99096 | -0.17364 | 19.856
77 | -0.083531 | -0.020944 | 0.083597 | 0.020986 | 6.5431e-05 | 4.1733e-05 | 0.12543 | 0.12543 | 0.12543 | 0.99096 | -0.17364 | 0.99181 | -0.15722 | 34.4596
78 | -0.34336 | -0.086685 | 0.34363 | 0.086856 | 0.00026809 | 0.00017101 | 0.51325 | 0.51324 | 0.51325 | 0.99592 | -0.078054 | 0.99677 | -0.06177 | 35.2504
79 | 0.091813 | 0.023082 | -0.091679 | -0.022996 | 0.00013414 | 8.5603e-05 | 0.13754 | 0.13754 | 0.13754 | 0.99349 | -0.12489 | 0.9919 | -0.15553 | 37.7858
80 | -0.42687 | -0.10772 | 0.42706 | 0.10783 | 0.00018177 | 0.00011608 | 0.63751 | 0.63751 | 0.63751 | 0.99677 | -0.06177 | 0.99723 | -0.052882 | 43.7852
81 | 0.052737 | 0.013236 | -0.052701 | -0.013213 | 3.5889e-05 | 2.2772e-05 | 0.079121 | 0.079121 | 0.079121 | 0.9919 | -0.15553 | 0.99116 | -0.16981 | 21.7364
82 | 0.039442 | 0.0098904 | -0.039431 | -0.0098836 | 1.0726e-05 | 6.7595e-06 | 0.059215 | 0.059215 | 0.059215 | 0.99116 | -0.16981 | 0.99087 | -0.17552 | 16.2679
83 | 0.014986 | 0.0037571 | -0.014983 | -0.0037554 | 2.8295e-06 | 1.619e-06 | 0.022505 | 0.022505 | 0.022505 | 0.99087 | -0.17552 | 0.99067 | -0.17948 | 6.1827
84 | 0.010758 | 0.0026967 | -0.010756 | -0.0026957 | 1.9397e-06 | 9.864e-07 | 0.01616 | 0.01616 | 0.01616 | 0.99067 | -0.17948 | 0.99047 | -0.18327 | 4.4395
85 | -0.42706 | -0.10783 | 0.42814 | 0.10853 | 0.0010851 | 0.00069295 | 0.63751 | 0.63751 | 0.63751 | 0.99723 | -0.052882 | 1 | 0 | 43.7852
86 | 0.0073125 | 0.0018325 | -0.0073117 | -0.0018322 | 8.0984e-07 | 2.8802e-07 | 0.010986 | 0.010986 | 0.010986 | 0.99047 | -0.18327 | 0.99035 | -0.18559 | 3.0181
87 | -0.0040613 | -0.0010179 | 0.0040614 | 0.0010178 | 9.613e-08 | -2.8159e-08 | 0.0060834 | 0.0060834 | 0.0060834 | 0.9934 | -0.12691 | 0.99343 | -0.12641 | 1.6713
88 | 0.15949 | 0.040233 | -0.15941 | -0.040181 | 8.2241e-05 | 5.1818e-05 | 0.23742 | 0.23742 | 0.23742 | 1 | 0 | 0.99944 | -0.010776 | 16.3063

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.59205 | 0.14945

## res_load
| p_mw | q_mvar
0 | 0.006164 | 0.0015449
1 | 0.0062645 | 0.00157
2 | 0.0024653 | 0.00061785
3 | 0.0021786 | 0.000546
4 | 0.0064232 | 0.0016098
5 | 0.0014818 | 0.00037136
6 | 0.0024998 | 0.0006265
7 | 0.0015049 | 0.00037715
8 | 0.0016929 | 0.00042429
9 | 0.0018584 | 0.00046577
10 | 0.0063661 | 0.0015955
11 | 0.0056768 | 0.0014227
12 | 0.0015274 | 0.00038279
13 | 0.0054336 | 0.0013618
14 | 0.0019065 | 0.00047782
15 | 0.0018406 | 0.00046129
16 | 0.02037 | 0.0051051
17 | 0.0093905 | 0.0023535
18 | 0.0021219 | 0.00053179
19 | 0.0016084 | 0.0004031
20 | 0.00027853 | 6.9807e-05
21 | 0.0014537 | 0.00036432
22 | 0.0032257 | 0.00080843
23 | 0.0031418 | 0.00078741
24 | 0.0034837 | 0.0008731
25 | 0.0024565 | 0.00061565
26 | 0.0031656 | 0.00079337
27 | 0.0086761 | 0.0021744
28 | 0.0087531 | 0.0021937
29 | 0.0045956 | 0.0011518
30 | 0.003133 | 0.0007852
31 | 0.0048274 | 0.0012099
32 | 0.0085807 | 0.0021505
33 | 0.0033246 | 0.00083322
34 | 0.0030532 | 0.00076521
35 | 0.0028534 | 0.00071512
36 | 0.0040369 | 0.0010118
37 | 0.0049311 | 0.0012359
38 | 0.0031288 | 0.00078415
39 | 0.0082564 | 0.0020693
40 | 0.0046735 | 0.0011713
41 | 0.0019599 | 0.0004912
42 | 0.0058445 | 0.0014648
43 | 0.0026267 | 0.00065832
44 | 0.002632 | 0.00065965
45 | 0.0025433 | 0.00063741
46 | 0.0032897 | 0.00082447
47 | 0.0082983 | 0.0020797
48 | 0.0033958 | 0.00085106
49 | 0.0020599 | 0.00051627
50 | 0.0023549 | 0.0005902
51 | 0.0043196 | 0.0010826
52 | 0.0039793 | 0.0009973
53 | 0.0034001 | 0.00085215
54 | 0.0037654 | 0.0009437
55 | 0.0014882 | 0.00037297
56 | 0.0028846 | 0.00072294
57 | 0.0039588 | 0.00099217
58 | 0.0026319 | 0.00065963
59 | 0.0032973 | 0.00082638
60 | 0.009724 | 0.0024371
61 | 0.0046936 | 0.0011763
62 | 0.0024095 | 0.00060388
63 | 0.020927 | 0.0052449
64 | 0.01035 | 0.0025941
65 | 0.035401 | 0.0088722
66 | 0.01136 | 0.0028471
67 | 0.048566 | 0.012172
68 | 0.017609 | 0.0044132
69 | 0.083243 | 0.020863
70 | 0.038942 | 0.0097598
71 | 0.013259 | 0.003323
72 | 0.024445 | 0.0061265
73 | 0.0042246 | 0.0010588
74 | 0.003444 | 0.00086315
75 | 0.0013823 | 0.00034643
76 | 0.0040613 | 0.0010179
77 | 0.0037131 | 0.00093059
78 | 0.0027672 | 0.00069352
79 | 0.0024669 | 0.00061827

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1