## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1372-56_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1372-56_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1372-56_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1372-56_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1372-56_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1372-56_0_3_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_1372-56_0_3_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_1372-56_0_3_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_1372-56_0_3_node_34 | 0.4 | n |  | TRUE
9 | bus_LV_1372-56_0_3_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_1372-56_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_1372-56_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1372-56_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1372-56_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1372-56_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1372-56_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1372-56_0_3_node_33 | 0.4 | n |  | TRUE
17 | bus_LV_1372-56_0_3_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_1372-56_0_3_node_35 | 0.4 | n |  | TRUE
19 | bus_LV_1372-56_0_3_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_1372-56_0_3_node_39 | 0.4 | n |  | TRUE
21 | bus_LV_1372-56_0_3_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_1372-56_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1372-56_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1372-56_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_1372-56_0_3_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_1372-56_0_3_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_1372-56_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1372-56_0_3_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_1372-56_0_3_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_1372-56_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_1372-56_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_1372-56_0_3_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_1372-56_0_3_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_1372-56_0_3_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_1372-56_0_3_node_31 | 0.4 | n |  | TRUE
36 | bus_MV_22_1_node_123 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1372-56_0_3_load_0 | 0 | 0.0066948 | 0.0016779 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1372-56_0_3_load_1 | 1 | 0.0077302 | 0.0019374 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1372-56_0_3_load_2 | 2 | 0.0074897 | 0.0018771 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1372-56_0_3_load_4 | 4 | 0.0035458 | 0.00088867 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1372-56_0_3_load_17 | 5 | 0.0071426 | 0.0017901 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1372-56_0_3_load_18 | 6 | 0.010054 | 0.0025197 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1372-56_0_3_load_34 | 8 | 0.015497 | 0.0038839 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1372-56_0_3_load_5 | 10 | 0.008734 | 0.002189 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1372-56_0_3_load_6 | 11 | 0.080903 | 0.020276 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1372-56_0_3_load_33 | 16 | 0.010717 | 0.0026861 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1372-56_0_3_load_36 | 17 | 0.035146 | 0.0088085 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1372-56_0_3_load_35 | 18 | 0.050125 | 0.012563 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1372-56_0_3_load_39 | 20 | 0.065166 | 0.016332 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1372-56_0_3_load_26 | 21 | 0.0021532 | 0.00053965 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1372-56_0_3_load_13 | 22 | 0.0087027 | 0.0021811 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1372-56_0_3_load_14 | 23 | 0.0037017 | 0.00092773 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1372-56_0_3_load_22 | 25 | 0.0025599 | 0.00064157 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1372-56_0_3_load_23 | 26 | 0.0067814 | 0.0016996 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1372-56_0_3_load_20 | 27 | 0.0057704 | 0.0014462 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1372-56_0_3_load_27 | 28 | 0.028946 | 0.0072545 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1372-56_0_3_load_38 | 29 | 0.02069 | 0.0051854 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1372-56_0_3_load_24 | 30 | 0.00096471 | 0.00024178 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1372-56_0_3_load_19 | 31 | 0.0057597 | 0.0014435 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1372-56_0_3_load_21 | 32 | 0.0088443 | 0.0022166 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1372-56_0_3_load_25 | 33 | 0.0033932 | 0.00085041 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1372-56_0_3_load_37 | 34 | 0.032523 | 0.008151 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1372-56_0_3_load_31 | 35 | 0.0018468 | 0.00046284 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1372-56_0_3_line_0 |  | 0 | 1 | 0.0024172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1372-56_0_3_line_1 |  | 0 | 2 | 0.014384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1372-56_0_3_line_2 |  | 1 | 3 | 0.0065313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1372-56_0_3_line_3 |  | 2 | 4 | 0.0070093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1372-56_0_3_line_4 |  | 3 | 5 | 0.027613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1372-56_0_3_line_5 |  | 3 | 6 | 0.011461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1372-56_0_3_line_6 |  | 4 | 7 | 0.011727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1372-56_0_3_line_7 |  | 7 | 8 | 0.030479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1372-56_0_3_line_8 |  | 7 | 9 | 0.029317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1372-56_0_3_line_9 |  | 8 | 21 | 0.0040213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1372-56_0_3_line_10 |  | 9 | 18 | 0.0055849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1372-56_0_3_line_11 |  | 10 | 11 | 0.04167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1372-56_0_3_line_12 |  | 10 | 12 | 0.027019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1372-56_0_3_line_13 |  | 11 | 13 | 0.035494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1372-56_0_3_line_14 |  | 12 | 14 | 0.036459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1372-56_0_3_line_15 |  | 13 | 15 | 0.027464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1372-56_0_3_line_16 |  | 14 | 16 | 0.076717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1372-56_0_3_line_17 |  | 15 | 17 | 0.010757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_1372-56_0_3_line_18 |  | 15 | 18 | 0.031503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_1372-56_0_3_line_19 |  | 16 | 19 | 0.033032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1372-56_0_3_line_20 |  | 17 | 20 | 0.0044036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_1372-56_0_3_line_21 |  | 19 | 35 | 0.014965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1372-56_0_3_line_22 |  | 20 | 34 | 0.011674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_1372-56_0_3_line_23 |  | 21 | 24 | 0.017903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1372-56_0_3_line_24 |  | 22 | 23 | 0.0216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1372-56_0_3_line_25 |  | 23 | 24 | 0.080335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1372-56_0_3_line_26 |  | 24 | 25 | 0.02265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1372-56_0_3_line_27 |  | 24 | 26 | 0.09255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1372-56_0_3_line_28 |  | 25 | 27 | 0.022846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1372-56_0_3_line_29 |  | 26 | 30 | 0.0056635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1372-56_0_3_line_30 |  | 27 | 31 | 0.01602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1372-56_0_3_line_31 |  | 28 | 29 | 0.0012639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_1372-56_0_3_line_32 |  | 29 | 34 | 0.0087528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_1372-56_0_3_line_33 |  | 30 | 33 | 0.05926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1372-56_0_3_line_34 |  | 31 | 32 | 0.0038908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1372-56_0_3_trafo_27 | 0.63 MVA 20/0.4 kV | 36 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2692379.7509 | 1208619.5096 | 2692377.5565 | 1208620.5233
1 | 2692379.7509 | 1208619.5096 | 2692383.528 | 1208617.7649 | 2692387.405 | 1208614.3782 | 2692390.2101 | 1208610.1485
2 | 2692371.6272 | 1208623.2622 | 2692377.5565 | 1208620.5233
3 | 2692394.0841 | 1208604.307 | 2692390.2101 | 1208610.1485
4 | 2692371.6272 | 1208623.2622 | 2692354.8124 | 1208630.8626 | 2692346.7905 | 1208635.2859
5 | 2692371.6272 | 1208623.2622 | 2692366.8998 | 1208612.822
6 | 2692399.2129 | 1208593.7805 | 2692396.1106 | 1208600.6593 | 2692394.9957 | 1208602.9325 | 2692394.0841 | 1208604.307
7 | 2692399.2129 | 1208593.7805 | 2692420.5517 | 1208615.543
8 | 2692399.2129 | 1208593.7805 | 2692395.5078 | 1208580.6699 | 2692394.972 | 1208575.9918 | 2692394.4287 | 1208571.3025 | 2692400.5687 | 1208570.0634
9 | 2692420.5517 | 1208615.543 | 2692421.3091 | 1208616.3155 | 2692423.433 | 1208618.3476
10 | 2692400.5687 | 1208570.0634 | 2692406.0077 | 1208568.7949
11 | 2692536.9221 | 1208574.9493 | 2692516.2356 | 1208568.921 | 2692496.9152 | 1208563.2947
12 | 2692562.8623 | 1208582.5086 | 2692536.9221 | 1208574.9493
13 | 2692462.6555 | 1208554.0919 | 2692472.4395 | 1208556.1671 | 2692496.9152 | 1208563.2947
14 | 2692598.87 | 1208588.5378 | 2692584.6534 | 1208586.9495 | 2692568.6997 | 1208584.1113 | 2692562.8623 | 1208582.5086
15 | 2692435.9407 | 1208559.2372 | 2692446.2403 | 1208555.5164 | 2692452.1942 | 1208554.508 | 2692457.1267 | 1208554.1619 | 2692462.6555 | 1208554.0919
16 | 2692598.87 | 1208588.5378 | 2692599.5518 | 1208594.5746 | 2692602.4783 | 1208604.9158 | 2692598.9862 | 1208649.625 | 2692598.4294 | 1208655.12 | 2692598.9053 | 1208657.7736 | 2692600.6312 | 1208664.3821
17 | 2692435.9407 | 1208559.2372 | 2692439.5252 | 1208569.3791
18 | 2692435.9407 | 1208559.2372 | 2692419.0122 | 1208565.8128 | 2692407.8106 | 1208568.3744 | 2692406.0077 | 1208568.7949
19 | 2692605.1039 | 1208696.8293 | 2692605.4492 | 1208689.2851 | 2692605.0486 | 1208681.2958 | 2692600.6312 | 1208664.3821
20 | 2692439.5252 | 1208569.3791 | 2692440.9926 | 1208573.531
21 | 2692605.1039 | 1208696.8293 | 2692603.1668 | 1208701.1243 | 2692600.3143 | 1208704.638 | 2692595.3958 | 1208707.573
22 | 2692446.796 | 1208583.6211 | 2692444.033 | 1208579.2092 | 2692441.5713 | 1208575.1684 | 2692440.9926 | 1208573.531
23 | 2692436.3687 | 1208630.725 | 2692423.433 | 1208618.3476
24 | 2692424.6622 | 1208722.8404 | 2692435.6882 | 1208704.2667
25 | 2692436.3687 | 1208630.725 | 2692446.7823 | 1208645.1515 | 2692450.5016 | 1208662.732 | 2692447.8539 | 1208679.0352 | 2692439.9869 | 1208697.0254 | 2692435.6882 | 1208704.2667
26 | 2692436.3687 | 1208630.725 | 2692434.3592 | 1208632.3394 | 2692429.7838 | 1208640.5629 | 2692425.6445 | 1208650.3887
27 | 2692436.3687 | 1208630.725 | 2692444.5415 | 1208635.199 | 2692493.9975 | 1208674.2024 | 2692508.6859 | 1208688.1381
28 | 2692425.6445 | 1208650.3887 | 2692420.1929 | 1208663.3297 | 2692411.5398 | 1208664.9533
29 | 2692508.6859 | 1208688.1381 | 2692512.7945 | 1208692.0361
30 | 2692411.5398 | 1208664.9533 | 2692398.3534 | 1208667.4276 | 2692397.6515 | 1208664.9208
31 | 2692450.9969 | 1208592.5149 | 2692450.8256 | 1208591.2626
32 | 2692446.796 | 1208583.6211 | 2692450.6144 | 1208589.7182 | 2692450.8256 | 1208591.2626
33 | 2692548.5072 | 1208739.2535 | 2692532.7933 | 1208717.5995 | 2692515.6451 | 1208694.7406 | 2692512.7945 | 1208692.0361
34 | 2692396.6026 | 1208661.1741 | 2692397.6515 | 1208664.9208

## bus_geodata
| x | y | coords
0 | 2692379.7509 | 1208619.5096
1 | 2692377.5565 | 1208620.5233
2 | 2692390.2101 | 1208610.1485
3 | 2692371.6272 | 1208623.2622
4 | 2692394.0841 | 1208604.307
5 | 2692346.7905 | 1208635.2859
6 | 2692366.8998 | 1208612.822
7 | 2692399.2129 | 1208593.7805
8 | 2692420.5517 | 1208615.543
9 | 2692400.5687 | 1208570.0634
10 | 2692536.9221 | 1208574.9493
11 | 2692496.9152 | 1208563.2947
12 | 2692562.8623 | 1208582.5086
13 | 2692462.6555 | 1208554.0919
14 | 2692598.87 | 1208588.5378
15 | 2692435.9407 | 1208559.2372
16 | 2692600.6312 | 1208664.3821
17 | 2692439.5252 | 1208569.3791
18 | 2692406.0077 | 1208568.7949
19 | 2692605.1039 | 1208696.8293
20 | 2692440.9926 | 1208573.531
21 | 2692423.433 | 1208618.3476
22 | 2692424.6622 | 1208722.8404
23 | 2692435.6882 | 1208704.2667
24 | 2692436.3687 | 1208630.725
25 | 2692425.6445 | 1208650.3887
26 | 2692508.6859 | 1208688.1381
27 | 2692411.5398 | 1208664.9533
28 | 2692450.9969 | 1208592.5149
29 | 2692450.8256 | 1208591.2626
30 | 2692512.7945 | 1208692.0361
31 | 2692397.6515 | 1208664.9208
32 | 2692396.6026 | 1208661.1741
33 | 2692548.5072 | 1208739.2535
34 | 2692446.796 | 1208583.6211
35 | 2692595.3958 | 1208707.573
36 | 2692435.9407 | 1208559.2372

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98946 | -0.20268 | 0.0066948 | 0.0016779
1 | 0.9894 | -0.20375 | 0.0077302 | 0.0019374
2 | 0.98988 | -0.19459 | 0.0074897 | 0.0018771
3 | 0.9893 | -0.20575 | 0 | 0
4 | 0.99013 | -0.18971 | 0.0035458 | 0.00088867
5 | 0.98912 | -0.20927 | 0.0071426 | 0.0017901
6 | 0.9892 | -0.2078 | 0.010054 | 0.0025197
7 | 0.99059 | -0.18082 | 0 | 0
8 | 0.98879 | -0.21561 | 0.015497 | 0.0038839
9 | 0.99346 | -0.12536 | 0 | 0
10 | 0.98956 | -0.20079 | 0.008734 | 0.002189
11 | 0.99038 | -0.185 | 0.080903 | 0.020276
12 | 0.98925 | -0.20684 | 0 | 0
13 | 0.9937 | -0.12075 | 0 | 0
14 | 0.98883 | -0.215 | 0 | 0
15 | 0.99627 | -0.071332 | 0 | 0
16 | 0.98795 | -0.2322 | 0.010717 | 0.0026861
17 | 0.99712 | -0.05503 | 0.035146 | 0.0088085
18 | 0.99401 | -0.11484 | 0.050125 | 0.012563
19 | 0.98789 | -0.23329 | 0 | 0
20 | 0.99752 | -0.04746 | 0.065166 | 0.016332
21 | 0.98861 | -0.21909 | 0.0021532 | 0.00053965
22 | 0.98676 | -0.25513 | 0.0087027 | 0.0021811
23 | 0.98693 | -0.25177 | 0.0037017 | 0.00092773
24 | 0.98785 | -0.23395 | 0 | 0
25 | 0.98737 | -0.24323 | 0.0025599 | 0.00064157
26 | 0.9869 | -0.25239 | 0.0067814 | 0.0016996
27 | 0.98694 | -0.25156 | 0.0057704 | 0.0014462
28 | 1 | 0 | -0.41696 | -0.10511
29 | 0.99984 | -0.0030308 | 0.02069 | 0.0051854
30 | 0.98688 | -0.25283 | 0.00096471 | 0.00024178
31 | 0.98673 | -0.25575 | 0.0057597 | 0.0014435
32 | 0.98669 | -0.25636 | 0.0088443 | 0.0022166
33 | 0.98669 | -0.25643 | 0.0033932 | 0.00085041
34 | 0.9988 | -0.022991 | 0.032523 | 0.008151
35 | 0.98786 | -0.23379 | 0.0018468 | 0.00046284
36 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.024932 | 0.0062498 | -0.02493 | -0.0062491 | 1.2743e-06 | 7.8451e-07 | 0.037494 | 0.037494 | 0.037494 | 0.98946 | -0.20268 | 0.9894 | -0.20375 | 10.3007
1 | -0.031626 | -0.0079277 | 0.031639 | 0.0079353 | 1.2202e-05 | 7.6246e-06 | 0.047563 | 0.047562 | 0.047563 | 0.98946 | -0.20268 | 0.98988 | -0.19459 | 13.0666
2 | 0.0172 | 0.0043117 | -0.017199 | -0.0043107 | 1.639e-06 | 9.6509e-07 | 0.025869 | 0.025869 | 0.025869 | 0.9894 | -0.20375 | 0.9893 | -0.20575 | 7.1068
3 | -0.039128 | -0.0098124 | 0.039137 | 0.0098181 | 9.0944e-06 | 5.7303e-06 | 0.058821 | 0.058821 | 0.058821 | 0.98988 | -0.19459 | 0.99013 | -0.18971 | 16.1597
4 | 0.0071437 | 0.0017905 | -0.0071426 | -0.0017901 | 1.1956e-06 | 4.1066e-07 | 0.010745 | 0.010745 | 0.010745 | 0.9893 | -0.20575 | 0.98912 | -0.20927 | 2.952
5 | 0.010055 | 0.0025202 | -0.010054 | -0.0025197 | 9.83e-07 | 4.8198e-07 | 0.015124 | 0.015124 | 0.015124 | 0.9893 | -0.20575 | 0.9892 | -0.2078 | 4.1549
6 | -0.042683 | -0.010707 | 0.042701 | 0.010718 | 1.8098e-05 | 1.1432e-05 | 0.06415 | 0.06415 | 0.06415 | 0.99013 | -0.18971 | 0.99059 | -0.18082 | 17.6236
7 | 0.06432 | 0.01619 | -0.064213 | -0.016122 | 0.00010675 | 6.7929e-05 | 0.096644 | 0.096644 | 0.096644 | 0.99059 | -0.18082 | 0.98879 | -0.21561 | 26.5505
8 | -0.10702 | -0.026908 | 0.10731 | 0.02709 | 0.00028424 | 0.00018154 | 0.16079 | 0.16079 | 0.16079 | 0.99059 | -0.18082 | 0.99346 | -0.12536 | 44.174
9 | 0.048716 | 0.012238 | -0.048708 | -0.012233 | 8.1073e-06 | 5.1371e-06 | 0.073322 | 0.073322 | 0.073322 | 0.98879 | -0.21561 | 0.98861 | -0.21909 | 20.1435
10 | -0.10731 | -0.02709 | 0.10736 | 0.027124 | 5.4148e-05 | 3.4583e-05 | 0.16079 | 0.16079 | 0.16079 | 0.99346 | -0.12536 | 0.99401 | -0.11484 | 44.174
11 | -0.021317 | -0.0053476 | 0.021333 | 0.0053573 | 1.6058e-05 | 9.7413e-06 | 0.032057 | 0.032057 | 0.032057 | 0.98956 | -0.20079 | 0.99038 | -0.185 | 8.8068
12 | 0.012583 | 0.0031586 | -0.01258 | -0.0031566 | 3.6283e-06 | 1.9751e-06 | 0.018923 | 0.018923 | 0.018923 | 0.98956 | -0.20079 | 0.98925 | -0.20684 | 5.1987
13 | -0.10224 | -0.025634 | 0.10255 | 0.025834 | 0.00031408 | 0.00020055 | 0.15361 | 0.15361 | 0.15361 | 0.99038 | -0.185 | 0.9937 | -0.12075 | 42.2011
14 | 0.01258 | 0.0031566 | -0.012575 | -0.003154 | 4.896e-06 | 2.6655e-06 | 0.018923 | 0.018924 | 0.018924 | 0.98925 | -0.20684 | 0.98883 | -0.215 | 5.1988
15 | -0.10255 | -0.025834 | 0.10279 | 0.025989 | 0.00024302 | 0.00015517 | 0.15361 | 0.15361 | 0.15361 | 0.9937 | -0.12075 | 0.99627 | -0.071332 | 42.201
16 | 0.012575 | 0.003154 | -0.012564 | -0.0031484 | 1.0302e-05 | 5.6103e-06 | 0.018924 | 0.018924 | 0.018924 | 0.98883 | -0.215 | 0.98795 | -0.2322 | 5.1989
17 | -0.26061 | -0.065886 | 0.26081 | 0.066016 | 0.00020393 | 0.00013009 | 0.38944 | 0.38944 | 0.38944 | 0.99627 | -0.071332 | 0.99712 | -0.05503 | 35.6632
18 | 0.15781 | 0.039896 | -0.15749 | -0.039687 | 0.00032851 | 0.00020943 | 0.23583 | 0.23583 | 0.23583 | 0.99627 | -0.071332 | 0.99401 | -0.11484 | 32.3943
19 | 0.0018469 | 0.00046232 | -0.0018468 | -0.00046268 | 9.5845e-08 | -3.6161e-07 | 0.0027816 | 0.0027817 | 0.0027817 | 0.98795 | -0.2322 | 0.98789 | -0.23329 | 0.7642
20 | -0.29596 | -0.074824 | 0.29606 | 0.074893 | 0.00010748 | 6.8618e-05 | 0.44189 | 0.44189 | 0.44189 | 0.99712 | -0.05503 | 0.99752 | -0.04746 | 40.4662
21 | 0.0018468 | 0.00046268 | -0.0018468 | -0.00046284 | 4.3425e-08 | -1.6381e-07 | 0.0027817 | 0.0027818 | 0.0027818 | 0.98789 | -0.23329 | 0.98786 | -0.23379 | 0.76422
22 | -0.36123 | -0.091225 | 0.36166 | 0.091496 | 0.0004241 | 0.00027096 | 0.5391 | 0.5391 | 0.5391 | 0.99752 | -0.04746 | 0.9988 | -0.022991 | 49.3681
23 | 0.046555 | 0.011693 | -0.046522 | -0.011672 | 3.2974e-05 | 2.0874e-05 | 0.070082 | 0.070082 | 0.070082 | 0.98861 | -0.21909 | 0.98785 | -0.23395 | 19.2532
24 | -0.0087027 | -0.0021811 | 0.0087041 | 0.0021817 | 1.395e-06 | 6.1684e-07 | 0.013124 | 0.013123 | 0.013124 | 0.98676 | -0.25513 | 0.98693 | -0.25177 | 3.6054
25 | -0.012406 | -0.0031094 | 0.012416 | 0.0031152 | 1.054e-05 | 5.7178e-06 | 0.018705 | 0.018704 | 0.018705 | 0.98693 | -0.25177 | 0.98785 | -0.23395 | 5.1386
26 | 0.022956 | 0.0057608 | -0.022946 | -0.0057546 | 1.0158e-05 | 6.2111e-06 | 0.034582 | 0.034582 | 0.034582 | 0.98785 | -0.23395 | 0.98737 | -0.24323 | 9.5004
27 | 0.01115 | 0.0027965 | -0.01114 | -0.0027914 | 9.791e-06 | 5.0825e-06 | 0.016796 | 0.016796 | 0.016796 | 0.98785 | -0.23395 | 0.9869 | -0.25239 | 4.6144
28 | 0.020386 | 0.005113 | -0.020378 | -0.0051081 | 8.0872e-06 | 4.8838e-06 | 0.030724 | 0.030724 | 0.030724 | 0.98737 | -0.24323 | 0.98694 | -0.25156 | 8.4406
29 | 0.0043586 | 0.0010918 | -0.0043585 | -0.0010918 | 9.1717e-08 | -1.3666e-08 | 0.0065715 | 0.0065716 | 0.0065716 | 0.9869 | -0.25239 | 0.98688 | -0.25283 | 1.8054
30 | 0.014607 | 0.0036619 | -0.014604 | -0.0036602 | 2.9139e-06 | 1.6602e-06 | 0.022024 | 0.022024 | 0.022024 | 0.98694 | -0.25156 | 0.98673 | -0.25575 | 6.0505
31 | 0.41531 | 0.10511 | -0.41525 | -0.10507 | 6.0408e-05 | 3.8611e-05 | 0.61834 | 0.61834 | 0.61834 | 1 | 0 | 0.99984 | -0.0030308 | 56.6249
32 | 0.39456 | 0.099888 | -0.39418 | -0.099647 | 0.0003777 | 0.00024139 | 0.58755 | 0.58755 | 0.58755 | 0.99984 | -0.0030308 | 0.9988 | -0.022991 | 53.8052
33 | 0.0033938 | 0.00085003 | -0.0033932 | -0.00085041 | 5.8189e-07 | -3.8463e-07 | 0.005117 | 0.0051172 | 0.0051172 | 0.98688 | -0.25283 | 0.98669 | -0.25643 | 1.4058
34 | 0.0088446 | 0.0022167 | -0.0088443 | -0.0022166 | 2.5956e-07 | 1.1642e-07 | 0.013338 | 0.013338 | 0.013338 | 0.98673 | -0.25575 | 0.98669 | -0.25636 | 3.6643

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.4459 | 0.11237

## res_load
| p_mw | q_mvar
0 | 0.0066948 | 0.0016779
1 | 0.0077302 | 0.0019374
2 | 0.0074897 | 0.0018771
3 | 0.0035458 | 0.00088867
4 | 0.0071426 | 0.0017901
5 | 0.010054 | 0.0025197
6 | 0.015497 | 0.0038839
7 | 0.008734 | 0.002189
8 | 0.080903 | 0.020276
9 | 0.010717 | 0.0026861
10 | 0.035146 | 0.0088085
11 | 0.050125 | 0.012563
12 | 0.065166 | 0.016332
13 | 0.0021532 | 0.00053965
14 | 0.0087027 | 0.0021811
15 | 0.0037017 | 0.00092773
16 | 0.0025599 | 0.00064157
17 | 0.0067814 | 0.0016996
18 | 0.0057704 | 0.0014462
19 | 0.028946 | 0.0072545
20 | 0.02069 | 0.0051854
21 | 0.00096471 | 0.00024178
22 | 0.0057597 | 0.0014435
23 | 0.0088443 | 0.0022166
24 | 0.0033932 | 0.00085041
25 | 0.032523 | 0.008151
26 | 0.0018468 | 0.00046284

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1