## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1372-6_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1372-6_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1372-6_0_2_node_80 | 0.4 | n |  | TRUE
3 | bus_LV_1372-6_0_2_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_1372-6_0_2_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_1372-6_0_2_node_29 | 0.4 | n |  | TRUE
6 | bus_LV_1372-6_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1372-6_0_2_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_1372-6_0_2_node_81 | 0.4 | n |  | TRUE
9 | bus_LV_1372-6_0_2_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1372-6_0_2_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_1372-6_0_2_node_77 | 0.4 | n |  | TRUE
12 | bus_LV_1372-6_0_2_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_1372-6_0_2_node_78 | 0.4 | n |  | TRUE
14 | bus_LV_1372-6_0_2_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_1372-6_0_2_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_1372-6_0_2_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_1372-6_0_2_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_1372-6_0_2_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1372-6_0_2_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_1372-6_0_2_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1372-6_0_2_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_1372-6_0_2_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1372-6_0_2_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1372-6_0_2_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_1372-6_0_2_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_1372-6_0_2_node_69 | 0.4 | n |  | TRUE
27 | bus_LV_1372-6_0_2_node_65 | 0.4 | n |  | TRUE
28 | bus_LV_1372-6_0_2_node_66 | 0.4 | n |  | TRUE
29 | bus_LV_1372-6_0_2_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_1372-6_0_2_node_68 | 0.4 | n |  | TRUE
31 | bus_LV_1372-6_0_2_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_1372-6_0_2_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_1372-6_0_2_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_1372-6_0_2_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_1372-6_0_2_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_1372-6_0_2_node_75 | 0.4 | n |  | TRUE
37 | bus_LV_1372-6_0_2_node_76 | 0.4 | n |  | TRUE
38 | bus_LV_1372-6_0_2_node_71 | 0.4 | n |  | TRUE
39 | bus_LV_1372-6_0_2_node_70 | 0.4 | n |  | TRUE
40 | bus_LV_1372-6_0_2_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_1372-6_0_2_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_1372-6_0_2_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_1372-6_0_2_node_63 | 0.4 | n |  | TRUE
44 | bus_LV_1372-6_0_2_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_1372-6_0_2_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_1372-6_0_2_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_1372-6_0_2_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_1372-6_0_2_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_1372-6_0_2_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_1372-6_0_2_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_1372-6_0_2_node_67 | 0.4 | n |  | TRUE
52 | bus_LV_1372-6_0_2_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_1372-6_0_2_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_1372-6_0_2_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_1372-6_0_2_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_1372-6_0_2_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_1372-6_0_2_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_1372-6_0_2_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_1372-6_0_2_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_1372-6_0_2_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_1372-6_0_2_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_1372-6_0_2_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_1372-6_0_2_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_1372-6_0_2_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_1372-6_0_2_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_1372-6_0_2_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_1372-6_0_2_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_1372-6_0_2_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_1372-6_0_2_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_1372-6_0_2_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_1372-6_0_2_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_1372-6_0_2_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_1372-6_0_2_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_1372-6_0_2_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_1372-6_0_2_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_1372-6_0_2_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_1372-6_0_2_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_1372-6_0_2_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_1372-6_0_2_node_74 | 0.4 | n |  | TRUE
80 | bus_MV_133_1_node_207 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1372-6_0_2_load_0 | 0 | 0.0039361 | 0.00098647 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1372-6_0_2_load_80 | 2 | 0.0012438 | 0.00031172 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1372-6_0_2_load_2 | 3 | 0.0008971 | 0.00022483 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1372-6_0_2_load_3 | 4 | 0.0015281 | 0.00038299 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1372-6_0_2_load_29 | 5 | 0.0052911 | 0.0013261 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1372-6_0_2_load_28 | 7 | 0.0039763 | 0.00099656 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1372-6_0_2_load_81 | 8 | 0.0012542 | 0.00031434 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1372-6_0_2_load_5 | 9 | 0.00083755 | 0.00020991 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1372-6_0_2_load_23 | 12 | 0.00056578 | 0.0001418 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1372-6_0_2_load_78 | 13 | 0.0013494 | 0.00033819 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1372-6_0_2_load_6 | 14 | 0.00032491 | 8.1429e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1372-6_0_2_load_7 | 15 | 0.0002243 | 5.6214e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1372-6_0_2_load_9 | 17 | 0.00020362 | 5.1031e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1372-6_0_2_load_10 | 18 | 0.00030606 | 7.6706e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1372-6_0_2_load_11 | 19 | 0.00036715 | 9.2016e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1372-6_0_2_load_20 | 24 | 0.0011024 | 0.00027628 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1372-6_0_2_load_69 | 26 | 0.0012402 | 0.00031083 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1372-6_0_2_load_65 | 27 | 0.00038575 | 9.6679e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1372-6_0_2_load_66 | 28 | 0.0015215 | 0.00038131 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1372-6_0_2_load_68 | 30 | 0.0012022 | 0.00030129 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1372-6_0_2_load_22 | 31 | 0.00021112 | 5.2912e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1372-6_0_2_load_15 | 32 | 0.0043299 | 0.0010852 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1372-6_0_2_load_16 | 33 | 0.0026424 | 0.00066224 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1372-6_0_2_load_21 | 35 | 0.00034857 | 8.736e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1372-6_0_2_load_75 | 36 | 0.00041786 | 0.00010472 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1372-6_0_2_load_76 | 37 | 0.00022545 | 5.6504e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1372-6_0_2_load_71 | 38 | 0.00039978 | 0.00010019 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1372-6_0_2_load_70 | 39 | 0.00032168 | 8.062e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1372-6_0_2_load_27 | 40 | 0.00039422 | 9.8802e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1372-6_0_2_load_25 | 41 | 0.0016106 | 0.00040365 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1372-6_0_2_load_26 | 42 | 0.0005368 | 0.00013454 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1372-6_0_2_load_30 | 44 | 0.0003934 | 9.8596e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1372-6_0_2_load_33 | 46 | 0.0020772 | 0.00052059 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1372-6_0_2_load_35 | 47 | 0.0054069 | 0.0013551 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1372-6_0_2_load_36 | 48 | 0.0017429 | 0.0004368 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1372-6_0_2_load_37 | 49 | 0.0028505 | 0.00071441 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1372-6_0_2_load_54 | 50 | 0.0010909 | 0.00027341 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1372-6_0_2_load_67 | 51 | 0.0024655 | 0.00061792 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1372-6_0_2_load_39 | 53 | 0.0019431 | 0.00048698 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1372-6_0_2_load_40 | 54 | 0.0021419 | 0.0005368 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1372-6_0_2_load_47 | 56 | 0.0028317 | 0.00070968 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1372-6_0_2_load_46 | 57 | 0.0032029 | 0.00080273 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1372-6_0_2_load_42 | 58 | 0.0020448 | 0.00051248 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1372-6_0_2_load_48 | 59 | 0.0025194 | 0.00063143 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1372-6_0_2_load_41 | 60 | 0.0016709 | 0.00041877 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1372-6_0_2_load_43 | 61 | 0.0020704 | 0.0005189 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1372-6_0_2_load_45 | 62 | 0.0048367 | 0.0012122 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1372-6_0_2_load_55 | 63 | 0.0014008 | 0.00035107 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1372-6_0_2_load_62 | 64 | 0.0021778 | 0.0005458 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1372-6_0_2_load_53 | 65 | 0.00071986 | 0.00018042 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1372-6_0_2_load_51 | 66 | 0.0021587 | 0.00054103 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1372-6_0_2_load_49 | 67 | 0.0041112 | 0.0010304 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1372-6_0_2_load_50 | 68 | 0.0018923 | 0.00047425 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1372-6_0_2_load_52 | 69 | 0.0014986 | 0.00037559 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1372-6_0_2_load_56 | 70 | 0.0012623 | 0.00031636 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1372-6_0_2_load_57 | 71 | 0.00092883 | 0.00023279 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1372-6_0_2_load_58 | 72 | 0.00055611 | 0.00013937 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1372-6_0_2_load_59 | 73 | 0.00067649 | 0.00016954 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1372-6_0_2_load_60 | 74 | 0.00070374 | 0.00017637 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1372-6_0_2_load_61 | 75 | 0.0017965 | 0.00045025 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1372-6_0_2_load_64 | 76 | 0.0017123 | 0.00042914 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1372-6_0_2_load_72 | 77 | 0.00037818 | 9.4781e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1372-6_0_2_load_74 | 79 | 0.00019316 | 4.8412e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 75 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1372-6_0_2_line_0 |  | 0 | 1 | 0.046215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1372-6_0_2_line_1 |  | 0 | 2 | 0.13485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1372-6_0_2_line_2 |  | 1 | 3 | 0.12042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1372-6_0_2_line_3 |  | 1 | 4 | 0.12894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1372-6_0_2_line_4 |  | 3 | 5 | 0.17635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1372-6_0_2_line_5 |  | 4 | 6 | 0.16616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1372-6_0_2_line_6 |  | 5 | 8 | 0.16463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1372-6_0_2_line_7 |  | 5 | 7 | 0.084866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1372-6_0_2_line_8 |  | 6 | 9 | 0.11627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1372-6_0_2_line_9 |  | 8 | 43 | 0.23168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_1372-6_0_2_line_10 |  | 9 | 10 | 0.024782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1372-6_0_2_line_11 |  | 10 | 11 | 0.2383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1372-6_0_2_line_12 |  | 10 | 12 | 0.032569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1372-6_0_2_line_13 |  | 11 | 40 | 0.048688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1372-6_0_2_line_14 |  | 11 | 13 | 0.01065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1372-6_0_2_line_15 |  | 12 | 38 | 0.2424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1372-6_0_2_line_16 |  | 14 | 15 | 0.01557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1372-6_0_2_line_17 |  | 14 | 16 | 0.074152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1372-6_0_2_line_18 |  | 15 | 17 | 0.01122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1372-6_0_2_line_19 |  | 16 | 18 | 0.01692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1372-6_0_2_line_20 |  | 16 | 19 | 0.019765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1372-6_0_2_line_21 |  | 17 | 20 | 0.10597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1372-6_0_2_line_22 |  | 19 | 21 | 0.040164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1372-6_0_2_line_23 |  | 20 | 22 | 0.14233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1372-6_0_2_line_24 |  | 20 | 23 | 0.11389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1372-6_0_2_line_25 |  | 21 | 24 | 0.024474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1372-6_0_2_line_26 |  | 22 | 25 | 0.094135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1372-6_0_2_line_27 |  | 22 | 26 | 0.042221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1372-6_0_2_line_28 |  | 23 | 27 | 0.027602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1372-6_0_2_line_29 |  | 25 | 28 | 0.13841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1372-6_0_2_line_30 |  | 25 | 29 | 0.062476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1372-6_0_2_line_31 |  | 26 | 30 | 0.0012972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1372-6_0_2_line_32 |  | 27 | 31 | 0.0051555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1372-6_0_2_line_33 |  | 28 | 51 | 0.029333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1372-6_0_2_line_34 |  | 29 | 46 | 0.015377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1372-6_0_2_line_35 |  | 29 | 44 | 0.014247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1372-6_0_2_line_36 |  | 31 | 34 | 0.032711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1372-6_0_2_line_37 |  | 32 | 33 | 0.025106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1372-6_0_2_line_38 |  | 33 | 34 | 0.061979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1372-6_0_2_line_39 |  | 34 | 35 | 0.064342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1372-6_0_2_line_40 |  | 35 | 36 | 0.0092773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1372-6_0_2_line_41 |  | 36 | 37 | 0.08365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1372-6_0_2_line_42 |  | 38 | 39 | 0.016614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1372-6_0_2_line_43 |  | 39 | 77 | 0.0030028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1372-6_0_2_line_44 |  | 40 | 42 | 0.0029152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1372-6_0_2_line_45 |  | 41 | 42 | 0.13156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1372-6_0_2_line_46 |  | 43 | 64 | 0.041814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_1372-6_0_2_line_47 |  | 43 | 76 | 0.006096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_1372-6_0_2_line_48 |  | 44 | 45 | 0.030476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1372-6_0_2_line_49 |  | 45 | 47 | 0.013322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1372-6_0_2_line_50 |  | 45 | 48 | 0.032259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1372-6_0_2_line_51 |  | 47 | 49 | 0.025867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1372-6_0_2_line_52 |  | 48 | 50 | 0.0017304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1372-6_0_2_line_53 |  | 49 | 52 | 0.027926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1372-6_0_2_line_54 |  | 52 | 53 | 0.03184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1372-6_0_2_line_55 |  | 52 | 54 | 0.0090278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1372-6_0_2_line_56 |  | 53 | 55 | 0.061785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1372-6_0_2_line_57 |  | 54 | 56 | 0.031743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1372-6_0_2_line_58 |  | 55 | 57 | 0.03489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_1372-6_0_2_line_59 |  | 55 | 58 | 0.033102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1372-6_0_2_line_60 |  | 56 | 59 | 0.025678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1372-6_0_2_line_61 |  | 57 | 64 | 0.040442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_1372-6_0_2_line_62 |  | 58 | 60 | 0.030918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1372-6_0_2_line_63 |  | 59 | 65 | 0.029271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1372-6_0_2_line_64 |  | 60 | 61 | 0.053869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1372-6_0_2_line_65 |  | 61 | 62 | 0.017538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1372-6_0_2_line_66 |  | 62 | 63 | 0.0054346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1372-6_0_2_line_67 |  | 65 | 66 | 0.015992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1372-6_0_2_line_68 |  | 66 | 67 | 0.0052929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1372-6_0_2_line_69 |  | 67 | 68 | 0.018914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1372-6_0_2_line_70 |  | 68 | 69 | 0.020493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1372-6_0_2_line_71 |  | 70 | 71 | 0.014645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_1372-6_0_2_line_72 |  | 70 | 72 | 0.012874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_1372-6_0_2_line_73 |  | 71 | 73 | 0.024961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_1372-6_0_2_line_74 |  | 72 | 74 | 0.01006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_1372-6_0_2_line_75 |  | 73 | 75 | 0.13127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_1372-6_0_2_line_76 |  | 74 | 76 | 0.096722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_1372-6_0_2_line_77 |  | 77 | 78 | 0.12538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1372-6_0_2_line_78 |  | 78 | 79 | 0.06026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1372-6_0_2_trafo_61 | 0.63 MVA 20/0.4 kV | 80 | 75 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2692263.673 | 1205999.2315 | 2692254.5245 | 1206004.4825 | 2692249.1732 | 1206007.6798 | 2692247.5212 | 1206011.7014 | 2692258.0775 | 1206034.4573
1 | 2692258.0775 | 1206034.4573 | 2692124.9829 | 1206056.128
2 | 2692263.673 | 1205999.2315 | 2692246.3136 | 1205990.4241 | 2692224.2451 | 1205977.7081 | 2692209.4 | 1205963.2137 | 2692201.5743 | 1205947.8382 | 2692200.1988 | 1205929.5381 | 2692203.1177 | 1205920.8107 | 2692209.9427 | 1205913.5941
3 | 2692263.673 | 1205999.2315 | 2692276.9785 | 1206007.5093 | 2692297.1632 | 1206032.8269 | 2692318.4973 | 1206063.4882 | 2692342.5912 | 1206099.7452
4 | 2692209.9427 | 1205913.5941 | 2692250.4359 | 1205741.9561
5 | 2692342.5912 | 1206099.7452 | 2692223.3544 | 1206215.4746
6 | 2692250.4359 | 1205741.9561 | 2692132.2414 | 1205627.3553
7 | 2692250.4359 | 1205741.9561 | 2692252.5447 | 1205707.8994 | 2692253.1205 | 1205698.7022 | 2692257.3826 | 1205697.5784 | 2692282.8522 | 1205698.0167 | 2692293.6009 | 1205702.5048
8 | 2692223.3544 | 1206215.4746 | 2692223.1996 | 1206225.49 | 2692231.0031 | 1206275.2436 | 2692233.9638 | 1206294.8135 | 2692229.6198 | 1206314.5484 | 2692225.7357 | 1206325.1955 | 2692224.9605 | 1206329.6872
9 | 2691911.0931 | 1205696.4155 | 2692132.2414 | 1205627.3553
10 | 2692236.3594 | 1206346.5071 | 2692228.7419 | 1206344.2768 | 2692225.3817 | 1206341.701 | 2692223.4967 | 1206338.1695 | 2692224.9605 | 1206329.6872
11 | 2692452.7393 | 1206246.6648 | 2692236.3594 | 1206346.5071
12 | 2692236.3594 | 1206346.5071 | 2692234.6128 | 1206354.6855 | 2692232.0025 | 1206367.0757 | 2692229.2594 | 1206375.261 | 2692227.8865 | 1206377.8283
13 | 2692452.7393 | 1206246.6648 | 2692466.3463 | 1206276.6733 | 2692472.4293 | 1206291.0437 | 2692472.4817 | 1206291.1674
14 | 2692452.7393 | 1206246.6648 | 2692448.2654 | 1206237.0005
15 | 2691986.7716 | 1206402.7087 | 2692227.8865 | 1206377.8283
16 | 2691540.1698 | 1206170.4826 | 2691555.6161 | 1206172.4413
17 | 2691468.9632 | 1206151.7397 | 2691485.2418 | 1206159.1384 | 2691500.157 | 1206164.1814 | 2691519.1707 | 1206167.8197 | 2691540.1698 | 1206170.4826
18 | 2691566.7471 | 1206173.8529 | 2691555.6161 | 1206172.4413
19 | 2691468.9632 | 1206151.7397 | 2691461.2093 | 1206161.8498 | 2691459.2369 | 1206165.5342
20 | 2691468.9632 | 1206151.7397 | 2691456.7766 | 1206147.8282 | 2691449.9049 | 1206146.6873
21 | 2691672.0546 | 1206185.6211 | 2691590.0812 | 1206176.0791 | 2691568.1451 | 1206174.0302 | 2691566.7471 | 1206173.8529
22 | 2691411.1119 | 1206152.4654 | 2691414.1103 | 1206150.888 | 2691427.4981 | 1206145.9008 | 2691443.939 | 1206145.6969 | 2691449.9049 | 1206146.6873
23 | 2691672.0546 | 1206185.6211 | 2691672.1853 | 1206181.0756 | 2691673.0041 | 1206176.2961 | 2691675.4135 | 1206168.4946 | 2691682.0067 | 1206157.7109 | 2691691.7817 | 1206149.7557 | 2691707.3754 | 1206143.302 | 2691720.1462 | 1206133.9364 | 2691728.9242 | 1206122.0634 | 2691733.1264 | 1206106.0062 | 2691732.577 | 1206097.2141 | 2691728.3524 | 1206085.03 | 2691724.2723 | 1206078.2962 | 2691721.1176 | 1206073.2111
24 | 2691743.2033 | 1206270.8815 | 2691740.4279 | 1206266.8584 | 2691696.0282 | 1206229.8074 | 2691681.3124 | 1206211.8139 | 2691674.842 | 1206199.2618 | 2691672.7358 | 1206190.7905 | 2691672.0546 | 1206185.6211
25 | 2691411.1119 | 1206152.4654 | 2691409.1442 | 1206146.3534 | 2691405.4129 | 1206128.6906
26 | 2691679.6265 | 1205994.7774 | 2691676.772 | 1206006.2968 | 2691677.0327 | 1206014.0837 | 2691679.1516 | 1206022.722 | 2691721.1176 | 1206073.2111
27 | 2691721.1176 | 1206073.2111 | 2691763.2973 | 1206075.0761
28 | 2691743.2033 | 1206270.8815 | 2691743.4588 | 1206275.533 | 2691736.4607 | 1206297.3827
29 | 2691679.6265 | 1205994.7774 | 2691615.1163 | 1205965.379 | 2691589.9937 | 1205953.8081 | 2691581.4261 | 1205953.4654 | 2691563.7627 | 1205960.9328 | 2691552.6061 | 1205965.6338
30 | 2691719.5932 | 1205946.7149 | 2691692.5375 | 1205977.7977 | 2691679.6265 | 1205994.7774
31 | 2691764.5932 | 1206075.1334 | 2691763.2973 | 1206075.0761
32 | 2691734.8882 | 1206302.2925 | 2691736.4607 | 1206297.3827
33 | 2691552.6061 | 1205965.6338 | 2691544.6679 | 1205968.9787 | 2691530.955 | 1205971.8148 | 2691524.4276 | 1205973.3947
34 | 2691719.5932 | 1205946.7149 | 2691705.5341 | 1205940.3948
35 | 2691719.5932 | 1205946.7149 | 2691728.8827 | 1205935.9132
36 | 2691726.9145 | 1206333.9509 | 2691729.9399 | 1206317.7422 | 2691734.8882 | 1206302.2925
37 | 2691702.5336 | 1206416.8805 | 2691712.8119 | 1206393.9751
38 | 2691726.9145 | 1206333.9509 | 2691723.8887 | 1206350.1818 | 2691719.8002 | 1206376.6588 | 2691714.5664 | 1206390.0651 | 2691712.8119 | 1206393.9751
39 | 2691726.9145 | 1206333.9509 | 2691742.6561 | 1206346.0452 | 2691748.5226 | 1206359.7667 | 2691748.7748 | 1206374.0356 | 2691751.3436 | 1206380.6016 | 2691759.3173 | 1206382.7029
40 | 2691759.3173 | 1206382.7029 | 2691768.2883 | 1206385.067
41 | 2691842.5666 | 1206365.7053 | 2691833.7542 | 1206362.034 | 2691822.1449 | 1206367.6036 | 2691802.829 | 1206383.6617 | 2691785.4412 | 1206389.5872 | 2691768.2883 | 1206385.067
42 | 2691981.7495 | 1206386.8716 | 2691986.7716 | 1206402.7087
43 | 2691981.7495 | 1206386.8716 | 2691980.8418 | 1206384.0093
44 | 2692472.4817 | 1206291.1674 | 2692473.6187 | 1206293.8517
45 | 2692511.8778 | 1206419.4736 | 2692502.2269 | 1206391.4165 | 2692492.4976 | 1206349.7603 | 2692487.4644 | 1206330.4806 | 2692481.0807 | 1206311.469 | 2692473.6187 | 1206293.8517
46 | 2691911.0931 | 1205696.4155 | 2691900.8756 | 1205702.907 | 2691895.0369 | 1205710.0886 | 2691889.1309 | 1205720.6492 | 2691886.2788 | 1205728.501
47 | 2691911.0931 | 1205696.4155 | 2691908.7533 | 1205702.0446
48 | 2691748.7542 | 1205912.807 | 2691728.8827 | 1205935.9132
49 | 2691748.7542 | 1205912.807 | 2691757.3168 | 1205902.6014
50 | 2691748.7542 | 1205912.807 | 2691738.833 | 1205907.4844 | 2691728.4888 | 1205903.4562 | 2691718.5908 | 1205903.304
51 | 2691773.9431 | 1205882.785 | 2691757.3168 | 1205902.6014
52 | 2691716.8606 | 1205903.2774 | 2691718.5908 | 1205903.304
53 | 2691791.8924 | 1205861.3914 | 2691773.9431 | 1205882.785
54 | 2691791.8924 | 1205861.3914 | 2691796.8441 | 1205855.4859 | 2691810.9894 | 1205835.933
55 | 2691791.8924 | 1205861.3914 | 2691782.8669 | 1205861.1895
56 | 2691846.0406 | 1205785.1401 | 2691840.8352 | 1205794.6775 | 2691810.9894 | 1205835.933
57 | 2691782.8669 | 1205861.1895 | 2691751.1314 | 1205860.4792
58 | 2691846.0406 | 1205785.1401 | 2691856.8279 | 1205780.6587 | 2691866.5165 | 1205774.9039 | 2691873.4087 | 1205769.9511 | 2691875.368 | 1205767.1081
59 | 2691846.0406 | 1205785.1401 | 2691840.0261 | 1205783.9802 | 2691833.6281 | 1205784.5044 | 2691814.39 | 1205791.7504
60 | 2691751.1314 | 1205860.4792 | 2691725.4598 | 1205859.9047
61 | 2691875.368 | 1205767.1081 | 2691878.1628 | 1205763.053 | 2691885.159 | 1205731.5842 | 2691886.2788 | 1205728.501
62 | 2691785.4559 | 1205802.6485 | 2691814.39 | 1205791.7504
63 | 2691725.4598 | 1205859.9047 | 2691696.1962 | 1205859.2498
64 | 2691785.4559 | 1205802.6485 | 2691771.943 | 1205807.7381 | 2691760.2695 | 1205810.0047 | 2691747.4201 | 1205809.5848 | 2691733.6539 | 1205804.481 | 2691733.6539 | 1205804.481
65 | 2691733.6539 | 1205804.481 | 2691725.9333 | 1205797.0241 | 2691723.3546 | 1205790.7277
66 | 2691721.8889 | 1205785.5793 | 2691721.9008 | 1205787.1779 | 2691723.3546 | 1205790.7277
67 | 2691680.208 | 1205858.892 | 2691696.1962 | 1205859.2498
68 | 2691674.9162 | 1205858.7999 | 2691676.0637 | 1205858.7993 | 2691680.208 | 1205858.892
69 | 2691674.9162 | 1205858.7999 | 2691656.0018 | 1205858.811
70 | 2691635.7109 | 1205860.8049 | 2691645.3847 | 1205858.8173 | 2691656.0018 | 1205858.811
71 | 2691924.6428 | 1205805.3488 | 2691914.3254 | 1205815.7424
72 | 2691924.6428 | 1205805.3488 | 2691926.9008 | 1205803.074 | 2691932.731 | 1205795.361
73 | 2691914.3254 | 1205815.7424 | 2691914.2365 | 1205815.832 | 2691903.9796 | 1205833.786 | 2691902.4125 | 1205837.6373
74 | 2691932.731 | 1205795.361 | 2691938.7972 | 1205787.3356
75 | 2691861.0316 | 1205957.2619 | 2691884.2169 | 1205926.6546 | 2691887.9316 | 1205917.5947 | 2691889.4768 | 1205906.1664 | 2691887.329 | 1205887.5655 | 2691887.6139 | 1205874.0053 | 2691902.4125 | 1205837.6373
76 | 2691938.7972 | 1205787.3356 | 2691938.7972 | 1205787.3356 | 2691936.0518 | 1205769.5149 | 2691920.0105 | 1205745.1851 | 2691902.3638 | 1205717.4173 | 2691908.7533 | 1205702.0446
77 | 2691941.9378 | 1206264.8231 | 2691952.8773 | 1206296.3125 | 2691978.1784 | 1206375.6104 | 2691980.8418 | 1206384.0093
78 | 2691941.9378 | 1206264.8231 | 2691932.0992 | 1206267.5179 | 2691923.9206 | 1206268.6149 | 2691918.1344 | 1206273.4068 | 2691917.1954 | 1206281.5311 | 2691927.6831 | 1206288.5416 | 2691930.2354 | 1206294.1958 | 2691927.8447 | 1206299.7738 | 2691927.251 | 1206300.8497

## bus_geodata
| x | y | coords
0 | 2692258.0775 | 1206034.4573
1 | 2692263.673 | 1205999.2315
2 | 2692124.9829 | 1206056.128
3 | 2692209.9427 | 1205913.5941
4 | 2692342.5912 | 1206099.7452
5 | 2692250.4359 | 1205741.9561
6 | 2692223.3544 | 1206215.4746
7 | 2692293.6009 | 1205702.5048
8 | 2692132.2414 | 1205627.3553
9 | 2692224.9605 | 1206329.6872
10 | 2692236.3594 | 1206346.5071
11 | 2692452.7393 | 1206246.6648
12 | 2692227.8865 | 1206377.8283
13 | 2692448.2654 | 1206237.0005
14 | 2691540.1698 | 1206170.4826
15 | 2691555.6161 | 1206172.4413
16 | 2691468.9632 | 1206151.7397
17 | 2691566.7471 | 1206173.8529
18 | 2691459.2369 | 1206165.5342
19 | 2691449.9049 | 1206146.6873
20 | 2691672.0546 | 1206185.6211
21 | 2691411.1119 | 1206152.4654
22 | 2691721.1176 | 1206073.2111
23 | 2691743.2033 | 1206270.8815
24 | 2691405.4129 | 1206128.6906
25 | 2691679.6265 | 1205994.7774
26 | 2691763.2973 | 1206075.0761
27 | 2691736.4607 | 1206297.3827
28 | 2691552.6061 | 1205965.6338
29 | 2691719.5932 | 1205946.7149
30 | 2691764.5932 | 1206075.1334
31 | 2691734.8882 | 1206302.2925
32 | 2691702.5336 | 1206416.8805
33 | 2691712.8119 | 1206393.9751
34 | 2691726.9145 | 1206333.9509
35 | 2691759.3173 | 1206382.7029
36 | 2691768.2883 | 1206385.067
37 | 2691842.5666 | 1206365.7053
38 | 2691986.7715 | 1206402.7087
39 | 2691981.7495 | 1206386.8716
40 | 2692472.4817 | 1206291.1674
41 | 2692511.8778 | 1206419.4736
42 | 2692473.6187 | 1206293.8517
43 | 2691911.0931 | 1205696.4155
44 | 2691728.8827 | 1205935.9132
45 | 2691748.7542 | 1205912.807
46 | 2691705.5341 | 1205940.3948
47 | 2691757.3168 | 1205902.6014
48 | 2691718.5908 | 1205903.304
49 | 2691773.9431 | 1205882.785
50 | 2691716.8606 | 1205903.2774
51 | 2691524.4276 | 1205973.3947
52 | 2691791.8924 | 1205861.3914
53 | 2691810.9894 | 1205835.933
54 | 2691782.8669 | 1205861.1895
55 | 2691846.0406 | 1205785.1401
56 | 2691751.1314 | 1205860.4792
57 | 2691875.368 | 1205767.1081
58 | 2691814.39 | 1205791.7504
59 | 2691725.4598 | 1205859.9047
60 | 2691785.4559 | 1205802.6485
61 | 2691733.6539 | 1205804.481
62 | 2691723.3546 | 1205790.7277
63 | 2691721.8889 | 1205785.5793
64 | 2691886.2788 | 1205728.501
65 | 2691696.1962 | 1205859.2498
66 | 2691680.208 | 1205858.892
67 | 2691674.9162 | 1205858.7999
68 | 2691656.0018 | 1205858.811
69 | 2691635.7109 | 1205860.8049
70 | 2691924.6428 | 1205805.3488
71 | 2691914.3254 | 1205815.7424
72 | 2691932.731 | 1205795.361
73 | 2691902.4125 | 1205837.6373
74 | 2691938.7972 | 1205787.3356
75 | 2691861.0316 | 1205957.2619
76 | 2691908.7533 | 1205702.0446
77 | 2691980.8418 | 1206384.0093
78 | 2691941.9378 | 1206264.8231
79 | 2691927.251 | 1206300.8497
80 | 2691911.0931 | 1205696.4155

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97637 | -0.45548 | 0.0039361 | 0.00098647
1 | 0.97659 | -0.4511 | 0 | 0
2 | 0.97621 | -0.45855 | 0.0012438 | 0.00031172
3 | 0.97808 | -0.42178 | 0.0008971 | 0.00022483
4 | 0.97561 | -0.47034 | 0.0015281 | 0.00038299
5 | 0.9804 | -0.37611 | 0.0052911 | 0.0013261
6 | 0.9746 | -0.49051 | 0 | 0
7 | 0.98009 | -0.38223 | 0.0039763 | 0.00099656
8 | 0.98399 | -0.30614 | 0.0012542 | 0.00031434
9 | 0.97388 | -0.50465 | 0.00083755 | 0.00020991
10 | 0.97375 | -0.50728 | 0 | 0
11 | 0.97289 | -0.52438 | 0 | 0
12 | 0.97369 | -0.5084 | 0.00056578 | 0.0001418
13 | 0.97287 | -0.52465 | 0.0013494 | 0.00033819
14 | 0.9721 | -0.53904 | 0.00032491 | 8.1429e-05
15 | 0.97213 | -0.53844 | 0.0002243 | 5.6214e-05
16 | 0.97198 | -0.54148 | 0 | 0
17 | 0.97215 | -0.53795 | 0.00020362 | 5.1031e-05
18 | 0.97197 | -0.54157 | 0.00030606 | 7.6706e-05
19 | 0.97195 | -0.54201 | 0.00036715 | 9.2016e-05
20 | 0.9724 | -0.533 | 0 | 0
21 | 0.97191 | -0.54283 | 0 | 0
22 | 0.97388 | -0.50388 | 0 | 0
23 | 0.97149 | -0.55101 | 0 | 0
24 | 0.97188 | -0.54333 | 0.0011024 | 0.00027628
25 | 0.97507 | -0.48045 | 0 | 0
26 | 0.97378 | -0.50578 | 0.0012402 | 0.00031083
27 | 0.97127 | -0.55538 | 0.00038575 | 9.6679e-05
28 | 0.97455 | -0.49058 | 0.0015215 | 0.00038131
29 | 0.97609 | -0.46036 | 0 | 0
30 | 0.97378 | -0.50581 | 0.0012022 | 0.00030129
31 | 0.97123 | -0.55616 | 0.00021112 | 5.2912e-05
32 | 0.97049 | -0.57099 | 0.0043299 | 0.0010852
33 | 0.97059 | -0.56897 | 0.0026424 | 0.00066224
34 | 0.97099 | -0.56098 | 0 | 0
35 | 0.97093 | -0.56217 | 0.00034857 | 8.736e-05
36 | 0.97093 | -0.56228 | 0.00041786 | 0.00010472
37 | 0.97091 | -0.56263 | 0.00022545 | 5.6504e-05
38 | 0.9734 | -0.51421 | 0.00039978 | 0.00010019
39 | 0.97339 | -0.51448 | 0.00032168 | 8.062e-05
40 | 0.97277 | -0.52667 | 0.00039422 | 9.8802e-05
41 | 0.97257 | -0.53069 | 0.0016106 | 0.00040365
42 | 0.97277 | -0.52678 | 0.0005368 | 0.00013454
43 | 0.98664 | -0.25459 | 0 | 0
44 | 0.97635 | -0.45524 | 0.0003934 | 9.8596e-05
45 | 0.97692 | -0.44409 | 0 | 0
46 | 0.97606 | -0.46094 | 0.0020772 | 0.00052059
47 | 0.9772 | -0.43853 | 0.0054069 | 0.0013551
48 | 0.97683 | -0.44576 | 0.0017429 | 0.0004368
49 | 0.97788 | -0.42519 | 0.0028505 | 0.00071441
50 | 0.97683 | -0.44579 | 0.0010909 | 0.00027341
51 | 0.97449 | -0.49191 | 0.0024655 | 0.00061792
52 | 0.97869 | -0.40936 | 0 | 0
53 | 0.98013 | -0.38101 | 0.0019431 | 0.00048698
54 | 0.97854 | -0.4123 | 0.0021419 | 0.0005368
55 | 0.98306 | -0.32407 | 0 | 0
56 | 0.97807 | -0.42139 | 0.0028317 | 0.00070968
57 | 0.98408 | -0.30427 | 0.0032029 | 0.00080273
58 | 0.98269 | -0.33125 | 0.0020448 | 0.00051248
59 | 0.97777 | -0.42743 | 0.0025194 | 0.00063143
60 | 0.98241 | -0.33682 | 0.0016709 | 0.00041877
61 | 0.98199 | -0.34491 | 0.0020704 | 0.0005189
62 | 0.98189 | -0.34688 | 0.0048367 | 0.0012122
63 | 0.98188 | -0.34702 | 0.0014008 | 0.00035107
64 | 0.98532 | -0.28021 | 0.0021778 | 0.0005458
65 | 0.97748 | -0.43297 | 0.00071986 | 0.00018042
66 | 0.97734 | -0.43579 | 0.0021587 | 0.00054103
67 | 0.9773 | -0.43652 | 0.0041112 | 0.0010304
68 | 0.97724 | -0.43769 | 0.0018923 | 0.00047425
69 | 0.97722 | -0.43825 | 0.0014986 | 0.00037559
70 | 0.99218 | -0.14826 | 0.0012623 | 0.00031636
71 | 0.99284 | -0.13564 | 0.00092883 | 0.00023279
72 | 0.9916 | -0.15922 | 0.00055611 | 0.00013937
73 | 0.99398 | -0.11396 | 0.00067649 | 0.00016954
74 | 0.99116 | -0.16775 | 0.00070374 | 0.00017637
75 | 1 | 0 | -0.10252 | -0.025998
76 | 0.98691 | -0.2495 | 0.0017123 | 0.00042914
77 | 0.97339 | -0.51452 | 0.00037818 | 9.4781e-05
78 | 0.97337 | -0.51497 | 0 | 0
79 | 0.97335 | -0.51519 | 0.00019316 | 4.8412e-05
80 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00518 | -0.0012966 | 0.0051811 | 0.0012967 | 1.0799e-06 | 1.1303e-07 | 0.007894 | 0.0078938 | 0.007894 | 0.97637 | -0.45548 | 0.97659 | -0.4511 | 2.1687
1 | 0.001244 | 0.00031015 | -0.0012438 | -0.00031172 | 1.817e-07 | -1.5699e-06 | 0.0018953 | 0.0018959 | 0.0018959 | 0.97637 | -0.45548 | 0.97621 | -0.45855 | 0.52084
2 | -0.01332 | -0.0033286 | 0.013338 | 0.003339 | 1.8593e-05 | 1.0391e-05 | 0.020291 | 0.020291 | 0.020291 | 0.97659 | -0.4511 | 0.97808 | -0.42178 | 5.5746
3 | 0.0081384 | 0.0020319 | -0.008131 | -0.0020288 | 7.4319e-06 | 3.1448e-06 | 0.012398 | 0.012398 | 0.012398 | 0.97659 | -0.4511 | 0.97561 | -0.47034 | 3.4061
4 | -0.014235 | -0.0035639 | 0.014266 | 0.0035815 | 3.1012e-05 | 1.7629e-05 | 0.021656 | 0.021655 | 0.021656 | 0.97808 | -0.42178 | 0.9804 | -0.37611 | 5.9494
5 | 0.0066028 | 0.0016458 | -0.0065965 | -0.0016438 | 6.316e-06 | 1.9695e-06 | 0.010067 | 0.010068 | 0.010068 | 0.97561 | -0.47034 | 0.9746 | -0.49051 | 2.766
6 | -0.023535 | -0.0059038 | 0.023614 | 0.0059521 | 7.8778e-05 | 4.8334e-05 | 0.035722 | 0.035721 | 0.035722 | 0.9804 | -0.37611 | 0.98399 | -0.30614 | 9.8137
7 | 0.0039775 | 0.00099623 | -0.0039763 | -0.00099656 | 1.1598e-06 | -3.2757e-07 | 0.0060366 | 0.006037 | 0.006037 | 0.9804 | -0.37611 | 0.98009 | -0.38223 | 1.6585
8 | 0.0065965 | 0.0016438 | -0.0065921 | -0.0016424 | 4.42e-06 | 1.381e-06 | 0.010068 | 0.010069 | 0.010069 | 0.9746 | -0.49051 | 0.97388 | -0.50465 | 2.7661
9 | -0.024868 | -0.0062665 | 0.024929 | 0.0062999 | 6.1469e-05 | 3.3438e-05 | 0.037618 | 0.037616 | 0.037618 | 0.98399 | -0.30614 | 0.98664 | -0.25459 | 5.1673
10 | 0.0057546 | 0.0014325 | -0.0057538 | -0.0014324 | 7.1788e-07 | 1.5113e-07 | 0.008789 | 0.0087891 | 0.0087891 | 0.97388 | -0.50465 | 0.97375 | -0.50728 | 2.4146
11 | 0.0038948 | 0.00097222 | -0.0038916 | -0.00097316 | 3.1646e-06 | -9.3642e-07 | 0.0059503 | 0.0059514 | 0.0059514 | 0.97375 | -0.50728 | 0.97289 | -0.52438 | 1.635
12 | 0.0018591 | 0.00046014 | -0.001859 | -0.00046048 | 9.8431e-08 | -3.4213e-07 | 0.0028388 | 0.002839 | 0.002839 | 0.97375 | -0.50728 | 0.97369 | -0.5084 | 0.77993
13 | 0.0025422 | 0.00063509 | -0.0025419 | -0.00063552 | 2.7595e-07 | -4.2791e-07 | 0.0038875 | 0.0038877 | 0.0038877 | 0.97289 | -0.52438 | 0.97277 | -0.52667 | 1.0681
14 | 0.0013494 | 0.00033807 | -0.0013494 | -0.00033819 | 1.7011e-08 | -1.2135e-07 | 0.0020639 | 0.0020639 | 0.0020639 | 0.97289 | -0.52438 | 0.97287 | -0.52465 | 0.56701
15 | 0.0012932 | 0.00031868 | -0.0012928 | -0.00032147 | 3.5451e-07 | -2.7872e-06 | 0.0019743 | 0.0019754 | 0.0019754 | 0.97369 | -0.5084 | 0.9734 | -0.51421 | 0.54269
16 | -0.0021008 | -0.00052445 | 0.0021009 | 0.0005243 | 6.0349e-08 | -1.5441e-07 | 0.003215 | 0.0032149 | 0.003215 | 0.9721 | -0.53904 | 0.97213 | -0.53844 | 0.88324
17 | 0.0017759 | 0.00044303 | -0.0017757 | -0.00044381 | 2.054e-07 | -7.8772e-07 | 0.0027176 | 0.002718 | 0.002718 | 0.9721 | -0.53904 | 0.97198 | -0.54148 | 0.7467
18 | -0.0023251 | -0.00058051 | 0.0023252 | 0.00058041 | 5.3271e-08 | -1.0502e-07 | 0.0035582 | 0.0035582 | 0.0035582 | 0.97213 | -0.53844 | 0.97215 | -0.53795 | 0.97754
19 | 0.00030606 | 7.6497e-05 | -0.00030606 | -7.6706e-05 | 1.3928e-09 | -2.0882e-07 | 0.00046848 | 0.00046855 | 0.00046855 | 0.97198 | -0.54148 | 0.97197 | -0.54157 | 0.12872
20 | 0.0014696 | 0.00036732 | -0.0014696 | -0.00036754 | 3.7507e-08 | -2.2096e-07 | 0.0022495 | 0.0022496 | 0.0022496 | 0.97198 | -0.54148 | 0.97195 | -0.54201 | 0.61802
21 | -0.0025288 | -0.00063144 | 0.0025294 | 0.00063051 | 5.9503e-07 | -9.3339e-07 | 0.0038699 | 0.0038694 | 0.0038699 | 0.97215 | -0.53795 | 0.9724 | -0.533 | 1.0631
22 | 0.0011024 | 0.00027552 | -0.0011024 | -0.00027599 | 4.2895e-08 | -4.7031e-07 | 0.0016875 | 0.0016877 | 0.0016877 | 0.97195 | -0.54201 | 0.97191 | -0.54283 | 0.46365
23 | -0.011105 | -0.0027801 | 0.01112 | 0.0027882 | 1.541e-05 | 8.094e-06 | 0.016992 | 0.016991 | 0.016992 | 0.9724 | -0.533 | 0.97388 | -0.50388 | 4.6681
24 | 0.0085755 | 0.0021496 | -0.0085681 | -0.0021463 | 7.3551e-06 | 3.2957e-06 | 0.013123 | 0.013123 | 0.013123 | 0.9724 | -0.533 | 0.97149 | -0.55101 | 3.6053
25 | 0.0011024 | 0.00027599 | -0.0011024 | -0.00027628 | 2.6142e-08 | -2.8655e-07 | 0.0016877 | 0.0016878 | 0.0016878 | 0.97191 | -0.54283 | 0.97188 | -0.54333 | 0.46368
26 | -0.013563 | -0.0033999 | 0.013578 | 0.0034084 | 1.516e-05 | 8.5296e-06 | 0.020723 | 0.020723 | 0.020723 | 0.97388 | -0.50388 | 0.97507 | -0.48045 | 5.6932
27 | 0.0024426 | 0.00061172 | -0.0024424 | -0.00061211 | 2.2053e-07 | -3.8416e-07 | 0.003732 | 0.0037322 | 0.0037322 | 0.97388 | -0.50388 | 0.97378 | -0.50578 | 1.0253
28 | 0.0085681 | 0.0021463 | -0.0085663 | -0.0021455 | 1.7826e-06 | 7.9916e-07 | 0.013123 | 0.013123 | 0.013123 | 0.97149 | -0.55101 | 0.97127 | -0.55538 | 3.6053
29 | 0.0039891 | 0.00099848 | -0.0039872 | -0.00099897 | 1.9234e-06 | -4.9453e-07 | 0.0060872 | 0.0060878 | 0.0060878 | 0.97507 | -0.48045 | 0.97455 | -0.49058 | 1.6725
30 | -0.017567 | -0.0044069 | 0.017584 | 0.0044169 | 1.684e-05 | 9.9974e-06 | 0.02681 | 0.02681 | 0.02681 | 0.97507 | -0.48045 | 0.97609 | -0.46036 | 7.3654
31 | 0.0012022 | 0.00030127 | -0.0012022 | -0.00030129 | 1.6415e-09 | -1.5087e-08 | 0.001837 | 0.001837 | 0.001837 | 0.97378 | -0.50578 | 0.97378 | -0.50581 | 0.50467
32 | 0.0081806 | 0.0020488 | -0.0081803 | -0.0020487 | 3.0365e-07 | 1.3053e-07 | 0.012532 | 0.012532 | 0.012532 | 0.97127 | -0.55538 | 0.97123 | -0.55616 | 3.443
33 | 0.0024657 | 0.00061766 | -0.0024655 | -0.00061792 | 1.5591e-07 | -2.6569e-07 | 0.0037647 | 0.0037648 | 0.0037648 | 0.97455 | -0.49058 | 0.97449 | -0.49191 | 1.0343
34 | 0.0020772 | 0.00052043 | -0.0020772 | -0.00052059 | 5.7823e-08 | -1.5519e-07 | 0.0031666 | 0.0031667 | 0.0031667 | 0.97609 | -0.46036 | 0.97606 | -0.46094 | 0.86997
35 | -0.019661 | -0.0049373 | 0.019666 | 0.0049402 | 4.8007e-06 | 2.8943e-06 | 0.029976 | 0.029976 | 0.029976 | 0.97609 | -0.46036 | 0.97635 | -0.45524 | 8.2353
36 | 0.0079691 | 0.0019958 | -0.0079673 | -0.001995 | 1.8285e-06 | 7.6551e-07 | 0.012209 | 0.012209 | 0.012209 | 0.97123 | -0.55616 | 0.97099 | -0.56098 | 3.3541
37 | -0.0043299 | -0.0010852 | 0.0043303 | 0.0010851 | 4.1495e-07 | -4.4679e-08 | 0.0066389 | 0.0066388 | 0.0066389 | 0.97049 | -0.57099 | 0.97059 | -0.56897 | 1.8239
38 | -0.0069727 | -0.0017474 | 0.0069754 | 0.0017483 | 2.6559e-06 | 9.3346e-07 | 0.01069 | 0.01069 | 0.01069 | 0.97059 | -0.56897 | 0.97099 | -0.56098 | 2.9368
39 | 0.00099195 | 0.00024668 | -0.00099189 | -0.00024744 | 5.5715e-08 | -7.6015e-07 | 0.0015194 | 0.0015197 | 0.0015197 | 0.97099 | -0.56098 | 0.97093 | -0.56217 | 0.41751
40 | 0.00064332 | 0.00016008 | -0.00064331 | -0.0001602 | 3.3791e-09 | -1.1258e-07 | 0.00098552 | 0.00098556 | 0.00098556 | 0.97093 | -0.56217 | 0.97093 | -0.56228 | 0.27076
41 | 0.00022546 | 5.5472e-05 | -0.00022545 | -5.6504e-05 | 3.7411e-09 | -1.0321e-06 | 0.00034516 | 0.00034553 | 0.00034553 | 0.97093 | -0.56228 | 0.97091 | -0.56263 | 0.094926
42 | 0.00089304 | 0.00022127 | -0.00089303 | -0.00022147 | 1.1597e-08 | -1.991e-07 | 0.0013643 | 0.0013643 | 0.0013643 | 0.9734 | -0.51421 | 0.97339 | -0.51448 | 0.37482
43 | 0.00057135 | 0.00014085 | -0.00057135 | -0.00014089 | 8.5742e-10 | -3.6777e-08 | 0.00087259 | 0.0008726 | 0.0008726 | 0.97339 | -0.51448 | 0.97339 | -0.51452 | 0.23973
44 | 0.0021477 | 0.00053672 | -0.0021477 | -0.00053675 | 1.1795e-08 | -2.8642e-08 | 0.0032847 | 0.0032847 | 0.0032847 | 0.97277 | -0.52667 | 0.97277 | -0.52678 | 0.9024
45 | -0.0016106 | -0.00040365 | 0.0016109 | 0.00040221 | 2.995e-07 | -1.4412e-06 | 0.0024642 | 0.0024636 | 0.0024642 | 0.97257 | -0.53069 | 0.97277 | -0.52678 | 0.67697
46 | 0.068886 | 0.017467 | -0.068802 | -0.017414 | 8.4741e-05 | 5.3168e-05 | 0.10396 | 0.10396 | 0.10396 | 0.98664 | -0.25459 | 0.98532 | -0.28021 | 14.2808
47 | -0.093816 | -0.023767 | 0.093838 | 0.023781 | 2.2911e-05 | 1.4507e-05 | 0.14158 | 0.14158 | 0.14158 | 0.98664 | -0.25459 | 0.98691 | -0.2495 | 19.4478
48 | -0.020059 | -0.0050388 | 0.02007 | 0.0050453 | 1.0684e-05 | 6.4566e-06 | 0.030576 | 0.030576 | 0.030576 | 0.97635 | -0.45524 | 0.97692 | -0.44409 | 8.4
49 | -0.022904 | -0.0057552 | 0.02291 | 0.0057589 | 6.0822e-06 | 3.7257e-06 | 0.034892 | 0.034892 | 0.034892 | 0.97692 | -0.44409 | 0.9772 | -0.43853 | 9.5858
50 | 0.002834 | 0.00070993 | -0.0028338 | -0.00071019 | 2.2541e-07 | -2.596e-07 | 0.0043166 | 0.0043167 | 0.0043167 | 0.97692 | -0.44409 | 0.97683 | -0.44576 | 1.1859
51 | -0.028317 | -0.007114 | 0.028335 | 0.0071253 | 1.8041e-05 | 1.1222e-05 | 0.043126 | 0.043126 | 0.043126 | 0.9772 | -0.43853 | 0.97788 | -0.42519 | 11.8477
52 | 0.0010909 | 0.00027339 | -0.0010909 | -0.00027341 | 1.792e-09 | -2.0514e-08 | 0.0016618 | 0.0016618 | 0.0016618 | 0.97683 | -0.44576 | 0.97683 | -0.44579 | 0.45655
53 | -0.031186 | -0.0078397 | 0.031209 | 0.0078544 | 2.3591e-05 | 1.4748e-05 | 0.047463 | 0.047463 | 0.047463 | 0.97788 | -0.42519 | 0.97869 | -0.40936 | 13.0393
54 | -0.0491 | -0.012343 | 0.049167 | 0.012385 | 6.6567e-05 | 4.2202e-05 | 0.074667 | 0.074667 | 0.074667 | 0.97869 | -0.40936 | 0.98013 | -0.38101 | 20.5129
55 | 0.017891 | 0.0044888 | -0.017889 | -0.0044874 | 2.5054e-06 | 1.49e-06 | 0.027204 | 0.027204 | 0.027204 | 0.97869 | -0.40936 | 0.97854 | -0.4123 | 7.4736
56 | -0.05111 | -0.012872 | 0.05125 | 0.012961 | 0.00013958 | 8.855e-05 | 0.077617 | 0.077616 | 0.077617 | 0.98013 | -0.38101 | 0.98306 | -0.32407 | 21.3233
57 | 0.015747 | 0.0039506 | -0.01574 | -0.0039466 | 6.8264e-06 | 3.9703e-06 | 0.023947 | 0.023947 | 0.023947 | 0.97854 | -0.4123 | 0.97807 | -0.42139 | 6.5789
58 | -0.063284 | -0.015979 | 0.063344 | 0.016017 | 6.008e-05 | 3.7566e-05 | 0.095833 | 0.095833 | 0.095833 | 0.98306 | -0.32407 | 0.98408 | -0.30427 | 13.1639
59 | 0.012034 | 0.0030184 | -0.01203 | -0.0030162 | 4.1193e-06 | 2.2168e-06 | 0.018216 | 0.018217 | 0.018217 | 0.98306 | -0.32407 | 0.98269 | -0.33125 | 5.0046
60 | 0.012908 | 0.0032369 | -0.012905 | -0.0032349 | 3.714e-06 | 2.0548e-06 | 0.019639 | 0.019639 | 0.019639 | 0.97807 | -0.42139 | 0.97777 | -0.42743 | 5.3954
61 | -0.066547 | -0.01682 | 0.066624 | 0.016868 | 7.6857e-05 | 4.816e-05 | 0.10068 | 0.10068 | 0.10068 | 0.98408 | -0.30427 | 0.98532 | -0.28021 | 13.8291
62 | 0.0099852 | 0.0025037 | -0.0099826 | -0.0025024 | 2.6508e-06 | 1.3049e-06 | 0.01512 | 0.01512 | 0.01512 | 0.98269 | -0.33125 | 0.98241 | -0.33682 | 4.154
63 | 0.010385 | 0.0026034 | -0.010383 | -0.002602 | 2.742e-06 | 1.3878e-06 | 0.015805 | 0.015805 | 0.015805 | 0.97777 | -0.42743 | 0.97748 | -0.43297 | 4.3421
64 | 0.0083117 | 0.0020836 | -0.0083085 | -0.0020822 | 3.2019e-06 | 1.3674e-06 | 0.01259 | 0.01259 | 0.01259 | 0.98241 | -0.33682 | 0.98199 | -0.34491 | 3.4587
65 | 0.006238 | 0.0015633 | -0.0062374 | -0.0015632 | 5.8763e-07 | 1.5423e-07 | 0.0094525 | 0.0094526 | 0.0094526 | 0.98199 | -0.34491 | 0.98189 | -0.34688 | 2.5969
66 | 0.0014008 | 0.00035101 | -0.0014008 | -0.00035107 | 9.184e-09 | -6.2861e-08 | 0.0021228 | 0.0021228 | 0.0021228 | 0.98189 | -0.34688 | 0.98188 | -0.34702 | 0.5832
67 | 0.0096626 | 0.0024216 | -0.0096613 | -0.002421 | 1.2976e-06 | 6.3e-07 | 0.014709 | 0.014709 | 0.014709 | 0.97748 | -0.43297 | 0.97734 | -0.43579 | 4.041
68 | 0.0075026 | 0.00188 | -0.0075024 | -0.0018799 | 2.5898e-07 | 9.9421e-08 | 0.011423 | 0.011423 | 0.011423 | 0.97734 | -0.43579 | 0.9773 | -0.43652 | 3.1381
69 | 0.0033911 | 0.0008495 | -0.003391 | -0.00084961 | 1.8908e-07 | -1.1598e-07 | 0.0051631 | 0.0051632 | 0.0051632 | 0.9773 | -0.43652 | 0.97724 | -0.43769 | 1.4185
70 | 0.0014987 | 0.00037536 | -0.0014986 | -0.00037559 | 4.0017e-08 | -2.3114e-07 | 0.0022819 | 0.002282 | 0.002282 | 0.97724 | -0.43769 | 0.97722 | -0.43825 | 0.62692
71 | -0.098541 | -0.025139 | 0.098601 | 0.025177 | 6.0102e-05 | 3.8087e-05 | 0.14794 | 0.14794 | 0.14794 | 0.99218 | -0.14826 | 0.99284 | -0.13564 | 20.322
72 | 0.097279 | 0.024823 | -0.097227 | -0.02479 | 5.149e-05 | 3.2621e-05 | 0.14605 | 0.14605 | 0.14605 | 0.99218 | -0.14826 | 0.9916 | -0.15922 | 20.062
73 | -0.09953 | -0.02541 | 0.099634 | 0.025476 | 0.00010438 | 6.6154e-05 | 0.14934 | 0.14934 | 0.14934 | 0.99284 | -0.13564 | 0.99398 | -0.11396 | 20.5132
74 | 0.096671 | 0.024651 | -0.096631 | -0.024625 | 3.9778e-05 | 2.5198e-05 | 0.14522 | 0.14522 | 0.14522 | 0.9916 | -0.15922 | 0.99116 | -0.16775 | 19.9474
75 | -0.10031 | -0.025646 | 0.10087 | 0.025998 | 0.00055638 | 0.00035266 | 0.15035 | 0.15035 | 0.15035 | 0.99398 | -0.11396 | 1 | 0 | 20.6523
76 | 0.095928 | 0.024449 | -0.095551 | -0.02421 | 0.00037689 | 0.00023873 | 0.14416 | 0.14416 | 0.14416 | 0.99116 | -0.16775 | 0.98691 | -0.2495 | 19.8024
77 | 0.00019317 | 4.6108e-05 | -0.00019317 | -4.7664e-05 | 4.0851e-09 | -1.5559e-06 | 0.00029449 | 0.00029503 | 0.00029503 | 0.97339 | -0.51452 | 0.97337 | -0.51497 | 0.081053
78 | 0.00019317 | 4.7664e-05 | -0.00019316 | -4.8412e-05 | 1.9688e-09 | -7.4775e-07 | 0.00029503 | 0.0002953 | 0.0002953 | 0.97337 | -0.51497 | 0.97335 | -0.51519 | 0.081126

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.10431 | 0.026449

## res_load
| p_mw | q_mvar
0 | 0.0039361 | 0.00098647
1 | 0.0012438 | 0.00031172
2 | 0.0008971 | 0.00022483
3 | 0.0015281 | 0.00038299
4 | 0.0052911 | 0.0013261
5 | 0.0039763 | 0.00099656
6 | 0.0012542 | 0.00031434
7 | 0.00083755 | 0.00020991
8 | 0.00056578 | 0.0001418
9 | 0.0013494 | 0.00033819
10 | 0.00032491 | 8.1429e-05
11 | 0.0002243 | 5.6214e-05
12 | 0.00020362 | 5.1031e-05
13 | 0.00030606 | 7.6706e-05
14 | 0.00036715 | 9.2016e-05
15 | 0.0011024 | 0.00027628
16 | 0.0012402 | 0.00031083
17 | 0.00038575 | 9.6679e-05
18 | 0.0015215 | 0.00038131
19 | 0.0012022 | 0.00030129
20 | 0.00021112 | 5.2912e-05
21 | 0.0043299 | 0.0010852
22 | 0.0026424 | 0.00066224
23 | 0.00034857 | 8.736e-05
24 | 0.00041786 | 0.00010472
25 | 0.00022545 | 5.6504e-05
26 | 0.00039978 | 0.00010019
27 | 0.00032168 | 8.062e-05
28 | 0.00039422 | 9.8802e-05
29 | 0.0016106 | 0.00040365
30 | 0.0005368 | 0.00013454
31 | 0.0003934 | 9.8596e-05
32 | 0.0020772 | 0.00052059
33 | 0.0054069 | 0.0013551
34 | 0.0017429 | 0.0004368
35 | 0.0028505 | 0.00071441
36 | 0.0010909 | 0.00027341
37 | 0.0024655 | 0.00061792
38 | 0.0019431 | 0.00048698
39 | 0.0021419 | 0.0005368
40 | 0.0028317 | 0.00070968
41 | 0.0032029 | 0.00080273
42 | 0.0020448 | 0.00051248
43 | 0.0025194 | 0.00063143
44 | 0.0016709 | 0.00041877
45 | 0.0020704 | 0.0005189
46 | 0.0048367 | 0.0012122
47 | 0.0014008 | 0.00035107
48 | 0.0021778 | 0.0005458
49 | 0.00071986 | 0.00018042
50 | 0.0021587 | 0.00054103
51 | 0.0041112 | 0.0010304
52 | 0.0018923 | 0.00047425
53 | 0.0014986 | 0.00037559
54 | 0.0012623 | 0.00031636
55 | 0.00092883 | 0.00023279
56 | 0.00055611 | 0.00013937
57 | 0.00067649 | 0.00016954
58 | 0.00070374 | 0.00017637
59 | 0.0017965 | 0.00045025
60 | 0.0017123 | 0.00042914
61 | 0.00037818 | 9.4781e-05
62 | 0.00019316 | 4.8412e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1