## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1407-10_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1407-10_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1407-10_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1407-10_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1407-10_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1407-10_0_4_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_1407-10_0_4_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_1407-10_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_1407-10_0_4_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_1407-10_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1407-10_0_4_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_1407-10_0_4_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_1407-10_0_4_node_39 | 0.4 | n |  | TRUE
13 | bus_LV_1407-10_0_4_node_36 | 0.4 | n |  | TRUE
14 | bus_LV_1407-10_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1407-10_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1407-10_0_4_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_1407-10_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_1407-10_0_4_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_1407-10_0_4_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_1407-10_0_4_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_1407-10_0_4_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_1407-10_0_4_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_1407-10_0_4_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_1407-10_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_1407-10_0_4_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_1407-10_0_4_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_1407-10_0_4_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_1407-10_0_4_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_1407-10_0_4_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_1407-10_0_4_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_1407-10_0_4_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_1407-10_0_4_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_1407-10_0_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_1407-10_0_4_node_37 | 0.4 | n |  | TRUE
35 | bus_MV_141_0_node_121 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1407-10_0_4_load_0 | 0 | 0.0021322 | 0.00053437 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1407-10_0_4_load_17 | 8 | 0.0011377 | 0.00028513 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1407-10_0_4_load_16 | 10 | 0.0052178 | 0.0013077 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1407-10_0_4_load_27 | 11 | 0.018392 | 0.0046095 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1407-10_0_4_load_39 | 12 | 0.0025624 | 0.00064221 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1407-10_0_4_load_36 | 13 | 0.015176 | 0.0038033 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1407-10_0_4_load_24 | 16 | 0.0018003 | 0.00045121 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1407-10_0_4_load_29 | 18 | 0.00071097 | 0.00017819 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1407-10_0_4_load_20 | 19 | 0.00065254 | 0.00016354 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1407-10_0_4_load_18 | 20 | 0.013997 | 0.003508 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1407-10_0_4_load_38 | 21 | 0.0021646 | 0.0005425 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1407-10_0_4_load_23 | 23 | 0.010595 | 0.0026553 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1407-10_0_4_load_19 | 24 | 0.001433 | 0.00035914 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1407-10_0_4_load_28 | 25 | 0.0089189 | 0.0022353 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1407-10_0_4_load_22 | 27 | 0.0018042 | 0.00045217 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1407-10_0_4_load_25 | 28 | 0.0077304 | 0.0019374 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1407-10_0_4_load_26 | 29 | 0.0058751 | 0.0014724 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1407-10_0_4_load_30 | 31 | 0.0098797 | 0.0024761 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1407-10_0_4_load_31 | 32 | 0.0018236 | 0.00045703 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1407-10_0_4_load_33 | 33 | 0.0096741 | 0.0024246 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1407-10_0_4_load_37 | 34 | 0.0015788 | 0.00039567 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1407-10_0_4_line_0 |  | 0 | 1 | 0.051826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1407-10_0_4_line_1 |  | 0 | 2 | 0.024044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1407-10_0_4_line_2 |  | 1 | 3 | 0.049027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1407-10_0_4_line_3 |  | 1 | 4 | 0.12489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1407-10_0_4_line_4 |  | 1 | 5 | 0.39823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1407-10_0_4_line_5 |  | 2 | 6 | 0.053288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1407-10_0_4_line_6 |  | 3 | 7 | 0.17299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1407-10_0_4_line_7 |  | 3 | 8 | 0.034513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1407-10_0_4_line_8 |  | 4 | 9 | 0.20184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1407-10_0_4_line_9 |  | 4 | 10 | 0.0061821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1407-10_0_4_line_10 |  | 5 | 13 | 0.059566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1407-10_0_4_line_11 |  | 6 | 19 | 0.024025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1407-10_0_4_line_12 |  | 6 | 17 | 0.033995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1407-10_0_4_line_13 |  | 7 | 12 | 0.036944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1407-10_0_4_line_14 |  | 8 | 20 | 0.059148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1407-10_0_4_line_15 |  | 9 | 11 | 0.05596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1407-10_0_4_line_16 |  | 11 | 15 | 0.039593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1407-10_0_4_line_17 |  | 12 | 21 | 0.0606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1407-10_0_4_line_18 |  | 14 | 15 | 0.10185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1407-10_0_4_line_19 |  | 14 | 16 | 0.010724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1407-10_0_4_line_20 |  | 17 | 18 | 0.011869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1407-10_0_4_line_21 |  | 19 | 22 | 0.035413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1407-10_0_4_line_22 |  | 20 | 24 | 0.056308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1407-10_0_4_line_23 |  | 21 | 34 | 0.052575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1407-10_0_4_line_24 |  | 22 | 27 | 0.031291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1407-10_0_4_line_25 |  | 22 | 23 | 0.070624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1407-10_0_4_line_26 |  | 24 | 25 | 0.093945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1407-10_0_4_line_27 |  | 25 | 26 | 0.06847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1407-10_0_4_line_28 |  | 26 | 30 | 0.21041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1407-10_0_4_line_29 |  | 27 | 28 | 0.026497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1407-10_0_4_line_30 |  | 28 | 29 | 0.12541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1407-10_0_4_line_31 |  | 30 | 33 | 0.11922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1407-10_0_4_line_32 |  | 30 | 32 | 0.052968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1407-10_0_4_line_33 |  | 31 | 32 | 0.11963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1407-10_0_4_trafo_3 | 0.63 MVA 20/0.4 kV | 35 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26
0 | 2661535.872 | 1193006.4066 | 2661537.8249 | 1193017.3663 | 2661539.2719 | 1193033.7907 | 2661541.1116 | 1193057.9261
1 | 2661541.8787 | 1193081.9565 | 2661541.1792 | 1193058.8137 | 2661541.1116 | 1193057.9261
2 | 2661575.1712 | 1193025.8108 | 2661568.6686 | 1193023.6649 | 2661566.4785 | 1193019.4622 | 2661563.8997 | 1193015.2554 | 2661559.9336 | 1193011.0567 | 2661555.9523 | 1193007.5915 | 2661552.7757 | 1193005.1796 | 2661550.0087 | 1193003.7059 | 2661547.7973 | 1193003.7943 | 2661536.804 | 1193006.2049 | 2661535.872 | 1193006.4066
3 | 2661441.2445 | 1193016.4515 | 2661443.1264 | 1193015.0366 | 2661455.6057 | 1193011.1736 | 2661463.3619 | 1193006.306 | 2661462.6347 | 1193002.8966 | 2661465.6126 | 1193001.6486 | 2661470.7949 | 1192997.2882 | 2661492.2366 | 1192992.0832 | 2661503.1914 | 1192989.7166 | 2661520.1574 | 1192985.3996 | 2661526.4251 | 1192983.7074 | 2661531.5293 | 1192982.4925 | 2661532.5779 | 1192989.4851 | 2661535.6405 | 1193005.2035 | 2661535.872 | 1193006.4066
4 | 2661535.872 | 1193006.4066 | 2661535.6405 | 1193005.2035 | 2661532.5779 | 1192989.4851 | 2661531.5293 | 1192982.4925 | 2661529.1894 | 1192973.5856 | 2661526.3247 | 1192970.4988 | 2661525.6505 | 1192955.2608 | 2661522.5206 | 1192944.6003 | 2661517.2641 | 1192930.9717 | 2661516.6889 | 1192921.6826 | 2661519.4239 | 1192904.7676 | 2661521.2529 | 1192897.3933 | 2661519.8926 | 1192885.1389 | 2661516.2566 | 1192871.7938 | 2661512.5696 | 1192863.4177 | 2661508.4569 | 1192855.671 | 2661517.6303 | 1192850.8847 | 2661528.8244 | 1192823.7841 | 2661547.8104 | 1192812.1058 | 2661552.567 | 1192783.9385 | 2661559.1917 | 1192718.68 | 2661566.4077 | 1192693.0171 | 2661578.7715 | 1192650.0862 | 2661572.443 | 1192637.6472
5 | 2661554.0752 | 1193133.7229 | 2661552.7898 | 1193131.2305 | 2661551.9035 | 1193128.4753 | 2661551.4356 | 1193125.8023 | 2661541.8787 | 1193081.9565
6 | 2661575.1712 | 1193025.8108 | 2661573.0757 | 1193019.8191 | 2661570.8695 | 1193015.7051 | 2661568.8119 | 1193012.7045 | 2661565.8873 | 1193009.5059 | 2661560.858 | 1193004.9293 | 2661541.902 | 1192991.5155 | 2661544.4284 | 1192987.4836 | 2661545.7559 | 1192982.9168 | 2661547.193 | 1192978.0732 | 2661548.521 | 1192975.6855 | 2661550.2092 | 1192973.8462 | 2661552.1396 | 1192972.1762 | 2661554.238 | 1192971.2195 | 2661556.4938 | 1192970.5201 | 2661565.3672 | 1192968.9437 | 2661572.6055 | 1192967.7508 | 2661591.2031 | 1192964.8849 | 2661608.0368 | 1192962.3233 | 2661611.7492 | 1192961.55 | 2661614.7171 | 1192960.5466 | 2661619.3505 | 1192957.6816 | 2661626.8357 | 1192956.936 | 2661629.7835 | 1192956.3993 | 2661632.5372 | 1192955.4605 | 2661644.1947 | 1192949.2658 | 2661649.2915 | 1192946.5612
7 | 2661575.1712 | 1193025.8108 | 2661593.2477 | 1193032.823 | 2661598.8293 | 1193040.018 | 2661602.4591 | 1193044.8177
8 | 2661389.1695 | 1192834.3898 | 2661391.9118 | 1192840.5103 | 2661390.4644 | 1192847.1104 | 2661407.7258 | 1192891.2796 | 2661427.4941 | 1192944.4132 | 2661432.2059 | 1192959.1478 | 2661432.5508 | 1192959.7072 | 2661436.5331 | 1192966.0518 | 2661449.0995 | 1192997.4989 | 2661450.633 | 1193002.562 | 2661438.0939 | 1193010.7603 | 2661441.2445 | 1193016.4515
9 | 2661441.2445 | 1193016.4515 | 2661440.0045 | 1193019.1737 | 2661440.0099 | 1193022.3644
10 | 2661572.443 | 1192637.6472 | 2661551.1812 | 1192617.0833 | 2661531.7533 | 1192601.2523 | 2661526.8365 | 1192601.5511
11 | 2661554.0752 | 1193133.7229 | 2661555.7988 | 1193136.5867 | 2661558.1377 | 1193139.657 | 2661561.9153 | 1193143.6537 | 2661569.6991 | 1193151.8782
12 | 2661554.0752 | 1193133.7229 | 2661528.749 | 1193156.4757
13 | 2661649.2915 | 1192946.5612 | 2661682.2463 | 1192929.8619
14 | 2661602.4591 | 1193044.8177 | 2661613.9969 | 1193060.0746 | 2661637.4256 | 1193092.5197
15 | 2661389.1695 | 1192834.3898 | 2661383.1044 | 1192832.671 | 2661334.6476 | 1192821.8258
16 | 2661296.0107 | 1192813.1784 | 2661334.6476 | 1192821.8258
17 | 2661682.2463 | 1192929.8619 | 2661709.1965 | 1192916.2053 | 2661714.2746 | 1192910.143 | 2661716.0986 | 1192901.8015 | 2661715.7847 | 1192892.3261 | 2661713.516 | 1192888.4869
18 | 2661289.0735 | 1192716.5182 | 2661284.8216 | 1192739.4324 | 2661280.788 | 1192761.137 | 2661280.1499 | 1192786.2227 | 2661286.3806 | 1192799.3163 | 2661296.0107 | 1192813.1784
19 | 2661289.0735 | 1192716.5182 | 2661278.5841 | 1192714.2881
20 | 2661528.749 | 1193156.4757 | 2661527.9998 | 1193159.6587 | 2661525.9696 | 1193168.0142
21 | 2661593.6516 | 1193177.9334 | 2661590.4019 | 1193173.7531 | 2661569.6991 | 1193151.8782
22 | 2661671.1053 | 1193137.6401 | 2661656.1616 | 1193117.92 | 2661648.0399 | 1193107.219 | 2661637.4256 | 1193092.5197
23 | 2661678.4223 | 1192849.8839 | 2661690.3897 | 1192866.8941 | 2661711.964 | 1192885.8607 | 2661713.516 | 1192888.4869
24 | 2661593.6516 | 1193177.9334 | 2661611.333 | 1193203.75
25 | 2661593.6516 | 1193177.9334 | 2661611.0771 | 1193165.2165 | 2661612.0897 | 1193163.8483 | 2661612.6246 | 1193162.2418 | 2661612.6942 | 1193160.6638 | 2661612.2867 | 1193158.7807 | 2661611.4189 | 1193157.1931 | 2661587.5939 | 1193124.6396
26 | 2661727.3789 | 1193212.8658 | 2661699.0058 | 1193174.8388 | 2661672.7956 | 1193139.8707 | 2661671.1053 | 1193137.6401
27 | 2661768.2687 | 1193267.7847 | 2661743.837 | 1193234.858 | 2661729.334 | 1193215.4861 | 2661727.3789 | 1193212.8658
28 | 2661768.2687 | 1193267.7847 | 2661770.907 | 1193266.1999 | 2661786.6677 | 1193254.5447 | 2661790.3513 | 1193254.3382 | 2661803.378 | 1193269.7594 | 2661811.3626 | 1193278.1912 | 2661813.6799 | 1193276.692 | 2661843.051 | 1193249.802 | 2661844.2931 | 1193249.0922 | 2661845.9875 | 1193248.8763 | 2661847.5614 | 1193249.2483 | 2661848.6806 | 1193250.1048 | 2661849.7846 | 1193251.6949 | 2661857.2011 | 1193267.1472 | 2661857.5156 | 1193269.1627 | 2661856.5881 | 1193273.3556 | 2661852.1775 | 1193267.9513 | 2661806.421 | 1193213.5138
29 | 2661611.333 | 1193203.75 | 2661626.3054 | 1193225.6113
30 | 2661697.1676 | 1193329.0771 | 2661626.3054 | 1193225.6113
31 | 2661806.421 | 1193213.5138 | 2661750.7108 | 1193144.1542 | 2661750.9524 | 1193139.2094 | 2661760.8518 | 1193122.4018 | 2661757.5273 | 1193117.6463
32 | 2661806.421 | 1193213.5138 | 2661833.2632 | 1193182.0728 | 2661840.5628 | 1193173.0224
33 | 2661840.5628 | 1193173.0224 | 2661883.7825 | 1193119.4364 | 2661883.322 | 1193111.6382 | 2661854.0242 | 1193080.1999

## bus_geodata
| x | y | coords
0 | 2661541.1116 | 1193057.9261
1 | 2661535.872 | 1193006.4066
2 | 2661541.8787 | 1193081.9565
3 | 2661575.1712 | 1193025.8108
4 | 2661441.2445 | 1193016.4515
5 | 2661572.443 | 1192637.6472
6 | 2661554.0752 | 1193133.7229
7 | 2661649.2915 | 1192946.5612
8 | 2661602.4591 | 1193044.8177
9 | 2661389.1695 | 1192834.3898
10 | 2661440.0099 | 1193022.3644
11 | 2661334.6476 | 1192821.8258
12 | 2661682.2463 | 1192929.8619
13 | 2661526.8365 | 1192601.5511
14 | 2661289.0735 | 1192716.5182
15 | 2661296.0107 | 1192813.1784
16 | 2661278.5841 | 1192714.2881
17 | 2661528.749 | 1193156.4757
18 | 2661525.9696 | 1193168.0142
19 | 2661569.6991 | 1193151.8782
20 | 2661637.4256 | 1193092.5197
21 | 2661713.516 | 1192888.4869
22 | 2661593.6516 | 1193177.9334
23 | 2661587.5939 | 1193124.6396
24 | 2661671.1053 | 1193137.6401
25 | 2661727.3789 | 1193212.8658
26 | 2661768.2687 | 1193267.7847
27 | 2661611.333 | 1193203.75
28 | 2661626.3054 | 1193225.6112
29 | 2661697.1676 | 1193329.0771
30 | 2661806.421 | 1193213.5138
31 | 2661854.0242 | 1193080.1999
32 | 2661840.5628 | 1193173.0224
33 | 2661757.5273 | 1193117.6463
34 | 2661678.4223 | 1192849.8839
35 | 2661570.8084 | 1193057.1952

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99546 | -0.086988 | 0.0021322 | 0.00053437
1 | 0.99685 | -0.060121 | 0 | 0
2 | 0.99485 | -0.098575 | 0 | 0
3 | 1 | 0 | -0.12593 | -0.031513
4 | 0.99395 | -0.11598 | 0 | 0
5 | 0.99132 | -0.16677 | 0 | 0
6 | 0.99352 | -0.1243 | 0 | 0
7 | 0.99901 | -0.019055 | 0 | 0
8 | 0.99852 | -0.028248 | 0.0011377 | 0.00028513
9 | 0.99021 | -0.18819 | 0 | 0
10 | 0.99392 | -0.11655 | 0.0052178 | 0.0013077
11 | 0.98918 | -0.2083 | 0.018392 | 0.0046095
12 | 0.9988 | -0.023128 | 0.0025624 | 0.00064221
13 | 0.99049 | -0.18282 | 0.015176 | 0.0038033
14 | 0.98894 | -0.21285 | 0 | 0
15 | 0.98911 | -0.20958 | 0 | 0
16 | 0.98892 | -0.21319 | 0.0018003 | 0.00045121
17 | 0.9935 | -0.12473 | 0 | 0
18 | 0.99349 | -0.12488 | 0.00071097 | 0.00017819
19 | 0.99293 | -0.13562 | 0.00065254 | 0.00016354
20 | 0.99604 | -0.075672 | 0.013997 | 0.003508
21 | 0.99859 | -0.027095 | 0.0021646 | 0.0005425
22 | 0.99209 | -0.15192 | 0 | 0
23 | 0.99141 | -0.16518 | 0.010595 | 0.0026553
24 | 0.9944 | -0.10713 | 0.001433 | 0.00035914
25 | 0.99178 | -0.15747 | 0.0089189 | 0.0022353
26 | 0.99043 | -0.18346 | 0 | 0
27 | 0.99165 | -0.16047 | 0.0018042 | 0.00045217
28 | 0.99132 | -0.16686 | 0.0077304 | 0.0019374
29 | 0.99065 | -0.17994 | 0.0058751 | 0.0014724
30 | 0.98629 | -0.26377 | 0 | 0
31 | 0.98463 | -0.29611 | 0.0098797 | 0.0024761
32 | 0.98572 | -0.27488 | 0.0018236 | 0.00045703
33 | 0.98523 | -0.28446 | 0.0096741 | 0.0024246
34 | 0.99852 | -0.028546 | 0.0015788 | 0.00039567
35 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.029604 | -0.0074546 | 0.029643 | 0.0074783 | 3.8081e-05 | 2.3697e-05 | 0.044265 | 0.044265 | 0.044265 | 0.99546 | -0.086988 | 0.99685 | -0.060121 | 12.1608
1 | 0.027472 | 0.0069202 | -0.027457 | -0.0069108 | 1.5214e-05 | 9.4248e-06 | 0.041078 | 0.041078 | 0.041078 | 0.99546 | -0.086988 | 0.99485 | -0.098575 | 11.2852
2 | -0.070475 | -0.017795 | 0.070679 | 0.017925 | 0.00020365 | 0.00012969 | 0.10525 | 0.10525 | 0.10525 | 0.99685 | -0.060121 | 1 | 0 | 28.9138
3 | 0.025568 | 0.0064625 | -0.0255 | -0.0064205 | 6.829e-05 | 4.2082e-05 | 0.038185 | 0.038186 | 0.038186 | 0.99685 | -0.060121 | 0.99395 | -0.11598 | 10.4906
4 | 0.015265 | 0.0038545 | -0.015187 | -0.00381 | 7.7611e-05 | 4.4508e-05 | 0.022796 | 0.022798 | 0.022798 | 0.99685 | -0.060121 | 0.99132 | -0.16677 | 6.2632
5 | 0.027457 | 0.0069108 | -0.027423 | -0.0068899 | 3.372e-05 | 2.089e-05 | 0.041078 | 0.041079 | 0.041079 | 0.99485 | -0.098575 | 0.99352 | -0.1243 | 11.2853
6 | 0.0063136 | 0.0015811 | -0.0063078 | -0.0015797 | 5.7255e-06 | 1.3971e-06 | 0.0093942 | 0.009395 | 0.009395 | 1 | 0 | 0.99901 | -0.019055 | 2.5811
7 | 0.04729 | 0.012007 | -0.047226 | -0.011967 | 6.4186e-05 | 4.0627e-05 | 0.070423 | 0.070423 | 0.070423 | 1 | 0 | 0.99852 | -0.028248 | 19.347
8 | 0.020282 | 0.0051128 | -0.020212 | -0.0050707 | 6.9832e-05 | 4.2086e-05 | 0.030374 | 0.030375 | 0.030375 | 0.99395 | -0.11598 | 0.99021 | -0.18819 | 8.3448
9 | 0.0052179 | 0.0013077 | -0.0052178 | -0.0013077 | 1.4146e-07 | 1.0414e-08 | 0.0078116 | 0.0078116 | 0.0078116 | 0.99395 | -0.11598 | 0.99392 | -0.11655 | 2.146
10 | 0.015187 | 0.00381 | -0.015176 | -0.0038033 | 1.161e-05 | 6.663e-06 | 0.022798 | 0.022798 | 0.022798 | 0.99132 | -0.16677 | 0.99049 | -0.18282 | 6.2632
11 | 0.026712 | 0.0067123 | -0.026698 | -0.0067034 | 1.4425e-05 | 8.9212e-06 | 0.040014 | 0.040014 | 0.040014 | 0.99352 | -0.1243 | 0.99293 | -0.13562 | 10.9929
12 | 0.00071099 | 0.0001776 | -0.00071097 | -0.00017804 | 1.4452e-08 | -4.3097e-07 | 0.0010647 | 0.0010648 | 0.0010648 | 0.99352 | -0.1243 | 0.9935 | -0.12473 | 0.29253
13 | 0.0063078 | 0.0015797 | -0.0063066 | -0.0015794 | 1.2229e-06 | 2.9902e-07 | 0.009395 | 0.0093952 | 0.0093952 | 0.99901 | -0.019055 | 0.9988 | -0.023128 | 2.5811
14 | 0.046088 | 0.011681 | -0.045983 | -0.011615 | 0.00010477 | 6.6281e-05 | 0.068728 | 0.068728 | 0.068728 | 0.99852 | -0.028248 | 0.99604 | -0.075672 | 18.8813
15 | 0.020212 | 0.0050707 | -0.020193 | -0.005059 | 1.9362e-05 | 1.1672e-05 | 0.030375 | 0.030375 | 0.030375 | 0.99021 | -0.18819 | 0.98918 | -0.2083 | 8.3449
16 | 0.0018008 | 0.00044952 | -0.0018007 | -0.00044996 | 1.0891e-07 | -4.3851e-07 | 0.0027083 | 0.0027084 | 0.0027084 | 0.98918 | -0.2083 | 0.98911 | -0.20958 | 0.74408
17 | 0.0037442 | 0.00093721 | -0.0037435 | -0.00093755 | 7.0701e-07 | -3.4046e-07 | 0.0055777 | 0.0055779 | 0.0055779 | 0.9988 | -0.023128 | 0.99859 | -0.027095 | 1.5324
18 | -0.0018004 | -0.00045109 | 0.0018007 | 0.00044996 | 2.8024e-07 | -1.1277e-06 | 0.0027089 | 0.0027084 | 0.0027089 | 0.98894 | -0.21285 | 0.98911 | -0.20958 | 0.7442
19 | 0.0018004 | 0.00045109 | -0.0018003 | -0.00045121 | 2.951e-08 | -1.1871e-07 | 0.0027089 | 0.002709 | 0.002709 | 0.98894 | -0.21285 | 0.98892 | -0.21319 | 0.74422
20 | 0.00071097 | 0.00017804 | -0.00071097 | -0.00017819 | 5.0466e-09 | -1.5046e-07 | 0.0010648 | 0.0010649 | 0.0010649 | 0.9935 | -0.12473 | 0.99349 | -0.12488 | 0.29255
21 | 0.026045 | 0.0065398 | -0.026025 | -0.0065273 | 2.0236e-05 | 1.2494e-05 | 0.039036 | 0.039036 | 0.039036 | 0.99293 | -0.13562 | 0.99209 | -0.15192 | 10.7242
22 | 0.031986 | 0.0081071 | -0.031938 | -0.0080769 | 4.828e-05 | 3.0167e-05 | 0.047817 | 0.047817 | 0.047817 | 0.99604 | -0.075672 | 0.9944 | -0.10713 | 13.1366
23 | 0.0015789 | 0.00039506 | -0.0015788 | -0.00039567 | 1.0912e-07 | -6.1792e-07 | 0.0023525 | 0.0023527 | 0.0023527 | 0.99859 | -0.027095 | 0.99852 | -0.028546 | 0.64635
24 | 0.015424 | 0.0038687 | -0.015417 | -0.0038651 | 6.2804e-06 | 3.6156e-06 | 0.023135 | 0.023135 | 0.023135 | 0.99209 | -0.15192 | 0.99165 | -0.16047 | 6.3558
25 | 0.010601 | 0.0026587 | -0.010595 | -0.0026553 | 6.6967e-06 | 3.3746e-06 | 0.015901 | 0.015902 | 0.015902 | 0.99209 | -0.15192 | 0.99141 | -0.16518 | 4.3686
26 | 0.030505 | 0.0077178 | -0.030431 | -0.007672 | 7.349e-05 | 4.5818e-05 | 0.045673 | 0.045673 | 0.045673 | 0.9944 | -0.10713 | 0.99178 | -0.15747 | 12.5476
27 | 0.021512 | 0.0054367 | -0.021485 | -0.0054204 | 2.6774e-05 | 1.6253e-05 | 0.032292 | 0.032292 | 0.032292 | 0.99178 | -0.15747 | 0.99043 | -0.18346 | 8.8715
28 | 0.021485 | 0.0054204 | -0.021403 | -0.0053705 | 8.2284e-05 | 4.9965e-05 | 0.032292 | 0.032293 | 0.032293 | 0.99043 | -0.18346 | 0.98629 | -0.26377 | 8.8717
29 | 0.013613 | 0.0034129 | -0.013609 | -0.0034106 | 4.1464e-06 | 2.312e-06 | 0.020428 | 0.020428 | 0.020428 | 0.99165 | -0.16047 | 0.99132 | -0.16686 | 5.6121
30 | 0.0058788 | 0.0014732 | -0.0058751 | -0.0014724 | 3.6621e-06 | 7.2806e-07 | 0.0088243 | 0.0088248 | 0.0088248 | 0.99132 | -0.16686 | 0.99065 | -0.17994 | 2.4244
31 | 0.0096837 | 0.0024292 | -0.0096741 | -0.0024246 | 9.5441e-06 | 4.5883e-06 | 0.014611 | 0.014611 | 0.014611 | 0.98629 | -0.26377 | 0.98523 | -0.28446 | 4.014
32 | 0.01172 | 0.0029413 | -0.011713 | -0.002938 | 6.2107e-06 | 3.2993e-06 | 0.017683 | 0.017683 | 0.017683 | 0.98629 | -0.26377 | 0.98572 | -0.27488 | 4.8579
33 | -0.0098797 | -0.0024761 | 0.0098897 | 0.002481 | 1e-05 | 4.8769e-06 | 0.014931 | 0.01493 | 0.014931 | 0.98463 | -0.29611 | 0.98572 | -0.27488 | 4.1018

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.12593 | 0.031513

## res_load
| p_mw | q_mvar
0 | 0.0021322 | 0.00053437
1 | 0.0011377 | 0.00028513
2 | 0.0052178 | 0.0013077
3 | 0.018392 | 0.0046095
4 | 0.0025624 | 0.00064221
5 | 0.015176 | 0.0038033
6 | 0.0018003 | 0.00045121
7 | 0.00071097 | 0.00017819
8 | 0.00065254 | 0.00016354
9 | 0.013997 | 0.003508
10 | 0.0021646 | 0.0005425
11 | 0.010595 | 0.0026553
12 | 0.001433 | 0.00035914
13 | 0.0089189 | 0.0022353
14 | 0.0018042 | 0.00045217
15 | 0.0077304 | 0.0019374
16 | 0.0058751 | 0.0014724
17 | 0.0098797 | 0.0024761
18 | 0.0018236 | 0.00045703
19 | 0.0096741 | 0.0024246
20 | 0.0015788 | 0.00039567

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1