## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1407-13_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1407-13_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1407-13_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1407-13_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1407-13_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1407-13_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1407-13_0_5_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_1407-13_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1407-13_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1407-13_0_5_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_1407-13_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1407-13_0_5_node_32 | 0.4 | n |  | TRUE
12 | bus_LV_1407-13_0_5_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_1407-13_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1407-13_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1407-13_0_5_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_1407-13_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1407-13_0_5_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_1407-13_0_5_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1407-13_0_5_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_1407-13_0_5_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1407-13_0_5_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_1407-13_0_5_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_1407-13_0_5_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_1407-13_0_5_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_1407-13_0_5_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_1407-13_0_5_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_1407-13_0_5_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_1407-13_0_5_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_1407-13_0_5_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_1407-13_0_5_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_1407-13_0_5_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_1407-13_0_5_node_30 | 0.4 | n |  | TRUE
33 | bus_MV_141_0_node_122 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1407-13_0_5_load_0 | 0 | 0.024212 | 0.0060682 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1407-13_0_5_load_1 | 1 | 0.0056559 | 0.0014175 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1407-13_0_5_load_3 | 3 | 0.024214 | 0.0060687 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1407-13_0_5_load_20 | 6 | 0.0030425 | 0.00076252 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1407-13_0_5_load_7 | 7 | 0.035499 | 0.0088968 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1407-13_0_5_load_6 | 8 | 0.06231 | 0.015616 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1407-13_0_5_load_21 | 9 | 0.0045837 | 0.0011488 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1407-13_0_5_load_32 | 11 | 0.028494 | 0.0071414 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1407-13_0_5_load_31 | 12 | 0.015261 | 0.0038248 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1407-13_0_5_load_28 | 15 | 0.011053 | 0.0027701 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1407-13_0_5_load_18 | 17 | 0.022608 | 0.0056662 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1407-13_0_5_load_19 | 19 | 0.034841 | 0.008732 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1407-13_0_5_load_16 | 20 | 0.0087569 | 0.0021947 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1407-13_0_5_load_23 | 23 | 0.014427 | 0.0036158 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1407-13_0_5_load_25 | 25 | 0.012447 | 0.0031196 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1407-13_0_5_load_29 | 26 | 0.01258 | 0.0031528 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1407-13_0_5_load_33 | 27 | 0.024536 | 0.0061492 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1407-13_0_5_load_27 | 28 | 0.0072744 | 0.0018231 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1407-13_0_5_load_17 | 29 | 0.006172 | 0.0015469 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1407-13_0_5_load_26 | 30 | 0.0062496 | 0.0015663 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1407-13_0_5_load_22 | 31 | 0.0091136 | 0.0022841 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1407-13_0_5_load_30 | 32 | 0.012305 | 0.0030839 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1407-13_0_5_line_0 |  | 0 | 1 | 0.012501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_1407-13_0_5_line_1 |  | 0 | 2 | 0.015161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_1407-13_0_5_line_2 |  | 1 | 3 | 0.0016832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_1407-13_0_5_line_3 |  | 2 | 4 | 0.033123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_1407-13_0_5_line_4 |  | 3 | 5 | 0.018336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_1407-13_0_5_line_5 |  | 4 | 6 | 0.023613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_1407-13_0_5_line_6 |  | 5 | 7 | 0.025968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1407-13_0_5_line_7 |  | 5 | 8 | 0.013132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1407-13_0_5_line_8 |  | 6 | 9 | 0.018853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_1407-13_0_5_line_9 |  | 9 | 31 | 0.021357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_1407-13_0_5_line_10 |  | 10 | 11 | 0.010922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1407-13_0_5_line_11 |  | 10 | 12 | 0.010047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1407-13_0_5_line_12 |  | 11 | 27 | 0.011708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1407-13_0_5_line_13 |  | 12 | 14 | 0.013218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1407-13_0_5_line_14 |  | 13 | 14 | 0.042858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_1407-13_0_5_line_15 |  | 13 | 15 | 0.025223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_1407-13_0_5_line_16 |  | 14 | 16 | 0.046755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_1407-13_0_5_line_17 |  | 15 | 28 | 0.010797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_1407-13_0_5_line_18 |  | 16 | 17 | 0.032371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_1407-13_0_5_line_19 |  | 17 | 29 | 0.020066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1407-13_0_5_line_20 |  | 18 | 19 | 0.023112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1407-13_0_5_line_21 |  | 18 | 20 | 0.033636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1407-13_0_5_line_22 |  | 20 | 29 | 0.017273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1407-13_0_5_line_23 |  | 21 | 22 | 0.013926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_1407-13_0_5_line_24 |  | 21 | 23 | 0.027851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_1407-13_0_5_line_25 |  | 22 | 26 | 0.0291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_1407-13_0_5_line_26 |  | 23 | 24 | 0.022558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_1407-13_0_5_line_27 |  | 24 | 25 | 0.016838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_1407-13_0_5_line_28 |  | 25 | 30 | 0.019082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_1407-13_0_5_line_29 |  | 26 | 31 | 0.019466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_1407-13_0_5_line_30 |  | 27 | 32 | 0.011864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1407-13_0_5_line_31 |  | 28 | 30 | 0.0099904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1407-13_0_5_trafo_5 | 0.63 MVA 20/0.4 kV | 33 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2661618.2666 | 1194021.4301 | 2661618.9512 | 1194033.9119
1 | 2661617.4363 | 1194006.2914 | 2661618.2666 | 1194021.4301
2 | 2661618.9512 | 1194033.9119 | 2661619.0434 | 1194035.5926
3 | 2661615.4296 | 1193973.2293 | 2661615.6822 | 1193977.5567 | 2661616.2618 | 1193987.1348 | 2661616.8491 | 1193996.7131 | 2661617.4363 | 1194006.2914
4 | 2661620.0476 | 1194053.9014 | 2661619.0434 | 1194035.5926
5 | 2661615.4296 | 1193973.2293 | 2661608.1225 | 1193973.8211 | 2661600.4986 | 1193979.268 | 2661596.4975 | 1193984.9044
6 | 2661620.0476 | 1194053.9014 | 2661609.5173 | 1194054.46 | 2661594.1203 | 1194055.3545
7 | 2661620.0476 | 1194053.9014 | 2661633.1434 | 1194052.9328
8 | 2661596.4975 | 1193984.9044 | 2661585.5845 | 1194000.2776
9 | 2661573.222 | 1194017.6927 | 2661585.5845 | 1194000.2776
10 | 2661621.5768 | 1194122.2124 | 2661617.394 | 1194121.3688 | 2661612.3292 | 1194117.0519
11 | 2661621.5768 | 1194122.2124 | 2661621.6004 | 1194132.2595
12 | 2661612.3292 | 1194117.0519 | 2661603.4188 | 1194109.4572
13 | 2661623.5811 | 1194145.1463 | 2661622.5668 | 1194142.9902 | 2661621.8471 | 1194140.359 | 2661621.6108 | 1194136.6655 | 2661621.6004 | 1194132.2595
14 | 2661623.5811 | 1194145.1463 | 2661610.3342 | 1194149.0233 | 2661599.8579 | 1194152.4841 | 2661582.6299 | 1194158.1434
15 | 2661582.6299 | 1194158.1434 | 2661580.0956 | 1194154.1039 | 2661564.204 | 1194141.2265
16 | 2661623.5811 | 1194145.1463 | 2661625.4569 | 1194147.2557 | 2661628.1547 | 1194148.7399 | 2661631.9983 | 1194149.958 | 2661642.077 | 1194151.7962 | 2661647.5087 | 1194152.7304 | 2661648.4554 | 1194148.1264 | 2661651.6952 | 1194148.7713 | 2661655.9238 | 1194149.6042 | 2661659.8939 | 1194150.3789 | 2661664.5104 | 1194151.2936
17 | 2661564.204 | 1194141.2265 | 2661555.8155 | 1194134.4291
18 | 2661664.5104 | 1194151.2936 | 2661662.3646 | 1194118.9937
19 | 2661662.3646 | 1194118.9937 | 2661661.8319 | 1194110.976 | 2661663.487 | 1194099.06
20 | 2661661.7073 | 1194048.394 | 2661684.7093 | 1194046.1369
21 | 2661661.7073 | 1194048.394 | 2661664.5062 | 1194081.9137
22 | 2661664.5062 | 1194081.9137 | 2661665.0177 | 1194088.04 | 2661663.487 | 1194099.06
23 | 2661534.3742 | 1194059.6566 | 2661548.2668 | 1194058.2209
24 | 2661534.3742 | 1194059.6566 | 2661534.9059 | 1194064.2759 | 2661534.2617 | 1194069.8503 | 2661532.8559 | 1194074.6386 | 2661526.5492 | 1194085.5457
25 | 2661548.2668 | 1194058.2209 | 2661548.029 | 1194053.1822 | 2661561.954 | 1194033.5661
26 | 2661519.3562 | 1194106.7963 | 2661522.1799 | 1194095.2964 | 2661524.6314 | 1194088.8623 | 2661526.5492 | 1194085.5457
27 | 2661519.3562 | 1194106.7963 | 2661524.8023 | 1194109.2981 | 2661533.228 | 1194116.1258
28 | 2661533.228 | 1194116.1258 | 2661548.0536 | 1194128.1393
29 | 2661561.954 | 1194033.5661 | 2661573.222 | 1194017.6927
30 | 2661603.4188 | 1194109.4572 | 2661594.3897 | 1194101.7614
31 | 2661555.8155 | 1194134.4291 | 2661548.0536 | 1194128.1393

## bus_geodata
| x | y | coords
0 | 2661618.2666 | 1194021.4301
1 | 2661618.9512 | 1194033.9119
2 | 2661617.4363 | 1194006.2914
3 | 2661619.0434 | 1194035.5926
4 | 2661615.4296 | 1193973.2293
5 | 2661620.0476 | 1194053.9014
6 | 2661596.4975 | 1193984.9044
7 | 2661594.1203 | 1194055.3545
8 | 2661633.1434 | 1194052.9328
9 | 2661585.5845 | 1194000.2776
10 | 2661621.5768 | 1194122.2124
11 | 2661612.3292 | 1194117.0519
12 | 2661621.6004 | 1194132.2595
13 | 2661582.6299 | 1194158.1434
14 | 2661623.5811 | 1194145.1463
15 | 2661564.204 | 1194141.2265
16 | 2661664.5104 | 1194151.2937
17 | 2661662.3646 | 1194118.9937
18 | 2661661.7073 | 1194048.394
19 | 2661684.7093 | 1194046.1369
20 | 2661664.5062 | 1194081.9137
21 | 2661534.3742 | 1194059.6566
22 | 2661548.2668 | 1194058.2209
23 | 2661526.5492 | 1194085.5457
24 | 2661519.3562 | 1194106.7963
25 | 2661533.228 | 1194116.1258
26 | 2661561.954 | 1194033.5661
27 | 2661603.4188 | 1194109.4572
28 | 2661555.8155 | 1194134.4291
29 | 2661663.487 | 1194099.06
30 | 2661548.0536 | 1194128.1393
31 | 2661573.222 | 1194017.6927
32 | 2661594.3897 | 1194101.7614
33 | 2661640.3654 | 1194052.3987

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99723 | -0.052128 | 0.024212 | 0.0060682
1 | 0.99823 | -0.033305 | 0.0056559 | 0.0014175
2 | 0.99614 | -0.072859 | 0 | 0
3 | 0.99837 | -0.030718 | 0.024214 | 0.0060687
4 | 0.99373 | -0.11831 | 0 | 0
5 | 1 | 0 | -0.39262 | -0.10005
6 | 0.99202 | -0.15084 | 0.0030425 | 0.00076252
7 | 0.99916 | -0.016081 | 0.035499 | 0.0088968
8 | 0.99926 | -0.014272 | 0.06231 | 0.015616
9 | 0.99067 | -0.17656 | 0.0045837 | 0.0011488
10 | 0.97407 | -0.49856 | 0 | 0
11 | 0.9734 | -0.51168 | 0.028494 | 0.0071414
12 | 0.97468 | -0.48651 | 0.015261 | 0.0038248
13 | 0.97771 | -0.42706 | 0 | 0
14 | 0.97567 | -0.46699 | 0 | 0
15 | 0.97891 | -0.40363 | 0.011053 | 0.0027701
16 | 0.97462 | -0.48767 | 0 | 0
17 | 0.97353 | -0.50919 | 0.022608 | 0.0056662
18 | 0.97079 | -0.56311 | 0 | 0
19 | 0.97004 | -0.57801 | 0.034841 | 0.008732
20 | 0.97189 | -0.54146 | 0.0087569 | 0.0021947
21 | 0.98514 | -0.28283 | 0 | 0
22 | 0.98602 | -0.2658 | 0 | 0
23 | 0.98337 | -0.31698 | 0.014427 | 0.0036158
24 | 0.98204 | -0.34277 | 0 | 0
25 | 0.98104 | -0.36206 | 0.012447 | 0.0031196
26 | 0.98787 | -0.23031 | 0.01258 | 0.0031528
27 | 0.973 | -0.51962 | 0.024536 | 0.0061492
28 | 0.97946 | -0.3929 | 0.0072744 | 0.0018231
29 | 0.97259 | -0.52757 | 0.006172 | 0.0015469
30 | 0.97999 | -0.38254 | 0.0062496 | 0.0015663
31 | 0.98918 | -0.20519 | 0.0091136 | 0.0022841
32 | 0.97286 | -0.52231 | 0.012305 | 0.0030839
33 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.26251 | -0.067548 | 0.26275 | 0.067701 | 0.00024052 | 0.00015344 | 0.39233 | 0.39233 | 0.39233 | 0.99723 | -0.052128 | 0.99823 | -0.033305 | 35.928
1 | 0.2383 | 0.06148 | -0.23806 | -0.061327 | 0.00024047 | 0.00015331 | 0.35621 | 0.35621 | 0.35621 | 0.99723 | -0.052128 | 0.99614 | -0.072859 | 32.6196
2 | -0.26841 | -0.069119 | 0.26844 | 0.069141 | 3.3793e-05 | 2.1561e-05 | 0.40076 | 0.40076 | 0.40076 | 0.99823 | -0.033305 | 0.99837 | -0.030718 | 36.7
3 | 0.23806 | 0.061327 | -0.23754 | -0.060992 | 0.00052534 | 0.00033493 | 0.35621 | 0.35621 | 0.35621 | 0.99614 | -0.072859 | 0.99373 | -0.11831 | 32.6197
4 | -0.29266 | -0.075209 | 0.2931 | 0.075488 | 0.00043742 | 0.00027923 | 0.43685 | 0.43685 | 0.43685 | 0.99837 | -0.030718 | 1 | 0 | 40.0049
5 | 0.23754 | 0.060992 | -0.23716 | -0.060753 | 0.00037451 | 0.00023877 | 0.35621 | 0.35621 | 0.35621 | 0.99373 | -0.11831 | 0.99202 | -0.15084 | 32.6197
6 | 0.035526 | 0.0089139 | -0.035499 | -0.0088968 | 2.7217e-05 | 1.7078e-05 | 0.052867 | 0.052867 | 0.052867 | 1 | 0 | 0.99916 | -0.016081 | 14.5239
7 | 0.062352 | 0.015643 | -0.06231 | -0.015616 | 4.2395e-05 | 2.6961e-05 | 0.092786 | 0.092787 | 0.092787 | 1 | 0 | 0.99926 | -0.014272 | 25.4908
8 | 0.23412 | 0.05999 | -0.23383 | -0.059805 | 0.0002914 | 0.00018577 | 0.35164 | 0.35164 | 0.35164 | 0.99202 | -0.15084 | 0.99067 | -0.17656 | 32.2018
9 | 0.22924 | 0.058656 | -0.22893 | -0.058453 | 0.00031731 | 0.00020225 | 0.34476 | 0.34476 | 0.34476 | 0.99067 | -0.17656 | 0.98918 | -0.20519 | 31.5713
10 | 0.065391 | 0.01641 | -0.065351 | -0.016384 | 4.0877e-05 | 2.6025e-05 | 0.099902 | 0.099902 | 0.099902 | 0.97407 | -0.49856 | 0.9734 | -0.51168 | 27.4455
11 | -0.065391 | -0.01641 | 0.065429 | 0.016434 | 3.7603e-05 | 2.3941e-05 | 0.099902 | 0.099902 | 0.099902 | 0.97407 | -0.49856 | 0.97468 | -0.48651 | 27.4455
12 | 0.036856 | 0.0092428 | -0.036842 | -0.009234 | 1.3938e-05 | 8.7747e-06 | 0.056343 | 0.056343 | 0.056343 | 0.9734 | -0.51168 | 0.973 | -0.51962 | 15.4789
13 | -0.08069 | -0.020259 | 0.080765 | 0.020307 | 7.5233e-05 | 4.7984e-05 | 0.1232 | 0.1232 | 0.1232 | 0.97468 | -0.48651 | 0.97567 | -0.46699 | 33.8463
14 | 0.15372 | 0.038808 | -0.15342 | -0.038622 | 0.00029347 | 0.00018621 | 0.23405 | 0.23405 | 0.23405 | 0.97771 | -0.42706 | 0.97567 | -0.46699 | 21.4332
15 | -0.15372 | -0.038808 | 0.15389 | 0.038918 | 0.00017271 | 0.00010958 | 0.23405 | 0.23405 | 0.23405 | 0.97771 | -0.42706 | 0.97891 | -0.40363 | 21.4332
16 | 0.072658 | 0.018315 | -0.072586 | -0.018271 | 7.1815e-05 | 4.4212e-05 | 0.11085 | 0.11085 | 0.11085 | 0.97567 | -0.46699 | 0.97462 | -0.48767 | 10.1512
17 | -0.16494 | -0.041688 | 0.16503 | 0.041742 | 8.4926e-05 | 5.3945e-05 | 0.25085 | 0.25085 | 0.25085 | 0.97891 | -0.40363 | 0.97946 | -0.3929 | 22.9717
18 | 0.072586 | 0.018271 | -0.072512 | -0.018224 | 7.4583e-05 | 4.6927e-05 | 0.11085 | 0.11085 | 0.11085 | 0.97462 | -0.48767 | 0.97353 | -0.50919 | 15.2268
19 | 0.049903 | 0.012558 | -0.04986 | -0.01253 | 4.38e-05 | 2.7783e-05 | 0.076295 | 0.076295 | 0.076295 | 0.97353 | -0.50919 | 0.97259 | -0.52757 | 20.9602
20 | 0.034866 | 0.0087475 | -0.034841 | -0.008732 | 2.4757e-05 | 1.5559e-05 | 0.053445 | 0.053445 | 0.053445 | 0.97079 | -0.56311 | 0.97004 | -0.57801 | 14.6827
21 | -0.034866 | -0.0087475 | 0.034902 | 0.0087702 | 3.6029e-05 | 2.2642e-05 | 0.053445 | 0.053445 | 0.053445 | 0.97079 | -0.56311 | 0.97189 | -0.54146 | 14.6827
22 | -0.043659 | -0.010965 | 0.043688 | 0.010983 | 2.8949e-05 | 1.8313e-05 | 0.066852 | 0.066852 | 0.066852 | 0.97189 | -0.54146 | 0.97259 | -0.52757 | 18.366
23 | -0.20644 | -0.052513 | 0.20661 | 0.052621 | 0.00016956 | 0.00010799 | 0.3121 | 0.3121 | 0.3121 | 0.98514 | -0.28283 | 0.98602 | -0.2658 | 28.5807
24 | 0.20644 | 0.052513 | -0.2061 | -0.052297 | 0.00033911 | 0.00021597 | 0.3121 | 0.3121 | 0.3121 | 0.98514 | -0.28283 | 0.98337 | -0.31698 | 28.5808
25 | -0.20661 | -0.052621 | 0.20697 | 0.052847 | 0.00035432 | 0.00022565 | 0.3121 | 0.3121 | 0.3121 | 0.98602 | -0.2658 | 0.98787 | -0.23031 | 28.5807
26 | 0.19168 | 0.048681 | -0.19144 | -0.04853 | 0.00023758 | 0.0001512 | 0.29027 | 0.29027 | 0.29027 | 0.98337 | -0.31698 | 0.98204 | -0.34277 | 26.5816
27 | 0.19144 | 0.04853 | -0.19126 | -0.048417 | 0.00017734 | 0.00011286 | 0.29027 | 0.29027 | 0.29027 | 0.98204 | -0.34277 | 0.98104 | -0.36206 | 26.5816
28 | 0.17881 | 0.045297 | -0.17864 | -0.045186 | 0.00017568 | 0.00011171 | 0.27139 | 0.27139 | 0.27139 | 0.98104 | -0.36206 | 0.97999 | -0.38254 | 24.8527
29 | -0.21955 | -0.055999 | 0.21981 | 0.056169 | 0.00026667 | 0.00016992 | 0.33105 | 0.33105 | 0.33105 | 0.98787 | -0.23031 | 0.98918 | -0.20519 | 30.3159
30 | 0.012307 | 0.0030848 | -0.012305 | -0.0030839 | 1.5759e-06 | 8.6124e-07 | 0.018821 | 0.018821 | 0.018821 | 0.973 | -0.51962 | 0.97286 | -0.52231 | 5.1706
31 | -0.1723 | -0.043565 | 0.17239 | 0.043619 | 8.5659e-05 | 5.4444e-05 | 0.2619 | 0.2619 | 0.2619 | 0.97946 | -0.3929 | 0.97999 | -0.38254 | 23.9837

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.39262 | 0.10005

## res_load
| p_mw | q_mvar
0 | 0.024212 | 0.0060682
1 | 0.0056559 | 0.0014175
2 | 0.024214 | 0.0060687
3 | 0.0030425 | 0.00076252
4 | 0.035499 | 0.0088968
5 | 0.06231 | 0.015616
6 | 0.0045837 | 0.0011488
7 | 0.028494 | 0.0071414
8 | 0.015261 | 0.0038248
9 | 0.011053 | 0.0027701
10 | 0.022608 | 0.0056662
11 | 0.034841 | 0.008732
12 | 0.0087569 | 0.0021947
13 | 0.014427 | 0.0036158
14 | 0.012447 | 0.0031196
15 | 0.01258 | 0.0031528
16 | 0.024536 | 0.0061492
17 | 0.0072744 | 0.0018231
18 | 0.006172 | 0.0015469
19 | 0.0062496 | 0.0015663
20 | 0.0091136 | 0.0022841
21 | 0.012305 | 0.0030839

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1