## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1407-16_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1407-16_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1407-16_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1407-16_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1407-16_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1407-16_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1407-16_0_4_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_1407-16_0_4_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_1407-16_0_4_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_1407-16_0_4_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_1407-16_0_4_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_1407-16_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1407-16_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1407-16_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1407-16_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1407-16_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1407-16_0_4_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_1407-16_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1407-16_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1407-16_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1407-16_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1407-16_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1407-16_0_4_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_1407-16_0_4_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_1407-16_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_1407-16_0_4_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_1407-16_0_4_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_1407-16_0_4_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_1407-16_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_1407-16_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_1407-16_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1407-16_0_4_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_1407-16_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_1407-16_0_4_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_1407-16_0_4_node_29 | 0.4 | n |  | TRUE
35 | bus_MV_141_0_node_5 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1407-16_0_4_load_0 | 0 | 0.0070255 | 0.0017608 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1407-16_0_4_load_1 | 1 | 0.022059 | 0.0055284 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1407-16_0_4_load_3 | 3 | 0.0199 | 0.0049874 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1407-16_0_4_load_32 | 6 | 0.0029153 | 0.00073065 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1407-16_0_4_load_34 | 7 | 0.028542 | 0.0071533 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1407-16_0_4_load_36 | 8 | 0.0035623 | 0.00089281 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1407-16_0_4_load_31 | 9 | 0.0059043 | 0.0014798 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1407-16_0_4_load_33 | 10 | 0.0067371 | 0.0016885 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1407-16_0_4_load_7 | 11 | 0.0043007 | 0.0010779 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1407-16_0_4_load_8 | 12 | 0.016309 | 0.0040874 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1407-16_0_4_load_9 | 13 | 0.0055153 | 0.0013823 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1407-16_0_4_load_10 | 14 | 0.0091819 | 0.0023012 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1407-16_0_4_load_11 | 15 | 0.0038048 | 0.00095357 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1407-16_0_4_load_30 | 16 | 0.0028705 | 0.00071941 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1407-16_0_4_load_12 | 17 | 0.0082225 | 0.0020607 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1407-16_0_4_load_13 | 18 | 0.02226 | 0.0055789 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1407-16_0_4_load_17 | 21 | 0.021471 | 0.0053812 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1407-16_0_4_load_21 | 23 | 0.015967 | 0.0040017 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1407-16_0_4_load_35 | 25 | 0.0043375 | 0.0010871 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1407-16_0_4_load_27 | 26 | 0.0080512 | 0.0020178 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1407-16_0_4_load_38 | 27 | 0.0035084 | 0.00087928 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1407-16_0_4_load_22 | 28 | 0.024916 | 0.0062444 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1407-16_0_4_load_25 | 29 | 0.013091 | 0.0032808 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1407-16_0_4_load_23 | 30 | 0.027949 | 0.0070046 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1407-16_0_4_load_24 | 31 | 0.013709 | 0.0034357 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1407-16_0_4_load_26 | 32 | 0.029178 | 0.0073126 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1407-16_0_4_load_28 | 33 | 0.014866 | 0.0037257 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1407-16_0_4_load_29 | 34 | 0.004074 | 0.001021 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1407-16_0_4_line_0 |  | 0 | 1 | 0.030395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1407-16_0_4_line_1 |  | 0 | 2 | 0.0058876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1407-16_0_4_line_2 |  | 2 | 3 | 0.035837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1407-16_0_4_line_3 |  | 2 | 4 | 0.063891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1407-16_0_4_line_4 |  | 4 | 5 | 0.049284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1407-16_0_4_line_5 |  | 4 | 6 | 0.022429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1407-16_0_4_line_6 |  | 4 | 7 | 0.023257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1407-16_0_4_line_7 |  | 5 | 8 | 0.088131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1407-16_0_4_line_8 |  | 6 | 9 | 0.048038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1407-16_0_4_line_9 |  | 7 | 10 | 0.0080666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1407-16_0_4_line_10 |  | 9 | 16 | 0.0015608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1407-16_0_4_line_11 |  | 10 | 34 | 0.0029266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1407-16_0_4_line_12 |  | 11 | 12 | 0.017592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1407-16_0_4_line_13 |  | 11 | 13 | 0.016527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1407-16_0_4_line_14 |  | 12 | 14 | 0.0066753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1407-16_0_4_line_15 |  | 13 | 15 | 0.0058865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1407-16_0_4_line_16 |  | 14 | 16 | 0.035061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1407-16_0_4_line_17 |  | 17 | 18 | 0.046149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1407-16_0_4_line_18 |  | 17 | 19 | 0.0032351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1407-16_0_4_line_19 |  | 18 | 20 | 0.014985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1407-16_0_4_line_20 |  | 19 | 21 | 0.028983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1407-16_0_4_line_21 |  | 20 | 22 | 0.070881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1407-16_0_4_line_22 |  | 21 | 23 | 0.014715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1407-16_0_4_line_23 |  | 22 | 27 | 0.01154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1407-16_0_4_line_24 |  | 22 | 24 | 0.066268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1407-16_0_4_line_25 |  | 23 | 28 | 0.024804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1407-16_0_4_line_26 |  | 24 | 25 | 0.029192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1407-16_0_4_line_27 |  | 24 | 26 | 0.015697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1407-16_0_4_line_28 |  | 26 | 29 | 0.040394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1407-16_0_4_line_29 |  | 29 | 30 | 0.029305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_1407-16_0_4_line_30 |  | 30 | 31 | 0.039891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_1407-16_0_4_line_31 |  | 31 | 32 | 0.013831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_1407-16_0_4_line_32 |  | 32 | 33 | 0.021208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_1407-16_0_4_line_33 |  | 33 | 34 | 0.012015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1407-16_0_4_trafo_24 | 0.63 MVA 20/0.4 kV | 35 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2661624.7686 | 1193801.2925 | 2661624.0516 | 1193793.2137 | 2661623.6202 | 1193791.4416 | 2661622.9613 | 1193790.3008 | 2661621.9429 | 1193789.2786 | 2661620.5562 | 1193788.5084 | 2661618.914 | 1193788.1134 | 2661617.3675 | 1193788.053 | 2661604.5502 | 1193789.2954
1 | 2661628.1799 | 1193806.0303 | 2661625.784 | 1193803.3374 | 2661624.7686 | 1193801.2925 | 2661624.7686 | 1193801.2925
2 | 2661628.1799 | 1193806.0303 | 2661625.1706 | 1193770.3203
3 | 2661628.1799 | 1193806.0303 | 2661629.514 | 1193807.4671 | 2661632.5052 | 1193803.4178 | 2661634.3553 | 1193801.3801 | 2661636.7861 | 1193799.2039 | 2661640.5605 | 1193796.808 | 2661665.5374 | 1193782.5793 | 2661666.5768 | 1193785.992 | 2661667.0094 | 1193788.3867 | 2661666.9659 | 1193791.8661 | 2661665.9806 | 1193797.2479 | 2661665.0171 | 1193799.7839
4 | 2661665.0171 | 1193799.7839 | 2661665.9806 | 1193797.2479 | 2661666.9659 | 1193791.8661 | 2661667.0094 | 1193788.3867 | 2661666.5768 | 1193785.992 | 2661665.5374 | 1193782.5793 | 2661683.315 | 1193773.2571 | 2661686.2119 | 1193771.7083 | 2661693.5671 | 1193767.9486
5 | 2661665.0171 | 1193799.7839 | 2661656.4683 | 1193820.5196
6 | 2661665.0171 | 1193799.7839 | 2661682.6834 | 1193807.904 | 2661686.1381 | 1193809.5206
7 | 2661693.5671 | 1193767.9486 | 2661695.4577 | 1193770.8586 | 2661697.557 | 1193772.748 | 2661732.4863 | 1193788.9287 | 2661763.3266 | 1193803.2663 | 2661768.3257 | 1193806.264 | 2661770.9948 | 1193808.531
8 | 2661651.5335 | 1193860.2062 | 2661643.4883 | 1193857.3288 | 2661643.0365 | 1193853.0995 | 2661656.4683 | 1193820.5196
9 | 2661693.4443 | 1193812.9395 | 2661686.1381 | 1193809.5206
10 | 2661651.5335 | 1193860.2062 | 2661653.0032 | 1193860.7319
11 | 2661693.4443 | 1193812.9395 | 2661696.095 | 1193814.1799
12 | 2661673.0117 | 1193890.2372 | 2661674.3254 | 1193907.7805
13 | 2661675.5596 | 1193924.2614 | 2661674.3254 | 1193907.7805
14 | 2661673.0117 | 1193890.2372 | 2661672.5132 | 1193883.5806
15 | 2661675.5596 | 1193924.2614 | 2661675.9992 | 1193930.1315
16 | 2661672.5132 | 1193883.5806 | 2661671.5222 | 1193870.3474 | 2661671.2225 | 1193869.1103 | 2661670.6781 | 1193867.9484 | 2661669.7957 | 1193867.0499 | 2661668.7738 | 1193866.3723 | 2661653.0032 | 1193860.7319
17 | 2661782.9965 | 1193914.8537 | 2661783.8011 | 1193941.6245 | 2661783.2123 | 1193960.9814
18 | 2661782.8993 | 1193911.62 | 2661782.9965 | 1193914.8537
19 | 2661776.6106 | 1193973.7244 | 2661783.0742 | 1193965.5197 | 2661783.2123 | 1193960.9814
20 | 2661782.8993 | 1193911.62 | 2661754.043 | 1193908.9095
21 | 2661744.5375 | 1193959.2962 | 2661732.4679 | 1193960.5613 | 2661733.5204 | 1193969.344 | 2661733.829 | 1193976.3623 | 2661736.3611 | 1193976.1772 | 2661751.5995 | 1193975.0671 | 2661768.3864 | 1193973.8285 | 2661776.6106 | 1193973.7244
22 | 2661754.043 | 1193908.9095 | 2661754.043 | 1193908.9095 | 2661754.2441 | 1193894.1963
23 | 2661742.9865 | 1193947.8625 | 2661744.5375 | 1193959.2962
24 | 2661695.6716 | 1193979.1816 | 2661733.829 | 1193976.3623 | 2661733.5204 | 1193969.344 | 2661732.4679 | 1193960.5613 | 2661744.5375 | 1193959.2962
25 | 2661754.2441 | 1193894.1963 | 2661754.5831 | 1193869.3942
26 | 2661695.6716 | 1193979.1816 | 2661666.5585 | 1193981.3302
27 | 2661695.6716 | 1193979.1816 | 2661696.5626 | 1193970.3857 | 2661696.77 | 1193963.5326
28 | 2661699.3102 | 1193923.2244 | 2661697.1687 | 1193952.2592 | 2661696.8516 | 1193960.8387 | 2661696.77 | 1193963.5326
29 | 2661699.3102 | 1193923.2244 | 2661701.4657 | 1193893.999
30 | 2661704.3999 | 1193854.2162 | 2661701.4657 | 1193893.999
31 | 2661705.4172 | 1193840.4225 | 2661704.3999 | 1193854.2162
32 | 2661705.4172 | 1193840.4225 | 2661706.9772 | 1193819.2721 | 2661706.9772 | 1193819.2721
33 | 2661696.095 | 1193814.1799 | 2661706.9772 | 1193819.2721

## bus_geodata
| x | y | coords
0 | 2661624.7686 | 1193801.2925
1 | 2661604.5502 | 1193789.2954
2 | 2661628.1799 | 1193806.0303
3 | 2661625.1706 | 1193770.3203
4 | 2661665.0171 | 1193799.7839
5 | 2661693.5671 | 1193767.9486
6 | 2661656.4683 | 1193820.5196
7 | 2661686.1381 | 1193809.5206
8 | 2661770.9948 | 1193808.531
9 | 2661651.5335 | 1193860.2062
10 | 2661693.4443 | 1193812.9395
11 | 2661674.3254 | 1193907.7805
12 | 2661673.0117 | 1193890.2372
13 | 2661675.5596 | 1193924.2614
14 | 2661672.5132 | 1193883.5806
15 | 2661675.9992 | 1193930.1315
16 | 2661653.0032 | 1193860.7319
17 | 2661782.9965 | 1193914.8537
18 | 2661783.2123 | 1193960.9814
19 | 2661782.8993 | 1193911.62
20 | 2661776.6106 | 1193973.7244
21 | 2661754.043 | 1193908.9095
22 | 2661744.5375 | 1193959.2962
23 | 2661754.2441 | 1193894.1963
24 | 2661695.6716 | 1193979.1816
25 | 2661666.5585 | 1193981.3302
26 | 2661696.77 | 1193963.5326
27 | 2661742.9865 | 1193947.8625
28 | 2661754.5831 | 1193869.3942
29 | 2661699.3102 | 1193923.2244
30 | 2661701.4657 | 1193893.999
31 | 2661704.3998 | 1193854.2162
32 | 2661705.4172 | 1193840.4225
33 | 2661706.9772 | 1193819.2721
34 | 2661696.095 | 1193814.1799
35 | 2661665.0171 | 1193799.7839

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98993 | -0.19358 | 0.0070255 | 0.0017608
1 | 0.98932 | -0.20551 | 0.022059 | 0.0055284
2 | 0.99009 | -0.19053 | 0 | 0
3 | 0.98943 | -0.20322 | 0.0199 | 0.0049874
4 | 0.99296 | -0.13505 | 0 | 0
5 | 0.9928 | -0.13815 | 0 | 0
6 | 0.99191 | -0.15521 | 0.0029153 | 0.00073065
7 | 0.99516 | -0.092644 | 0.028542 | 0.0071533
8 | 0.99251 | -0.14371 | 0.0035623 | 0.00089281
9 | 0.9898 | -0.19605 | 0.0059043 | 0.0014798
10 | 0.99613 | -0.073937 | 0.0067371 | 0.0016885
11 | 0.98808 | -0.22949 | 0.0043007 | 0.0010779
12 | 0.9883 | -0.22521 | 0.016309 | 0.0040874
13 | 0.98794 | -0.23224 | 0.0055153 | 0.0013823
14 | 0.98848 | -0.22165 | 0.0091819 | 0.0023012
15 | 0.98792 | -0.23264 | 0.0038048 | 0.00095357
16 | 0.98974 | -0.19722 | 0.0028705 | 0.00071941
17 | 0.97357 | -0.50771 | 0.0082225 | 0.0020607
18 | 0.97661 | -0.448 | 0.02226 | 0.0055789
19 | 0.97338 | -0.51142 | 0 | 0
20 | 0.97791 | -0.42261 | 0 | 0
21 | 0.9717 | -0.54472 | 0.021471 | 0.0053812
22 | 0.98405 | -0.30342 | 0 | 0
23 | 0.97114 | -0.55583 | 0.015967 | 0.0040017
24 | 0.99001 | -0.18918 | 0 | 0
25 | 0.98989 | -0.19144 | 0.0043375 | 0.0010871
26 | 0.99148 | -0.16112 | 0.0080512 | 0.0020178
27 | 0.98401 | -0.30415 | 0.0035084 | 0.00087928
28 | 0.97056 | -0.56726 | 0.024916 | 0.0062444
29 | 0.99557 | -0.083556 | 0.013091 | 0.0032808
30 | 0.99723 | -0.052216 | 0.027949 | 0.0070046
31 | 1 | 0 | -0.3421 | -0.086844
32 | 0.99882 | -0.022538 | 0.029178 | 0.0073126
33 | 0.99729 | -0.051776 | 0.014866 | 0.0037257
34 | 0.99651 | -0.066812 | 0.004074 | 0.001021
35 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.022071 | 0.005536 | -0.022059 | -0.0055284 | 1.2547e-05 | 7.6394e-06 | 0.033178 | 0.033178 | 0.033178 | 0.98993 | -0.19358 | 0.98932 | -0.20551 | 9.1148
1 | -0.029097 | -0.0072968 | 0.029101 | 0.0072994 | 4.2237e-06 | 2.6275e-06 | 0.043738 | 0.043738 | 0.043738 | 0.98993 | -0.19358 | 0.99009 | -0.19053 | 12.016
2 | 0.019912 | 0.0049946 | -0.0199 | -0.0049874 | 1.2037e-05 | 7.2428e-06 | 0.029928 | 0.029928 | 0.029928 | 0.99009 | -0.19053 | 0.98943 | -0.20322 | 8.2219
3 | -0.049013 | -0.012294 | 0.049143 | 0.012376 | 0.00013002 | 8.2387e-05 | 0.073666 | 0.073666 | 0.073666 | 0.99009 | -0.19053 | 0.99296 | -0.13505 | 20.2379
4 | 0.0035638 | 0.00089197 | -0.0035633 | -0.00089227 | 5.2707e-07 | -3.0006e-07 | 0.0053402 | 0.0053404 | 0.0053404 | 0.99296 | -0.13505 | 0.9928 | -0.13815 | 1.4672
5 | 0.051002 | 0.012858 | -0.050952 | -0.012827 | 4.9166e-05 | 3.1176e-05 | 0.076456 | 0.076456 | 0.076456 | 0.99296 | -0.13505 | 0.99191 | -0.15521 | 21.0045
6 | -0.10371 | -0.026126 | 0.10392 | 0.026261 | 0.00021079 | 0.0001346 | 0.15546 | 0.15546 | 0.15546 | 0.99296 | -0.13505 | 0.99516 | -0.092644 | 42.7094
7 | 0.0035633 | 0.00089227 | -0.0035623 | -0.00089281 | 9.4263e-07 | -5.36e-07 | 0.0053404 | 0.0053408 | 0.0053408 | 0.9928 | -0.13815 | 0.99251 | -0.14371 | 1.4673
8 | 0.048037 | 0.012096 | -0.047943 | -0.012037 | 9.3601e-05 | 5.9286e-05 | 0.072083 | 0.072083 | 0.072083 | 0.99191 | -0.15521 | 0.9898 | -0.19605 | 19.8031
9 | -0.13246 | -0.033414 | 0.13258 | 0.03349 | 0.00011876 | 7.59e-05 | 0.19814 | 0.19814 | 0.19814 | 0.99516 | -0.092644 | 0.99613 | -0.073937 | 54.4339
10 | 0.042039 | 0.010557 | -0.042037 | -0.010556 | 2.3384e-06 | 1.4765e-06 | 0.063207 | 0.063207 | 0.063207 | 0.9898 | -0.19605 | 0.98974 | -0.19722 | 17.3646
11 | -0.13932 | -0.035179 | 0.13936 | 0.035209 | 4.7573e-05 | 3.0409e-05 | 0.2082 | 0.2082 | 0.2082 | 0.99613 | -0.073937 | 0.99651 | -0.066812 | 57.1987
12 | -0.013622 | -0.0034142 | 0.013625 | 0.0034158 | 2.7763e-06 | 1.5515e-06 | 0.020514 | 0.020514 | 0.020514 | 0.98808 | -0.22949 | 0.9883 | -0.22521 | 5.6358
13 | 0.0093213 | 0.0023364 | -0.0093201 | -0.0023358 | 1.2213e-06 | 5.6997e-07 | 0.014038 | 0.014038 | 0.014038 | 0.98808 | -0.22949 | 0.98794 | -0.23224 | 3.8565
14 | -0.029934 | -0.0075032 | 0.029939 | 0.0075064 | 5.0847e-06 | 3.1687e-06 | 0.04507 | 0.04507 | 0.04507 | 0.9883 | -0.22521 | 0.98848 | -0.22165 | 12.3818
15 | 0.0038048 | 0.00095354 | -0.0038048 | -0.00095357 | 7.2497e-08 | -2.8976e-08 | 0.0057308 | 0.0057308 | 0.0057308 | 0.98794 | -0.23224 | 0.98792 | -0.23264 | 1.5744
16 | -0.039121 | -0.0098075 | 0.039166 | 0.0098363 | 4.5599e-05 | 2.8733e-05 | 0.058892 | 0.058891 | 0.058892 | 0.98848 | -0.22165 | 0.98974 | -0.19722 | 16.179
17 | -0.070722 | -0.01778 | 0.070924 | 0.017909 | 0.00020227 | 0.00012888 | 0.10811 | 0.10811 | 0.10811 | 0.97357 | -0.50771 | 0.97661 | -0.448 | 29.7011
18 | 0.062499 | 0.01572 | -0.062488 | -0.015713 | 1.1075e-05 | 7.0476e-06 | 0.095545 | 0.095545 | 0.095545 | 0.97357 | -0.50771 | 0.97338 | -0.51142 | 26.2485
19 | -0.093184 | -0.023488 | 0.093297 | 0.02356 | 0.00011336 | 7.236e-05 | 0.14203 | 0.14203 | 0.14203 | 0.97661 | -0.448 | 0.97791 | -0.42261 | 39.0187
20 | 0.062488 | 0.015713 | -0.062389 | -0.015649 | 9.9218e-05 | 6.314e-05 | 0.095545 | 0.095545 | 0.095545 | 0.97338 | -0.51142 | 0.9717 | -0.54472 | 26.2485
21 | -0.093297 | -0.02356 | 0.093834 | 0.023903 | 0.00053618 | 0.00034226 | 0.14203 | 0.14203 | 0.14203 | 0.97791 | -0.42261 | 0.98405 | -0.30342 | 39.0187
22 | 0.040918 | 0.010268 | -0.040896 | -0.010254 | 2.1668e-05 | 1.3685e-05 | 0.062664 | 0.062664 | 0.062664 | 0.9717 | -0.54472 | 0.97114 | -0.55583 | 17.2155
23 | 0.0035085 | 0.00087921 | -0.0035084 | -0.00087928 | 1.218e-07 | -6.8646e-08 | 0.0053053 | 0.0053053 | 0.0053053 | 0.98405 | -0.30342 | 0.98401 | -0.30415 | 1.4575
24 | -0.097342 | -0.024782 | 0.097882 | 0.025126 | 0.00053943 | 0.00034439 | 0.14733 | 0.14733 | 0.14733 | 0.98405 | -0.30342 | 0.99001 | -0.18918 | 40.4761
25 | 0.024929 | 0.0062528 | -0.024916 | -0.0062444 | 1.3573e-05 | 8.3799e-06 | 0.038199 | 0.038199 | 0.038199 | 0.97114 | -0.55583 | 0.97056 | -0.56726 | 10.4943
26 | 0.004338 | 0.001087 | -0.0043375 | -0.0010871 | 4.6538e-07 | -7.7481e-08 | 0.00652 | 0.0065202 | 0.0065202 | 0.99001 | -0.18918 | 0.98989 | -0.19144 | 1.7913
27 | -0.10222 | -0.026213 | 0.10236 | 0.026302 | 0.00013934 | 8.8972e-05 | 0.15385 | 0.15385 | 0.15385 | 0.99001 | -0.18918 | 0.99148 | -0.16112 | 42.2672
28 | -0.11041 | -0.02832 | 0.11083 | 0.028587 | 0.00041709 | 0.00026641 | 0.16594 | 0.16594 | 0.16594 | 0.99148 | -0.16112 | 0.99557 | -0.083556 | 45.5867
29 | -0.12392 | -0.031867 | 0.12411 | 0.031988 | 0.00018907 | 0.00012024 | 0.1855 | 0.1855 | 0.1855 | 0.99557 | -0.083556 | 0.99723 | -0.052216 | 25.4809
30 | -0.15206 | -0.038992 | 0.15244 | 0.039238 | 0.0003861 | 0.00024606 | 0.2272 | 0.2272 | 0.2272 | 0.99723 | -0.052216 | 1 | 0 | 31.2092
31 | 0.18801 | 0.047606 | -0.18781 | -0.047476 | 0.00020322 | 0.0001297 | 0.27993 | 0.27993 | 0.27993 | 1 | 0 | 0.99882 | -0.022538 | 38.4526
32 | 0.15863 | 0.040164 | -0.15841 | -0.040022 | 0.00022235 | 0.00014175 | 0.23647 | 0.23647 | 0.23647 | 0.99882 | -0.022538 | 0.99729 | -0.051776 | 32.4817
33 | 0.14354 | 0.036296 | -0.14344 | -0.03623 | 0.00010344 | 6.589e-05 | 0.21429 | 0.21429 | 0.21429 | 0.99729 | -0.051776 | 0.99651 | -0.066812 | 29.435

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.35581 | 0.09028

## res_load
| p_mw | q_mvar
0 | 0.0070255 | 0.0017608
1 | 0.022059 | 0.0055284
2 | 0.0199 | 0.0049874
3 | 0.0029153 | 0.00073065
4 | 0.028542 | 0.0071533
5 | 0.0035623 | 0.00089281
6 | 0.0059043 | 0.0014798
7 | 0.0067371 | 0.0016885
8 | 0.0043007 | 0.0010779
9 | 0.016309 | 0.0040874
10 | 0.0055153 | 0.0013823
11 | 0.0091819 | 0.0023012
12 | 0.0038048 | 0.00095357
13 | 0.0028705 | 0.00071941
14 | 0.0082225 | 0.0020607
15 | 0.02226 | 0.0055789
16 | 0.021471 | 0.0053812
17 | 0.015967 | 0.0040017
18 | 0.0043375 | 0.0010871
19 | 0.0080512 | 0.0020178
20 | 0.0035084 | 0.00087928
21 | 0.024916 | 0.0062444
22 | 0.013091 | 0.0032808
23 | 0.027949 | 0.0070046
24 | 0.013709 | 0.0034357
25 | 0.029178 | 0.0073126
26 | 0.014866 | 0.0037257
27 | 0.004074 | 0.001021

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1