## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1407-28_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1407-28_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1407-28_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1407-28_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1407-28_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1407-28_0_7_node_51 | 0.4 | n |  | TRUE
6 | bus_LV_1407-28_0_7_node_63 | 0.4 | n |  | TRUE
7 | bus_LV_1407-28_0_7_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1407-28_0_7_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1407-28_0_7_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1407-28_0_7_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_1407-28_0_7_node_39 | 0.4 | n |  | TRUE
12 | bus_LV_1407-28_0_7_node_76 | 0.4 | n |  | TRUE
13 | bus_LV_1407-28_0_7_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1407-28_0_7_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_1407-28_0_7_node_75 | 0.4 | n |  | TRUE
16 | bus_LV_1407-28_0_7_node_52 | 0.4 | n |  | TRUE
17 | bus_LV_1407-28_0_7_node_74 | 0.4 | n |  | TRUE
18 | bus_LV_1407-28_0_7_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1407-28_0_7_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_1407-28_0_7_node_55 | 0.4 | n |  | TRUE
21 | bus_LV_1407-28_0_7_node_44 | 0.4 | n |  | TRUE
22 | bus_LV_1407-28_0_7_node_41 | 0.4 | n |  | TRUE
23 | bus_LV_1407-28_0_7_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_1407-28_0_7_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_1407-28_0_7_node_73 | 0.4 | n |  | TRUE
26 | bus_LV_1407-28_0_7_node_72 | 0.4 | n |  | TRUE
27 | bus_LV_1407-28_0_7_node_53 | 0.4 | n |  | TRUE
28 | bus_LV_1407-28_0_7_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_1407-28_0_7_node_60 | 0.4 | n |  | TRUE
30 | bus_LV_1407-28_0_7_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_1407-28_0_7_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_1407-28_0_7_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_1407-28_0_7_node_54 | 0.4 | n |  | TRUE
34 | bus_LV_1407-28_0_7_node_78 | 0.4 | n |  | TRUE
35 | bus_LV_1407-28_0_7_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_1407-28_0_7_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_1407-28_0_7_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_1407-28_0_7_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_1407-28_0_7_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_1407-28_0_7_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_1407-28_0_7_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_1407-28_0_7_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_1407-28_0_7_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_1407-28_0_7_node_15 | 0.4 | n |  | TRUE
45 | bus_LV_1407-28_0_7_node_16 | 0.4 | n |  | TRUE
46 | bus_LV_1407-28_0_7_node_17 | 0.4 | n |  | TRUE
47 | bus_LV_1407-28_0_7_node_18 | 0.4 | n |  | TRUE
48 | bus_LV_1407-28_0_7_node_20 | 0.4 | n |  | TRUE
49 | bus_LV_1407-28_0_7_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_1407-28_0_7_node_77 | 0.4 | n |  | TRUE
51 | bus_LV_1407-28_0_7_node_24 | 0.4 | n |  | TRUE
52 | bus_LV_1407-28_0_7_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_1407-28_0_7_node_21 | 0.4 | n |  | TRUE
54 | bus_LV_1407-28_0_7_node_22 | 0.4 | n |  | TRUE
55 | bus_LV_1407-28_0_7_node_23 | 0.4 | n |  | TRUE
56 | bus_LV_1407-28_0_7_node_26 | 0.4 | n |  | TRUE
57 | bus_LV_1407-28_0_7_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_1407-28_0_7_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_1407-28_0_7_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_1407-28_0_7_node_27 | 0.4 | n |  | TRUE
61 | bus_LV_1407-28_0_7_node_29 | 0.4 | n |  | TRUE
62 | bus_LV_1407-28_0_7_node_32 | 0.4 | n |  | TRUE
63 | bus_LV_1407-28_0_7_node_37 | 0.4 | n |  | TRUE
64 | bus_LV_1407-28_0_7_node_71 | 0.4 | n |  | TRUE
65 | bus_LV_1407-28_0_7_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_1407-28_0_7_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_1407-28_0_7_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_1407-28_0_7_node_70 | 0.4 | n |  | TRUE
69 | bus_LV_1407-28_0_7_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_1407-28_0_7_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_1407-28_0_7_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_1407-28_0_7_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_1407-28_0_7_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_1407-28_0_7_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_1407-28_0_7_node_68 | 0.4 | n |  | TRUE
76 | bus_MV_141_0_node_118 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1407-28_0_7_load_0 | 0 | 0.0034111 | 0.00085491 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1407-28_0_7_load_1 | 1 | 0.0034146 | 0.00085578 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1407-28_0_7_load_3 | 3 | 0.0035188 | 0.00088188 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1407-28_0_7_load_4 | 4 | 0.0035227 | 0.00088288 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1407-28_0_7_load_63 | 6 | 0.0035227 | 0.00088288 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1407-28_0_7_load_5 | 7 | 0.0034111 | 0.00085491 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1407-28_0_7_load_39 | 11 | 0.034216 | 0.0085753 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1407-28_0_7_load_76 | 12 | 0.0034124 | 0.00085523 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1407-28_0_7_load_75 | 15 | 0.0035406 | 0.00088736 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1407-28_0_7_load_52 | 16 | 0.003541 | 0.00088747 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1407-28_0_7_load_74 | 17 | 0.0033433 | 0.0008379 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1407-28_0_7_load_34 | 19 | 0.039546 | 0.0099111 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1407-28_0_7_load_41 | 22 | 0.0093476 | 0.0023427 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1407-28_0_7_load_30 | 24 | 0.0033714 | 0.00084495 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1407-28_0_7_load_73 | 25 | 0.0035881 | 0.00089925 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1407-28_0_7_load_72 | 26 | 0.0035849 | 0.00089845 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1407-28_0_7_load_53 | 27 | 0.0034237 | 0.00085807 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1407-28_0_7_load_49 | 28 | 0.0035379 | 0.00088667 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1407-28_0_7_load_40 | 30 | 0.007113 | 0.0017827 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1407-28_0_7_load_50 | 31 | 0.0035418 | 0.00088765 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1407-28_0_7_load_33 | 32 | 0.035064 | 0.0087879 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1407-28_0_7_load_54 | 33 | 0.0077663 | 0.0019464 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1407-28_0_7_load_78 | 34 | 0.09729 | 0.024383 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1407-28_0_7_load_42 | 35 | 0.031154 | 0.0078078 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1407-28_0_7_load_28 | 36 | 0.0033714 | 0.00084495 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1407-28_0_7_load_25 | 37 | 0.0035849 | 0.00089845 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1407-28_0_7_load_19 | 38 | 0.0033714 | 0.00084495 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1407-28_0_7_load_43 | 39 | 0.031036 | 0.0077784 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1407-28_0_7_load_46 | 40 | 0.0090902 | 0.0022782 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1407-28_0_7_load_45 | 43 | 0.021866 | 0.0054801 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1407-28_0_7_load_15 | 44 | 0.0037595 | 0.00094222 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1407-28_0_7_load_16 | 45 | 0.0034665 | 0.00086879 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1407-28_0_7_load_18 | 47 | 0.0034665 | 0.00086879 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1407-28_0_7_load_20 | 48 | 0.0038219 | 0.00095787 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1407-28_0_7_load_38 | 49 | 0.0034634 | 0.000868 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1407-28_0_7_load_77 | 50 | 0.0038219 | 0.00095787 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1407-28_0_7_load_31 | 52 | 0.0038234 | 0.00095825 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1407-28_0_7_load_21 | 53 | 0.0035214 | 0.00088255 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1407-28_0_7_load_22 | 54 | 0.0035852 | 0.00089854 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1407-28_0_7_load_26 | 56 | 0.0035214 | 0.00088255 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1407-28_0_7_load_35 | 57 | 0.0034187 | 0.00085682 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1407-28_0_7_load_62 | 58 | 0.0035188 | 0.00088191 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1407-28_0_7_load_36 | 59 | 0.0034222 | 0.00085769 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1407-28_0_7_load_27 | 60 | 0.0033745 | 0.00084573 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1407-28_0_7_load_32 | 62 | 0.0038234 | 0.00095825 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1407-28_0_7_load_37 | 63 | 0.0034212 | 0.00085744 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1407-28_0_7_load_71 | 64 | 0.0034247 | 0.00085831 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1407-28_0_7_load_65 | 66 | 0.012361 | 0.003098 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1407-28_0_7_load_64 | 67 | 0.022857 | 0.0057285 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1407-28_0_7_load_70 | 68 | 0.0034258 | 0.00085859 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1407-28_0_7_load_69 | 69 | 0.0034249 | 0.00085836 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1407-28_0_7_load_66 | 72 | 0.019087 | 0.0047837 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1407-28_0_7_load_58 | 73 | 0.0035188 | 0.00088188 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1407-28_0_7_load_59 | 74 | 0.0035198 | 0.00088214 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1407-28_0_7_load_68 | 75 | 0.0034252 | 0.00085844 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1407-28_0_7_line_0 |  | 0 | 1 | 7.725e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1407-28_0_7_line_1 |  | 0 | 2 | 0.01099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1407-28_0_7_line_2 |  | 1 | 3 | 2.2638e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1407-28_0_7_line_3 |  | 2 | 4 | 0.01189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1407-28_0_7_line_4 |  | 3 | 5 | 0.016026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1407-28_0_7_line_5 |  | 4 | 6 | 0.0057762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1407-28_0_7_line_6 |  | 5 | 27 | 0.0062431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1407-28_0_7_line_7 |  | 5 | 28 | 0.0055306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1407-28_0_7_line_8 |  | 6 | 29 | 0.011286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1407-28_0_7_line_9 |  | 7 | 8 | 0.0121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1407-28_0_7_line_10 |  | 8 | 12 | 0.011698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1407-28_0_7_line_11 |  | 9 | 10 | 0.032288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1407-28_0_7_line_12 |  | 9 | 11 | 0.086008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1407-28_0_7_line_13 |  | 10 | 12 | 0.016593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1407-28_0_7_line_14 |  | 10 | 16 | 0.011777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1407-28_0_7_line_15 |  | 10 | 17 | 0.010513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_1407-28_0_7_line_16 |  | 11 | 30 | 0.01248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1407-28_0_7_line_17 |  | 13 | 14 | 0.17592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_1407-28_0_7_line_18 |  | 13 | 15 | 0.017639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_1407-28_0_7_line_19 |  | 14 | 21 | 0.048791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1407-28_0_7_line_20 |  | 14 | 22 | 0.038192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_1407-28_0_7_line_21 |  | 15 | 17 | 0.00074902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_1407-28_0_7_line_22 |  | 16 | 31 | 0.0058106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1407-28_0_7_line_23 |  | 18 | 19 | 0.087029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1407-28_0_7_line_24 |  | 18 | 20 | 0.10632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_1407-28_0_7_line_25 |  | 19 | 32 | 0.028083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1407-28_0_7_line_26 |  | 20 | 33 | 0.10122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_1407-28_0_7_line_27 |  | 21 | 34 | 0.005909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1407-28_0_7_line_28 |  | 22 | 35 | 0.0091745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_1407-28_0_7_line_29 |  | 23 | 24 | 0.010794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1407-28_0_7_line_30 |  | 23 | 25 | 0.01175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1407-28_0_7_line_31 |  | 23 | 26 | 0.0097052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1407-28_0_7_line_32 |  | 24 | 36 | 0.005831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1407-28_0_7_line_33 |  | 25 | 37 | 0.0058134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1407-28_0_7_line_34 |  | 26 | 38 | 0.00038241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1407-28_0_7_line_35 |  | 27 | 68 | 0.0057786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1407-28_0_7_line_36 |  | 28 | 31 | 0.0058089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1407-28_0_7_line_37 |  | 29 | 58 | 0.011725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1407-28_0_7_line_38 |  | 29 | 73 | 0.010332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1407-28_0_7_line_39 |  | 33 | 70 | 0.024973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_1407-28_0_7_line_40 |  | 35 | 39 | 0.030384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_1407-28_0_7_line_41 |  | 37 | 55 | 0.01174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1407-28_0_7_line_42 |  | 39 | 40 | 0.018973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_1407-28_0_7_line_43 |  | 40 | 43 | 0.021067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_1407-28_0_7_line_44 |  | 41 | 42 | 0.032949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_1407-28_0_7_line_45 |  | 41 | 43 | 0.01437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_1407-28_0_7_line_46 |  | 42 | 66 | 0.022433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_1407-28_0_7_line_47 |  | 44 | 45 | 0.0057686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1407-28_0_7_line_48 |  | 44 | 46 | 0.0068809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1407-28_0_7_line_49 |  | 45 | 47 | 0.0057686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1407-28_0_7_line_50 |  | 46 | 48 | 0.0046609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1407-28_0_7_line_51 |  | 47 | 49 | 0.0057668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1407-28_0_7_line_52 |  | 48 | 50 | 0.0057967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1407-28_0_7_line_53 |  | 49 | 51 | 0.005092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1407-28_0_7_line_54 |  | 50 | 52 | 0.0057981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1407-28_0_7_line_55 |  | 51 | 57 | 0.0061966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1407-28_0_7_line_56 |  | 52 | 61 | 0.011421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1407-28_0_7_line_57 |  | 53 | 54 | 0.00013026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1407-28_0_7_line_58 |  | 53 | 55 | 0.010216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1407-28_0_7_line_59 |  | 55 | 56 | 0.011228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1407-28_0_7_line_60 |  | 56 | 58 | 0.0057724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1407-28_0_7_line_61 |  | 57 | 59 | 0.0057888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1407-28_0_7_line_62 |  | 59 | 63 | 0.00579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1407-28_0_7_line_63 |  | 60 | 61 | 0.016141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1407-28_0_7_line_64 |  | 61 | 62 | 0.005145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1407-28_0_7_line_65 |  | 63 | 64 | 0.0057917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1407-28_0_7_line_66 |  | 64 | 65 | 0.0061424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1407-28_0_7_line_67 |  | 65 | 75 | 0.005049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1407-28_0_7_line_68 |  | 66 | 67 | 0.0067192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_1407-28_0_7_line_69 |  | 67 | 71 | 0.0141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_1407-28_0_7_line_70 |  | 68 | 69 | 0.0057783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1407-28_0_7_line_71 |  | 69 | 75 | 0.0057781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1407-28_0_7_line_72 |  | 70 | 71 | 0.058104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_1407-28_0_7_line_73 |  | 71 | 72 | 0.047989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1407-28_0_7_line_74 |  | 73 | 74 | 1.5123e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1407-28_0_7_trafo_12 | 0.63 MVA 20/0.4 kV | 76 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2661949.0551 | 1194463.3418 | 2661949.051 | 1194463.3353
1 | 2661954.7979 | 1194472.7117 | 2661949.0551 | 1194463.3418
2 | 2661949.051 | 1194463.3353 | 2661949.0392 | 1194463.316
3 | 2661954.7979 | 1194472.7117 | 2661964.8316 | 1194466.3323
4 | 2661940.6645 | 1194449.652 | 2661949.0392 | 1194463.316
5 | 2661964.8316 | 1194466.3323 | 2661969.706 | 1194463.2332
6 | 2661940.6645 | 1194449.652 | 2661945.9489 | 1194446.3276
7 | 2661940.6645 | 1194449.652 | 2661938.8469 | 1194450.7671 | 2661935.918 | 1194452.4902
8 | 2661979.23 | 1194457.1779 | 2661969.706 | 1194463.2332
9 | 2661930.5932 | 1194488.3702 | 2661940.7524 | 1194481.798
10 | 2661930.5932 | 1194488.3702 | 2661924.4445 | 1194478.4182
11 | 2661894.8535 | 1194483.9313 | 2661901.0317 | 1194481.1825 | 2661899.3991 | 1194477.6746 | 2661904.9246 | 1194474.6634 | 2661909.224 | 1194472.3176 | 2661910.5805 | 1194469.3632 | 2661915.7234 | 1194464.3024
12 | 2661894.8535 | 1194483.9313 | 2661890.4509 | 1194485.9425 | 2661874.3765 | 1194460.4392 | 2661859.4887 | 1194466.8223 | 2661870.2742 | 1194499.9334
13 | 2661915.7234 | 1194464.3024 | 2661924.4445 | 1194478.4182
14 | 2661915.7234 | 1194464.3024 | 2661917.6011 | 1194463.2657 | 2661925.9029 | 1194458.3819
15 | 2661915.7234 | 1194464.3024 | 2661910.7952 | 1194455.0157
16 | 2661874.1396 | 1194511.8001 | 2661870.2742 | 1194499.9334
17 | 2661971.4852 | 1194352.2367 | 2661976.4366 | 1194355.3675 | 2661982.9512 | 1194360.6158 | 2661980.5365 | 1194363.4591 | 2661979.2048 | 1194366.9474 | 2661979.1281 | 1194370.671 | 2661980.2955 | 1194374.2073 | 2661982.574 | 1194377.1549 | 2661973.436 | 1194387.544 | 2661969.2636 | 1194391.6032 | 2661963.5967 | 1194395.7469 | 2661953.1034 | 1194402.3421 | 2661917.7663 | 1194422.2769 | 2661890.7369 | 1194434.7379 | 2661891.6782 | 1194438.0384 | 2661891.5741 | 1194441.4727 | 2661890.4355 | 1194444.7183 | 2661888.38 | 1194447.4653 | 2661885.5854 | 1194449.4709 | 2661888.2976 | 1194455.4358 | 2661895.7346 | 1194448.8644
18 | 2661895.7346 | 1194448.8644 | 2661907.8749 | 1194449.5126 | 2661910.4441 | 1194454.354
19 | 2661933.5304 | 1194326.1397 | 2661934.7582 | 1194327.5199 | 2661936.3797 | 1194328.4261 | 2661938.1747 | 1194328.756 | 2661939.9759 | 1194328.4967 | 2661941.6001 | 1194327.6686 | 2661954.0943 | 1194342.7289 | 2661957.884 | 1194346.1923 | 2661961.3535 | 1194348.1961 | 2661966.4601 | 1194350.328 | 2661971.4852 | 1194352.2367
20 | 2661971.4852 | 1194352.2367 | 2661989.0615 | 1194340.1672 | 2661995.2686 | 1194324.48
21 | 2661910.7952 | 1194455.0157 | 2661910.4441 | 1194454.354
22 | 2661925.9029 | 1194458.3819 | 2661930.9112 | 1194455.4356
23 | 2661745.7319 | 1194434.1953 | 2661763.8645 | 1194436.8173 | 2661787.8432 | 1194437.8431 | 2661814.8095 | 1194435.1534 | 2661831.9433 | 1194431.0978
24 | 2661748.8218 | 1194329.0217 | 2661751.9678 | 1194341.7059 | 2661753.878 | 1194360.4032 | 2661754.228 | 1194375.2154 | 2661753.1089 | 1194388.4004 | 2661751.435 | 1194402.9026 | 2661745.7319 | 1194434.1953
25 | 2661831.9433 | 1194431.0978 | 2661852.4326 | 1194426.2481 | 2661859.0823 | 1194423.9737
26 | 2661748.8218 | 1194329.0217 | 2661849.9875 | 1194332.3054
27 | 2661933.5304 | 1194326.1397 | 2661931.9481 | 1194328.08 | 2661929.7945 | 1194330.7259
28 | 2661998.6441 | 1194315.949 | 2661995.2686 | 1194324.48
29 | 2662028.5918 | 1194426.6715 | 2662038.0345 | 1194421.4416
30 | 2662028.5918 | 1194426.6715 | 2662018.5972 | 1194432.8489
31 | 2662028.5918 | 1194426.6715 | 2662023.7198 | 1194418.2779
32 | 2662038.0345 | 1194421.4416 | 2662043.1354 | 1194418.6164
33 | 2662013.6521 | 1194435.9053 | 2662018.5972 | 1194432.8489
34 | 2662023.7198 | 1194418.2779 | 2662023.5278 | 1194417.9472
35 | 2661945.9489 | 1194446.3276 | 2661950.8401 | 1194443.2507
36 | 2661935.918 | 1194452.4902 | 2661930.9112 | 1194455.4356
37 | 2661979.23 | 1194457.1779 | 2661989.2039 | 1194451.0144
38 | 2661979.23 | 1194457.1779 | 2661973.7253 | 1194448.4349
39 | 2661874.9469 | 1194333.1156 | 2661849.9875 | 1194332.3054
40 | 2662009.823 | 1194287.6963 | 2661998.6441 | 1194315.949
41 | 2662003.6654 | 1194442.0777 | 2662013.6521 | 1194435.9053
42 | 2662009.823 | 1194287.6963 | 2661992.0643 | 1194281.0167
43 | 2661972.3457 | 1194273.5999 | 2661972.3457 | 1194273.5999 | 2661992.0643 | 1194281.0167
44 | 2661928.3081 | 1194257.8905 | 2661938.3997 | 1194261.4081 | 2661947.5764 | 1194264.2158 | 2661952.7616 | 1194265.3924 | 2661956.2914 | 1194265.9959 | 2661960.0541 | 1194266.1794
45 | 2661960.0541 | 1194266.1794 | 2661966.5637 | 1194270.4493 | 2661972.3457 | 1194273.5999
46 | 2661928.3081 | 1194257.8905 | 2661921.3278 | 1194279.2094
47 | 2662009.4455 | 1194407.3915 | 2662004.497 | 1194410.3561
48 | 2662015.3477 | 1194403.8544 | 2662011.2452 | 1194406.3133 | 2662009.4455 | 1194407.3915
49 | 2661999.5485 | 1194413.3208 | 2662004.497 | 1194410.3561
50 | 2662015.3477 | 1194403.8544 | 2662017.3413 | 1194402.6743 | 2662019.356 | 1194401.4757
51 | 2661994.6016 | 1194416.2845 | 2661999.5485 | 1194413.3208
52 | 2662019.356 | 1194401.4757 | 2662024.3377 | 1194398.512
53 | 2661990.2344 | 1194418.9029 | 2661992.2742 | 1194417.6789 | 2661994.6016 | 1194416.2845
54 | 2662024.3377 | 1194398.512 | 2662029.3207 | 1194395.5475
55 | 2661990.2344 | 1194418.9029 | 2661986.6223 | 1194421.1112 | 2661984.9436 | 1194422.1286
56 | 2662039.1334 | 1194389.7038 | 2662036.2963 | 1194391.3976 | 2662029.3207 | 1194395.5475
57 | 2661998.543 | 1194433.2392 | 2661998.4777 | 1194433.1265
58 | 2662003.6654 | 1194442.0777 | 2661998.543 | 1194433.2392
59 | 2662003.6654 | 1194442.0777 | 2661994.1143 | 1194447.98
60 | 2661989.2039 | 1194451.0144 | 2661994.1143 | 1194447.98
61 | 2661979.9931 | 1194425.129 | 2661984.9436 | 1194422.1286
62 | 2661975.0415 | 1194428.13 | 2661979.9931 | 1194425.129
63 | 2662039.1334 | 1194389.7038 | 2662047.806 | 1194403.3164
64 | 2662036.3665 | 1194385.3614 | 2662039.1334 | 1194389.7038
65 | 2661970.0885 | 1194431.1319 | 2661975.0415 | 1194428.13
66 | 2661964.8355 | 1194434.3155 | 2661970.0885 | 1194431.1319
67 | 2661964.8355 | 1194434.3155 | 2661961.0066 | 1194436.8551 | 2661960.622 | 1194437.0971
68 | 2661919.237 | 1194285.595 | 2661921.3278 | 1194279.2094
69 | 2661912.0039 | 1194296.5109 | 2661916.3543 | 1194294.3991 | 2661919.237 | 1194285.595
70 | 2661950.8401 | 1194443.2507 | 2661955.7311 | 1194440.1738
71 | 2661960.622 | 1194437.0971 | 2661955.7311 | 1194440.1738
72 | 2661874.9469 | 1194333.1156 | 2661883.0586 | 1194333.5219 | 2661891.6738 | 1194331.6766 | 2661898.9507 | 1194325.1258 | 2661912.0039 | 1194296.5109
73 | 2661912.0039 | 1194296.5109 | 2661905.7312 | 1194295.8567 | 2661866.6807 | 1194281.2798
74 | 2661973.7253 | 1194448.4349 | 2661973.7172 | 1194448.4221

## bus_geodata
| x | y | coords
0 | 2661949.0551 | 1194463.3418
1 | 2661949.051 | 1194463.3353
2 | 2661954.7979 | 1194472.7117
3 | 2661949.0392 | 1194463.316
4 | 2661964.8316 | 1194466.3323
5 | 2661940.6645 | 1194449.652
6 | 2661969.706 | 1194463.2332
7 | 2661940.7524 | 1194481.798
8 | 2661930.5932 | 1194488.3702
9 | 2661894.8535 | 1194483.9313
10 | 2661915.7234 | 1194464.3024
11 | 2661870.2742 | 1194499.9334
12 | 2661924.4445 | 1194478.4182
13 | 2661895.7346 | 1194448.8644
14 | 2661971.4852 | 1194352.2367
15 | 2661910.4441 | 1194454.354
16 | 2661925.9029 | 1194458.3819
17 | 2661910.7952 | 1194455.0157
18 | 2661745.7319 | 1194434.1953
19 | 2661831.9433 | 1194431.0978
20 | 2661748.8218 | 1194329.0217
21 | 2661933.5304 | 1194326.1397
22 | 2661995.2686 | 1194324.48
23 | 2662028.5918 | 1194426.6715
24 | 2662038.0345 | 1194421.4416
25 | 2662018.5972 | 1194432.8489
26 | 2662023.7198 | 1194418.2779
27 | 2661945.9489 | 1194446.3276
28 | 2661935.918 | 1194452.4902
29 | 2661979.23 | 1194457.1779
30 | 2661874.1396 | 1194511.8001
31 | 2661930.9112 | 1194455.4356
32 | 2661859.0823 | 1194423.9737
33 | 2661849.9875 | 1194332.3054
34 | 2661929.7945 | 1194330.7259
35 | 2661998.6441 | 1194315.949
36 | 2662043.1354 | 1194418.6164
37 | 2662013.6521 | 1194435.9053
38 | 2662023.5278 | 1194417.9472
39 | 2662009.823 | 1194287.6963
40 | 2661992.0643 | 1194281.0167
41 | 2661960.0541 | 1194266.1794
42 | 2661928.3081 | 1194257.8905
43 | 2661972.3457 | 1194273.5999
44 | 2662009.4455 | 1194407.3915
45 | 2662004.497 | 1194410.3561
46 | 2662015.3477 | 1194403.8544
47 | 2661999.5485 | 1194413.3208
48 | 2662019.356 | 1194401.4757
49 | 2661994.6016 | 1194416.2845
50 | 2662024.3377 | 1194398.512
51 | 2661990.2344 | 1194418.9029
52 | 2662029.3207 | 1194395.5475
53 | 2661998.543 | 1194433.2392
54 | 2661998.4777 | 1194433.1265
55 | 2662003.6654 | 1194442.0777
56 | 2661994.1143 | 1194447.98
57 | 2661984.9436 | 1194422.1286
58 | 2661989.2039 | 1194451.0144
59 | 2661979.9931 | 1194425.129
60 | 2662047.806 | 1194403.3164
61 | 2662039.1334 | 1194389.7038
62 | 2662036.3665 | 1194385.3614
63 | 2661975.0415 | 1194428.13
64 | 2661970.0885 | 1194431.1319
65 | 2661964.8355 | 1194434.3155
66 | 2661921.3278 | 1194279.2094
67 | 2661919.237 | 1194285.595
68 | 2661950.8401 | 1194443.2507
69 | 2661955.7311 | 1194440.1738
70 | 2661874.9469 | 1194333.1156
71 | 2661912.0039 | 1194296.5109
72 | 2661866.6807 | 1194281.2798
73 | 2661973.7253 | 1194448.4349
74 | 2661973.7172 | 1194448.4221
75 | 2661960.622 | 1194437.0971
76 | 2661982.9512 | 1194360.6158

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9838 | -0.31082 | 0.0034111 | 0.00085491
1 | 0.9838 | -0.31082 | 0.0034146 | 0.00085578
2 | 0.9833 | -0.32055 | 0 | 0
3 | 0.9838 | -0.31079 | 0.0035188 | 0.00088188
4 | 0.98277 | -0.33108 | 0.0035227 | 0.00088288
5 | 0.98468 | -0.29365 | 0 | 0
6 | 0.98252 | -0.33583 | 0.0035227 | 0.00088288
7 | 0.98787 | -0.23176 | 0.0034111 | 0.00085491
8 | 0.98791 | -0.23103 | 0 | 0
9 | 0.98682 | -0.25215 | 0 | 0
10 | 0.98805 | -0.22829 | 0 | 0
11 | 0.98355 | -0.31598 | 0.034216 | 0.0085753
12 | 0.98795 | -0.23031 | 0.0034124 | 0.00085523
13 | 0.98997 | -0.19135 | 0 | 0
14 | 1 | 0 | -0.52969 | -0.13474
15 | 0.98896 | -0.21075 | 0.0035406 | 0.00088736
16 | 0.98664 | -0.25573 | 0.003541 | 0.00088747
17 | 0.98892 | -0.21156 | 0.0033433 | 0.0008379
18 | 0.98089 | -0.36666 | 0 | 0
19 | 0.97485 | -0.48502 | 0.039546 | 0.0099111
20 | 0.98458 | -0.29507 | 0 | 0
21 | 0.99567 | -0.083095 | 0 | 0
22 | 0.9972 | -0.05323 | 0.0093476 | 0.0023427
23 | 0.98078 | -0.36998 | 0 | 0
24 | 0.98071 | -0.37129 | 0.0033714 | 0.00084495
25 | 0.98093 | -0.36706 | 0.0035881 | 0.00089925
26 | 0.98071 | -0.3712 | 0.0035849 | 0.00089845
27 | 0.98434 | -0.30041 | 0.0034237 | 0.00085807
28 | 0.9853 | -0.28176 | 0.0035379 | 0.00088667
29 | 0.98208 | -0.3444 | 0 | 0
30 | 0.98346 | -0.31758 | 0.007113 | 0.0017827
31 | 0.98596 | -0.26892 | 0.0035418 | 0.00088765
32 | 0.97393 | -0.50309 | 0.035064 | 0.0087879
33 | 0.98693 | -0.24991 | 0.0077663 | 0.0019464
34 | 0.99515 | -0.093208 | 0.09729 | 0.024383
35 | 0.99655 | -0.06556 | 0.031154 | 0.0078078
36 | 0.98069 | -0.37165 | 0.0033714 | 0.00084495
37 | 0.98102 | -0.36524 | 0.0035849 | 0.00089845
38 | 0.98071 | -0.37122 | 0.0033714 | 0.00084495
39 | 0.9947 | -0.10095 | 0.031036 | 0.0077784
40 | 0.99372 | -0.11965 | 0.0090902 | 0.0022782
41 | 0.99209 | -0.15091 | 0 | 0
42 | 0.9907 | -0.17754 | 0 | 0
43 | 0.99269 | -0.13932 | 0.021866 | 0.0054801
44 | 0.98161 | -0.35368 | 0.0037595 | 0.00094222
45 | 0.98173 | -0.35134 | 0.0034665 | 0.00086879
46 | 0.98149 | -0.356 | 0 | 0
47 | 0.98187 | -0.34864 | 0.0034665 | 0.00086879
48 | 0.98141 | -0.35758 | 0.0038219 | 0.00095787
49 | 0.98202 | -0.34558 | 0.0034634 | 0.000868
50 | 0.98133 | -0.35914 | 0.0038219 | 0.00095787
51 | 0.98218 | -0.34256 | 0 | 0
52 | 0.98127 | -0.36029 | 0.0038234 | 0.00095825
53 | 0.98118 | -0.36212 | 0.0035214 | 0.00088255
54 | 0.98118 | -0.36212 | 0.0035852 | 0.00089854
55 | 0.98125 | -0.3608 | 0 | 0
56 | 0.98154 | -0.35512 | 0.0035214 | 0.00088255
57 | 0.98237 | -0.33888 | 0.0034187 | 0.00085682
58 | 0.9817 | -0.35183 | 0.0035188 | 0.00088191
59 | 0.98256 | -0.3351 | 0.0034222 | 0.00085769
60 | 0.98115 | -0.36277 | 0.0033745 | 0.00084573
61 | 0.9812 | -0.36178 | 0 | 0
62 | 0.98118 | -0.36214 | 0.0038234 | 0.00095825
63 | 0.98277 | -0.33095 | 0.0034212 | 0.00085744
64 | 0.983 | -0.32645 | 0.0034247 | 0.00085831
65 | 0.98327 | -0.3213 | 0 | 0
66 | 0.98975 | -0.19571 | 0.012361 | 0.003098
67 | 0.98949 | -0.20067 | 0.022857 | 0.0057285
68 | 0.98403 | -0.30631 | 0.0034258 | 0.00085859
69 | 0.98375 | -0.31187 | 0.0034249 | 0.00085836
70 | 0.98757 | -0.23764 | 0 | 0
71 | 0.98905 | -0.20917 | 0 | 0
72 | 0.98821 | -0.2255 | 0.019087 | 0.0047837
73 | 0.98202 | -0.34572 | 0.0035188 | 0.00088188
74 | 0.98202 | -0.34572 | 0.0035198 | 0.00088214
75 | 0.98348 | -0.31706 | 0.0034252 | 0.00085844
76 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.052624 | -0.01323 | 0.052624 | 0.01323 | 1.8373e-08 | 1.1664e-08 | 0.079609 | 0.079609 | 0.079609 | 0.9838 | -0.31082 | 0.9838 | -0.31082 | 21.8705
1 | 0.049212 | 0.012375 | -0.04919 | -0.01236 | 2.2842e-05 | 1.448e-05 | 0.074449 | 0.074449 | 0.074449 | 0.9838 | -0.31082 | 0.9833 | -0.32055 | 20.4531
2 | -0.056038 | -0.014085 | 0.056038 | 0.014085 | 6.1021e-08 | 3.8755e-08 | 0.084773 | 0.084773 | 0.084773 | 0.9838 | -0.31082 | 0.9838 | -0.31079 | 23.2893
3 | 0.04919 | 0.01236 | -0.049165 | -0.012345 | 2.4713e-05 | 1.5666e-05 | 0.074449 | 0.074449 | 0.074449 | 0.9833 | -0.32055 | 0.98277 | -0.33108 | 20.4531
4 | -0.059557 | -0.014967 | 0.059606 | 0.014998 | 4.8783e-05 | 3.1017e-05 | 0.090095 | 0.090095 | 0.090095 | 0.9838 | -0.31079 | 0.98468 | -0.29365 | 24.7515
5 | 0.045642 | 0.011462 | -0.045632 | -0.011455 | 1.0347e-05 | 6.549e-06 | 0.069115 | 0.069115 | 0.069115 | 0.98277 | -0.33108 | 0.98252 | -0.33583 | 18.9878
6 | 0.060341 | 0.015173 | -0.060321 | -0.015161 | 1.9474e-05 | 1.2384e-05 | 0.091202 | 0.091203 | 0.091203 | 0.98468 | -0.29365 | 0.98434 | -0.30041 | 25.0556
7 | -0.11995 | -0.030171 | 0.12001 | 0.030215 | 6.8169e-05 | 4.3558e-05 | 0.1813 | 0.1813 | 0.1813 | 0.98468 | -0.29365 | 0.9853 | -0.28176 | 49.8071
8 | 0.042109 | 0.010572 | -0.042092 | -0.010561 | 1.7217e-05 | 1.0876e-05 | 0.06378 | 0.06378 | 0.06378 | 0.98252 | -0.33583 | 0.98208 | -0.3444 | 17.5221
9 | -0.0034111 | -0.00085491 | 0.0034113 | 0.00085483 | 1.1979e-07 | -7.8256e-08 | 0.0051381 | 0.0051381 | 0.0051381 | 0.98787 | -0.23176 | 0.98791 | -0.23103 | 1.4116
10 | -0.0034113 | -0.00085483 | 0.0034114 | 0.00085476 | 1.1581e-07 | -7.5671e-08 | 0.0051381 | 0.005138 | 0.0051381 | 0.98791 | -0.23103 | 0.98795 | -0.23031 | 1.4116
11 | -0.041456 | -0.010438 | 0.041503 | 0.010468 | 4.7338e-05 | 2.9883e-05 | 0.062527 | 0.062527 | 0.062527 | 0.98682 | -0.25215 | 0.98805 | -0.22829 | 17.1779
12 | 0.041456 | 0.010438 | -0.041329 | -0.010358 | 0.0001261 | 7.9609e-05 | 0.062527 | 0.062528 | 0.062528 | 0.98682 | -0.25215 | 0.98355 | -0.31598 | 17.178
13 | 0.0068245 | 0.0017102 | -0.0068238 | -0.00171 | 6.5726e-07 | 2.0815e-07 | 0.010278 | 0.010278 | 0.010278 | 0.98805 | -0.22829 | 0.98795 | -0.23031 | 2.8235
14 | 0.13096 | 0.033086 | -0.13079 | -0.032976 | 0.00017196 | 0.0001099 | 0.19733 | 0.19733 | 0.19733 | 0.98805 | -0.22829 | 0.98664 | -0.25573 | 54.2105
15 | -0.17929 | -0.045264 | 0.17943 | 0.045356 | 0.00014384 | 9.179e-05 | 0.27013 | 0.27013 | 0.27013 | 0.98805 | -0.22829 | 0.98892 | -0.21156 | 37.1059
16 | 0.0071135 | 0.0017829 | -0.007113 | -0.0017827 | 5.4207e-07 | 1.8855e-07 | 0.010762 | 0.010762 | 0.010762 | 0.98355 | -0.31598 | 0.98346 | -0.31758 | 2.9566
17 | -0.1865 | -0.047196 | 0.18823 | 0.048296 | 0.0017301 | 0.0011004 | 0.28049 | 0.28049 | 0.28049 | 0.98997 | -0.19135 | 1 | 0 | 25.6858
18 | 0.1865 | 0.047196 | -0.18633 | -0.047086 | 0.00017346 | 0.00011034 | 0.28049 | 0.28049 | 0.28049 | 0.98997 | -0.19135 | 0.98896 | -0.21075 | 25.6858
19 | 0.097725 | 0.02466 | -0.097337 | -0.024413 | 0.00038721 | 0.00024718 | 0.14547 | 0.14548 | 0.14548 | 1 | 0 | 0.99567 | -0.083095 | 39.9657
20 | 0.24208 | 0.061784 | -0.24146 | -0.061388 | 0.00062083 | 0.00039583 | 0.36062 | 0.36062 | 0.36062 | 1 | 0 | 0.9972 | -0.05323 | 33.0235
21 | 0.18279 | 0.046198 | -0.18278 | -0.046194 | 7.0889e-06 | 4.5081e-06 | 0.27516 | 0.27516 | 0.27516 | 0.98896 | -0.21075 | 0.98892 | -0.21156 | 25.198
22 | 0.12725 | 0.032089 | -0.12717 | -0.032038 | 8.0315e-05 | 5.1327e-05 | 0.19199 | 0.19199 | 0.19199 | 0.98664 | -0.25573 | 0.98596 | -0.26892 | 52.7434
23 | 0.075064 | 0.018988 | -0.07464 | -0.018718 | 0.00042366 | 0.00027005 | 0.11394 | 0.11394 | 0.11394 | 0.98089 | -0.36666 | 0.97485 | -0.48502 | 31.3011
24 | -0.075064 | -0.018988 | 0.075323 | 0.019151 | 0.00025878 | 0.00016292 | 0.11394 | 0.11393 | 0.11394 | 0.98089 | -0.36666 | 0.98458 | -0.29507 | 15.6505
25 | 0.035095 | 0.0088069 | -0.035064 | -0.0087879 | 3.0225e-05 | 1.8994e-05 | 0.053573 | 0.053573 | 0.053573 | 0.97485 | -0.48502 | 0.97393 | -0.50309 | 14.7178
26 | -0.075323 | -0.019151 | 0.075487 | 0.019252 | 0.00016424 | 0.00010124 | 0.11393 | 0.11393 | 0.11393 | 0.98458 | -0.29507 | 0.98693 | -0.24991 | 10.4336
27 | 0.097337 | 0.024413 | -0.09729 | -0.024383 | 4.6895e-05 | 2.9936e-05 | 0.14548 | 0.14548 | 0.14548 | 0.99567 | -0.083095 | 0.99515 | -0.093208 | 39.9657
28 | 0.23211 | 0.059045 | -0.23198 | -0.058958 | 0.00013782 | 8.7848e-05 | 0.34667 | 0.34667 | 0.34667 | 0.9972 | -0.05323 | 0.99655 | -0.06556 | 31.7462
29 | 0.0067433 | 0.00169 | -0.0067428 | -0.0016899 | 4.2368e-07 | 1.3494e-07 | 0.010231 | 0.010231 | 0.010231 | 0.98078 | -0.36998 | 0.98071 | -0.37129 | 2.8107
30 | -0.0137 | -0.0034335 | 0.013702 | 0.0034346 | 1.9035e-06 | 1.07e-06 | 0.020785 | 0.020785 | 0.020785 | 0.98078 | -0.36998 | 0.98093 | -0.36706 | 5.7102
31 | 0.0069567 | 0.0017435 | -0.0069562 | -0.0017434 | 4.0543e-07 | 1.37e-07 | 0.010555 | 0.010555 | 0.010555 | 0.98078 | -0.36998 | 0.98071 | -0.3712 | 2.8996
32 | 0.0033714 | 0.00084491 | -0.0033714 | -0.00084495 | 5.7219e-08 | -3.6955e-08 | 0.0051154 | 0.0051154 | 0.0051154 | 0.98071 | -0.37129 | 0.98069 | -0.37165 | 1.4053
33 | -0.01729 | -0.0043339 | 0.017291 | 0.0043347 | 1.4997e-06 | 8.8639e-07 | 0.026228 | 0.026228 | 0.026228 | 0.98093 | -0.36706 | 0.98102 | -0.36524 | 7.2055
34 | 0.0033714 | 0.00084495 | -0.0033714 | -0.00084495 | 3.7523e-09 | -2.4236e-09 | 0.0051153 | 0.0051153 | 0.0051153 | 0.98071 | -0.3712 | 0.98071 | -0.37122 | 1.4053
35 | 0.056898 | 0.014302 | -0.056882 | -0.014292 | 1.6037e-05 | 1.019e-05 | 0.086027 | 0.086027 | 0.086027 | 0.98434 | -0.30041 | 0.98403 | -0.30631 | 23.6338
36 | -0.12355 | -0.031101 | 0.12363 | 0.03115 | 7.5881e-05 | 4.849e-05 | 0.18664 | 0.18664 | 0.18664 | 0.9853 | -0.28176 | 0.98596 | -0.26892 | 51.2749
37 | 0.035053 | 0.0087972 | -0.035041 | -0.0087894 | 1.2404e-05 | 7.7903e-06 | 0.053115 | 0.053115 | 0.053115 | 0.98208 | -0.3444 | 0.9817 | -0.35183 | 14.5921
38 | 0.007039 | 0.0017642 | -0.0070385 | -0.001764 | 4.407e-07 | 1.5133e-07 | 0.010665 | 0.010665 | 0.010665 | 0.98208 | -0.3444 | 0.98202 | -0.34572 | 2.93
39 | -0.083253 | -0.021199 | 0.083303 | 0.021229 | 4.9277e-05 | 3.0579e-05 | 0.12564 | 0.12564 | 0.12564 | 0.98693 | -0.24991 | 0.98757 | -0.23764 | 11.5057
40 | 0.20082 | 0.05115 | -0.20048 | -0.050932 | 0.00034217 | 0.0002178 | 0.30015 | 0.30015 | 0.30015 | 0.99655 | -0.06556 | 0.9947 | -0.10095 | 27.4865
41 | -0.020876 | -0.0052332 | 0.020881 | 0.0052359 | 4.4145e-06 | 2.677e-06 | 0.031666 | 0.031666 | 0.031666 | 0.98102 | -0.36524 | 0.98125 | -0.3608 | 8.6993
42 | 0.16944 | 0.043154 | -0.16929 | -0.043057 | 0.00015268 | 9.6976e-05 | 0.25372 | 0.25372 | 0.25372 | 0.9947 | -0.10095 | 0.99372 | -0.11965 | 23.2348
43 | 0.1602 | 0.040778 | -0.16005 | -0.040682 | 0.00015183 | 9.6352e-05 | 0.24011 | 0.24011 | 0.24011 | 0.99372 | -0.11965 | 0.99269 | -0.13932 | 21.9884
44 | 0.13811 | 0.035153 | -0.13793 | -0.035041 | 0.00017705 | 0.00011204 | 0.20734 | 0.20734 | 0.20734 | 0.99209 | -0.15091 | 0.9907 | -0.17754 | 18.987
45 | -0.13811 | -0.035153 | 0.13818 | 0.035202 | 7.7216e-05 | 4.8862e-05 | 0.20734 | 0.20734 | 0.20734 | 0.99209 | -0.15091 | 0.99269 | -0.13932 | 18.9869
46 | 0.13793 | 0.035041 | -0.13781 | -0.034965 | 0.00012054 | 7.6283e-05 | 0.20734 | 0.20734 | 0.20734 | 0.9907 | -0.17754 | 0.98975 | -0.19571 | 18.987
47 | -0.022431 | -0.0056233 | 0.022433 | 0.0056248 | 2.5011e-06 | 1.5278e-06 | 0.034003 | 0.034003 | 0.034003 | 0.98161 | -0.35368 | 0.98173 | -0.35134 | 9.3415
48 | 0.018671 | 0.004681 | -0.018669 | -0.0046798 | 2.0672e-06 | 1.236e-06 | 0.028304 | 0.028304 | 0.028304 | 0.98161 | -0.35368 | 0.98149 | -0.356 | 7.7758
49 | -0.0259 | -0.0064936 | 0.025903 | 0.0064956 | 3.3338e-06 | 2.0607e-06 | 0.039257 | 0.039257 | 0.039257 | 0.98173 | -0.35134 | 0.98187 | -0.34864 | 10.785
50 | 0.018669 | 0.0046798 | -0.018668 | -0.004679 | 1.4002e-06 | 8.3725e-07 | 0.028304 | 0.028304 | 0.028304 | 0.98149 | -0.356 | 0.98141 | -0.35758 | 7.7759
51 | -0.02937 | -0.0073644 | 0.029374 | 0.0073671 | 4.2844e-06 | 2.6691e-06 | 0.044511 | 0.044511 | 0.044511 | 0.98187 | -0.34864 | 0.98202 | -0.34558 | 12.2282
52 | 0.014846 | 0.0037211 | -0.014845 | -0.0037205 | 1.1014e-06 | 6.3163e-07 | 0.022509 | 0.022509 | 0.022509 | 0.98141 | -0.35758 | 0.98133 | -0.35914 | 6.1839
53 | -0.032837 | -0.0082351 | 0.032842 | 0.0082381 | 4.7277e-06 | 2.9613e-06 | 0.049759 | 0.049759 | 0.049759 | 0.98202 | -0.34558 | 0.98218 | -0.34256 | 13.6699
54 | 0.011023 | 0.0027626 | -0.011022 | -0.0027623 | 6.0741e-07 | 3.1549e-07 | 0.016714 | 0.016714 | 0.016714 | 0.98133 | -0.35914 | 0.98127 | -0.36029 | 4.5918
55 | -0.032842 | -0.0082381 | 0.032848 | 0.0082417 | 5.7533e-06 | 3.6037e-06 | 0.049759 | 0.049759 | 0.049759 | 0.98218 | -0.34256 | 0.98237 | -0.33888 | 13.6699
56 | 0.0071987 | 0.001804 | -0.0071982 | -0.0018038 | 5.1036e-07 | 1.8236e-07 | 0.010916 | 0.010916 | 0.010916 | 0.98127 | -0.36029 | 0.9812 | -0.36178 | 2.9989
57 | 0.0035852 | 0.00089854 | -0.0035852 | -0.00089854 | 1.4444e-09 | -7.2135e-10 | 0.0054372 | 0.0054372 | 0.0054372 | 0.98118 | -0.36212 | 0.98118 | -0.36212 | 1.4937
58 | -0.0071066 | -0.0017811 | 0.0071071 | 0.0017812 | 4.4498e-07 | 1.5575e-07 | 0.010778 | 0.010778 | 0.010778 | 0.98118 | -0.36212 | 0.98125 | -0.3608 | 2.9609
59 | -0.027988 | -0.0070171 | 0.027995 | 0.0070218 | 7.5846e-06 | 4.7123e-06 | 0.042443 | 0.042443 | 0.042443 | 0.98125 | -0.3608 | 0.98154 | -0.35512 | 11.6602
60 | -0.031517 | -0.0079044 | 0.031522 | 0.0079075 | 4.942e-06 | 3.0899e-06 | 0.047782 | 0.047782 | 0.047782 | 0.98154 | -0.35512 | 0.9817 | -0.35183 | 13.1268
61 | -0.036266 | -0.0090985 | 0.036273 | 0.0091026 | 6.5517e-06 | 4.1198e-06 | 0.054937 | 0.054937 | 0.054937 | 0.98237 | -0.33888 | 0.98256 | -0.3351 | 15.0926
62 | -0.039695 | -0.0099603 | 0.039703 | 0.0099652 | 7.8476e-06 | 4.9491e-06 | 0.06012 | 0.06012 | 0.06012 | 0.98256 | -0.3351 | 0.98277 | -0.33095 | 16.5164
63 | -0.0033745 | -0.00084573 | 0.0033747 | 0.00084563 | 1.5853e-07 | -1.024e-07 | 0.0051178 | 0.0051177 | 0.0051178 | 0.98115 | -0.36277 | 0.9812 | -0.36178 | 1.406
64 | 0.0038235 | 0.00095822 | -0.0038234 | -0.00095825 | 6.487e-08 | -2.3466e-08 | 0.0057985 | 0.0057985 | 0.0057985 | 0.9812 | -0.36178 | 0.98118 | -0.36214 | 1.593
65 | -0.043124 | -0.010823 | 0.043134 | 0.010829 | 9.2611e-06 | 5.8537e-06 | 0.0653 | 0.0653 | 0.0653 | 0.98277 | -0.33095 | 0.983 | -0.32645 | 17.9395
66 | -0.046558 | -0.011687 | 0.04657 | 0.011694 | 1.1443e-05 | 7.2457e-06 | 0.070484 | 0.070484 | 0.070484 | 0.983 | -0.32645 | 0.98327 | -0.3213 | 19.3637
67 | -0.04657 | -0.011694 | 0.046579 | 0.0117 | 9.4062e-06 | 5.9559e-06 | 0.070484 | 0.070484 | 0.070484 | 0.98327 | -0.3213 | 0.98348 | -0.31706 | 19.3637
68 | 0.12545 | 0.031867 | -0.12542 | -0.031848 | 2.9924e-05 | 1.8892e-05 | 0.18875 | 0.18875 | 0.18875 | 0.98975 | -0.19571 | 0.98949 | -0.20067 | 17.2851
69 | 0.10256 | 0.026119 | -0.10252 | -0.026093 | 4.2006e-05 | 2.6341e-05 | 0.15438 | 0.15438 | 0.15438 | 0.98949 | -0.20067 | 0.98905 | -0.20917 | 14.1375
70 | 0.053456 | 0.013434 | -0.053442 | -0.013425 | 1.4163e-05 | 8.9909e-06 | 0.080847 | 0.080847 | 0.080847 | 0.98403 | -0.30631 | 0.98375 | -0.31187 | 22.2106
71 | 0.050017 | 0.012566 | -0.050004 | -0.012558 | 1.2406e-05 | 7.8663e-06 | 0.075666 | 0.075666 | 0.075666 | 0.98375 | -0.31187 | 0.98348 | -0.31706 | 20.7874
72 | -0.083303 | -0.021229 | 0.083417 | 0.0213 | 0.00011465 | 7.1144e-05 | 0.12564 | 0.12564 | 0.12564 | 0.98757 | -0.23764 | 0.98905 | -0.20917 | 11.5057
73 | 0.019102 | 0.0047925 | -0.019087 | -0.0047837 | 1.4865e-05 | 8.8982e-06 | 0.02874 | 0.028741 | 0.028741 | 0.98905 | -0.20917 | 0.98821 | -0.2255 | 7.8958
74 | 0.0035198 | 0.00088214 | -0.0035198 | -0.00088214 | 1.6011e-10 | -9.6817e-11 | 0.0053334 | 0.0053334 | 0.0053334 | 0.98202 | -0.34572 | 0.98202 | -0.34572 | 1.4652

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.52969 | 0.13474

## res_load
| p_mw | q_mvar
0 | 0.0034111 | 0.00085491
1 | 0.0034146 | 0.00085578
2 | 0.0035188 | 0.00088188
3 | 0.0035227 | 0.00088288
4 | 0.0035227 | 0.00088288
5 | 0.0034111 | 0.00085491
6 | 0.034216 | 0.0085753
7 | 0.0034124 | 0.00085523
8 | 0.0035406 | 0.00088736
9 | 0.003541 | 0.00088747
10 | 0.0033433 | 0.0008379
11 | 0.039546 | 0.0099111
12 | 0.0093476 | 0.0023427
13 | 0.0033714 | 0.00084495
14 | 0.0035881 | 0.00089925
15 | 0.0035849 | 0.00089845
16 | 0.0034237 | 0.00085807
17 | 0.0035379 | 0.00088667
18 | 0.007113 | 0.0017827
19 | 0.0035418 | 0.00088765
20 | 0.035064 | 0.0087879
21 | 0.0077663 | 0.0019464
22 | 0.09729 | 0.024383
23 | 0.031154 | 0.0078078
24 | 0.0033714 | 0.00084495
25 | 0.0035849 | 0.00089845
26 | 0.0033714 | 0.00084495
27 | 0.031036 | 0.0077784
28 | 0.0090902 | 0.0022782
29 | 0.021866 | 0.0054801
30 | 0.0037595 | 0.00094222
31 | 0.0034665 | 0.00086879
32 | 0.0034665 | 0.00086879
33 | 0.0038219 | 0.00095787
34 | 0.0034634 | 0.000868
35 | 0.0038219 | 0.00095787
36 | 0.0038234 | 0.00095825
37 | 0.0035214 | 0.00088255
38 | 0.0035852 | 0.00089854
39 | 0.0035214 | 0.00088255
40 | 0.0034187 | 0.00085682
41 | 0.0035188 | 0.00088191
42 | 0.0034222 | 0.00085769
43 | 0.0033745 | 0.00084573
44 | 0.0038234 | 0.00095825
45 | 0.0034212 | 0.00085744
46 | 0.0034247 | 0.00085831
47 | 0.012361 | 0.003098
48 | 0.022857 | 0.0057285
49 | 0.0034258 | 0.00085859
50 | 0.0034249 | 0.00085836
51 | 0.019087 | 0.0047837
52 | 0.0035188 | 0.00088188
53 | 0.0035198 | 0.00088214
54 | 0.0034252 | 0.00085844

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1