## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1407-30_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1407-30_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1407-30_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1407-30_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1407-30_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1407-30_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1407-30_0_3_node_19 | 0.4 | n |  | TRUE
7 | bus_LV_1407-30_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1407-30_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1407-30_0_3_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_1407-30_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1407-30_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1407-30_0_3_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_1407-30_0_3_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_1407-30_0_3_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_1407-30_0_3_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_1407-30_0_3_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_1407-30_0_3_node_79 | 0.4 | n |  | TRUE
18 | bus_LV_1407-30_0_3_node_46 | 0.4 | n |  | TRUE
19 | bus_LV_1407-30_0_3_node_84 | 0.4 | n |  | TRUE
20 | bus_LV_1407-30_0_3_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_1407-30_0_3_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_1407-30_0_3_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_1407-30_0_3_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_1407-30_0_3_node_55 | 0.4 | n |  | TRUE
25 | bus_LV_1407-30_0_3_node_65 | 0.4 | n |  | TRUE
26 | bus_LV_1407-30_0_3_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_1407-30_0_3_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_1407-30_0_3_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_1407-30_0_3_node_80 | 0.4 | n |  | TRUE
30 | bus_LV_1407-30_0_3_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_1407-30_0_3_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_1407-30_0_3_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_1407-30_0_3_node_82 | 0.4 | n |  | TRUE
34 | bus_LV_1407-30_0_3_node_54 | 0.4 | n |  | TRUE
35 | bus_LV_1407-30_0_3_node_57 | 0.4 | n |  | TRUE
36 | bus_LV_1407-30_0_3_node_70 | 0.4 | n |  | TRUE
37 | bus_LV_1407-30_0_3_node_110 | 0.4 | n |  | TRUE
38 | bus_LV_1407-30_0_3_node_64 | 0.4 | n |  | TRUE
39 | bus_LV_1407-30_0_3_node_66 | 0.4 | n |  | TRUE
40 | bus_LV_1407-30_0_3_node_67 | 0.4 | n |  | TRUE
41 | bus_LV_1407-30_0_3_node_81 | 0.4 | n |  | TRUE
42 | bus_LV_1407-30_0_3_node_68 | 0.4 | n |  | TRUE
43 | bus_LV_1407-30_0_3_node_69 | 0.4 | n |  | TRUE
44 | bus_LV_1407-30_0_3_node_76 | 0.4 | n |  | TRUE
45 | bus_LV_1407-30_0_3_node_77 | 0.4 | n |  | TRUE
46 | bus_LV_1407-30_0_3_node_78 | 0.4 | n |  | TRUE
47 | bus_LV_1407-30_0_3_node_83 | 0.4 | n |  | TRUE
48 | bus_LV_1407-30_0_3_node_109 | 0.4 | n |  | TRUE
49 | bus_LV_1407-30_0_3_node_85 | 0.4 | n |  | TRUE
50 | bus_LV_1407-30_0_3_node_86 | 0.4 | n |  | TRUE
51 | bus_MV_141_0_node_56 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1407-30_0_3_load_0 | 0 | 0.0028232 | 0.00070755 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1407-30_0_3_load_2 | 2 | 0.0075618 | 0.0018952 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1407-30_0_3_load_4 | 4 | 0.0093154 | 0.0023347 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1407-30_0_3_load_5 | 5 | 0.0039911 | 0.0010003 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1407-30_0_3_load_19 | 6 | 0.0075039 | 0.0018807 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1407-30_0_3_load_6 | 7 | 0.0040749 | 0.0010213 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1407-30_0_3_load_7 | 8 | 0.0031266 | 0.00078359 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1407-30_0_3_load_11 | 9 | 0.0028394 | 0.00071163 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1407-30_0_3_load_8 | 10 | 0.0049375 | 0.0012374 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1407-30_0_3_load_9 | 11 | 0.0026014 | 0.00065196 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1407-30_0_3_load_14 | 12 | 0.0054985 | 0.0013781 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1407-30_0_3_load_15 | 13 | 0.011041 | 0.0027672 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1407-30_0_3_load_16 | 14 | 0.0068117 | 0.0017072 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1407-30_0_3_load_17 | 15 | 0.0026727 | 0.00066983 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1407-30_0_3_load_79 | 17 | 0.0026708 | 0.00066936 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1407-30_0_3_load_46 | 18 | 0.0041048 | 0.0010288 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1407-30_0_3_load_84 | 19 | 0.0075382 | 0.0018893 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1407-30_0_3_load_21 | 21 | 0.0097934 | 0.0024545 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1407-30_0_3_load_30 | 23 | 0.00673 | 0.0016867 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1407-30_0_3_load_55 | 24 | 0.0067557 | 0.0016931 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1407-30_0_3_load_65 | 25 | 0.0070308 | 0.0017621 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1407-30_0_3_load_28 | 26 | 0.0032252 | 0.00080831 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1407-30_0_3_load_29 | 27 | 0.0024244 | 0.00060762 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1407-30_0_3_load_31 | 28 | 0.0024226 | 0.00060716 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1407-30_0_3_load_80 | 29 | 0.0024238 | 0.00060746 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1407-30_0_3_load_32 | 30 | 0.0050319 | 0.0012611 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1407-30_0_3_load_33 | 31 | 0.001802 | 0.00045162 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1407-30_0_3_load_34 | 32 | 0.0092283 | 0.0023128 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1407-30_0_3_load_54 | 34 | 0.016167 | 0.004052 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1407-30_0_3_load_70 | 36 | 0.0064983 | 0.0016286 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1407-30_0_3_load_110 | 37 | 0.003769 | 0.0009446 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1407-30_0_3_load_64 | 38 | 0.0045516 | 0.0011407 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1407-30_0_3_load_66 | 39 | 0.0043377 | 0.0010871 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1407-30_0_3_load_67 | 40 | 0.012896 | 0.0032321 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1407-30_0_3_load_81 | 41 | 0.0070555 | 0.0017683 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1407-30_0_3_load_68 | 42 | 0.003325 | 0.00083333 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1407-30_0_3_load_69 | 43 | 0.004725 | 0.0011842 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1407-30_0_3_load_76 | 44 | 0.013969 | 0.0035009 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1407-30_0_3_load_77 | 45 | 0.0026713 | 0.00066949 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1407-30_0_3_load_78 | 46 | 0.0024258 | 0.00060797 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1407-30_0_3_load_83 | 47 | 0.0051315 | 0.0012861 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1407-30_0_3_load_109 | 48 | 0.0022468 | 0.0005631 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1407-30_0_3_load_85 | 49 | 0.0018919 | 0.00047416 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1407-30_0_3_load_86 | 50 | 0.0046789 | 0.0011727 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1407-30_0_3_line_0 |  | 0 | 1 | 0.030346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1407-30_0_3_line_1 |  | 0 | 2 | 0.0031381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1407-30_0_3_line_2 |  | 1 | 3 | 0.02052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1407-30_0_3_line_3 |  | 1 | 4 | 0.0039113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1407-30_0_3_line_4 |  | 3 | 5 | 0.037929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1407-30_0_3_line_5 |  | 4 | 6 | 0.04385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1407-30_0_3_line_6 |  | 5 | 7 | 0.00051132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1407-30_0_3_line_7 |  | 6 | 20 | 0.0075232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1407-30_0_3_line_8 |  | 7 | 8 | 0.017797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1407-30_0_3_line_9 |  | 8 | 9 | 0.019641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1407-30_0_3_line_10 |  | 9 | 11 | 0.017645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1407-30_0_3_line_11 |  | 10 | 11 | 0.0090014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1407-30_0_3_line_12 |  | 12 | 13 | 0.030979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1407-30_0_3_line_13 |  | 12 | 14 | 0.002552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1407-30_0_3_line_14 |  | 13 | 15 | 0.00082971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_1407-30_0_3_line_15 |  | 14 | 16 | 0.035002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1407-30_0_3_line_16 |  | 15 | 17 | 0.0011398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_1407-30_0_3_line_17 |  | 16 | 18 | 0.017658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1407-30_0_3_line_18 |  | 16 | 19 | 0.01739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1407-30_0_3_line_19 |  | 17 | 45 | 0.001143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_1407-30_0_3_line_20 |  | 19 | 49 | 0.012124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1407-30_0_3_line_21 |  | 20 | 21 | 0.02451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_1407-30_0_3_line_22 |  | 20 | 22 | 0.043781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1407-30_0_3_line_23 |  | 21 | 23 | 0.011298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_1407-30_0_3_line_24 |  | 22 | 24 | 0.016506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1407-30_0_3_line_25 |  | 22 | 25 | 0.010321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1407-30_0_3_line_26 |  | 23 | 26 | 0.0053876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_1407-30_0_3_line_27 |  | 24 | 34 | 0.002473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1407-30_0_3_line_28 |  | 25 | 38 | 0.031984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1407-30_0_3_line_29 |  | 26 | 27 | 0.0113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_1407-30_0_3_line_30 |  | 27 | 28 | 0.000102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_1407-30_0_3_line_31 |  | 28 | 29 | 9.9635e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_1407-30_0_3_line_32 |  | 29 | 46 | 9.8436e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_1407-30_0_3_line_33 |  | 30 | 31 | 0.0063955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1407-30_0_3_line_34 |  | 31 | 32 | 0.0026372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1407-30_0_3_line_35 |  | 32 | 33 | 0.015271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1407-30_0_3_line_36 |  | 33 | 47 | 0.01453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1407-30_0_3_line_37 |  | 33 | 41 | 0.017412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1407-30_0_3_line_38 |  | 35 | 36 | 0.042256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1407-30_0_3_line_39 |  | 35 | 37 | 0.038271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1407-30_0_3_line_40 |  | 36 | 43 | 0.038925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1407-30_0_3_line_41 |  | 37 | 48 | 0.046569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1407-30_0_3_line_42 |  | 38 | 39 | 0.0019722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1407-30_0_3_line_43 |  | 39 | 40 | 0.01186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1407-30_0_3_line_44 |  | 40 | 41 | 0.031281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1407-30_0_3_line_45 |  | 42 | 43 | 0.0050143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1407-30_0_3_line_46 |  | 44 | 45 | 0.030459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_1407-30_0_3_line_47 |  | 44 | 46 | 0.0032836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_1407-30_0_3_line_48 |  | 47 | 48 | 0.02291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1407-30_0_3_line_49 |  | 49 | 50 | 0.023439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1407-30_0_3_trafo_15 | 0.63 MVA 20/0.4 kV | 51 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2661177.3856 | 1193800.269 | 2661188.2198 | 1193779.7234 | 2661189.925 | 1193772.8117
1 | 2661190.6767 | 1193769.765 | 2661189.925 | 1193772.8117
2 | 2661179.7455 | 1193820.6494 | 2661177.3856 | 1193800.269
3 | 2661177.3856 | 1193800.269 | 2661176.2595 | 1193796.5232
4 | 2661179.7455 | 1193820.6494 | 2661161.6248 | 1193821.876 | 2661142.0094 | 1193824.3177
5 | 2661159.3085 | 1193756.1283 | 2661174.3784 | 1193790.2658 | 2661176.2595 | 1193796.5232
6 | 2661142.0094 | 1193824.3177 | 2661141.5019 | 1193824.3808
7 | 2661156.2703 | 1193749.2459 | 2661159.3085 | 1193756.1283
8 | 2661141.5019 | 1193824.3808 | 2661123.8415 | 1193826.5792
9 | 2661123.8415 | 1193826.5792 | 2661104.3512 | 1193829.0053
10 | 2661086.8412 | 1193831.1849 | 2661104.3512 | 1193829.0053
11 | 2661077.9088 | 1193832.2968 | 2661086.8412 | 1193831.1849
12 | 2661085.56 | 1193682.752 | 2661096.9414 | 1193707.1267 | 2661098.54 | 1193710.878
13 | 2661085.56 | 1193682.752 | 2661085.56 | 1193682.752 | 2661084.2097 | 1193680.5865
14 | 2661098.8653 | 1193711.6413 | 2661098.54 | 1193710.878
15 | 2661064.0297 | 1193652.1146 | 2661072.5273 | 1193661.8514 | 2661084.2097 | 1193680.5865
16 | 2661098.8653 | 1193711.6413 | 2661099.3121 | 1193712.6898
17 | 2661064.0297 | 1193652.1146 | 2661052.2178 | 1193638.9891
18 | 2661064.0297 | 1193652.1146 | 2661076.651 | 1193640.151
19 | 2661099.3121 | 1193712.6898 | 2661099.7602 | 1193713.7413
20 | 2661076.651 | 1193640.151 | 2661082.7001 | 1193634.4171 | 2661083.4722 | 1193632.7018 | 2661083.367 | 1193630.7968
21 | 2661156.2703 | 1193749.2459 | 2661132.7534 | 1193756.1519
22 | 2661153.1246 | 1193706.5668 | 2661150.3251 | 1193718.7342 | 2661151.3201 | 1193733.2305 | 2661156.2703 | 1193749.2459
23 | 2661132.7534 | 1193756.1519 | 2661123.4533 | 1193758.8829 | 2661121.9294 | 1193758.3801
24 | 2661153.1246 | 1193706.5668 | 2661169.5084 | 1193704.5612
25 | 2661153.1246 | 1193706.5668 | 2661152.6011 | 1193696.2588
26 | 2661121.9294 | 1193758.3801 | 2661120.0808 | 1193757.7701 | 2661117.5361 | 1193755.4538
27 | 2661171.9631 | 1193704.2607 | 2661169.5084 | 1193704.5612
28 | 2661150.9787 | 1193664.316 | 2661152.6011 | 1193696.2588
29 | 2661117.5361 | 1193755.4538 | 2661117.5361 | 1193755.4538 | 2661113.1061 | 1193745.0585
30 | 2661113.1061 | 1193745.0585 | 2661113.0661 | 1193744.9647
31 | 2661113.0661 | 1193744.9647 | 2661113.0271 | 1193744.873
32 | 2661113.0271 | 1193744.873 | 2661112.9885 | 1193744.7825
33 | 2661100.4787 | 1193628.422 | 2661105.1495 | 1193624.0533
34 | 2661107.0756 | 1193622.2519 | 2661105.1495 | 1193624.0533
35 | 2661119.3321 | 1193613.2343 | 2661110.8543 | 1193618.7176 | 2661107.0756 | 1193622.2519
36 | 2661119.3321 | 1193613.2343 | 2661120.4812 | 1193610.4222 | 2661129.0358 | 1193602.7479
37 | 2661119.3321 | 1193613.2343 | 2661119.2684 | 1193615.7462 | 2661120.1749 | 1193618.0235 | 2661128.5414 | 1193627.2411
38 | 2661116.8183 | 1193522.1004 | 2661101.1047 | 1193524.1189 | 2661087.1785 | 1193524.2546 | 2661077.4617 | 1193532.0966
39 | 2661144.8281 | 1193548.1793 | 2661116.8183 | 1193522.1004
40 | 2661050.5718 | 1193560.1718 | 2661073.3302 | 1193535.4309 | 2661077.4617 | 1193532.0966
41 | 2661144.8281 | 1193548.1793 | 2661156.7562 | 1193574.2385 | 2661157.0481 | 1193576.2537 | 2661156.211 | 1193578.3686 | 2661146.0888 | 1193587.4494
42 | 2661150.9787 | 1193664.316 | 2661150.8786 | 1193662.3463
43 | 2661148.822 | 1193650.9876 | 2661150.4219 | 1193653.3529 | 2661150.8786 | 1193662.3463
44 | 2661128.5414 | 1193627.2411 | 2661145.0987 | 1193645.4828 | 2661148.822 | 1193650.9876
45 | 2661047.1771 | 1193563.8622 | 2661050.5718 | 1193560.1718
46 | 2661111.7012 | 1193741.7617 | 2661099.7602 | 1193713.7413
47 | 2661111.7012 | 1193741.7617 | 2661112.9885 | 1193744.7825
48 | 2661129.0358 | 1193602.7479 | 2661146.0888 | 1193587.4494
49 | 2661072.0705 | 1193610.2947 | 2661083.35 | 1193630.4881 | 2661083.367 | 1193630.7968

## bus_geodata
| x | y | coords
0 | 2661189.925 | 1193772.8117
1 | 2661177.3856 | 1193800.269
2 | 2661190.6767 | 1193769.765
3 | 2661179.7455 | 1193820.6494
4 | 2661176.2595 | 1193796.5232
5 | 2661142.0094 | 1193824.3177
6 | 2661159.3085 | 1193756.1283
7 | 2661141.5019 | 1193824.3808
8 | 2661123.8415 | 1193826.5792
9 | 2661104.3512 | 1193829.0053
10 | 2661077.9088 | 1193832.2968
11 | 2661086.8412 | 1193831.1849
12 | 2661085.56 | 1193682.752
13 | 2661098.54 | 1193710.878
14 | 2661084.2097 | 1193680.5865
15 | 2661098.8653 | 1193711.6413
16 | 2661064.0297 | 1193652.1146
17 | 2661099.3121 | 1193712.6898
18 | 2661052.2178 | 1193638.9891
19 | 2661076.651 | 1193640.151
20 | 2661156.2703 | 1193749.2459
21 | 2661132.7534 | 1193756.1519
22 | 2661153.1246 | 1193706.5668
23 | 2661121.9294 | 1193758.3801
24 | 2661169.5084 | 1193704.5612
25 | 2661152.6011 | 1193696.2588
26 | 2661117.5361 | 1193755.4538
27 | 2661113.1061 | 1193745.0585
28 | 2661113.0661 | 1193744.9647
29 | 2661113.0271 | 1193744.873
30 | 2661100.4787 | 1193628.422
31 | 2661105.1495 | 1193624.0533
32 | 2661107.0756 | 1193622.2519
33 | 2661119.3321 | 1193613.2343
34 | 2661171.9631 | 1193704.2607
35 | 2661116.8183 | 1193522.1004
36 | 2661077.4617 | 1193532.0966
37 | 2661144.8281 | 1193548.1793
38 | 2661150.9787 | 1193664.316
39 | 2661150.8786 | 1193662.3463
40 | 2661148.822 | 1193650.9876
41 | 2661128.5414 | 1193627.2411
42 | 2661047.1771 | 1193563.8622
43 | 2661050.5718 | 1193560.1718
44 | 2661111.7012 | 1193741.7617
45 | 2661099.7602 | 1193713.7413
46 | 2661112.9885 | 1193744.7825
47 | 2661129.0358 | 1193602.7479
48 | 2661146.0888 | 1193587.4494
49 | 2661083.367 | 1193630.7968
50 | 2661072.0705 | 1193610.2947
51 | 2661064.0297 | 1193652.1146

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99054 | -0.18145 | 0.0028232 | 0.00070755
1 | 0.99082 | -0.17585 | 0 | 0
2 | 0.99051 | -0.18187 | 0.0075618 | 0.0018952
3 | 0.99042 | -0.18371 | 0 | 0
4 | 0.99094 | -0.17363 | 0.0093154 | 0.0023347
5 | 0.98967 | -0.19826 | 0.0039911 | 0.0010003
6 | 0.9926 | -0.14156 | 0.0075039 | 0.0018807
7 | 0.98966 | -0.19842 | 0.0040749 | 0.0010213
8 | 0.98944 | -0.2027 | 0.0031266 | 0.00078359
9 | 0.98925 | -0.20633 | 0.0028394 | 0.00071163
10 | 0.98909 | -0.20949 | 0.0049375 | 0.0012374
11 | 0.98913 | -0.2087 | 0.0026014 | 0.00065196
12 | 0.99914 | -0.016498 | 0.0054985 | 0.0013781
13 | 1 | 0 | -0.23498 | -0.059267
14 | 0.99908 | -0.017613 | 0.0068117 | 0.0017072
15 | 0.99992 | -0.0014519 | 0.0026727 | 0.00066983
16 | 0.9985 | -0.028753 | 0 | 0
17 | 0.99982 | -0.0034202 | 0.0026708 | 0.00066936
18 | 0.99844 | -0.03002 | 0.0041048 | 0.0010288
19 | 0.99828 | -0.033044 | 0.0075382 | 0.0018893
20 | 0.99293 | -0.13507 | 0 | 0
21 | 0.99462 | -0.10277 | 0.0097934 | 0.0024545
22 | 0.98888 | -0.21322 | 0 | 0
23 | 0.99544 | -0.086941 | 0.00673 | 0.0016867
24 | 0.98853 | -0.21997 | 0.0067557 | 0.0016931
25 | 0.98814 | -0.22752 | 0.0070308 | 0.0017621
26 | 0.99585 | -0.079085 | 0.0032252 | 0.00080831
27 | 0.99673 | -0.062309 | 0.0024244 | 0.00060762
28 | 0.99674 | -0.062155 | 0.0024226 | 0.00060716
29 | 0.99675 | -0.062003 | 0.0024238 | 0.00060746
30 | 0.98291 | -0.32928 | 0.0050319 | 0.0012611
31 | 0.98294 | -0.3287 | 0.001802 | 0.00045162
32 | 0.98295 | -0.32837 | 0.0092283 | 0.0023128
33 | 0.98318 | -0.32395 | 0 | 0
34 | 0.98849 | -0.22068 | 0.016167 | 0.004052
35 | 0.98109 | -0.36469 | 0 | 0
36 | 0.98053 | -0.37583 | 0.0064983 | 0.0016286
37 | 0.98161 | -0.35461 | 0.003769 | 0.0009446
38 | 0.98606 | -0.26791 | 0.0045516 | 0.0011407
39 | 0.98593 | -0.27025 | 0.0043377 | 0.0010871
40 | 0.98526 | -0.28338 | 0.012896 | 0.0032321
41 | 0.98385 | -0.31084 | 0.0070555 | 0.0017683
42 | 0.98022 | -0.38182 | 0.003325 | 0.00083333
43 | 0.98024 | -0.38151 | 0.004725 | 0.0011842
44 | 0.99702 | -0.056703 | 0.013969 | 0.0035009
45 | 0.99972 | -0.0053678 | 0.0026713 | 0.00066949
46 | 0.99675 | -0.061851 | 0.0024258 | 0.00060797
47 | 0.98283 | -0.33068 | 0.0051315 | 0.0012861
48 | 0.9824 | -0.33919 | 0.0022468 | 0.0005631
49 | 0.99821 | -0.034438 | 0.0018919 | 0.00047416
50 | 0.99811 | -0.036356 | 0.0046789 | 0.0011727
51 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.010385 | -0.0026028 | 0.010388 | 0.0026041 | 2.7697e-06 | 1.3818e-06 | 0.015601 | 0.015601 | 0.015601 | 0.99054 | -0.18145 | 0.99082 | -0.17585 | 4.2859
1 | 0.0075619 | 0.0018952 | -0.0075618 | -0.0018952 | 1.5186e-07 | 5.6797e-08 | 0.01136 | 0.01136 | 0.01136 | 0.99054 | -0.18145 | 0.99051 | -0.18187 | 3.1208
2 | 0.0216 | 0.005423 | -0.021592 | -0.0054181 | 8.0987e-06 | 4.919e-06 | 0.032442 | 0.032442 | 0.032442 | 0.99082 | -0.17585 | 0.99042 | -0.18371 | 8.9126
3 | -0.031987 | -0.0080272 | 0.031991 | 0.0080293 | 3.3854e-06 | 2.1163e-06 | 0.048042 | 0.048042 | 0.048042 | 0.99082 | -0.17585 | 0.99094 | -0.17363 | 13.1984
4 | 0.021592 | 0.0054181 | -0.021577 | -0.005409 | 1.497e-05 | 9.0929e-06 | 0.032442 | 0.032442 | 0.032442 | 0.99042 | -0.18371 | 0.98967 | -0.19826 | 8.9126
5 | -0.041306 | -0.010364 | 0.041369 | 0.010404 | 6.3272e-05 | 3.9928e-05 | 0.06203 | 0.06203 | 0.06203 | 0.99094 | -0.17363 | 0.9926 | -0.14156 | 17.0413
6 | 0.017585 | 0.0044087 | -0.017585 | -0.0044086 | 1.3405e-07 | 7.9225e-08 | 0.026441 | 0.026441 | 0.026441 | 0.98967 | -0.19826 | 0.98966 | -0.19842 | 7.264
7 | -0.048873 | -0.012285 | 0.048889 | 0.012294 | 1.5149e-05 | 9.5984e-06 | 0.07328 | 0.073279 | 0.07328 | 0.9926 | -0.14156 | 0.99293 | -0.13507 | 20.1317
8 | 0.01351 | 0.0033874 | -0.013508 | -0.0033858 | 2.7541e-06 | 1.534e-06 | 0.020314 | 0.020314 | 0.020314 | 0.98966 | -0.19842 | 0.98944 | -0.2027 | 5.5809
9 | 0.010381 | 0.0026023 | -0.010379 | -0.0026014 | 1.7952e-06 | 8.9674e-07 | 0.015612 | 0.015612 | 0.015612 | 0.98944 | -0.2027 | 0.98925 | -0.20633 | 4.2891
10 | 0.0075399 | 0.0018897 | -0.007539 | -0.0018894 | 8.5111e-07 | 3.182e-07 | 0.011341 | 0.011341 | 0.011341 | 0.98925 | -0.20633 | 0.98913 | -0.2087 | 3.1158
11 | -0.0049375 | -0.0012374 | 0.0049377 | 0.0012375 | 1.8625e-07 | 3.6642e-09 | 0.0074281 | 0.007428 | 0.0074281 | 0.98909 | -0.20949 | 0.98913 | -0.2087 | 2.0407
12 | -0.030539 | -0.0076582 | 0.030563 | 0.0076732 | 2.4032e-05 | 1.4975e-05 | 0.045483 | 0.045483 | 0.045483 | 0.99914 | -0.016498 | 1 | 0 | 12.4954
13 | 0.025041 | 0.0062802 | -0.025039 | -0.0062794 | 1.3311e-06 | 8.1847e-07 | 0.037294 | 0.037294 | 0.037294 | 0.99914 | -0.016498 | 0.99908 | -0.017613 | 10.2457
14 | 0.20277 | 0.051593 | -0.20276 | -0.051584 | 1.4189e-05 | 9.0589e-06 | 0.302 | 0.302 | 0.302 | 1 | 0 | 0.99992 | -0.0014519 | 41.4835
15 | 0.018228 | 0.0045722 | -0.018218 | -0.0045665 | 9.6748e-06 | 5.7338e-06 | 0.027149 | 0.027149 | 0.027149 | 0.99908 | -0.017613 | 0.9985 | -0.028753 | 7.4586
16 | 0.20008 | 0.050914 | -0.20007 | -0.050902 | 1.8981e-05 | 1.2118e-05 | 0.29802 | 0.29802 | 0.29802 | 0.99992 | -0.0014519 | 0.99982 | -0.0034202 | 40.9372
17 | 0.004105 | 0.0010287 | -0.0041048 | -0.0010288 | 2.4781e-07 | -7.2352e-08 | 0.0061175 | 0.0061176 | 0.0061176 | 0.9985 | -0.028753 | 0.99844 | -0.03002 | 1.6806
18 | 0.014113 | 0.0035378 | -0.01411 | -0.0035361 | 2.8846e-06 | 1.6188e-06 | 0.021032 | 0.021032 | 0.021032 | 0.9985 | -0.028753 | 0.99828 | -0.033044 | 5.778
19 | 0.19739 | 0.050233 | -0.19738 | -0.050221 | 1.853e-05 | 1.1829e-05 | 0.29405 | 0.29405 | 0.29405 | 0.99982 | -0.0034202 | 0.99972 | -0.0053678 | 40.3912
20 | 0.0065717 | 0.0016469 | -0.0065713 | -0.0016468 | 4.3625e-07 | 1.207e-07 | 0.0097956 | 0.0097956 | 0.0097956 | 0.99828 | -0.033044 | 0.99821 | -0.034438 | 2.6911
21 | -0.15021 | -0.037979 | 0.15044 | 0.038128 | 0.0002331 | 0.00014855 | 0.22522 | 0.22522 | 0.22522 | 0.99293 | -0.13507 | 0.99462 | -0.10277 | 30.9365
22 | 0.10132 | 0.025685 | -0.10094 | -0.025443 | 0.00037901 | 0.000242 | 0.15194 | 0.15194 | 0.15194 | 0.99293 | -0.13507 | 0.98888 | -0.21322 | 41.7414
23 | -0.16023 | -0.040582 | 0.16035 | 0.04066 | 0.00012188 | 7.771e-05 | 0.23987 | 0.23987 | 0.23987 | 0.99462 | -0.10277 | 0.99544 | -0.086941 | 32.9491
24 | 0.022931 | 0.0057499 | -0.022924 | -0.0057454 | 7.3702e-06 | 4.5052e-06 | 0.034507 | 0.034507 | 0.034507 | 0.98888 | -0.21322 | 0.98853 | -0.21997 | 9.4798
25 | 0.078007 | 0.019693 | -0.077954 | -0.019659 | 5.3376e-05 | 3.4028e-05 | 0.11743 | 0.11743 | 0.11743 | 0.98888 | -0.21322 | 0.98814 | -0.22752 | 32.2616
26 | -0.16708 | -0.042347 | 0.16715 | 0.042387 | 6.3101e-05 | 4.0244e-05 | 0.24993 | 0.24993 | 0.24993 | 0.99544 | -0.086941 | 0.99585 | -0.079085 | 34.331
27 | 0.016168 | 0.0040523 | -0.016167 | -0.004052 | 5.4931e-07 | 3.1985e-07 | 0.024337 | 0.024338 | 0.024338 | 0.98853 | -0.21997 | 0.98849 | -0.22068 | 6.6861
28 | 0.070923 | 0.017897 | -0.070786 | -0.01781 | 0.00013692 | 8.7221e-05 | 0.10684 | 0.10684 | 0.10684 | 0.98814 | -0.22752 | 0.98606 | -0.26791 | 29.353
29 | -0.17037 | -0.043195 | 0.17051 | 0.043283 | 0.0001375 | 8.7705e-05 | 0.25475 | 0.25475 | 0.25475 | 0.99585 | -0.079085 | 0.99673 | -0.062309 | 34.9929
30 | -0.17293 | -0.04389 | 0.17294 | 0.043891 | 1.2766e-06 | 8.1439e-07 | 0.25837 | 0.25837 | 0.25837 | 0.99673 | -0.062309 | 0.99674 | -0.062155 | 35.4901
31 | -0.17536 | -0.044498 | 0.17536 | 0.044499 | 1.2822e-06 | 8.1802e-07 | 0.26198 | 0.26198 | 0.26198 | 0.99674 | -0.062155 | 0.99675 | -0.062003 | 35.9869
32 | -0.17778 | -0.045107 | 0.17778 | 0.045108 | 1.302e-06 | 8.3073e-07 | 0.2656 | 0.2656 | 0.2656 | 0.99675 | -0.062003 | 0.99675 | -0.061851 | 36.4839
33 | -0.0050319 | -0.0012611 | 0.005032 | 0.0012611 | 1.3917e-07 | 8.0082e-09 | 0.0076177 | 0.0076177 | 0.0076177 | 0.98291 | -0.32928 | 0.98294 | -0.3287 | 2.0928
34 | -0.006834 | -0.0017127 | 0.0068341 | 0.0017128 | 1.0585e-07 | 3.4315e-08 | 0.010346 | 0.010346 | 0.010346 | 0.98294 | -0.3287 | 0.98295 | -0.32837 | 2.8422
35 | -0.016062 | -0.0040256 | 0.016066 | 0.0040276 | 3.3858e-06 | 1.9733e-06 | 0.024316 | 0.024316 | 0.024316 | 0.98295 | -0.32837 | 0.98318 | -0.32395 | 6.6801
36 | 0.025743 | 0.0064674 | -0.025734 | -0.0064623 | 8.2735e-06 | 5.1108e-06 | 0.038967 | 0.038967 | 0.038967 | 0.98318 | -0.32395 | 0.98283 | -0.33068 | 10.7051
37 | -0.041808 | -0.010495 | 0.041835 | 0.010512 | 2.6148e-05 | 1.6514e-05 | 0.063282 | 0.063282 | 0.063282 | 0.98318 | -0.32395 | 0.98385 | -0.31084 | 17.3852
38 | 0.014558 | 0.0036514 | -0.014551 | -0.003647 | 7.7264e-06 | 4.4116e-06 | 0.022081 | 0.022082 | 0.022082 | 0.98109 | -0.36469 | 0.98053 | -0.37583 | 6.0664
39 | -0.014558 | -0.0036514 | 0.014565 | 0.0036554 | 6.9976e-06 | 3.9949e-06 | 0.022081 | 0.022081 | 0.022081 | 0.98109 | -0.36469 | 0.98161 | -0.35461 | 6.0663
40 | 0.0080523 | 0.0020184 | -0.0080501 | -0.0020175 | 2.1798e-06 | 9.0422e-07 | 0.01222 | 0.01222 | 0.01222 | 0.98053 | -0.37583 | 0.98024 | -0.38151 | 3.3572
41 | -0.018334 | -0.0046 | 0.018348 | 0.0046081 | 1.3491e-05 | 8.045e-06 | 0.027795 | 0.027794 | 0.027795 | 0.98161 | -0.35461 | 0.9824 | -0.33919 | 7.6359
42 | 0.066234 | 0.016669 | -0.066227 | -0.016664 | 7.3924e-06 | 4.706e-06 | 0.099976 | 0.099976 | 0.099976 | 0.98606 | -0.26791 | 0.98593 | -0.27025 | 27.466
43 | 0.061889 | 0.015577 | -0.06185 | -0.015553 | 3.8824e-05 | 2.4696e-05 | 0.09343 | 0.09343 | 0.09343 | 0.98593 | -0.27025 | 0.98526 | -0.28338 | 25.6675
44 | 0.048954 | 0.01232 | -0.04889 | -0.01228 | 6.4154e-05 | 4.0661e-05 | 0.073953 | 0.073953 | 0.073953 | 0.98526 | -0.28338 | 0.98385 | -0.31084 | 20.3168
45 | -0.003325 | -0.00083333 | 0.0033251 | 0.0008333 | 4.7907e-08 | -3.2548e-08 | 0.0050475 | 0.0050475 | 0.0050475 | 0.98022 | -0.38182 | 0.98024 | -0.38151 | 1.3867
46 | -0.19422 | -0.049245 | 0.1947 | 0.049552 | 0.00048053 | 0.00030674 | 0.29007 | 0.29007 | 0.29007 | 0.99702 | -0.056703 | 0.99972 | -0.0053678 | 39.8451
47 | 0.18026 | 0.045744 | -0.18021 | -0.045715 | 4.4626e-05 | 2.8475e-05 | 0.26922 | 0.26922 | 0.26922 | 0.99702 | -0.056703 | 0.99675 | -0.061851 | 36.9814
48 | 0.020603 | 0.0051762 | -0.020595 | -0.0051712 | 8.3616e-06 | 5.0612e-06 | 0.031197 | 0.031198 | 0.031198 | 0.98283 | -0.33068 | 0.9824 | -0.33919 | 8.5708
49 | 0.0046794 | 0.0011726 | -0.0046789 | -0.0011727 | 4.2768e-07 | -3.2659e-08 | 0.0069754 | 0.0069755 | 0.0069755 | 0.99821 | -0.034438 | 0.99811 | -0.036356 | 1.9164

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.24603 | 0.062034

## res_load
| p_mw | q_mvar
0 | 0.0028232 | 0.00070755
1 | 0.0075618 | 0.0018952
2 | 0.0093154 | 0.0023347
3 | 0.0039911 | 0.0010003
4 | 0.0075039 | 0.0018807
5 | 0.0040749 | 0.0010213
6 | 0.0031266 | 0.00078359
7 | 0.0028394 | 0.00071163
8 | 0.0049375 | 0.0012374
9 | 0.0026014 | 0.00065196
10 | 0.0054985 | 0.0013781
11 | 0.011041 | 0.0027672
12 | 0.0068117 | 0.0017072
13 | 0.0026727 | 0.00066983
14 | 0.0026708 | 0.00066936
15 | 0.0041048 | 0.0010288
16 | 0.0075382 | 0.0018893
17 | 0.0097934 | 0.0024545
18 | 0.00673 | 0.0016867
19 | 0.0067557 | 0.0016931
20 | 0.0070308 | 0.0017621
21 | 0.0032252 | 0.00080831
22 | 0.0024244 | 0.00060762
23 | 0.0024226 | 0.00060716
24 | 0.0024238 | 0.00060746
25 | 0.0050319 | 0.0012611
26 | 0.001802 | 0.00045162
27 | 0.0092283 | 0.0023128
28 | 0.016167 | 0.004052
29 | 0.0064983 | 0.0016286
30 | 0.003769 | 0.0009446
31 | 0.0045516 | 0.0011407
32 | 0.0043377 | 0.0010871
33 | 0.012896 | 0.0032321
34 | 0.0070555 | 0.0017683
35 | 0.003325 | 0.00083333
36 | 0.004725 | 0.0011842
37 | 0.013969 | 0.0035009
38 | 0.0026713 | 0.00066949
39 | 0.0024258 | 0.00060797
40 | 0.0051315 | 0.0012861
41 | 0.0022468 | 0.0005631
42 | 0.0018919 | 0.00047416
43 | 0.0046789 | 0.0011727

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1