## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1407-30_1_3_node_10 | 0.4 | n |  | TRUE
1 | bus_LV_1407-30_1_3_node_12 | 0.4 | n |  | TRUE
2 | bus_LV_1407-30_1_3_node_13 | 0.4 | n |  | TRUE
3 | bus_LV_1407-30_1_3_node_41 | 0.4 | n |  | TRUE
4 | bus_LV_1407-30_1_3_node_63 | 0.4 | n |  | TRUE
5 | bus_LV_1407-30_1_3_node_42 | 0.4 | n |  | TRUE
6 | bus_LV_1407-30_1_3_node_39 | 0.4 | n |  | TRUE
7 | bus_LV_1407-30_1_3_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_1407-30_1_3_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_1407-30_1_3_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_1407-30_1_3_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_1407-30_1_3_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_1407-30_1_3_node_44 | 0.4 | n |  | TRUE
13 | bus_LV_1407-30_1_3_node_35 | 0.4 | n |  | TRUE
14 | bus_LV_1407-30_1_3_node_45 | 0.4 | n |  | TRUE
15 | bus_LV_1407-30_1_3_node_61 | 0.4 | n |  | TRUE
16 | bus_LV_1407-30_1_3_node_71 | 0.4 | n |  | TRUE
17 | bus_LV_1407-30_1_3_node_59 | 0.4 | n |  | TRUE
18 | bus_LV_1407-30_1_3_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_1407-30_1_3_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_1407-30_1_3_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_1407-30_1_3_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_1407-30_1_3_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_1407-30_1_3_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_1407-30_1_3_node_51 | 0.4 | n |  | TRUE
25 | bus_LV_1407-30_1_3_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_1407-30_1_3_node_48 | 0.4 | n |  | TRUE
27 | bus_LV_1407-30_1_3_node_87 | 0.4 | n |  | TRUE
28 | bus_LV_1407-30_1_3_node_94 | 0.4 | n |  | TRUE
29 | bus_LV_1407-30_1_3_node_93 | 0.4 | n |  | TRUE
30 | bus_LV_1407-30_1_3_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_1407-30_1_3_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_1407-30_1_3_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_1407-30_1_3_node_88 | 0.4 | n |  | TRUE
34 | bus_LV_1407-30_1_3_node_89 | 0.4 | n |  | TRUE
35 | bus_LV_1407-30_1_3_node_58 | 0.4 | n |  | TRUE
36 | bus_LV_1407-30_1_3_node_60 | 0.4 | n |  | TRUE
37 | bus_LV_1407-30_1_3_node_62 | 0.4 | n |  | TRUE
38 | bus_LV_1407-30_1_3_node_95 | 0.4 | n |  | TRUE
39 | bus_LV_1407-30_1_3_node_96 | 0.4 | n |  | TRUE
40 | bus_LV_1407-30_1_3_node_72 | 0.4 | n |  | TRUE
41 | bus_LV_1407-30_1_3_node_73 | 0.4 | n |  | TRUE
42 | bus_LV_1407-30_1_3_node_74 | 0.4 | n |  | TRUE
43 | bus_LV_1407-30_1_3_node_75 | 0.4 | n |  | TRUE
44 | bus_LV_1407-30_1_3_node_108 | 0.4 | n |  | TRUE
45 | bus_LV_1407-30_1_3_node_105 | 0.4 | n |  | TRUE
46 | bus_LV_1407-30_1_3_node_90 | 0.4 | n |  | TRUE
47 | bus_LV_1407-30_1_3_node_91 | 0.4 | n |  | TRUE
48 | bus_LV_1407-30_1_3_node_92 | 0.4 | n |  | TRUE
49 | bus_LV_1407-30_1_3_node_103 | 0.4 | n |  | TRUE
50 | bus_LV_1407-30_1_3_node_100 | 0.4 | n |  | TRUE
51 | bus_LV_1407-30_1_3_node_97 | 0.4 | n |  | TRUE
52 | bus_LV_1407-30_1_3_node_98 | 0.4 | n |  | TRUE
53 | bus_LV_1407-30_1_3_node_99 | 0.4 | n |  | TRUE
54 | bus_LV_1407-30_1_3_node_101 | 0.4 | n |  | TRUE
55 | bus_LV_1407-30_1_3_node_102 | 0.4 | n |  | TRUE
56 | bus_LV_1407-30_1_3_node_104 | 0.4 | n |  | TRUE
57 | bus_LV_1407-30_1_3_node_106 | 0.4 | n |  | TRUE
58 | bus_MV_141_0_node_63 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1407-30_1_3_load_12 | 1 | 0.0031688 | 0.00079417 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1407-30_1_3_load_13 | 2 | 0.0060854 | 0.0015251 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1407-30_1_3_load_41 | 3 | 0.0033184 | 0.00083168 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1407-30_1_3_load_63 | 4 | 0.0048146 | 0.0012067 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1407-30_1_3_load_42 | 5 | 0.0024265 | 0.00060813 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1407-30_1_3_load_23 | 7 | 0.0031196 | 0.00078183 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1407-30_1_3_load_24 | 8 | 0.0031165 | 0.00078108 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1407-30_1_3_load_25 | 9 | 0.0031752 | 0.00079579 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1407-30_1_3_load_27 | 11 | 0.0032867 | 0.00082372 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1407-30_1_3_load_44 | 12 | 0.0045385 | 0.0011374 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1407-30_1_3_load_71 | 16 | 0.0048228 | 0.0012087 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1407-30_1_3_load_59 | 17 | 0.0025685 | 0.00064372 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1407-30_1_3_load_36 | 18 | 0.002462 | 0.00061703 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1407-30_1_3_load_37 | 19 | 0.0030564 | 0.00076602 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1407-30_1_3_load_40 | 21 | 0.010795 | 0.0027054 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1407-30_1_3_load_43 | 22 | 0.0047796 | 0.0011979 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1407-30_1_3_load_53 | 23 | 0.0057837 | 0.0014495 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1407-30_1_3_load_51 | 24 | 0.0027089 | 0.0006789 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1407-30_1_3_load_47 | 25 | 0.0038241 | 0.00095841 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1407-30_1_3_load_48 | 26 | 0.0050582 | 0.0012677 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1407-30_1_3_load_87 | 27 | 0.020631 | 0.0051707 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1407-30_1_3_load_94 | 28 | 0.0056246 | 0.0014097 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1407-30_1_3_load_93 | 29 | 0.01038 | 0.0026016 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1407-30_1_3_load_49 | 30 | 0.0084634 | 0.0021211 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1407-30_1_3_load_50 | 31 | 0.0090196 | 0.0022605 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1407-30_1_3_load_52 | 32 | 0.016143 | 0.0040458 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1407-30_1_3_load_88 | 33 | 0.01464 | 0.0036692 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1407-30_1_3_load_89 | 34 | 0.0046506 | 0.0011656 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1407-30_1_3_load_58 | 35 | 0.0072945 | 0.0018282 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1407-30_1_3_load_60 | 36 | 0.0057679 | 0.0014456 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1407-30_1_3_load_62 | 37 | 0.0053036 | 0.0013292 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1407-30_1_3_load_95 | 38 | 0.0039966 | 0.0010017 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1407-30_1_3_load_96 | 39 | 0.0025652 | 0.0006429 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1407-30_1_3_load_72 | 40 | 0.010053 | 0.0025194 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1407-30_1_3_load_74 | 42 | 0.016574 | 0.0041539 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1407-30_1_3_load_108 | 44 | 0.0025449 | 0.00063781 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1407-30_1_3_load_90 | 46 | 0.0067429 | 0.0016899 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1407-30_1_3_load_91 | 47 | 0.0063377 | 0.0015884 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1407-30_1_3_load_92 | 48 | 0.0033569 | 0.00084131 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1407-30_1_3_load_103 | 49 | 0.003258 | 0.00081654 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1407-30_1_3_load_100 | 50 | 0.0041894 | 0.00105 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1407-30_1_3_load_97 | 51 | 0.0042543 | 0.0010662 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1407-30_1_3_load_98 | 52 | 0.0020207 | 0.00050643 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1407-30_1_3_load_104 | 56 | 0.0053123 | 0.0013314 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1407-30_1_3_load_106 | 57 | 0.00275 | 0.00068923 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1407-30_1_3_line_0 |  | 0 | 1 | 0.027208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1407-30_1_3_line_1 |  | 0 | 2 | 0.017519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1407-30_1_3_line_2 |  | 1 | 3 | 0.0074673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1407-30_1_3_line_3 |  | 2 | 4 | 0.043091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1407-30_1_3_line_4 |  | 3 | 5 | 0.021458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1407-30_1_3_line_5 |  | 4 | 6 | 0.016747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1407-30_1_3_line_6 |  | 5 | 22 | 0.0061223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1407-30_1_3_line_7 |  | 6 | 20 | 0.028692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1407-30_1_3_line_8 |  | 7 | 8 | 0.0068066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1407-30_1_3_line_9 |  | 7 | 9 | 0.010553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1407-30_1_3_line_10 |  | 8 | 10 | 0.0075111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1407-30_1_3_line_11 |  | 9 | 11 | 0.0010146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1407-30_1_3_line_12 |  | 10 | 12 | 0.023587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1407-30_1_3_line_13 |  | 11 | 13 | 0.017569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1407-30_1_3_line_14 |  | 12 | 14 | 0.017284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1407-30_1_3_line_15 |  | 13 | 15 | 0.029217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1407-30_1_3_line_16 |  | 14 | 25 | 0.015269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1407-30_1_3_line_17 |  | 14 | 26 | 0.003917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1407-30_1_3_line_18 |  | 15 | 16 | 0.021006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1407-30_1_3_line_19 |  | 15 | 17 | 0.016633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1407-30_1_3_line_20 |  | 17 | 35 | 0.01048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1407-30_1_3_line_21 |  | 18 | 19 | 0.0049103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1407-30_1_3_line_22 |  | 18 | 20 | 0.016459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1407-30_1_3_line_23 |  | 20 | 21 | 0.0018658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1407-30_1_3_line_24 |  | 22 | 23 | 0.0065629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1407-30_1_3_line_25 |  | 23 | 24 | 0.019771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1407-30_1_3_line_26 |  | 24 | 30 | 0.016086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1407-30_1_3_line_27 |  | 25 | 27 | 0.038457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1407-30_1_3_line_28 |  | 26 | 28 | 0.019304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1407-30_1_3_line_29 |  | 28 | 29 | 0.0019529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1407-30_1_3_line_30 |  | 30 | 31 | 0.0061292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1407-30_1_3_line_31 |  | 31 | 32 | 0.023153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1407-30_1_3_line_32 |  | 32 | 33 | 0.0053348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1407-30_1_3_line_33 |  | 33 | 34 | 0.021321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_1407-30_1_3_line_34 |  | 34 | 46 | 0.0073893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_1407-30_1_3_line_35 |  | 35 | 36 | 0.022303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1407-30_1_3_line_36 |  | 36 | 37 | 0.0024423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1407-30_1_3_line_37 |  | 37 | 38 | 0.018123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1407-30_1_3_line_38 |  | 38 | 39 | 0.00047694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1407-30_1_3_line_39 |  | 39 | 50 | 0.03848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1407-30_1_3_line_40 |  | 40 | 41 | 0.044953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1407-30_1_3_line_41 |  | 40 | 42 | 0.011843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1407-30_1_3_line_42 |  | 41 | 43 | 0.050942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1407-30_1_3_line_43 |  | 43 | 44 | 0.0413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1407-30_1_3_line_44 |  | 44 | 45 | 0.018701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1407-30_1_3_line_45 |  | 45 | 54 | 0.02884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1407-30_1_3_line_46 |  | 46 | 47 | 0.0021247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_1407-30_1_3_line_47 |  | 47 | 48 | 0.024471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_1407-30_1_3_line_48 |  | 48 | 49 | 0.0018094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_1407-30_1_3_line_49 |  | 49 | 50 | 0.022301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_1407-30_1_3_line_50 |  | 50 | 52 | 0.013414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1407-30_1_3_line_51 |  | 51 | 52 | 0.016497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1407-30_1_3_line_52 |  | 51 | 53 | 0.012976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1407-30_1_3_line_53 |  | 53 | 54 | 0.006847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1407-30_1_3_line_54 |  | 53 | 55 | 0.032414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1407-30_1_3_line_55 |  | 54 | 56 | 0.018399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1407-30_1_3_line_56 |  | 55 | 57 | 0.0012194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1407-30_1_3_trafo_88 | 0.63 MVA 20/0.4 kV | 58 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2661068.1912 | 1193833.5065 | 2661065.2332 | 1193822.4032 | 2661057.4581 | 1193808.7436
1 | 2661068.1912 | 1193833.5065 | 2661051.0953 | 1193837.3336
2 | 2661053.7642 | 1193802.2539 | 2661057.4581 | 1193808.7436
3 | 2661009.334 | 1193847.9165 | 2661035.9406 | 1193840.7261 | 2661051.0953 | 1193837.3336
4 | 2661053.7642 | 1193802.2539 | 2661052.7449 | 1193800.4631 | 2661041.6419 | 1193784.5574
5 | 2660993.1667 | 1193852.2856 | 2661009.334 | 1193847.9165
6 | 2661041.6419 | 1193784.5574 | 2661038.1376 | 1193779.5373
7 | 2660990.127 | 1193823.7604 | 2660993.1667 | 1193852.2856
8 | 2661036.9487 | 1193615.7844 | 2661038.9181 | 1193622.2999
9 | 2661031.018 | 1193607.8287 | 2661035.4217 | 1193610.7322 | 2661036.9487 | 1193615.7844
10 | 2661041.0912 | 1193629.4898 | 2661038.9181 | 1193622.2999
11 | 2661031.018 | 1193607.8287 | 2661030.1709 | 1193607.2702
12 | 2661041.0912 | 1193629.4898 | 2661034.9865 | 1193630.9728 | 2661023.6543 | 1193644.0504
13 | 2661015.5034 | 1193597.5993 | 2661030.1709 | 1193607.2702
14 | 2661012.3355 | 1193657.1125 | 2661023.6543 | 1193644.0504
15 | 2660991.1505 | 1193581.3528 | 2661015.5034 | 1193597.5993
16 | 2661012.3355 | 1193657.1125 | 2661022.1178 | 1193668.8366
17 | 2661012.3355 | 1193657.1125 | 2661009.7703 | 1193660.0726
18 | 2660991.1505 | 1193581.3528 | 2661005.1393 | 1193565.6824
19 | 2660991.1505 | 1193581.3528 | 2660981.1961 | 1193594.6787
20 | 2660974.9242 | 1193603.0748 | 2660981.1961 | 1193594.6787
21 | 2661011.2625 | 1193820.6073 | 2661006.4059 | 1193821.3318
22 | 2660990.127 | 1193823.7604 | 2661006.4059 | 1193821.3318
23 | 2660990.127 | 1193823.7604 | 2660988.2816 | 1193824.0355
24 | 2661038.1376 | 1193779.5373 | 2661034.3811 | 1193774.1558
25 | 2661034.3811 | 1193774.1558 | 2661030.9765 | 1193769.2786 | 2661022.5627 | 1193758.3116
26 | 2661011.5253 | 1193746.6707 | 2661019.2508 | 1193753.9946 | 2661022.5627 | 1193758.3116
27 | 2661043.8514 | 1193700.3255 | 2661035.6692 | 1193685.0777 | 2661022.1178 | 1193668.8366
28 | 2660997.1284 | 1193674.6606 | 2661009.7703 | 1193660.0726
29 | 2660995.8495 | 1193676.1364 | 2660997.1284 | 1193674.6606
30 | 2661011.5253 | 1193746.6707 | 2661007.0773 | 1193742.4538
31 | 2661007.0773 | 1193742.4538 | 2660990.2751 | 1193726.5247
32 | 2660986.4036 | 1193722.8544 | 2660990.2751 | 1193726.5247
33 | 2660986.4036 | 1193722.8544 | 2660986.0227 | 1193722.4933 | 2660970.6919 | 1193708.4421
34 | 2660965.2445 | 1193703.4493 | 2660970.6919 | 1193708.4421
35 | 2660974.9242 | 1193603.0748 | 2660961.5771 | 1193620.9427
36 | 2660960.1155 | 1193622.8993 | 2660961.5771 | 1193620.9427
37 | 2660960.1155 | 1193622.8993 | 2660949.2698 | 1193637.4183
38 | 2660948.9844 | 1193637.8004 | 2660949.2698 | 1193637.4183
39 | 2660927.426 | 1193669.6743 | 2660948.9844 | 1193637.8004
40 | 2660915.3319 | 1193781.1074 | 2660929.3831 | 1193777.6039 | 2660939.3785 | 1193777.2277 | 2660949.9822 | 1193779.2368 | 2660959.518 | 1193777.5885
41 | 2660968.0061 | 1193785.2683 | 2660962.8369 | 1193778.7341 | 2660959.518 | 1193777.5885
42 | 2660915.3319 | 1193781.1074 | 2660908.4858 | 1193767.0962 | 2660897.7096 | 1193751.333 | 2660894.5615 | 1193746.8873 | 2660888.2181 | 1193738.14
43 | 2660888.2181 | 1193738.14 | 2660892.1978 | 1193734.2671 | 2660894.1348 | 1193730.4068 | 2660890.989 | 1193701.7804 | 2660890.7516 | 1193699.1618
44 | 2660889.0636 | 1193680.5375 | 2660890.7516 | 1193699.1618
45 | 2660889.0636 | 1193680.5375 | 2660892.5255 | 1193651.9117
46 | 2660965.2445 | 1193703.4493 | 2660963.6782 | 1193702.0136
47 | 2660945.4502 | 1193685.6873 | 2660958.9755 | 1193697.7034 | 2660963.6782 | 1193702.0136
48 | 2660945.4502 | 1193685.6873 | 2660944.0975 | 1193684.4856
49 | 2660927.426 | 1193669.6743 | 2660944.0975 | 1193684.4856
50 | 2660917.3981 | 1193660.7653 | 2660927.426 | 1193669.6743
51 | 2660905.0649 | 1193649.8082 | 2660917.3981 | 1193660.7653
52 | 2660893.3492 | 1193645.1161 | 2660901.9722 | 1193647.0606 | 2660905.0649 | 1193649.8082
53 | 2660893.3492 | 1193645.1161 | 2660892.5255 | 1193651.9117
54 | 2660896.6269 | 1193612.8753 | 2660893.3492 | 1193645.1161
55 | 2660892.5255 | 1193651.9117 | 2660887.1615 | 1193651.0122 | 2660875.0097 | 1193646.5077
56 | 2660896.6269 | 1193612.8753 | 2660896.7595 | 1193611.6631

## bus_geodata
| x | y | coords
0 | 2661068.1912 | 1193833.5065
1 | 2661057.4581 | 1193808.7436
2 | 2661051.0953 | 1193837.3336
3 | 2661053.7642 | 1193802.2539
4 | 2661009.334 | 1193847.9165
5 | 2661041.6419 | 1193784.5574
6 | 2660993.1667 | 1193852.2856
7 | 2661036.9487 | 1193615.7844
8 | 2661038.9181 | 1193622.2999
9 | 2661031.018 | 1193607.8287
10 | 2661041.0912 | 1193629.4898
11 | 2661030.1709 | 1193607.2702
12 | 2661023.6543 | 1193644.0504
13 | 2661015.5034 | 1193597.5993
14 | 2661012.3355 | 1193657.1125
15 | 2660991.1505 | 1193581.3528
16 | 2661005.1393 | 1193565.6824
17 | 2660981.1961 | 1193594.6787
18 | 2661006.4059 | 1193821.3318
19 | 2661011.2625 | 1193820.6073
20 | 2660990.127 | 1193823.7604
21 | 2660988.2816 | 1193824.0355
22 | 2661038.1376 | 1193779.5373
23 | 2661034.3811 | 1193774.1558
24 | 2661022.5627 | 1193758.3116
25 | 2661022.1178 | 1193668.8366
26 | 2661009.7703 | 1193660.0726
27 | 2661043.8514 | 1193700.3255
28 | 2660997.1284 | 1193674.6606
29 | 2660995.8495 | 1193676.1364
30 | 2661011.5253 | 1193746.6707
31 | 2661007.0773 | 1193742.4538
32 | 2660990.2751 | 1193726.5247
33 | 2660986.4036 | 1193722.8544
34 | 2660970.6919 | 1193708.4421
35 | 2660974.9242 | 1193603.0748
36 | 2660961.5771 | 1193620.9427
37 | 2660960.1155 | 1193622.8993
38 | 2660949.2698 | 1193637.4183
39 | 2660948.9844 | 1193637.8004
40 | 2660959.518 | 1193777.5885
41 | 2660915.3319 | 1193781.1074
42 | 2660968.0061 | 1193785.2683
43 | 2660888.2181 | 1193738.14
44 | 2660890.7516 | 1193699.1618
45 | 2660889.0636 | 1193680.5375
46 | 2660965.2445 | 1193703.4493
47 | 2660963.6782 | 1193702.0136
48 | 2660945.4502 | 1193685.6873
49 | 2660944.0975 | 1193684.4856
50 | 2660927.426 | 1193669.6743
51 | 2660905.0649 | 1193649.8082
52 | 2660917.3981 | 1193660.7653
53 | 2660893.3492 | 1193645.1161
54 | 2660892.5255 | 1193651.9117
55 | 2660896.6269 | 1193612.8753
56 | 2660875.0097 | 1193646.5077
57 | 2660896.7595 | 1193611.6631
58 | 2660893.3492 | 1193645.1161

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9943 | -0.10947 | 0 | 0
1 | 0.99498 | -0.096419 | 0.0031688 | 0.00079417
2 | 0.99387 | -0.11788 | 0.0060854 | 0.0015251
3 | 0.99519 | -0.092425 | 0.0033184 | 0.00083168
4 | 0.99304 | -0.13396 | 0.0048146 | 0.0012067
5 | 0.99585 | -0.079705 | 0.0024265 | 0.00060813
6 | 0.99279 | -0.13879 | 0 | 0
7 | 0.98266 | -0.33323 | 0.0031196 | 0.00078183
8 | 0.98233 | -0.33977 | 0.0031165 | 0.00078108
9 | 0.98321 | -0.32252 | 0.0031752 | 0.00079579
10 | 0.98198 | -0.34656 | 0 | 0
11 | 0.98327 | -0.32143 | 0.0032867 | 0.00082372
12 | 0.98089 | -0.36793 | 0.0045385 | 0.0011374
13 | 0.98429 | -0.30157 | 0 | 0
14 | 0.98016 | -0.38219 | 0 | 0
15 | 0.98598 | -0.26864 | 0 | 0
16 | 0.98589 | -0.27046 | 0.0048228 | 0.0012087
17 | 0.98702 | -0.24851 | 0.0025685 | 0.00064372
18 | 0.99228 | -0.14868 | 0.002462 | 0.00061703
19 | 0.99226 | -0.14894 | 0.0030564 | 0.00076602
20 | 0.99236 | -0.14707 | 0 | 0
21 | 0.99234 | -0.14742 | 0.010795 | 0.0027054
22 | 0.99605 | -0.075818 | 0.0047796 | 0.0011979
23 | 0.9963 | -0.071102 | 0.0057837 | 0.0014495
24 | 0.99714 | -0.054905 | 0.0027089 | 0.0006789
25 | 0.97981 | -0.38897 | 0.0038241 | 0.00095841
26 | 0.98008 | -0.38369 | 0.0050582 | 0.0012677
27 | 0.97908 | -0.40339 | 0.020631 | 0.0051707
28 | 0.9798 | -0.3893 | 0.0056246 | 0.0014097
29 | 0.97978 | -0.38967 | 0.01038 | 0.0026016
30 | 0.99786 | -0.040983 | 0.0084634 | 0.0021211
31 | 0.99819 | -0.034776 | 0.0090196 | 0.0022605
32 | 0.9996 | -0.0077237 | 0.016143 | 0.0040458
33 | 1 | 0 | -0.25408 | -0.064145
34 | 0.99836 | -0.031107 | 0.0046506 | 0.0011656
35 | 0.9877 | -0.23536 | 0.0072945 | 0.0018282
36 | 0.9893 | -0.20455 | 0.0057679 | 0.0014456
37 | 0.98949 | -0.20093 | 0.0053036 | 0.0013292
38 | 0.99097 | -0.17242 | 0.0039966 | 0.0010017
39 | 0.99101 | -0.17163 | 0.0025652 | 0.0006429
40 | 0.98794 | -0.23162 | 0.010053 | 0.0025194
41 | 0.98904 | -0.21026 | 0 | 0
42 | 0.98776 | -0.23512 | 0.016574 | 0.0041539
43 | 0.99028 | -0.18612 | 0 | 0
44 | 0.99129 | -0.16659 | 0.0025449 | 0.00063781
45 | 0.99179 | -0.15692 | 0 | 0
46 | 0.99781 | -0.041611 | 0.0067429 | 0.0016899
47 | 0.99766 | -0.044508 | 0.0063377 | 0.0015884
48 | 0.99597 | -0.076575 | 0.0033569 | 0.00084131
49 | 0.99585 | -0.078897 | 0.003258 | 0.00081654
50 | 0.99439 | -0.10692 | 0.0041894 | 0.00105
51 | 0.99322 | -0.1293 | 0.0042543 | 0.0010662
52 | 0.99385 | -0.11722 | 0.0020207 | 0.00050643
53 | 0.99278 | -0.13785 | 0 | 0
54 | 0.99257 | -0.14202 | 0 | 0
55 | 0.9927 | -0.13942 | 0 | 0
56 | 0.99248 | -0.14375 | 0.0053123 | 0.0013314
57 | 0.9927 | -0.13948 | 0.00275 | 0.00068923
58 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.027251 | -0.0068429 | 0.027268 | 0.0068534 | 1.6973e-05 | 1.051e-05 | 0.040787 | 0.040787 | 0.040787 | 0.9943 | -0.10947 | 0.99498 | -0.096419 | 11.2052
1 | 0.027251 | 0.0068429 | -0.02724 | -0.0068361 | 1.0929e-05 | 6.7674e-06 | 0.040787 | 0.040787 | 0.040787 | 0.9943 | -0.10947 | 0.99387 | -0.11788 | 11.2052
2 | -0.030437 | -0.0076475 | 0.030443 | 0.0076512 | 5.8037e-06 | 3.6174e-06 | 0.045526 | 0.045526 | 0.045526 | 0.99498 | -0.096419 | 0.99519 | -0.092425 | 12.507
3 | 0.021155 | 0.005311 | -0.021138 | -0.0053011 | 1.6214e-05 | 9.8187e-06 | 0.031676 | 0.031676 | 0.031676 | 0.99387 | -0.11788 | 0.99304 | -0.13396 | 8.7022
4 | -0.033761 | -0.0084828 | 0.033781 | 0.0084957 | 2.0511e-05 | 1.2848e-05 | 0.050487 | 0.050487 | 0.050487 | 0.99519 | -0.092425 | 0.99585 | -0.079705 | 13.8702
5 | 0.016324 | 0.0040945 | -0.01632 | -0.0040923 | 3.7579e-06 | 2.1885e-06 | 0.024462 | 0.024462 | 0.024462 | 0.99304 | -0.13396 | 0.99279 | -0.13879 | 6.7202
6 | -0.036208 | -0.0091038 | 0.036215 | 0.009108 | 6.7227e-06 | 4.2229e-06 | 0.054113 | 0.054113 | 0.054113 | 0.99585 | -0.079705 | 0.99605 | -0.075818 | 14.8662
7 | 0.01632 | 0.0040923 | -0.016314 | -0.0040885 | 6.4382e-06 | 3.7496e-06 | 0.024462 | 0.024462 | 0.024462 | 0.99279 | -0.13879 | 0.99236 | -0.14707 | 6.7203
8 | 0.053317 | 0.013417 | -0.0533 | -0.013406 | 1.6646e-05 | 1.0567e-05 | 0.080756 | 0.080756 | 0.080756 | 0.98266 | -0.33323 | 0.98233 | -0.33977 | 22.1856
9 | -0.056436 | -0.014198 | 0.056465 | 0.014217 | 2.8915e-05 | 1.8372e-05 | 0.085479 | 0.085479 | 0.085479 | 0.98266 | -0.33323 | 0.98321 | -0.32252 | 23.4833
10 | 0.050184 | 0.012625 | -0.050167 | -0.012615 | 1.6284e-05 | 1.0327e-05 | 0.076035 | 0.076035 | 0.076035 | 0.98233 | -0.33977 | 0.98198 | -0.34656 | 20.8887
11 | -0.059641 | -0.015012 | 0.059644 | 0.015014 | 3.1014e-06 | 1.972e-06 | 0.090285 | 0.090285 | 0.090285 | 0.98321 | -0.32252 | 0.98327 | -0.32143 | 24.8035
12 | 0.050167 | 0.012615 | -0.050116 | -0.012582 | 5.1136e-05 | 3.2429e-05 | 0.076035 | 0.076035 | 0.076035 | 0.98198 | -0.34656 | 0.98089 | -0.36793 | 20.8887
13 | -0.06293 | -0.015838 | 0.06299 | 0.015876 | 5.9784e-05 | 3.8038e-05 | 0.095259 | 0.095259 | 0.095259 | 0.98327 | -0.32143 | 0.98429 | -0.30157 | 26.17
14 | 0.045578 | 0.011445 | -0.045547 | -0.011425 | 3.0993e-05 | 1.9617e-05 | 0.06915 | 0.06915 | 0.06915 | 0.98089 | -0.36793 | 0.98016 | -0.38219 | 18.9973
15 | -0.06299 | -0.015876 | 0.06309 | 0.015939 | 9.942e-05 | 6.3257e-05 | 0.095259 | 0.095258 | 0.095259 | 0.98429 | -0.30157 | 0.98598 | -0.26864 | 26.1699
16 | 0.024478 | 0.0061426 | -0.02447 | -0.0061377 | 7.9081e-06 | 4.8688e-06 | 0.037163 | 0.037163 | 0.037163 | 0.98016 | -0.38219 | 0.97981 | -0.38897 | 10.2097
17 | 0.021069 | 0.0052825 | -0.021068 | -0.0052815 | 1.5029e-06 | 9.1247e-07 | 0.031987 | 0.031987 | 0.031987 | 0.98016 | -0.38219 | 0.98008 | -0.38369 | 8.7876
18 | 0.0048232 | 0.0012087 | -0.0048228 | -0.0012087 | 4.1737e-07 | -7.6993e-10 | 0.007279 | 0.0072791 | 0.0072791 | 0.98598 | -0.26864 | 0.98589 | -0.27046 | 1.9997
19 | -0.067913 | -0.017148 | 0.067978 | 0.01719 | 6.5581e-05 | 4.1759e-05 | 0.10254 | 0.10254 | 0.10254 | 0.98598 | -0.26864 | 0.98702 | -0.24851 | 28.1696
20 | -0.070547 | -0.017834 | 0.070591 | 0.017862 | 4.4499e-05 | 2.8345e-05 | 0.10641 | 0.10641 | 0.10641 | 0.98702 | -0.24851 | 0.9877 | -0.23536 | 29.2334
21 | 0.0030565 | 0.00076598 | -0.0030564 | -0.00076602 | 3.8684e-08 | -3.867e-08 | 0.0045835 | 0.0045835 | 0.0045835 | 0.99228 | -0.14868 | 0.99226 | -0.14894 | 1.2592
22 | -0.0055184 | -0.001383 | 0.0055189 | 0.0013831 | 4.2268e-07 | 5.789e-08 | 0.0082754 | 0.0082754 | 0.0082754 | 0.99228 | -0.14868 | 0.99236 | -0.14707 | 2.2735
23 | 0.010795 | 0.0027055 | -0.010795 | -0.0027054 | 1.8332e-07 | 9.3219e-08 | 0.016186 | 0.016186 | 0.016186 | 0.99236 | -0.14707 | 0.99234 | -0.14742 | 4.4468
24 | -0.040994 | -0.010306 | 0.041004 | 0.010312 | 9.2339e-06 | 5.8242e-06 | 0.061253 | 0.061253 | 0.061253 | 0.99605 | -0.075818 | 0.9963 | -0.071102 | 16.8278
25 | -0.046787 | -0.011761 | 0.046823 | 0.011784 | 3.6216e-05 | 2.292e-05 | 0.069891 | 0.069891 | 0.069891 | 0.9963 | -0.071102 | 0.99714 | -0.054905 | 19.2009
26 | -0.049532 | -0.012463 | 0.049565 | 0.012484 | 3.2974e-05 | 2.0893e-05 | 0.073934 | 0.073934 | 0.073934 | 0.99714 | -0.054905 | 0.99786 | -0.040983 | 20.3115
27 | 0.020646 | 0.0051793 | -0.020631 | -0.0051707 | 1.4179e-05 | 8.5904e-06 | 0.031356 | 0.031356 | 0.031356 | 0.97981 | -0.38897 | 0.97908 | -0.40339 | 8.6143
28 | 0.01601 | 0.0040138 | -0.016005 | -0.0040113 | 4.277e-06 | 2.4941e-06 | 0.024307 | 0.024307 | 0.024307 | 0.98008 | -0.38369 | 0.9798 | -0.3893 | 6.6778
29 | 0.010381 | 0.0026017 | -0.01038 | -0.0026016 | 1.8201e-07 | 9.1891e-08 | 0.015765 | 0.015765 | 0.015765 | 0.9798 | -0.3893 | 0.97978 | -0.38967 | 4.3311
30 | -0.058029 | -0.014605 | 0.058046 | 0.014616 | 1.7219e-05 | 1.094e-05 | 0.086554 | 0.086554 | 0.086554 | 0.99786 | -0.040983 | 0.99819 | -0.034776 | 23.7786
31 | -0.067065 | -0.016877 | 0.067152 | 0.016932 | 8.6822e-05 | 5.5263e-05 | 0.1 | 0.1 | 0.1 | 0.99819 | -0.034776 | 0.9996 | -0.0077237 | 27.4725
32 | -0.083295 | -0.020978 | 0.083326 | 0.020997 | 3.0775e-05 | 1.9626e-05 | 0.12403 | 0.12403 | 0.12403 | 0.9996 | -0.0077237 | 1 | 0 | 34.0743
33 | 0.16911 | 0.043148 | -0.16886 | -0.042986 | 0.00025368 | 0.0001618 | 0.25191 | 0.25191 | 0.25191 | 1 | 0 | 0.99836 | -0.031107 | 34.6027
34 | 0.1642 | 0.04182 | -0.16412 | -0.041767 | 8.3149e-05 | 5.3022e-05 | 0.24498 | 0.24498 | 0.24498 | 0.99836 | -0.031107 | 0.99781 | -0.041611 | 33.6506
35 | -0.077886 | -0.01969 | 0.078001 | 0.019764 | 0.00011527 | 7.3487e-05 | 0.1174 | 0.1174 | 0.1174 | 0.9877 | -0.23536 | 0.9893 | -0.20455 | 32.2524
36 | -0.083769 | -0.021209 | 0.083783 | 0.021219 | 1.4557e-05 | 9.2853e-06 | 0.12607 | 0.12607 | 0.12607 | 0.9893 | -0.20455 | 0.98949 | -0.20093 | 34.6358
37 | -0.089087 | -0.022548 | 0.089209 | 0.022626 | 0.00012212 | 7.7923e-05 | 0.13405 | 0.13405 | 0.13405 | 0.98949 | -0.20093 | 0.99097 | -0.17242 | 36.8269
38 | -0.093206 | -0.023627 | 0.093209 | 0.02363 | 3.5081e-06 | 2.239e-06 | 0.14005 | 0.14005 | 0.14005 | 0.99097 | -0.17242 | 0.99101 | -0.17163 | 38.4756
39 | -0.095775 | -0.024272 | 0.096073 | 0.024463 | 0.00029882 | 0.00019074 | 0.1439 | 0.1439 | 0.1439 | 0.99101 | -0.17163 | 0.99439 | -0.10692 | 39.5337
40 | -0.026629 | -0.0066749 | 0.026657 | 0.0066917 | 2.7119e-05 | 1.678e-05 | 0.040109 | 0.040109 | 0.040109 | 0.98794 | -0.23162 | 0.98904 | -0.21026 | 11.019
41 | 0.016577 | 0.0041555 | -0.016574 | -0.0041539 | 2.7686e-06 | 1.6203e-06 | 0.024968 | 0.024968 | 0.024968 | 0.98794 | -0.23162 | 0.98776 | -0.23512 | 6.8594
42 | -0.026657 | -0.0066917 | 0.026687 | 0.0067107 | 3.0732e-05 | 1.9014e-05 | 0.040109 | 0.040109 | 0.040109 | 0.98904 | -0.21026 | 0.99028 | -0.18612 | 11.019
43 | -0.026687 | -0.0067107 | 0.026712 | 0.0067261 | 2.4915e-05 | 1.5414e-05 | 0.040109 | 0.040109 | 0.040109 | 0.99028 | -0.18612 | 0.99129 | -0.16659 | 11.0189
44 | -0.029257 | -0.0073639 | 0.029271 | 0.0073723 | 1.3533e-05 | 8.4197e-06 | 0.043929 | 0.043929 | 0.043929 | 0.99129 | -0.16659 | 0.99179 | -0.15692 | 12.0683
45 | -0.029271 | -0.0073723 | 0.029292 | 0.0073853 | 2.087e-05 | 1.2984e-05 | 0.043929 | 0.043928 | 0.043929 | 0.99179 | -0.15692 | 0.99257 | -0.14202 | 12.0683
46 | 0.15738 | 0.040077 | -0.15736 | -0.040063 | 2.1986e-05 | 1.4016e-05 | 0.23492 | 0.23492 | 0.23492 | 0.99781 | -0.041611 | 0.99766 | -0.044508 | 32.2694
47 | 0.15102 | 0.038475 | -0.15079 | -0.038326 | 0.00023325 | 0.00014864 | 0.22547 | 0.22547 | 0.22547 | 0.99766 | -0.044508 | 0.99597 | -0.076575 | 30.971
48 | 0.14743 | 0.037485 | -0.14741 | -0.037475 | 1.6488e-05 | 1.0505e-05 | 0.22045 | 0.22045 | 0.22045 | 0.99597 | -0.076575 | 0.99585 | -0.078897 | 30.2821
49 | 0.14415 | 0.036658 | -0.14396 | -0.036534 | 0.00019434 | 0.0001238 | 0.21559 | 0.21559 | 0.21559 | 0.99585 | -0.078897 | 0.99439 | -0.10692 | 29.6134
50 | 0.043697 | 0.011021 | -0.043676 | -0.011007 | 2.1524e-05 | 1.3601e-05 | 0.065414 | 0.065414 | 0.065414 | 0.99439 | -0.10692 | 0.99385 | -0.11722 | 17.9709
51 | -0.041631 | -0.010486 | 0.041655 | 0.010501 | 2.408e-05 | 1.5198e-05 | 0.062389 | 0.062389 | 0.062389 | 0.99322 | -0.1293 | 0.99385 | -0.11722 | 17.1398
52 | 0.037377 | 0.0094196 | -0.037361 | -0.00941 | 1.5269e-05 | 9.604e-06 | 0.056015 | 0.056015 | 0.056015 | 0.99322 | -0.1293 | 0.99278 | -0.13785 | 15.3888
53 | 0.034611 | 0.0087211 | -0.034604 | -0.0087168 | 6.9143e-06 | 4.3367e-06 | 0.051893 | 0.051893 | 0.051893 | 0.99278 | -0.13785 | 0.99257 | -0.14202 | 14.2563
54 | 0.0027503 | 0.00068893 | -0.0027501 | -0.00068922 | 2.0654e-07 | -2.8691e-07 | 0.0041221 | 0.0041222 | 0.0041222 | 0.99278 | -0.13785 | 0.9927 | -0.13942 | 1.1325
55 | 0.0053128 | 0.0013314 | -0.0053123 | -0.0013314 | 4.3768e-07 | 4.2336e-08 | 0.0079647 | 0.0079648 | 0.0079648 | 0.99257 | -0.14202 | 0.99248 | -0.14375 | 2.1881
56 | 0.0027501 | 0.00068922 | -0.00275 | -0.00068923 | 7.7703e-09 | -1.0792e-08 | 0.0041222 | 0.0041222 | 0.0041222 | 0.9927 | -0.13942 | 0.9927 | -0.13948 | 1.1325

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.26873 | 0.067814

## res_load
| p_mw | q_mvar
0 | 0.0031688 | 0.00079417
1 | 0.0060854 | 0.0015251
2 | 0.0033184 | 0.00083168
3 | 0.0048146 | 0.0012067
4 | 0.0024265 | 0.00060813
5 | 0.0031196 | 0.00078183
6 | 0.0031165 | 0.00078108
7 | 0.0031752 | 0.00079579
8 | 0.0032867 | 0.00082372
9 | 0.0045385 | 0.0011374
10 | 0.0048228 | 0.0012087
11 | 0.0025685 | 0.00064372
12 | 0.002462 | 0.00061703
13 | 0.0030564 | 0.00076602
14 | 0.010795 | 0.0027054
15 | 0.0047796 | 0.0011979
16 | 0.0057837 | 0.0014495
17 | 0.0027089 | 0.0006789
18 | 0.0038241 | 0.00095841
19 | 0.0050582 | 0.0012677
20 | 0.020631 | 0.0051707
21 | 0.0056246 | 0.0014097
22 | 0.01038 | 0.0026016
23 | 0.0084634 | 0.0021211
24 | 0.0090196 | 0.0022605
25 | 0.016143 | 0.0040458
26 | 0.01464 | 0.0036692
27 | 0.0046506 | 0.0011656
28 | 0.0072945 | 0.0018282
29 | 0.0057679 | 0.0014456
30 | 0.0053036 | 0.0013292
31 | 0.0039966 | 0.0010017
32 | 0.0025652 | 0.0006429
33 | 0.010053 | 0.0025194
34 | 0.016574 | 0.0041539
35 | 0.0025449 | 0.00063781
36 | 0.0067429 | 0.0016899
37 | 0.0063377 | 0.0015884
38 | 0.0033569 | 0.00084131
39 | 0.003258 | 0.00081654
40 | 0.0041894 | 0.00105
41 | 0.0042543 | 0.0010662
42 | 0.0020207 | 0.00050643
43 | 0.0053123 | 0.0013314
44 | 0.00275 | 0.00068923

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1