## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1407-37_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1407-37_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1407-37_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1407-37_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1407-37_0_2_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_1407-37_0_2_node_28 | 0.4 | n |  | TRUE
6 | bus_LV_1407-37_0_2_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1407-37_0_2_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_1407-37_0_2_node_41 | 0.4 | n |  | TRUE
9 | bus_LV_1407-37_0_2_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_1407-37_0_2_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_1407-37_0_2_node_40 | 0.4 | n |  | TRUE
12 | bus_LV_1407-37_0_2_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1407-37_0_2_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1407-37_0_2_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1407-37_0_2_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1407-37_0_2_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_1407-37_0_2_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_1407-37_0_2_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_1407-37_0_2_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_1407-37_0_2_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_1407-37_0_2_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_1407-37_0_2_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1407-37_0_2_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1407-37_0_2_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_1407-37_0_2_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_1407-37_0_2_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_1407-37_0_2_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_1407-37_0_2_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_1407-37_0_2_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_1407-37_0_2_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_1407-37_0_2_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_1407-37_0_2_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_1407-37_0_2_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_1407-37_0_2_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_1407-37_0_2_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_1407-37_0_2_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_1407-37_0_2_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_1407-37_0_2_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_1407-37_0_2_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_1407-37_0_2_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_1407-37_0_2_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_1407-37_0_2_node_39 | 0.4 | n |  | TRUE
43 | bus_MV_141_0_node_49 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1407-37_0_2_load_0 | 0 | 0.0034655 | 0.00086854 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1407-37_0_2_load_3 | 2 | 0.0044061 | 0.0011043 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1407-37_0_2_load_4 | 3 | 0.0020855 | 0.00052268 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1407-37_0_2_load_2 | 4 | 0.0053942 | 0.0013519 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1407-37_0_2_load_28 | 5 | 0.0021906 | 0.00054901 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1407-37_0_2_load_5 | 6 | 0.0042875 | 0.0010746 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1407-37_0_2_load_41 | 8 | 0.0047101 | 0.0011805 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1407-37_0_2_load_27 | 9 | 0.0026026 | 0.00065228 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1407-37_0_2_load_33 | 10 | 0.0025587 | 0.00064126 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1407-37_0_2_load_40 | 11 | 0.003863 | 0.00096817 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1407-37_0_2_load_6 | 12 | 0.0048243 | 0.0012091 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1407-37_0_2_load_7 | 13 | 0.0015378 | 0.0003854 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1407-37_0_2_load_8 | 14 | 0.0029043 | 0.00072788 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1407-37_0_2_load_9 | 15 | 0.007265 | 0.0018208 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1407-37_0_2_load_20 | 17 | 0.0032677 | 0.00081897 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1407-37_0_2_load_17 | 18 | 0.0021336 | 0.00053474 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1407-37_0_2_load_10 | 19 | 0.0089835 | 0.0022515 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1407-37_0_2_load_11 | 20 | 0.0023947 | 0.00060018 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1407-37_0_2_load_13 | 22 | 0.0035356 | 0.0008861 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1407-37_0_2_load_14 | 23 | 0.0071281 | 0.0017865 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1407-37_0_2_load_16 | 25 | 0.0044268 | 0.0011095 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1407-37_0_2_load_21 | 26 | 0.0070888 | 0.0017766 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1407-37_0_2_load_34 | 27 | 0.013396 | 0.0033574 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1407-37_0_2_load_35 | 28 | 0.0068436 | 0.0017152 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1407-37_0_2_load_18 | 29 | 0.0038586 | 0.00096706 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1407-37_0_2_load_31 | 30 | 0.0043487 | 0.0010899 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1407-37_0_2_load_22 | 31 | 0.0049694 | 0.0012454 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1407-37_0_2_load_23 | 32 | 0.0054181 | 0.0013579 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1407-37_0_2_load_24 | 33 | 0.005778 | 0.0014481 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1407-37_0_2_load_30 | 34 | 0.0043696 | 0.0010951 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1407-37_0_2_load_25 | 35 | 0.0045501 | 0.0011404 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1407-37_0_2_load_29 | 36 | 0.0093093 | 0.0023331 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1407-37_0_2_load_36 | 37 | 0.0029918 | 0.00074981 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1407-37_0_2_load_37 | 38 | 0.0036156 | 0.00090615 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1407-37_0_2_load_43 | 39 | 0.0010241 | 0.00025668 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1407-37_0_2_load_42 | 40 | 0.026617 | 0.006671 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1407-37_0_2_load_38 | 41 | 0.0032213 | 0.00080734 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1407-37_0_2_load_39 | 42 | 0.0044144 | 0.0011064 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1407-37_0_2_line_0 |  | 0 | 1 | 0.0084989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1407-37_0_2_line_1 |  | 1 | 2 | 0.0074089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1407-37_0_2_line_2 |  | 1 | 3 | 0.0062555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1407-37_0_2_line_3 |  | 2 | 6 | 0.029042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1407-37_0_2_line_4 |  | 3 | 7 | 0.030858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1407-37_0_2_line_5 |  | 4 | 5 | 0.029339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1407-37_0_2_line_6 |  | 5 | 7 | 0.030069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1407-37_0_2_line_7 |  | 6 | 8 | 0.0012123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1407-37_0_2_line_8 |  | 7 | 9 | 0.017426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1407-37_0_2_line_9 |  | 8 | 11 | 0.0083526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1407-37_0_2_line_10 |  | 9 | 10 | 0.010232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1407-37_0_2_line_11 |  | 10 | 30 | 0.003924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1407-37_0_2_line_12 |  | 10 | 17 | 0.041623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1407-37_0_2_line_13 |  | 11 | 42 | 0.030037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1407-37_0_2_line_14 |  | 12 | 13 | 0.013853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1407-37_0_2_line_15 |  | 13 | 14 | 0.0088707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1407-37_0_2_line_16 |  | 14 | 15 | 0.0045848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1407-37_0_2_line_17 |  | 15 | 16 | 0.014075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1407-37_0_2_line_18 |  | 16 | 17 | 0.014101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1407-37_0_2_line_19 |  | 16 | 18 | 0.025565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1407-37_0_2_line_20 |  | 17 | 26 | 0.04461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1407-37_0_2_line_21 |  | 18 | 29 | 0.0018899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1407-37_0_2_line_22 |  | 19 | 20 | 0.023715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1407-37_0_2_line_23 |  | 19 | 21 | 0.0039815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1407-37_0_2_line_24 |  | 21 | 22 | 0.024764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1407-37_0_2_line_25 |  | 21 | 23 | 0.017701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1407-37_0_2_line_26 |  | 22 | 24 | 0.00081974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1407-37_0_2_line_27 |  | 23 | 25 | 0.0027505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1407-37_0_2_line_28 |  | 24 | 26 | 0.019362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1407-37_0_2_line_29 |  | 25 | 27 | 0.029442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1407-37_0_2_line_30 |  | 27 | 28 | 0.02229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1407-37_0_2_line_31 |  | 28 | 40 | 0.17858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1407-37_0_2_line_32 |  | 30 | 34 | 0.016962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1407-37_0_2_line_33 |  | 31 | 32 | 0.0061681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1407-37_0_2_line_34 |  | 31 | 33 | 0.026407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1407-37_0_2_line_35 |  | 32 | 34 | 0.027727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1407-37_0_2_line_36 |  | 33 | 35 | 0.027902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1407-37_0_2_line_37 |  | 35 | 36 | 0.011766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1407-37_0_2_line_38 |  | 36 | 37 | 0.0044593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1407-37_0_2_line_39 |  | 37 | 38 | 0.013379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1407-37_0_2_line_40 |  | 37 | 39 | 0.23925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1407-37_0_2_line_41 |  | 38 | 41 | 0.02818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1407-37_0_2_trafo_13 | 0.63 MVA 20/0.4 kV | 43 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2660866.6306 | 1194122.7429 | 2660860.4954 | 1194122.7805 | 2660858.3487 | 1194121.7915
1 | 2660866.6306 | 1194122.7429 | 2660870.0508 | 1194129.3151
2 | 2660866.6306 | 1194122.7429 | 2660864.2037 | 1194116.9774
3 | 2660887.5942 | 1194151.9857 | 2660878.4866 | 1194143.9091 | 2660873.3429 | 1194135.6408 | 2660870.0508 | 1194129.3151
4 | 2660864.2037 | 1194116.9774 | 2660891.1604 | 1194101.9582
5 | 2660840.097 | 1194093.2894 | 2660867.6506 | 1194083.2122
6 | 2660891.1604 | 1194101.9582 | 2660867.6506 | 1194083.2122
7 | 2660887.5942 | 1194151.9857 | 2660888.5012 | 1194152.79
8 | 2660891.1604 | 1194101.9582 | 2660905.2334 | 1194112.2352
9 | 2660888.5012 | 1194152.79 | 2660894.7506 | 1194158.3319
10 | 2660905.2334 | 1194112.2352 | 2660913.4962 | 1194118.2693
11 | 2660916.6652 | 1194120.5835 | 2660913.4962 | 1194118.2693
12 | 2660945.1055 | 1194091.19 | 2660913.4962 | 1194118.2693
13 | 2660917.224 | 1194178.2614 | 2660894.7506 | 1194158.3319
14 | 2660941.9763 | 1194036.1595 | 2660944.9631 | 1194049.6866 | 2660944.9631 | 1194049.6866
15 | 2660944.9631 | 1194049.6866 | 2660945.5894 | 1194058.5352
16 | 2660945.8216 | 1194063.1071 | 2660945.8758 | 1194062.5812 | 2660945.5894 | 1194058.5352
17 | 2660944.3789 | 1194077.1077 | 2660945.8216 | 1194063.1071
18 | 2660944.3789 | 1194077.1077 | 2660945.1055 | 1194091.19
19 | 2660944.3789 | 1194077.1077 | 2660940.1697 | 1194075.1081 | 2660934.2258 | 1194066.8317 | 2660928.5526 | 1194062.6604 | 2660925.1979 | 1194061.1628
20 | 2660945.1055 | 1194091.19 | 2660945.1617 | 1194092.28 | 2660955.3413 | 1194115.6527 | 2660965.6306 | 1194130.4526
21 | 2660925.1979 | 1194061.1628 | 2660923.4722 | 1194060.3924
22 | 2661024.3714 | 1194156.6149 | 2661008.1576 | 1194151.1781 | 2661001.6677 | 1194149.9044
23 | 2660997.7607 | 1194149.1376 | 2661001.6677 | 1194149.9044
24 | 2660997.7607 | 1194149.1376 | 2660990.0301 | 1194148.6919 | 2660973.0129 | 1194148.3487
25 | 2660997.7607 | 1194149.1376 | 2661001.1058 | 1194157.3987 | 2661003.7741 | 1194160.2943 | 2661008.1151 | 1194162.4583
26 | 2660973.0129 | 1194148.3487 | 2660972.1933 | 1194148.3322
27 | 2661008.1151 | 1194162.4583 | 2661010.5767 | 1194163.6854
28 | 2660972.1933 | 1194148.3322 | 2660971.5361 | 1194141.7773 | 2660965.8113 | 1194130.7125 | 2660965.6306 | 1194130.4526
29 | 2661036.9273 | 1194176.8178 | 2661036.8782 | 1194176.7969 | 2661010.5767 | 1194163.6854
30 | 2661036.9273 | 1194176.8178 | 2661057.4286 | 1194185.5677
31 | 2661057.4286 | 1194185.5677 | 2661187.7636 | 1194063.483
32 | 2660916.6652 | 1194120.5835 | 2660930.3636 | 1194130.5871
33 | 2660928.9112 | 1194158.2761 | 2660933.7583 | 1194162.0907
34 | 2660954.5099 | 1194178.4217 | 2660933.7583 | 1194162.0907
35 | 2660928.9112 | 1194158.2761 | 2660930.3636 | 1194130.5871
36 | 2660954.5099 | 1194178.4217 | 2660976.4366 | 1194195.6774
37 | 2660982.4179 | 1194205.3916 | 2660982.4179 | 1194205.3916 | 2660981.4373 | 1194201.4127 | 2660978.2727 | 1194197.1224 | 2660976.4366 | 1194195.6774
38 | 2660980.6539 | 1194209.4871 | 2660980.6539 | 1194209.4871 | 2660982.4179 | 1194205.3916
39 | 2660980.6539 | 1194209.4871 | 2660977.3894 | 1194211.2549 | 2660973.3723 | 1194211.3474 | 2660968.0923 | 1194209.3399
40 | 2660980.6539 | 1194209.4871 | 2660972.8284 | 1194448.6126
41 | 2660942.2024 | 1194198.3352 | 2660949.6949 | 1194202.3454 | 2660968.0923 | 1194209.3399

## bus_geodata
| x | y | coords
0 | 2660858.3487 | 1194121.7915
1 | 2660866.6306 | 1194122.7429
2 | 2660870.0508 | 1194129.3151
3 | 2660864.2037 | 1194116.9774
4 | 2660840.097 | 1194093.2894
5 | 2660867.6506 | 1194083.2122
6 | 2660887.5942 | 1194151.9857
7 | 2660891.1604 | 1194101.9582
8 | 2660888.5012 | 1194152.79
9 | 2660905.2334 | 1194112.2352
10 | 2660913.4962 | 1194118.2693
11 | 2660894.7506 | 1194158.3319
12 | 2660941.9763 | 1194036.1595
13 | 2660944.9631 | 1194049.6866
14 | 2660945.5894 | 1194058.5352
15 | 2660945.8216 | 1194063.1071
16 | 2660944.3789 | 1194077.1077
17 | 2660945.1055 | 1194091.1899
18 | 2660925.1979 | 1194061.1628
19 | 2661001.6677 | 1194149.9044
20 | 2661024.3714 | 1194156.6149
21 | 2660997.7607 | 1194149.1376
22 | 2660973.0129 | 1194148.3487
23 | 2661008.1151 | 1194162.4583
24 | 2660972.1933 | 1194148.3322
25 | 2661010.5767 | 1194163.6854
26 | 2660965.6306 | 1194130.4526
27 | 2661036.9273 | 1194176.8178
28 | 2661057.4286 | 1194185.5677
29 | 2660923.4722 | 1194060.3924
30 | 2660916.6652 | 1194120.5835
31 | 2660933.7583 | 1194162.0907
32 | 2660928.9112 | 1194158.2761
33 | 2660954.5099 | 1194178.4217
34 | 2660930.3636 | 1194130.5871
35 | 2660976.4366 | 1194195.6774
36 | 2660982.4179 | 1194205.3916
37 | 2660980.6539 | 1194209.4871
38 | 2660968.0923 | 1194209.3399
39 | 2660972.8284 | 1194448.6126
40 | 2661187.7636 | 1194063.483
41 | 2660942.2024 | 1194198.3352
42 | 2660917.224 | 1194178.2614
43 | 2660972.1933 | 1194148.3322

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98773 | -0.23585 | 0.0034655 | 0.00086854
1 | 0.98776 | -0.23532 | 0 | 0
2 | 0.98761 | -0.23819 | 0.0044061 | 0.0011043
3 | 0.9879 | -0.23251 | 0.0020855 | 0.00052268
4 | 0.98832 | -0.22441 | 0.0053942 | 0.0013519
5 | 0.98847 | -0.22158 | 0.0021906 | 0.00054901
6 | 0.98715 | -0.24716 | 0.0042875 | 0.0010746
7 | 0.98868 | -0.21751 | 0 | 0
8 | 0.98714 | -0.24744 | 0.0047101 | 0.0011805
9 | 0.98923 | -0.2067 | 0.0026026 | 0.00065228
10 | 0.98958 | -0.19988 | 0.0025587 | 0.00064126
11 | 0.98707 | -0.24868 | 0.003863 | 0.00096817
12 | 0.99235 | -0.1464 | 0.0048243 | 0.0012091
13 | 0.99242 | -0.14522 | 0.0015378 | 0.0003854
14 | 0.99247 | -0.14422 | 0.0029043 | 0.00072788
15 | 0.99251 | -0.14347 | 0.007265 | 0.0018208
16 | 0.99272 | -0.13935 | 0 | 0
17 | 0.99301 | -0.13374 | 0.0032677 | 0.00081897
18 | 0.99258 | -0.14206 | 0.0021336 | 0.00053474
19 | 0.99838 | -0.030967 | 0.0089835 | 0.0022515
20 | 0.99833 | -0.03196 | 0.0023947 | 0.00060018
21 | 0.99842 | -0.030175 | 0 | 0
22 | 1 | 0 | -0.19548 | -0.049184
23 | 0.99748 | -0.048272 | 0.0071281 | 0.0017865
24 | 0.99991 | -0.0017501 | 0 | 0
25 | 0.99735 | -0.050744 | 0.0044268 | 0.0011095
26 | 0.99773 | -0.043182 | 0.0070888 | 0.0017766
27 | 0.99609 | -0.074951 | 0.013396 | 0.0033574
28 | 0.99541 | -0.088065 | 0.0068436 | 0.0017152
29 | 0.99257 | -0.14219 | 0.0038586 | 0.00096706
30 | 0.9894 | -0.20335 | 0.0043487 | 0.0010899
31 | 0.98746 | -0.24117 | 0.0049694 | 0.0012454
32 | 0.98766 | -0.23726 | 0.0054181 | 0.0013579
33 | 0.98672 | -0.25558 | 0.005778 | 0.0014481
34 | 0.9887 | -0.21703 | 0.0043696 | 0.0010951
35 | 0.98608 | -0.26794 | 0.0045501 | 0.0011404
36 | 0.98586 | -0.27219 | 0.0093093 | 0.0023331
37 | 0.98582 | -0.27306 | 0.0029918 | 0.00074981
38 | 0.98574 | -0.2747 | 0.0036156 | 0.00090615
39 | 0.98559 | -0.27747 | 0.0010241 | 0.00025668
40 | 0.99106 | -0.17206 | 0.026617 | 0.006671
41 | 0.98565 | -0.27633 | 0.0032213 | 0.00080734
42 | 0.98695 | -0.25105 | 0.0044144 | 0.0011064
43 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0034655 | -0.00086854 | 0.0034656 | 0.00086849 | 8.6868e-08 | -5.3187e-08 | 0.0052208 | 0.0052208 | 0.0052208 | 0.98773 | -0.23585 | 0.98776 | -0.23532 | 1.4343
1 | 0.021693 | 0.0054402 | -0.02169 | -0.0054384 | 2.9673e-06 | 1.8042e-06 | 0.03268 | 0.03268 | 0.03268 | 0.98776 | -0.23532 | 0.98761 | -0.23819 | 8.9781
2 | -0.025158 | -0.0063087 | 0.025162 | 0.0063108 | 3.3697e-06 | 2.0765e-06 | 0.037901 | 0.037901 | 0.037901 | 0.98776 | -0.23532 | 0.9879 | -0.23251 | 10.4124
3 | 0.017284 | 0.0043341 | -0.017276 | -0.0043298 | 7.3858e-06 | 4.3554e-06 | 0.026042 | 0.026042 | 0.026042 | 0.98761 | -0.23819 | 0.98715 | -0.24716 | 7.1544
4 | -0.027247 | -0.0068335 | 0.027267 | 0.0068455 | 1.9493e-05 | 1.208e-05 | 0.041042 | 0.041042 | 0.041042 | 0.9879 | -0.23251 | 0.98868 | -0.21751 | 11.2754
5 | -0.0053942 | -0.0013519 | 0.0053949 | 0.001352 | 7.2566e-07 | 8.8402e-08 | 0.0081215 | 0.0081213 | 0.0081215 | 0.98832 | -0.22441 | 0.98847 | -0.22158 | 2.2312
6 | -0.0075855 | -0.001901 | 0.0075869 | 0.0019016 | 1.4703e-06 | 5.5545e-07 | 0.011419 | 0.011419 | 0.011419 | 0.98847 | -0.22158 | 0.98868 | -0.21751 | 3.1371
7 | 0.012989 | 0.0032552 | -0.012989 | -0.0032551 | 1.7427e-07 | 9.6036e-08 | 0.019579 | 0.019579 | 0.019579 | 0.98715 | -0.24716 | 0.98714 | -0.24744 | 5.3788
8 | -0.034854 | -0.0087471 | 0.034872 | 0.0087584 | 1.7985e-05 | 1.1287e-05 | 0.052461 | 0.052461 | 0.052461 | 0.98868 | -0.21751 | 0.98923 | -0.2067 | 14.4124
9 | 0.0082784 | 0.0020747 | -0.008278 | -0.0020745 | 4.8777e-07 | 2.054e-07 | 0.012479 | 0.012479 | 0.012479 | 0.98714 | -0.24744 | 0.98707 | -0.24868 | 3.4283
10 | -0.037474 | -0.0094107 | 0.037486 | 0.0094183 | 1.2194e-05 | 7.673e-06 | 0.056376 | 0.056376 | 0.056376 | 0.98923 | -0.2067 | 0.98958 | -0.19988 | 15.4879
11 | 0.049721 | 0.012505 | -0.049713 | -0.0125 | 8.2288e-06 | 5.216e-06 | 0.07478 | 0.07478 | 0.07478 | 0.98958 | -0.19988 | 0.9894 | -0.20335 | 20.544
12 | -0.089766 | -0.022564 | 0.090051 | 0.022746 | 0.00028448 | 0.00018153 | 0.135 | 0.135 | 0.135 | 0.98958 | -0.19988 | 0.99301 | -0.13374 | 37.0889
13 | 0.0044149 | 0.0011063 | -0.0044144 | -0.0011064 | 4.9895e-07 | -6.457e-08 | 0.0066555 | 0.0066556 | 0.0066556 | 0.98707 | -0.24868 | 0.98695 | -0.25105 | 1.8285
14 | -0.0048243 | -0.0012091 | 0.0048245 | 0.0012091 | 2.7184e-07 | -5.0067e-09 | 0.0072339 | 0.0072338 | 0.0072339 | 0.99235 | -0.1464 | 0.99242 | -0.14522 | 1.9873
15 | -0.0063623 | -0.0015945 | 0.0063626 | 0.0015945 | 3.0272e-07 | 7.9116e-08 | 0.0095395 | 0.0095395 | 0.0095395 | 0.99242 | -0.14522 | 0.99247 | -0.14422 | 2.6208
16 | -0.0092669 | -0.0023224 | 0.0092672 | 0.0023226 | 3.3189e-07 | 1.5316e-07 | 0.013894 | 0.013894 | 0.013894 | 0.99247 | -0.14422 | 0.99251 | -0.14347 | 3.817
17 | -0.016532 | -0.0041434 | 0.016535 | 0.0041452 | 3.2425e-06 | 1.8933e-06 | 0.024786 | 0.024786 | 0.024786 | 0.99251 | -0.14347 | 0.99272 | -0.13935 | 6.8093
18 | -0.022528 | -0.0056472 | 0.022535 | 0.0056509 | 6.03e-06 | 3.6768e-06 | 0.033769 | 0.033769 | 0.033769 | 0.99272 | -0.13935 | 0.99301 | -0.13374 | 9.2772
19 | 0.0059931 | 0.001502 | -0.0059923 | -0.0015018 | 7.7365e-07 | 1.6465e-07 | 0.0089832 | 0.0089833 | 0.0089833 | 0.99272 | -0.13935 | 0.99258 | -0.14206 | 2.4679
20 | -0.11585 | -0.029216 | 0.11636 | 0.029538 | 0.00050455 | 0.00032233 | 0.17367 | 0.17367 | 0.17367 | 0.99301 | -0.13374 | 0.99773 | -0.043182 | 47.7112
21 | 0.0038587 | 0.00096705 | -0.0038586 | -0.00096706 | 2.3715e-08 | -9.2494e-09 | 0.0057847 | 0.0057847 | 0.0057847 | 0.99258 | -0.14206 | 0.99257 | -0.14219 | 1.5892
22 | 0.0023949 | 0.00059994 | -0.0023947 | -0.00060018 | 1.133e-07 | -2.3759e-07 | 0.0035693 | 0.0035694 | 0.0035694 | 0.99838 | -0.030967 | 0.99833 | -0.03196 | 0.9806
23 | -0.011378 | -0.0028514 | 0.011379 | 0.0028516 | 4.2939e-07 | 2.2274e-07 | 0.016958 | 0.016958 | 0.016958 | 0.99838 | -0.030967 | 0.99842 | -0.030175 | 4.6589
24 | -0.07003 | -0.017641 | 0.070131 | 0.017705 | 0.00010122 | 6.4457e-05 | 0.1044 | 0.1044 | 0.1044 | 0.99842 | -0.030175 | 1 | 0 | 28.6819
25 | 0.058651 | 0.014789 | -0.058601 | -0.014757 | 5.0755e-05 | 3.2252e-05 | 0.087444 | 0.087444 | 0.087444 | 0.99842 | -0.030175 | 0.99748 | -0.048272 | 24.023
26 | 0.1237 | 0.031479 | -0.12369 | -0.031472 | 1.0435e-05 | 6.6675e-06 | 0.18424 | 0.18424 | 0.18424 | 1 | 0 | 0.99991 | -0.0017501 | 50.6156
27 | 0.051473 | 0.012971 | -0.051467 | -0.012967 | 6.0853e-06 | 3.8587e-06 | 0.07681 | 0.07681 | 0.07681 | 0.99748 | -0.048272 | 0.99735 | -0.050744 | 21.1018
28 | 0.12369 | 0.031472 | -0.12345 | -0.031315 | 0.00024647 | 0.00015749 | 0.18424 | 0.18424 | 0.18424 | 0.99991 | -0.0017501 | 0.99773 | -0.043182 | 50.6156
29 | 0.04704 | 0.011857 | -0.046985 | -0.011823 | 5.4418e-05 | 3.4444e-05 | 0.070206 | 0.070206 | 0.070206 | 0.99735 | -0.050744 | 0.99609 | -0.074951 | 19.2873
30 | 0.033589 | 0.0084655 | -0.033568 | -0.0084523 | 2.106e-05 | 1.3188e-05 | 0.050194 | 0.050194 | 0.050194 | 0.99609 | -0.074951 | 0.99541 | -0.088065 | 13.7896
31 | 0.026724 | 0.0067371 | -0.026617 | -0.006671 | 0.00010696 | 6.6141e-05 | 0.039964 | 0.039964 | 0.039964 | 0.99541 | -0.088065 | 0.99106 | -0.17206 | 10.9792
32 | 0.045364 | 0.01141 | -0.045335 | -0.011391 | 2.9621e-05 | 1.8739e-05 | 0.06824 | 0.06824 | 0.06824 | 0.9894 | -0.20335 | 0.9887 | -0.21703 | 18.7473
33 | -0.035501 | -0.0089088 | 0.035507 | 0.008913 | 6.6206e-06 | 4.1583e-06 | 0.053501 | 0.053501 | 0.053501 | 0.98746 | -0.24117 | 0.98766 | -0.23726 | 14.698
34 | 0.030531 | 0.0076634 | -0.03051 | -0.0076503 | 2.0965e-05 | 1.308e-05 | 0.046012 | 0.046012 | 0.046012 | 0.98746 | -0.24117 | 0.98672 | -0.25558 | 12.6408
35 | -0.040925 | -0.010271 | 0.040965 | 0.010296 | 3.9536e-05 | 2.4948e-05 | 0.061664 | 0.061664 | 0.061664 | 0.98766 | -0.23726 | 0.9887 | -0.21703 | 16.9406
36 | 0.024732 | 0.0062022 | -0.024718 | -0.0061932 | 1.4557e-05 | 8.9602e-06 | 0.037299 | 0.037299 | 0.037299 | 0.98672 | -0.25558 | 0.98608 | -0.26794 | 10.247
37 | 0.020168 | 0.0050529 | -0.020164 | -0.0050504 | 4.0863e-06 | 2.4652e-06 | 0.030433 | 0.030433 | 0.030433 | 0.98608 | -0.26794 | 0.98586 | -0.27219 | 8.3607
38 | 0.010854 | 0.0027173 | -0.010854 | -0.002717 | 4.4877e-07 | 2.3035e-07 | 0.016382 | 0.016382 | 0.016382 | 0.98586 | -0.27219 | 0.98582 | -0.27306 | 4.5005
39 | 0.0068377 | 0.0017135 | -0.0068372 | -0.0017133 | 5.3445e-07 | 1.7148e-07 | 0.010321 | 0.010321 | 0.010321 | 0.98582 | -0.27306 | 0.98574 | -0.2747 | 2.8354
40 | 0.0010244 | 0.00025376 | -0.0010241 | -0.00025668 | 2.1435e-07 | -2.9126e-06 | 0.0015451 | 0.0015462 | 0.0015462 | 0.98582 | -0.27306 | 0.98559 | -0.27747 | 0.42479
41 | 0.0032216 | 0.00080714 | -0.0032213 | -0.00080734 | 2.4992e-07 | -1.9925e-07 | 0.004863 | 0.0048632 | 0.0048632 | 0.98574 | -0.2747 | 0.98565 | -0.27633 | 1.336

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.19902 | 0.050071

## res_load
| p_mw | q_mvar
0 | 0.0034655 | 0.00086854
1 | 0.0044061 | 0.0011043
2 | 0.0020855 | 0.00052268
3 | 0.0053942 | 0.0013519
4 | 0.0021906 | 0.00054901
5 | 0.0042875 | 0.0010746
6 | 0.0047101 | 0.0011805
7 | 0.0026026 | 0.00065228
8 | 0.0025587 | 0.00064126
9 | 0.003863 | 0.00096817
10 | 0.0048243 | 0.0012091
11 | 0.0015378 | 0.0003854
12 | 0.0029043 | 0.00072788
13 | 0.007265 | 0.0018208
14 | 0.0032677 | 0.00081897
15 | 0.0021336 | 0.00053474
16 | 0.0089835 | 0.0022515
17 | 0.0023947 | 0.00060018
18 | 0.0035356 | 0.0008861
19 | 0.0071281 | 0.0017865
20 | 0.0044268 | 0.0011095
21 | 0.0070888 | 0.0017766
22 | 0.013396 | 0.0033574
23 | 0.0068436 | 0.0017152
24 | 0.0038586 | 0.00096706
25 | 0.0043487 | 0.0010899
26 | 0.0049694 | 0.0012454
27 | 0.0054181 | 0.0013579
28 | 0.005778 | 0.0014481
29 | 0.0043696 | 0.0010951
30 | 0.0045501 | 0.0011404
31 | 0.0093093 | 0.0023331
32 | 0.0029918 | 0.00074981
33 | 0.0036156 | 0.00090615
34 | 0.0010241 | 0.00025668
35 | 0.026617 | 0.006671
36 | 0.0032213 | 0.00080734
37 | 0.0044144 | 0.0011064

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1