## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1407-6_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1407-6_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1407-6_0_7_node_13 | 0.4 | n |  | TRUE
3 | bus_LV_1407-6_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1407-6_0_7_node_16 | 0.4 | n |  | TRUE
5 | bus_LV_1407-6_0_7_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_1407-6_0_7_node_19 | 0.4 | n |  | TRUE
7 | bus_LV_1407-6_0_7_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_1407-6_0_7_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_1407-6_0_7_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_1407-6_0_7_node_60 | 0.4 | n |  | TRUE
11 | bus_LV_1407-6_0_7_node_65 | 0.4 | n |  | TRUE
12 | bus_LV_1407-6_0_7_node_4 | 0.4 | n |  | TRUE
13 | bus_LV_1407-6_0_7_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_1407-6_0_7_node_66 | 0.4 | n |  | TRUE
15 | bus_LV_1407-6_0_7_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1407-6_0_7_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_1407-6_0_7_node_48 | 0.4 | n |  | TRUE
18 | bus_LV_1407-6_0_7_node_6 | 0.4 | n |  | TRUE
19 | bus_LV_1407-6_0_7_node_58 | 0.4 | n |  | TRUE
20 | bus_LV_1407-6_0_7_node_59 | 0.4 | n |  | TRUE
21 | bus_LV_1407-6_0_7_node_61 | 0.4 | n |  | TRUE
22 | bus_LV_1407-6_0_7_node_54 | 0.4 | n |  | TRUE
23 | bus_LV_1407-6_0_7_node_77 | 0.4 | n |  | TRUE
24 | bus_LV_1407-6_0_7_node_44 | 0.4 | n |  | TRUE
25 | bus_LV_1407-6_0_7_node_7 | 0.4 | n |  | TRUE
26 | bus_LV_1407-6_0_7_node_51 | 0.4 | n |  | TRUE
27 | bus_LV_1407-6_0_7_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_1407-6_0_7_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_1407-6_0_7_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_1407-6_0_7_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_1407-6_0_7_node_62 | 0.4 | n |  | TRUE
32 | bus_LV_1407-6_0_7_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_1407-6_0_7_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_1407-6_0_7_node_73 | 0.4 | n |  | TRUE
35 | bus_LV_1407-6_0_7_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_1407-6_0_7_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_1407-6_0_7_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_1407-6_0_7_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_1407-6_0_7_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_1407-6_0_7_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_1407-6_0_7_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_1407-6_0_7_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_1407-6_0_7_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_1407-6_0_7_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_1407-6_0_7_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_1407-6_0_7_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_1407-6_0_7_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_1407-6_0_7_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_1407-6_0_7_node_64 | 0.4 | n |  | TRUE
50 | bus_LV_1407-6_0_7_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_1407-6_0_7_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_1407-6_0_7_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_1407-6_0_7_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_1407-6_0_7_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_1407-6_0_7_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_1407-6_0_7_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_1407-6_0_7_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_1407-6_0_7_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_1407-6_0_7_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_1407-6_0_7_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_1407-6_0_7_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_1407-6_0_7_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_1407-6_0_7_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_1407-6_0_7_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_1407-6_0_7_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_1407-6_0_7_node_76 | 0.4 | n |  | TRUE
67 | bus_LV_1407-6_0_7_node_68 | 0.4 | n |  | TRUE
68 | bus_LV_1407-6_0_7_node_70 | 0.4 | n |  | TRUE
69 | bus_LV_1407-6_0_7_node_75 | 0.4 | n |  | TRUE
70 | bus_LV_1407-6_0_7_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_1407-6_0_7_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_1407-6_0_7_node_74 | 0.4 | n |  | TRUE
73 | bus_MV_141_0_node_115 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1407-6_0_7_load_0 | 0 | 0.0060259 | 0.0015102 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1407-6_0_7_load_3 | 3 | 0.0031688 | 0.00079417 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1407-6_0_7_load_12 | 5 | 0.021731 | 0.0054464 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1407-6_0_7_load_17 | 7 | 0.0016002 | 0.00040105 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1407-6_0_7_load_21 | 8 | 0.0017945 | 0.00044975 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1407-6_0_7_load_20 | 9 | 0.0025069 | 0.00062828 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1407-6_0_7_load_60 | 10 | 0.002491 | 0.0006243 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1407-6_0_7_load_66 | 14 | 0.00093895 | 0.00023532 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1407-6_0_7_load_48 | 17 | 0.0038491 | 0.00096469 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1407-6_0_7_load_6 | 18 | 0.0030572 | 0.00076621 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1407-6_0_7_load_58 | 19 | 0.003481 | 0.00087241 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1407-6_0_7_load_59 | 20 | 0.0023438 | 0.00058742 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1407-6_0_7_load_61 | 21 | 0.0086099 | 0.0021578 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1407-6_0_7_load_54 | 22 | 0.0095926 | 0.0024041 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1407-6_0_7_load_77 | 23 | 0.00092426 | 0.00023164 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1407-6_0_7_load_7 | 25 | 0.037681 | 0.0094438 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1407-6_0_7_load_51 | 26 | 0.013904 | 0.0034846 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1407-6_0_7_load_49 | 28 | 0.0055712 | 0.0013963 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1407-6_0_7_load_14 | 29 | 0.012535 | 0.0031416 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1407-6_0_7_load_18 | 33 | 0.0025317 | 0.00063449 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1407-6_0_7_load_73 | 34 | 0.001562 | 0.00039149 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1407-6_0_7_load_25 | 35 | 0.0020262 | 0.00050781 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1407-6_0_7_load_22 | 36 | 0.0012627 | 0.00031647 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1407-6_0_7_load_26 | 38 | 0.0064582 | 0.0016186 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1407-6_0_7_load_33 | 39 | 0.0015487 | 0.00038815 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1407-6_0_7_load_32 | 41 | 0.005975 | 0.0014975 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1407-6_0_7_load_40 | 42 | 0.0010581 | 0.00026519 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1407-6_0_7_load_41 | 43 | 0.0016003 | 0.00040108 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1407-6_0_7_load_27 | 45 | 0.058254 | 0.0146 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1407-6_0_7_load_28 | 46 | 0.059763 | 0.014978 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1407-6_0_7_load_30 | 47 | 0.071497 | 0.017919 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1407-6_0_7_load_35 | 48 | 0.026122 | 0.0065469 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1407-6_0_7_load_34 | 51 | 0.0019274 | 0.00048306 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1407-6_0_7_load_36 | 53 | 0.029756 | 0.0074576 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1407-6_0_7_load_37 | 54 | 0.0012829 | 0.00032151 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1407-6_0_7_load_39 | 55 | 0.022949 | 0.0057516 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1407-6_0_7_load_56 | 56 | 0.0015739 | 0.00039447 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1407-6_0_7_load_63 | 59 | 0.099912 | 0.02504 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1407-6_0_7_load_52 | 60 | 0.0089144 | 0.0022342 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1407-6_0_7_load_45 | 61 | 0.03412 | 0.0085514 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1407-6_0_7_load_50 | 63 | 0.00096315 | 0.00024139 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1407-6_0_7_load_76 | 66 | 0.009933 | 0.0024895 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1407-6_0_7_load_68 | 67 | 0.00048782 | 0.00012226 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1407-6_0_7_load_75 | 69 | 0.00096953 | 0.00024299 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1407-6_0_7_load_74 | 72 | 0.00096374 | 0.00024154 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1407-6_0_7_line_0 |  | 0 | 1 | 0.034013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1407-6_0_7_line_1 |  | 0 | 2 | 0.16277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1407-6_0_7_line_2 |  | 1 | 3 | 0.015746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1407-6_0_7_line_3 |  | 2 | 4 | 0.019983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1407-6_0_7_line_4 |  | 2 | 5 | 0.044232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1407-6_0_7_line_5 |  | 3 | 11 | 0.023644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1407-6_0_7_line_6 |  | 4 | 6 | 0.033455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1407-6_0_7_line_7 |  | 4 | 7 | 0.053941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1407-6_0_7_line_8 |  | 6 | 8 | 0.016335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1407-6_0_7_line_9 |  | 6 | 9 | 0.016527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1407-6_0_7_line_10 |  | 7 | 33 | 0.029316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1407-6_0_7_line_11 |  | 9 | 10 | 0.031493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1407-6_0_7_line_12 |  | 10 | 19 | 0.01891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1407-6_0_7_line_13 |  | 11 | 22 | 0.031685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1407-6_0_7_line_14 |  | 12 | 13 | 0.035252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1407-6_0_7_line_15 |  | 12 | 14 | 0.015656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1407-6_0_7_line_16 |  | 13 | 15 | 0.04953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1407-6_0_7_line_17 |  | 13 | 16 | 0.05292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1407-6_0_7_line_18 |  | 13 | 17 | 0.017993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1407-6_0_7_line_19 |  | 14 | 18 | 0.0090404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1407-6_0_7_line_20 |  | 15 | 23 | 0.030518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1407-6_0_7_line_21 |  | 15 | 24 | 0.016264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1407-6_0_7_line_22 |  | 16 | 25 | 0.011927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1407-6_0_7_line_23 |  | 17 | 28 | 0.021632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1407-6_0_7_line_24 |  | 19 | 20 | 0.00027193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1407-6_0_7_line_25 |  | 20 | 21 | 0.018733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1407-6_0_7_line_26 |  | 22 | 58 | 0.032703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1407-6_0_7_line_27 |  | 24 | 26 | 0.017705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1407-6_0_7_line_28 |  | 24 | 27 | 0.048507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1407-6_0_7_line_29 |  | 27 | 55 | 0.046758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1407-6_0_7_line_30 |  | 28 | 63 | 0.030812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1407-6_0_7_line_31 |  | 29 | 30 | 0.034112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1407-6_0_7_line_32 |  | 30 | 31 | 0.039239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1407-6_0_7_line_33 |  | 30 | 32 | 0.065666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1407-6_0_7_line_34 |  | 31 | 34 | 0.01116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1407-6_0_7_line_35 |  | 32 | 35 | 0.021818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1407-6_0_7_line_36 |  | 32 | 36 | 0.019487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1407-6_0_7_line_37 |  | 35 | 39 | 0.015302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1407-6_0_7_line_38 |  | 36 | 37 | 0.036942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1407-6_0_7_line_39 |  | 37 | 38 | 0.0096087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1407-6_0_7_line_40 |  | 38 | 40 | 0.033116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1407-6_0_7_line_41 |  | 39 | 41 | 0.0051999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1407-6_0_7_line_42 |  | 40 | 42 | 0.03602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1407-6_0_7_line_43 |  | 40 | 43 | 0.04219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1407-6_0_7_line_44 |  | 40 | 44 | 0.069368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1407-6_0_7_line_45 |  | 41 | 51 | 0.006484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1407-6_0_7_line_46 |  | 42 | 50 | 0.056526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1407-6_0_7_line_47 |  | 44 | 45 | 0.021328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1407-6_0_7_line_48 |  | 45 | 46 | 0.028776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1407-6_0_7_line_49 |  | 46 | 47 | 0.0040596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_1407-6_0_7_line_50 |  | 47 | 48 | 0.0083692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_1407-6_0_7_line_51 |  | 48 | 49 | 0.0021718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_1407-6_0_7_line_52 |  | 49 | 52 | 0.026661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_1407-6_0_7_line_53 |  | 50 | 56 | 0.013222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1407-6_0_7_line_54 |  | 52 | 59 | 0.012863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_1407-6_0_7_line_55 |  | 52 | 62 | 0.038403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1407-6_0_7_line_56 |  | 53 | 54 | 0.028342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1407-6_0_7_line_57 |  | 54 | 55 | 0.011584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1407-6_0_7_line_58 |  | 56 | 64 | 0.01258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1407-6_0_7_line_59 |  | 57 | 58 | 0.0191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_1407-6_0_7_line_60 |  | 57 | 59 | 0.027332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_1407-6_0_7_line_61 |  | 58 | 60 | 0.023418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1407-6_0_7_line_62 |  | 60 | 63 | 0.010779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1407-6_0_7_line_63 |  | 61 | 62 | 0.073878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1407-6_0_7_line_64 |  | 64 | 67 | 0.017373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1407-6_0_7_line_65 |  | 64 | 65 | 0.019415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1407-6_0_7_line_66 |  | 65 | 66 | 0.0060161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1407-6_0_7_line_67 |  | 66 | 70 | 0.010353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1407-6_0_7_line_68 |  | 67 | 68 | 0.016432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1407-6_0_7_line_69 |  | 68 | 69 | 0.01877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1407-6_0_7_line_70 |  | 70 | 71 | 0.02647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1407-6_0_7_line_71 |  | 71 | 72 | 0.092741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1407-6_0_7_trafo_47 | 0.63 MVA 20/0.4 kV | 73 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2661365.6162 | 1193633.8884 | 2661341.6059 | 1193630.4181 | 2661335.9767 | 1193627.8812 | 2661333.8572 | 1193630.7644
1 | 2661333.8572 | 1193630.7644 | 2661214.156 | 1193520.4608
2 | 2661365.6162 | 1193633.8884 | 2661364.7721 | 1193618.1656
3 | 2661201.0951 | 1193505.3073 | 2661214.156 | 1193520.4608
4 | 2661214.156 | 1193520.4608 | 2661234.2534 | 1193481.0586
5 | 2661363.5045 | 1193594.5551 | 2661364.7721 | 1193618.1656
6 | 2661168.948 | 1193514.8843 | 2661201.0951 | 1193505.3073
7 | 2661201.0951 | 1193505.3073 | 2661188.4721 | 1193457.017 | 2661187.4357 | 1193453.124
8 | 2661168.948 | 1193514.8843 | 2661173.69 | 1193530.5158
9 | 2661168.948 | 1193514.8843 | 2661152.6588 | 1193517.6751
10 | 2661187.4357 | 1193453.124 | 2661185.4628 | 1193445.7131 | 2661180.0353 | 1193424.7571
11 | 2661152.6588 | 1193517.6751 | 2661144.8281 | 1193548.1793
12 | 2661144.8281 | 1193548.1793 | 2661152.6983 | 1193565.3732
13 | 2661363.5045 | 1193594.5551 | 2661378.1903 | 1193595.3951 | 2661395.1383 | 1193594.4408
14 | 2661375.7805 | 1193673.5267 | 2661383.171 | 1193671.5236 | 2661395.5711 | 1193667.0704 | 2661403.4497 | 1193679.1471
15 | 2661375.7805 | 1193673.5267 | 2661373.2325 | 1193673.7674 | 2661363.445 | 1193671.6881 | 2661360.3651 | 1193671.9415
16 | 2661403.4497 | 1193679.1471 | 2661409.7126 | 1193683.7918 | 2661438.904 | 1193702.9692 | 2661432.1359 | 1193702.2548
17 | 2661382.3105 | 1193727.1581 | 2661394.9395 | 1193707.076 | 2661403.4497 | 1193679.1471
18 | 2661403.4497 | 1193679.1471 | 2661412.959 | 1193663.8728
19 | 2661351.3551 | 1193672.6828 | 2661360.3651 | 1193671.9415
20 | 2661432.1359 | 1193702.2548 | 2661431.9175 | 1193707.9337 | 2661424.8518 | 1193731.7416
21 | 2661432.1359 | 1193702.2548 | 2661438.904 | 1193702.9692 | 2661448.3605 | 1193703.133
22 | 2661382.3105 | 1193727.1581 | 2661376.92 | 1193730.338 | 2661374.0045 | 1193735.1998
23 | 2661412.959 | 1193663.8728 | 2661413.3533 | 1193663.2395 | 2661412.5879 | 1193642.3671
24 | 2661152.8115 | 1193565.6204 | 2661152.6983 | 1193565.3732
25 | 2661152.5305 | 1193581.6704 | 2661156.211 | 1193578.3686 | 2661157.0481 | 1193576.2537 | 2661156.7562 | 1193574.2385 | 2661152.8115 | 1193565.6204
26 | 2661427.7897 | 1193592.6023 | 2661395.1383 | 1193594.4408
27 | 2661448.3605 | 1193703.133 | 2661446.8303 | 1193720.772
28 | 2661448.6602 | 1193654.6636 | 2661449.2991 | 1193677.7946 | 2661448.4982 | 1193699.3767 | 2661448.3605 | 1193703.133
29 | 2661448.6602 | 1193654.6636 | 2661495.3761 | 1193652.6749
30 | 2661412.5879 | 1193642.3671 | 2661412.3232 | 1193635.146 | 2661428.3211 | 1193634.3653 | 2661428.2248 | 1193626.7969
31 | 2661345.5613 | 1193285.5702 | 2661328.9101 | 1193315.3423
32 | 2661345.5613 | 1193285.5702 | 2661332.0277 | 1193266.6873 | 2661321.3809 | 1193254.6823
33 | 2661345.5613 | 1193285.5702 | 2661354.5621 | 1193284.8954 | 2661354.8035 | 1193288.1108 | 2661356.4125 | 1193293.2414 | 2661357.3236 | 1193294.3292 | 2661364.1531 | 1193302.4817 | 2661368.3876 | 1193306.5163 | 2661380.2533 | 1193317.8223 | 2661390.2016 | 1193327.3076
34 | 2661321.3809 | 1193254.6823 | 2661318.9088 | 1193257.9033 | 2661314.7414 | 1193263.6515
35 | 2661390.2016 | 1193327.3076 | 2661404.8351 | 1193311.1251
36 | 2661390.2016 | 1193327.3076 | 2661394.5947 | 1193331.4884 | 2661404.6001 | 1193340.4351
37 | 2661404.8351 | 1193311.1251 | 2661415.0985 | 1193299.7753
38 | 2661432.1384 | 1193365.0597 | 2661404.6001 | 1193340.4351
39 | 2661432.1384 | 1193365.0597 | 2661439.3004 | 1193371.4655
40 | 2661463.9795 | 1193393.5475 | 2661461.0341 | 1193390.9046 | 2661439.3004 | 1193371.4655
41 | 2661418.5862 | 1193295.9184 | 2661415.0985 | 1193299.7753
42 | 2661463.9795 | 1193393.5475 | 2661475.6552 | 1193399.5709 | 2661485.9762 | 1193409.8495 | 2661489.8957 | 1193417.1834
43 | 2661463.9795 | 1193393.5475 | 2661476.5957 | 1193353.2882
44 | 2661463.9795 | 1193393.5475 | 2661460.0498 | 1193405.8476 | 2661447.7721 | 1193444.3327 | 2661444.4249 | 1193460.0407
45 | 2661422.9352 | 1193291.1092 | 2661418.5862 | 1193295.9184
46 | 2661516.3852 | 1193467.1173 | 2661512.0069 | 1193458.5562 | 2661489.8957 | 1193417.1834
47 | 2661444.4249 | 1193460.0407 | 2661443.677 | 1193474.975 | 2661443.8625 | 1193481.3474
48 | 2661443.8625 | 1193481.3474 | 2661444.0432 | 1193487.5527 | 2661444.6676 | 1193510.112
49 | 2661444.7799 | 1193514.1701 | 2661444.6676 | 1193510.112
50 | 2661445.0115 | 1193522.5361 | 2661444.7799 | 1193514.1701
51 | 2661445.0716 | 1193524.707 | 2661445.0115 | 1193522.5361
52 | 2661445.804 | 1193551.3522 | 2661445.0716 | 1193524.707
53 | 2661516.3852 | 1193467.1173 | 2661528.5156 | 1193461.8577
54 | 2661445.804 | 1193551.3522 | 2661446.1597 | 1193564.2101
55 | 2661445.804 | 1193551.3522 | 2661465.8644 | 1193550.5799 | 2661484.1787 | 1193549.8788
56 | 2661535.2657 | 1193650.9769 | 2661506.9496 | 1193652.1822
57 | 2661495.3761 | 1193652.6749 | 2661506.9496 | 1193652.1822
58 | 2661540.2793 | 1193457.4907 | 2661535.8464 | 1193458.6791 | 2661528.5156 | 1193461.8577
59 | 2661446.9156 | 1193591.5313 | 2661427.7897 | 1193592.6023
60 | 2661446.9156 | 1193591.5313 | 2661446.1597 | 1193564.2101
61 | 2661427.7897 | 1193592.6023 | 2661428.0876 | 1193616.0188
62 | 2661428.0876 | 1193616.0188 | 2661428.2248 | 1193626.7969
63 | 2661484.1787 | 1193549.8788 | 2661504.8492 | 1193549.0795 | 2661505.0366 | 1193564.2125 | 2661543.0903 | 1193563.6413
64 | 2661540.2793 | 1193457.4907 | 2661539.1866 | 1193444.4274 | 2661543.0368 | 1193442.5958
65 | 2661540.2793 | 1193457.4907 | 2661541.088 | 1193467.7827 | 2661542.1631 | 1193467.7382 | 2661542.4923 | 1193475.7462
66 | 2661542.4923 | 1193475.7462 | 2661548.5056 | 1193475.5629
67 | 2661558.8537 | 1193475.2475 | 2661548.5056 | 1193475.5629
68 | 2661557.8752 | 1193435.5367 | 2661543.0368 | 1193442.5958
69 | 2661557.8752 | 1193435.5367 | 2661574.8251 | 1193427.473
70 | 2661558.8537 | 1193475.2475 | 2661558.7169 | 1193467.0636 | 2661576.9862 | 1193466.3177
71 | 2661576.9862 | 1193466.3177 | 2661584.8866 | 1193466.6437 | 2661592.0936 | 1193466.9513 | 2661606.0295 | 1193537.669 | 2661606.4717 | 1193543.1934

## bus_geodata
| x | y | coords
0 | 2661333.8572 | 1193630.7644
1 | 2661365.6162 | 1193633.8884
2 | 2661214.156 | 1193520.4608
3 | 2661364.7721 | 1193618.1656
4 | 2661201.0951 | 1193505.3074
5 | 2661234.2534 | 1193481.0586
6 | 2661168.948 | 1193514.8843
7 | 2661187.4357 | 1193453.124
8 | 2661173.69 | 1193530.5158
9 | 2661152.6588 | 1193517.6751
10 | 2661144.8281 | 1193548.1793
11 | 2661363.5045 | 1193594.5551
12 | 2661375.7805 | 1193673.5267
13 | 2661403.4497 | 1193679.1471
14 | 2661360.3651 | 1193671.9415
15 | 2661432.1359 | 1193702.2548
16 | 2661382.3105 | 1193727.1581
17 | 2661412.959 | 1193663.8728
18 | 2661351.3551 | 1193672.6828
19 | 2661152.6983 | 1193565.3732
20 | 2661152.8115 | 1193565.6204
21 | 2661152.5305 | 1193581.6704
22 | 2661395.1383 | 1193594.4408
23 | 2661424.8518 | 1193731.7416
24 | 2661448.3605 | 1193703.133
25 | 2661374.0045 | 1193735.1998
26 | 2661446.8303 | 1193720.772
27 | 2661448.6602 | 1193654.6636
28 | 2661412.5879 | 1193642.3671
29 | 2661328.9101 | 1193315.3423
30 | 2661345.5613 | 1193285.5702
31 | 2661321.3809 | 1193254.6823
32 | 2661390.2016 | 1193327.3076
33 | 2661180.0353 | 1193424.7571
34 | 2661314.7414 | 1193263.6515
35 | 2661404.8351 | 1193311.1251
36 | 2661404.6001 | 1193340.4351
37 | 2661432.1384 | 1193365.0597
38 | 2661439.3004 | 1193371.4655
39 | 2661415.0985 | 1193299.7753
40 | 2661463.9795 | 1193393.5475
41 | 2661418.5862 | 1193295.9184
42 | 2661489.8957 | 1193417.1834
43 | 2661476.5957 | 1193353.2882
44 | 2661444.4249 | 1193460.0407
45 | 2661443.8625 | 1193481.3474
46 | 2661444.6676 | 1193510.112
47 | 2661444.7799 | 1193514.1701
48 | 2661445.0115 | 1193522.5361
49 | 2661445.0716 | 1193524.707
50 | 2661516.3852 | 1193467.1173
51 | 2661422.9352 | 1193291.1092
52 | 2661445.804 | 1193551.3522
53 | 2661535.2657 | 1193650.9769
54 | 2661506.9496 | 1193652.1822
55 | 2661495.3761 | 1193652.6749
56 | 2661528.5156 | 1193461.8577
57 | 2661446.9156 | 1193591.5313
58 | 2661427.7897 | 1193592.6023
59 | 2661446.1597 | 1193564.2101
60 | 2661428.0876 | 1193616.0188
61 | 2661543.0903 | 1193563.6413
62 | 2661484.1787 | 1193549.8788
63 | 2661428.2248 | 1193626.7969
64 | 2661540.2793 | 1193457.4907
65 | 2661542.4923 | 1193475.7462
66 | 2661548.5056 | 1193475.5629
67 | 2661543.0368 | 1193442.5958
68 | 2661557.8752 | 1193435.5367
69 | 2661574.8251 | 1193427.473
70 | 2661558.8537 | 1193475.2475
71 | 2661576.9862 | 1193466.3177
72 | 2661606.4717 | 1193543.1934
73 | 2661465.8644 | 1193550.5799

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98814 | -0.22636 | 0.0060259 | 0.0015102
1 | 0.98981 | -0.19416 | 0 | 0
2 | 0.98104 | -0.36421 | 0 | 0
3 | 0.99058 | -0.17929 | 0.0031688 | 0.00079417
4 | 0.98057 | -0.3734 | 0 | 0
5 | 0.98015 | -0.38163 | 0.021731 | 0.0054464
6 | 0.97991 | -0.38628 | 0 | 0
7 | 0.98036 | -0.37744 | 0.0016002 | 0.00040105
8 | 0.97989 | -0.38681 | 0.0017945 | 0.00044975
9 | 0.97962 | -0.39211 | 0.0025069 | 0.00062828
10 | 0.97912 | -0.4018 | 0.002491 | 0.0006243
11 | 0.99181 | -0.15567 | 0 | 0
12 | 0.98373 | -0.31113 | 0 | 0
13 | 0.98386 | -0.30859 | 0 | 0
14 | 0.98367 | -0.31226 | 0.00093895 | 0.00023532
15 | 0.98069 | -0.37017 | 0 | 0
16 | 0.98202 | -0.34457 | 0 | 0
17 | 0.9857 | -0.27286 | 0.0038491 | 0.00096469
18 | 0.98365 | -0.31275 | 0.0030572 | 0.00076621
19 | 0.97887 | -0.40676 | 0.003481 | 0.00087241
20 | 0.97887 | -0.40682 | 0.0023438 | 0.00058742
21 | 0.97872 | -0.40975 | 0.0086099 | 0.0021578
22 | 0.99346 | -0.12412 | 0.0095926 | 0.0024041
23 | 0.98066 | -0.37068 | 0.00092426 | 0.00023164
24 | 0.97966 | -0.3902 | 0 | 0
25 | 0.9816 | -0.35269 | 0.037681 | 0.0094438
26 | 0.97943 | -0.39467 | 0.013904 | 0.0034846
27 | 0.97722 | -0.43788 | 0 | 0
28 | 0.988 | -0.22858 | 0.0055712 | 0.0013963
29 | 0.98588 | -0.27233 | 0.012535 | 0.0031416
30 | 0.98628 | -0.26466 | 0 | 0
31 | 0.98622 | -0.26576 | 0 | 0
32 | 0.98713 | -0.24808 | 0 | 0
33 | 0.9803 | -0.37878 | 0.0025317 | 0.00063449
34 | 0.9862 | -0.26607 | 0.001562 | 0.00039149
35 | 0.9869 | -0.25256 | 0.0020262 | 0.00050781
36 | 0.98759 | -0.23917 | 0.0012627 | 0.00031647
37 | 0.9885 | -0.22147 | 0 | 0
38 | 0.98873 | -0.21686 | 0.0064582 | 0.0016186
39 | 0.98677 | -0.25515 | 0.0015487 | 0.00038815
40 | 0.98975 | -0.19722 | 0 | 0
41 | 0.98673 | -0.25589 | 0.005975 | 0.0014975
42 | 0.98925 | -0.20684 | 0.0010581 | 0.00026519
43 | 0.98969 | -0.19842 | 0.0016003 | 0.00040108
44 | 0.99293 | -0.13582 | 0 | 0
45 | 0.9939 | -0.11703 | 0.058254 | 0.0146
46 | 0.99675 | -0.062267 | 0.059763 | 0.014978
47 | 0.99706 | -0.056289 | 0.071497 | 0.017919
48 | 0.99767 | -0.044586 | 0.026122 | 0.0065469
49 | 0.99785 | -0.041221 | 0 | 0
50 | 0.98853 | -0.22088 | 0 | 0
51 | 0.98672 | -0.25611 | 0.0019274 | 0.00048306
52 | 1 | 0 | -0.60195 | -0.1524
53 | 0.97375 | -0.50616 | 0.029756 | 0.0074576
54 | 0.97454 | -0.49067 | 0.0012829 | 0.00032151
55 | 0.97487 | -0.48407 | 0.022949 | 0.0057516
56 | 0.98836 | -0.22416 | 0.0015739 | 0.00039447
57 | 0.99718 | -0.053318 | 0 | 0
58 | 0.99545 | -0.086135 | 0 | 0
59 | 0.99883 | -0.022118 | 0.099912 | 0.02504
60 | 0.99264 | -0.13975 | 0.0089144 | 0.0022342
61 | 0.99651 | -0.067011 | 0.03412 | 0.0085514
62 | 0.99881 | -0.022868 | 0 | 0
63 | 0.99143 | -0.16283 | 0.00096315 | 0.00024139
64 | 0.98822 | -0.22694 | 0 | 0
65 | 0.98802 | -0.23072 | 0 | 0
66 | 0.98796 | -0.23189 | 0.009933 | 0.0024895
67 | 0.9882 | -0.22739 | 0.00048782 | 0.00012226
68 | 0.98818 | -0.22768 | 0 | 0
69 | 0.98816 | -0.228 | 0.00096953 | 0.00024299
70 | 0.98796 | -0.23207 | 0 | 0
71 | 0.98793 | -0.23252 | 0 | 0
72 | 0.98785 | -0.23412 | 0.00096374 | 0.00024154
73 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.05349 | -0.013546 | 0.053572 | 0.013598 | 8.2857e-05 | 5.2592e-05 | 0.080599 | 0.080599 | 0.080599 | 0.98814 | -0.22636 | 0.98981 | -0.19416 | 22.1425
1 | 0.047464 | 0.012035 | -0.047151 | -0.011837 | 0.00031227 | 0.00019778 | 0.071525 | 0.071525 | 0.071525 | 0.98814 | -0.22636 | 0.98104 | -0.36421 | 19.6498
2 | -0.053572 | -0.013598 | 0.053611 | 0.013622 | 3.8357e-05 | 2.4346e-05 | 0.080599 | 0.080599 | 0.080599 | 0.98981 | -0.19416 | 0.99058 | -0.17929 | 22.1425
3 | 0.025402 | 0.0063801 | -0.025391 | -0.0063732 | 1.1127e-05 | 6.8691e-06 | 0.038534 | 0.038534 | 0.038534 | 0.98104 | -0.36421 | 0.98057 | -0.3734 | 10.5863
4 | 0.02175 | 0.0054574 | -0.021731 | -0.0054464 | 1.8054e-05 | 1.0996e-05 | 0.032991 | 0.032992 | 0.032992 | 0.98104 | -0.36421 | 0.98015 | -0.38163 | 9.0636
5 | -0.05678 | -0.014417 | 0.056844 | 0.014458 | 6.4603e-05 | 4.1041e-05 | 0.085359 | 0.085358 | 0.085359 | 0.99058 | -0.17929 | 0.99181 | -0.15567 | 23.4501
6 | 0.021258 | 0.0053381 | -0.021245 | -0.0053302 | 1.3059e-05 | 7.9357e-06 | 0.032263 | 0.032263 | 0.032263 | 0.98057 | -0.3734 | 0.97991 | -0.38628 | 8.8634
7 | 0.0041328 | 0.0010351 | -0.004132 | -0.0010353 | 7.9559e-07 | -1.7112e-07 | 0.0062713 | 0.0062716 | 0.0062716 | 0.98057 | -0.3734 | 0.98036 | -0.37744 | 1.723
8 | 0.0017946 | 0.00044957 | -0.0017945 | -0.00044975 | 4.5487e-08 | -1.7666e-07 | 0.002725 | 0.0027251 | 0.0027251 | 0.97991 | -0.38628 | 0.97989 | -0.38681 | 0.74864
9 | 0.01945 | 0.0048806 | -0.019445 | -0.0048773 | 5.4072e-06 | 3.2525e-06 | 0.029538 | 0.029538 | 0.029538 | 0.97991 | -0.38628 | 0.97962 | -0.39211 | 8.1148
10 | 0.0025318 | 0.00063423 | -0.0025317 | -0.00063449 | 1.6234e-07 | -2.6573e-07 | 0.0038427 | 0.0038429 | 0.0038429 | 0.98036 | -0.37744 | 0.9803 | -0.37878 | 1.0557
11 | 0.016938 | 0.0042491 | -0.01693 | -0.0042445 | 7.8187e-06 | 4.6077e-06 | 0.02573 | 0.02573 | 0.02573 | 0.97962 | -0.39211 | 0.97912 | -0.4018 | 7.0687
12 | 0.014439 | 0.0036202 | -0.014436 | -0.0036182 | 3.4148e-06 | 1.9477e-06 | 0.021945 | 0.021945 | 0.021945 | 0.97912 | -0.4018 | 0.97887 | -0.40676 | 6.0287
13 | -0.056844 | -0.014458 | 0.056931 | 0.014513 | 8.6571e-05 | 5.4996e-05 | 0.085358 | 0.085358 | 0.085358 | 0.99181 | -0.15567 | 0.99346 | -0.12412 | 23.4501
14 | -0.0039965 | -0.0010014 | 0.0039969 | 0.0010013 | 4.8307e-07 | -1.3845e-07 | 0.0060451 | 0.0060449 | 0.0060451 | 0.98373 | -0.31113 | 0.98386 | -0.30859 | 1.6607
15 | 0.0039965 | 0.0010014 | -0.0039962 | -0.0010015 | 2.1454e-07 | -6.1444e-08 | 0.0060451 | 0.0060451 | 0.0060451 | 0.98373 | -0.31113 | 0.98367 | -0.31226 | 1.6608
16 | 0.069364 | 0.017594 | -0.069159 | -0.017464 | 0.00020471 | 0.00013039 | 0.10498 | 0.10498 | 0.10498 | 0.98386 | -0.30859 | 0.98069 | -0.37017 | 28.8417
17 | 0.037761 | 0.0094938 | -0.037696 | -0.009453 | 6.475e-05 | 4.077e-05 | 0.057121 | 0.057121 | 0.057121 | 0.98386 | -0.30859 | 0.98202 | -0.34457 | 15.6927
18 | -0.11112 | -0.02809 | 0.11131 | 0.028211 | 0.00019077 | 0.00012187 | 0.16815 | 0.16815 | 0.16815 | 0.98386 | -0.30859 | 0.9857 | -0.27286 | 46.1949
19 | 0.0030573 | 0.00076614 | -0.0030572 | -0.00076621 | 7.2512e-08 | -6.8352e-08 | 0.0046248 | 0.0046248 | 0.0046248 | 0.98367 | -0.31226 | 0.98365 | -0.31275 | 1.2706
20 | 0.00092428 | 0.00023127 | -0.00092426 | -0.00023164 | 2.2507e-08 | -3.7065e-07 | 0.0014023 | 0.0014024 | 0.0014024 | 0.98069 | -0.37017 | 0.98066 | -0.37068 | 0.38528
21 | 0.068235 | 0.017233 | -0.06817 | -0.017191 | 6.5436e-05 | 4.1674e-05 | 0.10358 | 0.10358 | 0.10358 | 0.98069 | -0.37017 | 0.97966 | -0.3902 | 28.4565
22 | 0.037696 | 0.009453 | -0.037681 | -0.0094438 | 1.4594e-05 | 9.1894e-06 | 0.057121 | 0.057121 | 0.057121 | 0.98202 | -0.34457 | 0.9816 | -0.35269 | 15.6927
23 | -0.11516 | -0.029176 | 0.11541 | 0.029333 | 0.00024549 | 0.00015684 | 0.17396 | 0.17396 | 0.17396 | 0.9857 | -0.27286 | 0.988 | -0.22858 | 47.7912
24 | 0.010955 | 0.0027458 | -0.010955 | -0.0027458 | 2.828e-08 | 1.4681e-08 | 0.016653 | 0.016653 | 0.016653 | 0.97887 | -0.40676 | 0.97887 | -0.40682 | 4.575
25 | 0.0086111 | 0.0021584 | -0.0086099 | -0.0021578 | 1.2038e-06 | 5.3495e-07 | 0.01309 | 0.01309 | 0.01309 | 0.97887 | -0.40682 | 0.97872 | -0.40975 | 3.5962
26 | -0.066523 | -0.016917 | 0.066645 | 0.016994 | 0.00012197 | 7.7633e-05 | 0.099726 | 0.099726 | 0.099726 | 0.99346 | -0.12412 | 0.99545 | -0.086135 | 27.3973
27 | 0.013907 | 0.0034863 | -0.013904 | -0.0034846 | 2.9626e-06 | 1.6732e-06 | 0.021124 | 0.021124 | 0.021124 | 0.97966 | -0.3902 | 0.97943 | -0.39467 | 5.8032
28 | 0.054263 | 0.013705 | -0.054139 | -0.013626 | 0.00012368 | 7.8547e-05 | 0.082458 | 0.082458 | 0.082458 | 0.97966 | -0.3902 | 0.97722 | -0.43788 | 22.6534
29 | 0.054139 | 0.013626 | -0.05402 | -0.013551 | 0.00011922 | 7.5718e-05 | 0.082458 | 0.082459 | 0.082459 | 0.97722 | -0.43788 | 0.97487 | -0.48407 | 22.6535
30 | -0.12098 | -0.030729 | 0.12136 | 0.030975 | 0.00038421 | 0.0002455 | 0.18235 | 0.18235 | 0.18235 | 0.988 | -0.22858 | 0.99143 | -0.16283 | 50.0963
31 | -0.012535 | -0.0031416 | 0.01254 | 0.0031441 | 4.5789e-06 | 2.4953e-06 | 0.01892 | 0.018919 | 0.01892 | 0.98588 | -0.27233 | 0.98628 | -0.26466 | 5.1977
32 | 0.0015622 | 0.00039091 | -0.0015621 | -0.00039136 | 8.1728e-08 | -4.4842e-07 | 0.0023566 | 0.0023568 | 0.0023568 | 0.98628 | -0.26466 | 0.98622 | -0.26576 | 0.64748
33 | -0.014102 | -0.003535 | 0.014113 | 0.0035413 | 1.1147e-05 | 6.2951e-06 | 0.021276 | 0.021276 | 0.021276 | 0.98628 | -0.26466 | 0.98713 | -0.24808 | 5.8451
34 | 0.0015621 | 0.00039136 | -0.001562 | -0.00039149 | 2.3247e-08 | -1.2753e-07 | 0.0023568 | 0.0023569 | 0.0023569 | 0.98622 | -0.26576 | 0.9862 | -0.26607 | 0.64749
35 | 0.011481 | 0.0028784 | -0.011479 | -0.0028771 | 2.4508e-06 | 1.2897e-06 | 0.017307 | 0.017308 | 0.017308 | 0.98713 | -0.24808 | 0.9869 | -0.25256 | 4.7548
36 | -0.025594 | -0.0064197 | 0.025605 | 0.0064264 | 1.0878e-05 | 6.7129e-06 | 0.038583 | 0.038583 | 0.038583 | 0.98713 | -0.24808 | 0.98759 | -0.23917 | 10.5998
37 | 0.0094527 | 0.0023693 | -0.0094515 | -0.0023687 | 1.1657e-06 | 5.5052e-07 | 0.014253 | 0.014253 | 0.014253 | 0.9869 | -0.25256 | 0.98677 | -0.25515 | 3.9155
38 | -0.026868 | -0.0067429 | 0.026891 | 0.0067569 | 2.2707e-05 | 1.4059e-05 | 0.040486 | 0.040486 | 0.040486 | 0.98759 | -0.23917 | 0.9885 | -0.22147 | 11.1224
39 | -0.026891 | -0.0067569 | 0.026897 | 0.0067606 | 5.906e-06 | 3.6567e-06 | 0.040486 | 0.040485 | 0.040486 | 0.9885 | -0.22147 | 0.98873 | -0.21686 | 11.1224
40 | -0.033355 | -0.0083792 | 0.033386 | 0.0083988 | 3.1301e-05 | 1.9608e-05 | 0.050205 | 0.050205 | 0.050205 | 0.98873 | -0.21686 | 0.98975 | -0.19722 | 13.7925
41 | 0.0079028 | 0.0019806 | -0.0079025 | -0.0019805 | 2.7693e-07 | 1.1081e-07 | 0.011917 | 0.011917 | 0.011917 | 0.98677 | -0.25515 | 0.98673 | -0.25589 | 3.274
42 | 0.015009 | 0.0037663 | -0.015002 | -0.0037623 | 6.8787e-06 | 3.9397e-06 | 0.022567 | 0.022567 | 0.022567 | 0.98975 | -0.19722 | 0.98925 | -0.20684 | 6.1996
43 | 0.0016004 | 0.00040059 | -0.0016003 | -0.00040108 | 9.1587e-08 | -4.8356e-07 | 0.0024059 | 0.0024061 | 0.0024061 | 0.98975 | -0.19722 | 0.98969 | -0.19842 | 0.66102
44 | -0.049995 | -0.012566 | 0.050142 | 0.012659 | 0.00014701 | 9.3195e-05 | 0.075177 | 0.075177 | 0.075177 | 0.98975 | -0.19722 | 0.99293 | -0.13582 | 20.6531
45 | 0.0019275 | 0.00048299 | -0.0019274 | -0.00048306 | 2.0543e-08 | -6.9674e-08 | 0.0029066 | 0.0029067 | 0.0029067 | 0.98673 | -0.25589 | 0.98672 | -0.25611 | 0.79854
46 | 0.013944 | 0.0034971 | -0.013935 | -0.0034919 | 9.326e-06 | 5.2434e-06 | 0.020975 | 0.020975 | 0.020975 | 0.98925 | -0.20684 | 0.98853 | -0.22088 | 5.7625
47 | -0.050142 | -0.012659 | 0.050188 | 0.012687 | 4.5201e-05 | 2.8653e-05 | 0.075177 | 0.075177 | 0.075177 | 0.99293 | -0.13582 | 0.9939 | -0.11703 | 20.653
48 | -0.10844 | -0.027287 | 0.10873 | 0.027469 | 0.00028457 | 0.00018175 | 0.16239 | 0.16239 | 0.16239 | 0.9939 | -0.11703 | 0.99675 | -0.062267 | 44.613
49 | -0.16849 | -0.042447 | 0.16854 | 0.042478 | 4.8188e-05 | 3.0735e-05 | 0.25161 | 0.25161 | 0.25161 | 0.99675 | -0.062267 | 0.99706 | -0.056289 | 34.5618
50 | -0.24004 | -0.060397 | 0.24017 | 0.060482 | 0.00013431 | 8.5632e-05 | 0.35831 | 0.35831 | 0.35831 | 0.99706 | -0.056289 | 0.99767 | -0.044586 | 32.8125
51 | -0.26629 | -0.067029 | 0.26633 | 0.067057 | 4.2845e-05 | 2.7336e-05 | 0.39727 | 0.39727 | 0.39727 | 0.99767 | -0.044586 | 0.99785 | -0.041221 | 36.3803
52 | -0.26633 | -0.067057 | 0.26686 | 0.067392 | 0.00052597 | 0.00033558 | 0.39727 | 0.39727 | 0.39727 | 0.99785 | -0.041221 | 1 | 0 | 36.3803
53 | 0.013935 | 0.0034919 | -0.013932 | -0.0034907 | 2.1814e-06 | 1.2266e-06 | 0.020975 | 0.020975 | 0.020975 | 0.98853 | -0.22088 | 0.98836 | -0.22416 | 5.7625
54 | 0.29921 | 0.076388 | -0.29889 | -0.076184 | 0.00031944 | 0.00020393 | 0.44573 | 0.44573 | 0.44573 | 1 | 0 | 0.99883 | -0.022118 | 40.8175
55 | 0.03423 | 0.0086199 | -0.034192 | -0.0085965 | 3.7383e-05 | 2.3422e-05 | 0.050949 | 0.050949 | 0.050949 | 1 | 0 | 0.99881 | -0.022868 | 13.997
56 | -0.029756 | -0.0074576 | 0.029778 | 0.0074713 | 2.1975e-05 | 1.3711e-05 | 0.045471 | 0.045471 | 0.045471 | 0.97375 | -0.50616 | 0.97454 | -0.49067 | 12.4921
57 | -0.031061 | -0.0077928 | 0.031071 | 0.0077989 | 9.7722e-06 | 6.1098e-06 | 0.04743 | 0.04743 | 0.04743 | 0.97454 | -0.49067 | 0.97487 | -0.48407 | 13.0302
58 | 0.012358 | 0.0030962 | -0.012357 | -0.0030953 | 1.633e-06 | 8.8395e-07 | 0.018606 | 0.018606 | 0.018606 | 0.98836 | -0.22416 | 0.98822 | -0.22694 | 5.1115
59 | 0.19868 | 0.050952 | -0.19836 | -0.05075 | 0.00031565 | 0.00020152 | 0.29688 | 0.29688 | 0.29688 | 0.99718 | -0.053318 | 0.99545 | -0.086135 | 40.7809
60 | -0.19868 | -0.050952 | 0.19898 | 0.051143 | 0.00030113 | 0.00019165 | 0.29688 | 0.29688 | 0.29688 | 0.99718 | -0.053318 | 0.99883 | -0.022118 | 27.1872
61 | 0.13172 | 0.033756 | -0.13138 | -0.033537 | 0.00034137 | 0.00021817 | 0.19716 | 0.19716 | 0.19716 | 0.99545 | -0.086135 | 0.99264 | -0.13975 | 54.1646
62 | 0.12246 | 0.031303 | -0.12233 | -0.031216 | 0.00013655 | 8.7251e-05 | 0.1838 | 0.1838 | 0.1838 | 0.99264 | -0.13975 | 0.99143 | -0.16283 | 50.4934
63 | -0.03412 | -0.0085514 | 0.034192 | 0.0085965 | 7.1915e-05 | 4.5061e-05 | 0.050949 | 0.050949 | 0.050949 | 0.99651 | -0.067011 | 0.99881 | -0.022868 | 13.9971
64 | 0.0014574 | 0.00036461 | -0.0014574 | -0.00036481 | 3.1368e-08 | -2.025e-07 | 0.0021943 | 0.0021944 | 0.0021944 | 0.98822 | -0.22694 | 0.9882 | -0.22739 | 0.60284
65 | 0.010899 | 0.0027307 | -0.010897 | -0.0027297 | 1.9609e-06 | 1.0063e-06 | 0.016412 | 0.016412 | 0.016412 | 0.98822 | -0.22694 | 0.98802 | -0.23072 | 4.5087
66 | 0.010897 | 0.0027297 | -0.010897 | -0.0027294 | 6.0764e-07 | 3.1185e-07 | 0.016412 | 0.016412 | 0.016412 | 0.98802 | -0.23072 | 0.98796 | -0.23189 | 4.5087
67 | 0.00096384 | 0.00023994 | -0.00096383 | -0.00024007 | 8.1753e-09 | -1.2734e-07 | 0.0014511 | 0.0014512 | 0.0014512 | 0.98796 | -0.23189 | 0.98796 | -0.23207 | 0.39867
68 | 0.00096956 | 0.00024255 | -0.00096954 | -0.00024276 | 1.3132e-08 | -2.0211e-07 | 0.0014598 | 0.0014599 | 0.0014599 | 0.9882 | -0.22739 | 0.98818 | -0.22768 | 0.40106
69 | 0.00096954 | 0.00024276 | -0.00096953 | -0.00024299 | 1.5002e-08 | -2.3086e-07 | 0.0014599 | 0.00146 | 0.00146 | 0.98818 | -0.22768 | 0.98816 | -0.228 | 0.40109
70 | 0.00096383 | 0.00024007 | -0.00096381 | -0.00024039 | 2.0905e-08 | -3.2556e-07 | 0.0014512 | 0.0014513 | 0.0014513 | 0.98796 | -0.23207 | 0.98793 | -0.23252 | 0.3987
71 | 0.00096381 | 0.00024039 | -0.00096374 | -0.00024154 | 7.327e-08 | -1.1405e-06 | 0.0014513 | 0.0014517 | 0.0014517 | 0.98793 | -0.23252 | 0.98785 | -0.23412 | 0.39882

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.60195 | 0.1524

## res_load
| p_mw | q_mvar
0 | 0.0060259 | 0.0015102
1 | 0.0031688 | 0.00079417
2 | 0.021731 | 0.0054464
3 | 0.0016002 | 0.00040105
4 | 0.0017945 | 0.00044975
5 | 0.0025069 | 0.00062828
6 | 0.002491 | 0.0006243
7 | 0.00093895 | 0.00023532
8 | 0.0038491 | 0.00096469
9 | 0.0030572 | 0.00076621
10 | 0.003481 | 0.00087241
11 | 0.0023438 | 0.00058742
12 | 0.0086099 | 0.0021578
13 | 0.0095926 | 0.0024041
14 | 0.00092426 | 0.00023164
15 | 0.037681 | 0.0094438
16 | 0.013904 | 0.0034846
17 | 0.0055712 | 0.0013963
18 | 0.012535 | 0.0031416
19 | 0.0025317 | 0.00063449
20 | 0.001562 | 0.00039149
21 | 0.0020262 | 0.00050781
22 | 0.0012627 | 0.00031647
23 | 0.0064582 | 0.0016186
24 | 0.0015487 | 0.00038815
25 | 0.005975 | 0.0014975
26 | 0.0010581 | 0.00026519
27 | 0.0016003 | 0.00040108
28 | 0.058254 | 0.0146
29 | 0.059763 | 0.014978
30 | 0.071497 | 0.017919
31 | 0.026122 | 0.0065469
32 | 0.0019274 | 0.00048306
33 | 0.029756 | 0.0074576
34 | 0.0012829 | 0.00032151
35 | 0.022949 | 0.0057516
36 | 0.0015739 | 0.00039447
37 | 0.099912 | 0.02504
38 | 0.0089144 | 0.0022342
39 | 0.03412 | 0.0085514
40 | 0.00096315 | 0.00024139
41 | 0.009933 | 0.0024895
42 | 0.00048782 | 0.00012226
43 | 0.00096953 | 0.00024299
44 | 0.00096374 | 0.00024154

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1