## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1407-7_0_10_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1407-7_0_10_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1407-7_0_10_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_1407-7_0_10_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_1407-7_0_10_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_1407-7_0_10_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1407-7_0_10_node_42 | 0.4 | n |  | TRUE
7 | bus_LV_1407-7_0_10_node_40 | 0.4 | n |  | TRUE
8 | bus_LV_1407-7_0_10_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1407-7_0_10_node_41 | 0.4 | n |  | TRUE
10 | bus_LV_1407-7_0_10_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_1407-7_0_10_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_1407-7_0_10_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_1407-7_0_10_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_1407-7_0_10_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1407-7_0_10_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1407-7_0_10_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1407-7_0_10_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1407-7_0_10_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1407-7_0_10_node_31 | 0.4 | n |  | TRUE
20 | bus_LV_1407-7_0_10_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1407-7_0_10_node_60 | 0.4 | n |  | TRUE
22 | bus_LV_1407-7_0_10_node_53 | 0.4 | n |  | TRUE
23 | bus_LV_1407-7_0_10_node_56 | 0.4 | n |  | TRUE
24 | bus_LV_1407-7_0_10_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_1407-7_0_10_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_1407-7_0_10_node_51 | 0.4 | n |  | TRUE
27 | bus_LV_1407-7_0_10_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_1407-7_0_10_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_1407-7_0_10_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_1407-7_0_10_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_1407-7_0_10_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_1407-7_0_10_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_1407-7_0_10_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_1407-7_0_10_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_1407-7_0_10_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_1407-7_0_10_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_1407-7_0_10_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_1407-7_0_10_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_1407-7_0_10_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_1407-7_0_10_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_1407-7_0_10_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_1407-7_0_10_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_1407-7_0_10_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_1407-7_0_10_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_1407-7_0_10_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_1407-7_0_10_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_1407-7_0_10_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_1407-7_0_10_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_1407-7_0_10_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_1407-7_0_10_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_1407-7_0_10_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_1407-7_0_10_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_1407-7_0_10_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_1407-7_0_10_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_1407-7_0_10_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_1407-7_0_10_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_1407-7_0_10_node_57 | 0.4 | n |  | TRUE
58 | bus_MV_141_0_node_14 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1407-7_0_10_load_0 | 0 | 0.02124 | 0.0053232 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1407-7_0_10_load_7 | 4 | 0.0026206 | 0.00065678 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1407-7_0_10_load_42 | 6 | 0.0015401 | 0.00038598 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1407-7_0_10_load_40 | 7 | 0.001234 | 0.00030927 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1407-7_0_10_load_41 | 9 | 0.022438 | 0.0056234 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1407-7_0_10_load_22 | 10 | 0.0006358 | 0.00015935 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1407-7_0_10_load_20 | 11 | 0.0031306 | 0.00078459 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1407-7_0_10_load_19 | 12 | 0.0006347 | 0.00015907 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1407-7_0_10_load_9 | 14 | 0.078931 | 0.019782 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1407-7_0_10_load_10 | 15 | 0.085395 | 0.021402 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1407-7_0_10_load_12 | 17 | 0.027002 | 0.0067674 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1407-7_0_10_load_13 | 18 | 0.027843 | 0.0069781 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1407-7_0_10_load_31 | 19 | 0.0060826 | 0.0015244 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1407-7_0_10_load_60 | 21 | 0.033572 | 0.0084139 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1407-7_0_10_load_32 | 24 | 0.006605 | 0.0016554 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1407-7_0_10_load_23 | 25 | 0.0037765 | 0.00094647 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1407-7_0_10_load_51 | 26 | 0.019989 | 0.0050096 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1407-7_0_10_load_54 | 28 | 0.0047385 | 0.0011876 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1407-7_0_10_load_15 | 29 | 0.012722 | 0.0031885 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1407-7_0_10_load_16 | 30 | 0.00047224 | 0.00011836 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1407-7_0_10_load_17 | 31 | 0.0037854 | 0.00094871 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1407-7_0_10_load_18 | 32 | 0.001707 | 0.00042782 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1407-7_0_10_load_24 | 33 | 0.039211 | 0.0098271 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1407-7_0_10_load_25 | 34 | 0.016913 | 0.0042389 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1407-7_0_10_load_27 | 36 | 0.0079943 | 0.0020035 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1407-7_0_10_load_43 | 40 | 0.0048848 | 0.0012243 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1407-7_0_10_load_46 | 41 | 0.0062881 | 0.001576 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1407-7_0_10_load_44 | 42 | 0.0055807 | 0.0013986 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1407-7_0_10_load_45 | 43 | 0.0061993 | 0.0015537 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1407-7_0_10_load_37 | 44 | 0.0051346 | 0.0012869 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1407-7_0_10_load_35 | 45 | 0.0038761 | 0.00097143 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1407-7_0_10_load_48 | 46 | 0.015608 | 0.0039118 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1407-7_0_10_load_49 | 47 | 0.011613 | 0.0029105 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1407-7_0_10_load_52 | 49 | 0.029121 | 0.0072984 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1407-7_0_10_load_33 | 50 | 0.01216 | 0.0030476 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1407-7_0_10_load_36 | 52 | 0.016958 | 0.0042501 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1407-7_0_10_load_59 | 53 | 0.0077802 | 0.0019499 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1407-7_0_10_load_58 | 54 | 0.0034933 | 0.00087549 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1407-7_0_10_load_50 | 55 | 0.0044653 | 0.0011191 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1407-7_0_10_load_55 | 56 | 0.0051665 | 0.0012948 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1407-7_0_10_load_57 | 57 | 0.0046474 | 0.0011647 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1407-7_0_10_line_0 |  | 0 | 1 | 0.047174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1407-7_0_10_line_1 |  | 1 | 2 | 0.068478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1407-7_0_10_line_2 |  | 2 | 3 | 0.029282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1407-7_0_10_line_3 |  | 2 | 4 | 0.015419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1407-7_0_10_line_4 |  | 3 | 10 | 0.035475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1407-7_0_10_line_5 |  | 3 | 11 | 0.017752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1407-7_0_10_line_6 |  | 5 | 6 | 0.025526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1407-7_0_10_line_7 |  | 5 | 7 | 0.021743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1407-7_0_10_line_8 |  | 6 | 12 | 0.013371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1407-7_0_10_line_9 |  | 7 | 8 | 0.025061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1407-7_0_10_line_10 |  | 8 | 9 | 0.07961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1407-7_0_10_line_11 |  | 11 | 13 | 0.045121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1407-7_0_10_line_12 |  | 12 | 31 | 0.017726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1407-7_0_10_line_13 |  | 13 | 25 | 0.014208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_1407-7_0_10_line_14 |  | 13 | 18 | 0.035225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_1407-7_0_10_line_15 |  | 14 | 15 | 0.046455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_1407-7_0_10_line_16 |  | 14 | 16 | 0.031416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_1407-7_0_10_line_17 |  | 15 | 17 | 0.0238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_1407-7_0_10_line_18 |  | 16 | 18 | 0.016151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_1407-7_0_10_line_19 |  | 17 | 19 | 0.026019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_1407-7_0_10_line_20 |  | 19 | 24 | 0.056505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_1407-7_0_10_line_21 |  | 20 | 21 | 0.024733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1407-7_0_10_line_22 |  | 20 | 22 | 0.017701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_1407-7_0_10_line_23 |  | 20 | 23 | 0.14122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_1407-7_0_10_line_24 |  | 22 | 26 | 0.041439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_1407-7_0_10_line_25 |  | 23 | 27 | 0.026303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1407-7_0_10_line_26 |  | 23 | 28 | 0.01103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_1407-7_0_10_line_27 |  | 24 | 48 | 0.076314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_1407-7_0_10_line_28 |  | 25 | 32 | 0.023435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_1407-7_0_10_line_29 |  | 26 | 49 | 0.080122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_1407-7_0_10_line_30 |  | 27 | 44 | 0.032632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1407-7_0_10_line_31 |  | 28 | 56 | 0.016284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_1407-7_0_10_line_32 |  | 29 | 30 | 0.012414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1407-7_0_10_line_33 |  | 29 | 31 | 0.020471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1407-7_0_10_line_34 |  | 30 | 32 | 0.035941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1407-7_0_10_line_35 |  | 33 | 34 | 0.027485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1407-7_0_10_line_36 |  | 33 | 35 | 0.020328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1407-7_0_10_line_37 |  | 34 | 36 | 0.051274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1407-7_0_10_line_38 |  | 35 | 37 | 0.14684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1407-7_0_10_line_39 |  | 35 | 38 | 0.056827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1407-7_0_10_line_40 |  | 36 | 39 | 0.007983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1407-7_0_10_line_41 |  | 37 | 40 | 0.014901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1407-7_0_10_line_42 |  | 38 | 41 | 0.054703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1407-7_0_10_line_43 |  | 39 | 42 | 0.015878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1407-7_0_10_line_44 |  | 39 | 43 | 0.010457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1407-7_0_10_line_45 |  | 41 | 45 | 0.0050051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_1407-7_0_10_line_46 |  | 42 | 46 | 0.030544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1407-7_0_10_line_47 |  | 43 | 47 | 0.015738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1407-7_0_10_line_48 |  | 45 | 51 | 0.017116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_1407-7_0_10_line_49 |  | 47 | 55 | 0.0029931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1407-7_0_10_line_50 |  | 48 | 49 | 0.025123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_1407-7_0_10_line_51 |  | 50 | 51 | 0.052783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1407-7_0_10_line_52 |  | 51 | 52 | 0.013251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_1407-7_0_10_line_53 |  | 52 | 53 | 0.024161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_1407-7_0_10_line_54 |  | 53 | 54 | 0.013813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_1407-7_0_10_line_55 |  | 54 | 57 | 0.0023404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_1407-7_0_10_line_56 |  | 56 | 57 | 0.0085842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1407-7_0_10_trafo_53 | 0.63 MVA 20/0.4 kV | 58 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2661372.2821 | 1193770.8583 | 2661325.1588 | 1193768.6741
1 | 2661372.2821 | 1193770.8583 | 2661372.3937 | 1193805.2905 | 2661372.4107 | 1193808.8372 | 2661372.336 | 1193819.8317 | 2661386.4105 | 1193817.7971 | 2661391.6389 | 1193817.0391
2 | 2661391.6389 | 1193817.0391 | 2661402.7395 | 1193815.8968 | 2661415.4805 | 1193814.5934 | 2661420.8516 | 1193814.0371
3 | 2661391.6389 | 1193817.0391 | 2661389.7218 | 1193805.5573 | 2661389.7306 | 1193801.7786
4 | 2661420.8516 | 1193814.0371 | 2661434.9083 | 1193811.5133 | 2661455.7718 | 1193807.789
5 | 2661420.8516 | 1193814.0371 | 2661422.6488 | 1193831.6981
6 | 2661326.7215 | 1193826.6347 | 2661324.1761 | 1193852.0338
7 | 2661326.7215 | 1193826.6347 | 2661317.5846 | 1193827.2748 | 2661305.0044 | 1193827.5621
8 | 2661324.1761 | 1193852.0338 | 2661323.8689 | 1193855.0998 | 2661325.6708 | 1193865.23
9 | 2661279.9496 | 1193828.1343 | 2661305.0044 | 1193827.5621
10 | 2661279.9496 | 1193828.1343 | 2661280.153 | 1193871.5171 | 2661283.6432 | 1193884.1935 | 2661293.7768 | 1193890.3898 | 2661297.3455 | 1193901.0065
11 | 2661431.465 | 1193875.9263 | 2661425.8787 | 1193851.4326 | 2661422.693 | 1193832.1332 | 2661422.6488 | 1193831.6981
12 | 2661331.723 | 1193881.6805 | 2661326.9674 | 1193872.5194 | 2661325.6708 | 1193865.23
13 | 2661431.465 | 1193875.9263 | 2661417.5908 | 1193878.9865
14 | 2661431.465 | 1193875.9263 | 2661439.3266 | 1193910.2632
15 | 2661412.3016 | 1193932.9926 | 2661367.0102 | 1193943.323
16 | 2661442.9311 | 1193926.0064 | 2661412.3016 | 1193932.9926
17 | 2661367.0102 | 1193943.323 | 2661343.8059 | 1193948.6156
18 | 2661442.9311 | 1193926.0064 | 2661439.3266 | 1193910.2632
19 | 2661318.4382 | 1193954.4017 | 2661343.8059 | 1193948.6156
20 | 2661277.3083 | 1193975.483 | 2661321.3906 | 1193965.2604 | 2661318.4382 | 1193954.4017 | 2661318.4382 | 1193954.4017
21 | 2661410.8352 | 1194023.5669 | 2661405.2067 | 1193999.484
22 | 2661410.8352 | 1194023.5669 | 2661393.5695 | 1194027.681
23 | 2661410.8352 | 1194023.5669 | 2661417.4053 | 1194022.0111 | 2661463.6028 | 1194011.0012 | 2661476.2863 | 1194064.1846 | 2661484.5083 | 1194095.4205
24 | 2661393.5695 | 1194027.681 | 2661393.8778 | 1194029.5741 | 2661394.4301 | 1194032.9373 | 2661359.2449 | 1194041.0708
25 | 2661484.5083 | 1194095.4205 | 2661486.9379 | 1194105.2066 | 2661491.0672 | 1194120.8915
26 | 2661484.5083 | 1194095.4205 | 2661477.2792 | 1194097.3362 | 2661474.2726 | 1194099.2267
27 | 2661280.2384 | 1194026.8413 | 2661278.9134 | 1194022.2695 | 2661274.1509 | 1194022.9545 | 2661269.0805 | 1194017.9775 | 2661264.5792 | 1194010.2714 | 2661258.1225 | 1193979.9321 | 2661277.3083 | 1193975.483
28 | 2661417.5908 | 1193878.9865 | 2661416.631 | 1193879.1982 | 2661394.6863 | 1193883.9442
29 | 2661359.2449 | 1194041.0708 | 2661332.4463 | 1194047.2657 | 2661324.3534 | 1194015.9868 | 2661304.634 | 1194020.8388
30 | 2661491.0672 | 1194120.8915 | 2661483.7477 | 1194122.7062 | 2661464.3134 | 1194138.5762
31 | 2661474.2726 | 1194099.2267 | 2661460.4873 | 1194107.8945
32 | 2661347.5321 | 1193891.1347 | 2661359.4704 | 1193887.7305
33 | 2661331.723 | 1193881.6805 | 2661335.0613 | 1193888.1114 | 2661339.9186 | 1193890.8294 | 2661346.8335 | 1193891.3339 | 2661347.5321 | 1193891.1347
34 | 2661394.6863 | 1193883.9442 | 2661389.3933 | 1193885.0889 | 2661374.7669 | 1193887.4513 | 2661366.1029 | 1193885.8393 | 2661359.4704 | 1193887.7305
35 | 2661410.1423 | 1194214.5698 | 2661404.6218 | 1194213.0907 | 2661384.2288 | 1194205.4707
36 | 2661429.7774 | 1194219.8306 | 2661410.1423 | 1194214.5698
37 | 2661336.1981 | 1194187.5236 | 2661384.2288 | 1194205.4707
38 | 2661289.1663 | 1194228.0382 | 2661292.2905 | 1194226.5804 | 2661295.3381 | 1194225.1664 | 2661309.7908 | 1194218.1103 | 2661329.8867 | 1194212.9132 | 2661376.9859 | 1194212.6403 | 2661413.7058 | 1194225.7135 | 2661429.7774 | 1194219.8306
39 | 2661429.7774 | 1194219.8306 | 2661442.5253 | 1194225.1868 | 2661444.7166 | 1194225.5206 | 2661446.1905 | 1194224.4795 | 2661456.5725 | 1194218.3048 | 2661478.5051 | 1194202.7321
40 | 2661328.7201 | 1194184.7294 | 2661336.1981 | 1194187.5236
41 | 2661289.1663 | 1194228.0382 | 2661283.1385 | 1194221.317 | 2661278.5308 | 1194217.6754
42 | 2661478.5051 | 1194202.7321 | 2661462.3642 | 1194190.8706 | 2661439.6392 | 1194164.6842
43 | 2661328.7201 | 1194184.7294 | 2661328.8526 | 1194168.8519
44 | 2661328.7201 | 1194184.7294 | 2661318.9453 | 1194181.0152
45 | 2661439.6392 | 1194164.6842 | 2661436.3587 | 1194160.9041
46 | 2661322.76 | 1194140.9318 | 2661327.7945 | 1194144.9302 | 2661329.0206 | 1194148.7338 | 2661328.8526 | 1194168.8519
47 | 2661318.9453 | 1194181.0152 | 2661304.2335 | 1194175.425
48 | 2661425.1427 | 1194147.9747 | 2661430.5429 | 1194154.2004 | 2661432.0116 | 1194155.8942 | 2661433.7438 | 1194157.8909 | 2661436.3587 | 1194160.9041
49 | 2661304.2335 | 1194175.425 | 2661302.4392 | 1194174.7432 | 2661301.5088 | 1194174.2075
50 | 2661280.2384 | 1194026.8413 | 2661304.634 | 1194020.8388
51 | 2661425.1427 | 1194147.9747 | 2661407.7208 | 1194157.6793 | 2661383.8268 | 1194141.6026 | 2661380.5221 | 1194139.2765
52 | 2661425.1427 | 1194147.9747 | 2661420.2469 | 1194135.6617
53 | 2661440.0357 | 1194121.8003 | 2661420.2469 | 1194135.6617
54 | 2661440.0357 | 1194121.8003 | 2661451.3492 | 1194113.8754
55 | 2661453.2661 | 1194112.5327 | 2661451.3492 | 1194113.8754
56 | 2661460.4873 | 1194107.8945 | 2661454.6283 | 1194111.5785 | 2661453.2661 | 1194112.5327

## bus_geodata
| x | y | coords
0 | 2661325.1588 | 1193768.6741
1 | 2661372.2821 | 1193770.8583
2 | 2661391.6388 | 1193817.0391
3 | 2661420.8516 | 1193814.0371
4 | 2661389.7306 | 1193801.7786
5 | 2661326.7214 | 1193826.6347
6 | 2661324.1761 | 1193852.0338
7 | 2661305.0044 | 1193827.5621
8 | 2661279.9496 | 1193828.1343
9 | 2661297.3455 | 1193901.0065
10 | 2661455.7718 | 1193807.789
11 | 2661422.6488 | 1193831.6981
12 | 2661325.6708 | 1193865.23
13 | 2661431.465 | 1193875.9263
14 | 2661412.3016 | 1193932.9926
15 | 2661367.0102 | 1193943.323
16 | 2661442.9311 | 1193926.0064
17 | 2661343.8059 | 1193948.6156
18 | 2661439.3266 | 1193910.2632
19 | 2661318.4382 | 1193954.4017
20 | 2661410.8352 | 1194023.5669
21 | 2661405.2067 | 1193999.484
22 | 2661393.5695 | 1194027.681
23 | 2661484.5083 | 1194095.4205
24 | 2661277.3083 | 1193975.483
25 | 2661417.5908 | 1193878.9865
26 | 2661359.2449 | 1194041.0708
27 | 2661491.0672 | 1194120.8915
28 | 2661474.2726 | 1194099.2267
29 | 2661347.5321 | 1193891.1347
30 | 2661359.4704 | 1193887.7305
31 | 2661331.723 | 1193881.6805
32 | 2661394.6863 | 1193883.9442
33 | 2661410.1423 | 1194214.5698
34 | 2661384.2288 | 1194205.4707
35 | 2661429.7774 | 1194219.8306
36 | 2661336.1981 | 1194187.5236
37 | 2661289.1663 | 1194228.0382
38 | 2661478.5051 | 1194202.7321
39 | 2661328.7201 | 1194184.7294
40 | 2661278.5308 | 1194217.6754
41 | 2661439.6392 | 1194164.6842
42 | 2661328.8526 | 1194168.8519
43 | 2661318.9453 | 1194181.0152
44 | 2661464.3134 | 1194138.5762
45 | 2661436.3587 | 1194160.9041
46 | 2661322.76 | 1194140.9318
47 | 2661304.2335 | 1194175.425
48 | 2661280.2384 | 1194026.8413
49 | 2661304.634 | 1194020.8388
50 | 2661380.5221 | 1194139.2765
51 | 2661425.1427 | 1194147.9747
52 | 2661420.2469 | 1194135.6617
53 | 2661440.0357 | 1194121.8003
54 | 2661451.3492 | 1194113.8754
55 | 2661301.5088 | 1194174.2075
56 | 2661460.4873 | 1194107.8945
57 | 2661453.2661 | 1194112.5327
58 | 2661410.8352 | 1194023.5669

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9732 | -0.51719 | 0.02124 | 0.0053232
1 | 0.97414 | -0.49877 | 0 | 0
2 | 0.97549 | -0.47209 | 0 | 0
3 | 0.97614 | -0.4593 | 0 | 0
4 | 0.97545 | -0.47283 | 0.0026206 | 0.00065678
5 | 0.97329 | -0.51524 | 0 | 0
6 | 0.97386 | -0.50413 | 0.0015401 | 0.00038598
7 | 0.97281 | -0.52472 | 0.001234 | 0.00030927
8 | 0.97229 | -0.53508 | 0 | 0
9 | 0.97062 | -0.56807 | 0.022438 | 0.0056234
10 | 0.97612 | -0.45971 | 0.0006358 | 0.00015935
11 | 0.97655 | -0.45135 | 0.0031306 | 0.00078459
12 | 0.97417 | -0.49793 | 0.0006347 | 0.00015907
13 | 0.97771 | -0.42859 | 0 | 0
14 | 0.97912 | -0.40086 | 0.078931 | 0.019782
15 | 0.9807 | -0.37004 | 0.085395 | 0.021402
16 | 0.97852 | -0.41273 | 0 | 0
17 | 0.98188 | -0.34694 | 0.027002 | 0.0067674
18 | 0.97821 | -0.41883 | 0.027843 | 0.0069781
19 | 0.98331 | -0.31921 | 0.0060826 | 0.0015244
20 | 0.99929 | -0.013359 | 0 | 0
21 | 0.99854 | -0.027863 | 0.033572 | 0.0084139
22 | 1 | 0 | -0.58444 | -0.14973
23 | 0.99452 | -0.10389 | 0 | 0
24 | 0.98646 | -0.25804 | 0.006605 | 0.0016554
25 | 0.97758 | -0.43109 | 0.0037765 | 0.00094647
26 | 0.99726 | -0.051711 | 0.019989 | 0.0050096
27 | 0.9944 | -0.10627 | 0 | 0
28 | 0.99416 | -0.11079 | 0.0047385 | 0.0011876
29 | 0.97517 | -0.47839 | 0.012722 | 0.0031885
30 | 0.97566 | -0.46876 | 0.00047224 | 0.00011836
31 | 0.9746 | -0.48952 | 0.0037854 | 0.00094871
32 | 0.97709 | -0.44061 | 0.001707 | 0.00042782
33 | 0.9775 | -0.43198 | 0.039211 | 0.0098271
34 | 0.97575 | -0.46632 | 0.016913 | 0.0042389
35 | 0.97954 | -0.39217 | 0 | 0
36 | 0.97329 | -0.51475 | 0.0079943 | 0.0020035
37 | 0.97887 | -0.40521 | 0 | 0
38 | 0.98548 | -0.27675 | 0 | 0
39 | 0.97297 | -0.52114 | 0 | 0
40 | 0.9788 | -0.40654 | 0.0048848 | 0.0012243
41 | 0.99121 | -0.16696 | 0.0062881 | 0.001576
42 | 0.97265 | -0.52733 | 0.0055807 | 0.0013986
43 | 0.97275 | -0.52543 | 0.0061993 | 0.0015537
44 | 0.99424 | -0.10922 | 0.0051346 | 0.0012869
45 | 0.99149 | -0.16169 | 0.0038761 | 0.00097143
46 | 0.97221 | -0.53612 | 0.015608 | 0.0039118
47 | 0.97251 | -0.53009 | 0.011613 | 0.0029105
48 | 0.99082 | -0.17425 | 0 | 0
49 | 0.99226 | -0.14683 | 0.029121 | 0.0072984
50 | 0.99129 | -0.16563 | 0.01216 | 0.0030476
51 | 0.99188 | -0.15425 | 0 | 0
52 | 0.99221 | -0.14792 | 0.016958 | 0.0042501
53 | 0.99289 | -0.13495 | 0.0077802 | 0.0019499
54 | 0.9933 | -0.12716 | 0.0034933 | 0.00087549
55 | 0.9725 | -0.53034 | 0.0044653 | 0.0011191
56 | 0.99364 | -0.12073 | 0.0051665 | 0.0012948
57 | 0.99337 | -0.12581 | 0.0046474 | 0.0011647
58 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.02124 | -0.0053232 | 0.021258 | 0.0053345 | 1.8657e-05 | 1.1354e-05 | 0.032475 | 0.032475 | 0.032475 | 0.9732 | -0.51719 | 0.97414 | -0.49877 | 8.9218
1 | -0.021258 | -0.0053345 | 0.021285 | 0.005351 | 2.7082e-05 | 1.6479e-05 | 0.032475 | 0.032475 | 0.032475 | 0.97414 | -0.49877 | 0.97549 | -0.47209 | 8.9217
2 | -0.023906 | -0.0060076 | 0.023921 | 0.0060166 | 1.4607e-05 | 8.9825e-06 | 0.036472 | 0.036472 | 0.036472 | 0.97549 | -0.47209 | 0.97614 | -0.4593 | 10.0198
3 | 0.0026207 | 0.00065665 | -0.0026206 | -0.00065678 | 9.2404e-08 | -1.3335e-07 | 0.0039975 | 0.0039976 | 0.0039976 | 0.97549 | -0.47209 | 0.97545 | -0.47283 | 1.0982
4 | 0.00063581 | 0.00015891 | -0.0006358 | -0.00015935 | 1.2495e-08 | -4.3546e-07 | 0.00096906 | 0.00096922 | 0.00096922 | 0.97614 | -0.4593 | 0.97612 | -0.45971 | 0.26627
5 | -0.024556 | -0.0061755 | 0.024566 | 0.0061813 | 9.3321e-06 | 5.7505e-06 | 0.037441 | 0.037441 | 0.037441 | 0.97614 | -0.4593 | 0.97655 | -0.45135 | 10.286
6 | -0.023729 | -0.0059677 | 0.023742 | 0.0059755 | 1.2603e-05 | 7.7487e-06 | 0.036285 | 0.036285 | 0.036285 | 0.97329 | -0.51524 | 0.97386 | -0.50413 | 9.9685
7 | 0.023729 | 0.0059677 | -0.023718 | -0.0059611 | 1.0735e-05 | 6.6005e-06 | 0.036285 | 0.036286 | 0.036286 | 0.97329 | -0.51524 | 0.97281 | -0.52472 | 9.9686
8 | -0.025282 | -0.0063615 | 0.025289 | 0.0063661 | 7.4855e-06 | 4.6243e-06 | 0.038639 | 0.038638 | 0.038639 | 0.97386 | -0.50413 | 0.97417 | -0.49793 | 10.615
9 | 0.022484 | 0.0056519 | -0.022473 | -0.0056451 | 1.112e-05 | 6.8058e-06 | 0.034398 | 0.034398 | 0.034398 | 0.97281 | -0.52472 | 0.97229 | -0.53508 | 9.45
10 | 0.022473 | 0.0056451 | -0.022438 | -0.0056234 | 3.5324e-05 | 2.1622e-05 | 0.034398 | 0.034398 | 0.034398 | 0.97229 | -0.53508 | 0.97062 | -0.56807 | 9.4501
11 | -0.027696 | -0.0069659 | 0.027727 | 0.0069846 | 3.0148e-05 | 1.873e-05 | 0.042211 | 0.042211 | 0.042211 | 0.97655 | -0.45135 | 0.97771 | -0.42859 | 11.5965
12 | -0.025924 | -0.0065252 | 0.025934 | 0.0065316 | 1.0428e-05 | 6.4531e-06 | 0.039608 | 0.039608 | 0.039608 | 0.97417 | -0.49793 | 0.9746 | -0.48952 | 10.8813
13 | 0.048517 | 0.012236 | -0.048511 | -0.012233 | 5.8143e-06 | 2.8304e-06 | 0.073868 | 0.073868 | 0.073868 | 0.97771 | -0.42859 | 0.97758 | -0.43109 | 4.0587
14 | -0.076244 | -0.01922 | 0.076279 | 0.019241 | 3.5598e-05 | 2.0573e-05 | 0.11608 | 0.11608 | 0.11608 | 0.97771 | -0.42859 | 0.97821 | -0.41883 | 6.378
15 | -0.18314 | -0.046055 | 0.18341 | 0.046225 | 0.00027001 | 0.00016988 | 0.27839 | 0.27838 | 0.27839 | 0.97912 | -0.40086 | 0.9807 | -0.37004 | 15.2959
16 | 0.10421 | 0.026273 | -0.10415 | -0.026237 | 5.9142e-05 | 3.5877e-05 | 0.15843 | 0.15843 | 0.15843 | 0.97912 | -0.40086 | 0.97852 | -0.41273 | 8.705
17 | -0.26881 | -0.067627 | 0.2691 | 0.067816 | 0.00029707 | 0.00018862 | 0.40795 | 0.40795 | 0.40795 | 0.9807 | -0.37004 | 0.98188 | -0.34694 | 22.415
18 | 0.10415 | 0.026237 | -0.10412 | -0.026219 | 3.0404e-05 | 1.8445e-05 | 0.15843 | 0.15843 | 0.15843 | 0.97852 | -0.41273 | 0.97821 | -0.41883 | 8.7051
19 | -0.29611 | -0.074583 | 0.2965 | 0.074833 | 0.00039319 | 0.00024999 | 0.44887 | 0.44887 | 0.44887 | 0.98188 | -0.34694 | 0.98331 | -0.31921 | 24.6634
20 | -0.30258 | -0.076357 | 0.30347 | 0.076923 | 0.00088926 | 0.00056553 | 0.45808 | 0.45808 | 0.45808 | 0.98331 | -0.31921 | 0.98646 | -0.25804 | 25.1691
21 | 0.033595 | 0.0084284 | -0.033572 | -0.0084139 | 2.3214e-05 | 1.4533e-05 | 0.050028 | 0.050028 | 0.050028 | 0.99929 | -0.013359 | 0.99854 | -0.027863 | 13.7441
22 | -0.21931 | -0.056116 | 0.21945 | 0.056206 | 0.00014193 | 8.9675e-05 | 0.32697 | 0.32697 | 0.32697 | 0.99929 | -0.013359 | 1 | 0 | 17.9654
23 | 0.18571 | 0.047687 | -0.1849 | -0.047177 | 0.00081233 | 0.00051069 | 0.27694 | 0.27695 | 0.27695 | 0.99929 | -0.013359 | 0.99452 | -0.10389 | 15.2168
24 | 0.36334 | 0.093529 | -0.36243 | -0.092948 | 0.00091142 | 0.0005806 | 0.54153 | 0.54153 | 0.54153 | 1 | 0 | 0.99726 | -0.051711 | 29.7544
25 | 0.005136 | 0.0012869 | -0.0051354 | -0.0012869 | 5.8245e-07 | 3.1509e-08 | 0.0076844 | 0.0076845 | 0.0076845 | 0.99452 | -0.10389 | 0.9944 | -0.10627 | 2.1111
26 | 0.17976 | 0.04589 | -0.1797 | -0.045852 | 5.9978e-05 | 3.7671e-05 | 0.26926 | 0.26926 | 0.26926 | 0.99452 | -0.10389 | 0.99416 | -0.11079 | 14.7946
27 | -0.31008 | -0.078578 | 0.31133 | 0.079376 | 0.0012538 | 0.00079755 | 0.46804 | 0.46804 | 0.46804 | 0.98646 | -0.25804 | 0.99082 | -0.17425 | 25.7165
28 | 0.044735 | 0.011286 | -0.044715 | -0.011274 | 2.039e-05 | 1.2462e-05 | 0.06812 | 0.06812 | 0.06812 | 0.97758 | -0.43109 | 0.97709 | -0.44061 | 9.3572
29 | 0.34244 | 0.087939 | -0.34086 | -0.086937 | 0.0015735 | 0.0010018 | 0.51171 | 0.51171 | 0.51171 | 0.99726 | -0.051711 | 0.99226 | -0.14683 | 28.1158
30 | 0.0051354 | 0.0012869 | -0.0051346 | -0.0012869 | 7.2263e-07 | 3.9224e-08 | 0.0076845 | 0.0076847 | 0.0076847 | 0.9944 | -0.10627 | 0.99424 | -0.10922 | 2.1112
31 | 0.17496 | 0.044665 | -0.17488 | -0.044612 | 8.3942e-05 | 5.2668e-05 | 0.26217 | 0.26217 | 0.26217 | 0.99416 | -0.11079 | 0.99364 | -0.12073 | 14.4049
32 | -0.042458 | -0.010679 | 0.042477 | 0.010691 | 1.9548e-05 | 1.2356e-05 | 0.0648 | 0.0648 | 0.0648 | 0.97517 | -0.47839 | 0.97566 | -0.46876 | 17.8023
33 | 0.029736 | 0.0074902 | -0.02972 | -0.0074803 | 1.5814e-05 | 9.8659e-06 | 0.045387 | 0.045387 | 0.045387 | 0.97517 | -0.47839 | 0.9746 | -0.48952 | 12.4691
34 | -0.04295 | -0.010809 | 0.043008 | 0.010846 | 5.7859e-05 | 3.6581e-05 | 0.065521 | 0.06552 | 0.065521 | 0.97566 | -0.46876 | 0.97709 | -0.44061 | 18.0002
35 | 0.068641 | 0.017305 | -0.068528 | -0.017233 | 0.00011261 | 7.1727e-05 | 0.10453 | 0.10453 | 0.10453 | 0.9775 | -0.43198 | 0.97575 | -0.46632 | 28.7159
36 | -0.10785 | -0.027132 | 0.10806 | 0.027263 | 0.00020556 | 0.0001313 | 0.16421 | 0.16421 | 0.16421 | 0.9775 | -0.43198 | 0.97954 | -0.39217 | 45.1138
37 | 0.051615 | 0.012994 | -0.051495 | -0.012918 | 0.00011919 | 7.5643e-05 | 0.078733 | 0.078733 | 0.078733 | 0.97575 | -0.46632 | 0.97329 | -0.51475 | 21.63
38 | 0.0048882 | 0.0012244 | -0.0048852 | -0.0012243 | 3.0364e-06 | 9.6122e-08 | 0.0074254 | 0.0074261 | 0.0074261 | 0.97954 | -0.39217 | 0.97887 | -0.40521 | 2.0401
39 | -0.11294 | -0.028487 | 0.11357 | 0.028888 | 0.0006278 | 0.00040107 | 0.17164 | 0.17164 | 0.17164 | 0.97954 | -0.39217 | 0.98548 | -0.27675 | 47.1537
40 | 0.043501 | 0.010915 | -0.043488 | -0.010906 | 1.3243e-05 | 8.3763e-06 | 0.066511 | 0.066511 | 0.066511 | 0.97329 | -0.51475 | 0.97297 | -0.52114 | 18.2723
41 | 0.0048852 | 0.0012243 | -0.0048848 | -0.0012243 | 3.0816e-07 | 9.9138e-09 | 0.0074261 | 0.0074261 | 0.0074261 | 0.97887 | -0.40521 | 0.9788 | -0.40654 | 2.0401
42 | -0.11357 | -0.028888 | 0.11418 | 0.029274 | 0.00060433 | 0.00038607 | 0.17164 | 0.17164 | 0.17164 | 0.98548 | -0.27675 | 0.99121 | -0.16696 | 47.1537
43 | 0.021202 | 0.0053181 | -0.021196 | -0.0053143 | 6.2609e-06 | 3.8099e-06 | 0.032427 | 0.032427 | 0.032427 | 0.97297 | -0.52114 | 0.97265 | -0.52733 | 8.9085
44 | 0.022286 | 0.0055882 | -0.022281 | -0.0055854 | 4.5554e-06 | 2.7856e-06 | 0.034084 | 0.034084 | 0.034084 | 0.97297 | -0.52114 | 0.97275 | -0.52543 | 9.3638
45 | -0.12047 | -0.03085 | 0.1205 | 0.03087 | 3.0771e-05 | 1.9565e-05 | 0.18108 | 0.18108 | 0.18108 | 0.99121 | -0.16696 | 0.99149 | -0.16169 | 24.8735
46 | 0.015615 | 0.0039156 | -0.015608 | -0.0039118 | 6.5369e-06 | 3.8047e-06 | 0.023889 | 0.02389 | 0.02389 | 0.97265 | -0.52733 | 0.97221 | -0.53612 | 6.5631
47 | 0.016082 | 0.0040317 | -0.016079 | -0.0040296 | 3.5719e-06 | 2.0907e-06 | 0.024601 | 0.024601 | 0.024601 | 0.97275 | -0.52543 | 0.97251 | -0.53009 | 6.7586
48 | -0.12437 | -0.031841 | 0.12442 | 0.031869 | 4.484e-05 | 2.7594e-05 | 0.1869 | 0.1869 | 0.1869 | 0.99149 | -0.16169 | 0.99188 | -0.15425 | 10.269
49 | 0.0044653 | 0.0011191 | -0.0044653 | -0.0011191 | 5.2393e-08 | -3.6058e-09 | 0.0068323 | 0.0068323 | 0.0068323 | 0.97251 | -0.53009 | 0.9725 | -0.53034 | 1.877
50 | -0.31133 | -0.079376 | 0.31174 | 0.079638 | 0.00041276 | 0.00026255 | 0.46804 | 0.46804 | 0.46804 | 0.99082 | -0.17425 | 0.99226 | -0.14683 | 25.7164
51 | -0.01216 | -0.0030476 | 0.012166 | 0.0030511 | 6.5946e-06 | 3.5397e-06 | 0.018253 | 0.018253 | 0.018253 | 0.99129 | -0.16563 | 0.99188 | -0.15425 | 5.0146
52 | -0.13658 | -0.03492 | 0.13663 | 0.034946 | 4.1824e-05 | 2.5912e-05 | 0.20515 | 0.20515 | 0.20515 | 0.99188 | -0.15425 | 0.99221 | -0.14792 | 11.2719
53 | -0.15358 | -0.039196 | 0.15368 | 0.039256 | 9.634e-05 | 6.0096e-05 | 0.23058 | 0.23058 | 0.23058 | 0.99221 | -0.14792 | 0.99289 | -0.13495 | 12.6692
54 | -0.16146 | -0.041206 | 0.16152 | 0.041244 | 6.079e-05 | 3.8012e-05 | 0.24224 | 0.24224 | 0.24224 | 0.99289 | -0.13495 | 0.9933 | -0.12716 | 13.3098
55 | -0.16501 | -0.04212 | 0.16502 | 0.042126 | 1.075e-05 | 6.7284e-06 | 0.24747 | 0.24747 | 0.24747 | 0.9933 | -0.12716 | 0.99337 | -0.12581 | 13.5973
56 | 0.16971 | 0.043317 | -0.16967 | -0.043291 | 4.1678e-05 | 2.6118e-05 | 0.25443 | 0.25443 | 0.25443 | 0.99364 | -0.12073 | 0.99337 | -0.12581 | 13.9798

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.58444 | 0.14973

## res_load
| p_mw | q_mvar
0 | 0.02124 | 0.0053232
1 | 0.0026206 | 0.00065678
2 | 0.0015401 | 0.00038598
3 | 0.001234 | 0.00030927
4 | 0.022438 | 0.0056234
5 | 0.0006358 | 0.00015935
6 | 0.0031306 | 0.00078459
7 | 0.0006347 | 0.00015907
8 | 0.078931 | 0.019782
9 | 0.085395 | 0.021402
10 | 0.027002 | 0.0067674
11 | 0.027843 | 0.0069781
12 | 0.0060826 | 0.0015244
13 | 0.033572 | 0.0084139
14 | 0.006605 | 0.0016554
15 | 0.0037765 | 0.00094647
16 | 0.019989 | 0.0050096
17 | 0.0047385 | 0.0011876
18 | 0.012722 | 0.0031885
19 | 0.00047224 | 0.00011836
20 | 0.0037854 | 0.00094871
21 | 0.001707 | 0.00042782
22 | 0.039211 | 0.0098271
23 | 0.016913 | 0.0042389
24 | 0.0079943 | 0.0020035
25 | 0.0048848 | 0.0012243
26 | 0.0062881 | 0.001576
27 | 0.0055807 | 0.0013986
28 | 0.0061993 | 0.0015537
29 | 0.0051346 | 0.0012869
30 | 0.0038761 | 0.00097143
31 | 0.015608 | 0.0039118
32 | 0.011613 | 0.0029105
33 | 0.029121 | 0.0072984
34 | 0.01216 | 0.0030476
35 | 0.016958 | 0.0042501
36 | 0.0077802 | 0.0019499
37 | 0.0034933 | 0.00087549
38 | 0.0044653 | 0.0011191
39 | 0.0051665 | 0.0012948
40 | 0.0046474 | 0.0011647

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1