## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1407-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1407-8_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1407-8_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1407-8_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1407-8_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1407-8_0_3_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_1407-8_0_3_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_1407-8_0_3_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_1407-8_0_3_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_1407-8_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1407-8_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1407-8_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1407-8_0_3_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_1407-8_0_3_node_43 | 0.4 | n |  | TRUE
14 | bus_LV_1407-8_0_3_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_1407-8_0_3_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_1407-8_0_3_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_1407-8_0_3_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_1407-8_0_3_node_42 | 0.4 | n |  | TRUE
19 | bus_LV_1407-8_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_1407-8_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_1407-8_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_1407-8_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_1407-8_0_3_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_1407-8_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_1407-8_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_1407-8_0_3_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_1407-8_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_1407-8_0_3_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_1407-8_0_3_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_1407-8_0_3_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_1407-8_0_3_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_1407-8_0_3_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_1407-8_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_1407-8_0_3_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_1407-8_0_3_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_1407-8_0_3_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_1407-8_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_1407-8_0_3_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_1407-8_0_3_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_1407-8_0_3_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_1407-8_0_3_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_1407-8_0_3_node_45 | 0.4 | n |  | TRUE
43 | bus_MV_141_0_node_51 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1407-8_0_3_load_0 | 0 | 0.014201 | 0.0035592 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1407-8_0_3_load_1 | 1 | 0.0037713 | 0.00094517 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1407-8_0_3_load_2 | 2 | 0.0078549 | 0.0019686 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1407-8_0_3_load_3 | 3 | 0.016089 | 0.0040324 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1407-8_0_3_load_20 | 5 | 0.014014 | 0.0035122 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1407-8_0_3_load_15 | 6 | 0.0046135 | 0.0011562 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1407-8_0_3_load_14 | 8 | 0.0033177 | 0.0008315 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1407-8_0_3_load_5 | 9 | 0.0041721 | 0.0010456 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1407-8_0_3_load_6 | 10 | 0.0065917 | 0.001652 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1407-8_0_3_load_21 | 15 | 0.011568 | 0.0028993 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1407-8_0_3_load_35 | 16 | 0.0032658 | 0.0008185 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1407-8_0_3_load_37 | 17 | 0.021037 | 0.0052723 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1407-8_0_3_load_42 | 18 | 0.012042 | 0.0030181 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1407-8_0_3_load_9 | 19 | 0.008238 | 0.0020646 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1407-8_0_3_load_10 | 20 | 0.0079668 | 0.0019967 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1407-8_0_3_load_11 | 21 | 0.015749 | 0.003947 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1407-8_0_3_load_12 | 22 | 0.0092613 | 0.0023211 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1407-8_0_3_load_13 | 23 | 0.013526 | 0.00339 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1407-8_0_3_load_18 | 24 | 0.0079856 | 0.0020014 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1407-8_0_3_load_29 | 26 | 0.0091478 | 0.0022927 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1407-8_0_3_load_16 | 27 | 0.0073127 | 0.0018327 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1407-8_0_3_load_30 | 28 | 0.021042 | 0.0052737 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1407-8_0_3_load_26 | 29 | 0.0089108 | 0.0022333 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1407-8_0_3_load_25 | 30 | 0.0048231 | 0.0012088 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1407-8_0_3_load_33 | 31 | 0.018801 | 0.0047119 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1407-8_0_3_load_36 | 32 | 0.010052 | 0.0025192 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1407-8_0_3_load_27 | 33 | 0.005695 | 0.0014273 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1407-8_0_3_load_31 | 34 | 0.017893 | 0.0044844 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1407-8_0_3_load_32 | 37 | 0.0095953 | 0.0024048 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1407-8_0_3_load_34 | 38 | 0.0090286 | 0.0022628 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1407-8_0_3_load_46 | 39 | 0.048555 | 0.012169 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1407-8_0_3_load_44 | 41 | 0.022059 | 0.0055285 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1407-8_0_3_load_45 | 42 | 0.023296 | 0.0058386 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1407-8_0_3_line_0 |  | 0 | 1 | 0.024507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1407-8_0_3_line_1 |  | 0 | 2 | 0.043121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1407-8_0_3_line_2 |  | 1 | 3 | 0.0070861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1407-8_0_3_line_3 |  | 2 | 4 | 0.017286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1407-8_0_3_line_4 |  | 4 | 5 | 0.017407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1407-8_0_3_line_5 |  | 4 | 6 | 0.0081148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1407-8_0_3_line_6 |  | 5 | 7 | 0.016767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1407-8_0_3_line_7 |  | 6 | 8 | 0.025586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1407-8_0_3_line_8 |  | 7 | 29 | 0.067016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1407-8_0_3_line_9 |  | 7 | 14 | 0.007208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1407-8_0_3_line_10 |  | 8 | 27 | 0.048078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1407-8_0_3_line_11 |  | 9 | 10 | 0.025386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1407-8_0_3_line_12 |  | 10 | 11 | 0.049948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1407-8_0_3_line_13 |  | 11 | 12 | 0.014281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1407-8_0_3_line_14 |  | 11 | 13 | 0.01621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1407-8_0_3_line_15 |  | 12 | 16 | 0.0089558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1407-8_0_3_line_16 |  | 12 | 17 | 0.051226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1407-8_0_3_line_17 |  | 13 | 18 | 0.010872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1407-8_0_3_line_18 |  | 14 | 15 | 0.029384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1407-8_0_3_line_19 |  | 15 | 24 | 0.02163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1407-8_0_3_line_20 |  | 16 | 31 | 0.012427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1407-8_0_3_line_21 |  | 17 | 32 | 0.042227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1407-8_0_3_line_22 |  | 19 | 20 | 0.0018266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_1407-8_0_3_line_23 |  | 19 | 21 | 0.023877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_1407-8_0_3_line_24 |  | 20 | 22 | 0.023949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1407-8_0_3_line_25 |  | 21 | 23 | 0.0042305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_1407-8_0_3_line_26 |  | 22 | 24 | 3.2658e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1407-8_0_3_line_27 |  | 23 | 25 | 0.0097552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_1407-8_0_3_line_28 |  | 25 | 26 | 0.014994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_1407-8_0_3_line_29 |  | 26 | 28 | 0.03067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_1407-8_0_3_line_30 |  | 28 | 34 | 0.0054529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_1407-8_0_3_line_31 |  | 29 | 30 | 0.037883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1407-8_0_3_line_32 |  | 30 | 33 | 0.023952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1407-8_0_3_line_33 |  | 31 | 37 | 0.015694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1407-8_0_3_line_34 |  | 32 | 35 | 0.039923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1407-8_0_3_line_35 |  | 34 | 35 | 0.019041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_1407-8_0_3_line_36 |  | 35 | 36 | 0.074409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1407-8_0_3_line_37 |  | 36 | 39 | 0.001993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1407-8_0_3_line_38 |  | 36 | 40 | 0.082332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1407-8_0_3_line_39 |  | 37 | 38 | 0.015945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1407-8_0_3_line_40 |  | 40 | 41 | 0.059771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1407-8_0_3_line_41 |  | 41 | 42 | 0.015883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1407-8_0_3_trafo_10 | 0.63 MVA 20/0.4 kV | 43 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2661841.399 | 1194189.1211 | 2661864.42 | 1194197.5249
1 | 2661841.399 | 1194189.1211 | 2661819.2951 | 1194181.0522 | 2661814.8595 | 1194181.8179 | 2661810.3646 | 1194187.5859 | 2661807.5421 | 1194194.8318
2 | 2661864.42 | 1194197.5249 | 2661871.0765 | 1194199.9548
3 | 2661801.2679 | 1194210.9389 | 2661807.5421 | 1194194.8318
4 | 2661801.2679 | 1194210.9389 | 2661784.9856 | 1194204.7842
5 | 2661801.2679 | 1194210.9389 | 2661808.8795 | 1194213.752
6 | 2661769.5828 | 1194198.1822 | 2661779.4964 | 1194202.7093 | 2661784.9856 | 1194204.7842
7 | 2661832.8785 | 1194222.6216 | 2661808.8795 | 1194213.752
8 | 2661769.5828 | 1194198.1822 | 2661754.2594 | 1194239.3146 | 2661775.9212 | 1194247.4006
9 | 2661763.1855 | 1194194.8253 | 2661769.5828 | 1194198.1822
10 | 2661877.9748 | 1194239.2883 | 2661832.8785 | 1194222.6216
11 | 2661718.299 | 1194243.4463 | 2661711.2937 | 1194219.0458
12 | 2661702.9827 | 1194170.2901 | 2661702.2711 | 1194174.2628 | 2661702.1209 | 1194179.2197 | 2661703.388 | 1194189.3609 | 2661705.4264 | 1194198.6095 | 2661711.2937 | 1194219.0458
13 | 2661699.5083 | 1194160.6153 | 2661698.0153 | 1194164.2465 | 2661703.8408 | 1194166.1521 | 2661702.9827 | 1194170.2901
14 | 2661702.9827 | 1194170.2901 | 2661716.2788 | 1194174.941 | 2661718.2432 | 1194175.8507
15 | 2661699.5083 | 1194160.6153 | 2661708.0272 | 1194163.3785
16 | 2661699.5083 | 1194160.6153 | 2661716.1962 | 1194120.1639 | 2661720.4092 | 1194113.9978
17 | 2661718.2432 | 1194175.8507 | 2661725.2135 | 1194179.0689 | 2661728.0324 | 1194180.572
18 | 2661763.1855 | 1194194.8253 | 2661771.4163 | 1194179.3012 | 2661779.9213 | 1194171.1032
19 | 2661795.95 | 1194156.5882 | 2661785.772 | 1194165.4636 | 2661779.9213 | 1194171.1032
20 | 2661719.6312 | 1194167.785 | 2661713.9169 | 1194165.2888 | 2661708.0272 | 1194163.3785
21 | 2661756.4482 | 1194093.6078 | 2661734.5581 | 1194102.1428 | 2661723.3846 | 1194109.643 | 2661720.4092 | 1194113.9978
22 | 2661815.4016 | 1194139.626 | 2661814.0249 | 1194140.8265
23 | 2661815.4016 | 1194139.626 | 2661823.8614 | 1194132.2488 | 2661833.3951 | 1194123.93
24 | 2661795.9746 | 1194156.5668 | 2661814.0249 | 1194140.8265
25 | 2661836.5827 | 1194121.1486 | 2661833.3951 | 1194123.93
26 | 2661795.9746 | 1194156.5668 | 2661795.95 | 1194156.5882
27 | 2661843.933 | 1194114.7349 | 2661836.5827 | 1194121.1486
28 | 2661843.933 | 1194114.7349 | 2661834.1634 | 1194103.3606
29 | 2661834.1634 | 1194103.3606 | 2661829.2113 | 1194097.595 | 2661812.9543 | 1194093.3246 | 2661808.9672 | 1194088.4968
30 | 2661808.9672 | 1194088.4968 | 2661805.495 | 1194084.2923
31 | 2661811.412 | 1194260.6488 | 2661775.9212 | 1194247.4006
32 | 2661811.412 | 1194260.6488 | 2661833.8519 | 1194269.0252
33 | 2661733.9876 | 1194174.1183 | 2661733.4145 | 1194173.8059 | 2661719.6312 | 1194167.785
34 | 2661789.9107 | 1194073.931 | 2661783.7052 | 1194082.2495 | 2661775.0587 | 1194086.3516 | 2661756.4482 | 1194093.6078
35 | 2661789.9107 | 1194073.931 | 2661802.0179 | 1194080.0818 | 2661805.495 | 1194084.2923
36 | 2661751.2229 | 1194039.6007 | 2661757.3257 | 1194039.0189 | 2661787.3982 | 1194036.072 | 2661790.5883 | 1194064.4102 | 2661789.9107 | 1194073.931
37 | 2661751.0957 | 1194041.5894 | 2661751.2229 | 1194039.6007
38 | 2661751.2229 | 1194039.6007 | 2661757.3257 | 1194039.0189 | 2661787.3982 | 1194036.072 | 2661785.529 | 1194017.0861 | 2661785.3116 | 1193990.1794
39 | 2661747.9874 | 1194181.7498 | 2661733.9876 | 1194174.1183
40 | 2661785.3116 | 1193990.1794 | 2661825.5063 | 1193986.3811 | 2661826.9614 | 1194005.7237
41 | 2661828.153 | 1194021.5622 | 2661826.9614 | 1194005.7237

## bus_geodata
| x | y | coords
0 | 2661841.399 | 1194189.1211
1 | 2661864.42 | 1194197.5249
2 | 2661807.5421 | 1194194.8318
3 | 2661871.0765 | 1194199.9548
4 | 2661801.2679 | 1194210.9389
5 | 2661784.9856 | 1194204.7842
6 | 2661808.8795 | 1194213.752
7 | 2661769.5828 | 1194198.1822
8 | 2661832.8785 | 1194222.6216
9 | 2661718.299 | 1194243.4463
10 | 2661711.2937 | 1194219.0458
11 | 2661702.9827 | 1194170.2901
12 | 2661699.5083 | 1194160.6153
13 | 2661718.2432 | 1194175.8507
14 | 2661763.1855 | 1194194.8253
15 | 2661779.9213 | 1194171.1032
16 | 2661708.0272 | 1194163.3785
17 | 2661720.4092 | 1194113.9978
18 | 2661728.0324 | 1194180.572
19 | 2661815.4016 | 1194139.626
20 | 2661814.0249 | 1194140.8265
21 | 2661833.3951 | 1194123.93
22 | 2661795.9746 | 1194156.5668
23 | 2661836.5827 | 1194121.1486
24 | 2661795.95 | 1194156.5882
25 | 2661843.933 | 1194114.7349
26 | 2661834.1634 | 1194103.3606
27 | 2661877.9748 | 1194239.2883
28 | 2661808.9672 | 1194088.4968
29 | 2661775.9212 | 1194247.4006
30 | 2661811.412 | 1194260.6488
31 | 2661719.6312 | 1194167.785
32 | 2661756.4482 | 1194093.6078
33 | 2661833.8519 | 1194269.0252
34 | 2661805.495 | 1194084.2923
35 | 2661789.9107 | 1194073.931
36 | 2661751.2229 | 1194039.6007
37 | 2661733.9876 | 1194174.1183
38 | 2661747.9874 | 1194181.7498
39 | 2661751.0957 | 1194041.5894
40 | 2661785.3116 | 1193990.1794
41 | 2661826.9614 | 1194005.7237
42 | 2661828.153 | 1194021.5622
43 | 2661843.933 | 1194114.7349

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9883 | -0.22524 | 0.014201 | 0.0035592
1 | 0.98785 | -0.23393 | 0.0037713 | 0.00094517
2 | 0.98964 | -0.19907 | 0.0078549 | 0.0019686
3 | 0.98775 | -0.23597 | 0.016089 | 0.0040324
4 | 0.99031 | -0.18618 | 0 | 0
5 | 0.99122 | -0.16851 | 0.014014 | 0.0035122
6 | 0.9902 | -0.18838 | 0.0046135 | 0.0011562
7 | 0.99232 | -0.14736 | 0 | 0
8 | 0.98995 | -0.19322 | 0.0033177 | 0.0008315
9 | 0.9775 | -0.4332 | 0.0041721 | 0.0010456
10 | 0.9776 | -0.43127 | 0.0065917 | 0.001652
11 | 0.9781 | -0.42147 | 0 | 0
12 | 0.9784 | -0.41553 | 0 | 0
13 | 0.97792 | -0.42502 | 0 | 0
14 | 0.99291 | -0.13581 | 0 | 0
15 | 0.99535 | -0.088853 | 0.011568 | 0.0028993
16 | 0.97806 | -0.42217 | 0.0032658 | 0.0008185
17 | 0.98142 | -0.35649 | 0.021037 | 0.0052723
18 | 0.9778 | -0.42741 | 0.012042 | 0.0030181
19 | 0.99977 | -0.0043645 | 0.008238 | 0.0020646
20 | 1 | 0 | -0.40033 | -0.10192
21 | 0.99684 | -0.059878 | 0.015749 | 0.003947
22 | 0.99738 | -0.049984 | 0.0092613 | 0.0023211
23 | 0.99635 | -0.069163 | 0.013526 | 0.00339
24 | 0.99738 | -0.050047 | 0.0079856 | 0.0020014
25 | 0.99528 | -0.089446 | 0 | 0
26 | 0.99364 | -0.12071 | 0.0091478 | 0.0022927
27 | 0.98962 | -0.19947 | 0.0073127 | 0.0018327
28 | 0.99041 | -0.18248 | 0.021042 | 0.0052737
29 | 0.99112 | -0.17044 | 0.0089108 | 0.0022333
30 | 0.99076 | -0.17752 | 0.0048231 | 0.0012088
31 | 0.97763 | -0.43065 | 0.018801 | 0.0047119
32 | 0.98473 | -0.2921 | 0.010052 | 0.0025192
33 | 0.99063 | -0.17994 | 0.005695 | 0.0014273
34 | 0.98989 | -0.19249 | 0.017893 | 0.0044844
35 | 0.98823 | -0.22446 | 0 | 0
36 | 0.98175 | -0.35001 | 0 | 0
37 | 0.97736 | -0.43598 | 0.0095953 | 0.0024048
38 | 0.97723 | -0.43861 | 0.0090286 | 0.0022628
39 | 0.98166 | -0.35176 | 0.048555 | 0.012169
40 | 0.97828 | -0.41778 | 0 | 0
41 | 0.97576 | -0.46728 | 0.022059 | 0.0055285
42 | 0.97541 | -0.47406 | 0.023296 | 0.0058386
43 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.01987 | 0.0049834 | -0.019862 | -0.0049784 | 8.2264e-06 | 4.951e-06 | 0.029919 | 0.029919 | 0.029919 | 0.9883 | -0.22524 | 0.98785 | -0.23393 | 8.2195
1 | -0.034072 | -0.0085426 | 0.034114 | 0.0085693 | 4.2556e-05 | 2.6683e-05 | 0.051301 | 0.051301 | 0.051301 | 0.9883 | -0.22524 | 0.98964 | -0.19907 | 14.0936
2 | 0.016091 | 0.0040333 | -0.016089 | -0.0040324 | 1.5611e-06 | 9.0842e-07 | 0.024238 | 0.024238 | 0.024238 | 0.98785 | -0.23393 | 0.98775 | -0.23597 | 6.6589
3 | -0.041969 | -0.010538 | 0.041995 | 0.010554 | 2.5819e-05 | 1.6302e-05 | 0.063111 | 0.063111 | 0.063111 | 0.98964 | -0.19907 | 0.99031 | -0.18618 | 17.3382
4 | -0.057245 | -0.014378 | 0.057293 | 0.014408 | 4.8306e-05 | 3.0692e-05 | 0.086026 | 0.086026 | 0.086026 | 0.99031 | -0.18618 | 0.99122 | -0.16851 | 23.6335
5 | 0.01525 | 0.0038234 | -0.015248 | -0.0038225 | 1.5979e-06 | 9.1826e-07 | 0.022915 | 0.022915 | 0.022915 | 0.99031 | -0.18618 | 0.9902 | -0.18838 | 6.2953
6 | -0.071307 | -0.01792 | 0.071379 | 0.017966 | 7.207e-05 | 4.5909e-05 | 0.10706 | 0.10706 | 0.10706 | 0.99122 | -0.16851 | 0.99232 | -0.14736 | 29.4129
7 | 0.010635 | 0.0026662 | -0.010633 | -0.002665 | 2.4507e-06 | 1.2394e-06 | 0.015982 | 0.015982 | 0.015982 | 0.9902 | -0.18838 | 0.98995 | -0.19322 | 4.3907
8 | 0.019455 | 0.0048841 | -0.019433 | -0.0048713 | 2.1392e-05 | 1.2826e-05 | 0.029176 | 0.029176 | 0.029176 | 0.99232 | -0.14736 | 0.99112 | -0.17044 | 8.0154
9 | -0.090834 | -0.02285 | 0.090884 | 0.022882 | 5.017e-05 | 3.2016e-05 | 0.13624 | 0.13624 | 0.13624 | 0.99232 | -0.14736 | 0.99291 | -0.13581 | 37.4282
10 | 0.0073148 | 0.0018335 | -0.0073127 | -0.0018327 | 2.1797e-06 | 7.7706e-07 | 0.010995 | 0.010995 | 0.010995 | 0.98995 | -0.19322 | 0.98962 | -0.19947 | 3.0207
11 | -0.0041721 | -0.0010456 | 0.0041724 | 0.0010455 | 3.8397e-07 | -7.2522e-08 | 0.006351 | 0.0063508 | 0.006351 | 0.9775 | -0.4332 | 0.9776 | -0.43127 | 1.7448
12 | -0.010764 | -0.0026976 | 0.010769 | 0.0027002 | 5.028e-06 | 2.5913e-06 | 0.016384 | 0.016384 | 0.016384 | 0.9776 | -0.43127 | 0.9781 | -0.42147 | 4.5012
13 | -0.022815 | -0.0057201 | 0.022822 | 0.0057241 | 6.4523e-06 | 3.9502e-06 | 0.03471 | 0.03471 | 0.03471 | 0.9781 | -0.42147 | 0.9784 | -0.41553 | 9.5357
14 | 0.012046 | 0.00302 | -0.012044 | -0.0030189 | 2.0415e-06 | 1.1032e-06 | 0.018326 | 0.018326 | 0.018326 | 0.9781 | -0.42147 | 0.97792 | -0.42502 | 5.0347
15 | 0.040724 | 0.010219 | -0.040712 | -0.010211 | 1.2885e-05 | 8.1341e-06 | 0.061941 | 0.061941 | 0.061941 | 0.9784 | -0.41553 | 0.97806 | -0.42217 | 17.0167
16 | -0.063546 | -0.015943 | 0.063725 | 0.016057 | 0.00017945 | 0.0001142 | 0.096651 | 0.096651 | 0.096651 | 0.9784 | -0.41553 | 0.98142 | -0.35649 | 26.5525
17 | 0.012044 | 0.0030189 | -0.012042 | -0.0030181 | 1.3693e-06 | 7.3994e-07 | 0.018326 | 0.018326 | 0.018326 | 0.97792 | -0.42502 | 0.9778 | -0.42741 | 5.0347
18 | -0.090884 | -0.022882 | 0.091088 | 0.023013 | 0.00020452 | 0.00013051 | 0.13624 | 0.13624 | 0.13624 | 0.99291 | -0.13581 | 0.99535 | -0.088853 | 37.4282
19 | -0.10266 | -0.025912 | 0.10285 | 0.026034 | 0.0001912 | 0.00012209 | 0.15353 | 0.15353 | 0.15353 | 0.99535 | -0.088853 | 0.99738 | -0.050047 | 42.1794
20 | 0.037446 | 0.0093924 | -0.037431 | -0.0093829 | 1.5127e-05 | 9.5252e-06 | 0.056972 | 0.056972 | 0.056972 | 0.97806 | -0.42217 | 0.97763 | -0.43065 | 15.6518
21 | -0.084762 | -0.02133 | 0.085024 | 0.021497 | 0.00026166 | 0.00016693 | 0.12855 | 0.12855 | 0.12855 | 0.98142 | -0.35649 | 0.98473 | -0.2921 | 35.315
22 | -0.27824 | -0.07134 | 0.2783 | 0.071377 | 5.8898e-05 | 3.7647e-05 | 0.41469 | 0.41469 | 0.41469 | 0.99977 | -0.0043645 | 1 | 0 | 56.9632
23 | 0.27 | 0.069275 | -0.26928 | -0.068812 | 0.00072506 | 0.00046341 | 0.40243 | 0.40243 | 0.40243 | 0.99977 | -0.0043645 | 0.99684 | -0.059878 | 55.279
24 | 0.12038 | 0.030541 | -0.1201 | -0.030357 | 0.00028861 | 0.0001844 | 0.17926 | 0.17926 | 0.17926 | 1 | 0 | 0.99738 | -0.049984 | 49.2483
25 | 0.25353 | 0.064865 | -0.25341 | -0.064792 | 0.00011389 | 7.278e-05 | 0.37892 | 0.37892 | 0.37892 | 0.99684 | -0.059878 | 0.99635 | -0.069163 | 52.0499
26 | 0.11083 | 0.028036 | -0.11083 | -0.028036 | 3.3522e-07 | 2.1411e-07 | 0.16545 | 0.16545 | 0.16545 | 0.99738 | -0.049984 | 0.99738 | -0.050047 | 45.4524
27 | 0.23989 | 0.061402 | -0.23965 | -0.061251 | 0.00023537 | 0.00015038 | 0.35872 | 0.35872 | 0.35872 | 0.99635 | -0.069163 | 0.99528 | -0.089446 | 49.275
28 | 0.23965 | 0.061251 | -0.23929 | -0.06102 | 0.00036177 | 0.00023115 | 0.35872 | 0.35872 | 0.35872 | 0.99528 | -0.089446 | 0.99364 | -0.12071 | 49.2751
29 | 0.23014 | 0.058728 | -0.22946 | -0.05829 | 0.00068457 | 0.00043733 | 0.34502 | 0.34502 | 0.34502 | 0.99364 | -0.12071 | 0.99041 | -0.18248 | 47.3934
30 | 0.20842 | 0.053017 | -0.20832 | -0.052953 | 0.00010043 | 6.4133e-05 | 0.31341 | 0.31341 | 0.31341 | 0.99041 | -0.18248 | 0.98989 | -0.19249 | 43.0508
31 | 0.010522 | 0.002638 | -0.010519 | -0.0026362 | 3.5455e-06 | 1.7811e-06 | 0.015798 | 0.015798 | 0.015798 | 0.99112 | -0.17044 | 0.99076 | -0.17752 | 4.3401
32 | 0.0056957 | 0.0014274 | -0.005695 | -0.0014273 | 6.5728e-07 | 1.1224e-07 | 0.0085543 | 0.0085544 | 0.0085544 | 0.99076 | -0.17752 | 0.99063 | -0.17994 | 2.3501
33 | 0.01863 | 0.004671 | -0.018625 | -0.0046681 | 4.7321e-06 | 2.8318e-06 | 0.028356 | 0.028356 | 0.028356 | 0.97763 | -0.43065 | 0.97736 | -0.43598 | 7.7902
34 | -0.095076 | -0.024016 | 0.095385 | 0.024213 | 0.0003093 | 0.00019744 | 0.14374 | 0.14373 | 0.14374 | 0.98473 | -0.2921 | 0.98823 | -0.22446 | 39.4877
35 | 0.19042 | 0.048468 | -0.19013 | -0.048281 | 0.00029307 | 0.00018708 | 0.28651 | 0.28651 | 0.28651 | 0.98989 | -0.19249 | 0.98823 | -0.22446 | 39.3562
36 | 0.094746 | 0.024068 | -0.094177 | -0.023705 | 0.00056883 | 0.0003631 | 0.14278 | 0.14278 | 0.14278 | 0.98823 | -0.22446 | 0.98175 | -0.35001 | 39.2248
37 | 0.048559 | 0.012172 | -0.048555 | -0.012169 | 4.0486e-06 | 2.5659e-06 | 0.0736 | 0.0736 | 0.0736 | 0.98175 | -0.35001 | 0.98166 | -0.35176 | 20.2199
38 | 0.045618 | 0.011533 | -0.04547 | -0.01144 | 0.00014775 | 9.3525e-05 | 0.069178 | 0.069178 | 0.069178 | 0.98175 | -0.35001 | 0.97828 | -0.41778 | 19.005
39 | 0.0090297 | 0.0022633 | -0.0090286 | -0.0022628 | 1.1301e-06 | 5.2346e-07 | 0.013748 | 0.013748 | 0.013748 | 0.97736 | -0.43598 | 0.97723 | -0.43861 | 3.7769
40 | 0.04547 | 0.01144 | -0.045363 | -0.011372 | 0.00010727 | 6.7902e-05 | 0.069178 | 0.069179 | 0.069179 | 0.97828 | -0.41778 | 0.97576 | -0.46728 | 19.0051
41 | 0.023304 | 0.0058432 | -0.023296 | -0.0058386 | 7.5227e-06 | 4.6162e-06 | 0.035539 | 0.035539 | 0.035539 | 0.97576 | -0.46728 | 0.97541 | -0.47406 | 9.7634

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.4083 | 0.10392

## res_load
| p_mw | q_mvar
0 | 0.014201 | 0.0035592
1 | 0.0037713 | 0.00094517
2 | 0.0078549 | 0.0019686
3 | 0.016089 | 0.0040324
4 | 0.014014 | 0.0035122
5 | 0.0046135 | 0.0011562
6 | 0.0033177 | 0.0008315
7 | 0.0041721 | 0.0010456
8 | 0.0065917 | 0.001652
9 | 0.011568 | 0.0028993
10 | 0.0032658 | 0.0008185
11 | 0.021037 | 0.0052723
12 | 0.012042 | 0.0030181
13 | 0.008238 | 0.0020646
14 | 0.0079668 | 0.0019967
15 | 0.015749 | 0.003947
16 | 0.0092613 | 0.0023211
17 | 0.013526 | 0.00339
18 | 0.0079856 | 0.0020014
19 | 0.0091478 | 0.0022927
20 | 0.0073127 | 0.0018327
21 | 0.021042 | 0.0052737
22 | 0.0089108 | 0.0022333
23 | 0.0048231 | 0.0012088
24 | 0.018801 | 0.0047119
25 | 0.010052 | 0.0025192
26 | 0.005695 | 0.0014273
27 | 0.017893 | 0.0044844
28 | 0.0095953 | 0.0024048
29 | 0.0090286 | 0.0022628
30 | 0.048555 | 0.012169
31 | 0.022059 | 0.0055285
32 | 0.023296 | 0.0058386

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1