## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1407-9_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1407-9_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1407-9_0_6_node_86 | 0.4 | n |  | TRUE
3 | bus_LV_1407-9_0_6_node_87 | 0.4 | n |  | TRUE
4 | bus_LV_1407-9_0_6_node_60 | 0.4 | n |  | TRUE
5 | bus_LV_1407-9_0_6_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1407-9_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1407-9_0_6_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1407-9_0_6_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1407-9_0_6_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_1407-9_0_6_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_1407-9_0_6_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_1407-9_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1407-9_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1407-9_0_6_node_82 | 0.4 | n |  | TRUE
15 | bus_LV_1407-9_0_6_node_84 | 0.4 | n |  | TRUE
16 | bus_LV_1407-9_0_6_node_51 | 0.4 | n |  | TRUE
17 | bus_LV_1407-9_0_6_node_80 | 0.4 | n |  | TRUE
18 | bus_LV_1407-9_0_6_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1407-9_0_6_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_1407-9_0_6_node_77 | 0.4 | n |  | TRUE
21 | bus_LV_1407-9_0_6_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_1407-9_0_6_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_1407-9_0_6_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_1407-9_0_6_node_71 | 0.4 | n |  | TRUE
25 | bus_LV_1407-9_0_6_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_1407-9_0_6_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_1407-9_0_6_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_1407-9_0_6_node_55 | 0.4 | n |  | TRUE
29 | bus_LV_1407-9_0_6_node_68 | 0.4 | n |  | TRUE
30 | bus_LV_1407-9_0_6_node_56 | 0.4 | n |  | TRUE
31 | bus_LV_1407-9_0_6_node_72 | 0.4 | n |  | TRUE
32 | bus_LV_1407-9_0_6_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_1407-9_0_6_node_91 | 0.4 | n |  | TRUE
34 | bus_LV_1407-9_0_6_node_92 | 0.4 | n |  | TRUE
35 | bus_LV_1407-9_0_6_node_85 | 0.4 | n |  | TRUE
36 | bus_LV_1407-9_0_6_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_1407-9_0_6_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_1407-9_0_6_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_1407-9_0_6_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_1407-9_0_6_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_1407-9_0_6_node_66 | 0.4 | n |  | TRUE
42 | bus_LV_1407-9_0_6_node_89 | 0.4 | n |  | TRUE
43 | bus_LV_1407-9_0_6_node_64 | 0.4 | n |  | TRUE
44 | bus_LV_1407-9_0_6_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_1407-9_0_6_node_63 | 0.4 | n |  | TRUE
46 | bus_LV_1407-9_0_6_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_1407-9_0_6_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_1407-9_0_6_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_1407-9_0_6_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_1407-9_0_6_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_1407-9_0_6_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_1407-9_0_6_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_1407-9_0_6_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_1407-9_0_6_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_1407-9_0_6_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_1407-9_0_6_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_1407-9_0_6_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_1407-9_0_6_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_1407-9_0_6_node_79 | 0.4 | n |  | TRUE
60 | bus_LV_1407-9_0_6_node_76 | 0.4 | n |  | TRUE
61 | bus_LV_1407-9_0_6_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_1407-9_0_6_node_78 | 0.4 | n |  | TRUE
63 | bus_LV_1407-9_0_6_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_1407-9_0_6_node_37 | 0.4 | n |  | TRUE
65 | bus_LV_1407-9_0_6_node_38 | 0.4 | n |  | TRUE
66 | bus_LV_1407-9_0_6_node_39 | 0.4 | n |  | TRUE
67 | bus_LV_1407-9_0_6_node_40 | 0.4 | n |  | TRUE
68 | bus_LV_1407-9_0_6_node_41 | 0.4 | n |  | TRUE
69 | bus_LV_1407-9_0_6_node_42 | 0.4 | n |  | TRUE
70 | bus_LV_1407-9_0_6_node_43 | 0.4 | n |  | TRUE
71 | bus_LV_1407-9_0_6_node_44 | 0.4 | n |  | TRUE
72 | bus_LV_1407-9_0_6_node_45 | 0.4 | n |  | TRUE
73 | bus_LV_1407-9_0_6_node_88 | 0.4 | n |  | TRUE
74 | bus_LV_1407-9_0_6_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_1407-9_0_6_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_1407-9_0_6_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_1407-9_0_6_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_1407-9_0_6_node_48 | 0.4 | n |  | TRUE
79 | bus_LV_1407-9_0_6_node_49 | 0.4 | n |  | TRUE
80 | bus_LV_1407-9_0_6_node_50 | 0.4 | n |  | TRUE
81 | bus_LV_1407-9_0_6_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_1407-9_0_6_node_57 | 0.4 | n |  | TRUE
83 | bus_LV_1407-9_0_6_node_62 | 0.4 | n |  | TRUE
84 | bus_LV_1407-9_0_6_node_70 | 0.4 | n |  | TRUE
85 | bus_LV_1407-9_0_6_node_90 | 0.4 | n |  | TRUE
86 | bus_LV_1407-9_0_6_node_73 | 0.4 | n |  | TRUE
87 | bus_LV_1407-9_0_6_node_96 | 0.4 | n |  | TRUE
88 | bus_LV_1407-9_0_6_node_94 | 0.4 | n |  | TRUE
89 | bus_LV_1407-9_0_6_node_74 | 0.4 | n |  | TRUE
90 | bus_LV_1407-9_0_6_node_81 | 0.4 | n |  | TRUE
91 | bus_LV_1407-9_0_6_node_83 | 0.4 | n |  | TRUE
92 | bus_LV_1407-9_0_6_node_97 | 0.4 | n |  | TRUE
93 | bus_LV_1407-9_0_6_node_93 | 0.4 | n |  | TRUE
94 | bus_MV_141_0_node_123 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1407-9_0_6_load_0 | 0 | 0.011571 | 0.0029001 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1407-9_0_6_load_86 | 2 | 0.0045684 | 0.001145 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1407-9_0_6_load_87 | 3 | 0.0069331 | 0.0017376 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1407-9_0_6_load_60 | 4 | 0.0026927 | 0.00067485 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1407-9_0_6_load_3 | 5 | 0.028426 | 0.0071243 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1407-9_0_6_load_4 | 6 | 0.024224 | 0.0060711 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1407-9_0_6_load_7 | 8 | 0.0073111 | 0.0018323 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1407-9_0_6_load_20 | 10 | 0.023978 | 0.0060094 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1407-9_0_6_load_15 | 11 | 0.0058822 | 0.0014742 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1407-9_0_6_load_8 | 12 | 0.011418 | 0.0028617 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1407-9_0_6_load_9 | 13 | 0.019198 | 0.0048114 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1407-9_0_6_load_84 | 15 | 0.021511 | 0.0053913 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1407-9_0_6_load_80 | 17 | 0.023087 | 0.0057862 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1407-9_0_6_load_10 | 18 | 0.029202 | 0.0073187 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1407-9_0_6_load_18 | 19 | 0.006625 | 0.0016604 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1407-9_0_6_load_77 | 20 | 0.0050419 | 0.0012636 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1407-9_0_6_load_11 | 21 | 0.029033 | 0.0072764 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1407-9_0_6_load_16 | 23 | 0.0027857 | 0.00069815 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1407-9_0_6_load_71 | 24 | 0.0067195 | 0.0016841 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1407-9_0_6_load_17 | 27 | 0.006256 | 0.0015679 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1407-9_0_6_load_55 | 28 | 0.0052467 | 0.001315 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1407-9_0_6_load_56 | 30 | 0.0036827 | 0.00092298 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1407-9_0_6_load_72 | 31 | 0.0054257 | 0.0013598 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1407-9_0_6_load_21 | 32 | 0.014333 | 0.0035923 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1407-9_0_6_load_22 | 36 | 0.0032945 | 0.00082567 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1407-9_0_6_load_23 | 37 | 0.002423 | 0.00060727 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1407-9_0_6_load_24 | 38 | 0.0028308 | 0.00070946 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1407-9_0_6_load_46 | 40 | 0.0029804 | 0.00074696 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1407-9_0_6_load_89 | 42 | 0.019187 | 0.0048087 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1407-9_0_6_load_26 | 44 | 0.0079531 | 0.0019932 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1407-9_0_6_load_61 | 46 | 0.0027463 | 0.00068829 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1407-9_0_6_load_27 | 47 | 0.00063591 | 0.00015938 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1407-9_0_6_load_28 | 48 | 0.00019887 | 4.9842e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1407-9_0_6_load_29 | 49 | 0.0037418 | 0.00093777 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1407-9_0_6_load_32 | 52 | 0.0035175 | 0.00088158 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1407-9_0_6_load_33 | 53 | 0.00026892 | 6.7398e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1407-9_0_6_load_34 | 54 | 0.00018448 | 4.6236e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1407-9_0_6_load_35 | 55 | 0.0033244 | 0.00083316 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1407-9_0_6_load_36 | 56 | 0.0050881 | 0.0012752 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1407-9_0_6_load_52 | 58 | 0.0016972 | 0.00042536 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1407-9_0_6_load_79 | 59 | 0.0042628 | 0.0010684 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1407-9_0_6_load_76 | 60 | 0.0026763 | 0.00067074 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1407-9_0_6_load_53 | 61 | 0.0016268 | 0.00040771 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1407-9_0_6_load_78 | 62 | 0.0034008 | 0.00085233 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1407-9_0_6_load_58 | 63 | 0.0052363 | 0.0013124 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1407-9_0_6_load_37 | 64 | 0.0024971 | 0.00062583 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1407-9_0_6_load_38 | 65 | 0.0047576 | 0.0011924 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1407-9_0_6_load_40 | 67 | 0.002101 | 0.00052655 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1407-9_0_6_load_41 | 68 | 0.0029588 | 0.00074155 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1407-9_0_6_load_42 | 69 | 0.0036495 | 0.00091464 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1407-9_0_6_load_43 | 70 | 0.0044333 | 0.0011111 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1407-9_0_6_load_44 | 71 | 0.0020224 | 0.00050686 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1407-9_0_6_load_88 | 73 | 0.0036523 | 0.00091534 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1407-9_0_6_load_69 | 74 | 0.0094505 | 0.0023685 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1407-9_0_6_load_67 | 75 | 0.0031439 | 0.00078794 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1407-9_0_6_load_59 | 76 | 0.0040053 | 0.0010038 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1407-9_0_6_load_65 | 77 | 0.0091409 | 0.0022909 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1407-9_0_6_load_48 | 78 | 0.024555 | 0.0061542 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1407-9_0_6_load_49 | 79 | 0.023087 | 0.0057861 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1407-9_0_6_load_50 | 80 | 0.023657 | 0.005929 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1407-9_0_6_load_62 | 83 | 0.0012594 | 0.00031564 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1407-9_0_6_load_70 | 84 | 0.0016232 | 0.00040682 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1407-9_0_6_load_90 | 85 | 0.0026745 | 0.00067029 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1407-9_0_6_load_73 | 86 | 0.0015778 | 0.00039542 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1407-9_0_6_load_96 | 87 | 0.0021789 | 0.00054609 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_1407-9_0_6_load_94 | 88 | 0.020773 | 0.0052062 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_1407-9_0_6_load_74 | 89 | 0.000717 | 0.0001797 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_1407-9_0_6_load_81 | 90 | 0.0074186 | 0.0018593 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_1407-9_0_6_load_83 | 91 | 0.01208 | 0.0030275 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_1407-9_0_6_load_97 | 92 | 0.024556 | 0.0061542 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_1407-9_0_6_load_93 | 93 | 0.0023195 | 0.00058133 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1407-9_0_6_line_0 |  | 0 | 1 | 0.027033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1407-9_0_6_line_1 |  | 1 | 2 | 0.065657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1407-9_0_6_line_2 |  | 2 | 3 | 0.035496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1407-9_0_6_line_3 |  | 2 | 4 | 0.012724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1407-9_0_6_line_4 |  | 4 | 82 | 0.021049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1407-9_0_6_line_5 |  | 5 | 6 | 0.036507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1407-9_0_6_line_6 |  | 6 | 7 | 0.021722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1407-9_0_6_line_7 |  | 7 | 8 | 0.014205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1407-9_0_6_line_8 |  | 8 | 9 | 0.022491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1407-9_0_6_line_9 |  | 9 | 10 | 0.016109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_1407-9_0_6_line_10 |  | 9 | 11 | 0.0076088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_1407-9_0_6_line_11 |  | 10 | 32 | 0.019205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_1407-9_0_6_line_12 |  | 11 | 25 | 0.0070215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_1407-9_0_6_line_13 |  | 12 | 13 | 0.024343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1407-9_0_6_line_14 |  | 13 | 14 | 0.012853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1407-9_0_6_line_15 |  | 14 | 15 | 0.043688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1407-9_0_6_line_16 |  | 14 | 16 | 0.043465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1407-9_0_6_line_17 |  | 14 | 17 | 0.016562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1407-9_0_6_line_18 |  | 16 | 80 | 0.018283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1407-9_0_6_line_19 |  | 17 | 90 | 0.012924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_1407-9_0_6_line_20 |  | 18 | 19 | 0.043242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1407-9_0_6_line_21 |  | 19 | 20 | 0.025343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1407-9_0_6_line_22 |  | 20 | 31 | 0.03071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1407-9_0_6_line_23 |  | 21 | 22 | 0.024801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1407-9_0_6_line_24 |  | 22 | 23 | 0.036569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1407-9_0_6_line_25 |  | 23 | 24 | 0.02724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1407-9_0_6_line_26 |  | 24 | 29 | 0.034215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1407-9_0_6_line_27 |  | 25 | 26 | 0.018662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_1407-9_0_6_line_28 |  | 26 | 27 | 0.026488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_1407-9_0_6_line_29 |  | 27 | 28 | 0.0062711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_1407-9_0_6_line_30 |  | 28 | 30 | 0.019635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_1407-9_0_6_line_31 |  | 29 | 84 | 0.015572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1407-9_0_6_line_32 |  | 29 | 75 | 0.031312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_1407-9_0_6_line_33 |  | 29 | 77 | 0.056606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1407-9_0_6_line_34 |  | 30 | 82 | 0.017815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_1407-9_0_6_line_35 |  | 31 | 74 | 0.010548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1407-9_0_6_line_36 |  | 32 | 33 | 0.0056823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_1407-9_0_6_line_37 |  | 33 | 34 | 0.011007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1407-9_0_6_line_38 |  | 33 | 35 | 0.007399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_1407-9_0_6_line_39 |  | 34 | 92 | 0.0010084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1407-9_0_6_line_40 |  | 35 | 91 | 0.014703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_1407-9_0_6_line_41 |  | 36 | 37 | 0.045432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1407-9_0_6_line_42 |  | 36 | 38 | 0.0032046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1407-9_0_6_line_43 |  | 37 | 39 | 0.018399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1407-9_0_6_line_44 |  | 37 | 40 | 0.10268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1407-9_0_6_line_45 |  | 39 | 44 | 0.027971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1407-9_0_6_line_46 |  | 39 | 41 | 0.073772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1407-9_0_6_line_47 |  | 41 | 42 | 0.054392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1407-9_0_6_line_48 |  | 41 | 43 | 0.061272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1407-9_0_6_line_49 |  | 42 | 85 | 0.071217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1407-9_0_6_line_50 |  | 43 | 77 | 0.014168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1407-9_0_6_line_51 |  | 44 | 45 | 0.030589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1407-9_0_6_line_52 |  | 45 | 46 | 0.022442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1407-9_0_6_line_53 |  | 46 | 83 | 0.018996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1407-9_0_6_line_54 |  | 47 | 48 | 0.0083858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1407-9_0_6_line_55 |  | 47 | 49 | 0.037308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1407-9_0_6_line_56 |  | 48 | 50 | 0.016473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1407-9_0_6_line_57 |  | 49 | 51 | 0.021081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1407-9_0_6_line_58 |  | 49 | 52 | 0.020169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1407-9_0_6_line_59 |  | 50 | 53 | 0.00064613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1407-9_0_6_line_60 |  | 50 | 54 | 0.023464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1407-9_0_6_line_61 |  | 51 | 55 | 0.017793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1407-9_0_6_line_62 |  | 51 | 56 | 0.011563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1407-9_0_6_line_63 |  | 53 | 57 | 0.013389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1407-9_0_6_line_64 |  | 54 | 58 | 0.0082265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1407-9_0_6_line_65 |  | 55 | 59 | 0.0025489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1407-9_0_6_line_66 |  | 57 | 60 | 0.04008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1407-9_0_6_line_67 |  | 58 | 61 | 0.015943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1407-9_0_6_line_68 |  | 60 | 81 | 0.011574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1407-9_0_6_line_69 |  | 61 | 71 | 0.011389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1407-9_0_6_line_70 |  | 62 | 63 | 0.031312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1407-9_0_6_line_71 |  | 63 | 82 | 0.023259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1407-9_0_6_line_72 |  | 64 | 65 | 0.025362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_1407-9_0_6_line_73 |  | 64 | 66 | 0.011109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_1407-9_0_6_line_74 |  | 65 | 67 | 0.02722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_1407-9_0_6_line_75 |  | 66 | 68 | 0.0062492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1407-9_0_6_line_76 |  | 66 | 69 | 0.018899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_1407-9_0_6_line_77 |  | 67 | 70 | 0.00011235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_1407-9_0_6_line_78 |  | 68 | 71 | 0.018125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1407-9_0_6_line_79 |  | 69 | 72 | 0.034348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_1407-9_0_6_line_80 |  | 70 | 73 | 0.022136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_1407-9_0_6_line_81 |  | 72 | 74 | 0.0087245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1407-9_0_6_line_82 |  | 72 | 75 | 0.019078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_1407-9_0_6_line_83 |  | 73 | 76 | 0.019424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_1407-9_0_6_line_84 |  | 76 | 82 | 0.011392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_1407-9_0_6_line_85 |  | 78 | 79 | 0.033661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_1407-9_0_6_line_86 |  | 79 | 80 | 0.028085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_1407-9_0_6_line_87 |  | 81 | 89 | 0.044373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_1407-9_0_6_line_88 |  | 84 | 86 | 0.0041852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_1407-9_0_6_line_89 |  | 86 | 87 | 0.033122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_1407-9_0_6_line_90 |  | 87 | 88 | 0.011849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_1407-9_0_6_line_91 |  | 88 | 93 | 0.011506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_1407-9_0_6_line_92 |  | 90 | 91 | 0.017313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1407-9_0_6_trafo_14 | 0.63 MVA 20/0.4 kV | 94 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2661679.8879 | 1193650.3172 | 2661678.7787 | 1193647.0149 | 2661675.3335 | 1193643.344 | 2661664.3319 | 1193635.5817 | 2661659.3069 | 1193635.0741
1 | 2661745.4219 | 1193654.3285 | 2661679.8879 | 1193650.3172
2 | 2661745.4219 | 1193654.3285 | 2661745.4219 | 1193654.3285 | 2661745.3807 | 1193658.3193 | 2661763.6372 | 1193683.9957
3 | 2661755.3105 | 1193646.3216 | 2661745.4219 | 1193654.3285
4 | 2661771.6688 | 1193633.0759 | 2661755.3105 | 1193646.3216
5 | 2661710.7585 | 1193759.1621 | 2661743.2657 | 1193742.5479
6 | 2661762.6075 | 1193732.6623 | 2661743.2657 | 1193742.5479
7 | 2661762.6075 | 1193732.6623 | 2661775.1994 | 1193726.0873
8 | 2661795.1358 | 1193715.6771 | 2661775.1994 | 1193726.0873
9 | 2661795.1358 | 1193715.6771 | 2661799.9622 | 1193724.332 | 2661799.7296 | 1193727.6649 | 2661799.07 | 1193730.4461
10 | 2661795.1358 | 1193715.6771 | 2661800.4519 | 1193710.2334
11 | 2661799.07 | 1193730.4461 | 2661795.6816 | 1193744.733 | 2661795.0814 | 1193749.2151
12 | 2661805.3576 | 1193705.2099 | 2661800.4519 | 1193710.2334
13 | 2661759.0354 | 1193801.2713 | 2661763.3266 | 1193803.2663 | 2661768.3257 | 1193806.264 | 2661778.8299 | 1193815.1856
14 | 2661788.626 | 1193823.5058 | 2661778.8299 | 1193815.1856
15 | 2661788.626 | 1193823.5058 | 2661785.7926 | 1193867.1016
16 | 2661821.1446 | 1193851.669 | 2661817.2597 | 1193850.7506 | 2661793.9228 | 1193827.9408 | 2661788.626 | 1193823.5058
17 | 2661788.626 | 1193823.5058 | 2661789.9459 | 1193806.9962
18 | 2661821.1446 | 1193851.669 | 2661824.5512 | 1193850.9482 | 2661835.5442 | 1193841.0373
19 | 2661789.9459 | 1193806.9962 | 2661790.9759 | 1193794.1131
20 | 2661836.2951 | 1193643.294 | 2661870.8889 | 1193669.2394
21 | 2661836.2951 | 1193643.294 | 2661847.5553 | 1193620.5898
22 | 2661847.5553 | 1193620.5898 | 2661861.2002 | 1193593.0775
23 | 2661951.6258 | 1193611.2565 | 2661931.4816 | 1193625.7235
24 | 2661951.6258 | 1193611.2565 | 2661930.5802 | 1193581.3505
25 | 2661930.5802 | 1193581.3505 | 2661914.9033 | 1193559.0734
26 | 2661894.6743 | 1193532.0103 | 2661895.8902 | 1193536.0363 | 2661901.4347 | 1193540.852 | 2661907.9487 | 1193549.1908 | 2661914.9033 | 1193559.0734
27 | 2661805.3576 | 1193705.2099 | 2661813.8369 | 1193688.5768
28 | 2661813.8369 | 1193688.5768 | 2661808.7756 | 1193685.6895 | 2661796.8675 | 1193668.805
29 | 2661793.2531 | 1193663.6803 | 2661796.8675 | 1193668.805
30 | 2661793.2531 | 1193663.6803 | 2661781.9365 | 1193647.6344
31 | 2661894.6743 | 1193532.0103 | 2661891.6992 | 1193527.8437 | 2661884.1219 | 1193520.6438
32 | 2661894.6743 | 1193532.0103 | 2661879.1947 | 1193559.2282
33 | 2661894.6743 | 1193532.0103 | 2661924.9688 | 1193490.1994 | 2661927.3822 | 1193485.8511
34 | 2661771.6688 | 1193633.0759 | 2661781.9365 | 1193647.6344
35 | 2661861.2002 | 1193593.0775 | 2661865.8869 | 1193583.6275
36 | 2661794.3273 | 1193754.8471 | 2661795.0814 | 1193749.2151
37 | 2661794.3273 | 1193754.8471 | 2661805.3586 | 1193755.2723
38 | 2661793.5273 | 1193762.1986 | 2661793.79 | 1193758.8994 | 2661794.3273 | 1193754.8471
39 | 2661805.3586 | 1193755.2723 | 2661805.3315 | 1193756.2804
40 | 2661793.5273 | 1193762.1986 | 2661792.3556 | 1193776.855
41 | 2662066.3159 | 1193387.7905 | 2662032.7696 | 1193394.7158 | 2662021.6897 | 1193396.1996
42 | 2662066.3159 | 1193387.7905 | 2662069.4543 | 1193387.1426
43 | 2662004.5039 | 1193394.3672 | 2662009.422 | 1193397.8424 | 2662021.6897 | 1193396.1996
44 | 2662021.6897 | 1193396.1996 | 2662052.7372 | 1193494.0693
45 | 2662004.5039 | 1193394.3672 | 2662009.1867 | 1193383.7762 | 2662013.8815 | 1193372.0403 | 2662013.4804 | 1193368.3115
46 | 2661940.8863 | 1193431.7191 | 2662004.5039 | 1193394.3672
47 | 2661940.8863 | 1193431.7191 | 2661929.3623 | 1193424.34 | 2661908.0546 | 1193410.8117 | 2661894.6763 | 1193403.0463
48 | 2661934.2576 | 1193473.4635 | 2661939.7668 | 1193474.3322 | 2661946.5697 | 1193468.7549 | 2661952.4542 | 1193460.6111 | 2661953.0593 | 1193454.436 | 2661951.3301 | 1193452.139 | 2661942.6406 | 1193444.1111 | 2661936.8925 | 1193439.082 | 2661940.8863 | 1193431.7191
49 | 2661894.6763 | 1193403.0463 | 2661883.5225 | 1193396.572 | 2661868.1305 | 1193385.1174 | 2661856.7567 | 1193375.7277 | 2661839.1721 | 1193358.8337
50 | 2661934.2576 | 1193473.4635 | 2661927.3822 | 1193485.8511
51 | 2661991.9989 | 1193350.0008 | 2662005.8562 | 1193355.8144 | 2662012.8387 | 1193362.3461 | 2662013.4804 | 1193368.3115
52 | 2661991.9989 | 1193350.0008 | 2662002.5452 | 1193330.1908
53 | 2662002.5452 | 1193330.1908 | 2662003.7831 | 1193327.8656 | 2662013.0525 | 1193314.3831
54 | 2661780.9303 | 1193482.5555 | 2661776.1111 | 1193489.4182
55 | 2661757.8783 | 1193521.9136 | 2661766.5861 | 1193504.5601 | 2661774.5701 | 1193491.6128 | 2661776.1111 | 1193489.4182
56 | 2661790.397 | 1193469.0742 | 2661780.9303 | 1193482.5555
57 | 2661757.8783 | 1193521.9136 | 2661748.4158 | 1193540.7602
58 | 2661757.8783 | 1193521.9136 | 2661775.9384 | 1193530.8928
59 | 2661790.397 | 1193469.0742 | 2661790.79 | 1193468.5613
60 | 2661790.397 | 1193469.0742 | 2661793.6652 | 1193475.1225 | 2661803.1557 | 1193488.7286
61 | 2661748.4158 | 1193540.7602 | 2661764.2961 | 1193548.785
62 | 2661748.4158 | 1193540.7602 | 2661743.2283 | 1193551.0945
63 | 2661798.9341 | 1193457.9336 | 2661790.79 | 1193468.5613
64 | 2661807.862 | 1193495.4758 | 2661803.1557 | 1193488.7286
65 | 2661766.571 | 1193549.9346 | 2661764.2961 | 1193548.785
66 | 2661798.9341 | 1193457.9336 | 2661774.744 | 1193435.6599 | 2661769.9514 | 1193430.2908
67 | 2661807.862 | 1193495.4758 | 2661816.9832 | 1193508.5523
68 | 2661762.244 | 1193421.6561 | 2661769.9514 | 1193430.2908
69 | 2661823.499 | 1193517.8938 | 2661816.9832 | 1193508.5523
70 | 2661740.48 | 1193588.296 | 2661758.3755 | 1193613.9898
71 | 2661771.6688 | 1193633.0759 | 2661758.3755 | 1193613.9898
72 | 2661809.4398 | 1193562.6682 | 2661818.3381 | 1193545.0512 | 2661822.3649 | 1193541.1238 | 2661822.3649 | 1193541.1238
73 | 2661833.0576 | 1193538.9552 | 2661828.0736 | 1193538.9037 | 2661822.3649 | 1193541.1238
74 | 2661797.1676 | 1193586.9645 | 2661809.4398 | 1193562.6682
75 | 2661833.0576 | 1193538.9552 | 2661833.6985 | 1193534.4592 | 2661833.8685 | 1193532.76
76 | 2661833.0576 | 1193538.9552 | 2661838.4343 | 1193541.5678 | 2661842.8509 | 1193545.638 | 2661846.8059 | 1193551.3107
77 | 2661797.117 | 1193587.0648 | 2661797.1676 | 1193586.9645
78 | 2661823.499 | 1193517.8938 | 2661833.8685 | 1193532.76
79 | 2661869.7633 | 1193575.8114 | 2661864.0681 | 1193573.051 | 2661860.0118 | 1193570.2519 | 2661846.8059 | 1193551.3107
80 | 2661797.117 | 1193587.0648 | 2661787.1371 | 1193606.8231
81 | 2661869.7633 | 1193575.8114 | 2661865.8869 | 1193583.6275
82 | 2661869.7633 | 1193575.8114 | 2661879.1947 | 1193559.2282
83 | 2661787.1371 | 1193606.8231 | 2661778.3797 | 1193624.161
84 | 2661771.6688 | 1193633.0759 | 2661775.4741 | 1193629.9133 | 2661778.3797 | 1193624.161
85 | 2661856.4037 | 1193822.231 | 2661881.4042 | 1193799.6913
86 | 2661856.4037 | 1193822.231 | 2661835.5442 | 1193841.0373
87 | 2661762.244 | 1193421.6561 | 2661755.071 | 1193413.6219 | 2661736.0835 | 1193385.8983
88 | 2661884.1219 | 1193520.6438 | 2661882.295 | 1193518.908 | 2661881.0524 | 1193517.7995
89 | 2661855.6088 | 1193496.7194 | 2661861.678 | 1193500.5176 | 2661881.0524 | 1193517.7995
90 | 2661855.6088 | 1193496.7194 | 2661845.5642 | 1193490.4334
91 | 2661835.811 | 1193484.3297 | 2661845.5642 | 1193490.4334
92 | 2661790.9759 | 1193794.1131 | 2661792.3556 | 1193776.855

## bus_geodata
| x | y | coords
0 | 2661659.3069 | 1193635.0741
1 | 2661679.8879 | 1193650.3172
2 | 2661745.4219 | 1193654.3285
3 | 2661763.6372 | 1193683.9957
4 | 2661755.3105 | 1193646.3216
5 | 2661710.7585 | 1193759.1621
6 | 2661743.2657 | 1193742.5479
7 | 2661762.6075 | 1193732.6623
8 | 2661775.1994 | 1193726.0873
9 | 2661795.1358 | 1193715.6771
10 | 2661799.07 | 1193730.4461
11 | 2661800.4519 | 1193710.2334
12 | 2661759.0354 | 1193801.2713
13 | 2661778.8299 | 1193815.1856
14 | 2661788.626 | 1193823.5058
15 | 2661785.7926 | 1193867.1016
16 | 2661821.1446 | 1193851.669
17 | 2661789.9459 | 1193806.9962
18 | 2661870.8889 | 1193669.2394
19 | 2661836.2951 | 1193643.294
20 | 2661847.5553 | 1193620.5898
21 | 2661931.4816 | 1193625.7235
22 | 2661951.6258 | 1193611.2565
23 | 2661930.5802 | 1193581.3505
24 | 2661914.9033 | 1193559.0734
25 | 2661805.3576 | 1193705.2099
26 | 2661813.8369 | 1193688.5768
27 | 2661796.8675 | 1193668.805
28 | 2661793.2531 | 1193663.6803
29 | 2661894.6743 | 1193532.0103
30 | 2661781.9365 | 1193647.6344
31 | 2661861.2002 | 1193593.0775
32 | 2661795.0814 | 1193749.2151
33 | 2661794.3273 | 1193754.8471
34 | 2661805.3586 | 1193755.2723
35 | 2661793.5273 | 1193762.1986
36 | 2662066.3159 | 1193387.7905
37 | 2662021.6897 | 1193396.1996
38 | 2662069.4543 | 1193387.1426
39 | 2662004.5039 | 1193394.3672
40 | 2662052.7372 | 1193494.0693
41 | 2661940.8863 | 1193431.7191
42 | 2661894.6763 | 1193403.0463
43 | 2661934.2576 | 1193473.4635
44 | 2662013.4804 | 1193368.3115
45 | 2661991.9989 | 1193350.0008
46 | 2662002.5452 | 1193330.1908
47 | 2661776.1111 | 1193489.4182
48 | 2661780.9303 | 1193482.5555
49 | 2661757.8783 | 1193521.9136
50 | 2661790.397 | 1193469.0742
51 | 2661748.4158 | 1193540.7602
52 | 2661775.9384 | 1193530.8928
53 | 2661790.79 | 1193468.5613
54 | 2661803.1557 | 1193488.7286
55 | 2661764.2961 | 1193548.785
56 | 2661743.2283 | 1193551.0945
57 | 2661798.9341 | 1193457.9336
58 | 2661807.862 | 1193495.4758
59 | 2661766.571 | 1193549.9346
60 | 2661769.9514 | 1193430.2908
61 | 2661816.9832 | 1193508.5523
62 | 2661740.48 | 1193588.296
63 | 2661758.3755 | 1193613.9898
64 | 2661822.3649 | 1193541.1238
65 | 2661809.4398 | 1193562.6682
66 | 2661833.0576 | 1193538.9552
67 | 2661797.1676 | 1193586.9645
68 | 2661833.8685 | 1193532.76
69 | 2661846.8059 | 1193551.3107
70 | 2661797.117 | 1193587.0648
71 | 2661823.499 | 1193517.8938
72 | 2661869.7633 | 1193575.8114
73 | 2661787.1371 | 1193606.8231
74 | 2661865.8869 | 1193583.6275
75 | 2661879.1947 | 1193559.2282
76 | 2661778.3797 | 1193624.161
77 | 2661927.3822 | 1193485.8511
78 | 2661881.4042 | 1193799.6913
79 | 2661856.4037 | 1193822.231
80 | 2661835.5442 | 1193841.0373
81 | 2661762.244 | 1193421.6561
82 | 2661771.6688 | 1193633.0759
83 | 2662013.0525 | 1193314.3831
84 | 2661884.1219 | 1193520.6438
85 | 2661839.1721 | 1193358.8337
86 | 2661881.0524 | 1193517.7995
87 | 2661855.6088 | 1193496.7194
88 | 2661845.5642 | 1193490.4334
89 | 2661736.0835 | 1193385.8983
90 | 2661790.9759 | 1193794.1131
91 | 2661792.3556 | 1193776.855
92 | 2661805.3315 | 1193756.2804
93 | 2661835.811 | 1193484.3297
94 | 2661805.3576 | 1193705.2099

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99219 | -0.14883 | 0.011571 | 0.0029001
1 | 0.99247 | -0.14329 | 0 | 0
2 | 0.99317 | -0.12985 | 0.0045684 | 0.001145
3 | 0.99294 | -0.1342 | 0.0069331 | 0.0017376
4 | 0.99343 | -0.12466 | 0.0026927 | 0.00067485
5 | 0.99311 | -0.13223 | 0.028426 | 0.0071243
6 | 0.99406 | -0.1139 | 0.024224 | 0.0060711
7 | 0.99511 | -0.093751 | 0 | 0
8 | 0.99579 | -0.080596 | 0.0073111 | 0.0018323
9 | 0.99702 | -0.05692 | 0 | 0
10 | 0.99589 | -0.078495 | 0.023978 | 0.0060094
11 | 0.99769 | -0.044082 | 0.0058822 | 0.0014742
12 | 0.98905 | -0.21027 | 0.011418 | 0.0028617
13 | 0.98931 | -0.20532 | 0.019198 | 0.0048114
14 | 0.98967 | -0.19831 | 0 | 0
15 | 0.98881 | -0.21505 | 0.021511 | 0.0053913
16 | 0.98681 | -0.25362 | 0 | 0
17 | 0.99155 | -0.162 | 0.023087 | 0.0057862
18 | 0.97867 | -0.40994 | 0.029202 | 0.0073187
19 | 0.97984 | -0.38699 | 0.006625 | 0.0016604
20 | 0.98068 | -0.37052 | 0.0050419 | 0.0012636
21 | 0.97656 | -0.45119 | 0.029033 | 0.0072764
22 | 0.97723 | -0.43804 | 0 | 0
23 | 0.97822 | -0.41868 | 0.0027857 | 0.00069815
24 | 0.97902 | -0.40291 | 0.0067195 | 0.0016841
25 | 0.99832 | -0.032011 | 0 | 0
26 | 1 | 0 | -0.59176 | -0.15073
27 | 0.99765 | -0.044436 | 0.006256 | 0.0015679
28 | 0.9971 | -0.054757 | 0.0052467 | 0.001315
29 | 0.98024 | -0.37896 | 0 | 0
30 | 0.99543 | -0.086543 | 0.0036827 | 0.00092298
31 | 0.98185 | -0.3478 | 0.0054257 | 0.0013598
32 | 0.99469 | -0.10158 | 0.014333 | 0.0035923
33 | 0.99436 | -0.10794 | 0 | 0
34 | 0.99411 | -0.1127 | 0 | 0
35 | 0.99398 | -0.11516 | 0 | 0
36 | 0.97211 | -0.53867 | 0.0032945 | 0.00082567
37 | 0.97237 | -0.53354 | 0.002423 | 0.00060727
38 | 0.9721 | -0.53884 | 0.0028308 | 0.00070946
39 | 0.97256 | -0.52963 | 0 | 0
40 | 0.97208 | -0.53918 | 0.0029804 | 0.00074696
41 | 0.97418 | -0.49774 | 0 | 0
42 | 0.97307 | -0.5196 | 0.019187 | 0.0048087
43 | 0.97677 | -0.44682 | 0 | 0
44 | 0.97225 | -0.53579 | 0.0079531 | 0.0019932
45 | 0.97214 | -0.53805 | 0 | 0
46 | 0.97205 | -0.53971 | 0.0027463 | 0.00068829
47 | 0.98318 | -0.32212 | 0.00063591 | 0.00015938
48 | 0.98334 | -0.319 | 0.00019887 | 4.9842e-05
49 | 0.98249 | -0.33554 | 0.0037418 | 0.00093777
50 | 0.98365 | -0.31284 | 0 | 0
51 | 0.98225 | -0.34036 | 0 | 0
52 | 0.98243 | -0.33682 | 0.0035175 | 0.00088158
53 | 0.98365 | -0.31288 | 0.00026892 | 6.7398e-05
54 | 0.98418 | -0.30251 | 0.00018448 | 4.6236e-05
55 | 0.98212 | -0.3428 | 0.0033244 | 0.00083316
56 | 0.98219 | -0.34143 | 0.0050881 | 0.0012752
57 | 0.98361 | -0.3137 | 0 | 0
58 | 0.98437 | -0.29887 | 0.0016972 | 0.00042536
59 | 0.98211 | -0.343 | 0.0042628 | 0.0010684
60 | 0.98349 | -0.31615 | 0.0026763 | 0.00067074
61 | 0.98476 | -0.29132 | 0.0016268 | 0.00040771
62 | 0.99365 | -0.12052 | 0.0034008 | 0.00085233
63 | 0.99375 | -0.11864 | 0.0052363 | 0.0013124
64 | 0.98649 | -0.25775 | 0.0024971 | 0.00062583
65 | 0.98821 | -0.22458 | 0.0047576 | 0.0011924
66 | 0.98574 | -0.27216 | 0 | 0
67 | 0.9901 | -0.18833 | 0.002101 | 0.00052655
68 | 0.98555 | -0.27585 | 0.0029588 | 0.00074155
69 | 0.98467 | -0.29298 | 0.0036495 | 0.00091464
70 | 0.9901 | -0.18818 | 0.0044333 | 0.0011111
71 | 0.98505 | -0.2856 | 0.0020224 | 0.00050686
72 | 0.98275 | -0.33019 | 0 | 0
73 | 0.99168 | -0.15795 | 0.0036523 | 0.00091534
74 | 0.9823 | -0.33897 | 0.0094505 | 0.0023685
75 | 0.98201 | -0.34451 | 0.0031439 | 0.00078794
76 | 0.99309 | -0.13108 | 0.0040053 | 0.0010038
77 | 0.97737 | -0.43509 | 0.0091409 | 0.0022909
78 | 0.98362 | -0.3159 | 0.024555 | 0.0061542
79 | 0.98438 | -0.30102 | 0.023087 | 0.0057861
80 | 0.98561 | -0.27698 | 0.023657 | 0.005929
81 | 0.98348 | -0.3163 | 0 | 0
82 | 0.99393 | -0.11509 | 0 | 0
83 | 0.97203 | -0.54015 | 0.0012594 | 0.00031564
84 | 0.97983 | -0.387 | 0.0016232 | 0.00040682
85 | 0.97289 | -0.52311 | 0.0026745 | 0.00067029
86 | 0.97973 | -0.38904 | 0.0015778 | 0.00039542
87 | 0.97895 | -0.40426 | 0.0021789 | 0.00054609
88 | 0.9787 | -0.40923 | 0.020773 | 0.0052062
89 | 0.98345 | -0.31688 | 0.000717 | 0.0001797
90 | 0.99242 | -0.14523 | 0.0074186 | 0.0018593
91 | 0.99323 | -0.12952 | 0.01208 | 0.0030275
92 | 0.99409 | -0.11314 | 0.024556 | 0.0061542
93 | 0.97868 | -0.40972 | 0.0023195 | 0.00058133
94 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.011571 | -0.0029001 | 0.011574 | 0.0029017 | 3.053e-06 | 1.6047e-06 | 0.017354 | 0.017354 | 0.017354 | 0.99219 | -0.14883 | 0.99247 | -0.14329 | 4.7676
1 | -0.011574 | -0.0029017 | 0.011582 | 0.0029056 | 7.4148e-06 | 3.8964e-06 | 0.017354 | 0.017354 | 0.017354 | 0.99247 | -0.14329 | 0.99317 | -0.12985 | 4.7676
2 | 0.0069345 | 0.0017381 | -0.0069331 | -0.0017376 | 1.4369e-06 | 4.6038e-07 | 0.01039 | 0.01039 | 0.01039 | 0.99317 | -0.12985 | 0.99294 | -0.1342 | 2.8544
3 | -0.023085 | -0.0057886 | 0.023091 | 0.0057921 | 5.7082e-06 | 3.4885e-06 | 0.034588 | 0.034588 | 0.034588 | 0.99317 | -0.12985 | 0.99343 | -0.12466 | 9.5022
4 | -0.025783 | -0.0064669 | 0.025795 | 0.0064742 | 1.1773e-05 | 7.2624e-06 | 0.038621 | 0.038621 | 0.038621 | 0.99343 | -0.12466 | 0.99393 | -0.11509 | 10.6102
5 | -0.028426 | -0.0071243 | 0.028451 | 0.0071397 | 2.4835e-05 | 1.5422e-05 | 0.042592 | 0.042592 | 0.042592 | 0.99311 | -0.13223 | 0.99406 | -0.1139 | 11.7011
6 | -0.052675 | -0.013211 | 0.052726 | 0.013243 | 5.0648e-05 | 3.2133e-05 | 0.078853 | 0.078853 | 0.078853 | 0.99406 | -0.1139 | 0.99511 | -0.093751 | 21.663
7 | -0.052726 | -0.013243 | 0.052759 | 0.013264 | 3.3122e-05 | 2.1013e-05 | 0.078853 | 0.078853 | 0.078853 | 0.99511 | -0.093751 | 0.99579 | -0.080596 | 21.663
8 | -0.06007 | -0.015096 | 0.060138 | 0.01514 | 6.7979e-05 | 4.3214e-05 | 0.089778 | 0.089778 | 0.089778 | 0.99579 | -0.080596 | 0.99702 | -0.05692 | 24.6643
9 | 0.2304 | 0.058332 | -0.23017 | -0.05818 | 0.00023839 | 0.00015194 | 0.34408 | 0.34408 | 0.34408 | 0.99702 | -0.05692 | 0.99589 | -0.078495 | 31.509
10 | -0.29054 | -0.073472 | 0.29072 | 0.073586 | 0.00017903 | 0.00011428 | 0.43386 | 0.43386 | 0.43386 | 0.99702 | -0.05692 | 0.99769 | -0.044082 | 39.7304
11 | 0.20619 | 0.052171 | -0.20596 | -0.052025 | 0.00022811 | 0.00014524 | 0.30825 | 0.30825 | 0.30825 | 0.99589 | -0.078495 | 0.99469 | -0.10158 | 28.2282
12 | -0.2966 | -0.07506 | 0.29678 | 0.07517 | 0.00017196 | 0.00010978 | 0.44263 | 0.44263 | 0.44263 | 0.99769 | -0.044082 | 0.99832 | -0.032011 | 40.5338
13 | -0.011418 | -0.0028617 | 0.011421 | 0.0028631 | 2.694e-06 | 1.4116e-06 | 0.017179 | 0.017179 | 0.017179 | 0.98905 | -0.21027 | 0.98931 | -0.20532 | 4.7195
14 | -0.030619 | -0.0076746 | 0.030629 | 0.0076809 | 1.0223e-05 | 6.3773e-06 | 0.046054 | 0.046054 | 0.046054 | 0.98931 | -0.20532 | 0.98967 | -0.19831 | 12.6522
15 | 0.021529 | 0.0054017 | -0.021511 | -0.0053913 | 1.7168e-05 | 1.0427e-05 | 0.032371 | 0.032372 | 0.032372 | 0.98967 | -0.19831 | 0.98881 | -0.21505 | 8.8933
16 | 0.07164 | 0.018086 | -0.071451 | -0.017965 | 0.00018928 | 0.00012058 | 0.10776 | 0.10776 | 0.10776 | 0.98967 | -0.19831 | 0.98681 | -0.25362 | 29.6049
17 | -0.1238 | -0.031169 | 0.12401 | 0.031306 | 0.0002153 | 0.00013758 | 0.18619 | 0.18619 | 0.18619 | 0.98967 | -0.19831 | 0.99155 | -0.162 | 51.1502
18 | 0.071451 | 0.017965 | -0.071371 | -0.017915 | 7.9618e-05 | 5.0722e-05 | 0.10776 | 0.10776 | 0.10776 | 0.98681 | -0.25362 | 0.98561 | -0.27698 | 29.6049
19 | -0.1471 | -0.037092 | 0.14722 | 0.037168 | 0.00011818 | 7.53e-05 | 0.22083 | 0.22083 | 0.22083 | 0.99155 | -0.162 | 0.99242 | -0.14523 | 30.3343
20 | -0.029202 | -0.0073187 | 0.029234 | 0.0073387 | 3.1967e-05 | 1.9915e-05 | 0.0444 | 0.0444 | 0.0444 | 0.97867 | -0.40994 | 0.97984 | -0.38699 | 12.1979
21 | -0.035859 | -0.008999 | 0.035887 | 0.0090168 | 2.8188e-05 | 1.7721e-05 | 0.054461 | 0.054461 | 0.054461 | 0.97984 | -0.38699 | 0.98068 | -0.37052 | 14.9618
22 | -0.040929 | -0.01028 | 0.040974 | 0.010308 | 4.4427e-05 | 2.8046e-05 | 0.062111 | 0.062111 | 0.062111 | 0.98068 | -0.37052 | 0.98185 | -0.3478 | 17.0635
23 | -0.029033 | -0.0072764 | 0.029051 | 0.0072877 | 1.8201e-05 | 1.1338e-05 | 0.044239 | 0.044238 | 0.044239 | 0.97656 | -0.45119 | 0.97723 | -0.43804 | 12.1535
24 | -0.029051 | -0.0072877 | 0.029078 | 0.0073044 | 2.6837e-05 | 1.6717e-05 | 0.044238 | 0.044238 | 0.044238 | 0.97723 | -0.43804 | 0.97822 | -0.41868 | 12.1534
25 | -0.031864 | -0.0080026 | 0.031888 | 0.0080176 | 2.4004e-05 | 1.5021e-05 | 0.048476 | 0.048476 | 0.048476 | 0.97822 | -0.41868 | 0.97902 | -0.40291 | 13.3175
26 | -0.038607 | -0.0097017 | 0.038651 | 0.0097295 | 4.4194e-05 | 2.7853e-05 | 0.058689 | 0.058688 | 0.058689 | 0.97902 | -0.40291 | 0.98024 | -0.37896 | 16.1232
27 | -0.29678 | -0.07517 | 0.29723 | 0.075462 | 0.00045703 | 0.00029177 | 0.44263 | 0.44263 | 0.44263 | 0.99832 | -0.032011 | 1 | 0 | 40.5338
28 | 0.29288 | 0.075273 | -0.29225 | -0.074871 | 0.00063077 | 0.00040265 | 0.43647 | 0.43647 | 0.43647 | 1 | 0 | 0.99765 | -0.044436 | 39.9698
29 | 0.28599 | 0.073303 | -0.28585 | -0.073211 | 0.00014302 | 9.1286e-05 | 0.42714 | 0.42714 | 0.42714 | 0.99765 | -0.044436 | 0.9971 | -0.054757 | 39.1153
30 | 0.2806 | 0.071896 | -0.28017 | -0.071621 | 0.00043153 | 0.00027541 | 0.41931 | 0.41931 | 0.41931 | 0.9971 | -0.054757 | 0.99543 | -0.086543 | 38.3983
31 | 0.02851 | 0.0071589 | -0.028499 | -0.0071521 | 1.094e-05 | 6.8054e-06 | 0.043283 | 0.043283 | 0.043283 | 0.98024 | -0.37896 | 0.97983 | -0.387 | 11.891
32 | -0.122 | -0.030762 | 0.1222 | 0.03089 | 0.00020151 | 0.00012818 | 0.18527 | 0.18527 | 0.18527 | 0.98024 | -0.37896 | 0.98201 | -0.34451 | 25.4488
33 | 0.054841 | 0.013874 | -0.054694 | -0.01378 | 0.00014728 | 9.3545e-05 | 0.083295 | 0.083296 | 0.083296 | 0.98024 | -0.37896 | 0.97737 | -0.43509 | 22.8834
34 | 0.27649 | 0.070698 | -0.2761 | -0.070455 | 0.00038132 | 0.00024335 | 0.4138 | 0.4138 | 0.4138 | 0.99543 | -0.086543 | 0.99393 | -0.11509 | 37.8942
35 | -0.046399 | -0.011668 | 0.046419 | 0.011681 | 1.9568e-05 | 1.239e-05 | 0.070334 | 0.070334 | 0.070334 | 0.98185 | -0.3478 | 0.9823 | -0.33897 | 19.3225
36 | 0.19163 | 0.048433 | -0.19157 | -0.048396 | 5.8428e-05 | 3.7172e-05 | 0.28681 | 0.28681 | 0.28681 | 0.99469 | -0.10158 | 0.99436 | -0.10794 | 26.2646
37 | 0.024562 | 0.006158 | -0.024556 | -0.0061545 | 5.5766e-06 | 3.4263e-06 | 0.036756 | 0.036756 | 0.036756 | 0.99436 | -0.10794 | 0.99411 | -0.1127 | 10.0979
38 | 0.16701 | 0.042238 | -0.16695 | -0.042201 | 5.7829e-05 | 3.6723e-05 | 0.25005 | 0.25005 | 0.25005 | 0.99436 | -0.10794 | 0.99398 | -0.11516 | 22.8987
39 | 0.024556 | 0.0061545 | -0.024556 | -0.0061542 | 5.1092e-07 | 3.1391e-07 | 0.036756 | 0.036756 | 0.036756 | 0.99411 | -0.1127 | 0.99409 | -0.11314 | 10.0979
40 | 0.16695 | 0.042201 | -0.16683 | -0.042128 | 0.00011492 | 7.2976e-05 | 0.25005 | 0.25005 | 0.25005 | 0.99398 | -0.11516 | 0.99323 | -0.12952 | 22.8987
41 | -0.0061253 | -0.0015351 | 0.0061268 | 0.0015355 | 1.4977e-06 | 3.9513e-07 | 0.009376 | 0.0093758 | 0.009376 | 0.97211 | -0.53867 | 0.97237 | -0.53354 | 2.5758
42 | 0.0028308 | 0.00070944 | -0.0028308 | -0.00070946 | 2.2564e-08 | -2.5288e-08 | 0.0043332 | 0.0043332 | 0.0043332 | 0.97211 | -0.53867 | 0.9721 | -0.53884 | 1.1904
43 | -0.011531 | -0.002889 | 0.011533 | 0.0028901 | 2.1483e-06 | 1.1467e-06 | 0.017646 | 0.017646 | 0.017646 | 0.97237 | -0.53354 | 0.97256 | -0.52963 | 4.8477
44 | 0.0029812 | 0.0007462 | -0.0029804 | -0.00074696 | 8.0135e-07 | -7.6038e-07 | 0.0045618 | 0.0045623 | 0.0045623 | 0.97237 | -0.53354 | 0.97208 | -0.53918 | 1.2534
45 | 0.011963 | 0.0029987 | -0.01196 | -0.0029968 | 3.514e-06 | 1.902e-06 | 0.018304 | 0.018304 | 0.018304 | 0.97256 | -0.52963 | 0.97225 | -0.53579 | 5.0285
46 | -0.023496 | -0.0058888 | 0.023532 | 0.0059107 | 3.5752e-05 | 2.1964e-05 | 0.035949 | 0.035949 | 0.035949 | 0.97256 | -0.52963 | 0.97418 | -0.49774 | 9.8761
47 | 0.021885 | 0.0054923 | -0.021862 | -0.0054784 | 2.2796e-05 | 1.3913e-05 | 0.03343 | 0.033431 | 0.033431 | 0.97418 | -0.49774 | 0.97307 | -0.5196 | 9.1842
48 | -0.045417 | -0.011403 | 0.045527 | 0.011473 | 0.0001106 | 7.0018e-05 | 0.069379 | 0.069379 | 0.069379 | 0.97418 | -0.49774 | 0.97677 | -0.44682 | 19.0602
49 | 0.0026749 | 0.00066969 | -0.0026745 | -0.00067029 | 4.4684e-07 | -5.9854e-07 | 0.0040903 | 0.0040906 | 0.0040906 | 0.97307 | -0.5196 | 0.97289 | -0.52311 | 1.1238
50 | -0.045527 | -0.011473 | 0.045553 | 0.011489 | 2.5573e-05 | 1.6189e-05 | 0.069379 | 0.069379 | 0.069379 | 0.97677 | -0.44682 | 0.97737 | -0.43509 | 19.0601
51 | 0.0040065 | 0.0010035 | -0.004006 | -0.0010036 | 4.3127e-07 | -1.0328e-07 | 0.0061316 | 0.0061318 | 0.0061318 | 0.97225 | -0.53579 | 0.97214 | -0.53805 | 1.6846
52 | 0.004006 | 0.0010036 | -0.0040057 | -0.0010037 | 3.1643e-07 | -7.571e-08 | 0.0061318 | 0.0061319 | 0.0061319 | 0.97214 | -0.53805 | 0.97205 | -0.53971 | 1.6846
53 | 0.0012594 | 0.00031542 | -0.0012594 | -0.00031564 | 2.6476e-08 | -2.1853e-07 | 0.0019279 | 0.0019279 | 0.0019279 | 0.97205 | -0.53971 | 0.97203 | -0.54015 | 0.52965
54 | -0.020588 | -0.005165 | 0.020591 | 0.0051668 | 3.0534e-06 | 1.8478e-06 | 0.031161 | 0.03116 | 0.031161 | 0.98318 | -0.32212 | 0.98334 | -0.319 | 8.5606
55 | 0.019952 | 0.0050056 | -0.019939 | -0.0049979 | 1.2758e-05 | 7.6926e-06 | 0.030198 | 0.030198 | 0.030198 | 0.98318 | -0.32212 | 0.98249 | -0.33554 | 8.2962
56 | -0.020789 | -0.0052167 | 0.020796 | 0.0052204 | 6.1145e-06 | 3.7043e-06 | 0.031461 | 0.031461 | 0.031461 | 0.98334 | -0.319 | 0.98365 | -0.31284 | 8.6432
57 | 0.012679 | 0.0031787 | -0.012676 | -0.0031771 | 2.9153e-06 | 1.5989e-06 | 0.019204 | 0.019204 | 0.019204 | 0.98249 | -0.33554 | 0.98225 | -0.34036 | 5.2757
58 | 0.0035177 | 0.00088146 | -0.0035175 | -0.00088158 | 2.1469e-07 | -1.1801e-07 | 0.0053277 | 0.0053278 | 0.0053278 | 0.98249 | -0.33554 | 0.98243 | -0.33682 | 1.4637
59 | 0.0036628 | 0.0009168 | -0.0036628 | -0.0009168 | 7.4376e-09 | -3.4417e-09 | 0.0055404 | 0.0055404 | 0.0055404 | 0.98365 | -0.31284 | 0.98365 | -0.31288 | 1.5221
60 | -0.024458 | -0.0061372 | 0.02447 | 0.0061446 | 1.2047e-05 | 7.412e-06 | 0.037002 | 0.037002 | 0.037002 | 0.98365 | -0.31284 | 0.98418 | -0.30251 | 10.1653
61 | 0.0075881 | 0.0019018 | -0.0075872 | -0.0019015 | 8.8169e-07 | 3.3909e-07 | 0.011495 | 0.011495 | 0.011495 | 0.98225 | -0.34036 | 0.98212 | -0.3428 | 3.1581
62 | 0.0050883 | 0.0012752 | -0.0050881 | -0.0012752 | 2.5765e-07 | 1.8545e-08 | 0.0077084 | 0.0077084 | 0.0077084 | 0.98225 | -0.34036 | 0.98219 | -0.34143 | 2.1177
63 | 0.0033939 | 0.00084941 | -0.0033937 | -0.00084949 | 1.3232e-07 | -8.5267e-08 | 0.0051336 | 0.0051337 | 0.0051337 | 0.98365 | -0.31288 | 0.98361 | -0.3137 | 1.4104
64 | -0.024655 | -0.0061908 | 0.024659 | 0.0061934 | 4.2875e-06 | 2.6395e-06 | 0.037281 | 0.037281 | 0.037281 | 0.98418 | -0.30251 | 0.98437 | -0.29887 | 10.2419
65 | 0.0042628 | 0.0010683 | -0.0042628 | -0.0010684 | 3.9872e-08 | -6.7369e-09 | 0.0064586 | 0.0064586 | 0.0064586 | 0.98212 | -0.3428 | 0.98211 | -0.343 | 1.7743
66 | 0.0033937 | 0.00084949 | -0.0033933 | -0.00084975 | 3.9612e-07 | -2.5514e-07 | 0.0051337 | 0.0051339 | 0.0051339 | 0.98361 | -0.3137 | 0.98349 | -0.31615 | 1.4104
67 | -0.026356 | -0.0066188 | 0.026366 | 0.0066247 | 9.4925e-06 | 5.8725e-06 | 0.039846 | 0.039846 | 0.039846 | 0.98437 | -0.29887 | 0.98476 | -0.29132 | 10.9467
68 | 0.00071703 | 0.000179 | -0.00071702 | -0.00017915 | 5.1062e-09 | -1.436e-07 | 0.0010846 | 0.0010847 | 0.0010847 | 0.98349 | -0.31615 | 0.98348 | -0.3163 | 0.29799
69 | -0.027993 | -0.0070324 | 0.028 | 0.0070371 | 7.6436e-06 | 4.747e-06 | 0.042304 | 0.042304 | 0.042304 | 0.98476 | -0.29132 | 0.98505 | -0.2856 | 11.622
70 | -0.0034008 | -0.00085233 | 0.0034011 | 0.00085212 | 3.0454e-07 | -2.1072e-07 | 0.0050929 | 0.0050927 | 0.0050929 | 0.99365 | -0.12052 | 0.99375 | -0.11864 | 1.3991
71 | -0.0086375 | -0.0021645 | 0.0086389 | 0.0021651 | 1.459e-06 | 6.3237e-07 | 0.012934 | 0.012933 | 0.012934 | 0.99375 | -0.11864 | 0.99393 | -0.11509 | 3.5532
72 | -0.22114 | -0.056055 | 0.22149 | 0.05628 | 0.0003532 | 0.00022508 | 0.33379 | 0.33379 | 0.33379 | 0.98649 | -0.25775 | 0.98821 | -0.22458 | 30.5666
73 | 0.21864 | 0.05543 | -0.21849 | -0.055333 | 0.00015125 | 9.6373e-05 | 0.33002 | 0.33002 | 0.33002 | 0.98649 | -0.25775 | 0.98574 | -0.27216 | 30.2216
74 | -0.22625 | -0.057473 | 0.22664 | 0.057725 | 0.00039553 | 0.00025209 | 0.34095 | 0.34095 | 0.34095 | 0.98821 | -0.22458 | 0.9901 | -0.18833 | 31.2225
75 | 0.033001 | 0.0082979 | -0.032996 | -0.0082943 | 5.818e-06 | 3.6439e-06 | 0.049826 | 0.049826 | 0.049826 | 0.98574 | -0.27216 | 0.98555 | -0.27585 | 13.6886
76 | 0.18549 | 0.047035 | -0.1853 | -0.046917 | 0.00018547 | 0.00011798 | 0.28019 | 0.28019 | 0.28019 | 0.98574 | -0.27216 | 0.98467 | -0.29298 | 25.6588
77 | -0.22874 | -0.058251 | 0.22874 | 0.058253 | 1.6629e-06 | 1.0599e-06 | 0.34411 | 0.34411 | 0.34411 | 0.9901 | -0.18833 | 0.9901 | -0.18818 | 31.5117
78 | 0.030037 | 0.0075527 | -0.030023 | -0.007544 | 1.3985e-05 | 8.7193e-06 | 0.045359 | 0.045359 | 0.045359 | 0.98555 | -0.27585 | 0.98505 | -0.2856 | 12.4613
79 | 0.18165 | 0.046003 | -0.18133 | -0.045797 | 0.00032394 | 0.00020601 | 0.27468 | 0.27468 | 0.27468 | 0.98467 | -0.29298 | 0.98275 | -0.33019 | 25.1538
80 | -0.23318 | -0.059364 | 0.23352 | 0.059581 | 0.00034045 | 0.00021703 | 0.35077 | 0.35077 | 0.35077 | 0.9901 | -0.18818 | 0.99168 | -0.15795 | 32.1218
81 | 0.055893 | 0.014064 | -0.055869 | -0.014049 | 2.3443e-05 | 1.4893e-05 | 0.084649 | 0.08465 | 0.08465 | 0.98275 | -0.33019 | 0.9823 | -0.33897 | 23.2554
82 | 0.12543 | 0.031733 | -0.12535 | -0.031678 | 8.6115e-05 | 5.4389e-05 | 0.19003 | 0.19003 | 0.19003 | 0.98275 | -0.33019 | 0.98201 | -0.34451 | 17.4021
83 | -0.23717 | -0.060496 | 0.23748 | 0.060692 | 0.00030815 | 0.00019646 | 0.35625 | 0.35625 | 0.35625 | 0.99168 | -0.15795 | 0.99309 | -0.13108 | 32.6236
84 | -0.24148 | -0.061696 | 0.24167 | 0.061815 | 0.00018687 | 0.00011916 | 0.36225 | 0.36225 | 0.36225 | 0.99309 | -0.13108 | 0.99393 | -0.11509 | 33.1732
85 | -0.024555 | -0.0061542 | 0.024573 | 0.0061649 | 1.7419e-05 | 1.072e-05 | 0.037147 | 0.037147 | 0.037147 | 0.98362 | -0.3159 | 0.98438 | -0.30102 | 10.2054
86 | -0.04766 | -0.011951 | 0.047714 | 0.011986 | 5.4668e-05 | 3.463e-05 | 0.072046 | 0.072046 | 0.072046 | 0.98438 | -0.30102 | 0.98561 | -0.27698 | 19.7929
87 | 0.00071702 | 0.00017915 | -0.000717 | -0.0001797 | 1.958e-08 | -5.5051e-07 | 0.0010847 | 0.0010849 | 0.0010849 | 0.98348 | -0.3163 | 0.98345 | -0.31688 | 0.29804
88 | 0.026876 | 0.0067453 | -0.026873 | -0.0067436 | 2.6149e-06 | 1.6208e-06 | 0.040818 | 0.040818 | 0.040818 | 0.97983 | -0.387 | 0.97973 | -0.38904 | 11.2138
89 | 0.025295 | 0.0063482 | -0.025277 | -0.0063369 | 1.8336e-05 | 1.1318e-05 | 0.038422 | 0.038422 | 0.038422 | 0.97973 | -0.38904 | 0.97895 | -0.40426 | 10.5555
90 | 0.023098 | 0.0057908 | -0.023093 | -0.0057875 | 5.4776e-06 | 3.3567e-06 | 0.03511 | 0.03511 | 0.03511 | 0.97895 | -0.40426 | 0.9787 | -0.40923 | 9.6457
91 | 0.0023196 | 0.00058122 | -0.0023195 | -0.00058133 | 5.3663e-08 | -1.1024e-07 | 0.0035267 | 0.0035267 | 0.0035267 | 0.9787 | -0.40923 | 0.97868 | -0.40972 | 0.96888
92 | -0.15464 | -0.039027 | 0.15475 | 0.039101 | 0.00011644 | 7.385e-05 | 0.23196 | 0.23196 | 0.23196 | 0.99242 | -0.14523 | 0.99323 | -0.12952 | 21.2415

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.59176 | 0.15073

## res_load
| p_mw | q_mvar
0 | 0.011571 | 0.0029001
1 | 0.0045684 | 0.001145
2 | 0.0069331 | 0.0017376
3 | 0.0026927 | 0.00067485
4 | 0.028426 | 0.0071243
5 | 0.024224 | 0.0060711
6 | 0.0073111 | 0.0018323
7 | 0.023978 | 0.0060094
8 | 0.0058822 | 0.0014742
9 | 0.011418 | 0.0028617
10 | 0.019198 | 0.0048114
11 | 0.021511 | 0.0053913
12 | 0.023087 | 0.0057862
13 | 0.029202 | 0.0073187
14 | 0.006625 | 0.0016604
15 | 0.0050419 | 0.0012636
16 | 0.029033 | 0.0072764
17 | 0.0027857 | 0.00069815
18 | 0.0067195 | 0.0016841
19 | 0.006256 | 0.0015679
20 | 0.0052467 | 0.001315
21 | 0.0036827 | 0.00092298
22 | 0.0054257 | 0.0013598
23 | 0.014333 | 0.0035923
24 | 0.0032945 | 0.00082567
25 | 0.002423 | 0.00060727
26 | 0.0028308 | 0.00070946
27 | 0.0029804 | 0.00074696
28 | 0.019187 | 0.0048087
29 | 0.0079531 | 0.0019932
30 | 0.0027463 | 0.00068829
31 | 0.00063591 | 0.00015938
32 | 0.00019887 | 4.9842e-05
33 | 0.0037418 | 0.00093777
34 | 0.0035175 | 0.00088158
35 | 0.00026892 | 6.7398e-05
36 | 0.00018448 | 4.6236e-05
37 | 0.0033244 | 0.00083316
38 | 0.0050881 | 0.0012752
39 | 0.0016972 | 0.00042536
40 | 0.0042628 | 0.0010684
41 | 0.0026763 | 0.00067074
42 | 0.0016268 | 0.00040771
43 | 0.0034008 | 0.00085233
44 | 0.0052363 | 0.0013124
45 | 0.0024971 | 0.00062583
46 | 0.0047576 | 0.0011924
47 | 0.002101 | 0.00052655
48 | 0.0029588 | 0.00074155
49 | 0.0036495 | 0.00091464
50 | 0.0044333 | 0.0011111
51 | 0.0020224 | 0.00050686
52 | 0.0036523 | 0.00091534
53 | 0.0094505 | 0.0023685
54 | 0.0031439 | 0.00078794
55 | 0.0040053 | 0.0010038
56 | 0.0091409 | 0.0022909
57 | 0.024555 | 0.0061542
58 | 0.023087 | 0.0057861
59 | 0.023657 | 0.005929
60 | 0.0012594 | 0.00031564
61 | 0.0016232 | 0.00040682
62 | 0.0026745 | 0.00067029
63 | 0.0015778 | 0.00039542
64 | 0.0021789 | 0.00054609
65 | 0.020773 | 0.0052062
66 | 0.000717 | 0.0001797
67 | 0.0074186 | 0.0018593
68 | 0.01208 | 0.0030275
69 | 0.024556 | 0.0061542
70 | 0.0023195 | 0.00058133

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1