## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1508-12_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1508-12_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1508-12_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1508-12_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1508-12_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1508-12_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1508-12_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1508-12_0_2_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_1508-12_0_2_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1508-12_0_2_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_1508-12_0_2_node_37 | 0.4 | n |  | TRUE
11 | bus_LV_1508-12_0_2_node_39 | 0.4 | n |  | TRUE
12 | bus_LV_1508-12_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1508-12_0_2_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1508-12_0_2_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1508-12_0_2_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_1508-12_0_2_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1508-12_0_2_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_1508-12_0_2_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1508-12_0_2_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_1508-12_0_2_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1508-12_0_2_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_1508-12_0_2_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_1508-12_0_2_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_1508-12_0_2_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_1508-12_0_2_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_1508-12_0_2_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1508-12_0_2_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_1508-12_0_2_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_1508-12_0_2_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_1508-12_0_2_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1508-12_0_2_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_1508-12_0_2_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_1508-12_0_2_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_1508-12_0_2_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_1508-12_0_2_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_1508-12_0_2_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_1508-12_0_2_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_1508-12_0_2_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_1508-12_0_2_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_1508-12_0_2_node_38 | 0.4 | n |  | TRUE
41 | bus_MV_136_1_node_166 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1508-12_0_2_load_0 | 0 | 0.0099063 | 0.0024827 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1508-12_0_2_load_1 | 1 | 0.0027671 | 0.00069349 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1508-12_0_2_load_2 | 2 | 0.0010829 | 0.00027141 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1508-12_0_2_load_4 | 4 | 0.0014534 | 0.00036425 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1508-12_0_2_load_5 | 5 | 0.003617 | 0.00090651 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1508-12_0_2_load_6 | 6 | 0.00047564 | 0.00011921 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1508-12_0_2_load_32 | 7 | 0.0041063 | 0.0010291 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1508-12_0_2_load_7 | 8 | 0.00087603 | 0.00021955 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1508-12_0_2_load_24 | 9 | 0.003338 | 0.00083659 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1508-12_0_2_load_37 | 10 | 0.0009397 | 0.00023551 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1508-12_0_2_load_8 | 12 | 0.02721 | 0.0068195 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1508-12_0_2_load_10 | 14 | 0.0019473 | 0.00048803 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1508-12_0_2_load_12 | 18 | 0.0025693 | 0.00064393 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1508-12_0_2_load_33 | 19 | 0.0024383 | 0.0006111 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1508-12_0_2_load_20 | 21 | 0.0012996 | 0.00032571 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1508-12_0_2_load_18 | 22 | 0.0013912 | 0.00034867 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1508-12_0_2_load_40 | 23 | 0.002402 | 0.00060199 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1508-12_0_2_load_13 | 24 | 0.0015781 | 0.00039551 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1508-12_0_2_load_17 | 26 | 0.0011598 | 0.00029068 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1508-12_0_2_load_19 | 27 | 0.0012745 | 0.00031943 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1508-12_0_2_load_21 | 28 | 0.0077999 | 0.0019548 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1508-12_0_2_load_22 | 29 | 0.0016636 | 0.00041693 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1508-12_0_2_load_25 | 31 | 0.0036327 | 0.00091045 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1508-12_0_2_load_30 | 32 | 0.0034426 | 0.00086279 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1508-12_0_2_load_28 | 33 | 0.0034746 | 0.00087082 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1508-12_0_2_load_27 | 34 | 0.0034967 | 0.00087636 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1508-12_0_2_load_31 | 36 | 0.0048416 | 0.0012134 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1508-12_0_2_load_34 | 37 | 0.0010827 | 0.00027135 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1508-12_0_2_load_35 | 38 | 0.0013821 | 0.00034638 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1508-12_0_2_load_36 | 39 | 0.0012559 | 0.00031475 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1508-12_0_2_load_38 | 40 | 0.00073927 | 0.00018528 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1508-12_0_2_line_0 |  | 0 | 1 | 0.0058099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1508-12_0_2_line_1 |  | 0 | 2 | 0.0046553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1508-12_0_2_line_2 |  | 1 | 3 | 0.016614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1508-12_0_2_line_3 |  | 3 | 4 | 0.0070444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1508-12_0_2_line_4 |  | 3 | 5 | 0.15024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1508-12_0_2_line_5 |  | 4 | 6 | 0.19784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1508-12_0_2_line_6 |  | 5 | 7 | 0.005646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1508-12_0_2_line_7 |  | 6 | 8 | 0.07582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1508-12_0_2_line_8 |  | 7 | 9 | 0.016122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1508-12_0_2_line_9 |  | 8 | 10 | 0.023044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1508-12_0_2_line_10 |  | 9 | 29 | 0.0090518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1508-12_0_2_line_11 |  | 10 | 11 | 0.11781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1508-12_0_2_line_12 |  | 11 | 40 | 0.12618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1508-12_0_2_line_13 |  | 12 | 13 | 0.027844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1508-12_0_2_line_14 |  | 13 | 14 | 0.06827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1508-12_0_2_line_15 |  | 14 | 15 | 0.018266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1508-12_0_2_line_16 |  | 15 | 19 | 0.11025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1508-12_0_2_line_17 |  | 15 | 16 | 0.16105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1508-12_0_2_line_18 |  | 16 | 17 | 0.23561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1508-12_0_2_line_19 |  | 16 | 18 | 0.079388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1508-12_0_2_line_20 |  | 17 | 23 | 0.12214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1508-12_0_2_line_21 |  | 17 | 20 | 0.09966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1508-12_0_2_line_22 |  | 18 | 24 | 0.052015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1508-12_0_2_line_23 |  | 19 | 25 | 0.0099417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1508-12_0_2_line_24 |  | 20 | 21 | 0.016862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1508-12_0_2_line_25 |  | 20 | 22 | 0.020014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1508-12_0_2_line_26 |  | 22 | 26 | 0.029291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1508-12_0_2_line_27 |  | 25 | 30 | 0.12023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1508-12_0_2_line_28 |  | 26 | 27 | 0.012507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1508-12_0_2_line_29 |  | 28 | 29 | 0.015263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1508-12_0_2_line_30 |  | 28 | 30 | 0.018419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1508-12_0_2_line_31 |  | 30 | 31 | 0.016803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1508-12_0_2_line_32 |  | 31 | 32 | 0.020677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1508-12_0_2_line_33 |  | 32 | 33 | 0.0085065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1508-12_0_2_line_34 |  | 33 | 34 | 0.034096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1508-12_0_2_line_35 |  | 34 | 35 | 0.042318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1508-12_0_2_line_36 |  | 35 | 36 | 0.069198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1508-12_0_2_line_37 |  | 37 | 38 | 0.29617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1508-12_0_2_line_38 |  | 38 | 39 | 0.013129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1508-12_0_2_line_39 |  | 39 | 40 | 0.062279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1508-12_0_2_trafo_33 | 0.63 MVA 20/0.4 kV | 41 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35
0 | 2672990.6271 | 1198530.2759 | 2672991.3561 | 1198524.5119
1 | 2672990.6271 | 1198530.2759 | 2672990.0429 | 1198534.8944
2 | 2672993.0837 | 1198507.993 | 2672992.5645 | 1198514.9575 | 2672991.3561 | 1198524.5119
3 | 2672993.0837 | 1198507.993 | 2672995.6981 | 1198505.3122 | 2672996.6097 | 1198502.1407
4 | 2672993.0837 | 1198507.993 | 2672990.4864 | 1198508.6394 | 2672979.2123 | 1198507.012 | 2672969.8336 | 1198506.0858 | 2672960.567 | 1198507.1957 | 2672952.347 | 1198511.1644 | 2672945.0438 | 1198518.0128 | 2672905.068 | 1198573.0588 | 2672891.9792 | 1198600.3276
5 | 2672996.6097 | 1198502.1407 | 2672997.4081 | 1198499.3627 | 2673002.1807 | 1198476.496 | 2673004.6664 | 1198473.1354 | 2673018.9428 | 1198463.4038 | 2673070.1361 | 1198428.4746 | 2673122.982 | 1198392.3542 | 2673142.9715 | 1198378.8051
6 | 2672891.9792 | 1198600.3276 | 2672890.0962 | 1198604.2508 | 2672889.4193 | 1198605.354
7 | 2673142.9715 | 1198378.8051 | 2673184.1418 | 1198350.8994 | 2673208.1181 | 1198340.6298
8 | 2672880.3325 | 1198618.6627 | 2672880.3325 | 1198618.6627 | 2672887.0426 | 1198609.2277 | 2672889.4193 | 1198605.354
9 | 2673229.4247 | 1198331.8596 | 2673220.5309 | 1198335.3131 | 2673208.1181 | 1198340.6298
10 | 2672871.3054 | 1198619.3322 | 2672880.3325 | 1198618.6627
11 | 2673328.5084 | 1198274.4993 | 2673303.4935 | 1198292.2256 | 2673268.0593 | 1198321.8204 | 2673259.5269 | 1198320.1704 | 2673229.4247 | 1198331.8596
12 | 2673328.5084 | 1198274.4993 | 2673338.7261 | 1198275.981 | 2673342.2357 | 1198281.672 | 2673333.3857 | 1198305.9004 | 2673324.1906 | 1198338.3963 | 2673315.9491 | 1198367.6686 | 2673311.251 | 1198386.2779
13 | 2672779.1545 | 1198303.9949 | 2672772.0721 | 1198277.0663
14 | 2672779.1545 | 1198303.9949 | 2672785.5451 | 1198328.3096 | 2672800.987 | 1198368.5796
15 | 2672807.5268 | 1198385.6343 | 2672800.987 | 1198368.5796
16 | 2672807.5268 | 1198385.6343 | 2672811.3502 | 1198400.6121 | 2672836.3735 | 1198492.0434
17 | 2672807.5268 | 1198385.6343 | 2672826.201 | 1198314.9854 | 2672836.9013 | 1198301.8633 | 2672873.0635 | 1198262.9803 | 2672884.7163 | 1198249.2139
18 | 2672884.7163 | 1198249.2139 | 2672922.5496 | 1198216.9889 | 2672946.2397 | 1198197.9107 | 2672968.9739 | 1198182.9123 | 2672977.3197 | 1198177.4108 | 2672996.874 | 1198167.121 | 2673044.037 | 1198146.829 | 2673074.9036 | 1198138.2231 | 2673079.4812 | 1198133.2205 | 2673085.4105 | 1198134.1379
19 | 2672884.7163 | 1198249.2139 | 2672903.0436 | 1198311.3751 | 2672904.788 | 1198325.8522
20 | 2673085.4105 | 1198134.1379 | 2673116.2039 | 1198151.4471 | 2673134.9735 | 1198161.7384 | 2673155.5197 | 1198194.2539 | 2673166.0267 | 1198208.2021 | 2673165.9085 | 1198217.8509
21 | 2673059.5236 | 1198222.5865 | 2673057.8629 | 1198217.6298 | 2673057.1396 | 1198208.2709 | 2673074.9036 | 1198138.2231 | 2673079.4812 | 1198133.2205 | 2673085.4105 | 1198134.1379
22 | 2672937.6199 | 1198356.2907 | 2672923.6548 | 1198339.8659 | 2672919.2044 | 1198338.8444 | 2672908.3241 | 1198339.8679 | 2672906.2179 | 1198337.7187 | 2672904.788 | 1198325.8522
23 | 2672838.9979 | 1198501.6324 | 2672836.3735 | 1198492.0434
24 | 2673059.5236 | 1198222.5865 | 2673056.0999 | 1198224.7904 | 2673052.5984 | 1198237.0996
25 | 2673059.5236 | 1198222.5865 | 2673062.0656 | 1198230.1999 | 2673068.1757 | 1198240.5131
26 | 2673083.1058 | 1198265.7138 | 2673068.1757 | 1198240.5131
27 | 2672838.9979 | 1198501.6324 | 2672839.117 | 1198507.4819 | 2672837.7157 | 1198621.8232
28 | 2673089.4808 | 1198276.4742 | 2673083.1058 | 1198265.7138
29 | 2672856.0842 | 1198620.461 | 2672871.3054 | 1198619.3322
30 | 2672837.7157 | 1198621.8232 | 2672856.0842 | 1198620.461
31 | 2672837.7157 | 1198621.8232 | 2672835.9025 | 1198638.5283
32 | 2672833.6712 | 1198659.0844 | 2672835.9025 | 1198638.5283
33 | 2672832.7533 | 1198667.5413 | 2672833.6712 | 1198659.0844
34 | 2672834.3794 | 1198701.1351 | 2672830.8185 | 1198685.3667 | 2672832.7533 | 1198667.5413
35 | 2672843.7013 | 1198742.4138 | 2672834.3794 | 1198701.1351
36 | 2672892.9549 | 1198713.8967 | 2672895.9292 | 1198728.5196 | 2672893.1208 | 1198730.8868 | 2672843.7013 | 1198742.4138
37 | 2673394.2188 | 1198703.1436 | 2673391.8393 | 1198699.546 | 2673387.3542 | 1198690.2186 | 2673377.0536 | 1198664.5432 | 2673375.1957 | 1198657.6941 | 2673371.164 | 1198644.9257 | 2673366.7 | 1198633.8642 | 2673363.4897 | 1198629.2442 | 2673353.78 | 1198621.7983 | 2673346.7163 | 1198614.6851 | 2673345.0326 | 1198610.3952 | 2673345.0989 | 1198604.9927 | 2673348.7347 | 1198591.707 | 2673350.9153 | 1198580.3268 | 2673355.0038 | 1198571.7273 | 2673361.9367 | 1198564.6859 | 2673367.1071 | 1198559.1459 | 2673367.0506 | 1198555.6876 | 2673365.752 | 1198553.5259 | 2673361.9938 | 1198551.3451 | 2673358.4364 | 1198550.1785 | 2673345.2821 | 1198548.4939 | 2673339.3881 | 1198545.9756 | 2673334.5406 | 1198541.3356 | 2673331.6447 | 1198535.9079 | 2673331.1443 | 1198527.0408 | 2673332.0315 | 1198521.1481 | 2673330.4819 | 1198514.614 | 2673327.7138 | 1198506.842 | 2673325.4697 | 1198498.565 | 2673323.9513 | 1198488.8738 | 2673321.3887 | 1198481.1043 | 2673313.8535 | 1198471.4394 | 2673311.2523 | 1198466.8269 | 2673311.0189 | 1198461.0205 | 2673311.8923 | 1198456.2505
38 | 2673311.8923 | 1198456.2505 | 2673311.8923 | 1198456.2505 | 2673314.1395 | 1198453.721 | 2673316.638 | 1198448.7041 | 2673316.3155 | 1198444.5754 | 2673316.3155 | 1198444.5754
39 | 2673316.3155 | 1198444.5754 | 2673308.8809 | 1198438.5028 | 2673307.1479 | 1198411.5318 | 2673308.6488 | 1198396.5856 | 2673311.251 | 1198386.2779

## bus_geodata
| x | y | coords
0 | 2672990.6271 | 1198530.2759
1 | 2672991.3561 | 1198524.5119
2 | 2672990.0429 | 1198534.8944
3 | 2672993.0837 | 1198507.993
4 | 2672996.6097 | 1198502.1407
5 | 2672891.9792 | 1198600.3276
6 | 2673142.9715 | 1198378.8051
7 | 2672889.4193 | 1198605.354
8 | 2673208.1181 | 1198340.6298
9 | 2672880.3325 | 1198618.6627
10 | 2673229.4247 | 1198331.8596
11 | 2673328.5084 | 1198274.4993
12 | 2672772.0721 | 1198277.0663
13 | 2672779.1545 | 1198303.9949
14 | 2672800.987 | 1198368.5796
15 | 2672807.5268 | 1198385.6343
16 | 2672884.7163 | 1198249.2139
17 | 2673085.4105 | 1198134.1379
18 | 2672904.788 | 1198325.8522
19 | 2672836.3735 | 1198492.0434
20 | 2673059.5235 | 1198222.5865
21 | 2673052.5984 | 1198237.0996
22 | 2673068.1757 | 1198240.5131
23 | 2673165.9085 | 1198217.8509
24 | 2672937.6199 | 1198356.2907
25 | 2672838.9979 | 1198501.6324
26 | 2673083.1058 | 1198265.7138
27 | 2673089.4808 | 1198276.4742
28 | 2672856.0842 | 1198620.461
29 | 2672871.3054 | 1198619.3322
30 | 2672837.7157 | 1198621.8232
31 | 2672835.9025 | 1198638.5283
32 | 2672833.6712 | 1198659.0844
33 | 2672832.7533 | 1198667.5413
34 | 2672834.3794 | 1198701.1351
35 | 2672843.7013 | 1198742.4138
36 | 2672892.9549 | 1198713.8967
37 | 2673394.2188 | 1198703.1436
38 | 2673311.8923 | 1198456.2505
39 | 2673316.3155 | 1198444.5754
40 | 2673311.251 | 1198386.2779
41 | 2672838.9979 | 1198501.6324

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98733 | -0.24411 | 0.0099063 | 0.0024827
1 | 0.98739 | -0.24297 | 0.0027671 | 0.00069349
2 | 0.98732 | -0.2442 | 0.0010829 | 0.00027141
3 | 0.9876 | -0.23888 | 0 | 0
4 | 0.98754 | -0.23992 | 0.0014534 | 0.00036425
5 | 0.99063 | -0.18001 | 0.003617 | 0.00090651
6 | 0.98632 | -0.26391 | 0.00047564 | 0.00011921
7 | 0.99076 | -0.17744 | 0.0041063 | 0.0010291
8 | 0.98588 | -0.27247 | 0.00087603 | 0.00021955
9 | 0.9912 | -0.16894 | 0.003338 | 0.00083659
10 | 0.98576 | -0.27471 | 0.0009397 | 0.00023551
11 | 0.98528 | -0.28418 | 0 | 0
12 | 0.99301 | -0.13433 | 0.02721 | 0.0068195
13 | 0.99371 | -0.12095 | 0 | 0
14 | 0.9954 | -0.088217 | 0.0019473 | 0.00048803
15 | 0.99589 | -0.078852 | 0 | 0
16 | 0.99417 | -0.11202 | 0 | 0
17 | 0.99255 | -0.1434 | 0 | 0
18 | 0.99387 | -0.11783 | 0.0025693 | 0.00064393
19 | 1 | 0 | -0.1047 | -0.026121
20 | 0.99209 | -0.15245 | 0 | 0
21 | 0.99207 | -0.15284 | 0.0012996 | 0.00032571
22 | 0.99202 | -0.15381 | 0.0013912 | 0.00034867
23 | 0.99228 | -0.1486 | 0.002402 | 0.00060199
24 | 0.9938 | -0.11928 | 0.0015781 | 0.00039551
25 | 0.99944 | -0.010649 | 0 | 0
26 | 0.99195 | -0.15507 | 0.0011598 | 0.00029068
27 | 0.99194 | -0.15535 | 0.0012745 | 0.00031943
28 | 0.99196 | -0.15424 | 0.0077999 | 0.0019548
29 | 0.99148 | -0.16363 | 0.0016636 | 0.00041693
30 | 0.99268 | -0.14038 | 0 | 0
31 | 0.99239 | -0.14599 | 0.0036327 | 0.00091045
32 | 0.9921 | -0.15158 | 0.0034426 | 0.00086279
33 | 0.99201 | -0.15336 | 0.0034746 | 0.00087082
34 | 0.99175 | -0.1584 | 0.0034967 | 0.00087636
35 | 0.99156 | -0.16203 | 0 | 0
36 | 0.99125 | -0.16798 | 0.0048416 | 0.0012134
37 | 0.98422 | -0.30488 | 0.0010827 | 0.00027135
38 | 0.98452 | -0.29908 | 0.0013821 | 0.00034638
39 | 0.98455 | -0.2985 | 0.0012559 | 0.00031475
40 | 0.98476 | -0.29432 | 0.00073927 | 0.00018528
41 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.010989 | -0.0027541 | 0.01099 | 0.0027544 | 5.9762e-07 | 3.0817e-07 | 0.016562 | 0.016562 | 0.016562 | 0.98733 | -0.24411 | 0.98739 | -0.24297 | 4.55
1 | 0.0010829 | 0.00027135 | -0.0010829 | -0.00027141 | 4.6502e-09 | -5.656e-08 | 0.0016321 | 0.0016321 | 0.0016321 | 0.98733 | -0.24411 | 0.98732 | -0.2442 | 0.44838
2 | -0.013757 | -0.0034479 | 0.01376 | 0.0034494 | 2.6779e-06 | 1.5013e-06 | 0.020732 | 0.020732 | 0.020732 | 0.98739 | -0.24297 | 0.9876 | -0.23888 | 5.6956
3 | 0.0082212 | 0.0020551 | -0.0082208 | -0.002055 | 4.052e-07 | 1.6919e-07 | 0.012385 | 0.012385 | 0.012385 | 0.9876 | -0.23888 | 0.98754 | -0.23992 | 3.4025
4 | -0.021981 | -0.0055045 | 0.022043 | 0.0055422 | 6.1789e-05 | 3.7617e-05 | 0.033117 | 0.033116 | 0.033117 | 0.9876 | -0.23888 | 0.99063 | -0.18001 | 9.098
5 | 0.0067674 | 0.0016907 | -0.0067597 | -0.0016883 | 7.712e-06 | 2.4076e-06 | 0.010195 | 0.010196 | 0.010196 | 0.98754 | -0.23992 | 0.98632 | -0.26391 | 2.8011
6 | -0.02566 | -0.0064487 | 0.025663 | 0.0064506 | 3.1463e-06 | 1.941e-06 | 0.038549 | 0.038549 | 0.038549 | 0.99063 | -0.18001 | 0.99076 | -0.17744 | 10.5905
7 | 0.006284 | 0.0015691 | -0.0062815 | -0.0015684 | 2.5545e-06 | 6.6762e-07 | 0.0094784 | 0.0094788 | 0.0094788 | 0.98632 | -0.26391 | 0.98588 | -0.27247 | 2.6041
8 | -0.029769 | -0.0074797 | 0.029781 | 0.0074873 | 1.2089e-05 | 7.5293e-06 | 0.044716 | 0.044716 | 0.044716 | 0.99076 | -0.17744 | 0.9912 | -0.16894 | 12.2847
9 | 0.0054055 | 0.0013489 | -0.0054049 | -0.0013488 | 5.7493e-07 | 7.4141e-08 | 0.0081565 | 0.0081566 | 0.0081566 | 0.98588 | -0.27247 | 0.98576 | -0.27471 | 2.2408
10 | -0.033119 | -0.0083238 | 0.033127 | 0.0083291 | 8.3938e-06 | 5.2553e-06 | 0.049727 | 0.049727 | 0.049727 | 0.9912 | -0.16894 | 0.99148 | -0.16363 | 13.6614
11 | 0.0044652 | 0.0011133 | -0.0044632 | -0.0011135 | 2.006e-06 | -2.1731e-07 | 0.0067382 | 0.0067387 | 0.0067387 | 0.98576 | -0.27471 | 0.98528 | -0.28418 | 1.8513
12 | 0.0044632 | 0.0011135 | -0.004461 | -0.0011137 | 2.1489e-06 | -2.3089e-07 | 0.0067387 | 0.0067393 | 0.0067393 | 0.98528 | -0.28418 | 0.98476 | -0.29432 | 1.8514
13 | -0.02721 | -0.0068195 | 0.027228 | 0.0068303 | 1.7359e-05 | 1.075e-05 | 0.040774 | 0.040774 | 0.040774 | 0.99301 | -0.13433 | 0.99371 | -0.12095 | 11.2017
14 | -0.027228 | -0.0068303 | 0.02727 | 0.0068566 | 4.2562e-05 | 2.6354e-05 | 0.040774 | 0.040774 | 0.040774 | 0.99371 | -0.12095 | 0.9954 | -0.088217 | 11.2016
15 | -0.029217 | -0.0073447 | 0.02923 | 0.0073528 | 1.3071e-05 | 8.1281e-06 | 0.043685 | 0.043684 | 0.043685 | 0.9954 | -0.088217 | 0.99589 | -0.078852 | 12.0012
16 | -0.040939 | -0.01029 | 0.041094 | 0.010387 | 0.00015475 | 9.7601e-05 | 0.06118 | 0.06118 | 0.06118 | 0.99589 | -0.078852 | 1 | 0 | 16.8077
17 | 0.011709 | 0.0029371 | -0.01169 | -0.0029274 | 1.8487e-05 | 9.7398e-06 | 0.017496 | 0.017496 | 0.017496 | 0.99589 | -0.078852 | 0.99417 | -0.11202 | 4.8067
18 | 0.0075416 | 0.0018888 | -0.0075304 | -0.0018847 | 1.1258e-05 | 4.1549e-06 | 0.011287 | 0.011288 | 0.011288 | 0.99417 | -0.11202 | 0.99255 | -0.1434 | 3.1012
19 | 0.0041487 | 0.0010385 | -0.0041475 | -0.0010388 | 1.1478e-06 | -2.9451e-07 | 0.0062091 | 0.0062094 | 0.0062094 | 0.99417 | -0.11202 | 0.99387 | -0.11783 | 1.7059
20 | 0.0024025 | 0.00060079 | -0.002402 | -0.00060199 | 5.9414e-07 | -1.1979e-06 | 0.0036014 | 0.0036019 | 0.0036019 | 0.99255 | -0.1434 | 0.99228 | -0.1486 | 0.98954
21 | 0.0051278 | 0.0012839 | -0.0051256 | -0.0012838 | 2.2085e-06 | 1.26e-07 | 0.0076871 | 0.0076876 | 0.0076876 | 0.99255 | -0.1434 | 0.99209 | -0.15245 | 2.112
22 | 0.0015782 | 0.00039491 | -0.0015781 | -0.00039551 | 1.089e-07 | -6.0432e-07 | 0.0023627 | 0.0023629 | 0.0023629 | 0.99387 | -0.11783 | 0.9938 | -0.11928 | 0.64916
23 | 0.061953 | 0.015733 | -0.061921 | -0.015713 | 3.1733e-05 | 2.0179e-05 | 0.09226 | 0.09226 | 0.09226 | 1 | 0 | 0.99944 | -0.010649 | 25.3461
24 | 0.0012996 | 0.00032551 | -0.0012996 | -0.00032571 | 2.4026e-08 | -2.0235e-07 | 0.0019492 | 0.0019493 | 0.0019493 | 0.99209 | -0.15245 | 0.99207 | -0.15284 | 0.53552
25 | 0.003826 | 0.00095825 | -0.0038257 | -0.00095835 | 2.4714e-07 | -1.0024e-07 | 0.0057383 | 0.0057384 | 0.0057384 | 0.99209 | -0.15245 | 0.99202 | -0.15381 | 1.5765
26 | 0.0024345 | 0.00060968 | -0.0024344 | -0.00060996 | 1.4647e-07 | -2.844e-07 | 0.0036516 | 0.0036517 | 0.0036517 | 0.99202 | -0.15381 | 0.99195 | -0.15507 | 1.0032
27 | 0.061921 | 0.015713 | -0.061537 | -0.015469 | 0.00038376 | 0.00024404 | 0.09226 | 0.09226 | 0.09226 | 0.99944 | -0.010649 | 0.99268 | -0.14038 | 25.3462
28 | 0.0012745 | 0.00031928 | -0.0012745 | -0.00031943 | 1.7144e-08 | -1.5048e-07 | 0.0019119 | 0.0019119 | 0.0019119 | 0.99195 | -0.15507 | 0.99194 | -0.15535 | 0.52526
29 | 0.034807 | 0.0087558 | -0.034791 | -0.008746 | 1.561e-05 | 9.7937e-06 | 0.052224 | 0.052224 | 0.052224 | 0.99196 | -0.15424 | 0.99148 | -0.16363 | 14.3473
30 | -0.042607 | -0.010711 | 0.042635 | 0.010729 | 2.8225e-05 | 1.7826e-05 | 0.063925 | 0.063924 | 0.063925 | 0.99196 | -0.15424 | 0.99268 | -0.14038 | 17.5617
31 | 0.018903 | 0.0047405 | -0.018897 | -0.0047375 | 5.0594e-06 | 3.0208e-06 | 0.028336 | 0.028336 | 0.028336 | 0.99268 | -0.14038 | 0.99239 | -0.14599 | 7.7846
32 | 0.015265 | 0.0038271 | -0.015261 | -0.0038247 | 4.0623e-06 | 2.3328e-06 | 0.022889 | 0.022889 | 0.022889 | 0.99239 | -0.14599 | 0.9921 | -0.15158 | 6.2882
33 | 0.011818 | 0.0029619 | -0.011817 | -0.0029614 | 1.0023e-06 | 5.3162e-07 | 0.017726 | 0.017726 | 0.017726 | 0.9921 | -0.15158 | 0.99201 | -0.15336 | 4.8697
34 | 0.0083425 | 0.0020906 | -0.0083405 | -0.0020897 | 2.0022e-06 | 8.4133e-07 | 0.012514 | 0.012514 | 0.012514 | 0.99201 | -0.15336 | 0.99175 | -0.1584 | 3.4379
35 | 0.0048438 | 0.0012134 | -0.0048429 | -0.0012134 | 8.3816e-07 | -9.5364e-09 | 0.0072674 | 0.0072676 | 0.0072676 | 0.99175 | -0.1584 | 0.99156 | -0.16203 | 1.9966
36 | 0.0048429 | 0.0012134 | -0.0048416 | -0.0012134 | 1.3706e-06 | -1.5088e-08 | 0.0072676 | 0.0072679 | 0.0072679 | 0.99156 | -0.16203 | 0.99125 | -0.16798 | 1.9967
37 | -0.0010827 | -0.00027135 | 0.001083 | 0.00026777 | 2.9734e-07 | -3.5747e-06 | 0.0016369 | 0.0016355 | 0.0016369 | 0.98422 | -0.30488 | 0.98452 | -0.29908 | 0.44969
38 | -0.0024651 | -0.00061415 | 0.0024651 | 0.00061403 | 6.8296e-08 | -1.2325e-07 | 0.0037244 | 0.0037244 | 0.0037244 | 0.98452 | -0.29908 | 0.98455 | -0.2985 | 1.0232
39 | -0.003721 | -0.00092879 | 0.0037218 | 0.00092847 | 7.3825e-07 | -3.1969e-07 | 0.0056225 | 0.0056222 | 0.0056225 | 0.98455 | -0.2985 | 0.98476 | -0.29432 | 1.5446

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.10714 | 0.026732

## res_load
| p_mw | q_mvar
0 | 0.0099063 | 0.0024827
1 | 0.0027671 | 0.00069349
2 | 0.0010829 | 0.00027141
3 | 0.0014534 | 0.00036425
4 | 0.003617 | 0.00090651
5 | 0.00047564 | 0.00011921
6 | 0.0041063 | 0.0010291
7 | 0.00087603 | 0.00021955
8 | 0.003338 | 0.00083659
9 | 0.0009397 | 0.00023551
10 | 0.02721 | 0.0068195
11 | 0.0019473 | 0.00048803
12 | 0.0025693 | 0.00064393
13 | 0.0024383 | 0.0006111
14 | 0.0012996 | 0.00032571
15 | 0.0013912 | 0.00034867
16 | 0.002402 | 0.00060199
17 | 0.0015781 | 0.00039551
18 | 0.0011598 | 0.00029068
19 | 0.0012745 | 0.00031943
20 | 0.0077999 | 0.0019548
21 | 0.0016636 | 0.00041693
22 | 0.0036327 | 0.00091045
23 | 0.0034426 | 0.00086279
24 | 0.0034746 | 0.00087082
25 | 0.0034967 | 0.00087636
26 | 0.0048416 | 0.0012134
27 | 0.0010827 | 0.00027135
28 | 0.0013821 | 0.00034638
29 | 0.0012559 | 0.00031475
30 | 0.00073927 | 0.00018528

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1