## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1508-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1508-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1508-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1508-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1508-3_0_4_node_42 | 0.4 | n |  | TRUE
5 | bus_LV_1508-3_0_4_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_1508-3_0_4_node_54 | 0.4 | n |  | TRUE
7 | bus_LV_1508-3_0_4_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_1508-3_0_4_node_78 | 0.4 | n |  | TRUE
9 | bus_LV_1508-3_0_4_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_1508-3_0_4_node_55 | 0.4 | n |  | TRUE
11 | bus_LV_1508-3_0_4_node_4 | 0.4 | n |  | TRUE
12 | bus_LV_1508-3_0_4_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_1508-3_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1508-3_0_4_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_1508-3_0_4_node_82 | 0.4 | n |  | TRUE
16 | bus_LV_1508-3_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1508-3_0_4_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_1508-3_0_4_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_1508-3_0_4_node_81 | 0.4 | n |  | TRUE
20 | bus_LV_1508-3_0_4_node_72 | 0.4 | n |  | TRUE
21 | bus_LV_1508-3_0_4_node_52 | 0.4 | n |  | TRUE
22 | bus_LV_1508-3_0_4_node_71 | 0.4 | n |  | TRUE
23 | bus_LV_1508-3_0_4_node_73 | 0.4 | n |  | TRUE
24 | bus_LV_1508-3_0_4_node_68 | 0.4 | n |  | TRUE
25 | bus_LV_1508-3_0_4_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_1508-3_0_4_node_46 | 0.4 | n |  | TRUE
27 | bus_LV_1508-3_0_4_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_1508-3_0_4_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_1508-3_0_4_node_80 | 0.4 | n |  | TRUE
30 | bus_LV_1508-3_0_4_node_62 | 0.4 | n |  | TRUE
31 | bus_LV_1508-3_0_4_node_69 | 0.4 | n |  | TRUE
32 | bus_LV_1508-3_0_4_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_1508-3_0_4_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_1508-3_0_4_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_1508-3_0_4_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_1508-3_0_4_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_1508-3_0_4_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_1508-3_0_4_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_1508-3_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_1508-3_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_1508-3_0_4_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_1508-3_0_4_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_1508-3_0_4_node_22 | 0.4 | n |  | TRUE
44 | bus_LV_1508-3_0_4_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_1508-3_0_4_node_20 | 0.4 | n |  | TRUE
46 | bus_LV_1508-3_0_4_node_21 | 0.4 | n |  | TRUE
47 | bus_LV_1508-3_0_4_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_1508-3_0_4_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_1508-3_0_4_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_1508-3_0_4_node_53 | 0.4 | n |  | TRUE
51 | bus_LV_1508-3_0_4_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_1508-3_0_4_node_60 | 0.4 | n |  | TRUE
53 | bus_LV_1508-3_0_4_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_1508-3_0_4_node_30 | 0.4 | n |  | TRUE
55 | bus_LV_1508-3_0_4_node_31 | 0.4 | n |  | TRUE
56 | bus_LV_1508-3_0_4_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_1508-3_0_4_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_1508-3_0_4_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_1508-3_0_4_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_1508-3_0_4_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_1508-3_0_4_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_1508-3_0_4_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_1508-3_0_4_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_1508-3_0_4_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_1508-3_0_4_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_1508-3_0_4_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_1508-3_0_4_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_1508-3_0_4_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_1508-3_0_4_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_1508-3_0_4_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_1508-3_0_4_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_1508-3_0_4_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_1508-3_0_4_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_1508-3_0_4_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_1508-3_0_4_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_1508-3_0_4_node_77 | 0.4 | n |  | TRUE
77 | bus_LV_1508-3_0_4_node_76 | 0.4 | n |  | TRUE
78 | bus_MV_136_1_node_175 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1508-3_0_4_load_0 | 0 | 0.0024508 | 0.00061422 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1508-3_0_4_load_1 | 1 | 0.0027855 | 0.00069812 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1508-3_0_4_load_2 | 2 | 0.0029958 | 0.00075081 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1508-3_0_4_load_42 | 4 | 0.0029405 | 0.00073695 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1508-3_0_4_load_54 | 6 | 0.0022632 | 0.00056721 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1508-3_0_4_load_78 | 8 | 0.0019042 | 0.00047724 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1508-3_0_4_load_55 | 10 | 0.002418 | 0.00060602 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1508-3_0_4_load_4 | 11 | 0.0099316 | 0.0024891 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1508-3_0_4_load_82 | 15 | 0.090025 | 0.022562 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1508-3_0_4_load_9 | 18 | 0.017232 | 0.0043188 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1508-3_0_4_load_81 | 19 | 0.0026666 | 0.0006683 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1508-3_0_4_load_72 | 20 | 0.0028177 | 0.00070617 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1508-3_0_4_load_52 | 21 | 0.0031539 | 0.00079043 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1508-3_0_4_load_71 | 22 | 0.0010409 | 0.00026087 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1508-3_0_4_load_73 | 23 | 0.0010549 | 0.00026439 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1508-3_0_4_load_46 | 26 | 0.0029553 | 0.00074066 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1508-3_0_4_load_11 | 27 | 0.010441 | 0.0026167 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1508-3_0_4_load_13 | 28 | 0.010801 | 0.0027069 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1508-3_0_4_load_80 | 29 | 0.001755 | 0.00043984 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1508-3_0_4_load_62 | 30 | 0.00020371 | 5.1055e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1508-3_0_4_load_15 | 32 | 0.0086866 | 0.0021771 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1508-3_0_4_load_16 | 33 | 0.004338 | 0.0010872 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1508-3_0_4_load_18 | 35 | 0.011841 | 0.0029676 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1508-3_0_4_load_28 | 37 | 0.021627 | 0.0054201 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1508-3_0_4_load_40 | 38 | 0.0030643 | 0.00076799 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1508-3_0_4_load_32 | 40 | 0.0027679 | 0.0006937 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1508-3_0_4_load_27 | 42 | 0.027852 | 0.0069803 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1508-3_0_4_load_22 | 43 | 0.019922 | 0.004993 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1508-3_0_4_load_20 | 45 | 0.021763 | 0.0054542 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1508-3_0_4_load_21 | 46 | 0.017055 | 0.0042744 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1508-3_0_4_load_39 | 48 | 0.028212 | 0.0070707 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1508-3_0_4_load_36 | 49 | 0.027231 | 0.0068248 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1508-3_0_4_load_53 | 50 | 0.0043861 | 0.0010993 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1508-3_0_4_load_45 | 51 | 0.0029569 | 0.00074106 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1508-3_0_4_load_60 | 52 | 0.0051354 | 0.001287 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1508-3_0_4_load_43 | 53 | 0.012329 | 0.0030899 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1508-3_0_4_load_30 | 54 | 0.0022693 | 0.00056875 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1508-3_0_4_load_31 | 55 | 0.004419 | 0.0011075 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1508-3_0_4_load_35 | 57 | 0.001163 | 0.00029148 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1508-3_0_4_load_57 | 59 | 0.0016284 | 0.0004081 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1508-3_0_4_load_41 | 60 | 0.017545 | 0.0043971 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1508-3_0_4_load_44 | 61 | 0.0032201 | 0.00080703 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1508-3_0_4_load_70 | 62 | 0.00054391 | 0.00013632 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1508-3_0_4_load_47 | 63 | 0.0013646 | 0.000342 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1508-3_0_4_load_48 | 64 | 0.0031639 | 0.00079296 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1508-3_0_4_load_49 | 65 | 0.011471 | 0.0028749 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1508-3_0_4_load_50 | 66 | 0.0036056 | 0.00090364 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1508-3_0_4_load_59 | 67 | 0.0033868 | 0.00084881 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1508-3_0_4_load_56 | 68 | 0.0017467 | 0.00043775 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1508-3_0_4_load_61 | 69 | 0.0043971 | 0.001102 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1508-3_0_4_load_65 | 70 | 0.000672 | 0.00016842 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1508-3_0_4_load_67 | 71 | 0.00066899 | 0.00016767 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1508-3_0_4_load_64 | 72 | 0.0074692 | 0.0018719 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1508-3_0_4_load_74 | 74 | 0.00095878 | 0.00024029 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1508-3_0_4_load_77 | 76 | 0.00099134 | 0.00024845 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1508-3_0_4_load_76 | 77 | 0.00055662 | 0.0001395 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1508-3_0_4_line_0 |  | 0 | 1 | 0.0093046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1508-3_0_4_line_1 |  | 0 | 2 | 0.0098776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1508-3_0_4_line_2 |  | 1 | 3 | 0.019078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1508-3_0_4_line_3 |  | 3 | 4 | 0.035347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1508-3_0_4_line_4 |  | 3 | 5 | 0.069071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1508-3_0_4_line_5 |  | 3 | 6 | 0.020977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1508-3_0_4_line_6 |  | 4 | 7 | 0.013633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1508-3_0_4_line_7 |  | 5 | 8 | 0.026484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1508-3_0_4_line_8 |  | 5 | 9 | 0.023308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1508-3_0_4_line_9 |  | 6 | 10 | 0.0075949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1508-3_0_4_line_10 |  | 7 | 40 | 0.027113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1508-3_0_4_line_11 |  | 7 | 36 | 0.025051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1508-3_0_4_line_12 |  | 9 | 27 | 0.01867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1508-3_0_4_line_13 |  | 10 | 68 | 0.032563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1508-3_0_4_line_14 |  | 11 | 12 | 0.029394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1508-3_0_4_line_15 |  | 12 | 13 | 0.084781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1508-3_0_4_line_16 |  | 13 | 16 | 0.060743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1508-3_0_4_line_17 |  | 13 | 18 | 0.04252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1508-3_0_4_line_18 |  | 14 | 15 | 0.026511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1508-3_0_4_line_19 |  | 14 | 16 | 0.085092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_1508-3_0_4_line_20 |  | 14 | 17 | 0.071244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_1508-3_0_4_line_21 |  | 16 | 19 | 0.014874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1508-3_0_4_line_22 |  | 17 | 25 | 0.026597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_1508-3_0_4_line_23 |  | 20 | 21 | 0.13558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1508-3_0_4_line_24 |  | 20 | 22 | 0.013171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1508-3_0_4_line_25 |  | 21 | 25 | 0.017602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_1508-3_0_4_line_26 |  | 21 | 26 | 0.0077187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_1508-3_0_4_line_27 |  | 22 | 62 | 0.063386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1508-3_0_4_line_28 |  | 23 | 24 | 0.030886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1508-3_0_4_line_29 |  | 24 | 74 | 0.020551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1508-3_0_4_line_30 |  | 26 | 61 | 0.0119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_1508-3_0_4_line_31 |  | 27 | 28 | 0.018219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1508-3_0_4_line_32 |  | 29 | 30 | 0.11009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1508-3_0_4_line_33 |  | 29 | 31 | 0.2138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1508-3_0_4_line_34 |  | 31 | 75 | 0.031274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1508-3_0_4_line_35 |  | 31 | 76 | 0.014566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1508-3_0_4_line_36 |  | 31 | 73 | 0.13742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1508-3_0_4_line_37 |  | 32 | 33 | 0.0027401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1508-3_0_4_line_38 |  | 32 | 34 | 0.023177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1508-3_0_4_line_39 |  | 34 | 35 | 0.049109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_1508-3_0_4_line_40 |  | 34 | 36 | 0.028911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_1508-3_0_4_line_41 |  | 35 | 37 | 0.025222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_1508-3_0_4_line_42 |  | 36 | 38 | 0.026112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_1508-3_0_4_line_43 |  | 37 | 39 | 0.030021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_1508-3_0_4_line_44 |  | 38 | 44 | 0.0052636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_1508-3_0_4_line_45 |  | 39 | 50 | 0.010559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1508-3_0_4_line_46 |  | 39 | 51 | 0.0094117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_1508-3_0_4_line_47 |  | 40 | 54 | 0.029693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1508-3_0_4_line_48 |  | 41 | 42 | 0.023285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_1508-3_0_4_line_49 |  | 41 | 43 | 0.018834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_1508-3_0_4_line_50 |  | 42 | 47 | 0.022713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_1508-3_0_4_line_51 |  | 43 | 45 | 0.022363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_1508-3_0_4_line_52 |  | 44 | 60 | 0.024154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1508-3_0_4_line_53 |  | 44 | 49 | 0.018394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_1508-3_0_4_line_54 |  | 45 | 46 | 0.012522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_1508-3_0_4_line_55 |  | 47 | 48 | 0.0286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1508-3_0_4_line_56 |  | 47 | 49 | 0.011842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_1508-3_0_4_line_57 |  | 50 | 52 | 0.006736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1508-3_0_4_line_58 |  | 51 | 53 | 0.0058332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_1508-3_0_4_line_59 |  | 52 | 67 | 0.013446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1508-3_0_4_line_60 |  | 53 | 61 | 0.014882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_1508-3_0_4_line_61 |  | 54 | 55 | 0.0030744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1508-3_0_4_line_62 |  | 55 | 56 | 0.13088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1508-3_0_4_line_63 |  | 56 | 57 | 0.16222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1508-3_0_4_line_64 |  | 57 | 58 | 0.0022064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1508-3_0_4_line_65 |  | 58 | 59 | 0.019694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1508-3_0_4_line_66 |  | 59 | 66 | 0.0065547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1508-3_0_4_line_67 |  | 62 | 71 | 0.0044909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1508-3_0_4_line_68 |  | 63 | 64 | 0.012823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1508-3_0_4_line_69 |  | 63 | 65 | 0.15326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1508-3_0_4_line_70 |  | 64 | 66 | 0.030369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1508-3_0_4_line_71 |  | 67 | 69 | 4.5743e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1508-3_0_4_line_72 |  | 70 | 71 | 0.0070805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1508-3_0_4_line_73 |  | 70 | 72 | 0.030652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1508-3_0_4_line_74 |  | 72 | 73 | 0.055624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1508-3_0_4_line_75 |  | 74 | 75 | 0.028265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1508-3_0_4_line_76 |  | 75 | 77 | 0.001426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1508-3_0_4_trafo_21 | 0.63 MVA 20/0.4 kV | 78 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2672177.7702 | 1201018.7503 | 2672177.8394 | 1201022.1484 | 2672176.8719 | 1201027.9744
1 | 2672177.7702 | 1201018.7503 | 2672177.5691 | 1201008.8747
2 | 2672172.9456 | 1201046.6376 | 2672176.0907 | 1201032.6782 | 2672176.8719 | 1201027.9744
3 | 2672172.9456 | 1201046.6376 | 2672139.016 | 1201036.7281
4 | 2672172.9456 | 1201046.6376 | 2672195.7176 | 1201052.6607 | 2672201.3099 | 1201053.5177 | 2672207.0468 | 1201014.074
5 | 2672172.9456 | 1201046.6376 | 2672169.9213 | 1201067.3951
6 | 2672125.9299 | 1201032.9062 | 2672139.016 | 1201036.7281
7 | 2672207.0468 | 1201014.074 | 2672233.3543 | 1201017.1296
8 | 2672209.0402 | 1200990.8617 | 2672208.1221 | 1200998.7999 | 2672207.0468 | 1201014.074
9 | 2672169.9213 | 1201067.3951 | 2672168.8264 | 1201074.9107
10 | 2672125.9299 | 1201032.9062 | 2672121.77 | 1201059.6983
11 | 2672101.815 | 1201025.8776 | 2672125.9299 | 1201032.9062
12 | 2672209.0402 | 1200990.8617 | 2672201.8464 | 1200990.2411 | 2672190.9148 | 1200986.8352
13 | 2672166.7508 | 1201106.9885 | 2672169.0176 | 1201090.1167 | 2672167.4091 | 1201084.6384 | 2672168.8264 | 1201074.9107
14 | 2671793.6875 | 1200932.1894 | 2671795.2284 | 1200928.1276 | 2671804.2808 | 1200904.7709
15 | 2671793.6875 | 1200932.1894 | 2671847.9018 | 1200954.5099 | 2671872.7179 | 1200963.4137
16 | 2671872.7179 | 1200963.4137 | 2671896.3412 | 1200970.8579 | 2671902.3223 | 1200972.3085 | 2671915.0098 | 1200945.3225
17 | 2671872.7179 | 1200963.4137 | 2671888.2454 | 1200923.83
18 | 2671996.4853 | 1200920.7772 | 2671997.4799 | 1200917.2092 | 2671999.0029 | 1200909.5896 | 2672002.9612 | 1200895.084
19 | 2671996.4853 | 1200920.7772 | 2671915.0098 | 1200945.3225
20 | 2671996.4853 | 1200920.7772 | 2671995.5622 | 1200924.1014 | 2671992.7513 | 1200936.8865 | 2671998.9133 | 1200938.495 | 2672003.8102 | 1200939.588 | 2672017.7047 | 1200941.9791 | 2672022.0192 | 1200913.0801
21 | 2671915.0098 | 1200945.3225 | 2671905.9092 | 1200942.4668 | 2671902.8948 | 1200938.0278
22 | 2672028.4584 | 1200887.2753 | 2672022.0192 | 1200913.0801
23 | 2672039.7589 | 1200882.9598 | 2672062.709 | 1200749.3354
24 | 2672075.8176 | 1200750.6184 | 2672062.709 | 1200749.3354
25 | 2672028.4584 | 1200887.2753 | 2672030.7418 | 1200879.7316 | 2672032.1965 | 1200880.9387 | 2672038.251 | 1200882.6238 | 2672039.7589 | 1200882.9598
26 | 2672047.2929 | 1200884.6385 | 2672039.7589 | 1200882.9598
27 | 2672138.5921 | 1200747.367 | 2672130.0165 | 1200745.5246 | 2672111.2927 | 1200747.7445 | 2672096.7043 | 1200750.4702 | 2672080.3525 | 1200751.0623 | 2672075.8176 | 1200750.6184
28 | 2672188.6344 | 1200693.8897 | 2672178.1892 | 1200696.4429 | 2672158.4278 | 1200700.2927
29 | 2672188.6344 | 1200693.8897 | 2672194.83 | 1200674.2945
30 | 2672058.9077 | 1200887.2265 | 2672047.2929 | 1200884.6385
31 | 2672173.5205 | 1200981.4159 | 2672190.9148 | 1200986.8352
32 | 2672497.6489 | 1200593.8364 | 2672443.7136 | 1200689.8064
33 | 2672234.0362 | 1200648.0213 | 2672443.7136 | 1200689.8064
34 | 2672202.6802 | 1200647.2642 | 2672234.0362 | 1200648.0213
35 | 2672234.0362 | 1200648.0213 | 2672234.7486 | 1200633.4725
36 | 2672226.7739 | 1200785.2505 | 2672232.4888 | 1200682.8127 | 2672234.0362 | 1200648.0213
37 | 2672121.4365 | 1200995.8849 | 2672123.3556 | 1200993.9291
38 | 2672100.4103 | 1200997.1987 | 2672123.3556 | 1200993.9291
39 | 2672100.4103 | 1200997.1987 | 2672093.9334 | 1200948.5182
40 | 2672101.815 | 1201025.8776 | 2672102.7404 | 1201022.3644 | 2672100.4103 | 1200997.1987
41 | 2672093.9334 | 1200948.5182 | 2672090.6068 | 1200923.5161
42 | 2672101.815 | 1201025.8776 | 2672095.3265 | 1201051.1702
43 | 2672088.3137 | 1200893.7786 | 2672087.4076 | 1200899.4712 | 2672090.6068 | 1200923.5161
44 | 2672094.0185 | 1201056.2688 | 2672095.3265 | 1201051.1702
45 | 2672088.3137 | 1200893.7786 | 2672098.6504 | 1200895.9358
46 | 2672088.3137 | 1200893.7786 | 2672079.1273 | 1200891.7317
47 | 2672117.2143 | 1201089.0398 | 2672121.77 | 1201059.6983
48 | 2672059.3095 | 1201013.7131 | 2672054.1224 | 1201036.4133
49 | 2672059.3095 | 1201013.7131 | 2672060.3428 | 1201008.2 | 2672058.9824 | 1200995.0455
50 | 2672064.5971 | 1201049.2986 | 2672051.9801 | 1201045.7888 | 2672054.1224 | 1201036.4133
51 | 2672058.9824 | 1200995.0455 | 2672056.6819 | 1200972.801 | 2672056.6819 | 1200972.801
52 | 2672082.5325 | 1201072.5846 | 2672087.6765 | 1201074.0031 | 2672094.0185 | 1201056.2688
53 | 2672094.0185 | 1201056.2688 | 2672076.1203 | 1201052.0285
54 | 2672044.3975 | 1200973.2532 | 2672054.6896 | 1200971.9876 | 2672056.6819 | 1200972.801
55 | 2672064.5971 | 1201049.2986 | 2672057.0575 | 1201076.8864
56 | 2672064.5971 | 1201049.2986 | 2672076.1203 | 1201052.0285
57 | 2672105.2444 | 1200897.3119 | 2672098.6504 | 1200895.9358
58 | 2672073.4338 | 1200890.4631 | 2672079.1273 | 1200891.7317
59 | 2672118.4073 | 1200900.0589 | 2672105.2444 | 1200897.3119
60 | 2672073.4338 | 1200890.4631 | 2672058.9077 | 1200887.2265
61 | 2672117.2143 | 1201089.0398 | 2672116.7426 | 1201092.0778
62 | 2672088.5717 | 1201219.3359 | 2672090.4844 | 1201216.6462 | 2672093.4624 | 1201209.5667 | 2672106.7391 | 1201156.5056 | 2672116.7426 | 1201092.0778
63 | 2672088.5717 | 1201219.3359 | 2672080.6558 | 1201213.6036 | 2672067.9607 | 1201202.7105 | 2672039.0613 | 1201178.3918 | 2672017.8505 | 1201165.3949 | 2671996.186 | 1201155.9392 | 2671983.59 | 1201151.9629 | 2671964.4154 | 1201146.8511 | 2671948.3246 | 1201143.7569
64 | 2671946.1579 | 1201143.3403 | 2671948.3246 | 1201143.7569
65 | 2671946.1579 | 1201143.3403 | 2671926.7396 | 1201140.138 | 2671926.7265 | 1201140.1367
66 | 2671920.2006 | 1201139.5237 | 2671926.7265 | 1201140.1367
67 | 2672138.5921 | 1200747.367 | 2672142.9829 | 1200748.3103
68 | 2671877.0675 | 1201138.0157 | 2671885.9403 | 1201138.0459 | 2671889.8906 | 1201138.0934
69 | 2671877.0675 | 1201138.0157 | 2671862.7543 | 1201137.967 | 2671843.6505 | 1201138.9935 | 2671824.7442 | 1201141.3122 | 2671760.9277 | 1201148.5389 | 2671738.8656 | 1201150.5976 | 2671724.529 | 1201149.3788
70 | 2671920.2006 | 1201139.5237 | 2671907.1906 | 1201138.3016 | 2671889.8906 | 1201138.0934
71 | 2672118.4521 | 1200900.0682 | 2672118.4073 | 1200900.0589
72 | 2672148.1508 | 1200753.0598 | 2672143.3954 | 1200748.399 | 2672142.9829 | 1200748.3103
73 | 2672173.7363 | 1200769.4423 | 2672170.7218 | 1200768.2187 | 2672157.3694 | 1200761.2532 | 2672150.3323 | 1200755.1979 | 2672148.1508 | 1200753.0598
74 | 2672226.7739 | 1200785.2505 | 2672219.8335 | 1200785.0555 | 2672179.0776 | 1200771.6105 | 2672173.7363 | 1200769.4423
75 | 2672202.6802 | 1200647.2642 | 2672199.7428 | 1200653.4658 | 2672195.1408 | 1200673.3112 | 2672194.83 | 1200674.2945
76 | 2672202.6802 | 1200647.2642 | 2672201.2552 | 1200647.3804

## bus_geodata
| x | y | coords
0 | 2672177.7702 | 1201018.7503
1 | 2672176.8719 | 1201027.9744
2 | 2672177.5691 | 1201008.8747
3 | 2672172.9456 | 1201046.6376
4 | 2672139.016 | 1201036.7281
5 | 2672207.0468 | 1201014.074
6 | 2672169.9213 | 1201067.3951
7 | 2672125.9299 | 1201032.9062
8 | 2672233.3543 | 1201017.1296
9 | 2672209.0402 | 1200990.8617
10 | 2672168.8264 | 1201074.9107
11 | 2671804.2808 | 1200904.7709
12 | 2671793.6875 | 1200932.1894
13 | 2671872.7179 | 1200963.4137
14 | 2671996.4853 | 1200920.7772
15 | 2672002.9612 | 1200895.084
16 | 2671915.0098 | 1200945.3225
17 | 2672022.0192 | 1200913.0801
18 | 2671888.2454 | 1200923.83
19 | 2671902.8948 | 1200938.0278
20 | 2672062.709 | 1200749.3354
21 | 2672039.7589 | 1200882.9598
22 | 2672075.8176 | 1200750.6184
23 | 2672158.4278 | 1200700.2927
24 | 2672188.6344 | 1200693.8897
25 | 2672028.4584 | 1200887.2753
26 | 2672047.2929 | 1200884.6385
27 | 2672190.9148 | 1200986.8352
28 | 2672173.5205 | 1200981.4159
29 | 2672443.7136 | 1200689.8064
30 | 2672497.6489 | 1200593.8364
31 | 2672234.0362 | 1200648.0213
32 | 2672123.3556 | 1200993.9291
33 | 2672121.4365 | 1200995.8849
34 | 2672100.4103 | 1200997.1987
35 | 2672093.9334 | 1200948.5182
36 | 2672101.815 | 1201025.8776
37 | 2672090.6068 | 1200923.5161
38 | 2672095.3265 | 1201051.1702
39 | 2672088.3137 | 1200893.7786
40 | 2672121.77 | 1201059.6983
41 | 2672059.3095 | 1201013.7131
42 | 2672054.1224 | 1201036.4133
43 | 2672058.9824 | 1200995.0455
44 | 2672094.0185 | 1201056.2688
45 | 2672056.6819 | 1200972.801
46 | 2672044.3975 | 1200973.2532
47 | 2672064.5971 | 1201049.2986
48 | 2672057.0575 | 1201076.8864
49 | 2672076.1203 | 1201052.0285
50 | 2672098.6504 | 1200895.9358
51 | 2672079.1273 | 1200891.7317
52 | 2672105.2444 | 1200897.3119
53 | 2672073.4338 | 1200890.4631
54 | 2672117.2143 | 1201089.0398
55 | 2672116.7426 | 1201092.0778
56 | 2672088.5717 | 1201219.3359
57 | 2671948.3246 | 1201143.7569
58 | 2671946.1579 | 1201143.3403
59 | 2671926.7265 | 1201140.1367
60 | 2672082.5325 | 1201072.5846
61 | 2672058.9077 | 1200887.2265
62 | 2672138.5921 | 1200747.367
63 | 2671877.0675 | 1201138.0157
64 | 2671889.8906 | 1201138.0934
65 | 2671724.529 | 1201149.3788
66 | 2671920.2006 | 1201139.5237
67 | 2672118.4073 | 1200900.0589
68 | 2672166.7508 | 1201106.9885
69 | 2672118.4521 | 1200900.0682
70 | 2672148.1508 | 1200753.0598
71 | 2672142.9829 | 1200748.3103
72 | 2672173.7363 | 1200769.4423
73 | 2672226.7739 | 1200785.2505
74 | 2672194.83 | 1200674.2945
75 | 2672202.6802 | 1200647.2642
76 | 2672234.7486 | 1200633.4725
77 | 2672201.2552 | 1200647.3804
78 | 2672059.3095 | 1201013.7131

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98247 | -0.33569 | 0.0024508 | 0.00061422
1 | 0.98252 | -0.33477 | 0.0027855 | 0.00069812
2 | 0.98244 | -0.33622 | 0.0029958 | 0.00075081
3 | 0.98266 | -0.33194 | 0 | 0
4 | 0.9839 | -0.30784 | 0.0029405 | 0.00073695
5 | 0.98118 | -0.36084 | 0 | 0
6 | 0.98254 | -0.33437 | 0.0022632 | 0.00056721
7 | 0.98441 | -0.29784 | 0 | 0
8 | 0.98114 | -0.36175 | 0.0019042 | 0.00047724
9 | 0.98073 | -0.36981 | 0 | 0
10 | 0.98251 | -0.33494 | 0.002418 | 0.00060602
11 | 0.97092 | -0.56165 | 0.0099316 | 0.0024891
12 | 0.97119 | -0.55626 | 0 | 0
13 | 0.97198 | -0.54071 | 0 | 0
14 | 0.9747 | -0.48699 | 0 | 0
15 | 0.97248 | -0.53087 | 0.090025 | 0.022562
16 | 0.97352 | -0.51031 | 0 | 0
17 | 0.9767 | -0.4479 | 0 | 0
18 | 0.97129 | -0.55423 | 0.017232 | 0.0043188
19 | 0.97348 | -0.51104 | 0.0026666 | 0.0006683
20 | 0.97557 | -0.47019 | 0.0028177 | 0.00070617
21 | 0.97793 | -0.42373 | 0.0031539 | 0.00079043
22 | 0.97537 | -0.47404 | 0.0010409 | 0.00026087
23 | 0.9728 | -0.52483 | 0.0010549 | 0.00026439
24 | 0.97283 | -0.52423 | 0 | 0
25 | 0.97744 | -0.43334 | 0 | 0
26 | 0.97819 | -0.41874 | 0.0029553 | 0.00074066
27 | 0.98036 | -0.377 | 0.010441 | 0.0026167
28 | 0.98018 | -0.38057 | 0.010801 | 0.0027069
29 | 0.97259 | -0.52904 | 0.001755 | 0.00043984
30 | 0.97257 | -0.52946 | 0.00020371 | 5.1055e-05
31 | 0.97298 | -0.5213 | 0 | 0
32 | 0.98429 | -0.30007 | 0.0086866 | 0.0021771
33 | 0.98428 | -0.30028 | 0.004338 | 0.0010872
34 | 0.98457 | -0.29464 | 0 | 0
35 | 0.98212 | -0.34201 | 0.011841 | 0.0029676
36 | 0.98609 | -0.26518 | 0 | 0
37 | 0.98094 | -0.36508 | 0.021627 | 0.0054201
38 | 0.98791 | -0.23017 | 0.0030643 | 0.00076799
39 | 0.97968 | -0.38966 | 0 | 0
40 | 0.98361 | -0.3134 | 0.0027679 | 0.0006937
41 | 0.99476 | -0.099215 | 0 | 0
42 | 0.99258 | -0.14069 | 0.027852 | 0.0069803
43 | 0.99652 | -0.065799 | 0.019922 | 0.004993
44 | 0.98828 | -0.22306 | 0 | 0
45 | 0.99871 | -0.024328 | 0.021763 | 0.0054542
46 | 1 | 0 | -0.45444 | -0.11639
47 | 0.9906 | -0.17851 | 0 | 0
48 | 0.98987 | -0.19286 | 0.028212 | 0.0070707
49 | 0.98965 | -0.19681 | 0.027231 | 0.0068248
50 | 0.97951 | -0.39297 | 0.0043861 | 0.0010993
51 | 0.97932 | -0.39663 | 0.0029569 | 0.00074106
52 | 0.97943 | -0.39456 | 0.0051354 | 0.001287
53 | 0.9791 | -0.40088 | 0.012329 | 0.0030899
54 | 0.98281 | -0.32898 | 0.0022693 | 0.00056875
55 | 0.98273 | -0.33047 | 0.004419 | 0.0011075
56 | 0.98 | -0.38355 | 0 | 0
57 | 0.97662 | -0.44974 | 0.001163 | 0.00029148
58 | 0.97658 | -0.4506 | 0 | 0
59 | 0.97619 | -0.45825 | 0.0016284 | 0.0004081
60 | 0.98789 | -0.23062 | 0.017545 | 0.0043971
61 | 0.97859 | -0.4109 | 0.0032201 | 0.00080703
62 | 0.97449 | -0.49135 | 0.00054391 | 0.00013632
63 | 0.97547 | -0.47251 | 0.0013646 | 0.000342
64 | 0.97562 | -0.46949 | 0.0031639 | 0.00079296
65 | 0.97383 | -0.50477 | 0.011471 | 0.0028749
66 | 0.97607 | -0.4606 | 0.0036056 | 0.00090364
67 | 0.97933 | -0.39646 | 0.0033868 | 0.00084881
68 | 0.98246 | -0.33597 | 0.0017467 | 0.00043775
69 | 0.97933 | -0.39646 | 0.0043971 | 0.001102
70 | 0.97434 | -0.49431 | 0.000672 | 0.00016842
71 | 0.97443 | -0.49254 | 0.00066899 | 0.00016767
72 | 0.97397 | -0.50164 | 0.0074692 | 0.0018719
73 | 0.97369 | -0.5073 | 0 | 0
74 | 0.97285 | -0.52383 | 0.00095878 | 0.00024029
75 | 0.97291 | -0.52278 | 0 | 0
76 | 0.97297 | -0.52157 | 0.00099134 | 0.00024845
77 | 0.97291 | -0.5228 | 0.00055662 | 0.0001395
78 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0054466 | -0.001365 | 0.0054469 | 0.001365 | 2.3744e-07 | 3.4129e-08 | 0.0082492 | 0.0082492 | 0.0082492 | 0.98247 | -0.33569 | 0.98252 | -0.33477 | 2.2663
1 | 0.0029958 | 0.00075073 | -0.0029958 | -0.00075081 | 7.626e-08 | -7.6275e-08 | 0.0045374 | 0.0045374 | 0.0045374 | 0.98247 | -0.33569 | 0.98244 | -0.33622 | 1.2465
2 | -0.0082324 | -0.0020631 | 0.0082335 | 0.0020636 | 1.1121e-06 | 4.7009e-07 | 0.012468 | 0.012468 | 0.012468 | 0.98252 | -0.33477 | 0.98266 | -0.33194 | 3.4252
3 | -0.037858 | -0.0095054 | 0.037902 | 0.0095329 | 4.3572e-05 | 2.7437e-05 | 0.057334 | 0.057333 | 0.057334 | 0.98266 | -0.33194 | 0.9839 | -0.30784 | 15.751
4 | 0.023196 | 0.005831 | -0.023164 | -0.0058114 | 3.1968e-05 | 1.9586e-05 | 0.035131 | 0.035131 | 0.035131 | 0.98266 | -0.33194 | 0.98118 | -0.36084 | 9.6515
5 | 0.0064288 | 0.0016108 | -0.0064281 | -0.0016106 | 7.4547e-07 | 2.114e-07 | 0.0097349 | 0.009735 | 0.009735 | 0.98266 | -0.33194 | 0.98254 | -0.33437 | 2.6744
6 | -0.040842 | -0.01027 | 0.040862 | 0.010282 | 1.9513e-05 | 1.2315e-05 | 0.061781 | 0.06178 | 0.061781 | 0.9839 | -0.30784 | 0.98441 | -0.29784 | 16.9727
7 | 0.0019043 | 0.00047695 | -0.0019042 | -0.00047724 | 8.2828e-08 | -2.8148e-07 | 0.0028878 | 0.0028879 | 0.0028879 | 0.98118 | -0.36084 | 0.98114 | -0.36175 | 0.79339
8 | 0.02126 | 0.0053345 | -0.02125 | -0.005329 | 9.087e-06 | 5.5214e-06 | 0.032243 | 0.032244 | 0.032244 | 0.98118 | -0.36084 | 0.98073 | -0.36981 | 8.8581
9 | 0.0041649 | 0.0010434 | -0.0041648 | -0.0010434 | 1.1331e-07 | -2.3671e-08 | 0.0063074 | 0.0063074 | 0.0063074 | 0.98254 | -0.33437 | 0.98251 | -0.33494 | 1.7328
10 | 0.032066 | 0.0081123 | -0.032042 | -0.0080973 | 2.3914e-05 | 1.4961e-05 | 0.048497 | 0.048498 | 0.048498 | 0.98441 | -0.29784 | 0.98361 | -0.3134 | 13.3235
11 | -0.072928 | -0.018394 | 0.073042 | 0.018467 | 0.00011424 | 7.2797e-05 | 0.11028 | 0.11028 | 0.11028 | 0.98441 | -0.29784 | 0.98609 | -0.26518 | 30.2961
12 | 0.02125 | 0.005329 | -0.021243 | -0.0053245 | 7.279e-06 | 4.4231e-06 | 0.032244 | 0.032244 | 0.032244 | 0.98073 | -0.36981 | 0.98036 | -0.377 | 8.8582
13 | 0.0017467 | 0.00043739 | -0.0017467 | -0.00043775 | 8.5455e-08 | -3.5768e-07 | 0.0026453 | 0.0026455 | 0.0026455 | 0.98251 | -0.33494 | 0.98246 | -0.33597 | 0.72677
14 | -0.0099316 | -0.0024891 | 0.0099342 | 0.0024904 | 2.5537e-06 | 1.2708e-06 | 0.015221 | 0.015221 | 0.015221 | 0.97092 | -0.56165 | 0.97119 | -0.55626 | 4.1816
15 | -0.0099342 | -0.0024904 | 0.0099415 | 0.002494 | 7.3655e-06 | 3.6639e-06 | 0.015221 | 0.015221 | 0.015221 | 0.97119 | -0.55626 | 0.97198 | -0.54071 | 4.1816
16 | -0.027185 | -0.0068194 | 0.027224 | 0.0068439 | 3.9457e-05 | 2.4498e-05 | 0.04162 | 0.041619 | 0.04162 | 0.97198 | -0.54071 | 0.97352 | -0.51031 | 11.434
17 | 0.017243 | 0.0043254 | -0.017232 | -0.0043188 | 1.1113e-05 | 6.5854e-06 | 0.026399 | 0.026399 | 0.026399 | 0.97198 | -0.54071 | 0.97129 | -0.55423 | 7.2526
18 | 0.090214 | 0.022683 | -0.090025 | -0.022562 | 0.00018864 | 0.0001204 | 0.13775 | 0.13775 | 0.13775 | 0.9747 | -0.48699 | 0.97248 | -0.53087 | 37.8433
19 | 0.029924 | 0.0075313 | -0.029891 | -0.0075121 | 3.3314e-05 | 1.9203e-05 | 0.045695 | 0.045695 | 0.045695 | 0.9747 | -0.48699 | 0.97352 | -0.51031 | 6.2768
20 | -0.12014 | -0.030214 | 0.12036 | 0.030354 | 0.00022476 | 0.00014029 | 0.18344 | 0.18344 | 0.18344 | 0.9747 | -0.48699 | 0.9767 | -0.4479 | 12.5992
21 | 0.0026666 | 0.00066818 | -0.0026666 | -0.0006683 | 9.2664e-08 | -1.2563e-07 | 0.0040759 | 0.004076 | 0.004076 | 0.97352 | -0.51031 | 0.97348 | -0.51104 | 1.1198
22 | -0.12036 | -0.030354 | 0.12045 | 0.030407 | 8.3908e-05 | 5.2369e-05 | 0.18344 | 0.18344 | 0.18344 | 0.9767 | -0.4479 | 0.97744 | -0.43334 | 12.5991
23 | -0.018761 | -0.0047033 | 0.018803 | 0.0047283 | 4.1634e-05 | 2.4949e-05 | 0.028616 | 0.028616 | 0.028616 | 0.97557 | -0.47019 | 0.97793 | -0.42373 | 7.8616
24 | 0.015943 | 0.0039972 | -0.01594 | -0.0039954 | 2.921e-06 | 1.705e-06 | 0.024318 | 0.024319 | 0.024319 | 0.97557 | -0.47019 | 0.97537 | -0.47404 | 6.6809
25 | 0.1205 | 0.030441 | -0.12045 | -0.030407 | 5.5529e-05 | 3.4656e-05 | 0.18344 | 0.18344 | 0.18344 | 0.97793 | -0.42373 | 0.97744 | -0.43334 | 12.5991
26 | -0.14246 | -0.03596 | 0.14249 | 0.035981 | 3.403e-05 | 2.1392e-05 | 0.21686 | 0.21686 | 0.21686 | 0.97793 | -0.42373 | 0.97819 | -0.41874 | 14.894
27 | 0.014899 | 0.0037346 | -0.014887 | -0.0037275 | 1.2282e-05 | 7.0698e-06 | 0.022731 | 0.022731 | 0.022731 | 0.97537 | -0.47404 | 0.97449 | -0.49135 | 6.2447
28 | -0.0010549 | -0.00026439 | 0.001055 | 0.00026403 | 3.0155e-08 | -3.6417e-07 | 0.0016136 | 0.0016135 | 0.0016136 | 0.9728 | -0.52483 | 0.97283 | -0.52423 | 0.44331
29 | -0.001055 | -0.00026403 | 0.001055 | 0.00026378 | 2.0063e-08 | -2.4233e-07 | 0.0016135 | 0.0016134 | 0.0016135 | 0.97283 | -0.52423 | 0.97285 | -0.52383 | 0.44327
30 | -0.14545 | -0.036722 | 0.1455 | 0.036757 | 5.4661e-05 | 3.4385e-05 | 0.22135 | 0.22135 | 0.22135 | 0.97819 | -0.41874 | 0.97859 | -0.4109 | 15.2028
31 | 0.010803 | 0.0027079 | -0.010801 | -0.0027069 | 1.8368e-06 | 9.4587e-07 | 0.016397 | 0.016397 | 0.016397 | 0.98036 | -0.377 | 0.98018 | -0.38057 | 4.5046
32 | 0.00020371 | 4.9691e-05 | -0.00020371 | -5.1055e-05 | 4.0039e-09 | -1.3636e-06 | 0.00031119 | 0.00031167 | 0.00031167 | 0.97259 | -0.52904 | 0.97257 | -0.52946 | 0.085625
33 | -0.0019587 | -0.00048954 | 0.0019594 | 0.00048734 | 7.1954e-07 | -2.1938e-06 | 0.0029962 | 0.0029953 | 0.0029962 | 0.97259 | -0.52904 | 0.97298 | -0.5213 | 0.82315
34 | 0.0025707 | 0.000643 | -0.0025705 | -0.00064328 | 1.8123e-07 | -2.724e-07 | 0.003931 | 0.0039311 | 0.0039311 | 0.97298 | -0.5213 | 0.97291 | -0.52278 | 1.08
35 | 0.00099135 | 0.00024828 | -0.00099134 | -0.00024845 | 1.2555e-08 | -1.7287e-07 | 0.001516 | 0.0015161 | 0.0015161 | 0.97298 | -0.5213 | 0.97297 | -0.52157 | 0.41651
36 | -0.0055215 | -0.0013786 | 0.0055251 | 0.0013793 | 3.6727e-06 | 6.4248e-07 | 0.0084423 | 0.0084417 | 0.0084423 | 0.97298 | -0.5213 | 0.97369 | -0.5073 | 2.3193
37 | 0.004338 | 0.0010872 | -0.004338 | -0.0010872 | 4.4193e-08 | -6.5437e-09 | 0.0065581 | 0.0065581 | 0.0065581 | 0.98429 | -0.30007 | 0.98428 | -0.30028 | 1.8017
38 | -0.013025 | -0.0032643 | 0.013028 | 0.0032661 | 3.3696e-06 | 1.8619e-06 | 0.01969 | 0.01969 | 0.01969 | 0.98429 | -0.30007 | 0.98457 | -0.29464 | 5.4094
39 | 0.21587 | 0.054812 | -0.21538 | -0.0545 | 0.00049084 | 0.00031165 | 0.32651 | 0.32651 | 0.32651 | 0.98457 | -0.29464 | 0.98212 | -0.34201 | 22.4254
40 | -0.2289 | -0.058078 | 0.22923 | 0.058285 | 0.00032486 | 0.00020644 | 0.3462 | 0.3462 | 0.3462 | 0.98457 | -0.29464 | 0.98609 | -0.26518 | 23.7777
41 | 0.20354 | 0.051533 | -0.20332 | -0.05139 | 0.00022515 | 0.00014282 | 0.30857 | 0.30858 | 0.30858 | 0.98212 | -0.34201 | 0.98094 | -0.36508 | 21.1933
42 | -0.30227 | -0.076752 | 0.30278 | 0.077077 | 0.00051009 | 0.00032513 | 0.45648 | 0.45648 | 0.45648 | 0.98609 | -0.26518 | 0.98791 | -0.23017 | 31.3517
43 | 0.18169 | 0.04597 | -0.18148 | -0.045834 | 0.00021404 | 0.00013547 | 0.27577 | 0.27577 | 0.27577 | 0.98094 | -0.36508 | 0.97968 | -0.38966 | 18.9402
44 | -0.30584 | -0.077845 | 0.30595 | 0.077912 | 0.00010491 | 6.6876e-05 | 0.4611 | 0.4611 | 0.4611 | 0.98791 | -0.23017 | 0.98828 | -0.22306 | 31.6687
45 | 0.01731 | 0.0043396 | -0.017307 | -0.0043379 | 2.7373e-06 | 1.6189e-06 | 0.026292 | 0.026292 | 0.026292 | 0.97968 | -0.38966 | 0.97951 | -0.39297 | 7.2231
46 | 0.16417 | 0.041495 | -0.16411 | -0.04146 | 5.4916e-05 | 3.4673e-05 | 0.24948 | 0.24948 | 0.24948 | 0.97968 | -0.38966 | 0.97932 | -0.39663 | 17.1345
47 | 0.029274 | 0.0074036 | -0.029252 | -0.00739 | 2.1862e-05 | 1.3615e-05 | 0.04431 | 0.04431 | 0.04431 | 0.98361 | -0.3134 | 0.98281 | -0.32898 | 12.1732
48 | 0.40905 | 0.10463 | -0.40823 | -0.1041 | 0.00081931 | 0.00052315 | 0.61263 | 0.61263 | 0.61263 | 0.99476 | -0.099215 | 0.99258 | -0.14069 | 42.0761
49 | -0.40905 | -0.10463 | 0.40971 | 0.10505 | 0.00066268 | 0.00042313 | 0.61263 | 0.61263 | 0.61263 | 0.99476 | -0.099215 | 0.99652 | -0.065799 | 42.0761
50 | 0.38038 | 0.097122 | -0.37968 | -0.096679 | 0.00069396 | 0.00044296 | 0.57087 | 0.57088 | 0.57088 | 0.99258 | -0.14069 | 0.9906 | -0.17851 | 39.2084
51 | -0.42963 | -0.11004 | 0.4305 | 0.11059 | 0.00086513 | 0.00055252 | 0.64238 | 0.64237 | 0.64238 | 0.99652 | -0.065799 | 0.99871 | -0.024328 | 44.1192
52 | 0.017551 | 0.0044008 | -0.017545 | -0.0043971 | 6.3256e-06 | 3.739e-06 | 0.026426 | 0.026427 | 0.026427 | 0.98828 | -0.22306 | 0.98789 | -0.23062 | 7.26
53 | -0.3235 | -0.082313 | 0.32391 | 0.082574 | 0.00040985 | 0.00026136 | 0.48752 | 0.48752 | 0.48752 | 0.98828 | -0.22306 | 0.98965 | -0.19681 | 33.4836
54 | -0.45226 | -0.11605 | 0.45279 | 0.11639 | 0.00053454 | 0.00034145 | 0.6748 | 0.6748 | 0.6748 | 0.99871 | -0.024328 | 1 | 0 | 46.3461
55 | 0.028232 | 0.0070826 | -0.028212 | -0.0070707 | 1.929e-05 | 1.1978e-05 | 0.04241 | 0.04241 | 0.04241 | 0.9906 | -0.17851 | 0.98987 | -0.19286 | 11.6511
56 | 0.35145 | 0.089597 | -0.35114 | -0.089399 | 0.00031005 | 0.00019782 | 0.52847 | 0.52847 | 0.52847 | 0.9906 | -0.17851 | 0.98965 | -0.19681 | 36.2957
57 | 0.012921 | 0.0032387 | -0.01292 | -0.0032381 | 9.7325e-07 | 5.381e-07 | 0.019629 | 0.019629 | 0.019629 | 0.97951 | -0.39297 | 0.97943 | -0.39456 | 5.3926
58 | 0.16116 | 0.040719 | -0.16112 | -0.040698 | 3.2821e-05 | 2.0712e-05 | 0.24499 | 0.24499 | 0.24499 | 0.97932 | -0.39663 | 0.9791 | -0.40088 | 16.8259
59 | 0.0077845 | 0.0019511 | -0.0077838 | -0.0019508 | 7.0531e-07 | 2.8219e-07 | 0.011827 | 0.011827 | 0.011827 | 0.97943 | -0.39456 | 0.97933 | -0.39646 | 3.2492
60 | 0.14879 | 0.037609 | -0.14872 | -0.037564 | 7.1418e-05 | 4.496e-05 | 0.22625 | 0.22625 | 0.22625 | 0.9791 | -0.40088 | 0.97859 | -0.4109 | 15.539
61 | 0.026983 | 0.0068213 | -0.026981 | -0.0068201 | 1.9262e-06 | 1.1938e-06 | 0.040875 | 0.040875 | 0.040875 | 0.98281 | -0.32898 | 0.98273 | -0.33047 | 11.2293
62 | 0.022562 | 0.0057126 | -0.022505 | -0.0056775 | 5.7351e-05 | 3.5051e-05 | 0.034184 | 0.034184 | 0.034184 | 0.98273 | -0.33047 | 0.98 | -0.38355 | 9.3913
63 | 0.022505 | 0.0056775 | -0.022434 | -0.0056341 | 7.109e-05 | 4.346e-05 | 0.034184 | 0.034185 | 0.034185 | 0.98 | -0.38355 | 0.97662 | -0.44974 | 9.3915
64 | 0.021271 | 0.0053426 | -0.02127 | -0.0053421 | 8.6925e-07 | 5.2871e-07 | 0.032413 | 0.032413 | 0.032413 | 0.97662 | -0.44974 | 0.97658 | -0.4506 | 8.9047
65 | 0.02127 | 0.0053421 | -0.021262 | -0.0053373 | 7.7588e-06 | 4.7193e-06 | 0.032413 | 0.032413 | 0.032413 | 0.97658 | -0.4506 | 0.97619 | -0.45825 | 8.9047
66 | 0.019634 | 0.0049292 | -0.019631 | -0.0049279 | 2.202e-06 | 1.3274e-06 | 0.029931 | 0.029931 | 0.029931 | 0.97619 | -0.45825 | 0.97607 | -0.4606 | 8.2228
67 | 0.014343 | 0.0035912 | -0.014342 | -0.0035907 | 8.0774e-07 | 4.61e-07 | 0.0219 | 0.0219 | 0.0219 | 0.97449 | -0.49135 | 0.97443 | -0.49254 | 6.0166
68 | -0.012853 | -0.0032263 | 0.012855 | 0.0032273 | 1.849e-06 | 1.0233e-06 | 0.019609 | 0.019609 | 0.019609 | 0.97547 | -0.47251 | 0.97562 | -0.46949 | 5.387
69 | 0.011489 | 0.0028843 | -0.011471 | -0.0028749 | 1.7657e-05 | 9.3903e-06 | 0.017527 | 0.017528 | 0.017528 | 0.97547 | -0.47251 | 0.97383 | -0.50477 | 4.8153
70 | -0.016019 | -0.0040203 | 0.016026 | 0.0040243 | 6.7992e-06 | 3.9721e-06 | 0.024434 | 0.024434 | 0.024434 | 0.97562 | -0.46949 | 0.97607 | -0.4606 | 6.7127
71 | 0.0043971 | 0.001102 | -0.0043971 | -0.001102 | 7.688e-10 | -8.7179e-11 | 0.006681 | 0.006681 | 0.006681 | 0.97933 | -0.39646 | 0.97933 | -0.39646 | 1.8354
72 | -0.013672 | -0.0034224 | 0.013673 | 0.0034231 | 1.1575e-06 | 6.5258e-07 | 0.020879 | 0.020879 | 0.020879 | 0.97434 | -0.49431 | 0.97443 | -0.49254 | 5.7359
73 | 0.013 | 0.003254 | -0.012996 | -0.0032515 | 4.5302e-06 | 2.5177e-06 | 0.019853 | 0.019853 | 0.019853 | 0.97434 | -0.49431 | 0.97397 | -0.50164 | 5.454
74 | 0.0055266 | 0.0013795 | -0.0055251 | -0.0013793 | 1.4864e-06 | 2.5925e-07 | 0.0084414 | 0.0084417 | 0.0084417 | 0.97397 | -0.50164 | 0.97369 | -0.5073 | 2.3191
75 | -0.0020138 | -0.00050408 | 0.0020139 | 0.00050379 | 1.0054e-07 | -2.8663e-07 | 0.0030799 | 0.0030798 | 0.0030799 | 0.97285 | -0.52383 | 0.97291 | -0.52278 | 0.84613
76 | 0.00055662 | 0.00013948 | -0.00055662 | -0.0001395 | 3.8747e-10 | -1.746e-08 | 0.00085132 | 0.00085133 | 0.00085133 | 0.97291 | -0.52278 | 0.97291 | -0.5228 | 0.23388

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.4715 | 0.12066

## res_load
| p_mw | q_mvar
0 | 0.0024508 | 0.00061422
1 | 0.0027855 | 0.00069812
2 | 0.0029958 | 0.00075081
3 | 0.0029405 | 0.00073695
4 | 0.0022632 | 0.00056721
5 | 0.0019042 | 0.00047724
6 | 0.002418 | 0.00060602
7 | 0.0099316 | 0.0024891
8 | 0.090025 | 0.022562
9 | 0.017232 | 0.0043188
10 | 0.0026666 | 0.0006683
11 | 0.0028177 | 0.00070617
12 | 0.0031539 | 0.00079043
13 | 0.0010409 | 0.00026087
14 | 0.0010549 | 0.00026439
15 | 0.0029553 | 0.00074066
16 | 0.010441 | 0.0026167
17 | 0.010801 | 0.0027069
18 | 0.001755 | 0.00043984
19 | 0.00020371 | 5.1055e-05
20 | 0.0086866 | 0.0021771
21 | 0.004338 | 0.0010872
22 | 0.011841 | 0.0029676
23 | 0.021627 | 0.0054201
24 | 0.0030643 | 0.00076799
25 | 0.0027679 | 0.0006937
26 | 0.027852 | 0.0069803
27 | 0.019922 | 0.004993
28 | 0.021763 | 0.0054542
29 | 0.017055 | 0.0042744
30 | 0.028212 | 0.0070707
31 | 0.027231 | 0.0068248
32 | 0.0043861 | 0.0010993
33 | 0.0029569 | 0.00074106
34 | 0.0051354 | 0.001287
35 | 0.012329 | 0.0030899
36 | 0.0022693 | 0.00056875
37 | 0.004419 | 0.0011075
38 | 0.001163 | 0.00029148
39 | 0.0016284 | 0.0004081
40 | 0.017545 | 0.0043971
41 | 0.0032201 | 0.00080703
42 | 0.00054391 | 0.00013632
43 | 0.0013646 | 0.000342
44 | 0.0031639 | 0.00079296
45 | 0.011471 | 0.0028749
46 | 0.0036056 | 0.00090364
47 | 0.0033868 | 0.00084881
48 | 0.0017467 | 0.00043775
49 | 0.0043971 | 0.001102
50 | 0.000672 | 0.00016842
51 | 0.00066899 | 0.00016767
52 | 0.0074692 | 0.0018719
53 | 0.00095878 | 0.00024029
54 | 0.00099134 | 0.00024845
55 | 0.00055662 | 0.0001395

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1