## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1508-4_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1508-4_0_6_node_3 | 0.4 | n |  | TRUE
2 | bus_LV_1508-4_0_6_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_1508-4_0_6_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_1508-4_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1508-4_0_6_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1508-4_0_6_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1508-4_0_6_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_1508-4_0_6_node_58 | 0.4 | n |  | TRUE
9 | bus_LV_1508-4_0_6_node_59 | 0.4 | n |  | TRUE
10 | bus_LV_1508-4_0_6_node_57 | 0.4 | n |  | TRUE
11 | bus_LV_1508-4_0_6_node_56 | 0.4 | n |  | TRUE
12 | bus_LV_1508-4_0_6_node_63 | 0.4 | n |  | TRUE
13 | bus_LV_1508-4_0_6_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_1508-4_0_6_node_48 | 0.4 | n |  | TRUE
15 | bus_LV_1508-4_0_6_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1508-4_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1508-4_0_6_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_1508-4_0_6_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1508-4_0_6_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1508-4_0_6_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1508-4_0_6_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_1508-4_0_6_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_1508-4_0_6_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_1508-4_0_6_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_1508-4_0_6_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1508-4_0_6_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1508-4_0_6_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_1508-4_0_6_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_1508-4_0_6_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_1508-4_0_6_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_1508-4_0_6_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_1508-4_0_6_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_1508-4_0_6_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_1508-4_0_6_node_60 | 0.4 | n |  | TRUE
35 | bus_LV_1508-4_0_6_node_62 | 0.4 | n |  | TRUE
36 | bus_LV_1508-4_0_6_node_61 | 0.4 | n |  | TRUE
37 | bus_LV_1508-4_0_6_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_1508-4_0_6_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_1508-4_0_6_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_1508-4_0_6_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_1508-4_0_6_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_1508-4_0_6_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_1508-4_0_6_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_1508-4_0_6_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_1508-4_0_6_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_1508-4_0_6_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_1508-4_0_6_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_1508-4_0_6_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_1508-4_0_6_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_1508-4_0_6_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_1508-4_0_6_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_1508-4_0_6_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_1508-4_0_6_node_55 | 0.4 | n |  | TRUE
54 | bus_LV_1508-4_0_6_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_1508-4_0_6_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_1508-4_0_6_node_54 | 0.4 | n |  | TRUE
57 | bus_MV_136_1_node_178 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1508-4_0_6_load_0 | 0 | 0.015988 | 0.004007 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1508-4_0_6_load_3 | 1 | 0.0012712 | 0.00031858 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1508-4_0_6_load_2 | 3 | 0.080782 | 0.020246 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1508-4_0_6_load_6 | 5 | 0.013457 | 0.0033726 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1508-4_0_6_load_58 | 8 | 0.046339 | 0.011614 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1508-4_0_6_load_59 | 9 | 0.014083 | 0.0035296 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1508-4_0_6_load_56 | 11 | 0.0023501 | 0.000589 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1508-4_0_6_load_63 | 12 | 0.0017549 | 0.00043981 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1508-4_0_6_load_48 | 14 | 0.038651 | 0.0096868 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1508-4_0_6_load_11 | 15 | 0.021109 | 0.0052903 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1508-4_0_6_load_14 | 18 | 0.018326 | 0.004593 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1508-4_0_6_load_15 | 19 | 0.0089345 | 0.0022392 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1508-4_0_6_load_16 | 20 | 0.01833 | 0.0045939 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1508-4_0_6_load_17 | 22 | 0.018328 | 0.0045935 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1508-4_0_6_load_18 | 25 | 0.018327 | 0.0045931 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1508-4_0_6_load_25 | 28 | 0.01833 | 0.0045939 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1508-4_0_6_load_32 | 29 | 0.030433 | 0.0076271 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1508-4_0_6_load_30 | 30 | 0.015929 | 0.0039921 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1508-4_0_6_load_20 | 31 | 0.01833 | 0.0045939 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1508-4_0_6_load_29 | 33 | 0.010751 | 0.0026946 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1508-4_0_6_load_60 | 34 | 0.026994 | 0.0067654 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1508-4_0_6_load_62 | 35 | 0.0019367 | 0.00048539 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1508-4_0_6_load_61 | 36 | 0.028923 | 0.0072489 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1508-4_0_6_load_33 | 38 | 0.01311 | 0.0032858 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1508-4_0_6_load_35 | 39 | 0.0005898 | 0.00014782 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1508-4_0_6_load_36 | 40 | 0.0023343 | 0.00058504 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1508-4_0_6_load_37 | 41 | 0.0010192 | 0.00025543 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1508-4_0_6_load_38 | 42 | 0.0037506 | 0.00094 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1508-4_0_6_load_39 | 43 | 0.0033059 | 0.00082854 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1508-4_0_6_load_40 | 44 | 0.0018307 | 0.00045881 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1508-4_0_6_load_50 | 45 | 0.0018603 | 0.00046624 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1508-4_0_6_load_41 | 47 | 0.0039315 | 0.00098532 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1508-4_0_6_load_42 | 48 | 0.0018776 | 0.00047056 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1508-4_0_6_load_45 | 50 | 0.0062935 | 0.0015773 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1508-4_0_6_load_46 | 51 | 0.0053587 | 0.001343 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1508-4_0_6_load_49 | 52 | 0.012709 | 0.0031851 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1508-4_0_6_load_55 | 53 | 0.0064919 | 0.001627 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1508-4_0_6_load_53 | 54 | 0.0086949 | 0.0021791 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1508-4_0_6_load_52 | 55 | 0.0034938 | 0.00087562 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1508-4_0_6_load_54 | 56 | 0.0065544 | 0.0016427 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1508-4_0_6_line_0 |  | 0 | 1 | 0.051169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1508-4_0_6_line_1 |  | 1 | 2 | 0.082005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1508-4_0_6_line_2 |  | 1 | 3 | 0.074678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1508-4_0_6_line_3 |  | 2 | 7 | 0.029132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1508-4_0_6_line_4 |  | 3 | 4 | 0.046532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1508-4_0_6_line_5 |  | 4 | 5 | 0.010415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1508-4_0_6_line_6 |  | 4 | 6 | 0.038536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1508-4_0_6_line_7 |  | 6 | 8 | 0.016341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1508-4_0_6_line_8 |  | 6 | 9 | 0.012814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_1508-4_0_6_line_9 |  | 6 | 10 | 0.022268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1508-4_0_6_line_10 |  | 7 | 11 | 0.061143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1508-4_0_6_line_11 |  | 8 | 12 | 0.043381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1508-4_0_6_line_12 |  | 9 | 13 | 0.028483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_1508-4_0_6_line_13 |  | 10 | 14 | 0.0082756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1508-4_0_6_line_14 |  | 13 | 29 | 0.015819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_1508-4_0_6_line_15 |  | 13 | 34 | 0.01991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1508-4_0_6_line_16 |  | 14 | 50 | 0.012415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1508-4_0_6_line_17 |  | 15 | 16 | 0.025911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1508-4_0_6_line_18 |  | 16 | 17 | 0.034647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1508-4_0_6_line_19 |  | 16 | 18 | 0.025908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1508-4_0_6_line_20 |  | 17 | 19 | 0.023425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1508-4_0_6_line_21 |  | 18 | 20 | 0.018874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1508-4_0_6_line_22 |  | 19 | 21 | 0.025221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1508-4_0_6_line_23 |  | 20 | 22 | 0.017309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1508-4_0_6_line_24 |  | 21 | 23 | 0.039133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1508-4_0_6_line_25 |  | 21 | 24 | 0.040798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1508-4_0_6_line_26 |  | 22 | 25 | 0.046986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_1508-4_0_6_line_27 |  | 23 | 32 | 0.067826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1508-4_0_6_line_28 |  | 23 | 33 | 0.018517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1508-4_0_6_line_29 |  | 24 | 31 | 0.022089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1508-4_0_6_line_30 |  | 25 | 26 | 0.014958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_1508-4_0_6_line_31 |  | 26 | 27 | 0.029507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_1508-4_0_6_line_32 |  | 26 | 28 | 0.0096953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1508-4_0_6_line_33 |  | 27 | 29 | 0.048853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_1508-4_0_6_line_34 |  | 27 | 30 | 0.019785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1508-4_0_6_line_35 |  | 30 | 37 | 0.051886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1508-4_0_6_line_36 |  | 32 | 35 | 0.071232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1508-4_0_6_line_37 |  | 33 | 36 | 0.034868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1508-4_0_6_line_38 |  | 37 | 38 | 0.012256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1508-4_0_6_line_39 |  | 39 | 40 | 0.017786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1508-4_0_6_line_40 |  | 39 | 41 | 0.0080456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1508-4_0_6_line_41 |  | 40 | 42 | 0.012194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1508-4_0_6_line_42 |  | 41 | 43 | 0.0035321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1508-4_0_6_line_43 |  | 43 | 44 | 0.055917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1508-4_0_6_line_44 |  | 44 | 45 | 0.02084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1508-4_0_6_line_45 |  | 45 | 46 | 0.042697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1508-4_0_6_line_46 |  | 46 | 55 | 0.056433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1508-4_0_6_line_47 |  | 47 | 48 | 0.034148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1508-4_0_6_line_48 |  | 47 | 49 | 0.058622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1508-4_0_6_line_49 |  | 49 | 50 | 0.0027842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1508-4_0_6_line_50 |  | 49 | 51 | 0.020694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1508-4_0_6_line_51 |  | 51 | 52 | 0.0040282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1508-4_0_6_line_52 |  | 52 | 53 | 0.0012439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1508-4_0_6_line_53 |  | 53 | 54 | 0.022551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1508-4_0_6_line_54 |  | 54 | 56 | 0.030206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1508-4_0_6_line_55 |  | 55 | 56 | 0.029276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1508-4_0_6_trafo_32 | 0.63 MVA 20/0.4 kV | 57 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2672185.8372 | 1201134.0503 | 2672230.3912 | 1201159.2132
1 | 2672201.3099 | 1201053.5177 | 2672185.8372 | 1201134.0503
2 | 2672171.9386 | 1201207.4237 | 2672180.5144 | 1201161.7548 | 2672185.8372 | 1201134.0503
3 | 2672201.3099 | 1201053.5177 | 2672195.7176 | 1201052.6607 | 2672172.9456 | 1201046.6376
4 | 2672162.4373 | 1201252.9589 | 2672163.559 | 1201247.6914 | 2672164.9612 | 1201241.26 | 2672167.2288 | 1201232.5043 | 2672171.9386 | 1201207.4237
5 | 2672162.4373 | 1201252.9589 | 2672165.7941 | 1201254.2335 | 2672168.6374 | 1201256.4248 | 2672170.5211 | 1201259.0547
6 | 2672127.2382 | 1201243.5616 | 2672139.2318 | 1201252.0115 | 2672148.3051 | 1201253.9333 | 2672152.7708 | 1201254.7766 | 2672157.4144 | 1201252.8649 | 2672162.4373 | 1201252.9589
7 | 2672127.2382 | 1201243.5616 | 2672132.1876 | 1201227.9881
8 | 2672127.2382 | 1201243.5616 | 2672124.1097 | 1201255.9879
9 | 2672127.2382 | 1201243.5616 | 2672107.3638 | 1201233.4045
10 | 2672172.9456 | 1201046.6376 | 2672167.4091 | 1201084.6384 | 2672169.0176 | 1201090.1167 | 2672166.7508 | 1201106.9885
11 | 2672145.3269 | 1201186.6452 | 2672132.1876 | 1201227.9881
12 | 2672117.1558 | 1201283.6089 | 2672124.1097 | 1201255.9879
13 | 2672107.3638 | 1201233.4045 | 2672100.7389 | 1201228.4449
14 | 2672117.1558 | 1201283.6089 | 2672101.3407 | 1201283.275
15 | 2672117.1558 | 1201283.6089 | 2672114.3715 | 1201303.3228
16 | 2672100.7389 | 1201228.4449 | 2672090.8005 | 1201221.0045
17 | 2672009.4445 | 1201412.4666 | 2671984.2533 | 1201406.3999
18 | 2672009.4445 | 1201412.4666 | 2672008.1384 | 1201417.2538 | 2672037.1909 | 1201423.7412
19 | 2672009.4445 | 1201412.4666 | 2672015.3287 | 1201387.2361
20 | 2672037.1909 | 1201423.7412 | 2672060.0797 | 1201428.7232
21 | 2672015.3287 | 1201387.2361 | 2672017.5918 | 1201377.5324 | 2672019.9764 | 1201368.9479
22 | 2672084.7241 | 1201434.0873 | 2672060.0797 | 1201428.7232
23 | 2672023.8733 | 1201352.0843 | 2672020.162 | 1201368.2799 | 2672019.9764 | 1201368.9479
24 | 2672123.2083 | 1201441.7674 | 2672084.7241 | 1201434.0873
25 | 2672084.7241 | 1201434.0873 | 2672095.8317 | 1201394.8306
26 | 2672023.8733 | 1201352.0843 | 2672028.3253 | 1201332.6565 | 2672047.9488 | 1201337.0958 | 2672049.2565 | 1201330.2851
27 | 2672123.2083 | 1201441.7674 | 2672108.1378 | 1201507.8926
28 | 2672123.2083 | 1201441.7674 | 2672127.1413 | 1201423.6731
29 | 2672095.8317 | 1201394.8306 | 2672074.0528 | 1201391.1435
30 | 2672063.7988 | 1201333.7848 | 2672049.2565 | 1201330.2851 | 2672049.2565 | 1201330.2851
31 | 2672063.7988 | 1201333.7848 | 2672066.3851 | 1201323.8433 | 2672066.9281 | 1201321.7374 | 2672070.7824 | 1201305.1182
32 | 2672063.7988 | 1201333.7848 | 2672062.0187 | 1201343.3153
33 | 2672070.7824 | 1201305.1182 | 2672075.3458 | 1201282.7262 | 2672101.3407 | 1201283.275
34 | 2672070.7824 | 1201305.1182 | 2672051.2642 | 1201301.8809
35 | 2672009.7885 | 1201314.4776 | 2672014.7714 | 1201307.778 | 2672023.8418 | 1201295.4131 | 2672043.1679 | 1201300.538 | 2672051.2642 | 1201301.8809
36 | 2672093.099 | 1201464.2067 | 2672084.1202 | 1201473.404 | 2672079.1585 | 1201484.6622 | 2672077.9597 | 1201493.7977 | 2672079.7495 | 1201500.0231 | 2672087.306 | 1201505.8623 | 2672108.1378 | 1201507.8926
37 | 2672134.5473 | 1201389.6008 | 2672127.1413 | 1201423.6731
38 | 2672009.7885 | 1201314.4776 | 2672002.8234 | 1201324.5617
39 | 2671886.9424 | 1201252.2287 | 2671870.0089 | 1201246.7872
40 | 2671886.9424 | 1201252.2287 | 2671892.1505 | 1201253.9023 | 2671894.7217 | 1201254.0444 | 2671894.7217 | 1201254.0444
41 | 2671858.3995 | 1201243.0565 | 2671870.0089 | 1201246.7872
42 | 2671894.7217 | 1201254.0444 | 2671897.5361 | 1201252.9554 | 2671897.8273 | 1201252.5315
43 | 2671921.2247 | 1201201.7761 | 2671898.8997 | 1201250.9706 | 2671897.8273 | 1201252.5315
44 | 2671921.2247 | 1201201.7761 | 2671926.7296 | 1201189.6458 | 2671929.6386 | 1201182.7124
45 | 2671946.1579 | 1201143.3403 | 2671929.6386 | 1201182.7124
46 | 2671946.1579 | 1201143.3403 | 2671964.4154 | 1201146.8511 | 2671983.59 | 1201151.9629 | 2671996.186 | 1201155.9392 | 2672000.5742 | 1201157.8545
47 | 2672105.0264 | 1201163.3506 | 2672106.7391 | 1201156.5056 | 2672110.8957 | 1201129.7349
48 | 2672088.5717 | 1201219.3359 | 2672090.4844 | 1201216.6462 | 2672093.4624 | 1201209.5667 | 2672105.0264 | 1201163.3506
49 | 2672088.5717 | 1201219.3359 | 2672090.8005 | 1201221.0045
50 | 2672088.5717 | 1201219.3359 | 2672080.6558 | 1201213.6036 | 2672072.3683 | 1201206.4925
51 | 2672072.3683 | 1201206.4925 | 2672069.3112 | 1201203.8694
52 | 2672068.3672 | 1201203.0593 | 2672069.3112 | 1201203.8694
53 | 2672051.1161 | 1201188.5359 | 2672067.9607 | 1201202.7105 | 2672068.3672 | 1201203.0593
54 | 2672051.1161 | 1201188.5359 | 2672039.0613 | 1201178.3918 | 2672026.7399 | 1201170.8419
55 | 2672000.5742 | 1201157.8545 | 2672017.8505 | 1201165.3949 | 2672026.7399 | 1201170.8419

## bus_geodata
| x | y | coords
0 | 2672230.3912 | 1201159.2132
1 | 2672185.8372 | 1201134.0503
2 | 2672201.3099 | 1201053.5177
3 | 2672171.9386 | 1201207.4237
4 | 2672162.4373 | 1201252.9589
5 | 2672170.5211 | 1201259.0547
6 | 2672127.2382 | 1201243.5616
7 | 2672172.9456 | 1201046.6376
8 | 2672132.1876 | 1201227.9881
9 | 2672124.1097 | 1201255.9879
10 | 2672107.3638 | 1201233.4045
11 | 2672166.7508 | 1201106.9885
12 | 2672145.3269 | 1201186.6452
13 | 2672117.1558 | 1201283.6089
14 | 2672100.7389 | 1201228.4449
15 | 2671984.2533 | 1201406.3999
16 | 2672009.4445 | 1201412.4666
17 | 2672037.1909 | 1201423.7412
18 | 2672015.3287 | 1201387.2361
19 | 2672060.0797 | 1201428.7232
20 | 2672019.9764 | 1201368.9479
21 | 2672084.7241 | 1201434.0873
22 | 2672023.8733 | 1201352.0843
23 | 2672123.2083 | 1201441.7674
24 | 2672095.8317 | 1201394.8306
25 | 2672049.2565 | 1201330.2851
26 | 2672063.7988 | 1201333.7848
27 | 2672070.7824 | 1201305.1182
28 | 2672062.0187 | 1201343.3153
29 | 2672101.3407 | 1201283.275
30 | 2672051.2642 | 1201301.8809
31 | 2672074.0528 | 1201391.1435
32 | 2672108.1378 | 1201507.8926
33 | 2672127.1413 | 1201423.6731
34 | 2672114.3715 | 1201303.3228
35 | 2672093.099 | 1201464.2067
36 | 2672134.5473 | 1201389.6008
37 | 2672009.7885 | 1201314.4776
38 | 2672002.8234 | 1201324.5617
39 | 2671886.9424 | 1201252.2287
40 | 2671870.0089 | 1201246.7872
41 | 2671894.7217 | 1201254.0444
42 | 2671858.3995 | 1201243.0565
43 | 2671897.8273 | 1201252.5315
44 | 2671921.2247 | 1201201.7761
45 | 2671929.6386 | 1201182.7124
46 | 2671946.1579 | 1201143.3403
47 | 2672105.0264 | 1201163.3506
48 | 2672110.8957 | 1201129.7349
49 | 2672088.5717 | 1201219.3359
50 | 2672090.8005 | 1201221.0045
51 | 2672072.3683 | 1201206.4925
52 | 2672069.3112 | 1201203.8694
53 | 2672068.3672 | 1201203.0593
54 | 2672051.1161 | 1201188.5359
55 | 2672000.5742 | 1201157.8545
56 | 2672026.7399 | 1201170.8419
57 | 2672117.1558 | 1201283.6089

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98399 | -0.30865 | 0.015988 | 0.004007
1 | 0.98474 | -0.29394 | 0.0012712 | 0.00031858
2 | 0.98456 | -0.29741 | 0 | 0
3 | 0.98609 | -0.26764 | 0.080782 | 0.020246
4 | 0.99039 | -0.18426 | 0 | 0
5 | 0.99026 | -0.18675 | 0.013457 | 0.0033726
6 | 0.99442 | -0.10661 | 0 | 0
7 | 0.9845 | -0.29864 | 0 | 0
8 | 0.9937 | -0.12047 | 0.046339 | 0.011614
9 | 0.99601 | -0.076088 | 0.014083 | 0.0035296
10 | 0.9922 | -0.14939 | 0 | 0
11 | 0.98437 | -0.30122 | 0.0023501 | 0.000589
12 | 0.99364 | -0.12182 | 0.0017549 | 0.00043981
13 | 0.99849 | -0.028699 | 0 | 0
14 | 0.99138 | -0.16534 | 0.038651 | 0.0096868
15 | 0.98473 | -0.29298 | 0.021109 | 0.0052903
16 | 0.98523 | -0.28316 | 0 | 0
17 | 0.98302 | -0.32611 | 0 | 0
18 | 0.98739 | -0.24138 | 0.018326 | 0.004593
19 | 0.98152 | -0.35526 | 0.0089345 | 0.0022392
20 | 0.98928 | -0.2049 | 0.01833 | 0.0045939
21 | 0.98012 | -0.38265 | 0 | 0
22 | 0.99131 | -0.16594 | 0.018328 | 0.0045935
23 | 0.97861 | -0.41225 | 0 | 0
24 | 0.97943 | -0.39623 | 0 | 0
25 | 0.99445 | -0.10572 | 0.018327 | 0.0045931
26 | 0.9952 | -0.091379 | 0 | 0
27 | 0.99685 | -0.05999 | 0 | 0
28 | 0.99504 | -0.094507 | 0.01833 | 0.0045939
29 | 1 | 0 | -0.52951 | -0.13439
30 | 0.99632 | -0.070073 | 0.015929 | 0.0039921
31 | 0.97906 | -0.40359 | 0.01833 | 0.0045939
32 | 0.97849 | -0.41464 | 0 | 0
33 | 0.97793 | -0.42563 | 0.010751 | 0.0026946
34 | 0.998 | -0.038099 | 0.026994 | 0.0067654
35 | 0.97836 | -0.41716 | 0.0019367 | 0.00048539
36 | 0.97699 | -0.44403 | 0.028923 | 0.0072489
37 | 0.9957 | -0.082025 | 0 | 0
38 | 0.99556 | -0.084851 | 0.01311 | 0.0032858
39 | 0.98498 | -0.28966 | 0.0005898 | 0.00014782
40 | 0.98488 | -0.2916 | 0.0023343 | 0.00058504
41 | 0.98503 | -0.28869 | 0.0010192 | 0.00025543
42 | 0.98483 | -0.29242 | 0.0037506 | 0.00094
43 | 0.98505 | -0.2882 | 0.0033059 | 0.00082854
44 | 0.98562 | -0.27716 | 0.0018307 | 0.00045881
45 | 0.98586 | -0.27236 | 0.0018603 | 0.00046624
46 | 0.98644 | -0.26112 | 0 | 0
47 | 0.9901 | -0.19 | 0.0039315 | 0.00098532
48 | 0.99004 | -0.19114 | 0.0018776 | 0.00047056
49 | 0.99042 | -0.18395 | 0 | 0
50 | 0.99058 | -0.18079 | 0.0062935 | 0.0015773
51 | 0.98931 | -0.2053 | 0.0053587 | 0.001343
52 | 0.98912 | -0.20907 | 0.012709 | 0.0031851
53 | 0.98907 | -0.20996 | 0.0064919 | 0.001627
54 | 0.98838 | -0.22341 | 0.0086949 | 0.0021791
55 | 0.9872 | -0.24627 | 0.0034938 | 0.00087562
56 | 0.98769 | -0.23675 | 0.0065544 | 0.0016427
57 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.015988 | -0.004007 | 0.015999 | 0.0040135 | 1.1217e-05 | 6.5283e-06 | 0.024178 | 0.024178 | 0.024178 | 0.98399 | -0.30865 | 0.98474 | -0.29394 | 6.6423
1 | 0.002351 | 0.00058733 | -0.0023506 | -0.00058813 | 3.8799e-07 | -7.9477e-07 | 0.0035518 | 0.0035522 | 0.0035522 | 0.98474 | -0.29394 | 0.98456 | -0.29741 | 0.97588
2 | -0.019622 | -0.0049195 | 0.019646 | 0.0049343 | 2.4619e-05 | 1.4805e-05 | 0.02965 | 0.02965 | 0.02965 | 0.98474 | -0.29394 | 0.98609 | -0.26764 | 8.1457
3 | 0.0023506 | 0.00058813 | -0.0023504 | -0.00058841 | 1.3785e-07 | -2.8223e-07 | 0.0035522 | 0.0035523 | 0.0035523 | 0.98456 | -0.29741 | 0.9845 | -0.29864 | 0.97591
4 | -0.10043 | -0.02518 | 0.10083 | 0.025436 | 0.00040077 | 0.00025589 | 0.15155 | 0.15155 | 0.15155 | 0.98609 | -0.26764 | 0.99039 | -0.18426 | 41.6347
5 | 0.013458 | 0.0033735 | -0.013457 | -0.0033726 | 1.597e-06 | 8.8808e-07 | 0.020221 | 0.020221 | 0.020221 | 0.99039 | -0.18426 | 0.99026 | -0.18675 | 5.5552
6 | -0.11429 | -0.028809 | 0.11471 | 0.029082 | 0.00042638 | 0.00027239 | 0.17177 | 0.17177 | 0.17177 | 0.99039 | -0.18426 | 0.99442 | -0.10661 | 47.1898
7 | 0.048125 | 0.012073 | -0.048094 | -0.012053 | 3.1782e-05 | 2.0129e-05 | 0.072017 | 0.072017 | 0.072017 | 0.99442 | -0.10661 | 0.9937 | -0.12047 | 19.785
8 | -0.2721 | -0.068732 | 0.2725 | 0.068987 | 0.00039868 | 0.00025482 | 0.40735 | 0.40735 | 0.40735 | 0.99442 | -0.10661 | 0.99601 | -0.076088 | 55.9546
9 | 0.10926 | 0.027577 | -0.10904 | -0.027435 | 0.0002234 | 0.00014269 | 0.16356 | 0.16356 | 0.16356 | 0.99442 | -0.10661 | 0.9922 | -0.14939 | 44.9345
10 | 0.0023504 | 0.00058841 | -0.0023501 | -0.000589 | 2.8936e-07 | -5.9218e-07 | 0.0035523 | 0.0035526 | 0.0035526 | 0.9845 | -0.29864 | 0.98437 | -0.30122 | 0.97599
11 | 0.001755 | 0.00043932 | -0.0017549 | -0.00043981 | 1.1234e-07 | -4.9004e-07 | 0.0026278 | 0.002628 | 0.002628 | 0.9937 | -0.12047 | 0.99364 | -0.12182 | 0.72198
12 | -0.28658 | -0.072517 | 0.28723 | 0.072934 | 0.00065339 | 0.00041705 | 0.42839 | 0.42839 | 0.42839 | 0.99601 | -0.076088 | 0.99849 | -0.028699 | 39.2298
13 | 0.10904 | 0.027435 | -0.10895 | -0.027382 | 8.3023e-05 | 5.3028e-05 | 0.16356 | 0.16356 | 0.16356 | 0.9922 | -0.14939 | 0.99138 | -0.16534 | 44.9346
14 | -0.31424 | -0.079707 | 0.31468 | 0.079984 | 0.00043426 | 0.00027731 | 0.46864 | 0.46864 | 0.46864 | 0.99849 | -0.028699 | 1 | 0 | 42.9155
15 | 0.027006 | 0.0067728 | -0.026994 | -0.0067654 | 1.2094e-05 | 7.4801e-06 | 0.040248 | 0.040248 | 0.040248 | 0.99849 | -0.028699 | 0.998 | -0.038099 | 11.0571
16 | 0.070303 | 0.017695 | -0.070251 | -0.017662 | 5.1866e-05 | 3.3034e-05 | 0.10555 | 0.10555 | 0.10555 | 0.99138 | -0.16534 | 0.99058 | -0.18079 | 28.9969
17 | -0.021109 | -0.0052903 | 0.021119 | 0.0052963 | 9.8861e-06 | 5.9973e-06 | 0.031897 | 0.031897 | 0.031897 | 0.98473 | -0.29298 | 0.98523 | -0.28316 | 8.763
18 | 0.069322 | 0.017543 | -0.069179 | -0.017452 | 0.00014259 | 9.0815e-05 | 0.10476 | 0.10476 | 0.10476 | 0.98523 | -0.28316 | 0.98302 | -0.32611 | 28.7799
19 | -0.090441 | -0.022839 | 0.090622 | 0.022955 | 0.00018143 | 0.00011579 | 0.13666 | 0.13666 | 0.13666 | 0.98523 | -0.28316 | 0.98739 | -0.24138 | 37.5428
20 | 0.069179 | 0.017452 | -0.069083 | -0.01739 | 9.6402e-05 | 6.1401e-05 | 0.10476 | 0.10476 | 0.10476 | 0.98302 | -0.32611 | 0.98152 | -0.35526 | 28.78
21 | -0.10895 | -0.027548 | 0.10914 | 0.02767 | 0.00019099 | 0.00012199 | 0.16427 | 0.16427 | 0.16427 | 0.98739 | -0.24138 | 0.98928 | -0.2049 | 45.1301
22 | 0.060149 | 0.015151 | -0.06007 | -0.015101 | 7.8691e-05 | 5.0044e-05 | 0.091214 | 0.091214 | 0.091214 | 0.98152 | -0.35526 | 0.98012 | -0.38265 | 25.0588
23 | -0.12747 | -0.032264 | 0.12771 | 0.032416 | 0.00023889 | 0.00015267 | 0.19184 | 0.19184 | 0.19184 | 0.98928 | -0.2049 | 0.99131 | -0.16594 | 52.7045
24 | 0.041722 | 0.010496 | -0.041663 | -0.010459 | 5.8904e-05 | 3.7206e-05 | 0.063356 | 0.063356 | 0.063356 | 0.98012 | -0.38265 | 0.97861 | -0.41225 | 17.4055
25 | 0.018348 | 0.0046048 | -0.018336 | -0.0045978 | 1.1874e-05 | 7.0854e-06 | 0.027859 | 0.027859 | 0.027859 | 0.98012 | -0.38265 | 0.97943 | -0.39623 | 7.6535
26 | -0.14604 | -0.03701 | 0.14646 | 0.03728 | 0.0004239 | 0.00027008 | 0.21936 | 0.21936 | 0.21936 | 0.99131 | -0.16594 | 0.99445 | -0.10572 | 30.1313
27 | 0.0019372 | 0.00048393 | -0.001937 | -0.00048464 | 2.2062e-07 | -7.1087e-07 | 0.002945 | 0.0029453 | 0.0029453 | 0.97861 | -0.41225 | 0.97849 | -0.41464 | 0.80915
28 | 0.039725 | 0.0099752 | -0.0397 | -0.0099592 | 2.5341e-05 | 1.5986e-05 | 0.060411 | 0.060411 | 0.060411 | 0.97861 | -0.41225 | 0.97793 | -0.42563 | 16.5964
29 | 0.018336 | 0.0045978 | -0.01833 | -0.0045939 | 6.4287e-06 | 3.8365e-06 | 0.027859 | 0.027859 | 0.027859 | 0.97943 | -0.39623 | 0.97906 | -0.40359 | 7.6535
30 | -0.16479 | -0.041873 | 0.1649 | 0.041945 | 0.00011386 | 7.229e-05 | 0.24678 | 0.24678 | 0.24678 | 0.99445 | -0.10572 | 0.9952 | -0.091379 | 22.5987
31 | -0.18323 | -0.046541 | 0.18351 | 0.046717 | 0.0002773 | 0.00017632 | 0.27419 | 0.27419 | 0.27419 | 0.9952 | -0.091379 | 0.99685 | -0.05999 | 25.1089
32 | 0.018333 | 0.0045956 | -0.01833 | -0.0045939 | 2.7319e-06 | 1.6224e-06 | 0.027411 | 0.027411 | 0.027411 | 0.9952 | -0.091379 | 0.99504 | -0.094507 | 7.5306
33 | -0.21257 | -0.054009 | 0.21319 | 0.054401 | 0.00061587 | 0.00039224 | 0.31757 | 0.31757 | 0.31757 | 0.99685 | -0.05999 | 1 | 0 | 29.0818
34 | 0.029062 | 0.0072917 | -0.029048 | -0.007283 | 1.3965e-05 | 8.6798e-06 | 0.043385 | 0.043385 | 0.043385 | 0.99685 | -0.05999 | 0.99632 | -0.070073 | 11.919
35 | 0.01312 | 0.0032909 | -0.013112 | -0.0032867 | 7.4711e-06 | 4.1062e-06 | 0.019595 | 0.019596 | 0.019596 | 0.99632 | -0.070073 | 0.9957 | -0.082025 | 5.3834
36 | 0.001937 | 0.00048464 | -0.0019367 | -0.00048539 | 2.3175e-07 | -7.4631e-07 | 0.0029453 | 0.0029456 | 0.0029456 | 0.97849 | -0.41464 | 0.97836 | -0.41716 | 0.80924
37 | 0.028949 | 0.0072647 | -0.028923 | -0.0072489 | 2.5374e-05 | 1.5802e-05 | 0.044052 | 0.044052 | 0.044052 | 0.97793 | -0.42563 | 0.97699 | -0.44403 | 12.1021
38 | 0.013112 | 0.0032867 | -0.01311 | -0.0032858 | 1.7647e-06 | 9.7005e-07 | 0.019596 | 0.019596 | 0.019596 | 0.9957 | -0.082025 | 0.99556 | -0.084851 | 5.3834
39 | 0.0060857 | 0.0015251 | -0.0060851 | -0.001525 | 5.6377e-07 | 1.3445e-07 | 0.0091937 | 0.0091938 | 0.0091938 | 0.98498 | -0.28966 | 0.98488 | -0.2916 | 2.5258
40 | -0.0066755 | -0.0016729 | 0.0066758 | 0.001673 | 3.0684e-07 | 9.397e-08 | 0.010085 | 0.010085 | 0.010085 | 0.98498 | -0.28966 | 0.98503 | -0.28869 | 2.7705
41 | 0.0037508 | 0.00093994 | -0.0037506 | -0.00094 | 1.4685e-07 | -6.1184e-08 | 0.0056669 | 0.005667 | 0.005667 | 0.98488 | -0.2916 | 0.98483 | -0.29242 | 1.5569
42 | -0.007695 | -0.0019285 | 0.0076952 | 0.0019285 | 1.7898e-07 | 6.9582e-08 | 0.011624 | 0.011624 | 0.011624 | 0.98503 | -0.28869 | 0.98505 | -0.2882 | 3.1935
43 | -0.011001 | -0.0027571 | 0.011007 | 0.0027601 | 5.7908e-06 | 2.9939e-06 | 0.016618 | 0.016618 | 0.016618 | 0.98505 | -0.2882 | 0.98562 | -0.27716 | 4.5654
44 | -0.012838 | -0.0032189 | 0.01284 | 0.0032205 | 2.9357e-06 | 1.6132e-06 | 0.019382 | 0.019382 | 0.019382 | 0.98562 | -0.27716 | 0.98586 | -0.27236 | 5.3246
45 | -0.014701 | -0.0036867 | 0.014709 | 0.0036912 | 7.8836e-06 | 4.5007e-06 | 0.02219 | 0.022189 | 0.02219 | 0.98586 | -0.27236 | 0.98644 | -0.26112 | 6.096
46 | -0.014709 | -0.0036912 | 0.014719 | 0.0036972 | 1.042e-05 | 5.9475e-06 | 0.022189 | 0.022189 | 0.022189 | 0.98644 | -0.26112 | 0.9872 | -0.24627 | 6.096
47 | 0.0018777 | 0.00047019 | -0.0018776 | -0.00047056 | 1.0197e-07 | -3.7388e-07 | 0.0028218 | 0.0028219 | 0.0028219 | 0.9901 | -0.19 | 0.99004 | -0.19114 | 0.77525
48 | -0.0058091 | -0.0014555 | 0.0058108 | 0.0014558 | 1.6755e-06 | 3.1813e-07 | 0.0087303 | 0.00873 | 0.0087303 | 0.9901 | -0.19 | 0.99042 | -0.18395 | 2.3984
49 | -0.063948 | -0.016078 | 0.063958 | 0.016085 | 9.6411e-06 | 6.1344e-06 | 0.096095 | 0.096095 | 0.096095 | 0.99042 | -0.18395 | 0.99058 | -0.18079 | 26.3997
50 | 0.058137 | 0.014623 | -0.058078 | -0.014585 | 5.923e-05 | 3.7641e-05 | 0.087365 | 0.087365 | 0.087365 | 0.99042 | -0.18395 | 0.98931 | -0.2053 | 24.0013
51 | 0.052719 | 0.013242 | -0.05271 | -0.013236 | 9.5004e-06 | 6.0285e-06 | 0.079305 | 0.079305 | 0.079305 | 0.98931 | -0.2053 | 0.98912 | -0.20907 | 21.7871
52 | 0.040001 | 0.010051 | -0.04 | -0.01005 | 1.6898e-06 | 1.0655e-06 | 0.060186 | 0.060186 | 0.060186 | 0.98912 | -0.20907 | 0.98907 | -0.20996 | 16.5347
53 | 0.033508 | 0.0084227 | -0.033486 | -0.0084092 | 2.1498e-05 | 1.3469e-05 | 0.05042 | 0.05042 | 0.05042 | 0.98907 | -0.20996 | 0.98838 | -0.22341 | 13.8516
54 | 0.024791 | 0.0062301 | -0.024776 | -0.0062204 | 1.5784e-05 | 9.7151e-06 | 0.03733 | 0.03733 | 0.03733 | 0.98838 | -0.22341 | 0.98769 | -0.23675 | 10.2554
55 | -0.018213 | -0.0045728 | 0.018221 | 0.0045777 | 8.2754e-06 | 4.9217e-06 | 0.027455 | 0.027455 | 0.027455 | 0.9872 | -0.24627 | 0.98769 | -0.23675 | 7.5426

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.55995 | 0.14201

## res_load
| p_mw | q_mvar
0 | 0.015988 | 0.004007
1 | 0.0012712 | 0.00031858
2 | 0.080782 | 0.020246
3 | 0.013457 | 0.0033726
4 | 0.046339 | 0.011614
5 | 0.014083 | 0.0035296
6 | 0.0023501 | 0.000589
7 | 0.0017549 | 0.00043981
8 | 0.038651 | 0.0096868
9 | 0.021109 | 0.0052903
10 | 0.018326 | 0.004593
11 | 0.0089345 | 0.0022392
12 | 0.01833 | 0.0045939
13 | 0.018328 | 0.0045935
14 | 0.018327 | 0.0045931
15 | 0.01833 | 0.0045939
16 | 0.030433 | 0.0076271
17 | 0.015929 | 0.0039921
18 | 0.01833 | 0.0045939
19 | 0.010751 | 0.0026946
20 | 0.026994 | 0.0067654
21 | 0.0019367 | 0.00048539
22 | 0.028923 | 0.0072489
23 | 0.01311 | 0.0032858
24 | 0.0005898 | 0.00014782
25 | 0.0023343 | 0.00058504
26 | 0.0010192 | 0.00025543
27 | 0.0037506 | 0.00094
28 | 0.0033059 | 0.00082854
29 | 0.0018307 | 0.00045881
30 | 0.0018603 | 0.00046624
31 | 0.0039315 | 0.00098532
32 | 0.0018776 | 0.00047056
33 | 0.0062935 | 0.0015773
34 | 0.0053587 | 0.001343
35 | 0.012709 | 0.0031851
36 | 0.0064919 | 0.001627
37 | 0.0086949 | 0.0021791
38 | 0.0034938 | 0.00087562
39 | 0.0065544 | 0.0016427

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1