## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1509-10_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1509-10_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1509-10_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1509-10_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1509-10_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1509-10_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1509-10_0_4_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_1509-10_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1509-10_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1509-10_0_4_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_1509-10_0_4_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_1509-10_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1509-10_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_1509-10_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1509-10_0_4_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_1509-10_0_4_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_1509-10_0_4_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_1509-10_0_4_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_1509-10_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1509-10_0_4_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_1509-10_0_4_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_1509-10_0_4_node_64 | 0.4 | n |  | TRUE
22 | bus_LV_1509-10_0_4_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_1509-10_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_1509-10_0_4_node_47 | 0.4 | n |  | TRUE
25 | bus_LV_1509-10_0_4_node_45 | 0.4 | n |  | TRUE
26 | bus_LV_1509-10_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_1509-10_0_4_node_62 | 0.4 | n |  | TRUE
28 | bus_LV_1509-10_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_1509-10_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_1509-10_0_4_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_1509-10_0_4_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_1509-10_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_1509-10_0_4_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_1509-10_0_4_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_1509-10_0_4_node_61 | 0.4 | n |  | TRUE
36 | bus_LV_1509-10_0_4_node_59 | 0.4 | n |  | TRUE
37 | bus_LV_1509-10_0_4_node_57 | 0.4 | n |  | TRUE
38 | bus_LV_1509-10_0_4_node_48 | 0.4 | n |  | TRUE
39 | bus_LV_1509-10_0_4_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_1509-10_0_4_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_1509-10_0_4_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_1509-10_0_4_node_52 | 0.4 | n |  | TRUE
43 | bus_LV_1509-10_0_4_node_60 | 0.4 | n |  | TRUE
44 | bus_LV_1509-10_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_1509-10_0_4_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_1509-10_0_4_node_65 | 0.4 | n |  | TRUE
47 | bus_LV_1509-10_0_4_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_1509-10_0_4_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_1509-10_0_4_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_1509-10_0_4_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_1509-10_0_4_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_1509-10_0_4_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_1509-10_0_4_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_1509-10_0_4_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_1509-10_0_4_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_1509-10_0_4_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_1509-10_0_4_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_1509-10_0_4_node_63 | 0.4 | n |  | TRUE
59 | bus_MV_143_0_node_17 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1509-10_0_4_load_0 | 0 | 0.004684 | 0.0011739 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1509-10_0_4_load_4 | 4 | 0.015981 | 0.0040052 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1509-10_0_4_load_5 | 5 | 0.0033125 | 0.00083019 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1509-10_0_4_load_10 | 6 | 0.018958 | 0.0047513 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1509-10_0_4_load_7 | 7 | 0.014387 | 0.0036058 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1509-10_0_4_load_6 | 8 | 0.0032533 | 0.00081535 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1509-10_0_4_load_8 | 11 | 0.014396 | 0.0036081 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1509-10_0_4_load_11 | 12 | 0.0041664 | 0.0010442 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1509-10_0_4_load_14 | 15 | 0.0074839 | 0.0018757 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1509-10_0_4_load_31 | 17 | 0.019517 | 0.0048914 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1509-10_0_4_load_12 | 18 | 0.0041484 | 0.0010397 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1509-10_0_4_load_30 | 20 | 0.0091945 | 0.0023044 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1509-10_0_4_load_64 | 21 | 0.019802 | 0.0049629 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1509-10_0_4_load_45 | 25 | 0.072192 | 0.018093 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1509-10_0_4_load_62 | 27 | 0.012839 | 0.0032178 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1509-10_0_4_load_36 | 31 | 0.0048838 | 0.001224 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1509-10_0_4_load_55 | 33 | 0.0092721 | 0.0023238 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1509-10_0_4_load_50 | 34 | 0.085307 | 0.02138 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1509-10_0_4_load_61 | 35 | 0.0073284 | 0.0018367 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1509-10_0_4_load_59 | 36 | 0.0088857 | 0.002227 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1509-10_0_4_load_57 | 37 | 0.017389 | 0.0043582 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1509-10_0_4_load_44 | 41 | 0.020245 | 0.0050739 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1509-10_0_4_load_60 | 43 | 0.011283 | 0.0028277 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1509-10_0_4_load_33 | 44 | 0.014685 | 0.0036804 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1509-10_0_4_load_65 | 46 | 0.025061 | 0.006281 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1509-10_0_4_load_54 | 50 | 0.0090474 | 0.0022675 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1509-10_0_4_load_41 | 51 | 0.0060803 | 0.0015239 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1509-10_0_4_load_40 | 52 | 0.0027678 | 0.00069368 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1509-10_0_4_load_51 | 53 | 0.0052142 | 0.0013068 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1509-10_0_4_load_42 | 54 | 0.017755 | 0.0044498 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1509-10_0_4_load_63 | 58 | 0.010812 | 0.0027099 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1509-10_0_4_line_0 |  | 0 | 1 | 0.012618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1509-10_0_4_line_1 |  | 0 | 2 | 0.027503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1509-10_0_4_line_2 |  | 1 | 3 | 0.029879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1509-10_0_4_line_3 |  | 1 | 4 | 0.025283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1509-10_0_4_line_4 |  | 2 | 5 | 0.016215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1509-10_0_4_line_5 |  | 3 | 6 | 0.025562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1509-10_0_4_line_6 |  | 3 | 7 | 0.0023896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1509-10_0_4_line_7 |  | 6 | 10 | 0.027336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1509-10_0_4_line_8 |  | 7 | 11 | 0.02125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1509-10_0_4_line_9 |  | 8 | 9 | 0.018324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1509-10_0_4_line_10 |  | 9 | 12 | 0.022282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1509-10_0_4_line_11 |  | 10 | 19 | 0.013949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1509-10_0_4_line_12 |  | 10 | 20 | 0.0042532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1509-10_0_4_line_13 |  | 11 | 13 | 0.0048498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1509-10_0_4_line_14 |  | 12 | 18 | 0.00010803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1509-10_0_4_line_15 |  | 13 | 14 | 0.005321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1509-10_0_4_line_16 |  | 13 | 15 | 0.042507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1509-10_0_4_line_17 |  | 14 | 16 | 0.011599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1509-10_0_4_line_18 |  | 14 | 17 | 0.021187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1509-10_0_4_line_19 |  | 15 | 18 | 0.00038679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1509-10_0_4_line_20 |  | 16 | 21 | 0.014383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1509-10_0_4_line_21 |  | 17 | 22 | 0.027588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_1509-10_0_4_line_22 |  | 19 | 43 | 0.013875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1509-10_0_4_line_23 |  | 19 | 36 | 0.032727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1509-10_0_4_line_24 |  | 22 | 44 | 0.016072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1509-10_0_4_line_25 |  | 22 | 45 | 0.028158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_1509-10_0_4_line_26 |  | 23 | 24 | 0.016943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_1509-10_0_4_line_27 |  | 23 | 25 | 0.021496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_1509-10_0_4_line_28 |  | 24 | 37 | 0.033566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_1509-10_0_4_line_29 |  | 25 | 40 | 0.023967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_1509-10_0_4_line_30 |  | 26 | 27 | 0.013349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1509-10_0_4_line_31 |  | 26 | 28 | 0.077951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1509-10_0_4_line_32 |  | 26 | 29 | 0.074794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1509-10_0_4_line_33 |  | 26 | 30 | 0.005303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1509-10_0_4_line_34 |  | 28 | 31 | 0.040021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1509-10_0_4_line_35 |  | 29 | 34 | 0.016701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1509-10_0_4_line_36 |  | 30 | 35 | 0.009001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1509-10_0_4_line_37 |  | 30 | 32 | 0.035777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1509-10_0_4_line_38 |  | 32 | 33 | 0.025303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1509-10_0_4_line_39 |  | 33 | 42 | 0.041447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1509-10_0_4_line_40 |  | 34 | 39 | 0.0032759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_1509-10_0_4_line_41 |  | 37 | 47 | 0.01649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_1509-10_0_4_line_42 |  | 38 | 39 | 0.037567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_1509-10_0_4_line_43 |  | 38 | 40 | 0.018729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_1509-10_0_4_line_44 |  | 38 | 41 | 0.017958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1509-10_0_4_line_45 |  | 41 | 55 | 0.0054703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1509-10_0_4_line_46 |  | 42 | 50 | 0.024113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1509-10_0_4_line_47 |  | 42 | 53 | 0.015353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1509-10_0_4_line_48 |  | 45 | 46 | 0.009613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1509-10_0_4_line_49 |  | 45 | 47 | 0.025485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_1509-10_0_4_line_50 |  | 48 | 49 | 0.10721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1509-10_0_4_line_51 |  | 48 | 50 | 0.048864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1509-10_0_4_line_52 |  | 49 | 51 | 0.023059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1509-10_0_4_line_53 |  | 49 | 52 | 0.0076349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1509-10_0_4_line_54 |  | 53 | 56 | 0.0057249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1509-10_0_4_line_55 |  | 54 | 55 | 0.018502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1509-10_0_4_line_56 |  | 56 | 57 | 0.002798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1509-10_0_4_line_57 |  | 57 | 58 | 0.024405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1509-10_0_4_trafo_45 | 0.63 MVA 20/0.4 kV | 59 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2670499.8419 | 1201743.9156 | 2670506.5195 | 1201754.6219
1 | 2670521.064 | 1201777.9645 | 2670512.3393 | 1201763.953 | 2670506.5195 | 1201754.6219
2 | 2670474.3412 | 1201759.6022 | 2670499.8419 | 1201743.9156
3 | 2670499.8419 | 1201743.9156 | 2670521.2265 | 1201730.428
4 | 2670521.064 | 1201777.9645 | 2670530.9873 | 1201771.6889 | 2670534.8631 | 1201769.4545
5 | 2670474.3412 | 1201759.6022 | 2670462.5698 | 1201736.9118
6 | 2670474.3412 | 1201759.6022 | 2670472.3203 | 1201760.8773
7 | 2670446.0588 | 1201716.2313 | 2670454.7087 | 1201721.7588 | 2670462.5698 | 1201736.9118
8 | 2670472.3203 | 1201760.8773 | 2670454.3484 | 1201772.2171
9 | 2670446.2731 | 1201821.9647 | 2670457.6584 | 1201814.9725 | 2670461.8416 | 1201812.3015
10 | 2670446.2731 | 1201821.9647 | 2670434.6657 | 1201802.9452
11 | 2670446.0588 | 1201716.2313 | 2670458.51 | 1201709.8742
12 | 2670446.0588 | 1201716.2313 | 2670442.5287 | 1201713.8589
13 | 2670450.2469 | 1201774.8051 | 2670454.3484 | 1201772.2171
14 | 2670434.6657 | 1201802.9452 | 2670434.6094 | 1201802.853
15 | 2670450.2469 | 1201774.8051 | 2670447.5686 | 1201770.2041
16 | 2670450.2469 | 1201774.8051 | 2670426.8364 | 1201790.1163 | 2670434.408 | 1201802.5229
17 | 2670440.6763 | 1201760.8616 | 2670447.5686 | 1201770.2041
18 | 2670447.5686 | 1201770.2041 | 2670429.2087 | 1201780.7778
19 | 2670434.6094 | 1201802.853 | 2670434.408 | 1201802.5229
20 | 2670447.2097 | 1201749.0092 | 2670445.6168 | 1201756.9286 | 2670440.6763 | 1201760.8616
21 | 2670404.7144 | 1201776.1916 | 2670406.49 | 1201779.2366 | 2670424.1109 | 1201783.7136 | 2670429.2087 | 1201780.7778
22 | 2670450.9752 | 1201698.2116 | 2670458.51 | 1201709.8742
23 | 2670458.51 | 1201709.8742 | 2670466.2595 | 1201705.9187 | 2670481.8963 | 1201706.3255 | 2670484.449 | 1201698.3397
24 | 2670393.6892 | 1201775.2279 | 2670395.1861 | 1201780.6154 | 2670404.7144 | 1201776.1916
25 | 2670390.9995 | 1201751.5818 | 2670403.1477 | 1201773.5049 | 2670404.7144 | 1201776.1916
26 | 2670379.6525 | 1201700.406 | 2670375.7818 | 1201702.6951 | 2670382.1602 | 1201710.4416 | 2670380.1503 | 1201711.7743
27 | 2670379.6525 | 1201700.406 | 2670373.7521 | 1201690.8418 | 2670372.6771 | 1201680.64
28 | 2670380.1503 | 1201711.7743 | 2670393.433 | 1201723.9937 | 2670403.7316 | 1201735.6011
29 | 2670358.0863 | 1201663.1739 | 2670371.2227 | 1201673.6015 | 2670372.5404 | 1201679.3427 | 2670372.6771 | 1201680.64
30 | 2670287.4237 | 1201554.91 | 2670295.6421 | 1201565.4464
31 | 2670295.6421 | 1201565.4464 | 2670310.3466 | 1201564.8968 | 2670315.1809 | 1201570.6461 | 2670318.7567 | 1201568.1977 | 2670323.3117 | 1201564.6937 | 2670317.128 | 1201553.9588 | 2670314.8093 | 1201550.485 | 2670298.6603 | 1201526.3026
32 | 2670295.6421 | 1201565.4464 | 2670310.3466 | 1201564.8968 | 2670315.1809 | 1201570.6461 | 2670318.7567 | 1201568.1977 | 2670339.592 | 1201596.449 | 2670344.9364 | 1201604.7614 | 2670346.6393 | 1201607.5275
33 | 2670295.6421 | 1201565.4464 | 2670291.2156 | 1201568.385
34 | 2670298.6603 | 1201526.3026 | 2670269.4305 | 1201498.9656
35 | 2670346.6393 | 1201607.5275 | 2670348.3943 | 1201610.3944 | 2670345.3842 | 1201615.8623 | 2670349.5612 | 1201621.6016
36 | 2670283.6975 | 1201573.3663 | 2670291.2156 | 1201568.385
37 | 2670283.8369 | 1201591.2788 | 2670297.5622 | 1201582.735 | 2670292.0665 | 1201576.9224 | 2670295.4351 | 1201574.6273 | 2670291.2156 | 1201568.385
38 | 2670283.8369 | 1201591.2788 | 2670261.6611 | 1201603.4648
39 | 2670224.741 | 1201622.2919 | 2670255.9274 | 1201606.6155 | 2670261.6611 | 1201603.4648
40 | 2670351.4888 | 1201624.2503 | 2670349.5612 | 1201621.6016
41 | 2670414.6759 | 1201747.9363 | 2670403.7316 | 1201735.6011
42 | 2670344.4591 | 1201650.4613 | 2670342.7947 | 1201648.3071 | 2670359.5183 | 1201635.296 | 2670351.4888 | 1201624.2503
43 | 2670358.0863 | 1201663.1739 | 2670348.2303 | 1201655.342 | 2670344.4591 | 1201650.4613
44 | 2670344.4591 | 1201650.4613 | 2670326.5756 | 1201652.0963
45 | 2670327.1204 | 1201657.5393 | 2670326.5756 | 1201652.0963
46 | 2670224.741 | 1201622.2919 | 2670218.0962 | 1201602.2127 | 2670216.6898 | 1201599.6055
47 | 2670224.741 | 1201622.2919 | 2670228.3022 | 1201637.2264
48 | 2670390.9995 | 1201751.5818 | 2670385.8479 | 1201750.1758 | 2670386.985 | 1201746.0423
49 | 2670414.6759 | 1201747.9363 | 2670410.4324 | 1201752.1444 | 2670401.1971 | 1201753.0139 | 2670390.9995 | 1201751.5818
50 | 2670185.8255 | 1201562.4873 | 2670190.361 | 1201554.8026 | 2670213.1268 | 1201515.3572 | 2670218.2715 | 1201518.6641 | 2670245.4028 | 1201556.5837
51 | 2670185.8255 | 1201562.4873 | 2670194.2223 | 1201568.2117 | 2670212.3081 | 1201591.4827 | 2670216.6898 | 1201599.6055
52 | 2670245.4028 | 1201556.5837 | 2670259.1927 | 1201549.0301 | 2670256.059 | 1201542.3558
53 | 2670245.4028 | 1201556.5837 | 2670250.0341 | 1201562.6535
54 | 2670229.6302 | 1201642.7951 | 2670228.3022 | 1201637.2264
55 | 2670327.1204 | 1201657.5393 | 2670328.9578 | 1201675.9499
56 | 2670229.6302 | 1201642.7951 | 2670229.3995 | 1201645.583
57 | 2670229.3995 | 1201645.583 | 2670235.2531 | 1201648.7871 | 2670239.3444 | 1201656.8734 | 2670238.8689 | 1201662.36 | 2670238.4512 | 1201665.5126

## bus_geodata
| x | y | coords
0 | 2670506.5195 | 1201754.6219
1 | 2670499.8419 | 1201743.9156
2 | 2670521.064 | 1201777.9645
3 | 2670474.3412 | 1201759.6022
4 | 2670521.2265 | 1201730.428
5 | 2670534.8631 | 1201769.4545
6 | 2670462.5698 | 1201736.9118
7 | 2670472.3203 | 1201760.8773
8 | 2670461.8416 | 1201812.3015
9 | 2670446.2731 | 1201821.9647
10 | 2670446.0588 | 1201716.2313
11 | 2670454.3484 | 1201772.2171
12 | 2670434.6657 | 1201802.9452
13 | 2670450.2469 | 1201774.8051
14 | 2670447.5686 | 1201770.2041
15 | 2670434.408 | 1201802.5229
16 | 2670440.6763 | 1201760.8616
17 | 2670429.2087 | 1201780.7778
18 | 2670434.6094 | 1201802.853
19 | 2670458.51 | 1201709.8742
20 | 2670442.5287 | 1201713.8589
21 | 2670447.2097 | 1201749.0092
22 | 2670404.7144 | 1201776.1916
23 | 2670379.6525 | 1201700.406
24 | 2670380.1503 | 1201711.7743
25 | 2670372.6771 | 1201680.64
26 | 2670295.6421 | 1201565.4464
27 | 2670287.4237 | 1201554.91
28 | 2670298.6603 | 1201526.3026
29 | 2670346.6393 | 1201607.5275
30 | 2670291.2156 | 1201568.385
31 | 2670269.4305 | 1201498.9656
32 | 2670283.8369 | 1201591.2788
33 | 2670261.6611 | 1201603.4648
34 | 2670349.5612 | 1201621.6016
35 | 2670283.6975 | 1201573.3663
36 | 2670484.449 | 1201698.3397
37 | 2670403.7316 | 1201735.6011
38 | 2670344.4591 | 1201650.4613
39 | 2670351.4888 | 1201624.2503
40 | 2670358.0863 | 1201663.1739
41 | 2670326.5756 | 1201652.0963
42 | 2670224.741 | 1201622.2919
43 | 2670450.9752 | 1201698.2116
44 | 2670393.6892 | 1201775.2279
45 | 2670390.9995 | 1201751.5818
46 | 2670386.985 | 1201746.0423
47 | 2670414.6759 | 1201747.9363
48 | 2670185.8255 | 1201562.4873
49 | 2670245.4028 | 1201556.5837
50 | 2670216.6898 | 1201599.6055
51 | 2670256.059 | 1201542.3558
52 | 2670250.0341 | 1201562.6535
53 | 2670228.3022 | 1201637.2264
54 | 2670328.9578 | 1201675.9499
55 | 2670327.1204 | 1201657.5393
56 | 2670229.6302 | 1201642.7951
57 | 2670229.3995 | 1201645.583
58 | 2670238.4512 | 1201665.5126
59 | 2670379.6525 | 1201700.406

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9782 | -0.41975 | 0.004684 | 0.0011739
1 | 0.97829 | -0.41792 | 0 | 0
2 | 0.97811 | -0.42141 | 0 | 0
3 | 0.97896 | -0.40488 | 0 | 0
4 | 0.97792 | -0.42528 | 0.015981 | 0.0040052
5 | 0.97806 | -0.42239 | 0.0033125 | 0.00083019
6 | 0.97781 | -0.42737 | 0.018958 | 0.0047513
7 | 0.97912 | -0.40173 | 0.014387 | 0.0036058
8 | 0.9804 | -0.37658 | 0.0032533 | 0.00081535
9 | 0.98046 | -0.3755 | 0 | 0
10 | 0.97706 | -0.44201 | 0 | 0
11 | 0.98082 | -0.3683 | 0.014396 | 0.0036081
12 | 0.98053 | -0.37419 | 0.0041664 | 0.0010442
13 | 0.98128 | -0.35942 | 0 | 0
14 | 0.98187 | -0.34786 | 0 | 0
15 | 0.98053 | -0.37409 | 0.0074839 | 0.0018757
16 | 0.98166 | -0.35201 | 0 | 0
17 | 0.98462 | -0.2944 | 0.019517 | 0.0048914
18 | 0.98053 | -0.37417 | 0.0041484 | 0.0010397
19 | 0.9768 | -0.44715 | 0 | 0
20 | 0.97703 | -0.44273 | 0.0091945 | 0.0023044
21 | 0.9814 | -0.35716 | 0.019802 | 0.0049629
22 | 0.98666 | -0.25493 | 0 | 0
23 | 0.99785 | -0.040666 | 0 | 0
24 | 0.99615 | -0.072842 | 0 | 0
25 | 1 | 0 | -0.41503 | -0.10562
26 | 0.98763 | -0.23774 | 0 | 0
27 | 0.98747 | -0.24081 | 0.012839 | 0.0032178
28 | 0.98728 | -0.24455 | 0 | 0
29 | 0.99233 | -0.14694 | 0 | 0
30 | 0.98738 | -0.24253 | 0 | 0
31 | 0.9871 | -0.24805 | 0.0048838 | 0.001224
32 | 0.98596 | -0.27021 | 0 | 0
33 | 0.98495 | -0.28983 | 0.0092721 | 0.0023238
34 | 0.99338 | -0.12678 | 0.085307 | 0.02138
35 | 0.98732 | -0.24371 | 0.0073284 | 0.0018367
36 | 0.97653 | -0.45246 | 0.0088857 | 0.002227
37 | 0.99279 | -0.13691 | 0.017389 | 0.0043582
38 | 0.99626 | -0.071551 | 0 | 0
39 | 0.99361 | -0.12234 | 0 | 0
40 | 0.9979 | -0.040099 | 0 | 0
41 | 0.99563 | -0.083543 | 0.020245 | 0.0050739
42 | 0.98365 | -0.31513 | 0 | 0
43 | 0.97666 | -0.45001 | 0.011283 | 0.0028277
44 | 0.98644 | -0.25916 | 0.014685 | 0.0036804
45 | 0.98892 | -0.21114 | 0 | 0
46 | 0.9887 | -0.21543 | 0.025061 | 0.006281
47 | 0.99127 | -0.166 | 0 | 0
48 | 0.98285 | -0.33071 | 0 | 0
49 | 0.98198 | -0.34785 | 0 | 0
50 | 0.98325 | -0.32291 | 0.0090474 | 0.0022675
51 | 0.98185 | -0.35038 | 0.0060803 | 0.0015239
52 | 0.98196 | -0.34823 | 0.0027678 | 0.00069368
53 | 0.98343 | -0.31956 | 0.0052142 | 0.0013068
54 | 0.99525 | -0.091029 | 0.017755 | 0.0044498
55 | 0.99555 | -0.08525 | 0 | 0
56 | 0.98337 | -0.32068 | 0 | 0
57 | 0.98334 | -0.32122 | 0 | 0
58 | 0.9831 | -0.32598 | 0.010812 | 0.0027099
59 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0079969 | -0.0020038 | 0.0079976 | 0.0020041 | 7.0018e-07 | 2.897e-07 | 0.012165 | 0.012165 | 0.012165 | 0.9782 | -0.41975 | 0.97829 | -0.41792 | 3.3419
1 | 0.0033129 | 0.00082991 | -0.0033127 | -0.00083009 | 2.6193e-07 | -1.7759e-07 | 0.0050394 | 0.0050395 | 0.0050395 | 0.9782 | -0.41975 | 0.97811 | -0.42141 | 1.3845
2 | -0.023984 | -0.0060126 | 0.023999 | 0.0060218 | 1.4912e-05 | 9.1683e-06 | 0.036481 | 0.036481 | 0.036481 | 0.97829 | -0.41792 | 0.97896 | -0.40488 | 10.0224
3 | 0.015987 | 0.0040085 | -0.015981 | -0.0040052 | 5.6063e-06 | 3.2707e-06 | 0.024317 | 0.024317 | 0.024317 | 0.97829 | -0.41792 | 0.97792 | -0.42528 | 6.6805
4 | 0.0033127 | 0.00083009 | -0.0033125 | -0.00083019 | 1.5443e-07 | -1.0467e-07 | 0.0050395 | 0.0050396 | 0.0050396 | 0.97811 | -0.42141 | 0.97806 | -0.42239 | 1.3845
5 | 0.048402 | 0.012161 | -0.04835 | -0.012128 | 5.1901e-05 | 3.2895e-05 | 0.073582 | 0.073582 | 0.073582 | 0.97896 | -0.40488 | 0.97781 | -0.42737 | 20.2149
6 | -0.072401 | -0.018183 | 0.072412 | 0.01819 | 1.0855e-05 | 6.9173e-06 | 0.11006 | 0.11006 | 0.11006 | 0.97896 | -0.40488 | 0.97912 | -0.40173 | 30.2372
7 | 0.029392 | 0.0073768 | -0.029372 | -0.007364 | 2.0512e-05 | 1.2785e-05 | 0.044733 | 0.044733 | 0.044733 | 0.97781 | -0.42737 | 0.97706 | -0.44201 | 12.2892
8 | -0.086799 | -0.021795 | 0.086938 | 0.021884 | 0.0001387 | 8.85e-05 | 0.13193 | 0.13193 | 0.13193 | 0.97912 | -0.40173 | 0.98082 | -0.3683 | 36.2441
9 | -0.0032533 | -0.00081535 | 0.0032535 | 0.00081523 | 1.6753e-07 | -1.2386e-07 | 0.0049377 | 0.0049376 | 0.0049377 | 0.9804 | -0.37658 | 0.98046 | -0.3755 | 1.3565
10 | -0.0032535 | -0.00081523 | 0.0032537 | 0.00081508 | 2.0371e-07 | -1.5065e-07 | 0.0049376 | 0.0049375 | 0.0049376 | 0.98046 | -0.3755 | 0.98053 | -0.37419 | 1.3565
11 | 0.020177 | 0.0050595 | -0.020172 | -0.0050565 | 4.9395e-06 | 2.9866e-06 | 0.030729 | 0.030729 | 0.030729 | 0.97706 | -0.44201 | 0.9768 | -0.44715 | 8.4422
12 | 0.0091949 | 0.0023045 | -0.0091945 | -0.0023044 | 3.1276e-07 | 1.469e-07 | 0.014003 | 0.014003 | 0.014003 | 0.97706 | -0.44201 | 0.97703 | -0.44273 | 3.8471
13 | -0.10133 | -0.025492 | 0.10138 | 0.025519 | 4.3003e-05 | 2.746e-05 | 0.15377 | 0.15377 | 0.15377 | 0.98082 | -0.3683 | 0.98128 | -0.35942 | 42.2443
14 | -0.0074201 | -0.0018593 | 0.0074201 | 0.0018593 | 5.135e-09 | 1.9248e-09 | 0.01126 | 0.01126 | 0.01126 | 0.98053 | -0.37419 | 0.98053 | -0.37417 | 3.0935
15 | -0.12044 | -0.030302 | 0.12051 | 0.030345 | 6.6591e-05 | 4.2551e-05 | 0.18268 | 0.18268 | 0.18268 | 0.98128 | -0.35942 | 0.98187 | -0.34786 | 50.1874
16 | 0.019066 | 0.0047826 | -0.019052 | -0.0047746 | 1.3326e-05 | 7.9918e-06 | 0.028913 | 0.028913 | 0.028913 | 0.98128 | -0.35942 | 0.98053 | -0.37409 | 7.9432
17 | 0.019811 | 0.0049682 | -0.019807 | -0.0049658 | 3.921e-06 | 2.3628e-06 | 0.030024 | 0.030024 | 0.030024 | 0.98187 | -0.34786 | 0.98166 | -0.35201 | 8.2485
18 | -0.14032 | -0.035313 | 0.14068 | 0.035543 | 0.00035947 | 0.00022979 | 0.21271 | 0.21271 | 0.21271 | 0.98187 | -0.34786 | 0.98462 | -0.2944 | 58.4359
19 | 0.011569 | 0.002899 | -0.011568 | -0.002899 | 4.4704e-08 | 2.3732e-08 | 0.017556 | 0.017556 | 0.017556 | 0.98053 | -0.37409 | 0.98053 | -0.37417 | 4.823
20 | 0.019807 | 0.0049658 | -0.019802 | -0.0049629 | 4.8622e-06 | 2.93e-06 | 0.030024 | 0.030025 | 0.030025 | 0.98166 | -0.35201 | 0.9814 | -0.35716 | 8.2485
21 | -0.1602 | -0.040434 | 0.1605 | 0.040627 | 0.00030344 | 0.0001935 | 0.2422 | 0.2422 | 0.2422 | 0.98462 | -0.2944 | 0.98666 | -0.25493 | 33.2694
22 | 0.011284 | 0.0028285 | -0.011283 | -0.0028277 | 1.5375e-06 | 8.1033e-07 | 0.01719 | 0.01719 | 0.01719 | 0.9768 | -0.44715 | 0.97666 | -0.45001 | 4.7225
23 | 0.0088879 | 0.002228 | -0.0088857 | -0.002227 | 2.2498e-06 | 1.0303e-06 | 0.01354 | 0.01354 | 0.01354 | 0.9768 | -0.44715 | 0.97653 | -0.45246 | 3.7197
24 | 0.014688 | 0.003682 | -0.014685 | -0.0036804 | 2.9574e-06 | 1.6875e-06 | 0.022152 | 0.022152 | 0.022152 | 0.98666 | -0.25493 | 0.98644 | -0.25916 | 6.0856
25 | -0.17519 | -0.04431 | 0.17556 | 0.044545 | 0.00036895 | 0.00023541 | 0.26435 | 0.26435 | 0.26435 | 0.98666 | -0.25493 | 0.98892 | -0.21114 | 36.3122
26 | 0.21975 | 0.056297 | -0.21941 | -0.056079 | 0.00034205 | 0.00021847 | 0.32813 | 0.32813 | 0.32813 | 0.99785 | -0.040666 | 0.99615 | -0.072842 | 45.0731
27 | -0.21975 | -0.056297 | 0.22018 | 0.056574 | 0.00043397 | 0.00027718 | 0.32813 | 0.32813 | 0.32813 | 0.99785 | -0.040666 | 1 | 0 | 45.0731
28 | 0.21941 | 0.056079 | -0.21873 | -0.055646 | 0.00067764 | 0.00043282 | 0.32813 | 0.32813 | 0.32813 | 0.99615 | -0.072842 | 0.99279 | -0.13691 | 45.0732
29 | 0.1932 | 0.049049 | -0.19283 | -0.048812 | 0.00037197 | 0.00023743 | 0.2877 | 0.2877 | 0.2877 | 1 | 0 | 0.9979 | -0.040099 | 39.5196
30 | 0.012841 | 0.0032189 | -0.012839 | -0.0032178 | 1.8738e-06 | 1.0284e-06 | 0.019347 | 0.019347 | 0.019347 | 0.98763 | -0.23774 | 0.98747 | -0.24081 | 5.3152
31 | 0.0048862 | 0.001224 | -0.0048846 | -0.001224 | 1.5842e-06 | 1.6753e-08 | 0.0073616 | 0.007362 | 0.007362 | 0.98763 | -0.23774 | 0.98728 | -0.24455 | 2.0225
32 | -0.068426 | -0.017213 | 0.068724 | 0.017403 | 0.00029823 | 0.00018991 | 0.10312 | 0.10312 | 0.10312 | 0.98763 | -0.23774 | 0.99233 | -0.14694 | 28.3287
33 | 0.050698 | 0.01277 | -0.050687 | -0.012762 | 1.161e-05 | 7.3624e-06 | 0.076407 | 0.076408 | 0.076408 | 0.98763 | -0.23774 | 0.98738 | -0.24253 | 20.9911
34 | 0.0048846 | 0.001224 | -0.0048838 | -0.001224 | 8.1343e-07 | 8.9134e-09 | 0.007362 | 0.0073622 | 0.0073622 | 0.98728 | -0.24455 | 0.9871 | -0.24805 | 2.0226
35 | -0.068724 | -0.017403 | 0.068791 | 0.017445 | 6.6594e-05 | 4.2404e-05 | 0.10312 | 0.10312 | 0.10312 | 0.99233 | -0.14694 | 0.99338 | -0.12678 | 28.3286
36 | 0.0073288 | 0.0018368 | -0.0073284 | -0.0018367 | 4.1176e-07 | 1.484e-07 | 0.011045 | 0.011045 | 0.011045 | 0.98738 | -0.24253 | 0.98732 | -0.24371 | 3.0343
37 | 0.043358 | 0.010926 | -0.043301 | -0.010889 | 5.7319e-05 | 3.6227e-05 | 0.065363 | 0.065363 | 0.065363 | 0.98738 | -0.24253 | 0.98596 | -0.27021 | 17.9568
38 | 0.043301 | 0.010889 | -0.04326 | -0.010864 | 4.0539e-05 | 2.5623e-05 | 0.065363 | 0.065363 | 0.065363 | 0.98596 | -0.27021 | 0.98495 | -0.28983 | 17.9569
39 | 0.033988 | 0.0085399 | -0.033947 | -0.0085142 | 4.0992e-05 | 2.5708e-05 | 0.051355 | 0.051355 | 0.051355 | 0.98495 | -0.28983 | 0.98365 | -0.31513 | 14.1086
40 | -0.1541 | -0.038825 | 0.15413 | 0.038846 | 3.2748e-05 | 2.0874e-05 | 0.2309 | 0.2309 | 0.2309 | 0.99338 | -0.12678 | 0.99361 | -0.12234 | 31.7171
41 | 0.20134 | 0.051288 | -0.20106 | -0.051107 | 0.00028213 | 0.00018014 | 0.30207 | 0.30207 | 0.30207 | 0.99279 | -0.13691 | 0.99127 | -0.166 | 41.4931
42 | 0.15451 | 0.039085 | -0.15413 | -0.038846 | 0.00037554 | 0.00023937 | 0.2309 | 0.2309 | 0.2309 | 0.99626 | -0.071551 | 0.99361 | -0.12234 | 31.7171
43 | -0.19253 | -0.048626 | 0.19283 | 0.048812 | 0.00029067 | 0.00018554 | 0.2877 | 0.2877 | 0.2877 | 0.99626 | -0.071551 | 0.9979 | -0.040099 | 39.5197
44 | 0.038028 | 0.0095412 | -0.038007 | -0.0095275 | 2.1729e-05 | 1.3673e-05 | 0.056803 | 0.056803 | 0.056803 | 0.99626 | -0.071551 | 0.99563 | -0.083543 | 15.6053
45 | 0.017761 | 0.0044536 | -0.01776 | -0.0044527 | 1.4455e-06 | 8.5401e-07 | 0.026546 | 0.026546 | 0.026546 | 0.99563 | -0.083543 | 0.99555 | -0.08525 | 7.2928
46 | 0.017914 | 0.0044939 | -0.017907 | -0.0044899 | 6.6408e-06 | 3.9441e-06 | 0.0271 | 0.0271 | 0.0271 | 0.98365 | -0.31513 | 0.98325 | -0.32291 | 7.4451
47 | 0.016033 | 0.0040203 | -0.01603 | -0.0040184 | 3.3872e-06 | 1.973e-06 | 0.024255 | 0.024255 | 0.024255 | 0.98365 | -0.31513 | 0.98343 | -0.31956 | 6.6635
48 | 0.025066 | 0.0062841 | -0.025061 | -0.006281 | 5.1284e-06 | 3.1589e-06 | 0.037718 | 0.037718 | 0.037718 | 0.98892 | -0.21114 | 0.9887 | -0.21543 | 10.362
49 | -0.20062 | -0.050829 | 0.20106 | 0.051107 | 0.00043601 | 0.00027839 | 0.30207 | 0.30207 | 0.30207 | 0.98892 | -0.21114 | 0.99127 | -0.166 | 41.4931
50 | 0.0088562 | 0.0022209 | -0.0088489 | -0.0022177 | 7.2283e-06 | 3.2687e-06 | 0.013408 | 0.013409 | 0.013409 | 0.98285 | -0.33071 | 0.98198 | -0.34785 | 3.6838
51 | -0.0088562 | -0.0022209 | 0.0088595 | 0.0022224 | 3.2944e-06 | 1.4889e-06 | 0.013408 | 0.013408 | 0.013408 | 0.98285 | -0.33071 | 0.98325 | -0.32291 | 3.6837
52 | 0.0060811 | 0.001524 | -0.0060803 | -0.0015239 | 7.3425e-07 | 1.7825e-07 | 0.0092148 | 0.0092149 | 0.0092149 | 0.98198 | -0.34785 | 0.98185 | -0.35038 | 2.5316
53 | 0.0027679 | 0.00069362 | -0.0027678 | -0.00069368 | 5.0366e-08 | -6.4351e-08 | 0.0041942 | 0.0041942 | 0.0041942 | 0.98198 | -0.34785 | 0.98196 | -0.34823 | 1.1523
54 | 0.010816 | 0.0027116 | -0.010815 | -0.0027113 | 5.7499e-07 | 2.9536e-07 | 0.016366 | 0.016366 | 0.016366 | 0.98343 | -0.31956 | 0.98337 | -0.32068 | 4.496
55 | -0.017755 | -0.0044498 | 0.01776 | 0.0044527 | 4.8893e-06 | 2.8886e-06 | 0.026546 | 0.026546 | 0.026546 | 0.99525 | -0.091029 | 0.99555 | -0.08525 | 7.2928
56 | 0.010815 | 0.0027113 | -0.010815 | -0.0027111 | 2.8102e-07 | 1.4436e-07 | 0.016366 | 0.016366 | 0.016366 | 0.98337 | -0.32068 | 0.98334 | -0.32122 | 4.4961
57 | 0.010815 | 0.0027111 | -0.010812 | -0.0027099 | 2.4512e-06 | 1.2592e-06 | 0.016366 | 0.016366 | 0.016366 | 0.98334 | -0.32122 | 0.9831 | -0.32598 | 4.4961

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.48722 | 0.12372

## res_load
| p_mw | q_mvar
0 | 0.004684 | 0.0011739
1 | 0.015981 | 0.0040052
2 | 0.0033125 | 0.00083019
3 | 0.018958 | 0.0047513
4 | 0.014387 | 0.0036058
5 | 0.0032533 | 0.00081535
6 | 0.014396 | 0.0036081
7 | 0.0041664 | 0.0010442
8 | 0.0074839 | 0.0018757
9 | 0.019517 | 0.0048914
10 | 0.0041484 | 0.0010397
11 | 0.0091945 | 0.0023044
12 | 0.019802 | 0.0049629
13 | 0.072192 | 0.018093
14 | 0.012839 | 0.0032178
15 | 0.0048838 | 0.001224
16 | 0.0092721 | 0.0023238
17 | 0.085307 | 0.02138
18 | 0.0073284 | 0.0018367
19 | 0.0088857 | 0.002227
20 | 0.017389 | 0.0043582
21 | 0.020245 | 0.0050739
22 | 0.011283 | 0.0028277
23 | 0.014685 | 0.0036804
24 | 0.025061 | 0.006281
25 | 0.0090474 | 0.0022675
26 | 0.0060803 | 0.0015239
27 | 0.0027678 | 0.00069368
28 | 0.0052142 | 0.0013068
29 | 0.017755 | 0.0044498
30 | 0.010812 | 0.0027099

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1