## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1509-14_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1509-14_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1509-14_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1509-14_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1509-14_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1509-14_0_5_node_58 | 0.4 | n |  | TRUE
6 | bus_LV_1509-14_0_5_node_56 | 0.4 | n |  | TRUE
7 | bus_LV_1509-14_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1509-14_0_5_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_1509-14_0_5_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_1509-14_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1509-14_0_5_node_80 | 0.4 | n |  | TRUE
12 | bus_LV_1509-14_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1509-14_0_5_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_1509-14_0_5_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1509-14_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1509-14_0_5_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_1509-14_0_5_node_63 | 0.4 | n |  | TRUE
18 | bus_LV_1509-14_0_5_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_1509-14_0_5_node_57 | 0.4 | n |  | TRUE
20 | bus_LV_1509-14_0_5_node_75 | 0.4 | n |  | TRUE
21 | bus_LV_1509-14_0_5_node_60 | 0.4 | n |  | TRUE
22 | bus_LV_1509-14_0_5_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_1509-14_0_5_node_79 | 0.4 | n |  | TRUE
24 | bus_LV_1509-14_0_5_node_76 | 0.4 | n |  | TRUE
25 | bus_LV_1509-14_0_5_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_1509-14_0_5_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_1509-14_0_5_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_1509-14_0_5_node_69 | 0.4 | n |  | TRUE
29 | bus_LV_1509-14_0_5_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_1509-14_0_5_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1509-14_0_5_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_1509-14_0_5_node_77 | 0.4 | n |  | TRUE
33 | bus_LV_1509-14_0_5_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_1509-14_0_5_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_1509-14_0_5_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_1509-14_0_5_node_51 | 0.4 | n |  | TRUE
37 | bus_LV_1509-14_0_5_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_1509-14_0_5_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_1509-14_0_5_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_1509-14_0_5_node_67 | 0.4 | n |  | TRUE
41 | bus_LV_1509-14_0_5_node_78 | 0.4 | n |  | TRUE
42 | bus_LV_1509-14_0_5_node_71 | 0.4 | n |  | TRUE
43 | bus_LV_1509-14_0_5_node_70 | 0.4 | n |  | TRUE
44 | bus_LV_1509-14_0_5_node_74 | 0.4 | n |  | TRUE
45 | bus_LV_1509-14_0_5_node_73 | 0.4 | n |  | TRUE
46 | bus_LV_1509-14_0_5_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_1509-14_0_5_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_1509-14_0_5_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_1509-14_0_5_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_1509-14_0_5_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_1509-14_0_5_node_68 | 0.4 | n |  | TRUE
52 | bus_LV_1509-14_0_5_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_1509-14_0_5_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_1509-14_0_5_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_1509-14_0_5_node_27 | 0.4 | n |  | TRUE
56 | bus_LV_1509-14_0_5_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_1509-14_0_5_node_31 | 0.4 | n |  | TRUE
58 | bus_LV_1509-14_0_5_node_28 | 0.4 | n |  | TRUE
59 | bus_LV_1509-14_0_5_node_29 | 0.4 | n |  | TRUE
60 | bus_LV_1509-14_0_5_node_30 | 0.4 | n |  | TRUE
61 | bus_LV_1509-14_0_5_node_32 | 0.4 | n |  | TRUE
62 | bus_LV_1509-14_0_5_node_72 | 0.4 | n |  | TRUE
63 | bus_LV_1509-14_0_5_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_1509-14_0_5_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_1509-14_0_5_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_1509-14_0_5_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_1509-14_0_5_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_1509-14_0_5_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_1509-14_0_5_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_1509-14_0_5_node_64 | 0.4 | n |  | TRUE
71 | bus_MV_142_1_node_291 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1509-14_0_5_load_0 | 0 | 0.0067596 | 0.0016941 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1509-14_0_5_load_1 | 1 | 0.0056273 | 0.0014103 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1509-14_0_5_load_4 | 4 | 0.0089543 | 0.0022442 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1509-14_0_5_load_58 | 5 | 0.0026404 | 0.00066175 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1509-14_0_5_load_56 | 6 | 0.0024503 | 0.0006141 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1509-14_0_5_load_11 | 8 | 0.010547 | 0.0026434 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1509-14_0_5_load_25 | 9 | 0.012426 | 0.0031143 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1509-14_0_5_load_80 | 11 | 0.0025623 | 0.00064217 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1509-14_0_5_load_10 | 15 | 0.017204 | 0.0043118 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1509-14_0_5_load_63 | 17 | 0.009396 | 0.0023549 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1509-14_0_5_load_57 | 19 | 0.004562 | 0.0011433 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1509-14_0_5_load_75 | 20 | 0.0089963 | 0.0022547 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1509-14_0_5_load_60 | 21 | 0.0028639 | 0.00071775 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1509-14_0_5_load_26 | 22 | 0.011157 | 0.0027961 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1509-14_0_5_load_79 | 23 | 0.0025652 | 0.0006429 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1509-14_0_5_load_76 | 24 | 0.0043592 | 0.0010925 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1509-14_0_5_load_69 | 28 | 0.0015234 | 0.00038179 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1509-14_0_5_load_47 | 31 | 0.0075011 | 0.00188 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1509-14_0_5_load_77 | 32 | 0.020373 | 0.005106 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1509-14_0_5_load_50 | 37 | 0.072892 | 0.018268 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1509-14_0_5_load_43 | 38 | 0.0042844 | 0.0010738 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1509-14_0_5_load_46 | 39 | 0.0091881 | 0.0023027 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1509-14_0_5_load_67 | 40 | 0.0015829 | 0.00039671 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1509-14_0_5_load_78 | 41 | 0.063276 | 0.015858 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1509-14_0_5_load_71 | 42 | 0.010355 | 0.0025952 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1509-14_0_5_load_73 | 45 | 0.017559 | 0.0044008 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1509-14_0_5_load_49 | 46 | 0.0082412 | 0.0020654 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1509-14_0_5_load_48 | 47 | 0.0059122 | 0.0014817 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1509-14_0_5_load_42 | 49 | 0.0022216 | 0.00055678 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1509-14_0_5_load_45 | 50 | 0.012192 | 0.0030556 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1509-14_0_5_load_68 | 51 | 0.015501 | 0.0038848 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1509-14_0_5_load_39 | 54 | 0.036155 | 0.0090613 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1509-14_0_5_load_27 | 55 | 0.0088484 | 0.0022176 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1509-14_0_5_load_33 | 56 | 0.0015839 | 0.00039697 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1509-14_0_5_load_31 | 57 | 0.0015237 | 0.00038188 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1509-14_0_5_load_28 | 58 | 0.0018877 | 0.00047311 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1509-14_0_5_load_29 | 59 | 0.0063822 | 0.0015995 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1509-14_0_5_load_30 | 60 | 0.0015234 | 0.00038179 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1509-14_0_5_load_32 | 61 | 0.0017152 | 0.00042987 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1509-14_0_5_load_72 | 62 | 0.0015868 | 0.00039768 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1509-14_0_5_load_44 | 64 | 0.0060617 | 0.0015192 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1509-14_0_5_load_52 | 65 | 0.048548 | 0.012167 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1509-14_0_5_load_59 | 66 | 0.0019221 | 0.00048172 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1509-14_0_5_load_61 | 67 | 0.0018884 | 0.00047327 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1509-14_0_5_load_66 | 68 | 0.00152 | 0.00038096 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1509-14_0_5_load_65 | 69 | 0.0036707 | 0.00091996 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1509-14_0_5_load_64 | 70 | 0.001584 | 0.00039698 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1509-14_0_5_line_0 |  | 0 | 1 | 0.027435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1509-14_0_5_line_1 |  | 0 | 2 | 0.0074855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1509-14_0_5_line_2 |  | 1 | 3 | 0.01695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1509-14_0_5_line_3 |  | 2 | 4 | 0.008959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1509-14_0_5_line_4 |  | 3 | 5 | 0.00097381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_1509-14_0_5_line_5 |  | 3 | 6 | 0.017559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_1509-14_0_5_line_6 |  | 5 | 21 | 0.017618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_1509-14_0_5_line_7 |  | 6 | 19 | 0.021086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_1509-14_0_5_line_8 |  | 7 | 8 | 0.021462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1509-14_0_5_line_9 |  | 7 | 9 | 0.018117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1509-14_0_5_line_10 |  | 8 | 15 | 0.021401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1509-14_0_5_line_11 |  | 9 | 22 | 0.023451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1509-14_0_5_line_12 |  | 10 | 11 | 0.007592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1509-14_0_5_line_13 |  | 10 | 12 | 0.041686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1509-14_0_5_line_14 |  | 10 | 13 | 0.008343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1509-14_0_5_line_15 |  | 12 | 14 | 0.15 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1509-14_0_5_line_16 |  | 12 | 15 | 0.031525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1509-14_0_5_line_17 |  | 13 | 23 | 0.007424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1509-14_0_5_line_18 |  | 14 | 24 | 0.012347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1509-14_0_5_line_19 |  | 16 | 17 | 0.011604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_1509-14_0_5_line_20 |  | 16 | 18 | 0.029535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1509-14_0_5_line_21 |  | 16 | 19 | 0.029114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_1509-14_0_5_line_22 |  | 17 | 42 | 0.025497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_1509-14_0_5_line_23 |  | 18 | 20 | 0.058669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1509-14_0_5_line_24 |  | 20 | 44 | 0.060253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1509-14_0_5_line_25 |  | 21 | 66 | 0.022183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_1509-14_0_5_line_26 |  | 22 | 55 | 0.051329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_1509-14_0_5_line_27 |  | 25 | 26 | 0.070812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1509-14_0_5_line_28 |  | 25 | 27 | 0.078813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_1509-14_0_5_line_29 |  | 25 | 28 | 0.13603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_1509-14_0_5_line_30 |  | 26 | 41 | 0.021836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1509-14_0_5_line_31 |  | 27 | 32 | 0.024912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_1509-14_0_5_line_32 |  | 27 | 33 | 0.079022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1509-14_0_5_line_33 |  | 27 | 29 | 0.099309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_1509-14_0_5_line_34 |  | 28 | 43 | 0.25406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_1509-14_0_5_line_35 |  | 29 | 30 | 0.049198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1509-14_0_5_line_36 |  | 29 | 31 | 0.030184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_1509-14_0_5_line_37 |  | 30 | 38 | 0.019822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1509-14_0_5_line_38 |  | 30 | 39 | 0.047059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1509-14_0_5_line_39 |  | 31 | 34 | 0.081772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_1509-14_0_5_line_40 |  | 33 | 40 | 0.022196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1509-14_0_5_line_41 |  | 34 | 35 | 0.17083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_1509-14_0_5_line_42 |  | 35 | 36 | 0.03341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1509-14_0_5_line_43 |  | 35 | 37 | 0.046693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1509-14_0_5_line_44 |  | 36 | 48 | 0.017244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1509-14_0_5_line_45 |  | 38 | 49 | 0.0141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1509-14_0_5_line_46 |  | 39 | 50 | 0.056528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1509-14_0_5_line_47 |  | 40 | 51 | 0.019817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1509-14_0_5_line_48 |  | 42 | 43 | 0.034518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_1509-14_0_5_line_49 |  | 44 | 45 | 0.073799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1509-14_0_5_line_50 |  | 46 | 47 | 0.00091805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1509-14_0_5_line_51 |  | 47 | 64 | 0.0012454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1509-14_0_5_line_52 |  | 48 | 65 | 0.066343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1509-14_0_5_line_53 |  | 49 | 53 | 0.06015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1509-14_0_5_line_54 |  | 52 | 53 | 0.025331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1509-14_0_5_line_55 |  | 52 | 54 | 0.051804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1509-14_0_5_line_56 |  | 53 | 64 | 0.027411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1509-14_0_5_line_57 |  | 55 | 56 | 0.012166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_1509-14_0_5_line_58 |  | 56 | 57 | 0.020057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_1509-14_0_5_line_59 |  | 57 | 59 | 0.0031611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_1509-14_0_5_line_60 |  | 58 | 59 | 0.0096907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_1509-14_0_5_line_61 |  | 58 | 60 | 0.015975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_1509-14_0_5_line_62 |  | 60 | 61 | 0.00099892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_1509-14_0_5_line_63 |  | 61 | 62 | 0.017715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_1509-14_0_5_line_64 |  | 62 | 63 | 0.0086103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_1509-14_0_5_line_65 |  | 63 | 68 | 0.0027821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1509-14_0_5_line_66 |  | 63 | 67 | 0.019704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_1509-14_0_5_line_67 |  | 66 | 67 | 0.015512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_1509-14_0_5_line_68 |  | 68 | 69 | 0.0087979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1509-14_0_5_line_69 |  | 69 | 70 | 0.0091003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1509-14_0_5_trafo_77 | 0.63 MVA 20/0.4 kV | 71 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2671656.8562 | 1201801.8421 | 2671660.0988 | 1201799.9266 | 2671664.0212 | 1201795.9045 | 2671668.4214 | 1201790.7652 | 2671671.3148 | 1201792.5788 | 2671675.5841 | 1201785.9669
1 | 2671650.6262 | 1201805.9722 | 2671653.5139 | 1201803.8167 | 2671656.8562 | 1201801.8421
2 | 2671684.7785 | 1201771.7275 | 2671675.5841 | 1201785.9669
3 | 2671641.7694 | 1201804.4651 | 2671650.6262 | 1201805.9722
4 | 2671684.7785 | 1201771.7275 | 2671685.6067 | 1201772.2397
5 | 2671684.7785 | 1201771.7275 | 2671670.1488 | 1201762.0169
6 | 2671700.2166 | 1201782.0852 | 2671686.1535 | 1201772.5779 | 2671685.6067 | 1201772.2397
7 | 2671670.1488 | 1201762.0169 | 2671669.102 | 1201761.3221 | 2671652.5551 | 1201750.3952
8 | 2671627.8347 | 1201856.9969 | 2671610.0233 | 1201845.0234
9 | 2671627.8347 | 1201856.9969 | 2671626.5717 | 1201858.8606 | 2671639.9335 | 1201867.4149
10 | 2671592.3297 | 1201838.5255 | 2671601.7299 | 1201844.7655 | 2671605.5231 | 1201841.9981 | 2671610.0233 | 1201845.0234
11 | 2671639.9335 | 1201867.4149 | 2671638.5289 | 1201869.6661 | 2671647.1101 | 1201875.1056 | 2671648.6769 | 1201872.6562 | 2671655.1634 | 1201876.8614
12 | 2671569.1337 | 1201790.5086 | 2671573.418 | 1201784.2338
13 | 2671566.0652 | 1201821.0905 | 2671566.654 | 1201820.2304 | 2671576.5618 | 1201805.8069 | 2671579.366 | 1201801.7269 | 2671580.4661 | 1201800.1168 | 2671581.2949 | 1201798.9149 | 2671569.1337 | 1201790.5086
14 | 2671562.2566 | 1201785.7567 | 2671569.1337 | 1201790.5086
15 | 2671566.0652 | 1201821.0905 | 2671559.4711 | 1201830.8397 | 2671581.6533 | 1201846.4927 | 2671612.8462 | 1201866.6676 | 2671588.5807 | 1201904.8224 | 2671612.3866 | 1201920.873
16 | 2671566.0652 | 1201821.0905 | 2671592.3297 | 1201838.5255
17 | 2671562.2566 | 1201785.7567 | 2671566.4856 | 1201779.648
18 | 2671612.3866 | 1201920.873 | 2671622.6279 | 1201927.7701
19 | 2671628.255 | 1201734.3604 | 2671630.9992 | 1201732.1141 | 2671635.6044 | 1201725.5025
20 | 2671616.0441 | 1201714.224 | 2671612.1337 | 1201723.5828 | 2671628.255 | 1201734.3604
21 | 2671628.255 | 1201734.3604 | 2671651.9372 | 1201749.9871 | 2671652.5551 | 1201750.3952
22 | 2671635.6044 | 1201725.5025 | 2671640.1382 | 1201718.9934 | 2671644.1795 | 1201713.9499 | 2671650.5452 | 1201704.8547
23 | 2671616.0441 | 1201714.224 | 2671611.4141 | 1201705.5187 | 2671607.7459 | 1201671.1872 | 2671605.1537 | 1201657.1418
24 | 2671593.7199 | 1201597.9856 | 2671599.6909 | 1201627.5418 | 2671605.1537 | 1201657.1418
25 | 2671718.59 | 1201794.5158 | 2671705.6254 | 1201785.7417 | 2671700.2166 | 1201782.0852
26 | 2671655.1634 | 1201876.8614 | 2671678.8871 | 1201892.2416 | 2671684.6106 | 1201893.5221 | 2671684.8721 | 1201881.8848 | 2671687.8165 | 1201877.1793
27 | 2671903.1257 | 1201880.0166 | 2671903.0247 | 1201885.2408 | 2671949.0962 | 1201899.7486 | 2671965.6042 | 1201904.8727
28 | 2671841.0809 | 1201887.3972 | 2671841.6989 | 1201880.3114 | 2671850.4601 | 1201881.5286 | 2671853.2765 | 1201883.4081 | 2671857.8415 | 1201887.3542 | 2671861.1214 | 1201884.2362 | 2671865.6053 | 1201881.633 | 2671870.5435 | 1201879.8691 | 2671876.2992 | 1201879.1045 | 2671882.0286 | 1201879.8961 | 2671899.5266 | 1201884.3538 | 2671903.0247 | 1201885.2408 | 2671903.1257 | 1201880.0166
29 | 2671903.1257 | 1201880.0166 | 2671792.0911 | 1201801.4375
30 | 2671965.6042 | 1201904.8727 | 2671957.0809 | 1201924.9824
31 | 2671841.0809 | 1201887.3972 | 2671816.2478 | 1201884.6526
32 | 2671770.1388 | 1201873.2362 | 2671780.3031 | 1201874.2367 | 2671841.6989 | 1201880.3114 | 2671841.0809 | 1201887.3972
33 | 2671841.0809 | 1201887.3972 | 2671841.6989 | 1201880.3114 | 2671850.4601 | 1201881.5286 | 2671853.2765 | 1201883.4081 | 2671857.8415 | 1201887.3542 | 2671856.2944 | 1201890.6821 | 2671855.2553 | 1201895.4392 | 2671854.896 | 1201900.0043 | 2671853.439 | 1201918.6204 | 2671853.3476 | 1201922.4216 | 2671850.537 | 1201936.5076 | 2671866.6932 | 1201937.3468 | 2671866.3954 | 1201940.5896 | 2671866.2553 | 1201942.1111 | 2671865.9756 | 1201945.1096
34 | 2671636.3426 | 1201682.6035 | 2671641.424 | 1201675.8825 | 2671654.7208 | 1201663.879 | 2671661.6281 | 1201661.6716 | 2671669.7958 | 1201664.8048 | 2671772.4718 | 1201748.1212 | 2671788.1783 | 1201759.8169 | 2671769.0888 | 1201785.1587 | 2671792.0911 | 1201801.4375
35 | 2671844.1213 | 1201976.3214 | 2671845.104 | 1201969.2956 | 2671846.9269 | 1201956.3207 | 2671848.1556 | 1201948.4529 | 2671848.8718 | 1201944.5925 | 2671865.9756 | 1201945.1096
36 | 2671865.9756 | 1201945.1096 | 2671865.2973 | 1201949.6153 | 2671865.1731 | 1201950.4476 | 2671869.5882 | 1201951.0344 | 2671877.6124 | 1201952.1316 | 2671885.1858 | 1201953.379 | 2671889.6483 | 1201954.304
37 | 2671844.1213 | 1201976.3214 | 2671840.6354 | 1201995.8348
38 | 2671844.1213 | 1201976.3214 | 2671889.7336 | 1201987.9024
39 | 2671967.6554 | 1201978.4646 | 2671957.9458 | 1201974.4897 | 2671944.3531 | 1201969.99 | 2671923.9655 | 1201964.7081 | 2671911.5953 | 1201961.0792 | 2671903.2797 | 1201958.2663 | 2671895.8909 | 1201955.598 | 2671889.6483 | 1201954.304
40 | 2671770.1388 | 1201873.2362 | 2671753.9472 | 1201871.5296 | 2671749.2622 | 1201875.1406
41 | 2671967.6554 | 1201978.4646 | 2671969.0196 | 1201976.4243 | 2671970.4226 | 1201974.3177 | 2671975.3943 | 1201977.9687 | 2671978.0878 | 1201980.5693 | 2671983.9723 | 1201988.6896 | 2671985.9755 | 1201991.7267 | 2671989.023 | 1201994.6319 | 2671991.4942 | 1201996.0959 | 2671994.466 | 1201997.0767 | 2671997.5142 | 1201997.3914 | 2672000.5242 | 1201997.0942 | 2672008.6288 | 1201999.093 | 2672012.4915 | 1202000.0402 | 2672016.1887 | 1202001.4522 | 2672019.7629 | 1202003.5966 | 2672028.609 | 1202009.1177 | 2672069.9437 | 1202033.8312 | 2672079.6779 | 1202042.6984 | 2672088.4914 | 1202028.8407 | 2672091.859 | 1202023.5003 | 2672097.174 | 1202013.8474
42 | 2672097.174 | 1202013.8474 | 2672100.5759 | 1202006.9286 | 2672103.7946 | 1202000.0633 | 2672105.6645 | 1201994.5936 | 2672108.997 | 1201982.7154
43 | 2672097.174 | 1202013.8474 | 2672084.9856 | 1202007.7855 | 2672054.0711 | 1201996.0108
44 | 2672108.997 | 1201982.7154 | 2672110.244 | 1201973.9918 | 2672109.0356 | 1201965.6499
45 | 2671838.1559 | 1202009.7146 | 2671840.6354 | 1201995.8348
46 | 2671944.5232 | 1202001.8134 | 2671889.7336 | 1201987.9024
47 | 2671749.2622 | 1201875.1406 | 2671733.5661 | 1201887.2385
48 | 2671636.3426 | 1201682.6035 | 2671656.4232 | 1201697.7201 | 2671654.9827 | 1201698.5144 | 2671650.5452 | 1201704.8547
49 | 2671593.7199 | 1201597.9856 | 2671575.1784 | 1201602.3884 | 2671565.7473 | 1201608.7683 | 2671570.4734 | 1201616.4518 | 2671573.3335 | 1201626.7701 | 2671558.5406 | 1201645.1932
50 | 2671787.4548 | 1201983.5386 | 2671787.5959 | 1201982.6314
51 | 2671787.2633 | 1201984.7691 | 2671787.4548 | 1201983.5386
52 | 2672109.0356 | 1201965.6499 | 2672099.8935 | 1201961.9484 | 2672053.585 | 1201943.8122 | 2672047.3679 | 1201941.1912
53 | 2671783.0484 | 1202011.8537 | 2671824.2229 | 1202018.9639 | 2671827.5702 | 1202019.0931 | 2671830.3789 | 1202018.4487 | 2671833.1118 | 1202017.1363 | 2671835.3832 | 1202014.9622 | 2671836.934 | 1202012.5905 | 2671838.1559 | 1202009.7146
54 | 2671758.6386 | 1202006.2349 | 2671762.1585 | 1202008.4674 | 2671783.0484 | 1202011.8537
55 | 2671758.6386 | 1202006.2349 | 2671748.5714 | 1202004.7687 | 2671732.3392 | 1202001.4051 | 2671734.9492 | 1201976.4882
56 | 2671783.0484 | 1202011.8537 | 2671787.2633 | 1201984.7691
57 | 2671694.2696 | 1201866.8661 | 2671687.8165 | 1201877.1793
58 | 2671705.5533 | 1201851.2935 | 2671699.8692 | 1201856.2824 | 2671695.6948 | 1201860.3682 | 2671694.2696 | 1201866.8661 | 2671694.2696 | 1201866.8661
59 | 2671705.5533 | 1201851.2935 | 2671707.9291 | 1201849.2083
60 | 2671715.2124 | 1201842.8158 | 2671707.9291 | 1201849.2083
61 | 2671727.2187 | 1201832.2779 | 2671715.2124 | 1201842.8158
62 | 2671727.2187 | 1201832.2779 | 2671727.9694 | 1201831.619
63 | 2671741.2833 | 1201819.9335 | 2671727.9694 | 1201831.619
64 | 2671747.7546 | 1201814.2536 | 2671741.2833 | 1201819.9335
65 | 2671747.7546 | 1201814.2536 | 2671749.9366 | 1201812.5276
66 | 2671747.7546 | 1201814.2536 | 2671731.4364 | 1201803.2099
67 | 2671718.59 | 1201794.5158 | 2671731.4364 | 1201803.2099
68 | 2671749.9366 | 1201812.5276 | 2671756.8365 | 1201807.0692
69 | 2671763.9736 | 1201801.4233 | 2671756.8365 | 1201807.0692

## bus_geodata
| x | y | coords
0 | 2671656.8562 | 1201801.8421
1 | 2671675.5841 | 1201785.9669
2 | 2671650.6262 | 1201805.9722
3 | 2671684.7785 | 1201771.7275
4 | 2671641.7694 | 1201804.4651
5 | 2671685.6067 | 1201772.2397
6 | 2671670.1488 | 1201762.0169
7 | 2671627.8347 | 1201856.9969
8 | 2671610.0233 | 1201845.0234
9 | 2671639.9335 | 1201867.4149
10 | 2671569.1337 | 1201790.5086
11 | 2671573.418 | 1201784.2338
12 | 2671566.0652 | 1201821.0905
13 | 2671562.2566 | 1201785.7567
14 | 2671612.3866 | 1201920.873
15 | 2671592.3297 | 1201838.5255
16 | 2671628.255 | 1201734.3604
17 | 2671635.6044 | 1201725.5025
18 | 2671616.0441 | 1201714.224
19 | 2671652.5551 | 1201750.3952
20 | 2671605.1537 | 1201657.1418
21 | 2671700.2166 | 1201782.0852
22 | 2671655.1634 | 1201876.8614
23 | 2671566.4856 | 1201779.648
24 | 2671622.6279 | 1201927.7701
25 | 2671903.1257 | 1201880.0166
26 | 2671965.6042 | 1201904.8727
27 | 2671841.0809 | 1201887.3972
28 | 2671792.0911 | 1201801.4375
29 | 2671865.9756 | 1201945.1096
30 | 2671844.1213 | 1201976.3214
31 | 2671889.6483 | 1201954.304
32 | 2671816.2478 | 1201884.6526
33 | 2671770.1388 | 1201873.2362
34 | 2671967.6554 | 1201978.4646
35 | 2672097.174 | 1202013.8474
36 | 2672108.997 | 1201982.7154
37 | 2672054.0711 | 1201996.0108
38 | 2671840.6354 | 1201995.8348
39 | 2671889.7336 | 1201987.9024
40 | 2671749.2622 | 1201875.1406
41 | 2671957.0809 | 1201924.9824
42 | 2671650.5452 | 1201704.8547
43 | 2671636.3426 | 1201682.6035
44 | 2671593.7199 | 1201597.9856
45 | 2671558.5406 | 1201645.1932
46 | 2671787.5959 | 1201982.6314
47 | 2671787.4548 | 1201983.5386
48 | 2672109.0356 | 1201965.6499
49 | 2671838.1559 | 1202009.7146
50 | 2671944.5232 | 1202001.8134
51 | 2671733.5661 | 1201887.2385
52 | 2671758.6386 | 1202006.2349
53 | 2671783.0484 | 1202011.8537
54 | 2671734.9492 | 1201976.4882
55 | 2671687.8165 | 1201877.1793
56 | 2671694.2696 | 1201866.8661
57 | 2671705.5533 | 1201851.2935
58 | 2671715.2123 | 1201842.8158
59 | 2671707.9291 | 1201849.2083
60 | 2671727.2187 | 1201832.2779
61 | 2671727.9694 | 1201831.619
62 | 2671741.2833 | 1201819.9335
63 | 2671747.7546 | 1201814.2536
64 | 2671787.2633 | 1201984.7691
65 | 2672047.3678 | 1201941.1912
66 | 2671718.59 | 1201794.5158
67 | 2671731.4364 | 1201803.2099
68 | 2671749.9366 | 1201812.5276
69 | 2671756.8365 | 1201807.0692
70 | 2671763.9736 | 1201801.4233
71 | 2671841.0809 | 1201887.3972

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97683 | -0.44493 | 0.0067596 | 0.0016941
1 | 0.97723 | -0.43706 | 0.0056273 | 0.0014103
2 | 0.97677 | -0.44616 | 0 | 0
3 | 0.97757 | -0.43046 | 0 | 0
4 | 0.9767 | -0.44762 | 0.0089543 | 0.0022442
5 | 0.97755 | -0.43082 | 0.0026404 | 0.00066175
6 | 0.97797 | -0.42256 | 0.0024503 | 0.0006141
7 | 0.97317 | -0.51686 | 0 | 0
8 | 0.97243 | -0.53158 | 0.010547 | 0.0026434
9 | 0.9738 | -0.50445 | 0.012426 | 0.0031143
10 | 0.97142 | -0.55159 | 0 | 0
11 | 0.9714 | -0.55195 | 0.0025623 | 0.00064217
12 | 0.97162 | -0.54764 | 0 | 0
13 | 0.9714 | -0.55199 | 0 | 0
14 | 0.97101 | -0.55973 | 0 | 0
15 | 0.9719 | -0.54212 | 0.017204 | 0.0043118
16 | 0.97917 | -0.39909 | 0 | 0
17 | 0.97951 | -0.39247 | 0.009396 | 0.0023549
18 | 0.97844 | -0.41336 | 0 | 0
19 | 0.97846 | -0.4129 | 0.004562 | 0.0011433
20 | 0.97699 | -0.44178 | 0.0089963 | 0.0022547
21 | 0.97722 | -0.43721 | 0.0028639 | 0.00071775
22 | 0.97435 | -0.49375 | 0.011157 | 0.0027961
23 | 0.97138 | -0.55234 | 0.0025652 | 0.0006429
24 | 0.97096 | -0.56073 | 0.0043592 | 0.0010925
25 | 0.99429 | -0.10797 | 0 | 0
26 | 0.99018 | -0.18729 | 0 | 0
27 | 0.99782 | -0.041072 | 0 | 0
28 | 0.98978 | -0.19386 | 0.0015234 | 0.00038179
29 | 0.9939 | -0.11551 | 0 | 0
30 | 0.99009 | -0.18894 | 0 | 0
31 | 0.99318 | -0.12926 | 0.0075011 | 0.00188
32 | 1 | 0 | -0.4819 | -0.1236
33 | 0.99659 | -0.064737 | 0 | 0
34 | 0.99134 | -0.16442 | 0 | 0
35 | 0.98171 | -0.3502 | 0 | 0
36 | 0.9802 | -0.37958 | 0 | 0
37 | 0.97856 | -0.41196 | 0.072892 | 0.018268
38 | 0.98894 | -0.21113 | 0.0042844 | 0.0010738
39 | 0.98916 | -0.20685 | 0.0091881 | 0.0023027
40 | 0.99625 | -0.071394 | 0.0015829 | 0.00039671
41 | 0.98892 | -0.21188 | 0.063276 | 0.015858
42 | 0.9803 | -0.37708 | 0.010355 | 0.0025952
43 | 0.98143 | -0.35498 | 0 | 0
44 | 0.97601 | -0.46112 | 0 | 0
45 | 0.9748 | -0.48486 | 0.017559 | 0.0044008
46 | 0.98451 | -0.29699 | 0.0082412 | 0.0020654
47 | 0.98452 | -0.29685 | 0.0059122 | 0.0014817
48 | 0.97943 | -0.39478 | 0 | 0
49 | 0.98817 | -0.22586 | 0.0022216 | 0.00055678
50 | 0.98853 | -0.21913 | 0.012192 | 0.0030556
51 | 0.99597 | -0.07679 | 0.015501 | 0.0038848
52 | 0.9842 | -0.30305 | 0 | 0
53 | 0.98505 | -0.28658 | 0 | 0
54 | 0.98247 | -0.33681 | 0.036155 | 0.0090613
55 | 0.97493 | -0.48229 | 0.0088484 | 0.0022176
56 | 0.97509 | -0.47918 | 0.0015839 | 0.00039697
57 | 0.97535 | -0.47394 | 0.0015237 | 0.00038188
58 | 0.97554 | -0.47029 | 0.0018877 | 0.00047311
59 | 0.9754 | -0.4731 | 0.0063822 | 0.0015995
60 | 0.97578 | -0.46554 | 0.0015234 | 0.00038179
61 | 0.9758 | -0.46524 | 0.0017152 | 0.00042987
62 | 0.97607 | -0.45977 | 0.0015868 | 0.00039768
63 | 0.97621 | -0.45707 | 0 | 0
64 | 0.98454 | -0.29654 | 0.0060617 | 0.0015192
65 | 0.97644 | -0.45348 | 0.048548 | 0.012167
66 | 0.97682 | -0.44503 | 0.0019221 | 0.00048172
67 | 0.97655 | -0.45039 | 0.0018884 | 0.00047327
68 | 0.97619 | -0.45741 | 0.00152 | 0.00038096
69 | 0.97615 | -0.45826 | 0.0036707 | 0.00091996
70 | 0.97614 | -0.45852 | 0.001584 | 0.00039698
71 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.015715 | -0.0039388 | 0.015721 | 0.0039423 | 5.8959e-06 | 3.4298e-06 | 0.023939 | 0.023939 | 0.023939 | 0.97683 | -0.44493 | 0.97723 | -0.43706 | 6.5767
1 | 0.0089555 | 0.0022447 | -0.008955 | -0.0022445 | 5.2241e-07 | 2.4064e-07 | 0.013642 | 0.013642 | 0.013642 | 0.97683 | -0.44493 | 0.97677 | -0.44616 | 3.7478
2 | -0.021348 | -0.0053526 | 0.021355 | 0.0053567 | 6.7168e-06 | 4.0863e-06 | 0.032508 | 0.032507 | 0.032508 | 0.97723 | -0.43706 | 0.97757 | -0.43046 | 8.9306
3 | 0.008955 | 0.0022445 | -0.0089543 | -0.0022442 | 6.2525e-07 | 2.8803e-07 | 0.013642 | 0.013642 | 0.013642 | 0.97677 | -0.44616 | 0.9767 | -0.44762 | 3.7478
4 | 0.10231 | 0.025756 | -0.1023 | -0.025755 | 1.7721e-06 | 1.0731e-06 | 0.15577 | 0.15577 | 0.15577 | 0.97757 | -0.43046 | 0.97755 | -0.43082 | 8.5586
5 | -0.12366 | -0.031112 | 0.12371 | 0.031141 | 4.6682e-05 | 2.8775e-05 | 0.18827 | 0.18827 | 0.18827 | 0.97757 | -0.43046 | 0.97797 | -0.42256 | 10.3448
6 | 0.099663 | 0.025093 | -0.099633 | -0.025075 | 3.0428e-05 | 1.837e-05 | 0.15175 | 0.15175 | 0.15175 | 0.97755 | -0.43082 | 0.97722 | -0.43721 | 8.3378
7 | -0.12616 | -0.031755 | 0.12622 | 0.031791 | 5.8299e-05 | 3.5988e-05 | 0.192 | 0.192 | 0.192 | 0.97797 | -0.42256 | 0.97846 | -0.4129 | 10.5496
8 | 0.037284 | 0.0093584 | -0.037258 | -0.009342 | 2.6161e-05 | 1.6477e-05 | 0.057014 | 0.057014 | 0.057014 | 0.97317 | -0.51686 | 0.97243 | -0.53158 | 15.6632
9 | -0.037284 | -0.0093584 | 0.037306 | 0.0093723 | 2.2084e-05 | 1.3908e-05 | 0.057014 | 0.057014 | 0.057014 | 0.97317 | -0.51686 | 0.9738 | -0.50445 | 15.6632
10 | 0.026711 | 0.0066985 | -0.026697 | -0.0066902 | 1.3408e-05 | 8.3157e-06 | 0.040874 | 0.040874 | 0.040874 | 0.97243 | -0.53158 | 0.9719 | -0.54212 | 11.2292
11 | -0.049732 | -0.012487 | 0.049758 | 0.012502 | 2.5399e-05 | 1.5671e-05 | 0.076002 | 0.076001 | 0.076002 | 0.9738 | -0.50445 | 0.97435 | -0.49375 | 10.4398
12 | 0.0025623 | 0.0006421 | -0.0025623 | -0.00064217 | 4.3859e-08 | -6.5918e-08 | 0.0039249 | 0.003925 | 0.003925 | 0.97142 | -0.55159 | 0.9714 | -0.55195 | 1.0783
13 | -0.0051276 | -0.0012849 | 0.0051286 | 0.001285 | 9.6433e-07 | 1.01e-07 | 0.0078544 | 0.0078542 | 0.0078544 | 0.97142 | -0.55159 | 0.97162 | -0.54764 | 2.1578
14 | 0.0025653 | 0.00064276 | -0.0025652 | -0.00064283 | 4.8308e-08 | -7.2368e-08 | 0.0039294 | 0.0039295 | 0.0039295 | 0.97142 | -0.55159 | 0.9714 | -0.55199 | 1.0795
15 | 0.0043619 | 0.0010922 | -0.0043594 | -0.0010925 | 2.5101e-06 | -2.5012e-07 | 0.0066798 | 0.0066805 | 0.0066805 | 0.97162 | -0.54764 | 0.97101 | -0.55973 | 1.8353
16 | -0.0094904 | -0.0023772 | 0.0094929 | 0.0023784 | 2.4972e-06 | 1.2076e-06 | 0.014534 | 0.014534 | 0.014534 | 0.97162 | -0.54764 | 0.9719 | -0.54212 | 3.9929
17 | 0.0025652 | 0.00064283 | -0.0025652 | -0.0006429 | 4.2987e-08 | -6.4392e-08 | 0.0039295 | 0.0039295 | 0.0039295 | 0.9714 | -0.55199 | 0.97138 | -0.55234 | 1.0795
18 | 0.0043594 | 0.0010925 | -0.0043592 | -0.0010925 | 2.0664e-07 | -2.047e-08 | 0.0066805 | 0.0066805 | 0.0066805 | 0.97101 | -0.55973 | 0.97096 | -0.56073 | 1.8353
19 | -0.15751 | -0.039699 | 0.15756 | 0.03973 | 4.9896e-05 | 3.1203e-05 | 0.23944 | 0.23944 | 0.23944 | 0.97917 | -0.39909 | 0.97951 | -0.39247 | 13.1563
20 | 0.026646 | 0.0067105 | -0.026628 | -0.0066993 | 1.8171e-05 | 1.1258e-05 | 0.040505 | 0.040505 | 0.040505 | 0.97917 | -0.39909 | 0.97844 | -0.41336 | 11.1277
21 | 0.13086 | 0.032988 | -0.13078 | -0.032935 | 8.6417e-05 | 5.3477e-05 | 0.19894 | 0.19894 | 0.19894 | 0.97917 | -0.39909 | 0.97846 | -0.4129 | 10.9308
22 | -0.16696 | -0.042085 | 0.16708 | 0.042162 | 0.0001231 | 7.7176e-05 | 0.25372 | 0.25372 | 0.25372 | 0.97951 | -0.39247 | 0.9803 | -0.37708 | 13.9405
23 | 0.026628 | 0.0066993 | -0.026592 | -0.0066769 | 3.6096e-05 | 2.2366e-05 | 0.040505 | 0.040505 | 0.040505 | 0.97844 | -0.41336 | 0.97699 | -0.44178 | 11.1278
24 | 0.017595 | 0.0044222 | -0.017579 | -0.0044126 | 1.6233e-05 | 9.6352e-06 | 0.026803 | 0.026804 | 0.026804 | 0.97699 | -0.44178 | 0.97601 | -0.46112 | 7.3636
25 | 0.096769 | 0.024357 | -0.096733 | -0.024335 | 3.6142e-05 | 2.1742e-05 | 0.14739 | 0.14739 | 0.14739 | 0.97722 | -0.43721 | 0.97682 | -0.44503 | 8.0982
26 | -0.060914 | -0.015298 | 0.060948 | 0.015317 | 3.3324e-05 | 1.8129e-05 | 0.09304 | 0.093038 | 0.09304 | 0.97435 | -0.49375 | 0.97493 | -0.48229 | 5.1121
27 | 0.063591 | 0.016059 | -0.06335 | -0.015906 | 0.00024072 | 0.00015314 | 0.09521 | 0.09521 | 0.09521 | 0.99429 | -0.10797 | 0.99018 | -0.18729 | 26.1567
28 | -0.24487 | -0.062658 | 0.24567 | 0.063162 | 0.00079581 | 0.00050419 | 0.36692 | 0.36692 | 0.36692 | 0.99429 | -0.10797 | 0.99782 | -0.041072 | 20.1607
29 | 0.18128 | 0.046599 | -0.18053 | -0.046126 | 0.00075322 | 0.00047328 | 0.27172 | 0.27172 | 0.27172 | 0.99429 | -0.10797 | 0.98978 | -0.19386 | 14.9296
30 | 0.06335 | 0.015906 | -0.063276 | -0.015858 | 7.4229e-05 | 4.7226e-05 | 0.09521 | 0.095211 | 0.095211 | 0.99018 | -0.18729 | 0.98892 | -0.21188 | 26.1567
31 | -0.4793 | -0.12299 | 0.48025 | 0.1236 | 0.00095725 | 0.00061101 | 0.71578 | 0.71578 | 0.71578 | 0.99782 | -0.041072 | 1 | 0 | 39.3284
32 | 0.017112 | 0.0042983 | -0.017093 | -0.004287 | 1.9303e-05 | 1.1323e-05 | 0.025522 | 0.025523 | 0.025523 | 0.99782 | -0.041072 | 0.99659 | -0.064737 | 7.0117
33 | 0.21652 | 0.055531 | -0.21574 | -0.055039 | 0.00077867 | 0.00049189 | 0.32333 | 0.32333 | 0.32333 | 0.99782 | -0.041072 | 0.9939 | -0.11551 | 17.7656
34 | 0.17901 | 0.045744 | -0.17762 | -0.044875 | 0.0013832 | 0.00086906 | 0.26943 | 0.26943 | 0.26943 | 0.98978 | -0.19386 | 0.98143 | -0.35498 | 14.8041
35 | 0.08495 | 0.021556 | -0.084651 | -0.021365 | 0.00029886 | 0.00019064 | 0.12728 | 0.12728 | 0.12728 | 0.9939 | -0.11551 | 0.99009 | -0.18894 | 34.9661
36 | 0.13079 | 0.033483 | -0.1307 | -0.03343 | 8.7017e-05 | 5.3736e-05 | 0.19606 | 0.19606 | 0.19606 | 0.9939 | -0.11551 | 0.99318 | -0.12926 | 10.7724
37 | 0.063246 | 0.015992 | -0.063178 | -0.015949 | 6.7231e-05 | 4.2774e-05 | 0.095103 | 0.095103 | 0.095103 | 0.99009 | -0.18894 | 0.98894 | -0.21113 | 26.1272
38 | 0.021406 | 0.0053733 | -0.021387 | -0.0053622 | 1.8268e-05 | 1.1087e-05 | 0.032174 | 0.032174 | 0.032174 | 0.99009 | -0.18894 | 0.98916 | -0.20685 | 8.839
39 | 0.1232 | 0.03155 | -0.12299 | -0.031421 | 0.00020949 | 0.00012879 | 0.18482 | 0.18482 | 0.18482 | 0.99318 | -0.12926 | 0.99134 | -0.16442 | 10.1551
40 | 0.017093 | 0.004287 | -0.017088 | -0.0042838 | 5.4221e-06 | 3.181e-06 | 0.025523 | 0.025523 | 0.025523 | 0.99659 | -0.064737 | 0.99625 | -0.071394 | 7.0117
41 | 0.12299 | 0.031421 | -0.12189 | -0.030725 | 0.0010941 | 0.00069588 | 0.18482 | 0.18482 | 0.18482 | 0.99134 | -0.16442 | 0.98171 | -0.3502 | 25.3879
42 | 0.048788 | 0.01232 | -0.04872 | -0.012276 | 6.8576e-05 | 4.3467e-05 | 0.073983 | 0.073983 | 0.073983 | 0.98171 | -0.3502 | 0.9802 | -0.37958 | 20.3251
43 | 0.073107 | 0.018405 | -0.072892 | -0.018268 | 0.00021512 | 0.00013709 | 0.11084 | 0.11084 | 0.11084 | 0.98171 | -0.3502 | 0.97856 | -0.41196 | 30.4507
44 | 0.04872 | 0.012276 | -0.048684 | -0.012254 | 3.5395e-05 | 2.2435e-05 | 0.073983 | 0.073984 | 0.073984 | 0.9802 | -0.37958 | 0.97943 | -0.39478 | 20.3252
45 | 0.058894 | 0.014876 | -0.058852 | -0.014849 | 4.1558e-05 | 2.6417e-05 | 0.088657 | 0.088657 | 0.088657 | 0.98894 | -0.21113 | 0.98817 | -0.22586 | 24.3562
46 | 0.012199 | 0.0030595 | -0.012192 | -0.0030556 | 7.1397e-06 | 3.8443e-06 | 0.018352 | 0.018353 | 0.018353 | 0.98916 | -0.20685 | 0.98853 | -0.21913 | 5.0419
47 | 0.015505 | 0.0038871 | -0.015501 | -0.0038848 | 3.9856e-06 | 2.2928e-06 | 0.023158 | 0.023159 | 0.023159 | 0.99625 | -0.071394 | 0.99597 | -0.07679 | 6.3622
48 | -0.17743 | -0.044757 | 0.17762 | 0.044875 | 0.00018794 | 0.0001181 | 0.26943 | 0.26943 | 0.26943 | 0.9803 | -0.37708 | 0.98143 | -0.35498 | 14.8041
49 | 0.017579 | 0.0044126 | -0.017559 | -0.0044008 | 1.9883e-05 | 1.1804e-05 | 0.026804 | 0.026804 | 0.026804 | 0.97601 | -0.46112 | 0.9748 | -0.48486 | 7.3637
50 | -0.0082412 | -0.0020654 | 0.0082412 | 0.0020655 | 5.3413e-08 | 2.251e-08 | 0.012456 | 0.012456 | 0.012456 | 0.98451 | -0.29699 | 0.98452 | -0.29685 | 3.4219
51 | -0.014153 | -0.0035472 | 0.014154 | 0.0035473 | 2.1371e-07 | 1.2094e-07 | 0.021392 | 0.021392 | 0.021392 | 0.98452 | -0.29685 | 0.98454 | -0.29654 | 5.8768
52 | 0.048684 | 0.012254 | -0.048548 | -0.012167 | 0.00013618 | 8.632e-05 | 0.073984 | 0.073984 | 0.073984 | 0.97943 | -0.39478 | 0.97644 | -0.45348 | 20.3252
53 | 0.056631 | 0.014292 | -0.056467 | -0.014188 | 0.00016416 | 0.0001043 | 0.085311 | 0.085312 | 0.085312 | 0.98817 | -0.22586 | 0.98505 | -0.28658 | 23.4373
54 | -0.036213 | -0.0090979 | 0.036242 | 0.0091158 | 2.8483e-05 | 1.7907e-05 | 0.054759 | 0.054759 | 0.054759 | 0.9842 | -0.30305 | 0.98505 | -0.28658 | 15.0436
55 | 0.036213 | 0.0090979 | -0.036155 | -0.0090613 | 5.8251e-05 | 3.6623e-05 | 0.054759 | 0.054759 | 0.054759 | 0.9842 | -0.30305 | 0.98247 | -0.33681 | 15.0437
56 | 0.020225 | 0.0050723 | -0.020215 | -0.0050665 | 9.5953e-06 | 5.7922e-06 | 0.030553 | 0.030553 | 0.030553 | 0.98505 | -0.28658 | 0.98454 | -0.29654 | 8.3937
57 | -0.069796 | -0.017534 | 0.069807 | 0.01754 | 1.0357e-05 | 5.8701e-06 | 0.10654 | 0.10654 | 0.10654 | 0.97493 | -0.48229 | 0.97509 | -0.47918 | 5.854
58 | -0.07139 | -0.017937 | 0.071408 | 0.017947 | 1.7859e-05 | 1.0178e-05 | 0.10896 | 0.10896 | 0.10896 | 0.97509 | -0.47918 | 0.97535 | -0.47394 | 5.9868
59 | -0.072932 | -0.018329 | 0.072935 | 0.018331 | 2.9361e-06 | 1.6818e-06 | 0.11128 | 0.11128 | 0.11128 | 0.97535 | -0.47394 | 0.9754 | -0.4731 | 6.1145
60 | 0.079328 | 0.019936 | -0.079317 | -0.01993 | 1.0645e-05 | 6.2078e-06 | 0.12102 | 0.12102 | 0.12102 | 0.97554 | -0.47029 | 0.9754 | -0.4731 | 6.6495
61 | -0.081216 | -0.02041 | 0.081234 | 0.02042 | 1.8393e-05 | 1.0774e-05 | 0.1239 | 0.1239 | 0.1239 | 0.97554 | -0.47029 | 0.97578 | -0.46554 | 6.8077
62 | -0.082757 | -0.020802 | 0.082758 | 0.020803 | 1.1936e-06 | 7.0153e-07 | 0.12622 | 0.12622 | 0.12622 | 0.97578 | -0.46554 | 0.9758 | -0.46524 | 6.9353
63 | -0.084474 | -0.021233 | 0.084496 | 0.021246 | 2.2054e-05 | 1.3008e-05 | 0.12884 | 0.12884 | 0.12884 | 0.9758 | -0.46524 | 0.97607 | -0.45977 | 7.079
64 | -0.086082 | -0.021643 | 0.086094 | 0.02165 | 1.1126e-05 | 6.5822e-06 | 0.13126 | 0.13126 | 0.13126 | 0.97607 | -0.45977 | 0.97621 | -0.45707 | 7.2119
65 | 0.006775 | 0.0016979 | -0.0067749 | -0.0016978 | 1.1126e-07 | 3.6426e-08 | 0.010327 | 0.010327 | 0.010327 | 0.97621 | -0.45707 | 0.97619 | -0.45741 | 2.8371
66 | -0.092869 | -0.023348 | 0.092898 | 0.023366 | 2.9624e-05 | 1.7727e-05 | 0.14158 | 0.14158 | 0.14158 | 0.97621 | -0.45707 | 0.97655 | -0.45039 | 7.7793
67 | 0.094811 | 0.023853 | -0.094787 | -0.023839 | 2.4279e-05 | 1.4568e-05 | 0.14446 | 0.14446 | 0.14446 | 0.97682 | -0.44503 | 0.97655 | -0.45039 | 7.9374
68 | 0.0052549 | 0.0013169 | -0.0052547 | -0.0013168 | 2.1168e-07 | 2.5486e-08 | 0.00801 | 0.00801 | 0.00801 | 0.97619 | -0.45741 | 0.97615 | -0.45826 | 2.2005
69 | 0.001584 | 0.00039687 | -0.001584 | -0.00039698 | 1.9895e-08 | -1.0103e-07 | 0.0024145 | 0.0024146 | 0.0024146 | 0.97615 | -0.45826 | 0.97614 | -0.45852 | 0.66334

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.50228 | 0.12871

## res_load
| p_mw | q_mvar
0 | 0.0067596 | 0.0016941
1 | 0.0056273 | 0.0014103
2 | 0.0089543 | 0.0022442
3 | 0.0026404 | 0.00066175
4 | 0.0024503 | 0.0006141
5 | 0.010547 | 0.0026434
6 | 0.012426 | 0.0031143
7 | 0.0025623 | 0.00064217
8 | 0.017204 | 0.0043118
9 | 0.009396 | 0.0023549
10 | 0.004562 | 0.0011433
11 | 0.0089963 | 0.0022547
12 | 0.0028639 | 0.00071775
13 | 0.011157 | 0.0027961
14 | 0.0025652 | 0.0006429
15 | 0.0043592 | 0.0010925
16 | 0.0015234 | 0.00038179
17 | 0.0075011 | 0.00188
18 | 0.020373 | 0.005106
19 | 0.072892 | 0.018268
20 | 0.0042844 | 0.0010738
21 | 0.0091881 | 0.0023027
22 | 0.0015829 | 0.00039671
23 | 0.063276 | 0.015858
24 | 0.010355 | 0.0025952
25 | 0.017559 | 0.0044008
26 | 0.0082412 | 0.0020654
27 | 0.0059122 | 0.0014817
28 | 0.0022216 | 0.00055678
29 | 0.012192 | 0.0030556
30 | 0.015501 | 0.0038848
31 | 0.036155 | 0.0090613
32 | 0.0088484 | 0.0022176
33 | 0.0015839 | 0.00039697
34 | 0.0015237 | 0.00038188
35 | 0.0018877 | 0.00047311
36 | 0.0063822 | 0.0015995
37 | 0.0015234 | 0.00038179
38 | 0.0017152 | 0.00042987
39 | 0.0015868 | 0.00039768
40 | 0.0060617 | 0.0015192
41 | 0.048548 | 0.012167
42 | 0.0019221 | 0.00048172
43 | 0.0018884 | 0.00047327
44 | 0.00152 | 0.00038096
45 | 0.0036707 | 0.00091996
46 | 0.001584 | 0.00039698

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1