## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1509-17_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1509-17_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1509-17_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1509-17_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1509-17_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1509-17_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1509-17_0_5_node_37 | 0.4 | n |  | TRUE
7 | bus_LV_1509-17_0_5_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_1509-17_0_5_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_1509-17_0_5_node_49 | 0.4 | n |  | TRUE
10 | bus_LV_1509-17_0_5_node_74 | 0.4 | n |  | TRUE
11 | bus_LV_1509-17_0_5_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_1509-17_0_5_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_1509-17_0_5_node_80 | 0.4 | n |  | TRUE
14 | bus_LV_1509-17_0_5_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_1509-17_0_5_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_1509-17_0_5_node_53 | 0.4 | n |  | TRUE
17 | bus_LV_1509-17_0_5_node_50 | 0.4 | n |  | TRUE
18 | bus_LV_1509-17_0_5_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_1509-17_0_5_node_59 | 0.4 | n |  | TRUE
20 | bus_LV_1509-17_0_5_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_1509-17_0_5_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_1509-17_0_5_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_1509-17_0_5_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_1509-17_0_5_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_1509-17_0_5_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_1509-17_0_5_node_84 | 0.4 | n |  | TRUE
27 | bus_LV_1509-17_0_5_node_10 | 0.4 | n |  | TRUE
28 | bus_LV_1509-17_0_5_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_1509-17_0_5_node_6 | 0.4 | n |  | TRUE
30 | bus_LV_1509-17_0_5_node_7 | 0.4 | n |  | TRUE
31 | bus_LV_1509-17_0_5_node_8 | 0.4 | n |  | TRUE
32 | bus_LV_1509-17_0_5_node_9 | 0.4 | n |  | TRUE
33 | bus_LV_1509-17_0_5_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_1509-17_0_5_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_1509-17_0_5_node_65 | 0.4 | n |  | TRUE
36 | bus_LV_1509-17_0_5_node_64 | 0.4 | n |  | TRUE
37 | bus_LV_1509-17_0_5_node_11 | 0.4 | n |  | TRUE
38 | bus_LV_1509-17_0_5_node_12 | 0.4 | n |  | TRUE
39 | bus_LV_1509-17_0_5_node_14 | 0.4 | n |  | TRUE
40 | bus_LV_1509-17_0_5_node_15 | 0.4 | n |  | TRUE
41 | bus_LV_1509-17_0_5_node_83 | 0.4 | n |  | TRUE
42 | bus_LV_1509-17_0_5_node_85 | 0.4 | n |  | TRUE
43 | bus_LV_1509-17_0_5_node_22 | 0.4 | n |  | TRUE
44 | bus_LV_1509-17_0_5_node_82 | 0.4 | n |  | TRUE
45 | bus_LV_1509-17_0_5_node_81 | 0.4 | n |  | TRUE
46 | bus_LV_1509-17_0_5_node_86 | 0.4 | n |  | TRUE
47 | bus_LV_1509-17_0_5_node_69 | 0.4 | n |  | TRUE
48 | bus_LV_1509-17_0_5_node_68 | 0.4 | n |  | TRUE
49 | bus_LV_1509-17_0_5_node_18 | 0.4 | n |  | TRUE
50 | bus_LV_1509-17_0_5_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_1509-17_0_5_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_1509-17_0_5_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_1509-17_0_5_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_1509-17_0_5_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_1509-17_0_5_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_1509-17_0_5_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_1509-17_0_5_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_1509-17_0_5_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_1509-17_0_5_node_77 | 0.4 | n |  | TRUE
60 | bus_LV_1509-17_0_5_node_73 | 0.4 | n |  | TRUE
61 | bus_LV_1509-17_0_5_node_70 | 0.4 | n |  | TRUE
62 | bus_LV_1509-17_0_5_node_71 | 0.4 | n |  | TRUE
63 | bus_LV_1509-17_0_5_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_1509-17_0_5_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_1509-17_0_5_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_1509-17_0_5_node_79 | 0.4 | n |  | TRUE
67 | bus_LV_1509-17_0_5_node_75 | 0.4 | n |  | TRUE
68 | bus_LV_1509-17_0_5_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_1509-17_0_5_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_1509-17_0_5_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_1509-17_0_5_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_1509-17_0_5_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_1509-17_0_5_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_1509-17_0_5_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_1509-17_0_5_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_1509-17_0_5_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_1509-17_0_5_node_78 | 0.4 | n |  | TRUE
78 | bus_MV_136_1_node_198 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1509-17_0_5_load_0 | 0 | 0.020431 | 0.0051204 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1509-17_0_5_load_1 | 1 | 0.0054543 | 0.001367 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1509-17_0_5_load_34 | 7 | 0.010731 | 0.0026894 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1509-17_0_5_load_31 | 8 | 0.011235 | 0.0028157 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1509-17_0_5_load_49 | 9 | 0.0093236 | 0.0023367 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1509-17_0_5_load_74 | 10 | 0.006243 | 0.0015647 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1509-17_0_5_load_35 | 11 | 0.013056 | 0.0032722 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1509-17_0_5_load_80 | 13 | 0.0062515 | 0.0015668 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1509-17_0_5_load_53 | 16 | 0.009799 | 0.0024559 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1509-17_0_5_load_50 | 17 | 0.0034533 | 0.00086548 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1509-17_0_5_load_59 | 19 | 0.0073087 | 0.0018317 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1509-17_0_5_load_48 | 21 | 0.0086175 | 0.0021597 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1509-17_0_5_load_40 | 23 | 0.0079368 | 0.0019892 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1509-17_0_5_load_38 | 24 | 0.018877 | 0.0047311 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1509-17_0_5_load_84 | 26 | 0.017972 | 0.0045042 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1509-17_0_5_load_17 | 28 | 0.0086681 | 0.0021724 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1509-17_0_5_load_6 | 29 | 0.011091 | 0.0027798 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1509-17_0_5_load_7 | 30 | 0.0092136 | 0.0023092 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1509-17_0_5_load_8 | 31 | 0.0075801 | 0.0018998 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1509-17_0_5_load_9 | 32 | 0.0032079 | 0.00080399 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1509-17_0_5_load_30 | 33 | 0.0024407 | 0.00061169 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1509-17_0_5_load_65 | 35 | 0.0098622 | 0.0024717 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1509-17_0_5_load_64 | 36 | 0.012559 | 0.0031476 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1509-17_0_5_load_11 | 37 | 0.017773 | 0.0044544 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1509-17_0_5_load_85 | 42 | 0.014444 | 0.0036201 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1509-17_0_5_load_81 | 45 | 0.0054183 | 0.001358 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1509-17_0_5_load_86 | 46 | 0.010812 | 0.0027097 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1509-17_0_5_load_69 | 47 | 0.035755 | 0.0089611 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1509-17_0_5_load_18 | 49 | 0.012798 | 0.0032075 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1509-17_0_5_load_33 | 50 | 0.011235 | 0.0028157 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1509-17_0_5_load_51 | 51 | 0.0044092 | 0.0011051 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1509-17_0_5_load_43 | 52 | 0.0023544 | 0.00059007 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1509-17_0_5_load_60 | 55 | 0.0011281 | 0.00028274 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1509-17_0_5_load_41 | 57 | 0.0068994 | 0.0017292 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1509-17_0_5_load_47 | 58 | 0.0061661 | 0.0015454 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1509-17_0_5_load_73 | 60 | 0.0086691 | 0.0021727 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1509-17_0_5_load_70 | 61 | 0.0084653 | 0.0021216 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1509-17_0_5_load_71 | 62 | 0.0087961 | 0.0022045 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1509-17_0_5_load_62 | 63 | 0.01161 | 0.0029098 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1509-17_0_5_load_58 | 64 | 0.010827 | 0.0027136 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1509-17_0_5_load_54 | 65 | 0.002808 | 0.00070374 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1509-17_0_5_load_79 | 66 | 0.0047806 | 0.0011981 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1509-17_0_5_load_75 | 67 | 0.036578 | 0.0091673 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1509-17_0_5_load_52 | 68 | 0.0027791 | 0.0006965 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1509-17_0_5_load_66 | 69 | 0.0077157 | 0.0019337 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1509-17_0_5_load_67 | 70 | 0.0064919 | 0.001627 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1509-17_0_5_load_55 | 71 | 0.010032 | 0.0025142 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1509-17_0_5_load_57 | 72 | 0.013505 | 0.0033846 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1509-17_0_5_load_63 | 73 | 0.0090301 | 0.0022631 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1509-17_0_5_load_61 | 74 | 0.011396 | 0.0028562 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1509-17_0_5_load_72 | 75 | 0.0045577 | 0.0011423 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1509-17_0_5_load_76 | 76 | 0.0045633 | 0.0011437 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1509-17_0_5_load_78 | 77 | 0.019585 | 0.0049084 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 75 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1509-17_0_5_line_0 |  | 0 | 1 | 0.015558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1509-17_0_5_line_1 |  | 0 | 2 | 0.018174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1509-17_0_5_line_2 |  | 1 | 3 | 0.0042439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1509-17_0_5_line_3 |  | 2 | 4 | 0.009493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1509-17_0_5_line_4 |  | 2 | 5 | 0.005263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1509-17_0_5_line_5 |  | 3 | 6 | 0.005263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1509-17_0_5_line_6 |  | 3 | 7 | 0.011825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1509-17_0_5_line_7 |  | 4 | 8 | 0.018876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1509-17_0_5_line_8 |  | 5 | 9 | 0.0035564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1509-17_0_5_line_9 |  | 6 | 10 | 0.0028326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1509-17_0_5_line_10 |  | 7 | 11 | 0.02118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1509-17_0_5_line_11 |  | 9 | 20 | 0.014008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1509-17_0_5_line_12 |  | 10 | 60 | 0.0066669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1509-17_0_5_line_13 |  | 11 | 56 | 0.011488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1509-17_0_5_line_14 |  | 12 | 13 | 0.0082358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1509-17_0_5_line_15 |  | 12 | 14 | 0.012433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1509-17_0_5_line_16 |  | 13 | 45 | 0.00038404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1509-17_0_5_line_17 |  | 14 | 28 | 0.0015485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1509-17_0_5_line_18 |  | 15 | 16 | 0.011353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1509-17_0_5_line_19 |  | 15 | 17 | 0.015818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1509-17_0_5_line_20 |  | 16 | 18 | 0.0071938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1509-17_0_5_line_21 |  | 17 | 51 | 0.0047392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1509-17_0_5_line_22 |  | 18 | 19 | 0.0068164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1509-17_0_5_line_23 |  | 19 | 39 | 0.0079601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1509-17_0_5_line_24 |  | 20 | 21 | 0.012884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1509-17_0_5_line_25 |  | 21 | 52 | 0.0045771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1509-17_0_5_line_26 |  | 22 | 23 | 0.0044794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1509-17_0_5_line_27 |  | 22 | 24 | 0.014078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1509-17_0_5_line_28 |  | 24 | 27 | 0.01246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1509-17_0_5_line_29 |  | 25 | 26 | 0.021631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1509-17_0_5_line_30 |  | 25 | 27 | 0.021993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1509-17_0_5_line_31 |  | 27 | 34 | 0.020712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1509-17_0_5_line_32 |  | 27 | 31 | 0.0086637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1509-17_0_5_line_33 |  | 28 | 49 | 0.012385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1509-17_0_5_line_34 |  | 29 | 30 | 0.011403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1509-17_0_5_line_35 |  | 29 | 31 | 0.011842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1509-17_0_5_line_36 |  | 30 | 32 | 0.014792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1509-17_0_5_line_37 |  | 32 | 33 | 0.012123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1509-17_0_5_line_38 |  | 34 | 35 | 0.006089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_1509-17_0_5_line_39 |  | 34 | 36 | 0.0078214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_1509-17_0_5_line_40 |  | 35 | 61 | 0.010066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_1509-17_0_5_line_41 |  | 35 | 62 | 0.010573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_1509-17_0_5_line_42 |  | 36 | 63 | 0.0067986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_1509-17_0_5_line_43 |  | 37 | 38 | 0.010713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1509-17_0_5_line_44 |  | 38 | 39 | 0.018095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1509-17_0_5_line_45 |  | 38 | 40 | 0.011253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1509-17_0_5_line_46 |  | 40 | 41 | 0.002157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1509-17_0_5_line_47 |  | 40 | 42 | 0.002079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1509-17_0_5_line_48 |  | 41 | 46 | 0.001947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1509-17_0_5_line_49 |  | 41 | 44 | 0.007431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1509-17_0_5_line_50 |  | 43 | 44 | 0.006937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1509-17_0_5_line_51 |  | 43 | 45 | 0.0062835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1509-17_0_5_line_52 |  | 44 | 50 | 0.0080622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1509-17_0_5_line_53 |  | 47 | 48 | 0.014969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1509-17_0_5_line_54 |  | 48 | 61 | 0.0061056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_1509-17_0_5_line_55 |  | 48 | 70 | 0.0029831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1509-17_0_5_line_56 |  | 51 | 68 | 0.00069195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1509-17_0_5_line_57 |  | 53 | 54 | 0.031571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1509-17_0_5_line_58 |  | 53 | 55 | 0.0078753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1509-17_0_5_line_59 |  | 54 | 64 | 0.0071861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1509-17_0_5_line_60 |  | 54 | 65 | 0.0039723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1509-17_0_5_line_61 |  | 56 | 57 | 0.014966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1509-17_0_5_line_62 |  | 58 | 59 | 0.001531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1509-17_0_5_line_63 |  | 59 | 66 | 0.017004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1509-17_0_5_line_64 |  | 59 | 67 | 0.010352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1509-17_0_5_line_65 |  | 60 | 75 | 0.0027181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1509-17_0_5_line_66 |  | 62 | 75 | 0.016582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_1509-17_0_5_line_67 |  | 63 | 74 | 0.0054368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1509-17_0_5_line_68 |  | 64 | 66 | 0.0044078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1509-17_0_5_line_69 |  | 65 | 71 | 0.019729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1509-17_0_5_line_70 |  | 67 | 76 | 0.0035482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1509-17_0_5_line_71 |  | 68 | 69 | 0.0139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1509-17_0_5_line_72 |  | 69 | 70 | 0.014589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1509-17_0_5_line_73 |  | 71 | 72 | 0.0076389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1509-17_0_5_line_74 |  | 72 | 73 | 0.012754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1509-17_0_5_line_75 |  | 73 | 74 | 0.0011488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1509-17_0_5_line_76 |  | 76 | 77 | 0.0072391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1509-17_0_5_trafo_72 | 0.63 MVA 20/0.4 kV | 78 | 75 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2670754.5615 | 1201043.1362 | 2670750.3917 | 1201028.1471
1 | 2670759.4325 | 1201060.6457 | 2670754.5615 | 1201043.1362
2 | 2670749.2543 | 1201024.0585 | 2670750.3917 | 1201028.1471
3 | 2670759.4325 | 1201060.6457 | 2670749.939 | 1201061.3671
4 | 2670759.4325 | 1201060.6457 | 2670764.6768 | 1201060.0518
5 | 2670746.4678 | 1201019.5895 | 2670749.2543 | 1201024.0585
6 | 2670749.2543 | 1201024.0585 | 2670761.058 | 1201023.3422
7 | 2670749.939 | 1201061.3671 | 2670731.0702 | 1201061.886
8 | 2670764.6768 | 1201060.0518 | 2670768.2097 | 1201059.6435
9 | 2670746.4678 | 1201019.5895 | 2670745.6043 | 1201016.8917
10 | 2670781.7544 | 1201024.5021 | 2670776.9984 | 1201022.3748 | 2670761.058 | 1201023.3422
11 | 2670782.1253 | 1201058.035 | 2670768.2097 | 1201059.6435
12 | 2670745.6043 | 1201016.8917 | 2670743.5719 | 1201010.5421
13 | 2670792.2413 | 1201029.1928 | 2670781.7544 | 1201024.5021
14 | 2670700.81 | 1201061.2968 | 2670700.3057 | 1201053.0765
15 | 2670688.5149 | 1201059.4725 | 2670698.3617 | 1201061.0566 | 2670700.81 | 1201061.2968
16 | 2670700.2822 | 1201052.6932 | 2670700.3057 | 1201053.0765
17 | 2670688.5149 | 1201059.4725 | 2670686.9727 | 1201059.3329
18 | 2670667.9663 | 1200998.5926 | 2670672.2734 | 1201009.0968
19 | 2670667.9663 | 1200998.5926 | 2670677.5846 | 1200993.7589 | 2670682.5499 | 1200992.8209
20 | 2670675.0026 | 1201015.7529 | 2670672.2734 | 1201009.0968
21 | 2670682.5499 | 1200992.8209 | 2670687.2067 | 1200991.9411
22 | 2670675.0026 | 1201015.7529 | 2670677.2723 | 1201022.1803
23 | 2670679.9228 | 1201029.6862 | 2670677.2723 | 1201022.1803
24 | 2670782.1253 | 1201058.035 | 2670794.9498 | 1201056.8016
25 | 2670794.9498 | 1201056.8016 | 2670799.5059 | 1201056.3634
26 | 2670763.1897 | 1200956.816 | 2670767.6024 | 1200956.0456
27 | 2670763.1897 | 1200956.816 | 2670749.2538 | 1200958.8123
28 | 2670736.879 | 1200960.2066 | 2670742.6164 | 1200959.7631 | 2670749.2538 | 1200958.8123
29 | 2670706.9005 | 1200942.9081 | 2670728.3946 | 1200939.9828
30 | 2670736.879 | 1200960.2066 | 2670730.3547 | 1200946.7434 | 2670728.8847 | 1200941.6674 | 2670728.3946 | 1200939.9828
31 | 2670736.879 | 1200960.2066 | 2670740.3903 | 1200980.6161
32 | 2670736.879 | 1200960.2066 | 2670728.388 | 1200961.9277
33 | 2670686.9727 | 1201059.3329 | 2670677.6333 | 1201058.4877 | 2670674.6629 | 1201058.0157
34 | 2670716.7825 | 1200964.2802 | 2670706.356 | 1200966.3937 | 2670705.5979 | 1200966.4912
35 | 2670716.7825 | 1200964.2802 | 2670728.388 | 1200961.9277
36 | 2670705.5979 | 1200966.4912 | 2670690.9271 | 1200968.3784
37 | 2670678.9035 | 1200969.925 | 2670690.9271 | 1200968.3784
38 | 2670734.4656 | 1200982.0913 | 2670740.3903 | 1200980.6161
39 | 2670740.3903 | 1200980.6161 | 2670748.081 | 1200979.1928
40 | 2670734.4656 | 1200982.0913 | 2670724.7765 | 1200984.8209
41 | 2670734.4656 | 1200982.0913 | 2670737.6886 | 1200992.1608
42 | 2670748.081 | 1200979.1928 | 2670754.7661 | 1200977.9556
43 | 2670697.6953 | 1201026.0274 | 2670708.0527 | 1201023.2921
44 | 2670679.9228 | 1201029.6862 | 2670697.6953 | 1201026.0274
45 | 2670702.125 | 1201036.375 | 2670697.6953 | 1201026.0274
46 | 2670702.125 | 1201036.375 | 2670702.7858 | 1201038.4285
47 | 2670700.1825 | 1201037.1303 | 2670702.125 | 1201036.375
48 | 2670702.7858 | 1201038.4285 | 2670704.5985 | 1201037.7051
49 | 2670702.7858 | 1201038.4285 | 2670704.4312 | 1201040.905 | 2670704.9359 | 1201042.0006 | 2670706.654 | 1201044.767
50 | 2670699.8975 | 1201046.4214 | 2670706.654 | 1201044.767
51 | 2670699.8975 | 1201046.4214 | 2670700.2822 | 1201052.6932
52 | 2670706.654 | 1201044.767 | 2670707.9683 | 1201046.9172 | 2670708.2751 | 1201048.0104 | 2670708.7802 | 1201052.3881
53 | 2670718.8996 | 1200986.4765 | 2670722.642 | 1201000.9701
54 | 2670718.8996 | 1200986.4765 | 2670724.7765 | 1200984.8209
55 | 2670718.8996 | 1200986.4765 | 2670715.9548 | 1200986.9529
56 | 2670687.8866 | 1200991.8127 | 2670687.2067 | 1200991.9411
57 | 2670836.7117 | 1200970.2172 | 2670805.2321 | 1200973.6129
58 | 2670836.7117 | 1200970.2172 | 2670843.9383 | 1200967.0873
59 | 2670805.2321 | 1200973.6129 | 2670805.7334 | 1200980.7815
60 | 2670805.2321 | 1200973.6129 | 2670801.2752 | 1200973.9625
61 | 2670792.2413 | 1201029.1928 | 2670805.9017 | 1201035.3066
62 | 2670802.002 | 1201001.436 | 2670801.4941 | 1201002.8803
63 | 2670802.002 | 1201001.436 | 2670806.3191 | 1200989.1575 | 2670806.0409 | 1200985.1786
64 | 2670802.002 | 1201001.436 | 2670791.7656 | 1201002.9807
65 | 2670743.5719 | 1201010.5421 | 2670742.7434 | 1201007.9534
66 | 2670737.6886 | 1200992.1608 | 2670742.7434 | 1201007.9534
67 | 2670760.1224 | 1200977.0485 | 2670759.4173 | 1200977.0947 | 2670754.7661 | 1200977.9556
68 | 2670805.7334 | 1200980.7815 | 2670806.0409 | 1200985.1786
69 | 2670801.2752 | 1200973.9625 | 2670784.2607 | 1200975.4657 | 2670781.6183 | 1200975.6389
70 | 2670791.7656 | 1201002.9807 | 2670788.2571 | 1201003.5102
71 | 2670687.8866 | 1200991.8127 | 2670699.6261 | 1200989.5948 | 2670701.5535 | 1200989.283
72 | 2670701.5535 | 1200989.283 | 2670715.9548 | 1200986.9529
73 | 2670781.6183 | 1200975.6389 | 2670773.9957 | 1200976.1388
74 | 2670773.9957 | 1200976.1388 | 2670761.2688 | 1200976.9733
75 | 2670760.1224 | 1200977.0485 | 2670761.2688 | 1200976.9733
76 | 2670781.0991 | 1201004.5904 | 2670788.2571 | 1201003.5102

## bus_geodata
| x | y | coords
0 | 2670754.5615 | 1201043.1362
1 | 2670750.3917 | 1201028.1471
2 | 2670759.4325 | 1201060.6457
3 | 2670749.2543 | 1201024.0585
4 | 2670749.939 | 1201061.3671
5 | 2670764.6768 | 1201060.0518
6 | 2670746.4678 | 1201019.5895
7 | 2670761.058 | 1201023.3422
8 | 2670731.0702 | 1201061.8859
9 | 2670768.2097 | 1201059.6435
10 | 2670745.6043 | 1201016.8917
11 | 2670781.7544 | 1201024.5021
12 | 2670700.81 | 1201061.2968
13 | 2670700.3057 | 1201053.0765
14 | 2670688.5149 | 1201059.4725
15 | 2670667.9663 | 1200998.5926
16 | 2670672.2734 | 1201009.0968
17 | 2670682.5499 | 1200992.8209
18 | 2670675.0026 | 1201015.7529
19 | 2670677.2723 | 1201022.1803
20 | 2670782.1253 | 1201058.035
21 | 2670794.9498 | 1201056.8016
22 | 2670763.1897 | 1200956.816
23 | 2670767.6024 | 1200956.0456
24 | 2670749.2538 | 1200958.8123
25 | 2670728.3946 | 1200939.9828
26 | 2670706.9005 | 1200942.9081
27 | 2670736.879 | 1200960.2066
28 | 2670686.9727 | 1201059.3329
29 | 2670716.7825 | 1200964.2802
30 | 2670705.5979 | 1200966.4912
31 | 2670728.388 | 1200961.9277
32 | 2670690.9271 | 1200968.3784
33 | 2670678.9035 | 1200969.925
34 | 2670740.3903 | 1200980.6161
35 | 2670734.4656 | 1200982.0913
36 | 2670748.081 | 1200979.1928
37 | 2670708.0527 | 1201023.2921
38 | 2670697.6953 | 1201026.0275
39 | 2670679.9228 | 1201029.6862
40 | 2670702.125 | 1201036.375
41 | 2670702.7858 | 1201038.4285
42 | 2670700.1825 | 1201037.1303
43 | 2670699.8975 | 1201046.4214
44 | 2670706.654 | 1201044.767
45 | 2670700.2822 | 1201052.6932
46 | 2670704.5985 | 1201037.7051
47 | 2670722.642 | 1201000.9701
48 | 2670718.8996 | 1200986.4765
49 | 2670674.6629 | 1201058.0157
50 | 2670708.7802 | 1201052.3881
51 | 2670687.2067 | 1200991.9411
52 | 2670799.5059 | 1201056.3634
53 | 2670836.7117 | 1200970.2172
54 | 2670805.2321 | 1200973.6129
55 | 2670843.9383 | 1200967.0873
56 | 2670792.2413 | 1201029.1928
57 | 2670805.9017 | 1201035.3066
58 | 2670801.4941 | 1201002.8803
59 | 2670802.002 | 1201001.436
60 | 2670743.5719 | 1201010.5421
61 | 2670724.7765 | 1200984.8209
62 | 2670737.6886 | 1200992.1608
63 | 2670754.7661 | 1200977.9556
64 | 2670805.7334 | 1200980.7815
65 | 2670801.2752 | 1200973.9625
66 | 2670806.0409 | 1200985.1786
67 | 2670791.7656 | 1201002.9807
68 | 2670687.8866 | 1200991.8127
69 | 2670701.5535 | 1200989.283
70 | 2670715.9548 | 1200986.9529
71 | 2670781.6183 | 1200975.6389
72 | 2670773.9957 | 1200976.1388
73 | 2670761.2688 | 1200976.9733
74 | 2670760.1224 | 1200977.0485
75 | 2670742.7434 | 1201007.9534
76 | 2670788.2571 | 1201003.5102
77 | 2670781.0991 | 1201004.5904
78 | 2670746.4678 | 1201019.5895

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99757 | -0.046728 | 0.020431 | 0.0051204
1 | 0.9983 | -0.032579 | 0.0054543 | 0.001367
2 | 0.99705 | -0.056771 | 0 | 0
3 | 0.99853 | -0.028318 | 0 | 0
4 | 0.99695 | -0.058641 | 0 | 0
5 | 0.99695 | -0.058644 | 0 | 0
6 | 0.99895 | -0.020215 | 0 | 0
7 | 0.9982 | -0.034664 | 0.010731 | 0.0026894
8 | 0.99676 | -0.062361 | 0.011235 | 0.0028157
9 | 0.99688 | -0.05991 | 0.0093236 | 0.0023367
10 | 0.99917 | -0.015857 | 0.006243 | 0.0015647
11 | 0.99781 | -0.04206 | 0.013056 | 0.0032722
12 | 0.98486 | -0.29154 | 0 | 0
13 | 0.98503 | -0.28837 | 0.0062515 | 0.0015668
14 | 0.98462 | -0.29634 | 0 | 0
15 | 0.99098 | -0.17281 | 0 | 0
16 | 0.98989 | -0.19389 | 0.009799 | 0.0024559
17 | 0.9925 | -0.14351 | 0.0034533 | 0.00086548
18 | 0.98926 | -0.20602 | 0 | 0
19 | 0.98867 | -0.21752 | 0.0073087 | 0.0018317
20 | 0.99674 | -0.062606 | 0 | 0
21 | 0.99662 | -0.065086 | 0.0086175 | 0.0021597
22 | 0.99517 | -0.092572 | 0 | 0
23 | 0.99514 | -0.093197 | 0.0079368 | 0.0019892
24 | 0.99528 | -0.090605 | 0.018877 | 0.0047311
25 | 0.99522 | -0.091682 | 0 | 0
26 | 0.99487 | -0.098525 | 0.017972 | 0.0045042
27 | 0.99558 | -0.084728 | 0 | 0
28 | 0.98459 | -0.29694 | 0.0086681 | 0.0021724
29 | 0.99504 | -0.095248 | 0.011091 | 0.0027798
30 | 0.99488 | -0.098232 | 0.0092136 | 0.0023092
31 | 0.99532 | -0.089839 | 0.0075801 | 0.0018998
32 | 0.9948 | -0.099703 | 0.0032079 | 0.00080399
33 | 0.99478 | -0.10022 | 0.0024407 | 0.00061169
34 | 0.99706 | -0.056244 | 0 | 0
35 | 0.99738 | -0.05003 | 0.0098622 | 0.0024717
36 | 0.99678 | -0.061544 | 0.012559 | 0.0031476
37 | 0.9864 | -0.26163 | 0.017773 | 0.0044544
38 | 0.98657 | -0.25822 | 0 | 0
39 | 0.98803 | -0.22994 | 0 | 0
40 | 0.98585 | -0.27226 | 0 | 0
41 | 0.98574 | -0.27439 | 0 | 0
42 | 0.98583 | -0.2728 | 0.014444 | 0.0036201
43 | 0.98523 | -0.28443 | 0 | 0
44 | 0.98544 | -0.28031 | 0 | 0
45 | 0.98504 | -0.28817 | 0.0054183 | 0.001358
46 | 0.98572 | -0.27477 | 0.010812 | 0.0027097
47 | 0.99603 | -0.075929 | 0.035755 | 0.0089611
48 | 0.99652 | -0.06653 | 0 | 0
49 | 0.98444 | -0.29979 | 0.012798 | 0.0032075
50 | 0.98536 | -0.28193 | 0.011235 | 0.0028157
51 | 0.99297 | -0.13446 | 0.0044092 | 0.0011051
52 | 0.99661 | -0.065275 | 0.0023544 | 0.00059007
53 | 0.99171 | -0.15925 | 0 | 0
54 | 0.99174 | -0.15862 | 0 | 0
55 | 0.9917 | -0.15941 | 0.0011281 | 0.00028274
56 | 0.99774 | -0.043448 | 0 | 0
57 | 0.99765 | -0.045256 | 0.0068994 | 0.0017292
58 | 0.98986 | -0.19511 | 0.0061661 | 0.0015454
59 | 0.98987 | -0.19495 | 0 | 0
60 | 0.99975 | -0.0048817 | 0.0086691 | 0.0021727
61 | 0.99698 | -0.057687 | 0.0084653 | 0.0021216
62 | 0.99839 | -0.030768 | 0.0087961 | 0.0022045
63 | 0.99634 | -0.070017 | 0.01161 | 0.0029098
64 | 0.9912 | -0.16913 | 0.010827 | 0.0027136
65 | 0.99204 | -0.15273 | 0.002808 | 0.00070374
66 | 0.99091 | -0.17473 | 0.0047806 | 0.0011981
67 | 0.98929 | -0.20614 | 0.036578 | 0.0091673
68 | 0.99305 | -0.13309 | 0.0027791 | 0.0006965
69 | 0.99452 | -0.10484 | 0.0077157 | 0.0019337
70 | 0.99616 | -0.073306 | 0.0064919 | 0.001627
71 | 0.99361 | -0.12258 | 0.010032 | 0.0025142
72 | 0.99428 | -0.10957 | 0.013505 | 0.0033846
73 | 0.99557 | -0.084877 | 0.0090301 | 0.0022631
74 | 0.99569 | -0.082473 | 0.011396 | 0.0028562
75 | 1 | 0 | -0.53314 | -0.1345
76 | 0.98921 | -0.20766 | 0.0045633 | 0.0011437
77 | 0.98908 | -0.21019 | 0.019585 | 0.0049084
78 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.051985 | -0.013037 | 0.05202 | 0.013059 | 3.5084e-05 | 2.2251e-05 | 0.077546 | 0.077546 | 0.077546 | 0.99757 | -0.046728 | 0.9983 | -0.032579 | 21.3038
1 | 0.031554 | 0.0079164 | -0.031539 | -0.007907 | 1.51e-05 | 9.4272e-06 | 0.047071 | 0.047071 | 0.047071 | 0.99757 | -0.046728 | 0.99705 | -0.056771 | 12.9315
2 | -0.057474 | -0.014426 | 0.057486 | 0.014433 | 1.1682e-05 | 7.4209e-06 | 0.085676 | 0.085676 | 0.085676 | 0.9983 | -0.032579 | 0.99853 | -0.028318 | 23.5373
3 | 0.011238 | 0.0028173 | -0.011237 | -0.0028168 | 1.0014e-06 | 5.171e-07 | 0.016772 | 0.016772 | 0.016772 | 0.99705 | -0.056771 | 0.99695 | -0.058641 | 4.6077
4 | 0.020301 | 0.0050897 | -0.020299 | -0.0050886 | 1.8118e-06 | 1.0909e-06 | 0.030299 | 0.030299 | 0.030299 | 0.99705 | -0.056771 | 0.99695 | -0.058644 | 8.3238
5 | -0.08819 | -0.022135 | 0.088224 | 0.022156 | 3.4094e-05 | 2.1751e-05 | 0.13143 | 0.13143 | 0.13143 | 0.99853 | -0.028318 | 0.99895 | -0.020215 | 36.108
6 | 0.030704 | 0.0077011 | -0.030694 | -0.0076953 | 9.2847e-06 | 5.7876e-06 | 0.045757 | 0.045757 | 0.045757 | 0.99853 | -0.028318 | 0.9982 | -0.034664 | 12.5707
7 | 0.011237 | 0.0028168 | -0.011235 | -0.0028157 | 1.9912e-06 | 1.0283e-06 | 0.016772 | 0.016772 | 0.016772 | 0.99695 | -0.058641 | 0.99676 | -0.062361 | 4.6077
8 | 0.020299 | 0.0050886 | -0.020298 | -0.0050879 | 1.2243e-06 | 7.3719e-07 | 0.030299 | 0.030299 | 0.030299 | 0.99695 | -0.058644 | 0.99688 | -0.05991 | 8.3238
9 | -0.088224 | -0.022156 | 0.088242 | 0.022168 | 1.835e-05 | 1.1707e-05 | 0.13143 | 0.13143 | 0.13143 | 0.99895 | -0.020215 | 0.99917 | -0.015857 | 36.108
10 | 0.019964 | 0.0050059 | -0.019957 | -0.0050017 | 7.0347e-06 | 4.2255e-06 | 0.029761 | 0.029761 | 0.029761 | 0.9982 | -0.034664 | 0.99781 | -0.04206 | 8.1761
11 | 0.010975 | 0.0027511 | -0.010973 | -0.0027504 | 1.4097e-06 | 7.196e-07 | 0.016382 | 0.016382 | 0.016382 | 0.99688 | -0.05991 | 0.99674 | -0.062606 | 4.5005
12 | -0.094485 | -0.023733 | 0.094535 | 0.023764 | 4.9514e-05 | 3.1602e-05 | 0.14073 | 0.14073 | 0.14073 | 0.99917 | -0.015857 | 0.99975 | -0.0048817 | 38.6622
13 | 0.0069005 | 0.0017295 | -0.0069 | -0.0017293 | 4.5621e-07 | 1.4193e-07 | 0.010291 | 0.010291 | 0.010291 | 0.99781 | -0.04206 | 0.99774 | -0.043448 | 2.8271
14 | -0.021473 | -0.0053842 | 0.021477 | 0.0053862 | 3.251e-06 | 1.9758e-06 | 0.032445 | 0.032445 | 0.032445 | 0.98486 | -0.29154 | 0.98503 | -0.28837 | 8.9134
15 | 0.021473 | 0.0053842 | -0.021468 | -0.0053812 | 4.9081e-06 | 2.983e-06 | 0.032445 | 0.032445 | 0.032445 | 0.98486 | -0.29154 | 0.98462 | -0.29634 | 8.9134
16 | -0.027728 | -0.006953 | 0.027728 | 0.0069531 | 2.5269e-07 | 1.5683e-07 | 0.041888 | 0.041888 | 0.041888 | 0.98503 | -0.28837 | 0.98504 | -0.28817 | 11.5078
17 | 0.021468 | 0.0053812 | -0.021468 | -0.0053809 | 6.1125e-07 | 3.7151e-07 | 0.032445 | 0.032445 | 0.032445 | 0.98462 | -0.29634 | 0.98459 | -0.29694 | 8.9134
18 | 0.10498 | 0.026495 | -0.10488 | -0.026427 | 0.00010588 | 6.762e-05 | 0.1577 | 0.1577 | 0.1577 | 0.99098 | -0.17281 | 0.98989 | -0.19389 | 43.3254
19 | -0.10498 | -0.026495 | 0.10513 | 0.026589 | 0.00014752 | 9.4211e-05 | 0.1577 | 0.1577 | 0.1577 | 0.99098 | -0.17281 | 0.9925 | -0.14351 | 43.3254
20 | 0.095079 | 0.023971 | -0.095024 | -0.023936 | 5.5145e-05 | 3.5201e-05 | 0.14297 | 0.14297 | 0.14297 | 0.98989 | -0.19389 | 0.98926 | -0.20602 | 39.2788
21 | -0.10858 | -0.027455 | 0.10863 | 0.027485 | 4.715e-05 | 3.0114e-05 | 0.16288 | 0.16288 | 0.16288 | 0.9925 | -0.14351 | 0.99297 | -0.13446 | 44.7478
22 | 0.095024 | 0.023936 | -0.094972 | -0.023903 | 5.2252e-05 | 3.3354e-05 | 0.14297 | 0.14297 | 0.14297 | 0.98926 | -0.20602 | 0.98867 | -0.21752 | 39.2788
23 | 0.087663 | 0.022071 | -0.087611 | -0.022038 | 5.1991e-05 | 3.3172e-05 | 0.13197 | 0.13197 | 0.13197 | 0.98867 | -0.21752 | 0.98803 | -0.22994 | 36.2568
24 | 0.010973 | 0.0027504 | -0.010972 | -0.0027498 | 1.2966e-06 | 6.6189e-07 | 0.016382 | 0.016382 | 0.016382 | 0.99674 | -0.062606 | 0.99662 | -0.065086 | 4.5005
25 | 0.0023544 | 0.00059002 | -0.0023544 | -0.00059007 | 2.121e-08 | -4.6068e-08 | 0.0035153 | 0.0035153 | 0.0035153 | 0.99662 | -0.065086 | 0.99661 | -0.065275 | 0.96574
26 | 0.0079371 | 0.0019893 | -0.0079368 | -0.0019892 | 2.3659e-07 | 9.3218e-08 | 0.011868 | 0.011868 | 0.011868 | 0.99517 | -0.092572 | 0.99514 | -0.093197 | 3.2604
27 | -0.0079371 | -0.0019893 | 0.0079378 | 0.0019895 | 7.4356e-07 | 2.9294e-07 | 0.011868 | 0.011868 | 0.011868 | 0.99517 | -0.092572 | 0.99528 | -0.090605 | 3.2604
28 | -0.026815 | -0.0067207 | 0.026823 | 0.0067253 | 7.5098e-06 | 4.6443e-06 | 0.040091 | 0.040091 | 0.040091 | 0.99528 | -0.090605 | 0.99558 | -0.084728 | 11.014
29 | 0.017978 | 0.0045077 | -0.017972 | -0.0045042 | 5.8612e-06 | 3.4702e-06 | 0.02688 | 0.026881 | 0.026881 | 0.99522 | -0.091682 | 0.99487 | -0.098525 | 7.3848
30 | -0.017978 | -0.0045077 | 0.017984 | 0.0045112 | 5.9592e-06 | 3.528e-06 | 0.02688 | 0.02688 | 0.02688 | 0.99522 | -0.091682 | 0.99558 | -0.084728 | 7.3847
31 | -0.078358 | -0.019651 | 0.078464 | 0.019719 | 0.00010654 | 6.7916e-05 | 0.11712 | 0.11712 | 0.11712 | 0.99558 | -0.084728 | 0.99706 | -0.056244 | 32.1758
32 | 0.033551 | 0.0084147 | -0.033543 | -0.0084096 | 8.1705e-06 | 5.1165e-06 | 0.050148 | 0.050148 | 0.050148 | 0.99558 | -0.084728 | 0.99532 | -0.089839 | 13.7771
33 | 0.0128 | 0.0032084 | -0.012798 | -0.0032075 | 1.738e-06 | 9.5484e-07 | 0.019345 | 0.019345 | 0.019345 | 0.98459 | -0.29694 | 0.98444 | -0.29979 | 5.3144
34 | 0.014865 | 0.003726 | -0.014863 | -0.0037248 | 2.113e-06 | 1.2043e-06 | 0.02223 | 0.02223 | 0.02223 | 0.99504 | -0.095248 | 0.99488 | -0.098232 | 6.1071
35 | -0.025956 | -0.0065057 | 0.025963 | 0.0065099 | 6.6906e-06 | 4.1281e-06 | 0.038816 | 0.038816 | 0.038816 | 0.99504 | -0.095248 | 0.99532 | -0.089839 | 10.6638
36 | 0.0056491 | 0.0014156 | -0.0056487 | -0.0014156 | 3.9598e-07 | 6.1367e-08 | 0.0084491 | 0.0084492 | 0.0084492 | 0.99488 | -0.098232 | 0.9948 | -0.099703 | 2.3212
37 | 0.0024407 | 0.00061157 | -0.0024407 | -0.00061169 | 6.059e-08 | -1.1861e-07 | 0.0036508 | 0.0036508 | 0.0036508 | 0.9948 | -0.099703 | 0.99478 | -0.10022 | 1.003
38 | -0.23372 | -0.058897 | 0.23379 | 0.058941 | 6.9499e-05 | 4.4162e-05 | 0.34892 | 0.34892 | 0.34892 | 0.99706 | -0.056244 | 0.99738 | -0.05003 | 23.9645
39 | 0.15526 | 0.039178 | -0.15522 | -0.039153 | 3.94e-05 | 2.4808e-05 | 0.2318 | 0.2318 | 0.2318 | 0.99706 | -0.056244 | 0.99678 | -0.061544 | 15.9206
40 | 0.17479 | 0.044278 | -0.17473 | -0.044237 | 6.426e-05 | 4.0601e-05 | 0.26095 | 0.26095 | 0.26095 | 0.99738 | -0.05003 | 0.99698 | -0.057687 | 17.9221
41 | -0.41845 | -0.10569 | 0.41884 | 0.10594 | 0.00038667 | 0.00024691 | 0.62458 | 0.62458 | 0.62458 | 0.99738 | -0.05003 | 0.99839 | -0.030768 | 42.8971
42 | 0.14266 | 0.036006 | -0.1426 | -0.035969 | 5.7864e-05 | 3.6856e-05 | 0.21306 | 0.21306 | 0.21306 | 0.99678 | -0.061544 | 0.99634 | -0.070017 | 29.2659
43 | -0.017773 | -0.0044544 | 0.017776 | 0.0044561 | 2.8878e-06 | 1.7114e-06 | 0.026812 | 0.026811 | 0.026812 | 0.9864 | -0.26163 | 0.98657 | -0.25822 | 7.3658
44 | -0.087493 | -0.021963 | 0.087611 | 0.022038 | 0.00011819 | 7.5409e-05 | 0.13197 | 0.13197 | 0.13197 | 0.98657 | -0.25822 | 0.98803 | -0.22994 | 36.2568
45 | 0.069717 | 0.017506 | -0.06967 | -0.017477 | 4.6669e-05 | 2.9725e-05 | 0.10516 | 0.10516 | 0.10516 | 0.98657 | -0.25822 | 0.98585 | -0.27226 | 28.891
46 | 0.055225 | 0.013856 | -0.05522 | -0.013853 | 5.6209e-06 | 3.5699e-06 | 0.083361 | 0.083361 | 0.083361 | 0.98585 | -0.27226 | 0.98574 | -0.27439 | 22.9013
47 | 0.014445 | 0.0036203 | -0.014444 | -0.0036201 | 3.706e-07 | 2.1067e-07 | 0.021803 | 0.021803 | 0.021803 | 0.98585 | -0.27226 | 0.98583 | -0.2728 | 5.9897
48 | 0.010812 | 0.0027098 | -0.010812 | -0.0027097 | 1.945e-07 | 9.9659e-08 | 0.016321 | 0.016321 | 0.016321 | 0.98574 | -0.27439 | 0.98572 | -0.27477 | 4.4839
49 | 0.044407 | 0.011143 | -0.044395 | -0.011135 | 1.2524e-05 | 7.9206e-06 | 0.067039 | 0.067039 | 0.067039 | 0.98574 | -0.27439 | 0.98544 | -0.28031 | 18.4174
50 | -0.033153 | -0.0083148 | 0.033159 | 0.0083189 | 6.5225e-06 | 4.0861e-06 | 0.050073 | 0.050073 | 0.050073 | 0.98523 | -0.28443 | 0.98544 | -0.28031 | 13.7564
51 | 0.033153 | 0.0083148 | -0.033147 | -0.0083111 | 5.9081e-06 | 3.7012e-06 | 0.050073 | 0.050073 | 0.050073 | 0.98523 | -0.28443 | 0.98504 | -0.28817 | 13.7564
52 | 0.011236 | 0.0028162 | -0.011235 | -0.0028157 | 8.7026e-07 | 4.5427e-07 | 0.016966 | 0.016966 | 0.016966 | 0.98544 | -0.28031 | 0.98536 | -0.28193 | 4.661
53 | -0.035755 | -0.0089611 | 0.035771 | 0.0089711 | 1.6017e-05 | 1.0056e-05 | 0.053416 | 0.053416 | 0.053416 | 0.99603 | -0.075929 | 0.99652 | -0.06653 | 14.6748
54 | -0.16619 | -0.04207 | 0.16626 | 0.042115 | 7.0587e-05 | 4.5016e-05 | 0.24831 | 0.24831 | 0.24831 | 0.99652 | -0.06653 | 0.99698 | -0.057687 | 34.1086
55 | 0.13042 | 0.033099 | -0.13038 | -0.033072 | 4.2491e-05 | 2.7155e-05 | 0.19489 | 0.1949 | 0.1949 | 0.99652 | -0.06653 | 0.99616 | -0.073306 | 53.5426
56 | -0.11304 | -0.02859 | 0.11305 | 0.028595 | 7.454e-06 | 4.7616e-06 | 0.16949 | 0.16949 | 0.16949 | 0.99297 | -0.13446 | 0.99305 | -0.13309 | 46.563
57 | -0.0011281 | -0.00028264 | 0.0011282 | 0.00028226 | 3.3919e-08 | -3.8565e-07 | 0.0016927 | 0.0016926 | 0.0016927 | 0.99171 | -0.15925 | 0.99174 | -0.15862 | 0.46503
58 | 0.0011281 | 0.00028264 | -0.0011281 | -0.00028274 | 8.4619e-09 | -9.6195e-08 | 0.0016927 | 0.0016927 | 0.0016927 | 0.99171 | -0.15925 | 0.9917 | -0.15941 | 0.46504
59 | 0.082662 | 0.020779 | -0.082621 | -0.020753 | 4.1468e-05 | 2.6447e-05 | 0.12405 | 0.12405 | 0.12405 | 0.99174 | -0.15862 | 0.9912 | -0.16913 | 34.0794
60 | -0.08379 | -0.021062 | 0.083814 | 0.021077 | 2.3552e-05 | 1.5022e-05 | 0.12574 | 0.12574 | 0.12574 | 0.99174 | -0.15862 | 0.99204 | -0.15273 | 34.5444
61 | 0.0069 | 0.0017293 | -0.0068994 | -0.0017292 | 5.9433e-07 | 1.8493e-07 | 0.010291 | 0.010291 | 0.010291 | 0.99774 | -0.043448 | 0.99765 | -0.045256 | 2.8271
62 | -0.0061661 | -0.0015454 | 0.0061662 | 0.0015454 | 4.9328e-08 | 1.189e-08 | 0.0092693 | 0.0092693 | 0.0092693 | 0.98986 | -0.19511 | 0.98987 | -0.19495 | 2.5465
63 | -0.066929 | -0.016788 | 0.066993 | 0.016829 | 6.4553e-05 | 4.1095e-05 | 0.10062 | 0.10062 | 0.10062 | 0.98987 | -0.19495 | 0.99091 | -0.17473 | 27.6417
64 | 0.060763 | 0.015243 | -0.06073 | -0.015222 | 3.2393e-05 | 2.0599e-05 | 0.091347 | 0.091347 | 0.091347 | 0.98987 | -0.19495 | 0.98929 | -0.20614 | 25.0952
65 | -0.1032 | -0.025937 | 0.10323 | 0.025952 | 2.4058e-05 | 1.5362e-05 | 0.15363 | 0.15363 | 0.15363 | 0.99975 | -0.0048817 | 1 | 0 | 42.207
66 | -0.42763 | -0.10814 | 0.42826 | 0.10855 | 0.00063216 | 0.00040371 | 0.63769 | 0.63769 | 0.63769 | 0.99839 | -0.030768 | 1 | 0 | 43.7975
67 | 0.13099 | 0.033059 | -0.13091 | -0.033009 | 7.8096e-05 | 4.9911e-05 | 0.19572 | 0.19572 | 0.19572 | 0.99634 | -0.070017 | 0.99569 | -0.082473 | 53.7682
68 | 0.071793 | 0.018039 | -0.071774 | -0.018027 | 1.9207e-05 | 1.2235e-05 | 0.10779 | 0.10779 | 0.10779 | 0.9912 | -0.16913 | 0.99091 | -0.17473 | 29.6139
69 | -0.086622 | -0.02178 | 0.086747 | 0.02186 | 0.00012494 | 7.9708e-05 | 0.12995 | 0.12995 | 0.12995 | 0.99204 | -0.15273 | 0.99361 | -0.12258 | 35.7015
70 | 0.024152 | 0.0060546 | -0.02415 | -0.0060535 | 1.756e-06 | 1.0783e-06 | 0.036329 | 0.036329 | 0.036329 | 0.98929 | -0.20614 | 0.98921 | -0.20766 | 9.9804
71 | -0.11583 | -0.029291 | 0.11598 | 0.029391 | 0.00015718 | 0.00010042 | 0.17365 | 0.17365 | 0.17365 | 0.99305 | -0.13309 | 0.99452 | -0.10484 | 47.707
72 | -0.1237 | -0.031325 | 0.12389 | 0.031445 | 0.00018764 | 0.0001199 | 0.1852 | 0.1852 | 0.1852 | 0.99452 | -0.10484 | 0.99616 | -0.073306 | 50.8785
73 | -0.096779 | -0.024374 | 0.096839 | 0.024413 | 6.0209e-05 | 3.8435e-05 | 0.14498 | 0.14498 | 0.14498 | 0.99361 | -0.12258 | 0.99428 | -0.10957 | 39.8288
74 | -0.11034 | -0.027797 | 0.11047 | 0.027881 | 0.00013051 | 8.3361e-05 | 0.16519 | 0.16519 | 0.16519 | 0.99428 | -0.10957 | 0.99557 | -0.084877 | 45.3813
75 | -0.1195 | -0.030144 | 0.11952 | 0.030153 | 1.3755e-05 | 8.7883e-06 | 0.17868 | 0.17868 | 0.17868 | 0.99557 | -0.084877 | 0.99569 | -0.082473 | 49.0892
76 | 0.019587 | 0.0049098 | -0.019585 | -0.0049084 | 2.3567e-06 | 1.4154e-06 | 0.029464 | 0.029464 | 0.029464 | 0.98921 | -0.20766 | 0.98908 | -0.21019 | 8.0946

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.5377 | 0.13564

## res_load
| p_mw | q_mvar
0 | 0.020431 | 0.0051204
1 | 0.0054543 | 0.001367
2 | 0.010731 | 0.0026894
3 | 0.011235 | 0.0028157
4 | 0.0093236 | 0.0023367
5 | 0.006243 | 0.0015647
6 | 0.013056 | 0.0032722
7 | 0.0062515 | 0.0015668
8 | 0.009799 | 0.0024559
9 | 0.0034533 | 0.00086548
10 | 0.0073087 | 0.0018317
11 | 0.0086175 | 0.0021597
12 | 0.0079368 | 0.0019892
13 | 0.018877 | 0.0047311
14 | 0.017972 | 0.0045042
15 | 0.0086681 | 0.0021724
16 | 0.011091 | 0.0027798
17 | 0.0092136 | 0.0023092
18 | 0.0075801 | 0.0018998
19 | 0.0032079 | 0.00080399
20 | 0.0024407 | 0.00061169
21 | 0.0098622 | 0.0024717
22 | 0.012559 | 0.0031476
23 | 0.017773 | 0.0044544
24 | 0.014444 | 0.0036201
25 | 0.0054183 | 0.001358
26 | 0.010812 | 0.0027097
27 | 0.035755 | 0.0089611
28 | 0.012798 | 0.0032075
29 | 0.011235 | 0.0028157
30 | 0.0044092 | 0.0011051
31 | 0.0023544 | 0.00059007
32 | 0.0011281 | 0.00028274
33 | 0.0068994 | 0.0017292
34 | 0.0061661 | 0.0015454
35 | 0.0086691 | 0.0021727
36 | 0.0084653 | 0.0021216
37 | 0.0087961 | 0.0022045
38 | 0.01161 | 0.0029098
39 | 0.010827 | 0.0027136
40 | 0.002808 | 0.00070374
41 | 0.0047806 | 0.0011981
42 | 0.036578 | 0.0091673
43 | 0.0027791 | 0.0006965
44 | 0.0077157 | 0.0019337
45 | 0.0064919 | 0.001627
46 | 0.010032 | 0.0025142
47 | 0.013505 | 0.0033846
48 | 0.0090301 | 0.0022631
49 | 0.011396 | 0.0028562
50 | 0.0045577 | 0.0011423
51 | 0.0045633 | 0.0011437
52 | 0.019585 | 0.0049084

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1