## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1509-19_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1509-19_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1509-19_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1509-19_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1509-19_0_4_node_22 | 0.4 | n |  | TRUE
5 | bus_LV_1509-19_0_4_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_1509-19_0_4_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_1509-19_0_4_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_1509-19_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_1509-19_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1509-19_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1509-19_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1509-19_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1509-19_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1509-19_0_4_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_1509-19_0_4_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_1509-19_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_1509-19_0_4_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_1509-19_0_4_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_1509-19_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1509-19_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_1509-19_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_1509-19_0_4_node_38 | 0.4 | n |  | TRUE
23 | bus_LV_1509-19_0_4_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_1509-19_0_4_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_1509-19_0_4_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_1509-19_0_4_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_1509-19_0_4_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_1509-19_0_4_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_1509-19_0_4_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_1509-19_0_4_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_1509-19_0_4_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_1509-19_0_4_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_1509-19_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_1509-19_0_4_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_1509-19_0_4_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_1509-19_0_4_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_1509-19_0_4_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_1509-19_0_4_node_35 | 0.4 | n |  | TRUE
39 | bus_MV_143_0_node_25 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1509-19_0_4_load_0 | 0 | 0.017105 | 0.0042869 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1509-19_0_4_load_3 | 3 | 0.049761 | 0.012471 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1509-19_0_4_load_22 | 4 | 0.0048632 | 0.0012188 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1509-19_0_4_load_12 | 5 | 0.018024 | 0.0045172 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1509-19_0_4_load_21 | 6 | 0.0099991 | 0.002506 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1509-19_0_4_load_4 | 8 | 0.0054322 | 0.0013614 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1509-19_0_4_load_5 | 9 | 0.031395 | 0.0078682 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1509-19_0_4_load_7 | 11 | 0.016362 | 0.0041008 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1509-19_0_4_load_16 | 15 | 0.022475 | 0.0056329 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1509-19_0_4_load_14 | 16 | 0.003994 | 0.001001 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1509-19_0_4_load_19 | 17 | 0.085973 | 0.021547 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1509-19_0_4_load_20 | 18 | 0.025623 | 0.0064219 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1509-19_0_4_load_15 | 19 | 0.021462 | 0.0053788 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1509-19_0_4_load_10 | 20 | 0.020802 | 0.0052135 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1509-19_0_4_load_38 | 22 | 0.027842 | 0.0069779 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1509-19_0_4_load_37 | 23 | 0.041601 | 0.010426 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1509-19_0_4_load_24 | 25 | 0.0062389 | 0.0015636 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1509-19_0_4_load_25 | 26 | 0.024497 | 0.0061395 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1509-19_0_4_load_28 | 29 | 0.0031966 | 0.00080114 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1509-19_0_4_load_36 | 30 | 0.0049257 | 0.0012345 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1509-19_0_4_load_41 | 32 | 0.018095 | 0.004535 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1509-19_0_4_load_23 | 33 | 0.0077644 | 0.0019459 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1509-19_0_4_load_31 | 34 | 0.023234 | 0.0058231 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1509-19_0_4_load_35 | 38 | 0.0077813 | 0.0019502 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1509-19_0_4_line_0 |  | 0 | 1 | 0.080832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1509-19_0_4_line_1 |  | 1 | 2 | 0.039793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1509-19_0_4_line_2 |  | 1 | 3 | 0.086637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1509-19_0_4_line_3 |  | 2 | 4 | 0.034502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1509-19_0_4_line_4 |  | 3 | 5 | 0.027302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1509-19_0_4_line_5 |  | 4 | 6 | 0.011851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1509-19_0_4_line_6 |  | 5 | 7 | 0.067709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1509-19_0_4_line_7 |  | 6 | 33 | 0.099875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1509-19_0_4_line_8 |  | 7 | 21 | 0.060372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1509-19_0_4_line_9 |  | 7 | 20 | 0.02224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1509-19_0_4_line_10 |  | 8 | 9 | 0.028286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1509-19_0_4_line_11 |  | 8 | 10 | 0.054266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1509-19_0_4_line_12 |  | 10 | 11 | 0.017763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1509-19_0_4_line_13 |  | 10 | 12 | 0.032062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1509-19_0_4_line_14 |  | 10 | 13 | 0.055848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1509-19_0_4_line_15 |  | 11 | 14 | 0.02713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_1509-19_0_4_line_16 |  | 12 | 15 | 0.012109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1509-19_0_4_line_17 |  | 13 | 16 | 0.034232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1509-19_0_4_line_18 |  | 14 | 17 | 0.021386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_1509-19_0_4_line_19 |  | 14 | 18 | 0.031372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1509-19_0_4_line_20 |  | 16 | 19 | 0.033287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1509-19_0_4_line_21 |  | 17 | 23 | 0.0022964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_1509-19_0_4_line_22 |  | 18 | 31 | 0.048369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1509-19_0_4_line_23 |  | 19 | 24 | 0.15394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1509-19_0_4_line_24 |  | 21 | 22 | 0.019014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1509-19_0_4_line_25 |  | 22 | 23 | 0.028008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_1509-19_0_4_line_26 |  | 24 | 30 | 0.019325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1509-19_0_4_line_27 |  | 24 | 28 | 0.027633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1509-19_0_4_line_28 |  | 25 | 26 | 0.0011554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1509-19_0_4_line_29 |  | 25 | 27 | 0.019832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1509-19_0_4_line_30 |  | 26 | 28 | 0.021983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1509-19_0_4_line_31 |  | 27 | 29 | 0.039677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1509-19_0_4_line_32 |  | 31 | 32 | 0.024453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1509-19_0_4_line_33 |  | 32 | 37 | 0.02027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1509-19_0_4_line_34 |  | 34 | 35 | 0.0087841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1509-19_0_4_line_35 |  | 34 | 36 | 0.014147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1509-19_0_4_line_36 |  | 35 | 37 | 0.025672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1509-19_0_4_line_37 |  | 36 | 38 | 0.01658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1509-19_0_4_trafo_38 | 0.63 MVA 20/0.4 kV | 39 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2669751.5276 | 1202293.1022 | 2669785.6215 | 1202256.8115 | 2669785.7202 | 1202254.2222 | 2669763.9905 | 1202235.8629
1 | 2669777.7154 | 1202323.1261 | 2669751.5276 | 1202293.1022
2 | 2669751.5276 | 1202293.1022 | 2669688.8611 | 1202345.2806 | 2669685.8396 | 1202341.1824
3 | 2669777.7154 | 1202323.1261 | 2669768.8512 | 1202330.7495 | 2669751.2931 | 1202345.3102
4 | 2669685.8396 | 1202341.1824 | 2669669.6381 | 1202319.2077
5 | 2669751.2931 | 1202345.3102 | 2669742.1708 | 1202352.8752
6 | 2669683.6593 | 1202266.6722 | 2669655.8471 | 1202297.5556 | 2669655.9706 | 1202300.67 | 2669669.6381 | 1202319.2077
7 | 2669750.1378 | 1202401.0293 | 2669736.019 | 1202410.9039 | 2669709.9146 | 1202379.6248 | 2669742.1708 | 1202352.8752
8 | 2669642.4542 | 1202293.4748 | 2669645.0538 | 1202295.7176 | 2669645.4983 | 1202296.1008 | 2669664.0514 | 1202276.027 | 2669677.3667 | 1202260.6729 | 2669683.6593 | 1202266.6722
9 | 2669683.6593 | 1202266.6722 | 2669692.2467 | 1202265.1492 | 2669701.2932 | 1202255.1042
10 | 2669626.1348 | 1202281.8998 | 2669623.4821 | 1202284.8707 | 2669618.783 | 1202280.58 | 2669613.7985 | 1202281.189 | 2669604.8738 | 1202290.5283
11 | 2669561.5696 | 1202316.1799 | 2669577.8896 | 1202298.9594 | 2669583.7943 | 1202296.4489 | 2669589.9236 | 1202296.2201 | 2669595.9408 | 1202297.7689 | 2669598.836 | 1202296.8465 | 2669604.8738 | 1202290.5283
12 | 2669561.5696 | 1202316.1799 | 2669574.8483 | 1202327.9778
13 | 2669540.158 | 1202328.1824 | 2669554.9559 | 1202310.2993 | 2669561.5696 | 1202316.1799
14 | 2669519.823 | 1202279.0827 | 2669533.9319 | 1202291.6211 | 2669554.9559 | 1202310.2993 | 2669561.5696 | 1202316.1799
15 | 2669595.1277 | 1202345.9998 | 2669590.352 | 1202341.7527 | 2669574.8483 | 1202327.9778
16 | 2669540.158 | 1202328.1824 | 2669532.3195 | 1202337.4122
17 | 2669519.823 | 1202279.0827 | 2669552.5206 | 1202268.9483
18 | 2669595.1277 | 1202345.9998 | 2669609.3562 | 1202330.0337
19 | 2669595.1277 | 1202345.9998 | 2669574.257 | 1202369.4222
20 | 2669584.6742 | 1202260.818 | 2669575.4833 | 1202261.8311 | 2669552.5206 | 1202268.9483
21 | 2669610.884 | 1202328.3193 | 2669609.3562 | 1202330.0337
22 | 2669542.0733 | 1202405.5295 | 2669562.5854 | 1202382.5209 | 2669574.257 | 1202369.4222
23 | 2669584.6742 | 1202260.818 | 2669604.2546 | 1202108.1283
24 | 2669642.4542 | 1202293.4748 | 2669630.1842 | 1202306.6621 | 2669629.5179 | 1202307.4098
25 | 2669610.884 | 1202328.3193 | 2669629.5179 | 1202307.4098
26 | 2669604.2546 | 1202108.1283 | 2669592.6788 | 1202092.6534
27 | 2669604.2546 | 1202108.1283 | 2669616.9686 | 1202098.6707 | 2669619.111 | 1202096.3943 | 2669620.1452 | 1202095.1611 | 2669621.1729 | 1202093.183 | 2669623.1422 | 1202088.7811
28 | 2669607.6994 | 1202074.1428 | 2669606.9908 | 1202073.2303
29 | 2669594.8278 | 1202057.5657 | 2669606.9908 | 1202073.2303
30 | 2669623.1422 | 1202088.7811 | 2669620.4613 | 1202088.2829 | 2669619.03 | 1202087.6658 | 2669617.6946 | 1202086.6608 | 2669615.8834 | 1202084.6829 | 2669607.6994 | 1202074.1428
31 | 2669594.8278 | 1202057.5657 | 2669564.0527 | 1202082.609
32 | 2669542.0733 | 1202405.5295 | 2669525.4571 | 1202423.4691
33 | 2669511.683 | 1202438.3403 | 2669525.4571 | 1202423.4691
34 | 2669531.0605 | 1202455.2426 | 2669537.6604 | 1202461.0392
35 | 2669548.2895 | 1202470.3745 | 2669537.6604 | 1202461.0392
36 | 2669511.683 | 1202438.3403 | 2669531.0605 | 1202455.2426
37 | 2669548.2895 | 1202470.3745 | 2669550.1731 | 1202472.0085 | 2669551.9174 | 1202471.8732 | 2669560.2654 | 1202462.7903

## bus_geodata
| x | y | coords
0 | 2669763.9905 | 1202235.8629
1 | 2669751.5276 | 1202293.1022
2 | 2669777.7154 | 1202323.1261
3 | 2669685.8396 | 1202341.1824
4 | 2669751.2931 | 1202345.3102
5 | 2669669.6381 | 1202319.2077
6 | 2669742.1708 | 1202352.8752
7 | 2669683.6593 | 1202266.6722
8 | 2669604.8738 | 1202290.5283
9 | 2669626.1348 | 1202281.8998
10 | 2669561.5696 | 1202316.1799
11 | 2669574.8483 | 1202327.9778
12 | 2669540.158 | 1202328.1824
13 | 2669519.823 | 1202279.0827
14 | 2669595.1277 | 1202345.9998
15 | 2669532.3195 | 1202337.4122
16 | 2669552.5206 | 1202268.9483
17 | 2669609.3562 | 1202330.0337
18 | 2669574.257 | 1202369.4222
19 | 2669584.6742 | 1202260.818
20 | 2669701.2932 | 1202255.1042
21 | 2669642.4542 | 1202293.4748
22 | 2669629.5179 | 1202307.4098
23 | 2669610.884 | 1202328.3193
24 | 2669604.2546 | 1202108.1283
25 | 2669606.9908 | 1202073.2302
26 | 2669607.6994 | 1202074.1428
27 | 2669594.8278 | 1202057.5657
28 | 2669623.1422 | 1202088.7811
29 | 2669564.0527 | 1202082.609
30 | 2669592.6788 | 1202092.6534
31 | 2669542.0733 | 1202405.5295
32 | 2669525.4571 | 1202423.4691
33 | 2669750.1378 | 1202401.0293
34 | 2669537.6604 | 1202461.0392
35 | 2669531.0605 | 1202455.2426
36 | 2669548.2895 | 1202470.3745
37 | 2669511.683 | 1202438.3403
38 | 2669560.2654 | 1202462.7903
39 | 2669642.4542 | 1202293.4748

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9771 | -0.44127 | 0.017105 | 0.0042869
1 | 0.97838 | -0.41606 | 0 | 0
2 | 0.97755 | -0.43247 | 0 | 0
3 | 0.98158 | -0.35357 | 0.049761 | 0.012471
4 | 0.97682 | -0.44673 | 0.0048632 | 0.0012188
5 | 0.98384 | -0.30947 | 0.018024 | 0.0045172
6 | 0.97663 | -0.45057 | 0.0099991 | 0.002506
7 | 0.99058 | -0.17926 | 0 | 0
8 | 0.98914 | -0.2082 | 0.0054322 | 0.0013614
9 | 0.98833 | -0.22404 | 0.031395 | 0.0078682
10 | 0.99098 | -0.17267 | 0 | 0
11 | 0.993 | -0.13377 | 0.016362 | 0.0041008
12 | 0.99032 | -0.18547 | 0 | 0
13 | 0.98765 | -0.23664 | 0 | 0
14 | 0.99475 | -0.10026 | 0 | 0
15 | 0.99007 | -0.1903 | 0.022475 | 0.0056329
16 | 0.98561 | -0.27607 | 0.003994 | 0.001001
17 | 0.99686 | -0.059901 | 0.085973 | 0.021547
18 | 0.9926 | -0.14165 | 0.025623 | 0.0064219
19 | 0.98375 | -0.31217 | 0.021462 | 0.0053788
20 | 0.99016 | -0.18748 | 0.020802 | 0.0052135
21 | 0.99774 | -0.042628 | 0 | 0
22 | 1 | 0 | -0.47743 | -0.12124
23 | 0.99707 | -0.055865 | 0.041601 | 0.010426
24 | 0.9782 | -0.42053 | 0 | 0
25 | 0.97662 | -0.45145 | 0.0062389 | 0.0015636
26 | 0.97663 | -0.45125 | 0.024497 | 0.0061395
27 | 0.97656 | -0.45261 | 0 | 0
28 | 0.97733 | -0.43763 | 0 | 0
29 | 0.97645 | -0.45492 | 0.0031966 | 0.00080114
30 | 0.97811 | -0.42226 | 0.0049257 | 0.0012345
31 | 0.99042 | -0.18377 | 0 | 0
32 | 0.98932 | -0.20513 | 0.018095 | 0.004535
33 | 0.97591 | -0.46476 | 0.0077644 | 0.0019459
34 | 0.98776 | -0.23541 | 0.023234 | 0.0058231
35 | 0.98801 | -0.23054 | 0 | 0
36 | 0.98766 | -0.23737 | 0 | 0
37 | 0.98874 | -0.21633 | 0 | 0
38 | 0.98754 | -0.23968 | 0.0077813 | 0.0019502
39 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.017105 | -0.0042869 | 0.017125 | 0.004299 | 2.0568e-05 | 1.2149e-05 | 0.026049 | 0.026048 | 0.026049 | 0.9771 | -0.44127 | 0.97838 | -0.41606 | 7.1563
1 | 0.022668 | 0.0056951 | -0.022651 | -0.0056843 | 1.7742e-05 | 1.0856e-05 | 0.034481 | 0.034481 | 0.034481 | 0.97838 | -0.41606 | 0.97755 | -0.43247 | 9.4729
2 | -0.039794 | -0.0099941 | 0.039913 | 0.010069 | 0.00011903 | 7.509e-05 | 0.06053 | 0.060529 | 0.06053 | 0.97838 | -0.41606 | 0.98158 | -0.35357 | 16.629
3 | 0.022651 | 0.0056843 | -0.022635 | -0.0056748 | 1.5383e-05 | 9.4129e-06 | 0.034481 | 0.034481 | 0.034481 | 0.97755 | -0.43247 | 0.97682 | -0.44673 | 9.4729
4 | -0.089674 | -0.02254 | 0.089863 | 0.022661 | 0.00018926 | 0.00012078 | 0.13596 | 0.13596 | 0.13596 | 0.98158 | -0.35357 | 0.98384 | -0.30947 | 37.3527
5 | 0.017772 | 0.004456 | -0.017769 | -0.0044541 | 3.2574e-06 | 1.9364e-06 | 0.027073 | 0.027073 | 0.027073 | 0.97682 | -0.44673 | 0.97663 | -0.45057 | 7.4377
6 | -0.10789 | -0.027179 | 0.10856 | 0.027611 | 0.00067647 | 0.00043207 | 0.16322 | 0.16322 | 0.16322 | 0.98384 | -0.30947 | 0.99058 | -0.17926 | 44.8418
7 | 0.0077696 | 0.001948 | -0.0077644 | -0.0019459 | 5.2491e-06 | 2.1106e-06 | 0.011838 | 0.011839 | 0.011839 | 0.97663 | -0.45057 | 0.97591 | -0.46476 | 3.2524
8 | -0.12937 | -0.032829 | 0.13023 | 0.033376 | 0.00085633 | 0.00054727 | 0.19449 | 0.19449 | 0.19449 | 0.99058 | -0.17926 | 0.99774 | -0.042628 | 53.4301
9 | 0.02081 | 0.0052185 | -0.020802 | -0.0052135 | 8.1505e-06 | 4.9302e-06 | 0.031262 | 0.031262 | 0.031262 | 0.99058 | -0.17926 | 0.99016 | -0.18748 | 8.5884
10 | 0.031418 | 0.0078831 | -0.031395 | -0.0078682 | 2.3698e-05 | 1.4804e-05 | 0.047267 | 0.047267 | 0.047267 | 0.98914 | -0.2082 | 0.98833 | -0.22404 | 12.9856
11 | -0.036851 | -0.0092445 | 0.036913 | 0.0092838 | 6.2545e-05 | 3.9331e-05 | 0.055439 | 0.055439 | 0.055439 | 0.98914 | -0.2082 | 0.99098 | -0.17267 | 15.2305
12 | -0.1244 | -0.031477 | 0.12463 | 0.031626 | 0.00023269 | 0.00014869 | 0.1869 | 0.1869 | 0.1869 | 0.99098 | -0.17267 | 0.993 | -0.13377 | 51.3471
13 | 0.022494 | 0.0056444 | -0.022481 | -0.005636 | 1.3719e-05 | 8.3672e-06 | 0.033779 | 0.033779 | 0.033779 | 0.99098 | -0.17267 | 0.99032 | -0.18547 | 9.28
14 | 0.064994 | 0.016549 | -0.064794 | -0.016422 | 0.00019985 | 0.00012719 | 0.097686 | 0.097686 | 0.097686 | 0.99098 | -0.17267 | 0.98765 | -0.23664 | 26.8368
15 | -0.141 | -0.035726 | 0.14122 | 0.035871 | 0.00022738 | 0.00014482 | 0.21142 | 0.21142 | 0.21142 | 0.993 | -0.13377 | 0.99475 | -0.10026 | 29.0415
16 | 0.022481 | 0.005636 | -0.022475 | -0.0056329 | 5.1814e-06 | 3.1603e-06 | 0.033779 | 0.033779 | 0.033779 | 0.99032 | -0.18547 | 0.99007 | -0.1903 | 9.28
17 | 0.064794 | 0.016422 | -0.064672 | -0.016344 | 0.0001225 | 7.7961e-05 | 0.097686 | 0.097686 | 0.097686 | 0.98765 | -0.23664 | 0.98561 | -0.27607 | 26.8368
18 | -0.2163 | -0.054819 | 0.21672 | 0.055088 | 0.00042036 | 0.00026847 | 0.32378 | 0.32378 | 0.32378 | 0.99475 | -0.10026 | 0.99686 | -0.059901 | 44.4747
19 | 0.075078 | 0.018948 | -0.07493 | -0.018853 | 0.00014851 | 9.4638e-05 | 0.11235 | 0.11235 | 0.11235 | 0.99475 | -0.10026 | 0.9926 | -0.14165 | 30.8665
20 | 0.060678 | 0.015343 | -0.060573 | -0.015276 | 0.00010486 | 6.669e-05 | 0.091656 | 0.091656 | 0.091656 | 0.98561 | -0.27607 | 0.98375 | -0.31217 | 25.1803
21 | -0.3027 | -0.076635 | 0.30275 | 0.076672 | 5.8672e-05 | 3.746e-05 | 0.45211 | 0.45211 | 0.45211 | 0.99686 | -0.059901 | 0.99707 | -0.055865 | 41.4017
22 | 0.049306 | 0.012431 | -0.049207 | -0.012369 | 9.9169e-05 | 6.2844e-05 | 0.073942 | 0.073942 | 0.073942 | 0.9926 | -0.14165 | 0.99042 | -0.18377 | 20.3137
23 | 0.039111 | 0.0098971 | -0.038909 | -0.0097696 | 0.00020227 | 0.00012751 | 0.059193 | 0.059194 | 0.059194 | 0.98375 | -0.31217 | 0.9782 | -0.42053 | 16.2621
24 | -0.13023 | -0.033376 | 0.1305 | 0.033549 | 0.0002697 | 0.00017236 | 0.19449 | 0.19449 | 0.19449 | 0.99774 | -0.042628 | 1 | 0 | 53.43
25 | 0.34528 | 0.08769 | -0.34436 | -0.087098 | 0.00092563 | 0.0005913 | 0.51419 | 0.51419 | 0.51419 | 1 | 0 | 0.99707 | -0.055865 | 47.0871
26 | 0.0049261 | 0.0012345 | -0.0049257 | -0.0012345 | 4.0695e-07 | 1.7868e-08 | 0.0074935 | 0.0074936 | 0.0074936 | 0.9782 | -0.42053 | 0.97811 | -0.42226 | 2.0587
27 | 0.033983 | 0.0085351 | -0.033955 | -0.0085177 | 2.7698e-05 | 1.738e-05 | 0.0517 | 0.051701 | 0.051701 | 0.9782 | -0.42053 | 0.97733 | -0.43763 | 14.2035
28 | -0.009436 | -0.0023643 | 0.0094361 | 0.0023644 | 8.9555e-08 | 4.2857e-08 | 0.014377 | 0.014377 | 0.014377 | 0.97662 | -0.45145 | 0.97663 | -0.45125 | 3.9497
29 | 0.0031971 | 0.00080073 | -0.0031969 | -0.00080087 | 1.7646e-07 | -1.3521e-07 | 0.004871 | 0.0048711 | 0.0048711 | 0.97662 | -0.45145 | 0.97656 | -0.45261 | 1.3382
30 | -0.033933 | -0.0085039 | 0.033955 | 0.0085177 | 2.2035e-05 | 1.3827e-05 | 0.051701 | 0.051701 | 0.051701 | 0.97663 | -0.45125 | 0.97733 | -0.43763 | 14.2035
31 | 0.0031969 | 0.00080087 | -0.0031966 | -0.00080114 | 3.5306e-07 | -2.7041e-07 | 0.0048711 | 0.0048713 | 0.0048713 | 0.97656 | -0.45261 | 0.97645 | -0.45492 | 1.3383
32 | 0.049207 | 0.012369 | -0.049157 | -0.012337 | 5.0135e-05 | 3.1772e-05 | 0.073942 | 0.073942 | 0.073942 | 0.99042 | -0.18377 | 0.98932 | -0.20513 | 20.3138
33 | 0.031062 | 0.0078019 | -0.031046 | -0.0077915 | 1.6596e-05 | 1.0361e-05 | 0.046726 | 0.046726 | 0.046726 | 0.98932 | -0.20513 | 0.98874 | -0.21633 | 12.8368
34 | -0.031017 | -0.0077739 | 0.031024 | 0.0077784 | 7.1919e-06 | 4.4904e-06 | 0.046726 | 0.046726 | 0.046726 | 0.98776 | -0.23541 | 0.98801 | -0.23054 | 12.8369
35 | 0.0077829 | 0.0019508 | -0.0077821 | -0.0019505 | 7.2925e-07 | 2.8566e-07 | 0.011725 | 0.011725 | 0.011725 | 0.98776 | -0.23541 | 0.98766 | -0.23737 | 3.2211
36 | -0.031024 | -0.0077784 | 0.031046 | 0.0077915 | 2.1019e-05 | 1.3123e-05 | 0.046726 | 0.046726 | 0.046726 | 0.98801 | -0.23054 | 0.98874 | -0.21633 | 12.8368
37 | 0.0077821 | 0.0019505 | -0.0077813 | -0.0019502 | 8.5469e-07 | 3.3485e-07 | 0.011725 | 0.011725 | 0.011725 | 0.98766 | -0.23737 | 0.98754 | -0.23968 | 3.2211

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.50527 | 0.12822

## res_load
| p_mw | q_mvar
0 | 0.017105 | 0.0042869
1 | 0.049761 | 0.012471
2 | 0.0048632 | 0.0012188
3 | 0.018024 | 0.0045172
4 | 0.0099991 | 0.002506
5 | 0.0054322 | 0.0013614
6 | 0.031395 | 0.0078682
7 | 0.016362 | 0.0041008
8 | 0.022475 | 0.0056329
9 | 0.003994 | 0.001001
10 | 0.085973 | 0.021547
11 | 0.025623 | 0.0064219
12 | 0.021462 | 0.0053788
13 | 0.020802 | 0.0052135
14 | 0.027842 | 0.0069779
15 | 0.041601 | 0.010426
16 | 0.0062389 | 0.0015636
17 | 0.024497 | 0.0061395
18 | 0.0031966 | 0.00080114
19 | 0.0049257 | 0.0012345
20 | 0.018095 | 0.004535
21 | 0.0077644 | 0.0019459
22 | 0.023234 | 0.0058231
23 | 0.0077813 | 0.0019502

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1