## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1509-1_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1509-1_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1509-1_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1509-1_0_5_node_80 | 0.4 | n |  | TRUE
4 | bus_LV_1509-1_0_5_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_1509-1_0_5_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_1509-1_0_5_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_1509-1_0_5_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_1509-1_0_5_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_1509-1_0_5_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_1509-1_0_5_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_1509-1_0_5_node_75 | 0.4 | n |  | TRUE
12 | bus_LV_1509-1_0_5_node_72 | 0.4 | n |  | TRUE
13 | bus_LV_1509-1_0_5_node_63 | 0.4 | n |  | TRUE
14 | bus_LV_1509-1_0_5_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1509-1_0_5_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_1509-1_0_5_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_1509-1_0_5_node_81 | 0.4 | n |  | TRUE
18 | bus_LV_1509-1_0_5_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_1509-1_0_5_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_1509-1_0_5_node_48 | 0.4 | n |  | TRUE
21 | bus_LV_1509-1_0_5_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_1509-1_0_5_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_1509-1_0_5_node_51 | 0.4 | n |  | TRUE
24 | bus_LV_1509-1_0_5_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1509-1_0_5_node_79 | 0.4 | n |  | TRUE
26 | bus_LV_1509-1_0_5_node_73 | 0.4 | n |  | TRUE
27 | bus_LV_1509-1_0_5_node_71 | 0.4 | n |  | TRUE
28 | bus_LV_1509-1_0_5_node_76 | 0.4 | n |  | TRUE
29 | bus_LV_1509-1_0_5_node_70 | 0.4 | n |  | TRUE
30 | bus_LV_1509-1_0_5_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_1509-1_0_5_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_1509-1_0_5_node_46 | 0.4 | n |  | TRUE
33 | bus_LV_1509-1_0_5_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_1509-1_0_5_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_1509-1_0_5_node_68 | 0.4 | n |  | TRUE
36 | bus_LV_1509-1_0_5_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_1509-1_0_5_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_1509-1_0_5_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_1509-1_0_5_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_1509-1_0_5_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_1509-1_0_5_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_1509-1_0_5_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_1509-1_0_5_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_1509-1_0_5_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_1509-1_0_5_node_67 | 0.4 | n |  | TRUE
46 | bus_LV_1509-1_0_5_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_1509-1_0_5_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_1509-1_0_5_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_1509-1_0_5_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_1509-1_0_5_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_1509-1_0_5_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_1509-1_0_5_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_1509-1_0_5_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_1509-1_0_5_node_66 | 0.4 | n |  | TRUE
55 | bus_LV_1509-1_0_5_node_77 | 0.4 | n |  | TRUE
56 | bus_LV_1509-1_0_5_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_1509-1_0_5_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_1509-1_0_5_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_1509-1_0_5_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_1509-1_0_5_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_1509-1_0_5_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_1509-1_0_5_node_64 | 0.4 | n |  | TRUE
63 | bus_LV_1509-1_0_5_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_1509-1_0_5_node_42 | 0.4 | n |  | TRUE
65 | bus_LV_1509-1_0_5_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_1509-1_0_5_node_78 | 0.4 | n |  | TRUE
67 | bus_LV_1509-1_0_5_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_1509-1_0_5_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_1509-1_0_5_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_1509-1_0_5_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_1509-1_0_5_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_1509-1_0_5_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_1509-1_0_5_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_1509-1_0_5_node_82 | 0.4 | n |  | TRUE
75 | bus_LV_1509-1_0_5_node_83 | 0.4 | n |  | TRUE
76 | bus_MV_143_0_node_145 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1509-1_0_5_load_0 | 0 | 0.014886 | 0.0037309 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1509-1_0_5_load_80 | 3 | 0.002781 | 0.00069698 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1509-1_0_5_load_14 | 5 | 0.01764 | 0.0044209 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1509-1_0_5_load_12 | 6 | 0.0018848 | 0.00047237 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1509-1_0_5_load_13 | 9 | 0.0012365 | 0.00030989 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1509-1_0_5_load_75 | 11 | 0.016906 | 0.004237 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1509-1_0_5_load_72 | 12 | 0.011411 | 0.0028599 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1509-1_0_5_load_63 | 13 | 0.0024043 | 0.00060257 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1509-1_0_5_load_16 | 15 | 0.0089611 | 0.0022459 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1509-1_0_5_load_15 | 16 | 0.012623 | 0.0031635 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1509-1_0_5_load_48 | 20 | 0.02609 | 0.0065388 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1509-1_0_5_load_28 | 22 | 0.015447 | 0.0038714 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1509-1_0_5_load_79 | 25 | 0.0024212 | 0.00060681 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1509-1_0_5_load_73 | 26 | 0.021406 | 0.0053649 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1509-1_0_5_load_76 | 28 | 0.0044202 | 0.0011078 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1509-1_0_5_load_70 | 29 | 0.014841 | 0.0037194 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1509-1_0_5_load_43 | 30 | 0.0046618 | 0.0011683 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1509-1_0_5_load_47 | 31 | 0.0045105 | 0.0011304 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1509-1_0_5_load_50 | 34 | 0.0076623 | 0.0019204 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1509-1_0_5_load_23 | 36 | 0.0081143 | 0.0020336 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1509-1_0_5_load_20 | 37 | 0.023169 | 0.0058068 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1509-1_0_5_load_21 | 38 | 0.011186 | 0.0028035 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1509-1_0_5_load_24 | 40 | 0.015471 | 0.0038774 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1509-1_0_5_load_25 | 41 | 0.014115 | 0.0035377 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1509-1_0_5_load_26 | 42 | 0.018329 | 0.0045936 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1509-1_0_5_load_49 | 43 | 0.031139 | 0.0078041 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1509-1_0_5_load_45 | 44 | 0.019191 | 0.0048096 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1509-1_0_5_load_67 | 45 | 0.0043862 | 0.0010993 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1509-1_0_5_load_31 | 46 | 0.026019 | 0.0065209 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1509-1_0_5_load_32 | 47 | 0.0071027 | 0.0017801 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1509-1_0_5_load_33 | 48 | 0.0074209 | 0.0018598 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1509-1_0_5_load_35 | 50 | 0.011573 | 0.0029004 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1509-1_0_5_load_44 | 52 | 0.010415 | 0.0026103 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1509-1_0_5_load_56 | 53 | 0.0096151 | 0.0024098 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1509-1_0_5_load_77 | 55 | 0.0096681 | 0.0024231 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1509-1_0_5_load_40 | 56 | 0.017175 | 0.0043045 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1509-1_0_5_load_36 | 58 | 0.014245 | 0.0035702 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1509-1_0_5_load_37 | 59 | 0.0032776 | 0.00082144 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1509-1_0_5_load_38 | 60 | 0.010759 | 0.0026965 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1509-1_0_5_load_39 | 61 | 0.016356 | 0.0040991 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1509-1_0_5_load_64 | 62 | 0.0039452 | 0.00098875 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1509-1_0_5_load_41 | 63 | 0.0088479 | 0.0022175 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1509-1_0_5_load_42 | 64 | 0.0051927 | 0.0013014 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1509-1_0_5_load_78 | 66 | 0.0053633 | 0.0013442 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1509-1_0_5_load_65 | 68 | 0.012636 | 0.003167 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1509-1_0_5_load_58 | 69 | 0.011538 | 0.0028916 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1509-1_0_5_load_60 | 71 | 0.0040678 | 0.0010195 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1509-1_0_5_load_69 | 72 | 0.01698 | 0.0042555 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1509-1_0_5_load_74 | 73 | 0.007009 | 0.0017566 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1509-1_0_5_load_83 | 75 | 0.0033786 | 0.00084675 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1509-1_0_5_line_0 |  | 0 | 1 | 0.020948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1509-1_0_5_line_1 |  | 1 | 2 | 0.037967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1509-1_0_5_line_2 |  | 2 | 3 | 0.023971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1509-1_0_5_line_3 |  | 2 | 4 | 0.034535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1509-1_0_5_line_4 |  | 3 | 17 | 0.009017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1509-1_0_5_line_5 |  | 4 | 5 | 0.031656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1509-1_0_5_line_6 |  | 4 | 6 | 0.0070648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1509-1_0_5_line_7 |  | 6 | 9 | 0.0093468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1509-1_0_5_line_8 |  | 7 | 8 | 0.007619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1509-1_0_5_line_9 |  | 7 | 9 | 0.0066611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1509-1_0_5_line_10 |  | 8 | 13 | 0.001183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1509-1_0_5_line_11 |  | 10 | 11 | 0.029134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1509-1_0_5_line_12 |  | 10 | 12 | 0.022963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1509-1_0_5_line_13 |  | 11 | 28 | 0.02025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1509-1_0_5_line_14 |  | 12 | 29 | 0.0022627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1509-1_0_5_line_15 |  | 13 | 30 | 0.010621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1509-1_0_5_line_16 |  | 14 | 15 | 0.015298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1509-1_0_5_line_17 |  | 14 | 16 | 0.024354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1509-1_0_5_line_18 |  | 15 | 31 | 0.0037507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1509-1_0_5_line_19 |  | 17 | 74 | 0.008985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1509-1_0_5_line_20 |  | 18 | 19 | 0.015771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1509-1_0_5_line_21 |  | 18 | 20 | 0.032415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1509-1_0_5_line_22 |  | 19 | 35 | 0.009365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_1509-1_0_5_line_23 |  | 19 | 36 | 0.019312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_1509-1_0_5_line_24 |  | 20 | 32 | 0.012457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1509-1_0_5_line_25 |  | 21 | 22 | 0.018906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1509-1_0_5_line_26 |  | 21 | 23 | 0.019463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1509-1_0_5_line_27 |  | 21 | 24 | 0.037457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1509-1_0_5_line_28 |  | 22 | 33 | 0.013286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1509-1_0_5_line_29 |  | 23 | 34 | 0.025279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1509-1_0_5_line_30 |  | 24 | 25 | 0.024683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1509-1_0_5_line_31 |  | 26 | 27 | 0.0073911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1509-1_0_5_line_32 |  | 27 | 73 | 0.002471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1509-1_0_5_line_33 |  | 27 | 72 | 0.0038354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1509-1_0_5_line_34 |  | 28 | 55 | 0.0032351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1509-1_0_5_line_35 |  | 29 | 72 | 0.011355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1509-1_0_5_line_36 |  | 30 | 64 | 0.0025373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1509-1_0_5_line_37 |  | 31 | 32 | 0.0073621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1509-1_0_5_line_38 |  | 32 | 44 | 0.01824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1509-1_0_5_line_39 |  | 33 | 42 | 0.0018472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1509-1_0_5_line_40 |  | 35 | 45 | 0.0068881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_1509-1_0_5_line_41 |  | 36 | 38 | 0.01859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1509-1_0_5_line_42 |  | 37 | 38 | 0.020937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1509-1_0_5_line_43 |  | 37 | 39 | 0.023101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1509-1_0_5_line_44 |  | 39 | 40 | 0.0017014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1509-1_0_5_line_45 |  | 39 | 41 | 0.011558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1509-1_0_5_line_46 |  | 40 | 42 | 0.014733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1509-1_0_5_line_47 |  | 41 | 43 | 0.0079865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1509-1_0_5_line_48 |  | 45 | 67 | 0.014875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_1509-1_0_5_line_49 |  | 46 | 47 | 0.0082146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1509-1_0_5_line_50 |  | 46 | 48 | 0.018161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1509-1_0_5_line_51 |  | 47 | 49 | 0.0070856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1509-1_0_5_line_52 |  | 48 | 50 | 0.013966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1509-1_0_5_line_53 |  | 49 | 51 | 0.042999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_1509-1_0_5_line_54 |  | 49 | 52 | 0.00197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1509-1_0_5_line_55 |  | 50 | 53 | 0.0074479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1509-1_0_5_line_56 |  | 51 | 54 | 0.007647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_1509-1_0_5_line_57 |  | 51 | 55 | 0.029758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1509-1_0_5_line_58 |  | 52 | 56 | 0.012523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1509-1_0_5_line_59 |  | 53 | 57 | 0.01875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1509-1_0_5_line_60 |  | 54 | 68 | 0.011818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_1509-1_0_5_line_61 |  | 56 | 63 | 0.024954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1509-1_0_5_line_62 |  | 56 | 60 | 0.014984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1509-1_0_5_line_63 |  | 57 | 69 | 0.0035529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1509-1_0_5_line_64 |  | 57 | 65 | 0.002425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1509-1_0_5_line_65 |  | 58 | 59 | 0.0087893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1509-1_0_5_line_66 |  | 58 | 60 | 0.038792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1509-1_0_5_line_67 |  | 59 | 61 | 0.009964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1509-1_0_5_line_68 |  | 61 | 62 | 0.022846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1509-1_0_5_line_69 |  | 63 | 64 | 0.0051657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1509-1_0_5_line_70 |  | 65 | 66 | 0.017864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1509-1_0_5_line_71 |  | 67 | 68 | 0.0042462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_1509-1_0_5_line_72 |  | 69 | 70 | 0.012316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1509-1_0_5_line_73 |  | 70 | 71 | 0.02015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1509-1_0_5_line_74 |  | 74 | 75 | 0.037524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1509-1_0_5_trafo_55 | 0.63 MVA 20/0.4 kV | 76 | 51 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2670572.3492 | 1201040.9442 | 2670574.5167 | 1201061.7793
1 | 2670546.8995 | 1201031.4157 | 2670560.1797 | 1201029.7604 | 2670576.5627 | 1201034.8124 | 2670572.3492 | 1201040.9442
2 | 2670524.798 | 1201021.9825 | 2670546.8995 | 1201031.4157
3 | 2670526.2025 | 1201059.0549 | 2670541.3951 | 1201039.2111 | 2670546.8995 | 1201031.4157
4 | 2670516.591 | 1201018.1945 | 2670524.798 | 1201021.9825
5 | 2670495.4257 | 1201053.2773 | 2670508.6241 | 1201053.3886 | 2670516.2405 | 1201054.9794 | 2670526.2025 | 1201059.0549
6 | 2670526.2025 | 1201059.0549 | 2670522.4815 | 1201065.0604
7 | 2670522.4815 | 1201065.0604 | 2670517.5586 | 1201073.0056
8 | 2670510.4464 | 1201085.385 | 2670514.0502 | 1201078.6679
9 | 2670514.0502 | 1201078.6679 | 2670517.5586 | 1201073.0056
10 | 2670510.4464 | 1201085.385 | 2670509.7093 | 1201086.3104
11 | 2670554.9734 | 1201107.7018 | 2670545.232 | 1201112.0228 | 2670536.1316 | 1201116.8516 | 2670527.9942 | 1201117.6302
12 | 2670554.9734 | 1201107.7018 | 2670551.7024 | 1201122.9836 | 2670550.1952 | 1201130.1618
13 | 2670527.9942 | 1201117.6302 | 2670527.6496 | 1201117.6632 | 2670518.6048 | 1201131.3314 | 2670517.3189 | 1201134.6018
14 | 2670550.1952 | 1201130.1618 | 2670549.7303 | 1201132.3762
15 | 2670503.0919 | 1201094.6176 | 2670509.7093 | 1201086.3104
16 | 2670542.3881 | 1201251.6407 | 2670532.9403 | 1201239.6091
17 | 2670542.3881 | 1201251.6407 | 2670563.8591 | 1201240.1472
18 | 2670532.9403 | 1201239.6091 | 2670530.6239 | 1201236.6592
19 | 2670516.591 | 1201018.1945 | 2670508.9902 | 1201023.0189
20 | 2670544.0444 | 1201190.0228 | 2670530.4753 | 1201198.1231
21 | 2670544.0444 | 1201190.0228 | 2670541.8104 | 1201200.0025 | 2670531.734 | 1201219.771
22 | 2670525.0391 | 1201190.4877 | 2670530.4753 | 1201198.1231
23 | 2670530.4753 | 1201198.1231 | 2670513.6952 | 1201207.6825
24 | 2670526.0771 | 1201230.8689 | 2670531.734 | 1201219.771
25 | 2670416.7353 | 1201265.8899 | 2670432.9351 | 1201256.1431
26 | 2670406.042 | 1201249.6096 | 2670416.7353 | 1201265.8899
27 | 2670384.0098 | 1201284.0933 | 2670405.5358 | 1201272.5398 | 2670411.2148 | 1201269.2714 | 2670416.7353 | 1201265.8899
28 | 2670444.3192 | 1201249.2937 | 2670432.9351 | 1201256.1431
29 | 2670406.042 | 1201249.6096 | 2670397.5656 | 1201252.5449 | 2670396.5713 | 1201250.3652 | 2670392.3935 | 1201239.2759 | 2670391.5849 | 1201237.3779
30 | 2670384.0098 | 1201284.0933 | 2670371.9553 | 1201262.5539
31 | 2670546.1802 | 1201147.1108 | 2670543.8286 | 1201152.8643 | 2670544.8541 | 1201153.4391
32 | 2670544.0096 | 1201145.9178 | 2670546.1802 | 1201147.1108
33 | 2670546.1802 | 1201147.1108 | 2670547.1129 | 1201144.8427 | 2670547.397 | 1201143.4892
34 | 2670517.3189 | 1201134.6018 | 2670516.1351 | 1201137.6125
35 | 2670547.397 | 1201143.4892 | 2670549.7303 | 1201132.3762
36 | 2670501.511 | 1201096.6022 | 2670503.0919 | 1201094.6176
37 | 2670526.0771 | 1201230.8689 | 2670530.6239 | 1201236.6592
38 | 2670526.0771 | 1201230.8689 | 2670521.5252 | 1201236.0183 | 2670513.9986 | 1201244.5366
39 | 2670444.3192 | 1201249.2937 | 2670445.9311 | 1201248.3917
40 | 2670525.0391 | 1201190.4877 | 2670518.2066 | 1201189.6134
41 | 2670513.6952 | 1201207.6825 | 2670500.7633 | 1201215.0495 | 2670497.6083 | 1201216.9949
42 | 2670479.7867 | 1201227.9836 | 2670497.6083 | 1201216.9949
43 | 2670460.1236 | 1201240.1078 | 2670479.7867 | 1201227.9836
44 | 2670460.1236 | 1201240.1078 | 2670458.661 | 1201240.977
45 | 2670460.1236 | 1201240.1078 | 2670466.635 | 1201249.6565
46 | 2670458.661 | 1201240.977 | 2670450.273 | 1201245.9619 | 2670445.9311 | 1201248.3917
47 | 2670466.635 | 1201249.6565 | 2670471.1344 | 1201256.2549
48 | 2670506.0567 | 1201183.1926 | 2670510.2026 | 1201188.5893 | 2670518.2066 | 1201189.6134
49 | 2670465.605 | 1201133.75 | 2670459.6595 | 1201139.4078 | 2670459.654 | 1201139.4126
50 | 2670445.9043 | 1201151.2778 | 2670459.654 | 1201139.4126
51 | 2670470.7379 | 1201128.8654 | 2670465.605 | 1201133.75
52 | 2670435.1899 | 1201160.2284 | 2670438.1416 | 1201157.9766 | 2670445.9043 | 1201151.2778
53 | 2670499.0381 | 1201161.2854 | 2670485.3288 | 1201146.4258 | 2670477.0875 | 1201136.5227 | 2670470.7379 | 1201128.8654
54 | 2670470.7379 | 1201128.8654 | 2670472.1642 | 1201127.5065
55 | 2670435.1899 | 1201160.2284 | 2670429.2683 | 1201164.7458
56 | 2670499.0381 | 1201161.2854 | 2670503.7857 | 1201167.2895
57 | 2670499.0381 | 1201161.2854 | 2670512.0519 | 1201147.9975 | 2670516.1351 | 1201137.6125
58 | 2670481.1335 | 1201118.7707 | 2670479.1295 | 1201120.8706 | 2670472.1642 | 1201127.5065
59 | 2670414.3605 | 1201176.1185 | 2670429.2683 | 1201164.7458
60 | 2670503.7857 | 1201167.2895 | 2670505.4565 | 1201178.9891
61 | 2670481.1335 | 1201118.7707 | 2670498.1588 | 1201100.5274
62 | 2670481.1335 | 1201118.7707 | 2670472.7466 | 1201106.3532
63 | 2670414.3605 | 1201176.1185 | 2670411.1848 | 1201177.7118
64 | 2670415.1938 | 1201178.3964 | 2670414.3605 | 1201176.1185
65 | 2670445.5245 | 1201090.3029 | 2670439.7069 | 1201096.8913
66 | 2670472.7466 | 1201106.3532 | 2670458.3164 | 1201111.2972 | 2670451.0412 | 1201105.9526 | 2670439.7069 | 1201096.8913
67 | 2670445.5245 | 1201090.3029 | 2670452.1196 | 1201082.8338
68 | 2670457.7666 | 1201065.6185 | 2670462.4517 | 1201071.1326 | 2670452.1196 | 1201082.8338
69 | 2670501.511 | 1201096.6022 | 2670499.6985 | 1201098.8776 | 2670498.1588 | 1201100.5274
70 | 2670415.1938 | 1201178.3964 | 2670406.0019 | 1201193.7143
71 | 2670506.0567 | 1201183.1926 | 2670505.4565 | 1201178.9891
72 | 2670399.7418 | 1201182.2167 | 2670408.2116 | 1201179.2035 | 2670411.1848 | 1201177.7118
73 | 2670399.7418 | 1201182.2167 | 2670382.5665 | 1201190.1637 | 2670381.5376 | 1201190.8286
74 | 2670508.9902 | 1201023.0189 | 2670494.1024 | 1201031.882 | 2670484.7483 | 1201033.0502 | 2670474.0533 | 1201034.9586

## bus_geodata
| x | y | coords
0 | 2670574.5167 | 1201061.7793
1 | 2670572.3492 | 1201040.9442
2 | 2670546.8995 | 1201031.4157
3 | 2670524.798 | 1201021.9825
4 | 2670526.2025 | 1201059.0549
5 | 2670495.4257 | 1201053.2773
6 | 2670522.4815 | 1201065.0604
7 | 2670514.0502 | 1201078.6679
8 | 2670510.4464 | 1201085.385
9 | 2670517.5586 | 1201073.0056
10 | 2670554.9734 | 1201107.7018
11 | 2670527.9942 | 1201117.6302
12 | 2670550.1952 | 1201130.1618
13 | 2670509.7093 | 1201086.3104
14 | 2670542.3881 | 1201251.6407
15 | 2670532.9403 | 1201239.6091
16 | 2670563.8591 | 1201240.1472
17 | 2670516.591 | 1201018.1945
18 | 2670544.0444 | 1201190.0228
19 | 2670530.4753 | 1201198.1231
20 | 2670531.734 | 1201219.771
21 | 2670416.7353 | 1201265.8899
22 | 2670432.9351 | 1201256.1431
23 | 2670406.042 | 1201249.6096
24 | 2670384.0098 | 1201284.0933
25 | 2670371.9553 | 1201262.5539
26 | 2670544.8541 | 1201153.4391
27 | 2670546.1802 | 1201147.1108
28 | 2670517.3189 | 1201134.6018
29 | 2670549.7303 | 1201132.3762
30 | 2670503.0919 | 1201094.6176
31 | 2670530.6239 | 1201236.6592
32 | 2670526.0771 | 1201230.8689
33 | 2670444.3192 | 1201249.2937
34 | 2670391.5849 | 1201237.3779
35 | 2670525.0391 | 1201190.4877
36 | 2670513.6952 | 1201207.6825
37 | 2670479.7867 | 1201227.9836
38 | 2670497.6083 | 1201216.9949
39 | 2670460.1236 | 1201240.1078
40 | 2670458.661 | 1201240.977
41 | 2670466.635 | 1201249.6566
42 | 2670445.9311 | 1201248.3917
43 | 2670471.1344 | 1201256.2549
44 | 2670513.9986 | 1201244.5366
45 | 2670518.2066 | 1201189.6134
46 | 2670459.654 | 1201139.4126
47 | 2670465.605 | 1201133.75
48 | 2670445.9043 | 1201151.2778
49 | 2670470.7379 | 1201128.8654
50 | 2670435.1899 | 1201160.2284
51 | 2670499.0381 | 1201161.2854
52 | 2670472.1642 | 1201127.5065
53 | 2670429.2683 | 1201164.7458
54 | 2670503.7857 | 1201167.2895
55 | 2670516.1352 | 1201137.6125
56 | 2670481.1335 | 1201118.7707
57 | 2670414.3605 | 1201176.1185
58 | 2670439.7069 | 1201096.8913
59 | 2670445.5245 | 1201090.3029
60 | 2670472.7466 | 1201106.3532
61 | 2670452.1196 | 1201082.8338
62 | 2670457.7666 | 1201065.6185
63 | 2670498.1588 | 1201100.5274
64 | 2670501.511 | 1201096.6022
65 | 2670415.1938 | 1201178.3964
66 | 2670406.0019 | 1201193.7143
67 | 2670506.0567 | 1201183.1926
68 | 2670505.4565 | 1201178.9891
69 | 2670411.1848 | 1201177.7118
70 | 2670399.7418 | 1201182.2167
71 | 2670381.5376 | 1201190.8286
72 | 2670547.397 | 1201143.4892
73 | 2670544.0096 | 1201145.9178
74 | 2670508.9902 | 1201023.0189
75 | 2670474.0533 | 1201034.9586
76 | 2670503.7857 | 1201167.2895

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98902 | -0.21148 | 0.014886 | 0.0037309
1 | 0.98931 | -0.20593 | 0 | 0
2 | 0.98982 | -0.19587 | 0 | 0
3 | 0.98969 | -0.1985 | 0.002781 | 0.00069698
4 | 0.99049 | -0.18294 | 0 | 0
5 | 0.98998 | -0.19287 | 0.01764 | 0.0044209
6 | 0.99074 | -0.17809 | 0.0018848 | 0.00047237
7 | 0.99134 | -0.16642 | 0 | 0
8 | 0.99164 | -0.16077 | 0 | 0
9 | 0.99109 | -0.17136 | 0.0012365 | 0.00030989
10 | 0.99339 | -0.12696 | 0 | 0
11 | 0.9953 | -0.090161 | 0.016906 | 0.004237
12 | 0.99188 | -0.15606 | 0.011411 | 0.0028599
13 | 0.99168 | -0.15989 | 0.0024043 | 0.00060257
14 | 0.99022 | -0.18776 | 0 | 0
15 | 0.99039 | -0.18433 | 0.0089611 | 0.0022459
16 | 0.98994 | -0.19322 | 0.012623 | 0.0031635
17 | 0.98966 | -0.19904 | 0 | 0
18 | 0.99328 | -0.1285 | 0 | 0
19 | 0.99431 | -0.10863 | 0 | 0
20 | 0.99116 | -0.16946 | 0.02609 | 0.0065388
21 | 0.98472 | -0.29409 | 0 | 0
22 | 0.9849 | -0.29066 | 0.015447 | 0.0038714
23 | 0.98459 | -0.29677 | 0 | 0
24 | 0.98464 | -0.29572 | 0 | 0
25 | 0.98459 | -0.2968 | 0.0024212 | 0.00060681
26 | 0.99104 | -0.17235 | 0.021406 | 0.0053649
27 | 0.99119 | -0.16955 | 0 | 0
28 | 0.99693 | -0.058661 | 0.0044202 | 0.0011078
29 | 0.99176 | -0.15848 | 0.014841 | 0.0037194
30 | 0.99211 | -0.15157 | 0.0046618 | 0.0011683
31 | 0.99047 | -0.18289 | 0.0045105 | 0.0011304
32 | 0.99064 | -0.17947 | 0 | 0
33 | 0.98521 | -0.28457 | 0 | 0
34 | 0.98441 | -0.30026 | 0.0076623 | 0.0019204
35 | 0.99525 | -0.090617 | 0 | 0
36 | 0.993 | -0.1337 | 0.0081143 | 0.0020336
37 | 0.98817 | -0.22709 | 0.023169 | 0.0058068
38 | 0.99063 | -0.17947 | 0.011186 | 0.0028035
39 | 0.98594 | -0.27032 | 0 | 0
40 | 0.98585 | -0.27213 | 0.015471 | 0.0038774
41 | 0.98546 | -0.2797 | 0.014115 | 0.0035377
42 | 0.98526 | -0.28372 | 0.018329 | 0.0045936
43 | 0.98523 | -0.28416 | 0.031139 | 0.0078041
44 | 0.99032 | -0.18569 | 0.019191 | 0.0048096
45 | 0.99594 | -0.077388 | 0.0043862 | 0.0010993
46 | 0.99454 | -0.10472 | 0.026019 | 0.0065209
47 | 0.99511 | -0.093787 | 0.0071027 | 0.0017801
48 | 0.99372 | -0.1206 | 0.0074209 | 0.0018598
49 | 0.99564 | -0.083479 | 0 | 0
50 | 0.99318 | -0.131 | 0.011573 | 0.0029004
51 | 1 | 0 | -0.56624 | -0.14332
52 | 0.99539 | -0.088298 | 0.010415 | 0.0026103
53 | 0.99297 | -0.13503 | 0.0096151 | 0.0024098
54 | 0.99917 | -0.015705 | 0 | 0
55 | 0.99721 | -0.053387 | 0.0096681 | 0.0024231
56 | 0.99392 | -0.11669 | 0.017175 | 0.0043045
57 | 0.99261 | -0.14198 | 0 | 0
58 | 0.99191 | -0.1555 | 0.014245 | 0.0035702
59 | 0.99172 | -0.15917 | 0.0032776 | 0.00082144
60 | 0.99325 | -0.12954 | 0.010759 | 0.0026965
61 | 0.99154 | -0.16276 | 0.016356 | 0.0040991
62 | 0.99145 | -0.16436 | 0.0039452 | 0.00098875
63 | 0.99248 | -0.14443 | 0.0088479 | 0.0022175
64 | 0.99222 | -0.14937 | 0.0051927 | 0.0013014
65 | 0.9926 | -0.14221 | 0 | 0
66 | 0.99251 | -0.14391 | 0.0053633 | 0.0013442
67 | 0.99746 | -0.048312 | 0 | 0
68 | 0.9979 | -0.040028 | 0.012636 | 0.003167
69 | 0.99256 | -0.14296 | 0.011538 | 0.0028916
70 | 0.99252 | -0.14385 | 0 | 0
71 | 0.99244 | -0.1453 | 0.0040678 | 0.0010195
72 | 0.99128 | -0.16761 | 0.01698 | 0.0042555
73 | 0.99117 | -0.16985 | 0.007009 | 0.0017566
74 | 0.98963 | -0.19958 | 0 | 0
75 | 0.98952 | -0.20184 | 0.0033786 | 0.00084675
76 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.014886 | -0.0037309 | 0.01489 | 0.0037331 | 3.9404e-06 | 2.253e-06 | 0.022397 | 0.022397 | 0.022397 | 0.98902 | -0.21148 | 0.98931 | -0.20593 | 6.153
1 | -0.01489 | -0.0037331 | 0.014897 | 0.0037372 | 7.1419e-06 | 4.0831e-06 | 0.022397 | 0.022397 | 0.022397 | 0.98931 | -0.20593 | 0.98982 | -0.19587 | 6.153
2 | 0.0061609 | 0.0015435 | -0.0061601 | -0.0015434 | 7.7106e-07 | 1.854e-07 | 0.0092615 | 0.0092616 | 0.0092616 | 0.98982 | -0.19587 | 0.98969 | -0.1985 | 2.5444
3 | -0.021058 | -0.0052808 | 0.021071 | 0.0052886 | 1.298e-05 | 7.8627e-06 | 0.031658 | 0.031658 | 0.031658 | 0.98982 | -0.19587 | 0.99049 | -0.18294 | 8.6973
4 | 0.0033791 | 0.00084638 | -0.003379 | -0.00084644 | 8.7274e-08 | -6.0011e-08 | 0.0050804 | 0.0050804 | 0.0050804 | 0.98969 | -0.1985 | 0.98966 | -0.19904 | 1.3957
5 | 0.017648 | 0.0044259 | -0.01764 | -0.0044209 | 8.3451e-06 | 4.9336e-06 | 0.026514 | 0.026514 | 0.026514 | 0.99049 | -0.18294 | 0.98998 | -0.19287 | 7.284
6 | -0.038719 | -0.0097145 | 0.038728 | 0.0097201 | 8.9652e-06 | 5.6467e-06 | 0.058172 | 0.058172 | 0.058172 | 0.99049 | -0.18294 | 0.99074 | -0.17809 | 15.9813
7 | -0.040613 | -0.010192 | 0.040626 | 0.010201 | 1.3043e-05 | 8.2274e-06 | 0.061003 | 0.061003 | 0.061003 | 0.99074 | -0.17809 | 0.99109 | -0.17136 | 16.759
8 | -0.041872 | -0.010517 | 0.041884 | 0.010524 | 1.1289e-05 | 7.1268e-06 | 0.062859 | 0.062859 | 0.062859 | 0.99134 | -0.16642 | 0.99164 | -0.16077 | 17.2689
9 | 0.041872 | 0.010517 | -0.041863 | -0.010511 | 9.8699e-06 | 6.2309e-06 | 0.062859 | 0.062859 | 0.062859 | 0.99134 | -0.16642 | 0.99109 | -0.17136 | 17.269
10 | -0.041884 | -0.010524 | 0.041886 | 0.010525 | 1.7529e-06 | 1.1066e-06 | 0.062859 | 0.062859 | 0.062859 | 0.99164 | -0.16077 | 0.99168 | -0.15989 | 17.2689
11 | -0.071779 | -0.01804 | 0.071905 | 0.018121 | 0.00012634 | 8.0479e-05 | 0.10754 | 0.10754 | 0.10754 | 0.99339 | -0.12696 | 0.9953 | -0.090161 | 29.5431
12 | 0.071779 | 0.01804 | -0.071679 | -0.017977 | 9.9579e-05 | 6.3434e-05 | 0.10754 | 0.10754 | 0.10754 | 0.99339 | -0.12696 | 0.99188 | -0.15606 | 29.5431
13 | -0.088811 | -0.022358 | 0.088945 | 0.022443 | 0.00013395 | 8.5462e-05 | 0.13281 | 0.13281 | 0.13281 | 0.9953 | -0.090161 | 0.99693 | -0.058661 | 36.4868
14 | 0.060268 | 0.015117 | -0.060261 | -0.015112 | 6.9369e-06 | 4.4104e-06 | 0.090418 | 0.090418 | 0.090418 | 0.99188 | -0.15606 | 0.99176 | -0.15848 | 24.8401
15 | -0.04429 | -0.011128 | 0.044307 | 0.011139 | 1.7595e-05 | 1.1124e-05 | 0.066467 | 0.066467 | 0.066467 | 0.99168 | -0.15989 | 0.99211 | -0.15157 | 18.26
16 | -0.012626 | -0.0031653 | 0.012628 | 0.0031665 | 2.0652e-06 | 1.1249e-06 | 0.018974 | 0.018973 | 0.018974 | 0.99022 | -0.18776 | 0.99039 | -0.18433 | 5.2125
17 | 0.012626 | 0.0031653 | -0.012623 | -0.0031635 | 3.2877e-06 | 1.791e-06 | 0.018974 | 0.018974 | 0.018974 | 0.99022 | -0.18776 | 0.98994 | -0.19322 | 5.2125
18 | -0.021589 | -0.0054123 | 0.021591 | 0.0054132 | 1.4799e-06 | 8.9885e-07 | 0.032437 | 0.032437 | 0.032437 | 0.99039 | -0.18433 | 0.99047 | -0.18289 | 8.9113
19 | 0.003379 | 0.00084644 | -0.0033789 | -0.0008465 | 8.6966e-08 | -5.9791e-08 | 0.0050804 | 0.0050804 | 0.0050804 | 0.98966 | -0.19904 | 0.98963 | -0.19958 | 1.3957
20 | -0.071553 | -0.018001 | 0.071621 | 0.018044 | 6.7985e-05 | 4.3306e-05 | 0.10722 | 0.10722 | 0.10722 | 0.99328 | -0.1285 | 0.99431 | -0.10863 | 29.4552
21 | 0.071553 | 0.018001 | -0.071413 | -0.017912 | 0.00013974 | 8.9012e-05 | 0.10722 | 0.10722 | 0.10722 | 0.99328 | -0.1285 | 0.99116 | -0.16946 | 29.4552
22 | -0.21974 | -0.055575 | 0.21993 | 0.055697 | 0.00019009 | 0.00012141 | 0.32902 | 0.32902 | 0.32902 | 0.99431 | -0.10863 | 0.99525 | -0.090617 | 45.1953
23 | 0.14812 | 0.037531 | -0.14794 | -0.037418 | 0.00017814 | 0.00011351 | 0.22181 | 0.22181 | 0.22181 | 0.99431 | -0.10863 | 0.993 | -0.1337 | 30.4677
24 | 0.045323 | 0.011373 | -0.045302 | -0.011359 | 2.163e-05 | 1.3683e-05 | 0.068048 | 0.068048 | 0.068048 | 0.99116 | -0.16946 | 0.99064 | -0.17947 | 18.6946
25 | -0.010086 | -0.0025274 | 0.010088 | 0.0025283 | 1.6468e-06 | 8.1342e-07 | 0.015241 | 0.015241 | 0.015241 | 0.98472 | -0.29409 | 0.9849 | -0.29066 | 4.1871
26 | 0.0076645 | 0.0019212 | -0.0076636 | -0.0019208 | 9.7906e-07 | 3.7904e-07 | 0.011582 | 0.011582 | 0.011582 | 0.98472 | -0.29409 | 0.98459 | -0.29677 | 3.1819
27 | 0.0024215 | 0.00060622 | -0.0024213 | -0.00060658 | 1.8806e-07 | -3.5611e-07 | 0.0036589 | 0.0036591 | 0.0036591 | 0.98472 | -0.29409 | 0.98464 | -0.29572 | 1.0052
28 | -0.025535 | -0.0063997 | 0.025542 | 0.0064043 | 7.4151e-06 | 4.5765e-06 | 0.038579 | 0.038579 | 0.038579 | 0.9849 | -0.29066 | 0.98521 | -0.28457 | 10.5986
29 | 0.0076636 | 0.0019208 | -0.0076623 | -0.0019204 | 1.2717e-06 | 4.9242e-07 | 0.011582 | 0.011582 | 0.011582 | 0.98459 | -0.29677 | 0.98441 | -0.30026 | 3.1819
30 | 0.0024213 | 0.00060658 | -0.0024212 | -0.00060681 | 1.2394e-07 | -2.3462e-07 | 0.0036591 | 0.0036592 | 0.0036592 | 0.98464 | -0.29572 | 0.98459 | -0.2968 | 1.0053
31 | -0.021406 | -0.0053649 | 0.021409 | 0.0053666 | 2.8632e-06 | 1.7372e-06 | 0.032141 | 0.032141 | 0.032141 | 0.99104 | -0.17235 | 0.99119 | -0.16955 | 8.8299
32 | 0.0070091 | 0.0017567 | -0.007009 | -0.0017566 | 1.026e-07 | 3.3815e-08 | 0.010522 | 0.010522 | 0.010522 | 0.99119 | -0.16955 | 0.99117 | -0.16985 | 2.8908
33 | -0.028418 | -0.0071233 | 0.028421 | 0.0071249 | 2.6179e-06 | 1.626e-06 | 0.042663 | 0.042663 | 0.042663 | 0.99119 | -0.16955 | 0.99128 | -0.16761 | 11.7206
34 | -0.093365 | -0.023551 | 0.093389 | 0.023566 | 2.3578e-05 | 1.5048e-05 | 0.13941 | 0.13941 | 0.13941 | 0.99693 | -0.058661 | 0.99721 | -0.053387 | 38.2993
35 | 0.04542 | 0.011393 | -0.045401 | -0.01138 | 1.9778e-05 | 1.2511e-05 | 0.068151 | 0.068151 | 0.068151 | 0.99176 | -0.15848 | 0.99128 | -0.16761 | 18.7229
36 | -0.048969 | -0.012307 | 0.048974 | 0.01231 | 5.1344e-06 | 3.2533e-06 | 0.073458 | 0.073458 | 0.073458 | 0.99211 | -0.15157 | 0.99222 | -0.14937 | 20.1809
37 | -0.026101 | -0.0065437 | 0.026105 | 0.0065463 | 4.2452e-06 | 2.6222e-06 | 0.039213 | 0.039213 | 0.039213 | 0.99047 | -0.18289 | 0.99064 | -0.17947 | 10.7729
38 | 0.019196 | 0.004813 | -0.019191 | -0.0048096 | 5.6871e-06 | 3.405e-06 | 0.028835 | 0.028835 | 0.028835 | 0.99064 | -0.17947 | 0.99032 | -0.18569 | 7.9217
39 | -0.025542 | -0.0064043 | 0.025543 | 0.0064049 | 1.031e-06 | 6.363e-07 | 0.038579 | 0.038579 | 0.038579 | 0.98521 | -0.28457 | 0.98526 | -0.28372 | 10.5986
40 | -0.21993 | -0.055697 | 0.22007 | 0.055786 | 0.00013981 | 8.9302e-05 | 0.32902 | 0.32902 | 0.32902 | 0.99525 | -0.090617 | 0.99594 | -0.077388 | 45.1953
41 | 0.13982 | 0.035384 | -0.13952 | -0.035188 | 0.00030639 | 0.00019585 | 0.20965 | 0.20965 | 0.20965 | 0.993 | -0.1337 | 0.99063 | -0.17947 | 57.5951
42 | -0.12804 | -0.032198 | 0.12833 | 0.032385 | 0.00029198 | 0.0001866 | 0.19284 | 0.19284 | 0.19284 | 0.98817 | -0.22709 | 0.99063 | -0.17947 | 52.9791
43 | 0.10487 | 0.026391 | -0.10465 | -0.026253 | 0.00021613 | 0.00013803 | 0.15795 | 0.15795 | 0.15795 | 0.98817 | -0.22709 | 0.98594 | -0.27032 | 43.3941
44 | 0.059372 | 0.014894 | -0.059367 | -0.014891 | 5.1235e-06 | 3.2573e-06 | 0.089611 | 0.089611 | 0.089611 | 0.98594 | -0.27032 | 0.98585 | -0.27213 | 24.6185
45 | 0.045281 | 0.011359 | -0.045261 | -0.011346 | 2.0244e-05 | 1.2809e-05 | 0.068343 | 0.068343 | 0.068343 | 0.98594 | -0.27032 | 0.98546 | -0.2797 | 18.7756
46 | 0.043896 | 0.011014 | -0.043872 | -0.010998 | 2.4256e-05 | 1.5336e-05 | 0.06626 | 0.06626 | 0.06626 | 0.98585 | -0.27213 | 0.98526 | -0.28372 | 18.2034
47 | 0.031145 | 0.0078082 | -0.031139 | -0.0078041 | 6.624e-06 | 4.1376e-06 | 0.047029 | 0.047029 | 0.047029 | 0.98546 | -0.2797 | 0.98523 | -0.28416 | 12.9201
48 | -0.22445 | -0.056885 | 0.22477 | 0.057086 | 0.00031407 | 0.00020062 | 0.33557 | 0.33557 | 0.33557 | 0.99594 | -0.077388 | 0.99746 | -0.048312 | 46.0955
49 | -0.075669 | -0.018991 | 0.075708 | 0.019016 | 3.9491e-05 | 2.5167e-05 | 0.11322 | 0.11322 | 0.11322 | 0.99454 | -0.10472 | 0.99511 | -0.093787 | 31.1055
50 | 0.04965 | 0.01247 | -0.049613 | -0.012447 | 3.7593e-05 | 2.3824e-05 | 0.074295 | 0.074295 | 0.074295 | 0.99454 | -0.10472 | 0.99372 | -0.1206 | 20.4108
51 | -0.082811 | -0.020797 | 0.082852 | 0.020823 | 4.0753e-05 | 2.599e-05 | 0.12384 | 0.12384 | 0.12384 | 0.99511 | -0.093787 | 0.99564 | -0.083479 | 34.0233
52 | 0.042192 | 0.010587 | -0.042171 | -0.010574 | 2.0908e-05 | 1.32e-05 | 0.063183 | 0.063183 | 0.063183 | 0.99372 | -0.1206 | 0.99318 | -0.131 | 17.3581
53 | -0.22243 | -0.055989 | 0.22332 | 0.056559 | 0.00089139 | 0.00056937 | 0.33251 | 0.33251 | 0.33251 | 0.99564 | -0.083479 | 1 | 0 | 45.6745
54 | 0.13958 | 0.035167 | -0.13954 | -0.035146 | 3.2167e-05 | 2.0561e-05 | 0.20867 | 0.20867 | 0.20867 | 0.99564 | -0.083479 | 0.99539 | -0.088298 | 57.3257
55 | 0.030598 | 0.0076732 | -0.030592 | -0.0076696 | 5.8702e-06 | 3.6605e-06 | 0.045845 | 0.045845 | 0.045845 | 0.99318 | -0.131 | 0.99297 | -0.13503 | 12.5948
56 | 0.23795 | 0.060603 | -0.23777 | -0.060488 | 0.0001801 | 0.00011507 | 0.35442 | 0.35442 | 0.35442 | 1 | 0 | 0.99917 | -0.015705 | 48.6837
57 | 0.10332 | 0.026158 | -0.10306 | -0.025989 | 0.00026409 | 0.00016863 | 0.15384 | 0.15384 | 0.15384 | 1 | 0 | 0.99721 | -0.053387 | 42.2626
58 | 0.12913 | 0.032536 | -0.12895 | -0.032424 | 0.0001751 | 0.0001119 | 0.1931 | 0.1931 | 0.1931 | 0.99539 | -0.088298 | 0.99392 | -0.11669 | 53.0484
59 | 0.020977 | 0.0052598 | -0.02097 | -0.0052556 | 6.9488e-06 | 4.2048e-06 | 0.031436 | 0.031436 | 0.031436 | 0.99297 | -0.13503 | 0.99261 | -0.14198 | 8.6364
60 | 0.23777 | 0.060488 | -0.23749 | -0.06031 | 0.00027835 | 0.00017783 | 0.35442 | 0.35442 | 0.35442 | 0.99917 | -0.015705 | 0.9979 | -0.040028 | 48.6837
61 | 0.063111 | 0.015891 | -0.063028 | -0.015837 | 8.3585e-05 | 5.3172e-05 | 0.094511 | 0.094511 | 0.094511 | 0.99392 | -0.11669 | 0.99248 | -0.14443 | 25.9647
62 | 0.048667 | 0.012229 | -0.048637 | -0.01221 | 2.984e-05 | 1.8903e-05 | 0.072872 | 0.072872 | 0.072872 | 0.99392 | -0.11669 | 0.99325 | -0.12954 | 20.0198
63 | 0.015607 | 0.0039114 | -0.015606 | -0.003911 | 7.2927e-07 | 4.2081e-07 | 0.023396 | 0.023396 | 0.023396 | 0.99261 | -0.14198 | 0.99256 | -0.14296 | 6.4274
64 | 0.0053638 | 0.0013442 | -0.0053637 | -0.0013442 | 5.8794e-08 | 6.2827e-09 | 0.0080407 | 0.0080407 | 0.0080407 | 0.99261 | -0.14198 | 0.9926 | -0.14221 | 2.209
65 | 0.023586 | 0.0059138 | -0.023582 | -0.0059113 | 4.1266e-06 | 2.5276e-06 | 0.035384 | 0.035384 | 0.035384 | 0.99191 | -0.1555 | 0.99172 | -0.15917 | 9.7208
66 | -0.037831 | -0.009484 | 0.037878 | 0.0095135 | 4.6856e-05 | 2.9486e-05 | 0.056754 | 0.056753 | 0.056754 | 0.99191 | -0.1555 | 0.99325 | -0.12954 | 15.5917
67 | 0.020305 | 0.0050898 | -0.020301 | -0.0050877 | 3.4681e-06 | 2.0911e-06 | 0.030466 | 0.030466 | 0.030466 | 0.99172 | -0.15917 | 0.99154 | -0.16276 | 8.3698
68 | 0.0039455 | 0.00098865 | -0.0039452 | -0.00098875 | 3.0035e-07 | -1.0242e-07 | 0.005921 | 0.0059211 | 0.0059211 | 0.99154 | -0.16276 | 0.99145 | -0.16436 | 1.6267
69 | 0.05418 | 0.01362 | -0.054167 | -0.013612 | 1.2787e-05 | 8.1169e-06 | 0.081246 | 0.081246 | 0.081246 | 0.99248 | -0.14443 | 0.99222 | -0.14937 | 22.3203
70 | 0.0053637 | 0.0013442 | -0.0053633 | -0.0013442 | 4.3312e-07 | 4.6309e-08 | 0.0080407 | 0.0080408 | 0.0080408 | 0.9926 | -0.14221 | 0.99251 | -0.14391 | 2.209
71 | -0.22477 | -0.057086 | 0.22486 | 0.057143 | 8.9656e-05 | 5.7269e-05 | 0.33557 | 0.33557 | 0.33557 | 0.99746 | -0.048312 | 0.9979 | -0.040028 | 46.0954
72 | 0.0040682 | 0.0010193 | -0.004068 | -0.0010194 | 1.718e-07 | -4.923e-08 | 0.0060989 | 0.0060989 | 0.0060989 | 0.99256 | -0.14296 | 0.99252 | -0.14385 | 1.6755
73 | 0.004068 | 0.0010194 | -0.0040678 | -0.0010195 | 2.8107e-07 | -8.0506e-08 | 0.0060989 | 0.006099 | 0.006099 | 0.99252 | -0.14385 | 0.99244 | -0.1453 | 1.6755
74 | 0.0033789 | 0.0008465 | -0.0033786 | -0.00084675 | 3.6321e-07 | -2.4962e-07 | 0.0050804 | 0.0050806 | 0.0050806 | 0.98963 | -0.19958 | 0.98952 | -0.20184 | 1.3958

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.56624 | 0.14332

## res_load
| p_mw | q_mvar
0 | 0.014886 | 0.0037309
1 | 0.002781 | 0.00069698
2 | 0.01764 | 0.0044209
3 | 0.0018848 | 0.00047237
4 | 0.0012365 | 0.00030989
5 | 0.016906 | 0.004237
6 | 0.011411 | 0.0028599
7 | 0.0024043 | 0.00060257
8 | 0.0089611 | 0.0022459
9 | 0.012623 | 0.0031635
10 | 0.02609 | 0.0065388
11 | 0.015447 | 0.0038714
12 | 0.0024212 | 0.00060681
13 | 0.021406 | 0.0053649
14 | 0.0044202 | 0.0011078
15 | 0.014841 | 0.0037194
16 | 0.0046618 | 0.0011683
17 | 0.0045105 | 0.0011304
18 | 0.0076623 | 0.0019204
19 | 0.0081143 | 0.0020336
20 | 0.023169 | 0.0058068
21 | 0.011186 | 0.0028035
22 | 0.015471 | 0.0038774
23 | 0.014115 | 0.0035377
24 | 0.018329 | 0.0045936
25 | 0.031139 | 0.0078041
26 | 0.019191 | 0.0048096
27 | 0.0043862 | 0.0010993
28 | 0.026019 | 0.0065209
29 | 0.0071027 | 0.0017801
30 | 0.0074209 | 0.0018598
31 | 0.011573 | 0.0029004
32 | 0.010415 | 0.0026103
33 | 0.0096151 | 0.0024098
34 | 0.0096681 | 0.0024231
35 | 0.017175 | 0.0043045
36 | 0.014245 | 0.0035702
37 | 0.0032776 | 0.00082144
38 | 0.010759 | 0.0026965
39 | 0.016356 | 0.0040991
40 | 0.0039452 | 0.00098875
41 | 0.0088479 | 0.0022175
42 | 0.0051927 | 0.0013014
43 | 0.0053633 | 0.0013442
44 | 0.012636 | 0.003167
45 | 0.011538 | 0.0028916
46 | 0.0040678 | 0.0010195
47 | 0.01698 | 0.0042555
48 | 0.007009 | 0.0017566
49 | 0.0033786 | 0.00084675

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1